1099 Osage
EAc2:  Green Power Narrative
The LEED Credit Form has been submitted stating that the green power purchased by the project owner meets only 25% of the annual energy use. However, the figure that is used as a basis for this percentage is from the EAp2.6 form for total annual kWh and is incorrect as it does not account for the EAp2-8 - exceptional calculation savings or the EAp2-9 renewable power generated on-site. The correct figure for annual electricity use is stated in Table EAp2-10 – 507,830 kWh for which 35% green power has been purchased for 2 years, or 355,600 kWh.
