## Sheet1
EAp1 / EAc2.1 / EAc2.2 Energy Conservation Measures & Capital Improvement Plan
Measure Description | Annual Energy Savings (kWh) | Annual Energy Savings (kBtu) | Electricity Demand Savings (kW) | Implementation Cost ($) | Annual Maintenance Cost Savings ($) | Annual Savings (includes maintenance savings) ($) | Simple Payback Period (Years) | Low/No Cost? | Date Completed / Timetable for Implementation
Reset office heating thermostat to 68F | 0 | 2100 | 0 | 0 | 0 | 2200 | 0 | Yes | Completed 6/17/2012
Limit OA dampers based on actual occupancy hours | 12258 | 87181 | 0 | 2400 | 0 | 1532 | 1.5666 | No | Q1 2013
Reduce ventilation volume to reflect current occupancy levels | 42796 | 146019 | 30 | 150 | 0 | 5349 | 0.028043 | Yes | Completed 7/2/2012
Reduce parking garage ventilation using CO2 sensors | 30021 | 0 | 102430 | 6086 | 0 | 3753 | 1.6216 | No | Q2 2013
Replace exit signs with LED models | 2102 | 7173 | 0.2 | 3090 | 100 | 363 | 8.5124 | No | Q1 2013
Replace all single-pane windows with energy efficient windows | [8 empty] | Considered but not implemented or planned due to excessive cost