[image: image1.png]0) LEEDuser





<Building Name>
Cooling Tower Water Management Plan Template
LEED for Existing Buildings: Operations and Maintenance
<Month, Year>
SECTION 1: PLAN SCOPE

This plan outlines the water and chemical management for cooling towers at <Building Name>. 

SECTION 2: POLICY GOALS

The goal of this plan is to effectively manage the cooling towers at <Building Name> as to reduce potable water use for cooling tower equipment and minimize the risks associated with poorly maintained cooling towers (such as exposure to Legionella pneumophila).

SECTION 3: PROCEDURES AND STRATEGIES

Chemical Treatment and Biological Control

<Contracted Vendor Name> has been contracted to perform water treatment services for <Building Name>. The following products are used to prevent scaling, corrosion, and microbial growth:

· <List product name/manufacturer, and describe what it is used for, the target concentration ratio, and schedule for testing>
· Example: The Special X Formula is used for scale inhibition and dispersion. It is used for control of mineral scale deposits and corrosion in open re-circulating cooling water systems. The corrosion inhibitor concentration target is 0.5 to 1.0 PPM of MO +6, and this chemical is tested 2 times a week.
Bleed-off, Make-up Water, and Target Concentration of Ratios

Cooling tower water conservation is maintained by means of (a) conductivity meter(s). <Describe the conductivity meter(s), automatic controls, and setpoints for each cooling tower.>
Staff Training

The following staff training as it relates to cooling tower maintenance is in effect:
	Staff Training Activity
	Duration
	Frequency
	Attendees

	Example: Cooling Tower Basics
	2 hours
	One time for all new employees
	All new <Building Name> facilities staff

	Example:  Maintaining Cooling Towers
	1 hour
	Annually
	All <Building Name> facilities engineers


SECTION 4: RESPONSIBLE PARTY

The <Title of Responsible Party> shall implement this plan within <Building Name> in coordination with other appropriate organization personnel, who are associated with the cooling tower maintenance of <Building Name>. 
	Contact Information for Responsible Party:

	Name:
	

	Job Title:
	

	Phone:
	

	Email:
	

	Date of assignment:
	


SECTION 5: TIME PERIOD

This plan shall take effect on <Date> and shall continue indefinitely or until amended and/or replaced by a subsequent cooling tower water management plan.
[image: image2.png]wwwleeduser.com

Pusished by BuldingGreen, LLC + 122 Blrge Street, Brattieboro, VT 05301 + (802) 257-7300.





[image: image1.png][image: image2.png]