[image: image1.png]0) LEEDuser





LEED SSp1: Construction Activity Pollution Prevention

Sample Erosion and Sedimentation Control Plan

Soil Erosion and Sediment Control Plan

I. Introduction

This Soil and Sediment Control Plan identifies measures that may be implemented by [Insert Contractor/Construction Company] to minimize erosion and sedimentation during remediation, construction, and foundation installation activities at [Insert address].
All temporary soil erosion and sedimentation control measures will be in place prior to any construction operations and will be maintained until construction is complete and the disturbed areas stabilized. [Insert Contractor/Construction Company] will take all necessary measures to temporarily control erosion and will comply with all requirements specified herein and in the New York Guidelines for Urban Erosion and Sediment Control.

[Insert address] Construction Site is an existing [x] story [x] building that is being converted into an [x]  story luxury hotel in [City, State].  The existing building footprint will remain and remedial work to the existing foundation, which includes two mat slabs, will be completed to increase the structural integrity of the building.  Excavation for this work will be minimal and contained within the basement of the existing building, thus eliminating the loss of soil during construction from stormwater runoff and/or wind erosion. This contained work will also prevent sedimentation of storm sewers. The adjacent structure at [Insert address] will be demolished on [date], and the site will be landscaped for a grand entrance and garden. This area consists of approximately [x] square feet. All measures to maintain proper soil and sedimentation control will be implemented.

II. Control Measures

a.  If necessary, temporary erosion and sedimentation control will be accomplished using silt fences and hay bales.  Surface areas of erodible materials will be kept to a minimum. See the description of control measures below:

.1
Surface Water Control: Temporary diversion ditches and berms will be created, if necessary, to prevent stormwater runoff from entering existing excavations.

.2
Silt Fences/Hay Bales: If necessary, hay bales and/or silt fencing will be used to restrict water flow and soil from entering excavations, and to prevent soil from migrating into other areas.  

· Hay bales will be place as needed. Their function will be to reduce runoff velocity. Hay bales will be placed in a row with tightly butted ends.  Hay bales that become excessively clogged with sediment will be replaced

· [Insert Contractor/Construction Company] does not foresee the need for silt fencing, as excavation is contained within a small footprint of the existing building and adjacent property.

.3 
Soil Stockpiling/Staging Area:  It is not anticipated that stockpiles will be present onsite, due to the direct loading of any excavated material into waste transportation vehicles.  All excavated soil will be staged on-site within the footprint of the property.

.4
Dust Control: The General Contractor will coordinate the control of dust onsite, in accordance with the New York State Department of Health (NYSDOH) Community Air Monitoring Protocol and all Federal, State, and Local Requirements.  Dust monitoring and control at work locations is the responsibility of the subcontractor. Measures that are to be implemented to control dust levels include, but are not limited to:

· Using misting equipment

· Spraying water on buckets during excavation and dumping

· Hauling material in covered trucks or containers

· Washing down truck tires prior to leaving job site

· Spraying water during construction to limit dust

III. Maintenance

Frequent checks will be made by the General Contractor to determine the adequacy of controls. Inspection for breaks and/or clogs of barriers, if implemented, will be included.  Problems will be reported to the Project Manager, and promptly corrected.

The General Contractor will determine the need for any additional erosion control measures on as-needed basis. Required measures will be implemented and maintained by [Insert Contractor/Construction Company]. Inspections and corrective actions will be noted on daily reports.



[image: image2.png]wwwleeduser.com

Pusished by BuldingGreen, LLC + 122 Blrge Street, Brattieboro, VT 05301 + (802) 257-7300.




www.leeduser.com         122 Birge Street, Brattleboro, VT 05301

[image: image1.png][image: image2.png]