Indoor Air Quality Baseline Audit Report & IAQ Management Protocols

Table of Contents

- Introduction

- Background

- Audit Procedure

- Results

  - Log of Problems and Remediation

I. Introduction

An indoor air quality (IAQ) baseline audit was performed on DATE at the BUILDING NAME at BUILDING ADDRESS to identify and remedy any potential indoor air quality problems.

II. Background

The project team assigned one of their team members, IAQ MANAGER NAME, as the IAQ manager to conduct the audit and to be responsible for communicating IAQ-related issues with building occupants. IAQ MANAGER NAME reviewed the modules of EPA’s “Indoor Air Quality Building Education and Assessment Model (I-BEAM)” on DATE OF REVIEW, including:

- Fundamentals of IAQ in Buildings

- Diagnosing and Solving Problems

- Renovation and New Construction

- Managing for Indoor Air Quality

- Training Supervisors and Staff

- Establishing Written Plans and Protocols

- Establishing a Communications Program.

III. Audit Procedure

INSERT AUDIT PROCEDURE

INSERT LIST OF EXTERIOR PROCEDURES

Example:

The building exterior portion of the audit focused on:

- identifying flaws in the building shell

- problems with outdoor air intake and dampers in air handling units (AHU)

- general odors or pollutants emitted from outdoor sources

INSERT LIST OF HVAC PROCEDURES

Example:

The HVAC component of the audit was the assessed:

- the mixing plenum and dampers in AHU

- filters

- cooling coils and condensate pans in AHU

- mechanical room

- air ducts and air plenums

- diffusers, grilles, and registers

- fans and fan chambers

- exhaust fans in special use areas

- terminal boxes

- fan coil unit, unit ventilator and induction units

- boiler

- chiller

- condensing equipment (cooling tower)

- elevator and stairwells

- the air compressor and pneumatic system

INSERT LIST OF INTERIOR PROCEDURES

Example:

The indoor space portion highlighted general conditions, such as:

- air quality and flow

- thermal comfort

- lighting quality

- acoustics

- humidity

- floor and ceiling quality

- furnishings

Subsequent to the baseline audit, the IAQ management will reinspect the building exterior, HVAC systems, and indoor spaces on a QUARTERLY/ANNUAL basis to monitor the status of documented problems and evaluate new IAQ issues. The first ongoing audit will be conducted on INSERT DATE. The initial audit template was modified for these follow-up inspections.

IV. Results

INSERT BRIEF DESCRIPTION OF RESULTS

The following low-cost problems were identified and remedied.

Log of Problems and Remediation

| Date of Report | IAQ Problem | Remedy | Date Remedied |
| --- | --- | --- | --- |

Example for no capital issues:

Aside from these minor and easily-remedied issues, the IAQ systems were in very good shape and there were no abnormal noises or odors found. The equipment and indoor and exterior spaces were free of algae, mold and other pollutants.

Example for capital issues:

| Issue | Description | Cost (Low/Med/High) | Schedule |
| --- | --- | --- | --- |
| Air Damper Motors in AHU | The motor function on one air damper is insufficient and needs to be replaced | Medium | Q2 FY2012 |
| Leaking air ducts in basement | The ducts in the basement are leaking air and need to be resealed | Low | Q4 FY2011 |
| Boiler | Boiler at end of useful life | High | Q1 FY2012 |