1099 Osage
IEQc8.2, Views
Reviewer Comments: 

The LEED Credit Form has been submitted stating that the project has provided direct line of sight views for 97.9% of all regularly occupied areas. However, two issues are pending: 

1. The calculation spreadsheet indicates that certain regularly occupied spaces (117 Office and 111 Catering Prep)

have been excluded from the view calculations but are indicated as regularly occupied in EQc6.1-6.2. There is no explanation provided for the exclusion of these spaces. All regularly occupied spaces must be included unless special circumstances are clearly documented to justify their exclusion. 

2. Copies of applicable project drawings highlighting the direct line of sight through exterior windows have only been provided as for the residential units.

TECHNICAL ADVICE: 1. Please provide a revised calculation spreadsheet and project drawings to include all regularly occupied spaces or a narrative explaining why they have been excluded. 2. Provide project drawings (both plan and sectional views) indicating the line of sight from interior spaces through exterior windows for all regularly occupied spaces included in access to view totals.
Response:

1. The calculation spreadsheet has been amended to include all regularly occupied spaces reflected in the updated plans for level one.
2. Direct line of sight drawings for all spaces have been uploaded. 
