| Segment ID | Segment status | Source segment | Target segment |
| --- | --- | --- | --- |
| 1a0094c49-1f1e-4298-89da-7b49e68a25df | Translation Approved (95%) | Updated to reflect the July 1, 2014 LEED v4 Building Design and Construction Addenda | Atualizado para refletir o Adendo de 1º de julho de 2014 LEED v4 Projeto e Construção de Edifícios (Building Design and Construction) |
| 23a60247f-8f4a-4804-921f-3a00142b9ee7 | Translation Approved (0%) | <24>LEED </24><25>v</25><26>4</26><27> for</27> | <24>LEED </24><25>v</25><26>4</26><27> para</27> |
| 332a9a6fb-4219-4fc2-aa5e-2d6c43ff8dde | Translation Approved (0%) | BUILDING DESIGN AND CONSTRUCTION | PROJETO E CONSTRUÇÃO DE EDIFÍCIOS (BUILDING DESIGN AND CONSTRUCTION) |
| 4513148a1-52fa-4ae1-8053-8a24b76cd34b | Translation Approved (100%) | Updated July 1, 2014 | Atualizado em 1º de julho de 2014 |
| 55d9d8845-1f83-4605-abe4-a48d6a55b1f7 | Translation Approved (0%) | Includes: | Inclui: |
| 6775c5bb1-29b5-442d-982e-f63b07844270 | Translation Approved (0%) | LEED BD+C: New Construction | LEED BD+C: Nova Construção (New Construction) |
| 73adcfa13-5d45-4ed6-bfcf-ae36286115d5 | Translation Approved (0%) | LEED BD+C: Core and Shell | LEED BD+C: Núcleo e Casca (Core and Shell) |
| 8af8713c2-ff80-4547-b0ef-b0d27c86543c | Translation Approved (0%) | LEED BD+C: Schools | LEED BD+C: Escolas (Schools) |
| 961bd232e-5e17-407b-853c-702ce22b21fe | Translation Approved (0%) | LEED BD+C: Retail | LEED BD+C: Varejo (Retail) |
| 1097173520-56fc-4c4f-83fe-0785971547ec | Translation Approved (0%) | LEED BD+C: Data Centers | LEED BD+C: Centros de Dados (Data Centers) |
| 11e7740493-9660-40f0-9990-d3d8406d76e2 | Translation Approved (0%) | LEED BD+C: Warehouses and Distribution Centers | LEED BD+C: Armazéns e Centros de Distribuição (Warehouses and Distribution Centers) |
| 12ab762c0e-b227-4385-be66-1d472b6fe951 | Translation Approved (0%) | LEED BD+C: Hospitality | LEED BD+C: Hoteleiro (Hospitality) |
| 1390fe84a1-4e1c-4dfc-9ea1-4766de8aaeda | Translation Approved (0%) | LEED BD+C: Healthcare | LEED BD+C: Setor de Saúde (Healthcare) |
| 14b629155a-d248-4392-a533-5f8085cac923 | Translation Approved (0%) | Prerequisite: Integrative Project Planning and Design | Pré-requisito: Planejamento e Projeto de Projeto Integrativos (Integrative Project Planning and Design) |
| 15e931600a-2591-40c7-bb3c-2cd03f4c480b | Translation Approved (100%) | Required | Obrigatório |
| 166a3ae018-b1bb-4f08-9d32-253bd3c5df89 | Translation Approved (91%) | This prerequisite applies to: | Este pré-requisito se aplica a: |
| 176b682c1f-7c5d-4837-aaef-7e7203daf86b | Translation Approved (100%) | Healthcare | Setor de Saúde (Healthcare) |
| 18061b8bf7-6d51-49d8-835a-7038f8f7b2ca | Translation Approved (100%) | Intent | Objetivo |
| 1942d1a5ea-a1b2-4ea3-bd44-b6a394dbf6eb | Translation Approved (0%) | Maximize opportunities for integrated, cost-effective adoption of green design and construction strategies, emphasizing human health as a fundamental evaluative criterion for building design, construction and operational strategies. | Maximizar oportunidades para a adoção integrada e econômica de estratégias de projeto e construção verdes, enfatizando a saúde humana como um critério de avaliação fundamental para estratégias de projeto, construção e operação de edifícios. |
| 2042d1a5ea-a1b2-4ea3-bd44-b6a394dbf6eb | Translation Approved (0%) | Utilize innovative approaches and techniques for green design and construction. | Utilizar abordagens e técnicas inovadoras de projeto e construção verdes. |
| 21279d1945-c196-4c79-8447-d30b1d1be6a8 | Translation Approved (100%) | Requirements | Requisitos |
| 2263b2dfaf-df33-4841-8676-5f9b1ad7ce09 | Translation Approved (100%) | Healthcare | Setor de Saúde (Healthcare) |
| 2310ae77a6-6002-4001-980a-f68ca2d656d4 | Translation Approved (0%) | Use cross-discipline design and decision making, beginning in the programming and pre-design phase. | Use projeto e tomada de decisões multidisciplinares, começando na fase de programação e pré-projeto. |
| 2410ae77a6-6002-4001-980a-f68ca2d656d4 | Translation Approved (0%) | At a minimum, ensure the following process: | No mínimo, garantir o seguinte processo: |
| 2525508e43-dfde-4f6c-a69d-cd54ba1dbae6 | Translation Approved (85%) | Owner’s Project Requirements Document. | Documento de Requisitos do projeto do proprietário. |
| 2625508e43-dfde-4f6c-a69d-cd54ba1dbae6 | Translation Approved (0%) | Prepare an Owner’s Project Requirements (OPR) document. | Prepare um documento de Requisitos do projeto do proprietário (Owner’s Project Requirements – OPR). |
| 2725508e43-dfde-4f6c-a69d-cd54ba1dbae6 | Translation Approved (0%) | Develop a health mission statement and incorporate it in the OPR. | Desenvolva uma declaração da missão de saúde e incorporá-la ao OPR. |
| 2825508e43-dfde-4f6c-a69d-cd54ba1dbae6 | Translation Approved (0%) | The health mission statement must address "triple bottom line" values—economic, environmental and social. | A declaração da missão de saúde deve tratar dos valores da "triple bottom line" – econômicos, ambientais e sociais. |
| 2925508e43-dfde-4f6c-a69d-cd54ba1dbae6 | Translation Approved (0%) | Include goals and strategies to safeguard the health of building occupants, the local community and the global environment, while creating a high-performance healing environment for the building’s patients, caregivers and staff. | metas e estratégias para proteger a saúde dos ocupantes do edifício, a comunidade local e o ambiente global, criando ao mesmo tempo um ambiente de tratamento de alto desempenho para pacientes, profissionais de saúde e funcionários do edifício. |
| 303b46b00f-3ae4-4f49-a666-dfbe0d82bc28 | Translation Approved (0%) | Preliminary Rating Goals. | Metas de avaliação preliminares. |
| 313b46b00f-3ae4-4f49-a666-dfbe0d82bc28 | Translation Approved (0%) | As early as practical and preferably before schematic design, conduct a preliminary LEED meeting with a minimum of four key project team members and the owner or owner’s representative. | Assim que possível, preferivelmente antes do projeto esquemático, conduza uma reunião preliminar LEED com pelo menos quatro dos principais membros da equipe de projeto e o proprietário ou um representante do proprietário. |
| 323b46b00f-3ae4-4f49-a666-dfbe0d82bc28 | Translation Approved (0%) | As part of the meeting, create a LEED<47>®</47> action plan that, at a minimum: | Como parte da reunião, crie um plano de ação LEED<47>®</47> que, no mínimo: |
| 33e7be8b8e-0046-47fa-9e98-bea6ca4edb11 | Translation Approved (0%) | Determines the LEED certification level to pursue (Certified, Silver, Gold, or Platinum); | Determine o nível de certificação LEED a ser obtido (Certificado, Silver, Gold ou Platinum); |
| 348a2379c1-c9df-4a6b-931f-d558fd4ecb0b | Translation Approved (0%) | Selects the LEED credits to meet the targeted certification level; and | Selecione os créditos LEED para obter o nível de certificação visado; e |
| 35ab16140d-d9c8-4b15-b604-e576c9abfaae | Translation Approved (0%) | Identifies the responsible parties to ensure the LEED requirements for each prerequisite and selected credit are met. | Identifique as partes responsáveis por garantir que os requisitos LEED de cada pré-requisito e crédito selecionados sejam atendidos. |
| 36942a4940-9202-4824-8045-8bd6ce53ca8c | Translation Approved (76%) | Integrated Project Team. | Equipe de projeto integrado. |
| 37942a4940-9202-4824-8045-8bd6ce53ca8c | Translation Approved (0%) | Assemble an integrated project team and include as many of the following professionals as feasible (minimum of four), in addition to the owner or owner’s representative. | Reúna uma equipe de projeto integrado e inclua o máximo possível dos seguintes profissionais (no mínimo quatro), além do proprietário ou um representante do proprietário. |
| 38785097f3-45d4-4b95-bf51-d79722dc68ef | Translation Approved (0%) | Owner’s capital budget manager | Gerente de orçamento de capital do proprietário |
| 39b766e540-89d9-4281-b547-860605ef1228 | Translation Approved (0%) | Architect or building designer | Arquiteto ou projetista |
| 408f81a18b-c4e0-4a27-a924-bd5713a3cca9 | Translation Approved (98%) | Mechanical engineer | Engenheiro mecânico |
| 41a9376e1a-ac3e-4714-b18a-747b9738d424 | Translation Approved (96%) | Structural engineer | Engenheiro de estrutura |
| 42ab6555e0-5984-4058-9dd4-b1a09b6e56dc | Translation Approved (84%) | Energy modeler | Modelador de energia |
| 43c5255400-61dc-4ac9-9752-bcecee211846 | Translation Approved (0%) | Equipment planner | Planejador de equipamentos |
| 44ac45c306-ba15-49dc-8e5c-5428a827cf27 | Translation Approved (96%) | Acoustical consultant | Consultor acústico |
| 45411635a6-ee09-48db-94f3-6d484212f3f1 | Translation Approved (0%) | Telecommunications designer | Projetista de telecomunicações |
| 46e530599b-7ead-4c9e-bbb9-3812f360770b | Translation Approved (0%) | Controls designer | Projetista de controles |
| 4714df1187-fb59-402b-9258-39bd930cbbc1 | Translation Approved (0%) | Food Service Consultant | Consultor do serviço de alimentação |
| 4897034cb6-03a0-4f93-8073-6e753f3c9441 | Translation Approved (0%) | Infection Control Staff | Funcionário do controle de infecções |
| 49de49e10d-02e8-42be-a876-0fb1ecfd62e3 | Translation Approved (0%) | Building science or performance testing agents | Agentes de testes de desempenho e ciência do edifício |
| 502761797c-c38a-4751-9125-94d8656c6c44 | Translation Approved (0%) | Green building or sustainable design consultant | Consultor de construção verde ou projeto sustentável |
| 5166bad2d8-4f4f-4745-9cf6-6785d62a00e6 | Translation Approved (0%) | Facility green teams | Equipes verdes do edifício |
| 52debbbbd7-d897-4463-8ba6-deff7a9d3255 | Translation Approved (0%) | Physician and nursing teams | Equipes de médicos e enfermeiros |
| 534f22f0ac-84d1-4d0b-8ca5-4089e415cb71 | Translation Approved (84%) | Facility managers | Gerentes da instalação |
| 54c7539ade-6294-41ff-962b-4b8aa5d7d637 | Translation Approved (CM) | Environmental services staff | Funcionário de serviços ambientais |
| 557fd2f927-4589-45ed-ba01-b49fe520d1fd | Translation Approved (0%) | Functional and space programmers | Programadores funcionais e de espaço |
| 56ebd8baeb-6b7d-4330-bd69-ca9de4c954d5 | Translation Approved (96%) | Commissioning agent | Agente de comissionamento |
| 57f4121e06-3373-4f9b-b9dd-545ac38c9d6e | Translation Approved (0%) | Community representatives | Representantes da comunidade |
| 58f29b32f2-be46-470f-a439-3c8b462f5a37 | Translation Approved (100%) | Civil engineer | Engenheiro civil |
| 597d137b3a-992b-41fe-89e7-ab42eff795c4 | Translation Approved (98%) | Landscape architect | Arquiteto paisagista |
| 60fabca6fa-a92a-44ee-bcf5-7f0a39bac4a1 | Translation Approved (0%) | Ecologist | Ecologista |
| 61114e860e-5fae-450c-a41e-6643a00bcad2 | Translation Approved (CM) | Land planner | Planejador de terreno |
| 620a486e18-b423-4385-8024-5a284f135760 | Translation Approved (0%) | Construction manager or general contractor | Gerente de construção civil ou empreiteiro geral |
| 63705af7b9-3468-4517-b27b-6140b2cfa4bf | Translation Approved (0%) | Life cycle cost analyst; construction cost estimator | Analista de custo do ciclo de vida; avaliador do custo da construção |
| 6450144eae-38d2-4b20-8ada-e9e62c5ad602 | Translation Approved (100%) | Lighting Designer | Designer de iluminação |
| 651f3f3e9e-0342-43b8-a1be-eaff48c322bf | Translation Approved (CM) | Other disciplines appropriate to the specific project type | Outras disciplinas adequadas ao tipo específico de projeto |
| 66ec922995-2cf1-4fdd-bc7e-f6f57ceb676a | Translation Approved (CM) | Design Charrette. | Charrette do projeto. |
| 67ec922995-2cf1-4fdd-bc7e-f6f57ceb676a | Translation Approved (CM) | As early as practical and preferably before schematic design, conduct a minimum four-hour , integrated design charrette with the project team as defined above. | Assim que possível, e preferivelmente antes do projeto esquemático, conduza uma charrette do projeto integrado, de no mínimo quatro horas de duração, com a equipe de projeto definida acima. |
| 68ec922995-2cf1-4fdd-bc7e-f6f57ceb676a | Translation Approved (CM) | The goal is to optimize the integration of green strategies across all aspects of building design, construction and operations, drawing on the expertise of all participants. | A meta é otimizar a integração de estratégias verdes em todos os aspectos do projeto, construção e operação do edifício, aproveitando a experiência de todos os participantes. |
| 695968b5ea-33f3-4d15-9803-e1bdb8a2ff8d | Translation Approved (CM) | Credit: Integrative Process | Crédito: Processo Integrativo (Integrative Process) |
| 7087309042-f97d-47bb-a404-f2bd55e7d755 | Translation Approved (0%) | BD&C | BD&C |
| 71524848a9-664c-4feb-bf4c-791bbb9f1046 | Translation Approved (100%) | 1 point | 1 ponto |
| 7202ca2f5d-6421-468a-8a7e-3df5cbd0bc99 | Translation Approved (CM) | This credit applies to | Este crédito se aplica a |
| 73e6688656-dcea-4895-ac59-4552b0bd7e9f | Translation Approved (CM) | New Construction | Nova Construção (New Construction) |
| 74f01357a2-9962-438a-a8b8-b9e7e39caaff | Translation Approved (0%) | Core & Shell | Núcleo e Casca (Core & Shell) |
| 75c1d560cf-7562-4fcb-8a1c-0f78a330ada9 | Translation Approved (100%) | Schools | Escolas (Schools) |
| 76fc83a983-ed9f-4f81-8b36-4c6df66f3f2f | Translation Approved (100%) | Retail | Varejo (Retail) |
| 7755d7f274-da1d-440f-abf9-ccfaf463e66e | Translation Approved (100%) | Data Centers | Centros de Dados (Data Centers) |
| 7863f4cc44-228d-4c92-a562-2a17ffba850c | Translation Approved (0%) | Warehouses & Distribution Centers | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) |
| 797c416969-7398-4880-be79-6ebdc5c4080d | Translation Approved (100%) | Hospitality | Hoteleiro (Hospitality) |
| 800f8a8d90-118e-4d95-89db-2a278315dac2 | Translation Approved (100%) | Healthcare | Setor de Saúde (Healthcare) |
| 81ab33a794-8523-4266-be33-dda037a3f4b4 | Translation Approved (100%) | Intent | Objetivo |
| 828f3f3633-57a2-4864-b9a1-d46d516ea27e | Translation Approved (CM) | To support high-performance, cost-effective project outcomes through an early analysis of the interrelationships among systems. | Apoiar resultados de projetos econômicos de alto desempenho do projeto por meio de uma análise prévia dos inter-relacionamentos entre sistemas. |
| 83884a9c38-3d6a-4032-84b5-9b3e8adb0ab6 | Translation Approved (100%) | Requirements | Requisitos |
| 842d9492d5-a334-406a-aad5-a49d763e4519 | Translation Approved (0%) | NC, CS, Schools, Retail, Data Centers, Warehouses & Distribution Centers, Hospitality, Healthcare | NC, CS, Escolas (Schools), Varejo (Retail), Centros de Dados (Data Centers), Armazéns e Centros de Distribuição (Warehouses & Distribution Centers), Hoteleiro (Hospitality), Setor de Saúde (Healthcare) |
| 85cb58a759-524a-4e82-9bdf-9c6288ab2c58 | Translation Approved (96%) | Beginning in pre-design and continuing throughout the design phases, identify and use opportunities to achieve synergies across disciplines and building systems. | Começando no pré-projeto e continuando durante as fases do projeto, identifique e use as oportunidade para obter sinergias entre as disciplinas e os sistemas de construção. |
| 86cb58a759-524a-4e82-9bdf-9c6288ab2c58 | Translation Approved (100%) | Use the analyses described below to inform the owner’s project requirements (OPR), basis of design (BOD), design documents, and construction documents. | Utilize as análises descritas abaixo para informar os requisitos do projeto do proprietário (owner’s project requirements - OPR), a base do projeto (basis of design - BOD), os documentos do projeto e os documentos da construção. |
| 870e14a561-3ad3-41d0-8f5c-c4195fb30bc7 | Translation Approved (100%) | Energy-Related Systems | Sistemas de energia |
| 88d349a404-cfed-4909-98f2-9f287d362355 | Translation Approved (0%) | <167>Discovery:</167> Perform a preliminary “simple box” energy modeling analysis before the completion of schematic design that explores how to reduce energy loads in the building and accomplish related sustainability goals by questioning default assumptions. | <167>Descoberta:</167> Execute uma análise de modelagem de energia simples ("simple box") preliminar antes da conclusão do projeto esquemático que explore como reduzir as cargas de energia no edifício e alcançar metas de sustentabilidade relacionadas questionando premissas padrão. |
| 89d349a404-cfed-4909-98f2-9f287d362355 | Translation Approved (0%) | Assess at least two potential strategies associated with the following: | Avalie pelo menos duas estratégias em potencial associadas ao seguinte: |
| 90bb0f70ce-023e-4a8d-91bd-ffcbec5f034b | Translation Approved (0%) | Site conditions. | Condições do terreno. |
| 91bb0f70ce-023e-4a8d-91bd-ffcbec5f034b | Translation Approved (0%) | Assess shading, exterior lighting, hardscape, landscaping, and adjacent site conditions. | Avalie sombreamento, iluminação externa, hardscape, paisagismo e condições de terrenos adjacentes. |
| 922e13ecfd-80de-40ee-b8f6-caa2dad72fab | Translation Approved (0%) | Massing and orientation. | Massa térmica e orientação. |
| 932e13ecfd-80de-40ee-b8f6-caa2dad72fab | Translation Approved (0%) | Assess massing and orientation affect HVAC sizing, energy consumption, lighting, and renewable energy opportunities. | Avalie a massa térmica e a orientação que afetam o dimensionamento de HVAC, consumo de energia, iluminação e oportunidades de energia renovável. |
| 94b5796adb-1304-4ffc-9a54-9255aafdde9d | Translation Approved (100%) | Basic envelope attributes. | Atributos básicos do envelope. |
| 95b5796adb-1304-4ffc-9a54-9255aafdde9d | Translation Approved (0%) | Assess insulation values, window-to-wall ratios, glazing characteristics, shading, and window operability. | Avalie valores de isolamento, coeficientes janela-parede, características de vidraças, sombreamento e operabilidade de janelas. |
| 968aa85e9a-5f5d-48b5-a968-fa8d88fd89c4 | Translation Approved (100%) | Lighting levels. | Níveis de Iluminação. |
| 978aa85e9a-5f5d-48b5-a968-fa8d88fd89c4 | Translation Approved (93%) | Assess interior surface reflectance values and lighting levels in occupied spaces. | Avalie valores de refletância de superfícies e níveis de iluminação internos em espaços ocupados. |
| 98c3b62e7f-ae9a-4e8b-b673-35c150adea0c | Translation Approved (100%) | Thermal comfort ranges. | Faixas de conforto térmico. |
| 99c3b62e7f-ae9a-4e8b-b673-35c150adea0c | Translation Approved (CM) | Assess thermal comfort range options. | Avalie as opções de faixas de conforto térmico. |
| 100e4539d0b-36d2-4736-abd9-7bb5b1b1a2e9 | Translation Approved (CM) | Plug and process load needs. | Necessidades de cargas de tomada e de processo. |
| 101e4539d0b-36d2-4736-abd9-7bb5b1b1a2e9 | Translation Approved (82%) | Assess reducing plug and process loads through programmatic solutions (e.g., equipment and purchasing policies, layout options). | Avalie a redução de cargas de tomada e de processo por meio de soluções programáticas como políticas de equipamentos e de compra ou opções de layout. |
| 1028a74c682-99ee-4cef-80f7-df80a8781389 | Translation Approved (100%) | Programmatic and operational parameters. | Parâmetros programáticos e operacionais. |
| 1038a74c682-99ee-4cef-80f7-df80a8781389 | Translation Approved (0%) | Assess multifunctioning spaces, operating schedules, space allotment per person, teleworking, reduction of building area, and anticipated operations and maintenance. | Avalie espaços multifuncionais, programações operacionais, alocação de espaço por pessoa, teletrabalho, redução da área construída e operações e manutenção previstas. |
| 1044f032a9e-6e49-4694-a95f-092449a1a562 | Translation Approved (0%) | <178>Implementation:</178> Document how the above analysis informed design and building form decisions in the project’s OPR and BOD and the eventual design of the project, including the following, as applicable: | <178>Implementação:</178> Documente como a análise acima auxiliou nas decisões sobre projeto e forma de construção no OPR e na BOD do projeto e o design final do projeto, incluindo o seguinte, conforme aplicável: |
| 10554de7c37-ece6-4803-b5f3-2fac464a824a | Translation Approved (0%) | Building and site program; | Programa do edifício e do terreno; |
| 106312aa5de-a526-4d04-bb17-2516b59660ea | Translation Approved (0%) | Building form and geometry; | Geometria e forma do edifício; |
| 1077547fd82-b524-419d-8722-d3c5817d92da | Translation Approved (0%) | Building envelope and façade treatments on different orientations; | Tratamentos do envelope e da fachada do edifício em diferentes orientações; |
| 10838ef91c4-48ed-4e7d-bd22-3f9b7b597a39 | Translation Approved (0%) | Elimination and/or significant downsizing of building systems (e.g., HVAC, lighting, controls, Exterior materials, interior finishes, and functional program elements); and | Eliminação e/ou redução significativa dos sistemas do edifício (por exemplo, HVAC, iluminação, controles, materiais externos, acabamentos internos e elementos de programas funcionais); e |
| 1094f910ed1-2c2c-4296-a3a4-a69d779beb66 | Translation Approved (0%) | Other systems. | Outros sistemas. |
| 110eda3c622-c9ab-46fc-8edd-f95302ee75d8 | Translation Approved (100%) | AND | E |
| 11194e6e0b0-4892-445c-af9e-b8c26ad6c167 | Translation Approved (0%) | Water-Related Systems | Sistemas de água |
| 112ce6b216e-d583-49cb-b0c8-79fcc3c803ac | Translation Approved (77%) | <180>Discovery:</180> Perform a preliminary water budget analysis before the completion of schematic design that explores how to reduce potable water loads in the building and accomplish related sustainability goals. | <180>Descoberta:</180> Execute uma análise preliminar do orçamento hidráulico antes da conclusão do projeto esquemático que explore como reduzir as cargas de água potável no edifício e alcançar as metas de sustentabilidade relacionadas. |
| 113ce6b216e-d583-49cb-b0c8-79fcc3c803ac | Translation Approved (100%) | Assess and estimate the project’s potential nonpotable water supply sources and water demand volumes, including the following: | Avalie e estime as fontes em potencial de abastecimento de água não potável e os volumes de demanda de água do projeto, incluindo o seguinte: |
| 114756653b6-64aa-41a9-8b1e-f4e1de48176c | Translation Approved (73%) | Indoor water demand. | Demanda de água interna. |
| 115756653b6-64aa-41a9-8b1e-f4e1de48176c | Translation Approved (92%) | Assess flow and flush fixture design case demand volumes, calculated in accordance with WE Prerequisite Indoor Water Use Reduction. | Avalie os volumes de demanda no caso de projetos de dispositivos de vazão e de descarga, calculados de acordo com o Pré-requisito WE, Redução do Uso de Água Interno (WE Prerequisite: Indoor Water Use Reduction). |
| 1161751bcea-cc7e-42a2-8a16-5a1614529c8f | Translation Approved (78%) | Outdoor water demand. | Demanda de água externa. |
| 1171751bcea-cc7e-42a2-8a16-5a1614529c8f | Translation Approved (0%) | Assess landscape irrigation design case demand volume calculated in accordance with WE Credit Outdoor Water-Use Reduction. | Avalie o volume de demanda no caso de projetos de irrigação de paisagismo, calculado de acordo com o Crédito WE: Redução do Uso de Água Externo (WE Credit: Outdoor Water Use Reduction). |
| 1182975b051-03d0-4b00-836a-5f271b8b4636 | Translation Approved (78%) | Process water demand. | Demanda de água de processo. |
| 1192975b051-03d0-4b00-836a-5f271b8b4636 | Translation Approved (CM) | Assess kitchen, laundry, cooling tower, and other equipment demand volumes, as applicable. | Avalie os volumes de demanda de equipamentos de cozinha, lavanderia, torres de resfriamento e outros equipamentos, conforme aplicável. |
| 1206ea6c3d5-5225-4169-91e8-f2613a196860 | Translation Approved (CM) | Supply sources. | Fontes de abastecimento. |
| 1216ea6c3d5-5225-4169-91e8-f2613a196860 | Translation Approved (CM) | Assess all potential nonpotable water supply source volumes, such as on-site rainwater and graywater, municipally supplied nonpotable water, and HVAC equipment condensate. | Avalie todos os volumes de fontes de abastecimento de água não potável em potencial, como águas de chuva e água cinza no local, água não potável fornecida pelo município e condensado de equipamentos de HVAC. |
| 1223dbba7b7-ff7b-4f0f-b432-6f5dd7730eca | Translation Approved (0%) | <187>Implementation:</187> Document how the above analysis informed building and site design decisions in the project’s OPR and BOD. | <187>Implementação:</187> Documente como a análise acima auxiliou nas decisões do projeto do edifício e do terreno no OPR e na BOD do projeto. |
| 1233dbba7b7-ff7b-4f0f-b432-6f5dd7730eca | Translation Approved (92%) | Demonstrate how at least one on-site nonpotable water supply source was used to reduce the burden on municipal supply or wastewater treatment systems by contributing to at least two of the water demand components listed above. | Demonstre como pelo menos uma fonte de abastecimento de água não potável no local foi usada para reduzir a sobrecarga no abastecimento ou sistemas de tratamento de água residuária municipais, contribuindo com os componentes de demanda de água listados acima. |
| 1243dbba7b7-ff7b-4f0f-b432-6f5dd7730eca | Translation Approved (0%) | Demonstrate how the analysis informed the design of the project, including the following, as applicable: | Demonstre como a análise auxiliou no design do projeto, incluindo o seguinte, conforme aplicável: |
| 125e017ac3b-11ea-40e9-b508-ad2ada3737f6 | Translation Approved (100%) | plumbing systems; | sistemas hidráulicos; |
| 12694c4e68e-2821-47ca-9518-ab39eed71354 | Translation Approved (CM) | sewage conveyance and/or on-site treatment systems; | transporte de esgoto e/ou sistemas de tratamento no local; |
| 127d37688b0-3e25-44a3-8a91-7ac45f83d564 | Translation Approved (0%) | rainwater quantity and quality management systems; | sistemas de gestão de quantidade e qualidade da água da chuva; |
| 128dde19885-3565-43cf-ada6-c41f455d2ea0 | Translation Approved (0%) | landscaping, irrigation, and site elements; | paisagismo, irrigação e elementos do terreno; |
| 12928f48afb-d370-44c2-b86e-6b504ffa1fac | Translation Approved (0%) | roofing systems and/or building form and geometry; and | sistemas de telhado e/ou forma e geometria do edifício; e |
| 130cfe31d6d-1698-4558-a1ab-81ff90be001b | Translation Approved (100%) | other systems. | outros sistemas. |
| 131462332cd-f067-4959-bcd4-79e662cc80d4 | Translation Approved (88%) | Location and Transporation (LT) | Local e Transporte (Location and Transportation - LT) |
| 132d325577d-23a8-4288-b1a7-d9478db9d9d7 | Translation Approved (100%) | LT Credit: LEED for Neighborhood Development Location | Crédito LT: LEED para Local de Desenvolvimento do Bairro (LT Credit: LEED for Neighborhood Development Location) |
| 1334f0a79af-dd41-479f-8884-96287c4625d7 | Translation Approved (100%) | BD&C | BD&C |
| 1344e7a191c-25e2-4c9c-bdf7-e6846fb5632b | Translation Approved (89%) | 3–16 points | 3 a 16 pontos |
| 135a049fb42-0431-4ec4-8627-e5dbabd584b6 | Translation Approved (100%) | This credit applies to | Este crédito se aplica a |
| 1368bf8a55b-9e31-4a40-a3e6-9a5a2ad79a7e | Translation Approved (0%) | New Construction (8–16 points) | Nova Construção (New Construction) (8 a 16 pontos) |
| 1373eb1ddf6-9e92-4504-85e8-34c9e87ed56b | Translation Approved (0%) | Core & Shell (8–20 points) | Núcleo e Casca (Core & Shell) (8 a 20 pontos) |
| 1388bb2c078-28ee-45e5-ade2-207db8ed22d2 | Translation Approved (0%) | Schools (8–15 points) | Escolas (Schools) (8 a 15 pontos) |
| 139e844f378-c34f-433e-8e8a-b815c2533517 | Translation Approved (0%) | Retail (8–16 points) | Varejo (Retail) (8 a 16 pontos) |
| 1409cea9f8d-aea7-4216-815b-d76ea64a97cb | Translation Approved (0%) | Data Centers (8–16 points) | Centros de Dados (Data Centers) (8 a 16 pontos) |
| 141a6e575e0-14d1-4581-b474-e8f621dfc23b | Translation Approved (0%) | Warehouses & Distribution Centers (8–16 points) | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) (8 a 16 pontos) |
| 1429a886aa4-e64d-4a91-b7f6-6501ad5c5c2c | Translation Approved (0%) | Hospitality (8–16 points) | Hoteleiro (Hospitality) (8 a 16 pontos) |
| 1431588d4f7-a39b-444a-8ce7-3ad36476fac1 | Translation Approved (0%) | Healthcare (5–9 points) | Setor de Saúde (Healthcare) (5 a 9 pontos) |
| 144551ca25f-70ef-4514-8324-d26f9a733f7c | Translation Approved (100%) | Intent | Objetivo |
| 1452a1aaa32-93ab-4f45-8de4-e399770f5246 | Translation Approved (0%) | To avoid development on inappropriate sites. | Evitar empreendimentos em terrenos inadequados. |
| 1462a1aaa32-93ab-4f45-8de4-e399770f5246 | Translation Approved (CM) | To reduce vehicle distance traveled. | Reduzir a distância de percorrida por veículos. |
| 1472a1aaa32-93ab-4f45-8de4-e399770f5246 | Translation Approved (CM) | To enhance livability and improve human health by encouraging daily physical activity. | Aumentar a qualidade de vida e melhorar a saúde humana incentivando atividades físicas diárias. |
| 14893cce111-446b-431e-a660-b7a9505babfe | Translation Approved (100%) | Requirements | Requisitos |
| 14912e7c231-55ff-4353-b8b6-8dc68e142e27 | Translation Approved (100%) | NC, CS, Schools, Retail, Data Centers, Warehouses & Distribution Centers, Hospitality, Healthcare | NC, CS, Escolas (Schools), Varejo (Retail), Centros de Dados (Data Centers), Armazéns e Centros de Distribuição (Warehouses & Distribution Centers), Hoteleiro (Hospitality), Setor de Saúde (Healthcare) |
| 150e6ac9f3f-3384-446f-bb95-79f4e1091e59 | Translation Approved (100%) | Locate the project within the boundary of a development certified under LEED for Neighborhood Development (Stage 2 or Stage 3 under the Pilot or 2009 rating systems, Certified Plan or Certified Project under the LEED v4 rating system). | Localize o projeto dentro do limite de um empreendimento certificado nos termos de LEED para Desenvolvimento do Bairro (LEED for Neighborhood Development) (Estágio 2 ou Estágio 3 nos termos do sistemas de avaliação piloto ou de 2009, Plano Certificado ou Projeto Certificado pelo sistema de avaliação LEED v4). |
| 151a595a493-47f3-4770-9d84-e62476fa2fdb | Translation Approved (CM) | Projects attempting this credit are not eligible to earn points under other Location and Transportation credits. | Os projetos que estiverem tentando obter este crédito não estão qualificados para obter pontos de outros créditos de Local e Transporte. |
| 1528a523c48-6c7d-440a-a5a2-a578abad3aea | Translation Approved (100%) | Table 1. | Tabela 1. |
| 1538a523c48-6c7d-440a-a5a2-a578abad3aea | Translation Approved (CM) | Points for LEED ND location. | Pontos para local do LEED ND. |
| 154ce6c1d64-b8da-4bf1-a2ee-f902a047b790 | Translation Approved (84%) | Certification level | Nível de certificação |
| 155bde74125-ed3a-41b8-bacd-bde27f6d2083 | Translation Approved (0%) | Points BD&C | Pontos BD&C |
| 15613450d5d-a7cc-44e0-9da8-d7bd573ca006 | Translation Approved (0%) | Points BD&C (Core and Shell) | Pontos BD&C (Núcleo e Casca) |
| 157c83a7aae-87a0-4859-8ff7-2bb2efbb9958 | Translation Approved (0%) | Points BD&C (Schools) | Pontos BD&C (Escolas) |
| 158e1a28294-cec0-40b3-a3b5-377d1c93a61c | Translation Approved (0%) | Points BD&C (Healthcare) | Pontos BD&C (Setor de saúde) |
| 1593d1c0a8d-ac16-4f41-ad60-d4391ff0817c | Translation Approved (100%) | Certified | Certificado |
| 160a84b66e1-9a95-4271-9b1b-9275091b22fa | Translation Approved (100%) | 8 | 8 |
| 161abf1df79-b319-45fb-9d8c-964dde6173d2 | Translation Approved (100%) | 8 | 8 |
| 16253841fcf-24fc-4d37-a81f-1164f3dcc2b9 | Translation Approved (100%) | 8 | 8 |
| 1635092575a-0f3b-43ab-af0e-cd6c83963343 | Translation Approved (100%) | 5 | 5 |
| 164f919c4a8-972b-451e-9034-d612fed1def3 | Translation Approved (100%) | Silver | Silver |
| 1651a4f6d4d-65c8-4b2f-b7aa-1ec1b6eb8554 | Translation Approved (100%) | 10 | 10 |
| 166a4ce38f7-22a2-4653-9225-f3b56936d3d2 | Translation Approved (100%) | 12 | 12 |
| 16718fe82e5-7d2f-41bc-afe2-a83fe8e509c3 | Translation Approved (100%) | 10 | 10 |
| 1682c1857d9-fd81-4ea2-b3cd-a18474c8c7f8 | Translation Approved (100%) | 6 | 6 |
| 1696bfd4a1f-1f9e-4b07-8308-a77f717cb8c4 | Translation Approved (100%) | Gold | Gold |
| 170a819fbc0-6dd1-4eaf-9085-d1da048c9ae3 | Translation Approved (100%) | 12 | 12 |
| 171f73fcf8d-ac65-424a-bb62-dbf94e09cc00 | Translation Approved (100%) | 16 | 16 |
| 1725300bee1-f418-4158-a3a2-e25ccad6cc72 | Translation Approved (100%) | 12 | 12 |
| 173ef3b9545-9613-4667-b7bb-ebf07a9e3d02 | Translation Approved (100%) | 7 | 7 |
| 1744b6a7ebf-0e0c-40bd-9639-f01c6c0f3739 | Translation Approved (100%) | Platinum | Platinum |
| 17561cb3097-019a-46dd-8615-164c7e671fc4 | Translation Approved (100%) | 16 | 16 |
| 176ff9cb883-7a2f-4b48-9b3a-06eecdf90c5e | Translation Approved (100%) | 20 | 20 |
| 17765523706-0af4-4516-aec3-5ffab9a64fe9 | Translation Approved (100%) | 15 | 15 |
| 178fdd1a709-24e8-45a9-80e5-2be80067ccf4 | Translation Approved (100%) | 9 | 9 |
| 17935225896-c41a-4ab4-a8be-9f79f3ee5710 | Translation Approved (0%) | LT Credit: Sensitive Land Protection | Crédito LT: Proteção de Terrenos Sensíveis (LT Credit: Sensitive Land Protection) |
| 180205fa62c-1d9d-4944-bdca-7d4445038c46 | Translation Approved (100%) | BD&C | BD&C |
| 1819de68122-a772-438f-a47c-bf07e9dbeb33 | Translation Approved (100%) | 1-2 points | 1 a 2 pontos |
| 182416718c8-02da-4e4d-8700-e2a7e31b4120 | Translation Approved (100%) | This credit applies to | Este crédito se aplica a |
| 183d749c4f8-4764-4a18-a1e4-8f2251afc2a1 | Translation Approved (71%) | New Construction (1 point) | Nova Construção (New Construction) (1 ponto) |
| 18459235ed2-46ab-47f6-94a3-15453f148175 | Translation Approved (0%) | Core & Shell (2 points) | Núcleo e Casca (Core & Shell) (2 pontos) |
| 18540da9feb-7142-41d3-9016-c52506b3a3cd | Translation Approved (0%) | Schools (1 point) | Escolas (Schools) (1 ponto) |
| 1867a84b496-0b1e-4113-8aec-e535b7f1b2f6 | Translation Approved (0%) | Retail (1 point) | Varejo (Retail) (1 ponto) |
| 18719217f06-e4d9-4369-9f3b-5d79df9add94 | Translation Approved (0%) | Data Centers (1 point) | Centros de Dados (Data Centers) (1 ponto) |
| 188d0cdeff5-2e82-4e56-ab9e-b411a5122ada | Translation Approved (0%) | Warehouses & Distribution Centers (1 point) | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) (1 ponto) |
| 189474f73aa-0b02-46d7-944b-9a409b501a77 | Translation Approved (0%) | Hospitality (1 point) | Hoteleiro (Hospitality) (1 ponto) |
| 19091103d7e-0e0d-468c-b74b-a98277c7208d | Translation Approved (0%) | Healthcare (1 point) | Setor de Saúde (Healthcare) (1 ponto) |
| 1912f95e93e-ffaa-4743-a7fd-daefebba76c5 | Translation Approved (100%) | Intent | Objetivo |
| 19219e3bbb9-0dec-4d9a-95c2-78207061d2f3 | Translation Approved (0%) | To avoid the development of environmentally sensitive lands and reduce the environmental impact from the location of a building on a site. | Evitar empreendimentos em terrenos ambientalmente sensíveis e reduzir o impacto ambiental do local de um edifício em um terreno. |
| 19335c584bc-eca3-4b63-9fde-5ea82a6d40f9 | Translation Approved (100%) | Requirements | Requisitos |
| 19435b5ee06-b8a8-419f-abd8-a622ecfa7270 | Translation Approved (100%) | NC, CS, Schools, Retail, Data Centers, Warehouses & Distribution Centers, Hospitality, Healthcare | NC, CS, Escolas (Schools), Varejo (Retail), Centros de Dados (Data Centers), Armazéns e Centros de Distribuição (Warehouses & Distribution Centers), Hoteleiro (Hospitality), Setor de Saúde (Healthcare) |
| 1954ae8617d-cae4-4553-9c9d-be265972015b | Translation Approved (0%) | Option 1. | Opção 1. |
| 196da7d1dbc-aadb-418b-b757-1a11fa449580 | Translation Approved (0%) | Locate the development footprint on land that has been <273>previously developed</273>. | Localize a área de projeção do empreendimento em um terreno <273>desenvolvido previamente</273>. |
| 197a2dcc200-17b4-4a72-becb-acd637a0bfe9 | Translation Approved (100%) | OR | OU |
| 1982f53136e-7e85-4072-9d98-c7bcb75fc86f | Translation Approved (100%) | Option 2. | Opção 2. |
| 19938d48af0-6c3d-48ae-b535-f6f909ee6f26 | Translation Approved (0%) | Locate the development footprint on land that has been <274>previously developed</274> or that does not meet the following criteria for sensitive land: | Localize a área de projeção do empreendimento em um terreno <274>desenvolvido previamente</274> ou que não atenda aos seguintes critérios para terrenos sensíveis: |
| 200203c6d80-cda3-43a4-9159-4812b5e9765a | Translation Approved (98%) | Prime farmland. | Prime farmland. |
| 201203c6d80-cda3-43a4-9159-4812b5e9765a | Translation Approved (0%) | Prime farmland, unique farmland, or farmland of statewide or local importance as defined by the U.S. Code of Federal Regulations, Title 7, Volume 6, Parts 400 to 699, Section 657.5 (or local equivalent for projects outside the U.S.) and identified in a state Natural Resources Conservation Service soil survey (or local equivalent for projects outside the U.S.). | Prime farmland, farmland exclusiva ou farmland de importância local ou estadual, conforme definidas pelo Código de Regulamentos Federais dos EUA, Título 7, Volume 6, Partes de 400 a 699, Seção 657.5 (ou equivalente local para projetos fora dos EUA) e identificada em uma pesquisa de solo do Serviço de Conservação de Recursos Naturais estadual (ou equivalente local para projetos fora dos EUA). |
| 2027465677f-1e57-48bf-b0f9-ba276ef9c1df | Translation Approved (0%) | <276>Floodplains</276>. | <276>Planícies alagáveis</276>. |
| 2037465677f-1e57-48bf-b0f9-ba276ef9c1df | Translation Approved (0%) | A flood hazard area shown on a legally adopted flood hazard map or otherwise legally designated by the local jurisdiction or the state. | Uma área com perigo de enchente, indicada em um mapa de risco de enchentes adotado legalmente ou legalmente designada de outra forma pela jurisdição local ou estadual. |
| 2047465677f-1e57-48bf-b0f9-ba276ef9c1df | Translation Approved (0%) | For projects in places without legally adopted flood hazard maps or legal designations, locate on a site that is entirely outside any floodplain subject to a 1% or greater chance of flooding in any given year. | Para projetos em locais sem mapas de perigo de enchente legalmente adotados ou sem designações legais, localize em um terreno que fique completamente fora de qualquer planície alagável sujeita a 1% ou mais de probabilidade de enchente em qualquer ano. |
| 2057782856c-eea4-44f4-bfd3-93a1921f263f | Translation Approved (0%) | <277>Habitat</277>. | <277>Habitat</277>. |
| 2067782856c-eea4-44f4-bfd3-93a1921f263f | Translation Approved (0%) | Land identified as habitat for the following: | Terra identificada como habitat do seguinte: |
| 207db3733f6-9fff-432b-8a60-a4c6d8641951 | Translation Approved (0%) | species listed as threatened or endangered under the U.S. Endangered Species Act or the state’s endangered species act, or | espécies listadas como ameaçadas de extinção pela Lei de Espécies Ameaçadas de Extinção dos EUA ou por leis estaduais de espécies ameaçadas de extinção; ou |
| 2081d732792-72a4-478d-838c-0413f0b44922 | Translation Approved (0%) | species or ecological communities classified by NatureServe as GH (possibly extinct), G1 (critically imperiled), or G2 (imperiled), or | espécies ou comunidades ecológicas classificadas pela NatureServe como GH (possivelmente extintas), G1 (perigosamente ameaçadas) ou G2 (ameaçadas); ou |
| 209222bb94e-dfcf-4d9a-80db-0789945c554c | Translation Approved (0%) | species listed as threatened or endangered specifies under local equivalent standards (for projects outside the U.S.) that are not covered by NatureServe data. | espécies listadas como ameaçadas de extinção pelas normas locais equivalentes (para projetos fora dos EUA) não cobertas por dados da NatureServe. |
| 210f04501ad-069b-47aa-82cf-156693334147 | Translation Approved (0%) | Water bodies. | Cursos de água. |
| 211f04501ad-069b-47aa-82cf-156693334147 | Translation Approved (73%) | Areas on or within 100 feet (30 meters) of a <279>water body</279>, except for minor improvements. | Áreas em ou a uma distância de até 100 pés (30 metros) de um <Italic>curso de água</Italic>, exceto para pequenas melhorias. |
| 212800064df-ffac-458e-92c3-dfce577d6a04 | Translation Approved (0%) | <280>Wetlands</280>. | <280>Zonas úmidas</280>. |
| 213800064df-ffac-458e-92c3-dfce577d6a04 | Translation Approved (89%) | Areas on or within 50 feet (15 meters) of a <281>wetland</281>, except for minor improvements. | Áreas em ou a uma distância de até 50 pés (15 metros) de uma <Italic>zona úmida</Italic>, exceto para pequenas melhorias. |
| 21441d63ead-6352-435b-bbfe-2639d2ec6114 | Translation Approved (0%) | Minor improvements within the wetland and water body buffers may be undertaken to enhance appreciation of them, provided such facilities are open all building users. | Pequenas melhorias dentro da área da zona úmida ou do curso de água podem ser feitas para aperfeiçoar a valorização delas, desde que tais instalações sejam abertas a todos os usuários do edifício. |
| 21541d63ead-6352-435b-bbfe-2639d2ec6114 | Translation Approved (0%) | Only the following improvements are considered minor: | Somente as seguintes melhorias são consideradas pequenas: |
| 216bf98951c-6fbc-403f-ab91-9e21b6e015f1 | Translation Approved (0%) | Bicycle and pedestrian pathways no more than 12 feet wide (3.5 meters), of which no more than 8 feet (2.5 meters) may be impervious; | Caminhos para pedestres e bicicletas com menos de 12 pés (3,5 metros) de largura, dos quais no máximo 8 pés (2,5 metros) podem ser impermeáveis; |
| 217150a2708-3665-432f-a862-964286b1c965 | Translation Approved (0%) | Activities to maintain or restore native natural communities and/or natural hydrology; | Atividades para manter ou restaurar comunidades naturais e/ou a hidrologia natural nativas; |
| 2182b08fa72-ed13-4559-8f39-625bbfd30a38 | Translation Approved (0%) | One single-story structure per 300 linear feet (90 linear meters) on average, not exceeding 500 square feet (45 square meters); | Uma estrutura de um único andar por 300 pés lineares (90 metros lineares) em média, sem exceder 500 pés quadrados (45 metros quadrados); |
| 219242a376b-9f3d-42b6-a882-f7c23b32bea3 | Translation Approved (0%) | Grade changes necessary to ensure public access; | Alterações de nivelamento necessárias para garantir o acesso do público; |
| 22020b4915a-bebe-4522-975f-a40a0c649613 | Translation Approved (84%) | Clearings, limited to one per 300 linear feet (90 linear meters) on average, not exceeding 500 square feet (45 square meters) each; | Limpezas, limitadas a uma por 300 pés lineares (90 metros lineares) em média, sem exceder 500 pés quadrados (45 metros quadrados) cada; |
| 22189177db6-a4bf-40b0-969c-6913e4ebf7fd | Translation Approved (0%) | Removal of the following tree types: | Remoção dos seguintes tipos de árvores: |
| 222d4114d4f-66ed-46bd-bcff-57c5502fa711 | Translation Approved (0%) | Hazardous trees, up to 75% of dead trees | Árvores perigosas, até 75% de árvores mortas |
| 223f94139cb-afa3-47af-8461-a804dd1dd4fe | Translation Approved (0%) | Trees less than 6 inches (150 millimeters) diameter at breast height | Árvores com menos de 6 polegadas (150 mm) de diâmetro na altura do peito |
| 224516703ac-77c8-4193-817a-95e96ff1f061 | Translation Approved (0%) | Up to 20% of trees more than 6 inches (150 millimeters) diameter at breast height with a condition rating of 40% or higher. | Até 20% das árvores com mais de 6 polegadas (150 mm) de diâmetro na altura do peito com avaliação de condição de 40% ou mais |
| 2258450ca70-b536-424d-a49d-00e99f1dcd28 | Translation Approved (0%) | Trees under 40% condition rating | Árvores com avaliação de condição inferior a 40% |
| 226738df26f-361f-4321-b402-f288b37b42eb | Translation Approved (0%) | The condition rating must be based on an assessment by an arborist certified by the International Society of Arboriculture (ISA) using ISA standard measures, or local equivalent for projects outside the U.S. | A avaliação da condição deve se basear em uma avaliação feita por um arborista certificado pela Associação Internacional de Arboricultura (International Society of Arboriculture – ISA) utilizando normas de medição da ISA ou equivalentes locais para projetos fora dos EUA. |
| 227973a0ffe-def7-485e-a17b-fe6262f88554 | Translation Approved (0%) | <282>Brownfield</282> remediation activities. | Atividades de remediação de <282>brownfields</282>. |
| 2287f60f5a9-96d6-46cc-ae23-c0dc836dfa10 | Translation Approved (0%) | LT Credit: High-Priority Site | Crédito LT: Terreno de Alta Prioridade (LT Credit: High-Priority Site) |
| 229757151fc-d9ff-4eac-9d30-955bebdb0cef | Translation Approved (100%) | BD&C | BD&C |
| 23057af1a94-53c0-4026-a15d-852a3bdf3af7 | Translation Approved (89%) | 2-3 points | 2 a 3 pontos |
| 2314256c23b-a85f-4024-979e-fbc02a262eb0 | Translation Approved (100%) | This credit applies to | Este crédito se aplica a |
| 232acd8d66f-f3ab-44e8-b33d-2cf0583ae869 | Translation Approved (88%) | New Construction (1-2 points) | Nova Construção (New Construction) (1 a 2 pontos) |
| 2331e5f5072-9935-4486-bd4c-6557e71a9c9f | Translation Approved (88%) | Core & Shell (2-3 points) | Núcleo e Casca (Core & Shell) (2 a 3 pontos) |
| 234a8564bda-b3e1-44fd-91e6-c3167db83f57 | Translation Approved (0%) | Schools (1-2 points) | Escolas (Schools) (1 a 2 pontos) |
| 2355b13968c-e516-43bf-92c4-9bd3dbab6ba9 | Translation Approved (0%) | Retail (1-2 points) | Varejo (Retail) (1 a 2 pontos) |
| 2363c8971d8-d20d-45ee-b1a2-2b3a90023eda | Translation Approved (0%) | Data Centers (1-2 points) | Centros de Dados (Data Centers) (1 a 2 pontos) |
| 2375a124fb8-9957-498c-ad4c-ec9f5343ba68 | Translation Approved (0%) | Warehouses & Distribution Centers (1-2 points) | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) (1 a 2 pontos) |
| 238311587a1-2490-48ca-a4a7-b5d41c88a207 | Translation Approved (0%) | Hospitality (1-2 points) | Hoteleiro (Hospitality) (1 a 2 pontos) |
| 2396278b4e0-d8c5-4511-95c4-f3da19bee46c | Translation Approved (85%) | Healthcare (1-2 points) | Setor de Saúde (Healthcare) (1 a 2 pontos) |
| 24043c9307a-0977-4c25-b2f0-138a794923c2 | Translation Approved (100%) | Intent | Objetivo |
| 24129e4ca25-9f17-4676-a52c-f847dda5347e | Translation Approved (0%) | To encourage project location in areas with development constraints and promote the health of the surrounding area. | Incentivar a localização do projeto em áreas com restrições de desenvolvimento e promover a saúde nos arredores da área. |
| 2424d638c67-a230-417f-bfb3-f585d925c6bd | Translation Approved (100%) | Requirements | Requisitos |
| 24329aea39d-d2d1-4632-a04f-00e02bf90d7c | Translation Approved (100%) | NC, CS, Schools, Retail, Data Centers, Warehouses & Distribution Centers, Hospitality, Healthcare | NC, CS, Escolas (Schools), Varejo (Retail), Centros de Dados (Data Centers), Armazéns e Centros de Distribuição (Warehouses & Distribution Centers), Hoteleiro (Hospitality), Setor de Saúde (Healthcare) |
| 244d0f7762b-0b1d-45bd-a9a6-48d7b26b307d | Translation Approved (100%) | Option 1. | Opção 1. |
| 245d0f7762b-0b1d-45bd-a9a6-48d7b26b307d | Translation Approved (0%) | Historic District (1 point BD&C except Core and Shell, 2 points Core and Shell) | Bairro Histórico (1 ponto BD&C, exceto Núcleo e Casca; 2 pontos Núcleo e Casca) |
| 246c5c60652-f759-46de-9d18-3824c9bbc8fa | Translation Approved (0%) | Locate the project on an <289>infill</289> location in a <290>historic district</290>. | Localize o projeto em um local com <289>ocupação de vazios urbanos </289>em um <290>bairro histórico</290>. |
| 247f88f617f-17c2-4565-a52e-d295c7817658 | Translation Approved (100%) | OR | OU |
| 248c8d010d8-460f-4409-83e3-a9e705c79956 | Translation Approved (100%) | Option 2. | Opção 2. |
| 249c8d010d8-460f-4409-83e3-a9e705c79956 | Translation Approved (91%) | Priority Designation (1 point BD&C except Core and Shell, 2 points Core and Shell) | Designação Prioritária (1 ponto BD&C, exceto Núcleo e Casca; 2 pontos Núcleo e Casca) |
| 250c6a662a3-703f-48b7-851f-a33115cce58e | Translation Approved (0%) | Locate the project on one of the following: | Localize o projeto em uma das seguintes opções: |
| 251dd1823d0-be82-4317-90ee-b8bb7dcbdf1d | Translation Approved (0%) | a site listed by the EPA National Priorities List; | um terreno listado na Lista de Nacional de Prioridades da EPA (EUA); |
| 252256bb7c3-c2d2-43b3-87de-be26b01ce232 | Translation Approved (0%) | a Federal Empowerment Zone site; | um terreno da Zona federal de capacitação (Federal Empowerment Zone) dos EUA; |
| 2530e185bbc-63d9-4cf9-ba2a-02020b4a4422 | Translation Approved (0%) | a Federal Enterprise Community site; | um terreno em uma Comunidade do Programa federal empresarial (Federal Enterprise Community) dos EUA; |
| 2543b05255d-0216-4ce0-b2b9-b2f18ed7f3d8 | Translation Approved (0%) | a Federal Renewal Community site; | um terreno em uma Comunidade do Programa federal de revitalização (Federal Renewal Community) dos EUA; |
| 255fb6380ad-2fb9-4208-a161-d363ea576110 | Translation Approved (0%) | a Department of the Treasury Community Development Financial Institutions Fund Qualified Low-Income Community (a subset of the New Markets Tax Credit Program); | uma Comunidade de Baixa Renda Qualificada para o Fundo de Instituições Financeiras para Desenvolvimento Comunitário do Departamento do Tesouro dos EUA (um subconjunto do Programa de Crédito Fiscal para Novos Mercados [New Markets Tax Credit Program]); |
| 256507d448d-743a-4d23-a64f-087a2a90bb39 | Translation Approved (0%) | a site in a U.S. Department of Housing and Urban Development’s Qualified Census Tract (QCT) or Difficult Development Area (DDA); or | um terreno em uma Região de recenseamento qualificada (Qualified Census Tract - QCT) ou uma Área de desenvolvimento difícil (Difficult Development Area - DDA) do Departamento de Habitação e Desenvolvimento Urbano dos EUA; ou |
| 25792f56dfa-a6f3-4739-835d-95d795e850ee | Translation Approved (0%) | a local equivalent program administered at the national level for projects outside the U.S. | um programa local equivalente administrado em nível nacional para projetos fora dos EUA. |
| 258ebe61dcf-8490-42fe-9e02-16655083134f | Translation Approved (100%) | OR | OU |
| 259bff3e1db-8517-417a-b0e7-c34716167377 | Translation Approved (100%) | Option 3. | Opção 3. |
| 260bff3e1db-8517-417a-b0e7-c34716167377 | Translation Approved (89%) | Brownfield Remediation (2 points BD&C except Core and Shell, 3 points Core and Shell) | Remediação de <Italic>Brownfields</Italic> (2 pontos BD&C, exceto Núcleo e Casca; 3 pontos Núcleo e Casca) |
| 261c2cd88e6-f40b-4917-b063-cf9d49082987 | Translation Approved (0%) | Locate on a <293>brownfield</293> where soil or groundwater contamination has been identified, and where the local, state, or national authority (whichever has jurisdiction) requires its remediation. | Localize em um <293>brownfield</293> no qual tenha sido identificada contaminação do solo ou da água subterrânea e para o qual a autoridade municipal, estadual ou nacional (a que tiver jurisdição) exija remedição. |
| 262c2cd88e6-f40b-4917-b063-cf9d49082987 | Translation Approved (0%) | Perform remediation to the satisfaction of that authority. | Execute a remediação de acordo com as exigências dessa autoridade. |
| 263ab8040da-a869-47d8-9f85-b1deb60f352a | Translation Approved (100%) | LT Credit: Surrounding Density and Diverse Uses | Crédito LT: Densidade dos Arredores e Usos Diversos (LT Credit: Surrounding Density and Diverse Uses) |
| 26418fafc58-e565-4b66-995b-d504fbeea729 | Translation Approved (100%) | BD&C | BD&C |
| 265adc3bd3d-890d-4945-932d-0a4b6f81ecaf | Translation Approved (89%) | 1–6 points | 1 a 6 pontos |
| 2661d60dcfd-24ec-4b5f-a809-51eaedf90d5c | Translation Approved (100%) | This credit applies to | Este crédito se aplica a |
| 2670d36e316-a88b-4493-8c21-310fa8e95d05 | Translation Approved (94%) | New Construction (1–5 points) | Nova Construção (New Construction) (1 a 5 pontos) |
| 2683b1d8a8f-9a9a-4e77-8ab9-655652952d27 | Translation Approved (88%) | Core & Shell (1–6 points) | Núcleo e Casca (Core & Shell) (1 a 6 pontos) |
| 2697d8ed8a6-659a-4bbc-a89f-d73d411718cd | Translation Approved (93%) | Schools (1–5 points) | Escolas (Schools) (1 a 5 pontos) |
| 27023d34b3b-65df-467f-815e-b4d3c5ed4e0c | Translation Approved (93%) | Retail (1–5 points) | Varejo (Retail) (1 a 5 pontos) |
| 271cb6663ec-55d7-4ccb-b912-6420bbf95e2e | Translation Approved (94%) | Data Centers (1–5 points) | Centros de Dados (Data Centers) (1 a 5 pontos) |
| 2723f59d5c2-0064-4eb0-a81b-7eb4716bd6b6 | Translation Approved (95%) | Warehouses & Distribution Centers (1–5 points) | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) (1 a 5 pontos) |
| 2734d39a798-1566-4815-a8ac-8f04fee3526c | Translation Approved (93%) | Hospitality (1–5 points) | Hoteleiro (Hospitality) (1 a 5 pontos) |
| 274bb439d89-38b0-4be8-bfef-8d7aee1fea7b | Translation Approved (90%) | Healthcare (1 points) | Setor de Saúde (Healthcare) (1 ponto) |
| 27586b2440a-b327-4b22-8227-1f793c9a59f3 | Translation Approved (100%) | Intent | Objetivo |
| 2766464b3e5-61a8-42b6-8906-f2d2605324ee | Translation Approved (CM) | To conserve land and protect farmland and wildlife habitat by encouraging development in areas with existing infrastructure. | Preservar a terra e proteger a farmland e o habitat de vida animal incentivando empreendimentos em áreas com infraestrutura existente. |
| 2776464b3e5-61a8-42b6-8906-f2d2605324ee | Translation Approved (CM) | To promote walkability, and transportation efficiency and reduce vehicle distance traveled. | Promover a possibilidade de se locomover a pé, a eficiência dos transportes e reduzir a distância percorrida por veículos. |
| 2786464b3e5-61a8-42b6-8906-f2d2605324ee | Translation Approved (CM) | To improve public health by encouraging daily physical activity. | Aprimorar a saúde pública incentivando atividades físicas diárias. |
| 279d453659e-36ed-42cd-a051-024f635f3af4 | Translation Approved (100%) | Requirements | Requisitos |
| 280c7ff6133-b532-4835-99e0-4b9d6c8b390c | Translation Approved (0%) | NC, CS, Schools, Retail, Data Centers, Hospitality | NC, CS, Escolas (Schools), Varejo (Retail), Centros de Dados (Data Centers), Hoteleiro (Hospitality) |
| 281b08beaa8-e159-428b-af05-30e5ef439824 | Translation Approved (100%) | Option 1. | Opção 1. |
| 282b08beaa8-e159-428b-af05-30e5ef439824 | Translation Approved (0%) | Surrounding Density (2–3 points BD&C except Core and Shell, 2-4 points Core and Shell) | Densidade dos Arredores (2 a 3 pontos BD&C, exceto Núcleo e Casca; 2 a 4 pontos Núcleo e Casca) |
| 283c84e17b6-1d2f-470f-93e0-ef37c4321cce | Translation Approved (100%) | Locate on a site whose surrounding existing density within a ¼-mile (400-meter) radius of the project boundary meets the values in Table 1. | Localize em um terreno cuja densidade existente dos arredores em um raio de ¼ de milha (400 metros) do limite do projeto atenda aos valores na Tabela 1. |
| 284c84e17b6-1d2f-470f-93e0-ef37c4321cce | Translation Approved (CM) | Use either the “separate residential and nonresidential densities” or the “combined density” values. | Use os valores de "densidades residencial e não residencial separadas" ou de "densidade combinada". |
| 2853572143a-81c1-49e3-b85f-dc85c479d1d2 | Translation Approved (0%) | Table 1a. | Tabela 1a. |
| 2863572143a-81c1-49e3-b85f-dc85c479d1d2 | Translation Approved (CM) | Points for average density within 1/4 mile of project (IP units) | Pontos de densidade média a 1/4 de milha do projeto (sistema imperial) |
| 287c3bd65fd-d111-4ffb-9967-2b012fd102d6 | Translation Approved (0%) | Combined density | Densidade combinada |
| 288421afc7b-c7c2-46cd-980c-d44c15f4dacd | Translation Approved (CM) | Separate residential and nonresidential densities | Densidades residencial e não residencial separadas |
| 289090d5c7d-c9d9-401e-b393-7e510ed6e50b | Translation Approved (100%) | Points | Pontos |
| 290c738bb90-de8f-4bac-a543-1c6f5322f772 | Translation Approved (0%) | BD&C (except Core and Shell) | BD&C (exceto Núcleo e Casca) |
| 291a0447020-b62a-49a3-bc85-2de62d18e700 | Translation Approved (100%) | Points BD&C (Core and Shell) | Pontos BD&C (Núcleo e Casca) |
| 292b6008414-690a-4d31-b3fb-01562e9e1bde | Translation Approved (CM) | Square feet per acre of buildable land | Pés quadrados por acre de terreno edificável |
| 293af875244-1aed-4b5c-8161-d2290ae8a46e | Translation Approved (CM) | Residential density (DU/acre) | Densidade residencial (DU/acre) |
| 294eda3428b-7e06-464f-a23f-417892395b0f | Translation Approved (CM) | Nonresidential density (FAR) | Densidade não residencial (FAR) |
| 295cf89d9b9-3d4b-46b0-9625-38288e1b0617 | Translation Approved (100%) | 22,000 | 22.000 |
| 29651eb52a5-19d4-42dc-b822-8dee676a1bbb | Translation Approved (100%) | 7 | 7 |
| 2979b9cf305-bdd4-48f1-b44a-ec8de2da5206 | Translation Approved (100%) | 0.5 | 0,5 |
| 298e03a4671-3408-4869-960b-8a909361d9af | Translation Approved (100%) | 2 | 2 |
| 2998b65edb8-d9bd-41a3-b3e5-040766bd5e00 | Translation Approved (100%) | 2 | 2 |
| 300fd0b1a18-3953-4b94-a3b5-2dd1c99b2c9a | Translation Approved (100%) | 35,000 | 35.000 |
| 3017f3f0213-1eaa-4a2c-81d2-71504217614e | Translation Approved (100%) | 12 | 12 |
| 30225e46ca1-86b1-4b58-8e1b-0feac7fc85c8 | Translation Approved (100%) | 0.8 | 0,8 |
| 303718142f5-8e5b-4c8a-a5c5-7e35c7dcefe6 | Translation Approved (100%) | 3 | 3 |
| 304d8f007a3-1568-44af-ba7a-5fdf5d53527e | Translation Approved (100%) | 4 | 4 |
| 305215767ff-5cfe-45fc-9237-fe4d81ad548b | Translation Approved (0%) | Table 1b. | Tabela 1b. |
| 306215767ff-5cfe-45fc-9237-fe4d81ad548b | Translation Approved (CM) | Points for average density within 400 meters of project (SI units) | Pontos de densidade média a 400 metros do projeto (sistema métrico) |
| 3078c5dc982-d10c-47d9-a3cd-60b1f7cd3f5b | Translation Approved (100%) | Combined density | Densidade combinada |
| 308b7c584be-45a7-46cf-ae90-d5a03b5c4857 | Translation Approved (100%) | Separate residential and nonresidential densities | Densidades residencial e não residencial separadas |
| 309de7a01cd-9a2f-47ae-9331-dd0e463f4226 | Translation Approved (100%) | Points | Pontos |
| 31083741edd-9a19-45cc-8101-a246c019afc5 | Translation Approved (100%) | BD&C (except Core and Shell) | BD&C (exceto Núcleo e Casca) |
| 3117e199f5b-f597-49b8-913c-8fa730cc42d8 | Translation Approved (100%) | Points BD&C | Pontos BD&C |
| 312e9af12f8-def9-47ee-a154-64c091d594dd | Translation Approved (97%) | (Core and Shell) | (Núcleo e Casca) |
| 31382dbfa35-67af-457e-bbfd-41c1aba1e400 | Translation Approved (100%) | Square meters per hectare of buildable land | Metros quadrados por hectare de terreno edificável |
| 314c5dce659-ed83-44cd-b28d-8895f1cc1a38 | Translation Approved (CM) | Residential density (DU/hectare) | Densidade residencial (DU/hectare) |
| 315b01733b9-ef44-4819-a2c0-dbf3c7991b06 | Translation Approved (100%) | Nonresidential density (FAR) | Densidade não residencial (FAR) |
| 31666db7577-b2da-4809-add0-144dcaea906b | Translation Approved (100%) | 5,050 | 5.050 |
| 3178c99de0c-70c0-4616-b2b9-613b9c850da0 | Translation Approved (100%) | 17.5 | 17,5 |
| 31899f9f28c-e261-411c-9131-f33d830b77a1 | Translation Approved (100%) | 0.5 | 0,5 |
| 31927a2a30c-20b4-49fc-b522-e7c6f0c3008c | Translation Approved (100%) | 2 | 2 |
| 32041f11e35-6c16-436d-8a35-a533dd311417 | Translation Approved (100%) | 2 | 2 |
| 321bd9a63a3-19e4-4eb0-9071-c395def9e81f | Translation Approved (100%) | 8,035 | 8.035 |
| 3222f708680-c8a2-4d87-96d7-ceb4e6be95ed | Translation Approved (100%) | 30 | 30 |
| 3231d8b2416-2cca-49bd-b700-1065fdf87f14 | Translation Approved (100%) | 0.8 | 0,8 |
| 32407b931af-2a16-431a-9925-ab66943ed56f | Translation Approved (100%) | 3 | 3 |
| 325de3d2600-2e54-4555-bb50-085c44b65fa2 | Translation Approved (100%) | 4 | 4 |
| 3260cf7bbb1-34a4-4ee5-bddb-dabb7f42edaa | Translation Approved (CM) | DU = dwelling unit; FAR = floor-area ratio. | DU = unidade habitacional; FAR = coeficiente de aproveitamento. |
| 3279299a3d8-aed2-40fb-babb-00ae5da9da1f | Translation Approved (0%) | Schools only | Apenas Escolas |
| 328dae28d0b-025b-4294-b185-1a70daca7cc8 | Translation Approved (0%) | Physical education spaces that are part of the project site, such as playing fields and associated buildings used during sporting events only (e.g., concession stands) and playgrounds with play equipment, are excluded from the development density calculations. | Espaços para educação física que fazem parte do terreno do projeto, como parques recreativos e edifícios associados usados apenas durante eventos esportivos (por exemplo, barracas de comida) e parques infantis com brinquedos, são excluídos dos cálculos de densidade de desenvolvimento. |
| 3292fcd93c3-8788-486f-b597-13e9e82ba59b | Translation Approved (100%) | AND/OR | E/OU |
| 33062d1ad3c-de84-48fe-ae3f-991658754d56 | Translation Approved (100%) | Option 2. | Opção 2. |
| 33162d1ad3c-de84-48fe-ae3f-991658754d56 | Translation Approved (CM) | Diverse Uses (1–2 points) | Usos diversos (1 a 2 pontos) |
| 3325e4ff24a-fdec-4a59-9a77-9b992c871c2d | Translation Approved (CM) | Construct or renovate a building or a space within a building such that the building’s main entrance is within a ½-mile (800-meter) walking distance of the main entrance of four to seven (1 point) or eight or more (2 points) existing and publicly available diverse uses (listed in Appendix 1). | Construir ou reformar um edifício ou um espaço dentro de um edifício de forma que a entrada principal do edifício fique a uma distância de caminhada de ½ milha (800 metros) da entrada principal de quatro a sete (1 ponto) ou oito ou mais (2 pontos) de usos diversificados existentes e disponíveis publicamente (listados no Apêndice 1). |
| 3338fd69bfc-9750-41a2-aedb-821697c8078f | Translation Approved (100%) | The following restrictions apply. | As seguintes restrições se aplicam. |
| 334fa297fa9-004a-49b4-96b4-58cebe113584 | Translation Approved (CM) | A use counts as only one type (e.g., a retail store may be counted only once even if it sells products in several categories). | Um uso conta como apenas um tipo (por exemplo, uma loja de varejo pode ser contada somente uma vez se vender produtos em diversas categorias). |
| 335989408aa-f9d8-4d4e-b45e-20abc79e660a | Translation Approved (CM) | No more than two uses in each use type may be counted (e.g. if five restaurants are within walking distance, only two may be counted). | Não mais de dois usos em cada tipo de uso pode ser contado (por exemplo, se cinco restaurantes estiverem a uma distância de caminhada, somente dois podem ser contados). |
| 336670a57c1-efea-468d-acf9-550ea74e57b3 | Translation Approved (CM) | The counted uses must represent at least three of the five categories, exclusive of the building’s primary use. | Os usos contados devem representar pelo menos três das cinco categorias, exclusivas do uso principal do edifício. |
| 337dc686bc1-c89a-48e3-a5dd-f27cf563e8cf | Translation Approved (100%) | Warehouses & Distribution Centers | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) |
| 338fdb1d53a-a309-499c-9fb4-5461f84e4d40 | Translation Approved (100%) | Option 1. | Opção 1. |
| 339fdb1d53a-a309-499c-9fb4-5461f84e4d40 | Translation Approved (0%) | Development and Adjacency (2–3 points) | Desenvolvimento e adjacência (2 a 3 pontos) |
| 340f6d4534d-26ec-4c44-80e5-79eaaf25a11e | Translation Approved (0%) | Construct or renovate the project on a previously developed site that was used for industrial or commercial purposes. | Construa ou reforme o projeto em um terreno desenvolvido previamente que tenha sido usado para fins industriais ou comerciais. |
| 341f6d4534d-26ec-4c44-80e5-79eaaf25a11e | Translation Approved (0%) | (2 points). | (2 pontos). |
| 3425ffa261a-f600-42a5-bfc8-87e5cf577e60 | Translation Approved (100%) | OR | OU |
| 343fb1cd53c-e1ad-4f75-b839-6ab893911b34 | Translation Approved (0%) | Construct or renovate the project on a site that is both a previously developed and an adjacent site. | Construa ou reforme o projeto em um terreno que seja previamente desenvolvido e também um terreno adjacente. |
| 344fb1cd53c-e1ad-4f75-b839-6ab893911b34 | Translation Approved (0%) | The adjacent sites must be currently used for industrial or commercial purposes (3 points). | Os terrenos adjacentes devem ser usados no momento para fins industriais ou comerciais (3 pontos). |
| 345ea7c4278-cb45-4ce4-9a65-afff5c10e529 | Translation Approved (100%) | AND/OR | E/OU |
| 346afbaee7d-2352-45c4-9cbf-854e7d21f3cb | Translation Approved (100%) | Option 2. | Opção 2. |
| 347afbaee7d-2352-45c4-9cbf-854e7d21f3cb | Translation Approved (0%) | Transportation Resources (1–2 points) | Recursos de transporte (1 a 2 pontos) |
| 34850196e08-1802-49b7-871a-ad4e71fc4cd2 | Translation Approved (0%) | Construct or renovate the project on a site that has two or three (1 point) or four (2 points) of the following transportation resources: | Construa ou reforme o projeto em um terreno que tenha dois ou três (1 ponto) ou quatro (2 pontos) dos seguintes recursos de transporte: |
| 3493b3be98e-a800-4fbf-931f-d66e51835964 | Translation Approved (0%) | The site is within a 10-mile (16 kilometer) driving distance of a main logistics hub, defined as an airport, seaport, <445>intermodal facility</445>, or <446>freight village</446> with intermodal transportation. | O terreno está a menos de 10 milhas (16 km) de distância de um centro de logística importante, definido como um aeroporto, porto, <445>instalação intermodal</445> ou <446>terminal intermodal de cargas </446>com transporte intermodal. |
| 350acd0b6c6-288c-4b14-b22d-407d7e63d5d9 | Translation Approved (0%) | The site is within a 1-mile (1600-meter) driving distance of an on-off ramp to a <448>highway.</448> | O terreno está a menos de 1 milha (1600 metros) de distância de uma entrada/saída para uma <448>rodovia.</448> |
| 351dd064afa-68b0-49c8-bc62-65f9f551a146 | Translation Approved (71%) | The site is within a 1-mile (1600-meter) driving distance of an access point to an active freight rail line. | O terreno está a menos de 1 milha (1600 metros) de distância de um ponto de acesso a uma ferrovia de carga ativa. |
| 352e9722a29-8194-4eb2-bab8-0c8f902dc4a1 | Translation Approved (0%) | The site is served by an active freight rail spur. | O terreno é atendido por um ramal ferroviário de carga ativo. |
| 35330af3e5b-6131-4018-b7ed-1f9b758e78ae | Translation Approved (0%) | In all cases, a planned transportation resource must be sited, funded, and under construction by the date of the certificate of occupancy and complete within 24 months of that date. | Em todos os casos, um recurso de transporte planejado deve estar localizado, financiado e em construção na data do certificado de ocupação e concluído até 24 meses após essa data. |
| 354f068dba5-d39b-4fab-be77-08a14e30256f | Translation Approved (100%) | Healthcare | Setor de Saúde (Healthcare) |
| 355572640d1-9312-44fe-8283-69298c0fe826 | Translation Approved (100%) | Option 1. | Opção 1. |
| 356572640d1-9312-44fe-8283-69298c0fe826 | Translation Approved (84%) | Surrounding Density (1 point) | Densidade dos arredores (1 ponto) |
| 35798feaa8d-8f99-4fee-b513-d2935766cf68 | Translation Approved (82%) | Locate on a site whose surrounding existing density within a ¼-mile (400-meter) radius of the project boundary is: | Localize em um terreno cuja densidade existente dos arredores em um raio de ¼ de milha (400 metros) do limite do projeto que: |
| 358f6e5d079-1eec-4c9d-a079-c1dd12fbce93 | Translation Approved (0%) | At least 7 dwelling units per acre (17.5 DU per hectare) with a 0.5 floor-area ratio. | Tenha pelo menos 7 unidades habitacionais por acre (17,5 DU por hectare) com um coeficiente de aproveitamento de 0,5. |
| 359f6e5d079-1eec-4c9d-a079-c1dd12fbce93 | Translation Approved (0%) | The counted density must be <452>existing</452> density, not zoned density, or | Tenha uma densidade calculada que seja a densidade <452>existente</452>, não a densidade por zona; ou |
| 360e2900d97-311b-4ce9-be6b-d3974302493b | Translation Approved (0%) | At least 22,000 square feet per acre (5 050 square meters per hectare) of buildable land. | Pelo menos 22.000 pés quadrados por acre (5.050 metros quadrados por hectare) de terreno edificável. |
| 36185427e36-7aef-469a-8192-b4692302c034 | Translation Approved (0%) | For previously developed existing rural healthcare campus sites, achieve a minimum development density of 30,000 square feet per acre (6890 square meters per hectare). | Para terrenos rurais previamente desenvolvidos no setor de saúde, é necessário alcançar uma densidade de desenvolvimento mínima de 30.000 pés quadrados por acre (6.890 metros quadrados por hectare). |
| 362fdff684a-05fc-4521-9d36-1fd8e3bae5fb | Translation Approved (100%) | OR | OU |
| 363647f097f-d58a-4c4b-a874-4be547034a00 | Translation Approved (100%) | Option 2. | Opção 2. |
| 364647f097f-d58a-4c4b-a874-4be547034a00 | Translation Approved (78%) | Diverse Uses (1 point) | Usos diversos (1 ponto) |
| 3651f93c3ff-cd13-420e-942a-3b338d577a52 | Translation Approved (73%) | Construct or renovate a building on a site such that the building’s main entrance is within a ½-mile (800-meter) walking distance of the main entrance of at least seven operational and publicly accessible uses (listed in Appendix 1). | Construa ou reforme um edifício em um terreno de forma que a entrada principal do edifício fique a uma distância de menos de ½ milha (800 metros) de caminhada da entrada principal de pelo menos sete usos operacionais e acessíveis publicamente (listados no Apêndice 1). |
| 36613fa0411-7c4c-4338-8617-90cc5f4553f5 | Translation Approved (100%) | The following restrictions apply. | As seguintes restrições se aplicam. |
| 36706f1254b-d8cd-482f-bea0-7f37b1ef5da4 | Translation Approved (96%) | A use may be counted as only one type (e.g., a retail store may be counted only once even if it sells products in several categories). | Um uso pode ser contado como apenas um tipo (por exemplo, uma loja de varejo pode ser contada somente uma vez se vender produtos em diversas categorias). |
| 368e9f87934-661c-4824-981a-296b47b880f0 | Translation Approved (99%) | No more than two uses in each use type may be counted (e.g., if five restaurants are within walking distance, only two may be counted). | Não mais de dois usos em cada tipo de uso pode ser contado (por exemplo, se cinco restaurantes estiverem a uma distância de caminhada, somente dois podem ser contados). |
| 3695d8fe06a-2339-4c4b-a1e3-f9a23a64e8d4 | Translation Approved (100%) | The counted uses must represent at least three of the five categories, exclusive of the building’s primary use. | Os usos contados devem representar pelo menos três das cinco categorias, exclusivas do uso principal do edifício. |
| 370d511cf55-3643-4fde-8f37-c97fb9c5d1d7 | Translation Approved (100%) | LT Credit: Access to Quality Transit | Crédito LT: Acesso a Transporte de Qualidade (LT Credit: Access to Quality Transit) |
| 3716f86e0de-8bb2-4765-9553-35c34cf7c3a6 | Translation Approved (100%) | BD&C | BD&C |
| 372d0b5009a-d481-4118-bc05-b1a74fee3322 | Translation Approved (100%) | 1–6 points | 1 a 6 pontos |
| 37369307cd5-44ad-461a-804b-10f24888cf8b | Translation Approved (100%) | This credit applies to | Este crédito se aplica a |
| 374a4c8190e-d45a-4ed0-bfc3-bc9968e18e84 | Translation Approved (100%) | New Construction (1–5 points) | Nova Construção (New Construction) (1 a 5 pontos) |
| 375cd1713f0-d0d5-428f-a177-04ca9bcf1a96 | Translation Approved (100%) | Core & Shell (1–6 points) | Núcleo e Casca (Core & Shell) (1 a 6 pontos) |
| 376fa6d3128-afa0-484e-8aab-d521cb61d64b | Translation Approved (93%) | Schools (1–4 points) | Escolas (Schools) (1 a 4 pontos) |
| 37717182cc2-94bd-4795-b65a-44f974544b31 | Translation Approved (100%) | Data Centers (1–5 points) | Centros de Dados (Data Centers) (1 a 5 pontos) |
| 378751e4efd-c832-4d79-8aba-fd8101d5b515 | Translation Approved (100%) | Warehouses & Distribution Centers (1–5 points) | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) (1 a 5 pontos) |
| 379a4cd202a-7caf-4bc8-852f-2c735c07bb87 | Translation Approved (100%) | Hospitality (1–5 points) | Hoteleiro (Hospitality) (1 a 5 pontos) |
| 38032a27155-0c1e-408c-b63b-a3927071cf3e | Translation Approved (100%) | Retail (1–5 points) | Varejo (Retail) (1 a 5 pontos) |
| 381881cfb34-ee45-4313-81ab-745f1ec3e741 | Translation Approved (100%) | Healthcare (1–2 points) | Setor de Saúde (Healthcare) (1 a 2 pontos) |
| 38283731b1f-443d-4878-9259-beaaf5fa61fa | Translation Approved (100%) | Intent | Objetivo |
| 3831f6c458c-08d9-4a1c-9c21-c25c139ee602 | Translation Approved (CM) | To encourage development in locations shown to have multimodal transportation choices or otherwise reduced motor vehicle use, thereby reducing greenhouse gas emissions, air pollution, and other environmental and public health harms associated with motor vehicle use<457>.</457> | Incentivar empreendimentos em locais que demonstrem ter opções de transporte multimodal ou uso reduzido de veículos motorizados, reduzindo, portanto, as emissões de gases do efeito estufa, a poluição atmosférica e outros prejuízos ambientais e à saúde pública associados ao uso de veículos motorizados. |
| 384aa2c2ed2-d55e-4efa-a397-7b35d2294359 | Translation Approved (100%) | Requirements | Requisitos |
| 385b08db761-fcce-4026-b0cf-1e2977f71ee8 | Translation Approved (78%) | NC, CS, Data Centers, Warehouses & Distribution Centers, Hospitality | NC, CS, Centros de Dados (Data Centers), Armazéns e Centros de Distribuição (Warehouses & Distribution Centers), Hoteleiro (Hospitality) |
| 386c24ccf41-9ddc-48d0-b34b-5de3a5535153 | Translation Approved (100%) | Locate any <459>functional entry</459> of the project within a ¼-mile (400-meter) <460>walking distance</460> of existing or planned bus, <461>streetcar</461>, or <462>rideshare stops,</462> or within a ½-mile (800-meter) walking distance of existing or planned <463>bus rapid transit</463> stops, light<464> </464>or heavy rail stations, commuter rail stations, or commuter ferry terminals. | Localize todas as <459>entradas funcionais</459> do projeto a uma <460>distância de caminhada</460> de ¼ de milha (400 metros) de pontos planejados ou existentes de <461>ônibus, bonde</461> ou <462>carona solidária</462> ou a uma distância de caminhada de ½ milha (800 metros) de pontos de <463>sistema de ônibus rápido (BRT)</463>, estações de trens metropolitanos e metrô ou terminais de balsas existentes ou planejados. |
| 387c24ccf41-9ddc-48d0-b34b-5de3a5535153 | Translation Approved (CM) | The transit service at those stops and stations in aggregate must meet the minimums listed in Tables 1 and 2. | O serviço de transporte nesses pontos e estações, de forma agregada, devem atender aos mínimos listados nas Tabelas 1 e 2. |
| 388c24ccf41-9ddc-48d0-b34b-5de3a5535153 | Translation Approved (CM) | Planned stops and stations may count if they are sited, funded, and under construction by the date of the certificate of occupancy and are complete within 24 months of that date. | Os pontos e estações planejados podem ser contados se forem localizados, financiados ou estiverem em construção na data do certificado de ocupação e forem concluídos em até 24 meses após essa data. |
| 389ae801df6-a8c6-4d76-8831-9d8eaf11f771 | Translation Approved (CM) | Both weekday and weekend trip minimums must be met. | É necessário atender a ambos os limites mínimos de viagens em dias úteis e fins de semana. |
| 390821e9e31-16fd-4f90-be1b-e3b32a735895 | Translation Approved (CM) | Qualifying transit routes must have paired route service (service in opposite directions). | As rotas de transporte qualificadas devem ter serviços de rotas pareadas (serviço em direções opostas). |
| 391b3f63a0d-44b1-4e15-b3ee-e9bdd31e695b | Translation Approved (CM) | For each qualifying transit route, only trips in one direction are counted towards the threshold. | Para cada rota de transporte qualificada, somente viagens em uma direção são contadas para o limite. |
| 392e3d047f7-1117-4e83-b34a-0f14d9e7fb01 | Translation Approved (CM) | If a qualifying transit route has multiple stops within the required walking distance, only trips from one stop are counted towards the threshold. | Se uma rota de transporte qualificada possuir diversos pontos dentro da distância de caminhada necessária, somente viagens de um ponto são contadas para o limite. |
| 393855bcee4-1a9c-4d63-acc6-a7cb1ca6cecc | Translation Approved (100%) | Table 1. | Tabela 1. |
| 394855bcee4-1a9c-4d63-acc6-a7cb1ca6cecc | Translation Approved (CM) | Minimum daily transit service for projects with multiple transit types (bus, <466>streetcar</466>, rail, or ferry) | Serviço de transporte diário mínimo para projetos com diversos tipos de transporte (ônibus, <466>bonde</466>, trem ou balsa) |
| 395ebedbfe3-6225-46e3-bb3c-c8b3e7f4f162 | Translation Approved (CM) | Weekday trips | Viagens em dias úteis |
| 3968a740e25-57ed-45a7-935c-7aa6d51b9e54 | Translation Approved (CM) | Weekend trips | Viagens em fins de semana |
| 3973595f99d-4d85-4e49-b842-5a772cf7d321 | Translation Approved (100%) | Points BD&C | Pontos BD&C |
| 398f4979df6-d94e-4304-8651-69d02efb1148 | Translation Approved (85%) | (except Core and Shell) | (exceto Núcleo e Casca) |
| 399450e7859-a776-46fe-ad18-f96cadedce9a | Translation Approved (98%) | Points BD&C (Core and shell | Pontos BD&C (Núcleo e Casca) |
| 400723e43ac-a956-4568-a3dd-ea77ebec3dd4 | Translation Approved (100%) | 72 | 72 |
| 40110a7f3f3-364a-4111-976a-2289d282ed02 | Translation Approved (100%) | 40 | 40 |
| 4028df7c4bf-b7c6-429a-a89f-3a83b9ae5014 | Translation Approved (100%) | 1 | 1 |
| 403420e143c-a041-4b4b-9413-1db020511e08 | Translation Approved (100%) | 1 | 1 |
| 40493167b61-444c-4444-b8b7-36ef8e6539d1 | Translation Approved (100%) | 144 | 144 |
| 405181b5d6e-bae3-4433-9d37-33507500e8d0 | Translation Approved (100%) | 108 | 108 |
| 40681f20b8e-d833-4f3e-b0a0-746fe4f38062 | Translation Approved (100%) | 3 | 3 |
| 4075cb411f9-77d1-4ed6-ad00-45945e72b866 | Translation Approved (100%) | 3 | 3 |
| 40836127fbb-ee87-4ae0-8600-4adea484290a | Translation Approved (100%) | 360 | 360 |
| 4095e4ce7b9-3104-4e90-b85d-2fb1a4a24134 | Translation Approved (100%) | 216 | 216 |
| 410dee00ae7-0050-42ee-ab94-3f27131d7b04 | Translation Approved (100%) | 5 | 5 |
| 41109351ca0-e1f9-4d3d-9b59-9d7c8bfe51b4 | Translation Approved (100%) | 6 | 6 |
| 412129896f9-7ddb-4c6f-9804-93fe8e9e884e | Translation Approved (100%) | Table 2. | Tabela 2. |
| 413129896f9-7ddb-4c6f-9804-93fe8e9e884e | Translation Approved (CM) | Minimum daily transit service for projects with commuter rail or ferry service only | Serviço de transporte diário mínimo para projetos com apenas serviço de balsa ou trem metropolitano |
| 4146238d9e7-21cd-418d-aaa9-49263c4216fd | Translation Approved (100%) | Weekday trips | Viagens em dias úteis |
| 415e9fddb76-18d0-4129-b99f-6d807437f2a9 | Translation Approved (100%) | Weekend trips | Viagens em fins de semana |
| 41658f5ea1d-33e9-4379-9e98-a3baddec68f8 | Translation Approved (100%) | Points | Pontos |
| 41781db8c13-78dd-4701-8eea-9d3f4c7de82d | Translation Approved (100%) | 24 | 24 |
| 4186bc64abf-0845-44f6-9393-4b1519e8cd1f | Translation Approved (100%) | 6 | 6 |
| 41931b235af-13c8-472c-bc72-8003240d27b3 | Translation Approved (100%) | 1 | 1 |
| 420418d3b02-a468-4781-873c-661064430174 | Translation Approved (100%) | 40 | 40 |
| 421ef7eb4ee-24c1-455f-bc38-73ddbc9284bf | Translation Approved (100%) | 8 | 8 |
| 422fe5e1016-e714-4019-8345-ae8ce619d152 | Translation Approved (100%) | 2 | 2 |
| 4238113e246-5929-4fca-9376-899daa59e6bf | Translation Approved (100%) | 60 | 60 |
| 424a9faf7d7-df5f-4f39-a388-6fc8dae1ae19 | Translation Approved (100%) | 12 | 12 |
| 425a48ba842-d791-42d7-92d8-93244cab1597 | Translation Approved (100%) | 3 | 3 |
| 426aa83c12e-f1ff-4432-abb6-8ca90aad0d56 | Translation Approved (CM) | Projects served by two or more transit routes such that no one route provides more than 60% of the documented levels may earn one additional point, up to the maximum number of points. | Os projetos servidos por duas ou mais rotas de transporte de forma que nenhuma rota forneça mais de 60% dos níveis documentados podem obter um ponto adicional, até o número máximo de pontos. |
| 42702212ae5-4f94-4f08-8b63-c0a05c48c578 | Translation Approved (CM) | If <555>existing</555> transit service is temporarily rerouted outside the required distances for less than two years, the project may meet the requirements, provided the local transit agency has committed to restoring the routes with service at or above the prior level. | Se o serviço de transporte <555>existente</555> for desviado temporariamente para fora das distâncias necessárias por menos de dois anos, o projeto pode atender aos requisitos, desde que a agência de transporte local tenha se comprometido a restaurar as rotas com o serviço no mesmo ou acima do nível anterior. |
| 428b5ae00b0-3011-47c5-a638-3c7b93bb77cf | Translation Approved (100%) | Schools | Escolas (Schools) |
| 42911791dd9-0100-4bb1-b8c0-519d857ef140 | Translation Approved (100%) | Option 1. | Opção 1. |
| 43011791dd9-0100-4bb1-b8c0-519d857ef140 | Translation Approved (0%) | Transit-Served Location (1–4 points) | Local atendido por transporte (1 a 4 pontos) |
| 43108201602-f843-44c2-9f4d-a9a42781360f | Translation Approved (97%) | Locate any <557>functional entry</557> of the project within a ¼-mile (400-meter) <558>walking distance</558> of existing or planned bus, <559>streetcar</559>, or rideshare stops, or within a ½-mile (800-meter) walking distance of existing or planned <560>bus rapid transit</560> stops, light or heavy rail stations, commuter rail stations or commuter ferry terminals. | Localize todas as <557>entradas funcionais</557> do projeto a uma <558>distância de caminhada</558> de ¼ de milha (400 metros) de pontos planejados ou existentes de <559>ônibus, bonde</559> ou carona solidária ou a uma distância de caminhada de ½ milha (800 metros) de pontos de <560>sistema de ônibus rápido (BRT)</560>, estações de trens metropolitanos e metrô ou terminais de balsas existentes ou planejados. |
| 43208201602-f843-44c2-9f4d-a9a42781360f | Translation Approved (95%) | The transit service at those stops and stations must meet the minimums listed in Tables 1 and 2. | O serviço de transporte nesses pontos e estações devem atender aos mínimos listados nas Tabelas 1 e 2. |
| 43308201602-f843-44c2-9f4d-a9a42781360f | Translation Approved (100%) | Planned stops and stations may count if they are sited, funded, and under construction by the date of the certificate of occupancy and are complete within 24 months of that date. | Os pontos e estações planejados podem ser contados se forem localizados, financiados ou estiverem em construção na data do certificado de ocupação e forem concluídos em até 24 meses após essa data. |
| 434c8926305-9fd6-4efc-9f8f-c56eba4f205b | Translation Approved (100%) | Qualifying transit routes must have paired route service (service in opposite directions). | As rotas de transporte qualificadas devem ter serviços de rotas pareadas (serviço em direções opostas). |
| 4351d44a748-e8bc-413b-9996-96e084ac36e7 | Translation Approved (100%) | For each qualifying transit route, only trips in one direction are counted towards the threshold. | Para cada rota de transporte qualificada, somente viagens em uma direção são contadas para o limite. |
| 4368ea744e8-d7a1-44aa-96cb-946af4755fe3 | Translation Approved (100%) | If a qualifying transit route has multiple stops within the required walking distance, only trips from one stop are counted towards the threshold. | Se uma rota de transporte qualificada possuir diversos pontos dentro da distância de caminhada necessária, somente viagens de um ponto são contadas para o limite. |
| 437c227c0ee-4464-4744-a91a-8c1b9655bdab | Translation Approved (100%) | Table 1. | Tabela 1. |
| 438c227c0ee-4464-4744-a91a-8c1b9655bdab | Translation Approved (100%) | Minimum daily transit service for projects with multiple transit types (bus, <562>streetcar</562>, rail, or ferry) | Serviço de transporte diário mínimo para projetos com diversos tipos de transporte (ônibus, <562>bonde</562>, trem ou balsa) |
| 439af989045-a5a4-4657-a570-4571765ed65f | Translation Approved (100%) | Weekday trips | Viagens em dias úteis |
| 44098eb5d7a-ccb4-46be-9b76-136cdb4cb224 | Translation Approved (100%) | Points | Pontos |
| 441f34e926b-7211-492c-8e4a-02437249e985 | Translation Approved (100%) | 72 | 72 |
| 4424ff8c9f1-cc91-4449-91cd-7134fb27db7b | Translation Approved (100%) | 1 | 1 |
| 4435b3fc443-3548-4919-ba1b-2fd423516382 | Translation Approved (100%) | 144 | 144 |
| 4444a53bf9d-4861-4ba0-9fb3-7bf8db84daa1 | Translation Approved (100%) | 2 | 2 |
| 445584aa4e8-10a2-4f3b-b6d5-9727b8d734dc | Translation Approved (100%) | 360 | 360 |
| 446a52cd764-0eb9-4246-9680-cc282e8ec4ab | Translation Approved (100%) | 4 | 4 |
| 447de1c3914-783e-4d7f-90f8-6de69331379d | Translation Approved (100%) | Table 2. | Tabela 2. |
| 448de1c3914-783e-4d7f-90f8-6de69331379d | Translation Approved (100%) | Minimum daily transit service for projects with commuter rail or ferry service only | Serviço de transporte diário mínimo para projetos com apenas serviço de balsa ou trem metropolitano |
| 44916a5219f-4050-45c2-bcbc-b20e4914d588 | Translation Approved (100%) | Weekday trips | Viagens em dias úteis |
| 450b51e07f5-55f7-411f-8105-a93878f402e5 | Translation Approved (100%) | Points | Pontos |
| 451eef47713-7caa-483a-a481-ac655edc35d4 | Translation Approved (100%) | 24 | 24 |
| 452336ae8ef-e441-4485-a02c-52d9a94173a8 | Translation Approved (100%) | 1 | 1 |
| 4530281ec70-8067-4734-a032-b51ff0da1b59 | Translation Approved (100%) | 40 | 40 |
| 4546aa9c238-384c-4c66-8229-73e77a765c36 | Translation Approved (100%) | 2 | 2 |
| 4554356eaa8-2719-4a2a-8645-e4a382450e87 | Translation Approved (100%) | 60 | 60 |
| 456ddaf241b-4065-4c1d-ba0b-f979934580c4 | Translation Approved (100%) | 3 | 3 |
| 457dcda6dd6-f9ad-4acd-8d66-220eb04fca89 | Translation Approved (98%) | Projects served by two or more transit routes such that no one route provides more than 60% of the prescribed levels may earn one additional point, up to the maximum number of points. | Os projetos servidos por duas ou mais rotas de transporte de forma que nenhuma rota forneça mais de 60% dos níveis prescritos podem obter um ponto adicional, até o número máximo de pontos. |
| 45841014c7f-cb26-4a1a-a6c3-1057885aadf8 | Translation Approved (99%) | If existing transit service is temporarily rerouted outside the required distances for less than two years, the project may meet the requirements, provided the local transit agency has committed to restoring the routes with service at or above the prior level. | Se o serviço de transporte existente for desviado temporariamente para fora das distâncias necessárias por menos de dois anos, o projeto pode atender aos requisitos, desde que a agência de transporte local tenha se comprometido a restaurar as rotas com o serviço no mesmo ou acima do nível anterior. |
| 459c9494b87-e76d-49d2-8a83-abae79b08806 | Translation Approved (100%) | OR | OU |
| 46028dfde50-9113-4faf-83fa-45cdf817751f | Translation Approved (100%) | Option 2. | Opção 2. |
| 46128dfde50-9113-4faf-83fa-45cdf817751f | Translation Approved (0%) | Pedestrian Access (1–4 points) | Acesso de pedestres (1 a 4 pontos) |
| 46281a55bba-203f-4a6b-b77b-9ebc798fc6b3 | Translation Approved (0%) | Show that the project has an <614>attendance boundary</614> such that the specified percentages of students live within no more than a 3/4-mile (1200-meter) walking distance (for grades 8 and below, or ages 14 and below), and 1 1/2-mile (2400-meter) walking distance (for grades 9 and above or ages 15 and above) of a functional entry of a school building. | Demonstre que o projeto tem um <614>perímetro de frequência</614> tal que as porcentagens especificadas de alunos que moram a no máximo a uma distância de 3/4 de milha (1.200 metros) de caminhada (para a 8ª série e abaixo ou 14 anos de idade e abaixo) e de 1 1/2 milha (2.400 metros) de caminhada (para o 9º série e acima ou 15 anos de idade e acima) de uma entrada funcional de um edifício escolar. |
| 46381a55bba-203f-4a6b-b77b-9ebc798fc6b3 | Translation Approved (0%) | Points are awarded according to Table 3. | Os pontos são concedidos de acordo com a Tabela 3. |
| 4644d2f89d7-75c3-41a6-8351-369dcdb87004 | Translation Approved (100%) | Table 3. | Tabela 3. |
| 4654d2f89d7-75c3-41a6-8351-369dcdb87004 | Translation Approved (0%) | Points for student population within walking distance | Pontos para população de estudantes a uma distância de caminhada |
| 4667827d0d0-ea87-452c-9dd4-75af18f857e1 | Translation Approved (0%) | Percentage of students | Porcentagem de estudantes |
| 467549f99f7-c64c-426a-a581-4a5fa176f477 | Translation Approved (100%) | Points | Pontos |
| 468f5989bfd-48ae-4e66-acc0-324eab50bf49 | Translation Approved (100%) | 50% | 50% |
| 4694f64c100-4ace-4413-a0f5-64d3fd9e2090 | Translation Approved (100%) | 1 | 1 |
| 470fdcc9aa0-d97d-431f-b049-91932ab6d645 | Translation Approved (100%) | 60% | 60% |
| 4712e9d9541-b923-40f8-af49-905170399881 | Translation Approved (100%) | 2 | 2 |
| 472bd263391-2372-4d48-ba94-7445bcef644c | Translation Approved (0%) | 70% or more | 70% ou mais |
| 473d6de54bf-af66-49f3-a61d-16d4f6026639 | Translation Approved (100%) | 4 | 4 |
| 4747c96ae30-f2bb-409f-ab6a-ab0d935d07c4 | Translation Approved (0%) | In addition, locate the project on a site that allows pedestrian access to the site from all residential neighborhoods that house the planned student population. | Além disso, localize o projeto em um terreno que permita o acesso de pedestres ao terreno de todos os bairros residenciais que abrigam a população de estudantes planejada. |
| 475c2e5164c-e788-439b-bdd3-44aabef6c8f1 | Translation Approved (100%) | Healthcare | Setor de Saúde (Healthcare) |
| 476a7de7ae7-b8c4-4e9b-a168-228c2bc4acb1 | Translation Approved (99%) | Locate any <640>functional entry </640>of the project within a ¼-mile (400-meter) <641>walking distance</641> of existing or planned bus, <642>streetcar</642>, or rideshare stops, or within a ½-mile (800-meter) walking distance of existing or planned <643>bus rapid transit</643> stops, light or heavy rail stations, commuter rail stations or commuter ferry terminals. | Localize todas as <640>entradas funcionais</640> do projeto a uma <641>distância de caminhada</641> de ¼ de milha (400 metros) de pontos planejados ou existentes de <642>ônibus, bonde</642> ou carona solidária ou a uma distância de caminhada de ½ milha (800 metros) de pontos de <643>sistema de ônibus rápido (BRT)</643>, estações de trens metropolitanos e metrô ou terminais de balsas existentes ou planejados. |
| 477a7de7ae7-b8c4-4e9b-a168-228c2bc4acb1 | Translation Approved (100%) | The transit service at those stops and stations in aggregate must meet the minimums listed in Tables 1 and 2. | O serviço de transporte nesses pontos e estações, de forma agregada, devem atender aos mínimos listados nas Tabelas 1 e 2. |
| 478a7de7ae7-b8c4-4e9b-a168-228c2bc4acb1 | Translation Approved (100%) | Planned stops and stations may count if they are sited, funded, and under construction by the date of the certificate of occupancy and are complete within 24 months of that date. | Os pontos e estações planejados podem ser contados se forem localizados, financiados ou estiverem em construção na data do certificado de ocupação e forem concluídos em até 24 meses após essa data. |
| 47971c9896f-5f54-4463-8c4b-dba6856ebadb | Translation Approved (100%) | Both weekday and weekend trip minimums must be met. | É necessário atender a ambos os limites mínimos de viagens em dias úteis e fins de semana. |
| 480876209f1-192e-4564-a7f8-a4fa903bec5b | Translation Approved (100%) | Qualifying transit routes must have paired route service (service in opposite directions). | As rotas de transporte qualificadas devem ter serviços de rotas pareadas (serviço em direções opostas). |
| 481c197c570-bed2-481e-9fb3-3b64368604d8 | Translation Approved (100%) | For each qualifying transit route, only trips in one direction are counted towards the threshold. | Para cada rota de transporte qualificada, somente viagens em uma direção são contadas para o limite. |
| 482a6d3b8e5-0793-41a1-b2f8-c68261261f1f | Translation Approved (100%) | If a qualifying transit route has multiple stops within the required walking distance, only trips from one stop are counted towards the threshold. | Se uma rota de transporte qualificada possuir diversos pontos dentro da distância de caminhada necessária, somente viagens de um ponto são contadas para o limite. |
| 483eeed5dce-d52c-48b7-a1e6-1ab8c8feaefc | Translation Approved (100%) | Table 1. | Tabela 1. |
| 484eeed5dce-d52c-48b7-a1e6-1ab8c8feaefc | Translation Approved (99%) | Minimum daily transit service for projects with multiple transit types (bus, <645>streetcar</645>, rail, or ferry). | Serviço de transporte diário mínimo para projetos com diversos tipos de transporte (ônibus, <645>bonde</645>, trem ou balsa) |
| 4852be7eff6-384c-498d-bf42-a9a1a5cfc8b7 | Translation Approved (100%) | Weekday trips | Viagens em dias úteis |
| 486e6f5334e-3dfe-44a6-9aa5-1ee084a1edfe | Translation Approved (100%) | Weekend trips | Viagens em fins de semana |
| 487c1fb8fb8-4fe0-4857-92f0-1286e0632714 | Translation Approved (100%) | Points | Pontos |
| 488d5c15b1b-ced8-4a56-b0d5-9f25027ca7fe | Translation Approved (100%) | 72 | 72 |
| 489900adb25-2455-48f2-a774-07712e494b98 | Translation Approved (100%) | 40 | 40 |
| 4907732bb26-1cd7-40a9-a3b4-9bcb13cc51fa | Translation Approved (100%) | 1 | 1 |
| 491969e711e-43db-43a4-803f-e85bff77b996 | Translation Approved (100%) | 144 | 144 |
| 492a1effd04-c28c-4563-98f8-9ef7a5dcb852 | Translation Approved (100%) | 108 | 108 |
| 493a9ffa617-c707-426d-a9ce-c495b19ef208 | Translation Approved (100%) | 2 | 2 |
| 494caf78549-cfa3-4bb8-81c2-995299f8f513 | Translation Approved (100%) | Table 2. | Tabela 2. |
| 495caf78549-cfa3-4bb8-81c2-995299f8f513 | Translation Approved (100%) | Minimum daily transit service for projects with commuter rail or ferry service only | Serviço de transporte diário mínimo para projetos com apenas serviço de balsa ou trem metropolitano |
| 4964154711b-e0f6-42dc-ba86-d7ecba324ae9 | Translation Approved (100%) | Weekday trips | Viagens em dias úteis |
| 4971d6e7504-4046-4472-a246-bb780ee8fdf6 | Translation Approved (100%) | Weekend trips | Viagens em fins de semana |
| 498bc60ec5a-4e1f-4136-ab78-ab28e3505665 | Translation Approved (100%) | Points | Pontos |
| 49928dc149c-662e-4c0f-98e0-e8ab8600f349 | Translation Approved (100%) | 24 | 24 |
| 500f048290c-0101-4953-9862-d8322eff5644 | Translation Approved (100%) | 6 | 6 |
| 50192558128-1885-4fd0-8831-71d056af7767 | Translation Approved (100%) | 1 | 1 |
| 502f2631c25-8dbe-4733-ae32-7cc6a7af1010 | Translation Approved (100%) | 40 | 40 |
| 503d1759278-9afc-4d79-bf11-5eae6d5685eb | Translation Approved (100%) | 8 | 8 |
| 504612e05c8-c9ca-4e3e-a1a4-94d982df1fd9 | Translation Approved (100%) | 2 | 2 |
| 5051cb17b04-f0dc-4edc-8153-af79802a9120 | Translation Approved (100%) | Projects served by two or more transit routes such that no one route provides more than 60% of the prescribed levels may earn one additional point, up to the maximum number of points. | Os projetos servidos por duas ou mais rotas de transporte de forma que nenhuma rota forneça mais de 60% dos níveis prescritos podem obter um ponto adicional, até o número máximo de pontos. |
| 50679d95479-0984-4ae8-89c5-fc557385306f | Translation Approved (100%) | If <701>existing</701> transit service is temporarily rerouted outside the required distances for less than two years, the project may meet the requirements, provided the local transit agency has committed to restoring the routes with service at or above the prior level. | Se o serviço de transporte <701>existente</701> for desviado temporariamente para fora das distâncias necessárias por menos de dois anos, o projeto pode atender aos requisitos, desde que a agência de transporte local tenha se comprometido a restaurar as rotas com o serviço no mesmo ou acima do nível anterior. |
| 5072b455f6b-c62a-4b0b-af6b-a3c527e2cf28 | Translation Approved (100%) | LT Credit: Bicycle Facilities | Crédito LT: Instalações para Bicicletas (LT Credit: Bicycle Facilities) |
| 508e76c113f-c62b-4d8b-950d-be654ce147f0 | Translation Approved (100%) | BD&C | BD&C |
| 509c01031a3-75c6-4702-830e-377d80ffd0d0 | Translation Approved (100%) | 1 point | 1 ponto |
| 510318bbc0c-01d7-420a-ab35-e57ba392b8e8 | Translation Approved (100%) | This credit applies to | Este crédito se aplica a |
| 5117ec763d3-38b2-42e8-8237-26c506cd801f | Translation Approved (100%) | New Construction (1 point) | Nova Construção (New Construction) (1 ponto) |
| 512b0404966-9e7e-4b7b-90dc-d17ed8972e34 | Translation Approved (93%) | Core & Shell (1 point) | Núcleo e Casca (Core & Shell) (1 ponto) |
| 5138bab7ada-2ce6-44e9-abee-78f57ebd7d63 | Translation Approved (100%) | Schools (1 point) | Escolas (Schools) (1 ponto) |
| 5140407f1c5-f5d8-4146-8f4f-f8cdbd774b7f | Translation Approved (100%) | Data Centers (1 point) | Centros de Dados (Data Centers) (1 ponto) |
| 5159ed2b95f-5e4b-449b-a6e5-c353ff87224d | Translation Approved (100%) | Warehouses & Distribution Centers (1 point) | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) (1 ponto) |
| 516b8a4e258-579c-43f0-98c0-1f749e0840fc | Translation Approved (100%) | Hospitality (1 point) | Hoteleiro (Hospitality) (1 ponto) |
| 5171204772e-8d02-4cd3-9f90-fc8acdc13a5f | Translation Approved (100%) | Retail (1 point) | Varejo (Retail) (1 ponto) |
| 51892befc93-5f12-405a-8f5a-ea4bf18c8671 | Translation Approved (100%) | Healthcare (1 point) | Setor de Saúde (Healthcare) (1 ponto) |
| 5191e4b98c7-87c8-4dba-a075-67cb376639bf | Translation Approved (100%) | Intent | Objetivo |
| 520edf6a85a-93aa-41ea-b129-5ea49a65ddca | Translation Approved (CM) | To promote bicycling and transportation efficiency and reduce vehicle distance traveled. | Promover a possibilidade de se locomover em bicicletas, a eficiência dos transportes e reduzir a distância percorrida por veículos. |
| 521edf6a85a-93aa-41ea-b129-5ea49a65ddca | Translation Approved (CM) | To improve public health by encouraging utilitarian and recreational physical activity. | Aprimorar a saúde pública incentivando atividades físicas utilitárias e recreativas. |
| 522042d306a-5f4c-4d80-b451-093bcee8c2f5 | Translation Approved (100%) | Requirements | Requisitos |
| 523c46538f4-f587-4a0a-82be-9ed2f5f2343e | Translation Approved (100%) | NC, CS, Data Centers, Warehouses & Distribution Centers, Hospitality | NC, CS, Centros de Dados (Data Centers), Armazéns e Centros de Distribuição (Warehouses & Distribution Centers), Hoteleiro (Hospitality) |
| 52428907511-a466-4b17-a6c1-c639751f5773 | Translation Approved (100%) | Bicycle Network | Rede de bicicletas |
| 52564ea6193-372b-46cf-bd77-37a9ac28cfc7 | Translation Approved (0%) | Design or locate the <707>project</707> such that a <708>functional entry</708> or bicycle storage is within a 200-yard (180-meter) <709>walking distance</709> or <710>bicycling distance</710> from a <711>bicycle network</711> that connects to at least one of the following: | Projete ou localize o <707>projeto</707> de forma que uma <708>entrada funcional</708> ou um depósito de bicicletas fique a uma <709>distância de caminhada</709> ou <710>de bicicleta</710> de menos de 200 jardas (180 metros) de uma <711>rede de bicicletas</711> que se conecte a pelo menos um dos seguintes: |
| 526fb62b6a1-7043-446d-9dc0-72279a322ac8 | Translation Approved (0%) | at least 10 diverse uses (see Appendix 1); | pelo menos 10 usos diversos (consulte o Apêndice 1); |
| 5279d338775-14ca-4ede-93e3-e256f93a6e84 | Translation Approved (0%) | a school or <712>employment center, </712>if the project total floor area is 50% or more residential; or | uma escola ou <712>central de empregos, </712>se a área de piso total do projeto for 50% ou mais do tipo residencial; ou |
| 528e99a1cce-513b-4be7-ac43-ff2e46f422b9 | Translation Approved (0%) | <713>a bus rapid transit</713> stop, light or heavy rail station, commuter rail station, or ferry terminal. | um ponto do <713>sistema de ônibus rápido (BRT)</713>, estação de trem metropolitano ou metrô, ou terminal de balsas. |
| 5294db07423-e4c3-410f-8dd1-b4c514662771 | Translation Approved (CM) | All destinations must be within a 3-mile (4800-meter) bicycling distance of the project boundary. | Todos os destinos devem estar a uma distância de bicicleta de 3 milhas (4.800 metros) do limite do projeto. |
| 530d21d7e08-e8c9-4219-85af-abcc027a7efb | Translation Approved (CM) | Planned bicycle trails or lanes may be counted if they are fully funded by the date of the certificate of occupancy and are scheduled for completion within one year of that date. | As ciclovias planejadas podem ser contadas se possuírem financiamento completo na data do certificado de ocupação e estejam programadas para serem concluídas em até um ano dessa data. |
| 531e11c142e-91aa-445d-80a2-1dfffc6ce721 | Translation Approved (CM) | Bicycle Storage and Shower Rooms | Depósito de bicicletas e vestiários |
| 5320b0292d8-4cb5-4d92-9dd9-c14c8d6de707 | Translation Approved (0%) | Case 1. | Caso 1. |
| 5330b0292d8-4cb5-4d92-9dd9-c14c8d6de707 | Translation Approved (100%) | Commercial or Institutional Projects | Projetos comerciais ou institucionais |
| 5346d8d5029-83d3-4255-8b00-086af6962506 | Translation Approved (0%) | Provide <716>short-term bicycle storage</716> for at least 2.5% of all peak visitors, but no fewer than four storage spaces per building. | Ofereça um <716>depósito de bicicletas de curto prazo</716> para pelo menos 2,5% dos visitantes em horários de pico, mas com no mínimo quatro vagas de armazenamento por edifício. |
| 5354cfef05a-d989-49b5-bce6-68961243f83f | Translation Approved (0%) | Provide <717>long-term bicycle storage</717> for at least 5% of all regular building occupants, but no fewer than four storage spaces per building in addition to the short-term bicycle storage spaces. | Ofereça um <717>depósito de bicicletas de longo prazo</717> para pelo menos 5% de todos os ocupantes regulares do edifício, mas com no mínimo quatro vagas de armazenamento por edifício, além das vagas do depósito de bicicletas de curto prazo. |
| 536126e00f8-d4f3-457c-8ffe-ca0ab0898961 | Translation Approved (0%) | Provide at least one on-site shower with changing facility for the first 100 regular building occupants and one additional shower for every 150 regular building occupants thereafter. | Ofereça pelo menos um chuveiro no local, com vestiário, para os primeiros 100 ocupantes regulares do edifício e um chuveiro adicional para cada 150 ocupantes regulares subsequentes. |
| 537c36013dc-a350-40de-80b8-51a25a718285 | Translation Approved (100%) | Case 2. | Caso 2. |
| 538c36013dc-a350-40de-80b8-51a25a718285 | Translation Approved (100%) | Residential Projects | Projetos residenciais |
| 5390f769f41-3840-4671-8555-a0c285b5c761 | Translation Approved (99%) | Provide <719>short-term bicycle storage </719>for at least 2.5% of all peak visitors but no fewer than four storage spaces per building. | Ofereça um <719>depósito de bicicletas de curto prazo</719> para pelo menos 2,5% dos visitantes em horários de pico, mas com no mínimo quatro vagas de armazenamento por edifício. |
| 540e5e7523d-6295-41b9-b7a3-0b065d9171f2 | Translation Approved (74%) | Provide <720>long-term bicycle storage</720> for at least 30% of all regular building occupants, but no less than one storage space per residential unit. | Ofereça um <720>depósito de bicicletas de longo prazo</720> para pelo menos 30% de todos os ocupantes regulares do edifício, mas com no mínimo uma vaga de armazenamento por unidade residencial. |
| 5411c2623df-aa09-4757-afa0-38430f02fd71 | Translation Approved (100%) | Case 3. | Caso 3. |
| 5421c2623df-aa09-4757-afa0-38430f02fd71 | Translation Approved (0%) | Mixed-Use Projects | Projetos de uso misto |
| 543f62f1b41-d6e7-4261-9bf9-bea4b53bd3c5 | Translation Approved (0%) | Meet the Case 1 and Case 2 storage requirements for the nonresidential and residential portions of the project, respectively. | Satisfaça os requisitos de armazenamento do Caso 1 e do Caso 2 para as partes residencial e não residencial do projeto, respectivamente. |
| 544344cdd74-673c-441a-92ad-b62e4707612c | Translation Approved (0%) | For All Projects | Para todos os projetos |
| 5456c587bfc-2614-4193-a6eb-0748942f6d41 | Translation Approved (0%) | <723>Short-term bicycle storage</723> must be within 100 feet (30 meters) walking distance of any main entrance. | O <723>depósito de bicicletas de curto prazo</723> deve ficar a uma distância de caminhada de até 100 pés (30 metros) de qualquer entrada principal. |
| 5466c587bfc-2614-4193-a6eb-0748942f6d41 | Translation Approved (86%) | <724>Long-term bicycle storage</724> must be within 100 feet (30 meters) walking distance of any <725>functional entry</725>. | O <724>depósito de bicicletas de longo prazo</724> deve ficar a uma distância de caminhada de até 100 pés (30 metros) de qualquer <725>entrada funcional</725>. |
| 5477fe5fd74-592b-4de8-b539-952b0e2546a9 | Translation Approved (0%) | Bicycle storage capacity may not be double-counted: storage that is fully allocated to the occupants of nonproject facilities cannot also serve project occupants. | A capacidade do depósito de bicicletas não pode ser contada duas vezes: um depósito totalmente alocado aos ocupantes de instalações que não são do projeto não pode atender aos ocupantes do projeto. |
| 548a602777d-05d9-41e1-8f8c-5f4795d26053 | Translation Approved (0%) | Core & Shell projects should refer to Appendix 2, Default Occupancy Counts, for occupancy count requirements and guidance. | Projetos de Núcleo e Casca (Core & Shell) devem seguir o Apêndice 2, Contagens de ocupação padrão, quanto aos requisitos e a orientação de contagem de ocupação. |
| 54947fbc9a7-b4be-4557-8574-dc243783edc0 | Translation Approved (100%) | Schools | Escolas (Schools) |
| 550a7927cc4-a2ea-4c77-bbda-21cba15931e8 | Translation Approved (100%) | Bicycle Network | Rede de bicicletas |
| 551690f1811-62a2-4d1d-a613-a0fe5d2286e5 | Translation Approved (97%) | Design or locate the <727>project</727> such that a <728>functional entry</728> and/or bicycle storage is within a 200-yard (180-meter) <729>walking distance</729> or <730>bicycling distance</730> of a <731>bicycle network</731> that connects to at least one of the following: | Projete ou localize o <727>projeto</727> de forma que uma <728>entrada funcional</728> e/ou um depósito de bicicletas fique a uma <729>distância de caminhada</729> ou <730>de bicicleta</730> de menos de 200 jardas (180 metros) de uma <731>rede de bicicletas</731> que se conecte a pelo menos um dos seguintes: |
| 55297a08007-0e55-4001-9170-f2033564b665 | Translation Approved (92%) | at least 10 diverse uses (see Appendix 1); or | pelo menos 10 usos diversos (consulte o Apêndice 1); ou |
| 553c317de15-54ff-4efc-8345-ae58ab08062c | Translation Approved (99%) | a<732> bus rapid transit</732> stop, light or heavy rail station, commuter rail station, or ferry terminal. | um ponto do <732>sistema de ônibus rápido (BRT)</732>, estação de trem metropolitano ou metrô, ou terminal de balsas. |
| 5545df05d74-50f2-4c58-a81b-71801d00681f | Translation Approved (100%) | All destinations must be within a 3-mile (4800-meter) bicycling distance of the project boundary. | Todos os destinos devem estar a uma distância de bicicleta de 3 milhas (4.800 metros) do limite do projeto. |
| 555e9e54abd-4533-478e-8441-a7603230d25b | Translation Approved (0%) | Provide dedicated bicycle lanes that extend at least to the end of the school property with no barriers (e.g., fences) on school property. | Ofereça ciclovias dedicadas que se estendam pelo menos até o fim da propriedade escolar, sem barreiras (por exemplo, cercas) na propriedade escolar. |
| 5567043a9fc-57f1-44f1-9329-186ad7a2b71a | Translation Approved (100%) | Planned bicycle trails or lanes may be counted if they are fully funded by the date of the certificate of occupancy and are scheduled for completion within one year of that date. | As ciclovias planejadas podem ser contadas se possuírem financiamento completo na data do certificado de ocupação e estejam programadas para serem concluídas em até um ano dessa data. |
| 5576de67983-b2c3-4885-8f45-d82102db04d4 | Translation Approved (100%) | Bicycle Storage and Shower Rooms | Depósito de bicicletas e vestiários |
| 558d85bc365-3d04-47d9-973c-5d8c20d8e842 | Translation Approved (71%) | Provide <734>long-term bicycle storage </734>for at least 5% of all regular building occupants (excluding students grade 3 and younger), but no fewer than four storage spaces per building. | Ofereça um <734>depósito de bicicletas de longo prazo </734>para pelo menos 5% dos ocupantes regulares do edifício (exceto alunos da 3ª série e abaixo), mas com no mínimo quatro vagas de armazenamento por edifício. |
| 559e4cb069c-8c2d-41be-b6c1-a7682ddc728e | Translation Approved (90%) | Provide at least one on-site shower with changing facility for the first 100 regular building occupants (excluding students) and one additional shower for every 150 regular building occupants (excluding students) thereafter. | Ofereça pelo menos um chuveiro no local, com vestiário, para os primeiros 100 ocupantes regulares do edifício (exceto estudantes) e um chuveiro adicional para cada 150 ocupantes regulares subsequentes (exceto estudantes). |
| 560e0b92545-daca-4248-a942-c908318b9c4d | Translation Approved (0%) | Long-term storage spaces must be easily accessible to occupants and be within 100 feet (30 meters) walking distance of any main entrance. | Vagas de armazenamento de longo prazo devem ser de fácil acesso aos ocupantes e estar a menos de 100 pés (30 metros) de distância de caminhada de qualquer entrada principal. |
| 561807bb469-b113-4211-83d6-70668d835c01 | Translation Approved (100%) | Bicycle storage capacity may not be double-counted: storage that is fully allocated to the occupants of nonproject facilities cannot also serve project occupants. | A capacidade do depósito de bicicletas não pode ser contada duas vezes: um depósito totalmente alocado aos ocupantes de instalações que não são do projeto não pode atender aos ocupantes do projeto. |
| 562c707319c-122d-48c9-98b5-b5c00ff65e7d | Translation Approved (100%) | Retail | Varejo (Retail) |
| 563c23faefc-93b7-4626-a7d7-e3e741da7873 | Translation Approved (100%) | Bicycle Network | Rede de bicicletas |
| 564a216a049-137f-400b-8f6d-6c953a8d2982 | Translation Approved (100%) | Design or locate the <736>project</736> such that a <737>functional entry</737> and/or bicycle storage is within a 200-yard (180-meter) <738>walking distance</738> or <739>bicycling distance</739> of a <740>bicycle network</740> that connects to at least one of the following: | Projete ou localize o <736>projeto</736> de forma que uma <737>entrada funcional</737> e/ou um depósito de bicicletas fique a uma <738>distância de caminhada</738> ou <739>de bicicleta</739> de menos de 200 jardas (180 metros) de uma <740>rede de bicicletas</740> que se conecte a pelo menos um dos seguintes: |
| 56593c6d9bb-4af2-470c-98dd-79977b5eb2f1 | Translation Approved (100%) | at least 10 diverse uses (see Appendix 1); or | pelo menos 10 usos diversos (consulte o Apêndice 1); ou |
| 566c13bff7a-d7a3-403e-9e68-14383462ba37 | Translation Approved (100%) | a<741> bus rapid transit</741> stop, light or heavy rail station, commuter rail station, or ferry terminal. | um ponto do <741>sistema de ônibus rápido (BRT)</741>, estação de trem metropolitano ou metrô, ou terminal de balsas. |
| 567751aacfc-98f4-4a60-a1fb-931dca9e4f7e | Translation Approved (100%) | All destinations must be within a 3-mile (4800-meter) bicycling distance of the project boundary. | Todos os destinos devem estar a uma distância de bicicleta de 3 milhas (4.800 metros) do limite do projeto. |
| 5680a50325e-c5a9-4881-a3a4-15f16cf9412c | Translation Approved (100%) | Planned bicycle trails or lanes may be counted if they are fully funded by the date of the certificate of occupancy and are scheduled for completion within one year of that date. | As ciclovias planejadas podem ser contadas se possuírem financiamento completo na data do certificado de ocupação e estejam programadas para serem concluídas em até um ano dessa data. |
| 56914bdfbd2-dbd3-4a4d-a211-e3453649a1ae | Translation Approved (100%) | Bicycle Storage and Shower Rooms | Depósito de bicicletas e vestiários |
| 570f67061ef-f9a2-47d9-99c7-b863ab2622a8 | Translation Approved (0%) | Provide at least two <743>short-term bicycle storage </743>spaces for every 5,000 square feet (465 square meters), but no fewer than two storage spaces per building. | Ofereça pelo menos duas <743>vagas de armazenamento de bicicletas de curto prazo </743>para cada 5.000 pés quadrados (465 metros quadrados), mas com no mínimo duas vagas de armazenamento por edifício. |
| 5712694387f-2ae0-4aae-b484-822e9ddf1899 | Translation Approved (95%) | Provide <744>long-term bicycle storage </744>for at least 5% of regular building occupants, but no fewer than two storage spaces per building in addition to the short-term bicycle storage spaces. | Ofereça um <744>depósito de bicicletas de longo prazo</744> para pelo menos 5% dos ocupantes regulares do edifício, mas com no mínimo duas vagas de armazenamento por edifício, além das vagas do depósito de bicicletas de curto prazo. |
| 5722e5948b8-8290-4a19-a99a-0e78ef2382ff | Translation Approved (100%) | Provide at least one on-site shower with changing facility for the first 100 regular building occupants and one additional shower for every 150 regular building occupants thereafter. | Ofereça pelo menos um chuveiro no local, com vestiário, para os primeiros 100 ocupantes regulares do edifício e um chuveiro adicional para cada 150 ocupantes regulares subsequentes. |
| 5738bf390df-a844-45ef-9df3-e1705719b990 | Translation Approved (100%) | <745>Short-term bicycle storage</745> must be within 100 feet (30 meters) walking distance of any main entrance. | O <745>depósito de bicicletas de curto prazo</745> deve ficar a uma distância de caminhada de até 100 pés (30 metros) de qualquer entrada principal. |
| 5748bf390df-a844-45ef-9df3-e1705719b990 | Translation Approved (100%) | <746>Long-term bicycle storage</746> must be within 100 feet (30 meters) walking distance of any <747>functional entry</747>. | O <746>depósito de bicicletas de longo prazo</746> deve ficar a uma distância de caminhada de até 100 pés (30 metros) de qualquer <747>entrada funcional</747>. |
| 575173973f6-a759-4548-8569-d524414ee9e9 | Translation Approved (100%) | Bicycle storage capacity may not be double-counted: storage that is fully allocated to the occupants of nonproject facilities cannot also serve project occupants. | A capacidade do depósito de bicicletas não pode ser contada duas vezes: um depósito totalmente alocado aos ocupantes de instalações que não são do projeto não pode atender aos ocupantes do projeto. |
| 576f268dd62-96b5-41ad-bf31-180989307736 | Translation Approved (0%) | Provide a bicycle maintenance program for employees or bicycle route assistance for employees and customers. | Ofereça um programa de manutenção de bicicletas para funcionários ou assistência com rotas de bicicletas para funcionários e clientes. |
| 577f268dd62-96b5-41ad-bf31-180989307736 | Translation Approved (0%) | Route assistance must be provided in a manner easily accessible to both employees and customers. | A assistência com rotas deve ser fornecida de maneira facilmente acessível a funcionários e clientes. |
| 5788225cc18-a875-4a0c-babb-214c87198c69 | Translation Approved (0%) | For projects that are part of a multitenant complex only: If bicycle storage spaces have been provided in the complex in which the project is located, determine the number of spaces that may be attributed to the project by dividing the project’s floor area by the total floor area of the development (buildings only) and multiplying the percentage result by the total number of spaces. | Somente para projetos que façam parte de um complexo para múltiplos locatários: se as vagas de armazenamento de bicicletas forem fornecidas no complexo no qual o projeto se localiza, determine o número de vagas que podem ser atribuídas ao projeto dividindo a área de piso do projeto pela área de piso total do empreendimento (somente edifícios) e multiplicando o resultado percentual pelo número total de vagas. |
| 5798225cc18-a875-4a0c-babb-214c87198c69 | Translation Approved (0%) | If this number does not meet the credit requirement, the project must provide additional bicycle storage. | Se esse número não atender ao requisito do crédito, o projeto deve oferecer um depósito de bicicletas adicional. |
| 5803dec9458-83e0-43c0-9c4f-f27275d46a59 | Translation Approved (100%) | Healthcare | Setor de Saúde (Healthcare) |
| 581a8eb8b56-515b-4f00-a013-71496ee41ab8 | Translation Approved (100%) | Bicycle Network | Rede de bicicletas |
| 5824429f914-67ff-4d3a-8694-5c49754fb31b | Translation Approved (100%) | Design or locate the <750>project</750> such that a <751>functional entry</751> and/or bicycle storage is within a 200-yard (180-meter) <752>walking distance</752> or <753>bicycling distance</753> of a <754>bicycle network</754> that connects to at least one of the following: | Projete ou localize o <750>projeto</750> de forma que uma <751>entrada funcional</751> e/ou um depósito de bicicletas fique a uma <752>distância de caminhada</752> ou <753>de bicicleta</753> de menos de 200 jardas (180 metros) de uma <754>rede de bicicletas</754> que se conecte a pelo menos um dos seguintes: |
| 58338707e30-b869-403c-9dfe-80895a19fbc7 | Translation Approved (100%) | at least 10 diverse uses (see Appendix 1); or | pelo menos 10 usos diversos (consulte o Apêndice 1); ou |
| 5841572bb81-17e2-4f0c-8f8c-953d39b8aa13 | Translation Approved (99%) | a <755>bus rapid transit</755> stop, light or heavy rail station, commuter rail station, or ferry terminal. | um ponto do <755>sistema de ônibus rápido (BRT)</755>, estação de trem metropolitano ou metrô, ou terminal de balsas. |
| 585998d01a2-5bd1-4dd2-b5fc-63b865a71d14 | Translation Approved (100%) | All destinations must be within a 3-mile (4800-meter) bicycling distance of the project boundary. | Todos os destinos devem estar a uma distância de bicicleta de 3 milhas (4.800 metros) do limite do projeto. |
| 5869874a07e-f644-45e4-b762-a030192ebef3 | Translation Approved (100%) | Planned bicycle trails or lanes may be counted if they are fully funded by the date of the certificate of occupancy and are scheduled for completion within one year of that date. | As ciclovias planejadas podem ser contadas se possuírem financiamento completo na data do certificado de ocupação e estejam programadas para serem concluídas em até um ano dessa data. |
| 587c6882146-7ef4-4830-98e4-2278fde3f63e | Translation Approved (100%) | Bicycle Storage and Shower Rooms | Depósito de bicicletas e vestiários |
| 5883f537d7e-e07f-4888-ac52-50c7574bf3c0 | Translation Approved (100%) | Case 1. | Caso 1. |
| 5893f537d7e-e07f-4888-ac52-50c7574bf3c0 | Translation Approved (100%) | Commercial or Institutional Projects | Projetos comerciais ou institucionais |
| 590908dd532-ba25-477f-a475-91ada5bc0c90 | Translation Approved (98%) | Provide <758>short-term</758> <759>bicycle storage</759> for at least 2.5% of all peak visitors, but no fewer than four storage spaces per building. | Ofereça um <758>depósito de bicicletas de curto prazo</758> para pelo menos 2,5% dos visitantes em horários de pico, mas com no mínimo quatro vagas de armazenamento por edifício. |
| 5916026559b-fc87-4430-b2bd-6c86c2b1a56f | Translation Approved (92%) | Provide <760>long-term bicycle storage</760> for at least 5% of regular building occupants (excluding patients), but no fewer than four storage spaces per building in addition to the short-term bicycle storage spaces. | Ofereça um <760>depósito de bicicletas de longo prazo</760> para pelo menos 5% dos ocupantes regulares do edifício (exceto pacientes), mas com no mínimo quatro vagas de armazenamento por edifício, além das vagas do depósito de bicicletas de curto prazo. |
| 592c5c3900f-da41-40d9-9457-5627707c887d | Translation Approved (95%) | Provide at least one on-site shower with changing facility for the first 100 regular building occupants (excluding patients) and one additional shower for every 150 regular building occupants thereafter. | Ofereça pelo menos um chuveiro no local, com vestiário, para os primeiros 100 ocupantes regulares do edifício (exceto pacientes) e um chuveiro adicional para cada 150 ocupantes regulares subsequentes. |
| 593c5b74d0f-ab62-4966-8f46-d670aae66c52 | Translation Approved (100%) | Case 2. | Caso 2. |
| 594c5b74d0f-ab62-4966-8f46-d670aae66c52 | Translation Approved (100%) | Residential Projects | Projetos residenciais |
| 5959ed56c4e-17bc-4f77-89a2-e28b70f9c3c2 | Translation Approved (79%) | Provide secure, enclosed bicycle storage for at least 30% of all regular building occupants (excluding patients) measured at peak periods, but no less than one storage space per residential unit. | Ofereça um depósito de bicicletas fechado seguro para pelo menos 30% de todos os ocupantes regulares do edifício (exceto pacientes), conforme medição no horário de pico, mas com no mínimo uma vaga de armazenamento por unidade residencial. |
| 596094572f2-7001-4b34-ab39-185941006ccb | Translation Approved (100%) | For All Projects | Para todos os projetos |
| 59784ac9277-34c8-4fe3-8258-8d60f58d9300 | Translation Approved (100%) | <763>Short-term bicycle storage</763> must be within 100 feet (30 meters) walking distance of any main entrance. | O <763>depósito de bicicletas de curto prazo</763> deve ficar a uma distância de caminhada de até 100 pés (30 metros) de qualquer entrada principal. |
| 59884ac9277-34c8-4fe3-8258-8d60f58d9300 | Translation Approved (99%) | <764>Long-term bicycle storage</764> must be within 100 feet (30 meters) walking distance of any functional entry. | O <764>depósito de bicicletas de longo prazo</764> deve ficar a uma distância de caminhada de até 100 pés (30 metros) de qualquer entrada funcional. |
| 599bac3d9c6-892e-4dd8-82e9-50801d293cfa | Translation Approved (95%) | Bicycle storage capacity may not be double counted: storage that is fully allocated to the occupants of nonproject facilities cannot also serve project occupants. | A capacidade do depósito de bicicletas não pode ser contada duas vezes: um depósito totalmente alocado aos ocupantes de instalações que não são do projeto não pode atender aos ocupantes do projeto. |
| 600d6dc4b9f-6157-4d95-9907-bab27bfdcc3c | Translation Approved (99%) | LT Credit: Reduced Parking Footprint | Crédito LT: Redução da Área de Projeção do Estacionamento (LT Credit: Reduced Parking Footprint) |
| 601a3d42bdb-e487-47d4-9866-c71bf4ec058f | Translation Approved (100%) | BD&C | BD&C |
| 60224bb8e29-d96e-41fb-b0e1-c425fb8e0052 | Translation Approved (100%) | 1 point | 1 ponto |
| 6037f807846-575b-477b-9a1f-12720fb742b8 | Translation Approved (100%) | This credit applies to | Este crédito se aplica a |
| 604b68a4b02-0f94-4934-b7a1-fadaab7ae9f5 | Translation Approved (100%) | New Construction (1 point) | Nova Construção (New Construction) (1 ponto) |
| 605ac047900-ffa5-457e-a4fb-7aff90321543 | Translation Approved (100%) | Core & Shell (1 point) | Núcleo e Casca (Core & Shell) (1 ponto) |
| 60688189fc5-c4cf-4be4-a7ed-1119c719a112 | Translation Approved (100%) | Schools (1 point) | Escolas (Schools) (1 ponto) |
| 6075dd5f1d2-4778-4023-ad27-fe512645679e | Translation Approved (100%) | Data Centers (1 point) | Centros de Dados (Data Centers) (1 ponto) |
| 608de297088-f29f-422e-9f50-d816fe97fe19 | Translation Approved (100%) | Warehouses & Distribution Centers (1 point) | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) (1 ponto) |
| 6099b0fd970-17a9-41e2-8656-ebb81c15f0c2 | Translation Approved (100%) | Hospitality (1 point) | Hoteleiro (Hospitality) (1 ponto) |
| 61059eaaee1-6393-42a8-82a7-23627ae4c6bf | Translation Approved (100%) | Retail (1 point) | Varejo (Retail) (1 ponto) |
| 61138222887-5593-4e76-ae17-21f234fd8df2 | Translation Approved (100%) | Healthcare (1 point) | Setor de Saúde (Healthcare) (1 ponto) |
| 6121db2f07e-e058-47a0-a613-5812e9b59573 | Translation Approved (100%) | Intent | Objetivo |
| 613585dbe72-f11a-45eb-a854-9314279aec8c | Translation Approved (0%) | To minimize the environmental harms associated with parking facilities, including automobile dependence, land consumption, and rainwater runoff. | Minimizar os prejuízos ambientais associados a instalações de estacionamento, incluindo dependência de automóveis, consumo de terreno e escoamento superficial de água da chuva. |
| 614af6e381c-4c6b-441c-a8df-b63d1838d0f2 | Translation Approved (100%) | Requirements | Requisitos |
| 615104b93de-0adb-42ef-a272-0a7206cbaeb1 | Translation Approved (89%) | NC, CS, Retail, Schools, Data Centers, Warehouses & Distribution Centers, Hospitality, Healthcare | NC, CS, Varejo (Retail), Escolas (Schools), Centros de Dados (Data Centers), Armazéns e Centros de Distribuição (Warehouses & Distribution Centers), Hoteleiro (Hospitality), Setor de Saúde (Healthcare) |
| 61604242e24-c0a3-4bf9-a265-6c4e13d22f8a | Translation Approved (0%) | Do not exceed the minimum local code requirements for parking capacity. | Não exceda os requisitos mínimos do código local de capacidade de estacionamento. |
| 61744040f68-1915-409a-b1e2-4b6b0ed99649 | Translation Approved (0%) | Provide parking capacity that is a percentage reduction below the base ratios recommended by the Parking Consultants Council, as shown in the Institute of Transportation Engineers’ Transportation Planning Handbook, 3rd edition, Tables 18-2 through 18-4. | Ofereça capacidade de estacionamento que seja uma redução percentual abaixo dos coeficientes base do Conselho de Consultores de Estacionamento (Parking Consultants Council), conforme indicado no Transportation Planning Handbook do Instituto de Engenheiros de Transporte (Institute of Transportation Engineers), 3ª Edição, Tabelas 18-2 a 18-4. |
| 618ae4ff4bd-5716-4830-809c-ed72f08d7517 | Translation Approved (100%) | Case 1. | Caso 1. |
| 619ae4ff4bd-5716-4830-809c-ed72f08d7517 | Translation Approved (CM) | Baseline Location | Local da baseline |
| 620d750a580-531b-4e89-b143-a36623f4057e | Translation Approved (90%) | Projects that have not earned points under LT Credit Surrounding Density and Diverse Uses or LT Credit Access to Quality Transit must achieve a 20% reduction from the base ratios. | Projetos que não obtiveram pontos do Crédito LT: Densidade dos Arredores e Usos Diversos (LT Credit: Surrounding Density and Diverse Uses) ou Crédito LT: Acesso a Transporte de Qualidade (LT Credit: Access to Quality Transit) devem obter uma redução de 20% em relação aos coeficientes base. |
| 621e18ce69c-1a72-4ec2-b0de-bdb63b037a12 | Translation Approved (100%) | Case 2. | Caso 2. |
| 622e18ce69c-1a72-4ec2-b0de-bdb63b037a12 | Translation Approved (0%) | Dense and/or Transit-Served Location | Local denso e/ou atendido por transporte |
| 62301736a11-6a37-4c51-9cdd-a0bf318cf6d4 | Translation Approved (88%) | Projects earning 1 or more points under either <772>LT Credit Surrounding Density and Diverse Uses or LT Credit Access to Quality Transit</772> must achieve a 40% reduction from the base ratios. | Projetos que obtiverem 1 ou mais pontos no <772>Crédito LT: Densidade dos Arredores e Usos Diversos (LT Credit: Surrounding Density and Diverse Uses) ou Crédito LT: Acesso a Transporte de Qualidade (LT Credit: Access to Quality Transit)</772> devem obter uma redução de 40% em relação aos coeficientes base. |
| 62469d00e56-4c89-4a0b-aef2-88a1b2891f36 | Translation Approved (100%) | For All Projects | Para todos os projetos |
| 625a0dc8287-063d-4038-a96a-2bc267cd4389 | Translation Approved (0%) | The credit calculations must include all existing and new off-street parking spaces that are leased or owned by the project, including parking that is outside the project boundary but is used by the project. | Os cálculos de créditos devem incluir todas as vagas de estacionamento existentes e novas fora das ruas, alugadas ou pertencentes ao projeto, incluindo estacionamento fora do limite do projeto, mas que seja usado pelo projeto. |
| 626a0dc8287-063d-4038-a96a-2bc267cd4389 | Translation Approved (CM) | On-street parking in public rights-of-way is excluded from these calculations. | O estacionamento em ruas públicas é excluído desses cálculos. |
| 6271545c670-8012-429e-be09-3941ad3a960e | Translation Approved (0%) | For projects that use pooled parking, calculate compliance using the project’s share of the pooled parking. | Para projetos que usam estacionamento compartilhado, calcule a conformidade utilizando a parte do estacionamento compartilhado usada pelo projeto. |
| 6280b47a037-7840-45f8-aec7-3da37faf8d6b | Translation Approved (CM) | Provide preferred parking for carpools for 5% of the total parking spaces after reductions are made from the base ratios. | Ofereça estacionamento preferencial para caronas solidárias para 5% do total de vagas de estacionamento após realizar reduções em relação aos coeficientes base. |
| 6290b47a037-7840-45f8-aec7-3da37faf8d6b | Translation Approved (0%) | Preferred parking is not required if no off-street parking is provided. | Estacionamento preferencial não é necessário se não for oferecido estacionamento fora das ruas. |
| 630c030de8f-8dac-4ed1-833a-93c40491f6d1 | Translation Approved (0%) | Mixed-use projects should determine the percentage reduction by first aggregating the parking amount of each use (as specified by the base ratios) and then determining the percentage reduction from the aggregated parking amount. | Projetos de uso misto devem determinar a porcentagem de redução primeiro somando a quantidade de estacionamento de cada uso (conforme especificada pelos coeficientes base) e, em seguida, determinando a porcentagem de redução a partir da quantidade de estacionamento somada. |
| 631576f1e21-74dd-488e-86b9-597ada1ade3b | Translation Approved (0%) | Do not count parking spaces for fleet and inventory vehicles unless these vehicles are regularly used by employees for commuting as well as business purposes. | Não conte vagas de estacionamento para veículos de frota e de inventário, a menos que tais veículos sejam usados regularmente por funcionários em suas viagens diárias ao trabalho e também para fins de negócios. |
| 632613b8c23-f702-450b-9de0-d969dc57c6a2 | Translation Approved (0%) | LT Credit: Green Vehicles | Crédito LT: Veículos Verdes (LT Credit: Green Vehicles) |
| 6333f5f7ccc-7b04-46c5-950f-1c1efcce605a | Translation Approved (100%) | BD&C | BD&C |
| 634ec4a9164-f0a2-4fd6-99eb-03e5202d883b | Translation Approved (100%) | 1 point | 1 ponto |
| 635db7347d7-50cb-4e5b-936b-549ef4efcda8 | Translation Approved (100%) | This credit applies to | Este crédito se aplica a |
| 6368af2d4f9-8ea5-417e-917e-2414cd98e7e0 | Translation Approved (100%) | New Construction (1 point) | Nova Construção (New Construction) (1 ponto) |
| 637c19c3521-660f-48e8-a12e-1c94d79e4bce | Translation Approved (100%) | Core & Shell (1 point) | Núcleo e Casca (Core & Shell) (1 ponto) |
| 638152b1fb2-ef7c-48b3-b0e7-f929b95c89c2 | Translation Approved (100%) | Data Centers (1 point) | Centros de Dados (Data Centers) (1 ponto) |
| 63913dd73fc-ee46-4460-9fea-2cb15bd867ba | Translation Approved (100%) | Hospitality (1 point) | Hoteleiro (Hospitality) (1 ponto) |
| 640d09529c7-40eb-4b3b-ae69-76405abf9091 | Translation Approved (100%) | Retail (1 point) | Varejo (Retail) (1 ponto) |
| 641e83e5952-1b2c-4ff4-b606-277e88459ef7 | Translation Approved (100%) | Healthcare (1 point) | Setor de Saúde (Healthcare) (1 ponto) |
| 642eb9f06d7-ed63-4a16-bbaa-f6d05e03bb79 | Translation Approved (100%) | Schools (1 point) | Escolas (Schools) (1 ponto) |
| 643301ac688-87fd-4b27-882f-fa55fc55f04c | Translation Approved (100%) | Warehouses & Distribution Centers (1 point) | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) (1 ponto) |
| 644adc15fc6-3a62-4714-bfa8-984efec25415 | Translation Approved (100%) | Intent | Objetivo |
| 645f398dd5e-795e-406d-936d-d69995af1980 | Translation Approved (0%) | To reduce pollution by promoting alternatives to conventionally fueled automobiles. | Reduzir a poluição promovendo alternativas aos automóveis movidos a combustíveis convencionais. |
| 646277a5fc4-ae9a-4810-8ce7-6885af9a2b81 | Translation Approved (100%) | Requirements | Requisitos |
| 647f1f87366-4b5d-4b4f-bbee-b47dea784a29 | Translation Approved (75%) | NC, CS, Data Centers, Hospitality. | NC, CS, Centros de Dados (Data Centers), Hoteleiro (Hospitality) |
| 648f1f87366-4b5d-4b4f-bbee-b47dea784a29 | Translation Approved (0%) | Retail, Healthcare | Varejo (Retail), Setor de Saúde (Healthcare) |
| 649f816ea4d-61a6-4c30-96f6-cefe38e101bf | Translation Approved (0%) | Designate 5% of all parking spaces used by the project as <778>preferred parking</778> for green vehicles. | Designe 5% de todas as vagas de estacionamento usadas pelo projeto como <778>estacionamento preferencial</778> para veículos verdes. |
| 650f816ea4d-61a6-4c30-96f6-cefe38e101bf | Translation Approved (0%) | Clearly identify and enforce for sole use by green vehicles. | Identifique claramente e imponha o uso exclusivo por veículos verdes. |
| 651f816ea4d-61a6-4c30-96f6-cefe38e101bf | Translation Approved (0%) | Distribute preferred parking spaces proportionally among various parking sections (e.g. between short-term and long-term spaces). | Distribua as vagas de estacionamento preferencial proporcionalmente entre as várias seções de estacionamento (por exemplo, entre vagas de curto e longo prazo). |
| 652a431616b-b143-47e1-8a9c-490405cf32dc | Translation Approved (94%) | Green vehicles must achieve a minimum green score of 45 on the American Council for an Energy Efficient Economy (ACEEE) annual vehicle rating guide (or local equivalent for projects outside the U.S.). | Veículos verdes devem obter uma pontuação verde mínima de 45 no guia anual de classificação veicular do Conselho Americano para uma Economia de Eficácia Energética (American Council for an Energy-Efficient Economy - ACEEE) (ou um equivalente local para projetos fora dos EUA). |
| 653fd10cc2d-a508-4a0b-a090-389240d9d2c0 | Translation Approved (0%) | A discounted parking rate of at least 20% for green vehicles is an acceptable substitute for preferred parking spaces. | Uma tarifa de desconto para estacionamento de pelo menos 20% para veículos verdes é um substituto aceitável para vagas de estacionamento preferencial. |
| 654fd10cc2d-a508-4a0b-a090-389240d9d2c0 | Translation Approved (0%) | The discounted rate must be publicly posted at the entrance of the parking area and permanently available to every qualifying vehicle. | A tarifa com desconto deve ser divulgada publicamente na entrada da área de estacionamento e sempre deve estar disponível a todos os veículos qualificados. |
| 65536bc4d3a-69e5-488b-a188-7412c962741c | Translation Approved (0%) | In addition to preferred parking for green vehicles, meet one of the following two options for alternative-fuel fueling stations: | Além do estacionamento preferencial para veículos verdes, satisfaça uma das duas opções a seguir para postos de abastecimento de combustíveis alternativos: |
| 656680b630b-98aa-4c9e-8d4b-0f4b1edd080f | Translation Approved (100%) | Option 1. | Opção 1. |
| 657680b630b-98aa-4c9e-8d4b-0f4b1edd080f | Translation Approved (0%) | Electric Vehicle Charging | Carga de veículos elétricos |
| 658253a059e-ab47-4ec5-8470-e448accca1c8 | Translation Approved (0%) | Install <780>electrical vehicle supply equipment (EVSE) </780>in 2% of all parking spaces used by the project. | Instale <780>equipamentos de alimentação de veículos elétricos (<780>electrical vehicle supply equipment </780>- EVSE) </780>em 2% de todas as vagas de estacionamento usadas pelo projeto. |
| 659253a059e-ab47-4ec5-8470-e448accca1c8 | Translation Approved (0%) | Clearly identify and reserve these spaces for the sole use by plug-in electric vehicles. | Identifique com clareza e reserve tais vagas para uso exclusivo de veículos elétricos com conexão por tomada. |
| 660253a059e-ab47-4ec5-8470-e448accca1c8 | Translation Approved (0%) | EVSE parking spaces must be provided in addition to preferred parking <781>spaces</781> for green vehicles. | As vagas de estacionamento com EVSE devem ser fornecidas além das <781>vagas</781> de estacionamento preferencial para veículos verdes. |
| 6615d7d5ef1-989b-4bfc-842c-d31ee3c2252d | Translation Approved (0%) | The EVSE must: | Os EVSE devem: |
| 6628fb356e3-7a9d-4220-b82f-4e8b2770dc13 | Translation Approved (0%) | Provide a Level 2 charging capacity (208 – 240 volts) or greater. | Fornecer capacidade de carga Nível 2 (208 a 240 volts) ou superior. |
| 663972037e3-4d59-4ad5-a95a-2f373444dcfa | Translation Approved (0%) | Comply with the relevant regional or local standard for electrical connectors, such as SAE Surface Vehicle Recommended Practice J1772, SAE Electric Vehicle Conductive Charge Coupler or IEC 62196 of the International Electrotechnical Commission for projects outside the U.S. | Estar em conformidade com a norma local ou regional relevante de conectores elétricos, como a SAE J1772 – Prática Recomendada para Superfícies Veiculares (Surface Vehicle Recommended Practice), SAE – Conexão de Carga Condutiva de Veículo Elétrico (Electric Vehicle Conductive Charge Coupler) ou a IEC 62196 da Comissão Eletrotécnica Internacional para projetos fora dos EUA. |
| 6643cbed780-d4e8-498b-9a70-ddaebebb38e2 | Translation Approved (0%) | Be networked or internet addressable and be capable of participating in a demand-response program or time-of-use pricing to encourage off-peak charging. | Estar conectada em rede ou ser acessível pela Internet e ser capaz de participar de um programa de resposta à demanda ou de definição de preços por tempo de uso para incentivar cargas fora dos períodos de pico. |
| 665f178d92d-834c-4475-bbb2-9ba39d322134 | Translation Approved (100%) | OR | OU |
| 66623429afc-7d4a-444d-9dde-83241b048e42 | Translation Approved (100%) | Option 2. | Opção 2. |
| 66723429afc-7d4a-444d-9dde-83241b048e42 | Translation Approved (0%) | Liquid, gas, or battery facilities | Instalações para combustíveis líquidos, gás ou baterias |
| 66850d30216-0620-4f3b-8d30-e91689d4fdb2 | Translation Approved (0%) | Install liquid or gas <783>alternative fuel</783> fueling facilities or a battery switching station capable of refueling a number of vehicles per day equal to at least 2% of all parking spaces. | Ofereça instalações de abastecimento de <783>combustíveis alternativos</783> líquidos ou gasosos ou um posto de troca de baterias capazes de reabastecer um número de veículos por dia igual a pelo menos 2% de todas as vagas de estacionamento. |
| 6691c2e54e6-ef97-400d-9b3d-2a6cf133bc0a | Translation Approved (100%) | Schools | Escolas (Schools) |
| 670a2498470-03db-4cc1-a98b-083a68bbb46e | Translation Approved (0%) | Option 1: Green passenger vehicles | Opção 1: Veículos verdes para passageiros |
| 671beb87433-2463-474f-adf1-49d4e498cbf2 | Translation Approved (100%) | Designate 5% of all parking spaces used by the project as <785>preferred parking</785> for green vehicles. | Designe 5% de todas as vagas de estacionamento usadas pelo projeto como <785>estacionamento preferencial</785> para veículos verdes. |
| 672beb87433-2463-474f-adf1-49d4e498cbf2 | Translation Approved (100%) | Clearly identify and enforce for sole use by green vehicles. | Identifique claramente e imponha o uso exclusivo por veículos verdes. |
| 673beb87433-2463-474f-adf1-49d4e498cbf2 | Translation Approved (100%) | Distribute preferred parking spaces proportionally among various parking sections (e.g. between short-term and long-term spaces). | Distribua as vagas de estacionamento preferencial proporcionalmente entre as várias seções de estacionamento (por exemplo, entre vagas de curto e longo prazo). |
| 6746323a12b-a3ec-4c36-a9dd-ef6b6a24de17 | Translation Approved (99%) | Green vehicles must achieve a minimum green score of 45 on the American Council for an Energy Efficient Economy (ACEEE) annual vehicle rating guide (or local equivalent for projects outside the U.S. | Veículos verdes devem obter uma pontuação verde mínima de 45 no guia anual de classificação veicular do Conselho Americano para uma Economia de Eficácia Energética (American Council for an Energy-Efficient Economy - ACEEE) (ou um equivalente local para projetos fora dos EUA). |
| 675d5d829a4-5cfe-4855-8134-e08055472e6e | Translation Approved (100%) | A discounted parking rate of at least 20% for green vehicles is an acceptable substitute for preferred parking spaces. | Uma tarifa de desconto para estacionamento de pelo menos 20% para veículos verdes é um substituto aceitável para vagas de estacionamento preferencial. |
| 676d5d829a4-5cfe-4855-8134-e08055472e6e | Translation Approved (100%) | The discounted rate must be publicly posted at the entrance of the parking area and permanently available to every qualifying vehicle. | A tarifa com desconto deve ser divulgada publicamente na entrada da área de estacionamento e sempre deve estar disponível a todos os veículos qualificados. |
| 677dd92b557-4c0c-4bc0-8287-e21746cce902 | Translation Approved (100%) | In addition to preferred parking for green vehicles, meet one of the following two options for alternative-fuel fueling stations: | Além do estacionamento preferencial para veículos verdes, satisfaça uma das duas opções a seguir para postos de abastecimento de combustíveis alternativos: |
| 678bd5de794-3ebd-4810-b7f5-59a4e48e2443 | Translation Approved (98%) | Path 1. | Caminho 1. |
| 679bd5de794-3ebd-4810-b7f5-59a4e48e2443 | Translation Approved (100%) | Electric Vehicle Charging | Carga de veículos elétricos |
| 680bee05782-038e-4dc8-8b53-1d09a5cae9ab | Translation Approved (100%) | Install <787>electrical vehicle supply equipment (EVSE) </787>in 2% of all parking spaces used by the project. | Instale <787>equipamentos de alimentação de veículos elétricos (<787>electrical vehicle supply equipment </787>- EVSE) </787>em 2% de todas as vagas de estacionamento usadas pelo projeto. |
| 681bee05782-038e-4dc8-8b53-1d09a5cae9ab | Translation Approved (100%) | Clearly identify and reserve these spaces for the sole use by plug-in electric vehicles. | Identifique com clareza e reserve tais vagas para uso exclusivo de veículos elétricos com conexão por tomada. |
| 682bee05782-038e-4dc8-8b53-1d09a5cae9ab | Translation Approved (100%) | EVSE parking spaces must be provided in addition to preferred parking <788>spaces</788> for green vehicles. | As vagas de estacionamento com EVSE devem ser fornecidas além das <788>vagas</788> de estacionamento preferencial para veículos verdes. |
| 683ef43196c-7277-4246-9f00-7139c1c24a55 | Translation Approved (100%) | The EVSE must: | Os EVSE devem: |
| 6846f54909b-72d2-4809-a395-48c69b4106a0 | Translation Approved (100%) | Provide a Level 2 charging capacity (208 – 240 volts) or greater. | Fornecer capacidade de carga Nível 2 (208 a 240 volts) ou superior. |
| 685f07e53f8-6ff8-44de-9660-a0e11fa59395 | Translation Approved (100%) | Comply with the relevant regional or local standard for electrical connectors, such as SAE Surface Vehicle Recommended Practice J1772, SAE Electric Vehicle Conductive Charge Coupler or IEC 62196 of the International Electrotechnical Commission for projects outside the U.S. | Estar em conformidade com a norma local ou regional relevante de conectores elétricos, como a SAE J1772 – Prática Recomendada para Superfícies Veiculares (Surface Vehicle Recommended Practice), SAE – Conexão de Carga Condutiva de Veículo Elétrico (Electric Vehicle Conductive Charge Coupler) ou a IEC 62196 da Comissão Eletrotécnica Internacional para projetos fora dos EUA. |
| 6864c173da4-e2e2-4288-9c00-291b582007b4 | Translation Approved (100%) | Be networked or internet addressable and be capable of participating in a demand-response program or time-of-use pricing to encourage off-peak charging. | Estar conectada em rede ou ser acessível pela Internet e ser capaz de participar de um programa de resposta à demanda ou de definição de preços por tempo de uso para incentivar cargas fora dos períodos de pico. |
| 687aa0d8ff5-3bc8-4fa8-a941-ba1e3d76f300 | Translation Approved (100%) | OR | OU |
| 6883cae82fc-6f4b-49d6-bb6b-79745d744b47 | Translation Approved (100%) | Path 2. | Caminho 2. |
| 6893cae82fc-6f4b-49d6-bb6b-79745d744b47 | Translation Approved (100%) | Liquid, gas, or battery facilities | Instalações para combustíveis líquidos, gás ou baterias |
| 69059c4bb91-fb9b-4699-96b5-a618f466f000 | Translation Approved (100%) | Install liquid or gas <790>alternative fuel</790> fueling facilities or a battery switching station capable of refueling a number of vehicles per day equal to at least 2% of all parking spaces. | Ofereça instalações de abastecimento de <790>combustíveis alternativos</790> líquidos ou gasosos ou um posto de troca de baterias capazes de reabastecer um número de veículos por dia igual a pelo menos 2% de todas as vagas de estacionamento. |
| 6914cc2b870-5b30-4279-8ea1-027331d84548 | Translation Approved (100%) | OR | OU |
| 6925f0658b8-62f9-48bc-a4d0-4beea215ad91 | Translation Approved (0%) | Option 2: Green buses or school-owned vehicles | Opção 2: Ônibus verdes ou veículos de propriedade da escola |
| 69310ca624c-24c0-4f76-9499-23883845d3e1 | Translation Approved (0%) | Develop and implement a plan for every bus serving the school to meet the following emissions standards within seven years of the building certificate of occupancy: | Desenvolva e implemente um plano para que todos os ônibus que atendem à escola cumpram as normas de emissão a seguir em até sete anos após a emissão do certificado de ocupação do edifício: |
| 6942f961343-e57a-4f07-9063-1be16c42ce83 | Translation Approved (0%) | nitrogen oxide (NOx) emissions of 0.50 grams or less per brake horsepower-hour; and | emissões de óxido de nitrogênio (NOx) de 0,50 grama ou menos por potência/hora do freio; e |
| 695454a0e84-47f8-4a2b-870e-9b4748062dab | Translation Approved (76%) | particulate matter emissions of 0.01 grams or less per brake horsepower-hour. | emissões de matéria particulada de 0,01 grama ou menos por potência/hora do freio. |
| 6967e123023-8ae7-43e6-8462-332c1463fa42 | Translation Approved (0%) | Emission standards must be met for each bus and not by an average of the entire fleet serving the school. | As normas para emissões devem ser cumpridas por cada ônibus e não por uma média de toda a frota que atende a escola. |
| 697ba56a809-5952-47ef-a4fa-5ca5be5bd713 | Translation Approved (0%) | Develop and implement a plan for 100% of all other (non-bus) vehicles owned or leased to serve the school to be green vehicles<792>.</792> | Desenvolva e implemente um plano para que 100% de todos os outros veículos (que não sejam ônibus) pertencentes à escola ou alugados sejam veículos verdes<792>.</792> |
| 698ba56a809-5952-47ef-a4fa-5ca5be5bd713 | Translation Approved (98%) | Green vehicles must achieve a minimum green score of 45 on the American Council for an Energy Efficient Economy (ACEEE) annual vehicle rating guide (or local equivalent for projects outside the U.S). | Veículos verdes devem obter uma pontuação verde mínima de 45 no guia anual de classificação veicular do Conselho Americano para uma Economia de Eficácia Energética (American Council for an Energy-Efficient Economy - ACEEE) (ou um equivalente local para projetos fora dos EUA). |
| 699ec634bdf-1f3a-4a71-9875-5937540a7203 | Translation Approved (100%) | Warehouses & Distribution Centers | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) |
| 700494da6f4-b4fc-4f34-bdc8-591763fb9f61 | Translation Approved (100%) | Option 1. | Opção 1. |
| 701494da6f4-b4fc-4f34-bdc8-591763fb9f61 | Translation Approved (0%) | Alternative-Fuel Vehicles (1 point) | Veículos de combustível alternativo (1 ponto) |
| 70210fb0fe0-8f1c-4d3d-96da-433de7354a5f | Translation Approved (0%) | Provide an on-site fleet with at least one <794>yard tractor</794> that is powered by electricity, propane, or natural gas. | Ofereça uma frota no local com pelo menos um <794>cavalo mecânico de manobra</794> movido a eletricidade, propano ou gás natural. |
| 70310fb0fe0-8f1c-4d3d-96da-433de7354a5f | Translation Approved (0%) | Provide on-site charging or refueling stations for the vehicles. | Ofereça postos de carga ou reabastecimento no local para os veículos. |
| 70410fb0fe0-8f1c-4d3d-96da-433de7354a5f | Translation Approved (0%) | Liquid or gas refueling stations must be separately ventilated or located outdoors. | Postos de reabastecimento de combustíveis líquidos ou gasosos devem ser ventilados separadamente ou ficar em áreas externas. |
| 705d4b049e5-22a4-4a8c-b44c-4aaa7822b2b8 | Translation Approved (100%) | OR | OU |
| 706ebf83e85-abc8-49df-acd4-30867f1131a4 | Translation Approved (100%) | Option 2. | Opção 2. |
| 707ebf83e85-abc8-49df-acd4-30867f1131a4 | Translation Approved (0%) | Reduced Truck Idling (1 point) | Redução de caminhões em ponto morto (1 ponto) |
| 7084ee9a951-50f2-4705-af05-4df2ff8b3fc0 | Translation Approved (0%) | Provide an electrical connection for at least 50% of all dock door locations to limit truck idling at the dock. | Forneça uma conexão elétrica para pelo menos 50% de todas as portas da plataforma de carga para limitar a permanência de caminhões em ponto morto na plataforma. |
| 7091f980ad8-1604-496f-8dad-39b3865c5222 | Translation Approved (100%) | Sustainable Sites (SS) | Terrenos Sustentáveis (Sustainable Sites - SS) |
| 710f9dd3f32-f472-4d45-9351-65083b261f5d | Translation Approved (70%) | SS Prerequisite: Construction Activity Pollution Prevention | Pré-requisito SS: Prevenção à Poluição em Atividades de Construção (SS Prerequisite: Construction Activity Pollution Prevention) |
| 71124500f73-9343-4d10-9d74-5caa4ade6e09 | Translation Approved (100%) | Required | Obrigatório |
| 7122ef77ba9-e62d-47bc-9ab9-eab79e61df34 | Translation Approved (100%) | BD&C | BD&C |
| 713361fd0a5-7216-4fb2-9f3e-4466718e34e5 | Translation Approved (CM) | This prerequisite applies to | Este pré-requisito se aplica a: |
| 7149cc782c5-b089-4a62-a085-0d44c6942b32 | Translation Approved (100%) | New Construction | Nova Construção (New Construction) |
| 715368ff325-6b81-471b-9cd9-30b2f3fe4aea | Translation Approved (100%) | Core & Shell | Núcleo e Casca (Core & Shell) |
| 716441f29e6-e189-4ec7-a48b-fccb8f20af53 | Translation Approved (100%) | Schools | Escolas (Schools) |
| 7173e009ffc-c095-4249-8cdf-51803ea44531 | Translation Approved (100%) | Retail | Varejo (Retail) |
| 7189eb6d373-3426-4c76-a8c1-4f053c5b4721 | Translation Approved (100%) | Data Centers | Centros de Dados (Data Centers) |
| 7194a59de21-8a46-4b26-9b61-999cec206273 | Translation Approved (100%) | Warehouses & Distribution Centers | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) |
| 720b690c3c1-c414-45c9-9aa8-e7f8392838be | Translation Approved (100%) | Hospitality | Hoteleiro (Hospitality) |
| 7218e3f3878-9613-4810-aa00-5e84293f2887 | Translation Approved (100%) | Healthcare | Setor de Saúde (Healthcare) |
| 72265cc2de0-e9bb-44e5-828d-1b4df856c948 | Translation Approved (100%) | Intent | Objetivo |
| 72334355d83-dd7b-4688-83bd-6eba0a2bb94c | Translation Approved (0%) | To reduce pollution from construction activities by controlling soil erosion, waterway sedimentation, and airborne dust. | Reduzir a poluição das atividades de construção controlando a erosão do solo, a sedimentação de hidrovias e a poeira suspensa no ar. |
| 724e20c5f4b-6974-4279-95c3-53507344e9e2 | Translation Approved (100%) | Requirements | Requisitos |
| 725c8dd9ee3-cd47-438b-aea7-5728650e0422 | Translation Approved (100%) | NC, CS, Schools, Retail, Data Centers, Warehouses & Distribution Centers, Hospitality, Healthcare | NC, CS, Escolas (Schools), Varejo (Retail), Centros de Dados (Data Centers), Armazéns e Centros de Distribuição (Warehouses & Distribution Centers), Hoteleiro (Hospitality), Setor de Saúde (Healthcare) |
| 7264e86260a-fc0a-410d-9728-e8c30eed6021 | Translation Approved (0%) | Create and implement an erosion and sedimentation control plan for all construction activities associated with the project. | Crie e implemente um plano de controle de erosão e sedimentação para todas as atividades de construção associadas ao projeto. |
| 7274e86260a-fc0a-410d-9728-e8c30eed6021 | Translation Approved (0%) | The plan must conform to the erosion and sedimentation requirements of the 2012 U.S. Environmental Protection Agency (EPA) Construction General Permit (CGP) or local equivalent, whichever is more stringent. | O plano deve cumprir os requisitos de erosão e sedimentação da Licença Geral de Construção (Construction General Permit - CGP) de 2012 da Agência de Proteção Ambiental (Environmental Protection Agency – EPA) dos EUA ou de um equivalente local, o que for mais rigoroso. |
| 7284e86260a-fc0a-410d-9728-e8c30eed6021 | Translation Approved (0%) | Projects must apply the CGP regardless of size. | Os projetos devem aplicar a CGP independentemente do tamanho. |
| 7294e86260a-fc0a-410d-9728-e8c30eed6021 | Translation Approved (0%) | The plan must describe the measures implemented. | O plano deve descrever as medidas implementadas. |
| 7301c2b14a0-1d7b-4b6a-ac14-eff3da881ceb | Translation Approved (0%) | SS Prerequisite: Environmental Site Assessment | Pré-requisito SS: Avaliação Ambiental do Terreno (SS Prerequisite: Environmental Site Assessment) |
| 73158434d4f-9df6-4d85-b835-916aeb217ff6 | Translation Approved (100%) | Required | Obrigatório |
| 732fa7733ba-4594-40eb-b164-452cda6dd317 | Translation Approved (100%) | BD&C | BD&C |
| 73316b95cdb-fea8-4e49-b855-2b9d77bc1b66 | Translation Approved (100%) | This prerequisite applies to | Este pré-requisito se aplica a: |
| 73429d7f17b-1564-45ec-8389-37616bd20849 | Translation Approved (100%) | Schools | Escolas (Schools) |
| 735a5f889f3-bed9-4276-9698-2e14cbc7b426 | Translation Approved (100%) | Healthcare | Setor de Saúde (Healthcare) |
| 736f3fbf92c-99b7-423c-9140-1936a41bee1b | Translation Approved (100%) | Intent | Objetivo |
| 7377a897672-31f8-422e-b681-a85cdec35449 | Translation Approved (0%) | To protect the health of vulnerable populations by ensuring that the site is assessed for environmental contamination and that any environmental contamination has been remediated. | Proteger a saúde de populações vulneráveis garantindo que o terreno seja avaliado quanto à contaminação ambiental e que toda contaminação ambiental tenha sido remediada. |
| 738b1bf16d2-7eba-4901-a77b-adc074f460f1 | Translation Approved (100%) | Requirements | Requisitos |
| 73919f94c37-642d-4419-8e7a-69a1534c4fe7 | Translation Approved (0%) | Schools, Healthcare | Escolas (Schools), Setor de Saúde (Healthcare) |
| 740ec179fd2-b0b0-4d8e-bfd4-d4c71b35ebae | Translation Approved (0%) | Conduct a Phase I Environmental Site Assessment as described in ASTM E1527–05 (or a local equivalent) to determine whether environmental contamination exists at the site. | Conduza uma Avaliação Ambiental do Terreno Fase I conforme descrição em ASTM E1527–05 (ou equivalente local) para determinar se existe contaminação ambiental no terreno. |
| 741ec179fd2-b0b0-4d8e-bfd4-d4c71b35ebae | Translation Approved (0%) | If contamination is suspected, conduct a Phase II Environmental Site Assessment as described in ASTM E1903–11 (or a local equivalent). | Se houver suspeita de contaminação, conduza uma Avaliação Ambiental do Terreno Fase II, conforme descrição em ASTM E1903–11 (ou equivalente local). |
| 742a082e57f-5fee-442a-9ce1-55b8b840efbe | Translation Approved (0%) | If a site is contaminated, remediate the site to meet local, state, or national environmental protection agency region residential (unrestricted) standards, whichever are most stringent. | Se um terreno estiver contaminado, remediar o terreno para satisfazer as normas residenciais regionais (irrestritas) de agências de proteção ambiental municipais, estaduais ou nacional, as que forem mais rigorosas. |
| 7439d3f14e3-89eb-4a1a-a05b-d34dc1ef6ae9 | Translation Approved (82%) | SS Credit: Site Assessment | Crédito SS: Avaliação do Terreno (SS Credit: Site Assessment) |
| 744b3f92aeb-99c0-476c-a647-867cf2537ed2 | Translation Approved (100%) | BD&C | BD&C |
| 745092c5f78-a076-4c89-92cc-210211b4b90f | Translation Approved (100%) | 1 point | 1 ponto |
| 746e6c8ee37-8e5f-4837-b26e-b3142d0f8d40 | Translation Approved (100%) | This credit applies to | Este crédito se aplica a |
| 74752cde706-acb3-4d4e-a4ae-6badeb308816 | Translation Approved (100%) | New Construction (1 point) | Nova Construção (New Construction) (1 ponto) |
| 7482745aa8f-8144-49ef-9361-6a45d52e5d4b | Translation Approved (100%) | Core & Shell (1 point) | Núcleo e Casca (Core & Shell) (1 ponto) |
| 749045fc472-4167-4f43-b60c-b90890100166 | Translation Approved (100%) | Schools (1 point) | Escolas (Schools) (1 ponto) |
| 750bb1267cf-7e41-46f6-bfda-98e9a3e9fd76 | Translation Approved (100%) | Retail (1 point) | Varejo (Retail) (1 ponto) |
| 75110790454-eef6-4d09-85fe-0f68ec28afd3 | Translation Approved (100%) | Data Centers (1 point) | Centros de Dados (Data Centers) (1 ponto) |
| 752e2732f9e-03ed-4bac-b454-56a4ae822dfd | Translation Approved (100%) | Warehouses & Distribution Centers (1 point) | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) (1 ponto) |
| 753137eb3d4-7d57-461f-845d-bc80e4e0f9d5 | Translation Approved (100%) | Hospitality (1 point) | Hoteleiro (Hospitality) (1 ponto) |
| 7544025b751-f02b-4d30-aa1b-48af7fba16fd | Translation Approved (100%) | Healthcare (1 point) | Setor de Saúde (Healthcare) (1 ponto) |
| 7553b91e36f-57a9-48ff-9846-f0045fbe1849 | Translation Approved (100%) | Intent | Objetivo |
| 756e25cfb8a-877b-4cf3-89d8-4c8da2f18abf | Translation Approved (0%) | To assess site conditions before design to evaluate sustainable options and inform related decisions about site design. | Avaliar as condições do terreno antes do projeto para verificar as opções sustentáveis e informar decisões relacionadas ao projeto do terreno. |
| 757d70b074a-76ad-4eb1-8437-5039824cea93 | Translation Approved (100%) | Requirements | Requisitos |
| 758f82a0bc4-07f8-451e-b4b1-8c88fd6769ee | Translation Approved (100%) | NC, CS, Schools, Retail, Data Centers, Warehouses & Distribution Centers, Hospitality, Healthcare | NC, CS, Escolas (Schools), Varejo (Retail), Centros de Dados (Data Centers), Armazéns e Centros de Distribuição (Warehouses & Distribution Centers), Hoteleiro (Hospitality), Setor de Saúde (Healthcare) |
| 7597c789ead-7299-444c-b1c5-585cff55147e | Translation Approved (0%) | Complete and document a site survey or assessment<815/> that includes the following information: | Realize e documente uma pesquisa ou avaliação do terreno<815/> que inclua as seguintes informações: |
| 760f413ae2d-9ef8-49b2-93c2-4dde11a6fd47 | Translation Approved (0%) | Components adapted from the Sustainable Sites Initiative: Guidelines and Performance Benchmarks 2009, Prerequisite 2.1: Site Assessment. | Componentes adaptados de Sustainable Sites Initiative: Guidelines and Performance Benchmarks 2009, Prerequisite 2.1: Site Assessment (Iniciativa de Terrenos Sustentáveis: Diretrizes e Referências de Desempenho 2009, Pré-requisito 2.1: Avaliação do Terreno). |
| 7617f8b10a9-0897-4618-921d-3c1ba6bd6012 | Translation Approved (0%) | Topography. | Topografia. |
| 7627f8b10a9-0897-4618-921d-3c1ba6bd6012 | Translation Approved (0%) | Contour mapping, unique topographic features, slope stability risks. | Mapeamento de contorno, recursos topográficos exclusivos, riscos de estabilidade de taludes. |
| 76398fbef94-2305-4cbf-8702-74f807d0491e | Translation Approved (96%) | Hydrology. | Hidrologia. |
| 76498fbef94-2305-4cbf-8702-74f807d0491e | Translation Approved (0%) | Flood hazard areas, delineated wetlands, lakes, streams, shorelines, rainwater collection and reuse opportunities, TR-55 initial water storage capacity of the site (or local equivalent for projects outside the U.S.). | Áreas com perigo de enchente, zonas úmidas delimitadas, lagos, rios, litoral, oportunidades de coleta e reuso de água da chuva, capacidade inicial de armazenamento de água TR-55 do terreno (ou equivalente local para projetos fora dos EUA). |
| 765d9dfbe99-85c0-4ca6-b1a1-34af126be1d7 | Translation Approved (0%) | Climate. | Clima. |
| 766d9dfbe99-85c0-4ca6-b1a1-34af126be1d7 | Translation Approved (0%) | Solar exposure, heat island effect potential, seasonal sun angles, prevailing winds, monthly precipitation and temperature ranges. | Exposição solar, potencial do efeito ilha de calor, ângulos solares sazonais, ventos predominantes, precipitação mensal e faixas de temperatura. |
| 76796e7d69a-e33b-465c-a280-30b55ecb3f89 | Translation Approved (96%) | Vegetation. | Vegetação. |
| 76896e7d69a-e33b-465c-a280-30b55ecb3f89 | Translation Approved (0%) | Primary vegetation types, greenfield area, significant tree mapping, threatened or endangered species, unique habitat, invasive plant species. | Principais tipos de vegetação, área de greenfield, mapeamento de árvores significativas, espécies ameaçadas de extinção, habitat exclusivo, espécies de plantas invasoras. |
| 76911896891-bfdd-4819-a8b5-99835e6e15d9 | Translation Approved (0%) | Soils. | Solos. |
| 77011896891-bfdd-4819-a8b5-99835e6e15d9 | Translation Approved (0%) | Natural Resources Conservation Service soils delineation, U.S. Department of Agriculture prime farmland, healthy soils, previous development, disturbed soils (local equivalent standards may be used for projects outside the U.S.). | Delimitação de solos do Serviço de Conservação de Recursos Naturais dos EUA, prime farmland do Ministério da Agricultura dos EUA, solos saudáveis, desenvolvimento prévio, solos alterados (normas locais equivalentes podem ser usadas para projetos fora dos EUA). |
| 77109e12096-0c1e-45b3-b490-02caa1338f12 | Translation Approved (0%) | Human use. | Uso humano. |
| 77209e12096-0c1e-45b3-b490-02caa1338f12 | Translation Approved (0%) | Views, adjacent transportation infrastructure, adjacent properties, construction materials with existing recycle or reuse potential. | Vistas, infraestrutura de transporte adjacente, propriedades adjacentes, materiais de construção com potencial de reciclagem ou reuso existente. |
| 7735f79814c-8bf0-457a-bc77-16ac5dd71ca5 | Translation Approved (70%) | Human health effects. | Efeitos na saúde humana. |
| 7745f79814c-8bf0-457a-bc77-16ac5dd71ca5 | Translation Approved (0%) | Proximity of vulnerable populations, adjacent physical activity opportunities, proximity to major sources of air pollution. | Proximidade de populações vulneráveis, oportunidades adjacentes de atividade física, proximidade de grandes fontes de poluição do ar. |
| 7756e2bab0c-093a-4c9f-9bd8-a0ebc126597a | Translation Approved (0%) | The survey or assessment should demonstrate the relationships between the site features and topics listed above and how these features influenced the project design; give the reasons for not addressing any of those topics. | A pesquisa ou avaliação deve demonstrar as relações entre os recursos do terreno e os tópicos listados acima e como esses recursos influenciaram o design do projeto; forneça os motivos para não tratar de algum desses tópicos. |
| 7768ef0fabe-a0e8-4ac4-9379-6e2c4de2ea89 | Translation Approved (75%) | SS Credit: Site Development—Protect or Restore Habitat | Crédito SS: Desenvolvimento do Terreno - Proteção ou Restauração do Habitat (SS Credit: Site Development—Protect or Restore Habitat) |
| 77789c7506d-f0c7-4fca-a47f-e191d03fdfbd | Translation Approved (100%) | BD&C | BD&C |
| 778bddef89c-6406-49a1-b7c4-1275ac08cc67 | Translation Approved (100%) | 1–2 points | 1 a 2 pontos |
| 779aeb0b4ce-ef01-4aff-9ab4-9d404e7b20e6 | Translation Approved (100%) | This credit applies to | Este crédito se aplica a |
| 7800b531976-c6ae-418b-b8e4-f7f980fc5a28 | Translation Approved (100%) | New Construction (1–2 points) | Nova Construção (New Construction) (1 a 2 pontos) |
| 7812fc40a04-f1e3-489a-bcf1-525ddcb5c1e8 | Translation Approved (94%) | Core & Shell (1–2 points) | Núcleo e Casca (Core & Shell) (1 a 2 pontos) |
| 782b2e4934c-4be8-4420-9013-961efe202ac1 | Translation Approved (100%) | Schools (1–2 points) | Escolas (Schools) (1 a 2 pontos) |
| 7830c8add71-3159-438b-8c5e-34181b2cc61a | Translation Approved (100%) | Retail (1–2 points) | Varejo (Retail) (1 a 2 pontos) |
| 7840fd7d86d-9d88-41a5-80ab-5b5d11483f5b | Translation Approved (100%) | Data Centers (1–2 points) | Centros de Dados (Data Centers) (1 a 2 pontos) |
| 785af07a9e0-7e4b-4de5-a75a-fcbeb613001c | Translation Approved (100%) | Warehouses & Distribution Centers (1–2 points) | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) (1 a 2 pontos) |
| 786d8a05b0e-450d-40ca-bed9-bd1b10c45f8a | Translation Approved (100%) | Hospitality (1–2 points) | Hoteleiro (Hospitality) (1 a 2 pontos) |
| 787d9dbd0e9-6670-4c5e-a49b-3ca97b726b66 | Translation Approved (100%) | Healthcare (1 point) | Setor de Saúde (Healthcare) (1 ponto) |
| 788db6db9eb-0b50-4367-b92c-fd97413884b5 | Translation Approved (100%) | Intent | Objetivo |
| 789ffd49315-566c-4c3c-bd71-f477eb1fa65b | Translation Approved (100%) | To conserve existing natural areas and restore damaged areas to provide habitat and promote biodiversity. | Preservar as áreas naturais existentes e restaurar áreas danificadas para proporcionar habitat e promover a biodiversidade. |
| 79079f045fc-e20c-4ee5-bd6d-55e938d12b14 | Translation Approved (100%) | Requirements | Requisitos |
| 7914833b1c9-e66f-4b48-b3e7-a1dc2c01ec84 | Translation Approved (100%) | NC, CS, Schools, Retail, Data Centers, Warehouses & Distribution Centers, Hospitality, Healthcare | NC, CS, Escolas (Schools), Varejo (Retail), Centros de Dados (Data Centers), Armazéns e Centros de Distribuição (Warehouses & Distribution Centers), Hoteleiro (Hospitality), Setor de Saúde (Healthcare) |
| 792cbdb6936-e2b4-4b2d-bf29-e15006009eea | Translation Approved (0%) | Preserve and protect from all development and construction activity 40% of the greenfield area on the site (if such areas exist). | Preservar e proteger de todas as atividades de desenvolvimento e construção 40% da área de greenfield no terreno (se houver). |
| 793773a699f-0c7a-4a2a-bdde-e7521f9b5c6b | Translation Approved (100%) | AND | E |
| 79475479f7b-eb90-4f9a-82b0-98fd3e2a8906 | Translation Approved (100%) | Option 1. | Opção 1. |
| 79575479f7b-eb90-4f9a-82b0-98fd3e2a8906 | Translation Approved (0%) | On-Site Restoration (2 points except Healthcare, 1 point Healthcare) | Restauração no local (2 pontos, exceto Setor de Saúde, 1 ponto Setor de Saúde) |
| 796c07b49e0-2925-4abb-a927-7c00bb793df8 | Translation Approved (0%) | Using native or adapted vegetation, restore 30% (including the building footprint) of all portions of the site identified as previously disturbed. | Usando vegetação nativa ou adaptada, restaure 30% (incluindo a pegada ecológica) de todas as partes do terreno identificadas como previamente alteradas. |
| 797c07b49e0-2925-4abb-a927-7c00bb793df8 | Translation Approved (0%) | Projects that achieve a density of 1.5 floor-area ratio may include vegetated roof surfaces in this calculation if the plants are native or adapted, provide habitat, and promote biodiversity. | Projetos com uma densidade de 1,5 de coeficiente de aproveitamento podem incluir superfícies de telhado com vegetação neste cálculo se as plantas forem nativas ou adaptadas, proporcionarem habitat e promoverem biodiversidade. |
| 79890da41a0-60d8-41d4-bea8-2dd34b33a1e1 | Translation Approved (0%) | Restore all disturbed or compacted soils that will be revegetated within the project’s development footprint to meet the following requirements<843/>: | Restaure todos os solos modificados ou compactados que serão replantados dentro da área de projeção do empreendimento do projeto para atender aos seguintes requisitos<843/>: |
| 79931ae1db3-ccec-4fa7-a86d-347c4c0168e2 | Translation Approved (0%) | Components adapted from the Sustainable Sites Initiative: Guidelines and Performance Benchmarks 2009, Credit 7.2: Restore Soils Disturbed During Construction | Componentes adaptados de Sustainable Sites Initiative: Guidelines and Performance Benchmarks 2009, Credit 7.2: Restore Soils Disturbed During Construction (Iniciativa de Terrenos Sustentáveis: Diretrizes e Referências de Desempenho 2009, Crédito 7.2: Restauração de Solos Alterados Durante a Construção). |
| 800a5a631ae-5589-4f48-ac6e-0a1ca23c1273 | Translation Approved (0%) | Soils (imported and in situ) must be reused for functions comparable to their original function. | Solos (importados e no local) devem ser reutilizados para funções comparáveis às suas funções originais. |
| 8018c46253e-d373-4926-b2cf-18be3aa016c0 | Translation Approved (0%) | Imported topsoils or soil blends designed to serve as topsoil may not include the following: | Solos férteis importados ou misturas de solo projetadas para funcionar como solos férteis não podem incluir: |
| 8023b1fa692-ef6e-4275-a968-9d03bf29c918 | Translation Approved (0%) | soils defined regionally by the Natural Resources Conservation Service web soil survey (or local equivalent for projects outside the U.S.) as prime farmland, unique farmland, or farmland of statewide or local importance; or | solos definidos regionalmente pela pesquisa de solos do Serviço de Conservação de Recursos Naturais dos EUA (ou equivalente local para projetos fora dos EUA) como prime farmland, farmland exclusiva ou farmland de importância municipal ou estadual; ou |
| 803d47a245f-ca27-4ca3-b2b4-e0a41a7d38c1 | Translation Approved (0%) | soils from other greenfield sites, unless those soils are a byproduct of a construction process. | solos de outros terrenos de greenfield, exceto os solos que sejam subprodutos de um processo de construção. |
| 80484e4bb8b-b55f-4bd2-9dde-9764c8994f06 | Translation Approved (0%) | Restored soil must meet the criteria of <849>reference soils</849> in categories 1–3 and meet the criteria of either category 4 or 5: | Solo restaurado deve atender aos critérios de <849>solos de referência</849> nas categorias de 1 a 3 e aos critérios da categoria 4 ou da categoria 5: |
| 8058103c4b4-2a00-4660-a559-70293c177f17 | Translation Approved (0%) | organic matter; | matéria orgânica; |
| 8063c20588e-9c57-4b5d-8973-70dc8b052626 | Translation Approved (0%) | compaction; | compactação; |
| 8074360fe18-eb77-4737-896a-51714240e579 | Translation Approved (0%) | infiltration rates; | taxas de infiltração; |
| 80818aae84b-e2cc-4d24-8c77-38ce89bbaa77 | Translation Approved (0%) | soil biological function; and | função biológica do solo; e |
| 80933cbd95e-fae2-45fd-8afb-f4edee7c2f74 | Translation Approved (0%) | soil chemical characteristics. | características químicas do solo. |
| 810ffd8cda8-ad88-46bf-b714-f9aebe968da8 | Translation Approved (0%) | Project teams may exclude vegetated landscape areas that are constructed to accommodate rainwater infiltration from the vegetation and soils requirements, provided all such rainwater infiltration areas are treated consistently with SS Credit Rainwater Management. | Equipes de projeto podem excluir áreas de paisagismo com vegetação construídas para favorecer a infiltração de água da chuva dos requisitos de vegetação e solos, desde que todas as áreas de infiltração de água da chuva sejam tratadas de forma consistente com o Crédito SS: Gestão de Águas Pluviais (SS Credit: Rainwater Management). |
| 811e43815d4-5d2a-490b-9f5c-8b32c5d6938c | Translation Approved (0%) | Schools only: | Apenas Escolas (Schools): |
| 81228a23510-4dd1-4dbd-a9aa-76e4ef139339 | Translation Approved (0%) | Dedicated athletic fields that are solely for athletic uses are exempted from the soil restoration criteria. | Campos esportivos dedicados, exclusivos para uso esportivo, são isentos dos critérios de restauração do solo. |
| 81328a23510-4dd1-4dbd-a9aa-76e4ef139339 | Translation Approved (0%) | These areas may not count toward the minimum required area. | Essas áreas não podem contar para alcançar a área mínima necessária. |
| 81404781904-ffc6-4a60-8365-ea344d2043a2 | Translation Approved (100%) | OR | OU |
| 815e6c0a4b9-df55-4a5b-a62a-ce6272134721 | Translation Approved (100%) | Option 2. | Opção 2. |
| 816e6c0a4b9-df55-4a5b-a62a-ce6272134721 | Translation Approved (0%) | Financial Support (1 point) | Apoio financeiro (1 ponto) |
| 81779e65dad-11ee-495a-a596-34564b6ab0ab | Translation Approved (0%) | Provide financial support equivalent to at least $0.40 per square foot (US$4 per square meter) for the total site area (including the building footprint). | Forneça apoio financeiro equivalente a pelo menos US$ 0,40 por pé quadrado (US$ 4 por metro quadrado) da área total do terreno (incluindo a pegada ecológica). |
| 818e391a3b7-b7b1-45be-9c31-c35fa636241b | Translation Approved (0%) | Financial support must be provided to a nationally or locally recognized land trust or conservation organization within the same EPA Level III ecoregion or the project’s state (or within 100 miles of the project [160 kilometers] for projects outside the U.S.). | O apoio financeiro pode ser oferecido a um land trust ou uma organização de preservação reconhecida nacional ou localmente na mesma ecorregião Nível III da EPA (EUA) ou no estado do projeto (ou a até 100 milhas [160 km] do projeto para projetos fora dos EUA). |
| 819e391a3b7-b7b1-45be-9c31-c35fa636241b | Translation Approved (0%) | For U.S. projects, the land trust must be accredited by the Land Trust Alliance. | Para projetos nos EUA, o land trust deve ser reconhecido pela Land Trust Alliance. |
| 8203e6e7e34-c227-4ff9-8077-f0961706b9e6 | Translation Approved (99%) | SS Credit: Open Space | Crédito SS: Espaço Aberto (SS Credit: Open Space) |
| 8211e38379b-580c-459b-a714-03a919fd999e | Translation Approved (100%) | BD&C | BD&C |
| 822a7e91a29-15f8-412c-9b02-cd9a763d1b80 | Translation Approved (100%) | 1 point | 1 ponto |
| 82367e8f22d-8992-44b4-9c84-10902ef3c0d5 | Translation Approved (100%) | This credit applies to | Este crédito se aplica a |
| 824262ab1e1-50bd-4d15-806c-065adcf575aa | Translation Approved (100%) | New Construction (1 point) | Nova Construção (New Construction) (1 ponto) |
| 82597d42ad6-d044-4f51-9658-a99c1ec2e687 | Translation Approved (100%) | Core & Shell (1 point) | Núcleo e Casca (Core & Shell) (1 ponto) |
| 8267bdb98ee-03d8-493a-a777-bfff3ddbf08c | Translation Approved (100%) | Schools (1 point) | Escolas (Schools) (1 ponto) |
| 827b266174a-d11f-4097-8dcc-3efaa9b2de57 | Translation Approved (100%) | Retail (1 point) | Varejo (Retail) (1 ponto) |
| 828938284d2-2495-4a33-bc51-78cfbc844d7a | Translation Approved (100%) | Data Centers (1 point) | Centros de Dados (Data Centers) (1 ponto) |
| 829fa045b8c-e358-42bb-bc32-fe1783b0f7dd | Translation Approved (100%) | Warehouses & Distribution Centers (1 point) | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) (1 ponto) |
| 830dd41794f-ce74-42d0-a76c-83f4853ea1c6 | Translation Approved (100%) | Hospitality (1 point) | Hoteleiro (Hospitality) (1 ponto) |
| 831e2b543b0-a116-4da3-b861-786d29cac119 | Translation Approved (100%) | Healthcare (1 point) | Setor de Saúde (Healthcare) (1 ponto) |
| 832fe9c0d2d-025d-4d61-937d-2cebdbdc7fec | Translation Approved (100%) | Intent | Objetivo |
| 833515f7fff-1f31-46ea-b683-2a85dacefd83 | Translation Approved (0%) | To create exterior open space that encourages interaction with the environment, social interaction, passive recreation, and physical activities. | Criar espaço aberto externo que incentive a interação com o ambiente, interação social, recreação passiva e atividades físicas. |
| 834d6bf424e-b0b7-40a2-bd78-73c2c281322a | Translation Approved (100%) | Requirements | Requisitos |
| 83576b7c7c6-0c14-4ca9-8344-d40fa4d889f4 | Translation Approved (100%) | NC, CS, Schools, Retail, Data Centers, Warehouses & Distribution Centers, Hospitality, Healthcare | NC, CS, Escolas (Schools), Varejo (Retail), Centros de Dados (Data Centers), Armazéns e Centros de Distribuição (Warehouses & Distribution Centers), Hoteleiro (Hospitality), Setor de Saúde (Healthcare) |
| 836eb11eb39-291f-4ef4-a863-9087eac42805 | Translation Approved (0%) | Provide outdoor space greater than or equal to 30% of the total site area (including building footprint). | Forneça espaço externo superior ou igual a 30% da área total do terreno (incluindo a pegada ecológica). |
| 837eb11eb39-291f-4ef4-a863-9087eac42805 | Translation Approved (0%) | A minimum of 25% of that outdoor space must be vegetated (turf grass does not count as vegetation) or have <857>overhead vegetated canopy</857>. | No mínimo 25% desse espaço externo deve ter vegetação (gramado não conta como vegetação) ou <857>cobertura vegetal aérea</857>. |
| 83886f931a5-e017-4ba4-b543-745bc0376786 | Translation Approved (0%) | The outdoor space must be physically accessible and be one or more of the following: | O espaço externo deve ser fisicamente acessível e ser um ou mais dos itens a seguir: |
| 839349e82aa-8e40-4b79-86fa-780821c95b88 | Translation Approved (0%) | a pedestrian-oriented paving or turf area with physical site elements that accommodate outdoor social activities; | uma área de pavimentação ou de gramado para pedestres, com elementos físicos do terreno que proporcionem atividades sociais externas; |
| 8403eb6c5d7-7dcb-4f0c-969b-3f70d6b2d751 | Translation Approved (76%) | a recreation-oriented paving or turf area with physical site elements that encourage physical activity; | uma área de pavimentação ou de gramado para recreação, com elementos físicos do terreno que estimulem atividades físicas; |
| 8418b8fc336-3284-479c-8119-204b6db96d62 | Translation Approved (0%) | a garden space with a diversity of vegetation types and species that provide opportunities for year-round visual interest; | um espaço de jardim com diversidade de tipos de vegetação e espécies que ofereça oportunidades de interesse visual durante todo o ano; |
| 84273e3891f-a96a-4b41-9ad3-90164d0b72e1 | Translation Approved (0%) | a garden space dedicated to community gardens or urban food production; | um espaço de jardim dedicado a jardins comunitários ou à produção urbana de alimentos; |
| 84360e370cd-6bac-43c0-a3eb-7cdbe1b0fc0e | Translation Approved (0%) | preserved or created habitat that meets the criteria of SS Credit Site Development—Protect or Restore Habitat and also includes elements of human interaction. | habitat preservado ou criado que atenda aos critérios do Crédito SS: Desenvolvimento do Local - Proteção ou Restauração do Habitat (SS Credit: Site Development—Protect or Restore Habitat) e também inclua elementos de interação humana. |
| 84447eeb74f-c900-47e6-b3af-5976aedc9352 | Translation Approved (0%) | For projects that achieve a density of 1.5 floor-area ratio (FAR), and are physically accessible, extensive or intensive vegetated roofs can be used toward the minimum 25% vegetation requirement, and qualifying roof-based physically accessible paving areas can be used toward credit compliance. | Para projetos com uma densidade de 1,5 de coeficiente de aproveitamento (FAR) e fisicamente acessíveis, telhados com cobertura verde extensiva ou intensiva podem ser usados para cumprir o requisito mínimo de 25% de vegetação e áreas de pavimentação qualificadas, fisicamente acessíveis e baseadas em telhados podem ser usadas para obter conformidade com o crédito. |
| 8453047282e-fc77-4a00-a012-0ae80f510051 | Translation Approved (0%) | Wetlands or naturally designed ponds may count as open space if the side slope gradients average 1:4 (vertical : horizontal) or less and are vegetated. | Zonas úmidas ou lagos projetados naturalmente podem contar como espaços abertos se os gradientes de taludes laterais forem em média 1:4 (vertical : horizontal) ou menos e tiverem vegetação. |
| 846db4f333f-8009-4544-b143-9bce21594d7b | Translation Approved (0%) | For projects that are part of a multitenant complex only | Apenas para projetos que fizerem parte de um complexo para múltiplos locatários |
| 847ebadde9b-ece3-405f-b969-df4839ca49f3 | Translation Approved (0%) | Open space can be either adjacent to the building or at another location in the <861>site master plan</861>. | O espaço aberto pode ser adjacente ao edifício ou ficar em outro local no <Italic>master plan do terreno</Italic>. |
| 848ebadde9b-ece3-405f-b969-df4839ca49f3 | Translation Approved (0%) | The open space may be at another master plan development site as long as it is protected from development. | O espaço aberto pode ficar em outro terreno do desenvolvimento do master plan, desde que seja protegido do desenvolvimento. |
| 849ebadde9b-ece3-405f-b969-df4839ca49f3 | Translation Approved (0%) | If the open space is not adjacent to the building, provide documentation showing that the requirements have been met and the land is in a natural state or has been returned to a natural state and conserved for the life of the building. | Se o espaço aberto não for adjacente ao edifício, forneça documentação que mostre que os requisitos foram atendidos e que o terreno está em estado natural ou foi retornado ao estado natural e preservado pela vida útil do edifício. |
| 85013f50e8d-d30d-4a15-830b-9199f686f89e | Translation Approved (82%) | SS Credit: Rainwater Management | Crédito SS: Gestão de Águas Pluviais (SS Credit: Rainwater Management) |
| 851c2df1c37-dd00-484c-8039-40f37bf22d36 | Translation Approved (100%) | BD&C | BD&C |
| 852f7a67a19-6356-4196-854c-22b73785c621 | Translation Approved (0%) | 1–3 points | 1 a 3 points |
| 853dac073be-35df-44ce-89cb-960b385267b3 | Translation Approved (100%) | This credit applies to | Este crédito se aplica a |
| 854472ce652-d592-45ee-8d7b-b38358722532 | Translation Approved (88%) | New Construction (2–3 points) | Nova Construção (New Construction) (2 a 3 pontos) |
| 8557a4a4ee4-ec07-462e-b0b3-9cb66de99d41 | Translation Approved (100%) | Core & Shell (2–3 points) | Núcleo e Casca (Core & Shell) (2 a 3 pontos) |
| 8567417fb99-ba8c-4cfc-84fe-7135720df21e | Translation Approved (85%) | Schools (2–3 points) | Escolas (Schools) (2 a 3 pontos) |
| 85792b4febd-3163-48c0-a39b-86e469c172f5 | Translation Approved (85%) | Retail (2–3 points) | Varejo (Retail) (2 a 3 pontos) |
| 858aae1b622-e96e-477f-871d-00186fa25939 | Translation Approved (88%) | Data Centers (2–3 points) | Centros de Dados (Data Centers) (2 a 3 pontos) |
| 8596d53f693-a477-4ffa-97af-e06b7cbb7aef | Translation Approved (90%) | Warehouses & Distribution Centers (2–3 points) | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) (2 a 3 pontos) |
| 860bb091827-2838-4923-b6be-f14234b5d240 | Translation Approved (85%) | Hospitality (2–3 points) | Hoteleiro (Hospitality) (2 a 3 pontos) |
| 86136265274-f879-4b23-8cd8-cce10a8e133b | Translation Approved (100%) | Healthcare (1–2 points) | Setor de Saúde (Healthcare) (1 a 2 pontos) |
| 862dd23e378-b295-4b93-bd2a-4be736edcbb8 | Translation Approved (100%) | Intent | Objetivo |
| 8637e4b95a2-f4b8-48ac-936c-271ea3d55c11 | Translation Approved (0%) | To reduce runoff volume and improve water quality by replicating the natural hydrology and water balance of the site, based on historical conditions and undeveloped ecosystems in the region. | Reduzir o volume de escoamento superficial e melhorar a qualidade da água replicando a hidrologia natural e o balanço hídrico do terreno, com base em condições históricas e ecossistemas não desenvolvidos na região. |
| 8643494c886-e33a-40a3-8d79-0ef6a3b49bc4 | Translation Approved (100%) | Requirements | Requisitos |
| 865a6c92b9a-05f8-40cc-8c05-1efb819146b8 | Translation Approved (100%) | NC, CS, Schools, Retail, Data Centers, Warehouses & Distribution Centers, Hospitality, Healthcare | NC, CS, Escolas (Schools), Varejo (Retail), Centros de Dados (Data Centers), Armazéns e Centros de Distribuição (Warehouses & Distribution Centers), Hoteleiro (Hospitality), Setor de Saúde (Healthcare) |
| 86681afaeae-141b-4d66-94b0-848709014ee7 | Translation Approved (100%) | Option 1. | Opção 1. |
| 86781afaeae-141b-4d66-94b0-848709014ee7 | Translation Approved (0%) | Percentile of Rainfall Events | Percentil de eventos pluviométricos |
| 8689ea3e412-ddef-4999-8934-f3629d05f8b8 | Translation Approved (100%) | Path 1. | Caminho 1. |
| 8699ea3e412-ddef-4999-8934-f3629d05f8b8 | Translation Approved (75%) | 95<868>th</868> Percentile (2 points except Healthcare, 1 point Healthcare) | Percentil 95 (2 pontos exceto Setor de Saúde, 1 ponto Setor de Saúde) |
| 870dd8bbbc5-c1d4-49e7-aa84-eefa51c6128c | Translation Approved (0%) | In a manner best replicating <869>natural site hydrology</869> processes, <870>manage on site</870> the runoff from the developed site for the 95th percentile of regional or local rainfall events using <871>low-impact development (LID)</871> and <872>green infrastructure</872>. | De uma maneira que replique melhor os processos de <869>hidrologia natural do terreno</869>, <870>gerencie no local</870> o escoamento superficial do terreno desenvolvido do percentil 95 de eventos pluviométricos regionais ou locais utilizando <871>desenvolvimento de baixo impacto (low-impact development - LID)</871> e <872>infraestrutura verde</872>. |
| 87197e2803c-e470-4542-be97-7e63e36ba169 | Translation Approved (0%) | Use daily rainfall data and the methodology in the U.S. Environmental Protection Agency (EPA) Technical Guidance on Implementing the Stormwater Runoff Requirements for Federal Projects under Section 438 of the Energy Independence and Security Act to determine the 95th percentile amount. | Use dados diários de chuva e a metodologia indicada em Technical Guidance on Implementing the Stormwater Runoff Requirements for Federal Projects da Agência de Proteção Ambiental (Environmental Protection Agency – EPA), na Seção 438 da Lei de Segurança e Independência Energética (Energy Independence and Security Act) dos EUA para determinar o valor do percentil 95. |
| 8727b0c5ee7-a08d-4721-bc55-f507e74f8417 | Translation Approved (100%) | OR | OU |
| 873cc0b4430-f816-4236-ad70-ce3c5d1e43e4 | Translation Approved (100%) | Path 2. | Caminho 2. |
| 874cc0b4430-f816-4236-ad70-ce3c5d1e43e4 | Translation Approved (97%) | 98<874>th</874> Percentile (3 points except Healthcare, 2 points Healthcare) | Percentil 98 (3 pontos, exceto Setor de Saúde, 2 pontos Setor de Saúde) |
| 875f1d4889e-2487-4d2f-8130-bafa0893ec82 | Translation Approved (0%) | Achieve Path 1 but for the 98th percentile of regional or local rainfall events, using LID and green infrastructure. | Alcance o Caminho 1, mas para o percentil 98 de eventos pluviométricos regionais e locais, utilizando LID e infraestrutura verde. |
| 8769d225dce-a415-4f19-a2ba-dd8b6ed8db70 | Translation Approved (100%) | OR | OU |
| 877bdd16438-5f55-4dfb-b36a-44ed1ac2cc85 | Translation Approved (100%) | Path 3. | Caminho 3. |
| 878bdd16438-5f55-4dfb-b36a-44ed1ac2cc85 | Translation Approved (0%) | Zero Lot Line projects only – 85<876>th</876> Percentile (3 points except Healthcare, 2 points Healthcare) | Apenas projetos de Construção na divisa – Percentil 85 (3 pontos, exceto o Setor de Saúde, 2 pontos o Setor de Saúde) |
| 879e52ce99d-3cfb-4a6b-bf98-1585b49f1f1a | Translation Approved (0%) | The following requirement applies to zero lot line projects in urban areas with a minimum density of 1.5 FAR. | O requisito a seguir se aplica a projetos de construção na divisa em áreas urbanas com densidade mínima de 1,5 FAR. |
| 880e52ce99d-3cfb-4a6b-bf98-1585b49f1f1a | Translation Approved (94%) | In a manner best replicating natural site hydrology processes, manage on site the runoff from the developed site for the 85th percentile of regional or local rainfall events, using LID and green infrastructure. | De uma maneira que replique melhor os processos de hidrologia natural do terreno, gerencie no local o escoamento superficial do terreno desenvolvido do percentil 85 de eventos pluviométricos regionais ou locais utilizando LID e infraestrutura verde. |
| 881b7811a6f-ffa3-47cc-b0af-bbceaa42cebb | Translation Approved (100%) | OR | OU |
| 8828531d309-c389-4a3d-a3e5-51b1049a3821 | Translation Approved (100%) | Option 2. | Opção 2. |
| 8838531d309-c389-4a3d-a3e5-51b1049a3821 | Translation Approved (0%) | Natural Land Cover Conditions (3 points except Healthcare, 2 points Healthcare) | Condições de cobertura natural do solo (3 pontos, exceto Setor de Saúde, 2 pontos Setor de Saúde) |
| 88485c0b0d6-d019-439e-8446-274c0e9717a4 | Translation Approved (0%) | Manage on site the annual increase in runoff volume from the natural land cover condition to the postdeveloped condition. | Gerencie no local o aumento do volume de escoamento superficial da condição de cobertura natural do solo para a condição pós-desenvolvimento. |
| 88509d2eef2-91d4-41a9-a4ed-0f827c713cef | Translation Approved (92%) | Projects that are part of a multitenant complex only | Apenas projetos que fizerem parte de um complexo para múltiplos locatários |
| 88696dde71e-eef1-4269-920c-cbfc80b9751c | Translation Approved (0%) | The credit requirements may be met using a coordinated approach affecting the defined project site that is within the <879>master plan boundary</879>. | Os requisitos do crédito podem ser satisfeitos utilizando uma abordagem coordenada que afete o terreno do projeto definido que esteja dentro do <Italic>limite do master plan</Italic>. |
| 88796dde71e-eef1-4269-920c-cbfc80b9751c | Translation Approved (0%) | Distributed techniques based on a watershed approach are then required. | Portanto, técnicas distribuídas com base na abordagem de divisor de águas são necessárias. |
| 8885518aa4d-e844-4823-9a91-da46e8b35ba4 | Translation Approved (85%) | SS Credit: Heat Island Reduction | Crédito SS: Redução de Ilhas de Calor (SS Credit: Heat Island Reduction) |
| 88907e4a222-ebe8-416b-9e4c-6f60bacb1253 | Translation Approved (100%) | BD&C | BD&C |
| 890318ca7bc-5680-4d32-a2f3-45ae943533b0 | Translation Approved (100%) | 1–2 points | 1 a 2 pontos |
| 891f4ae2677-23fa-408c-a3fe-51b99511dafb | Translation Approved (100%) | This credit applies to | Este crédito se aplica a |
| 8924ad5585b-f55f-4586-be8e-796509605630 | Translation Approved (100%) | New Construction (1-2 points) | Nova Construção (New Construction) (1 a 2 pontos) |
| 893b14a504a-a3e8-4307-b83e-1f82c552a631 | Translation Approved (100%) | Core & Shell (1-2 points) | Núcleo e Casca (Core & Shell) (1 a 2 pontos) |
| 8947c93c507-a8de-4687-8211-f92b54ca3979 | Translation Approved (100%) | Schools (1-2 points) | Escolas (Schools) (1 a 2 pontos) |
| 8954a1aa09a-9239-404e-8909-134051567a68 | Translation Approved (100%) | Retail (1-2 points) | Varejo (Retail) (1 a 2 pontos) |
| 896558cee5d-42bd-45f4-b403-213d04d4bde2 | Translation Approved (100%) | Data Centers (1-2 points) | Centros de Dados (Data Centers) (1 a 2 pontos) |
| 8973f77bcdd-f6a6-4699-bcdc-71e4a3f61a11 | Translation Approved (100%) | Warehouses & Distribution Centers (1-2 points) | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) (1 a 2 pontos) |
| 89885b5e5b8-d4fd-4463-bfc2-a240b46a3d16 | Translation Approved (100%) | Hospitality (1-2 points) | Hoteleiro (Hospitality) (1 a 2 pontos) |
| 89908d30f4c-5551-4328-8b75-e37eba5deec2 | Translation Approved (100%) | Healthcare (1 point) | Setor de Saúde (Healthcare) (1 ponto) |
| 900964e41a7-cf29-469f-98b6-e64eda49346c | Translation Approved (100%) | Intent | Objetivo |
| 901256d8caf-c48d-4a1c-9283-5026d7abee70 | Translation Approved (0%) | To minimize effects on microclimates and human and wildlife habitats by reducing heat islands. | Minimizar os efeitos em microclimas e habitats de seres humanos e vida animal reduzindo ilhas de calor. |
| 902c332877d-97c8-455b-9c4a-977d038925f1 | Translation Approved (100%) | Requirements | Requisitos |
| 903079916f4-6d5e-47ba-8ecc-d7f50d6cd49e | Translation Approved (100%) | NC, CS, Schools, Retail, Data Centers, Warehouses & Distribution Centers, Hospitality, Healthcare | NC, CS, Escolas (Schools), Varejo (Retail), Centros de Dados (Data Centers), Armazéns e Centros de Distribuição (Warehouses & Distribution Centers), Hoteleiro (Hospitality), Setor de Saúde (Healthcare) |
| 904fd24b894-1499-42aa-a6ba-ba36d06b28a9 | Translation Approved (0%) | Choose one of the following options: | Escolha uma das opções a seguir: |
| 9056ac2491e-d93f-4e13-a473-7f6ce90962a2 | Translation Approved (100%) | Option 1. | Opção 1. |
| 9066ac2491e-d93f-4e13-a473-7f6ce90962a2 | Translation Approved (79%) | Nonroof and Roof (2 points except Healthcare, 1 point Healthcare) | Sem telhado e Telhado (2 pontos exceto Setor de Saúde, 1 ponto Setor de Saúde) |
| 9078948bc49-edf5-417f-8402-ce2e3b50cd45 | Translation Approved (0%) | Meet the following criterion: | Satisfaça o critério a seguir: |
| 9087318422e-601d-4e62-8154-d3e394f3ee3d | Translation Approved (0%) | Area of Nonroof Measures | Medidas da área sem telhado |
| 90974456e5d-b9ad-4a15-92a6-2a387af533de | Translation Approved (0%) | Area of High-Reflectance Roof | Área de telhado com alta refletância |
| 910796ac956-b9fb-4ddc-b080-1885f7d63122 | Translation Approved (100%) | Area of Vegetated Roof | Área de telhado com cobertura verde |
| 9111c8909a0-09cc-4348-b73f-662cbf1fac45 | Translation Approved (79%) | Total Site Paving Area | Área pavimentada total do terreno |
| 912c256babc-ee71-4b6b-a5ba-faaed4ec3743 | Translation Approved (100%) | Total Roof Area | Área total do telhado |
| 913c69c70a2-b4a3-4478-9ca7-a15e4effe605 | Translation Approved (0%) | —————— | —————— |
| 9140ac91c77-f0f1-480f-b365-f1986221967a | Translation Approved (0%) | + | + |
| 915237eb18d-bc6f-48de-abda-80ba4afbc8b7 | Translation Approved (100%) | —————— | —————— |
| 916b2581853-35bb-4900-8d0d-661e2837573d | Translation Approved (100%) | + | + |
| 9171b1cd0aa-dfd7-42fa-8ab2-f2f47cffa858 | Translation Approved (100%) | —————— | —————— |
| 9189cd686e7-c1a2-445b-b386-ca8c096f05af | Translation Approved (0%) | ≥ | ≥ |
| 9196e185559-9156-4eea-8207-78ecc97a1d19 | Translation Approved (100%) | + | + |
| 9206ce45c8d-8fae-43cc-9db2-543fc7ca76ea | Translation Approved (100%) | 0.5 | 0,5 |
| 9216f3c0237-ebf7-4f48-b466-9b8ce0a1ec02 | Translation Approved (100%) | 0.75 | 0,75 |
| 922fd77a3f3-e75c-4118-b917-5b4763d30f1e | Translation Approved (100%) | 0.75 | 0,75 |
| 923bf602901-0da2-4be9-9d2f-5898b521c37d | Translation Approved (0%) | Alternatively, an SRI and SR weighted average approach may be used to calculate compliance. | Como alternativa, é possível usar uma abordagem de média ponderada SRI e SR para calcular a conformidade. |
| 924dfc54361-67a1-44de-adee-4fe043697448 | Translation Approved (71%) | Use any combination of the following strategies. | Use qualquer combinação das estratégias a seguir. |
| 92568e2c41e-7e2e-411b-b3d1-8abd74f51c2f | Translation Approved (0%) | Nonroof Measures | Medidas sem telhado |
| 926088050f5-91e6-41b6-8d05-9715dc4f4f29 | Translation Approved (0%) | Use the existing plant material or install plants that provide shade over paving areas (including playgrounds) on the site within 10 years of planting. | Use material vegetal existente ou instalar plantas que forneçam sombra sobre áreas pavimentadas (incluindo parques infantis) no terreno em até 10 anos após o plantio. |
| 927088050f5-91e6-41b6-8d05-9715dc4f4f29 | Translation Approved (0%) | Install vegetated planters. | Instale vasos com vegetação. |
| 928088050f5-91e6-41b6-8d05-9715dc4f4f29 | Translation Approved (0%) | Plants must be in place at the time of occupancy permit and cannot include artificial turf. | As plantas devem estar no lugar no momento da licença de ocupação e não podem incluir grama artificial. |
| 929add02fd0-fc07-4c4b-b3f9-4f1423c0666c | Translation Approved (0%) | Provide shade with structures covered by energy generation systems, such as solar thermal collectors, photovoltaics, and wind turbines. | Proporcione sombra com estruturas cobertas por sistemas de geração de energia, como coletores térmicos solares, fotovoltaicos e turbinas eólicas. |
| 930d0eb6959-fbcd-49a9-a37b-d84d5a72cfa7 | Translation Approved (0%) | Provide shade with architectural devices or structures that have a three-year aged <946>solar reflectance (SR)</946> value of at least 0.28. | Proporcione sombra com dispositivos ou estruturas arquitetônicos que tenham um valor de <Italic>refletância solar (solar reflectance - SR)</Italic> após três anos de pelo menos 0,28. |
| 931d0eb6959-fbcd-49a9-a37b-d84d5a72cfa7 | Translation Approved (0%) | If three-year aged value information is not available, use materials with an initial SR of at least 0.33 at installation, | Se informações de valor após três anos não estiverem disponíveis, use materiais com SR inicial de pelo menos 0,33 na instalação. |
| 932339eab88-c479-40a9-8b01-f06eb0aa84be | Translation Approved (0%) | Provide shade with vegetated structures. | Proporcione sombra com estruturas com vegetação. |
| 933ecbed6de-72ae-43c5-829e-2d039a031e7e | Translation Approved (0%) | Use paving materials with a three-year aged <947>solar reflectance (SR)</947> value of at least 0.28. | Use materiais de pavimentação com valor de <Italic>refletância solar (solar reflectance - SR)</Italic> após três anos de pelo menos 0,28. |
| 934ecbed6de-72ae-43c5-829e-2d039a031e7e | Translation Approved (99%) | If three-year aged value information is not available, use materials with an initial SR of at least 0.33 at installation. | Se informações de valor após três anos não estiverem disponíveis, use materiais com SR inicial de pelo menos 0,33 na instalação. |
| 935ef2556be-cd9d-4cda-bbb3-7020b8f3afc9 | Translation Approved (0%) | Use an <948>open-grid pavement system</948> (at least 50% unbound). | Use um <Italic>sistema de pavimentação de blocos vazados</Italic> (pelo menos 50% não consolidado). |
| 936773130b1-a23b-43df-9a0b-a4fa7196a8ef | Translation Approved (0%) | High-Reflectance Roof | Telhado de alta refletância |
| 937f303d35a-7f9d-4a08-9770-806b7968c486 | Translation Approved (0%) | Use roofing materials that have an SRI equal to or greater than the values in Table 1. | Use materiais de telhado com um SRI igual ou superior aos valores da Tabela 1. |
| 938f303d35a-7f9d-4a08-9770-806b7968c486 | Translation Approved (0%) | Meet the three-year aged SRI value. | Atenda ao valor de SRI após três anos. |
| 939f303d35a-7f9d-4a08-9770-806b7968c486 | Translation Approved (0%) | If three-year aged value information is not available, use materials that meet the initial SRI value. | Se as informações de valor após três anos não estiverem disponíveis, use materiais que atendam ao valor inicial de SRI. |
| 940b95aaff1-274d-4fe8-bad4-6d002c5063ac | Translation Approved (100%) | Table 1. | Tabela 1. |
| 941b95aaff1-274d-4fe8-bad4-6d002c5063ac | Translation Approved (0%) | Minimum solar reflectance index value, by roof slope | Valor mínimo do índice de refletância solar, por inclinação do telhado |
| 942780a4635-0749-429d-9d88-0ecd1cbef6a2 | Translation Approved (100%) | Slope | Inclinação |
| 9434142345f-829f-48bf-9bc5-0f85ee64bf50 | Translation Approved (0%) | Initial SRI | SRI inicial |
| 9444d1d604c-d973-4c61-abda-179cbf32f638 | Translation Approved (0%) | 3-year aged SRI | SRI após 3 anos |
| 945b166626b-1653-4a92-b567-56f6541adf4b | Translation Approved (100%) | Low-sloped roof | Telhado pouco inclinado |
| 9460d985425-2546-4d3c-9153-a15c243f6bfd | Translation Approved (0%) | ≤ 2:12 | ≤ 2:12 |
| 9470f012b73-d53c-44d7-9086-b428343927e5 | Translation Approved (100%) | 82 | 82 |
| 9487c004b12-a92b-49fb-9215-903f7f8a4750 | Translation Approved (100%) | 64 | 64 |
| 94949bc0825-545c-44a6-b205-1e0f75df2a2e | Translation Approved (100%) | Steep-sloped roof | Telhado muito inclinado |
| 950d74b6761-826e-47ff-b990-28898a4d4609 | Translation Approved (0%) | > 2:12 | > 2:12 |
| 9513630fb16-be79-4584-96cc-c9ef224ed371 | Translation Approved (100%) | 39 | 39 |
| 9524eff968c-0c01-4d10-acab-8b70db00c857 | Translation Approved (100%) | 32 | 32 |
| 9531560133b-1a60-4d23-8df2-6430336386c9 | Translation Approved (100%) | Vegetated Roof | Telhado com cobertura verde |
| 954851dd1dc-0b8f-4bdc-bf0b-c6047bb9d677 | Translation Approved (100%) | Install a vegetated roof. | Instale um telhado com cobertura verde. |
| 9554c3a4755-c33d-4e10-bfd7-4926500f0c45 | Translation Approved (100%) | OR | OU |
| 956440059dd-7677-45b4-96b5-637c39af4def | Translation Approved (100%) | Option 2. | Opção 2. |
| 957440059dd-7677-45b4-96b5-637c39af4def | Translation Approved (0%) | Parking under Cover (1 point) | Estacionamento coberto (1 ponto) |
| 958ced07757-e9b3-4e24-be7a-c19407f771f1 | Translation Approved (0%) | Place a minimum of 75% of <989>parking spaces under cover</989>. | Coloque no mínimo 75% das <Italic>vagas de estacionamento coberto</Italic>. |
| 959ced07757-e9b3-4e24-be7a-c19407f771f1 | Translation Approved (0%) | Any roof used to shade or cover parking must (1) have a three-year aged SRI of at least 32 (if three-year aged value information is not available, use materials with an initial SRI of at least 39 at installation), (2) be a vegetated roof, or (3) be covered by energy generation systems, such as solar thermal collectors, photovoltaics, and wind turbines. | Qualquer telhado usado para fazer sombra ou cobrir estacionamentos deve (1) ter um SRI após três anos de pelo menos 32 (se as informações de valor após três anos não estiverem disponíveis, use materiais com SRI inicial de pelo menos 39 na instalação), (2) ser um telhado com cobertura verde ou (3) ser coberto por sistemas de geração de energia, como coletores térmicos solares, fotovoltaicos e turbinas eólicas. |
| 960a9239503-8185-442b-804f-c40a98ef5f69 | Translation Approved (99%) | SS Credit: Light Pollution Reduction | Crédito SS: Redução da Poluição Luminosa (SS Credit: Light Pollution Reduction) |
| 96162ba4851-2640-4a4d-afb5-627b8eea32f8 | Translation Approved (100%) | BD&C | BD&C |
| 962074c8874-6dec-4620-97ac-de736cd2a4eb | Translation Approved (100%) | 1 point | 1 ponto |
| 9635788ad32-bf31-4756-a3e4-210515f574e8 | Translation Approved (100%) | This credit applies to | Este crédito se aplica a |
| 964890692af-6149-4d58-9b4d-1130954ad0ff | Translation Approved (100%) | New Construction (1 point) | Nova Construção (New Construction) (1 ponto) |
| 9658654f73a-405f-499f-be84-9b58300d54a4 | Translation Approved (100%) | Core & Shell (1 point) | Núcleo e Casca (Core & Shell) (1 ponto) |
| 966b3795d38-eba4-4d59-98e4-05244d73f1e2 | Translation Approved (100%) | Schools (1 point) | Escolas (Schools) (1 ponto) |
| 9671fef75e5-3693-4cd5-803f-87825ee40de4 | Translation Approved (100%) | Retail (1 point) | Varejo (Retail) (1 ponto) |
| 968895276f1-8dcd-41ed-8b74-a37377d2687d | Translation Approved (100%) | Data Centers (1 point) | Centros de Dados (Data Centers) (1 ponto) |
| 9694d6251ca-fbf9-484d-8121-57eae67458a3 | Translation Approved (100%) | Warehouses & Distribution Centers (1 point) | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) (1 ponto) |
| 9702da2dc95-db60-4baa-a014-e10c1c1c2add | Translation Approved (100%) | Hospitality (1 point) | Hoteleiro (Hospitality) (1 ponto) |
| 971a06e1a1c-e53c-4fd0-8393-13d6316f6817 | Translation Approved (100%) | Healthcare (1 point) | Setor de Saúde (Healthcare) (1 ponto) |
| 972500cd11a-ba05-41e4-9ec8-dc8fe56c5ceb | Translation Approved (100%) | Intent | Objetivo |
| 97360d39e9f-c1f1-4546-bb6f-404cb26730aa | Translation Approved (0%) | To increase night sky access, improve nighttime visibility, and reduce the consequences of development for wildlife and people. | Aumentar o acesso ao céu noturno, melhorar a visibilidade noturna e reduzir as consequências do empreendimento para a vida animal e as pessoas. |
| 9745df7b11e-d24c-45d1-b1a2-b6f5d1accd80 | Translation Approved (100%) | Requirements | Requisitos |
| 975cfdcc86e-66e0-4117-b221-5190cc7a757a | Translation Approved (100%) | NC, CS, Schools, Retail, Data Centers, Warehouses & Distribution Centers, Hospitality, Healthcare | NC, CS, Escolas (Schools), Varejo (Retail), Centros de Dados (Data Centers), Armazéns e Centros de Distribuição (Warehouses & Distribution Centers), Hoteleiro (Hospitality), Setor de Saúde (Healthcare) |
| 9767205e134-c3cf-402e-9ae3-0107ce26f86a | Translation Approved (0%) | Meet uplight and light trespass requirements, using either the backlight-uplight-glare (BUG) method (Option 1) or the calculation method (Option 2). | Satisfaça os requisitos de iluminação para cima e transgressão de luz usando o método de iluminação por trás/iluminação para cima/ofuscamento (backlight-uplight-glare - BUG) (Opção 1) ou o método de cálculo (Opção 2). |
| 9777205e134-c3cf-402e-9ae3-0107ce26f86a | Translation Approved (0%) | Projects may use different options for uplight and light trespass. | Os projetos podem usar opções diferentes de iluminação para cima e transgressão de luz. |
| 978426c856b-16e2-4de5-815c-2606c10feb61 | Translation Approved (0%) | Meet these requirements for all exterior luminaires located inside the project boundary (except those listed under “Exemptions”), based on the following: | Atenda a esses requisitos para todas as luminárias externas localizadas dentro do limite do projeto (exceto as listadas em "Isenções"), com base no seguinte: |
| 979274320f3-b488-414c-8b0b-a9764c591754 | Translation Approved (0%) | the photometric characteristics of each luminaire when mounted in the same orientation and tilt as specified in the project design; and | as características fotométricas de cada luminária quando instalada na mesma orientação e inclinada conforme especificado no projeto; e |
| 980f4ce944f-19ff-4d9e-b30d-32d0f44cba71 | Translation Approved (0%) | the lighting zone of the project property (at the time construction begins). | a zona de iluminação da propriedade do projeto (no momento em que a construção começar). |
| 981f4ce944f-19ff-4d9e-b30d-32d0f44cba71 | Translation Approved (0%) | Classify the project under one lighting zone using the lighting zones definitions provided in the Illuminating Engineering Society and International Dark Sky Association (IES/IDA) Model Lighting Ordinance (MLO) User Guide. | Classifique o projeto em uma zona de iluminação utilizando as definições de zonas de iluminação fornecidas no Guia do Usuário da Lei de Iluminação Modelo (Model Lighting Ordinance – MLO) da Sociedade de Engenharia de Iluminação e da Associação Internacional Dark-Sky (Illuminating Engineering Society e International Dark Sky Association - IES/IDA). |
| 982c34fb359-857f-46e6-862b-8479b69309a7 | Translation Approved (0%) | Additionally, meet the internally illuminated signage requirement. | Além disso, satisfaça o requisito de sinalização iluminada internamente. |
| 98396ac3cf3-c420-40a1-8d61-25c7eb1e221a | Translation Approved (0%) | Uplight | Iluminação para cima |
| 98431992551-88a3-4e52-951a-c82b1fb83f33 | Translation Approved (100%) | Option 1. | Opção 1. |
| 98531992551-88a3-4e52-951a-c82b1fb83f33 | Translation Approved (0%) | BUG Rating Method | Método de avaliação BUG |
| 986103e561d-4a26-4415-86c8-02424726f4e9 | Translation Approved (0%) | Do not exceed the following luminaire uplight ratings, based on the specific light source installed in the luminaire, as defined in IES TM-15-11, Addendum A. | Não exceda as seguintes avaliações de iluminação para cima de luminárias, com base na fonte de luz específica instalada na luminária, conforme definido em IES TM-15-11, Adendo A. |
| 987ca90d7af-664b-4546-a71d-39386e2344cf | Translation Approved (100%) | Table 1. | Tabela 1. |
| 988ca90d7af-664b-4546-a71d-39386e2344cf | Translation Approved (0%) | Maximum uplight ratings for luminaires | Avaliações máximas de iluminação para cima para luminárias |
| 989cbe439ed-2e48-41e4-bffd-436bd0a204d7 | Translation Approved (0%) | MLO lighting zone | Zona de iluminação MLO |
| 99093c83466-67d3-4f3d-b955-8bc7533d87e2 | Translation Approved (0%) | Luminaire uplight rating | Avaliação de iluminação para cima da luminária |
| 9911c8bc88f-b1c6-40d7-9ebc-7698b370c88f | Translation Approved (0%) | LZ0 | LZ0 |
| 9923f1e14c1-b304-4e1b-87ff-7a05a0851ac1 | Translation Approved (0%) | U0 | U0 |
| 99373d2b5d1-4b6d-4930-94ad-4a9b9fba22b1 | Translation Approved (0%) | LZ1 | LZ1 |
| 9940d06b963-c2b3-484b-b2ee-f7dc2148b8cd | Translation Approved (0%) | U1 | U1 |
| 995602a7646-997e-4975-8244-a91f16470a1b | Translation Approved (0%) | LZ2 | LZ2 |
| 996e868c869-555d-4a90-afe7-4a0207a3b225 | Translation Approved (0%) | U2 | U2 |
| 997bc4e3d09-d573-4388-9707-5501a4b0ac4c | Translation Approved (0%) | LZ3 | LZ3 |
| 99869c5f491-7861-4f2f-853b-74bf908666db | Translation Approved (0%) | U3 | U3 |
| 9997c06a35f-890f-47f7-96df-204980343c8a | Translation Approved (0%) | LZ4 | LZ4 |
| 1000d83cc8d0-dd21-4040-9c8a-de2898f72a95 | Translation Approved (0%) | U4 | U4 |
| 1001838cbf4f-8b77-4116-b73e-c6d85ba0e99a | Translation Approved (100%) | OR | OU |
| 1002a91dacb3-c2d8-4443-9594-9889865d0bff | Translation Approved (100%) | Option 2. | Opção 2. |
| 1003a91dacb3-c2d8-4443-9594-9889865d0bff | Translation Approved (0%) | Calculation Method | Método de cálculo |
| 1004addd1ba7-7d8e-4c08-b7ef-2b8288a49e93 | Translation Approved (0%) | Do not exceed the following percentages of total lumens emitted above horizontal. | Não exceda as porcentagens a seguir do total de lúmens emitidos acima da horizontal. |
| 1005c58dd563-31b2-4787-8aa8-e1efc16b4d79 | Translation Approved (100%) | Table 2. | Tabela 2. |
| 1006c58dd563-31b2-4787-8aa8-e1efc16b4d79 | Translation Approved (0%) | Maximum percentage of total lumens emitted above horizontal, by lighting zone | Porcentagem máxima do total de lúmens emitidos acima da horizontal, por zona de iluminação |
| 1007dd3ba3ac-45dc-49e7-95f8-a37fea0d1eaf | Translation Approved (100%) | MLO lighting zone | Zona de iluminação MLO |
| 10083727448c-13a9-41b1-bd50-17964c8ab342 | Translation Approved (0%) | Maximum allowed percentage of total luminaire lumens emitted above horizontal | Porcentagem máxima permitida do total de lúmens da luminária emitidos acima da horizontal |
| 1009c9216674-1ef2-4848-baae-f7f6b829dd6d | Translation Approved (100%) | LZ0 | LZ0 |
| 1010b4a49fa1-b961-4cfa-a4b8-0a9f7f9b6dfa | Translation Approved (100%) | 0% | 0% |
| 1011c8b7427d-1338-44b4-991d-53978566e616 | Translation Approved (100%) | LZ1 | LZ1 |
| 101234174241-e816-4290-a79e-8c59caa66f20 | Translation Approved (100%) | 0% | 0% |
| 101304b17f5f-80ec-43b2-bdee-230582fb368c | Translation Approved (100%) | LZ2 | LZ2 |
| 101485643f2a-4aa2-4fb5-9983-64233886cc34 | Translation Approved (100%) | 1.5% | 1,5% |
| 1015d2f989d6-cd9e-41f5-ba40-da02c9550a54 | Translation Approved (100%) | LZ3 | LZ3 |
| 10169d65f16d-a27e-475b-b6c9-89b8e99f5e7e | Translation Approved (100%) | 3% | 3% |
| 1017595f9a67-2726-4cfd-b3a7-3785a39f2223 | Translation Approved (100%) | LZ4 | LZ4 |
| 101839e8e9cd-190d-457d-838e-3e563f31467c | Translation Approved (100%) | 6% | 6% |
| 10190d321108-73b3-4d59-b6e2-0859708208bb | Translation Approved (100%) | AND | E |
| 1020099e392e-4392-425d-9555-b119111c064e | Translation Approved (100%) | Light Trespass | Transgressão de luz |
| 102147c5db5e-c660-4836-8403-651d08423a7c | Translation Approved (100%) | Option 1. | Opção 1. |
| 102247c5db5e-c660-4836-8403-651d08423a7c | Translation Approved (100%) | BUG Rating Method | Método de avaliação BUG |
| 102370cb79ba-a368-40ce-ae7d-8d30900357d3 | Translation Approved (0%) | Do not exceed the following luminaire backlight and glare ratings (based on the specific light source installed in the luminaire), as defined in IES TM-15-11, Addendum A, based on the mounting location and distance from the lighting boundary. | Não exceda as seguintes avaliações de iluminação por trás e ofuscamento de luminárias (com base na fonte de luz específica instalada na luminária), conforme definido em IES TM-15-11, Adendo A, com base no local de montagem e na distância do limite de iluminação. |
| 1024264d7428-1bb8-4667-a527-a0c23b0ff8b3 | Translation Approved (100%) | Table 3. | Tabela 3. |
| 1025264d7428-1bb8-4667-a527-a0c23b0ff8b3 | Translation Approved (0%) | Maximum backlight and glare ratings | Avaliações máximas de iluminação por trás e ofuscamento |
| 1026a1744745-3d21-49fe-b811-eef3da6cde87 | Translation Approved (100%) | MLO lighting zone | Zona de iluminação MLO |
| 10279d90e31f-e1dd-43e9-a3cc-82bdc925ea5e | Translation Approved (0%) | Luminaire mounting | Montagem da luminária |
| 1028f1d8ee5a-309e-4530-bde1-2e3b52a276e6 | Translation Approved (100%) | LZ0 | LZ0 |
| 10299417a07c-0680-4c84-9fd0-b7346055da0f | Translation Approved (100%) | LZ1 | LZ1 |
| 10306ee7df9d-4dc4-4428-8279-ebe3c086f1c2 | Translation Approved (100%) | LZ2 | LZ2 |
| 1031e136d7cc-2127-474b-a50e-8defa18df2a5 | Translation Approved (100%) | LZ3 | LZ3 |
| 1032d589b6fe-5219-409f-b16d-9cd13c37f5b3 | Translation Approved (100%) | LZ4 | LZ4 |
| 1033f18c37a2-2858-41df-8735-42beb221859c | Translation Approved (0%) | Allowed backlight ratings | Avaliações de iluminação por trás permitidas |
| 1034ccaa6b86-8d78-47f9-96fd-dd7a78dd6f79 | Translation Approved (0%) | > 2 mounting heights from lighting boundary | > 2 alturas de montagem do limite de iluminação |
| 1035abad70be-8aa7-4de9-9cac-f4eaeef5cc4c | Translation Approved (0%) | B1 | B1 |
| 103656768408-5a64-4caf-b48c-c1e024f23f62 | Translation Approved (0%) | B3 | B3 |
| 1037af86d72f-511a-4455-9975-bab748d7f71d | Translation Approved (0%) | B4 | B4 |
| 103804efbfcc-81b8-4861-91c5-7c01c818f3c6 | Translation Approved (0%) | B5 | B5 |
| 1039c32c1bcb-cbe2-4149-a0c2-f1be06d84f6a | Translation Approved (100%) | B5 | B5 |
| 1040547a1243-c77a-4f51-a0cd-02d1efea634e | Translation Approved (0%) | 1 to 2 mounting heights from lighting boundary and properly oriented | 1 a 2 alturas de montagem do limite de iluminação e com orientação adequada |
| 1041419789b4-d8cc-4e9e-882d-06ae0457d9b3 | Translation Approved (100%) | B1 | B1 |
| 1042f1376fe9-50ce-491a-9875-3caf22c00c36 | Translation Approved (0%) | B2 | B2 |
| 1043eaf56026-36c3-421c-9610-6d4a628793c7 | Translation Approved (100%) | B3 | B3 |
| 1044015f2677-b895-401b-ab5c-d057019fe4c9 | Translation Approved (100%) | B4 | B4 |
| 10451711a06c-de6a-4822-a04d-bd4b5de3153a | Translation Approved (100%) | B4 | B4 |
| 1046367d4e1a-27cc-44a8-b2cb-e4dda56e3e26 | Translation Approved (88%) | 0.5 to 1 mounting height to lighting boundary and properly oriented | 0,5 a 1 altura de montagem do limite de iluminação e com orientação adequada |
| 1047ec3cda85-3865-418c-9f93-bee71488789b | Translation Approved (0%) | B0 | B0 |
| 10489a58d253-3857-49f3-9549-23f284aaf1d6 | Translation Approved (100%) | B1 | B1 |
| 104979ce472f-d00c-4a58-96f9-8b60ba994cdc | Translation Approved (100%) | B2 | B2 |
| 1050a230273d-3db2-4102-9dbf-e89c5b9bed85 | Translation Approved (100%) | B3 | B3 |
| 10519ce81f3d-fa07-4ace-adb3-44eb8bcd6609 | Translation Approved (100%) | B3 | B3 |
| 1052f329c36f-7a2a-4485-ae3e-fa6ae4ee9a06 | Translation Approved (86%) | < 0.5 mounting height to lighting boundary and properly oriented | < 0,5 altura de montagem do limite de iluminação e com orientação adequada |
| 1053bb4be6cd-fb52-45ee-96e3-aabc72c3a077 | Translation Approved (100%) | B0 | B0 |
| 1054c7b6f7cb-a89f-4b52-b5af-2364e015fd35 | Translation Approved (100%) | B0 | B0 |
| 10554cdf9b87-70cb-4327-a3ad-21091a9030b9 | Translation Approved (100%) | B0 | B0 |
| 10564c8f9212-2e49-4835-8105-fe2926f4fea4 | Translation Approved (100%) | B1 | B1 |
| 105753f774db-5f9b-4d28-812a-5bcbef94f5d3 | Translation Approved (100%) | B2 | B2 |
| 1058f9dca6e3-dcc2-444d-8067-e49b98102934 | Translation Approved (77%) | Allowed glare ratings | Avaliações de ofuscamento permitidas |
| 10598fc1e720-c96f-4aa1-a07c-487fc91bd632 | Translation Approved (80%) | Building-mounted > 2 mounting heights from any lighting boundary | Montagem no edifício > 2 alturas de montagem de qualquer limite de iluminação |
| 10606c99fc9a-1de7-44c9-8418-c6ee1d376fab | Translation Approved (0%) | G0 | G0 |
| 1061d2a5c9e9-4240-4f37-bcea-fb48492c8ca1 | Translation Approved (0%) | G1 | G1 |
| 1062dd2ddc5d-c7ec-4eab-830a-7a56df3ecaa7 | Translation Approved (0%) | G2 | G2 |
| 10631df50824-a10c-48d2-87f2-1902b318c64f | Translation Approved (0%) | G3 | G3 |
| 1064247b8172-908e-452d-aed3-2f5bdd593665 | Translation Approved (0%) | G4 | G4 |
| 1065a6a01ff5-10d0-4278-9440-f26cb7760744 | Translation Approved (91%) | Building-mounted 1–2 mounting heights from any lighting boundary | Montagem no edifício, 1 a 2 alturas de montagem de qualquer limite de iluminação |
| 1066fc0efece-406a-49e6-9dcb-a5d2f3b3f409 | Translation Approved (100%) | G0 | G0 |
| 1067bd80a549-0821-45d1-8f6e-18e5da05bcc2 | Translation Approved (100%) | G0 | G0 |
| 106840e6e7ba-5906-42a0-8187-506c9bc235ba | Translation Approved (100%) | G1 | G1 |
| 10692879f26b-9283-4eb2-bf3b-ba6d2474dae1 | Translation Approved (100%) | G1 | G1 |
| 10706d09ec13-eb75-4eba-8c82-01d92d2c9227 | Translation Approved (100%) | G2 | G2 |
| 1071d5094415-8939-467e-ad07-9296d7b017de | Translation Approved (85%) | Building-mounted 0.5 to 1 mounting heights from any lighting boundary | Montagem no edifício, 0,5 a 1 altura de montagem de qualquer limite de iluminação |
| 1072a14ffb6a-9a69-4d3d-bf5a-fbf9187236b2 | Translation Approved (100%) | G0 | G0 |
| 107364269ecd-184f-45b8-8166-2d4c2a84a5d7 | Translation Approved (100%) | G0 | G0 |
| 107406a8fb54-0f29-400e-9e77-9961145b29f7 | Translation Approved (100%) | G0 | G0 |
| 10756266e60c-09b2-4939-95f1-865ba4d2dbd3 | Translation Approved (100%) | G1 | G1 |
| 1076c7e4ee15-8602-40f9-85e8-75365855c3e1 | Translation Approved (100%) | G1 | G1 |
| 1077a602488c-3b50-47c6-9057-7d9024f24957 | Translation Approved (99%) | Building-mounted < 0.5 mounting heights from any lighting boundary | Montagem no edifício, < 0,5 altura de montagem de qualquer limite de iluminação |
| 1078b4ce7d33-0c4f-4d09-892e-2b74a8ca58e4 | Translation Approved (100%) | G0 | G0 |
| 1079ef31df02-4b58-47eb-a136-97d89d352c3d | Translation Approved (100%) | G0 | G0 |
| 10803ffbcb90-4859-4523-9adc-c7a4c7d60953 | Translation Approved (100%) | G0 | G0 |
| 1081be745766-216f-4586-a5e4-b47efb46352c | Translation Approved (100%) | G0 | G0 |
| 108215e2e3df-f6e1-471e-afd8-2779569280bf | Translation Approved (100%) | G1 | G1 |
| 1083e09ddf54-a098-44ff-9fa8-451b2a54deca | Translation Approved (0%) | All other luminaires | Todas as outras luminárias |
| 10848856b7d1-cb94-4464-bfce-5bc712c367f4 | Translation Approved (100%) | G0 | G0 |
| 1085befdbea1-0312-451b-a3f8-07a2b4b18d65 | Translation Approved (100%) | G1 | G1 |
| 108684cd487e-16f0-422e-8dcd-19a4753d53d8 | Translation Approved (100%) | G2 | G2 |
| 10878c51ae8e-dd8b-485f-b670-9f3fb709d995 | Translation Approved (100%) | G3 | G3 |
| 10889aa534a5-4785-452d-8d84-69848a3c227d | Translation Approved (100%) | G4 | G4 |
| 10890249a7da-b475-49f2-b564-de31cb7bf6ba | Translation Approved (0%) | The lighting boundary is located at the property lines of the property, or properties, that the LEED project occupies. | O limite de iluminação se localiza nas linhas de propriedade da propriedade, ou propriedades, que o projeto LEED ocupa. |
| 10900249a7da-b475-49f2-b564-de31cb7bf6ba | Translation Approved (0%) | The lighting boundary can be modified under the following conditions: | O limite de iluminação pode ser modificado nas seguintes situações: |
| 10913e9ba5a3-43d2-444e-9713-94140e8dc55e | Translation Approved (0%) | When the property line is adjacent to a public area that is a walkway, bikeway, plaza, or parking lot, the lighting boundary may be moved to 5 feet (1.5 meters) beyond the property line. | Quando a linha da propriedade for adjacente a uma área pública que seja uma passagem, ciclovia, praça ou estacionamento, o limite de iluminação pode ser movido 5 pés (1,5 metro) além da linha da propriedade. |
| 109200048264-370d-4ec6-9672-ae03ee98fb88 | Translation Approved (0%) | When the property line is adjacent to a public street, alley, or transit corridor, the lighting boundary may be moved to the center line of that street, alley, or corridor. | Quando a linha da propriedade for adjacente a uma rua, viela ou corredor de tráfego público, o limite de iluminação pode ser movido para a linha central dessa rua, viela ou corredor. |
| 1093d5de9a13-4107-46bf-8bef-e5fccaf2543e | Translation Approved (0%) | When there are additional properties owned by the same entity that are contiguous to the property, or properties, that the LEED project is within and have the same or higher MLO lighting zone designation as the LEED project, the lighting boundary may be expanded to include those properties. | Quando houver propriedades adicionais, pertencentes à mesma entidade e contíguas à propriedade ou propriedades em que o projeto LEED se localiza, e que tenham designação de zona de iluminação MLO igual ou superior à do projeto LEED, o limite de iluminação pode ser expandido para incluir tais propriedades. |
| 10944549a142-8e02-4b98-8c28-61fe8e55c670 | Translation Approved (0%) | Orient all luminaires less than two mounting heights from the lighting boundary such that the backlight points toward the nearest lighting boundary line. | Oriente todas as luminárias a menos de duas alturas de montagem do limite de iluminação para que a iluminação por trás aponte para a linha de limite de iluminação mais próxima. |
| 10954549a142-8e02-4b98-8c28-61fe8e55c670 | Translation Approved (0%) | Building-mounted luminaires with the backlight oriented toward the building are exempt from the backlight rating requirement. | Luminárias montadas no edifício com a iluminação por trás orientada para o edifício estão isentas do requisito de avaliação de iluminação por trás. |
| 10966654602a-377a-4455-a640-283d0e6c058f | Translation Approved (100%) | OR | OU |
| 109707faa4fb-9b3a-44a4-9bda-cc9abc2f86f4 | Translation Approved (100%) | Option 2. | Opção 2. |
| 109807faa4fb-9b3a-44a4-9bda-cc9abc2f86f4 | Translation Approved (100%) | Calculation Method | Método de cálculo |
| 109968709ac6-9b07-47b6-a8a0-01434a368cd7 | Translation Approved (0%) | Do not exceed the following vertical illuminances at the lighting boundary (use the definition of lighting boundary in Option 1). | Não exceda as luminâncias verticais a seguir no limite de iluminação (use a definição de limite de iluminação da Opção 1). |
| 110068709ac6-9b07-47b6-a8a0-01434a368cd7 | Translation Approved (0%) | Calculation points may be no more than 5 feet (1.5 meters) apart. | Os pontos de cálculo não devem estar separados por mais de 5 pés (1,5 metro). |
| 110168709ac6-9b07-47b6-a8a0-01434a368cd7 | Translation Approved (0%) | Vertical illuminances must be calculated on vertical planes running parallel to the lighting boundary, with the normal to each plane oriented toward the property and perpendicular to the lighting boundary, extending from grade level to 33 feet (10 meters) above the height of the highest luminaire. | As luminâncias verticais devem ser calculadas em planos verticais paralelos ao limite de iluminação, com o normal de cada plano voltado para a propriedade e perpendicular ao limite de iluminação, estendendo-se do nível do solo até 33 pés (10 metros) acima da altura da luminária mais alta. |
| 1102678f5d4f-4c0a-4da7-bd78-3293fd757898 | Translation Approved (100%) | Table 4. | Tabela 4. |
| 1103678f5d4f-4c0a-4da7-bd78-3293fd757898 | Translation Approved (0%) | Maximum vertical illuminance at lighting boundary, by lighting zone | Luminância vertical máxima no limite de iluminação, por zona de iluminação |
| 110485088f25-2cdb-4fd1-82df-ac23611f124c | Translation Approved (100%) | MLO lighting zone | Zona de iluminação MLO |
| 1105dbce74df-e3ad-418b-864f-f54071a63e73 | Translation Approved (100%) | Vertical illuminance | Luminância vertical |
| 1106ff12b815-62be-48e4-a782-431c07d4ce29 | Translation Approved (100%) | LZ0 | LZ0 |
| 11079ec65340-67c7-4d6c-acc0-2046a16fdac3 | Translation Approved (0%) | 0.05 fc (0.5 lux) | 0,05 fc (0,5 lux) |
| 1108dc32ece4-25de-4e3b-b71f-6c42e83977cb | Translation Approved (100%) | LZ1 | LZ1 |
| 110968ef1900-146b-4539-9d68-8486e9e7567a | Translation Approved (100%) | 0.05 fc (0.5 lux) | 0,05 fc (0,5 lux) |
| 111098bea54e-6d8e-41da-aac3-c7628db485c9 | Translation Approved (100%) | LZ2 | LZ2 |
| 11111f27dffb-a628-42b0-83db-53e2b8ff742e | Translation Approved (100%) | 0.10 fc (1 lux) | 0,10 fc (1 lux) |
| 1112c57e3bd9-7eb0-4d6e-a0c9-cec02fadc7cc | Translation Approved (100%) | LZ3 | LZ3 |
| 1113ea469f97-7ac5-4645-86ef-5b0be1b33b8f | Translation Approved (100%) | 0.20 fc (2 lux) | 0,20 fc (2 lux) |
| 1114a70c7537-3a78-44e3-8b69-bcd9c57f099b | Translation Approved (100%) | LZ4 | LZ4 |
| 1115172ee969-3cd1-4f60-918e-a722183a97be | Translation Approved (100%) | 0.60 fc (6 lux) | 0,60 fc (6 lux) |
| 1116a1f20cdb-9d93-4223-9fac-25aec29a8e4c | Translation Approved (0%) | FC = footcandle. | FC = footcandle. |
| 1117e8cfc4a2-ccc4-4795-8bd7-5681044033c3 | Translation Approved (100%) | AND | E |
| 111860b8ef0f-7a79-410b-8c92-abc364f0b5bd | Translation Approved (0%) | Internally Illuminated Exterior Signage | Sinalização externa iluminada internamente |
| 1119362e16a6-9097-4e1f-b58a-8980f75632bd | Translation Approved (0%) | Do not exceed a luminance of 200 cd/m<1327>2</1327> (nits) during nighttime hours and 2000 cd/m<1328>2</1328> (nits) during daytime hours. | Não exceda uma luminância de 200 cd/m<1327>2</1327> (nits) durante a noite e 2000 cd/m<1328>2</1328> (nits) durante o dia. |
| 1120e9ba1602-ef83-4f23-ad7c-1b7b9c9b6fe4 | Translation Approved (0%) | Exemptions from Uplight and Light Trespass Requirements | Isenções dos requisitos de iluminação para cima e transgressão de luz |
| 11210acc4c1e-ba7b-417e-b350-692615bf15ce | Translation Approved (0%) | The following exterior lighting is exempt from the requirements, provided it is controlled separately from the nonexempt lighting: | A iluminação externa a seguir é isenta dos requisitos, desde que seja controlada separadamente da iluminação não isenta: |
| 1122c127749c-5620-4c8d-b39a-9a43695f35ec | Translation Approved (0%) | specialized signal, directional, and marker lighting for transportation; | iluminação sinalizadora, direcional e indicadora especializadas para transportes; |
| 11235994283d-7175-4b5b-bef9-c4474453d3c7 | Translation Approved (0%) | lighting that is used solely for façade and landscape lighting in MLO lighting zones 3 and 4, and is automatically turned off from midnight until 6 a.m.; | iluminação usada exclusivamente para iluminação de fachadas e paisagismo nas zonas de iluminação MLO 3 e 4 e que seja automaticamente desligada da meia-noite às 6 da manhã; |
| 112473742bd9-37e4-4253-b593-2d3542480048 | Translation Approved (0%) | lighting for theatrical purposes for stage, film, and video performances; | iluminação para fins artísticos para apresentações de teatro, cinema e vídeo; |
| 1125c951cfa6-8276-4d72-b41e-bb3c14a19d64 | Translation Approved (0%) | government-mandated roadway lighting; | iluminação de rodovias exigida pelo governo; |
| 11267ceb0ac7-b99f-4583-92ba-f4c70ec05f46 | Translation Approved (0%) | hospital emergency departments, including associated helipads; | departamentos de emergência de hospitais, incluindo heliportos associados; |
| 11276d93d994-9c80-409b-b05e-61f416fb5153 | Translation Approved (0%) | lighting for the national flag in MLO lighting zones 2, 3, or 4; and | iluminação para a bandeira nacional em zonas de iluminação MLO 2, 3 ou 4; e |
| 11284bba35df-b890-4645-bed3-27e05078fec7 | Translation Approved (70%) | internally illuminated signage. | sinalização iluminada internamente. |
| 112952dfd817-1279-4f5c-a4fd-93d13068e258 | Translation Approved (0%) | SS Credit: Site Master Plan | Crédito SS: Master Plan do Terreno (SS Credit: Site Master Plan) |
| 113005324506-3e35-41c2-83f4-fdd580683e9b | Translation Approved (100%) | BD&C | BD&C |
| 1131285ed968-0b11-4f11-bb9e-b2ce3d816fb0 | Translation Approved (100%) | 1 point | 1 ponto |
| 1132837a3de9-3bea-4dfe-892b-1f96fe6ece00 | Translation Approved (100%) | This credit applies to | Este crédito se aplica a |
| 113301d65d7d-1fe8-4d62-90dd-b116cce6fc53 | Translation Approved (100%) | Schools | Escolas (Schools) |
| 1134e317e85c-70fa-4325-ad35-4e72afb7eae9 | Translation Approved (100%) | Intent | Objetivo |
| 11359756f923-0aed-43f4-8df3-97a514e9b7e5 | Translation Approved (0%) | To ensure that the sustainable site benefits achieved by the project continue, regardless of future changes in programs or demographics. | Garantir que os benefícios de terreno sustentável obtidos pelo projeto continuem, independentemente de mudanças futuras em programas ou dados socioeconômicos. |
| 1136dc0b9ba6-28b0-4e3b-9759-09ccaecd5f12 | Translation Approved (100%) | Requirements | Requisitos |
| 1137939e0c5c-ad6a-42d1-89d9-72fd840d3cab | Translation Approved (100%) | Schools | Escolas (Schools) |
| 113896ea1ff4-840f-4d7e-a3e3-37e6cfd1810d | Translation Approved (0%) | The project must achieve at least four of the following six credits, using the associated calculation methods. | O projeto deve obter pelo menos quatro dos seis créditos a seguir, utilizando os métodos de cálculo associados. |
| 113996ea1ff4-840f-4d7e-a3e3-37e6cfd1810d | Translation Approved (0%) | The achieved credits must then be recalculated using the data from the master plan. | Em seguida, os créditos obtidos devem ser recalculados utilizando os dados do master plan. |
| 114081b99bf5-c74b-4ea5-8da6-97ba81740cd7 | Translation Approved (0%) | <1335>LT</1335><1336> Credit: High Priority Site</1336> | <1335>Crédito</1335><1336> LT: Terreno de Alta Prioridade (LT Credit: High Priority Site)</1336> |
| 114161851be2-df34-4682-89bd-5bec3c008fc4 | Translation Approved (100%) | SS Credit: Site Development—Protect or Restore Habitat | Crédito SS: Desenvolvimento do Terreno - Proteção ou Restauração do Habitat (SS Credit: Site Development—Protect or Restore Habitat) |
| 114268506d1f-1a60-42a7-b718-14c9255796d6 | Translation Approved (100%) | SS Credit: Open Space | Crédito SS: Espaço Aberto (SS Credit: Open Space) |
| 11439fe32a62-5a64-4bdb-9a82-d1f669cf90fd | Translation Approved (100%) | SS Credit: Rainwater Management | Crédito SS: Gestão de Águas Pluviais (SS Credit: Rainwater Management) |
| 1144302804cf-196e-41a0-8b75-9d0b2da01784 | Translation Approved (100%) | SS Credit: Heat Island Reduction | Crédito SS: Redução de Ilhas de Calor (SS Credit: Heat Island Reduction) |
| 11452b9e476a-4948-4b3d-97ce-66caa1c7a580 | Translation Approved (100%) | SS Credit: Light Pollution Reduction | Crédito SS: Redução da Poluição Luminosa (SS Credit: Light Pollution Reduction) |
| 114688d70c71-49f5-4316-a37e-1ea2d9e5efcd | Translation Approved (0%) | A <1342>site master plan </1342>for the school must be developed in collaboration with school authorities. | Um <1342>master plan do terreno </1342>da escola deve ser desenvolvido em colaboração com as autoridades escolares. |
| 114788d70c71-49f5-4316-a37e-1ea2d9e5efcd | Translation Approved (0%) | Previous sustainable site design measures should be considered in all master-planning efforts so that existing infrastructure is retained whenever possible. | Medidas prévias do projeto do terreno sustentável devem ser consideradas em todos os esforços de criação do master plan para que a infraestrutura existente seja mantida sempre que possível. |
| 114888d70c71-49f5-4316-a37e-1ea2d9e5efcd | Translation Approved (0%) | The master plan must therefore include current construction activity plus future construction (within the building’s lifespan) that affects the site. | O master plan deve incluir, portanto, a atividade de construção atual mais a construção futura (dentro da vida útil do edifício) que afeta o terreno. |
| 114988d70c71-49f5-4316-a37e-1ea2d9e5efcd | Translation Approved (0%) | The master plan development footprint must also include parking, paving, and utilities. | A área de projeção do empreendimento do master plan também deve incluir estacionamento, pavimentação e serviços públicos. |
| 11509d10e7b9-d978-4aec-bffc-e0a486b500ca | Translation Approved (0%) | Projects where no future development is planned are not eligible for this credit. | Projetos nos quais não há planejamento de desenvolvimento futuro não são elegíveis para este crédito. |
| 1151965353b3-61e0-42ca-8613-4270f3f3a852 | Translation Approved (75%) | SS Credit: Tenant Design and Construction Guidelines | Crédito SS: Projeto do Locatário e Diretrizes de Construção (SS Credit: Tenant Design and Construction Guidelines) |
| 1152814e7d9d-fd37-4c4e-81b4-a360c0531738 | Translation Approved (100%) | BD&C | BD&C |
| 11535bd73a58-3edd-4894-8bed-acf152bb3d71 | Translation Approved (100%) | 1 point | 1 ponto |
| 115475260c33-3baf-48b5-8bb6-7f4200f6107e | Translation Approved (100%) | This credit applies to | Este crédito se aplica a |
| 11551e7d071e-2f19-443f-a944-6180db8183ed | Translation Approved (100%) | Core & Shell | Núcleo e Casca (Core & Shell) |
| 115604132052-a01f-4ae4-8294-0762499a80a2 | Translation Approved (100%) | Intent | Objetivo |
| 11574308ab2d-493a-4527-ac26-8784abdc524b | Translation Approved (94%) | To educate tenants in implementing sustainable design and construction features in their tenant improvement build-outs. | Instruir os locatários sobre a implementação de recursos de projeto e construção sustentáveis em sua adaptação interna de melhorias feitas pelo usuário. |
| 11588dccd6ea-1ff4-4041-bbcd-18e1597c6e8c | Translation Approved (100%) | Requirements | Requisitos |
| 115918c7c5fb-1905-4a57-a906-2f9ffb82bc40 | Translation Approved (100%) | CS | CS |
| 1160156a5633-c098-4ce1-a0de-5030d1034b70 | Translation Approved (0%) | Publish for tenants an illustrated document with the following content, as applicable: | Publique para os locatários um documento ilustrado com o conteúdo a seguir, conforme aplicável: |
| 1161c1c5e614-daa2-47da-baab-d4683799915b | Translation Approved (0%) | a description of the sustainable design and construction features incorporated in the core and shell project and the project’s sustainability goals and objectives, including those for tenant spaces; | uma descrição dos recursos de projeto e construção sustentáveis incorporados ao projeto de núcleo e da casca e as metas e objetivos de sustentabilidade do projeto, inclusive para espaço de inquilinos; |
| 11627ca3fd9c-7fe8-4017-93fc-9031d1219055 | Translation Approved (0%) | recommendations, including examples, for sustainable strategies, products, materials, and services; and | recomendações, incluindo exemplos, de estratégias, produtos, materiais e serviços sustentáveis; e |
| 1163487c6ce1-2d62-42c9-ab4b-93a377977bb5 | Translation Approved (0%) | information that enables a tenant to coordinate space design and construction with the building systems when pursuing the following LEED v4 for Interior Design and Construction prerequisites and credits: | informações que permitam que o locatário coordene projetos e construção de espaço com os sistemas do edifício ao tentar obter os seguintes pré-requisitos e créditos do LEED v4 para Projeto e Construção de Interiores (Interior Design and Construction): |
| 116461266537-97c4-49eb-b17b-24b77d93ba29 | Translation Approved (77%) | WE Prerequisite: Indoor Water Use Reduction | Pré-requisito WE: Redução do Uso de Água Interno (WE Prerequisite: Indoor Water Use Reduction) |
| 11658e4d3552-eb1c-4ae5-bf5d-926ba5f99432 | Translation Approved (89%) | WE Credit: Indoor Water Use Reduction | Crédito WE: Redução do Uso de Água Interno (WE Credit: Indoor Water Use Reduction) |
| 11663154fd58-b18a-44d0-ad84-58790ff39c34 | Translation Approved (0%) | EA Prerequisite: Minimum Energy Performance | Pré-requisito EA: Desempenho Energético Mínimo (EA Prerequisite: Minimum Energy Performance) |
| 1167318a741e-28b9-4109-932e-059bf7223d8d | Translation Approved (74%) | EA Prerequisite: Fundamental Refrigerant Management | Pré-requisito EA: Gerenciamento Fundamental de Gases Refrigerantes (EA Prerequisite: Fundamental Refrigerant Management) |
| 11680ca39ed0-acf9-4045-a527-3becf8def991 | Translation Approved (0%) | EA Credit: Optimize Energy Performance | Crédito EA: Otimização do Desempenho Energético (EA Credit: Optimize Energy Performance) |
| 116915ce500b-ab9a-4bba-b432-a7973c15903b | Translation Approved (0%) | EA Credits: Advanced Energy Metering | Créditos EA: Medição de Energia Avançada (EA Credits: Advanced Energy Metering) |
| 1170e00cf5e6-ada7-424b-a143-617637d59a83 | Translation Approved (85%) | EA Credit: Renewable Energy Production | Crédito EA: Produção de Energia Renovável (EA Credit: Renewable Energy Production) |
| 11718e92b269-1e84-45cc-8e02-6a4ffc51107e | Translation Approved (0%) | EA Credit: Enhanced Refrigerant Management | Crédito EA: Gerenciamento Aprimorado de Gases Refrigerantes (EA Credit: Enhanced Refrigerant Management) |
| 1172c29dd346-4f43-4fa0-8e54-7efa9671f203 | Translation Approved (0%) | MR Prerequisite: Storage and Collection of Recyclables | Pré-requisito MR: Armazenamento e Coleta de Recicláveis (MR Prerequisite: Storage and Collection of Recyclables) |
| 1173aab56d9b-ded2-4dd4-a945-46d2306cc0c5 | Translation Approved (0%) | EQ Prerequisite: Minimum Indoor Air Quality Performance | Pré-requisito EQ: Desempenho Mínimo da Qualidade do Ar Interno (EQ Prerequisite: Minimum Indoor Air Quality Performance) |
| 1174147ef7ad-719d-402b-aec8-b4644b4df1a6 | Translation Approved (0%) | EQ Prerequisite: Environmental Tobacco Smoke Control | Pré-requisito EQ: Controle de Fumaça Ambiental do Tabaco (EQ Prerequisite: Environmental Tobacco Smoke Control) |
| 11751758b2f5-7e07-4a03-9cf7-679752666d49 | Translation Approved (0%) | EQ Credit: Enhanced Indoor Air Quality Strategies | Crédito EQ: Estratégias Aprimoradas de Qualidade do Ar Interno (EQ Credit: Enhanced Indoor Air Quality Strategies) |
| 11763053579c-4a23-43a0-9725-c3caa1fc8146 | Translation Approved (0%) | EQ Credit: Low-Emitting Materials | Crédito EQ: Materiais de Baixa Emissão (EQ Credit: Low-Emitting Materials) |
| 11779706bad5-fb0f-421e-bcf9-c5f5b0c0468b | Translation Approved (0%) | EQ Credit: Construction Indoor Air Quality Management Plan | Crédito EQ: Plano de Gestão da Qualidade do Ar Interno da Construção (EQ Credit: Construction Indoor Air Quality Management Plan) |
| 117863c2196d-2659-43ad-9668-182016729925 | Translation Approved (0%) | EQ Credit: Indoor Air Quality Assessment | Crédito EQ: Avaliação da Qualidade do Ar Interno (EQ Credit: Indoor Air Quality Assessment) |
| 1179073958ce-6e13-40a4-a79b-becf2b87e835 | Translation Approved (0%) | EQ Credit: Thermal Comfort | Crédito EQ: Conforto Térmico (EQ Credit: Thermal Comfort) |
| 1180e2885eab-4476-437a-bab7-0acbccc357da | Translation Approved (0%) | EQ Credit: Interior Lighting | Crédito EQ: Iluminação Interna (EQ Credit: Interior Lighting) |
| 1181a5a04f2f-80cb-4681-9dc0-a765d22e1557 | Translation Approved (0%) | EQ Credit: Daylight | Crédito EQ: Iluminação Natural (EQ Credit: Daylight) |
| 1182269eff7f-4961-439e-9932-2ecfb051096e | Translation Approved (0%) | EQ Credit: Quality Views | Crédito EQ: Vistas de Qualidade (EQ Credit: Quality Views) |
| 1183178cfbb4-05be-4429-be62-01cbd4f13562 | Translation Approved (0%) | EQ Credit: Acoustic Performance | Crédito EQ: Desempenho Acústico (EQ Credit: Acoustic Performance) |
| 11840bbb8a31-1430-409f-b15d-80a2d0e76cde | Translation Approved (0%) | Provide the guidelines to all tenants before signing the lease. | Forneça as diretrizes para todos os locatários antes de assinar a locação. |
| 1185c06fc654-2be7-41f9-9b10-019a1a7f5f4c | Translation Approved (0%) | SS Credit: Places of Respite | Crédito SS: Locais de Descanso (SS Credit: Places of Respite) |
| 1186dce6c1c6-77c1-4f59-9c21-bf4eed49b9c4 | Translation Approved (100%) | BD&C | BD&C |
| 118784b6386a-2fa5-4803-a7dd-882340974177 | Translation Approved (100%) | 1 point | 1 ponto |
| 118805cc3048-4b53-49fc-a51a-ee7b0bffa840 | Translation Approved (100%) | This credit applies to | Este crédito se aplica a |
| 1189e5c0c019-7c51-45f5-ae78-1c2a8d0cfeb7 | Translation Approved (100%) | Healthcare | Setor de Saúde (Healthcare) |
| 11900a89c9e5-e1ab-4f91-89af-5011849c8fb6 | Translation Approved (100%) | Intent | Objetivo |
| 11914b372d2a-043b-4743-b122-9d1ff0c40936 | Translation Approved (0%) | To provide patients, staff, and visitors with the health benefits of the natural environment by creating outdoor places of respite on the healthcare campus. | Fornecer a pacientes, funcionários e visitantes os benefícios de saúde do ambiente natural, criando locais de descanso ao ar livre na instalação de saúde. |
| 11927ad229b1-6130-4fd4-9bab-11f67907096d | Translation Approved (100%) | Requirements | Requisitos |
| 1193ebf675b6-4dee-4d93-ab72-93b4cbc7eedb | Translation Approved (100%) | Healthcare | Setor de Saúde (Healthcare) |
| 119493c95f84-6c52-4a2d-9db7-6ea1fb9ed860 | Translation Approved (0%) | Provide places of respite that are accessible to patients and visitors, equal to 5% of the <1377>net usable program area</1377> of the building. | Forneça locais de descanso que sejam acessíveis a pacientes e visitantes, que totalizem 5% da <1377>área útil líquida do programa</1377> do edifício. |
| 1195ffb87716-c5a1-437c-aee9-5a58567071ba | Translation Approved (0%) | Provide additional dedicated places of respite for staff, equal to 2% of the net usable program area of the building. | Forneça locais de descanso dedicados adicionais para funcionários, que totalizem 2% da área útil líquida do programa do edifício. |
| 11966e09dd11-23ec-48e1-9c41-295fb97ed5cc | Translation Approved (0%) | Places of respite must be outdoors, or be located in interior atria, greenhouses, solaria, or conditioned spaces; such interior spaces may be used to meet up to 30% of the required area if 90% of each qualifying space’s gross floor area achieves a direct line of sight to unobstructed views of nature. | Locais de descanso devem ficar em áreas externas ou dentro de átrios internos, estufas, solários ou espaços condicionados; tais espaços internos podem ser usados para atender a até 30% da área necessária se 90% da área de piso total de cada espaço qualificado tiver uma linha de visão direta para vistas desobstruídas da natureza. |
| 1197aa01480a-71e4-4bf9-a6a3-03f5910da440 | Translation Approved (0%) | All areas must meet the following requirements. | Todas as áreas devem atender aos requisitos a seguir. |
| 119816762d0a-bdf4-4d6a-b204-0b1c37858df3 | Translation Approved (0%) | The area is accessible from within the building or located within 200 feet (60 meters) of a building entrance or access point. | A área deve ser acessível de dentro do edifício ou ficar a até 200 pés (60 metros) de uma entrada ou um ponto de acesso do edifício. |
| 1199f42a3adb-cc73-444a-8640-0504a1e75a24 | Translation Approved (0%) | The area is located where no medical intervention or direct medical care is delivered. | A área deve ficar em um local em que não sejam realizadas intervenções médicas ou tratamento médico direto. |
| 120080bd6528-a7c1-4908-ba52-7be201793f4c | Translation Approved (0%) | Options for shade or indirect sun are provided, with at least one seating space per 200 square feet (18.5 square meters) of each respite area, with one wheelchair space per five seating spaces.. | Opções para sombras ou luz solar indireta devem ser fornecidas, com pelo menos um assento por 200 pés quadrados (18,5 metros quadrados) de cada área de descanso, com uma vaga para cadeira de rodas para cada cinco assentos. |
| 12019e5bd5ba-eb6f-477e-aab8-d2dbe0cfb027 | Translation Approved (0%) | Horticulture therapy and other specific clinical or special-use gardens unavailable to all building occupants may account for no more than 50% of the required area. | Terapia horticultural e outros jardins clínicos específicos ou de uso especial indisponíveis para todos os ocupantes do edifício podem contabilizar no máximo 50% da área necessária. |
| 120291a09d3b-d398-433e-8591-8b7fc8ece9fa | Translation Approved (0%) | Universal-access natural trails that are available to visitors, staff, or patients may account for no more than 30% of the required area, provided the trailhead is within 200 feet (60 meters) of a building entrance. | Trilhas naturais de acesso universal disponíveis para visitantes, funcionários ou pacientes podem contabilizar no máximo 30% da área necessária, desde que o início do trilha fique a até 200 pés (60 metros) de uma entrada do edifício. |
| 120383b5b00b-7ce8-4c01-ab04-5031da5aa8b9 | Translation Approved (81%) | Additionally, outdoor areas must meet the following requirements. | Além disso, as áreas externas devem atender aos seguintes requisitos. |
| 1204f7b1faea-1cd0-4ff3-a691-58f18da0bba2 | Translation Approved (70%) | A minimum of 25% of the total outdoor area must be vegetated at the ground plane (not including turf grass) or have <1378>overhead vegetated canopy</1378>. | No mínimo 25% da área externa total deve ter vegetação no nível do solo (sem incluir grama) ou <1378>cobertura vegetal aérea</1378>. |
| 12059ea28e5b-dc07-4d3f-9e80-d1fb9132d977 | Translation Approved (0%) | The area is open to fresh air, the sky, and the natural elements. | A área deve ser aberta a ar fresco, ao céu e a elementos naturais. |
| 1206237c85cf-43d5-4391-8a23-ec6fc25e5022 | Translation Approved (0%) | Signage must meet the 2010 FGI Guidelines for Design and Construction of Health Care Facilities (Section 1.2-6.3 and Appendix A1.2-6.3:Wayfinding). | A sinalização deve atender às Diretrizes FGI de 2010 para Projeto e Construção de Instalações do Setor de Saúde (2010 FGI Guidelines for Design and Construction of Health Care Facilities) (Seção 1.2-6.3 e Apêndice A1.2-6.3: Wayfinding). |
| 1207ed79dd9e-fa59-4016-a818-67d56ea60975 | Translation Approved (0%) | Places of respite may not be within 25 feet (7.6 meters) of a smoking area (see EQ Prerequisite Environmental Tobacco Smoke Control). | Locais de descanso não devem ficar a menos de 25 pés (7,6 metros) de uma área para fumantes (consulte o Pré-requisito EQ: Controle da Fumaça Ambiental do Tabaco [EQ Prerequisite: Environmental Tobacco Smoke Control]). |
| 12086d3d2a96-64b8-4390-ac46-794da1cc7140 | Translation Approved (0%) | Existing places of respite on the hospital campus may qualify if they otherwise meet the credit requirements. | Locais de descanso existentes na instalação hospitalar podem se qualificar se atenderem aos requisitos do crédito de alguma outra forma. |
| 1209d32dc810-2de3-4db3-a2a4-62cc4b854501 | Translation Approved (0%) | SS Credit: Direct Exterior Access | Crédito SS: Acesso Externo Direto (SS Credit: Direct Exterior Access) |
| 121003093ce4-578f-4705-951e-9ae7676b10e0 | Translation Approved (100%) | BD&C | BD&C |
| 1211b8993777-23ef-4559-ab6f-d744dc6fdfed | Translation Approved (100%) | 1 point | 1 ponto |
| 121234ed090e-fd8c-4858-ab2f-5ec73d2a10c5 | Translation Approved (100%) | This credit applies to | Este crédito se aplica a |
| 1213b68140c8-dd85-47cb-aaea-07cffedecb67 | Translation Approved (100%) | Healthcare | Setor de Saúde (Healthcare) |
| 12145af79d13-afc1-4c73-9c28-ff9c6f67ce42 | Translation Approved (100%) | Intent | Objetivo |
| 1215dea94343-c086-4ca0-b321-43c61b1af7f0 | Translation Approved (0%) | To provide patients and staff with the health benefits associated with direct access to the natural environment. | Fornecer a pacientes e funcionários os benefícios associados ao acesso direto ao ambiente natural. |
| 12163e251a51-8519-44b5-a0b7-be4c1441fa48 | Translation Approved (100%) | Requirements | Requisitos |
| 12178c4e94a7-daf4-4e90-a625-37812856c2a4 | Translation Approved (100%) | Healthcare | Setor de Saúde (Healthcare) |
| 1218acd3abb1-aa3f-425c-8385-e0c5bfe50719 | Translation Approved (0%) | Provide direct access to an exterior courtyard, terrace, garden, or balcony. | Forneça acesso direto a um pátio, terraço, jardim ou sacada externo. |
| 1219acd3abb1-aa3f-425c-8385-e0c5bfe50719 | Translation Approved (0%) | The space must be at least 5 square feet (0.5 square meters) per patient for 75% of all inpatients and 75% of qualifying outpatients whose clinical length of stay (LOS) exceeds four hours. | O espaço deve ter pelo menos 5 pés quadrados (0,5 metro quadrado) por paciente para 75% dos pacientes internados e 75% dos pacientes externos qualificados, cujo tempo de internação (length of stay - LOS) na clínica excede quatro horas. |
| 122001b5473b-db13-41b4-a763-338574e75a8d | Translation Approved (0%) | Patients whose length of stay exceeds four hours, and whose treatment makes them unable to move, such as emergency, stage 1 surgical recovery, and critical care patients, may be excluded. | Pacientes cujo tempo de internação exceda quatro horas e cujo tratamento os impossibilite de se moverem, como recuperação de cirurgia de emergência de estágio 1 e pacientes em tratamento intensivo, podem ser excluídos. |
| 12214b6b1846-c31f-44e4-b80e-c540ac7af9f1 | Translation Approved (0%) | Places of respite outside the building envelope that meet the requirements of SS Credit Places of Respite that are immediately adjacent to clinical areas or with direct access from inpatient units may be included. | Locais de descanso fora do envelope do edifício que atendem aos requisitos do Crédito SS: Locais de Descanso (SS Credit Places of Respite) e são imediatamente adjacentes a áreas clínicas ou têm acesso direto a partir de unidades de internação de pacientes podem ser incluídos. |
| 12225f2ef45c-e390-4825-b737-6e283979773a | Translation Approved (0%) | Qualifying spaces must be designated as nonsmoking The spaces must also meet the requirements for outdoor air contaminant concentrations enumerated in EQ Credit Enhanced Indoor Air Quality Strategies, Option 2 and be located more than 100 feet (30 meters) from building exhaust air locations, loading docks, and roadways with idling vehicles. | Os espaços qualificados devem ser designados como para não fumantes. Os espaços também devem atender aos requisitos de concentrações de contaminantes no ar externo indicados no Crédito EQ: Estratégias Aprimoradas de Qualidade do Ar Interno (EQ Credit: Enhanced Indoor Air Quality Strategies), Opção 2, e ficar a mais de 100 pés (30 metros) de pontos de exaustão de ar do edifício, plataformas de carga e vias com veículos em ponto morto. |
| 1223b486b1f3-f98a-4fb4-a6f7-f4bcba0f383f | Translation Approved (70%) | SS Credit: Joint Use of Facilities | Crédito SS: Uso Conjunto de Instalações (SS Credit: Joint Use of Facilities) |
| 12244d20f11d-e593-407e-82c1-87ae8c5dbbf0 | Translation Approved (100%) | BD&C | BD&C |
| 1225bd2de9f4-5f55-4217-9f9f-f93e3d0d30c5 | Translation Approved (100%) | 1 point | 1 ponto |
| 12262a3bf393-23ae-43ee-81bd-4d8772a42fc3 | Translation Approved (100%) | This credit applies to | Este crédito se aplica a |
| 1227895cae75-30e6-44f3-b826-53af01f89110 | Translation Approved (100%) | Schools | Escolas (Schools) |
| 1228272c9cfe-f29a-4715-843a-1be794e500cb | Translation Approved (100%) | Intent | Objetivo |
| 1229f5739963-11fa-4ad3-b029-e4a74711635c | Translation Approved (70%) | To integrate the school with the community by sharing the building and its playing fields for nonschool events and functions. | Integrar a escola à comunidade compartilhando o edifício e seus parques recreativos para eventos e cerimônias não escolares. |
| 12301b963c9a-70f5-401b-9830-a966533f0384 | Translation Approved (100%) | Requirements | Requisitos |
| 123161646313-b771-467a-9083-3f32e6b5b2b5 | Translation Approved (100%) | Schools | Escolas (Schools) |
| 123247f26a1c-a3b2-4c28-9d42-b74b472a6db0 | Translation Approved (100%) | Option 1. | Opção 1. |
| 123347f26a1c-a3b2-4c28-9d42-b74b472a6db0 | Translation Approved (75%) | Make Building Space Open to the General Public (1 point) | Tornar o espaço do edifício aberto ao público geral (1 ponto) |
| 1234895e8698-90f1-4248-9170-cb66a3142236 | Translation Approved (0%) | In collaboration with the school authorities, ensure that at least three of the following types of spaces in the school are accessible to and available for shared use by the general public: | Em colaboração com as autoridades escolares, garanta que pelo menos três dos seguintes tipos de espaços na escola sejam acessíveis e disponibilizados para uso compartilhado com o público geral: |
| 1235a8647d36-b8de-4936-bca8-68360bf2bc51 | Translation Approved (91%) | auditorium; | auditório; |
| 1236584d5ac7-70c1-41dc-95a8-aec6f6aa3b4b | Translation Approved (0%) | gymnasium; | ginásio; |
| 1237324d79d6-4d77-4d42-a0f7-9582fb7b4ef6 | Translation Approved (0%) | cafeteria; | lanchonete; |
| 1238be71334f-4741-464d-b6d3-b7d885872bd7 | Translation Approved (0%) | one or more classrooms; | uma ou mais salas de aula; |
| 12399892205a-9ef0-421f-a382-396e3e5c4506 | Translation Approved (0%) | playing fields and stadiums; and | parques recreativos e estádios; e |
| 1240f0059c17-fb45-4780-8ff3-42757d8d2b46 | Translation Approved (0%) | joint parking. | estacionamento conjunto. |
| 1241ebd90503-f816-4c16-86cd-f9d5d8591bd2 | Translation Approved (0%) | Provide access to toilets in joint-use areas after normal school hours. | Forneça acesso a sanitários em áreas de uso conjunto após o horário escolar normal. |
| 1242533641ad-17f2-407d-ae32-a3344d506b61 | Translation Approved (100%) | OR | OU |
| 124342ea3bc4-aa20-4056-88b0-ab921d14cbdd | Translation Approved (100%) | Option 2. | Opção 2. |
| 124442ea3bc4-aa20-4056-88b0-ab921d14cbdd | Translation Approved (0%) | Contract with Specific Organizations to Share Building Space (1 point) | Contrato com organizações específicas para compartilhar espaços do edifício (1 ponto) |
| 124553aed891-3b75-457e-942f-b14f51626d79 | Translation Approved (0%) | In collaboration with the school authorities, contract with community or other organizations to provide at least two types of dedicated-use spaces in the building, such as the following: | Em colaboração com as autoridades escolares, firme contratos com a comunidade ou outras organizações para fornecer pelo menos dois tipos de espaços de uso dedicado no edifício, como: |
| 1246b2c3dec1-448b-4d65-b08e-581858346164 | Translation Approved (0%) | commercial office; | escritório comercial; |
| 124703e2e54f-a484-4121-b6ff-f9e4279a34f8 | Translation Approved (0%) | health clinic; | clínica de saúde; |
| 1248a0bab387-c0a0-4ec2-a58e-7f6b01c5ff76 | Translation Approved (0%) | community service centers (provided by state or local offices); | centros de serviços comunitários (oferecidos por órgãos estaduais ou muncipais); |
| 1249ea8f52a2-6ee4-496e-bdb8-487f928743d8 | Translation Approved (0%) | police office; | posto policial; |
| 1250190c271a-d079-4def-8735-8fac35125e91 | Translation Approved (0%) | library or media center; | biblioteca ou centro de mídia; |
| 12510075b47b-b61b-4d1c-9120-71e8dba6ca78 | Translation Approved (0%) | parking lot; and | estacionamento; e |
| 1252be75ca8d-f6d7-4e2f-bd61-2b69115c3d44 | Translation Approved (0%) | one or more commercial businesses. | uma ou mais empresas comerciais. |
| 1253e553129c-6d45-4846-8641-7565291c2722 | Translation Approved (100%) | Provide access to toilets in joint-use areas after normal school hours. | Forneça acesso a sanitários em áreas de uso conjunto após o horário escolar normal. |
| 1254e580bf87-fd10-4e31-9788-aa0c1ffd971d | Translation Approved (100%) | OR | OU |
| 1255be5ff07d-6d72-42c0-987f-3aaf3b06754e | Translation Approved (100%) | Option 3. | Opção 3. |
| 1256be5ff07d-6d72-42c0-987f-3aaf3b06754e | Translation Approved (0%) | Use Shared Space Owned by Other Organizations (1 point) | Usar o espaço compartilhado pertencente a outras organizações (1 ponto) |
| 12578b11cb17-adf6-4d73-b78a-23a32fc21e88 | Translation Approved (0%) | In collaboration with the school authorities, ensure that at least two of the following six types of spaces that are owned by other organizations or agencies are accessible to students: | Em colaboração com as autoridades escolares, garanta que pelo menos dois dos seis tipos de espaços a seguir, pertencentes a outras organizações ou agências, sejam acessíveis aos alunos: |
| 12584bc3d92c-6f7b-4bae-b984-1aef46b7a89e | Translation Approved (100%) | auditorium; | auditório; |
| 125959949a31-28f6-4641-a9a4-5364c5b29004 | Translation Approved (100%) | gymnasium; | ginásio; |
| 126049eb7f43-5220-48f2-895c-ea23b7716df6 | Translation Approved (100%) | cafeteria; | lanchonete; |
| 1261c4cdac10-c1b4-420a-832a-ee478d98802b | Translation Approved (100%) | one or more classrooms; | uma ou mais salas de aula; |
| 1262ecf3ba53-7a99-4dbd-966d-ef3001e6ea05 | Translation Approved (97%) | swimming pool; and | piscina; e |
| 12631337a320-6794-42a5-ab92-dfdb113f5e1b | Translation Approved (83%) | playing fields and stadiums. | parques recreativos e estádios. |
| 12647b38c367-143d-41f0-bcca-7a5485bdc5fb | Translation Approved (0%) | Provide direct pedestrian access to these spaces from the school. | Forneça acesso de pedestre direto da escola a esses espaços. |
| 12657b38c367-143d-41f0-bcca-7a5485bdc5fb | Translation Approved (0%) | In addition, provide signed joint-use agreements with the other organizations or agencies that stipulate how these spaces will be shared. | Além disso, forneça acordos assinados de uso conjunto com as outras organizações ou agências, determinando como os espaços serão compartilhados. |
| 12661b4fc809-024e-439e-ae1c-1b678ccd0ac3 | Translation Approved (100%) | Water Efficiency (WE) | Eficiência Hídrica (Water Efficiency - WE) |
| 1267ff460e49-e2ca-4bda-98bb-f3e6235942e0 | Translation Approved (89%) | WE Prerequisite: Outdoor Water Use Reduction | Pré-requisito WE: Redução do Uso de Água Externo (WE Prerequisite: Outdoor Water Use Reduction) |
| 1268b1354da1-6e5c-478f-afa2-e4ad74f17454 | Translation Approved (100%) | Required | Obrigatório |
| 1269d85d52e5-6be3-418c-9c19-718e5b53fa12 | Translation Approved (100%) | BD&C | BD&C |
| 1270a702efe7-d16a-4c0e-b7b5-9e83f1c0b3ee | Translation Approved (100%) | This prerequisite applies to | Este pré-requisito se aplica a: |
| 12714d6398a0-92da-4338-a786-0158b9cef7f0 | Translation Approved (100%) | New Construction | Nova Construção (New Construction) |
| 12725734fd81-9891-40a7-b192-945e01732c2b | Translation Approved (100%) | Core & Shell | Núcleo e Casca (Core & Shell) |
| 127318d5c7d7-9674-4b04-aacb-07697104eea1 | Translation Approved (100%) | Schools | Escolas (Schools) |
| 1274b37f7bbb-4f88-4ff5-b22f-e36889374a0b | Translation Approved (100%) | Retail | Varejo (Retail) |
| 1275662e0adb-d5ac-4821-9447-46834efee187 | Translation Approved (100%) | Data Centers | Centros de Dados (Data Centers) |
| 1276718d0dd1-cf58-415c-982e-160b965b90a7 | Translation Approved (100%) | Warehouses & Distribution Centers | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) |
| 12771678807c-025e-40ef-a59c-bc00ecc1284a | Translation Approved (100%) | Hospitality | Hoteleiro (Hospitality) |
| 12782717c087-6d63-47d4-bfa8-f4c91d008be3 | Translation Approved (100%) | Healthcare | Setor de Saúde (Healthcare) |
| 12793f2a8f9b-df0e-4f3f-9897-7ea8e999befb | Translation Approved (100%) | Intent | Objetivo |
| 12805ce9d523-2e83-40e3-a482-e1ec6e3f74ee | Translation Approved (0%) | To reduce outdoor water consumption. | Reduzir o consumo de água externo. |
| 1281a80a59a3-a906-4bb6-af82-99a713011fd6 | Translation Approved (100%) | Requirements | Requisitos |
| 1282522ee3f8-631a-4cfa-b2fe-995aa582e4f2 | Translation Approved (100%) | NC, CS, Schools, Retail, Data Centers, Warehouses & Distribution Centers, Hospitality, Healthcare | NC, CS, Escolas (Schools), Varejo (Retail), Centros de Dados (Data Centers), Armazéns e Centros de Distribuição (Warehouses & Distribution Centers), Hoteleiro (Hospitality), Setor de Saúde (Healthcare) |
| 1283edd25fea-a7c3-4bd2-a35d-d35943bfb932 | Translation Approved (0%) | Reduce outdoor water use through one of the following options. | Reduza o uso de água externo por meio de uma das seguintes opções. |
| 1284edd25fea-a7c3-4bd2-a35d-d35943bfb932 | Translation Approved (0%) | Nonvegetated surfaces, such as permeable or impermeable pavement, should be excluded from the landscape area calculations. | Superfícies sem vegetação, como pavimentos permeáveis ou impermeáveis, devem ser excluídas dos cálculos de área de paisagismo. |
| 1285edd25fea-a7c3-4bd2-a35d-d35943bfb932 | Translation Approved (0%) | Athletic fields and playgrounds (if vegetated) and food gardens may be included or excluded at the project team’s discretion. | Campos esportivos e parques infantis (se tiverem vegetação) e hortas podem ser incluídos ou excluídos, a critério da equipe do projeto. |
| 1286794a7aa4-fc5b-412f-b834-ecfe60c71c5a | Translation Approved (100%) | Option 1. | Opção 1. |
| 1287794a7aa4-fc5b-412f-b834-ecfe60c71c5a | Translation Approved (0%) | No Irrigation Required | Sem necessidade de irrigação |
| 128894b5129f-1af6-4bfc-aa7d-6ac181cd159a | Translation Approved (0%) | Show that the landscape does not require a permanent irrigation system beyond a maximum two-year establishment period. | Demonstre que o paisagismo não requer um sistema de irrigação permanente além de um período de estabelecimento máximo de dois anos. |
| 128962a4bc4a-2797-4269-92db-4697d931cd1f | Translation Approved (100%) | OR | OU |
| 129043f7eb77-6a56-48e3-8ea5-0b50134a7662 | Translation Approved (100%) | Option 2. | Opção 2. |
| 129143f7eb77-6a56-48e3-8ea5-0b50134a7662 | Translation Approved (0%) | Reduced Irrigation | Irrigação reduzida |
| 1292f58115cc-e975-442b-8e42-68b245b704d9 | Translation Approved (0%) | Reduce the project’s landscape water requirement by at least 30% from the calculated baseline for the site’s peak watering month. | Reduza os requisitos de água de paisagismo do projeto em pelo menos 30% em relação à baseline calculada para o mês com pico de irrigação do terreno. |
| 1293f58115cc-e975-442b-8e42-68b245b704d9 | Translation Approved (0%) | Reductions must be achieved through plant species selection and irrigation system efficiency, as calculated by the Environmental Protection Agency (EPA) WaterSense Water Budget Tool. | As reduções devem ser obtidas com a seleção de espécies de plantas e eficiência do sistema de irrigação, conforme calculado pela ferramenta de orçamento de água WaterSense da Agência de Proteção Ambiental (Environmental Protection Agency – EPA) dos EUA. |
| 1294e18d7d5d-7823-459b-9400-c45c289cc27b | Translation Approved (100%) | WE Prerequisite: Indoor Water Use Reduction | Pré-requisito WE: Redução do Uso de Água Interno (WE Prerequisite: Indoor Water Use Reduction) |
| 1295eeadd55f-cff2-49fc-b675-c70b2af2c854 | Translation Approved (100%) | Required | Obrigatório |
| 129649978574-7843-4730-a64e-7de8ab6d003a | Translation Approved (100%) | BD&C | BD&C |
| 12973bd56d4e-8541-4652-bb59-bd57c064ab41 | Translation Approved (100%) | This prerequisite applies to | Este pré-requisito se aplica a: |
| 1298494bf093-c815-4986-a983-79455de51b9a | Translation Approved (100%) | New Construction | Nova Construção (New Construction) |
| 1299e7f9a429-d107-4f80-8c22-e621fb24b019 | Translation Approved (100%) | Core & Shell | Núcleo e Casca (Core & Shell) |
| 1300f562552f-14e4-493d-be95-36717eea8922 | Translation Approved (100%) | Schools | Escolas (Schools) |
| 13012c30e1fc-d873-46c9-ade6-beefe4f72a6b | Translation Approved (100%) | Retail | Varejo (Retail) |
| 1302708ea611-405e-4d5e-832b-081cc215cb90 | Translation Approved (100%) | Data Centers | Centros de Dados (Data Centers) |
| 130308027a02-3bde-48ad-b7cc-548889ee56de | Translation Approved (100%) | Warehouses & Distribution Centers | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) |
| 1304b3ddeb4f-6cf9-43a9-a5f5-4d6ca4a0507d | Translation Approved (100%) | Hospitality | Hoteleiro (Hospitality) |
| 1305cd0d2db5-737d-433c-9b09-ce972cb649d4 | Translation Approved (100%) | Healthcare | Setor de Saúde (Healthcare) |
| 1306a3adac0b-720b-41ae-b5ec-5849eb892686 | Translation Approved (100%) | Intent | Objetivo |
| 13079ffbac36-1684-4eb1-ad18-0434aa84391d | Translation Approved (87%) | To reduce indoor water consumption. | Reduzir o consumo de água interno. |
| 13080413f679-8c1b-4070-8166-6523e354841d | Translation Approved (100%) | Requirements | Requisitos |
| 130986909dfa-e4af-4a56-a356-f737c1ab2f70 | Translation Approved (92%) | NC, CS, Schools, NC-Retail, Data Centers, Warehouses & Distribution Centers, NC-Hospitality, Healthcare | NC, CS, Escolas (Schools), NC-Varejo (NC-Retail), Centros de Dados (Data Centers), Armazéns e Centros de Distribuição (Warehouses & Distribution Centers), NC-Hoteleiro (NC-Hospitality), Setor de Saúde (Healthcare) |
| 13106677ea41-288e-4631-92fb-9ca1f3606cbb | Translation Approved (0%) | Building Water Use | Uso de água do edifício |
| 13117451b47a-9edc-4034-9f1b-e2efef746be3 | Translation Approved (0%) | For the fixtures and fittings listed in Table 1, as applicable to the project scope, reduce aggregate water consumption by 20% from the baseline. | Para os dispositivos e conexões listados na Tabela 1, conforme aplicável ao escopo do projeto, reduza o consumo de água em 2% em relação à baseline. |
| 13127451b47a-9edc-4034-9f1b-e2efef746be3 | Translation Approved (0%) | Base calculations on the volumes and flow rates shown in Table 1. | Os cálculos base de volume e vazão são mostrados na Tabela 1. |
| 131303bedd4f-74c7-4ed8-8470-1bea29c2c35c | Translation Approved (0%) | All newly installed toilets, urinals, private lavatory faucets, and showerheads that are eligible for labeling must be WaterSense labeled (or a local equivalent for projects outside the U.S.). | Todos os novos vasos sanitários, mictórios, torneiras de pia privativas e chuveiros instalados elegíveis para rotulagem devem ser rotulados com WaterSense (ou selo equivalente local para projetos fora dos EUA). |
| 131443a54676-dedb-4770-930f-3320df321364 | Translation Approved (100%) | Table 1. | Tabela 1. |
| 131543a54676-dedb-4770-930f-3320df321364 | Translation Approved (0%) | Baseline water consumption of fixtures and fittings | Baseline do consumo de água de dispositivos e conexões |
| 1316e6abe9d4-1bba-4567-a31f-f132027aa200 | Translation Approved (0%) | Fixture or fitting | Dispositivo ou conexão |
| 13170b634cf4-485b-4296-bb1d-061244909757 | Translation Approved (CM) | Baseline (IP units) | Baseline (sistema imperial) |
| 1318b7e33941-6985-45d9-ad2b-b55860f1fd1f | Translation Approved (CM) | Baseline (SI units) | Baseline (sistema métrico) |
| 1319535c10ed-e482-4b5e-9c69-084af1a9572d | Translation Approved (74%) | Toilet (water closet)* | Vaso sanitário* |
| 13202230876b-4bfc-4e0b-ae31-1994d90c48eb | Translation Approved (0%) | 1.6 gpf | 1,6 gpf |
| 1321d164e74f-f548-48bf-a644-cdac5460e083 | Translation Approved (0%) | 6 lpf | 6 lpf |
| 13222ca69006-22d7-4014-bb54-05b7b2be3959 | Translation Approved (0%) | Urinal* | Mictório* |
| 1323f5d8ea55-277c-4e50-80ab-6e3fe8d9fb1a | Translation Approved (100%) | 1.0 gpf | 1,0 gpf |
| 13242ead56ad-14e9-4ddd-9f64-d57c5371e212 | Translation Approved (100%) | 3.8 lpf | 3,8 lpf |
| 132521127dd6-594b-4994-a74a-b6c3d286c485 | Translation Approved (0%) | Public lavatory (restroom) faucet | Torneira de pia pública (banheiro) |
| 13266a2af448-5d97-4086-a40d-ed49a3f110ee | Translation Approved (0%) | 0.5 gpm at 60 psi** all others except private applications | 0,5 gpm a 60 psi**, todas as outras, exceto aplicações privativas |
| 1327fc89db10-7c4e-4563-9b02-d63eae541f03 | Translation Approved (86%) | 1.9 lpm at 415 kPa, all others except private applications | 1,9 lpm a 415 kPa, todas as outras, exceto aplicações privativas |
| 132838cc0c3f-8633-4e68-a681-6b941a5a30e5 | Translation Approved (0%) | Private lavatory faucets | Torneiras de pias privativas |
| 1329391067f6-3736-4cdc-a8e6-c7a6dbdb669a | Translation Approved (0%) | 2.2 gpm at 60 psi | 2,2 gpm a 60 psi |
| 13305432b744-b637-4034-832d-214dfa2c75a2 | Translation Approved (0%) | 8.3 lpm at 415 kPa | 8,3 lpm a 415 kPa |
| 1331010feead-dab6-4435-8220-fcbf89afefda | Translation Approved (0%) | Kitchen faucet (excluding faucets used exclusively for filling operations) | Torneira de cozinha (exceto torneiras usadas exclusivamente para operações de enchimento) |
| 13320f6552b8-4ae8-46ce-a3e7-c0a4d8a0d300 | Translation Approved (100%) | 2.2 gpm at 60 psi | 2,2 gpm a 60 psi |
| 1333e6d4300b-e2c9-4e14-8503-b8c6b1c7a483 | Translation Approved (100%) | 8.3 lpm at 415 kPa | 8,3 lpm a 415 kPa |
| 13346e71002a-1c40-4e48-a148-755c542413d0 | Translation Approved (0%) | Showerhead* | Chuveiro* |
| 1335746fb4fb-010b-4973-9f83-1f7987ea0607 | Translation Approved (0%) | 2.5 gpm at 80 psi per shower stall | 2,5 gpm a 80 psi por box de chuveiro |
| 13366cc310d4-a677-4848-a62f-5f9bd624b5b2 | Translation Approved (83%) | 9.5 lpm at 550 kPa per shower stall | 9,5 lpm a 550 kPa por box de chuveiro |
| 1337cf8b9db1-0a09-44c5-ba39-9053e6340364 | Translation Approved (0%) | * WaterSense label available for this product type | * Selo WaterSense disponível para este tipo de produto |
| 133876816028-f7fb-4a8d-ab08-a82dad773df9 | Translation Approved (77%) | gpf = gallons per flush | gpf = galões por descarga |
| 1339671492ae-e91b-467c-afe8-c7ad9b485169 | Translation Approved (0%) | gpm = gallons per minute | gpm = galões por minuto |
| 134093f1683f-fea6-4110-84ca-38a00380cfa0 | Translation Approved (0%) | psi = pounds per square inch | psi = libras por polegada quadrada |
| 13410e035204-efa8-452a-9f46-040bbf94ba1d | Translation Approved (0%) | lpf = liters per flush | lpf = litros por descarga |
| 1342769a2fa9-04b7-46ea-8306-655ac0a41fd2 | Translation Approved (0%) | lpm = liters per minute | lpm = litros por minuto |
| 13433359a225-4100-4f9b-9ebe-97652981c90a | Translation Approved (0%) | kPa = kilopascals | kPa = quilopascals |
| 134415aab0a0-d4cc-4e41-806d-932cc57a799c | Translation Approved (0%) | Appliance and Process Water Use | Uso de água de utensílios e processos |
| 13459ff7a9ef-5a6b-4b34-85e5-8a06aeb8e0d2 | Translation Approved (0%) | Install appliances, equipment, and processes within the project scope that meet the requirements listed in the tables below. | Instale utensílios, equipamentos e processos dentro do escopo do projeto que atendam aos requisitos listados nas tabelas a seguir. |
| 1346bc2ec761-08ee-4cb6-a276-9ed624cc4daa | Translation Approved (100%) | Table 2. | Tabela 2. |
| 1347bc2ec761-08ee-4cb6-a276-9ed624cc4daa | Translation Approved (0%) | Standards for appliances | Normas para utensílios |
| 1348fa4c9728-22a4-4a65-a0a2-5a8de3b38e05 | Translation Approved (0%) | Appliance | Utensílio |
| 1349cdb5dc27-adfb-494b-9f22-cd1ec78dbd2c | Translation Approved (100%) | Requirement | Requisito |
| 135073b56f8a-9376-4d0c-a913-8882e30ceead | Translation Approved (0%) | Residential clothes washers | Máquinas de lavar roupa residenciais |
| 135190f07683-04d9-4166-bc8d-f2dd7c949a54 | Translation Approved (0%) | ENERGY STAR or performance equivalent | ENERGY STAR ou de desempenho equivalente |
| 1352421479c4-9ee7-4671-8b27-fd33d2f2e4eb | Translation Approved (77%) | Commercial clothes washers | Máquinas de lavar roupa comerciais |
| 1353c03ac57a-1a43-49f4-a80c-f16a6497003a | Translation Approved (0%) | CEE Tier 3A | CEE Classe 3A |
| 1354cc915b94-6c3f-4a1a-9bff-a0e8f3acb073 | Translation Approved (0%) | Residential dishwashers (standard and compact) | Lava-louças residenciais (padrão e compactas) |
| 1355aa2edfe1-74d3-4ea9-b924-3cb630edd1f8 | Translation Approved (100%) | ENERGY STAR or performance equivalent | ENERGY STAR ou de desempenho equivalente |
| 135651e4e676-7d99-41fc-90c5-d118fd9eb2fc | Translation Approved (100%) | Prerinse spray valves | Válvulas de pulverização pré-lavagem |
| 1357e8328b16-43bd-41b0-a1f0-1a4ae0eb086b | Translation Approved (0%) | ≤ 1.3 gpm (4.9 lpm) | ≤ 1,3 gpm (4,9 lpm) |
| 135825ed088b-31be-4843-a946-a7aa8c76e3bc | Translation Approved (0%) | Ice machine | Máquina de gelo |
| 135928d8e25a-2a50-47cd-b489-0214a0c9eafd | Translation Approved (0%) | ENERGY STAR or performance equivalent and use either air-cooled or closed-loop cooling, such as chilled or condenser water system | ENERGY STAR ou de desempenho equivalente e utilizar resfriamento a ar ou de ciclo fechado, como um sistema de água resfriada ou com condensador. |
| 136090964b20-6682-44f5-a7d2-977fc49d421a | Translation Approved (100%) | gpm = gallons per minute | gpm = galões por minuto |
| 1361ac9462eb-f916-436d-9fdc-372ac14ecde7 | Translation Approved (100%) | lpm = liters per minute | lpm = litros por minuto |
| 13624cc1cc8c-bcbb-46e5-852f-ab432ac10780 | Translation Approved (100%) | Table 3. | Tabela 3. |
| 13634cc1cc8c-bcbb-46e5-852f-ab432ac10780 | Translation Approved (77%) | Standards for processes | Normas para processos |
| 13647ad3dae4-e883-4a73-a4d4-07d0463b7dc9 | Translation Approved (0%) | Process | Processo |
| 1365f5c1c2d9-3839-440a-b5a7-b391f0d7c5f1 | Translation Approved (100%) | Requirement | Requisito |
| 136664081b70-19ff-41e7-a2dd-bee062140b89 | Translation Approved (0%) | Heat rejection and cooling | Rejeição de calor e resfriamento |
| 1367cad7a485-d03f-4798-ac84-fbf887307f67 | Translation Approved (0%) | No once-through cooling with potable water for any equipment or appliances that reject heat | Não use resfriamento com passagem única de água potável em nenhum equipamento ou utensílio que rejeite calor |
| 1368401ea0de-71dc-4fea-a632-e188f907360e | Translation Approved (0%) | Cooling towers and evaporative condensers | Torres de resfriamento e condensadores evaporativos |
| 13696f37a77f-35d8-4763-a4bb-efca196af3dc | Translation Approved (0%) | Equip with | Equipe com |
| 1370aeb3c420-f10d-4528-b840-491526f76999 | Translation Approved (70%) | makeup water meters | medidores de água de reposição |
| 1371f0fe0617-d22b-4b85-9a04-fc81c2c2ba78 | Translation Approved (0%) | conductivity controllers and overflow alarms | controladores de condutividade e alarmes de transbordamento |
| 1372cc362cb1-8299-426e-83bf-523922b44f21 | Translation Approved (0%) | efficient drift eliminators that reduce drift to maximum of 0.002% of recirculated water volume for counterflow towers and 0.005% of recirculated water flow for cross-flow towers | eliminadores de desvio eficientes que reduzam o desvio a um máximo de 0,002% do volume de água recirculada para as torres de contrafluxo e 0,005% do fluxo de água recirculada para torres de fluxo cruzado |
| 137377944511-4372-4b25-84f4-96e502647d40 | Translation Approved (0%) | Healthcare, Retail, Schools, and Hospitality Only | Apenas Setor de Saúde, Varejo, Escolas e Hoteleiro |
| 137433ca561d-25a6-4da0-ad43-ba5b106b03a4 | Translation Approved (0%) | In addition, water-consuming appliances, equipment, and processes must meet the requirements listed in Tables 4 and 5. | Além disso, utensílios, equipamentos e processos que consomem água devem atender aos requisitos listados nas Tabelas 4 e 5. |
| 1375c3a67168-981c-4d58-b8ec-2f46e2df53c7 | Translation Approved (100%) | Table 4. | Tabela 4. |
| 1376c3a67168-981c-4d58-b8ec-2f46e2df53c7 | Translation Approved (100%) | Standards for appliances | Normas para utensílios |
| 137733e1bca0-3033-47c1-8bf1-056adaab6019 | Translation Approved (0%) | Kitchen equipment | Equipamentos de cozinha |
| 1378bb6542bf-53c3-487a-95e9-546d0bf5e3ef | Translation Approved (CM) | Requirement (IP units) | Requisito (sistema imperial) |
| 1379705dcd11-03a2-4a7a-b3cb-2c3fcda9023f | Translation Approved (CM) | Requirement (SI units) | Requisito (sistema métrico) |
| 138037317a61-f8ce-49b2-807e-0c8f936ca723 | Translation Approved (0%) | Dishwasher | Lava-louças |
| 1381897da379-f04c-4170-9c79-b09c80f6379b | Translation Approved (0%) | Undercounter | Sob a bancada |
| 13825317876c-11ab-418c-a3e6-ebc122b12d11 | Translation Approved (0%) | ≤ 1.6 gal/rack | ≤ 1,6 galão/prateleira |
| 1383acd4bffc-f104-4e25-b69d-8fc7cb2ad230 | Translation Approved (0%) | ≤ 6.0 liters/rack | ≤ 6,0 litros/prateleira |
| 1384f7c0e630-4b74-4e34-818c-93a033b317c1 | Translation Approved (0%) | Stationary, single tank, door | Fixa, tanque único, com porta |
| 1385872fd445-8eac-4cb7-b9a4-3e133011bd59 | Translation Approved (100%) | ≤ 1.4 gal/rack | ≤ 1,4 galão/prateleira |
| 13868f5996a0-53c6-40f0-8b6f-ca7779efba27 | Translation Approved (100%) | ≤ 5.3 liters/rack | ≤ 5,3 litros/prateleira |
| 1387c518a465-1ca7-4b15-9220-0f84cc3e75fc | Translation Approved (0%) | Single tank, conveyor | Tanque único, transportador |
| 13889900c93c-79ad-4452-a670-fb1d57568168 | Translation Approved (100%) | ≤ 1.0 gal/rack | ≤ 1,0 galão/prateleira |
| 1389c91d1d05-03dc-425e-95cc-c46445984f82 | Translation Approved (100%) | ≤ 3.8 liters/rack | ≤ 3,8 litros/prateleira |
| 1390a839afb0-9b9f-4f98-8e10-c7fe81829807 | Translation Approved (0%) | Multiple tank, conveyor | Múltiplos tanques, transportador |
| 1391e5f479a6-cd81-4647-a377-65cc189cece4 | Translation Approved (100%) | ≤ 0.9 gal/rack | ≤ 0,9 galão/prateleira |
| 1392448a737f-d085-4626-88d7-a65c0f61b4d9 | Translation Approved (100%) | ≤ 3.4 liters/rack | ≤ 3,4 litros/prateleira |
| 139345dee870-69ab-4330-90f5-c61e7343db58 | Translation Approved (0%) | Flight machine | Máquina tipo "flight" |
| 1394b1bbdd34-d7da-4fe8-8eef-48883b94b776 | Translation Approved (0%) | ≤ 180 gal/hour | ≤ 180 galões/hora |
| 1395a42de86e-e691-405c-863a-405d71d8463e | Translation Approved (0%) | ≤ 680 liters/hour | ≤ 680 litros/hora |
| 1396c7703b96-cc4e-4f81-a800-eacb21fe95f6 | Translation Approved (84%) | Food steamer | Panela a vapor |
| 139742bd8d33-fd1d-4b99-aba9-f2a059866179 | Translation Approved (0%) | Batch | Lote |
| 1398ac2b18b6-7a39-4a81-bcc0-ef749e49c856 | Translation Approved (0%) | ≤ 6 gal/hour/pan | ≤ 6 galões/hora/panela |
| 13999da8d6e2-f38a-4f18-90aa-fa997b076ec3 | Translation Approved (0%) | ≤ 23 liters/hour/pan | ≤ 23 litros/hora/panela |
| 14009c26940a-93ab-4865-83db-3edee03ff878 | Translation Approved (0%) | Cook-to-order | Cook-to-order |
| 14010cb80b38-a00e-451e-b931-0c1323fff338 | Translation Approved (100%) | ≤ 10 gal/hour/pan | ≤ 10 galões/hora/panela |
| 1402cc7b34ef-092b-4ab5-ac45-bb4e6fb74cd4 | Translation Approved (100%) | ≤ 38 liters/hour/pan | ≤ 38 litros/hora/panela |
| 14033138e109-7a6e-4dcd-97df-454025a245f2 | Translation Approved (0%) | Combination oven, | Forno de combinação, |
| 1404884cd912-7b57-44b3-b8b6-e369e6bf4c4a | Translation Approved (0%) | Countertop or stand | Bancada ou suporte |
| 14056df652de-496b-45bd-9a4b-ac6cbc7bd16f | Translation Approved (100%) | ≤ 3.5 gal/hour/pan | ≤ 3,5 galões/hora/panela |
| 1406088e4d2b-9247-4563-8ba0-d9bf64e9e3b1 | Translation Approved (100%) | ≤ 13 liters/hour/pan | ≤ 13 litros/hora/panela |
| 14076b701f19-3d24-44d3-a5f2-9f4b8047435d | Translation Approved (0%) | Roll-in | Turbo |
| 14081969e801-37b8-4b60-841f-caf7346cfb73 | Translation Approved (100%) | ≤ 3.5 gal/hour/pan | ≤ 3,5 galões/hora/panela |
| 14091900eed2-d504-44b1-8736-14eec1f22b14 | Translation Approved (100%) | ≤ 13 liters/hour/pan | ≤ 13 litros/hora/panela |
| 14108dd048a4-6679-4eca-a463-1a3e9732a535 | Translation Approved (100%) | Table 5. | Tabela 5. |
| 14118dd048a4-6679-4eca-a463-1a3e9732a535 | Translation Approved (CM) | Process requirements | Requisitos do processo |
| 141276bd7afc-1227-4df8-a215-7ef0d50b155e | Translation Approved (0%) | Discharge water temperature tempering | Redução da temperatura da água escoada |
| 1413d4c25448-66f1-4a01-88ef-b6d87dbc75cd | Translation Approved (0%) | Where local requirements limit discharge temperature of fluids into drainage system, use tempering device that runs water only when equipment discharges hot water | Quando requisitos locais limitarem a temperatura de escoamento de fluidos no sistema de drenagem, utilize um dispositivo de redução que libere água somente quando o equipamento escoar água quente |
| 14149c76cc94-1e9d-4b67-9965-555f5f50fbda | Translation Approved (100%) | OR | OU |
| 1415163e542d-d033-4150-b77e-d6bc024419cd | Translation Approved (0%) | Provide thermal recovery heat exchanger that cools drained discharge water below code-required maximum discharge temperatures while simultaneously preheating inlet makeup water | Forneça um trocador de calor com recuperação térmica que resfrie a água escoada drenada abaixo das temperaturas máximas de escoamento exigidas pelo código, enquanto preaquece simultaneamente a entrada de água de reposição |
| 14162169dbcd-04a6-4646-bfb8-a6f82f8526c9 | Translation Approved (100%) | OR | OU |
| 1417a534ff54-4a66-46f8-bec1-42a2b2340945 | Translation Approved (0%) | If fluid is steam condensate, return it to boiler | Se o fluido for vapor condensado, retorne-o à caldeira |
| 1418c3ce617e-6619-4949-ab29-ffd360824936 | Translation Approved (0%) | Venturi-type flow-through vacuum generators or aspirators | Geradores de vácuo ou aspiradores com vazão tipo Venturi |
| 1419b730f05b-508d-4ed6-b064-20c15d7662d3 | Translation Approved (0%) | Use no device that generates vacuum by means of water flow through device into drain | Não use dispositivos que gerem vácuo por meio de vazão de água através do dispositivo até o dreno |
| 1420c33e0b9b-9cda-47bc-ab53-0178ce6f2bb0 | Translation Approved (85%) | WE Prerequisite: Building-Level Water Metering | Pré-requisito WE: Medição de Água do Edifício (WE Prerequisite: Building-Level Water Metering) |
| 14212654786c-85c6-413b-91e7-b1e3a5c0fce3 | Translation Approved (100%) | Required | Obrigatório |
| 14227da6495e-03bb-4bff-99b7-c6b5987d304c | Translation Approved (100%) | BD&C | BD&C |
| 142365fc1dfc-e757-45b5-8b04-4bae3e18b512 | Translation Approved (100%) | This prerequisite applies to | Este pré-requisito se aplica a: |
| 1424ee31f462-c618-4e26-87d7-a5ac3522d397 | Translation Approved (100%) | New Construction | Nova Construção (New Construction) |
| 1425240e0bf3-fa84-4efe-bd94-eb0a06be8351 | Translation Approved (100%) | Core & Shell | Núcleo e Casca (Core & Shell) |
| 142660020e92-b48d-4fbf-bb82-206f4aa26c5d | Translation Approved (100%) | Schools | Escolas (Schools) |
| 142774b52871-402b-4e0e-9bd4-e3da17ca6d7a | Translation Approved (100%) | Retail | Varejo (Retail) |
| 1428278b2296-e1c0-4f12-af08-2d703efe31c6 | Translation Approved (100%) | Data Centers | Centros de Dados (Data Centers) |
| 142937019342-10a8-40b9-bba9-2bd4449642fd | Translation Approved (100%) | Warehouses & Distribution Centers | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) |
| 14303576bad4-3911-4f0d-8772-d6b8591105be | Translation Approved (100%) | Hospitality | Hoteleiro (Hospitality) |
| 1431f3e1f056-68ba-49c6-acc3-9de14f68beaa | Translation Approved (100%) | Healthcare | Setor de Saúde (Healthcare) |
| 14320699e06f-37da-4248-a810-7cbf933878cc | Translation Approved (100%) | Intent | Objetivo |
| 1433c319a151-4694-4b05-9209-2d0bdaae7104 | Translation Approved (0%) | To support water management and identify opportunities for additional water savings by tracking water consumption. | Apoiar a gestão da água e identificar oportunidades de economias adicionais de água rastreando o consumo de água. |
| 14344278e938-4a97-4a2d-a1bb-b0f554ab2544 | Translation Approved (100%) | Requirements | Requisitos |
| 143563c72b9d-32f9-43ef-b621-12a4092d71ec | Translation Approved (100%) | NC, CS, Schools, Retail, Data Centers, Warehouses & Distribution Centers, Hospitality, Healthcare | NC, CS, Escolas (Schools), Varejo (Retail), Centros de Dados (Data Centers), Armazéns e Centros de Distribuição (Warehouses & Distribution Centers), Hoteleiro (Hospitality), Setor de Saúde (Healthcare) |
| 14367d5614ae-acc0-4263-a3fa-b9f78178b7f0 | Translation Approved (0%) | Install permanent water meters that measure the total potable water use for the building and associated grounds. | Instale hidrômetros permanentes que meçam o uso total de água potável para o edifício e os terrenos associados. |
| 14377d5614ae-acc0-4263-a3fa-b9f78178b7f0 | Translation Approved (0%) | Meter data must be compiled into monthly and annual summaries; meter readings can be manual or automated. | Os dados dos hidrômetros devem ser compilados em resumos mensais e anuais. As leituras dos hidrômetros podem ser manuais ou automatizadas. |
| 1438cdd006f9-7c5b-4862-9633-0001c625f06d | Translation Approved (0%) | Commit to sharing with USGBC the resulting whole-project water usage data for a five-year period beginning on the date the project accepts LEED certification or typical occupancy, whichever comes first. | Comprometa-se em compartilhar com o USGBC os dados de uso de água de todo o projeto por um período de cinco anos, começando na data em que o projeto aceitar a certificação LEED ou a ocupação típica, o que ocorrer primeiro. |
| 1439b34a68c3-454f-43bd-a37b-66eb528b4898 | Translation Approved (0%) | This commitment must carry forward for five years or until the building changes ownership or lessee. | Esse compromisso deve ser mantido por cinco anos ou até que o edifício mude de proprietário ou arrendatário. |
| 1440bfabc7b5-f46c-4697-82f1-8c93c79a2e60 | Translation Approved (0%) | WE Credit: Outdoor Water Use Reduction | Crédito WE: Redução do Uso de Água Externo (Outdoor Water Use Reduction) |
| 14416619f952-6e0b-4424-8133-3c47eaa17ac9 | Translation Approved (100%) | BD&C | BD&C |
| 1442417a253c-2bec-4bf5-aa3f-18a1d441db2b | Translation Approved (100%) | 1–2 points | 1 a 2 pontos |
| 1443c6adeff7-35fe-4bb1-9945-1062e90a1c6b | Translation Approved (100%) | This credit applies to | Este crédito se aplica a |
| 1444cd4720d3-ef32-4860-a33b-fc8d5bae8eca | Translation Approved (100%) | New Construction (1–2 points) | Nova Construção (New Construction) (1 a 2 pontos) |
| 1445c43d58c5-bfe3-418d-9354-0476ffd6bdcc | Translation Approved (100%) | Core & Shell (1–2 points) | Núcleo e Casca (Core & Shell) (1 a 2 pontos) |
| 1446681f7dde-93af-4b47-8fd8-152364d1b0e4 | Translation Approved (100%) | Schools (1–2 points) | Escolas (Schools) (1 a 2 pontos) |
| 14474f6b9f86-af88-421e-9618-eb9e5db0be83 | Translation Approved (100%) | Retail (1–2 points) | Varejo (Retail) (1 a 2 pontos) |
| 14481ff864c6-7022-46c6-b63e-b98d1b22fcfc | Translation Approved (100%) | Data Centers (1–2 points) | Centros de Dados (Data Centers) (1 a 2 pontos) |
| 144983669a32-059f-4c49-8f44-046200398f83 | Translation Approved (100%) | Warehouses & Distribution Centers (1–2 points) | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) (1 a 2 pontos) |
| 1450928728e8-c11a-42f6-ae67-d64264119a99 | Translation Approved (100%) | Hospitality (1–2 points) | Hoteleiro (Hospitality) (1 a 2 pontos) |
| 14516ae3b5e1-33c5-4e0f-b7fa-bee40237bd84 | Translation Approved (100%) | Healthcare (1 point) | Setor de Saúde (Healthcare) (1 ponto) |
| 14524670fb61-c2d1-4f96-9da6-63a2a1868ff9 | Translation Approved (100%) | Intent | Objetivo |
| 1453377b0040-413a-4f0c-9cd4-4e62792247f5 | Translation Approved (100%) | To reduce outdoor water consumption. | Reduzir o consumo de água externo. |
| 1454829d0476-e1fd-458d-a22d-e2a96afe6a49 | Translation Approved (100%) | Requirements | Requisitos |
| 145504153605-9837-4733-8ac1-e9efdbc71eed | Translation Approved (100%) | NC, CS, Schools, Retail, Data Centers, Warehouses & Distribution Centers, Hospitality, Healthcare | NC, CS, Escolas (Schools), Varejo (Retail), Centros de Dados (Data Centers), Armazéns e Centros de Distribuição (Warehouses & Distribution Centers), Hoteleiro (Hospitality), Setor de Saúde (Healthcare) |
| 145696a68651-19ae-4b5f-9aa0-d1ebb99389bf | Translation Approved (100%) | Reduce outdoor water use through one of the following options. | Reduza o uso de água externo por meio de uma das seguintes opções. |
| 145796a68651-19ae-4b5f-9aa0-d1ebb99389bf | Translation Approved (96%) | Nonvegetated surfaces, such as permeable or impermeable pavement, should be excluded from landscape area calculations. | Superfícies sem vegetação, como pavimentos permeáveis ou impermeáveis, devem ser excluídas dos cálculos de área de paisagismo. |
| 145896a68651-19ae-4b5f-9aa0-d1ebb99389bf | Translation Approved (100%) | Athletic fields and playgrounds (if vegetated) and food gardens may be included or excluded at the project team’s discretion. | Campos esportivos e parques infantis (se tiverem vegetação) e hortas podem ser incluídos ou excluídos, a critério da equipe do projeto. |
| 1459fefd4027-1849-48d1-b502-44223876ab47 | Translation Approved (100%) | Option 1. | Opção 1. |
| 1460fefd4027-1849-48d1-b502-44223876ab47 | Translation Approved (80%) | No Irrigation Required (2 points except Healthcare, 1 point Healthcare) | Sem necessidade de irrigação (2 pontos, exceto Setor de Saúde, 1 ponto Setor de Saúde) |
| 14614d848556-12df-48d0-a1c5-e399ffb4a22f | Translation Approved (100%) | Show that the landscape does not require a permanent irrigation system beyond a maximum two-year establishment period. | Demonstre que o paisagismo não requer um sistema de irrigação permanente além de um período de estabelecimento máximo de dois anos. |
| 1462acb6345b-19ab-4d35-9ba0-57faa18030c7 | Translation Approved (100%) | OR | OU |
| 1463c54b6e02-d49d-4b18-8e94-1afe298a7576 | Translation Approved (100%) | Option 2. | Opção 2. |
| 1464c54b6e02-d49d-4b18-8e94-1afe298a7576 | Translation Approved (80%) | Reduced Irrigation (1-2 points except Healthcare, 1 point Healthcare) | Irrigação reduzida (1 a 2 pontos, exceto Setor de Saúde, 1 ponto Setor de Saúde) |
| 146572247128-fba9-45ab-af5e-72963c89bfd1 | Translation Approved (97%) | Reduce the project’s landscape water requirement (LWR) by at least 50% from the calculated baseline for the site’s peak watering month. | Reduza os requisitos de água do paisagismo (Landscape Water Requirement - LWR) do projeto em pelo menos 50% em relação à baseline calculada para o mês com pico de irrigação do terreno. |
| 146672247128-fba9-45ab-af5e-72963c89bfd1 | Translation Approved (95%) | Reductions must first be achieved through plant species selection and irrigation system efficiency as calculated in the Environmental Protection Agency (EPA) WaterSense Water Budget Tool. | As reduções devem ser obtidas com a seleção de espécies de plantas e eficiência do sistema de irrigação, conforme calculado na ferramenta de orçamento de água WaterSense da Agência de Proteção Ambiental (Environmental Protection Agency – EPA) dos EUA. |
| 14673c9c1c0a-8e11-48d0-977b-79f6f0f085d6 | Translation Approved (0%) | Additional reductions beyond 30% may be achieved using any combination of efficiency, alternative water sources, and smart scheduling technologies. | Reduções adicionais além de 30% podem ser obtidas com qualquer combinação de eficiência, fontes de água alternativas e tecnologias inteligentes de programação. |
| 1468e5481c66-8e1b-4a24-b0e5-7cb3a485fd82 | Translation Approved (100%) | Table 1. | Tabela 1. |
| 1469e5481c66-8e1b-4a24-b0e5-7cb3a485fd82 | Translation Approved (0%) | Points for reducing irrigation water | Pontos por reduzir a água de irrigação |
| 1470918cfa44-e20d-4104-8247-0ec007ed24a4 | Translation Approved (0%) | Percentage reduction from baseline | Porcentagem de redução em relação à baseline |
| 14714026805f-d79d-42ae-9d54-a68e828db118 | Translation Approved (0%) | Points (except Healthcare) | Pontos (exceto Setor de Saúde) |
| 1472ec13a79e-6898-4ec7-b030-e6da3ff4ca69 | Translation Approved (72%) | Points (Healthcare) | Pontos (Setor de Saúde) |
| 1473d8e046f2-2210-450b-a28e-64cd163c5e46 | Translation Approved (100%) | 50% | 50% |
| 1474d8d07fc1-ae71-45c1-a50b-692d3886507e | Translation Approved (100%) | 1 | 1 |
| 1475086cd976-44ed-421e-8ecd-339c709aa215 | Translation Approved (100%) | 1 | 1 |
| 1476df030278-3488-4161-8614-f4e3e96389a0 | Translation Approved (100%) | 100% | 100% |
| 1477d165cbec-c4b9-4b89-a00b-0a745c2387f9 | Translation Approved (100%) | 2 | 2 |
| 14786edf5d25-ba25-4843-863c-88f59a2eb424 | Translation Approved (0%) | — | — |
| 14799bc7de3a-e232-48eb-a14a-d0321465a027 | Translation Approved (100%) | WE Credit: Indoor Water Use Reduction | Crédito WE: Redução do Uso de Água Interno (WE Credit: Indoor Water Use Reduction) |
| 1480ee480897-541e-4a71-b708-990514992f12 | Translation Approved (100%) | BD&C | BD&C |
| 14811f86578f-4057-48fa-9fa5-ebd292f77c6e | Translation Approved (CM) | 1–7 points | 1 a 7 pontos |
| 148219b4ac69-511d-42cb-89a9-e8e4c049c74b | Translation Approved (100%) | This credit applies to | Este crédito se aplica a |
| 1483de17e36d-4e7b-4b45-ad7f-9429663e99fa | Translation Approved (94%) | New Construction (1–6 points) | Nova Construção (New Construction) (1 a 6 pontos) |
| 1484a052c07a-91bd-4cee-b8fd-852f6a5cd904 | Translation Approved (100%) | Core & Shell (1–6 points) | Núcleo e Casca (Core & Shell) (1 a 6 pontos) |
| 148517d294bc-ce00-4d1e-a2ff-25f6c459be6d | Translation Approved (93%) | Schools (1–7 points) | Escolas (Schools) (1 a 7 pontos) |
| 1486e4983248-ba20-48d9-9bc6-a04bdcfb195f | Translation Approved (93%) | Retail (1–7 points) | Varejo (Retail) (1 a 7 pontos) |
| 14876906d6be-839b-420b-ad14-4a2a8d1f6fbb | Translation Approved (94%) | Data Centers (1–6 points) | Centros de Dados (Data Centers) (1 a 6 pontos) |
| 1488db5c9008-1a66-42c9-821d-16baa66f218a | Translation Approved (95%) | Warehouses & Distribution Centers (1–6 points) | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) (1 a 6 pontos) |
| 14896307d1ca-c4ec-4375-a682-4843925122c6 | Translation Approved (93%) | Hospitality (1–6 points) | Hoteleiro (Hospitality) (1 a 6 pontos) |
| 1490d47b3066-56e9-4f91-8d77-5bdffb8e4c8e | Translation Approved (93%) | Healthcare (1–7 points) | Setor de Saúde (Healthcare) (1 a 7 pontos) |
| 1491a99c54bf-9436-4aaa-bb22-c711aa1327e0 | Translation Approved (100%) | Intent | Objetivo |
| 1492bf6df78c-8e6d-487f-b37e-7dbfd1af52b4 | Translation Approved (100%) | To reduce indoor water consumption. | Reduzir o consumo de água interno. |
| 1493854f10db-5209-4cbe-98ce-163760eda448 | Translation Approved (100%) | Requirements | Requisitos |
| 1494fa1c1fe7-962f-4115-91e8-68452ea4d1ef | Translation Approved (100%) | NC, CS, Schools, NC-Retail, Data Centers, Warehouses & Distribution Centers, NC-Hospitality, Healthcare | NC, CS, Escolas (Schools), NC-Varejo (NC-Retail), Centros de Dados (Data Centers), Armazéns e Centros de Distribuição (Warehouses & Distribution Centers), NC-Hoteleiro (NC-Hospitality), Setor de Saúde (Healthcare) |
| 1495e452f718-62f8-43ce-84d5-fa82f13fd231 | Translation Approved (0%) | Further reduce fixture and fitting water use from the calculated baseline in WE Prerequisite Indoor Water Use Reduction. | Reduza ainda mais o uso de água de dispositivos e conexões em relação à baseline calculada no Pré-requisito WE: Redução do Uso de Água Interno (WE Prerequisite: Indoor Water Use Reduction). |
| 1496e452f718-62f8-43ce-84d5-fa82f13fd231 | Translation Approved (0%) | Additional potable water savings can be earned above the prerequisite level using alternative water sources. | Economias adicionais de água potável, acima do nível do pré-requisito, podem ser obtidas com o uso de fontes de água alternativas. |
| 1497e452f718-62f8-43ce-84d5-fa82f13fd231 | Translation Approved (0%) | Include fixtures and fittings necessary to meet the needs of the occupants. | Inclua os dispositivos e conexões necessários para atender às necessidades dos ocupantes. |
| 1498e452f718-62f8-43ce-84d5-fa82f13fd231 | Translation Approved (0%) | Some of these fittings and fixtures may be outside the tenant space (for Commercial Interiors) or project boundary (for New Construction). | Alguns desses dispositivos e conexões podem ficar fora do espaço do locatário (para Espaços Comerciais [Commercial Interiors]) ou do limite do projeto (para Nova Construção [New Construction]). |
| 1499e452f718-62f8-43ce-84d5-fa82f13fd231 | Translation Approved (100%) | Points are awarded according to Table 1. | Os pontos são concedidos de acordo com a Tabela 1. |
| 15009c3c498b-74d3-43a8-995a-1a087439ce13 | Translation Approved (100%) | Table 1. | Tabela 1. |
| 15019c3c498b-74d3-43a8-995a-1a087439ce13 | Translation Approved (74%) | Points for reducing water use | Pontos por reduzir o uso de água |
| 1502f700fe77-63e1-464b-adea-6d3539f65c05 | Translation Approved (100%) | Percentage | Porcentagem |
| 1503378e4923-852c-48e9-98fd-09d29f66f76f | Translation Approved (0%) | reduction | de redução |
| 15049bff8ab4-ea5b-4a3d-91b5-a9a13f1af0ac | Translation Approved (0%) | Points (BD&C) | Pontos (BD&C) |
| 150582efe57a-275f-4ca8-a290-3c294c5db77c | Translation Approved (100%) | Points | Pontos |
| 15063fe6a074-00d8-4379-b83b-f3bccd1279ae | Translation Approved (0%) | (Schools, Retail, Hospitality, Healthcare) | (Escolas, Varejo, Hoteleiro, Setor de Saúde) |
| 15075c52db63-dfdb-46c4-8d2c-ad127fbd077f | Translation Approved (100%) | 25% | 25% |
| 15085148f678-4b71-4d3e-902d-f8cc8c3a0b22 | Translation Approved (100%) | 1 | 1 |
| 15095d43a2fa-b98c-4718-b7df-f6bb4a922ffe | Translation Approved (100%) | 1 | 1 |
| 15102ac0dbc8-3555-4a12-a9bd-e4d6fbb6f028 | Translation Approved (100%) | 30% | 30% |
| 1511ea74c493-bbe8-49a0-af61-481e4f4dd962 | Translation Approved (100%) | 2 | 2 |
| 151228b2157d-c15a-4730-b20d-54e690501b42 | Translation Approved (100%) | 2 | 2 |
| 15131d1e3801-5af3-43d4-af71-4db05bb8c7c2 | Translation Approved (100%) | 35% | 35% |
| 1514a5591f29-991a-42a5-94cd-ef24012444b5 | Translation Approved (100%) | 3 | 3 |
| 15151dd111a1-31d6-49f5-9f7e-c43481909a98 | Translation Approved (100%) | 3 | 3 |
| 1516f04f846b-b12e-4400-bfad-655014d0c68b | Translation Approved (100%) | 40% | 40% |
| 15170d685c72-cafa-4b70-8d49-395afe792e15 | Translation Approved (100%) | 4 | 4 |
| 1518efcb4434-2c4c-45a8-9eeb-ed90197ff959 | Translation Approved (100%) | 4 | 4 |
| 151906962c57-a112-4966-91ed-31cb3de5428a | Translation Approved (100%) | 45% | 45% |
| 1520b3c4aada-f903-4a21-979e-2fc5ff3ef8a5 | Translation Approved (100%) | 5 | 5 |
| 1521c52531c6-19c4-4cd6-8332-28a7e7a4e863 | Translation Approved (100%) | 5 | 5 |
| 1522c110369c-58c3-47b9-9421-8e8d5eb248ca | Translation Approved (100%) | 50% | 50% |
| 15230539ec2f-0f85-4024-ae18-944d3f2ad1be | Translation Approved (100%) | 6 | 6 |
| 1524cb3430ae-838f-4462-b87e-d00307b770fe | Translation Approved (0%) | -- | -- |
| 1525febf0925-23ad-4dbd-8233-26113adaddc6 | Translation Approved (0%) | Schools, Retail, Hospitality, and Healthcare only | Apenas Escolas (Schools), Varejo (Retail), Hoteleiro (Hospitality) e Setor de Saúde (Healthcare) |
| 1526c4326ef7-9bcc-476e-b83f-1a3427d098fa | Translation Approved (0%) | Meet the percentage reduction requirements above. | Satisfaça os requisitos de porcentagem de redução acima. |
| 1527ee0472d4-3932-496b-a5bb-6d1679ae56df | Translation Approved (100%) | AND | E |
| 1528ef8a2554-4f85-4f12-a335-512539f5564f | Translation Approved (83%) | Appliance and Process Water. | Água de utensílios e processos. |
| 1529ef8a2554-4f85-4f12-a335-512539f5564f | Translation Approved (0%) | Install equipment within the project scope that meets the minimum requirements in Table 2, 3, 4, or 5 . | Instale equipamentos dentro do escopo do projeto que atendam aos requisitos mínimos na Tabela 2, 3, 4 ou 5. |
| 1530ef8a2554-4f85-4f12-a335-512539f5564f | Translation Approved (0%) | One point is awarded for meeting all applicable requirements in any one table. | É concedido um ponto por satisfazer todos os requisitos aplicáveis em uma tabela. |
| 1531ef8a2554-4f85-4f12-a335-512539f5564f | Translation Approved (0%) | All applicable equipment listed in each table must meet the standard. | Todos os equipamentos aplicáveis listados em cada tabela devem atender à norma. |
| 153294499ed2-f68e-434e-a864-a797507d067e | Translation Approved (0%) | Schools, Retail, and Healthcare projects can earn a second point for meeting the requirements of two tables. | Projetos de Escolas (Schools), Varejo (Retail) e Setor de Saúde (Healthcare) podem obter um segundo ponto se atenderem aos requisitos de duas tabelas. |
| 1533f8a5d7f3-4b24-4bc7-a440-f8981587dc4a | Translation Approved (100%) | Table 2. | Tabela 2. |
| 1534f8a5d7f3-4b24-4bc7-a440-f8981587dc4a | Translation Approved (0%) | Compliant commercial washing machines | Máquinas de lavar roupas comerciais em conformidade |
| 1535c34f613a-efa2-41da-95e0-d73cf177350c | Translation Approved (0%) | To use Table 2, the project must process at least 120,000 lbs (57 606 kg) of laundry per year. | Para usar a Tabela 2, o projeto deve processar pelo menos 120.000 lb (57.606 kg) de roupas por ano. |
| 153634e67edb-4515-446a-81b5-9ec993c2fbb7 | Translation Approved (0%) | Washing machine | Máquina de lavar roupas |
| 1537eb8c8e76-e036-4d29-9a74-445c25bc2b31 | Translation Approved (100%) | Requirement (IP units) | Requisito (sistema imperial) |
| 1538fa280fe4-c5a7-455b-8a89-e41943efc03f | Translation Approved (100%) | Requirement (SI units) | Requisito (sistema métrico) |
| 15397c999aa1-52c4-4548-87b3-5c62e8326d78 | Translation Approved (0%) | On-premise, minimum capacity 2,400 lbs (1 088 kg) per 8-hour shift | No local, capacidade mínima de 2.400 lb (1.088 kg) por turno de 8 horas |
| 154094a45b28-84a2-43a3-8c0c-24b991734cdf | Translation Approved (0%) | Maximum 1.8 gals per pound * | Máximo de 1,8 galão por libra* |
| 15413f052e0e-ab86-43a5-994d-5e6049658d37 | Translation Approved (0%) | Maximum 7 liters per 0.45 kilograms * | Máximo de 7 litros por 0,45 quilograma* |
| 154238170b03-cc9c-4f30-b294-a44b5156849e | Translation Approved (0%) | * Based on equal quantities of heavy, medium, and light soil laundry. | * Com base em quantidades iguais de roupas sujas pesadas, médias e leves. |
| 154357532ad7-6f0b-4c43-8274-e17aa73a601f | Translation Approved (100%) | Table 3. | Tabela 3. |
| 154457532ad7-6f0b-4c43-8274-e17aa73a601f | Translation Approved (0%) | Standards for commercial kitchen equipment | Normas para equipamentos de cozinhas comerciais |
| 15450b8037a2-666e-46ac-a703-6921430cb593 | Translation Approved (72%) | To use Table 3, the project must serve at least 100 meals per day of operation. | Para usar a Tabela 3, o projeto deve servir pelo menos 100 refeições por dia de operação. |
| 15460b8037a2-666e-46ac-a703-6921430cb593 | Translation Approved (0%) | All process and appliance equipment listed in the category of kitchen equipment and present on the project must comply with the standards. | Todos os processos, equipamentos e utensílios listados na categoria de equipamentos de cozinha e presentes no projeto devem atender às normas. |
| 1547ef68c6b6-8af1-4e5f-8669-d990a924ad89 | Translation Approved (100%) | Kitchen equipment | Equipamentos de cozinha |
| 1548e1555e4f-0ff9-48e6-af9c-bb8b0513ff4f | Translation Approved (100%) | Requirement (IP units) | Requisito (sistema imperial) |
| 1549e9f0fab6-aaa5-4024-b909-f23434486257 | Translation Approved (100%) | Requirement (SI units) | Requisito (sistema métrico) |
| 155064e69a4e-b64e-415b-b582-b87cc52a13a1 | Translation Approved (100%) | Dishwasher | Lava-louças |
| 1551003d93c2-c399-449a-8368-1711d73be603 | Translation Approved (100%) | Undercounter | Sob a bancada |
| 15520147b89e-267a-45e5-86d7-8174e5e5fa49 | Translation Approved (0%) | ENERGY STAR | ENERGY STAR |
| 15537a61fc7c-e6fa-47ec-b6e9-d5d002942e68 | Translation Approved (100%) | ENERGY STAR or performance equivalent | ENERGY STAR ou de desempenho equivalente |
| 155496e2499f-ec67-4e20-9e8c-7c935a49334c | Translation Approved (100%) | Stationary, single tank, door | Fixa, tanque único, com porta |
| 1555f5a03dde-ef20-4219-a317-fb8bd80379da | Translation Approved (100%) | ENERGY STAR | ENERGY STAR |
| 1556b86de53e-dd50-49e3-b06a-93615f8e9ced | Translation Approved (100%) | ENERGY STAR or performance equivalent | ENERGY STAR ou de desempenho equivalente |
| 155759889c3e-2348-404b-80fa-490df4338865 | Translation Approved (100%) | Single tank, conveyor | Tanque único, transportador |
| 155867edac4d-ef60-4b8e-b750-cc127ea04c2e | Translation Approved (100%) | ENERGY STAR | ENERGY STAR |
| 155947cf4f38-7be3-4412-8be5-1f2fece37e3e | Translation Approved (100%) | ENERGY STAR or performance equivalent | ENERGY STAR ou de desempenho equivalente |
| 1560753716a1-f1a1-4dfa-90ce-0fbb5cbad452 | Translation Approved (100%) | Multiple tank, conveyor | Múltiplos tanques, transportador |
| 15616402585b-a052-4e44-a73c-a5772c5ba112 | Translation Approved (100%) | ENERGY STAR | ENERGY STAR |
| 156272f02037-33f4-4715-8197-5d11080a854c | Translation Approved (100%) | ENERGY STAR or performance equivalent | ENERGY STAR ou de desempenho equivalente |
| 15630792d71d-9db4-4086-9087-1f9f4bcc073a | Translation Approved (100%) | Flight machine | Máquina tipo "flight" |
| 15649f0e7169-2faf-46da-a100-0353731dc5ae | Translation Approved (100%) | ENERGY STAR | ENERGY STAR |
| 1565e105bc06-8415-48a0-90bd-60b6e38ccee7 | Translation Approved (100%) | ENERGY STAR or performance equivalent | ENERGY STAR ou de desempenho equivalente |
| 156632ebe6f8-f85b-436c-abfc-05c75daab395 | Translation Approved (100%) | Food steamer | Panela a vapor |
| 1567f9202129-ef77-44ea-83e7-641e1b4e2ea7 | Translation Approved (0%) | Batch (no drain connection) | Lote (sem conexão de drenagem) |
| 15683fda56a2-b2bd-4ae4-a5b9-fc42fc106396 | Translation Approved (0%) | ≤ 2 gal/hour/pan including condensate cooling water | ≤ 2 galões/hora/panela, incluindo água de resfriamento condensada |
| 15696faf8f2a-68e5-4211-9f69-922747ceec0f | Translation Approved (0%) | ≤ 7.5 liters/hour/pan including condensate cooling water | ≤ 7,5 litros/hora/panela, incluindo água de resfriamento condensada |
| 1570a61b0b25-f2d0-41dc-a3f2-39c8e8b2988f | Translation Approved (CM) | Cook-to-order (with drain connection) | Cook-to-order (com conexão de drenagem) |
| 157181cddca6-043c-48d0-aea0-0a11aca1282c | Translation Approved (100%) | ≤ 5 gal/hour/pan including condensate cooling water | ≤ 5 galões/hora/panela, incluindo água de resfriamento condensada |
| 1572ed4ace9f-d0ed-4156-987a-84554cf09c79 | Translation Approved (100%) | ≤ 19 liters/hour/pan including condensate cooling water | ≤ 19 litros/hora/panela, incluindo água de resfriamento condensada |
| 1573561b212e-d921-4209-b2f6-ec3de466af8c | Translation Approved (100%) | Combination oven, | Forno de combinação, |
| 15748b27db73-2257-48c3-815f-a835d22af0db | Translation Approved (100%) | Countertop or stand | Bancada ou suporte |
| 157517979275-f8ca-4d7d-9e64-f6f609822b04 | Translation Approved (0%) | ≤ 1.5 gal/hour/panincluding condensate cooling water | ≤ 1,5 galão/hora/panela, incluindo água de resfriamento condensada |
| 15769faa271f-435b-4bcd-89a7-afe7204d41e6 | Translation Approved (100%) | ≤ 5.7 liters/hour/pan including condensate cooling water | ≤ 5,7 litros/hora/panela, incluindo água de resfriamento condensada |
| 1577601e2c29-157d-4855-8a51-e649baddb520 | Translation Approved (100%) | Roll-in | Turbo |
| 157880416654-1ff3-42b6-8c7e-20bc8e5b0d11 | Translation Approved (100%) | ≤ 1.5 gal/hour/pan including condensate cooling water | ≤ 1,5 galão/hora/panela, incluindo água de resfriamento condensada |
| 1579938f9457-65bb-4a15-8d5f-1019347fb161 | Translation Approved (100%) | ≤ 5.7 liters/hour/pan including condensate cooling water | ≤ 5,7 litros/hora/panela, incluindo água de resfriamento condensada |
| 15807e4408b8-01c2-42c6-a607-68002091070e | Translation Approved (CM) | Food waste disposer | Triturador de resíduos alimentares |
| 1581eb91d637-c2ed-4e05-a311-085a3f115760 | Translation Approved (CM) | Disposer | Triturador |
| 1582a3024c05-9c82-4e1e-a5e1-4ed7ce19aaec | Translation Approved (0%) | 3-8 gpm, full load condition, 10 minute automatic shutoff; or 1 gpm, no-load condition | 3 a 8 gpm, condição de carga máxima, desligamento automático em 10 minutos; ou 1 gpm, condição sem carga |
| 1583d643f304-b318-4872-a510-80e584e28e63 | Translation Approved (82%) | 11–30 lpm, full load condition, 10-min automatic shutoff; or 3.8 lpm, no-load condition | 11 a 30 lpm, condição de carga máxima, desligamento automático em 10 minutos; ou 3,8 lpm, condição sem carga |
| 1584bfc58d6d-c0fe-44a1-acfb-8b5b30ddb4c4 | Translation Approved (0%) | Scrap collector | Coletor de sobras |
| 158537e7a410-4edc-4901-ba88-c547572e01d7 | Translation Approved (0%) | Maximum 2 gpm makeup water | Máximo de 2 gpm de água de reposição |
| 158669aa3a13-3971-44f4-bf6b-19a5587a1b93 | Translation Approved (0%) | Maximum 7.6 lpm makeup water | Máximo de 7,6 lpm de água de reposição |
| 1587bb5b295e-5637-4f4c-a062-d5e51b665f46 | Translation Approved (0%) | Pulper | Despolpador |
| 15888d2d593d-e55d-44df-bca7-059a0b0b21e6 | Translation Approved (100%) | Maximum 2 gpm makeup water | Máximo de 2 gpm de água de reposição |
| 15895174df69-6c47-47d3-99f5-62c3173b8ac5 | Translation Approved (100%) | Maximum 7.6 lpm makeup water | Máximo de 7,6 lpm de água de reposição |
| 1590bfda5e32-df8d-4251-96df-bdfabd697d89 | Translation Approved (0%) | Strainer basket | Filtro de cesto |
| 1591021c9f74-b492-43de-828b-6bcf920f72ee | Translation Approved (0%) | No additional water usage | Sem uso adicional de água |
| 15923060e268-8ceb-4a93-b678-ab1154c484d6 | Translation Approved (100%) | No additional water usage | Sem uso adicional de água |
| 159375f2c4ab-4887-4a3c-a7b7-678457c35c47 | Translation Approved (100%) | gpm = gallons per minute | gpm = galões por minuto |
| 1594875de9df-edbd-4269-b6e6-660c5042b97c | Translation Approved (0%) | gph = gallons per hour | gph = galões por hora |
| 1595934fdb95-ceb1-4912-b2cd-6fe18e400fe0 | Translation Approved (100%) | lpm = liters per minute | lpm = litros por minuto |
| 159615ab7dd8-62f6-4f2a-98fc-2fb1397e22ec | Translation Approved (0%) | lph = liters per hour | lph = litros por hora |
| 15970d7a0253-5189-4ba5-bfb0-a1d6aaff943a | Translation Approved (100%) | Table 4. | Tabela 4. |
| 15980d7a0253-5189-4ba5-bfb0-a1d6aaff943a | Translation Approved (0%) | Compliant laboratory and medical equipment | Equipamentos médicos e laboratoriais em conformidade |
| 15999ae8c123-f922-4530-9f23-c523bf8f042b | Translation Approved (0%) | To use Table 4, the project must be a medical or laboratory facility. | Para usar a Tabela 4, o projeto deve ser uma instalação médica ou laboratorial. |
| 1600a771d3d7-ef61-4787-b9f3-630be0d17c3b | Translation Approved (0%) | Lab equipment | Equipamentos laboratoriais |
| 1601bae99929-6f0c-4b43-849b-fae06b5fae42 | Translation Approved (100%) | Requirement (IP units) | Requisito (sistema imperial) |
| 16020497788a-f36b-47e4-9a8c-573f39f8a540 | Translation Approved (100%) | Requirement (SI units) | Requisito (sistema métrico) |
| 1603d6461771-f5cb-4acb-8677-00fb28b725a7 | Translation Approved (0%) | Reverse-osmosis water purifier | Purificador de água por osmose reversa |
| 1604e15b2fd1-796f-47dc-999d-35bb7c94bd6d | Translation Approved (0%) | 75% recovery | 75% de recuperação |
| 1605ea4ea4ad-9333-42c5-a7ac-7361bfcb5e79 | Translation Approved (100%) | 75% recovery | 75% de recuperação |
| 16060f97bda8-5b5d-467e-ae13-a618e607d934 | Translation Approved (0%) | Steam sterilizer | Esterilizador a vapor |
| 16077b894869-2158-45a3-8c06-b2c1faba790a | Translation Approved (CM) | For 60-inch sterilizer, 6.3 gal/U.S. tray | Para esterilizador de 60 polegadas, bandeja 6,3 galão/EUA |
| 1608d24e1cef-e730-40e3-997d-20d643ede83b | Translation Approved (CM) | For 48-inch sterilizer, 7.5 gal/U.S. tray | Para esterilizador de 48 polegadas, bandeja 7,5 galão/EUA |
| 16092ed2f721-9110-4f6b-97dc-fc56240bc38b | Translation Approved (CM) | For 1520-mm sterilizer, 28.5 liters/DIN tray | Para esterilizador de 1520 mm, bandeja 28,5 litros/DIN |
| 16108bb3564f-8062-4bc6-8bb5-fc96b7a687b2 | Translation Approved (CM) | For 1220-mm sterilizer, 28.35 liters/DIN tray | Para esterilizador de 1220 mm, bandeja 28,35 litros/DIN |
| 1611d04a830c-fd22-4b9e-8cf3-8f446981a731 | Translation Approved (0%) | Sterile process washer | Lavadora de processo estéril |
| 16128edcaeb8-3028-4bd5-ba33-e2293ad2e19e | Translation Approved (0%) | 0.35 gal/U.S. tray | Bandeja de 0,35 galão/EUA |
| 1613f9d22536-5fbb-46d4-8e9b-3f9b0f083c40 | Translation Approved (0%) | 1.3 liters/DIN tray | Bandeja de 1,3 litro/DIN |
| 16145bfa75a9-6ef2-472f-9f4a-a2a347c3c88b | Translation Approved (0%) | X-ray processor, 150 mm or more in any dimension | Processador de raio-X, 150 mm ou mais em qualquer dimensão |
| 16156fa272aa-50b9-4140-bfb9-73218c1cc356 | Translation Approved (0%) | Film processor water recycling unit | Unidade de reciclagem de água de processador de filme |
| 16160525ce46-a4a8-42ae-bc49-0e494cff343f | Translation Approved (0%) | Digital imager, all sizes | Gerador de imagens digitais, todos os tamanhos |
| 1617f1b78d90-722b-45dd-8ba4-768205f10524 | Translation Approved (71%) | No water use | Sem uso de água |
| 1618d1c3ab0d-b5b0-4600-99e8-a917c9ce7c2d | Translation Approved (100%) | Table 5. | Tabela 5. |
| 1619d1c3ab0d-b5b0-4600-99e8-a917c9ce7c2d | Translation Approved (0%) | Compliant municipal steam systems | Sistemas de vapor municipais em conformidade |
| 1620656e9a9b-970c-493f-ba53-e71738113d60 | Translation Approved (0%) | To use Table 5, the project must be connected to a municipal or district steam system that does not allow the return of steam condensate. | Para usar a Tabela 5, o projeto deve estar conectado a um sistema de vapor municipal ou distrital que não permita o retorno de vapor condensado. |
| 16212eaaca0b-375e-4260-aa03-da7f074126ba | Translation Approved (0%) | Steam system | Sistema de vapor |
| 16228e6a0d7c-ea71-4aeb-95b2-4b5c5ee0175c | Translation Approved (0%) | Standard | Padrão |
| 162368ab5330-c323-4190-a961-2d201d1e0bc1 | Translation Approved (0%) | Steam condensate disposal | Descarte de vapor condensado |
| 1624fd7cde64-69da-4aee-b2fd-cf1eeec949a6 | Translation Approved (0%) | Cool municipally supplied steam condensate (no return) to drainage system with heat recovery system or reclaimed water | Resfriar vapor condensado fornecido pelo município (sem retorno) para o sistema de drenagem com sistema de recuperação de calor ou água recuperada |
| 1625b3cb29ad-3460-4be4-96f7-0ade8101525b | Translation Approved (100%) | OR | OU |
| 16263a77795c-ae1c-4d13-88bc-83e176a7d7aa | Translation Approved (0%) | Reclaim and use steam condensate | Recuperação e uso de vapor condensado |
| 1627dc917b91-640a-40e9-938a-83aff445431e | Translation Approved (0%) | 100% recovery and reuse | 100% de recuperação e reuso |
| 1628ca4be06e-782e-4b4b-b598-0f039e1c9607 | Translation Approved (87%) | WE Credit: Cooling Tower Water Use | Crédito WE: Uso de Água de Torre de Resfriamento (WE Credit: Cooling Tower Water Use) |
| 16291d668df7-ea49-4f38-a139-8e4591cc3506 | Translation Approved (100%) | BD&C | BD&C |
| 1630b4a76996-df18-4dba-8343-b8f1aa75264c | Translation Approved (100%) | 1–2 points | 1 a 2 pontos |
| 1631ea4c525e-17d8-44e4-8a5f-12d28b2a825c | Translation Approved (100%) | This credit applies to | Este crédito se aplica a |
| 163247df21b2-6763-4a74-8495-32b5ea0c3d5c | Translation Approved (100%) | New Construction (1–2 points) | Nova Construção (New Construction) (1 a 2 pontos) |
| 1633d936ffb3-1077-443b-8044-72889fa7e69a | Translation Approved (100%) | Core & Shell (1–2 points) | Núcleo e Casca (Core & Shell) (1 a 2 pontos) |
| 16345c22e1b4-7505-417b-8261-43d8fa91f140 | Translation Approved (100%) | Schools (1–2 points) | Escolas (Schools) (1 a 2 pontos) |
| 1635b942789c-1a0f-4b77-babf-c7e5cdeb361e | Translation Approved (100%) | Retail (1–2 points) | Varejo (Retail) (1 a 2 pontos) |
| 1636bcb6c720-8c3f-4555-bcae-55e50857334a | Translation Approved (100%) | Data Centers (1–2 points) | Centros de Dados (Data Centers) (1 a 2 pontos) |
| 16376be2d161-c900-495d-8363-07cf966dd54a | Translation Approved (100%) | Warehouses & Distribution Centers (1–2 points) | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) (1 a 2 pontos) |
| 16381c798ecf-cf09-4502-9172-ec6ae6e108f5 | Translation Approved (100%) | Hospitality (1–2 points) | Hoteleiro (Hospitality) (1 a 2 pontos) |
| 1639944f87c1-d975-4f4a-95c1-4c74b3efdaf6 | Translation Approved (100%) | Healthcare (1–2 points) | Setor de Saúde (Healthcare) (1 a 2 pontos) |
| 1640b3ab0696-6b82-4245-a0ca-f403f7eb5856 | Translation Approved (100%) | Intent | Objetivo |
| 1641c6469335-b45d-4ace-a77a-52c5aa2dd3a4 | Translation Approved (0%) | To conserve water used for cooling tower makeup while controlling microbes, corrosion, and scale in the condenser water system. | Conservar a água usada para reposição da torre de resfriamento enquanto se controla micróbios, corrosão e crostas no sistema de água do condensador. |
| 1642bf8d9f7c-b923-4c3c-a1f3-66dac56f5862 | Translation Approved (100%) | Requirements | Requisitos |
| 1643b5f7cfd4-886f-4de4-91fe-db0ad4fe9230 | Translation Approved (99%) | NC, CS, Schools, Retail, Data Centers, Warehouses & Distribution Centers, Hospitality, Healthcare, | NC, CS, Escolas (Schools), Varejo (Retail), Centros de Dados (Data Centers), Armazéns e Centros de Distribuição (Warehouses & Distribution Centers), Hoteleiro (Hospitality), Setor de Saúde (Healthcare) |
| 16449857105a-7c76-4eee-ad80-7a6062ce8ed3 | Translation Approved (0%) | For cooling towers and evaporative condensers, conduct a one-time potable water analysis, measuring at least the five control parameters listed in Table 1. | Para torres de resfriamento e condensadores evaporativos, realize uma análise da água potável, medindo no mínimo os cinco parâmetros de controle listados na Tabela 1. |
| 16459aec6294-596f-4257-b9e1-579472ef82ea | Translation Approved (100%) | Table 1. | Tabela 1. |
| 16469aec6294-596f-4257-b9e1-579472ef82ea | Translation Approved (0%) | Maximum concentrations for parameters in condenser water | Concentrações máximas para parâmetros na água do condensador |
| 16473be9a33f-24dc-4371-8c1f-ee2da6e42695 | Translation Approved (0%) | Parameter | Parâmetro |
| 164851cd98fc-ba80-4320-bb8c-6e634500ba33 | Translation Approved (0%) | Maximum level | Nível máximo |
| 164931aeadac-7df1-4717-891f-cd27f6196f6e | Translation Approved (0%) | Ca (as CaCO<2051>3</2051>) | Ca (como CaCO<2051>3</2051>) |
| 1650021c8227-48e2-4006-9ed7-fe6fe9eed494 | Translation Approved (0%) | 1000 ppm | 1000 ppm |
| 1651075378c5-cb8b-43c4-a3cc-6b3054edd63f | Translation Approved (0%) | Total alkalinity | Alcalinidade total |
| 1652450b1512-0379-4681-ae16-922595a300c9 | Translation Approved (100%) | 1000 ppm | 1000 ppm |
| 16531519e376-0943-40f2-9f36-cc498f7c370d | Translation Approved (0%) | SiO<2064>2</2064> | SiO<2064>2</2064> |
| 16548fff900f-36ee-47b6-b857-4df64355126f | Translation Approved (100%) | 100 ppm | 100 ppm |
| 1655c3c88669-8e64-41ae-8385-0dbe6147cec2 | Translation Approved (0%) | Cl<2071>-</2071> | Cl<2071>-</2071> |
| 165642108ffd-1abb-416e-b6bc-56cc9bce668d | Translation Approved (100%) | 250 ppm | 250 ppm |
| 1657b9e519c9-7bef-47a9-ba02-4f018c23ca0d | Translation Approved (90%) | Conductivity | Condutividade |
| 16580d9a3b69-5471-4b0a-950c-e0ce8c16b4b2 | Translation Approved (0%) | 2000 µS/cm | 2000 µS/cm |
| 16598696e180-318d-4ec2-9fb5-5c22e23e550c | Translation Approved (0%) | ppm = parts per million | ppm = partes por milhão |
| 1660f405a8a1-2cfb-4dd0-a247-a314439b13f2 | Translation Approved (0%) | µS/cm = micro siemens per centimeter | µS/cm = micro siemens por centímetro |
| 1661903a86e7-fe45-4593-b0b7-d9a00cb38223 | Translation Approved (0%) | Calculate the number of cooling tower cycles by dividing the maximum allowed concentration level of each parameter by the actual concentration level of each parameter found in the potable makeup water. | Calcule o número de ciclos da torre de resfriamento dividindo o nível máximo de concentração permitido de cada parâmetro pelo nível de concentração real de cada parâmetro encontrado na água de reposição potável. |
| 1662903a86e7-fe45-4593-b0b7-d9a00cb38223 | Translation Approved (0%) | Limit cooling tower cycles to avoid exceeding maximum values for any of these parameters. | Limite os ciclos da torre de resfriamento para não exceder os valores máximos em nenhum desses parâmetros. |
| 16635a78c296-000e-43c8-b36d-296f999ce2cc | Translation Approved (100%) | Table 2. | Tabela 2. |
| 16645a78c296-000e-43c8-b36d-296f999ce2cc | Translation Approved (0%) | Points for cooling tower cycles | Pontos para ciclos da torre de resfriamento |
| 16653daf099a-f3d9-44b3-8257-36f003cd0199 | Translation Approved (76%) | Cooling tower cycles | Ciclos da torre de resfriamento |
| 16660cceeb9b-f176-4a7c-b6ac-0e0f22d38f73 | Translation Approved (100%) | Points | Pontos |
| 1667b41ed802-4f4e-4bb8-880b-f4254fb02f84 | Translation Approved (0%) | Maximum number of cycles achieved without exceeding any filtration levels or affecting operation of condenser water system (up to maximum of 10 cycles) | Número máximo de ciclos alcançado sem exceder nenhum nível de filtração nem afetar a operação do sistema de água do condensador (até no máximo 10 ciclos) |
| 16680c03be6b-845e-41bf-81ac-d185e6b26dfe | Translation Approved (100%) | 1 | 1 |
| 1669a52eb63c-f6b4-4072-8005-540399607a31 | Translation Approved (0%) | Achieve a minimum 10 cycles by increasing the level of treatment in condenser or make-up water | Alcançar no mínimo 10 ciclos aumentando o nível de tratamento na água do condensador ou de reposição |
| 1670ff5c0310-ce2a-4a49-ad98-25396af36b06 | Translation Approved (100%) | OR | OU |
| 1671df239d1a-ffe7-4d7c-8c39-5c6446886d43 | Translation Approved (0%) | Meet the minimum number of cycles to earn 1 point and use a minimum 20% recycled nonpotable water | Cumprir com o número mínimo de ciclos para obter 1 ponto e usar no mínimo 20% de água reciclada não potável |
| 1672ee6621b5-4a2d-47d6-88a9-9521da598f46 | Translation Approved (100%) | 2 | 2 |
| 167310cd6ace-4142-4585-8f75-f950c9f10d4a | Translation Approved (82%) | WE Credit: Water Metering | Crédito WE: Medição de Água (WE Credit: Water Metering) |
| 1674310c5e97-19b2-4e15-ad01-d8c6d2493d11 | Translation Approved (100%) | BD&C | BD&C |
| 1675e96e5b17-fbbc-47ff-b625-5d03b33ee4bf | Translation Approved (100%) | 1 point | 1 ponto |
| 167695534188-e9ef-48ed-83bb-2306c082a399 | Translation Approved (100%) | This credit applies to | Este crédito se aplica a |
| 16772e2557b5-54cc-45ed-b40d-85159a9b59d1 | Translation Approved (100%) | New Construction (1 point) | Nova Construção (New Construction) (1 ponto) |
| 1678dcaafff3-19c5-410b-8153-6d266a436408 | Translation Approved (100%) | Core & Shell (1 point) | Núcleo e Casca (Core & Shell) (1 ponto) |
| 167929be7ca7-adad-4d14-b4db-d2763401a9a8 | Translation Approved (100%) | Schools (1 point) | Escolas (Schools) (1 ponto) |
| 1680efce2c56-2512-47f2-90f6-e2e221036089 | Translation Approved (100%) | Retail (1 point) | Varejo (Retail) (1 ponto) |
| 16811d33ad46-c740-47b3-9303-59bda6b35a87 | Translation Approved (100%) | Data Centers (1 point) | Centros de Dados (Data Centers) (1 ponto) |
| 1682e4d80917-3a62-461d-b589-9011e6329956 | Translation Approved (100%) | Warehouses & Distribution Centers (1 point) | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) (1 ponto) |
| 1683d14e16b3-2fec-4e03-bfe5-c438a2ba81ac | Translation Approved (100%) | Hospitality (1 point) | Hoteleiro (Hospitality) (1 ponto) |
| 16847f8b2e39-646a-41db-b90b-1abfb13412da | Translation Approved (100%) | Healthcare (1 point) | Setor de Saúde (Healthcare) (1 ponto) |
| 16855fd4e796-914a-4f58-91fe-ee00194f42fc | Translation Approved (100%) | Intent | Objetivo |
| 16867548a070-911e-44d7-90bc-2ccfa5011c45 | Translation Approved (100%) | To support water management and identify opportunities for additional water savings by tracking water consumption. | Apoiar a gestão da água e identificar oportunidades de economias adicionais de água rastreando o consumo de água. |
| 168701dfe4ed-0d95-4427-99f1-1294ff75b617 | Translation Approved (100%) | Requirements | Requisitos |
| 168863930ee3-4858-4d9b-88d3-acfd91a7a59e | Translation Approved (100%) | NC, CS, Schools, Retail, Data Centers, Warehouses & Distribution Centers, Hospitality, Healthcare | NC, CS, Escolas (Schools), Varejo (Retail), Centros de Dados (Data Centers), Armazéns e Centros de Distribuição (Warehouses & Distribution Centers), Hoteleiro (Hospitality), Setor de Saúde (Healthcare) |
| 16895b1bd481-2dba-4f54-acd7-8420b9abce50 | Translation Approved (0%) | Install permanent water meters for two or more of the following water subsystems, as applicable to the project: | Instale hidrômetros permanentes para dois ou mais dos subsistemas de água a seguir, conforme aplicável ao projeto: |
| 169067810ece-8853-435b-9e55-6e5604a5d7c4 | Translation Approved (96%) | Irrigation. | Irrigação. |
| 169167810ece-8853-435b-9e55-6e5604a5d7c4 | Translation Approved (0%) | Meter water systems serving at least 80% of the irrigated landscaped area. | Meça sistemas de água que atendam a pelo menos 80% da área de paisagismo irrigada. |
| 169267810ece-8853-435b-9e55-6e5604a5d7c4 | Translation Approved (0%) | Calculate the percentage of irrigated landscape area served as the total metered irrigated landscape area divided by the total irrigated landscape area. | Calcule a porcentagem da área de paisagismo irrigada atendida como a área total de paisagismo irrigada medida dividida pela área total de paisagismo irrigada. |
| 169367810ece-8853-435b-9e55-6e5604a5d7c4 | Translation Approved (0%) | Landscape areas fully covered with xeriscaping or native vegetation that requires no routine irrigation may be excluded from the calculation. | Áreas de paisagismo totalmente cobertas por xeriscape ou vegetação nativa que não precisam de irrigação rotineira podem ser excluídas do cálculo. |
| 16948ce527c2-d2a0-477b-b438-f758aaef2006 | Translation Approved (99%) | Indoor plumbing fixtures and fittings. | Dispositivos e conexões hidráulicos internos. |
| 16958ce527c2-d2a0-477b-b438-f758aaef2006 | Translation Approved (0%) | Meter water systems serving at least 80% of the indoor fixtures and fitting described in WE Prerequisite Indoor Water Use Reduction, either directly or by deducting all other measured water use from the measured total water consumption of the building and grounds. | Meça sistemas de água que atendam a pelo menos 80% dos dispositivos e conexões internos descritos no Pré-requisito WE: Redução do Uso de Água Interno (WE Prerequisite Indoor Water Use Reduction), diretamente ou subtraindo todos os outros usos de água medidos do consumo total de água do edifício e do terreno. |
| 16960ea8df1e-efd5-4e84-b23e-291df71d6ece | Translation Approved (99%) | Domestic hot water. | Água quente para uso doméstico. |
| 16970ea8df1e-efd5-4e84-b23e-291df71d6ece | Translation Approved (100%) | Meter water use of at least 80% of the installed domestic hot water heating capacity (including both tanks and on-demand heaters). | Meça o uso de água de pelo menos 80% da capacidade de aquecimento de água para uso doméstico instalada (incluindo tanques e aquecedores por demanda). |
| 16988b55b5f7-092f-479d-aab0-66910464defd | Translation Approved (0%) | Boiler with aggregate projected annual water use of 100,000 gallons (378 500 liters) or more, or boiler of more than 500,000 BtuH (150 kW). | Caldeira com uso de água anual previsto agregado de 100.000 galões (378.500 litros) ou mais, ou caldeira de mais de 500.000 BtuH (150 kW). |
| 16998b55b5f7-092f-479d-aab0-66910464defd | Translation Approved (0%) | A single makeup meter may record flows for multiple boilers. | Um único medidor de reposição pode registrar vazões de diversas caldeiras. |
| 1700d6036872-f0b7-4c4b-b737-d482c51dbfd2 | Translation Approved (94%) | Reclaimed water. | Água recuperada. |
| 1701d6036872-f0b7-4c4b-b737-d482c51dbfd2 | Translation Approved (0%) | Meter reclaimed water, regardless of rate. | Meça a água recuperada, independentemente da taxa. |
| 1702d6036872-f0b7-4c4b-b737-d482c51dbfd2 | Translation Approved (0%) | A reclaimed water system with a makeup water connection must also be metered so that the true reclaimed water component can be determined. | Um sistema de água recuperada com conexão de água de reposição também deve ser medido, para que o verdadeiro componente de água recuperada possa ser determinado. |
| 1703c3fb0c01-4f63-4c04-b0f5-1e1b3eea8003 | Translation Approved (99%) | Other process water. | Água de outros processos. |
| 1704c3fb0c01-4f63-4c04-b0f5-1e1b3eea8003 | Translation Approved (0%) | Meter at least 80% of expected daily water consumption for process end uses, such as humidification systems, dishwashers, clothes washers, pools, and other subsystems using process water. | Meça pelo menos 80% do consumo de água diário esperado para usos finais de processos, como sistemas de umidificação, lava-louças, máquinas de lavar roupa, piscinas e outros subsistemas que usam água de processo. |
| 1705841c7faf-a351-4e95-8eee-e8cda181f66b | Translation Approved (0%) | Healthcare Projects only | Apenas projetos do Setor de Saúde (Healthcare) |
| 170608a62c55-b5a5-46d5-9c51-0aa66dbfebdc | Translation Approved (0%) | In addition to the requirements above, install water meters in any five of the following: | Além dos requisitos acima, instalar hidrômetros em quaisquer dos cinco itens a seguir: |
| 1707e92a68f2-a5a7-4af1-8f90-896e9e3aebe6 | Translation Approved (0%) | purified water systems (reverse-osmosis, de-ionized); | sistemas de água purificada (osmose reversa, deionização); |
| 17087c8fa9dc-a24a-41a5-abb9-59796d00a936 | Translation Approved (0%) | filter backwash water; | água retrolavada de filtros; |
| 170967c2cc88-4909-43fd-98db-83c9d4df047f | Translation Approved (0%) | water use in dietary department; | uso de água no departamento de nutrição; |
| 1710a5cfcb46-f2c1-4c57-87cb-9fc2e4de134f | Translation Approved (0%) | water use in laundry; | uso de água na lavanderia; |
| 1711bd2eeb29-3c39-4c65-a557-a594847d72f8 | Translation Approved (83%) | water use in laboratory; | uso de água no laboratório; |
| 17125cb32152-31ed-475c-8338-1026c507a704 | Translation Approved (0%) | water use in central sterile and processing department; | uso de água no departamento central de esterilização e processamento; |
| 1713e6f8daaf-66fa-4c0e-8a30-575f5a1842ae | Translation Approved (0%) | water use in physiotherapy and hydrotherapy and treatment areas; | uso de água em áreas de fisioterapia, hidroterapia e tratamento; |
| 17147c99a640-c0b1-4af5-b3c4-ae4b8c642b1f | Translation Approved (73%) | water use in surgical suite; | uso de água em centros cirúrgicos; |
| 1715312d9bd8-c361-40c8-9100-598148830691 | Translation Approved (0%) | closed-looped hydronic system makeup water; and | água de reposição de sistema hidrônico em ciclo fechado; e |
| 17164e8e8223-4939-4b1b-87c1-abb6deaec56f | Translation Approved (0%) | cold-water makeup for domestic hot water systems. | água de reposição fria para sistemas de água quente para uso doméstico. |
| 1717f53f6ed7-4943-4796-bba8-f03727c14e0e | Translation Approved (100%) | Energy and Atmosphere | Energia e Atmosfera (Energy and Atmosphere) |
| 171874d616c0-f577-4156-8737-1f5e2a8aa448 | Translation Approved (70%) | EA Prerequisite: Fundamental Commissioning and Verification | Pré-requisito EA: Comissionamento Fundamental e Verificação (EA Prerequisite: Fundamental Commissioning and Verification) |
| 1719de1bc333-3bc9-484b-8852-d51bc67e17dc | Translation Approved (100%) | Required | Obrigatório |
| 1720d1e45848-af91-4f33-8cea-ebaec16d8d19 | Translation Approved (100%) | BD&C | BD&C |
| 17218cd925dd-eeef-421e-a076-59bbe780b5c6 | Translation Approved (100%) | This prerequisite applies to | Este pré-requisito se aplica a: |
| 17229da565c7-0bdb-4a88-bf1b-379481169dcb | Translation Approved (100%) | New Construction | Nova Construção (New Construction) |
| 17230948fc4d-5e71-4d78-b96d-60b1a745001f | Translation Approved (100%) | Core & Shell | Núcleo e Casca (Core & Shell) |
| 17242a1f9d26-2b71-4c12-9f49-a6afb3430e16 | Translation Approved (100%) | Schools | Escolas (Schools) |
| 1725219aee24-e33c-42b1-8bd9-b6a8819d0c1d | Translation Approved (100%) | Retail | Varejo (Retail) |
| 1726b1c50902-8fee-4918-b7c5-9a9c2d4ed791 | Translation Approved (100%) | Data Centers | Centros de Dados (Data Centers) |
| 1727405a2ed8-572d-4d93-9db4-72f6ec83528c | Translation Approved (100%) | Warehouses & Distribution Centers | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) |
| 1728c3c729e2-63e5-4779-b9a5-5d47afa3e72f | Translation Approved (100%) | Hospitality | Hoteleiro (Hospitality) |
| 1729e81bea17-2f0f-40b3-b320-f19b934cad5d | Translation Approved (100%) | Healthcare | Setor de Saúde (Healthcare) |
| 173050e88908-9620-41db-b82f-2eefea435553 | Translation Approved (100%) | Intent | Objetivo |
| 1731d1366019-941b-4a64-9e03-a66035f9d5c6 | Translation Approved (0%) | To support the design, construction, and eventual operation of a project that meets the owner’s project requirements for energy, water, indoor environmental quality, and durability. | Apoiar o projeto, construção e operação de um projeto que atenda aos requisitos de projeto do proprietário de energia, água, qualidade do ambiente interno e durabilidade. |
| 1732c4f1e255-8469-4f42-b672-058cfd137759 | Translation Approved (100%) | Requirements | Requisitos |
| 17335db59633-1cc7-4720-b02c-386a10bfcd18 | Translation Approved (100%) | NC, CS, Schools, Retail, Data Centers, Warehouses & Distribution Centers, Hospitality, Healthcare | NC, CS, Escolas (Schools), Varejo (Retail), Centros de Dados (Data Centers), Armazéns e Centros de Distribuição (Warehouses & Distribution Centers), Hoteleiro (Hospitality), Setor de Saúde (Healthcare) |
| 17345973ab04-9aea-4922-90c1-6dbc95da8127 | Translation Approved (0%) | Commissioning Process Scope | Escopo do processo de comissionamento |
| 1735f5731a95-f3e0-4e49-a688-a1d6d92a6fc2 | Translation Approved (0%) | Complete the following commissioning (Cx) process activities for mechanical, electrical, plumbing, and renewable energy systems and assemblies, in accordance with ASHRAE Guideline 0-2005 and ASHRAE Guideline 1.1–2007 for HVAC&R Systems, as they relate to energy, water, indoor environmental quality, and durability. | Execute as seguintes atividades do processo de comissionamento (Cx) para sistemas e conjuntos mecânicos, elétricos, hidráulicos e de energia renovável, de acordo com as Diretrizes ASHRAE 0-2005 e ASHRAE 1.1–2007 para Sistemas HVAC&R, pois elas se referem à energia, água, qualidade do ambiente interno e durabilidade. |
| 173634df56bd-4d62-4af2-9c0b-c6a48867885f | Translation Approved (0%) | Requirements for exterior enclosures are limited to inclusion in the owner’s project requirements (OPR) and basis of design (BOD), as well as the review of the OPR, BOD and project design. | Requisitos para invólucros externos se limitam quanto à inclusão nos requisitos do projeto do proprietário (owner’s project requirements - OPR) e na base do projeto (basis of design - BOD), bem como na revisão do OPR, da BOD e do desenho do projeto. |
| 173734df56bd-4d62-4af2-9c0b-c6a48867885f | Translation Approved (0%) | NIBS Guideline 3-2012 for Exterior Enclosures provides additional guidance. | A Diretriz NIBS 3-2012 para Invólucros Externos fornece orientações adicionais. |
| 1738e2acb47f-d3d1-4d71-9d76-eab173be8117 | Translation Approved (0%) | Develop the OPR. | Desenvolva o OPR. |
| 17390917faf7-3dd8-4a84-941e-e4cf802e3ce5 | Translation Approved (0%) | Develop a BOD. | Desenvolva uma BOD. |
| 174091bdb35f-bd5b-4bac-822a-135696223d4e | Translation Approved (0%) | The commissioning authority (CxA) must do the following: | A autoridade de comissionamento (commissioning authority - CxA) deve fazer o seguinte: |
| 1741820b2e06-2b3a-42a9-8440-06dda5e89d8b | Translation Approved (0%) | Review the OPR, BOD, and project design. | Revise o OPR, a BOD e o desenho do projeto. |
| 17426643ae55-3867-4c19-acc7-33e144b6f3d1 | Translation Approved (89%) | Develop and implement a Cx plan. | Desenvolva e implemente um plano de comissionamento (Cx). |
| 1743ca5e3898-654b-4f77-925e-1cf019eb3094 | Translation Approved (0%) | Confirm incorporation of Cx requirements into the construction documents. | Confirme a incorporação dos requisitos de comissionamento (Cx) nos documentos da construção. |
| 1744d5b3916c-e8dd-4d35-9f94-cf492f42b982 | Translation Approved (0%) | Develop construction checklists. | Desenvolva listas de verificação da construção. |
| 1745ac7bd76d-c7b8-4c4a-8783-357b2511caa3 | Translation Approved (0%) | Develop a system test procedure. | Desenvolva um procedimento de teste de sistemas. |
| 1746e3da3f0b-4e66-4f2f-b8e8-ab2fa1b769d4 | Translation Approved (0%) | Verify system test execution. | Verifique a execução de teste de sistemas. |
| 1747d07cf6b5-82d0-410f-8a9b-8663f17caac1 | Translation Approved (0%) | Maintain an issues and benefits log throughout the Cx process. | Mantenha um registro de problemas e benefícios ao longo do processo de comissionamento (Cx). |
| 1748720a11ba-cc3f-400b-95d4-c9676120c947 | Translation Approved (0%) | Prepare a final Cx process report. | Prepare um relatório final do processo de comissionamento (Cx). |
| 1749e5590666-121b-4859-a357-1d558a9a35e0 | Translation Approved (0%) | Document all findings and recommendations and report directly to the owner throughout the process. | Documente todas as conclusões e recomendações e informe diretamente ao proprietário ao longo de todo o processo. |
| 175047c43cd2-2486-4d6a-9911-f9e1078569bd | Translation Approved (0%) | The review of the exterior enclosure design may be performed by a qualified member of the design or construction team (or an employee of that firm) who is not directly responsible for design of the building envelope. | A revisão do projeto do invólucro externo pode ser feita por um membro qualificado da equipe de projeto ou construção (ou um funcionário dessa empresa) que não seja diretamente responsável pelo projeto do envelope do edifício. |
| 1751523af63e-0581-4235-828a-4bb731356840 | Translation Approved (100%) | Commissioning Authority | Autoridade de comissionamento (CxA) |
| 17525cb1a3dc-928d-46e4-a46e-5887884d6471 | Translation Approved (0%) | By the end of the design development phase, engage a commissioning authority with the following qualifications. | Ao fim da fase de desenvolvimento do projeto, envolva uma autoridade de comissionamento (CxA) com as seguintes qualificações. |
| 175380e58231-c0e7-4598-8be0-f13f56b5e5f9 | Translation Approved (0%) | The CxA must have documented commissioning process experience on at least two building projects with a similar scope of work. | A CxA deve ter experiência documentada em processo de comissionamento de pelo menos dois projetos de edifício com escopo de trabalho semelhante. |
| 175480e58231-c0e7-4598-8be0-f13f56b5e5f9 | Translation Approved (0%) | The experience must extend from early design phase through at least 10 months of occupancy; | A experiência deve se estender da fase inicial do projeto até pelo menos 10 meses de ocupação. |
| 1755da83a310-3c54-404c-bba2-1b3bf4f87116 | Translation Approved (0%) | The CxA may be a qualified employee of the owner, an independent consultant, or an employee of the design or construction firm who is not part of the project’s design or construction team, or a disinterested subcontractor of the design or construction team. | A CxA pode ser um funcionário qualificado do proprietário, um consultor independente ou um funcionário da empresa de projeto ou construção que não faça parte da equipe de design ou construção do projeto, ou um subempreiteiro imparcial da equipe de projeto ou construção. |
| 1756d5b054fe-e98a-4cbf-b819-7eeceea84f85 | Translation Approved (0%) | For projects smaller than 20,000 square feet (1 860 square meters), the CxA may be a qualified member of the design or construction team. | Para projetos menores que 20.000 pés quadrados (1.860 metros quadrados), a CxA pode ser um membro qualificado da equipe de projeto ou construção. |
| 1757d5b054fe-e98a-4cbf-b819-7eeceea84f85 | Translation Approved (0%) | In all cases, the CxA must report his or her findings directly to the owner. | Em todos os casos, a CxA deve informar suas descobertas diretamente ao proprietário. |
| 1758a6f6eae7-7dd5-423c-b79c-693542adad77 | Translation Approved (0%) | Project teams that intend to pursue EA Credit Enhanced Commissioning should note a difference in the CxA qualifications: for the credit, the CxA may not be an employee of the design or construction firm nor a subcontractor to the construction firm. | Equipes de projeto que pretendam obter o Crédito EA: Comissionamento Aprimorado (EA Credit Enhanced Commissioning) devem observar uma diferença nas qualificações da CxA: para o crédito, a CxA não pode ser um funcionário da empresa de projeto ou construção nem um subempreiteiro da empresa de construção. |
| 1759a908250a-7263-4b1b-a399-b1fc00e52205 | Translation Approved (0%) | Current Facilities Requirements and Operations and Maintenance Plan | Plano atualizado de requisitos, operações e manutenção de instalações |
| 1760dc94b3d9-b088-4d0b-802b-139030c01e91 | Translation Approved (0%) | Prepare and maintain a current facilities requirements and operations and maintenance plan that contains the information necessary to operate the building efficiently. | Prepare e mantenha um plano atualizado de requisitos, operações e manutenção de instalações que contenha as informações necessárias para operar o edifício com eficiência. |
| 1761dc94b3d9-b088-4d0b-802b-139030c01e91 | Translation Approved (89%) | The plan must include the following: | O plano deve incluir o seguinte: |
| 1762b44ecf4a-c141-4630-865e-6f5a95e380c5 | Translation Approved (0%) | a sequence of operations for the building; | uma sequência de operações para o edifício; |
| 176378de1130-ddb0-48f1-968d-7424b5c46b64 | Translation Approved (0%) | the building occupancy schedule; | a programação de ocupação do edifício; |
| 176413f6048a-232c-4da0-87a8-83982ee66b91 | Translation Approved (0%) | equipment run-time schedules; | programações de tempo de funcionamento de equipamentos; |
| 1765e5a5fbfd-3637-4f27-ba0c-afd05ebca4ff | Translation Approved (0%) | setpoints for all HVAC equipment; | pontos de ajuste de todos os equipamentos de HVAC; |
| 176609caf9e1-1ab7-4f12-a1ef-1238098f120a | Translation Approved (0%) | set lighting levels throughout the building; | níveis de iluminação definidos em todo o edifício; |
| 176771299468-17c9-4f30-8313-e78ad29b6de1 | Translation Approved (0%) | minimum outside air requirements; | requisitos mínimos de ar externo; |
| 17683fcfbda5-6d74-46ed-971c-d1dd12972c4b | Translation Approved (0%) | any changes in schedules or setpoints for different seasons, days of the week, and times of day; | quaisquer alterações em programações ou pontos de ajuste para diferentes estações, dias da semana e horas do dia; |
| 1769a5fc3d07-f848-431e-a200-7f123251e3e5 | Translation Approved (0%) | a systems narrative describing the mechanical and electrical systems and equipment; | um relato dos sistemas que descreva os sistemas e equipamentos mecânicos e elétricos; |
| 1770cb8c460e-6f9e-477d-b7c2-5e0a835ee99f | Translation Approved (0%) | a preventive maintenance plan for building equipment described in the systems narrative; and | um plano de manutenção preventiva para os equipamentos do edifício descritos no relato dos sistemas; e |
| 1771800cfa1a-c11c-46d5-a276-74f9185034fb | Translation Approved (0%) | a commissioning program that includes periodic commissioning requirements, ongoing commissioning tasks, and continuous tasks for critical facilities. | um programa de comissionamento que inclua requisitos de comissionamento periódicos, tarefas de comissionamento contínuo e tarefas contínuas para instalações críticas. |
| 177222117e86-55da-4447-8522-e3fc25a8fa4f | Translation Approved (0%) | Data Centers only | Apenas Centros de Dados (Data Centers) |
| 1773330d641d-16ab-4233-868c-235da047d522 | Translation Approved (0%) | For small projects with computer room peak cooling loads less than 2,000,000 Btu/h (600 kW) or a total computer room peak cooling load less than 600,000 Btu/h (175 kW), the CxA may be a qualified employee of the design or construction team. | Para projetos pequenos, com cargas de resfriamento de pico da sala de computadores abaixo de 2.000.000 Btu/h (600 kW) ou uma carga total de resfriamento de pico da sala de computadores inferior a 600.000 Btu/h (175 kW), a CxA pode ser um funcionário qualificado da equipe de projeto ou construção. |
| 1774b67df0de-fb5b-417c-8288-0ebf8cfda498 | Translation Approved (100%) | EA Prerequisite: Minimum Energy Performance | Pré-requisito EA: Desempenho Energético Mínimo (EA Prerequisite: Minimum Energy Performance) |
| 1775b0117cba-3e1a-4a4f-88fd-e2acc7c5eaa4 | Translation Approved (100%) | Required | Obrigatório |
| 1776108c23ed-d85e-4c72-b398-1c7aba89802c | Translation Approved (100%) | BD&C | BD&C |
| 1777c706cf76-9bf9-4c28-b76c-31022c8a12d7 | Translation Approved (100%) | This prerequisite applies to | Este pré-requisito se aplica a: |
| 17787cd6c0e0-c3b3-47a7-a90a-78ba218573a9 | Translation Approved (100%) | New Construction | Nova Construção (New Construction) |
| 1779b181c28f-00d9-4005-a04c-ec0b70a46f0c | Translation Approved (100%) | Core & Shell | Núcleo e Casca (Core & Shell) |
| 1780b63a7e56-025e-4305-a7a2-1539ad12223c | Translation Approved (100%) | Schools | Escolas (Schools) |
| 17815a0f3874-0a42-484f-85c6-52a14b43e514 | Translation Approved (100%) | Retail | Varejo (Retail) |
| 1782464432be-83fe-4927-b6cb-ff19a4663da7 | Translation Approved (100%) | Data Centers | Centros de Dados (Data Centers) |
| 17832e9922a7-ae89-44f8-a5a8-3f5e0c53859f | Translation Approved (100%) | Warehouses & Distribution Centers | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) |
| 17849691f96e-4a1d-4c09-bc14-3a550e237daf | Translation Approved (100%) | Hospitality | Hoteleiro (Hospitality) |
| 17856a2a993f-8e4b-47d1-bcd7-b79fbe007bda | Translation Approved (100%) | Healthcare | Setor de Saúde (Healthcare) |
| 17867d97595d-31a7-4835-ad5e-4e2be3ab7ecc | Translation Approved (100%) | Intent | Objetivo |
| 1787cbea9f9c-0d6d-4de1-840c-321f34f7321f | Translation Approved (0%) | To reduce the environmental and economic harms of excessive energy use by achieving a minimum level of energy efficiency for the building and its systems. | Reduzir os prejuízos ambientais e econômicos do uso excessivo de energia alcançando um nível mínimo de eficiência energética para o edifício e seus sistemas. |
| 17883fa559ac-f9c1-48cf-9bdc-b0df73b8ea3f | Translation Approved (100%) | Requirements | Requisitos |
| 178916b6d525-3eb0-43e4-b15a-28320fdd10a6 | Translation Approved (86%) | NC, CS, Schools, Retail, Warehouses & Distribution Centers, Hospitality, Healthcare | NC, CS, Escolas (Schools), Varejo (Retail), Armazéns e Centros de Distribuição (Warehouses & Distribution Centers), Hoteleiro (Hospitality), Setor de Saúde (Healthcare) |
| 1790e5020659-562b-4132-8f1b-65939ba662a1 | Translation Approved (100%) | Option 1. | Opção 1. |
| 1791e5020659-562b-4132-8f1b-65939ba662a1 | Translation Approved (0%) | Whole-Building Energy Simulation | Simulação de energia de todo o edifício |
| 1792e9c0fc5f-2759-492f-8acf-2d926ed5c113 | Translation Approved (0%) | Demonstrate an improvement of 5% for new construction, 3% for major renovations, or 2% for core and shell projects in the proposed building performance rating compared with the baseline building performance rating. | Demonstre uma melhoria de 5% para novas construções, 3% para grandes reformas ou 2% para projetos de núcleo e casca na avaliação de desempenho do edifício proposto, em comparação com a avaliação desempenho do edifício baseline. |
| 1793e9c0fc5f-2759-492f-8acf-2d926ed5c113 | Translation Approved (0%) | Calculate the baseline building performance according to ANSI/ASHRAE/IESNA Standard 90.1–2010, Appendix G, with errata (or a USGBC-approved equivalent standard for projects outside the U.S.), using a simulation model. | Calcule o desempenho do edifício baseline de acordo com a Norma ANSI/ASHRAE/IESNA 90.1–2010, Apêndice G, com errata (ou uma norma equivalente aprovada pelo USGBC para projetos fora dos EUA), utilizando um modelo de simulação. |
| 1794fa9dfb0d-7dc5-4d52-a3ee-e69150947a57 | Translation Approved (0%) | Projects must meet the minimum percentage savings before taking credit for renewable energy systems. | Os projetos devem atender às porcentagens mínimas de economia antes de obter créditos para sistemas de energia renovável. |
| 179502f69c52-65ec-4217-8d9d-4329e7322e55 | Translation Approved (0%) | The proposed design must meet the following criteria: | O projeto proposto deve atender aos seguintes critérios: |
| 1796c14e8d4e-2712-4b07-b4b3-b6d0a03fa93c | Translation Approved (0%) | compliance with the mandatory provisions of ANSI/ASHRAE/IESNA Standard 90.1–2010, with errata (or a USGBC-approved equivalent standard for projects outside the U.S.); | conformidade com as disposições obrigatórias da Norma ANSI/ASHRAE/IESNA 90.1–2010, com errata (ou norma equivalente aprovada pelo USGBC para projetos fora dos EUA); |
| 1797f780f67d-fc5c-49cd-acd7-8863da262bdc | Translation Approved (0%) | inclusion of all energy consumption and costs within and associated with the building project; and | inclusão de todo o consumo e custos de energia dentro e associados ao projeto do edifício; e |
| 1798d9a6ef65-a6c4-40f2-874b-9e900d46c72e | Translation Approved (0%) | comparison against a baseline building that complies with Standard 90.1–2010, Appendix G, with errata (or a USGBC-approved equivalent standard for projects outside the U.S.). | comparação com um edifício baseline que esteja em conformidade com a Norma 90.1–2010, Apêndice G, com errata (ou norma equivalente aprovada pelo USGBC para projetos fora dos EUA). |
| 17999306b221-3076-4d86-889e-66fd71fea881 | Translation Approved (0%) | Document the energy modeling input assumptions for unregulated loads. | Documente as premissas de entrada de modelagem de energia para cargas não reguladas. |
| 18009306b221-3076-4d86-889e-66fd71fea881 | Translation Approved (0%) | Unregulated loads should be modeled accurately to reflect the actual expected energy consumption of the building. | Cargas não reguladas devem ser modeladas com precisão para refletir o consumo de energia real esperado do edifício. |
| 1801b5544053-14ae-45ea-8fd3-8b67c6e90b09 | Translation Approved (0%) | If unregulated loads are not identical for both the baseline and the proposed building performance rating, and the simulation program cannot accurately model the savings, follow the exceptional calculation method (ANSI/ASHRAE/IESNA Standard 90.1–2010, G2.5). | Se as cargas não reguladas não forem idênticas para a baseline e a avaliação de desempenho do edifício proposto, e o programa de simulação não puder modelar as economias com precisão, siga o método de cálculo excepcional (Norma ANSI/ASHRAE/IESNA 90.1–2010, G2.5). |
| 1802b5544053-14ae-45ea-8fd3-8b67c6e90b09 | Translation Approved (0%) | Alternatively, use the COMNET Modeling Guidelines and Procedures to document measures that reduce unregulated loads. | Como alternativa, use as Diretrizes e Procedimentos de Modelagem da COMNET para documentar medições que reduzam cargas não reguladas. |
| 1803c90052f1-030e-47ce-a0f1-3fe19633c2ec | Translation Approved (100%) | Retail only | Apenas Varejo (Retail) |
| 1804aed5a6b5-aa9c-4949-93e2-f887e8ae11e3 | Translation Approved (0%) | For Option 1, Whole-Building Energy Simulation, process loads for retail may include refrigeration equipment, cooking and food preparation, clothes washing, and other major support appliances. | Para a Opção 1, Simulação de energia de todo o edifício, as cargas de processo para varejo podem incluir equipamentos de refrigeração, cozimento e preparação de alimentos, lavagem de roupas e outros utensílios de apoio importantes. |
| 1805aed5a6b5-aa9c-4949-93e2-f887e8ae11e3 | Translation Approved (0%) | Many of the industry standard baseline conditions for commercial kitchen equipment and refrigeration are defined in Appendix 3, Tables 1–4. | Muitas das condições de baseline padrão do setor para equipamentos de cozinha e refrigeração comerciais são definidas no Apêndice 3, Tabelas 1 a 4. |
| 1806aed5a6b5-aa9c-4949-93e2-f887e8ae11e3 | Translation Approved (0%) | No additional documentation is necessary to substantiate these predefined baseline systems as industry standard. | Não é necessária documentação adicional para respaldar esses sistemas de baseline predefinidos como padrão do setor. |
| 180749f9b7c4-8d9e-41f4-8ff8-2af7b11a00c3 | Translation Approved (100%) | OR | OU |
| 1808100f2d1c-bd72-4dfc-9d23-fb864f74ee04 | Translation Approved (100%) | Option 2. | Opção 2. |
| 1809100f2d1c-bd72-4dfc-9d23-fb864f74ee04 | Translation Approved (0%) | Prescriptive Compliance: ASHRAE 50% Advanced Energy Design Guide | Conformidade prescritiva: Guia Avançado de Projeto Energético (Advanced Energy Design Guide) ASHRAE 50% |
| 181004d3aac0-8014-4938-b71b-201fa92f3d93 | Translation Approved (92%) | Comply with the mandatory and prescriptive provisions of ANSI/ASHRAE/IESNA Standard 90.1–2010, with errata (or a USGBC-approved equivalent standard for projects outside the U.S.). | Conformidade com as disposições obrigatórias e prescritivas da Norma ANSI/ASHRAE/IESNA 90.1–2010, com errata (ou norma equivalente aprovada pelo USGBC para projetos fora dos EUA). |
| 18110ce83427-319f-4259-9523-064073363451 | Translation Approved (0%) | Comply with the HVAC and service water heating requirements, including equipment efficiency, economizers, ventilation, and ducts and dampers, in Chapter 4, Design Strategies and Recommendations by Climate Zone, for the appropriate ASHRAE 50% Advanced Energy Design Guide and climate zone: | Cumpra os requisitos de HVAC e aquecimento de água para serviços, incluindo eficiência de equipamentos, economizadores, ventilação e dutos e umidificadores, no Capítulo 4, Estratégias e Recomendações de Projeto por Zona Climática (Design Strategies and Recommendations by Climate Zone), do Guia Avançado de Projeto Energético (Advanced Energy Design Guide) ASHRAE 50% e da zona climática adequada: |
| 18126436ee9b-e500-4157-bcfb-a9673184a4ae | Translation Approved (0%) | ASHRAE 50% Advanced Energy Design Guide for Small to Medium Office Buildings, for office buildings smaller than 100,000 square feet (9 290 square meters); | ASHRAE 50% Advanced Energy Design Guide for Small to Medium Office Buildings, para edifícios de escritórios com menos de 100.000 pés quadrados (9.290 metros quadrados); |
| 18138142ecc8-28aa-460a-9fcc-d81264d3a144 | Translation Approved (0%) | ASHRAE 50% Advanced Energy Design Guide for Medium to Large Box Retail Buildings, for retail buildings with 20,000 to 100,000 square feet (1 860 to 9 290 square meters); | ASHRAE 50% Advanced Energy Design Guide for Medium to Large Box Retail Buildings, para edifícios de varejo de 20.000 a 100.000 pés quadrados (1.860 a 9.290 metros quadrados); |
| 18149eb0d298-8e08-49a7-90f2-97032f5b9b31 | Translation Approved (0%) | ASHRAE 50% Advanced Energy Design Guide for K–12 School Buildings; or | ASHRAE 50% Advanced Energy Design Guide for K–12 School Buildings, para edifícios escolares de educação infantil a ensino fundamental; ou |
| 18159928c5e3-13c3-4302-b3f5-9cc1be1b1c94 | Translation Approved (0%) | ASHRAE 50% Advanced Energy Design Guide for Large Hospitals, for hospitals over 100,000 square feet (9 290 square meters). | ASHRAE 50% Advanced Energy Design Guide for Large Hospitals, para hospitais com mais de 100.000 pés quadrados (9.290 metros quadrados). |
| 18165f8890ad-8955-4f9d-a4a0-9c5af600b534 | Translation Approved (0%) | For projects outside the U.S., consult ASHRAE/ASHRAE/IESNA Standard 90.1–2010, Appendixes B and D, to determine the appropriate climate zone. | Para projetos fora dos EUA, consulte a Norma ASHRAE/ASHRAE/IESNA 90.1–2010, Apêndices B e D, para determinar a zona climática adequada. |
| 1817a1bc7215-b0a5-4eef-a91e-a1b875deb5da | Translation Approved (0%) | OPTION 3. | OPÇÃO 3. |
| 1818a1bc7215-b0a5-4eef-a91e-a1b875deb5da | Translation Approved (0%) | Prescriptive Compliance: Advanced Buildings<2145>™</2145> Core Performance<2146>™</2146> Guide | Conformidade prescritiva: Guia Advanced Buildings<2145>™</2145> Core Performance<2146>™</2146> |
| 181908dd0a35-3f06-44a4-8b29-23f3ef50807d | Translation Approved (95%) | Comply with the mandatory and prescriptive provisions of ANSI/ASHRAE/IESNA Standard 90.1-2010, with errata (or USGBC approved equivalent standard for projects outside the U.S.). | Conformidade com as disposições obrigatórias e prescritivas da Norma ANSI/ASHRAE/IESNA 90.1–2010, com errata (ou norma equivalente aprovada pelo USGBC para projetos fora dos EUA). |
| 18203c5a2aa5-5ce0-4fef-847e-e1a18fb3d8ed | Translation Approved (0%) | Comply with Section 1: Design Process Strategies, Section 2: Core Performance Requirements, and the following three strategies from Section 3: Enhanced Performance Strategies, as applicable. | Conformidade com a Seção 1: Estratégias de processo de projeto (Design Process Strategies), Seção 2: Requisitos de Core Performance (Core Performance Requirements) e as três estratégias seguintes da Seção 3: Estratégias de desempenho aprimorado (Enhanced Performance Strategies), conforme aplicável. |
| 18213c5a2aa5-5ce0-4fef-847e-e1a18fb3d8ed | Translation Approved (0%) | Where standards conflict, follow the more stringent of the two. | Quando houver conflito de normas, siga a mais rigorosa. |
| 18223c5a2aa5-5ce0-4fef-847e-e1a18fb3d8ed | Translation Approved (100%) | For projects outside the U.S., consult ASHRAE/ASHRAE/IESNA Standard 90.1-2010, Appendixes B and D, to determine the appropriate climate zone. | Para projetos fora dos EUA, consulte a Norma ASHRAE/ASHRAE/IESNA 90.1–2010, Apêndices B e D, para determinar a zona climática adequada. |
| 1823a439e8df-5051-4459-96b6-c306c3ae2620 | Translation Approved (0%) | 3.5 Supply Air Temperature Reset (VAV) | 3.5 Redefinição da temperatura do suprimento de ar (Supply Air Temperature Reset) (VAV) |
| 182466910e05-0e6e-45ae-9295-659467111d10 | Translation Approved (0%) | 3.9 Premium Economizer Performance | 3.9 Desempenho de economizador Premium (Premium Economizer Performance) |
| 18259fce0076-b791-4f38-a18c-dfc9eb019609 | Translation Approved (0%) | 3.10 Variable Speed Control | 3.10 Controle de velocidade variável (Variable Speed Control) |
| 1826b976492b-635e-4ca8-8082-9f7be41a39c0 | Translation Approved (0%) | To be eligible for Option 3, the project must be less than 100,000 square feet (9 290 square meters). | Para ser elegível para a Opção 3, o projeto deve ter menos de 100.000 pés quadrados (9.290 metros quadrados). |
| 18276ee3a555-47cb-473f-9262-9ef1a26cc9c9 | Translation Approved (0%) | Note: Healthcare, warehouse or laboratory projects are ineligible for Option 3. | Observação: projetos do Setor de Saúde, armazéns ou laboratórios são inelegíveis para a Opção 3. |
| 1828f52ad560-5935-42bb-8397-007af1e0d4c8 | Translation Approved (100%) | Data Centers | Centros de Dados (Data Centers) |
| 182980b09749-2c46-4bd7-be01-1588d358a668 | Translation Approved (100%) | Whole-Building Energy Simulation | Simulação de energia de todo o edifício |
| 1830c2824ff7-8986-4479-9c69-1d47381694bc | Translation Approved (0%) | Demonstrate a 5% improvement in the proposed performance rating over the baseline performance rating. | Demonstre uma melhoria de 5% na avaliação de desempenho proposto em relação à avaliação de desempenho de baseline. |
| 1831c2824ff7-8986-4479-9c69-1d47381694bc | Translation Approved (0%) | To determine total energy cost savings, create two models, one for building energy cost and the other for IT equipment energy cost. | Para determinar a economia total do custo de energia, crie dois modelos, um para o custo de energia do edifício e o outro para o custo de energia de equipamentos de TI. |
| 1832c2824ff7-8986-4479-9c69-1d47381694bc | Translation Approved (82%) | Calculate the baseline building performance according to ANSI/ASHRAE/IESNA Standard 90.1–2010, Appendix G, with errata (or a USGBC-approved equivalent standard for projects outside the U.S.), using a simulation model for the whole building and data center modeling guidelines. | Calcule o desempenho do edifício baseline de acordo com a Norma ANSI/ASHRAE/IESNA 90.1–2010, Apêndice G, com errata (ou uma norma equivalente aprovada pelo USGBC para projetos fora dos EUA), utilizando um modelo de simulação para todo o edifício e diretrizes de modelagem para centro de dados. |
| 1833fac1af02-1313-49a1-92b0-b4864d739c4e | Translation Approved (0%) | Determine the power utilization effectiveness (PUE) value of the proposed design. | Determine o valor da eficiência do uso de energia (power utilization effectiveness – PUE) do projeto proposto. |
| 1834d9cb878d-6af8-4eea-90ea-057e9cb65c18 | Translation Approved (0%) | For this prerequisite, a minimum of 2% of the 5% energy savings must come from building power and cooling infrastructure. | Para este pré-requisito, no mínimo 2% dos 5% de economia de energia devem vir da infraestrutura de energia e resfriamento do edifício. |
| 183516ea6ebe-8aab-494e-a8d0-02fa441d7045 | Translation Approved (100%) | Projects must meet the minimum percentage savings before taking credit for renewable energy systems. | Os projetos devem atender às porcentagens mínimas de economia antes de obter créditos para sistemas de energia renovável. |
| 18367dde954f-a1e9-4356-848c-fa275d4ad1ab | Translation Approved (100%) | The proposed design must meet the following criteria: | O projeto proposto deve atender aos seguintes critérios: |
| 183765c9df5e-c356-42da-932e-d0f0f949751e | Translation Approved (100%) | compliance with the mandatory provisions of ANSI/ASHRAE/IESNA Standard 90.1–2010, with errata (or a USGBC-approved equivalent standard for projects outside the U.S.); | conformidade com as disposições obrigatórias da Norma ANSI/ASHRAE/IESNA 90.1–2010, com errata (ou norma equivalente aprovada pelo USGBC para projetos fora dos EUA); |
| 183840544ddc-3188-4f4c-8b70-6c83a30978f0 | Translation Approved (100%) | inclusion of all energy consumption and costs within and associated with the building project; and | inclusão de todo o consumo e custos de energia dentro e associados ao projeto do edifício; e |
| 1839087234dc-4c19-4dc9-b9c6-9927b02b4077 | Translation Approved (80%) | comparison against a baseline building that complies with ANSI/ASHRAE/IESNA Standard 90.1–2010, Appendix G, with errata (or a USGBC-approved equivalent standard for projects outside the U.S.), and data center modeling guidelines. | comparação com um edifício baseline que esteja em conformidade com a Norma ANSI/ASHRAE/IESNA 90.1–2010, Apêndice G, com errata (ou norma equivalente aprovada pelo USGBC para projetos fora dos EUA), e diretrizes de modelagem de centro de dados. |
| 1840632d86c3-3bd1-4b86-b143-9aab507400bc | Translation Approved (0%) | For data centers, regulated energy includes cooling units for computer and data processing rooms, critical power conditioning equipment, critical distribution equipment, heat rejection plants, and mechanical and electrical support rooms. | Para centros de dados, a energia regulada inclui unidades de resfriamento para salas de computadores e processamento de dados, equipamentos críticos de condicionamento de energia, equipamentos críticos de distribuição, plantas de rejeição de calor e salas de suporte mecânico e elétrico. |
| 1841e9d552b1-8700-4595-ae4d-6045dbeefe44 | Translation Approved (0%) | Include in process loads both the unregulated load and the IT equipment load. | Inclua as cargas não reguladas e de equipamentos de TI nas cargas de processo. |
| 1842e9d552b1-8700-4595-ae4d-6045dbeefe44 | Translation Approved (0%) | The IT load comprises critical systems and electrical power transformation, which may include servers, storage and networking power use, and operations affecting monthly server CPU utilization percentages. | A carga de TI inclui sistemas críticos e transformação de energia elétrica, o que pode incluir uso de energia por servidores, para armazenamento e redes, bem como operações que afetam as porcentagens mensais de uso da CPU de servidores. |
| 18434ea46d79-a8d0-4e8f-8ccc-9b0e3b61210b | Translation Approved (0%) | Develop two sets of IT load models using two scenarios, one at the maximum estimated IT load rating and the second at the startup IT rating expected at the time of commissioning. | Desenvolva dois conjuntos de modelos de carga de TI utilizando dois cenários, um com a avaliação de carga máxima de TI estimada e outro na avaliação de TI de inicialização esperada para o momento do comissionamento. |
| 18444354c3a5-e53b-4a33-830c-963b5ab6c32a | Translation Approved (100%) | Document the energy modeling input assumptions for unregulated loads. | Documente as premissas de entrada de modelagem de energia para cargas não reguladas. |
| 18454354c3a5-e53b-4a33-830c-963b5ab6c32a | Translation Approved (100%) | Unregulated loads should be modeled accurately to reflect the actual expected energy consumption of the building. | Cargas não reguladas devem ser modeladas com precisão para refletir o consumo de energia real esperado do edifício. |
| 1846fece3798-e9e0-4a8c-988c-ff9745587dcb | Translation Approved (87%) | If unregulated loads are not identical for both the baseline and the proposed building performance rating, and the simulation model cannot accurately model the savings, follow the exceptional calculation method (ANSI/ASHRAE/IESNA Standard 90.1–2010, G2.5) to document measures that reduce unregulated loads. | Se as cargas não reguladas não forem idênticas para a baseline e a avaliação de desempenho do edifício proposto, e o modelo de simulação não puder modelar as economias com precisão, siga o método de cálculo excepcional (Norma ANSI/ASHRAE/IESNA 90.1–2010, G2.5) para documentar medidas que reduzem cargas não reguladas. |
| 184764013e3f-ddc6-44bc-8e62-e326a26f2020 | Translation Approved (86%) | EA Prerequisite: Building-Level Energy Metering | Pré-requisito EA: Medição de Energia do Edifício (EA Prerequisite: Building-Level Energy Metering) |
| 18484c3e908b-4715-42b1-99ea-6401bd7387fa | Translation Approved (100%) | Required | Obrigatório |
| 18494a55872f-a4a2-421a-a2e0-47b2731c8d7a | Translation Approved (100%) | BD&C | BD&C |
| 1850714cfb40-72d2-4614-b67a-ddd58ce59d8b | Translation Approved (100%) | This prerequisite applies to | Este pré-requisito se aplica a: |
| 1851a9522ba9-6bd8-46db-99f3-2d0aaad64fa5 | Translation Approved (100%) | New Construction | Nova Construção (New Construction) |
| 18527fdacc22-4a9a-428a-8221-0c4a61cd8975 | Translation Approved (100%) | Core & Shell | Núcleo e Casca (Core & Shell) |
| 185306c3ab60-81e0-4529-85dc-d13974b9e9d0 | Translation Approved (100%) | Schools | Escolas (Schools) |
| 1854e4961992-d82a-4987-a5eb-978b6fd7d59e | Translation Approved (100%) | Retail | Varejo (Retail) |
| 18553846c485-bd5b-4f05-9076-e621757479ad | Translation Approved (100%) | Data Centers | Centros de Dados (Data Centers) |
| 1856c4e34e27-1e00-499c-a1ba-42c7c1a96abb | Translation Approved (100%) | Warehouses & Distribution Centers | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) |
| 18577f9420b7-2a69-4a6d-a582-7f1733f6b678 | Translation Approved (100%) | Hospitality | Hoteleiro (Hospitality) |
| 18584e380c5b-c288-40ca-b33b-c7c0d6bd7568 | Translation Approved (100%) | Healthcare | Setor de Saúde (Healthcare) |
| 18598d6ff448-0da1-45a8-afe5-ccc9851b772c | Translation Approved (100%) | Intent | Objetivo |
| 18603bfae786-371b-477a-b088-a266727ebc60 | Translation Approved (75%) | To support energy management and identify opportunities for additional energy savings by tracking building-level energy use. | Apoiar a gestão de energia e identificar oportunidades de economias adicionais de energia rastreando o uso de energia no nível do edifício. |
| 18619ef62df4-12a8-4fc6-96c2-41fa28c54fa4 | Translation Approved (100%) | Requirements | Requisitos |
| 1862842e270c-3199-4194-b8a6-31f6e686a646 | Translation Approved (94%) | NC, Schools, Retail, Data Centers, Warehouses & Distribution Centers, Hospitality, Healthcare | NC, Escolas (Schools), Varejo (Retail), Centros de Dados (Data Centers), Armazéns e Centros de Distribuição (Warehouses & Distribution Centers), Hoteleiro (Hospitality), Setor de Saúde (Healthcare) |
| 18630c46a2b0-cdcc-4c14-bae6-01a288ad089f | Translation Approved (0%) | Install new or use existing building-level energy meters, or submeters that can be aggregated to provide building-level data representing total building energy consumption (electricity, natural gas, chilled water, steam, fuel oil, propane, biomass, etc). | Instale medidores de energia novos ou use os existentes no nível do edifício ou submedidores que possam ser agregados para fornecer dados do nível do edifício que representem o consumo total de energia do edifício (eletricidade, gás natural, água refrigerada, vapor, óleo combustível, propano, biomassa, etc.). |
| 18640c46a2b0-cdcc-4c14-bae6-01a288ad089f | Translation Approved (0%) | Utility-owned meters capable of aggregating building-level resource use are acceptable. | Medidores de concessionárias de serviços públicos capazes de agregar o uso de recursos no nível do edifício são aceitáveis. |
| 186586d462f9-c527-4b21-98c1-d506e3e246b6 | Translation Approved (0%) | Commit to sharing with USGBC the resulting energy consumption data and electrical demand data (if metered) for a five-year period beginning on the date the project accepts LEED certification. | Comprometa-se em compartilhar com o USGBC os dados de consumo de energia resultantes e os dados da demanda de energia (se medida) por um período de cinco anos, começando na data em que o projeto aceita a certificação LEED. |
| 186686d462f9-c527-4b21-98c1-d506e3e246b6 | Translation Approved (0%) | At a minimum, energy consumption must be tracked at one-month intervals. | No mínimo, o consumo de energia deve ser rastreado em intervalos de um mês. |
| 186725c1e93f-ad25-435e-b8f3-537ffbcfb965 | Translation Approved (100%) | This commitment must carry forward for five years or until the building changes ownership or lessee. | Esse compromisso deve ser mantido por cinco anos ou até que o edifício mude de proprietário ou arrendatário. |
| 18685d84a2d3-917e-4dda-a89e-fbd40832d474 | Translation Approved (100%) | CS | CS |
| 186955107075-9a79-4fb5-bfa9-aaf0a9f11e06 | Translation Approved (92%) | Install new or use existing base building-level energy meters, or submeters that can be aggregated to provide base building-level data representing total building energy consumption (electricity, natural gas, chilled water, steam, fuel oil, propane, etc.). | Instale medidores de energia novos ou use os existentes no nível do edifício base ou submedidores que possam ser agregados para fornecer dados do nível do edifício que representem o consumo total de energia do edifício (eletricidade, gás natural, água refrigerada, vapor, óleo combustível, propano, etc.). |
| 187055107075-9a79-4fb5-bfa9-aaf0a9f11e06 | Translation Approved (94%) | Utility-owned meters capable of aggregating base building-level resource use are acceptable. | Medidores de concessionárias de serviços públicos capazes de agregar o uso de recursos no nível do edifício base são aceitáveis. |
| 1871abb8143c-b1aa-442c-8c78-1e053748ef46 | Translation Approved (88%) | Commit to sharing with USGBC the resulting energy consumption data and electrical demand data (if metered) for a five-year period beginning on the date the project accepts LEED certification or typical occupancy, whichever comes first. | Comprometa-se em compartilhar com o USGBC os dados de consumo de energia resultantes e os dados da demanda de energia (se medida) por um período de cinco anos, começando na data em que o projeto aceita a certificação LEED ou ocupação típica, o que ocorrer primeiro. |
| 1872abb8143c-b1aa-442c-8c78-1e053748ef46 | Translation Approved (100%) | At a minimum, energy consumption must be tracked at one-month intervals. | No mínimo, o consumo de energia deve ser rastreado em intervalos de um mês. |
| 187326c8a1cf-a144-4503-a3a6-38dae7c06903 | Translation Approved (100%) | This commitment must carry forward for five years or until the building changes ownership or lessee. | Esse compromisso deve ser mantido por cinco anos ou até que o edifício mude de proprietário ou arrendatário. |
| 18749c866a87-d350-4799-beef-a22dbc257800 | Translation Approved (100%) | EA Prerequisite: Fundamental Refrigerant Management | Pré-requisito EA: Gerenciamento Fundamental de Gases Refrigerantes (EA Prerequisite: Fundamental Refrigerant Management) |
| 187527a93693-210d-4cdb-bfec-a40ff06301d0 | Translation Approved (100%) | Required | Obrigatório |
| 18763d486ea6-6b48-4f63-a956-26eb3be6d058 | Translation Approved (100%) | BD&C | BD&C |
| 1877c97257cf-bf16-4d57-bce2-b563513f674c | Translation Approved (100%) | This prerequisite applies to | Este pré-requisito se aplica a: |
| 1878d8f50fab-2fdb-475d-b0b6-692b2df4b82e | Translation Approved (100%) | New Construction | Nova Construção (New Construction) |
| 1879f757c4e5-e17d-49ab-afbd-377789be2d16 | Translation Approved (100%) | Core & Shell | Núcleo e Casca (Core & Shell) |
| 1880f1f9bc96-8251-49df-bc98-2bfcc9cfeb9c | Translation Approved (100%) | Schools | Escolas (Schools) |
| 188189743d4c-faf7-4d1a-b4b2-5fff68fc734e | Translation Approved (100%) | Retail | Varejo (Retail) |
| 1882af7620df-9210-416d-a007-f4267e538a39 | Translation Approved (100%) | Data Centers | Centros de Dados (Data Centers) |
| 1883677b1e40-2187-4028-ae4f-38a336bffc2f | Translation Approved (100%) | Warehouses & Distribution Centers | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) |
| 188481805d68-c85a-436a-8d12-a706687a298d | Translation Approved (100%) | Hospitality | Hoteleiro (Hospitality) |
| 1885727cc474-5595-49e8-b060-6daeeb015979 | Translation Approved (100%) | Healthcare | Setor de Saúde (Healthcare) |
| 188653f93237-6c17-4e48-bf1a-7ed134957ab2 | Translation Approved (100%) | Intent | Objetivo |
| 18876fed6cab-c817-4594-955c-8a396e2e09f6 | Translation Approved (100%) | To reduce stratospheric ozone depletion. | Reduzir o esgotamento do ozônio estratosférico. |
| 188845359fa6-eff3-40e4-ba68-b8d330c2583a | Translation Approved (100%) | Requirements | Requisitos |
| 1889399d4751-8b8e-430a-b01d-7864ffb342ba | Translation Approved (100%) | NC, CS, Schools, Retail, Data Centers, Warehouses & Distribution Centers, Hospitality, Healthcare | NC, CS, Escolas (Schools), Varejo (Retail), Centros de Dados (Data Centers), Armazéns e Centros de Distribuição (Warehouses & Distribution Centers), Hoteleiro (Hospitality), Setor de Saúde (Healthcare) |
| 1890d5e75b72-8c45-4c53-86e8-e68e70756215 | Translation Approved (0%) | Do not use chlorofluorocarbon (CFC)-based refrigerants in new heating, ventilating, air-conditioning, and refrigeration (HVAC&R) systems. | Não use refrigerantes à base de clorofluorcarbono (CFC) em novos sistemas de aquecimento, ventilação, ar-condicionado e refrigeração (HVAC&R). |
| 1891d5e75b72-8c45-4c53-86e8-e68e70756215 | Translation Approved (0%) | When reusing existing HVAC&R equipment, complete a comprehensive CFC phase-out conversion before project completion. | Ao reutilizar equipamentos de HVAC&R existentes, termine uma conversão abrangente de substituição de CFC antes da conclusão do projeto. |
| 1892d5e75b72-8c45-4c53-86e8-e68e70756215 | Translation Approved (100%) | Phase-out plans extending beyond the project completion date will be considered on their merits. | Planos de substituição que se estendam além da data de conclusão do projeto serão considerados de acordo com seus méritos. |
| 189387ff41a8-af94-4a4e-b0a0-01c14c32b1d4 | Translation Approved (0%) | Existing small HVAC&R units (defined as containing less than 0.5 pound [225 grams] of refrigerant) and other equipment, such as standard refrigerators, small water coolers, and any other equipment that contains less than 0.5 pound (225 grams) of refrigerant, are exempt. | Pequenas unidades de HVAC&R existentes (definidas como contendo menos de 0,5 libra [225 gramas] de refrigerante) e outros equipamentos, como refrigeradores padrão, pequenos bebedouros e qualquer outro equipamento que contenha menos de 0,5 libra (225 gramas) de refrigerante, são isentos. |
| 18949de202e0-be31-45f4-a872-1ed75cd36821 | Translation Approved (0%) | EA Credit: Enhanced Commissioning | Crédito EA: Comissionamento Aprimorado (EA Credit: Enhanced Commissioning) |
| 1895d3fb6c84-e67d-4752-bca3-e8a62b457b95 | Translation Approved (100%) | BD&C | BD&C |
| 1896a29dfd70-1686-4a18-8199-4e916d7367b0 | Translation Approved (89%) | 2-6 points | 2 a 6 pontos |
| 18976dba35bf-e99e-447f-bfb1-7744549fc244 | Translation Approved (100%) | This credit applies to | Este crédito se aplica a |
| 1898e8d4066f-b70a-4a5f-8cf4-dab2a7a6216f | Translation Approved (94%) | New Construction (2-6 points) | Nova Construção (New Construction) (2 a 6 pontos) |
| 1899fac34534-6ecd-46c0-9426-6421560abeec | Translation Approved (94%) | Core & Shell (2-6 points) | Núcleo e Casca (Core & Shell) (2 a 6 pontos) |
| 190076734ede-41ca-4442-8f94-beafeb0794a2 | Translation Approved (93%) | Schools (2-6 points) | Escolas (Schools) (2 a 6 pontos) |
| 1901a1d9b709-0310-400e-b714-d60cd0f90ff6 | Translation Approved (93%) | Retail (2-6 points) | Varejo (Retail) (2 a 6 pontos) |
| 1902705553a2-1499-4dbf-96eb-9a91ec469a5c | Translation Approved (94%) | Data Centers (2-6 points) | Centros de Dados (Data Centers) (2 a 6 pontos) |
| 1903a345025e-c705-4ff1-8d4e-58c7a07f22a9 | Translation Approved (95%) | Warehouses & Distribution Centers (2-6 points) | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) (2 a 6 pontos) |
| 19045eb0f3d1-7060-4d1f-a896-8b2017f06559 | Translation Approved (93%) | Hospitality (2-6 points) | Hoteleiro (Hospitality) (2 a 6 pontos) |
| 190509ab1596-08b9-4960-b890-76887d98c688 | Translation Approved (85%) | Healthcare (2-6 points) | Setor de Saúde (Healthcare) (2 a 6 pontos) |
| 19060e45ea4d-19d1-432b-8eaf-accfb656e04a | Translation Approved (100%) | Intent | Objetivo |
| 19071dd70a18-6f65-4bd5-a095-f39f6021c9e2 | Translation Approved (98%) | To further support the design, construction, and eventual operation of a project that meets the owner’s project requirements for energy, water, indoor environmental quality, and durability. | Apoiar adicionalmente o projeto, construção e operação de um projeto que atenda aos requisitos de projeto do proprietário de energia, água, qualidade do ambiente interno e durabilidade. |
| 1908e72fb5ef-3350-4324-82fa-28549162ba0d | Translation Approved (100%) | Requirements | Requisitos |
| 19093f797066-b1fd-4cca-85ee-345c73b93344 | Translation Approved (100%) | NC, CS, Schools, Retail, Data Centers, Warehouses & Distribution Centers, Hospitality, Healthcare | NC, CS, Escolas (Schools), Varejo (Retail), Centros de Dados (Data Centers), Armazéns e Centros de Distribuição (Warehouses & Distribution Centers), Hoteleiro (Hospitality), Setor de Saúde (Healthcare) |
| 191055f6b451-027e-40b4-8f77-1f0eb61b7f9f | Translation Approved (0%) | Implement, or have in place a contract to implement, the following commissioning process activities in addition to those required under EA Prerequisite Fundamental Commissioning and Verification. | Implemente, ou tenha em vigor um contrato para implementar, as seguintes atividades do processo de comissionamento além das exigidas pelo Pré-requisito EA: Comissionamento Fundamental e Verificação (EA Prerequisite: Fundamental Commissioning and Verification). |
| 1911666d29d7-b00c-479d-8b95-cf0c2aa1c776 | Translation Approved (100%) | Commissioning Authority | Autoridade de comissionamento (CxA) |
| 191255bbb646-42e0-4927-b3fb-b3ab5d15ae8d | Translation Approved (100%) | The CxA must have documented commissioning process experience on at least two building projects with a similar scope of work. | A CxA deve ter experiência documentada em processo de comissionamento de pelo menos dois projetos de edifício com escopo de trabalho semelhante. |
| 191355bbb646-42e0-4927-b3fb-b3ab5d15ae8d | Translation Approved (100%) | The experience must extend from early design phase through at least 10 months of occupancy; | A experiência deve se estender da fase inicial do projeto até pelo menos 10 meses de ocupação. |
| 1914dcc729c0-1427-49b3-8ad6-791d943f20b2 | Translation Approved (0%) | The CxA may be a qualified employee of the owner, an independent consultant, or a disinterested subcontractor of the design team. | A CxA pode ser um funcionário qualificado do proprietário, um consultor independente ou um subempreiteiro imparcial da equipe de projeto. |
| 1915cb1100ab-7ea4-4dda-8d68-3f8169692735 | Translation Approved (100%) | Option 1. | Opção 1. |
| 1916cb1100ab-7ea4-4dda-8d68-3f8169692735 | Translation Approved (0%) | Enhanced Systems Commissioning (3-4 points) | Comissionamento aprimorado de sistemas (3 a 4 pontos) |
| 19174a6e46ee-3c55-4f49-86a9-f7dd4b7e9649 | Translation Approved (0%) | Path 1: Enhanced Commissioning (3 points) | Caminho 1: Comissionamento aprimorado (3 pontos) |
| 1918ee8df560-8385-4e2f-82d2-68a0c47cd473 | Translation Approved (97%) | Complete the following commissioning process (CxP) activities for mechanical, electrical, plumbing, and renewable energy systems and assemblies in accordance with ASHRAE Guideline 0–2005 and ASHRAE Guideline 1.1–2007 for HVAC&R systems, as they relate to energy, water, indoor environmental quality, and durability. | Execute as seguintes atividades do processo de comissionamento (CxP) para sistemas e conjuntos mecânicos, elétricos, hidráulicos e de energia renovável, de acordo com as Diretrizes ASHRAE 0–2005 e ASHRAE 1.1–2007 para sistemas HVAC&R, pois elas se referem à energia, água, qualidade do ambiente interno e durabilidade. |
| 1919e6b472fa-ef3a-4410-8e24-12fe9929b487 | Translation Approved (90%) | The commissioning authority must do the following: | A autoridade de comissionamento deve fazer o seguinte: |
| 192051c1ce6e-5eb4-4d2e-9baf-900789299940 | Translation Approved (0%) | Review contractor submittals. | Revisar as submissões do empreiteiro. |
| 1921ac6c6114-bb8e-4293-8190-e078605d0319 | Translation Approved (0%) | Verify inclusion of systems manual requirements in construction documents. | Verificar a inclusão de requisitos dos manuais dos sistemas nos documentos da construção. |
| 192296fa3d0d-5a3e-41c0-930f-199a37dd9474 | Translation Approved (72%) | Verify inclusion of operator and occupant training requirements in construction documents. | Verificar a inclusão de requisitos de treinamento de operadores e ocupantes nos documentos da construção. |
| 19230cf79d6f-d814-4a95-b773-66a8b3cd6767 | Translation Approved (0%) | Verify systems manual updates and delivery. | Verificar atualizações e entregas de manuais de sistemas. |
| 1924697ae357-823a-4a4d-b749-70878bac0153 | Translation Approved (0%) | Verify operator and occupant training delivery and effectiveness. | Verificar a entrega e eficácia do treinamento de operadores e ocupantes. |
| 19256da43810-65a8-462d-9d99-f44f4e5b3105 | Translation Approved (0%) | Verify seasonal testing. | Verificar testes sazonais. |
| 19262eb06430-0fb1-4cb1-bdb5-29955769c016 | Translation Approved (0%) | Review building operations 10 months after substantial completion. | Revisar as operações do edifício 10 meses após a conclusão substancial. |
| 192793f44b7e-08af-4a76-82ad-5741b9bcbae6 | Translation Approved (CM) | Develop an on-going commissioning plan. | Desenvolver um plano de comissionamento contínuo. |
| 19284b3c1b78-49d3-4d1a-9921-a73be541b4b4 | Translation Approved (0%) | Include all enhanced commissioning tasks in the OPR and BOD. | Incluir todas as tarefas do comissionamento aprimorado no OPR e na BOD. |
| 1929a3557f36-cec8-41e0-9294-205408153201 | Translation Approved (100%) | OR | OU |
| 1930386bd9d4-417a-4bc1-bd25-fc731b83aae1 | Translation Approved (80%) | Path 2: Enhanced and Monitoring-Based Commissioning (4 points) | Caminho 2: Comissionamento aprimorado e com base em monitoramento (4 pontos) |
| 1931e2af173a-7459-4360-aefd-0c3edbac4325 | Translation Approved (71%) | Achieve Path 1. | Alcance o Caminho 1. |
| 1932d46a1059-c904-4753-9b7e-a5ac2ef69974 | Translation Approved (100%) | AND | E |
| 1933ddcb2d7c-7d43-4191-8ac2-e0df25cb3378 | Translation Approved (0%) | Develop monitoring-based procedures and identify points to be measured and evaluated to assess performance of energy- and water-consuming systems. | Desenvolva procedimentos com base em monitoramento e identifique pontos a mensurar e verificar para avaliar o desempenho de sistemas que consomem energia e água. |
| 1934af4862f0-85ee-4585-9d1e-ef876565cf70 | Translation Approved (0%) | Include the procedures and measurement points in the commissioning plan. | Inclua os procedimentos e pontos de medição no plano de comissionamento. |
| 1935af4862f0-85ee-4585-9d1e-ef876565cf70 | Translation Approved (76%) | Address the following: | Aborde o seguinte: |
| 193613bbaa4a-24b8-4fe1-8501-e27c67bc8df2 | Translation Approved (0%) | roles and responsibilities; | funções e responsabilidades; |
| 1937a39425bd-2e8d-419e-a15a-56bbb3b7fa67 | Translation Approved (0%) | measurement requirements (meters, points, metering systems, data access); | requisitos de medição (medidores, pontos, sistemas de medição, acesso a dados); |
| 1938e1bf695e-4053-4aa1-aaf5-c6e60cd5d437 | Translation Approved (0%) | the points to be tracked, with frequency and duration for trend monitoring; | os pontos a serem rastreados, com frequência e duração do monitoramento de tendências; |
| 1939292a8ede-3daa-4c1e-95e5-478564539b7f | Translation Approved (0%) | the limits of acceptable values for tracked points and metered values (where appropriate, predictive algorithms may be used to compare ideal values with actual values); | os limites de valores aceitáveis dos pontos rastreados e valores medidos (quando apropriado, algoritmos preditivos podem ser usados para comparar valores ideais com valores reais); |
| 194094bb77ae-fcea-4b01-a93b-1b68b3905e23 | Translation Approved (0%) | the elements used to evaluate performance, including conflict between systems, out-of-sequence operation of systems components, and energy and water usage profiles; | os elementos usados para avaliar o desempenho, incluindo conflitos entre sistemas, operação fora de sequência de componentes de sistemas e perfis de uso de energia e água; |
| 1941ca85e8e4-3914-44c6-8caf-ecc08ee68ea1 | Translation Approved (0%) | an action plan for identifying and correcting operational errors and deficiencies; | um plano de ação para identificar e corrigir erros e deficiências operacionais; |
| 1942124809ce-fb9b-42df-af2f-10f68eeff724 | Translation Approved (0%) | training to prevent errors; | treinamento para evitar erros; |
| 194386ffdfa7-3596-4187-b74d-2c9362e7edfd | Translation Approved (0%) | planning for repairs needed to maintain performance; and | planejamento para reparos necessários a fim de manter o desempenho; e |
| 1944b422aa56-457a-4b3b-bcc2-49881d211f20 | Translation Approved (0%) | the frequency of analyses in the first year of occupancy (at least quarterly). | a frequência das análises no primeiro ano de ocupação (pelo menos trimestral). |
| 19458f9320fb-9c87-4b1c-a170-bb2eea3f831e | Translation Approved (0%) | Update the systems manual with any modifications or new settings, and give the reason for any modifications from the original design. | Atualize o manual dos sistemas com quaisquer modificações ou novos ajustes e forneça o motivo de todas as modificações em relação ao projeto original. |
| 194643474838-cda8-4533-9743-fe84af685793 | Translation Approved (100%) | AND/OR | E/OU |
| 1947cd3bc787-7e0b-44b8-9f41-dcff9f96760b | Translation Approved (100%) | Option 2. | Opção 2. |
| 1948cd3bc787-7e0b-44b8-9f41-dcff9f96760b | Translation Approved (0%) | Envelope Commissioning (2 points) | Comissionamento do envelope (2 pontos) |
| 19491e4ed875-981e-4c52-8764-6a7487414cdc | Translation Approved (0%) | Fulfill the requirements in EA Prerequisite Fundamental Commissioning and Verification as they apply to the building’s thermal envelope in addition to mechanical and electrical systems and assemblies. | Cumpra os requisitos do Pré-requisito EA: Comissionamento Fundamental e Verificação (EA Prerequisite: Fundamental Commissioning and Verification), pois eles se aplicam ao envelope térmico do edifício além de aos sistemas e conjuntos mecânicos e elétricos. |
| 19509a9cfce8-9af8-493f-a45b-863ac50be1b9 | Translation Approved (0%) | Complete the following commissioning process (CxP) activities for the building’s thermal envelope in accordance with ASHRAE Guideline 0–2005 and the National Institute of Building Sciences (NIBS) Guideline 3–2012, Exterior Enclosure Technical Requirements for the Commissioning Process, as they relate to energy, water, indoor environmental quality, and durability. | Execute as seguintes atividades do processo de comissionamento (CxP) do envelope térmico do edifício de acordo com a Diretriz ASHRAE 0–2005 e a Diretriz 3–2012, Requisitos Técnicos de Invólucros Externos do Processo de Comissionamento (Exterior Enclosure Technical Requirements for the Commissioning Process) do Instituto Nacional de Ciências da Construção (National Institute of Building Sciences – NIBS), pois elas se referem à energia, água, qualidade do ambiente interno e durabilidade. |
| 1951df601d7d-e563-4c81-a7f1-e3b10895a18c | Translation Approved (77%) | Commissioning authority must complete the following: | A autoridade de comissionamento deve realizar o seguinte: |
| 19523aa37615-8dbf-4fbc-991a-faf9a128614e | Translation Approved (100%) | Review contractor submittals. | Revisar as submissões do empreiteiro. |
| 1953709f3da7-7f05-4539-9a28-55da36654ca9 | Translation Approved (CM) | Verify inclusion of systems manual requirements in construction documents. | Verificar a inclusão de requisitos dos manuais dos sistemas nos documentos da construção. |
| 1954e4165728-aada-4005-9892-faa6d2c800d6 | Translation Approved (CM) | Verify inclusion of operator and occupant training requirements in construction documents. | Verificar a inclusão de requisitos de treinamento de operadores e ocupantes nos documentos da construção. |
| 1955248e6d4f-72be-429b-9495-c63b4f07cf68 | Translation Approved (CM) | Verify systems manual updates and delivery. | Verificar atualizações e entregas de manuais de sistemas. |
| 19562d50f731-b29c-4d02-871f-c19be963dfe6 | Translation Approved (CM) | Verify operator and occupant training delivery and effectiveness. | Verificar a entrega e eficácia do treinamento de operadores e ocupantes. |
| 1957c3815082-8f71-4572-b3cd-170a22294f9e | Translation Approved (CM) | Verify seasonal testing. | Verificar testes sazonais. |
| 1958198ae78c-8a61-430f-9785-c7b55fa2d977 | Translation Approved (CM) | Review building operations 10 months after substantial completion. | Revisar as operações do edifício 10 meses após a conclusão substancial. |
| 195959d28b29-0163-456b-8981-82015569ccc2 | Translation Approved (100%) | Develop an on-going commissioning plan. | Desenvolver um plano de comissionamento contínuo. |
| 1960c353c922-4e73-4f7c-9199-95218e66532c | Translation Approved (100%) | Data Centers only | Apenas Centros de Dados (Data Centers) |
| 196196f78616-66c1-48c5-a08d-fb8bf926c60b | Translation Approved (0%) | Projects that select Option 1 must complete the following commissioning process. | Projetos que selecionam a Opção 1 devem concluir o seguinte processo de comissionamento. |
| 1962826931fa-5f67-4a28-95b9-1495c3340a39 | Translation Approved (78%) | For small projects with peak cooling loads less than 2,000,000 Btu/h (600 kW), or a total computer room peak cooling load less than 600,000 Btu/h (175 kW), the CxA must perform the following activities: | Para projetos pequenos, com cargas de resfriamento de pico abaixo de 2.000.000 Btu/h (600 kW) ou uma carga de resfriamento de pico total da sala de computadores abaixo de 600.000 Btu/h (175 kW), a CxA deve executar as seguintes atividades: |
| 19636a8a3b96-2157-4a16-bc34-5c2ab94c223a | Translation Approved (0%) | conduct at least one commissioning verification review of the owner’s project requirements, basis of design, and design documents before mid-construction documents development; | realizar pelo menos uma revisão de verificação de comissionamento dos requisitos do projeto do proprietário, da base do projeto e dos documentos do projeto antes do desenvolvimento dos documentos de meio de construção; |
| 19644850b9f1-1f1b-486c-b650-a82da336e7a4 | Translation Approved (0%) | back-check the review comments in all subsequent design submissions; and | verificar novamente os comentários da revisão em todas as submissões subsequentes do projeto; e |
| 19659ea3990f-f75d-4f06-a40f-b107f6a36ad6 | Translation Approved (0%) | conduct an additional full verification review at 95% completion of the design documents and basis of design. | conduzir uma revisão completa adicional de verificação em 95% de conclusão dos documentos do projeto e da base do projeto. |
| 1966052ab647-c595-4b55-ba88-0e68aca38d43 | Translation Approved (0%) | For projects with peak cooling loads 2,000,000 Btu/h (600 kW) or more, or a total computer room peak cooling load 600,000 Btu/h (175 kW) or more, the CxA must conduct at least three verification reviews of the basis of design: | Para projetos com cargas de resfriamento de pico de 2.000.000 Btu/h (600 kW) ou mais, ou uma carga de resfriamento de pico total da sala de computadores de 600.000 Btu/h (175 kW) ou mais, a CxA deve conduzir pelo menos três revisões de verificação da base do projeto: |
| 19677365e849-2207-4a00-be95-e31c18cf3fe2 | Translation Approved (0%) | one verification review of design documents before the start of design development; | uma revisão de verificação dos documentos do projeto antes do início do desenvolvimento do projeto; |
| 196889a96e06-793e-4ff9-9996-69dae408f31f | Translation Approved (0%) | one verification review of design documents before midconstruction documents; and | uma revisão de verificação dos documentos do projeto antes dos documentos de meio de construção; e |
| 196920b3937d-4c13-4f1a-8b79-591629f953f1 | Translation Approved (0%) | one final verification review of 100% complete design documents, verifying achievement of the owner’s project requirements and adjudication of previous review comments. | uma revisão de verificação final dos documentos do projeto 100% concluídos, verificando o cumprimento dos requisitos do projeto do proprietário e a adjudicação de comentários de revisão anteriores. |
| 19701678afab-28c1-42b1-b454-85e62fb3ee75 | Translation Approved (100%) | EA Credit: Optimize Energy Performance | Crédito EA: Otimização do Desempenho Energético (EA Credit: Optimize Energy Performance) |
| 1971937e996d-43e6-4562-a043-eaf7073c4ef2 | Translation Approved (100%) | BD&C | BD&C |
| 19723f4c472d-7e82-4848-ab56-52f4700cc193 | Translation Approved (89%) | 1–20 points | 1 a 20 pontos |
| 1973993c979d-df1b-4d83-b49b-6c917bb9b76b | Translation Approved (100%) | This credit applies to | Este crédito se aplica a |
| 197482b09df9-5fda-442d-9087-18fae8c5b009 | Translation Approved (94%) | New Construction (1–18 points) | Nova Construção (New Construction) (1 a 18 pontos) |
| 19755157c8f3-b5fc-4727-9634-0b10ba27a326 | Translation Approved (94%) | Core & Shell (1–18 points) | Núcleo e Casca (Core & Shell) (1 a 18 pontos) |
| 1976f124fa7b-4cff-4703-94c6-330208620435 | Translation Approved (93%) | Schools (1–16 points) | Escolas (Schools) (1 a 16 pontos) |
| 197797b9b233-4d9e-4ba4-b2ea-cc9483dce3ba | Translation Approved (93%) | Retail (1–18 points) | Varejo (Retail) (1 a 18 pontos) |
| 19787a529c5f-0422-4990-b60b-6a90a403dbe9 | Translation Approved (94%) | Data Centers (1–18 points) | Centros de Dados (Data Centers) (1 a 18 pontos) |
| 197963164d2e-b3e4-499a-9d2d-f8de30137d10 | Translation Approved (95%) | Warehouses & Distribution Centers (1–18 points) | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) (1 a 18 pontos) |
| 1980114e42a1-2314-432e-93e1-3b132cb1c2d4 | Translation Approved (93%) | Hospitality (1–18 points) | Hoteleiro (Hospitality) (1 a 18 pontos) |
| 198153204cbf-2b60-4fae-a48a-b9df50864864 | Translation Approved (93%) | Healthcare (1–20 points) | Setor de Saúde (Healthcare) (1 a 20 pontos) |
| 198270b15637-fcd1-43e2-b3ca-98741709a236 | Translation Approved (100%) | Intent | Objetivo |
| 198306d69297-e48b-4599-8f8f-489e8b94fa42 | Translation Approved (97%) | To achieve increasing levels of energy performance beyond the prerequisite standard to reduce environmental and economic harms associated with excessive energy use. | Alcançar níveis crescentes de desempenho energético além da norma do pré-requisito para reduzir os prejuízos ambientais e econômicos associados ao uso excessivo de energia. |
| 1984a21470d9-9be0-45ac-b6bb-c4ce7aa3bdf4 | Translation Approved (100%) | Requirements | Requisitos |
| 1985a457f04d-8d7a-4b08-90e5-5b7c74792c2c | Translation Approved (100%) | NC, CS, Schools, Retail, Warehouses & Distribution Centers, Hospitality, Healthcare | NC, CS, Escolas (Schools), Varejo (Retail), Armazéns e Centros de Distribuição (Warehouses & Distribution Centers), Hoteleiro (Hospitality), Setor de Saúde (Healthcare) |
| 19860737db64-8a78-471d-9c87-443b40e285a1 | Translation Approved (0%) | Establish an energy performance target no later than the schematic design phase. | Estabeleça uma meta de desempenho energético no máximo na fase do projeto esquemático. |
| 19870737db64-8a78-471d-9c87-443b40e285a1 | Translation Approved (0%) | The target must be established as kBtu per square foot-year (kW per square meter-year) of source energy use. | A meta deve ser estabelecida como kBtu por pés quadrados-ano (kW por metros quadrados-ano) do uso de energia na fonte. |
| 1988eee4d5cb-dbbb-4a13-be1b-060b43e3fe3e | Translation Approved (74%) | Choose one of the options below. | Escolha uma das opções a seguir. |
| 1989b7ca14fa-6fb8-470e-ba3b-381d95076ba7 | Translation Approved (0%) | <2174>O</2174><2175>ption 1.</2175> | <2174>O</2174><2175>pção 1.</2175> |
| 1990b7ca14fa-6fb8-470e-ba3b-381d95076ba7 | Translation Approved (0%) | Whole-Building Energy Simulation (1–18 points except Schools and Healthcare, 1–16 points Schools, 1–20 points Healthcare) | Simulação de energia do edifício inteiro (1 a 18 pontos, exceto Escolas e Setor de Saúde, 1 a 16 pontos Escolas, 1 a 20 pontos Setor de Saúde) |
| 1991bdd22555-b945-4b5a-9ad3-e499097fa995 | Translation Approved (0%) | Analyze efficiency measures during the design process and account for the results in design decision making. | Analise as medidas de eficiência durante o processo de projeto e considere os resultados na tomada de decisões sobre o projeto. |
| 1992bdd22555-b945-4b5a-9ad3-e499097fa995 | Translation Approved (0%) | Use energy simulation of efficiency opportunities, past energy simulation analyses for similar buildings, or published data (e.g., Advanced Energy Design Guides) from analyses for similar buildings. | Use a simulação de energia de oportunidades de eficiência, análises de simulações de energia anteriores de edifícios semelhantes ou dados publicados (por exemplo, Guias Avançados de Projeto Energético [Advanced Energy Design Guides]) de análises de edifícios semelhantes. |
| 1993ceca341a-b594-44a4-99a2-cb608c5d178e | Translation Approved (0%) | Analyze efficiency measures, focusing on load reduction and HVAC-related strategies (passive measures are acceptable) appropriate for the facility. | Analise medidas de eficiência, concentrando-se na redução de carga e em estratégias relacionadas a HVAC (medidas passivas são aceitáveis) apropriadas para a instalação. |
| 1994ceca341a-b594-44a4-99a2-cb608c5d178e | Translation Approved (0%) | Project potential energy savings and holistic project cost implications related to all affected systems. | Projete economias de energia em potencial e implicações de custo do projeto holístico relacionadas a todos os sistemas afetados. |
| 199505b2c28d-6ba6-4dd8-acf6-de15b1c04ec5 | Translation Approved (0%) | Project teams pursuing the Integrative Process credit must complete the basic energy analysis for that credit before conducting the energy simulation. | Equipes de projeto tentando obter o crédito Processo Integrativo (Integrative Process) devem executar a análise de energia básica antes de realizar a simulação de energia. |
| 19963b9a44d3-e58e-4fa7-9c7c-88c61c05dcaa | Translation Approved (0%) | Follow the criteria in EA Prerequisite Minimum Energy Performance to demonstrate a percentage improvement in the proposed building performance rating compared with the baseline. | Siga os critérios do Pré-requisito EA: Desempenho Energético Mínimo (EA Prerequisite: Minimum Energy Performance) para demonstrar um percentual de melhoria na avaliação de desempenho do edifício proposto em comparação com a baseline. |
| 19973b9a44d3-e58e-4fa7-9c7c-88c61c05dcaa | Translation Approved (100%) | Points are awarded according to Table 1. | Os pontos são concedidos de acordo com a Tabela 1. |
| 1998f5bd2dd8-7eba-4def-8fd5-cfd7ef665c91 | Translation Approved (100%) | Table 1. | Tabela 1. |
| 1999f5bd2dd8-7eba-4def-8fd5-cfd7ef665c91 | Translation Approved (0%) | Points for percentage improvement in energy performance | Pontos por melhoria percentual em desempenho energético |
| 20000a86914e-9f7f-41a3-bb5f-1b69f18ca25c | Translation Approved (100%) | New Construction | Nova Construção |
| 20010be7816d-ee71-4470-b335-61a9452cc7a4 | Translation Approved (0%) | Major Renovation | Grande Reforma |
| 2002a183df4e-92e0-414d-8559-d1bd36efea3f | Translation Approved (100%) | Core and Shell | Núcleo e Casca |
| 20030dee01c8-0949-4467-ad4e-2f44502f5177 | Translation Approved (79%) | Points (except Schools, Healthcare) | Pontos (exceto Escolas e Setor de Saúde) |
| 2004a133411c-46e2-4315-85ec-9fc493a226a4 | Translation Approved (96%) | Points Healthcare | Pontos Setor de Saúde |
| 20054fc71a14-2f58-43b3-885f-4ac3de915998 | Translation Approved (0%) | Points Schools | Pontos Escolas |
| 2006e99b6446-a1d1-4d5c-be4f-a8722423ecc5 | Translation Approved (100%) | 6% | 6% |
| 2007a61d2784-e903-4b40-a2dc-742457193960 | Translation Approved (100%) | 4% | 4% |
| 2008ad6322c2-60cb-4c5b-a2de-d7c2cd1d7e6d | Translation Approved (100%) | 3% | 3% |
| 20090a927821-3aca-463e-b072-1bd7e588ee60 | Translation Approved (100%) | 1 | 1 |
| 20103b9d4e9b-11d7-4e67-95e3-d1eae5587f52 | Translation Approved (100%) | 3 | 3 |
| 2011929e1c61-4a01-418d-957a-af21e69545a2 | Translation Approved (100%) | 1 | 1 |
| 20126307ab95-0188-4582-aa10-36d2ce2e637f | Translation Approved (100%) | 8% | 8% |
| 2013460798e6-7430-4e4f-ae25-9996370ad302 | Translation Approved (100%) | 6% | 6% |
| 201417807869-4482-4678-8386-a5f1a93579bc | Translation Approved (100%) | 5% | 5% |
| 2015d733a877-ddc0-4310-a710-efb1e130c644 | Translation Approved (100%) | 2 | 2 |
| 2016616ae280-f0ca-41bf-b848-95673be67dc2 | Translation Approved (100%) | 4 | 4 |
| 2017260fc43b-6a73-4100-8246-6ecc5783bd3c | Translation Approved (100%) | 2 | 2 |
| 20183271813f-4774-4d79-8769-09a1f5d71c46 | Translation Approved (100%) | 10% | 10% |
| 2019b9b00ad0-9834-413f-83b3-c20e8757bf11 | Translation Approved (100%) | 8% | 8% |
| 20204d8f364a-dd0c-4202-9833-07f2d81a3135 | Translation Approved (100%) | 7% | 7% |
| 20216ab20b0b-d045-4eff-a725-2361f699896a | Translation Approved (100%) | 3 | 3 |
| 2022e7dcae24-d0a7-4f8b-815c-7b7eb5ee28e7 | Translation Approved (100%) | 5 | 5 |
| 2023ab175d74-26fb-4589-adb9-28f452b9f9d3 | Translation Approved (100%) | 3 | 3 |
| 2024024503ed-5cc7-4411-883f-9608813e7503 | Translation Approved (100%) | 12% | 12% |
| 20251c2d6a07-59e8-40b8-8bf9-c0ec729b2ef2 | Translation Approved (100%) | 10% | 10% |
| 2026b750c85c-eb5c-4fa4-b7fc-9e80402cb562 | Translation Approved (100%) | 9% | 9% |
| 2027948e2a97-c2ab-408b-8ac6-e4cb2132ad76 | Translation Approved (100%) | 4 | 4 |
| 20285e90b03b-59c3-488c-a8a2-b49b2b28996f | Translation Approved (100%) | 6 | 6 |
| 202902b60659-a374-4665-8e9c-8c6e2dbc4319 | Translation Approved (100%) | 4 | 4 |
| 2030a864672c-2f0e-4598-a73e-d38aa6eb0719 | Translation Approved (100%) | 14% | 14% |
| 20314319a6d4-7592-49c1-9823-34edcfe83c36 | Translation Approved (100%) | 12% | 12% |
| 203203d7854a-cdd4-409f-a0ef-9aa5916a1e0c | Translation Approved (100%) | 11% | 11% |
| 2033c61fe37b-4a26-4dd4-aa5a-beda33039a01 | Translation Approved (100%) | 5 | 5 |
| 203499fdadf7-6555-4065-9277-8009113022c5 | Translation Approved (100%) | 7 | 7 |
| 20355f683106-cc98-41f8-98d8-3c0b97f94613 | Translation Approved (100%) | 5 | 5 |
| 203685691316-4f55-4b30-b6b3-a88096ebb7f2 | Translation Approved (100%) | 16% | 16% |
| 20370161fbc4-d13a-42bf-b6bd-9741fc7ccfd3 | Translation Approved (100%) | 14% | 14% |
| 20384601ce28-07eb-4bc5-9e9d-81971c28bdf8 | Translation Approved (100%) | 13% | 13% |
| 20399e114a68-32b5-40e8-9edd-73b6effe282a | Translation Approved (100%) | 6 | 6 |
| 2040a635fa5a-1ddc-4035-a50a-ee366febc746 | Translation Approved (100%) | 8 | 8 |
| 20412f420d1e-abdb-4608-ad1c-faf4b8267bbe | Translation Approved (100%) | 6 | 6 |
| 20426d7a1cec-4569-4fca-988e-8f002b3b2080 | Translation Approved (100%) | 18% | 18% |
| 2043c26cf4c8-6534-4219-945d-0a04aea18479 | Translation Approved (100%) | 16% | 16% |
| 20448d9b819c-c520-4105-b052-8a074ce3176d | Translation Approved (100%) | 15% | 15% |
| 2045cfb8a534-064b-406d-bc2b-2b7a44fe5eef | Translation Approved (100%) | 7 | 7 |
| 20467d40ffe5-ce6f-4109-af33-ff0dac0cdabe | Translation Approved (100%) | 9 | 9 |
| 204766805e9b-701c-4185-99f4-5099c9e811fe | Translation Approved (100%) | 7 | 7 |
| 2048e3247bcf-bc9d-4b4c-9c72-edbbd8d826be | Translation Approved (100%) | 20% | 20% |
| 2049ef1c05aa-0561-44bb-b4d1-460ab9ada1c5 | Translation Approved (100%) | 18% | 18% |
| 2050ebbf7494-1519-408c-b234-9cfc81ea5edb | Translation Approved (100%) | 17% | 17% |
| 20514827c5c9-29cd-4050-a1d4-6cc60ff919fb | Translation Approved (100%) | 8 | 8 |
| 20524c540a25-f547-4937-9ca7-12ee973afcda | Translation Approved (100%) | 10 | 10 |
| 2053bee30065-f1a0-4635-b3a9-e17a46abf8b7 | Translation Approved (100%) | 8 | 8 |
| 20544ca48e57-8e13-4439-80bc-dd311cada724 | Translation Approved (100%) | 22% | 22% |
| 2055807aae2a-20fb-4094-b871-c54c0714e6b4 | Translation Approved (100%) | 20% | 20% |
| 205662ae4ce9-b8af-402b-bd53-a09e4587928b | Translation Approved (100%) | 19% | 19% |
| 2057398f6f87-1fde-475d-8297-631bf86299ae | Translation Approved (100%) | 9 | 9 |
| 205841276e16-06c0-4767-b6d5-d97f4e4df9e3 | Translation Approved (100%) | 11 | 11 |
| 20597d38cad1-3508-48ba-b70d-62e96817e4c3 | Translation Approved (100%) | 9 | 9 |
| 206045e4ca6b-8f3c-44f9-ac21-7e917339f81b | Translation Approved (100%) | 24% | 24% |
| 2061f8f8452e-2d6d-470a-9433-f66442a928f8 | Translation Approved (100%) | 22% | 22% |
| 206261e85e74-af26-4f56-9927-c7cd36fb6a86 | Translation Approved (100%) | 21% | 21% |
| 2063f98064e6-f8d2-42af-85ef-bc562d55a705 | Translation Approved (100%) | 10 | 10 |
| 2064d9856b4f-8afb-44c9-951b-a0211c343399 | Translation Approved (100%) | 12 | 12 |
| 2065c93f579f-d84d-4fac-b2e9-352be1e3bf4f | Translation Approved (100%) | 10 | 10 |
| 206658b71dfd-86d4-47d5-b4b7-a380b303d106 | Translation Approved (100%) | 26% | 26% |
| 206711897461-ae84-442a-85b1-fbcbe51dc43b | Translation Approved (100%) | 24% | 24% |
| 20680655b2e0-1444-4b08-b896-dadad963bc12 | Translation Approved (100%) | 23% | 23% |
| 20697ad81cc8-8e95-4d92-a92f-51b5a2e2852e | Translation Approved (100%) | 11 | 11 |
| 20700fa3a77e-1e0f-4b78-8054-1a5bd4f1202c | Translation Approved (100%) | 13 | 13 |
| 207121dfd205-66ae-479a-80c2-5c962ab8f826 | Translation Approved (100%) | 11 | 11 |
| 20726d273e53-5f15-45cf-9ff0-5ac16209e000 | Translation Approved (100%) | 29% | 29% |
| 20731415db0e-0559-4608-a953-1a4eb5406317 | Translation Approved (100%) | 27% | 27% |
| 207471fc266a-6819-440e-8309-555d99c59d8a | Translation Approved (100%) | 26% | 26% |
| 2075eb1bf4f0-028b-4d7f-a1a2-658557984f9d | Translation Approved (100%) | 12 | 12 |
| 207653876e71-7df3-4bff-9d54-86e2a5144e31 | Translation Approved (100%) | 14 | 14 |
| 2077a39d874c-ed8a-4872-8119-048f03e36a07 | Translation Approved (100%) | 12 | 12 |
| 20789b09e241-93da-4f1a-87ad-42a4392e0c3a | Translation Approved (100%) | 32% | 32% |
| 2079b07cd26d-16dc-4b46-9d88-6efe84729822 | Translation Approved (100%) | 30% | 30% |
| 2080c797bfe6-9b7b-4ad3-a024-f51d9b9ea3b3 | Translation Approved (100%) | 29% | 29% |
| 208185f1bb88-6967-41f0-9617-c5cfae786c4e | Translation Approved (100%) | 13 | 13 |
| 2082bcfea661-f2c5-4865-bad6-f3c0e713591c | Translation Approved (100%) | 15 | 15 |
| 2083a3c45ecb-d4c2-411d-9a33-7a9e341e41df | Translation Approved (100%) | 13 | 13 |
| 20848641de0b-af16-4b76-9b89-28e9ac1d33db | Translation Approved (100%) | 35% | 35% |
| 20850245affa-127f-476d-8d3a-d65b957cf6da | Translation Approved (100%) | 33% | 33% |
| 20866e55577b-fcf9-406f-9a10-6167194d83b4 | Translation Approved (100%) | 32% | 32% |
| 2087c5dbe1ca-a41c-4a22-a046-f6075505386c | Translation Approved (100%) | 14 | 14 |
| 2088d301dd74-8ebc-4b5d-a748-b401075f8c7c | Translation Approved (100%) | 16 | 16 |
| 2089209272e7-c1fb-4d30-a1c9-81f311e565d3 | Translation Approved (100%) | 14 | 14 |
| 20907c30da97-21d2-4b4d-9314-1c479611c124 | Translation Approved (100%) | 38% | 38% |
| 2091025667ca-025e-4a32-bc73-50c4f47aabd4 | Translation Approved (100%) | 36% | 36% |
| 209237344d3d-c6ed-4713-829a-958c7e52f4ca | Translation Approved (100%) | 35% | 35% |
| 20939af05f0a-d689-432f-8d91-7fb18d5c22f1 | Translation Approved (100%) | 15 | 15 |
| 2094efb8a54e-5d0b-4b59-9bf2-2ec45d5b8907 | Translation Approved (100%) | 17 | 17 |
| 2095ae83d8f7-2a37-4ebf-acb3-b27d684e83da | Translation Approved (100%) | 15 | 15 |
| 20960130c7b6-8c4f-42b2-aea7-a97b3325ae63 | Translation Approved (100%) | 42% | 42% |
| 2097ccf1f52c-8af4-46b3-a66e-1a87f2e8410a | Translation Approved (100%) | 40% | 40% |
| 2098c0ce3322-fee6-4344-8bb9-5345f84170cc | Translation Approved (100%) | 39% | 39% |
| 2099921d837a-6dfa-433f-8836-a27b677f3ce1 | Translation Approved (100%) | 16 | 16 |
| 21009be74638-c9dc-441e-bdbf-cc05aca98dc0 | Translation Approved (100%) | 18 | 18 |
| 2101b4915130-404d-418f-a3b0-2dc123a713f9 | Translation Approved (100%) | 16 | 16 |
| 210210060b5d-c76e-4c1a-92c9-0790334f6668 | Translation Approved (100%) | 46% | 46% |
| 210367bdf594-ed1f-498b-a0b8-fb9c1e945fa8 | Translation Approved (100%) | 44% | 44% |
| 210414435eaf-74cf-4532-8964-6f90882da184 | Translation Approved (100%) | 43% | 43% |
| 2105eb6a7bdd-2ce7-4d9c-a41a-7528e5ccf63c | Translation Approved (100%) | 17 | 17 |
| 2106399169f9-93ba-4c87-b3c6-cc05113cff20 | Translation Approved (100%) | 19 | 19 |
| 210711dca610-fafb-498e-af6d-0f7b94f97106 | Translation Approved (0%) | - | - |
| 210845a6f535-f567-44a9-9d13-d618ac59cf6f | Translation Approved (100%) | 50% | 50% |
| 210973c25613-046f-4bad-80a4-0e268c6c1015 | Translation Approved (100%) | 48% | 48% |
| 2110a1bea3e1-3f38-4e9b-818b-a87f9bf7784d | Translation Approved (100%) | 47% | 47% |
| 2111f9e8b5c7-a8cf-4d4f-a927-b0cf41196222 | Translation Approved (100%) | 18 | 18 |
| 211292db0c96-6269-45b2-b17c-273e833c5dfc | Translation Approved (100%) | 20 | 20 |
| 21131dc1d44d-c183-4951-b198-fc94c83fb055 | Translation Approved (100%) | - | - |
| 211492f485e2-cf61-47d5-9de4-43fcc49e5bce | Translation Approved (100%) | Retail only | Apenas Varejo |
| 2115fd648554-9691-4546-95fa-97288aabdb37 | Translation Approved (0%) | For all process loads, define a clear baseline for comparison with the proposed improvements. | Para todas as cargas do processo, defina uma baseline clara para comparação com as melhorias propostas. |
| 2116fd648554-9691-4546-95fa-97288aabdb37 | Translation Approved (0%) | The baselines in Appendix 3, Tables 1–4, represent industry standards and may be used without additional documentation. | As baselines no Apêndice 3, Tabelas 1 a 4, representam normas do setor e podem ser usadas sem documentação adicional. |
| 2117fd648554-9691-4546-95fa-97288aabdb37 | Translation Approved (0%) | Calculate the baseline and design as follows: | Calcule a baseline e o projeto da seguinte forma: |
| 2118ef69fb7c-54a0-4107-a8c2-d8eca03836fb | Translation Approved (76%) | Appliances and equipment. | Utensílios e equipamentos. |
| 2119ef69fb7c-54a0-4107-a8c2-d8eca03836fb | Translation Approved (0%) | For appliances and equipment not covered in Tables 1–4, indicate hourly energy use for proposed and budget equipment, along with estimated daily use hours. | Para utensílios e equipamentos não cobertos nas Tabelas de 1 a 4, indique o uso de energia por hora de equipamentos propostos e orçados e também uma estimativa das horas diárias de uso. |
| 2120ef69fb7c-54a0-4107-a8c2-d8eca03836fb | Translation Approved (0%) | Use the total estimated appliance/equipment energy use in the energy simulation model as a plug load. | Use a estimativa total de uso de energia de utensílios/equipamentos no modelo de simulação de energia como uma carga de tomada. |
| 2121ef69fb7c-54a0-4107-a8c2-d8eca03836fb | Translation Approved (0%) | Reduced use time (schedule change) is not a category of energy improvement in this credit. | Tempo de uso reduzido (mudança de programação) não é uma categoria de melhoria de energia neste crédito. |
| 2122ef69fb7c-54a0-4107-a8c2-d8eca03836fb | Translation Approved (0%) | ENERGY STAR ratings and evaluations are a valid basis for performing this calculation. | Avaliações e classificações ENERGY STAR são uma base válida para realizar este cálculo. |
| 2123c2095c03-f841-4a9e-a4b9-31a8aa5c099a | Translation Approved (0%) | Display lighting. | Iluminação de expositores. |
| 2124c2095c03-f841-4a9e-a4b9-31a8aa5c099a | Translation Approved (0%) | For display lighting, use the space-by-space method of determining allowed lighting power under ANSI/ASHRAE/IESNA Standard 90.1–2010, with errata (or a USGBC-approved equivalent standard for projects outside the U.S.), to determine the appropriate baseline for both the general building space and the display lighting. | Para a iluminação de expositores, use o método 'espaço por espaço' de determinação da potência da iluminação permitida de acordo com a Norma ANSI/ASHRAE/IESNA 90.1–2010, com errata (ou norma equivalente aprovada pelo USGBC para projetos fora dos EUA), para determinar a baseline apropriada para o espaço geral do edifício e a iluminação de expositores. |
| 21255d7ab2de-2d7f-4f90-a191-0966b34551b4 | Translation Approved (96%) | Refrigeration. | Refrigeração. |
| 21265d7ab2de-2d7f-4f90-a191-0966b34551b4 | Translation Approved (0%) | For hard-wired refrigeration loads, model the effect of energy performance improvements with a simulation program designed to account for refrigeration equipment. | Para cargas de refrigeração cabeadas, modele o efeito de melhorias do desempenho energético com um programa de simulação projetado para considerar equipamentos de refrigeração. |
| 21274287a4c0-1175-4a84-bec5-932e7bb3cc50 | Translation Approved (100%) | OR | OU |
| 2128be66658b-3958-4968-a61b-a33ce2ea0ee0 | Translation Approved (100%) | <2639>O</2639><2640>ption 2.</2640> | <2639>O</2639><2640>pção 2.</2640> |
| 2129be66658b-3958-4968-a61b-a33ce2ea0ee0 | Translation Approved (0%) | Prescriptive Compliance: ASHRAE Advanced Energy Design Guide (1–6 points) | Conformidade prescritiva: Guia Avançado de Projeto Energético (Advanced Energy Design Guide) (1 a 6 pontos) |
| 2130467acd1b-32cd-4245-8ff9-074f6ff044ae | Translation Approved (0%) | To be eligible for Option 2, projects must use Option 2 in EA Prerequisite Minimum Energy Performance. | Para serem elegíveis para a Opção 2, projetos devem usar a Opção 2 no Pré-requisito EA: Desempenho Energético Mínimo (EA Prerequisite: Minimum Energy Performance). |
| 21317913f3f7-df4f-4035-9297-2602f7a707ec | Translation Approved (0%) | Implement and document compliance with the applicable recommendations and standards in Chapter 4, Design Strategies and Recommendations by Climate Zone, for the appropriate ASHRAE 50% Advanced Energy Design Guide and climate zone. | Implemente e documente a conformidade com as recomendações e normas aplicáveis no capítulo 4, Estratégias e Recomendações de Projeto por Zona Climática (Design Strategies and Recommendations by Climate Zone), do Guia Avançado de Projeto Energético (Advanced Energy Design Guide) ASHRAE 50% e da zona climática adequada. |
| 21327913f3f7-df4f-4035-9297-2602f7a707ec | Translation Approved (100%) | For projects outside the U.S., consult ASHRAE/ASHRAE/IESNA Standard 90.1–2010, Appendixes B and D, to determine the appropriate climate zone. | Para projetos fora dos EUA, consulte a Norma ASHRAE/ASHRAE/IESNA 90.1–2010, Apêndices B e D, para determinar a zona climática adequada. |
| 213333686b71-df80-4384-b113-1f6ab9aeba5b | Translation Approved (0%) | ASHRAE 50% Advanced Energy Design Guide for Small to Medium Office Buildings | Guia Avançado de Projeto Energético ASHRAE 50% para Edifício de Escritórios Pequenos a Médios (ASHRAE 50% Advanced Energy Design Guide for Small to Medium Office Buildings) |
| 2134fd27a32b-ab7c-4cec-8bd7-f843850a812c | Translation Approved (0%) | <2642>Building envelope, opaque: </2642>roofs, walls, floors, slabs, doors, and continuous air barriers (1 point) | <2642>Envelope do edifício, opaco: </2642>telhados, paredes, pisos, lajes, portas e barreiras de ar contínuas (1 ponto) |
| 213547b938cd-1669-4deb-86c7-6bd587211dc0 | Translation Approved (0%) | <2643>Building envelope, glazing:</2643> vertical fenestration (1 point) | <2643>Envelope do edifício, vidraças:</2643> fenestração vertical (1 ponto) |
| 213609c3fd46-54e9-4276-917b-b4c84421d338 | Translation Approved (0%) | <2644>Interior lighting,</2644> including daylighting and interior finishes (1 point) | <2644>Iluminação interna,</2644> incluindo iluminação natural e acabamentos internos (1 ponto) |
| 2137a5a4247f-998c-4678-ae93-7c105388636b | Translation Approved (0%) | <2645>Exterior lighting </2645>(1 point) | <2645>Iluminação externa </2645>(1 ponto) |
| 2138385b5a74-01df-40d6-9d22-047f0d2b3aff | Translation Approved (0%) | <2646>Plug loads,</2646> including equipment and controls (1 point) | <2646>Cargas de tomadas,</2646> incluindo equipamentos e controles (1 ponto) |
| 2139912df448-f78c-4ede-8368-01c3a838357a | Translation Approved (78%) | ASHRAE 50% Advanced Energy Design Guide for Medium to Large Box Retail Buildings | Guia Avançado de Projeto Energético ASHRAE 50% para Edifícios de Varejo Médios a Grandes (ASHRAE 50% Advanced Energy Design Guide for Medium to Large Box Retail Buildings) |
| 2140891962c7-14a3-432d-b986-9fc30a8df213 | Translation Approved (82%) | <2648>Building envelope, opaque:</2648><2649> </2649>roofs, walls, floors, slabs, doors, and vestibules (1 point) | <2648>Envelope do edifício, opaco: </2648>telhados, paredes, pisos, lajes, portas e vestíbulos (1 ponto) |
| 214175f8a2d0-ab03-4e69-b0c0-3c7ea26174dc | Translation Approved (0%) | <2650>Building envelope, glazing: </2650>fenestration - all orientations (1 point) | <2650>Envelope do edifício, vidraças: </2650>fenestração - todas as orientações (1 ponto) |
| 2142a0798645-17a8-4348-85f6-afbd2d406e07 | Translation Approved (0%) | <2651>Interior lighting,</2651> excluding lighting power density for sales floor (1 point) | <2651>Iluminação interna,</2651> exceto densidade de potência de iluminação para piso de vendas (1 ponto) |
| 2143a3f69c54-b864-4689-b28b-e28075c94f5b | Translation Approved (0%) | <2652>Additional interior lighting</2652> for sales floor (1 point) | <2652>Iluminação interna adicional </2652>para piso de vendas (1 ponto) |
| 2144c37a6214-ffbf-4cf6-b779-17988819c7a8 | Translation Approved (100%) | <2653>Exterior lighting </2653>(1 point) | <2653>Iluminação externa </2653>(1 ponto) |
| 2145a9869a7f-7a82-40bf-b7cb-9e5b529a8525 | Translation Approved (90%) | <2654>Plug loads,</2654><2655> </2655>including equipment choices and controls<2656> </2656>(1 point) | <2654>Cargas de tomadas,</2654> incluindo opções de equipamentos e controles (1 ponto) |
| 2146ccba8ab2-8f8a-4d38-8752-7eac307e66aa | Translation Approved (93%) | ASHRAE 50% Advanced Energy Design Guide for K–12 School Buildings | Guia Avançado de Projeto Energético ASHRAE 50% para Edifício Escolares de Educação Infantil a Ensino Fundamental (ASHRAE 50% Advanced Energy Design Guide for K–12 School Buildings) |
| 214782a3b4ad-4c15-4d38-a0da-d92035bb53c3 | Translation Approved (89%) | <2658>Building envelope, opaque:</2658><2659> </2659>roofs, walls, floors, slabs, and doors (1 point) | <2658>Envelope do edifício, opaco: </2658>telhados, paredes, pisos, lajes e portas (1 ponto) |
| 2148e500b23c-0f3e-4756-85de-ceeda3a1d46f | Translation Approved (99%) | <2660>Building envelope, glazing:</2660><2661> </2661>vertical fenestration (1 point) | <2660>Envelope do edifício, vidraças:</2660> fenestração vertical (1 ponto) |
| 2149b05fce75-810e-439c-af1f-6ddbdbdb5763 | Translation Approved (98%) | <2662>Interior lighting, </2662>including daylighting and interior finishes (1 point) | <2662>Iluminação interna,</2662> incluindo iluminação natural e acabamentos internos (1 ponto) |
| 2150125d74cf-6506-417f-b9b3-3fe9e321dad8 | Translation Approved (94%) | <2663>Exterior lighting</2663><2664> </2664>(1 point) | <2663>Iluminação externa </2663>(1 ponto) |
| 2151a29bcda6-4b8e-46a6-88f5-f2c233650ea0 | Translation Approved (78%) | <2665>Plug loads,</2665><2666> </2666>including equipment choices, controls, and kitchen equipment (1 point) | <2665>Cargas de tomadas,</2665> incluindo opções de equipamentos, controles e equipamentos de cozinha (1 ponto) |
| 21529a3d2f6b-a8d3-486b-9a09-f47a73cbbb23 | Translation Approved (0%) | ASHRAE 50% Advanced Energy Design Guide for Large Hospitals | Guia Avançado de Projeto Energético ASHRAE 50% para Grandes Hospitais (ASHRAE 50% Advanced Energy Design Guide for Large Hospitals) |
| 21534fe4efe0-5bba-43ca-b73a-c01a7ca112fc | Translation Approved (93%) | <2668>Building envelope, opaque:</2668><2669> </2669>roofs, walls, floors, slabs, doors, vestibules, and continuous air barriers (1 point) | <2668>Envelope do edifício, opaco: </2668>telhados, paredes, pisos, lajes, portas, vestíbulos e barreiras de ar contínuas (1 ponto) |
| 2154b386e2d0-8c59-4326-a654-8c41c75bfe4e | Translation Approved (100%) | <2670>Building envelope, glazing:</2670><2671> </2671>vertical fenestration (1 point) | <2670>Envelope do edifício, vidraças:</2670> fenestração vertical (1 ponto) |
| 215536723168-46a0-4155-89cf-0e17c06b4a23 | Translation Approved (74%) | <2672>Interior lighting,</2672> including daylighting (form or nonform driven) and interior finishes (1 point) | <2672>Iluminação interna,</2672> incluindo iluminação natural (orientada por forma ou não) e acabamentos internos (1 ponto) |
| 21560f42224b-3d33-475b-8e5a-707be9308c60 | Translation Approved (99%) | <2673>Exterior lighting</2673> (1 point) | <2673>Iluminação externa </2673>(1 ponto) |
| 2157b24b9456-abab-418c-b3a7-4da5fc34a661 | Translation Approved (100%) | <2674>Plug loads,</2674><2675> </2675>including equipment choices, controls, and kitchen equipment (1 point) | <2674>Cargas de tomadas,</2674> incluindo opções de equipamentos, controles e equipamentos de cozinha (1 ponto) |
| 2158ea184b51-5fe6-426f-aa14-39ef81757d0c | Translation Approved (100%) | Retail only | Apenas Varejo (Retail) |
| 215929143811-0d09-4b07-b7c4-df8b88c3e4aa | Translation Approved (0%) | Meet the requirements of Option 2 and comply with the prescriptive measures in Appendix 3, Tables 1–4, for 90% of total energy consumption for all process equipment. | Satisfaça os requisitos da Opção 2 e cumpra as medidas prescritivas do Apêndice 3, Tabelas de 1 a 4, para 90% do consumo total de energia de todos os equipamentos do processo. |
| 2160088ec93b-eac6-4ea8-a990-e256deeabd99 | Translation Approved (100%) | Data Centers | Centros de Dados (Data Centers) |
| 21617a453478-8530-4772-91d3-2071f1d3b916 | Translation Approved (100%) | Whole-Building Energy Simulation | Simulação de energia de todo o edifício |
| 2162990775df-6eb6-424a-ba38-c278dddacaa6 | Translation Approved (0%) | Analyze efficiency measures focused on IT load reduction and HVAC-related strategies (air-side economizers, hot aisle–cold aisle, etc.). | Analise medidas de eficiência com foco na redução da carga de TI e estratégias relacionadas a HVAC (economizadores no lado de ar, corredor quente-corredor frio, etc.). |
| 2163990775df-6eb6-424a-ba38-c278dddacaa6 | Translation Approved (71%) | Project the potential energy savings and cost implications for all affected systems. | Projete economias de energia em potencial e implicações de custo para todos os sistemas afetados. |
| 21642aecf7e6-da8e-4652-a1fb-ae2954ac1ea3 | Translation Approved (97%) | Follow the criteria in EA Prerequisite Minimum Energy Performance to demonstrate a percentage improvement in the proposed performance rating compared with the baseline. | Siga os critérios do Pré-requisito EA: Desempenho Energético Mínimo (EA Prerequisite: Minimum Energy Performance) para demonstrar um percentual de melhoria na avaliação de desempenho proposto em comparação com a baseline. |
| 2165d8fbff18-eba3-47c9-aaac-dc62e16c5d52 | Translation Approved (0%) | Use energy cost savings from both the building and IT to determine the total percentage reduction. | Use as economias de custo de energia do edifício e de TI para determinar a porcentagem total de redução. |
| 2166db8ef6f1-3c76-4a48-8a7b-120c9fda70b4 | Translation Approved (99%) | EA Credit: Advanced Energy Metering | Crédito EA: Medição de Energia Avançada (EA Credit: Advanced Energy Metering) |
| 216758c2e51a-16c2-48c9-bed2-49264ff5446d | Translation Approved (100%) | BD&C | BD&C |
| 2168c9286aec-7cee-4bda-981c-39b700afcfe5 | Translation Approved (100%) | 1 point | 1 ponto |
| 2169ad9c5693-0233-4724-ac63-ca5dcfb43c0d | Translation Approved (100%) | This credit applies to | Este crédito se aplica a |
| 217066d11d64-9ff5-4f2b-875b-f7862c351a8f | Translation Approved (100%) | New Construction (1 point) | Nova Construção (New Construction) (1 ponto) |
| 217153ee99a4-f529-4089-9f63-bdb4347c55d1 | Translation Approved (100%) | Core & Shell (1 point) | Núcleo e Casca (Core & Shell) (1 ponto) |
| 21727e60a6aa-68bb-41fa-a179-2d58578b9063 | Translation Approved (100%) | Schools (1 point) | Escolas (Schools) (1 ponto) |
| 2173ca5935d7-874d-49ba-8a0d-9ba44a28d1dd | Translation Approved (100%) | Retail (1 point) | Varejo (Retail) (1 ponto) |
| 21745f07f913-9a9e-497d-8b1f-955545726f03 | Translation Approved (100%) | Data Centers (1 point) | Centros de Dados (Data Centers) (1 ponto) |
| 217559dbeee7-db0a-49bf-9779-ef74d9aa6750 | Translation Approved (100%) | Warehouses & Distribution Centers (1 point) | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) (1 ponto) |
| 2176640fa70d-bad3-4742-ad7b-2d1fe49c7ce9 | Translation Approved (100%) | Hospitality (1 point) | Hoteleiro (Hospitality) (1 ponto) |
| 21777adcb1ed-916f-48d5-83e2-e1e35770f43f | Translation Approved (100%) | Healthcare (1 point) | Setor de Saúde (Healthcare) (1 ponto) |
| 21782eeb4cb4-5b6a-4aec-bd81-e5c02a9d0af6 | Translation Approved (100%) | Intent | Objetivo |
| 217927e71c1b-f299-4105-9338-6f9da8b5cef8 | Translation Approved (92%) | To support energy management and identify opportunities for additional energy savings by tracking building-level and system-level energy use. | Apoiar a gestão de energia e identificar oportunidades de economias adicionais de energia rastreando o uso de energia no edifício e nos sistemas. |
| 2180f2c23a77-330f-433b-9829-11e00be49c47 | Translation Approved (100%) | Requirements | Requisitos |
| 218157b3092f-83ce-4087-b244-a4ff4a54c53c | Translation Approved (100%) | NC, Schools, Retail, Data Centers, Warehouses & Distribution Centers, Hospitality, Healthcare | NC, Escolas (Schools), Varejo (Retail), Centros de Dados (Data Centers), Armazéns e Centros de Distribuição (Warehouses & Distribution Centers), Hoteleiro (Hospitality), Setor de Saúde (Healthcare) |
| 21822479bf97-c330-47e9-8e15-aea15ca48798 | Translation Approved (0%) | Install <2683>advanced energy metering</2683> for the following: | Instale <2683>medição avançada de energia</2683> para o seguinte: |
| 21838ba1b5c5-fb6d-4910-8d57-93b6b4fe50b5 | Translation Approved (0%) | all whole-building energy sources used by the building; and | todas as fontes de energia do edifício usadas pelo edifício; e |
| 21848ec26558-724f-4771-9d84-60d768f8cb05 | Translation Approved (0%) | any individual energy end uses that represent 10% or more of the total annual consumption of the building. | qualquer uso final individual de energia que represente 10% ou mais do consumo anual do edifício. |
| 218561e1e85c-9654-4444-93e9-3f3fcc04d5cb | Translation Approved (0%) | The advanced energy metering must have the following characteristics. | A medição avançada de energia deve ter as seguintes características. |
| 218647e49a3d-f255-4261-9a4b-228196b98107 | Translation Approved (0%) | Meters must be permanently installed, record at intervals of one hour or less, and transmit data to a remote location. | Os medidores devem ser instalados de forma permanente, registrar em intervalos de uma hora ou menos e transmitir dados para um local remoto. |
| 2187cb006f49-e1f9-4c1b-8140-81d05f3a3b1f | Translation Approved (0%) | Electricity meters must record both consumption and demand. | Medidores de eletricidade devem registrar o consumo e a demanda. |
| 2188cb006f49-e1f9-4c1b-8140-81d05f3a3b1f | Translation Approved (0%) | Whole-building electricity meters should record the power factor, if appropriate. | Medidores de eletricidade de todo o edifício devem registrar o fator de potência, se adequado. |
| 21897c9002fc-54d4-4832-b5b4-772b1c3a6517 | Translation Approved (0%) | The data collection system must use a local area network, building automation system, wireless network, or comparable communication infrastructure. | O sistema de coleta de dados deve usar uma rede local, sistema de automação predial, rede sem fio ou infraestrutura de comunicação comparável. |
| 21906c327a9a-696f-4932-ae93-c522e2dce079 | Translation Approved (0%) | The system must be capable of storing all meter data for at least 36 months. | O sistema deve ser capaz de armazenar todos os dados de medição por pelo menos 36 meses. |
| 2191eaa5251d-afef-4f4d-af46-989132e925ea | Translation Approved (0%) | The data must be remotely accessible. | Deve ser possível acessar os dados remotamente. |
| 219264a19462-4927-4efd-bb9d-dbe5080ce7cb | Translation Approved (0%) | All meters in the system must be capable of reporting hourly, daily, monthly, and annual energy use. | Todos os medidores no sistema devem ser capazes gerar relatórios horários, diários, mensais e anuais do uso de energia. |
| 21939d7607b5-023b-44e2-823f-c1319cddf797 | Translation Approved (100%) | CS | CS |
| 219408b0d896-bc1e-47db-abe6-ec028469fad2 | Translation Approved (0%) | Install meters for future tenant spaces so that tenants will be capable of independently metering energy consumption (electricity, chilled water, etc.) for all systems dedicated to their space. | Instale medidores para futuros espaços de locatários para que os locatários sejam capazes de medir independentemente o consumo de energia (eletricidade, água resfriada, etc.) de todos os sistemas dedicados a seus espaços. |
| 219508b0d896-bc1e-47db-abe6-ec028469fad2 | Translation Approved (0%) | Provide a sufficient number of meters to capture total tenant energy use with a minimum of one meter per energy source per floor. | Forneça um número suficiente de medidores para capturar o uso total de energia dos locatários com no mínimo um medidor por fonte de energia por piso. |
| 21966ade6f8b-7482-46a3-a6e1-b96fcf505ea6 | Translation Approved (0%) | Install <2684>advanced energy metering</2684> for all base building energy sources used by the building. | Instale <2684>medição avançada de energia</2684> para todas as fontes de energia do edifício base usadas pelo edifício. |
| 219754a116f3-8731-4e0f-af4b-24db6b72974d | Translation Approved (100%) | The advanced energy metering must have the following characteristics. | A medição avançada de energia deve ter as seguintes características. |
| 21980cd06b75-b012-47fe-a72d-0b3d17ef6c1f | Translation Approved (100%) | Meters must be permanently installed, record at intervals of one hour or less, and transmit data to a remote location. | Os medidores devem ser instalados de forma permanente, registrar em intervalos de uma hora ou menos e transmitir dados para um local remoto. |
| 219949daaab8-3f5c-4acb-b273-0a10f890ae4e | Translation Approved (100%) | Electricity meters must record both consumption and demand. | Medidores de eletricidade devem registrar o consumo e a demanda. |
| 220049daaab8-3f5c-4acb-b273-0a10f890ae4e | Translation Approved (100%) | Whole-building electricity meters should record the power factor, if appropriate. | Medidores de eletricidade de todo o edifício devem registrar o fator de potência, se adequado. |
| 2201071efca0-4582-47a6-aedf-cd29b761148d | Translation Approved (100%) | The data collection system must use a local area network, building automation system, wireless network, or comparable communication infrastructure. | O sistema de coleta de dados deve usar uma rede local, sistema de automação predial, rede sem fio ou infraestrutura de comunicação comparável. |
| 22021112ae36-108d-45a9-acf8-f3d9bcf6b129 | Translation Approved (100%) | The system must be capable of storing all meter data for at least 36 months. | O sistema deve ser capaz de armazenar todos os dados de medição por pelo menos 36 meses. |
| 220399ec0beb-6f2c-4d11-840c-90ec0b12fb99 | Translation Approved (100%) | The data must be remotely accessible. | Deve ser possível acessar os dados remotamente. |
| 2204b6aba300-7fe8-4778-8ac0-7609e6f3320d | Translation Approved (100%) | All meters in the system must be capable of reporting hourly, daily, monthly, and annual energy use. | Todos os medidores no sistema devem ser capazes gerar relatórios horários, diários, mensais e anuais do uso de energia. |
| 2205653ce2a0-0dd2-49c8-978a-c05fc22a33dd | Translation Approved (82%) | EA Credit: Demand Response | Crédito EA: Resposta à Demanda (EA Credit: Demand Response) |
| 2206f1a5d68f-a221-4a3f-b7f6-9d27683b3bdd | Translation Approved (100%) | BD&C | BD&C |
| 2207a1d5e862-ed82-49b0-abde-769ca90d6954 | Translation Approved (100%) | 1–2 points | 1 a 2 pontos |
| 22081190fc49-41a0-4d5e-bbf6-239b2be6b868 | Translation Approved (100%) | This credit applies to | Este crédito se aplica a |
| 22093ed1ab8e-ba8f-4dd7-a66e-86a9815e3d4f | Translation Approved (100%) | New Construction (1–2 points) | Nova Construção (New Construction) (1 a 2 pontos) |
| 221087f66d5d-de2d-4f7a-ae14-3b1ec33d0572 | Translation Approved (100%) | Core & Shell (1–2 points) | Núcleo e Casca (Core & Shell) (1 a 2 pontos) |
| 2211d2d94528-ec77-4b05-b39b-660e868030a9 | Translation Approved (100%) | Schools (1–2 points) | Escolas (Schools) (1 a 2 pontos) |
| 221216d499d8-2059-4539-9f3e-a5cd778ecfe2 | Translation Approved (100%) | Retail (1–2 points) | Varejo (Retail) (1 a 2 pontos) |
| 2213a7a73f0b-36f4-455e-973a-78eac4231351 | Translation Approved (100%) | Data Centers (1–2 points) | Centros de Dados (Data Centers) (1 a 2 pontos) |
| 22146adaadd3-01e0-4e10-ab6d-e0d4cb648ca9 | Translation Approved (100%) | Warehouses & Distribution Centers (1–2 points) | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) (1 a 2 pontos) |
| 2215e237b016-1b78-4d13-982e-f8ecc12e4bd5 | Translation Approved (100%) | Hospitality (1–2 points) | Hoteleiro (Hospitality) (1 a 2 pontos) |
| 221642f13d8f-376a-43bf-bd08-1dd90e2951bf | Translation Approved (100%) | Healthcare (1–2 points) | Setor de Saúde (Healthcare) (1 a 2 pontos) |
| 221781da0857-5542-4019-b60c-f262a86ae592 | Translation Approved (100%) | Intent | Objetivo |
| 2218cc2754e3-1346-411a-b06c-dd3a3af9209e | Translation Approved (0%) | To increase participation in demand response technologies and programs that make energy generation and distribution systems more efficient, increase grid reliability, and reduce greenhouse gas emissions. | Aumentar a participação em tecnologias e programas de resposta à demanda que tornem sistemas de geração e distribuição de energia mais eficientes, aumentar a confiabilidade da rede de energia elétrica e reduzir as emissões de gases do efeito estufa. |
| 22194acd6ffe-97ed-4862-81a3-448c50a60832 | Translation Approved (100%) | Requirements | Requisitos |
| 22203ed05e34-9150-458b-8cf6-20508827c9d1 | Translation Approved (100%) | NC, CS, Schools, Retail, Data Centers, Warehouses & Distribution Centers, Hospitality, Healthcare | NC, CS, Escolas (Schools), Varejo (Retail), Centros de Dados (Data Centers), Armazéns e Centros de Distribuição (Warehouses & Distribution Centers), Hoteleiro (Hospitality), Setor de Saúde (Healthcare) |
| 22214e01e128-ba35-4d50-92cf-b87ada4f0ecd | Translation Approved (0%) | Design building and equipment for participation in demand response programs through load shedding or shifting. | Projete o edifício e os equipamentos para participação em programas de resposta à demanda por meio de corte ou mudança da carga. |
| 22224e01e128-ba35-4d50-92cf-b87ada4f0ecd | Translation Approved (0%) | On-site electricity generation does not meet the intent of this credit. | Geração de eletricidade no local não atende ao objetivo deste crédito. |
| 222364ba699b-50da-4fd1-a235-1d7e2eb87591 | Translation Approved (100%) | Case 1. | Caso 1. |
| 222464ba699b-50da-4fd1-a235-1d7e2eb87591 | Translation Approved (0%) | Demand Response Program Available (2 points) | Programa de resposta à demanda disponível (2 pontos) |
| 2225c4372db7-0991-4420-8fc0-c07f5cef6bcc | Translation Approved (0%) | Participate in an existing demand response (DR) program and complete the following activities. | Participe de um programa de resposta à demanda (demand response - DR) existente e execute as atividades a seguir. |
| 2226c4372db7-0991-4420-8fc0-c07f5cef6bcc | Translation Approved (0%) | Design a system with the capability for real-time, fully-automated DR based on external initiation by a DR Program Provider. | Projete um sistema com capacidade de DR totalmente automatizada em tempo real com base em início externo por um Provedor de programas de DR. |
| 2227c4372db7-0991-4420-8fc0-c07f5cef6bcc | Translation Approved (0%) | Semi-automated DR may be utilized in practice. | DR semiautomatizada pode ser utilizada na prática. |
| 2228a4fd1dae-5341-427e-b343-cd3a15e45373 | Translation Approved (0%) | Enroll in a minimum one-year DR participation amount contractual commitment with a qualified DR program provider, with the intention of multiyear renewal, for at least 10% of the estimated peak electricity demand. | Comprometa-se contratualmente com uma participação mínima de DR de um ano com um provedor de programa de DR qualificado, com o objetivo de renovação plurianual, para pelo menos 10% da demanda de pico estimada de eletricidade. |
| 2229a4fd1dae-5341-427e-b343-cd3a15e45373 | Translation Approved (0%) | Peak demand is determined under EA Prerequisite Minimum Energy Performance. | A demanda de pico é determinada pelo Pré-requisito EA: Desempenho Mínimo de Energia (EA Prerequisite: Minimum Energy Performance). |
| 223057fda58c-3bfe-43ac-9a8c-8505eed08812 | Translation Approved (0%) | Develop a comprehensive plan for meeting the contractual commitment during a Demand Response event. | Desenvolva um plano abrangente para cumprir com o compromisso contratual durante um evento de Resposta à demanda. |
| 2231f5577efe-90fa-431d-8e84-b5df5c717035 | Translation Approved (0%) | Include the DR processes in the scope of work for the commissioning authority, including participation in at least one full test of the DR plan. | Inclua os processos de DR no escopo de trabalho da autoridade de comissionamento, incluindo participação em pelo menos um teste completo no plano de DR. |
| 223280aa56c6-82f0-443c-8681-6a71fe87f883 | Translation Approved (100%) | Case 2. | Caso 2. |
| 223380aa56c6-82f0-443c-8681-6a71fe87f883 | Translation Approved (0%) | Demand Response Program Not Available (1 point) | Programa de resposta à demanda não disponível (1 ponto) |
| 22343c2ba197-1241-4467-b05d-541b217ca003 | Translation Approved (0%) | Provide infrastructure to take advantage of future demand response programs or dynamic, real-time pricing programs and complete the following activities. | Forneça a infraestrutura para utilizar programas de resposta à demanda futuros ou programas de definição de preços dinâmicos, em tempo real, e execute as seguintes atividades. |
| 2235b417722c-0a26-4bba-9a09-43f5d15463cb | Translation Approved (0%) | Install interval recording meters with communications and ability for the building automation system to accept an external price or control signal. | Instale medidores de registro de intervalos com comunicações e capacidade para que o sistema de automação predial aceite um preço ou um sinal de controle externo. |
| 2236af1f2e25-d96e-4c72-a727-9930eb9a8c29 | Translation Approved (0%) | Develop a comprehensive plan for shedding at least 10% of building estimated peak electricity demand. | Desenvolva um plano abrangente para cortar pelo menos 10% da demanda de pico estimada de eletricidade do edifício. |
| 2237af1f2e25-d96e-4c72-a727-9930eb9a8c29 | Translation Approved (100%) | Peak demand is determined under EA Prerequisite Minimum Energy Performance. | A demanda de pico é determinada pelo Pré-requisito EA: Desempenho Mínimo de Energia (EA Prerequisite: Minimum Energy Performance). |
| 2238bbdbfeae-3a5c-4629-b473-71f88941d6a6 | Translation Approved (100%) | Include the DR processes in the scope of work for the commissioning authority, including participation in at least one full test of the DR plan. | Inclua os processos de DR no escopo de trabalho da autoridade de comissionamento, incluindo participação em pelo menos um teste completo no plano de DR. |
| 2239b6ebd41b-4b72-40aa-a5c0-0aa23e9093e3 | Translation Approved (0%) | Contact local utility representatives to discuss participation in future DR programs. | Entre em contato com representantes de serviços públicos locais para discutir a participação em futuros programas de DR. |
| 22405f18d8b4-1c77-493a-85b0-c241c2043a7b | Translation Approved (100%) | EA Credit: Renewable Energy Production | Crédito EA: Produção de Energia Renovável (EA Credit: Renewable Energy Production) |
| 22416772f122-f836-4b3e-b2c1-7f3d0193a8d0 | Translation Approved (100%) | BD&C | BD&C |
| 2242e10c2d00-2afa-4357-9f19-068fe81f0536 | Translation Approved (100%) | 1–3 points | 1 a 3 points |
| 22430224374d-197c-4cd4-a7da-d084ef7f9235 | Translation Approved (100%) | This credit applies to | Este crédito se aplica a |
| 224420e13a8f-515a-4417-b4d5-277b513daf19 | Translation Approved (94%) | New Construction (1–3 points) | Nova Construção (New Construction) (1 a 3 pontos) |
| 2245eb134256-e898-4a7d-9c1e-4046dc14022b | Translation Approved (94%) | Core & Shell (1–3 points) | Núcleo e Casca (Core & Shell) (1 a 3 pontos) |
| 22463a7cc9f7-9f23-4089-b558-93d8a6f5a1ec | Translation Approved (93%) | Schools (1–3 points) | Escolas (Schools) (1 a 3 pontos) |
| 22474f5baf55-22b9-4f60-9ca8-a61f82500cf7 | Translation Approved (93%) | Retail (1–3 points) | Varejo (Retail) (1 a 3 pontos) |
| 22488b02b798-5d77-41b5-b046-c8527cf3964b | Translation Approved (94%) | Data Centers (1–3 points) | Centros de Dados (Data Centers) (1 a 3 pontos) |
| 22494fd8fcc0-55a6-4c5d-94e9-d005793d09f3 | Translation Approved (95%) | Warehouses & Distribution Centers (1–3 points) | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) (1 a 3 pontos) |
| 225077821728-1890-4baa-acc0-91f811ee3a61 | Translation Approved (93%) | Hospitality (1–3 points) | Hoteleiro (Hospitality) (1 a 3 pontos) |
| 22516ecaba81-1992-48ee-80f8-8903789f80b9 | Translation Approved (93%) | Healthcare (1–3 points) | Setor de Saúde (Healthcare) (1 a 3 pontos) |
| 22521b268063-e304-4943-b66d-002183b01b8f | Translation Approved (100%) | Intent | Objetivo |
| 22538058e28f-e7ea-41db-8889-d9a7d6da1373 | Translation Approved (0%) | To reduce the environmental and economic harms associated with fossil fuel energy by increasing self-supply of renewable energy. | Reduzir os prejuízos ambientais e econômicos associados à energia de combustíveis fósseis aumentando o autoabastecimento de energia renovável. |
| 22541775a41a-cc7e-4467-89e8-7324a238463d | Translation Approved (100%) | Requirements | Requisitos |
| 225558bfd4f4-cb80-4147-a75c-e299f734d64f | Translation Approved (100%) | NC, CS, Schools, Retail, Data Centers, Warehouses & Distribution Centers, Hospitality, Healthcare | NC, CS, Escolas (Schools), Varejo (Retail), Centros de Dados (Data Centers), Armazéns e Centros de Distribuição (Warehouses & Distribution Centers), Hoteleiro (Hospitality), Setor de Saúde (Healthcare) |
| 22563c414246-14ee-44d4-8604-48d0a5b520cb | Translation Approved (0%) | Use renewable energy systems to offset building energy costs. | Use sistemas de energia renovável para compensar os custos de energia do edifício. |
| 22573c414246-14ee-44d4-8604-48d0a5b520cb | Translation Approved (0%) | Calculate the percentage of renewable energy with the following equation: | Calcule a porcentagem de energia renovável com a seguinte equação: |
| 2258b7bc6258-1f6c-4616-bc64-9b40920519d9 | Translation Approved (92%) | % renewable energy = | % de energia renovável = |
| 2259716ee097-70e5-4ce9-a430-2d45c98f8314 | Translation Approved (0%) | Equivalent cost of usable energy produced by the renewable energy system | Custo equivalente da energia utilizável produzida pelo sistema de energia renovável |
| 22601089b5be-9d4c-43e2-95d1-c320579cd6cb | Translation Approved (0%) | Total building annual energy cost | Custo anual total de energia do edifício |
| 2261144e409c-8a5f-4f4d-a5ed-a4fe0fbbb1c7 | Translation Approved (0%) | Use the building’s annual energy cost, calculated in EA Prerequisite Minimum Energy Performance, if Option 1 was pursued; otherwise use the U.S. Department of Energy’s Commercial Buildings Energy Consumption Survey (CBECS) database to estimate energy use and cost. | Use o custo de energia anual do edifício, calculado no Pré-requisito EA: Desempenho Mínimo de Energia (EA Prerequisite: Minimum Energy Performance), se a Opção 1 for desejada. Caso contrário, use o banco de dados da Pesquisa de Consumo Energético de Edifícios Comerciais (Commercial Buildings Energy Consumption Survey - CBECS) do Ministério de Energia dos EUA para estimar o uso e o custo de energia. |
| 226289ef2cab-a832-4fbb-88cd-cad8d3961f0c | Translation Approved (0%) | The use of solar gardens or community renewable energy systems is allowed if both of the following requirements are met. | O uso de sistemas de geração de energia solar ou de sistemas de energia renovável comunitários é permitido se os dois requisitos a seguir forem atendidos. |
| 2263264cdd5c-2513-409d-b9ef-982101eda71d | Translation Approved (0%) | The project owns the system or has signed a lease agreement for a period of at least 10 years. | O projeto é dono do sistema ou assinou um contrato de locação por um período de pelo menos 10 anos. |
| 2264fd8a6c36-3184-4c43-bc04-461c5537538c | Translation Approved (0%) | The system is located with the same utility service area as the facility claiming the use. | O sistema está localizado na mesma área de serviço público da instalação que faz o uso. |
| 2265ae412bdb-40ce-48e7-9d9d-e0a6fc51d875 | Translation Approved (0%) | Credit is based on the percentage of ownership or percentage of use assigned in the lease agreement. | O crédito se baseia na porcentagem de propriedade ou de uso atribuída no contrato de locação. |
| 2266ae412bdb-40ce-48e7-9d9d-e0a6fc51d875 | Translation Approved (100%) | Points are awarded according to Table 1. | Os pontos são concedidos de acordo com a Tabela 1. |
| 22679c804c6e-84ab-4150-94be-7a4e1601ffad | Translation Approved (100%) | Table 1. | Tabela 1. |
| 22689c804c6e-84ab-4150-94be-7a4e1601ffad | Translation Approved (0%) | Points for renewable energy | Pontos para energia renovável |
| 2269099abdde-e796-47d7-8473-9e2445b29ec5 | Translation Approved (77%) | Percentage renewable energy | Porcentagem de energia renovável |
| 2270ccbd456a-39b1-42a2-ae02-e1c3b707d1ab | Translation Approved (78%) | Points (except CS) | Pontos (exceto CS) |
| 227151858654-326d-43af-ba77-a62e70cf8a57 | Translation Approved (72%) | Points (CS) | Pontos (CS) |
| 22720dabd833-9dd2-44ef-b172-56efa1c6d946 | Translation Approved (100%) | 1% | 1% |
| 2273a33d3d79-c939-427e-a102-838ed6c9dce4 | Translation Approved (100%) | 1 | 1 |
| 22741cede762-983b-4d63-b818-e01c3440014b | Translation Approved (100%) | 1 | 1 |
| 227595aec004-f6d2-4ef4-8ff6-c671c9b5a3f3 | Translation Approved (100%) | 3% | 3% |
| 22769e931efc-7cd9-4955-976f-42f4bf73396e | Translation Approved (100%) | — | — |
| 2277798bd33d-f95f-4b5f-8cc4-bb9c45fa65fd | Translation Approved (100%) | 2 | 2 |
| 2278a6ac2759-3e71-4230-967a-3dbdd1f70643 | Translation Approved (100%) | 5% | 5% |
| 227938656a72-b5f0-4fb0-a24d-1de486bb641e | Translation Approved (100%) | 2 | 2 |
| 22800dcf2d58-b2bf-428c-acc1-2f4c7ea8bf50 | Translation Approved (100%) | 3 | 3 |
| 228148bf823c-d569-49c6-80db-8a6900cf666c | Translation Approved (100%) | 10% | 10% |
| 22824fd8fd09-c084-4023-aff7-da231f7acf13 | Translation Approved (100%) | 3 | 3 |
| 2283c34dc3d1-9fad-4502-9984-df19137f7de8 | Translation Approved (100%) | — | — |
| 2284306ee4fe-c65a-440c-80b2-74acb267c9d8 | Translation Approved (100%) | EA Credit: Enhanced Refrigerant Management | Crédito EA: Gerenciamento Aprimorado de Gases Refrigerantes (EA Credit: Enhanced Refrigerant Management) |
| 2285fdf52cf0-dd41-4f06-8670-683bf9706285 | Translation Approved (100%) | BD&C | BD&C |
| 2286d00068ef-bb22-476f-8b2a-65a685119ecf | Translation Approved (100%) | 1 point | 1 ponto |
| 228726376a18-197d-4952-bc50-3511ef878c1c | Translation Approved (100%) | This credit applies to | Este crédito se aplica a |
| 22881c20c923-f75d-41a1-8c78-bf7e22529413 | Translation Approved (100%) | New Construction (1 point) | Nova Construção (New Construction) (1 ponto) |
| 2289cb24cf61-8a12-4421-a74f-b6eb90c8efb9 | Translation Approved (100%) | Core & Shell (1 point) | Núcleo e Casca (Core & Shell) (1 ponto) |
| 2290ae4a01d5-b605-4b63-9606-bfba3df04fe9 | Translation Approved (100%) | Schools (1 point) | Escolas (Schools) (1 ponto) |
| 2291a2482990-4c7f-4b76-a6f8-98a9a766a2c6 | Translation Approved (100%) | Retail (1 point) | Varejo (Retail) (1 ponto) |
| 229212637b1f-f530-47e7-9f58-6b3426d953fa | Translation Approved (100%) | Data Centers (1 point) | Centros de Dados (Data Centers) (1 ponto) |
| 229328c914f3-b3a1-43d0-82c5-feab9449c469 | Translation Approved (100%) | Warehouses & Distribution Centers (1 point) | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) (1 ponto) |
| 22946cb7b79a-c189-4661-aee1-a8507cfc28a3 | Translation Approved (100%) | Hospitality (1 point) | Hoteleiro (Hospitality) (1 ponto) |
| 2295cbef64e0-122e-4bf7-82eb-407a4d5ef866 | Translation Approved (100%) | Healthcare (1 point) | Setor de Saúde (Healthcare) (1 ponto) |
| 2296fc7a9dad-6ea3-4388-b456-90b197b35c68 | Translation Approved (100%) | Intent | Objetivo |
| 22979ed42d9a-2e2e-48d0-ade2-3d91689af28f | Translation Approved (100%) | To reduce ozone depletion and support early compliance with the Montreal Protocol while minimizing direct contributions to climate change. | Reduzir a destruição da camada de ozônio e promover conformidade antecipada com o Protocolo de Montreal minimizando ao mesmo tempo as contribuições diretas para a mudança climática. |
| 2298cdba42a4-8a8f-4b3c-8c65-741c0246231d | Translation Approved (100%) | Requirements | Requisitos |
| 22990945839d-222e-4f92-8551-e3d04b6a2c69 | Translation Approved (94%) | NC, CS, Schools, Data Centers, Warehouses & Distribution Centers, Hospitality, Healthcare | NC, CS, Escolas (Schools), Centros de Dados (Data Centers), Armazéns e Centros de Distribuição (Warehouses & Distribution Centers), Hoteleiro (Hospitality), Setor de Saúde (Healthcare) |
| 230026792014-afc2-410e-afd5-5272b82a2461 | Translation Approved (100%) | Option 1. | Opção 1. |
| 230126792014-afc2-410e-afd5-5272b82a2461 | Translation Approved (0%) | No Refrigerants or Low-Impact Refrigerants (1 point) | Sem refrigerantes ou com refrigerantes de baixo impacto (1 ponto) |
| 23022a3a172d-bc53-44ba-a676-20451ade8a9e | Translation Approved (0%) | Do not use refrigerants, or use only refrigerants (naturally occurring or synthetic) that have an ozone depletion potential (ODP) of zero and a global warming potential (GWP) of less than 50. | Não use refrigerantes ou use apenas refrigerantes (naturais ou sintéticos) que tenham um potencial de destruição da camada de ozônio (ozone depletion potential - ODP) de zero e um potencial de aquecimento global (global warming potential - GWP) inferior a 50. |
| 23037147fb4b-912c-493c-afd6-a64c39f0e3c1 | Translation Approved (100%) | OR | OU |
| 23047208c62c-cd44-47d1-9154-39addfa8be92 | Translation Approved (100%) | Option 2. | Opção 2. |
| 23057208c62c-cd44-47d1-9154-39addfa8be92 | Translation Approved (0%) | Calculation of Refrigerant Impact (1 point) | Cálculo do impacto do refrigerante (1 ponto) |
| 2306809e8253-5425-4e0b-98a5-e3088dcfede8 | Translation Approved (0%) | Select refrigerants that are used in heating, ventilating, air-conditioning, and refrigeration (HVAC&R) equipment to minimize or eliminate the emission of compounds that contribute to ozone depletion and climate change. | Selecione refrigerantes usados em equipamentos de aquecimento, ventilação, ar-condicionado e refrigeração (HVAC&R) para minimizar ou eliminar a emissão de compostos que contribuem para a destruição da camada de ozônio e a mudança climática. |
| 2307809e8253-5425-4e0b-98a5-e3088dcfede8 | Translation Approved (0%) | The combination of all new and existing base building and tenant HVAC&R equipment that serve the project must comply with the following formula: | A combinação de equipamentos de HVAC&R novos e existentes do edifício base e de locatários que atendam ao projeto deve seguir a seguinte fórmula: |
| 2308db58aa14-8612-454c-9aab-6c9edf02b543 | Translation Approved (100%) | IP units | Sistema imperial |
| 2309691f9405-1422-47fd-b672-a8a3575b9679 | Translation Approved (100%) | LCGWP | LCGWP |
| 23100753b02e-d0e7-454c-931b-e1282df30814 | Translation Approved (100%) | + | + |
| 231185a76ec7-5409-43a2-b707-e6b54b6ae46d | Translation Approved (100%) | LCODP | LCODP |
| 23123e85ac33-1d13-444b-8f29-de8d178f95a5 | Translation Approved (100%) | x | x |
| 231353063380-184e-4d2a-a418-7987888e7d15 | Translation Approved (100%) | 10<2793>5</2793> | 10<2793>5</2793> |
| 2314261f22fa-f548-40fc-8959-696b55e9fb56 | Translation Approved (0%) | ≤ | ≤ |
| 2315df06aea3-632a-470f-8517-7e8e91f82b0e | Translation Approved (100%) | 100 | 100 |
| 23162283ee73-0838-4b6e-a30f-160f8b2efa0d | Translation Approved (CM) | SI units | Sistema métrico |
| 2317cdb9a8e4-c9d4-4190-baad-635f769217f5 | Translation Approved (100%) | LCGWP | LCGWP |
| 2318aada3708-46e1-422c-8cfc-833fac639b14 | Translation Approved (100%) | + | + |
| 2319927c5f4a-b9e4-4637-8f9a-f6d8b6f55fe7 | Translation Approved (100%) | LCODP | LCODP |
| 2320f00f002b-4fea-4200-a2a5-0bf880f845b9 | Translation Approved (100%) | x | x |
| 2321dfc55162-a6fa-4493-8f52-e00f8b3a7dd6 | Translation Approved (100%) | 10<2819>5</2819> | 10<2819>5</2819> |
| 2322361e2e22-5576-40f0-b75f-1225377135d6 | Translation Approved (100%) | ≤ | ≤ |
| 2323293575a0-e885-410a-bf1c-67d588c7353c | Translation Approved (100%) | 13 | 13 |
| 2324010f135e-78e9-43b8-a5a8-0bff91450f61 | Translation Approved (100%) | Calculation definitions for LCGWP + LCODP x 10<2830>5</2830> ≤ 100 | Definições de cálculo de LCGWP + LCODP x 10<2830>5</2830> ≤ 100 |
| 232513f6b5ac-4554-4a84-8207-45093a092315 | Translation Approved (100%) | (IP units) | (Sistema imperial) |
| 2326d4fedfc0-317d-497c-8c0e-25eab3a2fb07 | Translation Approved (100%) | Calculation definitions for LCGWP + LCODP x 10<2839>5</2839> ≤ 13 | Definições de cálculo de LCGWP + LCODP x 10<2839>5</2839> ≤ 13 |
| 2327fbcca5dc-6294-4a09-8359-c28e655bf791 | Translation Approved (100%) | (SI units) | (Sistema métrico) |
| 2328ebd6e747-6864-4cf4-b9e0-02a9e3b4fa4b | Translation Approved (100%) | LCODP = [ODPr x (Lr x Life +Mr) x Rc]/Life | LCODP = [ODPr x (Lr x Vida útil +Mr) x Rc]/Vida útil |
| 2329f8bf6e0c-4bb0-461a-a6ba-45441c8fe3d3 | Translation Approved (100%) | LCODP = [ODPr x (Lr x Life +Mr) x Rc]/Life | LCODP = [ODPr x (Lr x Vida útil +Mr) x Rc]/Vida útil |
| 2330c067a196-f3e9-4ca5-a3bf-4a02708861c3 | Translation Approved (100%) | LCGWP = [GWPr x (Lr x Life +Mr) x Rc]/Life | LCGWP = [GWPr x (Lr x Vida útil +Mr) x Rc]/Vida útil |
| 2331ec0aa817-727f-482a-80ae-7ac7a77aee7e | Translation Approved (100%) | LCGWP = [GWPr x (Lr x Life +Mr) x Rc]/Life | LCGWP = [GWPr x (Lr x Vida útil +Mr) x Rc]/Vida útil |
| 2332371c5fcd-9758-4840-b78e-141c0b537960 | Translation Approved (0%) | LCODP: Lifecycle Ozone Depletion Potential (lb CFC 11/Ton-Year) | LCODP: Potencial de destruição da camada de ozônio do ciclo de vida (lb CFC 11/Ton-Ano) |
| 233322aafddf-83a7-4b84-aada-da107ff9a3dc | Translation Approved (78%) | LCODP: Lifecycle Ozone Depletion Potential (kg CFC 11/(kW/year)) | LCODP: Potencial de destruição da camada de ozônio do ciclo de vida (kg CFC 11/(kW/ano)) |
| 2334aaebb0e3-3a60-46d8-bbce-c2b57c23acd7 | Translation Approved (0%) | LCGWP: Lifecycle Direct Global Warming Potential (lb CO<2865>2</2865>/Ton-Year) | LCGWP: Potencial de aquecimento global direto do ciclo de vida (lb CO<2865>2</2865>/Ton-Ano) |
| 23353c38f784-68d6-4942-8079-a96370d7db45 | Translation Approved (0%) | LCGWP: Lifecycle Direct Global Warming Potential (kg CO<2869>2</2869>/kW-year) | LCGWP: Potencial de aquecimento global direto do ciclo de vida (kg CO<2869>2</2869>/kW-ano) |
| 2336b564fc62-50fb-4018-9298-bbb40e28ede9 | Translation Approved (0%) | GWPr: Global Warming Potential of Refrigerant (0 to 12,000 lb CO<2873>2</2873>/lbr) | GWPr: Potencial de aquecimento global do refrigerante (0 a 12.000 lb CO<2873>2</2873>/lbr) |
| 2337852ab730-f0ba-48c4-bab8-84e1c4e9ecd2 | Translation Approved (0%) | GWPr: Global Warming Potential of Refrigerant (0 to 12,000 kg CO<2877>2</2877>/kg r) | GWPr: Potencial de aquecimento global do refrigerante (0 a 12.000 kg CO<2877>2</2877>/kg r) |
| 2338716c0fa9-f241-4443-8ee7-e78550f9d557 | Translation Approved (0%) | ODPr: Ozone Depletion Potential of Refrigerant (0 to 0.2 lb CFC 11/lbr) | ODPr: Potencial de destruição da camada de ozônio do refrigerante (0 a 0,2 lb CFC 11/lbr) |
| 2339424b0317-e379-4305-a666-30f26a9d45d8 | Translation Approved (0%) | ODPr: Ozone Depletion Potential of Refrigerant (0 to 0.2 kg CFC 11/kg r) | ODPr: Potencial de destruição da camada de ozônio do refrigerante (0 a 0,2 kg CFC 11/kg r) |
| 23408179957b-74d3-4e4e-acd9-5d3e1f285cd2 | Translation Approved (0%) | Lr: Refrigerant Leakage Rate (2.0%) | Lr: Taxa de vazamento do refrigerante (2,0%) |
| 23419548269c-c3b7-47cb-a825-731355ef4683 | Translation Approved (100%) | Lr: Refrigerant Leakage Rate (2.0%) | Lr: Taxa de vazamento do refrigerante (2,0%) |
| 234235767053-33f1-48d2-a5ff-6fa2101e53e3 | Translation Approved (0%) | Mr: End-of-life Refrigerant Loss (10%) | Mr: Perda de refrigerante no final da vida útil (10%) |
| 2343c348f6b0-f2e8-48ca-8107-41c954199090 | Translation Approved (100%) | Mr: End-of-life Refrigerant Loss (10%) | Mr: Perda de refrigerante no final da vida útil (10%) |
| 2344e82e0396-2c5d-44a4-910e-9c47a68df340 | Translation Approved (0%) | Rc: Refrigerant Charge (0.5 to 5.0 lbs of refrigerant per ton of gross AHRI rated cooling capacity) | Rc: Carga de refrigerante (0,5 a 5,0 lb de refrigerante por tonelada de capacidade nominal bruta de resfriamento AHRI) |
| 2345c9d01061-ca1e-4ad3-bc07-34947cb03de3 | Translation Approved (0%) | Rc: Refrigerant Charge (0.065 to 0.65 kg of refrigerant per kW of AHRI rated or Eurovent Certified cooling capacity) | Rc: Carga de refrigerante (0,065 a 0,65 kg de refrigerante por kW da capacidade nominal de resfriamento AHRI ou com certificação Eurovent) |
| 2346e4d4722e-0e93-4673-bf24-c08b016cd7cb | Translation Approved (0%) | Life: Equipment Life (10 years; default based on equipment type, unless otherwise demonstrated) | Vida útil: Vida útil dos equipamentos (10 anos; padrão com base no tipo de equipamento, salvo de demonstrado de outra forma) |
| 23473e9fd1a8-2fc9-4b59-a601-aa89ac72413e | Translation Approved (100%) | Life: Equipment Life (10 years; default based on equipment type, unless otherwise demonstrated) | Vida útil: Vida útil dos equipamentos (10 anos; padrão com base no tipo de equipamento, salvo de demonstrado de outra forma) |
| 23481795c865-7314-4cbb-8d50-d21d782d4b4f | Translation Approved (0%) | For multiple types of equipment, calculate a weighted average of all base building HVAC&R equipment, using the following formula: | Para vários tipos de equipamentos, calcule uma média ponderada de todos os equipamentos de HVAC&R do edifício base utilizando a seguinte fórmula: |
| 2349a0076949-eeba-45fc-b494-3d676ab63fdb | Translation Approved (100%) | IP units | Sistema imperial |
| 235008a4104b-9f3f-4bbf-93fb-839b81bcc099 | Translation Approved (100%) | SI units | Sistema métrico |
| 2351325a512c-6e09-40bf-97e5-0e89d8bce5d3 | Translation Approved (0%) | [ ∑ ( LCGWP + LCODP x 10<2919>5</2919> ) x Qunit ] | [ ∑ ( LCGWP + LCODP x 10<2919>5</2919> ) x Qunit ] |
| 2352a8e5d4e4-fb1f-4fdf-9bb1-b91ce8c8f1a0 | Translation Approved (0%) | ≤ 100 | ≤ 100 |
| 2353e5f6a0f3-c818-4226-b8d0-15ae36f48f27 | Translation Approved (100%) | [ ∑ ( LCGWP + LCODP x 10<2926>5</2926> ) x Qunit ] | [ ∑ ( LCGWP + LCODP x 10<2926>5</2926> ) x Qunit ] |
| 2354e12e98a6-36cc-441f-b353-27cbb12bfdb3 | Translation Approved (100%) | ≤ 13 | ≤ 13 |
| 235538372563-8505-4f16-8ca8-a32b4ac79787 | Translation Approved (0%) | ——————————————————Qtotal | ——————————————————Qtotal |
| 2356d9010d51-77e4-40f1-8c12-6fb207042ddf | Translation Approved (0%) | —————————————————— | —————————————————— |
| 2357223fb955-1e75-40fe-b23e-83938460135f | Translation Approved (0%) | Qtotal | Qtotal |
| 2358d3966c7f-1354-4161-bf92-8a4c3d1411cc | Translation Approved (0%) | Calculation definitions for [ ∑ (LCGWP + LCODP x 10<2943>5</2943>) x Qunit ] / Qtotal ≤ 100 | Definições de cálculo para [ ∑ (LCGWP + LCODP x 10<2943>5</2943>) x Qunid ] / Qtotal ≤ 100 |
| 23595e50f063-39ab-46f7-8ec5-2ebed182eff5 | Translation Approved (100%) | (IP units) | (Sistema imperial) |
| 23601906281f-c478-4ff3-9f8e-4975454373fd | Translation Approved (100%) | Calculation definitions for [ ∑ (LCGWP + LCODP x 10<2952>5</2952>) x Qunit ] / Qtotal ≤ 13 | Definições de cálculo para [ ∑ (LCGWP + LCODP x 10<2952>5</2952>) x Qunid ] / Qtotal ≤ 13 |
| 236110930ffd-a56c-4850-943c-69e5e4792469 | Translation Approved (100%) | (SI units) | (Sistema métrico) |
| 2362851882de-21a7-425e-afb8-c04883764445 | Translation Approved (0%) | Qunit = Gross AHRI rated cooling capacity of an individual HVAC or refrigeration unit (Tons) | Qunid = capacidade nominal bruta de resfriamento AHRI de uma unidade de HVAC ou refrigeração individual (toneladas) |
| 23631ddf3712-4ae4-4dce-a5b5-4af5decec0f4 | Translation Approved (100%) | Qunit = Eurovent Certified cooling capacity of an individual HVAC or refrigeration unit (kW) | Qunid = capacidade de resfriamento com Certificação Eurovent de uma unidade de HVAC ou refrigeração individual (kW) |
| 23648be80703-11a4-4a71-84ab-ad85e9401180 | Translation Approved (0%) | Qtotal = Total gross AHRI rated cooling capacity of all HVAC or refrigeration | Qtotal = capacidade nominal bruta total de resfriamento AHRI de todas as unidades de HVAC ou refrigeração |
| 23657a8b0f4e-1765-48e5-a25c-2e949bc69d2c | Translation Approved (100%) | Qtotal = Total Eurovent Certified cooling capacity of all HVAC or refrigeration (kW) | Qtotal = capacidade de resfriamento total com Certificação Eurovent de todas as unidades de HVAC ou refrigeração (kW) |
| 23661dc97255-8749-4adf-bafe-6795aa9ae469 | Translation Approved (0%) | Retail NC | Varejo NC |
| 2367231d7347-c15e-4f99-8ec1-b7eff3fb1569 | Translation Approved (0%) | Meet Option 1 or 2 for all HVAC systems. | Atenda à Opção 1 ou 2 para todos os sistemas de HVAC. |
| 23689f47966a-4f04-43ca-9836-b9756313eab0 | Translation Approved (0%) | Stores with commercial refrigeration systems must comply with the following. | Lojas com sistemas de refrigeração comercial devem cumprir o seguinte. |
| 236917747220-4969-41fb-8aaa-1bb2021076e9 | Translation Approved (0%) | Use only non-ozone-depleting refrigerants. | Use apenas refrigerantes que não destruam a camada de ozônio. |
| 2370897c4e89-c2ea-4160-a29c-6198bf3a26aa | Translation Approved (0%) | Select equipment with an average HFC refrigerant charge of no more than 1.75 pounds of refrigerant per 1,000 Btu/h (2.72 kg of refrigerant per kW) total evaporator cooling load. | Selecione equipamentos com carga de refrigerante HFC média de no máximo 1,75 libra de refrigerante por 1.000 Btu/h (2,72 kg de refrigerante por kW) de carga total de resfriamento do evaporador. |
| 237172d1cc1d-4d4d-44fa-bb3c-b57fa519cb87 | Translation Approved (0%) | Demonstrate a predicted store-wide annual refrigerant emissions rate of no more than 15%. | Demonstre uma taxa anual de emissões de refrigerante prevista para toda a loja de no máximo 15%. |
| 237272d1cc1d-4d4d-44fa-bb3c-b57fa519cb87 | Translation Approved (0%) | Conduct leak testing using the procedures in GreenChill’s best practices guideline for leak tightness at installation. | Realize testes de vazamento utilizando os procedimentos da diretriz de melhores práticas da GreenChill para testar a vedação de vazamentos na instalação. |
| 23732b5b5b51-ff78-4aa7-bf85-02334f444eee | Translation Approved (0%) | Alternatively, stores with commercial refrigeration systems may provide proof of attainment of EPA GreenChill’s silver-level store certification for newly constructed stores. | Como alternativa, lojas com sistemas de refrigeração comercial podem apresentar prova de obtenção do certificado de loja nível prata (Silver) da EPA GreenChill para lojas recém-construídas. |
| 23747cde5784-55ea-4532-8aaf-fe0ea0539d77 | Translation Approved (95%) | EA Credit: Green Power and Carbon Offsets | Crédito EA: Energia Verde e Compensações de Carbono (EA Credit: Green Power and Carbon Offsets) |
| 2375b42bb7b7-7b75-468b-afb6-24edfc9a0553 | Translation Approved (100%) | BD&C | BD&C |
| 23766871bf08-ed83-42b1-93fd-fa7b2f7aeb1c | Translation Approved (100%) | 1–2 points | 1 a 2 pontos |
| 2377833f8151-f5f4-43d8-b3a5-f802e3aa366e | Translation Approved (100%) | This credit applies to | Este crédito se aplica a |
| 237801e77981-2567-418b-9250-5ae68fa4b09c | Translation Approved (100%) | New Construction (1–2 points) | Nova Construção (New Construction) (1 a 2 pontos) |
| 2379a64d252d-ed14-4caf-9316-e5df4b6c66ad | Translation Approved (100%) | Core & Shell (1–2 points) | Núcleo e Casca (Core & Shell) (1 a 2 pontos) |
| 23801428ca55-51bf-4887-8967-acb1e74d58e1 | Translation Approved (100%) | Schools (1–2 points) | Escolas (Schools) (1 a 2 pontos) |
| 238101f7cfd6-d391-4e43-a2cf-1cfb355e3567 | Translation Approved (100%) | Retail (1–2 points) | Varejo (Retail) (1 a 2 pontos) |
| 2382481a5e03-3662-406f-aaee-ea87c4339c36 | Translation Approved (100%) | Data Centers (1–2 points) | Centros de Dados (Data Centers) (1 a 2 pontos) |
| 23836d39664b-d227-4d15-96b5-d6b82df39992 | Translation Approved (100%) | Warehouses & Distribution Centers (1–2 points) | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) (1 a 2 pontos) |
| 2384bca7fa41-bb99-42ee-a08d-9b3619920e1b | Translation Approved (100%) | Hospitality (1–2 points) | Hoteleiro (Hospitality) (1 a 2 pontos) |
| 238503db23f5-2817-40f7-a670-847b6462877c | Translation Approved (100%) | Healthcare (1–2 points) | Setor de Saúde (Healthcare) (1 a 2 pontos) |
| 2386703961f7-fab6-417c-b15b-12aed4196fe9 | Translation Approved (100%) | Intent | Objetivo |
| 23876e46be13-0f14-4a2e-b45e-26f6a0dc6317 | Translation Approved (0%) | To encourage the reduction of greenhouse gas emissions through the use of grid-source, renewable energy technologies and carbon mitigation projects. | Incentivar a redução de emissões de gases do efeito estufa com o uso de fontes provenientes da rede de energia, tecnologias de energia renovável e projetos de mitigação de carbono. |
| 23889e8cc435-8ab0-4148-95f9-5877dcd643bd | Translation Approved (100%) | Requirements | Requisitos |
| 2389afd29707-9c9d-49d6-b217-e8f009e23b71 | Translation Approved (100%) | NC, CS, Schools, Retail, Data Centers, Warehouses & Distribution Centers, Hospitality, Healthcare | NC, CS, Escolas (Schools), Varejo (Retail), Centros de Dados (Data Centers), Armazéns e Centros de Distribuição (Warehouses & Distribution Centers), Hoteleiro (Hospitality), Setor de Saúde (Healthcare) |
| 2390f29b080c-a828-4d2b-8746-7002d6bdc3ba | Translation Approved (0%) | Engage in a contract for qualified resources that have come online since January 1, 2005, for a minimum of five years, to be delivered at least annually. | Firme um contrato de recursos qualificados que estejam on-line a partir de 1 de janeiro de 2005, por no mínimo cinco anos, a ser entregue pelo menos anualmente. |
| 2391f29b080c-a828-4d2b-8746-7002d6bdc3ba | Translation Approved (100%) | The contract must specify the provision of at least 50% or 100% of the project’s energy from green power, carbon offsets, or renewable energy certificates (RECs). | O contrato deve especificar o fornecimento de pelo menos 50% ou 100% da energia do projeto proveniente de energia verde, compensações de carbono e certificados de energia renovável (renewable energy certificates - RECs). |
| 239253b9bd83-9b1b-4198-9ed1-8000b74ef1ee | Translation Approved (0%) | Green power and RECs must be Green-e Energy certified or the equivalent. | Energia verde e RECs devem ter a certificação Green-e Energy ou equivalente. |
| 239353b9bd83-9b1b-4198-9ed1-8000b74ef1ee | Translation Approved (0%) | RECs can only be used to mitigate the effects of Scope 2, electricity use. | RECs só podem ser usados para atenuar os efeitos do uso de eletricidade do Escopo 2. |
| 239497b6e922-efaf-4598-837e-48f56b400533 | Translation Approved (0%) | Carbon offsets may be used to mitigate Scope 1 or Scope 2 emissions on a metric ton of carbon dioxide–equivalent basis and must be Green-e Climate certified, or the equivalent. | Compensações de carbono podem ser usadas para atenuar emissões do Escopo 1 ou do Escopo 2 em uma tonelada métrica de dióxido de carbono ou base equivalente e devem ter a certificação Green-e Climate ou equivalente. |
| 23953203ad77-bf06-4479-9402-315e424b2158 | Translation Approved (0%) | For U.S. projects, the offsets must be from greenhouse gas emissions reduction projects within the U.S. | Para projetos nos EUA, as compensações devem ser de projetos de redução de emissões de gases do efeito estufa dentro dos EUA. |
| 23963698a414-379e-4dac-907a-33ca94182150 | Translation Approved (0%) | Determine the percentage of green power or offsets based on the quantity of energy consumed, not the cost. | Determine a porcentagem de energia verde ou compensações com base na quantidade de energia consumida, não no custo. |
| 23973698a414-379e-4dac-907a-33ca94182150 | Translation Approved (100%) | Points are awarded according to Table 1. | Os pontos são concedidos de acordo com a Tabela 1. |
| 2398a461b50c-455c-4e93-a32f-abf876ed1112 | Translation Approved (100%) | Table 1. | Tabela 1. |
| 2399a461b50c-455c-4e93-a32f-abf876ed1112 | Translation Approved (0%) | Points for energy from green power or carbon offsets | Pontos para energia de energia verde ou compensações de carbono |
| 24004d243d05-e3a3-4982-a183-734b1cd200b5 | Translation Approved (0%) | Percentage of total energy addressed by green power, RECs and/or offsets | Porcentagem da energia total fornecida por energia verde, RECs e/ou compensações |
| 2401bbdbd1a6-7011-4f9f-ae94-c22e4a5eaba1 | Translation Approved (100%) | Points | Pontos |
| 240255845eec-e0ed-40f9-a69f-48fc4ad10344 | Translation Approved (100%) | 50% | 50% |
| 2403f0af41ce-a348-466e-9d1f-c2eaedadff76 | Translation Approved (100%) | 1 | 1 |
| 24040f72e0d9-7934-420f-a53e-4e86d187ec01 | Translation Approved (100%) | 100% | 100% |
| 2405ab33bff0-4198-4a87-897d-94c28c91a534 | Translation Approved (100%) | 2 | 2 |
| 2406044186cd-68ce-4354-a957-e4e0ff774ba2 | Translation Approved (93%) | Use the project’s annual energy consumption, calculated in EA Prerequisite Minimum Energy Performance, if Option 1 was pursued; otherwise use the U.S. Department of Energy’s Commercial Buildings Energy Consumption Survey (CBECS) database to estimate energy use. | Use o consumo de energia anual do projeto, calculado no Pré-requisito EA: Desempenho Mínimo de Energia (EA Prerequisite: Minimum Energy Performance), se a Opção 1 for desejada. Caso contrário, use o banco de dados da Pesquisa de Consumo Energético de Edifícios Comerciais (Commercial Buildings Energy Consumption Survey - CBECS) do Ministério de Energia dos EUA para estimar o uso de energia. |
| 2407959c1d24-b000-434c-91c9-808a9872f2c1 | Translation Approved (0%) | CS Only | Apenas CS |
| 2408a66706b2-aee7-4b22-9d57-8f3568638c1e | Translation Approved (0%) | A core and shell building’s energy is defined as the energy usage of the core and shell floor area as defined by the Building Owners and Managers Association (BOMA) standards, but not less than 15% of the project’s floor area. | A energia de um edifício de núcleo e casca é definida como o uso de energia da área de piso de núcleo e da casca, conforme definido pelas normas da Associação de Proprietários e Administradores de Edifícios (Building Owners and Managers Association – BOMA), mas nunca inferior a 15% da área de piso do projeto. |
| 24096e60b880-20c5-4811-9bce-77d114170480 | Translation Approved (100%) | Materials and Resources (MR) | Materiais e Recursos (Materials and Resources - MR) |
| 241050c7012f-3854-487d-9cd7-5107fa62adf1 | Translation Approved (100%) | MR Prerequisite: Storage and Collection of Recyclables | Pré-requisito MR: Armazenamento e Coleta de Recicláveis (MR Prerequisite: Storage and Collection of Recyclables) |
| 241171211f19-2996-4d4a-ab9b-83b69a6966dc | Translation Approved (100%) | Required | Obrigatório |
| 241273a0954c-c7c4-48a1-b723-f84a2d285cf1 | Translation Approved (100%) | BD&C | BD&C |
| 2413564c0a9a-9c9a-43b7-875d-b09c799d17f1 | Translation Approved (100%) | This prerequisite applies to | Este pré-requisito se aplica a: |
| 241476e79eee-b6b7-4b3f-9f39-32c422a00712 | Translation Approved (100%) | New Construction | Nova Construção (New Construction) |
| 241549c7ffe9-0447-48f8-bdd0-25dbb7d24969 | Translation Approved (100%) | Core & Shell | Núcleo e Casca (Core & Shell) |
| 2416013531fd-3117-42d1-a148-74e470bb1dd2 | Translation Approved (100%) | Schools | Escolas (Schools) |
| 2417fef080e5-f930-4bcd-9bb3-8f1ad0c14993 | Translation Approved (100%) | Retail | Varejo (Retail) |
| 2418de7df052-978c-4d99-b531-05ba5c986196 | Translation Approved (100%) | Data Centers | Centros de Dados (Data Centers) |
| 2419c1727588-fd41-43e6-a940-4a0231520ccd | Translation Approved (100%) | Warehouses & Distribution Centers | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) |
| 24205932c716-2ad7-4640-b39f-454b595a85d0 | Translation Approved (100%) | Hospitality | Hoteleiro (Hospitality) |
| 242111fdad6f-5042-48cd-8fff-55b6029824a2 | Translation Approved (100%) | Healthcare | Setor de Saúde (Healthcare) |
| 24228bd7c24d-88c3-4c1a-b1ff-cdc172f37368 | Translation Approved (100%) | Intent | Objetivo |
| 2423ba9248ef-cb34-4fb0-999a-dc2effb86b42 | Translation Approved (CM) | To reduce the waste that is generated by building occupants and hauled to and disposed of in landfills. | Reduzir os resíduos gerados por ocupantes de edifícios e transportados e descartados em aterros sanitários. |
| 2424e9d351d9-3a4a-4ad2-a71e-c1b4952b38c6 | Translation Approved (100%) | Requirements | Requisitos |
| 2425a9367ed9-dbb1-4e1b-ad26-484b78c7e143 | Translation Approved (94%) | NC, CS, Schools, Data Centers, Warehouses & Distribution Centers, Hospitality NC, Healthcare | NC, CS, Escolas (Schools), Centros de Dados (Data Centers), Armazéns e Centros de Distribuição (Warehouses & Distribution Centers), Hoteleiro-NC (Hospitality NC), Setor de Saúde (Healthcare) |
| 242642a0a5ca-02b0-4a0d-bf9f-fbaf7b422e02 | Translation Approved (0%) | Provide dedicated areas accessible to waste haulers and building occupants for the collection and storage of recyclable materials for the entire building. | Forneça áreas dedicadas acessíveis a transportadores de resíduos e ocupantes do edifício para a coleta e armazenamento de materiais recicláveis para todo o edifício. |
| 242742a0a5ca-02b0-4a0d-bf9f-fbaf7b422e02 | Translation Approved (0%) | Collection and storage areas may be separate locations. | As áreas de coleta e armazenamento devem ser separadas. |
| 242842a0a5ca-02b0-4a0d-bf9f-fbaf7b422e02 | Translation Approved (0%) | Recyclable materials must include mixed paper,<3002> </3002> corrugated cardboard,<3003> </3003> glass, plastics, and metals. | Os materiais recicláveis devem incluir papel misto,<3002> </3002> papelão ondulado,<3003> </3003> vidro, plásticos e metais. |
| 242942a0a5ca-02b0-4a0d-bf9f-fbaf7b422e02 | Translation Approved (0%) | Take appropriate measures for the safe collection, storage, and disposal of two of the following: batteries, mercury-containing lamps, and electronic waste. | Tom medidas adequadas para a coleta, armazenamento e descarte seguros de dois dos seguintes itens: pilhas e baterias, lâmpadas com mercúrio e resíduos eletrônicos. |
| 2430028cd278-7ff0-4753-91e8-436fd4a7f677 | Translation Approved (100%) | Retail NC | Varejo NC |
| 24317166503e-ce1c-4e3a-972d-db06f60274ab | Translation Approved (0%) | Conduct a waste stream study to identify the retail project’s top five recyclable waste streams, by either weight or volume, using consistent metrics. | Realize um estudo do fluxo de resíduos para identificar os cinco maiores fluxos de resíduos recicláveis do projeto, por peso ou volume, utilizando medições consistentes. |
| 24327166503e-ce1c-4e3a-972d-db06f60274ab | Translation Approved (0%) | Based on the waste stream study, list the top four waste streams for which collection and storage space will be provided. | Com base no estudo do fluxo de resíduos, liste os quatro principais fluxos de resíduos para os quais serão fornecidos espaços de coleta e armazenamento. |
| 24337166503e-ce1c-4e3a-972d-db06f60274ab | Translation Approved (0%) | If no information is available on waste streams for the project, use data from similar operations to make projections. | Se não houver informações disponíveis sobre os fluxos de resíduos do projeto, use dados de operações semelhantes para fazer projeções. |
| 24347166503e-ce1c-4e3a-972d-db06f60274ab | Translation Approved (0%) | Retailers with existing stores of similar size and function can use historical information from their other locations. | Varejistas com lojas existentes de tamanho e função semelhantes podem usar informações históricas de seus outros locais. |
| 24356c90a5c0-5f81-457f-b667-0c90492a5f8b | Translation Approved (0%) | Provide dedicated areas accessible to waste haulers and building occupants for the separation, collection, and storage of recyclable materials for at least the top four recyclable waste streams identified by the waste study. | Forneça áreas dedicadas acessíveis a transportadores de resíduos e ocupantes do edifício para a separação, coleta e armazenamento de materiais recicláveis para pelo menos os quatro principais fluxos de resíduos identificados no estudo de resíduos. |
| 24366c90a5c0-5f81-457f-b667-0c90492a5f8b | Translation Approved (0%) | Locate the collection and storage bins close the source of recyclable waste. | Posicione os recipientes de coleta e armazenamento perto da fonte de resíduos recicláveis. |
| 24376c90a5c0-5f81-457f-b667-0c90492a5f8b | Translation Approved (0%) | If any of the top four waste streams are batteries, mercury-containing lamps, or electronic waste, take appropriate measures for safe collection, storage, and disposal. | Se algum dos quatro principais fluxos de resíduos for pilhas e baterias, lâmpadas com mercúrio ou resíduos eletrônicos, tome as medidas adequadas para coleta, armazenamento e descarte seguros. |
| 24382b430108-4d01-4422-b853-38b4d8d434a5 | Translation Approved (79%) | MR Prerequisite: Construction and Demolition Waste Management Planning | Pré-requisito MR: Planejamento de Gestão de Resíduos de Construção e Demolição (MR Prerequisite: Construction and Demolition Waste Management Planning) |
| 2439a23c3ec4-938e-4a56-b8b5-e592deab6001 | Translation Approved (100%) | Required | Obrigatório |
| 2440bfe698e1-6957-4bba-a539-fac8f933c9d5 | Translation Approved (100%) | BD&C | BD&C |
| 244154c5a4d3-a74c-4658-b81f-7047f9893988 | Translation Approved (100%) | This prerequisite applies to | Este pré-requisito se aplica a: |
| 244286946a26-f7ce-42ee-aa3f-0721fa5785b9 | Translation Approved (100%) | New Construction | Nova Construção (New Construction) |
| 24433664cce2-2aad-4a5e-b32c-08f91cf84f9c | Translation Approved (100%) | Core & Shell | Núcleo e Casca (Core & Shell) |
| 24442bc1808f-9fc3-4b1b-863b-4bc1ce5f74ed | Translation Approved (100%) | Schools | Escolas (Schools) |
| 2445794dca2f-840f-4b8e-b2c9-c55479a61c6c | Translation Approved (100%) | Retail | Varejo (Retail) |
| 24464edcba3d-8271-4251-8f69-eedb20f3708d | Translation Approved (100%) | Data Centers | Centros de Dados (Data Centers) |
| 2447b932d5af-a038-4093-9407-d88c7a72a344 | Translation Approved (100%) | Warehouses & Distribution Centers | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) |
| 24488ffa5ece-dbbf-4b43-97ab-e684c8484bca | Translation Approved (100%) | Hospitality | Hoteleiro (Hospitality) |
| 2449e4ae0c2f-e14b-42a3-9589-aa583fd9fe64 | Translation Approved (100%) | Healthcare | Setor de Saúde (Healthcare) |
| 245007ec7f1f-b829-4803-986e-76dd3754d637 | Translation Approved (100%) | Intent | Objetivo |
| 24515302131e-9412-42ff-9202-057b3fdcbe37 | Translation Approved (0%) | To reduce construction and demolition waste disposed of in landfills and incineration facilities by recovering, reusing, and recycling materials. | Reduzir os resíduos de construção e demolição descartados em aterros sanitários ou instalações de incineração recuperando, reutilizando e reciclando materiais. |
| 2452c1659635-46de-40d9-a528-25da5b3d28c8 | Translation Approved (100%) | Requirements | Requisitos |
| 24536640015c-61d0-4fd5-9504-2e20fb5d8049 | Translation Approved (0%) | NC, CS, Schools, Retail NC, Data Centers, Warehouses & Distribution Centers, Hospitality NC, Healthcare | NC, CS, Escolas (Schools), Varejo-NC (Retail NC), Centros de Dados (Data Centers), Armazéns e Centros de Distribuição (Warehouses & Distribution Centers), Hoteleiro-NC (Hospitality NC), Setor de Saúde (Healthcare) |
| 2454df5a36b0-66eb-4904-8e6d-c98c6ebb83ee | Translation Approved (0%) | Develop and implement a construction and demolition waste management plan: | Desenvolva e implemente um plano de gestão de resíduos de construção e demolição: |
| 2455f0cd5fac-6415-48af-a903-98e58ed53271 | Translation Approved (100%) | Establish waste diversion goals for the project by identifying at least five materials (both structural and nonstructural) targeted for diversion. | Estabeleça metas de reaproveitamento de resíduos para o projeto identificando pelo menos cinco materiais (estruturais e não estruturais) para reaproveitamento. |
| 2456f0cd5fac-6415-48af-a903-98e58ed53271 | Translation Approved (0%) | Approximate a percentage of the overall project waste that these materials represent. | Estime uma porcentagem aproximada dos resíduos totais do projeto que esses materiais representam. |
| 24575403d9a3-58c8-4e84-a719-1abe2656c4bc | Translation Approved (100%) | Specify whether materials will be separated or comingled and describe the diversion strategies planned for the project. | Especifique se os materiais serão separados ou misturados e descreva as estratégias de reaproveitamento planejadas para o projeto. |
| 24585403d9a3-58c8-4e84-a719-1abe2656c4bc | Translation Approved (0%) | Describe where the material will be taken and how the recycling facility will process the material. | Descreva onde o material será obtido e como a instalação de reciclagem processará o material. |
| 245916ef29d1-22b7-4829-ab36-aef772e69087 | Translation Approved (100%) | Provide a final report detailing all major waste streams generated, including disposal and diversion rates. | Forneça um relatório final detalhando todos os principais fluxos de resíduos gerados, incluindo as taxas de descarte e de reaproveitamento. |
| 2460318c4c59-728f-4b28-9f7c-a692cac72abf | Translation Approved (0%) | Alternative daily cover (ADC) does not qualify as material diverted from disposal. | Cobertura diária alternativa (alternative daily cover – ADC) não se qualifica como material reaproveitado do descarte. |
| 2461318c4c59-728f-4b28-9f7c-a692cac72abf | Translation Approved (100%) | Land-clearing debris is not considered construction, demolition, or renovation waste that can contribute to waste diversion. | Os entulhos provenientes da limpeza de terrenos não são considerados resíduos de construção, demolição ou reforma que podem contribuir para o reaproveitamento de resíduos. |
| 24622a29425a-c9fd-4f58-b63e-4fc9e8acb23d | Translation Approved (0%) | MR Prerequisite: PBT Source Reduction—Mercury | Pré-requisito MR: Redução de Fontes de PBT - Mercúrio (MR Prerequisite: PBT Source Reduction—Mercury) |
| 2463c2aeb25a-be73-411b-8c45-d19d035478c4 | Translation Approved (100%) | Required | Obrigatório |
| 246408d93f37-83e1-46b3-9397-901f83ded400 | Translation Approved (100%) | BD&C | BD&C |
| 2465e6d8cbda-c548-4e9e-bad0-94d3d41e8f53 | Translation Approved (100%) | This prerequisite applies to | Este pré-requisito se aplica a: |
| 2466cdc62cc2-eacf-415f-a00d-9a08e77e23d7 | Translation Approved (100%) | Healthcare | Setor de Saúde (Healthcare) |
| 24678b8b21d2-a005-4f5d-81ab-6bce66fe86a7 | Translation Approved (100%) | Intent | Objetivo |
| 246849b4b695-ee4b-403b-90b3-db7625b0523c | Translation Approved (0%) | To reduce mercury-containing products and devices and mercury release through product substitution, capture, and recycling. | Reduzir produtos e dispositivos que contêm mercúrio e a liberação de mercúrio com a substituição, captura e reciclagem de produtos. |
| 2469071d553d-f519-4f13-a172-b75137cc8ec6 | Translation Approved (100%) | Requirements | Requisitos |
| 2470729a2aae-f340-4bbb-9403-a5bd84611ff9 | Translation Approved (100%) | Healthcare | Setor de Saúde (Healthcare) |
| 24710950a635-d08a-4f0d-baf4-60b80aa62229 | Translation Approved (0%) | As part of the project’s recycling collection system, identify the following: | Como parte do sistema de coleta e reciclagem do projeto, identifique o seguinte: |
| 2472414cf1c3-3064-435c-877d-82f8f2620fc5 | Translation Approved (0%) | types of mercury-containing products and devices to be collected; | tipos de produtos e dispositivos que contêm mercúrio a coletar; |
| 24739244107d-02ac-457d-ad79-35720607f453 | Translation Approved (0%) | criteria governing how they are to be handled by a recycling program; and | critérios que definem como eles devem ser manuseados por um programa de reciclagem; e |
| 247477f3077c-42f1-44aa-ab66-0f1a57e5592a | Translation Approved (0%) | disposal methods for captured mercury. | métodos de descarte do mercúrio capturado. |
| 2475becb18ce-1bd2-4db5-82eb-f15dc9be9134 | Translation Approved (0%) | Applicable mercury-containing products and devices include, but are not limited to, lamps (such as linear and circular fluorescents, integrally ballasted and nonintegrally ballasted compact fluorescents and HIDs) and dental wastes (such as scrap amalgam, chair side traps, and separator wastes). | Os produtos e dispositivos que contêm mercúrio aplicáveis incluem, mas sem limitação, lâmpadas (como lâmpadas fluorescentes lineares e circulares, lâmpadas fluorescentes compactas com e sem lastro integral e HIDs) e resíduos odontológicos (como amálgama, contenções laterais de cadeiras e resíduos de separadores). |
| 2476cbd13215-9170-4a74-ae95-78b3eed0a5d4 | Translation Approved (0%) | In facilities delivering dental care, specify and install amalgam separation devices that meet or exceed the ISO-11143 standard. | Em instalações que oferecem atendimento odontológico, especifique e instale dispositivos de separação de amálgama que atendam ou excedam a Norma ISO-11143. |
| 24771c8cebf6-0511-4d25-9553-bf3f58238a6a | Translation Approved (0%) | Comply with the mercury elimination requirements outlined below, from the 2010 FGI Guidelines for Design and Construction of Health Care Facilities, Section A1.3- 4b, Mercury Elimination. | Cumpra os requisitos de eliminação de mercúrio descritos abaixo, das Diretrizes para Projeto e Construção de Instalações de Saúde (Guidelines for Design and Construction of Health Care Facilities) de 2010 da FGI, Seção A1.3- 4b, Eliminação de mercúrio (Mercury Elimination). |
| 247871d4ff9c-8570-4524-a6b7-8281b32ad497 | Translation Approved (0%) | 4.2.1.1. | 4.2.1.1. |
| 247971d4ff9c-8570-4524-a6b7-8281b32ad497 | Translation Approved (0%) | New construction: healthcare facilities may not use mercury-containing equipment, including thermostats, switching devices, and other building system sources. | Novas construções: instalações do setor de saúde não podem usar equipamentos com mercúrio, incluindo termostatos, dispositivos de ligação e outras fontes de sistemas do edifício. |
| 248071d4ff9c-8570-4524-a6b7-8281b32ad497 | Translation Approved (0%) | Lamps are excluded. | Lâmpadas estão excluídas. |
| 24818b90e6a9-7811-4e15-9973-c8af9fe0221b | Translation Approved (100%) | 4.2.1.2. | 4.2.1.2. |
| 24828b90e6a9-7811-4e15-9973-c8af9fe0221b | Translation Approved (0%) | Renovation: healthcare facilities must develop a plan to phase out mercury-containing products and upgrade current mercury-containing lamps to high-efficiency, low-mercury, or mercury-free lamp technology. | Reforma: instalações do setor de saúde devem desenvolver um plano para substituir produtos com mercúrio e atualizar as lâmpadas com mercúrio para tecnologia de alta eficiência, com baixo teor de mercúrio ou sem mercúrio. |
| 2483f5d50b97-97ae-469b-9424-0a3271147f8d | Translation Approved (0%) | Do not specify or install preheat, T-9, T-10, or T-12 fluorescents or mercury vapor high-intensity discharge (HID) lamps in the project. | Não especifique nem instale lâmpadas fluorescentes pré-aquecidas T-9, T-10 ou T-12, ou lâmpadas com descarga de alta intensidade (high-intensity discharge – HID) de vapor de mercúrio no projeto. |
| 2484f5d50b97-97ae-469b-9424-0a3271147f8d | Translation Approved (0%) | Do not specify probe-start metal halide HID lamps in any interior spaces. | Não especifique lâmpadas com HID de haleto metálico com início por sonda para espaços internos. |
| 2485d02b4ede-29a4-4b87-a250-f65d9678cb3d | Translation Approved (0%) | Specify and install illuminated exit signs that do not contain mercury and use less than 5 watts of electricity. | Especifique e instale sinais de saída iluminados que não contenham mercúrio e usem menos de 5 watts de eletricidade. |
| 24864969a2f4-da8b-48ef-8dce-f497b095814b | Translation Approved (0%) | Fluorescent and high-pressure sodium lamps must meet the criteria in Table 1. | Lâmpadas de sódio fluorescentes e de alta pressão devem atender aos critérios da Tabela 1. |
| 24875d905ce5-a12b-43ea-a0f3-dfd9c67b8d6f | Translation Approved (100%) | Table 1. | Tabela 1. |
| 24885d905ce5-a12b-43ea-a0f3-dfd9c67b8d6f | Translation Approved (0%) | Maximum mercury content of lamps | Concentração máxima de mercúrio de lâmpadas |
| 24893c8ed86f-1a80-4f9f-9c00-79aa8cce74b1 | Translation Approved (100%) | Lamp | Lâmpada |
| 2490fcd0d22e-7578-401f-8ac4-24f90052b0a6 | Translation Approved (0%) | Maximum content | Concentração máxima |
| 24915809a7e8-9737-437e-890d-fdd17c75f657 | Translation Approved (0%) | T-8 fluorescent, eight-foot | Fluorescente T-8, oito pés |
| 249278edafc1-e5af-4100-a7e7-0b50d40ef7fd | Translation Approved (0%) | 10 mg mercury | 10 mg de mercúrio |
| 2493aa376129-3b29-4c3e-8158-0c03ad33167b | Translation Approved (78%) | T-8 fluorescent, four-foot | Fluorescente T-8, quatro pés |
| 2494bd576f13-607b-4f61-b592-62d554c9c00b | Translation Approved (100%) | 3.5 mg mercury | 3,5 mg de mercúrio |
| 2495dc1ff22b-cded-4880-8018-748d54b3b3c4 | Translation Approved (78%) | T-8 fluorescent, U-bent | Fluorescente T-8, em U |
| 249686c9ce6d-57d8-4afc-9deb-35e32322be68 | Translation Approved (100%) | 6 mg mercury | 6 mg de mercúrio |
| 249717f5a4ef-016c-420c-b9b7-0624ece8110a | Translation Approved (0%) | T-5 fluorescent, linear | Fluorescente T-5, linear |
| 249811aee465-1a72-4f55-9810-b037f37330fe | Translation Approved (100%) | 2.5 mg mercury | 2,5 mg de mercúrio |
| 24991353cb90-df19-4b0f-b437-7ad0f34f7748 | Translation Approved (78%) | T-5 fluorescent, circular | Fluorescente T-5, circular |
| 250081751184-a0a0-4b0a-bc96-449efad944dd | Translation Approved (100%) | 9 mg mercury | 9 mg de mercúrio |
| 25019605feeb-879a-4592-8fe3-72ebc3e9b5e1 | Translation Approved (0%) | Compact fluorescent, nonintegral ballast | Fluorescente compacta, lastro não integral |
| 250215df697d-c3c6-4493-89b8-73b64f8f7068 | Translation Approved (100%) | 3.5 mg mercury | 3,5 mg de mercúrio |
| 250374e80105-ab93-45d8-8c46-7ab276929024 | Translation Approved (83%) | Compact fluorescent, integral ballast | Fluorescente compacta, lastro integral |
| 25040d553aa9-d8ac-4d58-ab6f-bb9606d0cf68 | Translation Approved (0%) | 3.5 mg mercury, ENERGY STAR qualified | 3,5 mg de mercúrio, qualificação ENERGY STAR |
| 2505a43c2a5c-f9ac-433b-a2e1-c52ced640141 | Translation Approved (0%) | High-pressure sodium, up to 400 watts | Sódio de alta pressão, até 400 watts |
| 250646bc6bb4-9fdb-4ca5-9dfd-937c14c39d05 | Translation Approved (100%) | 10 mg mercury | 10 mg de mercúrio |
| 2507381ae2c7-65c0-4202-8a3b-2d7f76485285 | Translation Approved (75%) | High-pressure sodium, above 400 watts | Sódio de alta pressão, acima de 400 watts |
| 2508e6ecb639-9636-4af9-96cd-f52cebd3d88e | Translation Approved (100%) | 32 mg mercury | 32 mg de mercúrio |
| 2509fa39117b-a8c2-47c1-8336-bccbd8feb221 | Translation Approved (0%) | mg = milligram | mg = miligrama |
| 25102de1fcbd-3595-42ee-b9b2-cf3e9a1e54fb | Translation Approved (70%) | MR Credit: Building Life-Cycle Impact Reduction | Crédito MR: Redução do Impacto do Ciclo de Vida do Edifício (MR Credit: Building Life-Cycle Impact Reduction) |
| 251141843fae-ce16-4911-847c-cfa3b0dc3afd | Translation Approved (100%) | BD&C | BD&C |
| 2512f31ee128-fc8d-4b0a-a33a-1d71407efa01 | Translation Approved (100%) | 2–6 points | 2 a 6 pontos |
| 2513086e5a78-1308-4671-b518-edb409d37545 | Translation Approved (100%) | This credit applies to | Este crédito se aplica a |
| 2514ec5d12c9-5787-4c9d-9fc9-0a6fb9f21ebf | Translation Approved (94%) | New Construction (2–5 points) | Nova Construção (New Construction) (2 a 5 pontos) |
| 25155f825b74-6396-4ce3-af06-34c4c3517c9f | Translation Approved (100%) | Core & Shell (2–6 points) | Núcleo e Casca (Core & Shell) (2 a 6 pontos) |
| 2516d5ad2626-cd14-49fa-ae25-d3cc0ac90b54 | Translation Approved (93%) | Schools (2–5 points) | Escolas (Schools) (2 a 5 pontos) |
| 25178fbbe8bd-8024-42c0-a91b-ff693234b47a | Translation Approved (93%) | Retail (2–5 points) | Varejo (Retail) (2 a 5 pontos) |
| 2518c1f9a90d-91ed-483f-accd-d7cf5b5cb357 | Translation Approved (94%) | Data Centers (2–5 points) | Centros de Dados (Data Centers) (2 a 5 pontos) |
| 25196e5ddeb8-6cba-498d-b7b2-814cb98c52bf | Translation Approved (95%) | Warehouses & Distribution Centers (2–5 points) | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) (2 a 5 pontos) |
| 25201e7374af-f9cd-4014-85e8-cae03073703e | Translation Approved (93%) | Hospitality (2–5 points) | Hoteleiro (Hospitality) (2 a 5 pontos) |
| 25215f7fb3ff-3c32-43c9-8c0e-2f275a99a299 | Translation Approved (93%) | Healthcare (2–5 points) | Setor de Saúde (Healthcare) (2 a 5 pontos) |
| 2522f0a536e5-df19-48e3-aa1e-9f45dd3b6412 | Translation Approved (100%) | Intent | Objetivo |
| 25230622c1bc-11c4-4b01-9f33-8687b29cb222 | Translation Approved (0%) | To encourage adaptive reuse and optimize the environmental performance of products and materials. | Incentivar o reuso adaptável e otimizar o desempenho ambiental de produtos e materiais. |
| 252418023259-83c8-4314-bc02-8b5e23c257ac | Translation Approved (100%) | Requirements | Requisitos |
| 252516794d9a-221f-4096-9d20-6860e4f26806 | Translation Approved (100%) | NC, CS, Schools, Retail NC, Data Centers, Warehouses & Distribution Centers, Hospitality NC, Healthcare | NC, CS, Escolas (Schools), Varejo-NC (Retail NC), Centros de Dados (Data Centers), Armazéns e Centros de Distribuição (Warehouses & Distribution Centers), Hoteleiro-NC (Hospitality NC), Setor de Saúde (Healthcare) |
| 25269476c30c-9be6-4bf6-8850-c4dc1cbf32f4 | Translation Approved (0%) | Demonstrate reduced environmental effects during initial project decision-making by reusing existing building resources or demonstrating a reduction in materials use through life-cycle assessment. | Demonstre efeitos ambientais reduzidos durante a tomada de decisões inicial do projeto, reutilizando recursos existentes do edifício ou demonstrando uma redução no uso de materiais por meio da avaliação do ciclo de vida. |
| 25279476c30c-9be6-4bf6-8850-c4dc1cbf32f4 | Translation Approved (88%) | Achieve one of the following options. | Execute uma das opções a seguir. |
| 2528542e1a35-d4d2-4190-8610-71624745a857 | Translation Approved (100%) | Option 1. | Opção 1. |
| 2529542e1a35-d4d2-4190-8610-71624745a857 | Translation Approved (0%) | Historic Building Reuse (5 points BD&C, 6 points Core and Shell) | Reuso de edifício histórico (5 pontos BD&C, 6 pontos Núcleo e Casca) |
| 253019a6c065-7926-42f6-bc90-e490f93a9f48 | Translation Approved (0%) | Maintain the existing building structure, envelope, and interior nonstructural elements of a historic building or contributing building in a historic district. | Mantenha a estrutura, o envelope e elementos não estruturais internos existentes de um edifício histórico ou edifício que faça parte de um bairro histórico. |
| 253119a6c065-7926-42f6-bc90-e490f93a9f48 | Translation Approved (0%) | To qualify, the building or historic district must be listed or eligible for listing in the local, state, or national register of historic places. | Para se qualificar, o edifício ou bairro histórico deve estar listado ou ser elegível para listagem no registro municipal, estadual ou nacional de locais históricos. |
| 253219a6c065-7926-42f6-bc90-e490f93a9f48 | Translation Approved (0%) | Do not demolish any part of a historic building or contributing building in a historic district unless it is deemed structurally unsound or hazardous. | Não é permitido demolir nenhuma parte de um edifício histórico ou edifício que faça parte de um bairro histórico, exceto se ele for considerado estruturalmente deteriorado ou perigoso. |
| 253319a6c065-7926-42f6-bc90-e490f93a9f48 | Translation Approved (0%) | For buildings listed locally, approval of any demolition must be granted by the local historic preservation review board. | Para edifícios listados localmente, deve ser obtida aprovação para qualquer demolição com o comitê de revisão de preservação histórica local. |
| 253419a6c065-7926-42f6-bc90-e490f93a9f48 | Translation Approved (0%) | For buildings listed in a state register or the U.S. National Register of Historic Places (or local equivalent for projects outside the U.S.), approval must appear in a programmatic agreement with the state historic preservation office or National Park Service (or local equivalent for projects outside the U.S.). | Para edifícios listados em um registro estadual ou no Registro nacional de locais históricos (nos EUA; ou equivalente local para projetos fora dos EUA), a aprovação deve aparecer em um acordo programático com o órgão de preservação histórica estadual ou o Serviço de Parques Nacionais (ou equivalente local para projetos fora dos EUA). |
| 2535ba9c7434-6f78-45bd-b825-fb780803fb6b | Translation Approved (0%) | Any alteration (preservation, restoration, or rehabilitation) of a historic building or a contributing building in a historic district on the project site must be done in accordance with local or national standards for rehabilitation, whichever are applicable. | Qualquer alteração (preservação, restauração ou reabilitação) de um edifício histórico ou edifício que faça parte de um bairro histórico no terreno do projeto deve ser feita de acordo com as normas municipais ou estaduais para reabilitação, qualquer uma que for aplicável. |
| 2536ba9c7434-6f78-45bd-b825-fb780803fb6b | Translation Approved (0%) | If building is not subject to historic review, include on the project team a preservation professional who meets U.S. federal qualifications for historic architects (or local equivalent for projects outside the U.S.); the preservation professional must confirm conformance to the Secretary of Interior’s Standards for the Treatment of Historic Properties (or local equivalent for projects outside the U.S.). | Se o edifício não for sujeito a uma revisão histórica, inclua na equipe de projeto um profissional de preservação que atenda às qualificações federais dos EUA para arquitetos históricos (ou equivalente local para projetos fora dos EUA); o profissional de preservação deve confirmar a conformidade com as Normas da Secretaria de Interior dos EUA para o Tratamento de Propriedades Históricas (ou equivalente local para projetos fora dos EUA). |
| 253728d08ec8-8f83-4f44-bb8f-2115f0370d19 | Translation Approved (100%) | OR | OU |
| 253889aac524-5f57-4655-9e98-90935cc9ab0f | Translation Approved (100%) | Option 2. | Opção 2. |
| 253989aac524-5f57-4655-9e98-90935cc9ab0f | Translation Approved (0%) | Renovation of Abandoned or Blighted Building (5 points BD&C, 6 points Core and Shell) | Reforma de edifício abandonado ou degradado (5 pontos BD&C, 6 pontos Núcleo e Casca) |
| 2540c39f5125-98d9-4521-815a-ba23a43e073a | Translation Approved (0%) | Maintain at least 50%, by surface area, of the existing building structure, enclosure, and interior structural elements for buildings that meet local criteria of abandoned or are considered blight. | Mantenha no mínimo 50%, por área superficial, da estrutura, invólucro e elementos estruturais internos do edifício existente para edifícios que atendem aos critérios locais de abandono ou são considerados degradados. |
| 2541c39f5125-98d9-4521-815a-ba23a43e073a | Translation Approved (0%) | The building must be renovated to a state of productive occupancy. | O edifício deve ser reformado até um estado de ocupação produtiva. |
| 2542c39f5125-98d9-4521-815a-ba23a43e073a | Translation Approved (0%) | Up to 25% of the building surface area may be excluded from credit calculation because of deterioration or damage. | Até 25% da área superficial do edifício pode ser excluída do cálculo do crédito devido a deterioração ou danos. |
| 2543f7bc937f-22a9-4296-8cf9-bee419d2715c | Translation Approved (100%) | OR | OU |
| 25449476c129-6f67-43ba-adbd-2a26f99ff0d3 | Translation Approved (100%) | Option 3. | Opção 3. |
| 25459476c129-6f67-43ba-adbd-2a26f99ff0d3 | Translation Approved (73%) | Building and Material Reuse (2–4 points BD&C, 2-5 points Core and Shell) | Reuso de edifício e materiais (2 a 4 pontos BD&C, 2 a 5 pontos Núcleo e Casca) |
| 25467cb47051-3351-40f9-a288-b565f20f4f2e | Translation Approved (0%) | Reuse or salvage building materials from off site or on site as a percentage of the surface area, as listed in Table 1. | Reutilize ou recupere materiais de construção externos ou no local como uma porcentagem da área superficial, conforme listados na Tabela 1. |
| 25477cb47051-3351-40f9-a288-b565f20f4f2e | Translation Approved (0%) | Include structural elements (e.g., floors, roof decking), enclosure materials (e.g., skin, framing), and permanently installed interior elements (e.g., walls, doors, floor coverings, ceiling systems). | Inclua elementos estruturais (por exemplo, pisos, forro de telhado), materiais de recinto (por exemplo, revestimento, moldura) e elementos internos instalados de forma permanente (por exemplo, paredes, portas, revestimentos de pisos, sistemas de teto). |
| 25487cb47051-3351-40f9-a288-b565f20f4f2e | Translation Approved (0%) | Exclude from the calculation window assemblies and any hazardous materials that are remediated as a part of the project. | Exclua do cálculo conjuntos de janelas e quaisquer materiais perigosos que sejam remediados como parte do projeto. |
| 2549a7575fd6-5e77-41f8-a66b-bcd7671057bd | Translation Approved (0%) | Materials contributing toward this credit may not contribute toward MR Credit Material Disclosure and Optimization. | Materiais que contribuam para este crédito não podem contribuir para o Crédito MR: Divulgação e Otimização de Materiais (MR Credit: Material Disclosure and Optimization). |
| 2550e7c4a612-253f-45de-b065-dcb4f6051f0f | Translation Approved (100%) | Table 1. | Tabela 1. |
| 2551e7c4a612-253f-45de-b065-dcb4f6051f0f | Translation Approved (0%) | Points for reuse of building materials | Pontos para reuso de materiais de construção |
| 2552ecd61adc-999e-45fb-8c34-ce801396e954 | Translation Approved (0%) | Percentage of completed project surface area reused | Porcentagem da área superficial do projeto completo reutilizada |
| 2553e211f1ab-b2c8-4252-888f-17f138d359ae | Translation Approved (100%) | Points BD&C | Pontos BD&C |
| 2554e5fb2d0f-5327-4eaf-aa38-ca2593aa0a63 | Translation Approved (100%) | Points BD&C (Core and Shell) | Pontos BD&C (Núcleo e Casca) |
| 25553851daa7-eba2-4999-905a-809ddff5b598 | Translation Approved (100%) | 25% | 25% |
| 2556016fec70-bdd3-4614-964b-03111b570611 | Translation Approved (100%) | 2 | 2 |
| 2557c1f2b3f7-045b-4aa5-8283-8e99c3543715 | Translation Approved (100%) | 2 | 2 |
| 2558ac38bc40-3a1c-4b31-aac7-579377558566 | Translation Approved (100%) | 50% | 50% |
| 25598585a6f0-1e93-4f98-a29a-c11ba57d94c5 | Translation Approved (100%) | 3 | 3 |
| 2560235fb755-ce17-43db-bb64-dccd78419bc8 | Translation Approved (100%) | 3 | 3 |
| 256185c0d285-7ec0-4b9a-92e8-bae027fe48bc | Translation Approved (100%) | 75% | 75% |
| 25628c44c896-74eb-4d66-a5d9-dbe16eafd971 | Translation Approved (100%) | 4 | 4 |
| 25638768e818-1c3c-4eba-9128-d46e92e5611e | Translation Approved (100%) | 5 | 5 |
| 256486dda173-d4ef-4a28-a047-9eed7a2991b9 | Translation Approved (100%) | OR | OU |
| 2565c0a0b621-7743-40bb-9dea-d3716161aad9 | Translation Approved (100%) | Option 4. | Opção 4. |
| 2566c0a0b621-7743-40bb-9dea-d3716161aad9 | Translation Approved (0%) | Whole-Building Life-Cycle Assessment (3 points) | Avaliação do ciclo de vida de todo o edifício (3 pontos) |
| 25674b93a409-f143-4f25-8859-40b80f22054b | Translation Approved (0%) | For new construction (buildings or portions of buildings), conduct a life-cycle assessment of the project’s structure and enclosure that demonstrates a minimum of 10% reduction, compared with a baseline building, in at least three of the six impact categories listed below, one of which must be global warming potential. | Para novas construções (edifícios ou partes de edifícios), realize uma avaliação do ciclo de vida da estrutura e do recinto do projeto que demonstre uma redução de no mínimo 10%, em comparação com um edifício baseline, em pelo menos três das seis categorias de impacto listadas abaixo, uma das quais deve ser o potencial de aquecimento global. |
| 25684b93a409-f143-4f25-8859-40b80f22054b | Translation Approved (0%) | No impact category assessed as part of the life-cycle assessment may increase by more than 5% compared with the baseline building. | Nenhuma categoria de impacto avaliada como parte da avaliação do ciclo de vida pode aumentar mais de 5% em comparação com o edifício baseline. |
| 2569b273e0ce-4dc5-4cc7-b8e7-2d5ce44e4b4c | Translation Approved (0%) | The baseline and proposed buildings must be of comparable size, function, orientation, and operating energy performance as defined in EA Prerequisite Minimum Energy Performance. | Os edifícios baseline e proposto devem ter tamanho, função, orientação e desempenho energético operacional comparáveis, conforme definidos no Pré-requisito EA: Desempenho Energético Mínimo (EA Prerequisite: Minimum Energy Performance). |
| 2570b273e0ce-4dc5-4cc7-b8e7-2d5ce44e4b4c | Translation Approved (0%) | The service life of the baseline and proposed buildings must be the same and at least 60 years to fully account for maintenance and replacement. | A vida útil dos edifícios baseline e proposto deve ser a mesma e de pelo menos 60 anos para responder totalmente por manutenção e substituição. |
| 2571b273e0ce-4dc5-4cc7-b8e7-2d5ce44e4b4c | Translation Approved (0%) | Use the same life-cycle assessment software tools and data sets to evaluate both the baseline building and the proposed building, and report all listed impact categories. | Use as mesmas ferramentas e conjuntos de dados do software de avaliação do ciclo de vida para avaliar os edifícios baseline e proposto, e relatar todas as categorias de impacto listadas. |
| 2572b273e0ce-4dc5-4cc7-b8e7-2d5ce44e4b4c | Translation Approved (0%) | Data sets must be compliant with ISO 14044. | Os conjuntos de dados devem estar em conformidade com a Norma ISO 14044. |
| 257337530f41-c177-4ad3-a5f9-968da315038a | Translation Approved (0%) | Select at least three of the following impact categories for reduction: | Selecione pelo menos três das seguintes categorias de impacto para redução: |
| 2574acfe1e0d-f763-432c-bfff-f6320148fbf1 | Translation Approved (0%) | global warming potential (greenhouse gases), in CO<3152>2</3152>e; | potencial de aquecimento global (gases do efeito estufa), em CO<3152>2</3152>e; |
| 257541b48481-c5f2-4abd-83d8-51a87f3b8a5e | Translation Approved (0%) | depletion of the stratospheric ozone layer, in kg CFC-11; | destruição da camada de ozônio estratosférico, em kg CFC-11; |
| 25769ba9a4a8-3470-4dfc-8d67-20e2250a8e0b | Translation Approved (0%) | acidification of land and water sources, in moles H+ or kg SO<3153>2</3153>; | acidificação da terra e fontes de água, em mols de H+ ou kg SO<3153>2</3153>; |
| 2577337cd7e9-2d0e-477b-83a5-c94517ecc593 | Translation Approved (0%) | eutrophication, in kg nitrogen or kg phosphate; | eutrofização, em kg de nitrogênio ou kg de fosfato; |
| 2578986ec0aa-5ace-42c3-9312-f00731f60adc | Translation Approved (0%) | formation of tropospheric ozone, in kg NOx, kg O3, or kg ethene; and | formação de ozônio troposférico, em kg de NOx, kg de O3 ou kg de etileno; e |
| 257959f37601-671b-4c09-9b14-5bd537f1a135 | Translation Approved (0%) | depletion of nonrenewable energy resources, in MJ. | destruição de recursos de energia não renovável, em MJ. |
| 25808e552f25-e7ec-4558-aca5-e692ac22d79f | Translation Approved (0%) | Healthcare only | Apenas Setor de Saúde (Healthcare) |
| 258117bec902-6ae1-4f30-8953-faff4b6e5826 | Translation Approved (0%) | For all options in this credit, building materials demolished to create courtyards to increase daylighting may be counted as retained in calculations, provided the new courtyards meet the requirements of EQ Credits Daylight and Quality Views. | Para todas as opções deste crédito, materiais de construção demolidos para criar pátios para aumentar a iluminação natural podem ser contabilizados como mantidos nos cálculos, desde que os novos pátios atendam aos requisitos dos Créditos EQ: Iluminação Natural e Vistas de Qualidade (EQ Credits: Daylight and Quality Views). |
| 2582175d8268-79a6-4dd9-9b34-dc11b14e0406 | Translation Approved (0%) | MR Credit: Building Product Disclosure and Optimization—Environmental Product Declarations | Crédito MR: Divulgação e Otimização de Produtos do Edifício - Declarações Ambientais de Produtos (MR Credit: Building Product Disclosure and Optimization—Environmental Product Declarations) |
| 2583bdedd486-07d1-4b81-9cbd-457b7b0e1574 | Translation Approved (100%) | BD&C | BD&C |
| 25843f0c467e-d2e6-4230-b6e2-c4e23ea92349 | Translation Approved (100%) | 1–2 points | 1 a 2 pontos |
| 25858ab4caf3-3fd3-471d-80fe-326e80cf998f | Translation Approved (100%) | This credit applies to | Este crédito se aplica a |
| 2586fdaa3f58-798d-4176-a3c8-3620bf17e619 | Translation Approved (100%) | New Construction (1–2 points) | Nova Construção (New Construction) (1 a 2 pontos) |
| 2587655cea13-f107-4c1a-a2a0-ca2b2d72f110 | Translation Approved (100%) | Core & Shell (1–2 points) | Núcleo e Casca (Core & Shell) (1 a 2 pontos) |
| 2588fca85f75-36f3-45ba-8e27-c9656d5ec87a | Translation Approved (100%) | Schools (1–2 points) | Escolas (Schools) (1 a 2 pontos) |
| 2589d3bf1cc7-5801-4b2e-a1aa-35825bbdffcd | Translation Approved (100%) | Retail (1–2 points) | Varejo (Retail) (1 a 2 pontos) |
| 25906f0458fd-ed7a-40cc-8577-bef2b6a8f547 | Translation Approved (100%) | Data Centers (1–2 points) | Centros de Dados (Data Centers) (1 a 2 pontos) |
| 2591134c1053-2877-4d57-936e-621c08d395d0 | Translation Approved (100%) | Warehouses & Distribution Centers (1–2 points) | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) (1 a 2 pontos) |
| 2592cae96437-661d-4ee0-9bdc-85a179df5ba5 | Translation Approved (100%) | Hospitality (1–2 points) | Hoteleiro (Hospitality) (1 a 2 pontos) |
| 2593abee82bb-fac6-4697-b790-8a1713408b3c | Translation Approved (100%) | Healthcare (1–2 points) | Setor de Saúde (Healthcare) (1 a 2 pontos) |
| 25942a97f7da-1323-4959-ab37-fd34e4392e2d | Translation Approved (100%) | Intent | Objetivo |
| 2595e97db7da-357d-4e66-aaef-b608105ac5f1 | Translation Approved (0%) | To encourage the use of products and materials for which life-cycle information is available and that have environmentally, economically, and socially preferable life-cycle impacts. | Incentivar o uso de produtos e materiais cujas informações de ciclo de vida estejam disponíveis e que tenham impactos ambientais, econômicos e sociais de ciclo de vida vantajosos. |
| 2596e97db7da-357d-4e66-aaef-b608105ac5f1 | Translation Approved (100%) | To reward project teams for selecting products from manufacturers who have verified improved environmental life-cycle impacts. | Recompensar as equipes de projeto pela seleção de produtos de fabricantes que tenham impactos aprimorados e verificados no ciclo de vida útil ambiental. |
| 2597b5048e4e-41c6-4236-855d-7efc86e3ec04 | Translation Approved (100%) | Requirements | Requisitos |
| 259894f193f2-5fc5-4645-b2bc-86649cd827a1 | Translation Approved (100%) | NC, CS, Schools, Retail, Data Centers, Warehouses & Distribution Centers, Hospitality, Healthcare | NC, CS, Escolas (Schools), Varejo (Retail), Centros de Dados (Data Centers), Armazéns e Centros de Distribuição (Warehouses & Distribution Centers), Hoteleiro (Hospitality), Setor de Saúde (Healthcare) |
| 25995640ffa5-b505-4708-9acc-b19af8c6f0f0 | Translation Approved (0%) | Achieve one or more of the options below, for a maximum of 2 points. | Alcance uma ou mais das opções abaixo para obter no máximo 2 pontos. |
| 2600865ca33c-1cc8-4b48-894e-3b21bfcd1fa2 | Translation Approved (100%) | Option 1. | Opção 1. |
| 2601865ca33c-1cc8-4b48-894e-3b21bfcd1fa2 | Translation Approved (0%) | Environmental Product Declaration (EPD) (1 point) | Declaração ambiental de produto (Environmental Product Declaration - EPD) (1 ponto) |
| 2602a01ee205-caae-40da-b1cf-2e04f9494825 | Translation Approved (0%) | Use at least 20 different permanently installed products sourced from at least five different manufacturers that meet one of the disclosure criteria below. | Use pelo menos 20 produtos diferentes instalados de maneira permanente, de pelo menos cinco fabricantes diferentes, que atendam a um dos critérios de divulgação abaixo. |
| 260369e56adb-0d2b-46a9-a3e3-41b4a7be5262 | Translation Approved (0%) | Product-specific declaration. | Declaração específica do produto. |
| 2604b02307e0-4f21-4a1e-bd06-f42ebc1142b5 | Translation Approved (0%) | Products with a publicly available, critically reviewed life-cycle assessment conforming to ISO 14044 that have at least a cradle to gate scope are valued as one quarter (1/4) of a product for the purposes of credit achievement calculation. | Produtos com avaliação do ciclo de vida publicamente disponível e criticamente revisada, em conformidade com a Norma ISO 14044, que tenham pelo menos um escopo de "berço ao portão" são avaliados como um quarto (1/4) de um produto para os fins do cálculo de obtenção do crédito. |
| 26051208b39b-7246-401a-97d5-0e0e6d901e2b | Translation Approved (0%) | Environmental Product Declarations which conform to ISO 14025, 14040, 14044, and EN 15804 or ISO 21930 and have at least a cradle to gate scope. | Declarações ambientais de produtos que estejam em conformidade com as Normas ISO 14025, 14040, 14044 e EN 15804 ou ISO 21930 e tenham pelo menos um escopo de berço ao portão. |
| 2606b66d6130-ef33-4718-8dc2-e12c22db35ad | Translation Approved (0%) | Industry-wide (generic) EPD -- Products with third-party certification (Type III), including external verification, in which the manufacturer is explicitly recognized as a participant by the program operator are valued as one half (1/2) of a product for purposes of credit achievement calculation. | EPD do setor (genérica) -- Produtos com certificação de terceiros (Tipo III), incluindo verificação externa na qual o fabricante é explicitamente reconhecido como participante pelo operador do programa, são avaliados como metade (1/2) de um produto para os fins do cálculo de obtenção do crédito. |
| 26078d0f888d-8403-4199-943a-7d446204e1f8 | Translation Approved (84%) | Product-specific Type III EPD -- Products with third-party certification (Type III), including external verification in which the manufacturer is explicitly recognized as the participant by the program operator are valued as one whole product for purposes of credit achievement calculation. | EPD Tipo III específica do produto -- Produtos com certificação de terceiros (Tipo III), incluindo verificação externa na qual o fabricante é explicitamente reconhecido como participante pelo operador do programa, são avaliados como um produto inteiro para fins de cálculo de obtenção do crédito. |
| 26082f3b5b1e-ee31-494d-9e0e-09a5f776fea6 | Translation Approved (0%) | USGBC approved program – Products that comply with other USGBC approved environmental product declaration frameworks. | Programa aprovado pelo USGBC – Produtos que cumprem outras estruturas de declaração ambiental de produtos aprovadas pelo USGBC. |
| 2609009228e4-da71-4169-8d33-84b0be6dab8f | Translation Approved (100%) | Option 2. | Opção 2. |
| 2610009228e4-da71-4169-8d33-84b0be6dab8f | Translation Approved (0%) | Multi-Attribute Optimization (1 point) | Otimização multiatributo (1 ponto) |
| 2611da468919-bb88-4cfa-a506-95b1fbb9de56 | Translation Approved (0%) | Use products that comply with one of the criteria below for 50%, by cost, of the total value of permanently installed products in the project. | Use produtos que atendam a um dos critérios abaixo para 50%, por custo, do valor total de produtos instalados de forma permanente no projeto. |
| 2612da468919-bb88-4cfa-a506-95b1fbb9de56 | Translation Approved (0%) | Products will be valued as below. | Os produtos serão avaliados conforme explicado abaixo. |
| 2613b35eefd9-f1a4-443b-bedd-cebca2f83e87 | Translation Approved (0%) | Third party certified products that demonstrate impact reduction below industry average in at least three of the following categories are valued at 100% of their cost for credit achievement calculations. | Produtos certificados por terceiros que demonstrem redução de impacto abaixo da média do setor em pelo menos três das categorias a seguir são avaliados em 100% de seu custo para cálculos de obtenção do crédito. |
| 261472e7a66b-fcfa-4fa8-91a2-5bae50d71f33 | Translation Approved (100%) | global warming potential (greenhouse gases), in CO<3164>2</3164>e; | potencial de aquecimento global (gases do efeito estufa), em CO<3164>2</3164>e; |
| 26158c66121b-5a63-4beb-bd16-3d1149ca2105 | Translation Approved (100%) | depletion of the stratospheric ozone layer, in kg CFC-11; | destruição da camada de ozônio estratosférico, em kg CFC-11; |
| 26164d29e179-2bdf-4570-a70c-73b6abd9233a | Translation Approved (100%) | acidification of land and water sources, in moles H+ or kg SO<3165>2</3165>; | acidificação da terra e fontes de água, em mols de H+ ou kg SO<3165>2</3165>; |
| 26170c09078b-6e79-48eb-b7e2-bcd0facc22fb | Translation Approved (100%) | eutrophication, in kg nitrogen or kg phosphate; | eutrofização, em kg de nitrogênio ou kg de fosfato; |
| 26180d5ab792-4e93-41ec-bc73-cb6228d1f15e | Translation Approved (100%) | formation of tropospheric ozone, in kg NOx, kg O3, or kg ethene; and | formação de ozônio troposférico, em kg de NOx, kg de O3 ou kg de etileno; e |
| 2619fd4384c9-bf4b-4072-ac47-a9dd42e4b147 | Translation Approved (100%) | depletion of nonrenewable energy resources, in MJ. | destruição de recursos de energia não renovável, em MJ. |
| 26202515d3f1-81af-4ca6-b898-a4061b13734b | Translation Approved (77%) | USGBC approved program -- Products that comply with other USGBC approved multi-attribute frameworks. | Programa aprovado pelo USGBC – Produtos que cumprem outras estruturas de aprovação de multiatributo aprovadas pelo USGBC. |
| 2621bdea02c6-82f1-44f2-b7ac-c09ea51bd3de | Translation Approved (0%) | For credit achievement calculation, products sourced (extracted, manufactured, purchased) within 100 miles (160 km) of the project site are valued at 200% of their base contributing cost. | Para o cálculo de obtenção do crédito, os produtos originados (extraídos, fabricados, adquiridos) a até 100 milhas (160 km) do terreno do projeto são avaliados em 200% de seu custo base de contribuição. |
| 262236f18cde-0643-4601-9d74-cab12da3984b | Translation Approved (0%) | Structure and enclosure materials may not constitute more than 30% of the value of compliant building products. | Materiais de estrutura e invólucro não podem responder por mais de 30% do valor de produtos do edifício em conformidade. |
| 2623c0cd2e49-9f51-4b70-990c-e8a815026960 | Translation Approved (81%) | MR Credit: Building Product Disclosure and Optimization – Sourcing of Raw Materials | Crédito MR: Divulgação e Otimização de Produtos do Edifício - Origem de Matérias-Primas (MR Credit: Building Product Disclosure and Optimization – Sourcing of Raw Materials) |
| 262414375a99-c702-477a-a5d3-9ce57366e766 | Translation Approved (100%) | BD&C | BD&C |
| 2625c2f75ec4-311c-4117-b7c4-6f51854e8615 | Translation Approved (100%) | 1–2 points | 1 a 2 pontos |
| 262614136f85-107f-421f-9f77-e33c8207784b | Translation Approved (100%) | This credit applies to | Este crédito se aplica a |
| 2627096de441-5d05-41fb-9f53-09344d009a81 | Translation Approved (100%) | New Construction (1–2 points) | Nova Construção (New Construction) (1 a 2 pontos) |
| 2628ef37399f-2f21-45dc-ac9e-0de4010fb3f9 | Translation Approved (100%) | Core & Shell (1–2 points) | Núcleo e Casca (Core & Shell) (1 a 2 pontos) |
| 26298b19b31d-4144-407e-ad2a-d043f167703b | Translation Approved (100%) | Schools (1–2 points) | Escolas (Schools) (1 a 2 pontos) |
| 2630a2fc437b-4e45-4875-97dc-c918d67b2acb | Translation Approved (100%) | Retail (1–2 points) | Varejo (Retail) (1 a 2 pontos) |
| 263102d9b1d6-ae32-44a6-b545-2f0656abd8e5 | Translation Approved (100%) | Data Centers (1–2 points) | Centros de Dados (Data Centers) (1 a 2 pontos) |
| 263243ff2781-0258-44c8-80e7-8cf47c4a3a65 | Translation Approved (100%) | Warehouses & Distribution Centers (1–2 points) | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) (1 a 2 pontos) |
| 26331a6e85d1-5214-40bd-b7ca-23b56195749e | Translation Approved (100%) | Hospitality (1–2 points) | Hoteleiro (Hospitality) (1 a 2 pontos) |
| 2634f4120d02-29c1-4ec5-9e5c-71a4ac2504f4 | Translation Approved (100%) | Healthcare (1–2 points) | Setor de Saúde (Healthcare) (1 a 2 pontos) |
| 26358354b159-c25b-430a-82bf-e5903eee9acd | Translation Approved (100%) | Intent | Objetivo |
| 26363ae64c19-2d73-486b-91b7-d32e059db6ff | Translation Approved (89%) | To encourage the use of products and materials for which life cycle information is available and that have environmentally, economically, and socially preferable life cycle impacts. | Incentivar o uso de produtos e materiais cujas informações de ciclo de vida estejam disponíveis e que tenham impactos ambientais, econômicos e sociais de ciclo de vida vantajosos. |
| 26373ae64c19-2d73-486b-91b7-d32e059db6ff | Translation Approved (0%) | To reward project teams for selecting products verified to have been extracted or sourced in a responsible manner. | Recompensar equipes de projeto por selecionar produtos comprovadamente extraídos ou adquiridos de maneira responsável. |
| 263811ecc5c8-f6a2-4ae7-92b5-832a7807ed63 | Translation Approved (100%) | Requirements | Requisitos |
| 2639cc1b41f8-4a58-492d-9aa1-e6d1604c1a25 | Translation Approved (100%) | NC, CS, Schools, Retail NC, Data Centers, Warehouses & Distribution Centers, Hospitality NC, Healthcare | NC, CS, Escolas (Schools), Varejo-NC (Retail NC), Centros de Dados (Data Centers), Armazéns e Centros de Distribuição (Warehouses & Distribution Centers), Hoteleiro-NC (Hospitality NC), Setor de Saúde (Healthcare) |
| 2640f1dfdec9-6203-4db9-9bce-bafcdd6300e8 | Translation Approved (100%) | Option 1. | Opção 1. |
| 2641f1dfdec9-6203-4db9-9bce-bafcdd6300e8 | Translation Approved (0%) | Raw Material Source and Extraction Reporting (1 point) | Relatórios de origem e extração de matérias-primas (1 ponto) |
| 26421b9aaf1f-e461-42bb-8c97-f9adb0df94f5 | Translation Approved (0%) | Use at least 20 different permanently installed products from at least five different manufacturers that have publicly released a report from their raw material suppliers which include raw material supplier extraction locations, a commitment to long-term ecologically responsible land use, a commitment to reducing environmental harms from extraction and/or manufacturing processes, and a commitment to meeting applicable standards or programs voluntarily that address responsible sourcing criteria | Use pelo menos 20 produtos diferentes instalados de maneira permanente, de pelo menos cinco fabricantes diferentes que tenham divulgado publicamente um relatório de seus fornecedores de matérias-primas que incluam os locais de extração do fornecedor de matéria-prima, um compromisso com o uso ambientalmente responsável de longo prazo da terra, um compromisso para reduzir os prejuízos ambientais de processos de extração e/ou fabricação e um compromisso para cumprir voluntariamente com normas ou programas aplicáveis que tratem de critérios de aquisição responsável. |
| 26432a88fc7c-7660-4d2b-ad1f-3da58a699c25 | Translation Approved (0%) | Products sourced from manufacturers with self-declared reports are valued as one half (1/2) of a product for credit achievement. | Produtos adquiridos de fabricantes com relatórios autodeclarados são avaliados como metade (1/2) de um produto para a obtenção do crédito. |
| 2644c38264e5-55db-4091-a9df-eb70d90dad3b | Translation Approved (0%) | Third-party verified corporate sustainability reports (CSR) which include environmental impacts of extraction operations and activities associated with the manufacturer’s product and the product’s supply chain, are valued as one whole product for credit achievement calculation. | Relatórios de sustentabilidade corporativos (corporate sustainability reports – CSR) verificados por terceiros que incluem os impactos ambientais de operações e atividades de extração associadas ao produto do fabricante e à cadeia de fornecimento do produto são avaliados como um produto inteiro para o cálculo de obtenção do crédito. |
| 2645c38264e5-55db-4091-a9df-eb70d90dad3b | Translation Approved (0%) | Acceptable CSR frameworks include the following: | Estruturas de CSR aceitáveis incluem o seguinte: |
| 2646ee481981-4210-42d2-929c-2fa210ed2702 | Translation Approved (0%) | Global Reporting Initiative (GRI) Sustainability Report | Relatório de sustentabilidade da Iniciativa Global de Relatórios (Global Reporting Initiative – GRI) |
| 264729b107af-5ccd-49a8-b41d-30cc8e665ccc | Translation Approved (0%) | Organisation for Economic Co-operation and Develoment (OECD) Guidelines for Multinational Enterprises | Diretrizes da Organização para Cooperação e Desenvolvimento Econômico (OECD) para empresas multinacionais |
| 26480c4a2121-119f-44b8-ae6b-2c74b85f2bf2 | Translation Approved (0%) | U.N. | U.N. |
| 26490c4a2121-119f-44b8-ae6b-2c74b85f2bf2 | Translation Approved (0%) | <3175>Global Compact</3175>: Communication of Progress | <3175>Global Compact</3175>: Communication of Progress (Compact Global da ONU: Comunicação de Progresso) |
| 26508cdd2e81-f253-4afc-9baa-a1e31a5c2d9d | Translation Approved (0%) | <3176>ISO 26000:</3176> 2010 Guidance on Social Responsibility | <3176>ISO 26000:</3176> Orientação de 2010 de Responsabilidade Social |
| 26517c23c5d2-c5a2-4f3a-8877-062d9fa2709a | Translation Approved (0%) | <3177>USGBC approved program<3178>: </3178> </3177>Other USGBC approved programs meeting the CSR criteria. | <3177>Programa aprovado pelo USGBC<3178>: </3178></3177>Outros programas aprovados pelo USGBC que atendem aos critérios de CSR. |
| 26521e902db4-b7df-45ec-9f95-2178bd23a895 | Translation Approved (100%) | Option 2. | Opção 2. |
| 26531e902db4-b7df-45ec-9f95-2178bd23a895 | Translation Approved (0%) | Leadership Extraction Practices (1 point) | Práticas de extração de liderança (1 ponto) |
| 2654b316d18c-efc0-4398-b00b-344ba3705506 | Translation Approved (80%) | Use products that meet at least one of the responsible extraction criteria below for at least 25%, by cost, of the total value of permanently installed building products in the project. | Use produtos que atendam a pelo menos um dos critérios de extração responsável abaixo para pelo menos 25%, por custo, do valor total de produtos instalados de forma permanente no edifício do projeto. |
| 265567474a8c-cc0c-4823-8cf0-9470ca182524 | Translation Approved (96%) | Extended producer responsibility. | Responsabilidade estendida do produtor. |
| 265667474a8c-cc0c-4823-8cf0-9470ca182524 | Translation Approved (0%) | Products purchased from a manufacturer (producer) that participates in an extended producer responsibility program or is directly responsible for extended producer responsibility. | Produtos adquiridos de um fabricante (produtor) que participe de um programa de responsabilidade estendida do produtor ou seja diretamente responsável pela responsabilidade estendida do produtor. |
| 265767474a8c-cc0c-4823-8cf0-9470ca182524 | Translation Approved (0%) | Products meeting extended producer responsibility criteria are valued at 50% of their cost for the purposes of credit achievement calculation. | Produtos que atendam aos critérios de responsabilidade estendida do produtor são avaliados a 50% de seu custo para os fins do cálculo de obtenção do crédito. |
| 26588de2c872-7d2f-4c35-b4f7-63900792db7c | Translation Approved (77%) | Bio-based materials. | Materiais biodegradáveis. |
| 26598de2c872-7d2f-4c35-b4f7-63900792db7c | Translation Approved (0%) | Bio-based products must meet the Sustainable Agriculture Network’s Sustainable Agriculture Standard. | Produtos biodegradáveis devem atender à Norma para Agricultura Sustentável da Rede de Agricultura Sustentável (Sustainable Agriculture Network’s Sustainable Agriculture Standard). |
| 26608de2c872-7d2f-4c35-b4f7-63900792db7c | Translation Approved (0%) | Bio-based raw materials must be tested using ASTM Test Method D6866 and be legally harvested, as defined by the exporting and receiving country. | Matérias-primas biodegradáveis devem ser testadas utilizando o Método de Teste ASTM D6866 e serem coletadas de acordo com as leis dos países de exportação e destino. |
| 26618de2c872-7d2f-4c35-b4f7-63900792db7c | Translation Approved (0%) | Exclude hide products, such as leather and other animal skin material. | Exclua produtos de couro cru, como couro e outras peles de animais. |
| 26628de2c872-7d2f-4c35-b4f7-63900792db7c | Translation Approved (0%) | Products meeting bio-based materials criteria are valued at 100% of their cost for the purposes of credit achievement calculation. | Produtos que atendam aos critérios para materiais biodegradáveis são avaliados a 100% de seu custo para os fins do cálculo de obtenção do crédito. |
| 2663e14652fa-6cbb-48aa-95a6-a0f3f49e2b2d | Translation Approved (0%) | Wood products. | Produtos de madeira. |
| 2664e14652fa-6cbb-48aa-95a6-a0f3f49e2b2d | Translation Approved (0%) | Wood products must be certified by the Forest Stewardship Council or USGBC-approved equivalent. | Produtos de madeira devem ser certificados pelo Conselho de Manejo Florestal (Forest Stewardship Council - FSC) ou equivalente aprovado pelo USGBC. |
| 2665e14652fa-6cbb-48aa-95a6-a0f3f49e2b2d | Translation Approved (93%) | Products meeting wood products criteria are valued at 100% of their cost for the purposes of credit achievement calculation. | Produtos que atendam aos critérios para produtos de madeira são avaliados a 100% de seu custo para os fins do cálculo de obtenção do crédito. |
| 266668bf9365-5792-4ea8-a25a-40c8d810e4e4 | Translation Approved (97%) | Materials reuse<3185>.</3185> | Reuso de materiais. |
| 266768bf9365-5792-4ea8-a25a-40c8d810e4e4 | Translation Approved (0%) | Reuse includes<3186> </3186>salvaged, refurbished, or reused products. | Reuso inclui produtos recuperados, recondicionados ou reutilizados. |
| 266868bf9365-5792-4ea8-a25a-40c8d810e4e4 | Translation Approved (93%) | Products meeting materials reuse criteria are valued at 100% of their cost for the purposes of credit achievement calculation. | Produtos que atendam aos critérios para reuso de materiais são avaliados a 100% de seu custo para os fins do cálculo de obtenção do crédito. |
| 26693062d84d-d7e9-4fe9-a089-58465a6b0604 | Translation Approved (98%) | Recycled content. | Conteúdo reciclado. |
| 26703062d84d-d7e9-4fe9-a089-58465a6b0604 | Translation Approved (0%) | Recycled content is the sum of postconsumer recycled content plus one-half the preconsumer recycled content, based on cost. | O conteúdo reciclado é a soma do conteúdo reciclado pós-consumo mais metade do conteúdo reciclado pré-consumo, com base no custo. |
| 26713062d84d-d7e9-4fe9-a089-58465a6b0604 | Translation Approved (93%) | Products meeting recycled content criteria are valued at 100% of their cost for the purposes of credit achievement calculation | Produtos que atendam aos critérios para conteúdo reciclado são avaliados a 100% de seu custo para os fins do cálculo de obtenção do crédito. |
| 2672199e55f8-f9dd-4711-a20c-fa16e0cef17a | Translation Approved (0%) | USGBC approved program<3191>.</3191> | Programa aprovado pelo USGBC<3191>.</3191> |
| 2673199e55f8-f9dd-4711-a20c-fa16e0cef17a | Translation Approved (0%) | Other USGBC approved programs meeting leadership extraction criteria. | Outros programas aprovados pelo USGBC que atendem aos principais critérios. |
| 2674c762ea9b-2a65-4cd7-96b8-4401a8a0fc00 | Translation Approved (98%) | For credit achievement calculation, products sourced (extracted, manufactured and purchased) within 100 miles (160 km) of the project site are valued at 200% of their base contributing cost. | Para o cálculo de obtenção do crédito, os produtos originados (extraídos, fabricados e adquiridos) a até 100 milhas (160 km) do terreno do projeto são avaliados a 200% de seu custo base de contribuição. |
| 2675c762ea9b-2a65-4cd7-96b8-4401a8a0fc00 | Translation Approved (0%) | For credit achievement calculation, the base contributing cost of individual products compliant with multiple responsible extraction criteria is not permitted to exceed 100% its total actual cost (before regional multipliers) and double counting of single product components compliant with multiple responsible extraction criteria is not permitted and in no case is a product permitted to contribute more than 200% of its total actual cost. | Para o cálculo de obtenção do crédito, o custo base de contribuição de produtos individuais em conformidade com múltiplos critérios de extração responsável não pode exceder 100% de seu custo total real (antes dos multiplicadores regionais), a contabilização dupla de componentes únicos de produtos em conformidade com múltiplos critérios de extração não é permitida e em nenhum caso um produto pode contribuir com mais de 200% de seu custo total real. |
| 2676e33014ca-d320-46fc-9766-2907f14fdd62 | Translation Approved (100%) | Structure and enclosure materials may not constitute more than 30% of the value of compliant building products. | Materiais de estrutura e invólucro não podem responder por mais de 30% do valor de produtos do edifício em conformidade. |
| 267792290824-593a-480b-8208-15ff3ae9429a | Translation Approved (75%) | MR Credit: Building Product Disclosure and Optimization – Material Ingredients | Crédito MR: Divulgação e Otimização de Produtos do Edifício - Ingredientes de Materiais (MR Credit: Building Product Disclosure and Optimization – Material Ingredients) |
| 2678850775cb-06e1-47c7-9fc6-873a7bfcb2e4 | Translation Approved (100%) | BD&C | BD&C |
| 267939729200-e2f4-4b60-a8dd-947912a1cd13 | Translation Approved (100%) | 1-2 points | 1 a 2 pontos |
| 26804d79770a-01f4-47fe-975f-593114cc7280 | Translation Approved (100%) | This credit applies to | Este crédito se aplica a |
| 2681103ce405-15cd-4023-bcbe-ba0e49d3aba4 | Translation Approved (100%) | New Construction (1-2 points) | Nova Construção (New Construction) (1 a 2 pontos) |
| 268294e21714-2a81-448b-97ae-4a8a70060a0c | Translation Approved (100%) | Core & Shell (1-2 points) | Núcleo e Casca (Core & Shell) (1 a 2 pontos) |
| 2683246c226b-9433-449a-943e-3489feabad32 | Translation Approved (100%) | Schools (1-2 points) | Escolas (Schools) (1 a 2 pontos) |
| 2684799f10b0-e61c-4ea8-b96b-a7e5a0e19732 | Translation Approved (100%) | Retail (1-2 points) | Varejo (Retail) (1 a 2 pontos) |
| 2685bd47bf13-3eb5-42ab-99e3-94300b4d95b6 | Translation Approved (100%) | Data Centers (1-2 points) | Centros de Dados (Data Centers) (1 a 2 pontos) |
| 2686d3d0123c-4983-4c98-8fd3-bac60f84fdac | Translation Approved (100%) | Warehouses & Distribution Centers (1-2 points) | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) (1 a 2 pontos) |
| 26870fa830d3-d52d-4ddc-b8d1-6bf22494281a | Translation Approved (100%) | Hospitality (1-2 points) | Hoteleiro (Hospitality) (1 a 2 pontos) |
| 2688b18dffae-3936-4aa6-aa05-0fa835b2f3b9 | Translation Approved (100%) | Healthcare (1-2 points) | Setor de Saúde (Healthcare) (1 a 2 pontos) |
| 26890bb92a97-482e-463b-9fd4-49c552d7b604 | Translation Approved (100%) | Intent | Objetivo |
| 26905067c196-1e9d-4b7a-9d67-a2af732fdee8 | Translation Approved (99%) | To encourage the use of products and materials for which life-cycle information is available and that have environmentally, economically, and socially preferable life-cycle impacts. | Incentivar o uso de produtos e materiais cujas informações de ciclo de vida estejam disponíveis e que tenham impactos ambientais, econômicos e sociais de ciclo de vida vantajosos. |
| 26915067c196-1e9d-4b7a-9d67-a2af732fdee8 | Translation Approved (0%) | To reward project teams for selecting products for which the chemical ingredients in the product are inventoried using an accepted methodology and for selecting products verified to minimize the use and generation of harmful substances. | Recompensar equipes de projeto por selecionar produtos cujos ingredientes químicos estejam catalogados por uma metodologia aceita e por selecionar produtos que comprovadamente minimizam o uso e a geração de substâncias perigosas. |
| 26925067c196-1e9d-4b7a-9d67-a2af732fdee8 | Translation Approved (0%) | To reward raw material manufacturers who produce products verified to have improved life-cycle impacts. | Recompensar fabricantes de matérias-primas que fabricam produtos que comprovadamente melhoraram seus impactos no ciclo de vida. |
| 26937407430d-370b-451b-916f-193f698d0bbf | Translation Approved (100%) | Requirements | Requisitos |
| 2694987bcc2d-b864-446c-99ea-85c316df509e | Translation Approved (100%) | NC, CS, Schools, Retail NC, Data Centers, Warehouses & Distribution Centers, Hospitality NC, Healthcare | NC, CS, Escolas (Schools), Varejo-NC (Retail NC), Centros de Dados (Data Centers), Armazéns e Centros de Distribuição (Warehouses & Distribution Centers), Hoteleiro-NC (Hospitality NC), Setor de Saúde (Healthcare) |
| 26957a098405-0192-4ac8-9dce-95057649a718 | Translation Approved (100%) | Option 1. | Opção 1. |
| 26967a098405-0192-4ac8-9dce-95057649a718 | Translation Approved (0%) | Material Ingredient Reporting (1 point) | Relatório de ingredientes de materiais (1 ponto) |
| 2697a65c0596-69fc-44c0-bc06-55f39b2c39ca | Translation Approved (0%) | Use at least 20 different permanently installed products from at least five different manufacturers that use any of the following programs to demonstrate the chemical inventory of the product to at least 0.1% (1000 ppm). | Use pelo menos 20 produtos diferentes instalados de maneira permanente, de pelo menos cinco fabricantes diferentes que usem algum dos programas a seguir para demonstrar o inventário químico do produto a pelo menos 0,1% (1000 ppm). |
| 2698fe41f5df-b7b1-4941-ab26-eb2fb34dad61 | Translation Approved (0%) | <3198>Manufacturer Inventory</3198>. | <3198>Inventário do fabricante</3198>. |
| 2699fe41f5df-b7b1-4941-ab26-eb2fb34dad61 | Translation Approved (0%) | The manufacturer has published complete content inventory for the product following these guidelines: | O fabricante publicou um inventário de conteúdo completo do produto seguindo estas diretrizes: |
| 2700ed966f90-ebad-40af-bb40-7a8143967d7a | Translation Approved (0%) | A publicly available inventory of all ingredients identified by name and Chemical Abstract Service Registration Number (CASRN) | Um inventário publicamente disponível de todos os ingredientes, identificados por nome e Número de Registro no Serviço de Resumo Químico Chemical (Chemical Abstract Service Registration Number - CASRN) |
| 2701cfd3557e-f022-4184-95fa-21f99d006ef6 | Translation Approved (0%) | Materials defined as trade secret or intellectual property may withhold the name and/or CASRN but must disclose role, amount and GreenScreen benchmark, as defined in GreenScreen v1.2. | Materiais definidos como segredo comercial ou propriedade intelectual podem omitir o nome e/ou o CASRN, mas devem divulgar função, quantidade e referência GreenScreen, conforme definida em GreenScreen v1.2. |
| 2702fbab6b5d-5aa2-427e-b9fc-a56ae45b047f | Translation Approved (70%) | Health Product Declaration. | Declaração de Saúde do Produto. |
| 2703fbab6b5d-5aa2-427e-b9fc-a56ae45b047f | Translation Approved (0%) | The end use product has a published, complete Health Product Declaration with full disclosure of known hazards in compliance with the Health Product Declaration open Standard. | O produto de uso final tem uma Declaração de Saúde do Produto completa e publicada, com divulgação completa dos perigos conhecidos, em conformidade com a norma aberta para Declarações de Saúde de Produtos. |
| 2704eeb3cd13-6302-4094-9d95-35ebda56d2d7 | Translation Approved (96%) | Cradle to Cradle. | Cradle to Cradle (berço ao berço). |
| 2705eeb3cd13-6302-4094-9d95-35ebda56d2d7 | Translation Approved (0%) | The end use product has been certified at the Cradle to Cradle v2 Basic level or Cradle to Cradle v3 Bronze level. | O produto de uso final foi certificado no nível Cradle to Cradle v2 Basic ou no nível Cradle to Cradle v3 Bronze. |
| 270651eec1bc-32db-420e-834a-0b56bf8fa46c | Translation Approved (100%) | USGBC approved program<3202>.</3202> | Programa aprovado pelo USGBC<3202>.</3202> |
| 270751eec1bc-32db-420e-834a-0b56bf8fa46c | Translation Approved (0%) | Other USGBC approved programs meeting the material ingredient reporting criteria. | Outros programas aprovados pelo USGBC que atendem aos critérios de relatório de ingredientes de materiais. |
| 270812ddd615-c2f7-4636-a943-bfa54c2fca70 | Translation Approved (100%) | AND/OR | E/OU |
| 2709e32d130d-03d4-4b96-a065-d3c9628a6d3a | Translation Approved (0%) | Option 2: Material Ingredient Optimization (1 point) | Opção 2: Otimização de ingredientes de materiais (1 ponto) |
| 2710d9ca148f-3a70-4c46-9951-1b4a8bb1185c | Translation Approved (78%) | Use products that document their material ingredient optimization using the paths below for at least 25%, by cost, of the total value of permanently installed products in the project. | Use produtos que documentem a otimização de ingredientes de seus materiais utilizando os caminhos abaixo para pelo menos 25%, por custo, do valor total de produtos instalados de forma permanente no projeto. |
| 271155013ae1-5f58-4981-bfa0-34d2a02f1bec | Translation Approved (0%) | <3204>GreenScreen v1.2 Benchmark</3204><3205>.</3205> | <3204>Referência GreenScreen v1.2</3204><3205>.</3205> |
| 271255013ae1-5f58-4981-bfa0-34d2a02f1bec | Translation Approved (0%) | Products that have fully inventoried chemical ingredients to 100 ppm that have no Benchmark 1 hazards: | Produtos com inventários completos de ingredientes químicos a 100 ppm que não têm perigos da Referência 1: |
| 27132ca725aa-e2fe-469d-882c-625f5f574d71 | Translation Approved (0%) | If any ingredients are assessed with the GreenScreen List Translator, value these products at 100% of cost. | Se algum ingrediente for avaliado com o GreenScreen List Translator, avalie esses produtos a 100% do custo. |
| 271449c76807-0456-4f1f-8779-579ad5a2a7e5 | Translation Approved (0%) | If all ingredients are have undergone a full GreenScreen Assessment, value these products at 150% of cost. | Se todos os ingredientes passaram por uma Avaliação GreenScreen completa, avalie os produtos a 150% do custo. |
| 2715177472b4-1adc-4597-a9b1-96dc611f0bd5 | Translation Approved (0%) | <3206>Cradle to Cradle Certified</3206><3207>.</3207> | <3206>Certificação Cradle to Cradle (berço a berço)</3206><3207>.</3207> |
| 2716177472b4-1adc-4597-a9b1-96dc611f0bd5 | Translation Approved (0%) | End use products are certified Cradle to Cradle. | Produtos de uso final têm a certificação Cradle to Cradle. |
| 2717177472b4-1adc-4597-a9b1-96dc611f0bd5 | Translation Approved (88%) | Products will be valued as follows: | Os produtos serão avaliados da seguinte forma: |
| 2718dc51bcc7-aebc-4c8a-b462-9847e0c15cc1 | Translation Approved (0%) | Cradle to Cradle v2 Gold: 100% of cost | Cradle to Cradle v2 Gold: 100% do custo |
| 27193326515f-a4bb-4857-bc8b-baa0eaa90ec2 | Translation Approved (0%) | Cradle to Cradle v2 Platinum: 150% of cost | Cradle to Cradle v2 Platinum: 150% do custo |
| 2720d765e41c-36b3-42d4-9f2c-4aa7da2b601c | Translation Approved (0%) | Cradle to Cradle v3 Silver: 100% of cost | Cradle to Cradle v3 Silver: 100% do custo |
| 2721728b69ff-1cd1-44cf-8879-cc2a06ae0c95 | Translation Approved (0%) | Cradle to Cradle v3 Gold or Platinum: 150% of cost | Cradle to Cradle v3 Gold ou Platinum: 150% do custo |
| 2722ee092746-2894-46c6-a1f3-dc5144406546 | Translation Approved (0%) | <3208>International Alternative Compliance Path – REACH Optimization</3208>. | <3208>Caminho internacional alternativo para conformidade – Otimização REACH</3208>. |
| 2723ee092746-2894-46c6-a1f3-dc5144406546 | Translation Approved (0%) | End use products and materials that do not contain substances that meet REACH criteria for substances of very high concern. | Produtos e materiais de uso final que não contenham substâncias que atendam aos critérios REACH para substâncias de preocupação muito alta. |
| 2724ee092746-2894-46c6-a1f3-dc5144406546 | Translation Approved (0%) | If the product contains no ingredients listed on the REACH Authorization or Candidate list, value at 100% of cost. | Se o produto não tiver ingredientes listados na lista de Autorização ou Candidatos REACH, avalie a 100% do custo. |
| 27253e416278-4bc0-441a-9474-5f053b0e2645 | Translation Approved (100%) | USGBC approved program<3210>.</3210> | Programa aprovado pelo USGBC<3210>.</3210> |
| 27263e416278-4bc0-441a-9474-5f053b0e2645 | Translation Approved (0%) | Products that comply with USGGBC approved building product optimization criteria. | Produtos que cumprem os critérios de otimização de produtos de edifícios aprovados pelo USGBC. |
| 27279d8f5841-efa9-4516-aff3-1dd1bff7b102 | Translation Approved (100%) | AND/OR | E/OU |
| 2728f508309f-5abb-4742-9b24-0aef14f04bc1 | Translation Approved (0%) | Option 3: Product Manufacturer Supply Chain Optimization (1 point) | Opção 3: Otimização da cadeia de fornecimento do fabricante do produto (1 ponto) |
| 272968d0ef51-b211-4740-8e7e-406de2d7334c | Translation Approved (0%) | Use building products for at least 25%, by cost, of the total value of permanently installed products in the<3212> </3212><3213>project</3213> that: | Use produtos de edifícios para pelo menos 25%, por custo, do valor total de produtos instalados de maneira permanente no<3212> </3212><3213>projeto</3213> que: |
| 273002dd1f19-828c-451a-8d98-4fc2c33ce219 | Translation Approved (0%) | http://new.usgbc.org/glossary/term/4727 | http://new.usgbc.org/glossary/term/4727 |
| 273129999b12-d45f-4b96-a243-01763988c626 | Translation Approved (0%) | Are sourced from product manufacturers who engage in validated and robust safety, health, hazard, and risk programs which at a minimum document at least 99% (by weight) of the ingredients used to make the building product or building material, and | Sejam adquiridos de fabricantes envolvidos em programas rígidos e comprovados para segurança, saúde, perigo e riscos, que documentem no mínimo 90% (por peso) dos ingredientes usados para fazer o produto de construção ou material de construção; e |
| 273226103a1f-ce6b-42da-9b09-94ee7cc3bafd | Translation Approved (0%) | Are sourced from product manufacturers with independent third party verification of their supply chain that at a minimum verifies: | Sejam adquiridos de fabricantes que apliquem uma verificação independente de sua cadeia de supply fornecimento, feita por terceiros e que verifique, no mínimo, que haja: |
| 273393d86cde-7829-4bcd-b618-4df16eba36fa | Translation Approved (0%) | Processes are in place to communicate and transparently prioritize chemical ingredients along the supply chain according to available hazard, exposure and use information to identify those that require more detailed evaluation | Processos em vigor para comunicar e priorizar de maneira transparente ingredientes químicos em toda a cadeia de fornecimento de acordo com as informações disponíveis de risco, exposição e uso, para identificar os que precisam de avaliações mais detalhadas |
| 27347ce31016-0dc8-4d6a-be30-5f7ce3643840 | Translation Approved (0%) | Processes are in place to identify, document, and communicate information on health, safety and environmental characteristics of chemical ingredients | Processos em vigor para identificar, documentar e comunicar informações sobre saúde, segurança e as características ambientais dos ingredientes químicos |
| 2735add32450-343a-4727-b653-13424f5fbe72 | Translation Approved (0%) | Processes are in place to implement measures to manage the health, safety and environmental hazard and risk of chemical ingredients | Processos em vigor para implementar medidas para gerenciar perigos e riscos de saúde, segurança e ambientais de ingredientes químicos |
| 27368f8c2719-7e10-4cd6-8b50-c13587d308e0 | Translation Approved (0%) | Processes are in place to optimize health, safety and environmental impacts when designing and improving chemical ingredients | Processos em vigor para otimizar os impactos ambientais, de saúde e segurança ao projetar e aprimorar ingredientes químicos |
| 2737a7e8f3ec-1817-4b72-ba19-982c04d6eecf | Translation Approved (0%) | Processes are in place to communicate, receive and evaluate chemical ingredient safety and stewardship information along the supply chain | Processos em vigor para comunicar, receber e avaliar informações de administração e segurança de ingredientes químicos ao longo da cadeia de fornecimento |
| 273877434912-5f57-4695-8313-4c7a66083299 | Translation Approved (0%) | Safety and stewardship information about the chemical ingredients is publicly available from all points along the supply chain | Informações de administração e segurança dos ingredientes químicos publicamente disponíveis em todos os pontos da cadeia de fornecimento |
| 273935655f70-c2e3-434e-a5d3-4eb6555c8a4a | Translation Approved (93%) | Products meeting Option 3 criteria are valued at 100% of their cost for the purposes of credit achievement calculation. | Produtos que atendam aos critérios da Opção 3 são avaliados a 100% de seu custo para fins do cálculo de obtenção do crédito. |
| 2740084bf024-97f8-4bc9-b958-9bd8474680c6 | Translation Approved (88%) | For credit achievement calculation of options 2 and 3, products sourced (extracted, manufactured, purchased) within 100 miles (160 km) of the project site are valued at 200% of their base contributing cost. | Para o cálculo de obtenção do crédito das Opções 2 e 3, produtos obtidos (extraídos, fabricados, adquiridos) a até 100 milhas (160 km) do terreno do projeto são avaliados em 200% de seu custo base de contribuição. |
| 2741084bf024-97f8-4bc9-b958-9bd8474680c6 | Translation Approved (0%) | For credit achievement calculation, the value of individual products compliant with either option 2 or 3 can be combined to reach the 25% threshold but products compliant with both option 2 and 3 may only be counted once. | Para o cálculo de obtenção do crédito, os valores de produtos individuais em conformidade com a Opção 2 ou Opção 3 podem ser combinados para alcançar o limiar de 25%, mas produtos em conformidade com a Opção 2 e a Opção 3 só podem ser contabilizados uma vez. |
| 27421b438779-aeaf-45c4-a124-0de96c8961b0 | Translation Approved (100%) | Structure and enclosure materials may not constitute more than 30% of the value of compliant building products. | Materiais de estrutura e invólucro não podem responder por mais de 30% do valor de produtos do edifício em conformidade. |
| 2743e2c4abfe-ee12-4917-9cf3-49b1338ef211 | Translation Approved (87%) | MR Credit: PBT Source Reduction—Mercury | Crédito MR: Redução de Fontes de PBT – Mercúrio (MR Credit: PBT Source Reduction—Mercury) |
| 27444dc2bb6e-0903-44b3-b18c-7355f2050600 | Translation Approved (100%) | BD&C | BD&C |
| 2745897ecd6a-c0e3-464c-a6a6-e09f5363b7ab | Translation Approved (100%) | 1 point | 1 ponto |
| 2746ac097d98-276a-431d-8d1a-b95d559694b5 | Translation Approved (100%) | This credit applies to | Este crédito se aplica a |
| 274766bc6101-0cbf-4e2e-b1f9-73c402a2864d | Translation Approved (100%) | Healthcare | Setor de Saúde (Healthcare) |
| 27481c347d49-9f30-430e-a0e6-ed9b2d06b021 | Translation Approved (100%) | Intent | Objetivo |
| 27494a8496cb-aee7-4e4b-8ef4-5a1ed88f1c29 | Translation Approved (0%) | To reduce the release of persistent, bioaccumulative, and toxic (PBTs) chemicals associated with the life cycle of building materials. | Reduzir a liberação de produtos químicos persistentes, bioacumulativos e tóxicos (PBTs) associados ao ciclo de vida de materiais de construção. |
| 27500b1de9b9-1fc9-4985-9d68-57fa4727bf1b | Translation Approved (100%) | Requirements | Requisitos |
| 27515758854d-d509-4f6d-a622-c0079693d591 | Translation Approved (100%) | Healthcare | Setor de Saúde (Healthcare) |
| 2752690eadb4-5a4d-45aa-aea5-8b6dd9d3b3bf | Translation Approved (0%) | Specify and install fluorescent lamps with both low mercury content (MR Prerequisite PBT Source Reduction—Mercury) and long lamp life, as listed in Table 1. | Especifique e instale lâmpadas fluorescentes com baixa concentração de mercúrio (Pré-requisito MR: Redução de Fontes de PBT – Mercúrio) e longa vida útil, conforme listadas na Tabela 1 |
| 2753f61a7dda-400b-4c12-8944-c73f1ecc00d4 | Translation Approved (100%) | Table 1. | Tabela 1. |
| 2754f61a7dda-400b-4c12-8944-c73f1ecc00d4 | Translation Approved (0%) | Criteria for rated life of low-mercury lamps | Critérios de vida nominal de lâmpadas com baixa concentração de mercúrio |
| 275525f203e4-e93e-44b7-bf21-498ad71cdafd | Translation Approved (100%) | Lamp | Lâmpada |
| 2756867b5fc5-3f31-42d0-8752-b9fc77669fe5 | Translation Approved (100%) | Maximum content | Concentração máxima |
| 27578dd5356b-ce27-4029-ab6a-37713144459d | Translation Approved (0%) | Lamp life (hrs) | Vida útil da lâmpada (horas) |
| 27586c2a8fa2-e718-4908-810a-7015e1e97184 | Translation Approved (100%) | T-8 fluorescent, eight-foot | Fluorescente T-8, oito pés |
| 275999693938-ee2b-421b-8797-173debad4433 | Translation Approved (100%) | 10 mg mercury | 10 mg de mercúrio |
| 27609ace9ff4-1bda-452e-8623-93682dbb8ce5 | Translation Approved (0%) | Standard output - 24,000 rated hours on instant start ballasts (3-hour starts) | Emissão padrão - 24.000 horas nominais em lastros de início imediato (inícios de 3 horas) |
| 2761fe79b09a-2322-4e44-b3bc-97da0fbd0de3 | Translation Approved (72%) | High output – 18,000 rated hours on instant start ballasts or program start ballasts (3-hour starts) | Alta emissão - 18.000 horas nominais em lastros de início imediato ou lastros de início programado (inícios de 3 horas) |
| 2762a2e4067a-b94d-46a7-a407-95236372c477 | Translation Approved (100%) | T-8 fluorescent, four-foot | Fluorescente T-8, quatro pés |
| 276320aae890-f34f-4f4f-afac-f013aca83f84 | Translation Approved (100%) | 3.5 mg mercury | 3,5 mg de mercúrio |
| 27646c793939-ef84-4ea6-89c0-72d1d453e91c | Translation Approved (70%) | Both standard and high output - 30,000 rated hours on instant start ballasts, or 36,000 rated hours on program start ballasts (3 hour starts) | Emissões padrão e alta - 30.000 horas nominais em lastros de início imediato ou 36.000 horas nominais em lastros de início programado (inícios de 3 horas) |
| 2765a01c4c80-e8f9-4c49-b47d-ad92bf4710db | Translation Approved (0%) | T-8 fluorescent, two-foot and three-foot | Fluorescente T-8, dois pés e três pés |
| 2766055725e2-202b-4406-b5de-36ff54a51c36 | Translation Approved (100%) | 3.5 mg mercury | 3,5 mg de mercúrio |
| 2767d532ada6-38e8-4e77-b4e6-d937d4adaa5d | Translation Approved (86%) | 24,000 rated hours on instant start ballasts or program start ballasts (3-hour starts) | 24.000 horas nominais em lastros de início imediato ou lastros de início programado (inícios de 3 horas) |
| 276838583ab3-71b2-482d-91fe-a239247807b0 | Translation Approved (100%) | T-8 fluorescent, U-bent | Fluorescente T-8, em U |
| 276928fbd886-7384-4996-9d50-fb81c1945ac5 | Translation Approved (100%) | 6 mg mercury | 6 mg de mercúrio |
| 277014deac31-8626-4655-942f-642d1efe3ba6 | Translation Approved (82%) | 18,000 rated hours on instant start ballasts, or 24,000 rated hours on program start ballasts (3-hour starts) | 18.000 horas nominais em lastros de início imediato ou 24.000 horas nominais em lastros de início programado (inícios de 3 horas) |
| 27712214a7c8-b08d-44e1-aab7-8833040dd0ea | Translation Approved (100%) | T-5 fluorescent, linear | Fluorescente T-5, linear |
| 2772e54e2ed2-b270-4886-8a55-0d109b40cd90 | Translation Approved (100%) | 2.5 mg mercury | 2,5 mg de mercúrio |
| 2773c2185fce-7731-4f27-adb8-b9f4a0501c07 | Translation Approved (0%) | Both standard and high-output - 25,000 rated hours on program start ballasts | Emissões padrão e alta – 25.000 horas nominais em lastros de início programado |
| 27748e6ef19c-a39b-47d3-b40b-0bf08615511e | Translation Approved (100%) | T-5 fluorescent, circular | Fluorescente T-5, circular |
| 27755a9b7d14-553e-43b9-8918-392cec2291ff | Translation Approved (100%) | 9 mg mercury | 9 mg de mercúrio |
| 2776cf2ff93a-f16d-49c6-872b-9148a77dc2f6 | Translation Approved (95%) | Both standard and high-output – 25,000 rated hours on program start ballasts | Emissões padrão e alta – 25.000 horas nominais em lastros de início programado |
| 2777cff5d4af-9aaa-44c5-9328-49015bdc4910 | Translation Approved (100%) | Compact fluorescent, nonintegral ballast | Fluorescente compacta, lastro não integral |
| 2778df9aa3d4-7cdf-4f78-ac4b-2b6be3840133 | Translation Approved (100%) | 3.5 mg mercury | 3,5 mg de mercúrio |
| 2779264eb168-6fb9-4b7c-89bf-9ff8fd600b82 | Translation Approved (0%) | 12,000 rated hours | 12.000 horas nominais |
| 278073f2894a-8f68-4e3b-8be2-34fecd779a11 | Translation Approved (0%) | Compact florescent, integral ballast, bare bulb | Fluorescente compacta, lastro integral, lâmpada exposta |
| 2781fbc73899-996d-4815-8476-7ee90e8acb45 | Translation Approved (100%) | 3.5 mg mercury, ENERGY STAR qualified | 3,5 mg de mercúrio, qualificação ENERGY STAR |
| 2782e416c99d-92d8-45e3-a341-e43f8e9354bf | Translation Approved (0%) | Bare bulb - 10,000 rated hours | Lâmpada exposta - 10.000 horas nominais |
| 2783cb1119de-fecf-4f8d-89cf-911567e10dde | Translation Approved (0%) | Covered models such as globes, reflectors, A-19s – 8,000 hours | Modelos cobertos, como globos, refletores, A-19s – 8.000 horas |
| 2784d2c6d5b6-5006-4d92-8ef3-4c59ba78f647 | Translation Approved (100%) | High-pressure sodium, up to 400 watts | Sódio de alta pressão, até 400 watts |
| 27859fb7179a-1e4c-45e5-8a45-74e1b3d4cbe1 | Translation Approved (100%) | 10 mg mercury | 10 mg de mercúrio |
| 2786f23a1dbf-0854-4f7e-ba76-2b6ce0fd0455 | Translation Approved (0%) | Use noncycling type or replace with LED lamps or induction lamps | Usar tipo não cíclico ou substitua por lâmpadas de LED ou lâmpadas de indução |
| 278764f3fa0b-42bd-48fc-9376-828d404ca32e | Translation Approved (100%) | High-pressure sodium, above 400 watts | Sódio de alta pressão, acima de 400 watts |
| 2788122cee4a-80a1-4ffc-9301-c41bb984ff86 | Translation Approved (100%) | 32 mg mercury | 32 mg de mercúrio |
| 2789752af49e-78d8-4bd9-a6b1-96017a760f1c | Translation Approved (100%) | Use noncycling type or replace with LED lamps or induction lamps | Usar tipo não cíclico ou substitua por lâmpadas de LED ou lâmpadas de indução |
| 27900638bbee-a715-47de-9e42-d3e137b2347f | Translation Approved (0%) | Do not specify or install circular fluorescent lamps or probe start metal halide lamps. | Não especifique nem instale lâmpadas fluorescentes circulares ou lâmpadas de haleto metálico com início por sonda. |
| 2791d623969c-e366-4977-836b-7280d956bdb1 | Translation Approved (0%) | MR Credit: PBT Source Reduction—Lead, Cadmium, and Copper | Crédito MR: Redução de Fontes de PBT - Chumbo, Cádmio e Cobre (MR Credit: PBT Source Reduction—Lead, Cadmium, and Copper) |
| 27922d4c73bb-182a-44a6-b7b6-ffbbb16e5fe9 | Translation Approved (100%) | BD&C | BD&C |
| 2793ed666911-f7d2-4f3c-8ceb-230cf38ef4e5 | Translation Approved (100%) | 2 points | 2 pontos |
| 27941427496c-5bf4-46f3-8e85-37d1316d95d3 | Translation Approved (100%) | This credit applies to | Este crédito se aplica a |
| 2795590fdf97-efb5-4297-91d0-b7941d175679 | Translation Approved (100%) | Healthcare | Setor de Saúde (Healthcare) |
| 2796a87ae8cf-fa09-4974-a0fb-880b2f4d65bd | Translation Approved (100%) | Intent | Objetivo |
| 279700cc7d3c-f41d-4356-8648-241a986fb814 | Translation Approved (97%) | To reduce the release of persistent, bioaccumulative, and toxic (PBT) chemicals associated with the life cycle of building materials. | Reduzir a liberação de produtos químicos persistentes, bioacumulativos e tóxicos (PBTs) associados ao ciclo de vida de materiais de construção. |
| 279897b05c06-fc8f-4393-99e7-a4cb13e2dad6 | Translation Approved (100%) | Requirements | Requisitos |
| 2799faf80ffe-3044-4039-ab64-dba593810465 | Translation Approved (100%) | Healthcare | Setor de Saúde (Healthcare) |
| 2800d182a186-d8b6-4c83-9f01-267bf460bc89 | Translation Approved (0%) | Specify substitutes for materials manufactured with lead and cadmium, as follows. | Especifique substitutos para materiais fabricados com chumbo e cádmio da seguinte maneira. |
| 2801e6503754-7343-463c-8351-a67193bc5c26 | Translation Approved (0%) | Lead | Chumbo |
| 2802ebac8558-3a63-4032-80eb-d25613bbcf9c | Translation Approved (0%) | For water intended for human consumption, specify and use solder and flux to connect plumbing pipe on site that meets the California AB1953 standard, which specifies that solder not contain more than 0.2% lead, and flux not more than a weighted average of 0.25% lead for wetted surfaces. | Para água destinada ao consumo humano, especifique e use solda e fundente para conectar encanamento no local que atenda à Norma AB1953 da Califórnia, que especifica que a solda não deve conter mais que 0,2% de chumbo e o fundente não mais que uma média ponderada de 0,25% de chumbo para superfícies úmidas. |
| 2803ebac8558-3a63-4032-80eb-d25613bbcf9c | Translation Approved (0%) | The “lead free” label as defined by the Safe Drinking Water Act (SDWA) ) does not provide adequate screening for the purposes of this credit because the SDWA defines “lead free” as solders and flux containing 0.2% lead or less. | A etiqueta "sem chumbo" conforme definida pela lei para água potável segura (Safe Drinking Water Act – SDWA) não fornece uma classificação adequada para os fins deste crédito porque a SDWA define "sem chumbo" como soldas e fundentes que contêm 0,2% de chumbo ou menos. |
| 280449c19e07-bf3b-4862-97b4-8d48ff5415d9 | Translation Approved (0%) | For water intended for human consumption, specify and use pipes, pipe fittings, plumbing fittings, and faucets that meet the California law AB1953 of a weighted average lead content of the wetted surface area of not more than 0.25% lead. | Para água destinada ao consumo humano, especifique e use tubos, conexões de tubos, conexões hidráulicas e torneiras que atendam à lei AB1953 da Califórnia, com uma média ponderada do conteúdo de chumbo de uma superfície úmida de no máximo 0,25%. |
| 2805ecdd3198-f7c9-4740-8aa2-83194584b0ba | Translation Approved (0%) | Specify and use lead-free roofing and flashing. | Especifique e use telhados e rufos sem chumbo. |
| 28067aff7753-f5d8-4083-bb65-c4b51dbd5c7b | Translation Approved (0%) | Specify and use electrical wire and cable with lead content less than 300 parts per million. | Especifique e use fios e cabos elétricos com conteúdo de chumbo inferior a 300 partes por milhão. |
| 280704ed963b-d2a9-429d-a81a-956586771ae9 | Translation Approved (0%) | Specify no use of interior or exterior paints containing lead. | Especifique a não utilização de tintas que contenham chumbo para áreas internas ou externas. |
| 2808e9a61362-a72e-4093-b81a-d9cb283d4eb4 | Translation Approved (0%) | For renovation projects, ensure the removal and appropriate disposal of disconnected wires with lead stabilizers, consistent with the 2002 National Electric Code requirements. | Para projetos de reforma, garantia a remoção e o descarte adequados de fios desconectados com estabilizadores de chumbo, em conformidade com os requisitos do Código Elétrico Nacional (EUA) de 2002. |
| 2809bc13fc22-8841-43f2-9927-0fdc50519bd8 | Translation Approved (0%) | Lead used for radiation shielding and copper used for MRI shielding are exempt. | Chumbo usado para proteção contra radiação e cobre usado para proteção em máquinas de ressonância magnética são isentos. |
| 281024d796ff-8789-481e-a094-9bb2948be2b2 | Translation Approved (0%) | Cadmium | Cádmio |
| 28112e04b3b4-5a3a-473b-89a6-3803f30c1981 | Translation Approved (81%) | Specify no use of interior or exterior paints containing intentionally added cadmium. | Especifique a não utilização de tintas que contenham cádmio intencionalmente adicionado para áreas internas ou externas. |
| 28120b569fb3-8cc8-48b5-9910-1cb0db624821 | Translation Approved (0%) | Copper | Cobre |
| 281368c7bc67-01db-4f2e-9c0f-bce6f586ed01 | Translation Approved (0%) | For copper pipe applications, reduce or eliminate joint-related sources of copper corrosion: | Para aplicações com tubos de cobre, reduza ou elimine fontes de corrosão de cobre relacionadas a juntas: |
| 28146c49e370-9e38-42f2-874b-1baff5f557a2 | Translation Approved (0%) | use mechanically crimped copper joint systems; or | use sistemas de juntas de cobre dobrados mecanicamente; ou |
| 2815b339bef4-bcdb-4fd7-83ce-99af5d70269a | Translation Approved (0%) | specify that all solder joints comply with ASTM B828 2002, and specify and use ASTM B813 2010 for flux. | especifique que todas as juntas de solda devem obedecer a Norma ASTM B828 2002 e especifique e use a Norma ASTM B813 2010 para fundentes. |
| 28169ffb6a3c-c814-4180-a932-f2d7789c8ba9 | Translation Approved (70%) | MR Credit: Furniture and Medical Furnishings | Crédito MR: Móveis e Mobiliário Médico (MR Credit: Furniture and Medical Furnishings) |
| 2817bc4a151a-be64-494b-bee2-3308a988302b | Translation Approved (100%) | BD&C | BD&C |
| 2818a4867726-5132-4675-ab15-acaefc752a3a | Translation Approved (100%) | 1–2 points | 1 a 2 pontos |
| 2819ae0507e1-0bef-4ca4-a908-9e2c8b0a7711 | Translation Approved (100%) | This credit applies to | Este crédito se aplica a |
| 2820688077d4-09f5-4015-9b3d-be1c75ea8613 | Translation Approved (100%) | Healthcare | Setor de Saúde (Healthcare) |
| 2821eeeb000e-db7f-47f8-b2d0-291b0109b661 | Translation Approved (100%) | Intent | Objetivo |
| 282226924151-cd54-4341-8b0f-521a7c8a4af2 | Translation Approved (0%) | To enhance the environmental and human health performance attributes associated with freestanding furniture and medical furnishings. | Melhorar os atributos de desempenho da saúde humana e ambiental associados a móveis independentes e mobiliário médico. |
| 2823d0b5a445-7fe7-4769-9f54-663dd1893126 | Translation Approved (100%) | Requirements | Requisitos |
| 28241ef9f95b-7dc0-4016-a053-d3c4a7426da9 | Translation Approved (100%) | Healthcare | Setor de Saúde (Healthcare) |
| 2825bc74046f-7f6c-4910-b270-0940a6b004ed | Translation Approved (0%) | Use at least 30% (1 point) or 40% (2 points), by cost, of all freestanding furniture and medical furnishings (e.g., mattresses, foams, panel fabrics, cubicle curtains, window coverings, other textiles) that meet the criteria in one of the following three options. | Use pelo menos 30% (1 ponto) ou 40% (2 pontos), por custo, de todos os móveis independentes e mobiliário médico (por exemplo, colchões espumas, tecidos de painéis, cortinas de cubículos, coberturas de janelas, outros tecidos) atendem aos critérios de uma das três opções a seguir. |
| 2826be01609b-e230-4214-b1bb-124afb3cdecb | Translation Approved (0%) | Include built-in casework and built-in millwork in the base building calculations, even if manufactured off site. | Inclua armários embutidos e madeira embutida nos cálculos do edifício base, mesmo se forem fabricados fora do local. |
| 2827be01609b-e230-4214-b1bb-124afb3cdecb | Translation Approved (0%) | The dollar value of any individual product may be included in the total qualifying value if the product meets the criteria. | O valor, em dólares, de qualquer produto individual pode ser incluído no valor total de qualificação se o produto atender aos critérios. |
| 2828209aff11-5b4c-4ec2-91db-6b81db966030 | Translation Approved (100%) | Option 1. | Opção 1. |
| 2829209aff11-5b4c-4ec2-91db-6b81db966030 | Translation Approved (0%) | Minimal Chemical Content | Conteúdo químico mínimo |
| 28300b6536da-b55a-4cf4-bfbf-cc6e6b5808ed | Translation Approved (0%) | All components that constitute at least 5%, by weight, of a furniture or medical furnishing assembly, including textiles, finishes, and dyes, must contain less than 100 parts per million (ppm) of at least four of the five following chemical groups: | Todos os componentes que constituem pelo menos 5%, por peso, de um móvel ou conjunto de mobiliário médico, incluindo tecidos, acabamentos e corantes, devem conter menos de 100 partes por milhão (ppm) de pelo menos quatro dos cinco grupos químicos a seguir: |
| 2831a4bf3f0b-1f18-4159-af0a-58950fe36a58 | Translation Approved (94%) | urea formaldehyde; | formaldeído de ureia; |
| 2832d7bf3134-cf15-4b72-b7cb-db8c4c078955 | Translation Approved (0%) | heavy metals, including mercury, cadmium, lead, and antimony; | metais pesados, incluindo mercúrio, cádmio, chumbo e antimônio; |
| 28338f2112fb-b93c-4d3e-91b0-35df4fb71309 | Translation Approved (0%) | hexavalent chromium in plated finishes consistent with the European Union Directive on the Restriction of the Use of Certain Hazardous Substances (EU RoHS); | cromo hexavalente em acabamentos folheados em conformidade com a Diretriz da União Europeia para Restrição do Uso de Certas Substâncias Perigosas (EU RoHS); |
| 2834e14f13f1-2f75-4289-80a7-9303adbd3466 | Translation Approved (0%) | stain and nonstick treatments derived from perfluorinated compounds (PFCs), including perfluorooctanoic acid (PFOA); and | tratamentos antimanchas e antiaderentes derivados de compostos perfluorados (PFCs), incluindo ácido perfluoro-octanoico (PFOA); e |
| 2835b8fbcf36-6b33-4a54-9bda-c8ca091fc5b9 | Translation Approved (88%) | added antimicrobial treatments. | tratamentos antimicrobianos adicionados. |
| 283664aad4ab-e13e-47eb-a7b4-98cb6eac9482 | Translation Approved (100%) | AND/OR | E/OU |
| 283703b72ed8-a660-48d5-87fe-257b07d1c54e | Translation Approved (100%) | Option 2. | Opção 2. |
| 283803b72ed8-a660-48d5-87fe-257b07d1c54e | Translation Approved (0%) | Testing and Modeling of Chemical Content | Testes e modelagem do conteúdo químico |
| 28390a63bd33-b3f5-4bd1-9bd1-493e5ab1886c | Translation Approved (70%) | All components of a furniture or medical furnishing assembly, including textiles, finishes, and dyes, must contain less than 100 parts per million (ppm) of at least two of the five chemicals or materials listed in Option 1. | Todos os componentes de um móvel ou conjunto de mobiliário médico, incluindo tecidos, acabamentos e corantes, devem conter menos de 100 partes por milhão (ppm) de pelo menos dois dos cinco produtos químicos ou materiais listados na Opção 1. |
| 284011d0369c-2c4a-47b3-8513-93916620f647 | Translation Approved (0%) | New furniture or medical furnishing assemblies<3372> </3372>must be in accordance with ANSI/BIFMA Standard Method M7.1–2011. | Móveis ou conjuntos de mobiliário médico novos devem estar em conformidade com o Método da Norma ANSI/BIFMA M7.1–2011. |
| 284111d0369c-2c4a-47b3-8513-93916620f647 | Translation Approved (0%) | Comply with ANSI/BIFMA e3-2010 Furniture Sustainability Standard, Sections 7.6.1 and 7.6.2, using either the concentration modeling approach or the emissions factor approach. | Cumpra a Norma de Sustentabilidade de Móveis ANSI/BIFMA e3-2010, Seções 7.6.1 e 7.6.2, utilizando a abordagem de modelagem de concentração ou a abordagem de fator de emissões. |
| 284211d0369c-2c4a-47b3-8513-93916620f647 | Translation Approved (0%) | Model the test results using the open plan, private office, or seating scenario in ANSI/BIFMA M7.1, as appropriate. | Modele os resultados de testes utilizando o cenário de plano aberto, escritório privado ou de assentos de ANSI/BIFMA M7.1, conforme for adequado. |
| 284311d0369c-2c4a-47b3-8513-93916620f647 | Translation Approved (0%) | USGBC-approved equivalent testing methodologies and contaminant thresholds are also acceptable. | Metodologias de testes e limiares de contaminação equivalentes, aprovados pelo USGBC, também são aceitos. |
| 284411d0369c-2c4a-47b3-8513-93916620f647 | Translation Approved (0%) | Documentation submitted for furniture must indicate the modeling scenarioused to determine compliance. | A documentação enviada para móveis deve indicar o cenário de modelagem usado para determinar a conformidade. |
| 2845948d8cc9-ed09-41ca-968c-b82f5b3e957d | Translation Approved (0%) | Salvaged and reused furniture more than one year old at the time of use is considered compliant, provided it meets the requirements for any site-applied paints, coatings, adhesives, and sealants. | Móveis recuperados e reutilizados com mais de um ano no momento do uso são considerados em conformidade se atenderem aos requisitos para qualquer tinta, revestimento, adesivo e selante aplicados no local. |
| 28469dbd54ee-ec02-4252-bb3a-37813885b2e0 | Translation Approved (100%) | AND/OR | E/OU |
| 284753a0a48d-1ef5-4625-be93-fbebc7235dea | Translation Approved (0%) | Option 3: Multi-Attribute Assessment of Products | Opção 3: Avaliação muliatributo de produtos |
| 2848069600bb-7dd3-41a6-a473-70d0295eff30 | Translation Approved (0%) | Use products that meet at least one of the criteria below. | Use produtos que atendam a pelo menos um dos critérios abaixo. |
| 2849069600bb-7dd3-41a6-a473-70d0295eff30 | Translation Approved (0%) | Each product can receive credit for each criterion met. | Cada produto pode receber crédito por cada critério atendido. |
| 2850069600bb-7dd3-41a6-a473-70d0295eff30 | Translation Approved (0%) | The scope of any environmental product declaration (EPD) must be at least cradle to gate. | O escopo de qualquer declaração ambiental de produto (Environmental Product Declaration - EPD) deve ser pelo menos berço ao portão. |
| 2851a1a3a689-377e-41ad-af46-8519c76f6cb2 | Translation Approved (100%) | Product-specific declaration. | Declaração específica do produto. |
| 2852230bc93c-309d-48c1-857e-4cf0283d8b39 | Translation Approved (100%) | Products with a publicly available, critically reviewed life-cycle assessment conforming to ISO 14044 that have at least a cradle to gate scope are valued as one quarter (1/4) of a product for the purposes of credit achievement calculation. | Produtos com avaliação do ciclo de vida publicamente disponível e criticamente revisada, em conformidade com a Norma ISO 14044, que tenham pelo menos um escopo de "berço ao portão" são avaliados como um quarto (1/4) de um produto para os fins do cálculo de obtenção do crédito. |
| 2853decb4543-19ac-4fae-b677-4aec96fbe612 | Translation Approved (100%) | Environmental Product Declarations which conform to ISO 14025, 14040, 14044, and EN 15804 or ISO 21930 and have at least a cradle to gate scope. | Declarações ambientais de produtos que estejam em conformidade com as Normas ISO 14025, 14040, 14044 e EN 15804 ou ISO 21930 e tenham pelo menos um escopo de berço ao portão. |
| 2854c07e6d9a-e9ca-485c-a8c4-4e60c68e977b | Translation Approved (100%) | Industry-wide (generic) EPD -- Products with third-party certification (Type III), including external verification, in which the manufacturer is explicitly recognized as a participant by the program operator are valued as one half (1/2) of a product for purposes of credit achievement calculation. | EPD do setor (genérica) -- Produtos com certificação de terceiros (Tipo III), incluindo verificação externa na qual o fabricante é explicitamente reconhecido como participante pelo operador do programa, são avaliados como metade (1/2) de um produto para os fins do cálculo de obtenção do crédito. |
| 2855cfe08f07-d92b-4f6a-8301-276d341f39cd | Translation Approved (100%) | Product-specific Type III EPD -- Products with third-party certification (Type III), including external verification in which the manufacturer is explicitly recognized as the participant by the program operator are valued as one whole product for purposes of credit achievement calculation. | EPD Tipo III específica do produto -- Produtos com certificação de terceiros (Tipo III), incluindo verificação externa na qual o fabricante é explicitamente reconhecido como participante pelo operador do programa, são avaliados como um produto inteiro para fins de cálculo de obtenção do crédito. |
| 285632e2b7cf-57be-4ad0-a5d4-f07c4b043608 | Translation Approved (99%) | Materials reuse. | Reuso de materiais. |
| 285732e2b7cf-57be-4ad0-a5d4-f07c4b043608 | Translation Approved (75%) | Use salvaged, refurbished, or reused products. | Use produtos recuperados, recondicionados ou reutilizados. |
| 28585a8f8e24-cb87-4ecd-9cf7-ab4b939550d9 | Translation Approved (100%) | Recycled content. | Conteúdo reciclado. |
| 28595a8f8e24-cb87-4ecd-9cf7-ab4b939550d9 | Translation Approved (74%) | Use products with recycled content. | Use produtos com conteúdo reciclado. |
| 28605a8f8e24-cb87-4ecd-9cf7-ab4b939550d9 | Translation Approved (83%) | Recycled content is the sum of post-consumer recycled content plus one-half the pre-consumer recycled content. | Conteúdo reciclado é a soma do conteúdo reciclado pós-consumo mais metade do conteúdo reciclado pré-consumo. |
| 2861fb81b6c7-9586-4cd9-9e8d-d4a54340fb02 | Translation Approved (100%) | Extended producer responsibility. | Responsabilidade estendida do produtor. |
| 2862fb81b6c7-9586-4cd9-9e8d-d4a54340fb02 | Translation Approved (100%) | Products purchased from a manufacturer (producer) that participates in an extended producer responsibility program or is directly responsible for extended producer responsibility. | Produtos adquiridos de um fabricante (produtor) que participe de um programa de responsabilidade estendida do produtor ou seja diretamente responsável pela responsabilidade estendida do produtor. |
| 286325d6ba52-5796-49c0-9503-c5ce3f7f0f1a | Translation Approved (100%) | Bio-based materials. | Materiais biodegradáveis. |
| 286425d6ba52-5796-49c0-9503-c5ce3f7f0f1a | Translation Approved (100%) | Bio-based products must meet the Sustainable Agriculture Network’s Sustainable Agriculture Standard. | Produtos biodegradáveis devem atender à Norma para Agricultura Sustentável da Rede de Agricultura Sustentável (Sustainable Agriculture Network’s Sustainable Agriculture Standard). |
| 286525d6ba52-5796-49c0-9503-c5ce3f7f0f1a | Translation Approved (100%) | Bio-based raw materials must be tested using ASTM Test Method D6866 and be legally harvested, as defined by the exporting and receiving country. | Matérias-primas biodegradáveis devem ser testadas utilizando o Método de Teste ASTM D6866 e serem coletadas de acordo com as leis dos países de exportação e destino. |
| 286625d6ba52-5796-49c0-9503-c5ce3f7f0f1a | Translation Approved (100%) | Exclude hide products, such as leather and other animal skin material. | Exclua produtos de couro cru, como couro e outras peles de animais. |
| 28673c17b803-d1d5-45b9-b023-2147f8f89874 | Translation Approved (100%) | Wood products. | Produtos de madeira. |
| 28683c17b803-d1d5-45b9-b023-2147f8f89874 | Translation Approved (100%) | Wood products must be certified by the Forest Stewardship Council or USGBC-approved equivalent. | Produtos de madeira devem ser certificados pelo Conselho de Manejo Florestal (Forest Stewardship Council - FSC) ou equivalente aprovado pelo USGBC. |
| 28696aea54f6-f8af-4e86-a759-405f40146f8d | Translation Approved (0%) | Products that meet the above criteria are valued according to source location (extraction, manufacture, and purchase point must be within the distances noted below): | Produtos que atendem aos critérios acima são avaliados de acordo com o local de origem (os pontos de extração, fabricação, e aquisição devem estar dentro das distâncias indicadas abaixo): |
| 28705a8e5dbf-f974-41f0-a3ef-fb441e8f537f | Translation Approved (100%) | For credit achievement calculation, products sourced (extracted, manufactured, purchased) within 100 miles (160 km) of the project site are valued at 200% of their base contributing cost. | Para o cálculo de obtenção do crédito, os produtos originados (extraídos, fabricados, adquiridos) a até 100 milhas (160 km) do terreno do projeto são avaliados em 200% de seu custo base de contribuição. |
| 28710587630a-0122-4e92-9c8c-ddec9c5f96cf | Translation Approved (0%) | MR Credit: Design for Flexibility | Crédito MR: Projeto para a Flexibilidade (MR Credit: Design for Flexibility) |
| 287272e8d577-0683-4ba8-8720-2ef5417873f2 | Translation Approved (100%) | BD&C | BD&C |
| 2873541ee109-08ac-421d-87a9-6f3caf2eafd2 | Translation Approved (100%) | 1 point | 1 ponto |
| 2874f99d8a5c-b93b-4f81-b950-8d0e2b331a9b | Translation Approved (100%) | This credit applies to | Este crédito se aplica a |
| 2875b72c94c7-a6d8-4e4f-aed6-70b94bff8fab | Translation Approved (100%) | Healthcare | Setor de Saúde (Healthcare) |
| 287659a9f88b-91d5-4dbb-82ed-2c454f6197ea | Translation Approved (100%) | Intent | Objetivo |
| 2877f82d2cd9-1869-46ad-8fcb-a931e4eca71a | Translation Approved (0%) | Conserve resources associated with the construction and management of buildings by designing for flexibility and ease of future adaptation and for the service life of components and assemblies. | Conservar os recursos associados à construção e gestão de edifícios, projetando para flexibilidade e facilidade de adaptação futura e para a vida útil de componentes e conjuntos. |
| 2878b3466830-0f14-4b74-a722-4d3991a261cd | Translation Approved (100%) | Requirements | Requisitos |
| 2879a8e2ad27-ac87-4e60-a96a-222517c4dfb4 | Translation Approved (100%) | Healthcare | Setor de Saúde (Healthcare) |
| 288093cf8b35-b211-4502-9021-c783e864ea07 | Translation Approved (0%) | Increase building flexibility and ease of adaptive use over the life of the structure by employing at least three of the following strategies. | Aumente a flexibilidade e a facilidade de uso adaptável do edifício ao longo da vida útil da estrutura aplicando pelo menos três das quatro estratégias a seguir. |
| 2881cbf4106a-a379-499d-8204-9465d890f162 | Translation Approved (0%) | Use <3388>interstitial space</3388>. | Use o <3388>espaço intersticial</3388>. |
| 2882cbf4106a-a379-499d-8204-9465d890f162 | Translation Approved (0%) | Design distribution zone utility systems and equipment including HVAC, plumbing, electrical, information technology, medical gases, and life safety systems to serve the occupied zones and have the capacity to control multiple zones in clinical spaces. | Projete sistemas e equipamentos de serviços públicos da zona de distribuição incluindo HVAC, encanamentos, equipamentos elétricos, de tecnologia da informação, gases médicos e sistemas de segurança da vida para servir as zonas ocupadas e ter a capacidade de controlar zonas múltiplas em espaços clínicos. |
| 2883946b9cd2-b15b-4502-9ab5-574e6ada4396 | Translation Approved (0%) | Provide programmed soft space,<3389> </3389> such as administration or storage, equal to at least 5% of <3390>departmental gross area </3390>(DGA). | Forneça espaço flexível programado,<3389> </3389> como administração ou armazenamento, igual a pelo menos 5% da <3390>área total do departamento (Departmental Gross Area - DGA</3390>). |
| 2884946b9cd2-b15b-4502-9ab5-574e6ada4396 | Translation Approved (0%) | Locate soft space adjacent to clinical departments that anticipate growth. | Posicione o espaço flexível adjacente a departamentos clínicos que tenham crescimento previsto. |
| 2885946b9cd2-b15b-4502-9ab5-574e6ada4396 | Translation Approved (0%) | Determine a strategy for future accommodation of displaced soft space. | Determine uma estratégia para acomodação futura do espaço flexível deslocado. |
| 288683fd48dd-d708-475d-8fb1-041f36c5b7b6 | Translation Approved (0%) | Provide shell space equal to at least 5% of DGA. | Forneça espaço de casca igual a pelo menos 5% da DGA. |
| 288783fd48dd-d708-475d-8fb1-041f36c5b7b6 | Translation Approved (0%) | Locate it such that it can be occupied without displacing occupied space. | Posicione-o de forma que ele possa ser ocupado sem deslocar o espaço ocupado. |
| 28887702da7b-5f61-44a0-a611-20c5392668a0 | Translation Approved (0%) | Identify horizontal expansion capacity for diagnostic and treatment or other clinical space equal to at least 30% of existing floor area (excluding inpatient units) without demolition of occupied space (other than at the connection point). | Identifique a capacidade de expansão horizontal para diagnóstico e tratamento ou outro espaço clínico igual a pelo menos 30% da área de piso existente (exceto unidades de internação) sem a demolição do espaço ocupado (exceto no ponto de conexão). |
| 28897702da7b-5f61-44a0-a611-20c5392668a0 | Translation Approved (0%) | Reconfiguration of additional existing occupied space that has been constructed with demountable partition systems is permitted. | A reconfiguração de espaços ocupados adicionais existentes, construídos com sistemas de divisórias desmontáveis, é permitida. |
| 2890c8c8e92f-29b5-41fc-9e30-d10d830e6761 | Translation Approved (0%) | Design for future vertical expansion on at least 75% of the roof, ensuring that existing operations and service systems can continue at or near capacity during the expansion. | Projete para expansão vertical futura em pelo menos 75% do telhado, garantindo que as operações e sistemas de serviço existentes possam continuar com a mesma ou quase a mesma capacidade durante a expansão. |
| 2891d001a5f6-949a-452c-9a35-33b58ccce27e | Translation Approved (0%) | Designate space for future above-grade parking structures equal to 50% of existing on-grade parking capacity, with direct access to the main hospital lobby or circulation. | Designe espaço para estruturas de estacionamento futuras acima do nível do solo, igual a 50% da capacidade de estacionamento existente no nível do solo, com acesso direto ao lobby principal do hospital ou a pontos de circulação. |
| 2892d001a5f6-949a-452c-9a35-33b58ccce27e | Translation Approved (0%) | Vertical transportation pathways that lead directly to the main hospital lobby or circulation are acceptable. | Caminhos de transporte verticais que levem diretamente ao lobby principal do ou a pontos de circulação hospital são aceitáveis. |
| 2893f980483f-5e64-48b0-8151-d999bec81f89 | Translation Approved (0%) | Use demountable partitions for 50% of applicable areas. | Use divisórias desmontáveis para 50% das áreas aplicáveis. |
| 289436c47b05-1dfc-41b7-baf5-92640199e6ef | Translation Approved (0%) | Use movable or modular casework for at least 50% of casework and custom millwork. | Use armários móveis ou modulares para pelo menos 50% dos armários e trabalhos em madeira personalizados. |
| 289536c47b05-1dfc-41b7-baf5-92640199e6ef | Translation Approved (0%) | Base the calculation on the combined value of casework and millwork, as determined by the cost estimator or contractor. | Baseie o cálculo no valor combinado dos armários e trabalhos em madeira, conforme determinado pelo avaliador de custo ou o empreiteiro. |
| 2896e338a4e3-36e4-4811-b61b-9851cc138c45 | Translation Approved (82%) | MR Credit: Construction and Demolition Waste Management | Crédito MR: Planejamento de Gestão de Resíduos de Construção e Demolição (MR Credit: Construction and Demolition Waste Management Planning) |
| 2897b49dec65-9e27-42da-99d8-63090600e8fd | Translation Approved (100%) | BD&C | BD&C |
| 289819302adf-4f9f-40bb-a555-b4ffda8a10eb | Translation Approved (100%) | 1–2 points | 1 a 2 pontos |
| 289905abe36e-a90b-41e3-b47b-74f1ab805276 | Translation Approved (100%) | This credit applies to | Este crédito se aplica a |
| 2900c0903d57-d22f-475a-a60f-4cf053b2771b | Translation Approved (100%) | New Construction (1–2 points) | Nova Construção (New Construction) (1 a 2 pontos) |
| 29017b3f562c-8111-43a0-b02d-06d24131a600 | Translation Approved (100%) | Core & Shell (1–2 points) | Núcleo e Casca (Core & Shell) (1 a 2 pontos) |
| 2902a60cb21a-4683-437c-8167-875c95c79bd2 | Translation Approved (100%) | Schools (1–2 points) | Escolas (Schools) (1 a 2 pontos) |
| 29034f62b8d0-f125-4894-b60e-b2ac1e69013d | Translation Approved (100%) | Retail (1–2 points) | Varejo (Retail) (1 a 2 pontos) |
| 290403582405-53c0-494a-a979-72c622aa71b2 | Translation Approved (100%) | Data Centers (1–2 points) | Centros de Dados (Data Centers) (1 a 2 pontos) |
| 29058a95ec64-3331-46fc-9cc6-14879efb97a9 | Translation Approved (100%) | Warehouses & Distribution Centers (1–2 points) | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) (1 a 2 pontos) |
| 2906fdc355b9-4bbc-462b-a9fa-aa3c90f2b88a | Translation Approved (100%) | Hospitality (1–2 points) | Hoteleiro (Hospitality) (1 a 2 pontos) |
| 2907ba5495a1-0796-4497-a199-4163319cc742 | Translation Approved (100%) | Healthcare (1–2 points) | Setor de Saúde (Healthcare) (1 a 2 pontos) |
| 290873f044f3-03ee-4a80-bfb7-5ceeea0f5544 | Translation Approved (100%) | Intent | Objetivo |
| 2909602e32c7-f912-4829-8922-2faeb35a7c27 | Translation Approved (100%) | To reduce construction and demolition waste disposed of in landfills and incineration facilities by recovering, reusing, and recycling materials. | Reduzir os resíduos de construção e demolição descartados em aterros sanitários ou instalações de incineração recuperando, reutilizando e reciclando materiais. |
| 2910ca6613d1-f939-4d0c-95a0-e3d37c58dcfd | Translation Approved (100%) | Requirements | Requisitos |
| 29114fc91ee5-9ef2-4b0e-bdc0-229f1d3d7f6d | Translation Approved (100%) | NC, CS, Schools, Retail NC, Data Centers, Warehouses & Distribution Centers, Hospitality NC, Healthcare | NC, CS, Escolas (Schools), Varejo-NC (Retail NC), Centros de Dados (Data Centers), Armazéns e Centros de Distribuição (Warehouses & Distribution Centers), Hoteleiro-NC (Hospitality NC), Setor de Saúde (Healthcare) |
| 291265eada7b-92bf-4adc-9d3b-196ce2f84284 | Translation Approved (93%) | Recycle and/or salvage nonhazardous construction and demolition materials. | Recicle e/ou recupere materiais de construção e demolição não perigosos. |
| 291365eada7b-92bf-4adc-9d3b-196ce2f84284 | Translation Approved (79%) | Calculations can be by weight or volume but must be consistent throughout. | Os cálculos podem ser feitos por peso ou volume, mas sempre devem ser consistentes. |
| 2914cd1d8452-4001-4771-bded-9b15b3ca8325 | Translation Approved (0%) | Exclude excavated soil, land-clearing debris, and alternative daily cover (ADC). | Exclua solo escavado, entulho de limpeza de terreno e cobertura diária alternativa (Alternative Daily Cover - ADC). |
| 2915cd1d8452-4001-4771-bded-9b15b3ca8325 | Translation Approved (0%) | Include wood waste converted to fuel (biofuel) in the calculations; other types of waste-to-energy are not considered diversion for this credit. | Inclua resíduos de madeira reaproveitados como combustível (biocombustível) nos cálculos; outros tipos de transformação de resíduos em energia não são considerados reaproveitamento para este crédito. |
| 2916856ca179-26da-4c69-b323-d526cd299c4a | Translation Approved (0%) | However, for projects that cannot meet credit requirements using reuse and recycling methods, waste-to-energy systems may be considered waste diversion if the European Commission Waste Framework Directive 2008/98/EC and Waste Incineration Directive 2000/76/EC are followed and Waste to Energy facilities meet applicable European Committee for Standardization (CEN) EN 303 standards. | No entanto, para projetos que não podem atender aos requisitos do crédito utilizando métodos de reuso e reciclagem, sistemas de transformação de resíduos em energia podem ser considerados como reaproveitamento de resíduos se a Diretriz 2008/98/EC para resíduos (Waste Framework) e a Diretriz 2000/76/EC para incineração de resíduos (Waste Incineration) da Comissão Europeia forem seguidas e as instalações de transformação de resíduos em energia atenderem às normas EN 303 aplicáveis do Comitê Europeu de Normalização (CEN) EN 303. |
| 2917b8be33cb-875f-43a9-b01b-b122e8921450 | Translation Approved (100%) | Option 1. | Opção 1. |
| 2918b8be33cb-875f-43a9-b01b-b122e8921450 | Translation Approved (76%) | Diversion (1–2 points) | Reaproveitamento (1 a 2 pontos) |
| 2919d7b94d26-36a2-497f-a87e-d4978dbbee16 | Translation Approved (100%) | Path 1. | Caminho 1. |
| 2920d7b94d26-36a2-497f-a87e-d4978dbbee16 | Translation Approved (0%) | Divert 50% and Three Material Streams (1 point) | Reaproveitar 50% e três fluxos de material (1 ponto) |
| 29214145defd-9ce5-48be-88e2-aaed2574f9cd | Translation Approved (0%) | Divert at least 50% of the total construction and demolition material; diverted materials must include at least three material streams. | Reaproveite pelo menos 50% do total de material de construção e demolição; os materiais reaproveitados devem incluir pelo menos três fluxos de material. |
| 2922dffdc529-3a12-4f74-997f-9d2493d6b2c9 | Translation Approved (100%) | OR | OU |
| 292396b92c87-1dbe-48b1-9122-314727d9ac5c | Translation Approved (100%) | Path 2. | Caminho 2. |
| 292496b92c87-1dbe-48b1-9122-314727d9ac5c | Translation Approved (88%) | Divert 75% and Four Material Streams (2 points) | Reaproveitar 75% e quatro fluxos de material (2 pontos) |
| 2925f3d65d79-86a3-4614-925b-6a1b2a420e17 | Translation Approved (97%) | Divert at least 75% of the total construction and demolition material; diverted materials must include at least four material streams. | Reaproveite pelo menos 75% do total de material de construção e demolição; os materiais reaproveitados devem incluir pelo menos quatro fluxos de material. |
| 2926fc7e18dd-51cc-4b27-94ec-81c489b215be | Translation Approved (100%) | OR | OU |
| 292727ade78d-4c55-4ecd-91ee-cb9ce2423a87 | Translation Approved (100%) | Option 2. | Opção 2. |
| 292827ade78d-4c55-4ecd-91ee-cb9ce2423a87 | Translation Approved (75%) | Reduction of Total Waste Material (2 points) | Redução do total de material descartado (2 pontos) |
| 2929c2811a36-c3b3-4425-ba0c-7721e4243a36 | Translation Approved (0%) | Do not generate more than 2.5 pounds of construction waste per square foot (12.2 kilograms of waste per square meter) of the building’s floor area. | Não gere mais que 2,5 libras de resíduos de construção por pé quadrado (12,2 kg de resíduos por metro quadrado) da área de piso do edifício. |
| 29306c90f527-0fbe-4003-b49e-a0365281d04d | Translation Approved (84%) | Indoor Environmental Quality (EQ) | Qualidade do ambiente interno (Indoor Environmental Quality – EQ) |
| 2931e43ef866-687c-44cd-a5a1-0e40a1647304 | Translation Approved (100%) | EQ Prerequisite: Minimum Indoor Air Quality Performance | Pré-requisito EQ: Desempenho Mínimo da Qualidade do Ar Interno (EQ Prerequisite: Minimum Indoor Air Quality Performance) |
| 29325a0a4293-c0ac-49a1-8cb9-7a1d97b35998 | Translation Approved (100%) | Required | Obrigatório |
| 29333cb6e6d7-bc3d-4299-84f5-58fea9374916 | Translation Approved (100%) | BD&C | BD&C |
| 2934b8f65b05-15d0-4f2b-931e-fa5742993cdb | Translation Approved (100%) | This prerequisite applies to | Este pré-requisito se aplica a: |
| 2935b9caf584-9508-4838-b0e8-88a405caf0c6 | Translation Approved (100%) | New Construction | Nova Construção (New Construction) |
| 293685e483d7-6c2e-4a2a-9636-3009d5c869f1 | Translation Approved (100%) | Core & Shell | Núcleo e Casca (Core & Shell) |
| 293759df8221-6036-4682-85ea-aade4a5d0996 | Translation Approved (100%) | Schools | Escolas (Schools) |
| 2938ef7fb44d-b470-4b49-82e4-5b30996f821c | Translation Approved (100%) | Retail | Varejo (Retail) |
| 293975048a16-7e2c-481d-bb6f-14418bba6a23 | Translation Approved (100%) | Data Centers | Centros de Dados (Data Centers) |
| 294001d479e8-de96-4d41-ab1f-c0f86c13813e | Translation Approved (100%) | Warehouses & Distribution Centers | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) |
| 29417d54427e-e078-48f7-96f8-54e35d17c1c1 | Translation Approved (100%) | Hospitality | Hoteleiro (Hospitality) |
| 2942db82c29a-62fb-4af2-9eb4-9a03ada9884c | Translation Approved (100%) | Healthcare | Setor de Saúde (Healthcare) |
| 2943271d748c-d849-424d-b92d-83154701493f | Translation Approved (100%) | Intent | Objetivo |
| 2944d20ee71f-e91c-4a46-a79e-c59646a72952 | Translation Approved (0%) | To contribute to the comfort and well-being of building occupants by establishing minimum standards for indoor air quality (IAQ). | Contribuir para o conforto e bem-estar dos ocupantes do edifício estabelecendo padrões mínimos para a qualidade do ar interno (QAI). |
| 29455ed4924e-6989-4775-98ed-5c54d71e9dbd | Translation Approved (100%) | Requirements | Requisitos |
| 2946cc890386-03e8-42bb-925a-602a75eef2c8 | Translation Approved (94%) | NC, CS, Schools, Retail, Data Centers, Warehouses & Distribution Centers, Hospitality | NC, CS, Escolas (Schools), Varejo (Retail), Centros de Dados (Data Centers), Armazéns e Centros de Distribuição (Warehouses & Distribution Centers), Hoteleiro (Hospitality) |
| 29476f6c1e9d-d59d-4d65-b65d-6438a3392a6c | Translation Approved (0%) | Meet the requirements for both ventilation and monitoring. | Atenda aos requisitos de ventilação e monitoramento. |
| 29487eebcaa1-bc7f-47ba-af5a-cc2566109fef | Translation Approved (100%) | Ventilation | Ventilação |
| 2949e03a9e42-60d1-4e41-be39-9872b75931cd | Translation Approved (100%) | Mechanically Ventilated Spaces | Espaços ventilados mecanicamente |
| 295018eaaf94-3f8f-432d-973c-0bece31aaf6b | Translation Approved (100%) | Option 1. | Opção 1. |
| 295118eaaf94-3f8f-432d-973c-0bece31aaf6b | Translation Approved (100%) | ASHRAE Standard 62.1–2010 | Norma ASHRAE 62.1-2010 |
| 29521a9d0ddb-ea4b-44bd-95f5-923bac7c6991 | Translation Approved (0%) | For mechanically ventilated spaces (and for mixed-mode systems when the mechanical ventilation is activated), determine the minimum outdoor air intake flow for mechanical ventilation systems using the ventilation rate procedure from ASHRAE 62.1–2010 or a local equivalent, whichever is more stringent. | Para espaços ventilados mecanicamente (e para sistemas de modo misto quando a ventilação mecânica está ativada), determine o fluxo mínimo de admissão de ar externo para sistemas de ventilação mecânica utilizando o procedimento de taxa de ventilação da Norma ASHRAE 62.1–2010 ou norma local equivalente, a que for mais rigorosa. |
| 29539b27c9d3-41b9-40fc-86f5-b6251d68ae56 | Translation Approved (0%) | Meet the minimum requirements of ASHRAE Standard 62.1–2010, Sections 4–7, Ventilation for Acceptable Indoor Air Quality (with errata), or a local equivalent, whichever is more stringent. | Atenda aos requisitos mínimos da Norma ASHRAE 62.1–2010, Seções de 4 a 7, Ventilação para qualidade do ar interno aceitável (Ventilation for Acceptable Indoor Air Quality), com errata, ou norma local equivalente, a que for mais rigorosa. |
| 2954b6c6816b-76eb-4f6b-889a-3a29c1b2eb1a | Translation Approved (100%) | Option 2. | Opção 2. |
| 2955b6c6816b-76eb-4f6b-889a-3a29c1b2eb1a | Translation Approved (0%) | CEN Standards EN 15251–2007 and EN 13779–2007 | Normas CEN EN 15251–2007 e EN 13779–2007 |
| 2956a72803a1-d232-4bf3-85c5-9f2d0db1e5f1 | Translation Approved (0%) | Projects outside the U.S. may instead meet the minimum outdoor air requirements of Annex B of Comité Européen de Normalisation (CEN) Standard EN 15251–2007, Indoor environmental input parameters for design and assessment of energy performance of buildings addressing indoor air quality, thermal environment, lighting and acoustics; and meet the requirements of CEN Standard EN 13779–2007, Ventilation for nonresidential buildings, Performance requirements for ventilation and room conditioning systems, excluding Section 7.3, Thermal environment; 7.6, Acoustic environment; A.16; and A.17. | Projetos fora dos EUA podem atender aos requisitos mínimos de ar externo do Anexo B do Comitê Europeu de Normalização (CEN), Norma EN 15251–2007, Parâmetros de entrada do ambiente interno, para projeto e avaliação do desempenho energético de edifícios que tratam da qualidade do ar interno, ambiente térmico, iluminação e acústica; e atender aos requisitos da Norma CEN EN 13779–2007, Ventilação para edifícios não residenciais, Requisitos de desempenho para sistemas de ventilação e condicionamento de ambientes, exceto a Seção 7.3, Ambiente térmico; 7.6, Ambiente acústico; A.16 e A.17. |
| 29573cf67637-2b92-423d-b900-c089c26855ec | Translation Approved (100%) | Naturally Ventilated Spaces | Espaços ventilados naturalmente |
| 29588e25d497-236b-4fc8-bf97-60995e6e5fbe | Translation Approved (83%) | For naturally ventilated spaces (and for mixed-mode systems when the mechanical ventilation is inactivated), determine the minimum outdoor air opening and space configuration requirements using the natural ventilation procedure from ASHRAE Standard 62.1–2010 or a local equivalent, whichever is more stringent. | Para espaços ventilados naturalmente (e para sistemas de modo misto quando a ventilação mecânica está desativada), determine os requisitos mínimos de configuração de abertura de ar externo e espaço, utilizando o procedimento de ventilação natural da Norma ASHRAE 62.1–2010 ou norma local equivalente, a que for mais rigorosa. |
| 29598e25d497-236b-4fc8-bf97-60995e6e5fbe | Translation Approved (0%) | Confirm that natural ventilation is an effective strategy for the project by following the flow diagram in the Chartered Institution of Building Services Engineers (CIBSE) Applications Manual AM10, March 2005, Natural Ventilation in Nondomestic Buildings, Figure 2.8, and meet the requirements of ASHRAE Standard 62.1–2010, Section 4, or a local equivalent, whichever is more stringent. | Confirme se a ventilação natural é uma estratégia eficaz para o projeto, seguindo o diagrama de fluxo do Manual de Aplicações AM10 do CIBSE (Chartered Institution of Building Services Engineers), de março de 2005, Ventilação natural em edifícios não residenciais, Figura 2.8, e atenda aos requisitos da Norma ASHRAE 62.1–2010, Seção 4, ou norma local equivalente, a que for mais rigorosa. |
| 2960084e041f-31dd-42f7-a28b-637776816df1 | Translation Approved (0%) | All Spaces | Todos os espaços |
| 2961ed3592fc-1c1e-4b2e-9053-d5cd01a103e9 | Translation Approved (0%) | The indoor air quality procedure defined in ASHRAE Standard 62.1–2010 may not be used to comply with this prerequisite. | O procedimento de qualidade do ar interno definido na Norma ASHRAE 62.1–2010 não pode ser usado para cumprir este pré-requisito. |
| 29623ff32c82-2fdb-4fbb-99ce-e8ae04665c13 | Translation Approved (0%) | Monitoring | Monitoramento |
| 29633e46c4f5-399d-4dd4-95ba-d60aebd38362 | Translation Approved (100%) | Mechanically Ventilated Spaces | Espaços ventilados mecanicamente |
| 296483b0e755-8295-41b1-96ee-f2a473fc4a63 | Translation Approved (0%) | For mechanically ventilated spaces (and for mixed-mode systems when the mechanical ventilation is activated), monitor outdoor air intake flow as follows: | Para espaços ventilados mecanicamente (e para sistemas de modo misto quando a ventilação mecânica está ativada), monitore o fluxo de admissão de ar externo da seguinte maneira: |
| 2965270621fa-5979-4068-9600-c2c7e3bb4dff | Translation Approved (0%) | For variable air volume systems, provide a direct outdoor airflow measurement device capable of measuring the minimum outdoor air intake flow. | Para sistemas de ar de volume variável, forneça um medidor de fluxo de ar externo direto capaz de medir o fluxo mínimo de admissão de ar externo. |
| 2966270621fa-5979-4068-9600-c2c7e3bb4dff | Translation Approved (0%) | This device must measure the minimum outdoor air intake flow with an accuracy of +/–10% of the design minimum outdoor airflow rate, as defined by the ventilation requirements above. | Esse dispositivo deve medir o fluxo mínimo de admissão de ar externo com uma precisão de +/–10% do fluxo mínimo de ar externo do projeto, conforme definida pelos requisitos de ventilação acima. |
| 2967270621fa-5979-4068-9600-c2c7e3bb4dff | Translation Approved (0%) | An alarm must indicate when the outdoor airflow value varies by 15% or more from the outdoor airflow setpoint. | Um alarme deve indicar quando o valor do fluxo de ar externo varia 15% ou mais em relação ao ponto de ajuste do fluxo de ar externo. |
| 2968d2ad40ac-c7b8-45e6-b891-8270e48e8a40 | Translation Approved (0%) | For constant-volume systems, balance outdoor airflow to the design minimum outdoor airflow rate defined by ASHRAE Standard 62.1–2010 (with errata), or higher. | Para sistemas de volume constante, equilibre o fluxo de ar externo até a vazão mínima de ar externo do projeto definida pela Norma ASHRAE 62.1–2010 (com errata), ou superior. |
| 2969d2ad40ac-c7b8-45e6-b891-8270e48e8a40 | Translation Approved (0%) | Install a current transducer on the supply fan, an airflow switch, or similar monitoring device. | Instale um transdutor de corrente no ventilador de abastecimento, uma chave de fluxo de ar ou um dispositivo de monitoramento semelhante. |
| 297009670bfa-7167-40f1-97e9-ce77f0e8b929 | Translation Approved (100%) | Naturally Ventilated Spaces | Espaços ventilados naturalmente |
| 2971c2ff3634-49b9-4539-bc7d-5919b3660700 | Translation Approved (0%) | For naturally ventilated spaces (and for mixed-mode systems when the mechanical ventilation is inactivated), comply with at least one of the following strategies. | Para espaços ventilados naturalmente (e para sistemas de modo misto quando a ventilação mecânica está desativada), cumpra pelo menos uma das estratégias a seguir. |
| 29721df7e03a-c28f-499a-a716-8e6ef5880672 | Translation Approved (0%) | Provide a direct exhaust airflow measurement device capable of measuring the exhaust airflow. | Forneça um medidor de fluxo de ar de exaustão direto capaz de medir o fluxo de ar de exaustão. |
| 29731df7e03a-c28f-499a-a716-8e6ef5880672 | Translation Approved (0%) | This device must measure the exhaust airflow with an accuracy of +/–10% of the design minimum exhaust airflow rate. | Este dispositivo deve medir o fluxo de ar de exaustão com uma precisão de +/–10% da vazão de ar mínima de exaustão do projeto. |
| 29741df7e03a-c28f-499a-a716-8e6ef5880672 | Translation Approved (85%) | An alarm must indicate when airflow values vary by 15% or more from the exhaust airflow setpoint. | Um alarme deve indicar quando os valores do fluxo de ar externo variarem 15% ou mais em relação ao ponto de ajuste do fluxo de ar de exaustão. |
| 29756cf5e738-da48-4e47-89d5-94c0ecfe2a55 | Translation Approved (0%) | Provide automatic indication devices on all natural ventilation openings intended to meet the minimum opening requirements. | Forneça dispositivos de indicação automática em todas as aberturas para ventilação natural que visam atender aos requisitos mínimos de abertura. |
| 29766cf5e738-da48-4e47-89d5-94c0ecfe2a55 | Translation Approved (0%) | An alarm must indicate when any one of the openings is closed during occupied hours. | Um alarme deve indicar quando alguma das aberturas estiver fechada durante as horas de ocupação. |
| 297788e83e0f-b4a9-45e3-a172-dcc7b079cde9 | Translation Approved (0%) | Monitor carbon dioxide (CO<3415>2</3415>) concentrations within each thermal zone. | Monitore as concentrações de dióxido de carbono (CO<3415>2</3415>) dentro de cada zona térmica. |
| 297888e83e0f-b4a9-45e3-a172-dcc7b079cde9 | Translation Approved (0%) | CO<3416>2</3416> monitors must be between 3 and 6 feet (900 and 1 800 millimeters) above the floor and within the thermal zone. | Os monitores de CO<3416>2</3416> devem ficar entre 3 e 6 pés (900 e 1.800 milímetros) acima do piso e dentro da zona térmica. |
| 297988e83e0f-b4a9-45e3-a172-dcc7b079cde9 | Translation Approved (0%) | CO<3417>2</3417> monitors must have an audible or visual indicator or alert the building automation system if the sensed CO<3418>2</3418> concentration exceeds the setpoint by more than 10%. | Os monitores de CO<3417>2</3417> devem ter um indicador sonoro ou visual ou alertar o sistema de automação predial se a concentração de CO<3418>2</3418> detectada exceder o ponto de ajuste em mais de 10%. |
| 298088e83e0f-b4a9-45e3-a172-dcc7b079cde9 | Translation Approved (0%) | Calculate appropriate CO<3419>2</3419> setpoints using the methods in ASHRAE 62.1–2010, Appendix C. | Calcule os pontos de ajuste adequados de CO<3419>2</3419> utilizando os métodos na Norma ASHRAE 62.1–2010, Apêndice C. |
| 29815a4a5938-45b2-41a7-a103-cab71bcd09c4 | Translation Approved (96%) | CS only | Apenas CS |
| 29829cb74155-291d-4a3e-972a-f45d2fc44d71 | Translation Approved (0%) | Mechanical ventilation systems installed during core and shell construction must be capable of meeting projected ventilation levels and monitoring based on the requirements of anticipated future tenants. | Sistemas de ventilação mecânica instalados durante a construção do núcleo e casca devem ser capazes de atender aos níveis de ventilação projetados e monitorar com base nos requisitos de locatários futuros previstos. |
| 298368f52b33-4906-4375-9156-db68022c1ec3 | Translation Approved (0%) | Residential only | Apenas residencial |
| 2984ac4edb92-19e0-450c-b507-592c013c4195 | Translation Approved (0%) | In addition to the requirements above, if the project building contains residential units, each dwelling unit must meet all of the following requirements. | Além dos requisitos acima, se o edifício do projeto tiver unidades residenciais, cada unidade habitacional deve cumprir todos os requisitos a seguir. |
| 2985dcdec4df-6cfa-4d9f-9dc7-385df4986bfd | Translation Approved (0%) | Unvented combustion appliances (e.g., decorative logs) are not allowed. | Utensílios de combustão não ventilados (por exemplo, lareiras decorativas) não são permitidos. |
| 29865a3d4c8f-22f0-489f-90ec-7fb3f61ac514 | Translation Approved (0%) | Carbon monoxide monitors must be installed on each floor of each unit. | Monitores de monóxido de carbono devem ser instalados em cada piso de cada unidade. |
| 298721645222-68e7-4b8f-9d67-e3aef22c3088 | Translation Approved (0%) | All indoor fireplaces and woodstoves must have solid glass enclosures or doors that seal when closed. | Todas as lareiras e fogões a lenha internos devem ter invólucros de vidro sólido ou portas que vedem quando fechadas. |
| 2988f8783705-bb98-4ce3-89b4-034dfea20d48 | Translation Approved (0%) | Any indoor fireplaces and woodstoves that are not closed combustion or power-vented must pass a backdraft potential test to ensure that depressurization of the combustion appliance zone is less than 5 Pa. | Qualquer lareira ou fogão a lenha interno que não seja de combustão fechada ou ventilado mecanicamente deve passar por um teste de potencial de explosão de fumaça para garantir que a despressurização da zona do utensílio de combustão seja inferior a 5 Pa. |
| 29893969c55e-b8c6-4729-9d0b-57bcb61a1149 | Translation Approved (0%) | Space- and water-heating equipment that involves combustion must be designed and installed with closed combustion (i.e., sealed supply air and exhaust ducting) or with power-vented exhaust, or located in a detached utility building or open-air facility. | Equipamentos de aquecimento de espaços e de água que envolvem combustão devem ser projetados e instalados com combustão fechada (isto é, dutos de abastecimento e exaustão de ar vedados), com exaustão ventilada mecanicamente ou posicionados em um edifício utilitário separado ou em uma instalação a céu aberto. |
| 2990cefad361-2551-4709-8ffd-5b870ec9332a | Translation Approved (0%) | For projects in high-risk areas for radon, EPA Radon Zone 1 (or local equivalent for projects outside the U.S.),<3427> </3427> design and construct any dwelling unit on levels one through four above grade with radon-resistant construction techniques. | Para projetos em áreas de alto risco para rádon, Zona de Rádon 1 da EPA (ou equivalente local para projetos fora dos EUA),<3427> </3427> projete e construa toda unidade habitacional nos níveis um a quatro acima do solo com técnicas de construção resistente a rádon. |
| 2991cefad361-2551-4709-8ffd-5b870ec9332a | Translation Approved (0%) | Follow the techniques prescribed in EPA Building Radon Out; NFPA 5000, Chapter 49; International Residential Code, Appendix F; CABO, Appendix F; ASTM E1465; or a local equivalent, whichever is most stringent. | Siga as técnicas indicadas em EPA Building Radon Out; NFPA 5000, Capítulo 49; Código Residencial Internacional (International Residential Code), Apêndice F; CABO, Apêndice F; ASTM E1465; ou norma local equivalente, a que for mais rigorosa. |
| 2992b46044b6-a0e8-4c96-9956-a45c1674884e | Translation Approved (100%) | Healthcare | Setor de Saúde (Healthcare) |
| 2993f2fd1de1-7588-4072-bd5c-852bde8d84ec | Translation Approved (92%) | Meet the following requirements for both ventilation and monitoring. | Atenda aos requisitos a seguir para ventilação e monitoramento. |
| 2994277b18e4-426e-4667-ac0f-0f9d29dd8b9e | Translation Approved (100%) | Ventilation | Ventilação |
| 2995b5c2d5d7-e179-40e1-aa26-c7bd9ccc2829 | Translation Approved (100%) | Mechanically Ventilated Spaces | Espaços ventilados mecanicamente |
| 2996906229cb-b41e-4c2a-a1ae-e666962b7ab9 | Translation Approved (0%) | For mechanically ventilated spaces (and for mixed-mode systems when the mechanical ventilation is activated), determine the minimum outdoor air intake flow for mechanical ventilations systems using the ventilation rates in ASHRAE Standard 170–2008, Section 7; the requirements of the 2010 FGI Guidelines for Design and Construction of Health Care Facilities (Table 2.1–2); or a local equivalent, whichever is most stringent. | Para espaços ventilados mecanicamente (e para sistemas de modo misto quando a ventilação mecânica está ativada), determine o fluxo mínimo de admissão de ar externo para sistemas de ventilação mecânica utilizando as taxas de ventilação da Norma ASHRAE 170–2008, Seção 7; os requisitos das Diretrizes de 2010 da FGI para Projeto e Construção de Instalações de Saúde (Design and Construction of Health Care Facilities) (Tabela 2.1–2); ou norma equivalente local, a que for mais rigorosa. |
| 2997906229cb-b41e-4c2a-a1ae-e666962b7ab9 | Translation Approved (0%) | For any area not covered in 170 or the FGI guidelines, follow ASHRAE 62.1 or a local equivalent, whichever is more stringent and meet the minimum requirements of ASHRAE Standard 170–2008, Sections 6–8, Ventilation of Health Care Facilities (with errata) or a USGBC-approved equivalent standard for projects outside the U.S. | Para qualquer área não coberta nas diretrizes 170 ou FGI, siga a Norma ASHRAE 62.1 ou norma local equivalente, a que for mais rigorosa, e atenda aos requisitos mínimos da Norma ASHRAE 170–2008, Seções de 6 a 8, Ventilação de Instalações de Saúde (Ventilation of Health Care Facilities) (com errata) ou uma norma equivalente aprovada pelo USGBC para projetos fora dos EUA. |
| 29983d869d92-081e-442c-a6ad-e1fab0b11233 | Translation Approved (100%) | Naturally Ventilated Spaces | Espaços ventilados naturalmente |
| 2999eb167cfa-99e4-43b8-8620-0a0dd0a96e72 | Translation Approved (95%) | For naturally ventilated spaces (and for mixed-mode systems when the mechanical ventilation is inactivated), determine the minimum outdoor air opening and space configuration requirements using the natural ventilation procedure of ASHRAE Standard 62.1–2010 (with errata) or a local equivalent, whichever is more stringent. | Para espaços ventilados naturalmente (e para sistemas de modo misto quando a ventilação mecânica está desativada), determine os requisitos mínimos de configuração de abertura e espaço para ar externo, utilizando o procedimento de ventilação natural da Norma ASHRAE 62.1–2010 (com errata) ou norma local equivalente, a que for mais rigorosa. |
| 3000eb167cfa-99e4-43b8-8620-0a0dd0a96e72 | Translation Approved (0%) | Confirm that natural ventilation is an effective strategy for the project by following the flow diagram in Figure 2.8 of the Chartered Institution of Building Services Engineers (CIBSE) Applications Manual AM10, March 2005, Natural Ventilation in Nondomestic Buildings. | Confirme se a ventilação natural é uma estratégia eficaz para o projeto, seguindo o diagrama de fluxo da Figura 2.8 do Manual de Aplicações AM10 do CIBSE (Chartered Institution of Building Services Engineers), de março de 2005, Ventilação natural em edifícios não residenciais (Natural Ventilation in Nondomestic Buildings). |
| 3001e36d7ce1-d668-480d-a012-24584c8938f1 | Translation Approved (100%) | Monitoring | Monitoramento |
| 30021f75fae1-38cd-40ce-9a34-66170ce27ffe | Translation Approved (100%) | Mechanically Ventilated Spaces | Espaços ventilados mecanicamente |
| 3003c2f75187-b12b-4486-8331-150ceaa9afe4 | Translation Approved (0%) | For mechanically ventilated spaces (and for mixed-mode systems when the mechanical ventilation is activated), provide a direct outdoor airflow measurement device capable of measuring the minimum outdoor air intake flow. | Para espaços ventilados mecanicamente (e para sistemas de modo misto quando a ventilação mecânica está ativada), forneça um medidor de fluxo de ar externo direto capaz de medir o fluxo mínimo de admissão de ar externo. |
| 3004c2f75187-b12b-4486-8331-150ceaa9afe4 | Translation Approved (99%) | This device must measure the minimum outdoor air intake flow with an accuracy of +/–10% of the design minimum outdoor airflow rate defined by the ventilation requirements above. | Esse dispositivo deve medir o fluxo mínimo de admissão de ar externo com uma precisão de +/–10% do fluxo mínimo de ar externo do projeto, conforme definida pelos requisitos de ventilação acima. |
| 3005c2f75187-b12b-4486-8331-150ceaa9afe4 | Translation Approved (90%) | An alarm must alert staff whenever the outdoor airflow value varies by 15% or more from the outdoor airflow setpoint. | Um alarme deve alertar os funcionários sempre que o valor do fluxo de ar externo variar 15% ou mais em relação ao ponto de ajuste do fluxo de ar externo. |
| 3006d8f0ee95-7a5d-4499-a2d7-9e7a2e213529 | Translation Approved (100%) | Naturally Ventilated Spaces | Espaços ventilados naturalmente |
| 3007b9140234-d543-4b6d-9ca9-82c97b20e73a | Translation Approved (100%) | For naturally ventilated spaces (and for mixed-mode systems when the mechanical ventilation is inactivated), comply with at least one of the following strategies. | Para espaços ventilados naturalmente (e para sistemas de modo misto quando a ventilação mecânica está desativada), cumpra pelo menos uma das estratégias a seguir. |
| 30082aab19de-a0f4-4c73-97ab-3307c3af6638 | Translation Approved (73%) | Provide a direct exhaust airflow measurement device capable of measuring the exhaust airflow with an accuracy of +/–10% of the design minimum exhaust airflow rate. | Forneça um medidor de fluxo de ar de exaustão direto, capaz de medir o fluxo de ar de exaustão com uma precisão de +/–10% da vazão mínima de ar de exaustão do projeto. |
| 30092aab19de-a0f4-4c73-97ab-3307c3af6638 | Translation Approved (100%) | An alarm must indicate when airflow values vary by 15% or more from the exhaust airflow setpoint. | Um alarme deve indicar quando os valores do fluxo de ar externo variarem 15% ou mais em relação ao ponto de ajuste do fluxo de ar de exaustão. |
| 3010e352a24b-2210-4ebf-985a-04b3d4654d32 | Translation Approved (100%) | Provide automatic indication devices on all natural ventilation openings intended to meet the minimum opening requirements. | Forneça dispositivos de indicação automática em todas as aberturas para ventilação natural que visam atender aos requisitos mínimos de abertura. |
| 3011e352a24b-2210-4ebf-985a-04b3d4654d32 | Translation Approved (100%) | An alarm must indicate when any one of the openings is closed during occupied hours. | Um alarme deve indicar quando alguma das aberturas estiver fechada durante as horas de ocupação. |
| 3012be0efb60-c9de-43c5-bb19-70eaf96473e5 | Translation Approved (100%) | Monitor carbon dioxide (CO<3433>2</3433>) concentrations within each thermal zone. | Monitore as concentrações de dióxido de carbono (CO<3433>2</3433>) dentro de cada zona térmica. |
| 3013be0efb60-c9de-43c5-bb19-70eaf96473e5 | Translation Approved (100%) | CO<3434>2</3434> monitors must be between 3 and 6 feet (900 and 1 800 millimeters) above the floor and within the thermal zone. | Os monitores de CO<3434>2</3434> devem ficar entre 3 e 6 pés (900 e 1.800 milímetros) acima do piso e dentro da zona térmica. |
| 3014be0efb60-c9de-43c5-bb19-70eaf96473e5 | Translation Approved (100%) | CO<3435>2</3435> monitors must have an audible or visual indicator or alert the building automation system if the sensed CO<3436>2</3436> concentration exceeds the setpoint by more than 10%. | Os monitores de CO<3435>2</3435> devem ter um indicador sonoro ou visual ou alertar o sistema de automação predial se a concentração de CO<3436>2</3436> detectada exceder o ponto de ajuste em mais de 10%. |
| 3015be0efb60-c9de-43c5-bb19-70eaf96473e5 | Translation Approved (95%) | Calculate appropriate CO<3437>2</3437> setpoints by using the methods in ASHRAE 62.1–2010, Appendix C. | Calcule os pontos de ajuste adequados de CO<3437>2</3437> utilizando os métodos da Norma ASHRAE 62.1–2010, Apêndice C. |
| 3016b18c1a17-c75d-498f-a093-e67b4bbe5e45 | Translation Approved (100%) | EQ Prerequisite: Environmental Tobacco Smoke Control | Pré-requisito EQ: Controle de Fumaça Ambiental do Tabaco (EQ Prerequisite: Environmental Tobacco Smoke Control) |
| 30173b3ad97f-f9fa-4044-a424-9e402bbb4c29 | Translation Approved (100%) | Required | Obrigatório |
| 30180c226191-908c-476c-ba13-db2fb4516c44 | Translation Approved (100%) | BD&C | BD&C |
| 3019f8a06da4-c7e5-442e-9c56-272f2ae4dbba | Translation Approved (100%) | This prerequisite applies to | Este pré-requisito se aplica a: |
| 3020affa8887-7ad5-4aee-a6a4-494aba0a0599 | Translation Approved (100%) | New Construction | Nova Construção (New Construction) |
| 3021eafd62c2-43a6-4c50-a4d6-2ed202c90f34 | Translation Approved (100%) | Core & Shell | Núcleo e Casca (Core & Shell) |
| 30227b09af44-53dc-4db8-b973-6040d1074190 | Translation Approved (100%) | Schools | Escolas (Schools) |
| 3023de3a07d1-7f5e-4988-86b2-1444b8a1b4b6 | Translation Approved (100%) | Retail | Varejo (Retail) |
| 30246676f845-b198-4d2f-84f6-9c647324f530 | Translation Approved (100%) | Data Centers | Centros de Dados (Data Centers) |
| 30258ef7d916-f2ef-44e2-93ba-f8f810c37502 | Translation Approved (100%) | Warehouses & Distribution Centers | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) |
| 30261060d37a-9a4c-4c13-93e3-cb634c732e3c | Translation Approved (100%) | Hospitality | Hoteleiro (Hospitality) |
| 30271d8c6c1e-5d8a-4cea-9a1a-8d5ae2b956b5 | Translation Approved (100%) | Healthcare | Setor de Saúde (Healthcare) |
| 3028f21bcf88-26da-4ca5-8928-76548b4b799c | Translation Approved (100%) | Intent | Objetivo |
| 3029a0291b07-22c5-4250-a12f-8388f0ad2607 | Translation Approved (CM) | To prevent or minimize exposure of building occupants, indoor surfaces, and ventilation air distribution systems to environmental tobacco smoke. | Evitar ou minimizar a exposição de ocupantes do edifício, superfícies internas e sistemas de distribuição do ar de ventilação à fumaça ambiental do tabaco. |
| 3030de9e400e-ddac-4dc8-8a1f-f0a4ed9eb2a6 | Translation Approved (100%) | Requirements | Requisitos |
| 30317ddae28e-b22c-4085-8cd8-fe0cfb7249e4 | Translation Approved (94%) | NC, CS, Retail, Data Centers, Warehouses & Distribution Centers, Hospitality, Healthcare | NC, CS, Varejo (Retail), Centros de Dados (Data Centers), Armazéns e Centros de Distribuição (Warehouses & Distribution Centers), Hoteleiro (Hospitality), Setor de Saúde (Healthcare) |
| 3032fc7ab739-805e-4417-a079-6e12ca99543f | Translation Approved (74%) | Prohibit smoking inside the building. | Proíba o fumo dentro do edifício. |
| 30332bde3cd4-18a0-481f-be3a-2d7434830156 | Translation Approved (0%) | Prohibit smoking outside the building except in designated smoking areas located at least 25 feet (7.5 meters) from all entries, outdoor air intakes, and operable windows. | Proíba o fumo fora do edifício, exceto em áreas designadas localizadas a pelo menos 25 pés (7,5 metros) de todas as entradas, entradas de ar externo e janelas operáveis. |
| 30342bde3cd4-18a0-481f-be3a-2d7434830156 | Translation Approved (0%) | Also prohibit smoking outside the property line in spaces used for business purposes. | Também proíba o fumo fora da linha de propriedade em espaços usados para fins comerciais. |
| 3035602b0fc0-8761-4638-8407-5529e43f27c2 | Translation Approved (0%) | If the requirement to prohibit smoking within 25 feet (7.5 meters) cannot be implemented because of code, provide documentation of these regulations. | Se o requisito de proibição de fumo em até 25 pés (7,5 metros) não puder ser implementado devido a códigos, forneça documentação desses regulamentos. |
| 3036622d1241-129e-4209-af58-bebffc7514c2 | Translation Approved (0%) | Signage must be posted within 10 feet (3 meters) of all building entrances indicating the no-smoking policy. | Deve haver sinalização a 10 pés (3 metros) de todas as entradas do edifício indicando a política de proibição de fumo. |
| 3037553f027e-2e63-4692-932e-53fd7b5b3f1c | Translation Approved (100%) | Residential only | Apenas residencial |
| 30384eaa6a28-5c1a-4697-b924-8a11b5cc6585 | Translation Approved (100%) | Option 1. | Opção 1. |
| 30394eaa6a28-5c1a-4697-b924-8a11b5cc6585 | Translation Approved (0%) | No Smoking | Proibido fumar |
| 3040aff8ab6c-7904-4e2c-b731-c32651a05d9e | Translation Approved (71%) | Meet the requirements above. | Atenda aos requisitos acima. |
| 3041ec5ce8df-ec16-4107-984f-352ec642688b | Translation Approved (100%) | OR | OU |
| 3042749b1d12-9371-4082-9dd6-a819f4d814a8 | Translation Approved (100%) | Option 2. | Opção 2. |
| 3043749b1d12-9371-4082-9dd6-a819f4d814a8 | Translation Approved (0%) | Compartmentalization of Smoking Areas | Compartimentalização de áreas para fumantes |
| 30443a1f3457-840d-43f0-820d-627da4ebfddd | Translation Approved (0%) | Prohibit smoking inside all common areas of the building. | Proíba fumar dentro de todas as áreas comuns do edifício. |
| 30453a1f3457-840d-43f0-820d-627da4ebfddd | Translation Approved (0%) | The prohibition must be communicated in building rental or lease agreements or condo or coop association covenants and restrictions. | A proibição deve ser comunicada em contratos de locação do edifício ou em acordos e restrições da associação do condomínio ou cooperativa. |
| 30463a1f3457-840d-43f0-820d-627da4ebfddd | Translation Approved (0%) | Make provisions for enforcement. | Tome medidas para impor a política. |
| 30474f0c305d-6ee2-4497-9698-12fcf7869c2a | Translation Approved (100%) | Prohibit smoking outside the building except in designated smoking areas located at least 25 feet (7.5 meters) from all entries, outdoor air intakes, and operable windows. | Proíba o fumo fora do edifício, exceto em áreas designadas localizadas a pelo menos 25 pés (7,5 metros) de todas as entradas, entradas de ar externo e janelas operáveis. |
| 30484f0c305d-6ee2-4497-9698-12fcf7869c2a | Translation Approved (0%) | The no-smoking policy also applies to spaces outside the property line used for business purposes. | A política de proibição do fumo também se aplica a espaços fora da linha da propriedade usados para fins comerciais. |
| 3049202e7a89-6d96-4c68-927d-d86cb0548b63 | Translation Approved (100%) | If the requirement to prohibit smoking within 25 feet (7.5 meters) cannot be implemented because of code, provide documentation of these regulations. | Se o requisito de proibição de fumo em até 25 pés (7,5 metros) não puder ser implementado devido a códigos, forneça documentação desses regulamentos. |
| 3050ff885e8e-54d6-461d-9ba6-9937a1df91cd | Translation Approved (100%) | Signage must be posted within 10 feet (3 meters) of all building entrances indicating the no-smoking policy. | Deve haver sinalização a 10 pés (3 metros) de todas as entradas do edifício indicando a política de proibição de fumo. |
| 30513ad5cd23-f4ac-46ad-85ca-7f4df6cda344 | Translation Approved (0%) | Each unit must be compartmentalized to prevent excessive leakage between units: | Cada unidade deve ser compartimentalizada para evitar vazamento excessivo entre unidades: |
| 3052694f009f-35f1-47aa-93af-3920b768d5a9 | Translation Approved (100%) | Weather-strip all exterior doors and operable windows in the residential units to minimize leakage from outdoors. | Vede com fita adesiva todas as portas externas e janelas operáveis nas unidades residenciais para minimizar vazamentos vindos de áreas externas. |
| 305366eb470e-23e1-4a57-a441-00abd9973db5 | Translation Approved (0%) | Weather-strip all doors leading from residential units into common hallways. | Vede com fita adesiva todas as portas que levam de unidades residenciais para pontos de circulação comuns. |
| 30545496c017-48ad-474a-8d73-54bf3d17cd23 | Translation Approved (0%) | Minimize uncontrolled pathways for the transfer of smoke and other indoor air pollutants between residential units by sealing penetrations in the walls, ceilings, and floors and by sealing vertical chases (including utility chases, garbage chutes, mail drops, and elevator shafts) adjacent to the units. | Minimize caminhos não controlados para a transferência de fumaça e outros poluentes do ar interno entre unidades residenciais vedando penetrações em paredes, tetos e pisos e vedando espaços verticais em paredes (incluindo espaços para serviços públicos, calhas para lixo, caixas de correio e poços de elevadores) adjacentes às unidades. |
| 305587d92e52-e33e-442a-9654-d706757b56a3 | Translation Approved (0%) | Demonstrate a maximum leakage of 0.23 cubic feet per minute per square foot (1.17 liters per second per square meter) at 50 Pa of enclosure (i.e., all surfaces enclosing the apartment, including exterior and party walls, floors, and ceilings). | Demonstre um vazamento máximo de 0,23 pé cúbicos por minuto por pé quadrado (1,17 litro por segundo por metro quadrado) a 50 Pa de invólucro (isto é, superfícies que envolvem o apartamento, incluindo paredes, pisos e tetos externos e divisórias). |
| 305686a84596-7769-41b1-85d3-1b79313c7a84 | Translation Approved (100%) | Schools | Escolas (Schools) |
| 30573de1b75e-43fd-4b89-9d48-894c78071aa0 | Translation Approved (0%) | Prohibit smoking on site. | Proíba fumar no terreno. |
| 3058fb79e3f3-1aaa-4e63-a91c-6104845d3984 | Translation Approved (0%) | Signage must be posted at the property line indicating the no-smoking policy. | Deve haver sinalização na linha da propriedade indicando a política de proibição do fumo. |
| 3059efed54d4-2269-4fd4-88a3-a4759566cd03 | Translation Approved (85%) | EQ Prerequisite: Minimum Acoustic Performance | Pré-requisito EQ: Desempenho Acústico Mínimo (EQ Prerequisite: Minimum Acoustic Performance) |
| 30608a5a6d51-dba7-442d-aebd-f45dcf4401c6 | Translation Approved (100%) | Required | Obrigatório |
| 306146e1f6b6-d04b-4cf8-9503-77a57f0bc511 | Translation Approved (100%) | BD&C | BD&C |
| 30622a2138e6-3db0-40d0-9832-990593703d23 | Translation Approved (100%) | This prerequisite applies to | Este pré-requisito se aplica a: |
| 30633aea6d0d-e21f-4eae-9947-ef12ac326194 | Translation Approved (100%) | Schools | Escolas (Schools) |
| 3064a060a707-c3af-4c5b-bc93-2cca0418705a | Translation Approved (100%) | Intent | Objetivo |
| 3065d5da6962-3f13-4d93-a0f2-7d35f6b73da0 | Translation Approved (93%) | To provide classrooms that facilitate teacher-to-student and student-to-student communication through effective acoustic design. | Oferecer salas de aula que facilitem as comunicações professor-aluno e aluno-professor por meio de um projeto acústico eficaz. |
| 3066abb12b5a-f128-4ca6-8d67-bcee3dab893b | Translation Approved (100%) | Requirements | Requisitos |
| 3067da941bb9-10c5-4eb3-b62d-e4cdfb949e3b | Translation Approved (100%) | Schools | Escolas (Schools) |
| 30688f1a7f62-cb9a-428f-961b-248c739ce2cb | Translation Approved (0%) | HVAC Background Noise | Ruído de fundo de HVAC |
| 3069dc1a708f-9e91-4364-9435-df01d6018b77 | Translation Approved (0%) | Achieve a maximum background noise level of 40 dBA from heating, ventilating, and air-conditioning (HVAC) systems in classrooms and other core learning spaces. | Obtenha um nível de ruído de fundo de sistemas de aquecimento, ventilação e ar-condicionado (HVAC) de no máximo 40 dBA em salas de aula e outros espaços fundamentais de aprendizagem. |
| 3070dc1a708f-9e91-4364-9435-df01d6018b77 | Translation Approved (0%) | Follow the recommended methodologies and best practices for mechanical system noise control in ANSI Standard S12.60–2010, Part 1, Annex A.1; the 2011 HVAC Applications ASHRAE Handbook, Chapter 48, Noise and Vibration Control (with errata); AHRI Standard 885–2008; or a local equivalent for projects outside the U.S. | Siga as metodologias e melhores práticas recomendadas para o controle de ruído de sistemas mecânicos da Norma ANSI S12.60–2010, Parte 1, Anexo A.1; do Manual de Aplicações de HVAC de 2011 da ASHRAE, Capítulo 48, Controle de ruído e vibrações (Noise and Vibration Control), com errata; da norma AHRI 885–2008; ou de norma local equivalente para projetos fora dos EUA. |
| 30712e6ddf15-6f5c-4d47-a38b-251dd3f4adb3 | Translation Approved (0%) | Exterior Noise | Ruídos externos |
| 3072b0074390-6453-42ef-93b6-128fcc55588f | Translation Approved (0%) | For high-noise sites (peak-hour Leq above 60 dBA during school hours), implement acoustic treatment and other measures to minimize noise intrusion from exterior sources and control sound transmission between classrooms and other core learning spaces. | Para locais com altos níveis de ruído (Leq em horário de pico acima de 60 dBA em horário escolar), implemente tratamento acústico e outras medidas para minimizar a penetração de ruído de fontes externas e controlar a transmissão do som entre salas de aula e outros espaços fundamentais de aprendizagem. |
| 3073b0074390-6453-42ef-93b6-128fcc55588f | Translation Approved (0%) | Projects at least one-half mile (800 meters) from any significant noise source (e.g., aircraft overflights, highways, trains, industry) are exempt. | Projetos a pelo menos meia milha (800 metros) de qualquer fonte de ruído significativa (por exemplo, sobrevoo de aeronaves, estradas, trens, fábricas) são isentos. |
| 307434232cf2-7334-4b09-8fa2-5dcdc63e9ce3 | Translation Approved (0%) | Reverberation Time | Tempo de reverberação |
| 307561fe57f1-60cd-434c-9d6b-0f0052734432 | Translation Approved (0%) | Adhere to the following reverberation time requirements. | Atenda aos requisitos de tempo de reverberação a seguir. |
| 307654cc53c1-cb2b-4a9b-a593-d601044daa3d | Translation Approved (0%) | Classrooms and Core Learning Spaces < 20,000 Cubic Feet (566 Cubic Meters) | Salas de aula e espaços fundamentais de aprendizagem de < 20.000 pés cúbicos (566 metros cúbicos) |
| 3077e27674d2-b719-4250-bfb7-e2266e68183d | Translation Approved (0%) | Design classrooms and other core learning spaces to include sufficient sound-absorptive finishes for compliance with the reverberation time requirements specified in ANSI Standard S12.60–2010, Part 1, Acoustical Performance Criteria, Design Requirements and Guidelines for Schools, or a local equivalent for projects outside the U.S. | Projete salas de aula e outros espaços fundamentais de aprendizagem para incluir acabamentos de absorção do som suficientes para conformidade com os requisitos de tempo de reverberação especificados na norma ANSI S12.60–2010, Parte 1, Diretrizes, requisitos de projeto e critérios de desempenho acústico para escolas (Acoustical Performance Criteria, Design Requirements and Guidelines for Schools), ou equivalente local para projetos fora dos EUA. |
| 3078f2c11ff7-869b-42cb-ade2-e9f074021bd1 | Translation Approved (100%) | Option 1 | Opção 1 |
| 3079c978fbbd-39b3-4d11-b8d8-d70d7363b512 | Translation Approved (0%) | For each room, confirm that the total surface area of acoustic wall panels, ceiling finishes, and other sound-absorbent finishes equals or exceeds the total ceiling area of the room (excluding lights, diffusers, and grilles). | Para cada sala, confirme se a área superficial total dos painéis de paredes acústicos, acabamentos de teto e outros acabamentos de absorção de som é igual ou maior que a área total do teto da sala (excluindo luminárias, difusores e grelhas). |
| 3080c978fbbd-39b3-4d11-b8d8-d70d7363b512 | Translation Approved (0%) | Materials must have an NRC of 0.70 or higher to be included in the calculation. | Os materiais devem ter um NRC de 0,70 ou superior para serem incluídos no cálculo. |
| 3081215f14c3-0722-41f9-8962-8c12bca31fec | Translation Approved (100%) | OR | OU |
| 30821063026b-be65-4e47-899b-15907c1335c1 | Translation Approved (100%) | Option 2 | Opção 2 |
| 308390b8efba-1ca1-4e86-ab3c-5e339f607b5a | Translation Approved (0%) | Confirm through calculations described in ANSI Standard S12.60-2010 that rooms are designed to meet reverberation time requirements as specified in that standard. | Confirme, por meio dos cálculos descritos na Norma ANSI S12.60-2010, que as salas estão projetadas para atender aos requisitos de tempo de reverberação especificados nessa norma. |
| 308460f0fd13-5cc9-4449-872a-4acf77df213f | Translation Approved (99%) | Classrooms and Core Learning Spaces ≥ 20,000 Cubic Feet (566 Cubic Meters) | Salas de aula e espaços fundamentais de aprendizagem ≥ 20.000 pés cúbicos (566 metros cúbicos) |
| 3085e203a65d-7d9b-4818-8121-9e2cd782398c | Translation Approved (0%) | Meet the recommended reverberation times for classrooms and core learning spaces described in the NRC-CNRC Construction Technology Update No. 51, Acoustical Design of Rooms for Speech (2002), or a local equivalent for projects outside the U.S. | Cumpra os tempos de reverberação recomendados para salas de aula e espaços de aprendizagem descritos na NRC-CNRC – Atualização de Tecnologia de Construção nº 51 (Construction Technology Update No. 51), Projeto acústico de salas para fala (Acoustical Design of Rooms for Speech, de 2002), ou equivalente local para projetos fora dos EUA. |
| 3086168d8d13-9fdd-41ff-aaa8-a97eb4314afb | Translation Approved (100%) | Exceptions | Exceções |
| 30875717cef9-47b9-4f39-99d6-e73d3bb47cf3 | Translation Approved (0%) | Exceptions to the requirements because of a limited scope of work or to observe historic preservation requirements will be considered. | Exceções aos requisitos devido a um escopo de trabalho limitado ou para obedecer a requisitos de preservação histórica serão consideradas. |
| 308848f35eab-5782-4971-a5b8-b8e32c77dda8 | Translation Approved (100%) | EQ Credit: Enhanced Indoor Air Quality Strategies | Crédito EQ: Estratégias Aprimoradas de Qualidade do Ar Interno (EQ Credit: Enhanced Indoor Air Quality Strategies) |
| 3089bd6be2d0-fdb6-4cee-a99f-29d6b5d20171 | Translation Approved (100%) | BD&C | BD&C |
| 3090c08dd8f9-e7f3-4333-8509-12698ed439c8 | Translation Approved (100%) | 1–2 points | 1 a 2 pontos |
| 30910dafc738-f671-4782-a8e7-7534e67fb4e2 | Translation Approved (100%) | This credit applies to | Este crédito se aplica a |
| 3092f389aa9a-6cb5-4924-9dfe-dcd00e2b0785 | Translation Approved (100%) | New Construction (1–2 points) | Nova Construção (New Construction) (1 a 2 pontos) |
| 30934012af2a-2045-4eb0-a011-a676c4bc54c5 | Translation Approved (100%) | Core & Shell (1–2 points) | Núcleo e Casca (Core & Shell) (1 a 2 pontos) |
| 30948a7ffc25-9475-4204-9785-0eb999f9618a | Translation Approved (100%) | Schools (1–2 points) | Escolas (Schools) (1 a 2 pontos) |
| 30958e5ea91e-e968-4ac5-ae61-93ae097eda3e | Translation Approved (100%) | Retail (1–2 points) | Varejo (Retail) (1 a 2 pontos) |
| 3096adf3231f-9007-4c99-ae0a-c9a5b4c798dc | Translation Approved (100%) | Data Centers (1–2 points) | Centros de Dados (Data Centers) (1 a 2 pontos) |
| 3097948be866-c552-4960-92ad-9485800f2a63 | Translation Approved (100%) | Warehouses & Distribution Centers (1–2 points) | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) (1 a 2 pontos) |
| 3098609c5011-d852-498d-96f4-544ce28cdc7b | Translation Approved (100%) | Hospitality (1–2 points) | Hoteleiro (Hospitality) (1 a 2 pontos) |
| 30999506e13a-1621-43ed-ba28-086b75d6ab08 | Translation Approved (100%) | Healthcare (1–2 points) | Setor de Saúde (Healthcare) (1 a 2 pontos) |
| 310055274afc-08a2-4b23-973a-5ee0f2a2b680 | Translation Approved (100%) | Intent | Objetivo |
| 3101a3bcf720-cf23-43b6-a201-5c91bcd91676 | Translation Approved (0%) | To promote occupants’ comfort, well-being, and productivity by improving indoor air quality. | Promover o conforto, bem-estar e produtividade dos ocupantes melhorando a qualidade do ar interno. |
| 3102021df05c-8180-42c7-8030-d902801f1b5f | Translation Approved (100%) | Requirements | Requisitos |
| 31039a24bff7-bc4d-4da2-a544-5d78b5f1e6e4 | Translation Approved (100%) | NC, CS, Schools, Retail, Data Centers, Warehouses & Distribution Centers, Hospitality, Healthcare | NC, CS, Escolas (Schools), Varejo (Retail), Centros de Dados (Data Centers), Armazéns e Centros de Distribuição (Warehouses & Distribution Centers), Hoteleiro (Hospitality), Setor de Saúde (Healthcare) |
| 3104f16782ff-d089-468e-8b9c-ea37064cc76e | Translation Approved (100%) | Option 1. | Opção 1. |
| 3105f16782ff-d089-468e-8b9c-ea37064cc76e | Translation Approved (CM) | Enhanced IAQ Strategies (1 point) | Estratégias de QAI aprimoradas (1 ponto) |
| 31060f744c64-ca75-4bd7-9930-ce1ea89c2f56 | Translation Approved (0%) | Comply with the following requirements, as applicable. | Cumpra os requisitos a seguir, conforme aplicável. |
| 31076945df8a-fe96-4da6-9f3b-18e9314af02b | Translation Approved (93%) | Mechanically ventilated spaces: | Espaços ventilados mecanicamente: |
| 31081192dd52-d50f-4154-aa14-270c4bb8a006 | Translation Approved (94%) | entryway systems; | sistemas de entrada; |
| 31099530af3d-b6c4-491a-b9c8-1828b5933b2b | Translation Approved (0%) | interior cross-contamination prevention; and | prevenção de contaminação cruzada interna; e |
| 31108a93c86a-cb7a-4484-9a52-2a650b4695bf | Translation Approved (0%) | filtration. | filtração. |
| 31114ecc6c51-d76a-4857-98dd-b659de62e4eb | Translation Approved (93%) | Naturally ventilated spaces: | Espaços ventilados naturalmente: |
| 3112ba04c01e-c890-4ae2-9bb3-1032278b048f | Translation Approved (71%) | entryway systems; and | sistemas de entrada; e |
| 311341f66448-5607-461c-9199-4f29e7ff2c7c | Translation Approved (0%) | natural ventilation design calculations. | cálculos do projeto de ventilação natural. |
| 311494d742b1-c8a1-4fc6-929b-9685734d5e97 | Translation Approved (0%) | Mixed-mode systems: | Sistemas de modo misto: |
| 311520c575fc-0012-4be4-9ca5-9ab0a07f57d7 | Translation Approved (100%) | entryway systems; | sistemas de entrada; |
| 3116bb8e9d62-6b27-40fe-8b7d-371acc6a03eb | Translation Approved (80%) | interior cross-contamination prevention; | prevenção de contaminação cruzada interna; |
| 3117822d4d82-dac4-494e-8984-061b79b19e3e | Translation Approved (96%) | filtration; | filtração; |
| 3118ade337e4-4488-4bea-bf1a-46e1007271c4 | Translation Approved (83%) | natural ventilation design calculations; and | cálculos do projeto de ventilação natural; e |
| 3119a59d2bd9-7752-4d3d-a094-ce38fe28caaf | Translation Approved (0%) | mixed-mode design calculations. | cálculos do projeto de modo misto. |
| 3120dd0c2190-42bb-4c51-86f5-b24e04e55b76 | Translation Approved (0%) | A. Entryway Systems | A. Sistemas de entrada |
| 3121380840a8-df38-444e-92c8-41b42a4eb742 | Translation Approved (0%) | Install permanent entryway systems at least 10 feet (3 meters) long in the primary direction of travel to capture dirt and particulates entering the building at regularly used exterior entrances. | Instale sistemas de entrada permanentes com pelo menos 10 pés (3 metros) de comprimento na direção de deslocamento principal para capturar sujeira e partículas que entram no edifício por entradas externas usadas regularmente. |
| 3122380840a8-df38-444e-92c8-41b42a4eb742 | Translation Approved (0%) | Acceptable entryway systems include permanently installed grates, grilles, slotted systems that allow for cleaning underneath, rollout mats, and any other materials manufactured as entryway systems with equivalent or better performance. | Os sistemas de entrada aceitáveis incluem grelhas instaladas permanentemente, sistemas ranhurados que permitem a limpeza por baixo, capachos e qualquer outro material fabricado como sistema de entrada com desempenho equivalente ou superior. |
| 3123380840a8-df38-444e-92c8-41b42a4eb742 | Translation Approved (0%) | Maintain all on a weekly basis. | Faça a manutenção de todos os sistemas semanalmente. |
| 312475092d4f-4626-45f0-b156-cdd5cb453736 | Translation Approved (80%) | Warehouses & Distribution Centers only | Apenas Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) |
| 3125da34285e-d5a4-4953-91ec-0e5f5ec53de8 | Translation Approved (0%) | Entryway systems are not required at doors leading from the exterior to the loading dock or garage but must be installed between these spaces and adjacent office areas. | Sistemas de entrada não são necessários em portas que levam de áreas externas a plataformas de carga ou garagens, mas devem ser instalados entre esses espaços e áreas de escritórios adjacentes. |
| 3126ad9c6d0c-9be9-4624-9839-b5261008e920 | Translation Approved (100%) | Healthcare only | Apenas Setor de Saúde (Healthcare) |
| 3127f28c6432-9d17-456e-9442-0c2884a25c15 | Translation Approved (0%) | In addition to the entryway system, provide pressurized entryway vestibules at high-volume building entrances. | Além do sistema de entrada, forneça vestíbulos de entrada pressurizados em entradas do edifício de alto volume. |
| 31280cf5c914-6024-4141-ab7f-8d94740d00e2 | Translation Approved (70%) | B. Interior Cross-Contamination Prevention | B. Prevenção de contaminação cruzada interna |
| 3129ed28deb4-6b74-4945-9df8-b07b3c12764b | Translation Approved (0%) | Sufficiently exhaust each space where hazardous gases or chemicals may be present or used (e.g., garages, housekeeping and laundry areas, copying and printing rooms), using the exhaust rates determined in EQ Prerequisite Minimum Indoor Air Quality Performance or a minimum of 0.50 cfm per square foot (2.54 l/s per square meter), to create negative pressure with respect to adjacent spaces when the doors to the room are closed. | Forneça exaustão suficiente para cada espaço no qual possa haver presença ou uso de gases ou produtos químicos perigosos (por exemplo, garagens, áreas de limpeza ou lavanderias, salas de impressão e cópias), utilizando as taxas de exaustão determinadas no Pré-requisito EQ: Desempenho Mínimo da Qualidade do Ar Interno (EQ Prerequisite: Minimum Indoor Air Quality Performance) ou no mínimo 0,50 cfm por pé quadrado (2,54 l/s por metro quadrado) para criar pressão negativa em relação a espaços adjacentes quando as portas para a sala estiverem fechadas. |
| 3130ed28deb4-6b74-4945-9df8-b07b3c12764b | Translation Approved (100%) | For each of these spaces, provide self-closing doors and deck-to-deck partitions or a hard-lid ceiling. | Para cada um dos espaços, providenciar portas automáticas e divisões de pavimento a pavimento ou um forro com cobertura resistente. |
| 31319a315144-451c-4c16-af88-7a2fdd7bfc67 | Translation Approved (0%) | C. Filtration | C. Filtração |
| 31324bd2c8a8-f5c8-435c-932b-76828089e198 | Translation Approved (0%) | Each ventilation system that supplies outdoor air to occupied spaces must have particle filters or air-cleaning devices that meet one of the following filtration media requirements: | Cada sistema de ventilação que fornece ar externo a espaços ocupados deve ter filtros de partículas ou dispositivos de limpeza do ar que atendam a um dos requisitos para meios filtrantes a seguir: |
| 31339b9e647d-bcc0-4ed3-90f6-0087d617ab1b | Translation Approved (0%) | minimum efficiency reporting value (MERV) of 13 or higher, in accordance with ASHRAE Standard 52.2–2007; or | valor mínimo de eficiência relatada (minimum efficiency reporting value – MERV) de 13 ou superior de acordo com a Norma ASHRAE 52.2–2007; ou |
| 3134ced1c0fc-98a2-4538-8e17-e6ff7e6153fb | Translation Approved (0%) | Class F7 or higher as defined by CEN Standard EN 779–2002, Particulate Air Filters for General Ventilation, Determination of the Filtration Performance. | Classe F7 ou superior, conforme definido pela Norma CEN EN 779–2002, Filtros de particulado no ar para ventilação geral, Determinação do desempenho de filtração (Particulate Air Filters for General Ventilation, Determination of the Filtration Performance). |
| 3135f95a3fda-2772-4481-b5ab-91c69aba4edb | Translation Approved (0%) | Replace all air filtration media after completion of construction and before occupancy. | Substitua todos os meios filtrantes após o término da construção e antes da ocupação. |
| 3136ad385b09-fab1-4219-8249-df88c6c98abb | Translation Approved (100%) | Data Centers only | Apenas Centros de Dados (Data Centers) |
| 3137176b7426-c3ee-47ca-b67d-93d940a83d36 | Translation Approved (0%) | The above filtration media requirements are required only for ventilation systems serving regularly occupied spaces. | Os requisitos de meios filtrantes acima são necessários apenas para sistemas de ventilação que servem espaços ocupados regularmente. |
| 313899c436fc-aab1-46b7-9924-e1a28a1bab60 | Translation Approved (75%) | D. Natural Ventilation Design Calculations | D. Cálculos do projeto de ventilação natural |
| 3139c06b02dd-c371-4eee-9345-1572feae2524 | Translation Approved (0%) | Demonstrate that the system design for occupied spaces employs the appropriate strategies in Chartered Institution of Building Services Engineers (CIBSE) Applications Manual AM10, March 2005, Natural Ventilation in Non-Domestic Buildings, Section 2.4. | Demonstre que o projeto do sistema de espaços ocupados utiliza as estratégias adequadas do Manual de Aplicações AM10 do CIBSE (Chartered Institution of Building Services Engineers), de março de 2005, Ventilação natural em edifícios não residenciais (Natural Ventilation in Non-Domestic Buildings), Seção 2.4. |
| 314021526727-18b4-4677-9f96-ab88f6b88aeb | Translation Approved (70%) | E. Mixed-Mode Design Calculations | E. Cálculos do projeto de modo misto |
| 3141beddde28-d45f-4e03-b383-525d3f80bb8e | Translation Approved (0%) | Demonstrate that the system design for occupied spaces complies with CIBSE Applications Manual 13–2000, Mixed Mode Ventilation. | Demonstre que o projeto do sistema de espaços ocupados está em conformidade com o Manual de Aplicações 13–2000 do CIBSE, Ventilação de modo misto (Mixed Mode Ventilation). |
| 31427d347035-93b9-42f0-a596-12f2a4aa8dcb | Translation Approved (100%) | Option 2. | Opção 2. |
| 31437d347035-93b9-42f0-a596-12f2a4aa8dcb | Translation Approved (87%) | Additional Enhanced IAQ Strategies (1 point) | Estratégias de QAI aprimoradas adicionais (1 ponto) |
| 314478f842e8-1ea6-419b-ba0e-f2e02d8a0be1 | Translation Approved (100%) | Comply with the following requirements, as applicable. | Cumpra os requisitos a seguir, conforme aplicável. |
| 3145fbc4358d-7bfb-478f-9806-ba687e5c8d94 | Translation Approved (0%) | Mechanically ventilated spaces (select one): | Espaços ventilados mecanicamente (selecione uma opção): |
| 3146c6e7fced-bb00-4821-95e0-ea3bca9065d0 | Translation Approved (0%) | exterior contamination prevention; | prevenção de contaminação externa; |
| 3147bfbaa940-aaf6-49e4-b7ce-20675fee3fc8 | Translation Approved (0%) | increased ventilation; | aumento da ventilação; |
| 3148572d05c7-009a-44b6-b341-454e3fe363d3 | Translation Approved (0%) | carbon dioxide monitoring; or | monitoramento de dióxido de carbono; ou |
| 3149a09822bd-5d89-4c36-8d68-8d6db84330f8 | Translation Approved (0%) | additional source control and monitoring. | controle e monitoramento de fontes adicionais. |
| 315011201dcc-551a-4ffd-95e9-ff9f9cfdd2d7 | Translation Approved (87%) | Naturally ventilated spaces (select one): | Espaços ventilados naturalmente (selecione uma opção): |
| 31510db18c01-dc27-4252-9cf4-5e54aa22b838 | Translation Approved (100%) | exterior contamination prevention; | prevenção de contaminação externa; |
| 31527dabd70b-0a42-421c-b5e0-cebc96bcdd2f | Translation Approved (91%) | additional source control and monitoring; or | controle e monitoramento de fontes adicionais; ou |
| 31534fb7f753-1838-438f-9029-bfaa09541c7f | Translation Approved (0%) | natural ventilation room by room calculations. | cálculos de ventilação natural sala a sala. |
| 3154f5a48df3-81cf-40c6-8ce5-f0dbadd598c4 | Translation Approved (0%) | Mixed-mode systems (select one): | Sistemas de modo misto (selecione uma opção): |
| 31552c7dd2be-6a5f-4ae2-9258-6cf9f4a7e99a | Translation Approved (100%) | exterior contamination prevention; | prevenção de contaminação externa; |
| 3156f1a3eb1a-6f76-477c-86e3-a243d2ca3106 | Translation Approved (100%) | increased ventilation; | aumento da ventilação; |
| 315703b45b54-21ac-426e-bf14-44fddcd1eac0 | Translation Approved (100%) | additional source control and monitoring; or | controle e monitoramento de fontes adicionais; ou |
| 3158813adff9-adf0-4a1f-af3c-6fe76c796c7e | Translation Approved (83%) | natural ventilation room-by-room calculations. | cálculos de ventilação natural sala a sala. |
| 3159559fe755-84a3-4951-840e-dc786cb00dce | Translation Approved (70%) | A. Exterior Contamination Prevention | A. Prevenção de contaminação externa |
| 3160e82ad9f1-3222-41f2-bd1f-7c6e7aaa03aa | Translation Approved (0%) | Design the project to minimize and control the entry of pollutants into the building. | Desenvolva o projeto para minimizar e controlar a entrada de poluentes no edifício. |
| 3161e82ad9f1-3222-41f2-bd1f-7c6e7aaa03aa | Translation Approved (0%) | Ensure through the results of computational fluid dynamics modeling, Gaussian dispersion analyses, wind tunnel modeling, or tracer gas modeling that outdoor air contaminant concentrations at outdoor air intakes are below the thresholds listed in Table 1 (or local equivalent for projects outside the U.S., whichever is more stringent). | Garanta, por meio dos resultados de modelagem computacional da dinâmica de fluidos, análise de dispersão do Gaussian, modelagem em túnel de vento ou modelagem de gás residual, que as concentrações de contaminação atmosférica externa nas entradas de ar externo fiquem abaixo dos limiares listados na Tabela 1 (ou equivalente local para projetos fora dos EUA, o que for mais rigoroso). |
| 3162e66e5dba-5d8d-49af-9266-9ba2a06b74e3 | Translation Approved (100%) | Table 1. | Tabela 1. |
| 3163e66e5dba-5d8d-49af-9266-9ba2a06b74e3 | Translation Approved (0%) | Maximum concentrations of pollutants at outdoor air intakes | Concentrações máximas de poluentes em entradas de ar externo |
| 31643a0b0dca-4ea7-4f22-bb68-8572dcda82dd | Translation Approved (0%) | Pollutants | Poluentes |
| 3165d8ae5b11-25d3-403d-ae02-1725c830d00d | Translation Approved (96%) | Maximum concentration | Concentração máxima |
| 31667ff1a6a3-5d6b-4678-b21b-8dee412d591f | Translation Approved (100%) | Standard | Norma |
| 3167cd00dc74-3e69-4102-a26d-31eeffa30ff4 | Translation Approved (0%) | Those regulated by National Ambient Air Quality Standards (NAAQS) | As reguladas pelas Normas Nacionais de Qualidade do Ar Ambiente (National Ambient Air Quality Standards – NAAQS) dos EUA |
| 3168a99354d4-f353-4612-b3cf-4f7172ca9744 | Translation Approved (0%) | Allowable annual average | Média anual permitida |
| 3169f1aa9922-9851-4033-9c14-bfc4828d91ae | Translation Approved (100%) | OR | OU |
| 31704ce5bd3c-d32c-4ea4-ba5e-b35fa7b7021d | Translation Approved (0%) | 8-hour or 24-hour average where an annual standard does not exist | Média de 8 horas ou 24 horas onde não houver um padrão anual |
| 3171a8780ba7-bed3-4ab5-8d31-9a54f8454cbc | Translation Approved (100%) | OR | OU |
| 3172ffeb3be6-9aa7-4cf4-b2a6-eea7228e7cf9 | Translation Approved (0%) | Rolling 3-month average | Média de 3 meses correntes |
| 31730b6bbf6a-cfa5-46c4-90a5-3a94056e4034 | Translation Approved (77%) | National Ambient Air Quality Standards (NAAQS) | Normas Nacionais de Qualidade do Ar Ambiente (National Ambient Air Quality Standards – NAAQS) dos EUA |
| 317438008f0c-2cf3-409c-881f-7c3e8ac5a5b6 | Translation Approved (96%) | B. Increased Ventilation | B. Aumento da ventilação |
| 317519649ae9-dea7-4908-a7cb-4fb8725a0e39 | Translation Approved (0%) | Increase breathing zone outdoor air ventilation rates to all occupied spaces by at least 30% above the minimum rates as determined in EQ Prerequisite Minimum Indoor Air Quality Performance. | Aumente as taxas de ventilação de ar externo da zona de respiração de todos os espaços ocupados pelo menos 30% acima das taxas mínimas determinadas no Pré-requisito EQ: Desempenho Mínimo da Qualidade do Ar Interno (EQ Prerequisite: Minimum Indoor Air Quality Performance). |
| 317627f46acc-23f3-45b7-b720-b5bf1ac57fa5 | Translation Approved (78%) | C. Carbon Dioxide Monitoring | C. Monitoramento de dióxido de carbono |
| 3177bf8f4ba0-5ddd-4641-8658-7a1262147c1e | Translation Approved (0%) | Monitor CO<3511>2</3511> concentrations within all densely occupied spaces. | Monitore as concentrações de CO<3511>2</3511> em todos os espaços densamente ocupados. |
| 3178bf8f4ba0-5ddd-4641-8658-7a1262147c1e | Translation Approved (82%) | CO<3512>2</3512> monitors must be between 3 and 6 feet (900 and 1 800 millimeters) above the floor. | Os monitores de CO<3512>2</3512> devem ficar entre 3 e 6 pés (900 e 1.800 milímetros) acima do piso. |
| 3179bf8f4ba0-5ddd-4641-8658-7a1262147c1e | Translation Approved (100%) | CO<3513>2</3513> monitors must have an audible or visual indicator or alert the building automation system if the sensed CO<3514>2</3514> concentration exceeds the setpoint by more than 10%. | Os monitores de CO<3513>2</3513> devem ter um indicador sonoro ou visual ou alertar o sistema de automação predial se a concentração de CO<3514>2</3514> detectada exceder o ponto de ajuste em mais de 10%. |
| 3180bf8f4ba0-5ddd-4641-8658-7a1262147c1e | Translation Approved (95%) | Calculate appropriate CO<3515>2</3515> setpoints using methods in ASHRAE 62.1–2010, Appendix C. | Calcule os pontos de ajuste adequados de CO<3515>2</3515> utilizando os métodos na Norma ASHRAE 62.1–2010, Apêndice C. |
| 3181d9de83ea-7ea3-417c-9aa8-bf5a089b3b47 | Translation Approved (80%) | D. Additional Source Control and Monitoring | D. Controle e monitoramento de fontes adicionais |
| 31824ef63716-50bf-45fd-a0ce-c7c4114a7cb3 | Translation Approved (0%) | For spaces where air contaminants are likely, evaluate potential sources of additional air contaminants besides CO<3519>2</3519>. | Para espaços nos quais a presença de contaminação atmosférica é provável, avalie as possíveis fontes adicionais de contaminação atmosférica além de CO<3519>2</3519>. |
| 31834ef63716-50bf-45fd-a0ce-c7c4114a7cb3 | Translation Approved (0%) | Develop and implement a materials-handling plan to reduce the likelihood of contaminant release. | Desenvolva e implemente um plano de manuseio de materiais para reduzir a probabilidade de liberação de contaminantes. |
| 31844ef63716-50bf-45fd-a0ce-c7c4114a7cb3 | Translation Approved (0%) | Install monitoring systems with sensors designed to detect the specific contaminants. | Instale sistemas de monitoramento com sensores projetados para detectar os contaminantes específicos. |
| 31854ef63716-50bf-45fd-a0ce-c7c4114a7cb3 | Translation Approved (0%) | An alarm must indicate any unusual or unsafe conditions. | Um alarme deve indicar qualquer condição incomum ou insegura. |
| 3186f3b3b158-e29b-421b-a266-16e595c321cf | Translation Approved (75%) | E. Natural Ventilation Room-by-Room Calculations | E. Cálculos de ventilação natural sala a sala |
| 31873a0c3664-2284-45dc-91e1-2737060b38ff | Translation Approved (0%) | Follow CIBSE AM10, Section 4, Design Calculations, to predict that room-by-room airflows will provide effective natural ventilation. | Siga a Norma CIBSE AM10, Seção 4, Cálculos de projeto (Design Calculations) para prever se os fluxos de ar de sala a sala fornecerão ventilação natural eficaz. |
| 3188d4185b06-eb4b-4e15-80ab-47d8728359d7 | Translation Approved (100%) | EQ Credit: Low-Emitting Materials | Crédito EQ: Materiais de Baixa Emissão (EQ Credit: Low-Emitting Materials) |
| 31890fa0e8d4-aa16-4c51-8603-324aa3e1be97 | Translation Approved (100%) | BD&C | BD&C |
| 319090001543-af94-4d1c-b2fe-b4d934a43b84 | Translation Approved (100%) | 1–3 points | 1 a 3 points |
| 3191ae3c55b9-ed9e-4d5b-a34d-bd8e6cf4f386 | Translation Approved (100%) | This credit applies to | Este crédito se aplica a |
| 31927540a9eb-7c11-495f-b5a6-73c61f6e0758 | Translation Approved (100%) | New Construction (1–3 points) | Nova Construção (New Construction) (1 a 3 pontos) |
| 31939dfc7d80-2ee4-4643-85cd-f74a8f62f768 | Translation Approved (100%) | Core & Shell (1–3 points) | Núcleo e Casca (Core & Shell) (1 a 3 pontos) |
| 3194f95e2640-bf8c-4113-baea-73f01095fab8 | Translation Approved (100%) | Schools (1–3 points) | Escolas (Schools) (1 a 3 pontos) |
| 31952fba0641-783c-44df-9c7d-f4d8c6db4b41 | Translation Approved (100%) | Retail (1–3 points) | Varejo (Retail) (1 a 3 pontos) |
| 319648164b7c-1455-485b-981d-4ae65f0ede69 | Translation Approved (100%) | Data Centers (1–3 points) | Centros de Dados (Data Centers) (1 a 3 pontos) |
| 3197f291fac6-6de9-4e22-992f-5e64d81d9f24 | Translation Approved (100%) | Warehouses & Distribution Centers (1–3 points) | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) (1 a 3 pontos) |
| 3198f55e8438-0a7a-486e-b522-9b0982d33e4e | Translation Approved (100%) | Hospitality (1–3 points) | Hoteleiro (Hospitality) (1 a 3 pontos) |
| 3199ae8e7c6f-e3ee-4d61-bf14-f2e33aa2dd14 | Translation Approved (100%) | Healthcare (1–3 points) | Setor de Saúde (Healthcare) (1 a 3 pontos) |
| 32009ba1f003-f725-4a90-97a2-10222c337c14 | Translation Approved (100%) | Intent | Objetivo |
| 3201ef41ca8b-b78b-40a2-b442-479371571c6f | Translation Approved (0%) | To reduce concentrations of chemical contaminants that can damage air quality, human health, productivity, and the environment. | Reduzir as concentrações de contaminantes químicos que podem prejudicar a qualidade do ar, saúde humana, produtividade e o ambiente. |
| 320207ad9b6c-b37f-4864-a5af-59f7e334a443 | Translation Approved (100%) | Requirements | Requisitos |
| 3203ce447971-3503-4fe4-b491-bfe7024e1d79 | Translation Approved (100%) | NC, CS, Schools, Retail, Data Centers, Warehouses & Distribution Centers, Hospitality, Healthcare | NC, CS, Escolas (Schools), Varejo (Retail), Centros de Dados (Data Centers), Armazéns e Centros de Distribuição (Warehouses & Distribution Centers), Hoteleiro (Hospitality), Setor de Saúde (Healthcare) |
| 3204982d1ff6-0f32-436c-91a6-7af16d91b432 | Translation Approved (0%) | This credit includes requirements for product manufacturing as well as project teams. | Este crédito inclui requisitos para a fabricação de produtos, bem como para equipes de projeto. |
| 3205982d1ff6-0f32-436c-91a6-7af16d91b432 | Translation Approved (0%) | It covers volatile organic compound (VOC) emissions into indoor air and the VOC content of materials, as well as the testing methods by which indoor VOC emissions are determined. | Ele cobre emissões de compostos orgânicos voláteis (COVs) no ar interno e a concentração de COVs de materiais, bem como os métodos de teste com os quais as emissões de COVs internas são determinadas. |
| 3206982d1ff6-0f32-436c-91a6-7af16d91b432 | Translation Approved (0%) | Different materials must meet different requirements to be considered compliant for this credit. | Diferentes materiais devem cumprir requisitos diferentes para serem considerados em conformidade com este crédito. |
| 3207982d1ff6-0f32-436c-91a6-7af16d91b432 | Translation Approved (0%) | The building interior and exterior are organized in seven categories, each with different thresholds of compliance. | O interior e o exterior do edifício são organizados em sete categorias, cada uma com limiares de conformidade diferentes. |
| 3208982d1ff6-0f32-436c-91a6-7af16d91b432 | Translation Approved (0%) | The building interior is defined as everything within the waterproofing membrane. | O interior do edifício é definido como tudo que fica dentro da membrana de impermeabilização. |
| 3209982d1ff6-0f32-436c-91a6-7af16d91b432 | Translation Approved (0%) | The building exterior is defined as everything outside and inclusive of the primary and secondary weatherproofing system, such as waterproofing membranes and air- and water-resistive barrier materials. | O exterior do edifício é definido como tudo que está fora do sistema de impermeabilização primária e secundária, incluindo o sistema, como membranas de impermeabilização e materiais de barreiras resistentes a ar e água. |
| 32105f2db6f3-2b79-4c82-840a-e2414dec97be | Translation Approved (100%) | Option 1. | Opção 1. |
| 32115f2db6f3-2b79-4c82-840a-e2414dec97be | Translation Approved (70%) | Product Category Calculations | Cálculos de categoria do produto |
| 3212fe69c75f-006f-4e57-a577-7bb0907cc23d | Translation Approved (0%) | Achieve the threshold level of compliance with emissions and content standards for the number of product categories listed in Table 2. | Alcance o nível do limiar de conformidade com as normas para emissões e concentrações para o número de categorias de produtos listadas na Tabela 2. |
| 3213e6270491-ff22-4cf6-b0f6-60ca2e9abe63 | Translation Approved (100%) | Table 1. | Tabela 1. |
| 3214e6270491-ff22-4cf6-b0f6-60ca2e9abe63 | Translation Approved (0%) | Thresholds of compliance with emissions and content standards for 7 categories of materials | Limiares de conformidade com normas para emissões e concentrações para 7 categorias de materiais |
| 3215ba96a39a-5f6c-48c4-9663-6dd855d9f3f6 | Translation Approved (86%) | Category | Categoria |
| 321653802ea9-6413-478a-b596-c1fae88d93ce | Translation Approved (0%) | Threshold | Limiar |
| 3217ba2437d5-472e-4aba-9ff2-7ea45995ab23 | Translation Approved (0%) | Emissions and content requirements | Requisitos de emissões e concentrações |
| 32186edd03c9-bdf6-454b-9d94-8d2009b65f4e | Translation Approved (0%) | Interior paints and coatings applied on site | Tintas e revestimentos internos aplicados no local |
| 32194b48f7c3-5f4e-4057-970b-cc664887b256 | Translation Approved (0%) | At least 90%, by volume, for emissions; 100% for VOC content | Pelo menos 90%, por volume, para emissões; 100% para concentração de COV |
| 3220ccf21670-9339-4eb3-9e46-b19f1b8435f2 | Translation Approved (0%) | General Emissions Evaluation for paints and coatings applied to walls, floors, and ceilings | Avaliação de emissões gerais para tintas e revestimentos aplicados a paredes, pisos e tetos |
| 3221c1f6ab6a-4cf7-40e3-93f9-40723840fb42 | Translation Approved (0%) | VOC content requirements for wet applied products | Requisitos de concentração de COV para produtos de aplicação úmida |
| 3222635a39cc-e4c8-492d-8d55-f43a045f07b5 | Translation Approved (0%) | Interior adhesives and sealants applied on site (including flooring adhesive) | Adesivos e selantes internos aplicados no local (incluindo adesivos de pisos) |
| 3223cb35f800-ce26-4d90-a006-ee34f0dacc6d | Translation Approved (100%) | At least 90%, by volume, for emissions; 100% for VOC content | Pelo menos 90%, por volume, para emissões; 100% para concentração de COV |
| 3224de466e06-2526-4f65-863f-aba00452b3bc | Translation Approved (0%) | General Emissions Evaluation | Avaliação de emissões gerais |
| 322585c608bd-06b5-46a4-8b59-d6026e978d69 | Translation Approved (100%) | VOC content requirements for wet applied products | Requisitos de concentração de COV para produtos de aplicação úmida |
| 32265a93b4be-9f21-4465-8ba3-c9450bfc449f | Translation Approved (0%) | Flooring | Pisos |
| 3227ca405aae-fb6c-4242-921d-4dc5cc4bd40f | Translation Approved (100%) | 100% | 100% |
| 32281b35e787-d9f4-49da-8ce6-d85ff3d404d4 | Translation Approved (100%) | General Emissions Evaluation | Avaliação de emissões gerais |
| 32298f5096ea-d966-4f5a-b511-ad86eb573845 | Translation Approved (100%) | Composite wood | Madeira composta |
| 3230f707ae1c-0d58-4215-a138-be7bdfd0273a | Translation Approved (0%) | 100% not covered by other categories | 100% não coberto por outras categorias |
| 32313498cea9-c600-4a96-b996-78ddea0cb848 | Translation Approved (70%) | Composite Wood Evaluation | Avaliação de madeira composta |
| 3232020d90a0-ecab-46c2-84f9-11c2bd74fd78 | Translation Approved (0%) | Ceilings, walls, thermal, and acoustic insulation | Isolamento de tetos, paredes, térmico e acústico |
| 323317cbd2ba-fc07-4159-a555-daf0aa933560 | Translation Approved (100%) | 100% | 100% |
| 32346cbcf7ad-a175-4dd3-ae1d-904f5ce62835 | Translation Approved (100%) | General Emissions Evaluation | Avaliação de emissões gerais |
| 3235a79403a1-4fac-4498-b0e2-c73c7cbf3c98 | Translation Approved (0%) | <3593>Healthcare, Schools only </3593><3594>Additional insulation requirements</3594> | <3593>Apenas Setor de Saúde, Escolas </3593><3594>Requisitos de isolamento adicionais</3594> |
| 323612a57a52-4ed3-46f6-a87b-61efa7b45ccc | Translation Approved (0%) | Furniture (include in calculations if part of scope of work) | Móveis (inclua nos cálculos se fizerem parte do escopo de trabalho) |
| 32371e4f37f5-f0fd-4133-8ec3-a17e92f2aa28 | Translation Approved (0%) | At least 90%, by cost | Pelo menos 90%, por custo |
| 3238ae19b0d4-128a-42e1-bdc6-1d110c934b7e | Translation Approved (0%) | Furniture Evaluation | Avaliação de móveis |
| 323916a1a5ea-e3d9-4072-a9ee-3962f50e845f | Translation Approved (0%) | <3609>Healthcare and Schools Projects only: </3609><3610>Exterior applied products</3610> | <3609>Apenas Setor de Saúde e Escolas: </3609><3610>Produtos aplicados no exterior</3610> |
| 3240435159bd-6957-4e7d-8477-2b544ec1c0d2 | Translation Approved (87%) | At least 90%, by volume | Pelo menos 90%, por volume |
| 324193d4fc15-cc93-4174-b18d-bdc092047e44 | Translation Approved (0%) | Exterior Applied Products | Produtos aplicados no exterior |
| 32420d2cdb58-34b1-40da-8f31-f238aa3ec53a | Translation Approved (100%) | Table 2. | Tabela 2. |
| 32430d2cdb58-34b1-40da-8f31-f238aa3ec53a | Translation Approved (0%) | Points for number of compliant categories of products | Pontos para número de categorias de produtos em conformidade |
| 3244dfa9c539-f3bb-4736-bbbf-8003be15217f | Translation Approved (0%) | Compliant categories | Categorias em conformidade |
| 324519c8b265-f46f-4985-9b6d-27a2c91b07a2 | Translation Approved (100%) | Points | Pontos |
| 324690968230-1806-417d-8a96-31630291e942 | Translation Approved (0%) | New Construction, Core Shell, Retail, Data Centers, Warehouse and Distribution Centers, Hospitality projects without furniture | Projetos de Nova Construção, Núcleo e Casca, Varejo, Centros de Dados, Armazéns e Centros de Distribuição, Hoteleiro sem móveis |
| 3247a9fbd0c3-de66-431c-b4f8-3d0c74f63d3b | Translation Approved (100%) | 2 | 2 |
| 32481497a4ea-34f2-4c26-8de9-eaf824012ccc | Translation Approved (100%) | 1 | 1 |
| 3249a7d0f8dc-9b39-4e44-929f-1bcca73e3db9 | Translation Approved (100%) | 4 | 4 |
| 3250aac68745-f6e8-400c-bde6-3a39f0bdbcbb | Translation Approved (100%) | 2 | 2 |
| 325137d608e8-887c-4134-a0b7-7bd1bb7df95c | Translation Approved (100%) | 5 | 5 |
| 32522c8d5b85-417c-46bc-b694-750da83f9bcc | Translation Approved (100%) | 3 | 3 |
| 32537a4fc2e5-cfb3-4850-b05d-f419f323869e | Translation Approved (96%) | New Construction, Core Shell, Retail, Data Centers, Warehouse and Distribution Centers, Hospitality projects with furniture | Projetos de Nova Construção, Núcleo e Casca, Varejo, Centros de Dados, Armazéns e Centros de Distribuição, Hoteleiro com móveis |
| 3254b5ccdc6d-8b19-472f-856b-40bc1fa66f98 | Translation Approved (100%) | 3 | 3 |
| 32554d5ff967-b7d6-4f3d-b706-d7863b247020 | Translation Approved (100%) | 1 | 1 |
| 32563729f8a1-b4b1-44e4-a467-525c5d2d7528 | Translation Approved (100%) | 5 | 5 |
| 325723062d6f-cb61-4fd5-8bf4-d3fbc6525223 | Translation Approved (100%) | 2 | 2 |
| 32582d3d9f5b-06f8-4706-be71-52367ec79139 | Translation Approved (100%) | 6 | 6 |
| 3259bfac1c14-91b4-4caa-bce6-5de05b0e0451 | Translation Approved (100%) | 3 | 3 |
| 3260fe251bb5-600e-4ae8-b8df-b40465054cbf | Translation Approved (0%) | Schools, Healthcare without furniture | Escolas e Setor de Saúde sem móveis |
| 32618182b994-409a-4906-924e-d5e007f33dda | Translation Approved (100%) | 3 | 3 |
| 3262fba722ec-14e1-4c59-b526-ef411f41bc9d | Translation Approved (100%) | 1 | 1 |
| 3263c5941ebe-d062-497b-bb73-2458a54cccd3 | Translation Approved (100%) | 5 | 5 |
| 3264fdfe08ba-b43f-425e-bf22-3aaf696e7f0e | Translation Approved (100%) | 2 | 2 |
| 326590e790e0-448d-4cd1-b406-8f12dcf6504a | Translation Approved (100%) | 6 | 6 |
| 326696d6206a-b8ac-42b8-b64c-6d7bc34b874c | Translation Approved (100%) | 3 | 3 |
| 32674205f6f0-65f9-4d08-ab4e-7869f4307a23 | Translation Approved (83%) | Schools, Healthcare with furniture | Escolas e Setor de Saúde com móveis |
| 3268343481bd-f332-4229-873b-0cf6b0116789 | Translation Approved (100%) | 4 | 4 |
| 3269117b988a-c0d6-47b0-971d-4df673235c74 | Translation Approved (100%) | 1 | 1 |
| 327091c21790-4876-486e-936d-b2c93f2c0535 | Translation Approved (100%) | 6 | 6 |
| 3271b9238091-c3cb-402e-b751-315e92344045 | Translation Approved (100%) | 2 | 2 |
| 3272c112ddc0-b396-4c3c-9672-e234873f89b3 | Translation Approved (100%) | 7 | 7 |
| 327331631ea4-615f-45f0-8506-026a22c52bc1 | Translation Approved (100%) | 3 | 3 |
| 3274a258493c-6abe-46b0-8ad0-b21cdeb6f258 | Translation Approved (100%) | Option 2. | Opção 2. |
| 3275a258493c-6abe-46b0-8ad0-b21cdeb6f258 | Translation Approved (70%) | Budget Calculation Method | Método de cálculo de orçamento |
| 3276c50af778-c94d-418a-930d-deabd8f30e67 | Translation Approved (0%) | If some products in a category do not meet the criteria, project teams may use the budget calculation method (Table 3). | Se alguns produtos de uma categoria não atenderem aos critérios, as equipes de projeto podem usar o método de cálculo de orçamento (Tabela 3). |
| 3277cce41f0f-23af-43a9-ab64-f338bd512197 | Translation Approved (100%) | Table 3. | Tabela 3. |
| 3278cce41f0f-23af-43a9-ab64-f338bd512197 | Translation Approved (0%) | Points for percentage compliance, under budget calculation method | Pontos para porcentagem de conformidade, com o método de cálculo de orçamento |
| 327945e538b9-0d38-42f2-bee8-df30e649d9a9 | Translation Approved (77%) | Percentage of total | Porcentagem do total |
| 328011bec6f0-9079-4dea-9475-566fe4b536ee | Translation Approved (100%) | Points | Pontos |
| 3281866f7f96-7007-47a5-a1d3-988f109f9ad7 | Translation Approved (0%) | ≥ 50% and < 70% | ≥ 50% e < 70% |
| 3282453b7546-6c34-449f-98c5-8144499a6820 | Translation Approved (100%) | 1 | 1 |
| 3283695ad531-313d-4a6a-acc7-defbb294e763 | Translation Approved (100%) | ≥ 70% and < 90% | ≥ 70% e < 90% |
| 328469e89386-cc8f-48b2-b253-6b5eddd65f4f | Translation Approved (100%) | 2 | 2 |
| 3285d5550e32-7400-4f4d-9b2d-c9b31d8b7404 | Translation Approved (0%) | ≥ 90% | ≥ 90% |
| 3286ed13253f-5b4f-4adc-9aec-52bbb96a7772 | Translation Approved (100%) | 3 | 3 |
| 3287283da2ad-cb11-4396-81f2-bab9f18588d6 | Translation Approved (0%) | The budget method organizes the building interior into six assemblies: | O método de orçamento organiza o interior do edifício em seis conjuntos: |
| 32884064a3cc-a818-4f9f-b2fc-5467860935f8 | Translation Approved (86%) | flooring; | pisos; |
| 328937b95ba8-8b57-41ee-a1fa-46647d7fff0b | Translation Approved (0%) | ceilings; | tetos; |
| 3290a3729151-dc48-446d-b1ec-3ee1254c650a | Translation Approved (0%) | walls; | paredes; |
| 3291c3aacd3c-ef75-472d-a746-113e36e59501 | Translation Approved (0%) | thermal and acoustic insulation; | isolamento térmico e acústico; |
| 3292fb562383-4397-4054-85d3-ec77e86bf29c | Translation Approved (0%) | furniture; and | móveis; e |
| 32932d3d6b7d-d01d-42a8-998d-159f6b1ac7be | Translation Approved (73%) | <3767>Healthcare, Schools only:</3767> exterior applied products. | <3767>Apenas Setor de Saúde e Escolas: </3767>produtos aplicados no exterior. |
| 32948c33cf7b-b03d-4fe3-906e-3a0f4e7fb295 | Translation Approved (0%) | Include furniture in the calculations if it is part of the scope of work. | Inclua móveis nos cálculos se eles fizerem parte do escopo de trabalho. |
| 32958c33cf7b-b03d-4fe3-906e-3a0f4e7fb295 | Translation Approved (0%) | Walls, ceilings, and flooring are defined as building interior products; each layer of the assembly, including paints, coatings, adhesives, and sealants, must be evaluated for compliance. | Paredes, tetos e pisos são definidos como produtos do interior do edifício; cada camada do conjunto, incluindo tintas, revestimentos, adesivos e selantes, deve ser avaliada quanto à conformidade. |
| 32968c33cf7b-b03d-4fe3-906e-3a0f4e7fb295 | Translation Approved (0%) | Insulation is tracked separately. | O isolamento é rastreado separadamente. |
| 3297852b1608-b94e-4819-a30b-895f8a3d2b6a | Translation Approved (0%) | Determine the total percentage of compliant materials according to Equation 1. | Determine a porcentagem total de materiais em conformidade de acordo com a Equação 1. |
| 329886290f58-1ade-48ad-b0f3-c79283e7c1b6 | Translation Approved (98%) | Equation 1. | Equação 1. |
| 329986290f58-1ade-48ad-b0f3-c79283e7c1b6 | Translation Approved (0%) | Total percentage compliance | Porcentagem total de conformidade |
| 3300f6b4aeb5-7709-4cb3-858a-2bc73fca1d8b | Translation Approved (0%) | Total % compliant for projects without furniture = | % total de conformidade para projetos sem móveis = |
| 3301e555292e-3608-4930-8baa-2e38f26b17e6 | Translation Approved (0%) | (% compliant walls + % compliant ceilings + % compliant flooring + % compliant insulation) | (% de paredes em conformidade + % de tetos em conformidade + % de pisos em conformidade + % de isolamento em conformidade) |
| 3302e8f77c10-0978-4036-a36b-c6866e74a5dc | Translation Approved (100%) | 4 | 4 |
| 33034d9da072-4b14-4a55-a7ed-261878a8254f | Translation Approved (90%) | Total % compliant for projects with furniture = | % total em conformidade para projetos com móveis = |
| 3304c9c04a79-e896-4406-9c0c-adc2e2043c53 | Translation Approved (84%) | (% compliant walls + % compliant ceilings + % compliant flooring + % compliant insulation) + (% compliant furniture) | (% de paredes em conformidade + % de tetos em conformidade + % de pisos em conformidade + % de isolamento em conformidade + % de móveis em conformidade) |
| 33057addbcaa-cb94-4614-836f-a468e2a052ca | Translation Approved (100%) | 5 | 5 |
| 330671622b21-83b1-4b31-a0ed-3a711ec1adb0 | Translation Approved (100%) | Equation 2. | Equação 2. |
| 330771622b21-83b1-4b31-a0ed-3a711ec1adb0 | Translation Approved (0%) | System percentage compliant | Porcentagem do sistema em conformidade |
| 330870429068-bf5e-4338-80f6-96412d5b946b | Translation Approved (0%) | Flooring, walls, ceilings,<3797> </3797> insulation % compliant = | % de pisos, paredes, tetos,<3797> </3797> isolamento em conformidade = |
| 3309de9aef21-0452-43ae-9e8c-0543cce74053 | Translation Approved (0%) | (compliant surface area of layer 1 + compliant surface area of layer 2 + compliant surface area of layer 3 + …) | (área superficial da camada 1 em conformidade + área superficial da camada 2 em conformidade + área superficial da camada 3 em conformidade + …) |
| 33109a3924c4-d866-4a03-8236-0d45b780078c | Translation Approved (0%) | total surface area of layer 1 + total surface area of layer 2 + total surface area of layer 3 + …) | área superficial total da camada 1 + área superficial total da camada 2 + área superficial total da camada 3 + …) |
| 3311c8b640a2-b3be-479d-b79c-7cf5fc9c592c | Translation Approved (0%) | X 100 | X 100 |
| 33125cc22c44-8021-45d8-8639-f31cb6432e3c | Translation Approved (100%) | Equation 3. | Equação 3. |
| 33135cc22c44-8021-45d8-8639-f31cb6432e3c | Translation Approved (0%) | Furniture systems compliant, using ANSI/BIFMA evaluation | Sistemas de móveis em conformidade, utilizando a avaliação ANSI/BIFMA |
| 331437870836-a29a-4127-bfa1-2dcf9293793d | Translation Approved (0%) | % compliant for furniture = | % em conformidade para móveis = |
| 33152d61bd8f-7ae3-4489-86cf-facb044727ce | Translation Approved (0%) | 0.5 x cost compliant with §7.6.1 of ANSI/BIFMA e3-2011 + cost compliant with §7.6.2 of ANSI/BIFMA e3-2011 | 0,5 x custo em conformidade com §7.6.1 de ANSI/BIFMA e3-2011 + custo em conformidade com §7.6.2 de ANSI/BIFMA e3-2011 |
| 33169f8ecf7f-31b7-4fdc-b958-d18d86bd157a | Translation Approved (71%) | total furniture cost | custo total dos móveis |
| 3317ae11944a-d6eb-46be-9614-623caa7bc0e2 | Translation Approved (100%) | X 100 | X 100 |
| 3318589c2cce-21d3-4a7d-b7ce-5b4a3d37b7bc | Translation Approved (0%) | Calculate surface area of assembly layers based on the manufacturer’s documentation for application. | Calcule a área superficial das camadas do conjunto com base na documentação de aplicação do fabricante. |
| 3319f554c681-e210-48b1-a7c6-ec541ff06e31 | Translation Approved (0%) | If 90% of an assembly meets the criteria, the system counts as 100% compliant. | Se 90% de um conjunto atender aos critérios, o sistema é contabilizado como 100% em conformidade. |
| 3320f554c681-e210-48b1-a7c6-ec541ff06e31 | Translation Approved (86%) | If less than 50% of an assembly meets the criteria, the assembly counts as 0% compliant. | Se menos de 50% de um conjunto atender aos critérios, o sistema é contabilizado como 0% em conformidade. |
| 332197f87fd7-5930-43a0-b60e-3eb356fc0c85 | Translation Approved (0%) | Manufacturers’ claims<3828>.</3828> | Alegações do fabricante<3828>.</3828> |
| 332297f87fd7-5930-43a0-b60e-3eb356fc0c85 | Translation Approved (0%) | Both first-party and third-party statements of product compliance must follow the guidelines in CDPH SM V1.1–2010, Section 8. | Declarações de conformidade de produto, de primeira fonte e de terceiros, devem seguir as diretrizes em CDPH SM V1.1–2010, Seção 8. |
| 332397f87fd7-5930-43a0-b60e-3eb356fc0c85 | Translation Approved (0%) | Organizations that certify manufacturers’ claims must be accredited under ISO Guide 65. | Organizações que certificam alegações de fabricantes devem ser certificadas pelo Guia ISO 65. |
| 33246be59755-5f41-4447-8aac-6ffe5387e4ed | Translation Approved (0%) | Laboratory requirements<3829>.</3829> | Requisitos para laboratórios<3829>.</3829> |
| 33256be59755-5f41-4447-8aac-6ffe5387e4ed | Translation Approved (0%) | Laboratories that conduct the tests specified in this credit must be accredited under ISO/IEC 17025 for the test methods they use. | Laboratórios que realizam os testes especificados neste crédito devem ser certificados por ISO/IEC 17025 quanto aos métodos de teste que utilizam. |
| 33266d1328fd-c926-4500-9ea0-9dc86f150d0f | Translation Approved (95%) | Emissions and Content Requirements | Requisitos de emissões e concentrações |
| 33277f7c94b6-1e29-48a1-be60-223cdb21db0b | Translation Approved (0%) | To demonstrate compliance, a product or layer must meet all of the following requirements, as applicable. | Para demonstrar conformidade, um produto ou camada deve atender a todos os requisitos a seguir, conforme for aplicável. |
| 33287491b958-0689-415d-86cd-ab0bd5c730bf | Translation Approved (0%) | Inherently nonemitting sources. | Fontes inerentemente não emissoras. |
| 33297491b958-0689-415d-86cd-ab0bd5c730bf | Translation Approved (0%) | Products that are inherently nonemitting sources of VOCs (stone, ceramic, powder-coated metals, plated or anodized metal, glass, concrete, clay brick, and unfinished or untreated solid wood flooring) are considered fully compliant without any VOC emissions testing if they do not include integral organic-based surface coatings, binders, or sealants. | Produtos que são fontes inerentemente não emissoras de COVs (rocha, cerâmica, metais revestidos com pó, vidro, concreto, tijolos de argila e pisos de madeira sólida sem acabamento ou tratamento) são considerados totalmente em conformidade sem qualquer teste de concentração de COV se não incluírem revestimentos, aglomerantes ou selantes de superfície de base inteiramente orgânica. |
| 3330403d6a71-53b0-4575-9b8e-53db568f801c | Translation Approved (93%) | General emissions evaluation. | Avaliação de emissões gerais. |
| 3331403d6a71-53b0-4575-9b8e-53db568f801c | Translation Approved (0%) | Building products must be tested and determined compliant in accordance with California Department of Public Health (CDPH) Standard Method v1.1–2010, using the applicable exposure scenario. | Os produtos de construção devem ser testados e ter sua conformidade determinada de acordo com o Método da Norma v1.1–2010 do Departamento de Saúde Pública da Califórnia (California Department of Public Health – CDPH), utilizando o cenário de exposição aplicável. |
| 3332403d6a71-53b0-4575-9b8e-53db568f801c | Translation Approved (0%) | The default scenario is the private office scenario. | O cenário padrão é o cenário de escritório privado. |
| 3333403d6a71-53b0-4575-9b8e-53db568f801c | Translation Approved (0%) | The manufacturer’s or third-party certification must state the exposure scenario used to determine compliance. | A certificação do fabricante ou de terceiros deve indicar o cenário de exposição usado para determinar a conformidade. |
| 3334403d6a71-53b0-4575-9b8e-53db568f801c | Translation Approved (0%) | Claims of compliance for wet-applied products must state the amount applied in mass per surface area. | Alegações de conformidade para produtos de aplicação úmida devem indicar a quantidade aplicada, em massa, por área superficial. |
| 3335302d2086-ba3e-41e3-a4be-5faedd07ec00 | Translation Approved (0%) | Manufacturers’ claims of compliance with the above requirements must also state the range of total VOCs after 14 days (336 hours), measured as specified in the CDPH Standard Method v1.1: | Alegações de conformidade do fabricante com os requisitos acima também devem indicar a faixa de COVs totais após 14 dias (336 horas), medida conforme especificação no Método da Norma v1.1 do CDPH: |
| 3336bdc84c62-2063-4efb-bd8e-6e3ca600e366 | Translation Approved (0%) | 0.5 mg/m<3835>3 </3835>or less; | 0,5 mg/m<3835>3 </3835>ou menos; |
| 3337bf15bff0-29ae-4291-b168-148d7a79feb4 | Translation Approved (0%) | between 0.5 and 5.0 mg/m<3837>3</3837>; or | entre 0,5 e 5,0 mg/m<3837>3</3837>; ou |
| 33381fd9fae7-267d-49ea-a9e1-e858d95d81bb | Translation Approved (0%) | 5.0 mg/m<3839>3 </3839>or more. | 5,0 mg/m<3839>3 </3839>ou mais. |
| 33397ae3c237-ace7-4661-8475-bb528691bd9f | Translation Approved (0%) | Projects outside the U.S. may use products tested and deemed compliant in accordance with either (1) the CDPH standard method (2010) or (2) the German AgBB Testing and Evaluation Scheme (2010). | Projetos fora dos EUA podem usar produtos testados e considerados em conformidade de acordo com (1) o método da norma do CDPH (2010) ou (2) o Plano de avaliação e testes AgBB da Alemanha (AgBB Testing and Evaluation Scheme) (2010). |
| 33407ae3c237-ace7-4661-8475-bb528691bd9f | Translation Approved (0%) | Test products either with (1) the CDPH Standard Method (2010), (2) the German AgBB Testing and Evaluation Scheme (2010), (3) ISO 16000-3: 2010, ISO 16000-6: 2011, ISO 16000-9: 2006, ISO 16000-11:2006 either in conjunction with AgBB, or with French legislation on VOC emission class labeling, or (4) the DIBt testing method (2010). | Teste produtos com (1) o Método da Norma do CDPH (2010), (2) o plano de avaliação e testes AgBB da Alemanha (2010), (3) ISO 16000-3: 2010, ISO 16000-6: 2011, ISO 16000-9: 2006, ISO 16000-11:2006 em conjunto com o AgBB ou com a legislação francesa para rotulagem de classe de emissões de COV, ou (4) o método de teste DIBt (2010). |
| 33417ae3c237-ace7-4661-8475-bb528691bd9f | Translation Approved (0%) | If the applied testing method does not specify testing details for a product group for which the CDPH standard method does provide details, use the specifications in the CDPH standard method. | Se o método de teste aplicado não especificar os detalhes de teste de um grupo de produtos para o qual o método da norma do CDPH fornece detalhes, use as especificações do método padrão do CDPH. |
| 33427ae3c237-ace7-4661-8475-bb528691bd9f | Translation Approved (0%) | U.S. projects must follow the CDPH standard method. | Projetos nos EUA devem seguir o método da norma do CDPH. |
| 3343a590fe66-d72a-422e-a974-ce3ee3631f73 | Translation Approved (0%) | Additional VOC content requirements for wet-applied products. | Requisitos de concentração de COV adicionais para produtos de aplicação úmida. |
| 3344a590fe66-d72a-422e-a974-ce3ee3631f73 | Translation Approved (0%) | In addition to meeting the general requirements for VOC emissions (above), on-site wet-applied products must not contain excessive levels of VOCs, for the health of the installers and other tradesworkers who are exposed to these products. | Além de atender aos requisitos gerais para emissões de COV (acima), produtos com aplicação úmida no local não devem conter níveis excessivos de COVs, para a saúde dos aplicadores e de outros trabalhadores que são expostos aos produtos. |
| 3345a590fe66-d72a-422e-a974-ce3ee3631f73 | Translation Approved (91%) | To demonstrate compliance, a product or layer must meet the following requirements, as applicable. | Para demonstrar conformidade, um produto ou camada deve atender aos requisitos a seguir, conforme for aplicável. |
| 3346a590fe66-d72a-422e-a974-ce3ee3631f73 | Translation Approved (0%) | Disclosure of VOC content must be made by the manufacturer. | A divulgação da concentração de COV deve ser feita pelo fabricante. |
| 3347a590fe66-d72a-422e-a974-ce3ee3631f73 | Translation Approved (0%) | Any testing must follow the test method specified in the applicable regulation. | Todos os testes devem seguir o método de teste especificado no regulamento aplicável. |
| 33486d2ac77a-bb03-4e31-a990-e8189c64aee0 | Translation Approved (0%) | All paints and coatings wet-applied on site must meet the applicable VOC limits of the California Air Resources Board (CARB) 2007, Suggested Control Measure (SCM) for Architectural Coatings, or the South Coast Air Quality Management District (SCAQMD) Rule 1113, effective June 3, 2011. | Todas as tintas e revestimentos com aplicação úmida no local devem atender aos limites de COV aplicáveis do Conselho de Recursos Atmosféricos da Califórnia (California Air Resources Board – CARB) de 2007, Medida de controle sugerida (SCM) para revestimentos arquitetônicos (Suggested Control Measure (SCM) for Architectural Coatings), ou do Distrito de Gestão da Qualidade do Ar da Costa Sul (South Coast Air Quality Management District – SCAQMD), Regra 1113, de 3 de junho de 2011. |
| 33490a3f727f-4052-4ed3-bf04-40957b2aff20 | Translation Approved (0%) | All adhesives and sealants wet-applied on site must meet the applicable chemical content requirements of SCAQMD Rule 1168, July 1, 2005, Adhesive and Sealant Applications, as analyzed by the methods specified in Rule 1168. | Todos os adesivos e selantes com aplicação úmida no local devem atender aos requisitos aplicáveis para concentração química da Regra 1168 da SCAQMD, de 1 de julho de 2005, Aplicações de adesivo e selante (Adhesive and Sealant Applications), conforme analisada pelos métodos especificados na Regra 1168. |
| 33500a3f727f-4052-4ed3-bf04-40957b2aff20 | Translation Approved (0%) | The provisions of SCAQMD Rule 1168 do not apply to adhesives and sealants subject to state or federal consumer product VOC regulations. | As disposições da Regra 1168 da SCAQMD não se aplicam a adesivos e selantes sujeitos a regulamentos estaduais ou federais para produtos com COV. |
| 33514d874d72-2776-4ea2-af45-3b7dde67eab4 | Translation Approved (0%) | For projects outside the U.S., all paints, coatings, adhesives, and sealants wet-applied on site must either meet the technical requirements of the above regulations, or comply with applicable national VOC control regulations, such as the European Decopaint Directive (2004/42/EC), the Canadian VOC Concentration Limits for Architectural Coatings, or the Hong Kong Air Pollution Control (VOC) Regulation. | Para projetos fora dos EUA, todas as tintas, revestimentos, adesivos e selantes com aplicação úmida no local devem atender aos requisitos técnicos dos regulamentos acima ou cumprir regulamentos nacionais de controle de COV, como a Diretriz Europeia Decopaint (2004/42/EC), os Limites de concentração de COV para revestimentos arquitetônicos do Canadá (Canadian VOC Concentration Limits for Architectural Coatings) ou o Regulamento de controle de poluição atmosférica (COV) de Hong Kong (Hong Kong Air Pollution Control (VOC) Regulation). |
| 3352681e81a2-39bc-4600-8c31-258904cd2f3f | Translation Approved (0%) | If the applicable regulation requires subtraction of exempt compounds, any content of intentionally added exempt compounds larger than 1% weight by mass (total exempt compounds) must be disclosed. | Se o regulamento aplicável exigir a subtração de compostos isentos, qualquer concentração intencionalmente adicionada de compostos isentos superior a 1% do peso por massa (total de compostos isentos) deve ser divulgada. |
| 335308d435c0-ee27-4afc-8c65-c4e40ec790ef | Translation Approved (0%) | If a product cannot reasonably be tested as specified above, testing of VOC content must comply with ASTM D2369-10; ISO 11890, part 1; ASTM D6886-03; or ISO 11890-2. | Se um produto não puder ser testado de maneira razoável conforme especificado acima, o teste da concentração de COV deve ser feito em conformidade com ASTM D2369-10; ISO 11890, parte 1; ASTM D6886-03; ou ISO 11890-2. |
| 33544b69a350-7ef9-4ecd-87bb-4aa511c2ecd3 | Translation Approved (0%) | For projects in North America, methylene chloride and perchloroethylene may not be intentionally added in paints, coatings, adhesives, or sealants. | Para projetos na América do Norte, cloreto de metileno e percloroetileno não podem ser intencionalmente adicionados a tintas, revestimentos, adesivos ou selantes. |
| 3355c2e5a940-edf9-490a-9de2-cc1d4dfd7ea7 | Translation Approved (99%) | Composite Wood Evaluation. | Avaliação de madeira composta. |
| 3356c2e5a940-edf9-490a-9de2-cc1d4dfd7ea7 | Translation Approved (0%) | Composite wood, as defined by the California Air Resources Board, Airborne Toxic Measure to Reduce Formaldehyde Emissions from Composite Wood Products Regulation, must be documented to have low formaldehyde emissions that meet the California Air Resources Board ATCM for formaldehyde requirements for ultra-low-emitting formaldehyde (ULEF) resins or no added formaldehyde resins. | Madeira composta, conforme definição do Conselho de Recursos Atmosféricos da Califórnia (California Air Resources Board), Regulamento de medição de tóxicos suspensos no ar para reduzir as emissões de formaldeído de produtos de madeira composta (Airborne Toxic Measure to Reduce Formaldehyde Emissions from Composite Wood Products Regulation), deve ter documentação comprovando baixo nível de emissões de formaldeído que atenda à ATCM do Conselho de Recursos Atmosféricos da Califórnia para resinas com emissões muito baixas de formaldeído (ULEF) ou resinas sem adição de formaldeído. |
| 3357672062b2-fc01-4e42-ab26-b1c7a52737a3 | Translation Approved (94%) | Salvaged and reused architectural millwork more than one year old at the time of occupancy is considered compliant, provided it meets the requirements for any site-applied paints, coatings, adhesives, and sealants. | Trabalhos arquitetônicos em madeira recuperados e reutilizados com mais de um ano no momento da ocupação são considerados em conformidade se atenderem aos requisitos para qualquer tinta, revestimento, adesivo e selante aplicados no local. |
| 3358e6495e21-958f-4217-a1a0-0591fe2d27ec | Translation Approved (94%) | Furniture evaluation. | Avaliação de móveis. |
| 3359e6495e21-958f-4217-a1a0-0591fe2d27ec | Translation Approved (81%) | New furniture and furnishing items<3843> </3843>must be tested in accordance with ANSI/BIFMA Standard Method M7.1–2011. | Móveis e acessórios novos devem ser testados de acordo com o Método da Norma ANSI/BIFMA M7.1–2011. |
| 3360e6495e21-958f-4217-a1a0-0591fe2d27ec | Translation Approved (99%) | Comply with ANSI/BIFMA e3-2011 Furniture Sustainability Standard, Sections 7.6.1 and 7.6.2, using either the concentration modeling approach or the emissions factor approach. | Cumpra a Norma de Sustentabilidade de Móveis ANSI/BIFMA e3-2011, Seções 7.6.1 e 7.6.2, utilizando a abordagem de modelagem de concentração ou a abordagem de fator de emissões. |
| 3361e6495e21-958f-4217-a1a0-0591fe2d27ec | Translation Approved (100%) | Model the test results using the open plan, private office, or seating scenario in ANSI/BIFMA M7.1, as appropriate. | Modele os resultados de testes utilizando o cenário de plano aberto, escritório privado ou de assentos de ANSI/BIFMA M7.1, conforme for adequado. |
| 3362e6495e21-958f-4217-a1a0-0591fe2d27ec | Translation Approved (100%) | USGBC-approved equivalent testing methodologies and contaminant thresholds are also acceptable. | Metodologias de testes e limiares de contaminação equivalentes, aprovados pelo USGBC, também são aceitos. |
| 3363e6495e21-958f-4217-a1a0-0591fe2d27ec | Translation Approved (0%) | For classroom furniture, use the standard school classroom model in CDPH Standard Method v1.1. | Para mobiliário escolar, use o modelo de sala de aula padrão do Método da Norma v.1.1 do CDPH. |
| 3364e6495e21-958f-4217-a1a0-0591fe2d27ec | Translation Approved (89%) | Documentation submitted for furniture must indicate the modeling scenario used to determine compliance. | A documentação fornecida para os móveis deve indicar o cenário de modelagem usado para determinar a conformidade. |
| 3365b6de8684-0014-4684-967e-2a3e9ce14c8b | Translation Approved (100%) | Salvaged and reused furniture more than one year old at the time of use is considered compliant, provided it meets the requirements for any site-applied paints, coatings, adhesives, and sealants. | Móveis recuperados e reutilizados com mais de um ano no momento do uso são considerados em conformidade se atenderem aos requisitos para qualquer tinta, revestimento, adesivo e selante aplicados no local. |
| 336620b268c7-4296-4e8f-85bf-61833bf9a2fb | Translation Approved (0%) | Healthcare, Schools only | Apenas Setor de saúde (Healthcare), Escolas (Schools) |
| 3367b6fec725-4a0f-4a11-88e6-060506c7ba51 | Translation Approved (0%) | Additional insulation requirements. | Requisitos adicionais de isolamento. |
| 3368b6fec725-4a0f-4a11-88e6-060506c7ba51 | Translation Approved (0%) | Batt insulation products may contain no added formaldehyde, including urea formaldehyde, phenol formaldehyde, and urea-extended phenol formaldehyde. | Produtos de isolamento com fibras não podem conter formaldeído adicionado, incluindo formaldeído de ureia, formaldeído de fenol e formaldeído de fenol estendido com ureia. |
| 3369f867a155-2890-432a-866b-39c0aab45d57 | Translation Approved (93%) | Exterior applied products. | Produtos aplicados no exterior. |
| 3370f867a155-2890-432a-866b-39c0aab45d57 | Translation Approved (79%) | Adhesives, sealants, coatings, roofing, and waterproofing materials applied on site must meet the VOC limits of California Air Resources Board (CARB) 2007 Suggested Control Measure (SCM) for Architectural Coatings, and South Coast Air Quality Management District (SCAQMD), Rule 1168, effective July 1, 2005. | Adesivos, selantes, revestimentos, telhados e materiais de impermeabilização aplicados no local devem atender aos limites de COV do Conselho de Recursos Atmosféricos da Califórnia (California Air Resources Board – CARB) de 2007, Medida de controle sugerida (SCM) para revestimentos arquitetônicos (Suggested Control Measure (SCM) for Architectural Coatings) e do Distrito de Gestão da Qualidade do Ar da Costa Sul (South Coast Air Quality Management District – SCAQMD), Regra 1168, de 1º de julho de 2005. |
| 3371f867a155-2890-432a-866b-39c0aab45d57 | Translation Approved (0%) | Small containers of adhesives and sealants subject to state or federal consumer product VOC regulations are exempt. | Contêineres pequenos de adesivos e selantes sujeitos a regulamentos estaduais ou federais para produtos com COV são isentos. |
| 3372e273a79d-fe0b-482b-952b-a968d7beb9ef | Translation Approved (0%) | Projects outside North America may use either the jurisdictional VOC content requirements or comply with the European Decopaint Directive (2004/42/EC, to be updated to most current version when available) Phase II, for water-borne coatings, as analyzed according to ISO 11890 parts 1 and 2, instead of the CARB and SCAQMD regulatory standards. | Projetos fora da América do Norte podem usar os requisitos de concentração de COV da jurisdição ou cumprir a Diretriz Europeia Decopaint (2004/42/EC, a ser atualizada para a versão mais recente quando disponível) Fase II, para revestimentos transportado pela água, conforme analisados pela ISO 11890 partes 1 e 2, em vez das normas regulatórias CARB e SCAQMD. |
| 33737a6c0617-d68f-40a2-86ec-b693781c6335 | Translation Approved (0%) | Two materials are prohibited and do not count toward total percentage compliance: hot-mopped asphalt for roofing, and coal tar sealants for parking lots and other paved surfaces. | Dois materiais são proibidos e não são contabilizados para a porcentagem total de conformidade: asfalto aplicado a quente com esfregão para telhados e selantes de piche para estacionamentos e outras superfícies pavimentadas. |
| 33747b1a1a01-fa6f-4e68-af09-a0e00b3b8310 | Translation Approved (100%) | EQ Credit: Construction Indoor Air Quality Management Plan | Crédito EQ: Plano de Gestão da Qualidade do Ar Interno da Construção (EQ Credit: Construction Indoor Air Quality Management Plan) |
| 337590d8853d-d541-4b1b-ba22-92ae2875ab0f | Translation Approved (100%) | BD&C | BD&C |
| 3376a5730706-6967-470f-afcb-e07f454b2f2b | Translation Approved (100%) | 1 point | 1 ponto |
| 337740ca6eed-5f5a-48ef-a9e7-55e147bc3e2b | Translation Approved (100%) | This credit applies to | Este crédito se aplica a |
| 33788aebf68d-8d04-49d3-b4f5-e3a45ce12ad7 | Translation Approved (100%) | New Construction (1 point) | Nova Construção (New Construction) (1 ponto) |
| 3379b5026093-5327-463e-9be2-d642bdea4195 | Translation Approved (100%) | Core & Shell (1 point) | Núcleo e Casca (Core & Shell) (1 ponto) |
| 3380408e138f-9840-4753-8362-e287db34cc3b | Translation Approved (100%) | Schools (1 point) | Escolas (Schools) (1 ponto) |
| 33811c89f6c7-b229-45c1-9f8f-74bb15ceb36b | Translation Approved (100%) | Retail (1 point) | Varejo (Retail) (1 ponto) |
| 3382bea22b5d-4d7a-4b79-816b-6239340463d2 | Translation Approved (100%) | Data Centers (1 point) | Centros de Dados (Data Centers) (1 ponto) |
| 33838c59f71f-bb5e-4079-8481-5be9b13feef6 | Translation Approved (100%) | Warehouses & Distribution Centers (1 point) | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) (1 ponto) |
| 338452ce964f-ea6b-4759-913f-e35a3b2a8554 | Translation Approved (100%) | Hospitality (1 point) | Hoteleiro (Hospitality) (1 ponto) |
| 33851ab6ac90-6d29-4ce2-add8-9f3349c94d04 | Translation Approved (100%) | Healthcare (1 point) | Setor de Saúde (Healthcare) (1 ponto) |
| 3386f9f361e6-ef0f-4971-bf08-9623eb8d2b0b | Translation Approved (100%) | Intent | Objetivo |
| 3387e24a72be-7e67-471b-9162-5f5f4e826a6b | Translation Approved (CM) | To promote the well-being of construction workers and building occupants by minimizing indoor air quality problems associated with construction and renovation. | Promover o bem-estar dos trabalhadores de construções e de ocupantes de edifícios minimizando problemas de qualidade do ar interno associados à construção e reforma. |
| 33883a32eab5-d500-45e3-acc1-ffad8c7efbd3 | Translation Approved (100%) | Requirements | Requisitos |
| 338977b068e0-9b79-46bd-8da5-3eefde439cfb | Translation Approved (100%) | NC, CS, Schools, Retail, Data Centers, Warehouses & Distribution Centers, Hospitality | NC, CS, Escolas (Schools), Varejo (Retail), Centros de Dados (Data Centers), Armazéns e Centros de Distribuição (Warehouses & Distribution Centers), Hoteleiro (Hospitality) |
| 339034efb499-bbbc-41a0-b151-dcb7ab1d5540 | Translation Approved (100%) | Develop and implement an indoor air quality (IAQ) management plan for the construction and preoccupancy phases of the building. | Desenvolva e implemente um plano de gestão da qualidade do ar interno (QAI) para as fases de construção e pré-ocupação do edifício. |
| 339134efb499-bbbc-41a0-b151-dcb7ab1d5540 | Translation Approved (0%) | The plan must address all of the following. | O plano deve abordar todos os itens a seguir. |
| 3392a29dd224-e4fb-492e-95b3-76a1031456bc | Translation Approved (0%) | During construction, meet or exceed all applicable recommended control measures of the Sheet Metal and Air Conditioning National Contractors Association (SMACNA) IAQ Guidelines for Occupied Buildings under Construction, 2nd edition, 2007, ANSI/SMACNA 008–2008, Chapter 3. | Durante a construção, satisfaça ou exceda todas as medidas de controle recomendadas aplicáveis da Associação Nacional de Empreiteiros de Ar-condicionado e Serralheria (Sheet Metal and Air Conditioning Contractors National Association - SMACNA), Diretrizes de QAI para Edifícios Ocupados (IAQ Guidelines for Occupied Buildings) em Construction (Construção), 2ª edição, 2007, ANSI/SMACNA 008–2008, Capítulo 3. |
| 33934bddb350-afa7-4e9e-9320-e5436cba7414 | Translation Approved (0%) | Protect absorptive materials stored on-site and installed from moisture damage. | Proteja os materiais de absorção armazenados e instalados no local contra danos por umidade. |
| 339481846fac-7aa1-45dc-b94d-41533f26a722 | Translation Approved (0%) | Do not operate permanently installed air-handling equipment during construction unless filtration media with a minimum efficiency reporting value (MERV) of 8, as determined by ASHRAE 52.2–2007, with errata (or equivalent filtration media class of F5 or higher, as defined by CEN Standard EN 779–2002, Particulate Air Filters for General Ventilation, Determination of the Filtration Performance), are installed at each return air grille and return or transfer duct inlet opening such that there is no bypass around the filtration media. | Não opere equipamentos de manipulação de ar instalados permanentemente durante a construção, a não ser que um meio filtrante com valor mínimo de eficiência relatada (minimum efficiency reporting value – MERV) de 8, conforme determinado pela Norma ASHRAE 52.2–2007, com errata (ou meio filtrante equivalente da classe F5 ou superior, conforme definido pela Norma EN 779–2002 da CEN, Filtros de particulado no ar para ventilação geral, Determinação do desempenho de filtração (Particulate Air Filters for General Ventilation, Determination of the Filtration Performance)), seja instalado em cada grelha de retorno de ar ou abertura de entrada de duto de transferência de forma que não haja como desviar o meio filtrante. |
| 339581846fac-7aa1-45dc-b94d-41533f26a722 | Translation Approved (0%) | Immediately before occupancy, replace all filtration media with the final design filtration media, installed in accordance with the manufacturer’s recommendations. | Imediatamente antes da ocupação, substitua todos os meios filtrantes pelo meio filtrante final do projeto, instalado de acordo com as recomendações do fabricante. |
| 33969874a2ef-8b49-480c-a824-2a0b778376a8 | Translation Approved (100%) | Prohibit the use of tobacco products inside the building and within 25 feet (7.5 meters) of the building entrance during construction. | Proíba o uso de produtos de tabaco dentro do edifício e a menos de 25 pés (7,5 metros) da entrada do edifício durante a construção. |
| 3397034af45e-734c-4f7b-acf7-3033da8b36fc | Translation Approved (100%) | Healthcare | Setor de Saúde (Healthcare) |
| 3398e195e96b-1809-4c94-80f2-80e791558cfe | Translation Approved (0%) | Moisture. | Umidade. |
| 3399e195e96b-1809-4c94-80f2-80e791558cfe | Translation Approved (0%) | Develop and implement a moisture control plan to protect stored on-site and installed absorptive materials from moisture damage. | Desenvolva e implemente um plano de controle de umidade para proteger materiais de absorção armazenados e instalados no local contra danos por umidade. |
| 3400e195e96b-1809-4c94-80f2-80e791558cfe | Translation Approved (0%) | Immediately remove from site and properly dispose of any materials susceptible to microbial growth and replace with new, undamaged materials. | Remova imediatamente do local e descarte da maneira adequada qualquer material suscetível ao desenvolvimento de micróbios e substituir por materiais novos e não danificados. |
| 3401e195e96b-1809-4c94-80f2-80e791558cfe | Translation Approved (0%) | Also include strategies for protecting the building from moisture intrusion and preventing occupants’ exposure to mold spores. | Inclua também estratégias para proteger o edifício contra a penetração de umidade e evite a exposição dos ocupantes a esporos de mofo. |
| 34023bbecea4-3f60-4834-ad78-5faa44e34b4b | Translation Approved (96%) | Particulates. | Partículas. |
| 34033bbecea4-3f60-4834-ad78-5faa44e34b4b | Translation Approved (100%) | Do not operate permanently installed air-handling equipment during construction unless filtration media with a minimum efficiency reporting value (MERV) of 8, as determined by ASHRAE 52.2–2007, with errata (or equivalent filtration media class of F5 or higher, as defined by CEN Standard EN 779–2002, Particulate Air Filters for General Ventilation, Determination of the Filtration Performance), are installed at each return air grille and return or transfer duct inlet opening such that there is no bypass around the filtration media. | Não opere equipamentos de manipulação de ar instalados permanentemente durante a construção, a não ser que um meio filtrante com valor mínimo de eficiência relatada (minimum efficiency reporting value – MERV) de 8, conforme determinado pela Norma ASHRAE 52.2–2007, com errata (ou meio filtrante equivalente da classe F5 ou superior, conforme definido pela Norma EN 779–2002 da CEN, Filtros de particulado no ar para ventilação geral, Determinação do desempenho de filtração (Particulate Air Filters for General Ventilation, Determination of the Filtration Performance)), seja instalado em cada grelha de retorno de ar ou abertura de entrada de duto de transferência de forma que não haja como desviar o meio filtrante. |
| 34043bbecea4-3f60-4834-ad78-5faa44e34b4b | Translation Approved (100%) | Immediately before occupancy, replace all filtration media with the final design filtration media, installed in accordance with the manufacturer’s recommendations. | Imediatamente antes da ocupação, substitua todos os meios filtrantes pelo meio filtrante final do projeto, instalado de acordo com as recomendações do fabricante. |
| 3405578c967b-ca97-4443-a74a-fb530956a046 | Translation Approved (96%) | VOCs. | COVs. |
| 3406578c967b-ca97-4443-a74a-fb530956a046 | Translation Approved (0%) | Schedule construction procedures to minimize exposure of absorbent materials to VOC emissions. | Programe procedimentos de construção para minimizar a exposição de materiais de absorção a emissões de COV. |
| 3407578c967b-ca97-4443-a74a-fb530956a046 | Translation Approved (0%) | Complete painting and sealing before storing or installing “dry” materials, which may accumulate pollutants and release them over time. | Conclua a pintura e vedação antes de armazenar ou instale materiais "secos", que possam acumular poluentes e liberá-los com o tempo. |
| 3408578c967b-ca97-4443-a74a-fb530956a046 | Translation Approved (0%) | Store fuels, solvents, and other sources of VOCs separately from absorbent materials. | Armazene combustíveis, solventes e outras fontes de COV separados de materiais absorventes. |
| 340936c08a3b-dd53-4717-97af-ba975024f8f6 | Translation Approved (0%) | Outdoor emissions. | Emissões externas. |
| 341036c08a3b-dd53-4717-97af-ba975024f8f6 | Translation Approved (0%) | For renovation projects involving waterproofing, repairing asphalt roofing, sealing parking lots, or other outdoor activities that generate high VOC emissions, develop a plan to manage fumes and avoid infiltration to occupied spaces. | Para projetos de reforma que envolvem impermeabilização, reparo de telhados com asfalto, selagem de estacionamentos ou outras atividades externas que gerem altos níveis de emissão de COVs, desenvolva um plano para gerenciar vapores e evitar a infiltração em espaços ocupados. |
| 341136c08a3b-dd53-4717-97af-ba975024f8f6 | Translation Approved (0%) | Comply with the procedures established by NIOSH, Asphalt Fume Exposures during the Application of Hot Asphalt to Roofs (Publication 2003–112). | Cumpra os procedimentos estabelecidos pela NIOSH, Exposições a vapor de asfalto durante a aplicação de asfalto quente em telhados (Asphalt Fume Exposures during the Application of Hot Asphalt to Roofs; publicação 2003–112). |
| 34125126feec-159c-4f47-9af2-04603bf43585 | Translation Approved (0%) | Tobacco. | Tabaco. |
| 34135126feec-159c-4f47-9af2-04603bf43585 | Translation Approved (100%) | Prohibit the use of tobacco products inside the building and within 25 feet (7.5 meters) of the building entrance during construction. | Proíba o uso de produtos de tabaco dentro do edifício e a menos de 25 pés (7,5 metros) da entrada do edifício durante a construção. |
| 3414ad00533b-dacc-4e6a-ad6f-aac848c80e9f | Translation Approved (0%) | Noise and vibration. | Ruídos e vibração. |
| 3415ad00533b-dacc-4e6a-ad6f-aac848c80e9f | Translation Approved (0%) | Develop a plan based on the British Standard (BS 5228) to reduce noise emissions and vibrations from construction equipment and other nonroad engines by specifying low-noise emission design or the lowest decibel level available that meets performance requirements in the British Standard. | Desenvolva um plano com base na Norma Britânica (BS 5228) para reduzir as emissões de ruído e vibrações de equipamentos de construção e outros motores não rodoviários, especificando projeto com baixa emissão de ruídos ou o menor nível de decibéis disponível que atenda aos requisitos de desempenho da Norma Britânica. |
| 3416ad00533b-dacc-4e6a-ad6f-aac848c80e9f | Translation Approved (0%) | Construction crews must wear ear protection in areas where sound levels exceed 85 dB for extended periods. | As equipes de construção devem usar proteções auriculares em áreas nas quais os níveis de som excedam 85 dB por períodos prolongados. |
| 3417bcdfdc28-b1b9-4dfa-a3f4-1c312d0209fc | Translation Approved (0%) | Infection control. | Controle de infecções. |
| 3418bcdfdc28-b1b9-4dfa-a3f4-1c312d0209fc | Translation Approved (0%) | For renovations and additions adjacent to occupied facilities or phased occupancy in new construction, follow the FGI 2010 Guidelines for Design and Construction of Health Care Facilities and the Joint Commission on Standards to establish an integrative infection control team comprising the owner, designer, and contractor to evaluate infection control risk and document the required precautions in a project-specific plan. | Para reformas e adições adjacentes a instalações ocupadas, ou ocupação em fases de novas construções, seguir as Diretrizes de 2010 da FGI para Projeto e Construção de Instalações de Saúde (Design and Construction of Health Care Facilities) e da Comissão Conjunta de Normas (Joint Commission on Standards) para estabelecer uma equipe de controle de infecções integrada, formada por proprietário, projetista e empreiteiro, para avaliar o risco de infecção e documentar as precauções necessárias em um plano específico para o projeto. |
| 3419bcdfdc28-b1b9-4dfa-a3f4-1c312d0209fc | Translation Approved (0%) | Use the infection control risk assessment standard published by the American Society of Healthcare Engineering and the U.S. Centers for Disease Control and Prevention (CDC) as a guideline to assess risk and to select mitigation procedures for construction activities. | Use a norma de avaliação de risco para controle de infecções, publicada pela Sociedade de Engenharia de Saúde dos EUA (American Society of Healthcare Engineering) e os Centros de Controle e Prevenção de Doenças dos EUA (U.S. Centers for Disease Control and Prevention – CDC), como diretriz para a avaliação do risco e para selecionar procedimentos de atenuação para as atividades de construção. |
| 3420615771b2-4f4d-486d-b98d-c283c34de7d4 | Translation Approved (100%) | EQ Credit: Indoor Air Quality Assessment | Crédito EQ: Avaliação da Qualidade do Ar Interno (EQ Credit: Indoor Air Quality Assessment) |
| 342143ed3ea0-54aa-4580-ade7-7554aa5ad64b | Translation Approved (100%) | BD&C | BD&C |
| 342251c52add-a4da-4ca0-ac65-00b8ad573b41 | Translation Approved (100%) | 1–2 points | 1 a 2 pontos |
| 3423dd295333-6392-4c83-9db3-29642658ca61 | Translation Approved (100%) | This credit applies to | Este crédito se aplica a |
| 3424bbf58aa3-524f-40d7-b119-3e14b2b55fd5 | Translation Approved (100%) | New Construction (1–2 points) | Nova Construção (New Construction) (1 a 2 pontos) |
| 3425d2c8de5f-5584-4d56-8a16-2709c4568950 | Translation Approved (100%) | Schools (1–2 points) | Escolas (Schools) (1 a 2 pontos) |
| 34262cc4748e-3eb3-4bc0-aad0-fe6b10fed8d7 | Translation Approved (100%) | Retail (1–2 points) | Varejo (Retail) (1 a 2 pontos) |
| 342724044bf8-9809-4c28-a3b4-8283d851c776 | Translation Approved (100%) | Data Centers (1–2 points) | Centros de Dados (Data Centers) (1 a 2 pontos) |
| 3428632c9e9c-25d6-4d71-9dbb-be29620df5bf | Translation Approved (100%) | Warehouses & Distribution Centers (1–2 points) | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) (1 a 2 pontos) |
| 342914fbf9b8-dfe8-4a14-bc69-cc3194e3f27b | Translation Approved (100%) | Hospitality (1–2 points) | Hoteleiro (Hospitality) (1 a 2 pontos) |
| 3430505cd058-bca4-4e8c-98ba-9ec04bc51714 | Translation Approved (100%) | Healthcare (1–2 points) | Setor de Saúde (Healthcare) (1 a 2 pontos) |
| 34316cb83ecf-edf8-406a-9c6f-3a0987af782e | Translation Approved (100%) | Intent | Objetivo |
| 34323f7db76e-aec7-4eee-b087-735daa792ebc | Translation Approved (0%) | To establish better quality indoor air in the building after construction and during occupancy. | Oferecer um ar interno de melhor qualidade no edifício após a construção e durante a ocupação. |
| 3433160c6887-8857-4d41-9c71-81ee6bb64b7c | Translation Approved (100%) | Requirements | Requisitos |
| 343410598121-ec57-4a72-8b54-12ad85959ed8 | Translation Approved (100%) | NC, Schools, Retail, Data Centers, Warehouses & Distribution Centers, Hospitality, Healthcare | NC, Escolas (Schools), Varejo (Retail), Centros de Dados (Data Centers), Armazéns e Centros de Distribuição (Warehouses & Distribution Centers), Hoteleiro (Hospitality), Setor de Saúde (Healthcare) |
| 343561bdc4dc-3731-4bb3-9e9e-1e5016a1ee2b | Translation Approved (0%) | Select one of the following two options, to be implemented after construction ends and the building has been completely cleaned. | Selecione uma das duas opções a seguir, a ser implementada após a conclusão da construção e a limpeza completa do edifício. |
| 343661bdc4dc-3731-4bb3-9e9e-1e5016a1ee2b | Translation Approved (0%) | All interior finishes, such as millwork, doors, paint, carpet, acoustic tiles, and movable furnishings (e.g., workstations, partitions), must be installed, and major VOC punch list items must be finished. | Todos os acabamentos internos, como trabalhos em madeira, portas, tinta, carpetes, pisos de revestimento acústico e acessórios móveis (por exemplo, estações de trabalho, divisórias), devem ser instalados, e os principais itens da lista de afazeres de COV devem ser concluídos. |
| 343761bdc4dc-3731-4bb3-9e9e-1e5016a1ee2b | Translation Approved (0%) | The options cannot be combined. | As opções não podem ser combinadas. |
| 3438932024b7-0409-4a4f-b501-88841c8351bd | Translation Approved (100%) | Option 1. | Opção 1. |
| 3439932024b7-0409-4a4f-b501-88841c8351bd | Translation Approved (0%) | Flush-Out (1 point) | Lavagem (1 ponto) |
| 3440be56ddb0-754b-4e82-9466-9c710dd03eed | Translation Approved (100%) | Path 1. | Caminho 1. |
| 3441be56ddb0-754b-4e82-9466-9c710dd03eed | Translation Approved (100%) | Before Occupancy | Antes da ocupação |
| 344296ed141c-0a13-4e75-b2f1-90c534f6ecb7 | Translation Approved (0%) | Install new filtration media and perform a building flush-out by supplying a total air volume of 14,000 cubic feet of outdoor air per square foot (4 267 140 liters of outdoor air per square meter) of gross floor area while maintaining an internal temperature of at least 60°F (15°C) and no higher than 80<3865/>F (27°C) and relative humidity no higher than 60%. | Instale meio filtrante novo e lave o edifício fornecendo um volume total de ar de 14.000 pés cúbicos de ar externo por pé quadrado (4.267.140 litros de ar externo por metro quadrado) da área de piso total e mantendo a temperatura interna a pelo menos 60 °F (15 °C), sem ultrapassar 80<3865/>F (27 °C), e umidade relativa de no máximo 60%. |
| 34435bcac599-d5d8-4b80-bd0c-e0cdb3cb2e92 | Translation Approved (100%) | OR | OU |
| 3444b225468a-b491-4dc0-adcd-845ca21834e2 | Translation Approved (100%) | Path 2. | Caminho 2. |
| 3445b225468a-b491-4dc0-adcd-845ca21834e2 | Translation Approved (0%) | During Occupancy | Durante a ocupação |
| 34468c1a43ce-3ed5-40cf-af21-17543c37bcbf | Translation Approved (78%) | If occupancy is desired before the flush-out is completed, the space may be occupied only after delivery of a minimum of 3,500 cubic feet of outdoor air per square foot (1 066 260 liters of outdoor air per square meter) of gross floor area while maintaining an internal temperature of at least 60°F (15°C) and no higher than 80<3867/>F (27°C) and relative humidity no higher than 60%.. | Se a ocupação for desejada antes da lavagem ser concluída, o espaço pode ser ocupado somente após o fornecimento de no mínimo 3.500 pés cúbicos de ar externo por pé quadrado (1.066.260 litros de ar externo por metro quadrado) da área de piso total e a manutenção da temperatura interna a pelo menos 60 °F (15 °C), sem ultrapassar 80<3867/>F (27 °C), e umidade relativa de no máximo 60%. |
| 344743b9e53d-64cc-452c-8b50-9f08e55393b4 | Translation Approved (0%) | Once the space is occupied, it must be ventilated at a minimum rate of 0.30 cubic foot per minute (cfm) per square foot of outdoor air (1.5 liters per second per square meter of outside air) or the design minimum outdoor air rate determined in EQ Prerequisite Minimum Indoor Air Quality Performance, whichever is greater. | Quando o espaço estiver ocupado, ele deve ser ventilado a uma taxa mínima de 0,30 pé cúbico por minuto (cfm) por pé quadrado de ar externo (1,5 litro por segundo por metro quadrado de ar externo) ou à taxa de ar externo mínima do projeto determinada no Pré-requisito EQ: Desempenho Mínimo da Qualidade do Ar Interno (EQ Prerequisite: Minimum Indoor Air Quality Performance), a que for maior. |
| 344843b9e53d-64cc-452c-8b50-9f08e55393b4 | Translation Approved (0%) | During each day of the flush-out period, ventilation must begin at least three hours before occupancy and continue during occupancy. | Durante cada dia do período de lavagem, a ventilação deve começar pelo menos três horas antes da ocupação e continuar durante a ocupação. |
| 344943b9e53d-64cc-452c-8b50-9f08e55393b4 | Translation Approved (0%) | These conditions must be maintained until a total of 14,000 cubic feet per square foot of outdoor air (4 270 liters of outdoor air per square meter) has been delivered to the space. | Essas condições devem ser mantidas até que um total de 14.000 pés cúbicos de ar externo por pé quadrado (4.270 litros de ar externo por metro quadrado) tenha sido fornecido ao espaço. |
| 3450ef734988-c1e5-472a-9826-69f9c3561b3f | Translation Approved (100%) | OR | OU |
| 3451547b3bb9-8024-44f6-9412-3f2f1c9f4487 | Translation Approved (100%) | Option 2. | Opção 2. |
| 3452547b3bb9-8024-44f6-9412-3f2f1c9f4487 | Translation Approved (0%) | Air Testing (2 points) | Testes de ar (2 pontos) |
| 3453a03bb101-0315-4ed8-af2f-ec7b67a0ca01 | Translation Approved (0%) | After construction ends and before occupancy, but under ventilation conditions typical for occupancy, conduct baseline IAQ testing using protocols consistent with the methods listed in Table 1 for all occupied spaces. | Depois que a construção terminar e antes da ocupação, mas sob condições de ventilação típicas para ocupação, conduza testes de QAI baseline utilizando protocolos consistentes com os métodos listados na Tabela 1 para todos os espaços ocupados. |
| 3454a03bb101-0315-4ed8-af2f-ec7b67a0ca01 | Translation Approved (0%) | Use current versions of ASTM standard methods, EPA compendium methods, or ISO methods, as indicated. | Use versões atuais dos métodos das normas ASTM, de métodos de compêndios da EPA ou de métodos ISO, conforme indicado. |
| 3455a03bb101-0315-4ed8-af2f-ec7b67a0ca01 | Translation Approved (75%) | Laboratories that conduct the tests for chemical analysis of formaldehyde and volatile organic compounds must be accredited under ISO/IEC 17025 for the test methods they use. | Laboratórios que realizam testes para análise química de formaldeído e compostos orgânicos voláteis devem ser certificados pela ISO/IEC 17025 quanto aos métodos de teste que utilizam. |
| 3456a03bb101-0315-4ed8-af2f-ec7b67a0ca01 | Translation Approved (0%) | Retail projects may conduct the testing within 14 days of occupancy. | Projetos de varejo podem realizar os testes até 14 dias antes da ocupação. |
| 3457a03f9ea9-8523-42c0-9c2c-2483e06c6fe9 | Translation Approved (0%) | Demonstrate that contaminants do not exceed the concentration levels listed in Table 1. | Demonstre que os contaminantes não excedem os níveis de concentração listados na Tabela 1. |
| 3458c1fa4792-4a14-4e1b-b064-ec82a27c51e0 | Translation Approved (100%) | Table 1. | Tabela 1. |
| 3459c1fa4792-4a14-4e1b-b064-ec82a27c51e0 | Translation Approved (0%) | Maximum concentration levels, by contaminant and testing method | Níveis máximos de concentração, por contaminante e método de teste |
| 346032d6804a-1409-42df-b93e-59562080bdb5 | Translation Approved (100%) | Contaminant | Contaminante |
| 3461c21ab240-5ff8-4804-b270-0f2db65a2a12 | Translation Approved (100%) | Maximum concentration | Concentração máxima |
| 34622d84b715-93b8-400e-a309-412aa237b6e9 | Translation Approved (0%) | Maximum concentration (Healthcare only) | Concentração máxima (apenas Setor de Saúde) |
| 346385bd7045-7ddd-460b-851b-12af6e3eb049 | Translation Approved (0%) | ASTM and U.S. EPA methods | Métodos ASTM e EPA (EUA) |
| 346486c21359-9224-4fc8-81c4-110abeb69b9f | Translation Approved (100%) | ISO method | Método ISO |
| 346535412d84-9d07-42ba-b888-c735bbb49b0e | Translation Approved (100%) | Formaldehyde | Formaldeído |
| 34662457754e-0612-4cd5-882b-a66f657bd7a1 | Translation Approved (0%) | 27 ppb | 27 ppb |
| 34674d32a8e4-9368-4b88-a94d-046e156fcd4a | Translation Approved (100%) | 16.3 ppb | 16,3 ppb |
| 346841b5d8f5-b128-4572-a1c7-464f8422faaa | Translation Approved (0%) | ASTM D5197; EPA TO-11 or EPA Compendium Method IP-6 | ASTM D5197; EPA TO-11 ou Método de Compêndio EPA IP-6 |
| 34694c4db17c-75ba-4d7c-91d3-ea5d13b7d76d | Translation Approved (0%) | ISO 16000-3 | ISO 16000-3 |
| 347059ffc63b-5133-4a3b-b938-4055fe0ad426 | Translation Approved (0%) | Particulates (PM10 for all buildings; PM2.5 for buildings in EPA nonattainment areas, or local equivalent) | Partículas (PM10 para todos os edifícios; PM2.5 para edifícios fora da jurisdição da EPA, ou equivalente local) |
| 347171b83910-fbd3-4bea-bc42-1c91bd194808 | Translation Approved (0%) | PM10: 50 micrograms per cubic meter | PM10: 50 microgramas por metro cúbico |
| 3472eafe5c0b-0b12-4d4f-bc85-98d9051ed40d | Translation Approved (0%) | PM2.5: 15 micrograms per cubic meter | PM2.5: 15 microgramas por metro cúbico |
| 3473cf1a0dff-859c-4c65-bb3f-11796f9c0ba9 | Translation Approved (100%) | 20 micrograms per cubic meter | 20 microgramas por metro cúbico |
| 3474f74a1209-b08d-43b9-b14f-d75d2ffc5f23 | Translation Approved (0%) | EPA Compendium Method IP-10 | Método de Compêndio EPA IP-10 |
| 3475848f54e1-d720-4711-a308-0bf927e4ebd4 | Translation Approved (0%) | ISO 7708 | ISO 7708 |
| 3476a731e195-f666-4f9c-8b08-efb313807686 | Translation Approved (0%) | Ozone (for buildings in EPA nonattainment areas) | Ozônio (para edifícios fora da jurisdição da EPA) |
| 3477f3b8b147-947f-4d01-b5f3-eb03099d6fd4 | Translation Approved (100%) | 0.075 ppm | 0,075 ppm |
| 3478a497f489-6e0c-4d13-a359-a592bfbd8db1 | Translation Approved (100%) | 0.075 ppm | 0,075 ppm |
| 3479ab047621-4680-430a-8a94-e995aeecb72b | Translation Approved (0%) | ASTM D5149 - 02 | ASTM D5149 - 02 |
| 3480482cc139-2258-4939-b353-9522363f4cfe | Translation Approved (100%) | ISO 13964 | ISO 13964 |
| 348131eab0be-efe4-4179-9c20-247e86494050 | Translation Approved (100%) | Total volatile organic compounds (TVOCs) | Total de compostos orgânicos voláteis (TVOCs) |
| 3482a3c9ea2c-4b51-4f97-8e70-66e0755b7019 | Translation Approved (100%) | 500 micrograms per cubic meter | 500 microgramas por metro cúbico |
| 3483b49b04fa-579f-4ed6-a340-6ec3f482957f | Translation Approved (100%) | 200 micrograms per cubic meter | 200 microgramas por metro cúbico |
| 3484ec521884-0d29-46a7-b739-971bc0f27d83 | Translation Approved (0%) | EPA TO-1, TO-15, TO-17, or EPA Compendium Method IP-1 | EPA TO-1, TO-15, TO-17 ou Método do Compêndio EPA IP-1 |
| 3485f7a80427-3d6d-4b63-a626-1386596511df | Translation Approved (100%) | ISO 16000-6 | ISO 16000-6 |
| 348691a9b6c8-cb9f-4c64-9263-7716cfd5a6e5 | Translation Approved (0%) | Target chemicals listed in CDPH Standard Method v1.1, Table 4-1, except formaldehyde | Produtos químicos listados no Método Padrão v1.1 do CDPH, Tabela 4-1, exceto formaldeído |
| 3487e1a69692-2f27-478c-8e5d-f46b12f57578 | Translation Approved (0%) | CDPH Standard Method v1.1–2010, Allowable Concentrations, Table 4-1 | Método Padrão v1.1–2010 do CDPH, Concentrações permitidas, Tabela 4-1 |
| 3488fa14a42e-1202-4742-aab4-2a5b575c6f5a | Translation Approved (100%) | CDPH Standard Method v1.1–2010, Allowable Concentrations, Table 4-1 | Método Padrão v1.1–2010 do CDPH, Concentrações permitidas, Tabela 4-1 |
| 3489a8b63195-3820-4954-83f2-1491272ae44a | Translation Approved (0%) | ASTM D5197; EPA TO-1, TO-15, TO-17 | ASTM D5197; EPA TO-1, TO-15, TO-17 |
| 3490c87d7739-2f19-4167-89f2-8f43e094400f | Translation Approved (0%) | ISO 16000-3, 16000-6 | ISO 16000-3, 16000-6 |
| 349142d90960-28c2-4d8a-b66a-23cc0d920a1e | Translation Approved (100%) | Carbon monoxide (CO) | Monóxido de carbono (CO) |
| 34929eda7aa6-f3da-4149-83de-518f70b84996 | Translation Approved (0%) | 9 ppm; no more than 2 ppm above outdoor levels | 9 ppm; máximo 2 ppm acima dos níveis externos |
| 349377c255c6-45bb-4684-a25e-774d5f648316 | Translation Approved (100%) | 9 ppm; no more than 2 ppm above outdoor levels | 9 ppm; máximo 2 ppm acima dos níveis externos |
| 3494fbe37709-cf3c-410b-96c8-771d4583a505 | Translation Approved (0%) | EPA Compendium Method IP-3 | Método de Compêndio EPA IP-3 |
| 34957a3dcbd4-af2c-454e-bbac-83179bb66c0d | Translation Approved (100%) | ISO 4224 | ISO 4224 |
| 34968ed242d1-45d0-4397-9e78-df4eca8c7500 | Translation Approved (0%) | ppb = parts per billion; ppm = parts per million; μg/cm = micrograms per cubic meter | ppb = partes por bilhão; ppm = partes por milhão; μg/cm = microgramas por metro cúbico |
| 34979f871b39-e240-464c-88ac-522a126ade76 | Translation Approved (0%) | Conduct all measurements before occupancy but during normal occupied hours, with the building ventilation system started at the normal daily start time and operated at the minimum outdoor airflow rate for the occupied mode throughout the test. | Faça todas as medições antes da ocupação, mas durante as horas normais de ocupação, com o sistema de ventilação do edifício ligado no horário diário normal e operado com a vazão mínima de ar externo para o modo de ocupação durante todo o teste. |
| 3498eeb99bdb-e8eb-4189-bb14-d78f359326af | Translation Approved (0%) | For each sampling point where the concentration exceeds the limit, take corrective action and retest for the noncompliant contaminants at the same sampling points. | Para cada ponto de amostragem no qual a concentração exceder o limite, aplique ação corretiva e refaça o teste para os contaminantes fora de conformidade nos mesmos pontos de amostragem. |
| 3499eeb99bdb-e8eb-4189-bb14-d78f359326af | Translation Approved (100%) | Repeat until all requirements are met. | Repita até que todos os requisitos sejam satisfeitos. |
| 3500a591d17e-26df-4776-85e0-f1584e12a43e | Translation Approved (100%) | EQ Credit: Thermal Comfort | Crédito EQ: Conforto Térmico (EQ Credit: Thermal Comfort) |
| 350163bd6157-e67b-42b4-8452-6f1d2d4fb794 | Translation Approved (100%) | BD&C | BD&C |
| 350238abf316-72c5-47c4-8961-20a9a61a936b | Translation Approved (100%) | 1 point | 1 ponto |
| 3503404ace92-c661-4a4a-9dc8-5387b35183a0 | Translation Approved (100%) | This credit applies to | Este crédito se aplica a |
| 350424d5087d-80b6-47a0-bca2-6a2a80665ce7 | Translation Approved (100%) | New Construction (1 point) | Nova Construção (New Construction) (1 ponto) |
| 35053372bf36-6dd4-4fba-80d9-4e6e99f347cd | Translation Approved (100%) | Schools (1 point) | Escolas (Schools) (1 ponto) |
| 3506c614e9b7-c2f2-419c-91f8-2aa9f1bf5963 | Translation Approved (100%) | Retail (1 point) | Varejo (Retail) (1 ponto) |
| 350736515b13-814d-4b35-b78c-fcd1755eec47 | Translation Approved (100%) | Data Centers (1 point) | Centros de Dados (Data Centers) (1 ponto) |
| 35085c4ae9c6-004c-4ec4-a741-393e218bfab8 | Translation Approved (100%) | Warehouses & Distribution Centers (1 point) | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) (1 ponto) |
| 350909d27c95-8c85-4576-8e9f-89fba548c9ec | Translation Approved (100%) | Hospitality (1 point) | Hoteleiro (Hospitality) (1 ponto) |
| 35101083cd3d-18d4-4413-8dff-d68dc2fd6a18 | Translation Approved (100%) | Healthcare (1 point) | Setor de Saúde (Healthcare) (1 ponto) |
| 3511deed8e7a-10ff-44d7-98c3-1a339db46931 | Translation Approved (100%) | Intent | Objetivo |
| 3512e4e233f2-8963-4bd3-a4eb-fd159a4ccd51 | Translation Approved (0%) | To promote occupants’ productivity, comfort, and well-being by providing quality thermal comfort. | Promover a produtividade, o conforto e o bem-estar dos ocupantes proporcionando conforto térmico de qualidade. |
| 35137abc29e1-05a8-459f-a638-8a0fb409d626 | Translation Approved (100%) | Requirements | Requisitos |
| 35146e36181a-b96d-4ff9-bbd4-438ceb04dd7d | Translation Approved (0%) | Meet the requirements for both thermal comfort design and thermal comfort control. | Atenda aos requisitos do projeto de conforto térmico e de controle de conforto térmico. |
| 3515c3c9df4e-2e54-4e20-b200-2389d83a20aa | Translation Approved (79%) | Thermal Comfort Design | Projeto de conforto térmico |
| 351666fe5e55-e635-4d0d-9b88-961ffd38aa55 | Translation Approved (75%) | NC, Schools, Retail, Data Centers, Hospitality, Healthcare | NC, Escolas (Schools), Varejo (Retail), Centros de Dados (Data Centers), Hoteleiro (Hospitality), Setor de Saúde (Healthcare) |
| 3517c98d65e4-fc72-4382-998c-241e66d2fb31 | Translation Approved (100%) | Option 1. | Opção 1. |
| 3518c98d65e4-fc72-4382-998c-241e66d2fb31 | Translation Approved (100%) | ASHRAE Standard 55-2010 | Norma ASHRAE 55-2010 |
| 3519cbbab008-ccfa-47d0-9941-044b4f0a54df | Translation Approved (0%) | Design heating, ventilating, and air-conditioning (HVAC) systems and the building envelope to meet the requirements of ASHRAE Standard 55–2010, Thermal Comfort Conditions for Human Occupancy with errata or a local equivalent. | Projete sistemas de aquecimento, ventilação e ar-condicionado (HVAC) e o envelope do edifício para atender aos requisitos da Norma ASHRAE 55–2010, Condições de conforto térmico para ocupação humana (Thermal Comfort Conditions for Human Occupancy), com errata, ou norma local equivalente. |
| 3520c4083f67-085e-4187-aa1a-f7aa87705ee8 | Translation Approved (72%) | For natatoriums, demonstrate compliance with ASHRAE HVAC Applications Handbook, 2011 edition, Chapter 5, Places of Assembly, Typical Natatorium Design Conditions, with errata. | Para complexos aquáticos, demonstre conformidade com o manual de aplicações de HVAC da ASHRAE (ASHRAE HVAC Applications Handbook), Edição 2011, Capítulo 5, Locais de montagem, Condições típicas de projetos de complexo aquático (Places of Assembly, Typical Natatorium Design Conditions), com errata. |
| 3521a7bb49a2-b9b9-435a-99ea-7988c8e63f64 | Translation Approved (100%) | OR | OU |
| 3522848cd3f4-f5ae-45a8-b0c5-080160c5dd69 | Translation Approved (100%) | Option 2. | Opção 2. |
| 3523848cd3f4-f5ae-45a8-b0c5-080160c5dd69 | Translation Approved (0%) | ISO and CEN Standards | Normas ISO e CEN |
| 3524b943066a-5d8d-4975-a7b9-8ff8da19bf70 | Translation Approved (0%) | Design HVAC systems and the building envelope to meet the requirements of the applicable standard: | Projete sistemas HVAC e o envelope do edifício para atender aos requisitos da norma aplicável: |
| 3525db13aeef-1fb2-4f67-bfa2-483752eb3eca | Translation Approved (0%) | ISO 7730:2005, Ergonomics of the Thermal Environment, analytical determination and interpretation of thermal comfort, using calculation of the PMV and PPD indices and local thermal comfort criteria; and | ISO 7730:2005, Ergonomia do ambiente térmico (Ergonomics of the Thermal Environment), determinação e interpretação analíticas do conforto térmico utilizando o cálculo dos índices PMV e PPD e os critérios locais para conforto térmico; e |
| 35267346a8bc-5a49-47f4-b9e5-c969a5118afd | Translation Approved (0%) | CEN Standard EN 15251:2007, Indoor Environmental Input Parameters for Design and Assessment of Energy Performance of Buildings, addressing indoor air quality, thermal environment, lighting, and acoustics, Section A2. | Norma CEN EN 15251:2007, Parâmetros de entrada do ambiente interno, para projeto e avaliação do desempenho energético de edifícios (Indoor Environmental Input Parameters for Design and Assessment of Energy Performance of Buildings), tratando da qualidade do ar interno, ambiente térmico, iluminação e acústica, Seção A2. |
| 352795e44472-d92b-433b-bbb6-4b90418e8eb0 | Translation Approved (100%) | Data Centers only | Apenas Centros de Dados (Data Centers) |
| 3528e61e7c61-5e83-4e78-b59b-d49e308aabdf | Translation Approved (0%) | Meet the above requirements for regularly occupied spaces. | Atenda aos requisitos acima para espaços regularmente ocupados. |
| 35299015eeec-e615-48a8-8cc3-1dab2c64b639 | Translation Approved (100%) | Warehouses & Distribution Centers | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) |
| 35304124bd40-66f4-4fa7-8f6e-3e5f10a50ab4 | Translation Approved (0%) | Meet the above requirements for office portions of the building. | Atenda aos requisitos acima para as partes de escritórios do edifício. |
| 35317ddb95c5-daf3-4ee2-92e7-78d6341b476a | Translation Approved (0%) | In regularly occupied areas of the building’s bulk storage, sorting, and distribution areas, include one or more of the following design alternatives: | Em áreas ocupadas regularmente das áreas de armazenamento, separação e distribuição de volumes do edifício, inclua uma ou mais das seguintes alternativas de projeto: |
| 35323bd9bba0-4824-4e9e-8dc1-d4add374f509 | Translation Approved (0%) | radiant flooring; | pisos radiantes; |
| 35334a3bea8c-51e2-4212-97c3-50a90809ba79 | Translation Approved (0%) | circulating fans; | ventiladores circulantes; |
| 3534e4698429-0c24-46e0-acd2-f6ec18a3b2ce | Translation Approved (0%) | passive systems, such as nighttime air, heat venting, or wind flow; | sistemas passivos, como ar noturno, ventilação de aquecimento ou fluxo de vento; |
| 3535bae03fbc-8cc4-4f0d-8a3c-0eaccf2cd6b5 | Translation Approved (0%) | localized active cooling (refrigerant or evaporative-based systems) or heating systems; and | resfriamento ativo localizado (sistemas com base em refrigerante ou evaporativos) ou sistemas de aquecimento; e |
| 35363ae3d190-f21b-4039-9dc6-9f9443328cc8 | Translation Approved (0%) | localized, hard-wired fans that provide air movement for occupants’ comfort. | ventiladores cabeados, localizados, que movimentam o ar para conforto dos ocupantes. |
| 3537cfb0ee59-ad7a-472b-8162-4182a54ae34a | Translation Approved (0%) | other equivalent thermal comfort strategy. | outra estratégia de conforto térmico equivalente. |
| 3538000e577c-7df0-4875-8ce4-5c3a6158375c | Translation Approved (77%) | Thermal Comfort Control | Controle de conforto térmico |
| 3539a26434b1-275b-464d-afe8-0e4279cf14b3 | Translation Approved (93%) | NC, Schools, Retail, Data Centers, Warehouses & Distribution Centers, Hospitality | NC, Escolas (Schools), Varejo (Retail), Centros de Dados (Data Centers), Armazéns e Centros de Distribuição (Warehouses & Distribution Centers), Hoteleiro (Hospitality) |
| 354040083a9a-cb43-4767-b854-c6297a2c0c87 | Translation Approved (0%) | Provide individual thermal comfort controls for at least 50% of individual occupant spaces. | Forneça controles individuais de conforto térmico para pelo menos 50% dos espaços individuais de ocupantes. |
| 354140083a9a-cb43-4767-b854-c6297a2c0c87 | Translation Approved (0%) | Provide group thermal comfort controls for all shared multioccupant spaces. | Forneça controles de conforto térmico combinados para todos os espaços multiocupante compartilhados. |
| 3542bd0bc571-7c1c-44db-bbf3-4c21a9ffbfc5 | Translation Approved (0%) | Thermal comfort controls allow occupants, whether in individual spaces or shared multioccupant spaces, to adjust at least one of the following in their local environment: air temperature, radiant temperature, air speed, and humidity. | Os controles de conforto térmico permitem que os ocupantes, seja em espaços individuais ou espaços multiocupante compartilhados, ajustem pelo menos um dos itens a seguir em seu ambiente local: temperatura do ar, temperatura radiante, velocidade do ar e umidade. |
| 354384cf6ca3-37f7-4bf6-89aa-c56cfbd7dd8e | Translation Approved (0%) | Hospitality only | Apenas Hoteleiro (Hospitality) |
| 3544887751f2-6ace-426c-96e7-7b2906c297b4 | Translation Approved (0%) | Guest rooms are assumed to provide adequate thermal comfort controls and are therefore not included in the credit calculations. | Supõem-se que quartos dos hóspedes tenham controles de conforto térmico adequados, portanto, não são incluídos nos cálculos do crédito. |
| 35453d881e0e-4ba7-4d45-ae34-1f7e3b24e570 | Translation Approved (100%) | Retail only | Apenas Varejo (Retail) |
| 35466b474039-a879-48d5-a90c-f432a5a762c9 | Translation Approved (0%) | Meet the above requirements for at least 50% of the individual occupant spaces in office and administrative areas. | Atenda aos requisitos acima para pelo menos 50% dos espaços individuais de ocupantes em áreas administrativas e de escritórios. |
| 3547744e4f70-5d45-48d9-9fac-2b343eb2b1af | Translation Approved (100%) | Healthcare | Setor de Saúde (Healthcare) |
| 35485a4c88da-f376-4039-ac46-e17169550c86 | Translation Approved (73%) | Provide individual thermal comfort controls for every patient room and at least 50% of the remaining individual occupant spaces. | Forneça controles individuais de conforto térmico para pelo menos 50% do restante de espaços individuais de ocupantes. |
| 35495a4c88da-f376-4039-ac46-e17169550c86 | Translation Approved (100%) | Provide group thermal comfort controls for all shared multioccupant spaces. | Forneça controles de conforto térmico combinados para todos os espaços multiocupante compartilhados. |
| 35504f63eb76-dba7-4976-9521-e077df6cc3a5 | Translation Approved (100%) | Thermal comfort controls allow occupants, whether in individual spaces or shared multioccupant spaces, to adjust at least one of the following in their local environment: air temperature, radiant temperature, air speed, and humidity. | Os controles de conforto térmico permitem que os ocupantes, seja em espaços individuais ou espaços multiocupante compartilhados, ajustem pelo menos um dos itens a seguir em seu ambiente local: temperatura do ar, temperatura radiante, velocidade do ar e umidade. |
| 355139305b2c-ebb1-48fd-849b-85c77c8e3924 | Translation Approved (100%) | EQ Credit: Interior Lighting | Crédito EQ: Iluminação Interna (EQ Credit: Interior Lighting) |
| 3552e837d06d-9f76-4295-ac92-382f32946357 | Translation Approved (100%) | BD&C | BD&C |
| 3553679d3252-dc5f-40a8-82ae-4ced58690e88 | Translation Approved (100%) | 1–2 points | 1 a 2 pontos |
| 3554fa3ce043-7160-41e8-b0ea-3a87a9704e5e | Translation Approved (100%) | This credit applies to | Este crédito se aplica a |
| 3555dcd18de9-0101-4be3-8169-dd5da354b7da | Translation Approved (100%) | New Construction (1–2 points) | Nova Construção (New Construction) (1 a 2 pontos) |
| 3556c01ba473-50de-4b89-912b-38c13f2cf2d8 | Translation Approved (100%) | Schools (1–2 points) | Escolas (Schools) (1 a 2 pontos) |
| 3557c32535bc-95cd-4d47-966c-ada0566a3598 | Translation Approved (90%) | Retail (2 points) | Varejo (Retail) (2 pontos) |
| 3558a1291ce0-ace7-4d1f-8496-68059ffb963d | Translation Approved (100%) | Data Centers (1–2 points) | Centros de Dados (Data Centers) (1 a 2 pontos) |
| 3559981da2c3-f45b-42b3-a663-9e1b53f730fb | Translation Approved (100%) | Warehouses & Distribution Centers (1–2 points) | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) (1 a 2 pontos) |
| 3560669e0266-b15f-4bdd-91e3-8bd62171d9b5 | Translation Approved (100%) | Hospitality (1–2 points) | Hoteleiro (Hospitality) (1 a 2 pontos) |
| 35616c529e50-b11d-4b7a-aced-156553d977f2 | Translation Approved (100%) | Healthcare (1 point) | Setor de Saúde (Healthcare) (1 ponto) |
| 356231896516-4f2c-439f-a949-17f2778d5f38 | Translation Approved (100%) | Intent | Objetivo |
| 356347ae8fe6-0fe8-4318-bb70-cae6682de1cd | Translation Approved (80%) | To promote occupants’ productivity, comfort, and well-being by providing high-quality lighting. | Promover a produtividade, o conforto e o bem-estar dos ocupantes fornecendo iluminação de alta qualidade. |
| 35640d9118ed-50c6-4d2d-8112-0ee7853eacb2 | Translation Approved (100%) | Requirements | Requisitos |
| 356545334cba-327f-46c6-aa38-163bdbe1791d | Translation Approved (92%) | NC, Schools, Data Centers, Warehouses & Distribution Centers, Hospitality | NC, Centros de Dados (Data Centers), Armazéns e Centros de Distribuição (Warehouses & Distribution Centers), Hoteleiro (Hospitality) |
| 3566209397f0-1520-4add-85cc-f6d9901189d5 | Translation Approved (0%) | Select one or both of the following two options. | Selecione uma ou ambas as opções a seguir. |
| 35679c0caa77-2080-48b7-b214-094cfcb9a5a9 | Translation Approved (100%) | Option 1. | Opção 1. |
| 35689c0caa77-2080-48b7-b214-094cfcb9a5a9 | Translation Approved (0%) | Lighting Control (1 point) | Controle de iluminação (1 ponto) |
| 3569ff0c1950-4cd3-4f4e-bd89-221eafd32ea3 | Translation Approved (0%) | For at least 90% of individual occupant spaces,<4038> </4038>provide individual lighting controls that enable occupants to adjust the lighting to suit their individual tasks and preferences, with at least three lighting levels or scenes (on, off, midlevel). | Para pelo menos 90% dos espaços individuais para ocupantes,<4038> </4038>forneça controles de iluminação individuais para permitir que os ocupantes ajustem a iluminação de acordo com suas tarefas e preferências individuais, com pelo menos três níveis ou cenários de iluminação (ligada, desligada, média). |
| 3570ff0c1950-4cd3-4f4e-bd89-221eafd32ea3 | Translation Approved (0%) | Midlevel is 30% to 70% of the maximum illumination level (not including daylight contributions). | A configuração média tem de 30% a 70% do nível máximo de iluminação (sem incluir contribuições da iluminação natural). |
| 35719fbccf77-357c-4595-aed3-74f1f888f1c3 | Translation Approved (0%) | For all shared multioccupant spaces, meet all of the following requirements. | Para todos os espaços multiocupante compartilhados, atenda a todos os requisitos a seguir. |
| 35728ba1fd54-cf12-4600-bf46-14243375bb9c | Translation Approved (0%) | Have in place multizone control systems that enable occupants to adjust the lighting to meet group needs and preferences, with at least three lighting levels or scenes (on, off, midlevel). | Ter sistemas de controle de múltiplas zonas instalados para permitir que os ocupantes ajustem a iluminação para atender às necessidades e preferências do grupo, com pelo menos três níveis ou cenários de iluminação (ligada, desligada, média). |
| 35734b194a01-fed4-43e8-8a5c-d8948bd2f031 | Translation Approved (0%) | Lighting for any presentation or projection wall must be separately controlled. | A iluminação de qualquer apresentação ou tela de projeção deve ser controlada separadamente. |
| 3574f16a2cb7-8ab9-487d-ac33-cf661068a6fa | Translation Approved (0%) | Switches or manual controls must be located in the same space as the controlled luminaires. | Deve haver interruptores ou controles manuais no mesmo espaço das luminárias controladas. |
| 3575f16a2cb7-8ab9-487d-ac33-cf661068a6fa | Translation Approved (0%) | A person operating the controls must have a direct line of sight to the controlled luminaires. | A pessoa que estiver operando os controles deve ter uma linha de visada direta para as luminárias controladas. |
| 3576a99b1f3e-0448-40af-9bfe-accb88e1e1f0 | Translation Approved (100%) | Hospitality only | Apenas Hoteleiro (Hospitality) |
| 3577e68a38f3-619e-41fc-a31e-f99fbca806ab | Translation Approved (93%) | Guest rooms are assumed to provide adequate lighting controls and are therefore not included in the credit calculations. | Supõem-se que os quartos dos hóspedes tenham controles de iluminação adequados, portanto, eles não são incluídos nos cálculos do crédito. |
| 35789dd2d0f2-a12f-46f0-96c3-a49ec2d5794c | Translation Approved (100%) | AND/OR | E/OU |
| 3579e882ea98-443b-48a1-8d24-dc2258b134e3 | Translation Approved (100%) | Option 2. | Opção 2. |
| 3580e882ea98-443b-48a1-8d24-dc2258b134e3 | Translation Approved (0%) | Lighting Quality (1 point) | Qualidade da iluminação (1 ponto) |
| 35817085c6d4-5598-44d6-b174-aa34058fd17c | Translation Approved (77%) | Choose four of the following strategies. | Escolha quatro das seguintes estratégias: |
| 3582b695b9d5-613f-4c2c-80aa-9012015caac4 | Translation Approved (0%) | For all regularly occupied spaces, use light fixtures with a luminance of less than 2,500 cd/m<4045>2</4045> between 45 and 90 degrees from nadir. | Para todos os espaços regularmente ocupados, use luminárias com luminância inferior a 2.500 cd/m<4045>2</4045> entre 45 e 90 graus do nadir. |
| 358316e6543d-d534-4e1c-b7fd-4a7abafb7562 | Translation Approved (0%) | Exceptions include wallwash fixtures properly aimed at walls, as specified by manufacturer’s data, indirect uplighting fixtures, provided there is no view down into these uplights from a regularly occupied space above, and any other specific applications (i.e. adjustable fixtures). | Exceções incluem luminárias tipo "wallwash" direcionadas corretamente para as paredes, conforme especificado pelos dados do fabricante, luminárias de luz indireta para cima, desde que não haja vista para a luz de tais luminárias a partir de um espaço regularmente ocupado acima, e qualquer outra aplicação específica (isto é, luminárias ajustáveis). |
| 3584e0fca556-f62e-441d-831f-0d5590e93cb9 | Translation Approved (0%) | For the entire project, use light sources with a CRI of 80 or higher. | Para todo o projeto, use fontes de luz com CRI de 80 ou superior. |
| 3585e0fca556-f62e-441d-831f-0d5590e93cb9 | Translation Approved (0%) | Exceptions include lamps or fixtures specifically designed to provide colored lighting for effect, site lighting, or other special use. | Exceções incluem lâmpadas ou luminárias projetadas especificamente para fornecer iluminação colorida para efeito, iluminação do terreno ou outro uso especial. |
| 35861fdbbb43-634a-4707-bbd7-f1ac1c199f50 | Translation Approved (0%) | For at least 75% of the total connected lighting load, use light sources that have a rated life (or L70 for LED sources) of at least 24,000 hours (at 3-hour per start, if applicable). | Para pelo menos 75% da carga total de iluminação conectada, use fontes de luz que tenham uma vida nominal (ou L70 para fontes de LED) de pelo menos 24.000 horas (a 3 horas por início, se aplicável). |
| 3587b785dea9-aee2-4cd8-b408-02429b0ba59e | Translation Approved (0%) | Use direct-only overhead lighting for 25% or less of the total connected lighting load for all regularly occupied spaces. | Use iluminação suspensa apenas para 25% ou menos da carga total de iluminação conectada para todos os espaços ocupados regularmente. |
| 358825644ac2-2efe-4ecd-9446-ff2223154b70 | Translation Approved (0%) | For at least 90% of the regularly occupied floor area, meet or exceed the following thresholds for area-weighted average surface reflectance: 85% for ceilings, 60% for walls, and 25% for floors. | Para pelo menos 90% da área de piso ocupada regularmente, satisfaça ou exceda os limiares a seguir de refletância de superfície média ponderada por área: 85% para tetos, 60% para paredes e 25% para pisos. |
| 3589b5f28e5f-4c3d-4aa2-bc15-ca6effe6f749 | Translation Approved (0%) | If furniture is included in the scope of work, select furniture finishes to meet or exceed the following thresholds for area-weighted average surface reflectance: 45% for work surfaces, and 50% for movable partitions. | Se móveis estiverem incluídos no escopo do trabalho, selecione acabamentos de móveis que atendam ou excedam os limiares a seguir para refletância de superfície média ponderada por área: 45% para superfícies de trabalho e 50% para divisórias móveis. |
| 3590a3798bc9-d3dd-4d4a-b3eb-a92123582d56 | Translation Approved (0%) | For at least 75% of the regularly occupied floor area, meet a ratio of average wall surface illuminance (excluding fenestration) to average work plane (or surface, if defined) illuminance that does not exceed 1:10. | Para pelo menos 75% da área de piso ocupada regularmente, atenda a um coeficiente de luminância média de superfície de parede (exceto fenestração) para luminância média do plano de trabalho (ou superfície, se definido) que não exceda 1:10. |
| 3591a3798bc9-d3dd-4d4a-b3eb-a92123582d56 | Translation Approved (0%) | Must also meet strategy E, strategy F, or demonstrate area-weighted surface reflectance of at least 60% for walls. | Também é necessário cumprir a estratégia E, a estratégia F ou demonstrar uma refletância de superfície ponderada por área de pelo menos 60% para paredes. |
| 3592d67afa90-3754-4065-b242-58a3c21cc2fe | Translation Approved (84%) | For at least 75% of the regularly occupied floor area, meet a ratio of average ceiling illuminance (excluding fenestration) to work surface illuminance that does not exceed 1:10. | Para pelo menos 75% da área de piso ocupada regularmente, atenda a um coeficiente de luminância média do teto (exceto fenestração) para luminância do plano de trabalho que não exceda 1:10. |
| 3593d67afa90-3754-4065-b242-58a3c21cc2fe | Translation Approved (89%) | Must also meet option E, option F, or demonstrate area-weighted surface reflectance of at least 85% for ceilings. | Também é necessário cumprir a opção E, a opção F ou demonstrar uma refletância de superfície ponderada por área de pelo menos 85% para tetos. |
| 359401fce396-5e5b-46fd-aeed-5e0c1adb7d08 | Translation Approved (100%) | Retail NC | Varejo NC |
| 359529494b72-a792-4ed3-86e8-f510f2b7a486 | Translation Approved (0%) | For at least 90% of the individual occupant spaces in office and administrative areas, provide individual lighting controls. | Para pelo menos 90% dos espaços individuais de ocupantes em áreas administrativas e de escritórios, forneça controles de iluminação individuais. |
| 3596a3b50044-eea0-4b05-990f-0eb74380ecdc | Translation Approved (0%) | In sales areas, provide controls that can reduce the ambient light levels to a midlevel (30% to 70% of the maximum illumination level not including daylight contributions). | Em áreas de vendas, forneça controles que possam reduzir os níveis de iluminação ambiente para um nível médio (30% a 70% do nível máximo de iluminação, sem incluir contribuições da iluminação natural). |
| 35970d943ae1-ff1b-49e2-b741-f2ae19fdbcab | Translation Approved (100%) | Healthcare | Setor de Saúde (Healthcare) |
| 3598a2df76c6-da85-4673-88db-c231f84905e0 | Translation Approved (73%) | Provide individual lighting controls for at least 90% of individual occupant spaces in staff areas. | Forneça controles individuais de iluminação para pelo menos 90% dos espaços individuais de ocupantes em áreas para funcionários. |
| 3599d6001bad-6379-47fa-aa3f-46190fad0525 | Translation Approved (0%) | For at least 90% of patient positions, provide lighting controls that are readily accessible from the patient’s bed. | Para pelo menos 90% das vagas de pacientes, forneça controles de iluminação que possam ser acessados facilmente do leito do paciente. |
| 3600d6001bad-6379-47fa-aa3f-46190fad0525 | Translation Approved (0%) | In multioccupant patient spaces, the controls must be individual lighting controls. | Em espaços para pacientes multiocupante, os controles devem ser controles de iluminação individuais. |
| 3601d6001bad-6379-47fa-aa3f-46190fad0525 | Translation Approved (0%) | In private rooms, also provide exterior window shades, blinds, or curtain controls that are readily accessible from the patient’s bed. | Em quartos privados, também forneça controles de persianas ou cortinas em janelas externas, que possam ser acessados facilmente do leito do paciente. |
| 3602d6001bad-6379-47fa-aa3f-46190fad0525 | Translation Approved (0%) | Exceptions include in-patient critical care, pediatric, and psychiatric patient rooms. | Exceções incluem quartos de tratamento intensivo de pacientes internados, pediatria e psiquiatria. |
| 36038c62997e-01dd-4c89-8e7c-4a20a642826c | Translation Approved (87%) | For all shared multioccupant spaces, provide multizone control systems that enable occupants to adjust the lighting to meet group needs and preferences, with at least three lighting levels or scenes (on, off, midlevel). | Para todos os espaços multiocupante compartilhados, forneça sistemas de controle de múltiplas zonas para permitir que os ocupantes ajustem a iluminação para atender às necessidades e preferências do grupo, com pelo menos três níveis ou cenários de iluminação (ligada, desligada, média). |
| 36048c62997e-01dd-4c89-8e7c-4a20a642826c | Translation Approved (100%) | Midlevel is 30% to 70% of the maximum illumination level (not including daylight contributions). | A configuração média tem de 30% a 70% do nível máximo de iluminação (sem incluir contribuições da iluminação natural). |
| 36059a7f3e9c-5e9e-4d76-b0cb-446c34315ae7 | Translation Approved (100%) | EQ Credit: Daylight | Crédito EQ: Iluminação Natural (EQ Credit: Daylight) |
| 360652fcb0e1-ab91-4daf-b79a-4e309ebf9367 | Translation Approved (100%) | BD&C | BD&C |
| 36073941ed68-b5ac-4b11-b2a4-a72f5be420e2 | Translation Approved (100%) | 1–3 points | 1 a 3 points |
| 36083d43aafe-5596-48d1-b0a6-94e4f4d48829 | Translation Approved (100%) | This credit applies to | Este crédito se aplica a |
| 360956885e4b-454a-457e-b7f5-9894296b4409 | Translation Approved (100%) | New Construction (1–3 points) | Nova Construção (New Construction) (1 a 3 pontos) |
| 361064538814-64d2-4fc2-b60d-df1705b7b4c6 | Translation Approved (100%) | Core & Shell (1–3 points) | Núcleo e Casca (Core & Shell) (1 a 3 pontos) |
| 3611f541c3ee-5953-48da-bea2-cec13f73b011 | Translation Approved (100%) | Schools (1–3 points) | Escolas (Schools) (1 a 3 pontos) |
| 3612eb0a3d17-eddf-4c37-a43a-83e1dffda1a8 | Translation Approved (100%) | Retail (1–3 points) | Varejo (Retail) (1 a 3 pontos) |
| 3613fe1d36f9-13e9-496b-aa84-bc6883759ce1 | Translation Approved (100%) | Data Centers (1–3 points) | Centros de Dados (Data Centers) (1 a 3 pontos) |
| 36146b42694d-ad80-4f0e-99d3-085d4ac0757b | Translation Approved (100%) | Warehouses & Distribution Centers (1–3 points) | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) (1 a 3 pontos) |
| 3615fb93446f-983b-4ae3-84ba-04a57d8dc413 | Translation Approved (100%) | Hospitality (1–3 points) | Hoteleiro (Hospitality) (1 a 3 pontos) |
| 36167502a0ba-0b56-4118-a49b-b19bdc1d1125 | Translation Approved (100%) | Healthcare (1–2 points) | Setor de Saúde (Healthcare) (1 a 2 pontos) |
| 36173269e6e2-57fe-4e23-bc40-bef1e4d62f7a | Translation Approved (100%) | Intent | Objetivo |
| 361855b5de4c-a72b-4077-aaef-c7479b859539 | Translation Approved (0%) | To connect building occupants with the outdoors, reinforce circadian rhythms, and reduce the use of electrical lighting by introducing daylight into the space. | Conectar os ocupantes do edifício à área externa, reforçar os ritmos circadianos e reduzir o uso de iluminação elétrica introduzindo iluminação natural no espaço. |
| 36191fb9f8f1-19d5-4315-ba08-2ff65d0aac86 | Translation Approved (100%) | Requirements | Requisitos |
| 36204b4e4d46-c469-4f56-972e-933de8b9c410 | Translation Approved (100%) | NC, CS, Schools, Retail, Data Centers, Warehouses & Distribution Centers, Hospitality, Healthcare | NC, CS, Escolas (Schools), Varejo (Retail), Centros de Dados (Data Centers), Armazéns e Centros de Distribuição (Warehouses & Distribution Centers), Hoteleiro (Hospitality), Setor de Saúde (Healthcare) |
| 3621f26c14ee-7317-448a-bb56-39d38ac058c0 | Translation Approved (0%) | Provide manual or automatic (with manual override) glare-control devices for all regularly occupied spaces. | Forneça dispositivos manuais ou automáticos (com cancelamento manual) de controle de ofuscamento para todos os espaços regularmente ocupados. |
| 3622710e3f1a-7e7c-4a63-9362-e996cd666707 | Translation Approved (76%) | Select one of the following three options. | Selecione uma das três opções a seguir. |
| 36233b0b4e69-d8d3-49be-8d60-2e3ada5da386 | Translation Approved (100%) | Option 1. | Opção 1. |
| 36243b0b4e69-d8d3-49be-8d60-2e3ada5da386 | Translation Approved (0%) | Simulation: Spatial Daylight Autonomy and Annual Sunlight Exposure (2–3 points, 1-2 points Healthcare) | Simulação: Autonomia espacial da iluminação natural e exposição anual à luz solar (2 a 3 pontos, 1 a 2 pontos Setor de Saúde) |
| 3625b34c37be-cef4-4159-8991-60164fb3f97c | Translation Approved (0%) | Demonstrate through annual computer simulations that spatial daylight autonomy<4060>300/50%</4060> (sDA<4061>300/50%</4061>) of at least 55%, 75%, or 90% is achieved. | Demonstre, com simulações anuais em computador, que é obtida uma autonomia espacial da iluminação natural <4060>300/50%</4060> (sDA<4061>300/50%</4061>) de pelo menos 55%, 75% ou 90%. |
| 3626b34c37be-cef4-4159-8991-60164fb3f97c | Translation Approved (0%) | Use regularly occupied floor area. | Use a área de piso regularmente ocupada. |
| 3627b34c37be-cef4-4159-8991-60164fb3f97c | Translation Approved (0%) | Healthcare projects should use the perimeter area determined under EQ Credit Quality Views. | Projetos do setor de saúde devem usar a área de perímetro determinada no Crédito EQ: Vistas de Qualidade (EQ Credit: Quality Views). |
| 3628b34c37be-cef4-4159-8991-60164fb3f97c | Translation Approved (100%) | Points are awarded according to Table 1. | Os pontos são concedidos de acordo com a Tabela 1. |
| 362925089149-8794-44bb-b508-1d24724f943f | Translation Approved (100%) | Table 1. | Tabela 1. |
| 363025089149-8794-44bb-b508-1d24724f943f | Translation Approved (0%) | Points for daylit floor area: Spatial daylight autonomy | Pontos para área de piso com iluminação natural: autonomia espacial da iluminação natural |
| 363160a44bea-7877-4115-8624-317b5d23c037 | Translation Approved (70%) | New Construction, Core and Shell, Schools, Retail, Data Centers, Warehouses and Distribution Centers, Hospitality | Nova Construção, Núcleo e Casca, Escolas, Varejo, Centros de Dados, Armazéns e Centros de Distribuição, Hoteleiro |
| 36328c61ed52-e54c-494a-8418-1531e126b815 | Translation Approved (100%) | Healthcare | Setor de Saúde (Healthcare) |
| 3633fe94da8a-e11e-4cce-9271-815de4b83f34 | Translation Approved (0%) | sDA (for regularly occupied floor area) | sDA (por área de piso regularmente ocupada) |
| 36340b818631-39ec-49d8-82d6-b4203429fee3 | Translation Approved (100%) | Points | Pontos |
| 3635ec002630-6b02-49a2-9229-fa14530f3619 | Translation Approved (75%) | sDA (for perimeter floor area) | sDA (por área de piso do perímetro) |
| 36369c059ce6-3e39-47c8-b843-9c1e8eb2ae90 | Translation Approved (100%) | Points | Pontos |
| 3637d2f73c6b-90bb-4f5b-b209-ecfaf27ca24d | Translation Approved (100%) | 55% | 55% |
| 3638ecc42ddb-cad3-48a0-b959-6041e2bf8171 | Translation Approved (100%) | 2 | 2 |
| 36390e23dbed-7be8-4eb0-a469-880f12fda8c3 | Translation Approved (100%) | 75% | 75% |
| 36402a5b384f-9b48-4f1d-9da5-1ff05ddb1aa0 | Translation Approved (100%) | 1 | 1 |
| 3641143761c9-b7e7-475f-896a-f5587d6879ec | Translation Approved (100%) | 75% | 75% |
| 36420a4839a8-1ab7-436d-a1bf-8dd6cee14da9 | Translation Approved (100%) | 3 | 3 |
| 36432a7ca4fc-75f4-493e-a6cb-914b64cf0640 | Translation Approved (100%) | 90% | 90% |
| 364469a0fb7e-79e1-445d-a874-32a83b83897c | Translation Approved (100%) | 2 | 2 |
| 36453b226221-4e1a-4e1e-a0d5-0b996d092a7a | Translation Approved (100%) | AND | E |
| 3646b7958cc1-b52f-4704-b85a-f86808310336 | Translation Approved (0%) | Demonstrate through annual computer simulations that annual sunlight exposure<4119>1000,250</4119> (ASE<4120>1000,250</4120>) of no more than 10% is achieved. | Demonstre, com simulações anuais em computador, que é obtida uma exposição anual à luz solar <4119>1000,250</4119> (ASE<4120>1000,250</4120>) de no máximo 10%. |
| 3647b7958cc1-b52f-4704-b85a-f86808310336 | Translation Approved (0%) | Use the regularly occupied floor area that is daylit per the sDA<4121>300/50%</4121> simulations. | Use a área de piso regularmente ocupada com iluminação natural de acordo com as simulações de sDA<4121>300/50%</4121>. |
| 3648c8c3ce46-bd50-4547-af83-eedd92e21551 | Translation Approved (0%) | The sDA and ASE calculation grids should be no more than 2 feet (600 millimeters) square and laid out across the regularly occupied area at a work plane height of 30 inches (76 millimeters) above finished floor (unless otherwise defined). | As grades de cálculo de sDA e ASE devem ter no máximo 2 pés (600 milímetros) quadrados e ser dispostas na área ocupada regularmente a uma altura de plano de trabalho de 30 polegadas (76 milímetros) acima do piso com acabamento (exceto se houver outra definição). |
| 3649c8c3ce46-bd50-4547-af83-eedd92e21551 | Translation Approved (0%) | Use an hourly time-step analysis based on typical meteorological year data, or an equivalent, for the nearest available weather station. | Use uma análise de hora a hora com base em dados de um ano meteorológico típico, ou equivalente, da estação climática mais próxima disponível. |
| 3650c8c3ce46-bd50-4547-af83-eedd92e21551 | Translation Approved (0%) | Include any permanent interior obstructions. | Inclua todas as obstruções internas permanentes. |
| 3651c8c3ce46-bd50-4547-af83-eedd92e21551 | Translation Approved (0%) | Moveable furniture and partitions may be excluded. | Armários embutidos e divisórias podem ser excluídos. |
| 3652d276bf43-5b1b-4198-9566-253c4df8b2ad | Translation Approved (100%) | CS only | Apenas CS |
| 36530b502fe2-8c92-4baf-82e5-087ce9eb4419 | Translation Approved (0%) | If the finishes in the space will not be completed, use the following default surface reflectances: 80% for ceilings, 20% for floors, and 50% for walls. | Se os acabamentos no espaço não serão concluídos, use as seguintes refletâncias de superfície padrão: 80% para tetos, 20% para pisos e 50% para paredes. |
| 36540b502fe2-8c92-4baf-82e5-087ce9eb4419 | Translation Approved (0%) | Assume that the entire floor plate, except for the core, will be regularly occupied space. | Suponha que toda a planta, exceto o núcleo, será um espaço regularmente ocupado. |
| 3655b58deeb1-2800-4cdc-a317-90d0d62b5619 | Translation Approved (100%) | OR | OU |
| 3656c569553e-42aa-4d0c-abe6-b1898e1d7fa6 | Translation Approved (100%) | Option 2. | Opção 2. |
| 3657c569553e-42aa-4d0c-abe6-b1898e1d7fa6 | Translation Approved (0%) | Simulation: Illuminance Calculations (1–2 points) | Simulação: cálculos de luminância (1 a 2 pontos) |
| 365847e6e850-a7e4-4640-8005-2b03f562db97 | Translation Approved (0%) | Demonstrate through computer modeling that illuminance levels will be between 300 lux and 3,000 lux for 9 a.m. and 3 p.m., both on a clear-sky day at the equinox, for the floor area indicated in Table 2. | Demonstre, com modelagem em computador, que os níveis de luminância estarão entre 300 lux e 3.000 lux para 9h00 e 15h00, ambos em um dia de céu claro no equinócio, para a área de piso indicada na Tabela 2. |
| 365947e6e850-a7e4-4640-8005-2b03f562db97 | Translation Approved (100%) | Use regularly occupied floor area. | Use a área de piso regularmente ocupada. |
| 366047e6e850-a7e4-4640-8005-2b03f562db97 | Translation Approved (100%) | Healthcare projects should use the perimeter area determined under EQ Credit Quality Views. | Projetos do setor de saúde devem usar a área de perímetro determinada no Crédito EQ: Vistas de Qualidade (EQ Credit: Quality Views). |
| 3661f9a389fe-b86b-4a06-ae74-466bb57009c0 | Translation Approved (100%) | Table 2. | Tabela 2. |
| 3662f9a389fe-b86b-4a06-ae74-466bb57009c0 | Translation Approved (70%) | Points for daylit floor area: Illuminance calculation | Pontos para área de piso com iluminação natural: cálculo de luminância |
| 366394136bff-a653-488d-92f3-d5a9746fadba | Translation Approved (100%) | New Construction, Core and Shell, Schools, Retail, Data Centers, Warehouses and Distribution Centers, Hospitality | Nova Construção, Núcleo e Casca, Escolas, Varejo, Centros de Dados, Armazéns e Centros de Distribuição, Hoteleiro |
| 36644974dd61-d6c5-421f-b849-3848183fd761 | Translation Approved (100%) | Healthcare | Setor de Saúde (Healthcare) |
| 36654fbf4bdc-c2b3-4537-a104-b1f95098e5a2 | Translation Approved (76%) | Percentage of regularly occupied floor area | Porcentagem da área de piso regularmente ocupada |
| 366640c287b8-1c2c-460e-a525-e13ab2c14049 | Translation Approved (100%) | Points | Pontos |
| 3667fe1bd2cc-fec4-408b-a84c-f5a340909995 | Translation Approved (0%) | Percentage of perimeter floor area | Porcentagem da área de piso do perímetro |
| 3668616f56d7-83f0-4cc6-b28c-84761960b1e6 | Translation Approved (100%) | Points | Pontos |
| 3669918c213d-6d54-4a9f-b772-a365c3de73a3 | Translation Approved (100%) | 75% | 75% |
| 3670f9a6b51a-acd8-475b-b4f8-2ca50b6b332a | Translation Approved (100%) | 1 | 1 |
| 367197484647-9355-4f63-8e29-2bdedb215195 | Translation Approved (100%) | 75% | 75% |
| 36728e38cee9-cb57-4315-a6ff-f309601883f4 | Translation Approved (100%) | 1 | 1 |
| 3673f17633cb-b57f-4dd7-848d-0005426f6325 | Translation Approved (100%) | 90% | 90% |
| 3674896ae0af-805e-4933-b273-262bdac27ce0 | Translation Approved (100%) | 2 | 2 |
| 36756037bb1f-90b6-48b1-b978-712d0530b268 | Translation Approved (100%) | 90% | 90% |
| 367659be2e14-64ff-448d-9535-3e54cdecdff3 | Translation Approved (100%) | 2 | 2 |
| 36775e7edeba-c47d-4d26-a00b-b485d315edf3 | Translation Approved (0%) | Calculate illuminance intensity for sun (direct component) and sky (diffuse component) for clear-sky conditions as follows: | Calcule a intensidade de luminância do sol (componente direto) e céu (componente difuso) para condições de céu aberto da seguinte forma: |
| 36781c8ab721-d62a-4c49-b39d-93caa0631d3d | Translation Approved (75%) | Use typical meteorological year data, or an equivalent, for the nearest available weather station. | Use dados de um ano meteorológico típico, ou equivalente, da estação climática mais próxima disponível. |
| 3679ce7d3101-2478-4ec9-93cd-61e05aba0251 | Translation Approved (0%) | Select one day within 15 days of September 21 and one day within 15 days of March 21 that represent the clearest sky condition. | Selecione um dia entre os 15 dias anteriores ou posteriores a 21 de setembro e um dia entre os 15 dias anteriores e posteriores a 21 de março que representem a máxima condição de céu aberto. |
| 36805cda52bc-efaf-4d46-a3db-02558b091e1d | Translation Approved (0%) | Use the average of the hourly value for the two selected days. | Use a média do valor horário dos dois dias selecionados. |
| 3681a714c03b-98ca-4dd6-954f-9c8dbe86979c | Translation Approved (0%) | Exclude blinds or shades from the model. | Exclua persianas e cortinas do modelo. |
| 3682a714c03b-98ca-4dd6-954f-9c8dbe86979c | Translation Approved (100%) | Include any permanent interior obstructions. | Inclua todas as obstruções internas permanentes. |
| 3683a714c03b-98ca-4dd6-954f-9c8dbe86979c | Translation Approved (100%) | Moveable furniture and partitions may be excluded. | Armários embutidos e divisórias podem ser excluídos. |
| 3684c6660deb-02a7-47e5-b32a-7a8162538e50 | Translation Approved (100%) | CS only | Apenas CS |
| 3685ffa913d6-b404-49f4-86f1-1ac65e0918bf | Translation Approved (0%) | Assume the following default surface reflectances if the finishes in the space will not be completed: 80% for ceilings, 20% for floors, and 50% for walls. | Suponha as seguintes refletâncias padrão de superfície se os acabamentos no espaço não estiverem concluídos: 80% para tetos, 20% para pisos e 50% para paredes. |
| 3686ffa913d6-b404-49f4-86f1-1ac65e0918bf | Translation Approved (100%) | Assume that the entire floor plate, except for the core, will be regularly occupied space. | Suponha que toda a planta, exceto o núcleo, será um espaço regularmente ocupado. |
| 36875a0e958f-e5b1-4c4d-9a05-4b8be8c12433 | Translation Approved (100%) | OR | OU |
| 3688453fd70f-68db-430d-98c8-5fe24f9981fe | Translation Approved (100%) | Option 3. | Opção 3. |
| 3689453fd70f-68db-430d-98c8-5fe24f9981fe | Translation Approved (0%) | Measurement (2-3 points, 1-2 points Healthcare) | Medição (2 a 3 points, 1 a 2 pontos Setor de Saúde) |
| 3690c9bf3d70-fbc5-4a0d-ac67-6148527bef08 | Translation Approved (0%) | Achieve illuminance levels between 300 lux and 3,000 lux for the floor area indicated in Table 3. | Obtenha níveis de luminância entre 300 lux e 3.000 lux para a área de piso indicada na Tabela 3. |
| 3691ca97d0db-ee86-4398-8fb9-1b0b16ddd9be | Translation Approved (100%) | Table 3. | Tabela 3. |
| 3692ca97d0db-ee86-4398-8fb9-1b0b16ddd9be | Translation Approved (76%) | Points for daylit floor area: Measurement | Pontos para área de piso com iluminação natural: medição |
| 36932e791a07-49c8-444e-998f-4612784908d7 | Translation Approved (96%) | New Construction, Core and Schools, Schools, Retail, Data Centers, Warehouses and Distribution Centers, Hospitality | Nova Construção, Núcleo e Casca, Escolas, Varejo, Centros de Dados, Armazéns e Centros de Distribuição, Hoteleiro |
| 36944e68554c-0fbf-4233-93db-1bca76826e3c | Translation Approved (100%) | Healthcare | Setor de Saúde |
| 3695299f5fd3-481f-425c-95af-85ce04396f1e | Translation Approved (100%) | Percentage of regularly occupied floor area | Porcentagem da área de piso regularmente ocupada |
| 3696879f0082-0f36-4c75-b73e-eca68706cfd6 | Translation Approved (100%) | Points | Pontos |
| 36976c6d2b37-3a9d-4d69-ac48-56543bbf3e2d | Translation Approved (100%) | Percentage of perimeter floor area | Porcentagem da área de piso do perímetro |
| 3698ee962f32-b0f6-4749-b12a-b33555d567cc | Translation Approved (100%) | 75 | 75 |
| 3699931097ca-cdeb-4d87-8d73-01234645ba05 | Translation Approved (100%) | 2 | 2 |
| 370093416aaa-b0e3-4d2d-bb28-5ffbaa904d51 | Translation Approved (100%) | 75 | 75 |
| 3701f396c609-5516-46cb-8091-d36bd4b44009 | Translation Approved (100%) | 1 | 1 |
| 3702034b5c8f-f529-43eb-8c76-e749fb696f9e | Translation Approved (100%) | 90 | 90 |
| 37031bed4fd3-d781-44fe-b79d-83b8bd7f39e5 | Translation Approved (100%) | 3 | 3 |
| 370497bbee41-a25c-4848-a86a-94b125aa6f1b | Translation Approved (100%) | 90 | 90 |
| 3705653ee38e-0e64-4d4e-8d6a-1f1169e339a7 | Translation Approved (100%) | 2 | 2 |
| 3706fe86e762-bf7b-4ab8-a175-85d2321b3356 | Translation Approved (0%) | With furniture, fixtures, and equipment in place, measure illuminance levels as follows: | Com mobiliário, acessórios e equipamentos instalados, meça os níveis de luminância da seguinte forma: |
| 3707c97cdab2-8214-422b-9ed3-71d81466c6d5 | Translation Approved (0%) | Measure at appropriate work plane height during any hour between 9 a.m. and 3 p.m. | Meça na altura apropriada do plano de trabalho durante qualquer hora entre 9h00 e 15h00. |
| 3708ace12e2d-a689-442f-93e4-3b1df80b456e | Translation Approved (0%) | Take one measurement in any regularly occupied month, and take a second as indicated in Table 4. | Faça uma medição em qualquer mês regularmente ocupado e uma segunda conforme indicado na Tabela 4. |
| 3709724cec1d-fb1e-47c9-9147-39a7805aa14e | Translation Approved (0%) | For spaces larger than 150 square feet (14 square meters), take measurements on a maximum 10 foot (3 meter) square grid. | Para espaços maiores que 150 pés quadrados (14 metros quadrados), faça medições em uma grade quadrada de no máximo 10 pés (3 metros). |
| 3710fd38a448-63a9-4ee8-9574-151a2d79c65e | Translation Approved (100%) | For spaces 150 square feet (14 square meters) or smaller, take measurements on a maximum 3 foot (900 millimeters) square grid. | Para espaços de 150 pés quadrados (14 metros quadrados) ou menos, faça medições em uma grade quadrada de no máximo 3 pés (900 milímetros). |
| 371188e70a19-69c8-4d64-8a19-4d169996acf9 | Translation Approved (100%) | Table 4. | Tabela 4. |
| 371288e70a19-69c8-4d64-8a19-4d169996acf9 | Translation Approved (0%) | Timing of measurements for illuminance | Momento das medições de luminância |
| 3713b7ab6975-04e5-4974-aac4-cdde640c0632 | Translation Approved (0%) | If first measurement is taken in … | Se a primeira medição for feita em... |
| 371417c5f9c1-6578-4834-98f2-80cf107fe20d | Translation Approved (0%) | take second measurement in … | faça a segunda medição em... |
| 3715c29c1c5c-258c-44bc-8c9f-6e49c3d6843e | Translation Approved (0%) | January | Janeiro |
| 3716989c35b8-2b6e-4cd6-a35d-c098550d7dc3 | Translation Approved (0%) | May-September | Maio a setembro |
| 371797f20e9f-94af-4706-a085-cd30caf7a736 | Translation Approved (0%) | February | Fevereiro |
| 37182de7be28-ab35-410d-b5ab-c0ca52ff84e3 | Translation Approved (0%) | June-October | Junho a outubro |
| 3719528701be-08a8-4805-9f34-19be1a266742 | Translation Approved (0%) | March | Março |
| 372089eb8007-bb87-455e-84a4-e9d436c810b4 | Translation Approved (0%) | June-July, November-December | Junho/julho, novembro/dezembro |
| 3721ff25173a-8d4e-47d3-b237-e41c123c0b63 | Translation Approved (0%) | April | Abril |
| 3722c2d49a47-b61a-4c86-be18-c920fd387263 | Translation Approved (0%) | August-December | Agosto a dezembro |
| 3723e1b910a4-ea1c-4d01-97d1-9b9a4aa7f9f5 | Translation Approved (0%) | May | Maio |
| 3724e9f618f6-7e52-4bc1-a4f5-5d303c62e407 | Translation Approved (0%) | September-January | Setembro a janeiro |
| 372517cd298a-8b4f-41d7-8505-d6d6dfd152a5 | Translation Approved (0%) | June | Junho |
| 37261b2e7d18-be77-4cd3-8d8d-8679f9fc8e85 | Translation Approved (0%) | October-February | Outubro a fevereiro |
| 3727a2562f8e-9d5a-4123-8f1e-fe6750751bca | Translation Approved (0%) | July | Julho |
| 37288b0623b3-06ac-4dae-a179-c0cb32e2cd15 | Translation Approved (0%) | November-March | Novembro a março |
| 3729ae4cd420-fab8-4c2c-9a1f-f2e618959a42 | Translation Approved (0%) | August | Agosto |
| 37302416463e-8186-4938-bb28-96c4a794f7e5 | Translation Approved (0%) | December-April | Dezembro a abril |
| 373167504695-78a0-4c7e-a5b4-16184d38127c | Translation Approved (0%) | September | Setembro |
| 37327575a773-6f52-49a3-9429-293fd9b3e45c | Translation Approved (0%) | December-January, May-June | Dezembro/janeiro, maio/junho |
| 3733027341aa-b984-4675-a375-d4e0652ea126 | Translation Approved (0%) | October | Outubro |
| 3734fe5352c2-3d80-4307-8c2a-27bd8fa252c3 | Translation Approved (0%) | February-June | Fevereiro a junho |
| 37352ac002ba-8f51-4a91-bc8e-8d1fb99d0c41 | Translation Approved (0%) | November | Novembro |
| 3736e4ea43cf-ab68-408d-8f14-5d37c7c6a798 | Translation Approved (0%) | March-July | Março a julho |
| 3737d8fa417a-7453-4f5f-beef-fdb7f3a392d6 | Translation Approved (0%) | December | Dezembro |
| 37384c4929b0-c84c-48fa-9434-f3b9a2cc9f8d | Translation Approved (0%) | April-August | Abril a agosto |
| 37398edc47de-403e-457c-9179-37d585b24525 | Translation Approved (100%) | EQ Credit: Quality Views | Crédito EQ: Vistas de Qualidade (EQ Credit: Quality Views) |
| 374060ea3c25-5620-4448-b7b5-dc47c978f155 | Translation Approved (100%) | BD&C | BD&C |
| 374126a88563-4089-4e39-89e2-159d9f513304 | Translation Approved (100%) | 1–2 points | 1 a 2 pontos |
| 3742c17b6655-af9f-45cc-9ece-1664e91fcbd7 | Translation Approved (100%) | This credit applies to | Este crédito se aplica a |
| 374335eb0396-1c92-47a1-831e-1a1a71b73ab1 | Translation Approved (100%) | New Construction (1 point) | Nova Construção (New Construction) (1 ponto) |
| 3744e0b73264-96e2-494a-afd6-ebbb4509e40e | Translation Approved (100%) | Core & Shell (1 point) | Núcleo e Casca (Core & Shell) (1 ponto) |
| 37458f038ca4-7d35-4408-bae1-502d30662085 | Translation Approved (100%) | Schools (1 point) | Escolas (Schools) (1 ponto) |
| 37467c397dc3-6c85-4217-9aee-0ab0caced489 | Translation Approved (100%) | Retail (1 point) | Varejo (Retail) (1 ponto) |
| 37473c773c36-8ecc-49c5-ab3b-3538e41d7630 | Translation Approved (100%) | Data Centers (1 point) | Centros de Dados (Data Centers) (1 ponto) |
| 37486cdb55d2-247f-4417-81fe-340caadfe0ae | Translation Approved (100%) | Warehouses & Distribution Centers (1 point) | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) (1 ponto) |
| 374996f11d8c-956e-4a5b-aa19-0d23025e0190 | Translation Approved (100%) | Hospitality (1 point) | Hoteleiro (Hospitality) (1 ponto) |
| 3750a24e7d97-1429-4023-babb-6d824a1a544f | Translation Approved (100%) | Healthcare (1-2 points) | Setor de Saúde (Healthcare) (1 a 2 pontos) |
| 375100c62093-cf15-4ab6-97ee-191efc7368c1 | Translation Approved (100%) | Intent | Objetivo |
| 37528cbd7a9c-dccb-4502-bc49-c8dd6c1249ae | Translation Approved (0%) | To give building occupants a connection to the natural outdoor environment by providing quality views. | Fornecer aos ocupantes do edifício uma conexão ao ambiente externo natural oferecendo vistas de qualidade. |
| 3753f6eacf77-b825-4623-87b3-d2028f347ad3 | Translation Approved (100%) | Requirements | Requisitos |
| 37548a3fb836-7248-4a1a-be91-5a3e27fd9d2e | Translation Approved (100%) | NC, CS, Schools, Retail, Data Centers, Hospitality | NC, CS, Escolas (Schools), Varejo (Retail), Centros de Dados (Data Centers), Hoteleiro (Hospitality) |
| 3755fce3eb23-c911-4f2d-b0a3-533c9cafadd6 | Translation Approved (0%) | Achieve a direct line of sight to the outdoors via vision glazing for 75% of all regularly occupied floor area. | Alcance uma linha de visada direta para a área externa com vidraças para 75% de toda a área de piso regularmente ocupada. |
| 3756e4cd2764-0f23-4b59-aaed-038425097c10 | Translation Approved (0%) | View glazing in the contributing area must provide a clear image of the exterior, not obstructed by frits, fibers, patterned glazing, or added tints that distort color balance. | As vidraças na área contribuinte devem fornecer uma imagem clara do exterior, não obstruída por fritas, fibras, vidraças estampadas ou tintas que distorçam o equilíbrio de cores. |
| 3757dfba7f14-0c54-4ac3-a19c-4ce93ea567c6 | Translation Approved (0%) | Additionally, 75% of all regularly occupied floor area must have at least two of the following four kinds of views: | Além disso, 75% de toda a área de piso ocupada regularmente deve ter pelo menos dois dos quatro tipos de vista a seguir: |
| 37586f96aaa8-64de-4920-80f1-5dd7d67a3c59 | Translation Approved (0%) | multiple lines of sight to vision glazing in different directions at least 90 degrees apart; | múltiplas linhas de visada para vidraças em diferentes direções, separadas por no mínimo 90 graus; |
| 3759777e4099-4a79-4dbe-94bb-56f6b39e2b76 | Translation Approved (0%) | views that include at least two of the following: (1) flora, fauna, or sky; (2) movement; and (3) objects at least 25 feet (7.5 meters) from the exterior of the glazing; | vistas que incluem pelo menos dois dos seguintes: (1) flora, fauna ou céu; (2) movimento; e (3) objetos a pelo menos 25 pés (7,5 metros) do exterior da vidraça; |
| 376067a3bb35-4af7-4eb4-b393-3c5239f42606 | Translation Approved (0%) | unobstructed views located within the distance of three times the head height of the vision glazing; and | vistas desobstruídas localizadas a uma distância inferior a três vezes a altura das vidraças; e |
| 3761c71ebe55-3b3d-49f3-b9ee-724fdf4d90fd | Translation Approved (0%) | views with a view factor of 3 or greater, as defined in “Windows and Offices; A Study of Office Worker Performance and the Indoor Environment.” | vistas com um fator de visão de 3 ou mais, conforme definido em "Janelas e escritórios: Um estudo sobre o desempenho do trabalhador de escritório e o ambiente interno" (Windows and Offices; A Study of Office Worker Performance and the Indoor Environment). |
| 37624d960602-0fac-44dc-8856-f842c5319ba8 | Translation Approved (71%) | Include in the calculations any permanent interior obstructions. | Inclua todas as obstruções internas permanentes nos cálculos. |
| 37634d960602-0fac-44dc-8856-f842c5319ba8 | Translation Approved (96%) | Movable furniture and partitions may be excluded. | Armários embutidos e divisórias podem ser excluídos. |
| 3764b9d5aed2-d269-4ac0-9dfa-78b8193b89d5 | Translation Approved (0%) | Views into interior atria may be used to meet up to 30% of the required area. | Vistas para átrios internos podem ser usadas para atender até 30% da área necessária. |
| 376544f98051-441b-4e0f-a074-fa11f640be98 | Translation Approved (100%) | Warehouses & Distribution Centers | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) |
| 37666c6e9f88-a67d-4282-8597-2bfa9b5e720a | Translation Approved (0%) | For the office portion of the building, meet the requirements above. | Para a parte de escritórios do edifício, atenda aos requisitos acima. |
| 37670b212cbd-b911-4ae1-b712-c38108db4c59 | Translation Approved (0%) | For the bulk storage, sorting, and distribution portions of the building,<4323> </4323>meet the requirements above for 25% of the regularly occupied floor area. | Para as partes de armazenamento, separação e distribuição de volumes do edifício,<4323> </4323>atenda aos requisitos acima para 25% da área de piso regularmente ocupada. |
| 37684e8ede2c-0d7c-4410-bfd5-20d8531e8a18 | Translation Approved (100%) | Healthcare | Setor de Saúde (Healthcare) |
| 3769d52171bd-6ae5-4dc3-b607-db7974208498 | Translation Approved (0%) | For inpatient units (IPUs), meet the requirements above (1 point). | Para unidades de internação (inpatient units - IPUs), atenda aos requisitos acima (1 ponto). |
| 3770ee52eb6e-3657-4330-a78f-53d8ebb72427 | Translation Approved (0%) | For other areas, configure the building floor plates such that the floor area within 15 feet (4.5 meters) of the perimeter exceeds the perimeter area requirement (Table 1), and meet the requirements above for the perimeter area (1 point). | Para outras áreas, configure as plantas do edifício de forma que a área de piso a menos de 15 pés (4,5 metros) do perímetro exceda o requisito de área do perímetro (Tabela 1) e atenda aos requisitos acima para a área do perímetro (1 ponto). |
| 37713118baea-eefa-49e8-9bbb-8dea70fd53d8 | Translation Approved (100%) | Table 1. | Tabela 1. |
| 37723118baea-eefa-49e8-9bbb-8dea70fd53d8 | Translation Approved (0%) | Minimum compliant perimeter area, by floor plate area | Área de perímetro mínima em conformidade, por área da planta |
| 3773d406c003-3c82-48be-b949-b3950d3e1dca | Translation Approved (0%) | Floor plate area | Área da planta |
| 3774b87be27e-ee1f-4c2f-95eb-2e68b5beef53 | Translation Approved (0%) | Perimeter area | Área do perímetro |
| 37758aa90aee-29b3-4f8a-82fb-ff1bcc1d9cd1 | Translation Approved (96%) | (square feet) | (pés quadrados) |
| 377665192ae8-2422-440c-9b8f-b30d4875996d | Translation Approved (0%) | (square meters) | (metros quadrados) |
| 377787f6b0ac-504d-497b-8d66-965e54f877c6 | Translation Approved (100%) | (square feet) | (pés quadrados) |
| 3778151f3e6a-446b-4e73-b3b2-9a7707919560 | Translation Approved (100%) | (square meters) | (metros quadrados) |
| 3779ea19657c-52a6-419f-94ad-8ffd939047e0 | Translation Approved (0%) | Up to 15,000 | Até 15.000 |
| 3780246d9830-cf1c-4434-b678-f153becf33e4 | Translation Approved (0%) | Up to 1 400 | Até 1.400 |
| 378102a571b7-8fb7-4e13-975b-63df39697822 | Translation Approved (100%) | 7,348 | 7.348 |
| 3782f1e8a01d-837f-4860-ae15-25a26977e6c9 | Translation Approved (100%) | 682 | 682 |
| 3783c8204850-1291-4608-bc03-a9f2b9e5eea2 | Translation Approved (100%) | 20,000 | 20.000 |
| 37844ddf22a1-05ed-4ca6-9cbe-281028583dce | Translation Approved (0%) | 1 800 | 1.800 |
| 37853fecbe1f-baee-4236-bcf9-af2590674048 | Translation Approved (100%) | 8,785 | 8.785 |
| 378671a165b1-d224-4ccf-a4b9-f3d0454b4795 | Translation Approved (100%) | 816 | 816 |
| 3787cfa7ed96-9d26-482b-8e18-896262472964 | Translation Approved (100%) | 25,000 | 25.000 |
| 378886421bb8-6bcf-4549-8e4c-b491e02d374a | Translation Approved (96%) | 2 300 | 2.300 |
| 37890a1e8f49-b75b-4f27-aa07-6b577a8e81ec | Translation Approved (100%) | 10,087 | 10.087 |
| 379075fb72cd-0398-4e1e-a2cb-688db539a48d | Translation Approved (100%) | 937 | 937 |
| 3791c4edcbef-4aae-4edb-9107-52546518e3a4 | Translation Approved (100%) | 30,000 | 30.000 |
| 37926650875f-e3a3-4c3b-b8e9-8b6405b76d86 | Translation Approved (96%) | 2 800 | 2.800 |
| 37932eb870fd-7c39-4db2-afe6-bd766b9084e4 | Translation Approved (100%) | 11,292 | 11.292 |
| 379456b96c6a-ed09-4e0b-9297-b873bd34f226 | Translation Approved (96%) | 1 049 | 1.049 |
| 379535a8a272-583b-44a2-8075-71feb94bf59b | Translation Approved (100%) | 35,000 | 35.000 |
| 3796f0862d02-a2bc-43b9-abc1-e4ab4310fe5b | Translation Approved (0%) | 3 300 | 3.300 |
| 379752b9b191-a344-4dbd-b77f-08b265e4b1ce | Translation Approved (100%) | 12,425 | 12.425 |
| 37988ea9f71c-2fce-42e1-be3f-13ff9980adb1 | Translation Approved (0%) | 1 154 | 1.154 |
| 37990685a482-7657-40e6-a580-30a726ba5a2b | Translation Approved (100%) | 40,000 | 40.000 |
| 38003635c746-d569-427d-b6c7-7d699926966f | Translation Approved (0%) | 3 700 | 3.700 |
| 38013e3068a8-802b-4692-90f0-3af0efbaaaf4 | Translation Approved (100%) | 13,500 | 13.500 |
| 3802af356811-25ec-4d5d-9112-9a079db95760 | Translation Approved (96%) | 1 254 | 1.254 |
| 38033d38b2b3-201a-4c6d-b2a8-cea8ef376b54 | Translation Approved (100%) | 45,000 | 45.000 |
| 380482e51a93-ece9-489a-8c33-7bd57811663f | Translation Approved (96%) | 4 200 | 4.200 |
| 380534645267-aff3-40dd-bd0b-058fb71fb7ee | Translation Approved (100%) | 14,528 | 14.528 |
| 38065178e020-ce3a-4480-9f31-e62a310b3945 | Translation Approved (96%) | 1 349 | 1.349 |
| 38074c66a6ca-257d-41c4-8dd1-1846e72976fd | Translation Approved (0%) | 50,000 and larger | 50.000 e maior |
| 38085ba8f28f-0f74-43e8-9020-2cce584c2e55 | Translation Approved (0%) | 4 600 and larger | 4.600 e maior |
| 3809870c44e2-0ae6-4c00-a148-d71cc1d0fbf8 | Translation Approved (100%) | 15,516 | 15.516 |
| 3810540afa34-a168-4551-b61c-702083e83fb5 | Translation Approved (0%) | 1 441 | 1.441 |
| 38116549cadf-9b2e-453a-abc1-44ef2d2e3860 | Translation Approved (100%) | EQ Credit: Acoustic Performance | Crédito EQ: Desempenho Acústico (EQ Credit: Acoustic Performance) |
| 38124c6fcd94-bbb6-4c15-8ad1-f5cf22066c40 | Translation Approved (100%) | BD&C | BD&C |
| 38132548e668-7913-4bd6-8d9a-265b03e0e9e7 | Translation Approved (100%) | 1–2 points | 1 a 2 pontos |
| 3814e0a1a29a-91fe-430e-aca9-fd57e9e28e5b | Translation Approved (100%) | This credit applies to | Este crédito se aplica a |
| 38159a66ae3c-b13a-47b5-b201-94552b76a772 | Translation Approved (100%) | New Construction (1 point) | Nova Construção (New Construction) (1 ponto) |
| 381679ef7705-80fb-42f1-ad5b-eedea5bbd60d | Translation Approved (100%) | Schools (1 point) | Escolas (Schools) (1 ponto) |
| 38178ea259bc-6eaa-41a2-8000-33346cdbd2e9 | Translation Approved (100%) | Data Centers (1 point) | Centros de Dados (Data Centers) (1 ponto) |
| 3818ae2c8933-f702-4e2e-bc02-58ec38a87ef3 | Translation Approved (100%) | Warehouses & Distribution Centers (1 point) | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) (1 ponto) |
| 38196642fa80-9ba5-47bc-956f-85ef72dd2e18 | Translation Approved (100%) | Hospitality (1 point) | Hoteleiro (Hospitality) (1 ponto) |
| 382067dae5d4-c8d9-4402-8077-b377d22646dd | Translation Approved (100%) | Healthcare (1–2 points) | Setor de Saúde (Healthcare) (1 a 2 pontos) |
| 382150119f92-0cdd-4e36-9437-ac3ecf97ea1f | Translation Approved (100%) | Intent | Objetivo |
| 3822825af146-203e-4cda-b670-07cea77633f7 | Translation Approved (0%) | To provide workspaces and classrooms that promote occupants’ well-being, productivity, and communications through effective acoustic design. | Fornecer espaços de trabalho e salas de aula que promovam o bem-estar, a produtividade e as comunicações dos ocupantes por meio de um projeto acústico eficaz. |
| 38237e1b757b-8173-49ba-8eb2-257a3a420d66 | Translation Approved (100%) | Requirements | Requisitos |
| 382440205cda-65c0-4e99-9ff7-9440441ce9a7 | Translation Approved (91%) | NC, Data Centers, Warehouses & Distribution Centers, Hospitality | NC, Centros de Dados (Data Centers), Armazéns e Centros de Distribuição (Warehouses & Distribution Centers), Hoteleiro (Hospitality) |
| 3825302964a4-9283-4a05-9516-fa79a2338277 | Translation Approved (0%) | For all occupied spaces, meet the following requirements, as applicable, for HVAC background noise, sound isolation, reverberation time, and sound reinforcement and masking. | Para todos os espaços ocupados, atenda aos seguintes requisitos, conforme aplicáveis, para ruído de fundo de HVAC, isolamento sonoro, tempo de reverberação e reforço e mascaramento sonoros. |
| 38260724b2cb-58c0-401a-a960-ed8f91d609d8 | Translation Approved (100%) | HVAC Background Noise | Ruído de fundo de HVAC |
| 3827c3b4bb3b-8055-487f-a8f1-71200e32922e | Translation Approved (0%) | Achieve maximum background noise levels from heating, ventilating, and air conditioning (HVAC) systems per 2011 ASHRAE Handbook, HVAC Applications, Chapter 48, Table 1; AHRI Standard 885-2008, Table 15; or a local equivalent. | Obtenha níveis máximos de ruído de fundo de sistemas de aquecimento, ventilação e ar-condicionado (HVAC) de acordo com o Manual da ASHRAE de 2011, Aplicações de HVAC (HVAC Applications), Capítulo 48, Tabela 1; Norma AHRI 885-2008, Tabela 15; ou norma local equivalente. |
| 3828c3b4bb3b-8055-487f-a8f1-71200e32922e | Translation Approved (0%) | Calculate or measure sound levels. | Calcule ou meça os níveis sonoros. |
| 38298b3206f5-bd29-49aa-9675-a219ed378c35 | Translation Approved (0%) | For measurements, use a sound level meter that conforms to ANSI S1.4 for type 1 (precision) or type 2 (general purpose) sound measurement instrumentation, or a local equivalent. | Para as medições, use um medidor de nível de som em conformidade com a Norma ANSI S1.4 para instrumentos de medição de som de tipo 1 (precisão) ou tipo 2 (uso geral), ou equivalente local. |
| 38304493aa83-bccc-4ebc-b318-fef2f081f677 | Translation Approved (0%) | Comply with design criteria for HVAC noise levels resulting from the sound transmission paths listed in ASHRAE 2011 Applications Handbook, Table 6; or a local equivalent. | Cumpra os critérios de projeto para níveis de ruído de HVAC resultantes dos caminhos de transmissão de som listados no Manual de Aplicações de 2011 da ASHRAE, Tabela 6; ou equivalente local. |
| 3831dc804ba7-46cd-46f3-a88c-6041ffbe9fdc | Translation Approved (0%) | Sound Transmission | Transmissão de som |
| 3832a87c3bda-8114-45eb-8f12-c45d45d222a7 | Translation Approved (0%) | Meet the composite sound transmission class (STC<4483>C</4483>) ratings listed in Table 1, or local building code, whichever is more stringent. | Atenda às avaliações da classe de transmissão de som composta (composite sound transmission class (STCc)) listadas na Tabela 1 ou um código de construção civil local, o que for mais rigoroso. |
| 3833463b7d08-d11a-4064-b712-62763f8147fb | Translation Approved (100%) | Table 1. | Tabela 1. |
| 3834463b7d08-d11a-4064-b712-62763f8147fb | Translation Approved (0%) | Maximum composite sound transmission class ratings for adjacent spaces | Avaliações máximas de classe de transmissão de som composta para espaços adjacentes |
| 383552d81be3-b9aa-40cb-ab50-29c50133006a | Translation Approved (0%) | Adjacency combinations | Combinações de adjacência |
| 3836a33460a9-8e78-45c5-be9c-7a34b59030f7 | Translation Approved (0%) | STC<4492>C</4492> | STC<4492>C</4492> |
| 383768ffd967-6941-403b-af4c-ac6cc40b0126 | Translation Approved (0%) | Residence (within a multifamily residence), hotel or motel room | Quarto de residência (em uma residência multifamiliar), hotel ou motel |
| 38384dd01186-57c7-4ae6-bf3e-377c171027a2 | Translation Approved (0%) | Residence, hotel or motel room | Quarto de residência, hotel ou motel |
| 3839f3fbe19d-59eb-4b44-ba58-f25bdd176508 | Translation Approved (100%) | 55 | 55 |
| 3840e2b2a7aa-7733-40bf-b527-e91bbdee399f | Translation Approved (100%) | Residence, hotel or motel room | Quarto de residência, hotel ou motel |
| 38410f5ecdbc-a27e-4592-b824-2e4552fef11a | Translation Approved (0%) | Common hallway, stairway | Corredor, escada comum |
| 3842a5795b89-f6cd-4ccc-8f4e-af34ec07c5aa | Translation Approved (100%) | 50 | 50 |
| 384348c36bed-804f-4e66-89c2-24ceeb9afc01 | Translation Approved (100%) | Residence, hotel or motel room | Quarto de residência, hotel ou motel |
| 3844799af0ef-873d-45e2-aace-2672453b1fc8 | Translation Approved (100%) | Retail | Varejo |
| 3845cb13c5cc-0fb0-4ad8-ba82-8e178387c854 | Translation Approved (100%) | 60 | 60 |
| 3846bd7e7b98-77b5-4b7a-a03e-46af68bf778d | Translation Approved (100%) | Retail | Varejo |
| 384700ae5147-0bda-4f79-b219-7cb6ce8292fb | Translation Approved (100%) | Retail | Varejo |
| 3848728c24f8-b435-495a-9495-d3c52657ad37 | Translation Approved (100%) | 50 | 50 |
| 38494546e688-59ce-4836-b438-04c4bfa3c93a | Translation Approved (0%) | Standard office | Escritório padrão |
| 385001324501-4f36-45a4-a3ef-4c50586ce778 | Translation Approved (100%) | Standard office | Escritório padrão |
| 38518487f0f7-80e9-4189-9acb-8a8b8cd83224 | Translation Approved (100%) | 45 | 45 |
| 3852e96c52c2-91c2-44e8-9828-bb6b2c69e64c | Translation Approved (0%) | Executive office | Escritório executivo |
| 38531d59bd9f-0e84-4601-859b-1db6ef60cfef | Translation Approved (100%) | Executive office | Escritório executivo |
| 38548ac3b0ea-baea-406a-b509-f1f34f882172 | Translation Approved (100%) | 50 | 50 |
| 3855c57fa25a-4d75-4d49-b284-bb13a0c41a72 | Translation Approved (0%) | Conference room | Sala de conferência |
| 38569f4fb20f-1edd-4104-8efb-e731f384c083 | Translation Approved (100%) | Conference room | Sala de conferência |
| 38573e45a088-288c-40fc-9417-1e5e603e0416 | Translation Approved (100%) | 50 | 50 |
| 385805333ca7-26f1-467f-abfc-2d6978f7dac1 | Translation Approved (0%) | Office, conference room | Escritório, sala de conferência |
| 38596ae774ae-0d97-440f-8fcc-eb3b66bb5e06 | Translation Approved (0%) | Hallway, stairway | Corredor, escada |
| 386099dc653b-c61a-4b7a-b2cd-c143ad0b1336 | Translation Approved (100%) | 50 | 50 |
| 3861aa377618-e50d-46e6-b04a-a73bc50cd7a4 | Translation Approved (0%) | Mechanical equipment room | Sala de equipamentos mecânicos |
| 3862024926d3-099c-4161-a1f1-1605362347d6 | Translation Approved (0%) | Occupied area | Área ocupada |
| 386310efc70f-a378-4901-a97a-56a226e76061 | Translation Approved (100%) | 60 | 60 |
| 3864b378849c-e395-4ed3-8a9f-0dee576eb58a | Translation Approved (100%) | Reverberation Time | Tempo de reverberação |
| 3865336d9324-fd45-4f8a-89f2-9b890c23c9cf | Translation Approved (0%) | Meet the reverberation time requirements in Table 2 (adapted from Table 9.1 in the Performance Measurement Protocols for Commercial<4603> Buildings<4604/>).</4603> | Atenda aos requisitos de tempo de reverberação na Tabela 2 (adaptados da Tabela 9.1 dos Protocolos de medição de desempenho para edifícios comerciais (Performance Measurement Protocols for Commercial<4603> Buildings<4604/>)).</4603> |
| 3866f97d6174-be9f-47ae-b032-5380dc1b9f50 | Translation Approved (0%) | Adapted from ASHRAE (2007d), ASA (2008), ANSI (2002), and CEN (2007) | Adaptado de ASHRAE (2007d), ASA (2008), ANSI (2002) e CEN (2007) |
| 3867d510485e-fad0-438d-825e-4cc7c3e30994 | Translation Approved (100%) | Table 2. | Tabela 2. |
| 3868d510485e-fad0-438d-825e-4cc7c3e30994 | Translation Approved (75%) | Reverberation time requirements | Requisitos de tempo de reverberação |
| 3869363a1ad4-000d-4845-91d1-f261416cbec1 | Translation Approved (0%) | Room type | Tipo de sala |
| 38700c00efb2-abb9-447f-8597-04003902a800 | Translation Approved (0%) | Application | Aplicação |
| 38716de67e6e-d64f-4d97-9af1-3d946b4c2f88 | Translation Approved (0%) | T60 (sec), at 500 Hz, 1000 Hz, and 2000 Hz | T60 (s), a 500 Hz, 1000 Hz e 2000 Hz |
| 38727f8087ba-daca-4546-83c1-11684e527509 | Translation Approved (0%) | Apartment and condominium | Apartamento e condomínio |
| 3873807a042e-443d-4108-8fdd-389ac3e6a9fe | Translation Approved (100%) | — | — |
| 38742c5b747b-b67c-463d-975b-184e449cac58 | Translation Approved (0%) | < 0.6 | < 0,6 |
| 3875ef5d1ca7-c574-467e-9b40-336135eaa7b6 | Translation Approved (0%) | Hotel/motel | Hotel/motel |
| 387638c0ee2a-95fe-469d-a956-61771a5657d9 | Translation Approved (0%) | Individual room or suite | Quarto ou suíte individual |
| 3877122b17c0-0fc9-4258-b263-f3f2f999a227 | Translation Approved (100%) | < 0.6 | < 0,6 |
| 387829dcc4a6-47f7-496e-ab36-8e961c2eb563 | Translation Approved (0%) | Meeting or banquet room | Sala de reuniões ou banquetes |
| 3879cc620e82-1221-40aa-a643-0fc0921aa3fe | Translation Approved (100%) | < 0.8 | < 0,8 |
| 38801457f55e-5e18-4429-9f3c-6a9a114423b3 | Translation Approved (0%) | Office building | Edifício de escritórios |
| 3881d57a2ea8-913b-4385-9549-da347de6f29a | Translation Approved (0%) | Executive or private office | Escritório executivo ou privado |
| 388260eab1a2-2b69-43ad-ac41-c1e1811e5018 | Translation Approved (100%) | < 0.6 | < 0,6 |
| 38830c552e7e-90b6-4d3c-9ef4-a01f66239af6 | Translation Approved (100%) | Conference room | Sala de conferência |
| 388480c341e7-069a-4318-a361-5dc7f20c4402 | Translation Approved (100%) | < 0.6 | < 0,6 |
| 388579ceeca7-dfa5-4e1a-bc09-601326e170bc | Translation Approved (0%) | Teleconference room | Sala de teleconferência |
| 38867a093cb4-309d-43b0-ba92-407cc076c5ea | Translation Approved (100%) | < 0.6 | < 0,6 |
| 38878433bf95-0839-48b4-a538-81e83722cf6d | Translation Approved (0%) | Open-plan office without sound masking | Escritório de plano aberto sem mascaramento sonoro |
| 3888dd9f2756-1ea1-4363-976d-dfda6944052a | Translation Approved (100%) | < 0.8 | < 0,8 |
| 38897fdcdfad-220b-4f3a-8704-bd64aed9f928 | Translation Approved (87%) | Open-plan office with sound masking | Escritório de plano aberto com mascaramento sonoro |
| 38906ebb7240-5025-455f-8ded-d52a5c5022dc | Translation Approved (100%) | 0.8 | 0,8 |
| 3891e5e422b8-15e6-4289-87e7-98d2e224fc7c | Translation Approved (0%) | Courtroom | Sala de tribunal |
| 3892dd9379fc-bbbf-4a9f-979d-2c172afed67d | Translation Approved (0%) | Unamplified speech | Sem amplificação de fala |
| 3893cbf18a21-2619-4a64-a0ac-d63bed419908 | Translation Approved (100%) | < 0.7 | < 0,7 |
| 38943db0872b-7d57-4c76-9e5f-9152b237b4c3 | Translation Approved (84%) | Amplified speech | Com amplificação de fala |
| 3895df7cd112-98dd-4241-894b-b2c624ceefc8 | Translation Approved (100%) | < 1.0 | < 1,0 |
| 389624f522af-3d78-4835-ac51-de87bc064bbd | Translation Approved (0%) | Performing arts space | Espaço para artes cênicas |
| 38971d0c6ce4-70d5-4b66-bd0d-ea99df8fb7c5 | Translation Approved (0%) | Drama theaters, concert and recital halls | Teatros, salas para concertos e recitais |
| 3898b8994c9f-0ea5-45f9-bd16-551247637846 | Translation Approved (0%) | Varies by application | Varia com a aplicação |
| 38999d425fe7-3848-484c-bc99-dd97fcb0dc6c | Translation Approved (0%) | Laboratories | Laboratórios |
| 3900eab3eefc-66d1-4d7b-b1ab-df6fe61872e5 | Translation Approved (0%) | Testing or research with minimal speech communication | Testes ou pesquisa com comunicação por fala mínima |
| 390126eaed05-961e-4667-9ade-422836e17c53 | Translation Approved (100%) | < 1.0 | < 1,0 |
| 3902df5d189f-4e97-4d1c-b5dc-f0c2fe221f18 | Translation Approved (0%) | Extensive phone use and speech communication | Uso de telefone e comunicação por fala extensivos |
| 3903fcdc470e-2397-4aaa-b766-d6ad6ff297f7 | Translation Approved (100%) | < 0.6 | < 0,6 |
| 3904116cbe2e-00de-43f8-b517-49570c8c7f2b | Translation Approved (0%) | Church, mosque, synagogue | Igreja, mesquita, sinagoga |
| 3905dede3fca-2701-4664-92c4-3d874b895a5c | Translation Approved (0%) | General assembly with critical music program | Montagem geral com programa musical importante |
| 3906bb296679-d093-454c-8f69-1a0a3ceb9c1a | Translation Approved (100%) | Varies by application | Varia com a aplicação |
| 3907b3ec267c-4529-4e64-be31-8de4005977de | Translation Approved (100%) | Library | Biblioteca |
| 390802a395a1-5fa5-49e5-a2cb-9b92cb50afe8 | Translation Approved (100%) | < 1.0 | < 1,0 |
| 39097188ee3b-12c6-473f-92aa-5b25a1cf8fbf | Translation Approved (0%) | Indoor stadium, gymnasium | Estádio fechado, ginásio |
| 39101a46006a-0e27-4b1c-ba84-3218f6f910ba | Translation Approved (0%) | Gymnasium and natatorium | Ginásio e complexo aquático |
| 39119220ace4-08f4-4991-bc57-f7f4cd68ea04 | Translation Approved (100%) | < 2.0 | < 2,0 |
| 3912d42b9a5c-6b73-4207-9305-af9590d540da | Translation Approved (0%) | Large-capacity space with speech amplification | Espaço de ampla capacidade com amplificação de fala |
| 39139a74082a-e6eb-47af-9fe4-6eb5dc706691 | Translation Approved (100%) | < 1.5 | < 1,5 |
| 3914b636c8d9-41dc-426b-b43e-fcd8e757ff49 | Translation Approved (0%) | Classroom | Sala de aula |
| 3915f260ded4-9bb9-4552-a5bd-ecc6e7f98b21 | Translation Approved (100%) | — | — |
| 3916fac3f553-4a2b-4e04-9d30-113c14d79acc | Translation Approved (100%) | < 0.6 | < 0,6 |
| 39172e40fbf6-6f92-4d0e-8f4e-d89bbea41d44 | Translation Approved (0%) | Sound Reinforcement and Masking Systems | Sistemas de reforço e mascaramento sonoros |
| 39180120963a-378b-46fc-bae4-a9e8f691f650 | Translation Approved (0%) | Sound Reinforcement | Reforço sonoro |
| 3919534595ad-b3c9-4700-9214-ba9d37ced964 | Translation Approved (0%) | For all large conference rooms and auditoriums seating more than 50 persons, evaluate whether sound reinforcement and AV playback capabilities are needed. | Para todas as salas de conferência e auditórios grandes, com capacidade para mais de 50 pessoas, avalie se capacidades de reforço sonoro e reprodução audiovisual são necessárias. |
| 39200b5f77d4-4960-47de-b70e-fbba5958936b | Translation Approved (0%) | If needed, the sound reinforcement systems must meet the following criteria: | Se necessários, os sistemas de reforço sonoro devem atender aos seguintes critérios: |
| 3921599e00da-d2d5-413f-888a-65f2a4be286a | Translation Approved (0%) | Achieve a speech transmission index (STI) of at least 0.60 or common intelligibility scale (CIS) rating of at least 0.77 at representative points within the area of coverage to provide acceptable intelligibility. | Alcançar um índice de transmissão de fala (speech transmission index – STI) de pelo menos 0,60 ou uma escala de inteligibilidade comum (common intelligibility scale – CIS) de pelo menos 0,77 em pontos representativos dentro da área de cobertura para fornecer uma inteligibilidade aceitável. |
| 3922fb72649d-8c82-473f-b970-3e43030a0f3a | Translation Approved (0%) | Have a minimum sound level of 70 dBA. | Ter um nível de som mínimo de 70 dBA. |
| 3923cb22f8ab-5495-4093-b24c-5a6aada65a6f | Translation Approved (0%) | Maintain sound-level coverage within +/–3 dB at the 2000 Hz octave band throughout the space. | Manter cobertura de nível de ruído de +/– 3 dB na faixa de oitava de 2000 Hz em todo o espaço. |
| 3924115022b8-6edc-4703-9ba3-ce783278dbc3 | Translation Approved (0%) | Masking Systems | Sistemas de mascaramento |
| 392576119de9-f973-42f5-b74f-6ee86abf3092 | Translation Approved (0%) | For projects that use masking systems, the design levels must not exceed 48 dBA. | Para projetos que usam sistemas de mascaramento, os níveis do projeto não devem exceder 48 dBA. |
| 392676119de9-f973-42f5-b74f-6ee86abf3092 | Translation Approved (0%) | Ensure that loudspeaker coverage provides uniformity of +/–2 dBA and that speech spectra are effectively masked. | Garanta que a cobertura dos alto-falantes forneça uniformidade de +/– 2 dBA e que o espectro de fala seja mascarado de maneira eficaz. |
| 39274a0a3057-94f9-4a93-b083-b233e492e557 | Translation Approved (100%) | Schools | Escolas (Schools) |
| 3928ff72d590-4ea8-4e87-9bc8-8eb2cdf4b6bd | Translation Approved (97%) | HVAC Background noise | Ruído de fundo de HVAC |
| 3929768e416d-edbd-4f99-bab6-aea12aa83eb3 | Translation Approved (92%) | Achieve a background noise level of 35 dBA or less from heating, ventilating, and air-conditioning (HVAC) systems in classrooms and other core learning spaces. | Obtenha um nível de ruído de fundo de sistemas de aquecimento, ventilação e ar-condicionado (HVAC) de menos de 35 dBA em salas de aula e outros espaços fundamentais de aprendizagem. |
| 3930768e416d-edbd-4f99-bab6-aea12aa83eb3 | Translation Approved (91%) | Follow the recommended methodologies and best practices for mechanical system noise control in ANSI Standard S12.60–2010, Part 1, Annex A.1; the 2011 HVAC Applications ASHRAE Handbook, Chapter 48, Sound and Vibration Control, with errata; AHRI Standard 885–2008; or a local equivalent. | Siga as metodologias e melhores práticas recomendadas para controle de ruídos de sistemas mecânicos da Norma ANSI S12.60–2010, Parte 1, Anexo A.1; do Manual de Aplicações de HVAC de 2011 da ASHRAE, Capítulo 48, Controle de ruído e vibrações (Noise and Vibration Control), com errata; da Norma AHRI 885–2008; ou de norma local equivalente. |
| 393138e6e423-2a9d-4e0f-b727-dbcc86eaf676 | Translation Approved (100%) | Sound Transmission | Transmissão de som |
| 39326b2dc60e-c489-4eec-be6d-4468e84eb8ba | Translation Approved (0%) | Design classrooms and other core learning spaces to meet the sound transmission class (STC) requirements of ANSI S12.60–2010 Part 1, or a local equivalent. | Projete salas de aula e outros espaços de aprendizagem para atender aos requisitos da classe de transmissão do som (sound transmission class – STC) da Norma ANSI S12.60–2010 Parte 1 ou de equivalente local. |
| 39336b2dc60e-c489-4eec-be6d-4468e84eb8ba | Translation Approved (0%) | Exterior windows must have an STC rating of at least 35, unless outdoor and indoor noise levels can be verified to justify a lower rating. | Janelas externas devem ter uma avaliação de STC de pelo menos 35, exceto se os níveis de ruídos externos e internos puderem ser verificados para justificar uma avaliação menor. |
| 39340a0caea7-6bb5-425f-9a63-925d9f114220 | Translation Approved (100%) | Healthcare | Setor de Saúde (Healthcare) |
| 3935a94828eb-82c4-4555-b2a2-0f0b21d1b195 | Translation Approved (0%) | Design the facility to meet or exceed the sound and vibration criteria outlined below, which are adapted from the 2010 FGI Guidelines for Design and Construction of Health Care Facilities (“2010 FGI Guidelines”) and the reference document on which it is based, Sound and Vibration Design Guidelines for Health Care Facilities (“2010 SV Guidelines”). | Projete a instalação para atender ou exceder os critérios de som e vibração descritos abaixo, que são adaptados das Diretrizes de 2010 da FGI para Projeto e Construção de Instalações de Saúde (Design and Construction of Health Care Facilities; "Diretrizes de 2010 da FGI") e do documento de referência em que elas são baseadas, Diretrizes de Projeto de Som e Vibração para Instalações de Saúde (Sound and Vibration Design Guidelines for Health Care Facilities; "Diretrizes de 2010 de SV"). |
| 3936868c6c95-fb4e-434b-bad9-7c7cc6feb905 | Translation Approved (100%) | Option 1. | Opção 1. |
| 3937868c6c95-fb4e-434b-bad9-7c7cc6feb905 | Translation Approved (0%) | Speech Privacy, Sound Isolation, and Background Noise (1 point) | Privacidade de fala, isolamento sonoro e ruído de fundo (1 ponto) |
| 3938f6c6638e-b530-4e7b-96e9-d48ff726a11f | Translation Approved (0%) | Speech Privacy and Sound Isolation | Privacidade de fala e isolamento sonoro |
| 3939f09b1a30-3c68-4eb2-a612-06d5b2c5cb6f | Translation Approved (0%) | Design sound isolation to achieve speech privacy, acoustical comfort, and minimal annoyance from noise-producing sources. | Projete o isolamento sonoro para obter privacidade de fala, conforto acústico e irritação mínima causada por fontes de ruído. |
| 3940f09b1a30-3c68-4eb2-a612-06d5b2c5cb6f | Translation Approved (0%) | Consider sound levels at both source and receiver locations, the background sound at receiver locations, and the occupants’ acoustical privacy and acoustical comfort needs. | Considere os níveis de som nos locais de origem e recebimento, o som de fundo nos locais de recebimento e as necessidades de conforto e privacidade acústica dos ocupantes. |
| 3941f09b1a30-3c68-4eb2-a612-06d5b2c5cb6f | Translation Approved (0%) | Speech privacy is defined as “techniques … to render speech unintelligible to casual listeners” (ANSI T1.523-2001, Telecom Glossary 2007). | A privacidade de fala é definida como "técnicas ... para tornar a fala ininteligível para ouvintes casuais" (ANSI T1.523-2001, Glossário Telecom 2007). |
| 39429ea0090e-bdd9-4aaa-adec-e59d852043b6 | Translation Approved (0%) | Design the facility to meet the criteria outlined in the sections of Table 1.2-3, Design Criteria for Minimum Sound Isolation Performance between Enclosed Rooms, and Table 1.2-4 Speech Privacy for Enclosed Room and Open-Plan Spaces (in the 2010 FGI Guidelines and 2010 SV Guidelines). | Projete a instalação para atender aos critérios descritos nas seções da Tabela 1.2-3, Critérios de projeto para desempenho mínimo do isolamento sonoro entre salas fechadas (Design Criteria for Minimum Sound Isolation Performance between Enclosed Rooms), e da Tabela 1.2-4, Privacidade de fala para sala fechada e espaços de plano aberto (Speech Privacy for Enclosed Room and Open-Plan Spaces) (nas Diretrizes de 2010 da FGI e nas Diretrizes de 2010 de SV). |
| 3943eced3ddf-6373-4d5a-bc27-33106c80dd33 | Translation Approved (0%) | Calculate or measure sound isolation and speech privacy descriptors achieved for representative adjacencies as necessary to confirm compliance with the criteria in the 2010 FGI Guidelines, Sections1.2-6.1.5 and 1.2-6.1.6, and the 2010 SV Guidelines (including the appendix). | Calcule ou meça os descritores de isolamento sonoro e privacidade de fala obtidos para adjacências representativas conforme necessário para confirmar a conformidade com os critérios das Diretrizes de 2010 da FGI, Seções 1.2-6.1.5 e 1.2-6.1.6, e das Diretrizes de 2010 de SV (incluindo o apêndice). |
| 3944563d7604-526e-4ee6-8bb1-e4b8a28050b3 | Translation Approved (70%) | Background Noise | Ruído de fundo |
| 39452d8b0386-6fad-4daa-a141-1100b9a03a49 | Translation Approved (0%) | Consider background noise levels generated by all building mechanical-electrical-plumbing systems, air distribution systems and other facility noise sources under the purview of the project building design-construction team. | Considere os níveis de ruído de fundo gerados por todos os sistemas mecânicos, elétricos e hidráulicos do edifício, sistemas de distribuição de ar e outras fontes de ruído da instalação que estejam no escopo da equipe de projeto e construção do edifício. |
| 3946514295b6-d5c0-41f0-89da-241dc753e607 | Translation Approved (0%) | Design the facility to meet the 2010 FGI Guidelines, Table 1.2-2 Minimum-Maximum Design Criteria for Noise in representative interior rooms and spaces. | Projete a instalação para atender às Diretrizes de 2010 da FGI, Tabela 1.2-2, Critérios mínimos e máximos de projeto para ruído (Minimum-Maximum Design Criteria for Noise) em salas e espaços internos representativos. |
| 39474062fa03-727d-4d2d-865f-3ce752efe029 | Translation Approved (0%) | Calculate or measure sound levels in representative rooms and spaces of each type to confirm compliance with criteria in the above-referenced table using a sound level meter that conforms to ANSI S1.4 for type 1 (precision) or type 2 (general purpose) sound measurement instrumentation. | Calcule ou meça os níveis de som em salas e espaços representativos de cada tipo para confirmar a conformidade com os critérios da tabela supracitada utilizando um medidor de nível de som em conformidade com a Norma ANSI S1.4 para instrumentos de medição de som do tipo 1 (precisão) ou do tipo 2 (uso geral). |
| 39484062fa03-727d-4d2d-865f-3ce752efe029 | Translation Approved (0%) | For spaces not listed in Table 1.2-2, refer to ASHRAE 2011 Handbook, Chapter 48, Sound and Vibration Control, Table 1. | Para espaços não listados na Tabela 1.2-2, consulte o Manual de 2011 da ASHRAE, Capítulo 48, Controle de som e vibração (Sound and Vibration Control), Tabela 1. |
| 39493de5e47e-ca75-4603-a4e1-b802a8027322 | Translation Approved (100%) | Option 2. | Opção 2. |
| 39503de5e47e-ca75-4603-a4e1-b802a8027322 | Translation Approved (0%) | Acoustical Finishes and Site Exterior Noise (1 point) | Acabamentos acústicos e ruído externo do terreno (1 ponto) |
| 39512f9920be-3f7b-4996-b1fe-19fa1721704c | Translation Approved (0%) | Meet the requirements for acoustical finishes and site exterior noise. | Atenda aos requisitos para acabamentos acústicos e ruído externo do terreno. |
| 3952379f226f-0dd4-4f2d-a640-498c6d5f6a7b | Translation Approved (0%) | Acoustical Finishes | Acabamentos acústicos |
| 39539f1d645e-4439-4b4f-b895-36c5a3461ed9 | Translation Approved (0%) | Specify materials, products systems installation details, and other design features to meet the 2010 FGI Guidelines, Table 1.2-1, Design Room Sound Absorption Coefficients (including associated sections of the appendix) and the 2010 SV Guidelines. | Especifique materiais, detalhes de instalação de sistemas e produtos e outros recursos do projeto para atender às Diretrizes de 2010 da FGI, Tabela 1.2-1, Coeficientes de absorção de som das salas do projeto (Design Room Sound Absorption Coefficients; incluindo as seções associadas do anexo) e às Diretrizes de 2010 de SV. |
| 39547dde3a77-9f1f-42a1-9db7-b43fffaa74b7 | Translation Approved (0%) | Calculate or measure the average sound absorption coefficients for representative unoccupied rooms of each type in the building to confirm conformance with the requirements. | Calcule ou meça os coeficientes médios de absorção do som para salas não ocupadas representativas de cada tipo no edifício para confirmar a conformidade com os requisitos. |
| 39558d8a089a-1aa5-47d3-b54a-c8b5e04dd358 | Translation Approved (70%) | Site Exterior Noise | Ruído externo do terreno |
| 39565b1fb9a6-1077-43f3-81cc-b3361d51a87f | Translation Approved (0%) | Minimize the effect on building occupants of site exterior noise produced by road traffic, aircraft flyovers, railroads, on-site heliports, emergency power generators during maintenance testing, outdoor facility MEP and building services equipment, etc. Also minimize effects on the surrounding community from all facility MEP equipment and activities as required to meet (1) local applicable codes or (2) Table 1.2-1 of the 2010 FGI Guidelines, Table 1.2-1, and the 2010 SV Guidelines, Table 1.3-1, whichever is more stringent. | Minimize o efeito nos ocupantes do edifício de ruídos externos do terreno produzidos por tráfego, sobrevoo de aeronaves, heliportos no local, geradores de energia de emergência durante testes de manutenção, equipamentos de MEP externos da instalação e equipamentos de serviço do edifício, etc. Minimize também os efeitos na comunidade vizinha de todos os equipamentos e atividades de MEP da instalação conforme necessário para atender (1) aos códigos locais aplicáveis ou (2) à Tabela 1.2-1 das Diretrizes de 2010 da FGI, à Tabela 1.2-1 e às Diretrizes de 2010 de SV, Tabela 1.3-1, o que for mais rigoroso. |
| 395753bdb485-796a-4a8b-a44a-a7434f3c2226 | Translation Approved (0%) | Comply with the 2010 FGI Guidelines for the following noise sources: | Cumpra as Diretrizes de 2010 da FGI para as seguintes fontes de ruído: |
| 395895fd5b80-2c07-4918-8b4e-87e5f53caaf5 | Translation Approved (0%) | heliports, A1.3-3.6.2.2; | heliportos, A1.3-3.6.2.2; |
| 395903ad65aa-5ab2-4a5e-a91d-60de1b908f5d | Translation Approved (0%) | generators, 2.1-8.3.3.1; | geradores, 2.1-8.3.3.1; |
| 3960c78cf829-72a7-45a5-b799-ec2d750a93bc | Translation Approved (0%) | mechanical equipment, 2.1-8.2.1.1; and | equipamentos mecânicos, 2.1-8.2.1.1; e |
| 39617b034639-9a72-45ca-b6ea-1206bdf37452 | Translation Approved (0%) | building services, A2.2-5.3 | serviços do edifício, A2.2-5.3 |
| 39620ce22211-7d9a-4925-a065-b7f71d856e23 | Translation Approved (0%) | Measure and analyze data to determine the exterior noise classification (A, B, C, or D) of the facility site. | Meça e analise dados para determinar a classificação de ruído externo (A, B, C ou D) do terreno da instalação. |
| 39630ce22211-7d9a-4925-a065-b7f71d856e23 | Translation Approved (0%) | See the 2010 FGI Guidelines, Categorization of Health Care Facility Sites by Exterior Ambient Sound, Table A1.2a, and the 2010 SV Guidelines, Table 1.3-1. | Consulte as Diretrizes de 2010 da FGI, Categorização de terrenos de instalações de saúde por som ambiente externo (Categorization of Health Care Facility Sites by Exterior Ambient Sound), Tabela A1.2a, e as Diretrizes de 2010 de SV, Tabela 1.3-1. |
| 3964af10d47a-ffff-48cb-aed1-4c89c6f334c1 | Translation Approved (0%) | Design the building envelope composite STC rating based on the 2010 FGI Guidelines, Categorization of Health Care Facility Sites by Exterior Ambient Sound, and show conformance with requirements. | Projete a avaliação de STC composta do envelope do edifício com base nas Diretrizes de 2010 da FGI, Categorização de terrenos de instalações de saúde por som ambiente externo (Categorization of Health Care Facility Sites by Exterior Ambient Sound), e mostrar a conformidade com os requisitos. |
| 39659f49715b-9c46-474f-a2c2-c87e242bf349 | Translation Approved (100%) | For exterior site exposure categories B, C, or D, calculate or measure the sound isolation performance of representative elements of the exterior building envelope to determine the composite sound transmission class (STCc) rating for representative façade sections. | Para as categorias de exposição do terreno externo B, C ou D, calcule ou meça o desempenho de isolamento sonoro de elementos representativos do envelope externo do edifício para determinar a avaliação da classe de transmissão composta do som (composite sound transmission class – STCc) para seções representativas da fachada. |
| 39669f49715b-9c46-474f-a2c2-c87e242bf349 | Translation Approved (0%) | Measurements should generally conform to ASTM E966, Standard Guide for Field Measurements of Airborne Sound Insulation of Building Façades and Façade Elements, current edition. | De forma geral, as medições devem seguir a Norma ASTM E966, Guia Padrão para medições de campo do isolamento sonoro suspenso no ar de fachadas e elementos de fachadas de edifícios (Standard Guide for Field Measurements of Airborne Sound Insulation of Building Façades and Façade Elements), edição atual. |
| 3967b94bfe2e-3883-4fe4-b2b6-b07585b0c327 | Translation Approved (0%) | Innovation (IN) | Inovação (Innovation - IN) |
| 39681a1554a5-816a-4385-ad93-fdb970e002a6 | Translation Approved (0%) | IN Credit: Innovation | Crédito IN: Inovação (IN Credit: Innovation) |
| 3969ba3d96f7-0bc6-4bea-8c80-3f2ad168641b | Translation Approved (100%) | BD&C | BD&C |
| 3970ce29f622-6a53-4348-b62b-82f49a3bab08 | Translation Approved (100%) | 1–5 points | 1 a 5 pontos |
| 3971b9ccd69d-8cf9-4a19-b596-f6871a1f00f2 | Translation Approved (100%) | This credit applies to | Este crédito se aplica a |
| 397207278d4e-3e6f-4369-b26b-a34a9f066c19 | Translation Approved (100%) | New Construction (1–5 points) | Nova Construção (New Construction) (1 a 5 pontos) |
| 39730f676e87-ec8c-414a-8f09-95ffb95f611e | Translation Approved (94%) | Core & Shell (1–5 points) | Núcleo e Casca (Core & Shell) (1 a 5 pontos) |
| 39749b837130-f672-44de-9578-b58507158193 | Translation Approved (100%) | Schools (1–5 points) | Escolas (Schools) (1 a 5 pontos) |
| 3975458be659-df34-4f39-8e2c-aed37d0fbead | Translation Approved (100%) | Retail (1–5 points) | Varejo (Retail) (1 a 5 pontos) |
| 3976480fe8c0-4d72-4621-82c4-cf3484834360 | Translation Approved (100%) | Data Centers (1–5 points) | Centros de Dados (Data Centers) (1 a 5 pontos) |
| 3977fcb55421-bb06-4d2c-981a-0b3c57d16be4 | Translation Approved (100%) | Warehouses & Distribution Centers (1–5 points) | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) (1 a 5 pontos) |
| 397819620dc7-ffc9-4b9d-a11d-506cf53fd209 | Translation Approved (100%) | Hospitality (1–5 points) | Hoteleiro (Hospitality) (1 a 5 pontos) |
| 397988ee9686-2c60-420b-85ed-e1bbad4b67b3 | Translation Approved (93%) | Healthcare (1–5 points) | Setor de Saúde (Healthcare) (1 a 5 pontos) |
| 39803975bb02-3f7a-4c11-9866-a171c3b8553d | Translation Approved (100%) | Intent | Objetivo |
| 3981f23196d6-bb47-4feb-bd27-a26d86fc4822 | Translation Approved (0%) | To encourage projects to achieve exceptional or innovative performance | Incentivar projetos a alcançar desempenho excepcional ou inovador. |
| 39828425611d-9160-4a8c-adde-d737275c760f | Translation Approved (100%) | Requirements | Requisitos |
| 39832de85ce3-858a-46de-8d76-5bada8582a8b | Translation Approved (100%) | NC, CS, Schools, Retail, Data Centers, Warehouses & Distribution Centers, Hospitality, Healthcare | NC, CS, Escolas (Schools), Varejo (Retail), Centros de Dados (Data Centers), Armazéns e Centros de Distribuição (Warehouses & Distribution Centers), Hoteleiro (Hospitality), Setor de Saúde (Healthcare) |
| 3984cfe356b0-1446-4cbb-a93c-bf7ddfaf2814 | Translation Approved (0%) | Project teams can use any combination of innovation, pilot, and exemplary performance strategies. | Equipes de projeto podem usar qualquer combinação de estratégias de inovação, créditos piloto e desempenho exemplar. |
| 39854260f182-589b-4a29-a7b4-913219b1b824 | Translation Approved (100%) | Option 1. | Opção 1. |
| 39864260f182-589b-4a29-a7b4-913219b1b824 | Translation Approved (0%) | <4821>Innovation</4821> <4822>(1 point)</4822> | <4821>Inovação </4821><4822>(1 ponto)</4822> |
| 398775b3ffe7-8f5f-4dfd-9ece-92493db88672 | Translation Approved (0%) | Achieve significant, measurable environmental performance using a strategy not addressed in the LEED green building rating system. | Alcance desempenho ambiental mensurável significativo utilizando uma estratégia não coberta no sistema de avaliação de edifícios verdes LEED. |
| 3988908c734c-51a0-4993-8b39-5928c37c7198 | Translation Approved (78%) | Identify the following: | Identifique o seguinte: |
| 3989cd705c56-7e5a-4c24-9ad4-4b232cf53a1f | Translation Approved (99%) | the intent of the proposed innovation credit; | o objetivo do crédito de inovação proposto; |
| 39902801fa57-5c30-47a8-bc3a-1870259d891e | Translation Approved (84%) | proposed requirements for compliance; | os requisitos propostos para conformidade; |
| 3991d17e60ab-3d28-4d2c-b596-e7214736137d | Translation Approved (89%) | proposed submittals to demonstrate compliance; and | as submissões propostas para demonstrar conformidade; e |
| 39927e3fd0f2-f649-41ca-952e-c373d5c04d92 | Translation Approved (0%) | the design approach or strategies used to meet the requirements. | a abordagem ou as estratégias de projeto usadas para atender aos requisitos. |
| 3993704fc02f-ef46-41f6-a50a-622f3eb87d00 | Translation Approved (100%) | AND/OR | E/OU |
| 39949420c2e4-041f-476d-98fe-e8d9e779eed8 | Translation Approved (100%) | Option 2. | Opção 2. |
| 39959420c2e4-041f-476d-98fe-e8d9e779eed8 | Translation Approved (0%) | Pilot (1 point) | Piloto (1 ponto) |
| 399648d26222-0c6d-41dc-bbe4-bbd6389bc94f | Translation Approved (0%) | Achieve one pilot credit from USGBC’s LEED Pilot Credit Library | Obtenha um crédito piloto da Biblioteca de créditos piloto LEED do USGBC |
| 399731999c62-6236-4d9b-a9de-4124d066a289 | Translation Approved (100%) | AND/OR | E/OU |
| 399853007a61-beca-4ab6-8c08-1a1ca5a2f339 | Translation Approved (100%) | Option 3. | Opção 3. |
| 399953007a61-beca-4ab6-8c08-1a1ca5a2f339 | Translation Approved (98%) | Additional Strategies | Estratégias adicionais |
| 4000854fed6b-5b19-4f2b-bcd2-68ee6bcc4a3c | Translation Approved (0%) | <4825>Innovation</4825> <4826>(1-3 points)</4826> | <4825>Inovação </4825><4826>(1 a 3 pontos)</4826> |
| 4001d7c3a208-8a45-4128-9edb-5e53740abe28 | Translation Approved (0%) | Defined in Option 1 above. | Definida na Opção 1 acima. |
| 4002907e27ce-2f0b-4396-820d-f4e5e1d13fc0 | Translation Approved (0%) | <4827>Pilot</4827> <4828>(1-3 points)</4828> | <4827>Piloto</4827> <4828>(1 a 3 pontos)</4828> |
| 40033ee38362-f7a1-4147-a265-8d05a548bb8b | Translation Approved (0%) | Meet the requirements of Option 2. | Atenda aos requisitos da Opção 2. |
| 400433538e07-c744-40ad-9b16-5f7cec2643c5 | Translation Approved (0%) | <4829>Exemplary Performance</4829> <4830>(1–2 points)</4830> | <4829>Desempenho exemplar </4829><4830>(1 a 2 pontos)</4830> |
| 4005a562977f-ebda-4936-bcd3-f7da3b0c7740 | Translation Approved (0%) | Achieve exemplary performance in an existing LEED v4 prerequisite or credit that allows exemplary performance, as specified in the LEED Reference Guide, v4 edition. | Alcance desempenho exemplar em um pré-requisito ou crédito LEED v4 existente que permita ter desempenho exemplar, conforme especificado no Guia de Referência LEED (LEED Reference Guide), edição v4. |
| 4006a562977f-ebda-4936-bcd3-f7da3b0c7740 | Translation Approved (0%) | An exemplary performance point is typically earned for achieving double the credit requirements or the next incremental percentage threshold. | Em geral, um ponto de desempenho exemplar é concedido por obter o dobro dos requisitos do crédito ou alcançar ou alcançar a próxima porcentagem do limiar incremental. |
| 4007f7d4c97b-0d19-435d-9258-282b148362cf | Translation Approved (100%) | IN Credit: LEED Accredited Professional | Crédito IN: Profissional Acreditado LEED (IN Credit: LEED Accredited Professional) |
| 40088b26df87-f26d-4ee2-a1e5-5a7bf8c4d4ce | Translation Approved (100%) | BD&C | BD&C |
| 4009c025c32c-7fd4-4e3f-9ea2-70b6c0120ac1 | Translation Approved (100%) | 1 point | 1 ponto |
| 4010df3e0efe-0174-4a6c-9c11-921cefb22965 | Translation Approved (100%) | This credit applies to | Este crédito se aplica a |
| 4011b58e3e36-0858-4c04-a284-817a940a04ef | Translation Approved (100%) | New Construction (1 point) | Nova Construção (New Construction) (1 ponto) |
| 4012040e46c9-ab4f-4a2e-82fd-9a2fa5d01595 | Translation Approved (100%) | Core & Shell (1 point) | Núcleo e Casca (Core & Shell) (1 ponto) |
| 401307cb2936-b629-40ce-8c8d-662eb922a916 | Translation Approved (100%) | Schools (1 point) | Escolas (Schools) (1 ponto) |
| 401401dcce89-2531-4495-a1f7-d2cc51b65a61 | Translation Approved (100%) | Retail (1 point) | Varejo (Retail) (1 ponto) |
| 4015f8d03bfb-25ef-4a7e-be3b-400c07d6347f | Translation Approved (100%) | Data Centers (1 point) | Centros de Dados (Data Centers) (1 ponto) |
| 401689ed229c-82cd-4a22-8b24-be67ebf29fe2 | Translation Approved (100%) | Warehouses & Distribution Centers (1 point) | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) (1 ponto) |
| 40176804337a-3e2c-4340-9e42-5b973bc64d74 | Translation Approved (100%) | Hospitality (1 point) | Hoteleiro (Hospitality) (1 ponto) |
| 4018e6d91d0a-0670-47f2-9cd8-7e7c2215d313 | Translation Approved (100%) | Healthcare (1 point) | Setor de Saúde (Healthcare) (1 ponto) |
| 4019287625d1-3c98-41e8-b466-31297ca1874d | Translation Approved (100%) | Intent | Objetivo |
| 40206b8debf7-b8dd-41da-bf95-e9948c877577 | Translation Approved (0%) | To encourage the team integration required by a LEED project and to streamline the application and certification process. | Incentivar a integração da equipe necessária em um projeto LEED e simplificar o processo de aplicação e certificação. |
| 4021d9468a63-0e17-471b-b46b-f8151325f74a | Translation Approved (100%) | Requirements | Requisitos |
| 4022ac91a8ed-f918-4bc0-8961-bee1994f4949 | Translation Approved (95%) | NC, CS, Schools, Retail NC, Data Centers, Warehouses & Distribution Centers, Hospitality, Healthcare | NC, CS, Escolas (Schools), Varejo-NC (Retail-NC), Centros de Dados (Data Centers), Armazéns e Centros de Distribuição (Warehouses & Distribution Centers), Hoteleiro (Hospitality), Setor de Saúde (Healthcare) |
| 4023e26ac310-d7d0-4683-8ac8-e5fb6bc63b5d | Translation Approved (0%) | At least one principal participant of the project team must be a LEED Accredited Professional (AP) with a specialty appropriate for the project. | Pelo menos um participante da equipe de projeto deve ser um LEED Accredited Professional (AP) com especialidade adequada para o projeto. |
| 40246bb4959e-122f-40dc-8186-99a93769ecba | Translation Approved (0%) | Regional Priority (RP) | Prioridade Regional (Regional Priority - RP) |
| 40250c1b47b8-d48b-4880-8007-b31d4478954a | Translation Approved (0%) | RP Credit: Regional Priority | Crédito RP: Prioridade Regional (RP Credit: Regional Priority) |
| 40263545337d-6b00-4c34-989e-3a3e5abb87ce | Translation Approved (100%) | BD&C | BD&C |
| 402796c699b4-6d96-41d1-a8c6-5a28d10b9941 | Translation Approved (100%) | 4 points | 4 pontos |
| 4028920889cc-8ffc-4eda-93dd-b1475e60d17b | Translation Approved (100%) | This credit applies to | Este crédito se aplica a |
| 4029550c96db-4fe0-4857-9a4b-2e86da22f420 | Translation Approved (94%) | New Construction (1-4 points) | Nova Construção (New Construction) (1 a 4 pontos) |
| 403020272681-385f-47e4-8e3e-6b12d093935b | Translation Approved (94%) | Core & Shell (1-4 points) | Núcleo e Casca (Core & Shell) (1 a 4 pontos) |
| 40312cb49980-4788-4013-8eed-4a88cf0b70b7 | Translation Approved (100%) | Schools (1-4 points) | Escolas (Schools) (1 a 4 pontos) |
| 4032ab52f2ae-dd04-44c4-998a-16934130a0bb | Translation Approved (93%) | Retail (1-4 points) | Varejo (Retail) (1 a 4 pontos) |
| 4033b7fdc259-14b7-4a9d-945b-61439a16eb81 | Translation Approved (94%) | Data Centers (1-4 points) | Centros de Dados (Data Centers) (1 a 4 pontos) |
| 403411dbb2a5-5e15-42c6-91d0-35028610cf37 | Translation Approved (95%) | Warehouses & Distribution Centers (1-4 points) | Armazéns e Centros de Distribuição (Warehouses & Distribution Centers) (1 a 4 pontos) |
| 4035e1fe61e4-c643-4e85-92da-a863382f6f76 | Translation Approved (93%) | Hospitality (1-4 points) | Hoteleiro (Hospitality) (1 a 4 pontos) |
| 403661c0714e-d91f-400e-8cc2-0e7d260ff19a | Translation Approved (93%) | Healthcare (1-4 points) | Setor de Saúde (Healthcare) (1 a 4 pontos) |
| 4037e04b208f-bd58-4a26-b243-6813197cfb96 | Translation Approved (100%) | Intent | Objetivo |
| 4038262bf7f2-0c02-40b7-a587-a19f68f24072 | Translation Approved (79%) | To provide an incentive for the achievement of credits that address geographically specific environmental, social equity, and public health priorities. | Oferecer um incentivo para a obtenção de créditos que abordem prioridades ambientais, de igualdade social e de saúde pública geograficamente específicas. |
| 4039814fc6ea-d30d-451c-984d-9d51ddc88a20 | Translation Approved (100%) | Requirements | Requisitos |
| 40404e871d52-9c03-41f8-981f-fb2cfac24796 | Translation Approved (100%) | NC, CS, Schools, Retail NC, Data Centers, Warehouses & Distribution Centers, Hospitality, Healthcare | NC, CS, Escolas (Schools), Varejo-NC (Retail-NC), Centros de Dados (Data Centers), Armazéns e Centros de Distribuição (Warehouses & Distribution Centers), Hoteleiro (Hospitality), Setor de Saúde (Healthcare) |
| 4041518fb2a3-0cf1-40d4-98e7-482944bc5b42 | Translation Approved (0%) | Earn up to four of the six Regional Priority credits. | Obtenha até quatro dos seis créditos de Prioridade Regional. |
| 4042518fb2a3-0cf1-40d4-98e7-482944bc5b42 | Translation Approved (0%) | These credits have been identified by the USGBC regional councils and chapters as having additional regional importance for the project’s region. | Esses créditos foram identificados pelos conselhos regionais e capítulos do USGBC como tendo importância regional adicional para a região do projeto. |
| 4043518fb2a3-0cf1-40d4-98e7-482944bc5b42 | Translation Approved (0%) | A database of Regional Priority credits and their geographic applicability is available on the USGBC website, <4840>http://www.usgbc.org</4840>. | Um banco de dados de créditos de Prioridade Regional e sua aplicabilidade geográfica está disponível no site do USGBC, <4840>http://www.usgbc.org</4840>. |
| 4044ebec39e5-73c8-4f05-944c-8bd4f03179b2 | Translation Approved (0%) | http://www.usgbc.org | http://www.usgbc.org |
| 404587bda77f-b078-4dcb-9318-bb4a9dd2c967 | Translation Approved (0%) | One point is awarded for each Regional Priority credit achieved, up to a maximum of four. | É concedido um ponto para cada crédito de Prioridade Regional obtido, até no máximo quatro. |
| 4046147957eb-b350-416f-a0af-c7ef3da14f73 | Translation Approved (100%) | Appendices | Apêndices |
| 4047724b62ef-03fc-4355-96b1-7807c358e32c | Translation Approved (0%) | Appendix 1. | Apêndice 1. |
| 4048724b62ef-03fc-4355-96b1-7807c358e32c | Translation Approved (0%) | Use Types and Categories | Tipos de uso e categorias |
| 4049231a0348-a136-4a4c-9de6-a9293a6d17d0 | Translation Approved (100%) | Table 1. | Tabela 1. |
| 4050231a0348-a136-4a4c-9de6-a9293a6d17d0 | Translation Approved (100%) | Use Types and Categories | Tipos de uso e categorias |
| 405122a2d646-df90-4086-9a37-ca8f3eda5e4a | Translation Approved (100%) | Category | Categoria |
| 4052142f6b4d-7178-4b2e-8682-4e54ed24c7a5 | Translation Approved (0%) | Use type | Tipo de uso |
| 4053956ec390-4066-4fcf-a4d4-1fd7005fb4bb | Translation Approved (0%) | Food retail | Varejo de alimentos |
| 4054e0fc3eb5-4615-4c9b-adbf-f193d1d99010 | Translation Approved (100%) | Supermarket | Supermercado |
| 405547cc8cbc-1b02-46d3-9fa5-228bcb353fd3 | Translation Approved (0%) | Grocery with produce section | Mercado com seção hortifruti |
| 4056fe52afac-50e5-4744-8672-b30d7556fdb8 | Translation Approved (0%) | Community-serving retail | Varejo que atende à comunidade |
| 405791e49cc6-4820-4369-87ec-9428e6c1359f | Translation Approved (0%) | Convenience store | Loja de conveniência |
| 40580fdffa7e-5707-421d-8f6a-c57f199e62c9 | Translation Approved (0%) | Farmers market | Mercado de produtores |
| 4059df46cea8-ee9e-49fa-a1ed-c1d1c57cac1b | Translation Approved (0%) | Hardware store | Loja de ferragens |
| 4060fd3096bd-1a83-41bd-ab73-6bbf12193c02 | Translation Approved (100%) | Pharmacy | Farmácia |
| 4061eed66815-55b3-4d6d-beda-06de7bd772d7 | Translation Approved (0%) | Other retail | Outro varejo |
| 4062ce7ca0bb-70f6-4792-ae46-f766b1ad3ac7 | Translation Approved (0%) | Services | Serviços |
| 4063d0a99e16-0a82-424a-8eba-1f988157d919 | Translation Approved (100%) | Bank | Banco |
| 4064e4177eca-7289-4197-ad47-3ae878134382 | Translation Approved (0%) | Family entertainment venue (e.g., theater, sports) | Local de entretenimento familiar (ex.: teatro, esportes) |
| 406565259065-fd11-48e3-8a71-6dc53920a6ba | Translation Approved (0%) | Gym, health club, exercise studio | Academia, clube de saúde, sala de exercícios |
| 40665e9548a3-4c69-452a-9257-da812dcb851c | Translation Approved (0%) | Hair care | Salão de beleza |
| 406710ee855f-c98c-4b43-a9d0-aca9a73ec7d8 | Translation Approved (0%) | Laundry, dry cleaner | Lavanderia, tinturaria |
| 406878b1efc9-d5c0-4db9-a100-b18d394b0c4a | Translation Approved (0%) | Restaurant, café, diner (excluding those with only drive-thru service) | Restaurante, cafeteria, lanchonete (exceto aqueles apenas com serviço drive-thru) |
| 40694cb4fe43-699d-45ae-959b-e121793c8312 | Translation Approved (0%) | Civic and community facilities | Instalações cívicas e comunitárias |
| 4070924f40cd-9ab8-4dff-9d12-d167270a9f39 | Translation Approved (0%) | Adult or senior care (licensed) | Atendimento a adultos ou idosos (licenciado) |
| 40710b940aef-9802-4778-af3e-f4a2928a21d9 | Translation Approved (0%) | Child care (licensed) | Atendimento infantil (licenciado) |
| 40726b0080a1-870b-40a2-bb54-47603e18a5a0 | Translation Approved (0%) | Community or recreation center | Centro comunitário ou recreativo |
| 40739f87d754-74c6-4927-887d-321412e6a198 | Translation Approved (0%) | Cultural arts facility (museum, performing arts) | Instalação cultural e artística (museu, artes cênicas) |
| 4074cd7e9bc1-1ede-464c-8213-328937944ff3 | Translation Approved (0%) | Education facility (e.g., K—12 school, university, adult education center, vocational school, community college) | Instalação educacional (ex.:escola, universidade, centro de educação para adultos, escola profissionalizante, faculdade comunitária) |
| 4075318675f9-cfbb-40f8-80e6-4175d68c37b5 | Translation Approved (0%) | Government office that serves public on-site | Escritório governamental que atenda o público no local |
| 4076a9caf141-b8ec-455d-ba7e-4e9f78b94159 | Translation Approved (0%) | Medical clinic or office that treats patients | Clínica ou consultório médico que atenda pacientes |
| 4077003b4e90-1de2-4ff7-958b-cdfcc866422e | Translation Approved (74%) | Place of worship | Local de culto religioso |
| 407849527bb0-d1c4-48d4-b302-5d976f79bfa3 | Translation Approved (0%) | Police or fire station | Delegacia de polícia ou quartel de bombeiros |
| 407976ade40c-c750-472c-94df-17dbef9fd9b4 | Translation Approved (0%) | Post office | Agência dos correios |
| 40808473b82e-68bc-4982-a181-47e2057e6bd7 | Translation Approved (0%) | Public library | Biblioteca pública |
| 4081abbb4062-10ea-452c-9953-73bc1bc8145e | Translation Approved (0%) | Public park | Parque público |
| 4082e8f9c432-e08d-48b5-8d9d-f0a157dc563d | Translation Approved (0%) | Social services center | Centro de serviços sociais |
| 40832d308e1a-2890-4575-834b-292118809f9f | Translation Approved (0%) | Community anchor uses (BD&C and ID&C only) | Usos comunitários fixos (apenas BD&C e ID&C) |
| 408427578126-57d9-4bb4-9091-bf797c14b7f9 | Translation Approved (0%) | Commercial office (100 or more full-time equivalent jobs) | Escritório comercial (100 ou mais empregos equivalentes a tempo integral) |
| 4085f376e3a7-83da-4966-af11-143895189df5 | Translation Approved (0%) | Housing (100 or more dwelling units) | Moradia (100 ou mais unidades habitacionais) |
| 4086be962d66-8515-4f93-bd6b-45f228e2bfaf | Translation Approved (0%) | Adapted from Criterion Planners, INDEX neighborhood completeness indicator, 2005. | Adaptado de Criterion Planners, INDEX Neighborhood Completeness Indicator, 2005. |
| 40876457b9d5-f8c5-4525-9541-aab4c91de62e | Translation Approved (100%) | Appendix 2. | Apêndice 2. |
| 40886457b9d5-f8c5-4525-9541-aab4c91de62e | Translation Approved (99%) | Default Occupancy Counts | Contagens de ocupação padrão |
| 40896dc4f4b8-a956-4131-a4c6-febf2e8bb057 | Translation Approved (0%) | Use Table 1 to calculate default occupancy counts. | Use a Tabela 1 para calcular as contagens de ocupação padrão. |
| 40906dc4f4b8-a956-4131-a4c6-febf2e8bb057 | Translation Approved (0%) | Only use the occupancy estimates if occupancy is unknown. | Use somente as estimativas de ocupação se a ocupação for desconhecida. |
| 409151bf3ea7-703a-4f8b-9787-1c214d160cd1 | Translation Approved (0%) | For the calculation, use gross floor area, not net or leasable floor area. | Para o cálculo, use a área de piso total, não á área de piso líquida ou locável. |
| 409251bf3ea7-703a-4f8b-9787-1c214d160cd1 | Translation Approved (100%) | Gross floor area is defined as the sum of all areas on all floors of a building included within the outside faces of the exterior wall, including common areas, mechanical spaces, circulation areas, and all floor penetrations that connect one floor to another. | A área de piso total é definida como a soma de todas as áreas em todos os pisos de um edifício incluídas nas faces externas da parede externa, incluindo áreas comuns, espaços mecânicos, áreas de circulação e todas as penetrações de pisos que conectam um andar ao outro. |
| 409351bf3ea7-703a-4f8b-9787-1c214d160cd1 | Translation Approved (0%) | To determine gross floor area, multiply the building footprint (in square feet or square meters) by the number of floors in the building. | Para determinar a área de piso total, multiplique a pegada ecológica (em pés quadrados ou metros quadrados) pelo número de pisos no edifício. |
| 409451bf3ea7-703a-4f8b-9787-1c214d160cd1 | Translation Approved (0%) | Exclude underground or structured parking from the calculation. | Exclua estacionamentos subterrâneos ou estruturados do cálculo. |
| 409504caf4a9-01bb-4fc7-ae43-3b65738486a9 | Translation Approved (100%) | Table 1. | Tabela 1. |
| 409604caf4a9-01bb-4fc7-ae43-3b65738486a9 | Translation Approved (77%) | Default Occupancy Numbers | Números de ocupação padrão |
| 40972d896d1e-59e3-4058-95ab-b7bb5095a5a0 | Translation Approved (0%) | Gross square feet per occupant | Total de pés quadrados por ocupante |
| 409854ac4ee9-7936-412c-b238-a7627e953e68 | Translation Approved (87%) | Gross square meters per occupant | Total de metros quadrados por ocupante |
| 409991d7e967-072f-4e2f-8d52-651cf59ce335 | Translation Approved (0%) | Employees | Funcionários |
| 4100dca2dd62-644b-4ef7-8800-132e0381a81a | Translation Approved (0%) | Transients | Esporádicos |
| 4101d587650a-735a-45b6-a90d-3d378e945222 | Translation Approved (100%) | Employees | Funcionários |
| 4102225b5d8f-d73b-4a8a-a666-fd9dd3451d03 | Translation Approved (100%) | Transients | Esporádicos |
| 41033864805a-abef-4324-a708-00f19a9d0ba9 | Translation Approved (0%) | General office | Escritório geral |
| 4104efbfc13f-cf5b-44e3-88d5-a58a597dc6bc | Translation Approved (100%) | 250 | 250 |
| 41058880fdb6-823e-4848-b311-fc0710e54492 | Translation Approved (100%) | 0 | 0 |
| 4106d59fa9b0-e5e4-4e4c-918a-e928e55b72a1 | Translation Approved (100%) | 23 | 23 |
| 41076639373a-8d9f-4ddf-b0ec-ff096f08d396 | Translation Approved (100%) | 0 | 0 |
| 4108949c53ea-1788-475d-9efa-19eb6c63c095 | Translation Approved (0%) | Retail, general | Varejo, geral |
| 410980cf7515-135c-4ed3-8263-6cb16a4b65e7 | Translation Approved (100%) | 550 | 550 |
| 4110f8757226-a0e7-47ed-852e-2784e68b3f02 | Translation Approved (100%) | 130 | 130 |
| 4111e41a1a90-dc1d-4023-8555-d6d39aa7a35f | Translation Approved (100%) | 51 | 51 |
| 4112073ec225-024a-4e92-9114-0ed3a90219fe | Translation Approved (100%) | 12 | 12 |
| 4113e41f847e-9520-4deb-93bc-08dec22019d3 | Translation Approved (0%) | Retail or service (e.g., financial, auto) | Varejo ou serviço (ex.: financeiro, automotivo) |
| 4114c076df68-5cd4-49e1-ad07-57195b7c42ee | Translation Approved (100%) | 600 | 600 |
| 4115919bf9f2-e468-4dc7-818a-c022521a2f9f | Translation Approved (100%) | 130 | 130 |
| 4116c123fe16-553b-4fb4-becb-f79b33f715ce | Translation Approved (100%) | 56 | 56 |
| 41177c5626eb-0ff7-460e-8023-0cd9b8f67183 | Translation Approved (100%) | 12 | 12 |
| 411884d84883-188d-46ba-a15a-b7d507d92bf4 | Translation Approved (100%) | Restaurant | Restaurante |
| 4119649d4ecb-08f0-4c4a-bf74-08c37361a7b7 | Translation Approved (100%) | 435 | 435 |
| 41200ec0ee5c-b69b-48cd-a147-db4f281d1260 | Translation Approved (100%) | 95 | 95 |
| 4121eb467d62-4a78-4fe0-b655-0d58caea8492 | Translation Approved (100%) | 40 | 40 |
| 4122a028e608-c272-4dc9-ae5a-722a9f1d1106 | Translation Approved (100%) | 9 | 9 |
| 41237c69872a-8fcf-4b92-be1b-e1f7a2013b71 | Translation Approved (0%) | Grocery store | Mercado |
| 41244ca851b2-8191-4e3f-ade8-1e3a7f20422d | Translation Approved (100%) | 550 | 550 |
| 41253634fd0e-f582-4da6-9f9d-a9260034dbb1 | Translation Approved (100%) | 115 | 115 |
| 412667624862-fdc7-4c2d-b18a-fd5da5b9eaf6 | Translation Approved (100%) | 51 | 51 |
| 412730705be9-76be-4a15-af22-a3e024d9efb0 | Translation Approved (100%) | 11 | 11 |
| 4128d5a3d0f2-2945-42e7-8577-75367cbf9ccb | Translation Approved (0%) | Medical office | Consultório médico |
| 4129c707e231-74da-4720-9d57-c8ee65535a57 | Translation Approved (100%) | 225 | 225 |
| 41309f2723a3-9cf7-4b4e-99d4-aae81e5295b4 | Translation Approved (100%) | 330 | 330 |
| 413102eea784-0cf2-4d2c-9aef-756be3d885cf | Translation Approved (100%) | 21 | 21 |
| 41325fb31be8-703d-404b-8e64-bd45d175a6e2 | Translation Approved (100%) | 31 | 31 |
| 4133c7ec5d82-b565-435b-a18b-cecc8f5eeaaf | Translation Approved (0%) | R&D or laboratory | P&D ou laboratório |
| 413487d47838-d572-4f74-ae77-d073b4ec7f7a | Translation Approved (100%) | 400 | 400 |
| 4135577b5bd1-d61a-4b48-83c7-f40c85780ed0 | Translation Approved (100%) | 0 | 0 |
| 413639eccdd1-c84d-4d6d-b9bd-4a27b55161df | Translation Approved (100%) | 37 | 37 |
| 4137eb4c1e8a-7e7f-4a04-9c0f-e319390cf84d | Translation Approved (100%) | 0 | 0 |
| 413805866b86-49c6-4b1d-91e0-8b2b8fb11eb4 | Translation Approved (0%) | Warehouse, distribution | Armazém, distribuição |
| 4139f20a3501-8d39-4723-bd9b-ac41b04623bc | Translation Approved (100%) | 2,500 | 2.500 |
| 4140f65ce5fa-19e9-4272-bf93-2ce104a38fdc | Translation Approved (100%) | 0 | 0 |
| 41410f284f57-f2e3-47f4-b373-0f5b229dd689 | Translation Approved (100%) | 232 | 232 |
| 41427830cdda-ec47-4c89-901d-5b51119f24ba | Translation Approved (100%) | 0 | 0 |
| 4143d5be10e2-9bf4-4200-ae44-7e29cd5aa0a5 | Translation Approved (0%) | Warehouse, storage | Armazém, armazenamento |
| 41442a17ba76-96e0-48de-b8d6-3b8bd3527f51 | Translation Approved (100%) | 20,000 | 20.000 |
| 41450a8d0fc2-3c01-479f-8d57-66cd8443d1b9 | Translation Approved (100%) | 0 | 0 |
| 4146221cb865-df68-42bc-bfb0-8cb7514623f3 | Translation Approved (100%) | 1860 | 1860 |
| 4147dbdf97ad-3936-4f76-8caf-e5c97639681e | Translation Approved (100%) | 0 | 0 |
| 414812061d41-08a0-442d-8311-a07fbc9ab256 | Translation Approved (100%) | Hotel | Hotel |
| 4149b67638c7-1934-4eb6-afec-b3adf0153ea8 | Translation Approved (100%) | 1,500 | 1.500 |
| 41505ddc6c57-1f4f-4bbf-84d7-379c544ebc8e | Translation Approved (100%) | 700 | 700 |
| 415187500231-e513-4b11-9921-99d8eb0a7d0d | Translation Approved (100%) | 139 | 139 |
| 41526b066246-1b54-4ac8-b12b-035da5534391 | Translation Approved (100%) | 65 | 65 |
| 415302db4a60-eb9e-4ba9-bb86-aa7baad5729d | Translation Approved (0%) | Educational, daycare | Educacional, creche |
| 4154dd63bd66-0420-47e0-a15b-cad42ea3e6bf | Translation Approved (100%) | 630 | 630 |
| 4155ff72eb83-33a1-4a4e-ada7-5361365097a8 | Translation Approved (100%) | 105 | 105 |
| 4156b1b881f2-f535-4d7e-8819-e347a3b5a8e7 | Translation Approved (100%) | 59 | 59 |
| 415777ee367f-d997-44bc-ade7-ec5eac0f9ff3 | Translation Approved (100%) | 10 | 10 |
| 4158abc5790c-143d-4d8a-9863-e5a65e8c8572 | Translation Approved (0%) | Educational, K–12 | Educacional, escola |
| 4159bcaea72a-49f2-4ae2-ba18-f889426ba5b4 | Translation Approved (100%) | 1,300 | 1.300 |
| 41600e7d486d-10c7-4576-a543-af6d283b8d74 | Translation Approved (100%) | 140 | 140 |
| 4161981df8dd-d23c-4e82-a101-b1a40f864978 | Translation Approved (100%) | 121 | 121 |
| 41627e8245f5-6302-4524-be1d-47fb62409cac | Translation Approved (100%) | 13 | 13 |
| 41631c161467-d04a-4873-9a0a-319741e02cfe | Translation Approved (0%) | Educational, postsecondary | Educacional, ensino superior |
| 416457d4647c-2a75-47a8-9252-ad7e2ba6870c | Translation Approved (100%) | 2,100 | 2.100 |
| 4165cbd7c44c-aa06-44be-b7e4-bd15c6191828 | Translation Approved (100%) | 150 | 150 |
| 41669e779adf-8677-4f83-8626-ddfb982835b4 | Translation Approved (100%) | 195 | 195 |
| 4167c7ca1fcb-8c09-4f8d-b514-3f0c1b569729 | Translation Approved (100%) | 14 | 14 |
| 4168a0119c5e-61df-47cf-9862-c105fa363f02 | Translation Approved (0%) | Sources: | Fontes: |
| 41693828fbf0-73d1-4e2d-a7fb-4886f7eecc8a | Translation Approved (0%) | ANSI/ASHRAE/IESNA Standard 90.1–2004 (Atlanta, GA, 2004). | ANSI/ASHRAE/IESNA Standard 90.1–2004 (Atlanta, GA, 2004). |
| 4170435acc6d-8aa0-4361-a0ea-dac79edd77c1 | Translation Approved (0%) | 2001 Uniform Plumbing Code (Los Angeles, CA) | 2001 Uniform Plumbing Code (Los Angeles, CA) |
| 41715029a647-ad53-4ba2-91dc-f7fa66abf676 | Translation Approved (0%) | California Public Utilities Commission, 2004–2005 Database for Energy Efficiency Resources (DEER) Update Study (2008). | California Public Utilities Commission, 2004–2005 Database for Energy Efficiency Resources (DEER) Update Study (2008). |
| 4172e1c361b0-f9ef-44b6-9c96-771e3f16c152 | Translation Approved (0%) | California State University, Capital Planning, Design and Construction Section VI, Standards for Campus Development Programs ( Long Beach, CA, 2002). | California State University, Capital Planning, Design and Construction Section VI, Standards for Campus Development Programs (Long Beach, CA, 2002). |
| 417310134e75-ce08-481e-908b-120ce9d5526e | Translation Approved (0%) | City of Boulder Planning Department, Projecting Future Employment—How Much Space per Person (Boulder, 2002). | City of Boulder Planning Department, Projecting Future Employment—How Much Space per Person (Boulder, 2002). |
| 4174f37231ea-2666-4e18-a24f-9e10f25fd6a0 | Translation Approved (0%) | Metro, 1999 Employment Density Study (Portland, OR 1999). | Metro, 1999 Employment Density Study (Portland, OR 1999). |
| 41752cf2c667-695f-4e8f-92ba-fea70bd610ee | Translation Approved (0%) | American Hotel and Lodging Association, Lodging Industry Profile Washington, DC, 2008. | American Hotel and Lodging Association, Lodging Industry Profile Washington, DC, 2008. |
| 4176f3832f6b-b4a2-4431-8775-ac6e2bc75078 | Translation Approved (0%) | LEED for Core & Shell Core Committee, personal communication (2003 - 2006). | LEED for Core & Shell Core Committee, personal communication (2003 - 2006). |
| 41776ccb44a0-636a-48cc-aae9-c153a8e50b13 | Translation Approved (0%) | LEED for Retail Core Committee, personal communication (2007) | LEED for Retail Core Committee, personal communication (2007) |
| 417890f07f6f-cb09-48be-a045-1e4f276b3b4f | Translation Approved (0%) | OWP/P, Medical Office Building Project Averages (Chicago, 2008). | OWP/P, Medical Office Building Project Averages (Chicago, 2008). |
| 4179731af410-571a-489b-a460-746dc9fc0da8 | Translation Approved (0%) | OWP/P, University Master Plan Projects (Chicago, 2008). | OWP/P, University Master Plan Projects (Chicago, 2008). |
| 41802ed540a5-5ae6-48a0-a938-d36a8bcef8dc | Translation Approved (0%) | U.S. General Services Administration, Childcare Center Design Guide (Washington, DC,2003). | U.S. General Services Administration, Childcare Center Design Guide (Washington, DC,2003). |
| 418192df0586-9f82-4511-b0db-13f161056bd6 | Translation Approved (100%) | Appendix 3. | Apêndice 3. |
| 418292df0586-9f82-4511-b0db-13f161056bd6 | Translation Approved (0%) | Retail Process Load Baselines | Baselines de cargas de processos de varejo |
| 418399f7f9a8-acfc-492d-9daa-23a3a42d6453 | Translation Approved (100%) | Table 1a. | Tabela 1a. |
| 418499f7f9a8-acfc-492d-9daa-23a3a42d6453 | Translation Approved (CM) | Commercial kitchen appliance prescriptive measures and baseline for energy cost budget (IP units) | Baseline e medidas prescritivas para utensílios para cozinhas comerciais para orçamento de custos de energia (sistema imperial) |
| 41859c5902df-8dcb-4731-81a6-d71d4c793c93 | Translation Approved (0%) | Baseline energy usage for energy modeling path | Baseline do uso de energia do caminho de modelagem de energia |
| 41865c03ce50-c80e-4d3d-8fc7-debac9a3c1c7 | Translation Approved (0%) | Levels for prescriptive path | Níveis do caminho prescritivo |
| 41877c717023-cf5d-454a-ac99-aab010939dc4 | Translation Approved (0%) | Appliance type | Tipo de utensílio |
| 4188a235da67-2cf5-44bc-b59e-f6927b164601 | Translation Approved (100%) | Fuel | Combustível |
| 418909e00213-8d6e-4150-a60f-089540e88027 | Translation Approved (0%) | Function | Função |
| 419021dc58cf-1827-4fa4-904f-56d5c70d443a | Translation Approved (0%) | Baseline efficiency | Eficiência da baseline |
| 4191456a2c1f-f930-4bf0-93ca-b2f631578690 | Translation Approved (0%) | Baseline idle rate | Taxa de inatividade da baseline |
| 41929767af1d-aaa7-4e9f-928d-58f148cc5df8 | Translation Approved (0%) | Prescriptive efficiency | Eficiência prescritiva |
| 41932d1db2c2-572d-4b2b-b98d-447b800fc477 | Translation Approved (CM) | Prescriptive idle rate | Taxa de inatividade prescritiva |
| 4194245c6143-3159-4da4-81d4-a628d57c5553 | Translation Approved (0%) | Broiler, underfired | Grelha, aquecida por baixo |
| 419516c4059e-d1ad-419c-8673-a08bbdc833f7 | Translation Approved (0%) | Gas | Gás |
| 419686d50023-7d92-4f44-8037-8aabbd822fa0 | Translation Approved (100%) | Cooking | Culinária |
| 4197c7c156a9-3638-4ada-ad3f-650fcdce957b | Translation Approved (100%) | 30% | 30% |
| 419865aabdc6-6c26-4981-9deb-1826c32c66a5 | Translation Approved (0%) | 16,000 Btu/h/ft<5302>2</5302> peak input | Pico de entrada 16.000 Btu/h/ft<5302>2</5302> |
| 419964b087cc-acf8-4cf5-a486-7d6ae12c4379 | Translation Approved (100%) | 35% | 35% |
| 4200e74ce1cf-247b-4ce3-b10a-98f4baa8a679 | Translation Approved (100%) | 12,000 Btu/h/ft<5309>2</5309> peak input | Pico de entrada 12.000 Btu/h/ft<5309>2</5309> |
| 42012002b666-2545-467e-9252-aa90e7429577 | Translation Approved (0%) | Combination ovens, steam mode (P = pan capacity) | Fornos de combinação, modo vapor (P = capacidade da panela) |
| 4202fb28b39e-b9a5-40e0-be4f-d25726885189 | Translation Approved (0%) | Elec | Elét. |
| 42031633fe16-1a48-4b30-848d-402475303716 | Translation Approved (100%) | Cooking | Culinária |
| 4204a17c8293-1697-407c-9c54-4259c7830366 | Translation Approved (0%) | 40% steam mode | 40% modo vapor |
| 42058c5fffd5-972e-4a05-b0f7-e9b36485de78 | Translation Approved (0%) | 0.37P+4.5 kW | 0,37P + 4,5 kW |
| 4206c09dc263-b11b-4371-8ece-f51391ba9918 | Translation Approved (100%) | 50% steam mode | 50% modo vapor |
| 4207362b60e9-aa09-4e10-bed0-ebbfc66b03bd | Translation Approved (0%) | 0.133P+0.6400 kW | 0,133P + 0,6400 kW |
| 4208dbebd2e2-6823-41a5-86e5-3e366a130755 | Translation Approved (0%) | Combination ovens, steam mode | Fornos de combinação, modo vapor |
| 4209cb58d752-4b66-4160-b697-f5651753d692 | Translation Approved (100%) | Gas | Gás |
| 421020aed563-8c6d-4463-a7af-14604d62733b | Translation Approved (100%) | Cooking | Culinária |
| 421196870a22-d27f-49bb-bd4d-acb8fb40258e | Translation Approved (100%) | 20% steam mode | 20% modo vapor |
| 42128e567616-a9b7-4fa1-a200-26744235b7df | Translation Approved (0%) | 1,210P+35,810 Btu/h | 1.210P + 35.810 Btu/h |
| 4213609f8254-a9ca-49b7-8f71-8ac65353fcec | Translation Approved (100%) | 38% steam mode | 38% modo vapor |
| 42140371417c-7a9c-4139-9c51-13e501e471fa | Translation Approved (0%) | 200P+6,511 Btu/h | 200P + 6.511 Btu/h |
| 42150423591c-1c5d-48e2-bb40-4036761dd386 | Translation Approved (83%) | Combination ovens, convection mode | Fornos de combinação, modo de convecção |
| 4216714a30dc-5456-4cbf-ad00-8745c4ddaa9e | Translation Approved (100%) | Elec | Elét. |
| 42175a073409-aa8f-4f04-92b2-a9a9cd2d3a8c | Translation Approved (100%) | Cooking | Culinária |
| 42188486e2de-0776-4739-8337-f0aa62179a9a | Translation Approved (0%) | 65% convection mode | 65% modo de convecção |
| 42190ce3c5df-39fb-47ef-9bcb-dbce7e517026 | Translation Approved (0%) | 0.1P+1.5 kW | 0,1P + 1,5 kW |
| 4220c4f5f63b-e63b-4396-a4bf-c31583996a0b | Translation Approved (100%) | 70% convection mode | 70% modo de convecção |
| 42210c000c05-117b-47e0-a7b1-c0d058c62b24 | Translation Approved (0%) | 0.080P+0.4989 kW | 0,080P + 0,4989 kW |
| 42223b47880a-97bb-46a6-a69a-fe24d239afe2 | Translation Approved (100%) | Combination ovens, convection mode | Fornos de combinação, modo de convecção |
| 42238440d9a2-1e4e-4bde-ad9c-53c66a0fe86d | Translation Approved (100%) | Gas | Gás |
| 4224e640428d-e92e-4502-bf7c-d57ee91e2b78 | Translation Approved (100%) | Cooking | Culinária |
| 422557bd1e08-81e5-43f7-8188-0da79d0c3819 | Translation Approved (100%) | 35% convection mode | 35% modo de convecção |
| 42266b12cf1c-6da2-4e41-8bdb-ff497b6dd3ad | Translation Approved (0%) | 322P+13,563 Btu/h | 322P + 13.563 Btu/h |
| 4227621e3808-6610-4c56-a254-a725eb125518 | Translation Approved (100%) | 44% convection mode | 44% modo de convecção |
| 4228db4c0854-7bc0-4e48-acc1-6197d2b6058b | Translation Approved (0%) | 150P+5,425 Btu/h | 150P + 5.425 Btu/h |
| 4229fef533b0-f8b2-4968-ab71-6c8f1f5a8106 | Translation Approved (0%) | Convection oven, full-size | Forno de convecção, tamanho integral |
| 4230ecb4e8dd-6426-43f9-a7fa-5cec90d2246c | Translation Approved (100%) | Elec | Elét. |
| 423180798c75-d154-4bd7-ba26-21c42e3f1d51 | Translation Approved (100%) | Cooking | Culinária |
| 423208311492-198b-47a7-8e77-636568d5b36f | Translation Approved (100%) | 65% | 65% |
| 4233f2628164-b474-4f72-9aee-7358afe4ee8d | Translation Approved (0%) | 2.0 kW | 2,0 kW |
| 423418486284-7f31-4b74-a85c-3b884fb0cda5 | Translation Approved (100%) | 71% | 71% |
| 42356df56424-a47b-4c7e-8b4f-713118f79ab7 | Translation Approved (100%) | 1.6 kW | 1,6 kW |
| 4236481b569f-5244-48f0-9dc9-4665e478ca2e | Translation Approved (100%) | Convection oven, full-size | Forno de convecção, tamanho integral |
| 42379e05c1bb-8479-4106-b1e5-7485a5dd2d2b | Translation Approved (100%) | Gas | Gás |
| 4238203ca0b9-d77f-4c08-9d7d-d3b5776500ac | Translation Approved (100%) | Cooking | Culinária |
| 4239901c4f22-04e1-4821-a485-ae10cdcda401 | Translation Approved (100%) | 30% | 30% |
| 42404a1bc3d7-43e3-4f50-ae11-7a27300f341b | Translation Approved (0%) | 18,000 Btu/h | 18.000 Btu/h |
| 4241662cf69b-e727-4b76-9d64-0eeae28e4d13 | Translation Approved (100%) | 46% | 46% |
| 4242a135f47b-e9bd-4c0d-85e4-436761b8fe6c | Translation Approved (100%) | 12,000 Btu/h | 12.000 Btu/h |
| 4243eb1c048c-2bd2-48f7-aad5-36f4960cda1b | Translation Approved (0%) | Convection oven, half-size | Forno de convecção, tamanho médio |
| 4244bf512b8f-fb6d-4387-b5bc-5a6caaa976e9 | Translation Approved (100%) | Elec | Elét. |
| 4245dd8f1bfc-326c-45a2-a2a6-f1a251c66121 | Translation Approved (100%) | Cooking | Culinária |
| 4246dd8cd43f-b402-4c78-8df2-9c949c1d2645 | Translation Approved (100%) | 65% | 65% |
| 42474b95c630-1328-4024-889c-b84218ab4dc0 | Translation Approved (100%) | 1.5 kW | 1,5 kW |
| 42488d1a620c-5504-4163-9932-76c5d5646470 | Translation Approved (100%) | 71% | 71% |
| 4249be2ac9ad-4981-4c20-a8e3-954a21f5ada9 | Translation Approved (100%) | 1.0 kW | 1,0 kW |
| 4250c23b37ba-64d4-47fb-96a3-727ad0603e40 | Translation Approved (0%) | Conveyor oven, > 25-inch belt | Forno com transportador, correia > 25 polegadas |
| 4251c5792142-65c0-4eed-9756-c2c40f1080d1 | Translation Approved (100%) | Gas | Gás |
| 4252035a117f-f60a-4f27-b89e-b7e3c7d16a20 | Translation Approved (100%) | Cooking | Culinária |
| 42530ed4c3e4-24cf-4ade-b47e-28744e1175a8 | Translation Approved (100%) | 20% | 20% |
| 4254bdc9132b-9e65-4814-b53d-bde7d6cbcd4d | Translation Approved (100%) | 70,000 Btu/h | 70.000 Btu/h |
| 425533d746bf-99e7-4aa0-ae22-dfc23fb49abe | Translation Approved (100%) | 42% | 42% |
| 4256f8d2b904-7cc8-4be1-a09d-025222e8f498 | Translation Approved (100%) | 57,000 Btu/h | 57.000 Btu/h |
| 425739e9b80b-dc0d-4c28-9970-5b3577fb6f9d | Translation Approved (0%) | Conveyor oven, ≤ 25-inch belt | Forno com transportador, correia ≤ 25 polegadas |
| 4258344c2705-46e5-414c-b2ed-30b5a9996d48 | Translation Approved (100%) | Gas | Gás |
| 4259f9a06f62-43cb-4bf6-927c-7fe26712fb36 | Translation Approved (100%) | Cooking | Culinária |
| 4260974b2b95-a652-437e-aa68-8ddf797277ed | Translation Approved (100%) | 20% | 20% |
| 4261c39aec17-7dd8-412f-beee-07e6498cbeaf | Translation Approved (100%) | 45,000 Btu/h | 45.000 Btu/h |
| 4262573bcd0e-bd62-4c20-80c7-263ce57edd92 | Translation Approved (100%) | 42% | 42% |
| 4263d47abf42-63f9-443e-899c-1b969518b03c | Translation Approved (100%) | 29,000 Btu/h | 29.000 Btu/h |
| 42647f0b382b-2940-48e3-97d4-f10a3f6c9be2 | Translation Approved (0%) | Fryer | Fritadeira |
| 4265a89b599d-c447-4b24-bbd6-9356eb88d1e0 | Translation Approved (100%) | Elec | Elét. |
| 42668d0247d8-2112-4d18-a292-da28738f44b8 | Translation Approved (100%) | Cooking | Culinária |
| 426741927cff-6fd7-4fd4-b4f1-e3036f343baa | Translation Approved (100%) | 75% | 75% |
| 426807624e2c-34a7-43ee-851b-24824e9d4dc9 | Translation Approved (100%) | 1.05 kW | 1,05 kW |
| 42694ab28ad3-35ad-42e7-9479-75be95fc90bc | Translation Approved (100%) | 80% | 80% |
| 42702f9ec887-84dd-458e-a022-f64070ed6a04 | Translation Approved (100%) | 1.0 kW | 1,0 kW |
| 42717e676c68-b013-4abd-807e-6fb594d7c978 | Translation Approved (100%) | Fryer | Fritadeira |
| 4272b2fadbc9-4324-4d94-83e6-95ea80036767 | Translation Approved (100%) | Gas | Gás |
| 42738c89445c-1b8b-4074-ae99-cda4758b6782 | Translation Approved (100%) | Cooking | Culinária |
| 4274b2213a0f-88c2-4910-ae60-c5bbd7930471 | Translation Approved (100%) | 35% | 35% |
| 4275464d3e2e-6c32-454b-8671-6bd1eaf08840 | Translation Approved (100%) | 14,000 Btu/h | 14.000 Btu/h |
| 4276e6bed0c1-203a-4142-accb-c7216cdeb612 | Translation Approved (100%) | 50% | 50% |
| 4277434aeb25-0cbc-4dd7-8ef2-1580dc456b43 | Translation Approved (100%) | 9,000 Btu/h | 9.000 Btu/h |
| 4278f9041a73-93b5-4b2c-880b-508480307eb0 | Translation Approved (0%) | Griddle (based on 3 ft model) | Frigideira (com base no modelo de 3 pés) |
| 4279ae4a35dc-7916-46c8-846f-f8f05f79803e | Translation Approved (100%) | Elec | Elét. |
| 428027a2e122-b9cb-417d-8745-d151afeacd75 | Translation Approved (100%) | Cooking | Culinária |
| 4281f373d89a-515b-45a8-81be-937176927014 | Translation Approved (100%) | 60% | 60% |
| 4282f8bb25f7-02e0-44e7-98bc-00d920a76067 | Translation Approved (0%) | 400 W/ft<5556>2</5556> | 400 W/ft<5556>2</5556> |
| 4283dbd947a5-63ba-44a2-8967-fa2a8d3df4c0 | Translation Approved (100%) | 70% | 70% |
| 42840ef70182-d9a7-42a3-9ab6-94ce5a303b15 | Translation Approved (100%) | 320 W/ft<5563>2</5563> | 320 W/ft<5563>2</5563> |
| 4285cebdc1c2-d57d-4cca-8f0a-6ddb5b6a6538 | Translation Approved (100%) | Griddle (based on 3 ft model) | Frigideira (com base no modelo de 3 pés) |
| 4286b8d402ce-b508-459a-a465-b4083ed3bfee | Translation Approved (100%) | Gas | Gás |
| 4287f2effa72-dd22-476c-9ff9-a0720afa12b9 | Translation Approved (100%) | Cooking | Culinária |
| 428868752d00-f2cf-4f95-b701-2a1de637807f | Translation Approved (100%) | 30% | 30% |
| 4289de33a14e-534e-4db9-8563-f0fe2f33846e | Translation Approved (0%) | 3,500 Btu/h/ft<5579>2</5579> | 3.500 Btu/h/ft<5579>2</5579> |
| 42907c4da7f9-0c1b-42e8-95ce-757a04c1501f | Translation Approved (100%) | 38% | 38% |
| 42917a3f0370-faf5-4980-8837-bf7de2208bcb | Translation Approved (100%) | 2,650 Btu/h/ft<5586>2</5586> | 2.650 Btu/h/ft<5586>2</5586> |
| 4292858e488c-bb91-4160-8108-4a65f1707f86 | Translation Approved (0%) | Hot food holding cabinets (excluding drawer warmers and heated display), 0 < V < 13 ft³ (V = volume) | Armários de armazenamento de alimentos quentes (exceto aquecedores de gavetas e prateleiras aquecidas), 0 < V < 13 ft³ (V = volume) |
| 42931e51d90c-fdde-48bb-9e27-18fc06122ac9 | Translation Approved (100%) | Elec | Elét. |
| 42946199b96a-f2d1-4f50-8531-62ffd42c157d | Translation Approved (100%) | Cooking | Culinária |
| 4295cc9b2ced-82d7-4cee-999c-267004848d2e | Translation Approved (0%) | na | n/d |
| 4296caeca685-a317-4714-92c1-46ca35a6a375 | Translation Approved (100%) | 40 W/ft<5602>3</5602> | 40 W/ft<5602>3</5602> |
| 4297a458c9dd-ac23-4142-afdd-33f6f47911e3 | Translation Approved (100%) | na | n/d |
| 42988a5ceaac-edfd-4eb5-bc87-06408ba25380 | Translation Approved (0%) | 21.5V Watts | 21,5V Watts |
| 4299ebc15639-1a50-442f-9dab-51a47f27bad0 | Translation Approved (90%) | Hot food holding cabinets (excluding drawer warmers and heated display), 13 ≤ V < 28 ft³ | Armários de armazenamento de alimentos quentes (exceto aquecedores de gavetas e prateleiras aquecidas), 13 ≤ V < 28 ft³ |
| 43003b0dd244-14e6-44b4-85ff-8bbfdcb59a33 | Translation Approved (100%) | Elec | Elét. |
| 4301d9877635-d8ed-4c82-ba66-3cf73029281d | Translation Approved (100%) | Cooking | Culinária |
| 4302fb529198-47bb-42a3-815b-ca06fcd5bd98 | Translation Approved (100%) | na | n/d |
| 4303c4d5e362-9d51-4615-9553-9a85ef3dd1f7 | Translation Approved (100%) | 40 W/ft<5624>3</5624> | 40 W/ft<5624>3</5624> |
| 4304a701446e-4eb4-4702-bdc3-8f256fc84419 | Translation Approved (100%) | na | n/d |
| 43055591739f-db00-4dc6-990a-9b47de8db403 | Translation Approved (0%) | 2.0V + 254 Watts | 2,0 V + 254 Watts |
| 4306d17fa4cd-92a4-40f6-8a47-a2d7ac1a4b60 | Translation Approved (85%) | Hot food holding cabinets (excluding drawer warmers and heated display), 28 ft³ ≤ V | Armários de armazenamento de alimentos quentes (exceto aquecedores de gavetas e prateleiras aquecidas), 28 ft³ ≤ V |
| 43072bef22d5-bdae-40c1-a013-6f564b208c34 | Translation Approved (100%) | Elec | Elét. |
| 43085fa480e4-fbe6-404c-9f33-56ffe5cfbcfc | Translation Approved (100%) | Cooking | Culinária |
| 430952e60338-55d3-4c5e-b82f-842fe80cd0c6 | Translation Approved (100%) | na | n/d |
| 4310fb0e3da2-9d53-4905-b2af-05e0d0eaee76 | Translation Approved (100%) | 40 W/ft<5646>3</5646> | 40 W/ft<5646>3</5646> |
| 43116f160094-1d04-4904-9521-3a057f937502 | Translation Approved (100%) | na | n/d |
| 4312ee1c48d2-ae3f-4238-8879-6ccd70ddc002 | Translation Approved (100%) | 3.8V + 203.5 Watts | 3,8 V + 203,5 Watts |
| 431391453cd8-b202-4cfc-a32b-9ac1cde87d7f | Translation Approved (0%) | Large vat fryer | Fritadeira de tanque grande |
| 4314b04ac3ad-73c3-4d5c-aeba-58d678a039ee | Translation Approved (100%) | Elec | Elét. |
| 4315c3d1be86-e687-4572-a8d6-d61131feb85c | Translation Approved (100%) | Cooking | Culinária |
| 43167634bc1e-6e3b-4b3b-ac3f-f69e3924f9a0 | Translation Approved (100%) | 75% | 75% |
| 4317530951fd-371f-4fe5-a3dc-9a79360c245c | Translation Approved (100%) | 1.35 kW | 1,35 kW |
| 4318f68f27d0-92ce-494d-8165-569bd579bbb6 | Translation Approved (100%) | 80% | 80% |
| 4319b267dc78-37ba-45e5-b8b1-2150bf176adb | Translation Approved (100%) | 1.1 kW | 1,1 kW |
| 4320d5922f79-58a8-470f-9237-ce962ffab06e | Translation Approved (100%) | Large vat fryer | Fritadeira de tanque grande |
| 4321e1ccf890-c181-46a7-8645-eb13d3d56227 | Translation Approved (100%) | Gas | Gás |
| 43227c1d20cf-76c7-4fc4-b8e7-ed04f593f01c | Translation Approved (100%) | Cooking | Culinária |
| 43233cbb1c05-b132-43d4-96f4-6907b35f6754 | Translation Approved (100%) | 35% | 35% |
| 43243a6129ec-c6e4-4e1b-a25d-2176badb1ba1 | Translation Approved (100%) | 20,000 Btu/h | 20.000 Btu/h |
| 432545a0e259-eeb3-4f6c-b074-1faf5daf9d1a | Translation Approved (100%) | 50% | 50% |
| 4326240b8dcc-2c4a-4ef6-b9cb-bbf1bf54bf7d | Translation Approved (100%) | 12,000 Btu/h | 12.000 Btu/h |
| 432748b40687-e831-444a-af95-a586d98806f4 | Translation Approved (0%) | Rack oven, double | Forno rotativo, duplo |
| 43284e16d029-0b1d-44e6-a848-82dbd7cb7820 | Translation Approved (100%) | Gas | Gás |
| 4329aaec7d6b-bbc0-4d85-a232-04289bc9d222 | Translation Approved (100%) | Cooking | Culinária |
| 43301ecd63c8-6b63-4824-a16b-fbfd86cb62c3 | Translation Approved (100%) | 30% | 30% |
| 43318d50dcc7-2ab5-4c76-8618-57bf6c40a0fc | Translation Approved (100%) | 65,000 Btu/h | 65.000 Btu/h |
| 4332063344de-2b1d-4418-b582-ffa30df64044 | Translation Approved (100%) | 50% | 50% |
| 4333957bdb38-fc6e-4109-8c60-4d109c4178a2 | Translation Approved (100%) | 35,000 Btu/h | 35.000 Btu/h |
| 43347e9b53dc-3f42-44e9-ab0f-9963486aa7b1 | Translation Approved (78%) | Rack oven, single | Forno rotativo, simples |
| 43351e008a72-be6b-40a1-8699-7f9196e24f27 | Translation Approved (100%) | Gas | Gás |
| 4336f5129758-d0d3-4837-bd32-ae60549681b9 | Translation Approved (100%) | Cooking | Culinária |
| 433748243626-ebb8-4447-8f57-78806edf989b | Translation Approved (100%) | 30% | 30% |
| 433899657e81-3439-482e-a181-ccb98e30bbfc | Translation Approved (100%) | 43,000 Btu/h | 43.000 Btu/h |
| 433942931aa8-f129-4a2b-99d7-c39cb3b23983 | Translation Approved (100%) | 50% | 50% |
| 4340e8bc93b9-7aa7-4b22-b785-c0c5d5430823 | Translation Approved (100%) | 29,000 Btu/h | 29.000 Btu/h |
| 4341ceb7063a-37ae-4954-a147-9161082c3550 | Translation Approved (0%) | Range | Fogão |
| 4342b7a01a8d-8439-4af0-a4c4-8c4fdcc7ac44 | Translation Approved (100%) | Elec | Elét. |
| 4343b5907748-0c9b-4b73-93e3-77e5c42ef4ba | Translation Approved (100%) | Cooking | Culinária |
| 43445e69f853-7d7c-4b80-9d29-81e6a359e1c0 | Translation Approved (100%) | 70% | 70% |
| 4345ba7a2320-c533-4fe7-8f94-b3eb32d59fcc | Translation Approved (100%) | 80% | 80% |
| 43465490a1a3-03ef-49a7-be77-7542b53fac86 | Translation Approved (100%) | Range | Fogão |
| 43474ffbe801-f7ae-4a25-ae88-6c34d410c54a | Translation Approved (100%) | Gas | Gás |
| 43483cd035f3-9bc1-4306-8ee8-3bb78f8dab4d | Translation Approved (100%) | Cooking | Culinária |
| 4349f2bbfa4c-b949-4847-bf13-42fb069050b7 | Translation Approved (100%) | 35% | 35% |
| 435068d6503a-1ad1-4f2d-bb39-dee3cfe5f5b9 | Translation Approved (100%) | na | n/d |
| 4351dc123f77-922f-4cf4-b7b2-1218d2b3c00e | Translation Approved (0%) | 40% and no standing pilots | 40% e sem chama piloto |
| 435229e119a2-8697-4be4-a08f-16df889c4262 | Translation Approved (100%) | na | n/d |
| 4353d2713bd9-e824-40f9-8c24-376c3ca3fce2 | Translation Approved (0%) | Steam cooker, batch cooking | Panela a vapor, cozinhar em lote |
| 43548092586e-eb6e-4a64-8d15-7e5ca2dae62b | Translation Approved (100%) | Elec | Elét. |
| 4355d1a5bcac-7560-4340-aa65-fe995b456285 | Translation Approved (100%) | Cooking | Culinária |
| 4356d8cb2224-3bf0-49ea-958b-7473e0d6d8a2 | Translation Approved (100%) | 26% | 26% |
| 435768e6b2f6-1ba4-4d93-88b2-0922e27c653f | Translation Approved (0%) | 200 W/pan | 200 W/panela |
| 4358439489c5-3d80-4aff-955a-14b904c38bb7 | Translation Approved (100%) | 50% | 50% |
| 4359de12015b-8e68-45c0-84c4-a6d81bbd4a5f | Translation Approved (100%) | 135 W/pan | 135 W/panela |
| 43604e3b0e51-b8be-486e-8dee-0560707ebedf | Translation Approved (100%) | Steam cooker, batch cooking | Panela a vapor, cozinhar em lote |
| 43611da31c61-bd41-4381-ae3b-d04f472432c0 | Translation Approved (100%) | Gas | Gás |
| 4362779af670-cd0b-44da-a042-bb5ab670e26b | Translation Approved (100%) | Cooking | Culinária |
| 4363ca4a09e7-6cbb-464e-b44a-125070a2c088 | Translation Approved (100%) | 15% | 15% |
| 4364ffa2e452-9a05-42ee-886a-18fa4dcdcc95 | Translation Approved (0%) | 2,500 Btu/h/pan | 2.500 Btu/h/panela |
| 43657a34fd45-d20e-418a-800b-da69ac5903f0 | Translation Approved (100%) | 38% | 38% |
| 43662dfab8f2-47fc-45b3-bc58-f01e61728f45 | Translation Approved (100%) | 2,100 Btu/h/pan | 2.100 Btu/h/panela |
| 436717c621be-590e-42e9-84a1-96fd7dbc2240 | Translation Approved (0%) | Steam cooker, high production or cook to order | Panela a vapor, alta produção ou "cook to order" |
| 43680b42a203-8ae5-4782-a88b-148a32d4ac00 | Translation Approved (100%) | Elec | Elét. |
| 43693a4dcce2-ae3b-4a3e-a68f-8aadd087481c | Translation Approved (100%) | Cooking | Culinária |
| 43708fc4847f-c4eb-4647-9f80-8cafc79fa837 | Translation Approved (100%) | 26% | 26% |
| 43718b79c7e3-833a-4054-b8ce-85e5266a8bb4 | Translation Approved (100%) | 330 W/pan | 330 W/panela |
| 4372636d9971-38f0-442d-ba39-d33d958eae02 | Translation Approved (100%) | 50% | 50% |
| 437314762620-0dbc-4465-8b89-3fd48d72e78f | Translation Approved (100%) | 275 W/pan | 275 W/panela |
| 43748bd3f4ef-99af-498f-a7a2-e58454936c9b | Translation Approved (100%) | Steam cooker, high production or cook to order | Panela a vapor, alta produção ou "cook to order" |
| 4375cec14220-8dab-409c-9b5d-eec10452bf32 | Translation Approved (100%) | Gas | Gás |
| 437676f03e89-f657-4ce0-b2a8-ef2573dbe668 | Translation Approved (100%) | Cooking | Culinária |
| 4377ba587e10-e43a-4ae7-a23a-dc3d2bf1b849 | Translation Approved (100%) | 15% | 15% |
| 4378627fffa2-2a7f-4232-845e-1165646a451a | Translation Approved (100%) | 5,000 Btu/h/pan | 5.000 Btu/h/panela |
| 437991e49575-2251-4080-bf79-3538fe9049ff | Translation Approved (100%) | 38% | 38% |
| 4380e3144f7b-12a8-4497-adea-53c85a74a51b | Translation Approved (100%) | 4,300 Btu/h/pan | 4.300 Btu/h/panela |
| 43814305b21f-b08c-4e49-98d0-b0b2b3a17a3f | Translation Approved (0%) | Toaster | Torradeira |
| 4382b2181611-cec9-4fa7-9bba-653b65e47d63 | Translation Approved (100%) | Elec | Elét. |
| 438389145af8-ecee-4b97-aa95-e0dd8398ef2c | Translation Approved (100%) | Cooking | Culinária |
| 4384acb7dad0-9356-4574-9294-0252154afa09 | Translation Approved (100%) | — | — |
| 43852db03f9a-b380-408a-a45c-8d81dbdfef97 | Translation Approved (0%) | 1.8 kW average operating energy rate | 1,8 kW de taxa de energia média de operação |
| 438677cbd096-6194-42ac-91d3-4f1a77971215 | Translation Approved (100%) | na | n/d |
| 4387d9bf8c23-4b34-4485-88e2-e9c5a50035c6 | Translation Approved (100%) | 1.2 kW average operating energy rate | 1,2 kW de taxa de energia média de operação |
| 43886dd6eabd-1851-49a7-bab1-590eb3b2461b | Translation Approved (0%) | Ice machine, IMH (ice-making head, H = ice harvest), H <5887>></5887> 450 lb/day | Máquina de gelo, IMH (cabeçote de produção de gelo, H = coleta de gelo), H <5887>></5887> 450 lb/dia |
| 438930344c67-1ae9-4238-b634-acbea92eca9a | Translation Approved (100%) | Elec | Elét. |
| 43905c774c71-fdb0-46a1-9455-68948b6c8827 | Translation Approved (0%) | Ice | Gelo |
| 4391b346e940-8757-4d0b-a76e-8747b8000b0d | Translation Approved (0%) | 6.89 - 0.0011H kWh/100 lb ice | 6,89 - 0,0011H kWh/100 lb de gelo |
| 43925d13ad78-4e94-4f12-a25a-b83cfec11ee7 | Translation Approved (100%) | na | n/d |
| 43937fa3ee9d-4529-44a9-82aa-c26399f51ce9 | Translation Approved (0%) | 37.72*H<5903>-0.298 </5903>kWh/100 lb ice | 37,72*H<5903>-0.298 </5903>kWh/100 lb de gelo |
| 4394acabf4f7-2bd3-4cd4-add0-0e7f89f03385 | Translation Approved (100%) | na | n/d |
| 4395bb39e06f-2d18-4cad-84d8-b3c308597e33 | Translation Approved (75%) | Ice machine, IMH (ice-making head), H <5910>< </5910>450 lb/day | Máquina de gelo, IMH (cabeçote de produção de gelo), H <5910>< </5910>450 lb/dia |
| 439646a61a01-a8a2-45ad-820c-0bd5147bfc76 | Translation Approved (100%) | Elec | Elét. |
| 4397219a5de9-2e09-4371-baf0-b29d641298b7 | Translation Approved (100%) | Ice | Gelo |
| 439881a2ba55-92cf-4963-964d-9e82d883f7b6 | Translation Approved (0%) | 10.26 – 0.0086H kWh/100 lb ice | 10,26 – 0,0086H kWh/100 lb de gelo |
| 43994f8dc5ff-3b97-4bd7-b11c-0eba9b78f28a | Translation Approved (100%) | na | n/d |
| 44007b28d524-cb6c-4322-8d1c-02ce3ff4c0da | Translation Approved (100%) | 37.72*H<5926>-0.298 </5926>kWh/100 lb ice | 37,72*H<5926>-0.298 </5926>kWh/100 lb de gelo |
| 4401ebf9a04d-1d0c-40e4-96aa-927ffa326690 | Translation Approved (100%) | na | n/d |
| 4402176fd304-8503-4290-8350-50a284a8a9cd | Translation Approved (0%) | Ice machine, RCU (remote condensing unit, w/o remote compressor, H < 1,000 lb/day | Máquina de gelo, RCU (unidade de condensação remota, sem compressor remoto), H < 1.000 lb/dia |
| 44032b5fbbec-e3a1-47af-9d29-a29e1d7a42aa | Translation Approved (100%) | Elec | Elét. |
| 44049ac1981f-41d6-4d07-9220-21d01ec07cc6 | Translation Approved (100%) | Ice | Gelo |
| 44050eb954dd-06d3-4a29-9a62-1ce49c4c0a0a | Translation Approved (0%) | 8.85 - 0.0038H kWh/100lb ice | 8,85 - 0,0038H kWh/100 lb de gelo |
| 44068ca5cca2-1017-4da7-8337-004194f2ccc3 | Translation Approved (100%) | na | n/d |
| 44078f99dfac-981e-4632-a033-b7a6400c7809 | Translation Approved (0%) | 22.95*H<5948>-0.258 </5948>+ 1.00 kWh/100 lb ice | 22,95*H<5948>-0,258 </5948>+ 1,00 kWh/100 lb de gelo |
| 44088d26ced2-03b7-4d1e-b06f-784f95e8eabf | Translation Approved (100%) | na | n/d |
| 44094e113632-db92-4f76-beb3-d9a4224855c7 | Translation Approved (75%) | Ice machine, RCU (remote condensing unit), 1600 > H <5955>></5955> 1000 lb/day | Máquina de gelo, RCU (unidade de condensação remota), 1600 > H <5955>></5955> 1.000 lb/dia |
| 4410e089e004-cd81-4f32-9212-292db52c9ffb | Translation Approved (100%) | Elec | Elét. |
| 441171a0a3f7-b7db-497b-b00a-8aec2d74b863 | Translation Approved (90%) | ice | gelo |
| 44122b4f408e-7889-4a8b-b6ae-4baf85e7226e | Translation Approved (0%) | 5.10 kWh/100 lb ice | 5,10 kWh/100 lb de gelo |
| 4413ae61ede5-98e8-4370-8d61-22b6235d5e2b | Translation Approved (100%) | na | n/d |
| 441416fd0289-183c-4244-b181-5e38b920021c | Translation Approved (0%) | 22.95*H<5971>-0.258</5971> + 1.00 kWh/100 lb ice | 22,95*H<5971>-0,258</5971> + 1,00 kWh/100 lb de gelo |
| 44156fd6124e-ddc5-4d91-a53a-dbfec814beb8 | Translation Approved (100%) | na | n/d |
| 4416f837e824-79d1-4c3a-884b-46a3c7c86e05 | Translation Approved (87%) | Ice machine, RCU (remote condensing unit), H ≥ 1600 lb/day | Máquina de gelo, RCU (unidade de condensação remota), H ≥ 1600 lb/dia |
| 44176b98811f-2cfe-4a6e-a9c4-c0e575f77b6b | Translation Approved (100%) | Elec | Elét. |
| 4418afcc07b3-93fb-4ef0-bb07-f101d5afe425 | Translation Approved (100%) | Ice | Gelo |
| 441961767f53-e7a9-4964-a134-96c2fd7b469b | Translation Approved (100%) | 5.10 kWh/100lb ice | 5,10 kWh/100lb de gelo |
| 4420979ccb9e-fb3a-45a7-b921-e2490899907c | Translation Approved (100%) | na | n/d |
| 44218b220740-e059-49bb-8ece-a4fe8f905d5c | Translation Approved (0%) | -0.00011*H + 4.60 kWh/100 lb ice | -0,00011*H + 4,60 kWh/100 lb de gelo |
| 4422374b0515-3fdb-40b7-9dc6-d63691e57ba5 | Translation Approved (100%) | na | n/d |
| 44236cbc46d7-7ccd-42d4-8df8-39d620e22338 | Translation Approved (0%) | Ice machine, SCU (self-contained unit), H < 175 lb/day | Máquina de gelo, SCU (unidade autônoma), H < 175 lb/dia |
| 4424b1feb2e6-4ab2-437f-a189-2ffa4c2ff54a | Translation Approved (100%) | Elec | Elét. |
| 4425929bc6c3-bae9-4094-b326-bb9c010795a0 | Translation Approved (100%) | Ice | Gelo |
| 4426d22c6830-aadb-4760-abc9-a9c784e69579 | Translation Approved (0%) | 18.0 - 0.0469H kWh/100lb ice | 18,0 - 0,0469H kWh/100 lb de gelo |
| 44276a20e440-de5d-4749-87bd-196f2ecbb0c3 | Translation Approved (100%) | na | n/d |
| 4428ec60051a-cdd6-4047-981a-ab27c9e2b787 | Translation Approved (100%) | 48.66*H<6014>-0.326</6014> + 0.08 kWh/100 lb ice | 48,66*H<6014>-0,326</6014> + 0,08 kWh/100 lb de gelo |
| 44297da59a43-2570-4e9b-803e-31f273fd67cf | Translation Approved (100%) | na | n/d |
| 443010fa0b97-28a6-490c-aae1-1462007a953e | Translation Approved (0%) | Ice machine self-contained unit, H <6021>></6021> 175 lb/day | Máquina de gelo, unidade autônoma, H <6021>></6021> 175 lb/dia |
| 44318c784c1a-32ae-43a5-ba75-5f9cfbd6e723 | Translation Approved (100%) | Elec | Elét. |
| 4432d82d9770-9329-4331-84be-cf01f5d48bb8 | Translation Approved (100%) | Ice | Gelo |
| 4433a5550859-fc44-4698-9d46-7f3705ad975c | Translation Approved (100%) | 9.80 kWh/100 lb ice | 9,80 kWh/100 lb de gelo |
| 4434d3c75e84-5868-42bb-9b83-20f3738c6075 | Translation Approved (100%) | na | n/d |
| 443581aeae47-b3b6-45e4-a7aa-9c5465eebf0b | Translation Approved (100%) | 48.66*H<6037>-0.326</6037> + 0.08 kWh/100 lb ice | 48,66*H<6037>-0,326</6037> + 0,08 kWh/100 lb de gelo |
| 44365e17d74f-8ed4-4472-a485-33889b8ffefd | Translation Approved (100%) | na | n/d |
| 4437483a809d-6ade-4f96-ade0-df264ad5ec96 | Translation Approved (0%) | Ice machine, water-cooled ice-making head, H <6044>></6044> 1436 lb/day (must be on chilled loop) | Máquina de gelo, cabeçote de produção de gelo resfriado à água, H <6044>></6044> 1436 lb/dia (deve estar em ciclo resfriado) |
| 443883d34f19-0e49-4449-9bd2-600af78440ed | Translation Approved (100%) | Elec | Elét. |
| 44394bc4c3db-7b53-48e9-9dc4-43162000c899 | Translation Approved (100%) | Ice | Gelo |
| 444049576ce7-7f59-4920-9fa9-0a356bbddeaf | Translation Approved (100%) | 4.0 kWh/100 lb ice | 4,0 kWh/100 lb de gelo |
| 444159685eaa-614b-46ad-beaa-8dad8634e43b | Translation Approved (100%) | na | n/d |
| 444248d7f406-7cc5-48dd-a008-c33a2800ec3a | Translation Approved (100%) | 3.68 kWh/100 lb ice | 3,68 kWh/100 lb de gelo |
| 4443d6243537-c422-467a-a230-15e0c1926f2c | Translation Approved (100%) | na | n/d |
| 444479990de3-2aca-4813-af2a-dc16b7c934e4 | Translation Approved (78%) | Ice machine, water-cooled ice-making head, 500 lb/day < H < 1436 (must be on chilled loop) | Máquina de gelo, cabeçote de produção de gelo resfriado à água, 500 lb/dia < H < 1436 (deve estar em ciclo resfriado) |
| 4445c8b3ab72-72a2-4fb6-8e36-1467c94291f4 | Translation Approved (100%) | Elec | Elét. |
| 44465116bf7d-f46b-4378-9314-ca3d6f7d0a42 | Translation Approved (100%) | Ice | Gelo |
| 4447037bf2ad-06cf-4021-a241-9c7571326f38 | Translation Approved (0%) | 5.58 – 0.0011H kWh/100 lb ice | 5,58 – 0,0011H kWh/100 lb de gelo |
| 444884fd4130-9cab-44f2-b13d-38c0f193dd8c | Translation Approved (100%) | na | n/d |
| 444997860582-a2cd-45b8-afc9-adb0a21dd712 | Translation Approved (0%) | 5.13 - 0.001H kWh/100 lb ice | 5,13 – 0,001H kWh/100 lb de gelo |
| 44505a218919-8d48-4ef7-a43a-461383a35745 | Translation Approved (100%) | na | n/d |
| 4451253eb56a-6534-48e3-82b2-ed9400ccaec0 | Translation Approved (98%) | Ice machine, water-cooled ice-making head, H < 500 lb/day (must be on chilled loop) | Máquina de gelo, cabeçote de produção de gelo resfriado à água, H < 500 lb/dia (deve estar em ciclo resfriado) |
| 4452d72746de-57e0-4209-861d-019ff902e989 | Translation Approved (100%) | Elec | Elét. |
| 4453e293396d-2b55-49d5-b842-eebdf1b30630 | Translation Approved (100%) | Ice | Gelo |
| 445477ddf116-d69e-4ed8-b8ca-ce0a91bbf6b9 | Translation Approved (0%) | 7.80 – 0.0055H kWh/100 lb ice | 7,80 – 0,0055H kWh/100 lb de gelo |
| 445570473d8b-3cef-426e-9886-222d76b20a8d | Translation Approved (100%) | na | n/d |
| 44567bbb6d10-07b8-41d4-af6c-e3df700300fe | Translation Approved (0%) | 7.02 - 0.0049H kWh/100 lb ice | 7,02 - 0,0049H kWh/100 lb de gelo |
| 44571abc9d5b-b0cb-4fff-be23-b5b4f185b522 | Translation Approved (100%) | na | n/d |
| 4458483d10af-df83-47a5-ad07-071a4945b11c | Translation Approved (0%) | Ice machine, water-cooled once-through (open loop) | Máquina de gelo, resfriamento à água em uma passagem (ciclo aberto) |
| 445927330777-4004-44a2-bf68-0e8502876360 | Translation Approved (100%) | Elec | Elét. |
| 446062f291cb-ec37-4267-b9a1-949e3cc6c6df | Translation Approved (100%) | Ice | Gelo |
| 44618fc535eb-0463-425d-be98-f7819eda9eb1 | Translation Approved (0%) | Banned | Proibido |
| 44622e00b331-6055-47e5-9a2b-39dc4200586b | Translation Approved (100%) | Banned | Proibido |
| 446349eb4144-fc3d-4ea8-8653-a077223f632a | Translation Approved (100%) | Banned | Proibido |
| 446454a7ec53-30d1-4581-84a6-ca1c69d1019d | Translation Approved (100%) | Banned | Proibido |
| 446527adc2ef-7676-4230-8a5e-eb33fd5d5b0c | Translation Approved (0%) | Ice machine, water-cooled SCU (self-contained unit), H < 200 lb/day (must be on chilled loop) | Máquina de gelo, SCU resfriada à água (unidade autônoma), H < 200 lb/dia (deve estar em ciclo resfriado) |
| 4466b7cbe82d-6a71-4529-bd47-cb5bb6e08e05 | Translation Approved (100%) | Elec | Elét. |
| 4467e12f110c-969b-43a4-b940-4135f87a5176 | Translation Approved (100%) | Ice | Gelo |
| 44686411ff2c-182a-4462-8a40-c1c6a598f10d | Translation Approved (0%) | 11.4 – 0.0190H kWh/100 lb ice | 11,4 – 0,0190H kWh/100 lb de gelo |
| 44695973506d-0516-4aeb-824c-bbf97bdfb7f1 | Translation Approved (100%) | na | n/d |
| 44709c85b5b4-b442-4ba7-b50c-13d47bd73c9e | Translation Approved (0%) | 10.6 - 0.177H kWh/100 lb ice | 10,6 - 0,177H kWh/100 lb de gelo |
| 44716a357ec0-3627-411e-b542-58bc5f65b3c6 | Translation Approved (100%) | na | n/d |
| 44720a45d3af-89ca-47b6-bba6-0b13e789edd7 | Translation Approved (93%) | Ice machine, water-cooled self-contained unit, H <6150>></6150> 200 lb/day (must be on chilled loop) | Máquina de gelo, unidade autônoma resfriada à água, H <6150>></6150> 200 lb/dia (deve estar em ciclo resfriado) |
| 44737dc93756-589c-401a-b88e-6595f16fc548 | Translation Approved (100%) | Elec | Elét. |
| 44745ab2bce5-2f6e-49e8-babc-599db1c64f55 | Translation Approved (100%) | Ice | Gelo |
| 4475d360296e-343a-4494-9e62-07c1d1e38cda | Translation Approved (100%) | 7.6 kWh/100 lb ice | 7,6 kWh/100 lb de gelo |
| 44769429ea77-b098-4dea-bcce-94da731b378c | Translation Approved (100%) | na | n/d |
| 447730880d6a-a3b9-4d8a-bd2f-55b2eace8d02 | Translation Approved (100%) | 7.07 kWh/100 lb ice | 7,07 kWh/100 lb de gelo |
| 447868dea25e-6392-4843-9085-e84777b98154 | Translation Approved (100%) | na | n/d |
| 44797bcf702d-17c4-4b10-94e7-82e472049787 | Translation Approved (CM) | Chest freezer, solid or glass door | Freezer horizontal, porta sólida ou de vidro |
| 4480244f7d0d-60c0-48da-b342-ea993079d0b2 | Translation Approved (100%) | Elec | Elét. |
| 44815ac17744-3d66-4603-a164-dcf93a07cf06 | Translation Approved (0%) | Refrig | Refrig. |
| 4482dd42822d-dc07-485a-8e9a-cbe2d4b7d5c1 | Translation Approved (0%) | 0.45V + 0.943 kWh/day | 0,45V + 0,943 kWh/dia |
| 4483760fa4a1-7ce9-4c8c-b6a1-fcfff3c2eb82 | Translation Approved (100%) | na | n/d |
| 448436fb92ee-619a-4f76-9a0d-8fffecb0bdc1 | Translation Approved (0%) | ≤ 0.270V + 0.130 kWh/day | ≤ 0,270V + 0,130 kWh/dia |
| 4485b6c92343-329d-47e1-8a7e-8245bfa22c07 | Translation Approved (100%) | na | n/d |
| 44867e6a53dc-ff21-4566-9ac3-9527ef81f5a8 | Translation Approved (89%) | Chest refrigerator, solid or glass door | Refrigerador horizontal, porta sólida ou de vidro |
| 44875c4bdeac-e2f3-443c-8154-0338872c7152 | Translation Approved (100%) | Elec | Elét. |
| 44886b9b8088-15aa-4ae6-b307-0fc5c043e4fc | Translation Approved (100%) | Refrig | Refrig. |
| 4489431c952c-3954-4f4f-873a-9ce46ef4ba9d | Translation Approved (100%) | 0.1V + 2.04 kWh/day | 0,1V + 2,04 kWh/dia |
| 44902a3345c9-a264-4c05-a0f1-4facf41acfc0 | Translation Approved (100%) | na | n/d |
| 4491d6e36414-a4e3-4aa8-9348-b442f07c2b9f | Translation Approved (100%) | ≤ 0.125V + 0.475 kWh/day | ≤ 0,125V + 0,475 kWh/dia |
| 4492fbc510a8-0434-47f6-af94-14fce8088827 | Translation Approved (100%) | na | n/d |
| 4493c1f8fb82-633f-4051-ae3c-671578a6c004 | Translation Approved (CM) | Glass-door reach-in freezer, 0 < V < 15 ft³ | Freezer vertical com porta de vidro, 0 < V < 15 ft³ |
| 44946ef80077-1dfc-4d83-95a2-10d57d194165 | Translation Approved (100%) | Elec | Elét. |
| 44953521e8e5-de0e-435b-8b3f-fb0a8ab284af | Translation Approved (100%) | Refrig | Refrig. |
| 44963049fc0d-01a3-42a5-b928-2e48e1521632 | Translation Approved (100%) | 0.75V + 4.10 kWh/day | 0,75V + 4,10 kWh/dia |
| 44973845d528-302e-43fc-86b0-cc60ea7f8585 | Translation Approved (100%) | na | n/d |
| 44986801fb26-e466-46a0-9292-6151bac6c788 | Translation Approved (100%) | ≤ 0.607V + 0.893 kWh/day | ≤ 0,607V + 0,893 kWh/dia |
| 4499b554dd3c-ed91-4734-9ff5-9f47159b31f2 | Translation Approved (100%) | na | n/d |
| 4500f068339d-4e10-45f0-b6c0-50838b9d4c03 | Translation Approved (CM) | Glass-door reach-in freezer, 15 ≤ V < 30 ft³ | Freezer vertical com porta de vidro, 15 ≤ V < 30 ft³ |
| 4501e8c7ef3e-d4d2-4fdc-a7dd-7012825dcd62 | Translation Approved (100%) | Elec | Elét. |
| 450255c1d8c6-3a2b-4959-a911-d1352e75d202 | Translation Approved (100%) | Refrig | Refrig. |
| 45034c5ae797-c5ba-45c3-a1ee-701f63a0802b | Translation Approved (CM) | .75V + 4.10 kWh/day | 0,75V + 4,10 kWh/dia |
| 45041425c9b2-57d9-42a0-a28b-605e946a3835 | Translation Approved (100%) | na | n/d |
| 450541c18cf7-4e66-4606-9f7d-9dd953ec1962 | Translation Approved (CM) | ≤ 0.733V – 1.00 kWh/day | ≤ 0,733 V – 1,00 kWh/dia |
| 450628e89e27-def5-47fe-8eb2-db78378aa373 | Translation Approved (100%) | na | n/d |
| 4507c2ed3ecb-2986-4add-ab8e-e3457e70e5f0 | Translation Approved (CM) | Glass-door reach-in freezer, 30 ≤ V < 50 ft³ | Freezer vertical com porta de vidro, 30 ≤ V < 50 ft³ |
| 4508980b60dd-d440-4379-a945-9063c6388bf0 | Translation Approved (100%) | Elec | Elét. |
| 45097443fe7a-43ff-4478-89d3-17fedfa3f30e | Translation Approved (100%) | Refrig | Refrig. |
| 45104b5a78b1-b80d-411a-a9e9-90b5df8b828e | Translation Approved (100%) | .75V + 4.10 kWh/day | 0,75V + 4,10 kWh/dia |
| 4511482b8d9f-c20a-499c-ab6f-68d9076c3074 | Translation Approved (100%) | na | n/d |
| 4512e47f1048-95a5-4a4e-8a02-e03f5f3e722e | Translation Approved (100%) | ≤ 0.250V + 13.50 kWh/day | ≤ 0,250V + 13,50 kWh/dia |
| 4513cb056cb4-fd8e-4a21-ac99-e75fce052e7b | Translation Approved (100%) | na | n/d |
| 4514441d0172-3228-49d8-a0c4-0f1bc104b9df | Translation Approved (CM) | Glass-door reach-in freezer, 50 ≤ V ft³ | Freezer vertical com porta de vidro, 50 ≤ V ft³ |
| 4515a5a00788-022f-4ec4-b5a4-0b1088182888 | Translation Approved (100%) | Elec | Elét. |
| 4516c2b1cc03-2653-4ae3-b941-31639b898232 | Translation Approved (100%) | Refrig | Refrig. |
| 45177f95c306-8b5e-409f-abc3-d8041a2a7c66 | Translation Approved (100%) | 0.75V + 4.10 kWh/day | 0,75V + 4,10 kWh/dia |
| 4518d2bf228d-edd4-4bba-b056-aa05906c09db | Translation Approved (100%) | na | n/d |
| 451927b57f54-6d00-4341-9de1-0203fd2df3ae | Translation Approved (100%) | ≤ 0.450V + 3.50 kWh/day | ≤ 0,450V + 3,50 kWh/dia |
| 45209db64f62-7767-4b5e-879b-73692131170e | Translation Approved (100%) | na | n/d |
| 4521daf3c687-188c-4040-8ac6-eef448bd1149 | Translation Approved (CM) | Glass-door reach-in refrigerator, 0 < V < 15 ft³ | Refrigerador vertical com porta de vidro, 0 < V < 15 ft³ |
| 4522c9cb4bea-19b1-4ca7-9b2e-dc43601fb210 | Translation Approved (100%) | Elec | Elét. |
| 45234264ef0c-73ae-4f21-b2cd-4e954306a580 | Translation Approved (100%) | Refrig | Refrig. |
| 4524f096b82b-6113-4b1e-8577-5a792774d49c | Translation Approved (100%) | 0.12V + 3.34 kWh/day | 0,12V + 3,34 kWh/dia |
| 4525609af7ac-50d3-4122-844d-976ffa31e348 | Translation Approved (100%) | na | n/d |
| 4526daa2e5cc-0836-422d-aa38-09cb81f9f3f3 | Translation Approved (100%) | ≤ 0.118V + 1.382 kWh/day | ≤ 0,118V + 1,382 kWh/dia |
| 45276f56cc1e-53df-439b-9cec-0958d59f2bf0 | Translation Approved (100%) | na | n/d |
| 4528801b94a0-3ce7-4b93-a0c6-00c18c583358 | Translation Approved (CM) | Glass-door reach-in refrigerator, 15 ≤ V < 30 ft³ | Refrigerador vertical com porta de vidro, 15 ≤ V < 30 ft³ |
| 4529b7d940da-d9e1-4467-b477-739a591619a4 | Translation Approved (100%) | Elec | Elét. |
| 4530643b9293-01fc-433c-a6ed-3ca823ed1887 | Translation Approved (100%) | Refrig | Refrig. |
| 453141cd8f64-000b-44bf-a0f9-d3b9c25be0a2 | Translation Approved (100%) | 0.12V + 3.34 kWh/day | 0,12V + 3,34 kWh/dia |
| 4532f1bc5413-f41f-4620-8e81-cdae2a36d4f7 | Translation Approved (100%) | na | n/d |
| 4533b346dfac-8970-44b8-bcb8-a4b7e1947b46 | Translation Approved (100%) | ≤ 0.140V + 1.050 kWh/day | ≤ 0,140V + 1,050 kWh/dia |
| 4534b0dba649-2076-4952-bf72-a04c0b2666b1 | Translation Approved (100%) | na | n/d |
| 4535eac6b5ed-d421-4b31-834b-2f7819e0595b | Translation Approved (100%) | Glass-door reach-in refrigerator, 30 ≤ V < 50 ft³ | Refrigerador vertical com porta de vidro, 30 ≤ V < 50 ft³ |
| 453635e0f698-03a2-427f-a68c-fa1df6b67ced | Translation Approved (100%) | Elec | Elét. |
| 4537ca390023-5576-4c5d-934a-5299675464fb | Translation Approved (100%) | Refrig | Refrig. |
| 4538d09c8c5c-470b-4428-936f-98a49c6c0882 | Translation Approved (100%) | 0.12V + 3.34 kWh/day | 0,12V + 3,34 kWh/dia |
| 453961888963-dd03-4056-9cfa-fc754b815f4b | Translation Approved (100%) | na | n/d |
| 4540daa6ad59-0ea5-4b76-8b29-28cd31f6ee45 | Translation Approved (100%) | ≤ 0.088V + 2.625 kWh/day | ≤ 0,088V + 2,625 kWh/dia |
| 45413b478036-177b-4e72-b300-3b4b0070e4a7 | Translation Approved (100%) | na | n/d |
| 4542fd3e201a-3f20-47e4-b70d-a23ce20bebbc | Translation Approved (CM) | Glass-door reach-in refrigerator, 50 ≤ V ft³ | Refrigerador vertical com porta de vidro, 50 ≤ V ft³ |
| 454328553e90-5fed-4545-9e28-2e80be23f7ac | Translation Approved (100%) | Elec | Elét. |
| 4544adddfd43-75f1-45ba-9b4e-a7db7781ea74 | Translation Approved (100%) | Refrig | Refrig. |
| 4545d32305c3-da6a-4eff-b07c-8e854a8d1c08 | Translation Approved (100%) | 0.12V + 3.34 kWh/day | 0,12V + 3,34 kWh/dia |
| 45463371e340-9e2a-42ff-9eeb-568f95fca9d5 | Translation Approved (100%) | na | n/d |
| 4547ba108803-0640-4012-a2fc-9afe56988c53 | Translation Approved (100%) | ≤ 0.110V + 1.500 kWh/day | ≤ 0,110V + 1,500 kWh/dia |
| 45481c383620-4d52-4b90-a4f8-b3de02fd9a42 | Translation Approved (100%) | na | n/d |
| 454944b95782-af82-4222-a3e3-ff7cbeaca1de | Translation Approved (CM) | Solid-door reach-in freezer, 0 < V < 15 ft³ | Freezer vertical com porta sólida, 0 < V < 15 ft³ |
| 45502c8d2f28-1f49-4acf-af0b-ddd827509e6b | Translation Approved (100%) | Elec | Elét. |
| 4551d533d31b-f9c9-46ef-a9ce-4e817c99fa05 | Translation Approved (100%) | Refrig | Refrig. |
| 4552fa9900ad-57f0-4650-80c7-ff848d9cf6c8 | Translation Approved (100%) | 0.4V + 1.38 kWh/day | 0,4V + 1,38 kWh/dia |
| 4553b9f8811f-02e1-46ee-ad50-b5efabcde681 | Translation Approved (100%) | na | n/d |
| 4554b6940606-636b-4d8d-a7d8-bd50781a4dcd | Translation Approved (100%) | ≤ 0.250V + 1.25 kWh/day | ≤ 0,250V + 1,25 kWh/dia |
| 455506b29493-a13e-4f22-b8a1-7571a56a207f | Translation Approved (100%) | na | n/d |
| 4556f55f59a4-ac84-4252-9428-86dd63ac584b | Translation Approved (CM) | Solid-door reach-in freezer, 15 ≤ V < 30 ft³ | Freezer vertical com porta sólida, 15 ≤ V < 30 ft³ |
| 4557a26a1ad7-879a-465c-8341-007c77bd672e | Translation Approved (100%) | Elec | Elét. |
| 4558f149c02e-b968-46f7-bf7f-fe922dd60dac | Translation Approved (100%) | Refrig | Refrig. |
| 45599e43ee20-2283-4516-8e4e-90fe8773ed60 | Translation Approved (100%) | 0.4V + 1.38 kWh/day | 0,4V + 1,38 kWh/dia |
| 4560bfb5e7a7-7f99-442e-83e7-178fc7de45fe | Translation Approved (100%) | na | n/d |
| 4561b6935942-6651-47a3-8bd6-4002152e4636 | Translation Approved (CM) | ≤ 0.400V – 1.000 kWh/day | ≤ 0,400 V – 1,000 kWh/dia |
| 45622b1ca537-db1e-4382-b654-2d53311ff43b | Translation Approved (100%) | na | n/d |
| 4563719797e9-6ef8-44c0-8d25-626db1ed4686 | Translation Approved (100%) | Solid-door reach-in freezer, 30 ≤ V < 50 ft³ | Freezer vertical com porta sólida, 30 ≤ V < 50 ft³ |
| 456442fe12fd-7a94-4fe5-add9-52fa53cde74e | Translation Approved (100%) | Elec | Elét. |
| 456582febb97-7a24-4388-8dc3-47a8e4e0eeb0 | Translation Approved (100%) | Refrig | Refrig. |
| 456606d4aef6-91ce-4cdf-a225-f960e4d507da | Translation Approved (100%) | 0.4V + 1.38 kWh/day | 0,4V + 1,38 kWh/dia |
| 456772d8d907-baa3-460a-94d3-0012eab62f6d | Translation Approved (100%) | na | n/d |
| 45680b909c0a-0dd9-4286-8087-c85c08548588 | Translation Approved (100%) | ≤ 0.163V + 6.125 kWh/day | ≤ 0,163V + 6,125 kWh/dia |
| 4569af0373ef-60cb-4fdb-9b52-2e0b9b7c5cf9 | Translation Approved (100%) | na | n/d |
| 457088c4da3a-d991-40eb-89f5-883025264c55 | Translation Approved (CM) | Solid-door reach-in freezer, 50 ≤ V ft³ | Freezer vertical com porta sólida, 50 ≤ V ft³ |
| 4571980a53b8-f663-4fca-baf5-e923983d96a7 | Translation Approved (100%) | Elec | Elét. |
| 4572785d4bb0-391b-4e78-be25-1255c84e1910 | Translation Approved (100%) | Refrig | Refrig. |
| 457365b7b2b9-8678-4de5-9426-e2fda843c4a4 | Translation Approved (100%) | 0.4V + 1.38 kWh/day | 0,4V + 1,38 kWh/dia |
| 457481e9b3db-0ebf-4933-88ef-bb371258264a | Translation Approved (100%) | na | n/d |
| 4575864ee585-713b-42e6-aa1e-f06a27235de9 | Translation Approved (100%) | ≤ 0.158V + 6.333 kWh/day | ≤ 0,158V + 6,333 kWh/dia |
| 4576f8b25de3-bb31-4539-be89-4d90af98ba11 | Translation Approved (100%) | na | n/d |
| 457719c4dd3e-06e3-4e09-ba57-00cdf06930a8 | Translation Approved (CM) | Solid-door reach-in refrigerator, 0 < V < 15 ft³ | Refrigerador vertical com porta sólida, 0 < V < 15 ft³ |
| 457880915c7e-4e0a-4a24-bb35-347a045fca34 | Translation Approved (100%) | Elec | Elét. |
| 45792cd92ee6-65e8-4fa7-91da-20ca5cb91089 | Translation Approved (100%) | Refrig | Refrig. |
| 4580f511ea9f-7992-4b76-85e3-ed3cc03eb9ff | Translation Approved (100%) | 0.1V + 2.04 kWh/day | 0,1V + 2,04 kWh/dia |
| 4581dda171cf-88c1-4cae-a4dd-65d72f5c3ca6 | Translation Approved (100%) | na | n/d |
| 45820d35d884-bef7-48fd-854e-e23d22c1490d | Translation Approved (100%) | ≤ 0.089V + 1.411 kWh/day | ≤ 0,089V + 1,411 kWh/dia |
| 458326dfa6bf-8d19-413d-abd6-901e3edba42b | Translation Approved (100%) | na | n/d |
| 45844ceed7ed-503d-4cee-891b-68d17cb97cc0 | Translation Approved (CM) | Solid-door reach-in refrigerator, 15 ≤ V < 30 ft³ | Refrigerador vertical com porta sólida, 15 ≤ V < 30 ft³ |
| 4585bb7ad9c7-a933-4801-8877-582e8d22d315 | Translation Approved (100%) | Elec | Elét. |
| 4586b28a909b-6afa-48ad-9069-dc1325cd2fe6 | Translation Approved (100%) | Refrig | Refrig. |
| 45870de1f7f2-dbf2-4f78-aa64-5241543caafc | Translation Approved (100%) | 0.1V + 2.04 kWh/day | 0,1V + 2,04 kWh/dia |
| 458815c481b6-0a07-4891-8315-a373f66e8f7d | Translation Approved (100%) | na | n/d |
| 45899b3bbd93-fdfd-45ea-84df-7bf9415252f2 | Translation Approved (100%) | ≤ 0.037V + 2.200 kWh/day | ≤ 0,037V + 2,200 kWh/dia |
| 45906e4bd927-ab36-4525-86d2-9b2c297ecdce | Translation Approved (100%) | na | n/d |
| 4591c15eb79e-7649-40ee-8a7c-c908c4e39571 | Translation Approved (100%) | Solid-door reach-in refrigerator, 30 ≤ V < 50 ft³ | Refrigerador vertical com porta sólida, 30 ≤ V < 50 ft³ |
| 45925ae5ecb1-d99d-44c4-a21a-e262bf371bdc | Translation Approved (100%) | Elec | Elét. |
| 4593b9e80fd6-d20d-42af-857d-36fd9c0f3da7 | Translation Approved (100%) | Refrig | Refrig. |
| 45940e186347-2336-4564-b43e-231297571676 | Translation Approved (100%) | 0.1V + 2.04 kWh/day | 0,1V + 2,04 kWh/dia |
| 4595d7e1fd96-07ca-48e5-a17e-780e9fda34c7 | Translation Approved (100%) | na | n/d |
| 4596593b6ea1-527f-4e90-837f-5118e55e1b57 | Translation Approved (100%) | ≤ 0.056V + 1.635 kWh/day | ≤ 0,056V + 1,635 kWh/dia |
| 4597dae9857a-f3ef-485a-977b-e40884caeacd | Translation Approved (100%) | na | n/d |
| 4598d500920d-6258-486d-a3ed-2eacbd42482e | Translation Approved (CM) | Solid-door reach-in refrigerator, 50 ≤ V ft³ | Refrigerador vertical com porta sólida, 50 ≤ V ft³ |
| 45998e4e61f1-7250-48ed-a0f5-05221cabef30 | Translation Approved (100%) | Elec | Elét. |
| 4600f115f199-c37c-47f9-aa1f-01210fd60371 | Translation Approved (100%) | Refrig | Refrig. |
| 460133cdf4b4-1de1-4e69-aec1-ded1c34b7d83 | Translation Approved (100%) | 0.1V + 2.04 kWh/day | 0,1V + 2,04 kWh/dia |
| 460274e20a5c-1c2f-4bed-ab58-128b6b19d7fa | Translation Approved (100%) | na | n/d |
| 4603ddd2c0d1-13ac-451b-a486-07ae5661e97d | Translation Approved (100%) | ≤ 0.060V + 1.416 kWh/day | ≤ 0,060V + 1,416 kWh/dia |
| 46046ac5d420-c86a-4f4a-a226-d8b3b7a0ca22 | Translation Approved (100%) | na | n/d |
| 4605e3327d45-4086-4714-8fe3-f7c9a9e1e4b9 | Translation Approved (CM) | Clothes washer | Máquina de lavar roupa |
| 46061a924f95-d178-4060-a24a-d59289840b6d | Translation Approved (100%) | Gas | Gás |
| 4607d61e0ecb-9441-4417-bd02-00f1b267d774 | Translation Approved (0%) | Sanitation | Saneamento |
| 4608092bd734-f686-4193-92d0-5be942cbf9b4 | Translation Approved (0%) | 1.72 MEF | 1,72 MEF |
| 460979112ff9-ed88-4df7-81be-8914af34af4b | Translation Approved (100%) | na | n/d |
| 4610310670e0-d0d2-4c42-9f3a-1fe298760f1f | Translation Approved (100%) | 2.00 MEF | 2,00 MEF |
| 4611e7147ab9-cd9e-4e98-a042-3e3599bac05b | Translation Approved (100%) | na | n/d |
| 4612a04ee742-0a7e-4a06-976c-0b49f6ba9237 | Translation Approved (CM) | Door-type dish machine, high temp | Lava-louças tipo porta, alta temp. |
| 4613cb763278-3810-4def-b84f-9fc15a3eebb5 | Translation Approved (100%) | Elec | Elét. |
| 4614ff64088d-0c43-4f6e-9c38-8e8b94557b24 | Translation Approved (100%) | Sanitation | Saneamento |
| 46152a47a36b-767b-4ca8-9d3d-9d5e7effaea8 | Translation Approved (100%) | na | n/d |
| 46169d7fade6-7926-41fb-afea-cc3ac8139213 | Translation Approved (100%) | 1.0 kW | 1,0 kW |
| 4617b23993f1-ebf1-4fcd-82e0-7acd41aa9e8b | Translation Approved (100%) | na | n/d |
| 461868b335a9-3990-4f91-b01e-b5cc2e8e1a37 | Translation Approved (100%) | 0.70 kW | 0,70 kW |
| 4619beea038d-4163-468e-8a9f-893ee51f092e | Translation Approved (87%) | Door-type dish machine, low temp | Lava-louças tipo porta, baixa temp. |
| 462037891e9b-1aa1-4a30-be0c-bda8e99966db | Translation Approved (100%) | Elec | Elét. |
| 4621fa4ed11a-023b-4cfe-ba1f-e1df4f110b82 | Translation Approved (100%) | Sanitation | Saneamento |
| 462251f748cd-8dc9-43d7-8907-1403ac08386e | Translation Approved (100%) | na | n/d |
| 4623b4257d65-7bc1-4b5a-a965-d58fee444bf5 | Translation Approved (100%) | 0.6 kW | 0,6 kW |
| 462422936fc7-eb2f-442f-875e-cde1f1bd8342 | Translation Approved (100%) | na | n/d |
| 4625be46460f-dd6c-4259-aa0a-4513ac4155f7 | Translation Approved (100%) | 0.6 kW | 0,6 kW |
| 4626b22dd0c4-a1d9-4129-8b70-8b684bdf0296 | Translation Approved (CM) | Multitank rack conveyor dish machine, high temp | Lava-louças industrial multitanque com transportador, alta temp. |
| 46274c78f90d-ffcc-4c4f-a5d1-f62a37c8b1f1 | Translation Approved (100%) | Elec | Elét. |
| 4628faf7ef41-68a6-4223-8588-be6bfc5803a3 | Translation Approved (100%) | Sanitation | Saneamento |
| 4629529f59c0-d730-46f6-8612-23f205e734fb | Translation Approved (100%) | na | n/d |
| 4630cc8fd494-1713-499f-a517-7b0cb92bb5ce | Translation Approved (100%) | 2.6 kW | 2,6 kW |
| 46316f1cc961-76c7-4a93-996d-74a1414de0e1 | Translation Approved (100%) | na | n/d |
| 4632f74b946a-0e1c-49c0-b330-4fa255891d73 | Translation Approved (100%) | 2.25 kW | 2,25 kW |
| 4633dc5b7268-fcb1-41af-bdfc-561b0163d6ef | Translation Approved (CM) | Multitank rack conveyor dish machine, low temp | Lava-louças industrial multitanque com transportador, baixa temp. |
| 463444ca0bbb-f86b-40c8-a3de-425dd114312e | Translation Approved (100%) | Elec | Elét. |
| 4635100529f0-338e-40eb-a400-3284652fe0cf | Translation Approved (100%) | Sanitation | Saneamento |
| 4636672b854e-52be-49c0-9753-9701795fa80b | Translation Approved (100%) | na | n/d |
| 46376af8b168-0e65-4709-917c-56c1964a1f86 | Translation Approved (100%) | 2.0 kW | 2,0 kW |
| 463836805576-642e-4a2b-a92d-898c5cf849e7 | Translation Approved (100%) | na | n/d |
| 4639ae841c82-5f51-42f4-b8c0-4c54ca27a88f | Translation Approved (100%) | 2.0 kW | 2,0 kW |
| 46406670e5c2-f5cd-42e5-a7df-5004e8273ba5 | Translation Approved (CM) | Single-tank rack conveyor dish machine, high temp | Lava-louças industrial tanque único com transportador, alta temp. |
| 4641f2e3764b-c921-4db6-a495-443d52ec8ba9 | Translation Approved (100%) | Elec | Elét. |
| 4642374aafe4-2128-4511-ac53-79a9532789fb | Translation Approved (100%) | Sanitation | Saneamento |
| 464371db5ce1-67c1-421e-a052-383879a331a6 | Translation Approved (100%) | na | n/d |
| 464463dffb54-d858-4a7a-aed0-7b9144ee4faf | Translation Approved (100%) | 2.0 kW | 2,0 kW |
| 464570fe94a3-a2db-4373-81e1-a19afe6f794a | Translation Approved (100%) | na | n/d |
| 4646e758a71e-4ecd-48a3-b8b7-c3f1812d0315 | Translation Approved (100%) | 1.5 kW | 1,5 kW |
| 4647257c9456-0505-48da-acb8-979ae1388b96 | Translation Approved (CM) | Single-tank rack conveyor dish machine, low temp | Lava-louças industrial tanque único com transportador, baixa temp. |
| 4648f993c611-a3e2-44e5-8b9f-fd3ff6af15b8 | Translation Approved (100%) | Elec | Elét. |
| 464960544d37-294e-4694-b0cd-d5b9ead557f3 | Translation Approved (100%) | Sanitation | Saneamento |
| 4650b433936a-dd00-4175-803d-8a66e0dfdfbe | Translation Approved (100%) | na | n/d |
| 4651e5c3ea7c-19f6-4d41-a6e8-83a0076198af | Translation Approved (100%) | 1.6 kW | 1,6 kW |
| 465201e9c04d-2c8a-43ba-b3a9-7c0f37d504d1 | Translation Approved (100%) | na | n/d |
| 46534850dd4b-41d7-4146-86cf-de3314333201 | Translation Approved (100%) | 1.5 kW | 1,5 kW |
| 465411a6510e-8d8e-407f-93c7-6122c1f4ecca | Translation Approved (CM) | Undercounter dish machine, high temp | Lava-louças sob bancada, alta temp. |
| 46554b441a36-2940-471f-bf17-5608702b3ebe | Translation Approved (100%) | Elec | Elét. |
| 465661e53ca4-e57a-437a-8ee1-cc322672be8e | Translation Approved (100%) | Sanitation | Saneamento |
| 46576feb21a0-87ae-4f9a-92eb-1821594ca8bf | Translation Approved (100%) | na | n/d |
| 4658de448740-6160-4c8d-8a31-d8511bd4a942 | Translation Approved (100%) | 0.9 kW | 0,9 kW |
| 4659ca816adf-0337-4f14-a054-8ba8d38b972a | Translation Approved (100%) | na | n/d |
| 4660388903fd-f972-4138-8dc7-5652ce59d065 | Translation Approved (100%) | 0.5 kW | 0,5 kW |
| 46614e76262b-c68e-448d-bbb3-29f0e517d7f8 | Translation Approved (CM) | Undercounter dish machine, low temp | Lava-louças sob bancada, baixa temp. |
| 46625ff0e856-137b-44b5-9528-5afdceff4cdb | Translation Approved (100%) | Elec | Elét. |
| 4663ed95668b-2897-4ef5-9944-b82694359596 | Translation Approved (100%) | Sanitation | Saneamento |
| 4664f0668e3e-5c51-4e0c-a9ed-8d0ee8cf539e | Translation Approved (100%) | na | n/d |
| 46659d82cfbc-aad7-4788-94c5-24bf10cab30e | Translation Approved (100%) | 0.5 kW | 0,5 kW |
| 46663ca068ba-b1b3-4250-bf77-0e17ad821482 | Translation Approved (100%) | na | n/d |
| 466753c6e5b4-ab83-44bf-bc4a-4d59d5d6d427 | Translation Approved (100%) | 0.5 kW | 0,5 kW |
| 4668b4c628a2-4195-4c0c-99ae-7e0d5005a7da | Translation Approved (CM) | The energy efficiency, idle energy rates, and water use requirements, where applicable, are based on the following test methods: | Os requisitos de eficiência energética, taxas de energia em inatividade e uso de água, quando aplicáveis, se baseiam nos seguintes métodos de teste: |
| 4669f6c8d33a-5a1e-4d54-b821-72f87eb9ff24 | Translation Approved (0%) | ASTM F1275 Standard Test Method for Performance of Griddles | ASTM F1275 – Método de teste padrão de desempenho de frigideiras (Standard Test Method for Performance of Griddles) |
| 46706fa2d8fc-10c5-4ff5-b391-1e753eb7a730 | Translation Approved (0%) | ASTM F1361 Standard Test Method for Performance of Open Deep Fat Fryers | ASTM F1361 – Método de teste padrão de desempenho de fritadeiras de imersão (Standard Test Method for Performance of Open Deep Fat Fryers) |
| 4671d029bded-5d79-4a52-b244-611d74c1efe1 | Translation Approved (0%) | ASTM F1484 Standard Test Methods for Performance of Steam Cookers | ASTM F1484 – Métodos de teste padrão de desempenho de panelas a vapor (Standard Test Methods for Performance of Steam Cookers) |
| 467226674eaa-1caf-45fe-93d4-c1f7633527eb | Translation Approved (0%) | ASTM F1496 Standard Test Method for Performance of Convection Ovens | ASTM F1496 – Método de teste padrão de desempenho de fornos de convecção (Standard Test Method for Performance of Convection Ovens) |
| 4673e4bc206b-dc35-4614-adab-da705be4d4c2 | Translation Approved (0%) | ASTM F1521 Standard Test Methods for Performance of Range Tops | ASTM F1521 – Métodos de teste padrão de desempenho de "cooktops" (Standard Test Methods for Performance of Range Tops) |
| 4674216b8c0f-2c90-4422-bb09-854048e79f15 | Translation Approved (0%) | ASTM F1605 Standard Test Method for Performance of Double-Sided Griddles | ASTM F1605 – Método de teste padrão de desempenho de frigideiras de dois lados (Standard Test Method for Performance of Double-Sided Griddles) |
| 467574d628f5-00be-4426-b4cc-73a11f9c15b3 | Translation Approved (0%) | ASTM F1639 Standard Test Method for Performance of Combination Ovens | ASTM F1639 – Método de teste padrão de desempenho de fornos de combinação (Standard Test Method for Performance of Combination Ovens) |
| 46763badab32-5984-4c88-b951-d2fb41e3797c | Translation Approved (0%) | ASTM F1695 Standard Test Method for Performance of Underfired Broilers | ASTM F1695 – Método de teste padrão de desempenho de grelhas aquecidas por baixo (Standard Test Method for Performance of Underfired Broilers) |
| 4677730245de-f0d3-43c1-afca-06adac3dd936 | Translation Approved (0%) | ASTM F1696 Standard Test Method for Energy Performance of Single-Rack Hot Water Sanitizing, ASTM Door-Type Commercial Dishwashing Machines | ASTM F1696 – Método de teste padrão de desempenho energético de lava-louças comerciais tipo porta ASTM, limpeza com água quente e prateleira única (Standard Test Method for Energy Performance of Single-Rack Hot Water Sanitizing, ASTM Door-Type Commercial Dishwashing Machines) |
| 46788ecfd391-bddc-4d12-ae02-40a945d8d86f | Translation Approved (0%) | ASTM F1704 Standard Test Method for Capture and Containment Performance of Commercial Kitchen Exhaust Ventilation Systems | ASTM F1704 – Método de teste padrão de desempenho de captura e contenção de sistemas de ventilação de exaustão de cozinhas (Standard Test Method for Capture and Containment Performance of Commercial Kitchen Exhaust Ventilation Systems) |
| 46791d42dea0-f568-451c-8bc6-6216ebd7ecb4 | Translation Approved (0%) | ASTM F1817 Standard Test Method for Performance of Conveyor Ovens | ASTM F1817 – Método de teste padrão de desempenho de fornos com transportador (Standard Test Method for Performance of Conveyor Ovens) |
| 46804d35c2ff-b54f-4894-b406-e95d0b32265c | Translation Approved (0%) | ASTM F1920 Standard Test Method for Energy Performance of Rack Conveyor, Hot Water Sanitizing, Commercial Dishwashing Machines | ASTM F1920 – Método de teste padrão de desempenho energético de lava-louças comerciais, limpeza com água quente, com transportador e prateleiras (Standard Test Method for Energy Performance of Rack Conveyor, Hot Water Sanitizing, Commercial Dishwashing Machines) |
| 4681158c6270-c7e6-4ad7-afe4-fe7dc7c4d07b | Translation Approved (0%) | ASTM F2093 Standard Test Method for Performance of Rack Ovens | ASTM F2093 – Método de teste padrão para o desempenho de fornos rotativos (Standard Test Method for Performance of Rack Ovens) |
| 468229458066-076a-4fa0-9acb-4225dc3732f9 | Translation Approved (0%) | ASTM F2140 Standard Test Method for Performance of Hot Food Holding Cabinets | ASTM F2140 – Método de teste padrão de desempenho de armários de armazenamento de alimentos quentes (Standard Test Method for Performance of Hot Food Holding Cabinets) |
| 46838175cac3-bdda-4f06-850a-09c386b5a4d8 | Translation Approved (0%) | ASTM F2144 Standard Test Method for Performance of Large Open Vat Fryers | ASTM F2144 – Método de teste padrão de desempenho de fritadeiras grandes de tanque aberto (Standard Test Method for Performance of Large Open Vat Fryers) |
| 46841c20e26d-e5c9-4244-9b97-8e1ae7a60ba5 | Translation Approved (0%) | ASTM F2324 Standard Test Method for Prerinse Spray Valves | ASTM F2324 – Método de teste padrão de válvulas de pulverização pré-lavagem (Standard Test Method for Prerinse Spray Valves) |
| 4685f1cc6214-2f9a-454e-ac88-2a5b7982c717 | Translation Approved (0%) | ASTM F2380 Standard Test Method for Performance of Conveyor Toasters | ASTM F2380 – Método de teste padrão de desempenho de torradeiras com transportador (Standard Test Method for Performance of Conveyor Toasters) |
| 4686c07e5c82-3e05-414f-806b-b9d57d3f30bd | Translation Approved (0%) | ARI 810-2007: Performance Rating of Automatic Commercial Ice Makers | ARI 810-2007: Avaliação de desempenho de máquinas de gelo comerciais automáticas (Performance Rating of Automatic Commercial Ice Makers) |
| 468700c67503-02bf-4805-bcd1-cee7493e9600 | Translation Approved (0%) | ANSI/ASHRAE Standard 72–2005: Method of Testing Commercial Refrigerators and Freezers with temperature setpoints at 38°F for medium-temp refrigerators, 0°F for low-temp freezers, and -15°F for ice cream freezers | Norma ANSI/ASHRAE 72–2005: Método de teste de refrigeradores e freezers comerciais com pontos de ajuste de temperatura a 38°F (3°C) para refrigeradores de temperatura média, 0°F (-18°C) para freezers de baixa temperatura e -15°F (-26°C) para freezers para sorvete (Method of Testing Commercial Refrigerators and Freezers with temperature setpoints at 38°F for medium-temp refrigerators, 0°F for low-temp freezers, and -15°F for ice cream freezers). |
| 4688698755d5-0595-4690-b99e-06bb7bceff5b | Translation Approved (100%) | Table 1b. | Tabela 1b. |
| 4689698755d5-0595-4690-b99e-06bb7bceff5b | Translation Approved (CM) | Commercial Kitchen Appliance Prescriptive Measures and Baseline for Energy Cost Budget (SI units) | Baseline e medidas prescritivas para utensílios de cozinhas comerciais para orçamento de custos de energia (sistema métrico) |
| 469084fb589e-f1db-4adf-85d7-4be10559eff4 | Translation Approved (100%) | Baseline energy usage for energy modeling path | Baseline do uso de energia do caminho de modelagem de energia |
| 4691e70081b6-e929-482b-80cd-58882cf73b57 | Translation Approved (100%) | Levels for prescriptive path | Níveis do caminho prescritivo |
| 4692d26d7043-3d9f-4b98-bd19-13733456a7db | Translation Approved (100%) | Appliance type | Tipo de utensílio |
| 4693247e99b9-25ee-49a8-a810-4d921d69e16f | Translation Approved (100%) | Fuel | Combustível |
| 4694c11a579c-954c-42ec-8ac2-4c26bfb2ed4d | Translation Approved (100%) | Function | Função |
| 46951c60e0ef-2a3a-4811-9138-8ec97f025cfd | Translation Approved (100%) | Baseline efficiency | Eficiência da baseline |
| 4696213e09d7-2699-47d7-b57a-74e756b4ff57 | Translation Approved (100%) | Baseline idle rate | Taxa de inatividade da baseline |
| 4697fe24ffd1-7054-4259-a58a-ca39aef28978 | Translation Approved (100%) | Prescriptive efficiency | Eficiência prescritiva |
| 4698c8726b4d-9271-4c9b-a1ec-f4ec204a7d35 | Translation Approved (100%) | Prescriptive idle rate | Taxa de inatividade prescritiva |
| 469989335676-f98a-4e14-ba82-f3d450f63774 | Translation Approved (100%) | Broiler, underfired | Grelha, aquecida por baixo |
| 470028b8abbb-5102-4948-8d29-900e5811a865 | Translation Approved (100%) | Gas | Gás |
| 470195b587fd-3387-4500-b30c-0ead8db29212 | Translation Approved (100%) | Cooking | Culinária |
| 470271a4c71d-8545-4536-aa3d-80ceaf0bc2cd | Translation Approved (100%) | 30% | 30% |
| 4703f727229f-6bf7-4ba8-a591-d032d10ccd4c | Translation Approved (0%) | 50.5 kW/m<6844>2</6844> | 50,5 kW/m<6844>2</6844> |
| 47045aaf2e2b-226d-419a-a85c-4512d3cf991a | Translation Approved (100%) | 35% | 35% |
| 4705da5c68ec-9653-468f-96eb-e2761c99beba | Translation Approved (100%) | 37.9 kW/m<6851>2</6851> | 37,9 kW/m<6851>2</6851> |
| 47064bdbbf44-8de3-4083-9f16-2eb000e292bd | Translation Approved (99%) | Combination oven, steam mode (P = pan capacity) | Forno de combinação, modo vapor (P = capacidade da panela) |
| 47070b5e02a4-0cb5-43e7-a993-737b25ec64d1 | Translation Approved (100%) | Elec | Elét. |
| 47084e9e65e6-b8c6-45fe-942e-3864688633bd | Translation Approved (100%) | Cooking | Culinária |
| 4709e6bac31b-43f4-4718-8d90-f286dedcf310 | Translation Approved (100%) | 40% steam mode | 40% modo vapor |
| 4710b145f091-a027-40ee-a9e9-8f6b1ee88bc5 | Translation Approved (100%) | 0.37P+4.5 kW | 0,37P + 4,5 kW |
| 471190a9b444-f80a-4953-a7f9-7143177c1f8c | Translation Approved (100%) | 50% steam mode | 50% modo vapor |
| 4712ed2567b2-acd5-4ce3-b739-a1c25dea0c6e | Translation Approved (100%) | 0.133P+0.6400 kW | 0,133P + 0,6400 kW |
| 47133fb608e7-acba-47e1-bf95-44f2bf63e68c | Translation Approved (93%) | Combination oven, steam mode | Forno de combinação, modo vapor |
| 47146cf9923b-fbef-4118-b389-f2d45dba6f5e | Translation Approved (100%) | Gas | Gás |
| 47156e844055-2006-49b7-9d00-f08c9ef789fc | Translation Approved (100%) | Cooking | Culinária |
| 4716f66337a1-9ec6-48a5-b742-cdc864b7c74a | Translation Approved (100%) | 20% steam mode | 20% modo vapor |
| 4717de8282a1-5d73-4e62-8d7c-16a8de91ad8a | Translation Approved (0%) | (1 210P+ | (1.210P + |
| 47184777fcce-d96e-4494-bf9a-7ceffdbbd290 | Translation Approved (0%) | 35 810)/3 412 kW | 35.810) / 3.412 kW |
| 47196e9c4a0e-1143-4634-ae62-0c9cbbc3674f | Translation Approved (100%) | 38% steam mode | 38% modo vapor |
| 47209374b76f-e9b2-4298-8a88-bdc72f5defe6 | Translation Approved (0%) | (200P+6 511)/ | (200P + 6.511)/ |
| 4721b2c8b62d-8295-4271-8c5c-d5bbfc9698c4 | Translation Approved (0%) | 3 412 kW | 3.412 kW |
| 472246a97330-51ce-4b31-994b-197159dda0d6 | Translation Approved (93%) | Combination oven, convection mode | Forno de combinação, modo de convecção |
| 4723f5fc0037-7db3-4fe6-afea-c5f6d4229cde | Translation Approved (100%) | Elec | Elét. |
| 4724f7e2ff3b-64a6-4476-bb19-16f73411d1f6 | Translation Approved (100%) | Cooking | Culinária |
| 47258b1cb1d4-4b43-4263-8dd7-c0b923d5d987 | Translation Approved (100%) | 65% convection mode | 65% modo de convecção |
| 472622b1247e-8ee6-4f3c-b891-67268d73cda3 | Translation Approved (100%) | 0.1P+1.5 kW | 0,1P + 1,5 kW |
| 4727022c2e0f-6a95-476a-973e-b42193638410 | Translation Approved (100%) | 70% convection mode | 70% modo de convecção |
| 47288e47f349-02d5-4288-8512-aa913b66093a | Translation Approved (100%) | 0.080P+0.4989 kW | 0,080P + 0,4989 kW |
| 4729944b6822-340b-4005-8379-8150556cff4f | Translation Approved (100%) | Combination oven, convection mode | Forno de combinação, modo de convecção |
| 47305813f4f1-6ff3-40f9-bd36-56ed80123931 | Translation Approved (100%) | Gas | Gás |
| 47318c5c350c-6faf-4612-b90b-686c4186633e | Translation Approved (100%) | Cooking | Culinária |
| 473291491d90-8bd4-4dd8-a130-ac276cead2d8 | Translation Approved (100%) | 35% convection mode | 35% modo de convecção |
| 4733e90263a2-d0cf-42ad-ae11-014b0a70aed8 | Translation Approved (0%) | (322P+ | (322P + |
| 473441dd1871-8102-4e04-8728-7b626323c23e | Translation Approved (0%) | 13 563)/ | 13.563)/ |
| 4735f08bf5ad-d26a-4510-b91a-1e7b125c4531 | Translation Approved (100%) | 3412 kW | 3412 kW |
| 4736a6942cd5-c412-4f01-8452-0135cd740e9c | Translation Approved (100%) | 44% convection mode | 44% modo de convecção |
| 473724d33d9b-dce2-449e-9f9f-9365461d5135 | Translation Approved (0%) | (150P+5 425)/ | (150P + 5.425)/ |
| 4738f84769a4-b9e5-4661-90f1-7aff241a81dc | Translation Approved (100%) | 3412 kW | 3412 kW |
| 47390f30e372-0769-4015-ba47-226ea0502cc1 | Translation Approved (100%) | Convection oven, full-size | Forno de convecção, tamanho integral |
| 474096ae6746-37fc-4992-a114-200d166dc0c0 | Translation Approved (100%) | Elec | Elét. |
| 4741ef9bcd2f-af9a-4980-9b36-fc23534f721b | Translation Approved (100%) | Cooking | Culinária |
| 4742f93c42e3-482a-409f-be32-dddedd01e311 | Translation Approved (100%) | 65% | 65% |
| 474321395673-b6d3-41d9-86be-951d1e5d8ba7 | Translation Approved (100%) | 2.0 kW | 2,0 kW |
| 4744a33ce47b-b884-4646-b849-7a71e122af3e | Translation Approved (100%) | 71% | 71% |
| 4745cc26aebc-9151-4137-900c-d008c0a3c54f | Translation Approved (100%) | 1.6 kW | 1,6 kW |
| 47460704713a-739c-44b9-bdca-1c04c07d6c9d | Translation Approved (100%) | Convection oven, full-size | Forno de convecção, tamanho integral |
| 4747d8b6aec9-15db-4f7d-9b49-b2bb9269e3cd | Translation Approved (100%) | Gas | Gás |
| 4748fc40dae6-1126-431b-8c99-180838800a69 | Translation Approved (100%) | Cooking | Culinária |
| 47496001a7fd-0442-4421-99a3-e2f858017155 | Translation Approved (100%) | 30% | 30% |
| 47506cffe820-7399-46dd-a63d-19b478d5efd9 | Translation Approved (100%) | 5.3 kW | 5,3 kW |
| 47512d02e0c8-266a-4c4b-ac55-697f6fa22285 | Translation Approved (100%) | 46% | 46% |
| 4752e290d6fd-af41-425e-b15a-5ce2779cff92 | Translation Approved (100%) | 3.5 kW | 3,5 kW |
| 47534e373ce2-a7ab-4d7f-9fe3-c7dab9ba1977 | Translation Approved (100%) | Convection oven, half-size | Forno de convecção, tamanho médio |
| 47546b65ee65-bebd-4484-b60d-88713a73db77 | Translation Approved (100%) | Elec | Elét. |
| 47553bddd665-c87d-4ddd-96b4-74bfbf6bc185 | Translation Approved (100%) | Cooking | Culinária |
| 4756a9bd86a6-6e99-4ba6-b362-3a2a1e41b607 | Translation Approved (100%) | 65% | 65% |
| 475737638cb8-777c-4f29-a9c9-eca23728895b | Translation Approved (100%) | 1.5 kW | 1,5 kW |
| 475856f82f8b-02d8-442c-9f30-d15216bc2cb2 | Translation Approved (100%) | 71% | 71% |
| 47599ddaa3b3-d4c8-48dc-bc9c-f16d77db469f | Translation Approved (100%) | 1.0 kW | 1,0 kW |
| 476009526f66-3bd1-49df-a167-8316a9b9c8df | Translation Approved (0%) | Conveyor oven, > 63.5 cm belt | Forno com transportador, correia > 63,5 cm |
| 47619fb11498-ae28-46cd-8e84-5a00f456eb4f | Translation Approved (100%) | Gas | Gás |
| 47620cb18d62-fe23-4fed-b40f-c88e9e0572da | Translation Approved (100%) | Cooking | Culinária |
| 4763cc9bdcab-f349-480b-9b45-63a137848dae | Translation Approved (100%) | 20% | 20% |
| 476404a10bd9-baad-4354-a2a6-2563856c8d7f | Translation Approved (100%) | 20.5 kW | 20,5 kW |
| 4765b7bb39ae-54ed-4c4f-8673-5f8e0e69a20d | Translation Approved (100%) | 42% | 42% |
| 4766b1cc025f-641a-4c65-adcd-950dab3a5281 | Translation Approved (100%) | 16.7 kW | 16,7 kW |
| 47670ff24736-84fe-4d46-b8db-21c3df5b09cb | Translation Approved (98%) | Conveyor oven, < 63.5 cm belt | Forno com transportador, correia < 63,5 cm |
| 4768add30be6-704b-4169-a531-507b107426a4 | Translation Approved (100%) | Gas | Gás |
| 47698f3e62be-eee1-4276-b438-5e0b144edf1f | Translation Approved (100%) | Cooking | Culinária |
| 47709d07b198-5c24-4ded-95ca-dfd41c5b962a | Translation Approved (100%) | 20% | 20% |
| 47719ea56dcb-eb94-4616-b784-86e7cbcc8b72 | Translation Approved (100%) | 13.2 kW | 13,2 kW |
| 4772887ef55c-3f75-43a1-959f-4f32819b3acf | Translation Approved (100%) | 42% | 42% |
| 47736fc31b13-b08c-4e2c-b1e9-c0f18bf074df | Translation Approved (100%) | 8.5 kW | 8,5 kW |
| 4774aeafc2fc-fb24-4104-af86-7997e4ca6871 | Translation Approved (100%) | Fryer | Fritadeira |
| 4775e4c24a34-96a5-409e-88a4-4cfc5fe751b4 | Translation Approved (100%) | Elec | Elét. |
| 4776ea98c201-68af-40f3-94f8-d2eb1f4bd2e8 | Translation Approved (100%) | Cooking | Culinária |
| 47772f86b6ac-905e-4ed8-b759-c9506092cca2 | Translation Approved (100%) | 75% | 75% |
| 47785e5daebb-85b0-4cd8-b3cf-ba9cef6bfb6d | Translation Approved (100%) | 1,05 kW | 1,05 kW |
| 477994c82777-80b5-4a28-a22f-42dfb4c6a478 | Translation Approved (100%) | 80% | 80% |
| 478037c00775-9ccc-4671-9665-ca173c548243 | Translation Approved (100%) | 1.0 kW | 1,0 kW |
| 4781eb1e84fe-e66d-4d22-a98f-5974591dad12 | Translation Approved (100%) | Fryer | Fritadeira |
| 478293b72359-b9fd-47ee-adf2-019ca485185d | Translation Approved (100%) | Gas | Gás |
| 4783e0ee6407-683b-46eb-8819-9f3db123bf06 | Translation Approved (100%) | Cooking | Culinária |
| 4784fd42352b-65e9-424f-935d-262f327e4ddd | Translation Approved (100%) | 35% | 35% |
| 4785da06f8e0-ed4f-4c12-890f-3e4dfb626eea | Translation Approved (100%) | 4.1 kW | 4,1 kW |
| 4786710cd512-20dc-42a7-8739-c7dae913efbb | Translation Approved (100%) | 50% | 50% |
| 4787bc46988d-397f-46b9-8a3d-c909fcb406f4 | Translation Approved (100%) | 2.64 kW | 2,64 kW |
| 47885a23f0bf-57dd-45a0-8d77-8bef961c80f9 | Translation Approved (76%) | Griddle (based on 90-cm model) | Frigideira (com base no modelo de 90 cm) |
| 47891d47b395-c6a3-4c0b-9f5b-b820839e53e5 | Translation Approved (100%) | Elec | Elét. |
| 4790646d5898-8652-4f33-8d23-1041516c297b | Translation Approved (100%) | Cooking | Culinária |
| 47918193774f-40db-4fd4-ad7f-63496c943cc0 | Translation Approved (100%) | 60% | 60% |
| 47923462bea9-c3ca-45cb-848a-f78d9eef3bf6 | Translation Approved (100%) | 4.3 kW/m<7113>2</7113> | 4,3 kW/m<7113>2</7113> |
| 47939cbd7732-7a0b-4a0c-a9bf-04110000fc07 | Translation Approved (100%) | 70% | 70% |
| 47943e361e15-12ca-47fd-a256-c1934b961f78 | Translation Approved (0%) | 3 .45 kW/m<7120>2</7120> | 3,45 kW/m<7120>2</7120> |
| 4795fd0b0d42-28b9-4c72-b466-86dae02390c8 | Translation Approved (100%) | Griddle (based on 90-cm model) | Frigideira (com base no modelo de 90 cm) |
| 479601e3b0da-9285-4125-802b-511fc4df21d9 | Translation Approved (100%) | Gas | Gás |
| 47975b6b6533-1430-43ee-89bf-21c099db8061 | Translation Approved (100%) | Cooking | Culinária |
| 479803852cdc-4fb4-4ca3-ad06-4bbfa4d27287 | Translation Approved (100%) | 30% | 30% |
| 4799e95491e5-aa80-4724-a18c-df689188fd90 | Translation Approved (100%) | 11 kW/m<7136>2</7136> | 11 kW/m<7136>2</7136> |
| 4800c0b3086e-5a9e-4e8f-852d-ce6c15d32c9d | Translation Approved (100%) | 33% | 33% |
| 480184375563-4055-4a21-8512-abdcc9ee7ed6 | Translation Approved (100%) | 8.35 kW/m<7143>2</7143> | 8,35 kW/m<7143>2</7143> |
| 4802183c6326-fef2-4dc1-bebe-050876df4c0a | Translation Approved (90%) | Hot food holding cabinets (excluding drawer warmers and heated display) 0 < V < 0.368 m<7147>3</7147> (V = volume) | Armários de armazenamento de alimentos quentes (exceto aquecedores de gavetas e prateleiras aquecidas), 0 < V < 0,368 m<7147>3</7147> (V = volume) |
| 48037d272c14-d4d5-4b3e-83bd-15c8d24efedb | Translation Approved (100%) | Elec | Elét. |
| 480439bba471-4dad-4c3b-b07d-6fc03e5f2733 | Translation Approved (100%) | Cooking | Culinária |
| 48052df8817c-bd8a-495c-96ef-0c902317d129 | Translation Approved (100%) | na | n/d |
| 48061ee8a328-a941-470b-9c83-55bec1f5aa06 | Translation Approved (100%) | 1.4 kW/m<7160>3</7160> | 1,4 kW/m<7160>3</7160> |
| 4807a67093e5-86f4-44d0-be61-b37291b9916e | Translation Approved (100%) | na | n/d |
| 4808f5a421f5-4768-4609-ba4b-9e045c84c328 | Translation Approved (0%) | (21.5*V)/0.0283 kW/m<7167>3</7167> | (21,5*V) / 0,0283 kW/m<7167>3</7167> |
| 4809d8ca7d59-8357-410e-a6f5-aa8a047d917c | Translation Approved (90%) | Hot food holding cabinets (excluding drawer warmers and heated display), 0.368 ≤ V < 0.793 m<7171>3</7171> | Armários de armazenamento de alimentos quentes (exceto aquecedores de gavetas e prateleiras aquecidas), 0,368 ≤ V < 0,793 m<7171>3</7171> |
| 4810dcb4ffdf-c43d-4946-8681-1cbe0e0b4814 | Translation Approved (100%) | Elec | Elét. |
| 4811942cd882-c0cf-468f-9e36-658fdcf54f55 | Translation Approved (100%) | Cooking | Culinária |
| 4812ef872bab-6dd2-4ab2-ab68-59c13edd418d | Translation Approved (100%) | na | n/d |
| 4813c2bacaa2-4a2e-410c-b054-b5e5c977f05f | Translation Approved (100%) | 1.4 kW/m<7184>3</7184> | 1,4 kW/m<7184>3</7184> |
| 4814ffc6aa09-0823-4f42-853b-a339e9ba9721 | Translation Approved (100%) | na | n/d |
| 4815ef2712fb-8e09-4f2c-ae5e-b2e9e7477dfa | Translation Approved (0%) | (2.0*V + 254)/0.0283 kW/m<7191>3</7191> | (2,0*V + 254) / 0,0283 kW/m<7191>3</7191> |
| 48167d86a785-8a44-48b5-9e98-e66b9e3f215e | Translation Approved (CM) | Hot food holding cabinets (excluding drawer warmers and heated display), 0.793 m<7195>3</7195> ≤ V | Armários para armazenamento de alimentos quentes (exceto aquecedores de gavetas e prateleiras aquecidas), 0,793 m<7195>3</7195> ≤ V |
| 4817b1fac234-c234-48b9-abc5-441b8eb1a4d5 | Translation Approved (100%) | Elec | Elét. |
| 4818a8bbfe8f-8acf-41fb-bb73-8df2ac31c419 | Translation Approved (100%) | Cooking | Culinária |
| 48193f635e15-dd04-41bb-9a7c-56bb7e0e1aa1 | Translation Approved (100%) | na | n/d |
| 48209a0cab4a-9b85-4cca-84c0-0df9576da4bb | Translation Approved (100%) | 1.4 kW/m<7208>3</7208> | 1,4 kW/m<7208>3</7208> |
| 4821004ac320-bc82-4677-975e-45284b21ec82 | Translation Approved (100%) | na | n/d |
| 4822dd5740d2-7276-4d24-8f72-6397f6ba421e | Translation Approved (100%) | (3.8*V + 203.5)/0.0283 kW/m<7215>3</7215> | (3,8*V + 203,5) / 0,0283 kW/m<7215>3</7215> |
| 4823a03ea081-85d9-475d-ad16-e52c5ef7b464 | Translation Approved (100%) | Large vat fryer | Fritadeira de tanque grande |
| 4824b01a6965-c2cd-4acc-ad4d-f5f1762c5414 | Translation Approved (100%) | Elec | Elét. |
| 48252b94476b-0d68-4904-9d4e-8fead05fda28 | Translation Approved (100%) | Cooking | Culinária |
| 482613524569-2233-41d5-aa85-a87f0024c1b4 | Translation Approved (100%) | 75% | 75% |
| 4827920dbf42-9982-4c72-8195-e3476ce26710 | Translation Approved (100%) | 1.35 kW | 1,35 kW |
| 482848afea55-cecf-4534-9163-2b0b33104af2 | Translation Approved (100%) | 80% | 80% |
| 4829ef6fa0eb-ed58-4354-b762-3e4c688af545 | Translation Approved (100%) | 1.1 kW | 1,1 kW |
| 4830ca2ab656-8add-4810-8c9e-275e3230f271 | Translation Approved (100%) | Large vat fryer | Fritadeira de tanque grande |
| 4831cdaeecb6-d1d6-46e2-a3c4-f651931d9397 | Translation Approved (100%) | Gas | Gás |
| 4832cbe60080-99ca-4558-be7a-c9dad8ec9209 | Translation Approved (100%) | Cooking | Culinária |
| 483342bd3fa6-5dc7-4115-956d-922cca3c4a90 | Translation Approved (100%) | 35% | 35% |
| 48346853963d-1734-462d-acb6-f4005fd29450 | Translation Approved (100%) | 5.86 kW | 5,86 kW |
| 48353d459502-61a4-4aa2-acc2-994d142ef8bd | Translation Approved (100%) | 50% | 50% |
| 48364d085f77-3b94-4dd9-9d2d-a891ba6fca98 | Translation Approved (100%) | 3.5 kW | 3,5 kW |
| 483756c91ce4-1882-40b8-83b6-7278716933af | Translation Approved (100%) | Rack oven, double | Forno rotativo, duplo |
| 4838df416ae0-e93b-4a42-8194-e7901d154d09 | Translation Approved (100%) | Gas | Gás |
| 48397eed230f-fbeb-4181-88b9-2921c3ec5412 | Translation Approved (100%) | Cooking | Culinária |
| 484034cf8933-e291-4b62-afd5-af904410195e | Translation Approved (100%) | 30% | 30% |
| 48412afc304e-ea14-4002-9a58-bce441cbf0b5 | Translation Approved (100%) | 19 kW | 19 kW |
| 4842b98328c3-7129-410d-b40e-7e71090bba01 | Translation Approved (100%) | 50% | 50% |
| 48431aa5a5f3-c79a-4740-a2f2-395c8e1394e5 | Translation Approved (100%) | 10.25 kW | 10,25 kW |
| 4844c38d023d-054d-4857-8851-2e4134bd73ff | Translation Approved (100%) | Rack oven, single | Forno rotativo, simples |
| 48458801d14b-d42b-4544-866b-bc932249b309 | Translation Approved (100%) | Gas | Gás |
| 4846da979e54-5ee2-40a3-8bc0-0df58608b06f | Translation Approved (100%) | Cooking | Culinária |
| 4847943b6a7d-af23-4d72-9de9-e39daa80b72a | Translation Approved (100%) | 30% | 30% |
| 4848d84036e8-bba1-45dc-ab8a-712d78f75d6c | Translation Approved (100%) | 12.6 kW | 12,6 kW |
| 484993d2d197-79ef-4569-845b-fae0b722a81d | Translation Approved (100%) | 50% | 50% |
| 4850617d51e9-c348-4fbf-89c7-0c11b473072e | Translation Approved (100%) | 8.5 kW | 8,5 kW |
| 4851fb91e31d-3d35-44ff-9236-c1d4843c0668 | Translation Approved (100%) | Range | Fogão |
| 48522606dfce-f361-4dcb-baed-b9b4725ea58d | Translation Approved (100%) | Elec | Elét. |
| 485356173713-f5f9-48f3-a9ae-21ac863046f1 | Translation Approved (100%) | Cooking | Culinária |
| 485482fc78f0-4571-4b6c-ba9f-7f6e95324cd0 | Translation Approved (100%) | 70% | 70% |
| 48557deb5e64-6e74-46fc-b11d-b2b088872edd | Translation Approved (100%) | na | n/d |
| 4856a023e102-32c2-472b-b3ed-3886bb6fe3f0 | Translation Approved (100%) | 80% | 80% |
| 4857e7ed3cbc-6d0c-49c9-954d-5360b4b2e331 | Translation Approved (100%) | na | n/d |
| 485800a6bef1-bba8-443a-8383-8bd7dc0db87d | Translation Approved (100%) | Range | Fogão |
| 48594814993c-bda9-474f-99e9-5286b40d1b2b | Translation Approved (100%) | Gas | Gás |
| 486029478499-5c75-465a-bfac-dd2619587158 | Translation Approved (100%) | Cooking | Culinária |
| 48613d950a77-79cc-4028-b302-70a84b0865ac | Translation Approved (100%) | 35% | 35% |
| 48623768aa1c-ad79-48ad-90b1-eea7bcf58b17 | Translation Approved (100%) | na | n/d |
| 4863d173e86c-e9ae-41c0-9b25-afe72e2e0847 | Translation Approved (100%) | 40% and no standing pilots | 40% e sem chama piloto |
| 486491deb071-d80b-486b-8e91-457045a36fb0 | Translation Approved (100%) | na | n/d |
| 4865762d8fbb-5005-44c8-a549-08e040edf195 | Translation Approved (100%) | Steam cooker, batch cooking | Panela a vapor, cozinhar em lote |
| 4866ec41a747-3118-4365-9257-a8d13d759286 | Translation Approved (100%) | Elec | Elét. |
| 48678cd41536-88bd-4759-b75b-5b2af1a8624d | Translation Approved (100%) | Cooking | Culinária |
| 48685851cb23-08a4-4bc7-b912-2e743f996878 | Translation Approved (100%) | 26% | 26% |
| 4869c447566d-c23b-45d9-8105-0cf2ddd19cfb | Translation Approved (100%) | 200 W/pan | 200 W/panela |
| 48704f37b9aa-c2de-4741-90fd-3e25db847f9f | Translation Approved (100%) | 50% | 50% |
| 4871cafeb6a9-311a-46aa-b5dd-1d5ecbbd283a | Translation Approved (100%) | 135 W/pan | 135 W/panela |
| 4872931dd69f-b90c-496c-adc0-7a3866905dc1 | Translation Approved (100%) | Steam cooker, batch cooking | Panela a vapor, cozinhar em lote |
| 4873853dda0c-9cb7-44a5-adf2-74bcb345571a | Translation Approved (100%) | Gas | Gás |
| 48748746e6e4-3bda-4080-a4c6-d7710e0e0af9 | Translation Approved (100%) | Cooking | Culinária |
| 48756552b96a-6f09-4352-9b98-7241fb335a96 | Translation Approved (100%) | 15% | 15% |
| 487650702fe9-78d6-4f87-a1a7-33b829edf16d | Translation Approved (100%) | 733 W/pan | 733 W/panela |
| 487711e09036-8c22-4cd3-9c2c-31c0af0edd9f | Translation Approved (100%) | 38% | 38% |
| 4878b0a799fc-1404-4a21-be89-fafa07fce610 | Translation Approved (100%) | 615 W/pan | 615 W/panela |
| 4879cf1aa39c-da92-49c5-be84-276322ca2d02 | Translation Approved (100%) | Steam cooker, high production or cook to order | Panela a vapor, alta produção ou "cook to order" |
| 4880a96ebbb1-f5eb-499a-8275-39222de6b620 | Translation Approved (100%) | Elec | Elét. |
| 4881495a0843-4e40-48ad-a00b-71b693d49eb5 | Translation Approved (100%) | Cooking | Culinária |
| 488223a82935-43ca-4032-9c76-08e5acb4ed20 | Translation Approved (100%) | 26% | 26% |
| 488376c3c616-15a5-4bec-868f-a6a308d6f14e | Translation Approved (100%) | 330 W/pan | 330 W/panela |
| 4884180b90b6-1419-478b-aafa-f385b19f0969 | Translation Approved (100%) | 50% | 50% |
| 4885bfa04309-6bad-42df-a74f-8bb3e5bd8dab | Translation Approved (100%) | 275 W/pan | 275 W/panela |
| 48869d07b41f-808e-43ef-a811-98df3ca6e667 | Translation Approved (100%) | Steam cooker, high production or cook to order | Panela a vapor, alta produção ou "cook to order" |
| 4887b9e26d5b-b16c-4660-a41a-d4d91d78c36d | Translation Approved (100%) | Gas | Gás |
| 488833660241-31f8-4720-a049-4c81bc405e9a | Translation Approved (100%) | Cooking | Culinária |
| 48899e1b98d2-32ff-45b7-946a-7c6f600b39f3 | Translation Approved (100%) | 15% | 15% |
| 489074425dec-2409-4ee9-92b5-c85c61f73597 | Translation Approved (100%) | 1.47 kW/pan | 1,47 kW/panela |
| 489115784415-92ca-4b34-9d72-69c5732c3918 | Translation Approved (100%) | 38% | 38% |
| 489260b02aa7-9315-461f-b99b-7bd143ba77ea | Translation Approved (100%) | 1.26 kW/pan | 1,26 kW/panela |
| 489353154bae-6440-4f78-b14a-b16317c61feb | Translation Approved (100%) | Toaster | Torradeira |
| 4894a33b5c19-1e1b-4b1a-97ba-e634e0c987d6 | Translation Approved (100%) | Elec | Elét. |
| 4895482d314e-73a3-4d63-b217-4ef5f717dbd3 | Translation Approved (100%) | Cooking | Culinária |
| 489695d97f62-d5a3-4dfe-b2bc-44d6212df62d | Translation Approved (100%) | na | n/d |
| 48973b09f749-8af4-41c2-b8d0-b47b2edb7872 | Translation Approved (100%) | 1.8 kW average operating energy rate | 1,8 kW de taxa de energia média de operação |
| 4898bc268d9a-e884-4b97-b444-8f446d1a43e7 | Translation Approved (100%) | na | n/d |
| 4899b2c0d48e-bcd2-478d-8062-8b520b76c94f | Translation Approved (100%) | 1.2 kW average operating energy rate | 1,2 kW de taxa de energia média de operação |
| 490004b088a4-b06d-422d-9790-17091aa7b695 | Translation Approved (88%) | Ice machine, IMH (ice making head, H = ice harvest) H <7453>≥</7453> 204 kg/day | Máquina de gelo, IMH (cabeçote de produção de gelo, H = coleta de gelo), H <7453>≥</7453> 204 kg/dia |
| 490112355b1b-a0c2-4ad3-b1d3-8dbe87eef30a | Translation Approved (100%) | Elec | Elét. |
| 4902728c70b0-a58f-4cfd-b60c-a76245d753a5 | Translation Approved (100%) | Ice | Gelo |
| 4903c3f1ae3b-e568-4f9e-b25b-ccd0a81df242 | Translation Approved (0%) | 0.0015 - 5.3464E<7463>-07</7463> kWh/kg ice | 0,0015 - 5,3464E<7463>-07</7463> kWh/kg de gelo |
| 4904b07939ca-d607-42fc-9795-8b58a22898a4 | Translation Approved (100%) | na | n/d |
| 4905f6739070-785e-4f67-96e9-4870d30e2b4b | Translation Approved (0%) | ≤ 13.52*H<7470>-0.298</7470> kWh/100 kg ice | ≤ 13,52*H<7470>-0.298</7470> kWh/100 kg de gelo |
| 49067115ebd9-0578-4189-93c9-d9a4a0fceb69 | Translation Approved (100%) | na | n/d |
| 4907dcfdd0a1-aebd-4812-b115-d3920cbd395e | Translation Approved (0%) | Ice machine, IMH (ice making head), H < 204 kg/day | Máquina de gelo, IMH (cabeçote de produção de gelo), H < 204 kg/dia |
| 49088c2e0bb9-4c2f-4c43-b68c-0235297ad4e8 | Translation Approved (100%) | Elec | Elét. |
| 4909beb0b299-df3d-4d49-a056-ab3e6c925208 | Translation Approved (100%) | Ice | Gelo |
| 491005237d9f-ba2d-4bc2-a81d-88bdccbeaa40 | Translation Approved (0%) | 0.2262 - 4.18E<7486>-04</7486> kWh/kg ice | 0,2262 - 4,18E<7486>-04</7486> kWh/kg de gelo |
| 4911067f591b-7a1d-45cf-8417-9d61730156fc | Translation Approved (100%) | na | n/d |
| 4912f53597cd-1b44-4b76-9076-fd2eda8697c9 | Translation Approved (100%) | ≤ 13.52*H<7493>-0.298</7493> kWh/100 kg ice | ≤ 13,52*H<7493>-0.298</7493> kWh/100 kg de gelo |
| 49133ace64dd-db1f-443d-8fc9-013c89a872d9 | Translation Approved (100%) | na | n/d |
| 4914ad71d583-6627-44d8-87e4-294f2443eb97 | Translation Approved (98%) | Ice machine, RCU <7500> </7500>(remote condensing unit, w/o remote compressor) H < 454 kg/day | Máquina de gelo, RCU (unidade de condensação remota, sem compressor remoto), H < 454 kg/dia |
| 4915041a34c8-5c57-4a61-af48-2161ea06c482 | Translation Approved (100%) | Elec | Elét. |
| 491674f0a1d2-5dbf-47d9-a882-ee2fbd5db69d | Translation Approved (100%) | Ice | Gelo |
| 491703607697-2a87-4a94-b9ee-4ee86e33973e | Translation Approved (0%) | 0.1951 - 1.85E<7510>-04</7510> kWh/kg ice | 0,1951 - 1,85E<7510>-04</7510> kWh/kg de gelo |
| 49181303db27-4bcc-4970-bb91-9e3059ec59b8 | Translation Approved (100%) | na | n/d |
| 49197e3e487c-ffa9-4279-bc55-6ad75b4d1313 | Translation Approved (0%) | ≤ 111.5835H<7517>-0.258</7517>) + 2.205 kWh/100 kg ice | ≤ 111,5835H<7517>-0,258</7517>) + 2,205 kWh/100 kg de gelo |
| 4920ef47a3cb-be88-4be0-934d-559c7992cbb2 | Translation Approved (100%) | na | n/d |
| 492121fb4e1b-4e39-49f3-b2d3-634bee793ce6 | Translation Approved (0%) | Ice machine, RCU (remote condensing unit) 726 > H <7524>≥</7524> 454 kg/day | Máquina de gelo, RCU (unidade de condensação remota) 726 > H <7524>≥</7524> 454 kg/dia |
| 49228f88a890-889b-4fab-8fba-6800f4430ace | Translation Approved (100%) | Elec | Elét. |
| 4923fbf07af3-8f24-42f6-80bb-6726e99957de | Translation Approved (100%) | Ice | Gelo |
| 4924cde317aa-fcad-478a-8fbe-cf2a11c04c4d | Translation Approved (0%) | 0.1124 kWh/kg ice | 0,1124 kWh/kg de gelo |
| 49259c0e14ca-7e56-4ce7-b83a-7493bd73006b | Translation Approved (100%) | na | n/d |
| 49264072c80c-0c26-4b8f-b32c-1db17f1e0f05 | Translation Approved (100%) | ≤ 111.5835H<7540>-0.258</7540>) + 2.205 kWh/100 kg ice | ≤ 111,5835H<7540>-0,258</7540>) + 2,205 kWh/100 kg de gelo |
| 4927ff020ec5-5988-4743-9455-d38ca9e798c2 | Translation Approved (100%) | na | n/d |
| 4928de5aeae2-ff57-4dfa-aa5e-18c2dabed14c | Translation Approved (0%) | Ice machine, RCU (remote condensing unit), H <7547>></7547> 726kg/day | Máquina de gelo, RCU (unidade de condensação remota), H <7547>></7547> 726 kg/dia |
| 4929f26908a0-3cc6-4105-85de-10316eac9025 | Translation Approved (100%) | Elec | Elét. |
| 4930d247e550-e6bb-451c-b520-466fd4fa7170 | Translation Approved (100%) | Ice | Gelo |
| 49311c1dcae3-2118-43c5-9b84-2075240d8684 | Translation Approved (100%) | 0.1124 kWh/kg ice | 0,1124 kWh/kg de gelo |
| 4932bffc6ebc-9392-4550-81a4-d1f4907a1715 | Translation Approved (100%) | na | n/d |
| 4933b7a9a647-9532-4cde-815e-e20668fc42f4 | Translation Approved (0%) | ≤ -0.00024H + 4.60 kWh/100 kg ice | ≤ -0,00024H + 4,60 kWh/100 kg de gelo |
| 49344ee70f64-d38e-4681-95e2-c890a15358f8 | Translation Approved (100%) | na | n/d |
| 49359b413481-f50e-4be4-874a-17045733fa00 | Translation Approved (85%) | Ice machine, SCU (self contained unit), H < 79 kg/day | Máquina de gelo, SCU (unidade autônoma), H < 79 kg/dia |
| 493611f28d7c-0d53-4417-b7b6-ff8c58fabbc2 | Translation Approved (100%) | Elec | Elét. |
| 493778114916-d651-4382-b124-4ceb698e88d3 | Translation Approved (100%) | Ice | Gelo |
| 49387259685d-17a9-4b0e-bd29-1439d8023333 | Translation Approved (0%) | 0.3968 - 2.28E<7578>-03</7578> kWh/kg ice | 0,3968 - 2,28E<7578>-03</7578> kWh/kg de gelo |
| 49393f6bee4f-1ccc-4394-a329-ccc430d41aaa | Translation Approved (100%) | na | n/d |
| 49404f56fd2b-1d92-48ee-91de-261bf29fc7ef | Translation Approved (0%) | 236.59H<7585>-0.326 </7585>+0.176 kWh/100 kg ice | 236,59H<7585>-0,326 </7585>+0,176 kWh/100 kg de gelo |
| 49415f0f25b5-5493-4ed9-a6df-527384add747 | Translation Approved (100%) | na | n/d |
| 49425ad9a750-b1b7-4e01-b1a1-d7b0e9cf6186 | Translation Approved (0%) | Ice machine, SCU (self contained unit), H <7592>≥</7592> 79 kg/day | Máquina de gelo, SCU (unidade autônoma), H <7592>≥</7592> 79 kg/dia |
| 4943bef53455-b16c-4486-8acd-3e1b563d6c93 | Translation Approved (100%) | Elec | Elét. |
| 49446a6e3681-82c7-418b-ac08-94bdd3b5a097 | Translation Approved (100%) | Ice | Gelo |
| 494520fde376-810d-4236-ad56-386e10ea2c7e | Translation Approved (100%) | 0.2161 kWh/kg ice | 0,2161 kWh/kg de gelo |
| 4946ba095dfb-c02e-4a72-b78d-d64418c4e9ac | Translation Approved (100%) | na | n/d |
| 4947d2737eae-3f9f-49bc-bb6f-022f9ca9bcc7 | Translation Approved (100%) | 236.59H<7608>-0.326 </7608>+0.176 kWh/100 kg ice | 236,59H<7608>-0,326 </7608>+0,176 kWh/100 kg de gelo |
| 49482a474f1a-064d-4ff2-9b7c-e4dfb561efd2 | Translation Approved (100%) | na | n/d |
| 49499d1f6247-68b9-40e4-b439-4d3265d7fa56 | Translation Approved (92%) | Ice machine, water-cooled ice-making head, H <7615>≥</7615> 651 kg/day(must be on a chilled loop) | Máquina de gelo, cabeçote de produção de gelo resfriado à água, H <7615>≥</7615> 651 kg/dia (deve estar em ciclo resfriado) |
| 4950bf9b20be-f01a-470e-a12a-8d9760e836e8 | Translation Approved (100%) | Elec | Elét. |
| 49512c5ab88e-ba29-4220-845c-68814ddd597d | Translation Approved (100%) | Ice | Gelo |
| 4952fa040608-5d82-4f55-9a36-760ee0bcb0ba | Translation Approved (100%) | 0.0882 kWh/kg ice | 0,0882 kWh/kg de gelo |
| 495313724a59-c28a-409d-bbc9-83cb7a68bad4 | Translation Approved (100%) | na | n/d |
| 49545a8f16da-df5c-44b7-ba28-18826d6d8698 | Translation Approved (0%) | ≤ 8.11 kWh/100 kg ice | ≤ 8,11 kWh/100 kg de gelo |
| 4955fc117a4c-c52d-45cc-b584-1c20c897aacc | Translation Approved (100%) | na | n/d |
| 49566df4c629-47cf-4422-b2b1-416442bd25e7 | Translation Approved (90%) | Ice machine, water-cooled ice-making head, 227 <7637>≤ </7637>H < 651 kg/day (must be on a chilled loop) | Máquina de gelo, cabeçote de produção de gelo resfriado à água, 227 <7637>≤ </7637>H < 651 kg/dia (deve estar em ciclo resfriado) |
| 4957c7c56233-190a-4a54-b779-e7d8dea6d25f | Translation Approved (100%) | Elec | Elét. |
| 49588c8f3f5c-24d6-492e-921c-2acde64ed585 | Translation Approved (100%) | Ice | Gelo |
| 4959c431d2d2-8028-4fc3-be41-e8b2aa6c7f20 | Translation Approved (0%) | 0.1230 - 5.35E<7647>-05</7647> kWh/kg ice | 0,1230 - 5,35E<7647>-05</7647> kWh/kg de gelo |
| 4960d59e123a-2eca-4249-9e46-7c8b659df6de | Translation Approved (100%) | na | n/d |
| 49619080f6db-59b1-4e49-b36f-013a158f5446 | Translation Approved (0%) | ≤ 11.31 - 0.065H kWh/100 kg ice | ≤ 11,31 - 0,065H kWh/100 kg de gelo |
| 49626a6d6a7a-b3d3-480e-b690-5a02319791f7 | Translation Approved (100%) | na | n/d |
| 496354a32b18-6a97-483f-94b5-741b122cc80b | Translation Approved (98%) | Ice machine, water-cooled ice-making head, H < 227 kg/day( must be on a chilled loop) | Máquina de gelo, cabeçote de produção de gelo resfriado à água, H < 227 kg/dia (deve estar em ciclo resfriado) |
| 49649a43f6ce-5e80-4660-86cb-dabdee51bcf8 | Translation Approved (100%) | Elec | Elét. |
| 4965bfce2cf5-ad14-41e9-b043-9ab5d521c84b | Translation Approved (100%) | Ice | Gelo |
| 4966d95af499-41f5-4f9b-b62e-8e4d13e809bb | Translation Approved (0%) | 0.1720 - 2.67E<7669>-04</7669> kWh/kg ice | 0,1720 - 2,67E<7669>-04</7669> kWh/kg de gelo |
| 49677814f652-36db-4a42-9d95-65b5365ed754 | Translation Approved (100%) | na | n/d |
| 4968027dbbbe-df44-4038-8a22-1efa0c867a0a | Translation Approved (0%) | ≤ 15.48 - 0.0238H kWh/100 kg ice | ≤ 15,48 - 0,0238H kWh/100 kg de gelo |
| 4969e8c61965-857d-45d7-acc4-8db37b06ae01 | Translation Approved (100%) | na | n/d |
| 497005ff2a79-0b0c-4df2-bcca-645ce8b4b10e | Translation Approved (100%) | Ice machine, water-cooled once-through (open loop) | Máquina de gelo, resfriamento à água em uma passagem (ciclo aberto) |
| 497167a1c468-8917-412a-be59-b07b1541ec83 | Translation Approved (100%) | Elec | Elét. |
| 49725c1b6ac9-b298-42ed-8458-e03d1c874313 | Translation Approved (100%) | Ice | Gelo |
| 49732ce7c096-64bf-4575-9449-cee7c5db894f | Translation Approved (100%) | Banned | Proibido |
| 497439339773-377e-4c2a-9f55-f6c28ae3dd05 | Translation Approved (100%) | Banned | Proibido |
| 49751223036d-15d2-4e01-9e47-2648f7d7abc8 | Translation Approved (100%) | Banned | Proibido |
| 49761d2dd576-cb42-4a9f-a9cf-16e96235ec7b | Translation Approved (100%) | Banned | Proibido |
| 497728d4cf43-3146-4462-8ac7-a8759c431c2f | Translation Approved (87%) | Ice machine, water cooled SCU (self-contained unit) H < 91 kg/day (must be on a chilled loop) | Máquina de gelo, SCU resfriada à água (unidade autônoma), H < 91 kg/dia (deve estar em ciclo resfriado) |
| 4978a7eaf1f9-00fc-4c10-988c-a7535ff9ca86 | Translation Approved (100%) | Elec | Elét. |
| 49793947dcf2-f2d0-4dbd-9e08-b29e75d9c7a4 | Translation Approved (100%) | Ice | Gelo |
| 4980b79251e1-da3e-4674-a9d6-5e1c3670d8c0 | Translation Approved (0%) | 0.2513 - 9.23E<7712>-04</7712> kWh/kg ice | 0,2513 - 9,23E<7712>-04</7712> kWh/kg de gelo |
| 49812f235dc6-6d19-46c0-9aae-9ca61189e7d8 | Translation Approved (100%) | na | n/d |
| 4982588f0bc9-bd26-4c2a-977b-886af8cf5309 | Translation Approved (0%) | ≤ 23.37-0.086H kWh/100 kg ice | ≤ 23,37-0,086H kWh/100 kg de gelo |
| 4983b5c1cf75-60db-4e23-9152-60218f99b364 | Translation Approved (100%) | na | n/d |
| 49842e9ad202-4b8d-491e-b481-f9d8404fe3b8 | Translation Approved (98%) | Ice machine, water cooled SCU (self-contained unit) H <7725>></7725> 91 kg/day (must be on a chilled loop) | Máquina de gelo, SCU resfriada à água (unidade autônoma), H <7725>></7725> 91 kg/dia (deve estar em ciclo resfriado) |
| 49852e7e1577-7145-4a07-9b3b-19374efd9ed6 | Translation Approved (100%) | Elec | Elét. |
| 4986147f6703-c4cb-4aaf-a211-a6e75ebddd07 | Translation Approved (100%) | Ice | Gelo |
| 498797e55b18-1044-4498-ad27-edd7cb463291 | Translation Approved (100%) | 0.1676 kWh/kg ice | 0,1676 kWh/kg de gelo |
| 49882e6f1f0d-16ff-4f2b-b5e0-670b3a71b5c8 | Translation Approved (100%) | na | n/d |
| 49891a888ada-0831-4795-b62d-b260f98f6b0b | Translation Approved (100%) | 15.57 kWh/100 kg ice | 15,57 kWh/100 kg de gelo |
| 4990c7b8b58e-bdc3-495b-85b9-70edf36117be | Translation Approved (100%) | na | n/d |
| 4991d04bc30a-5ae3-489a-ab26-780d63c91a39 | Translation Approved (100%) | Chest freezer, solid or glass door | Freezer horizontal, porta sólida ou de vidro |
| 499261836007-7cdd-4de5-963e-b721c9832a1c | Translation Approved (100%) | Elec | Elét. |
| 49933e4f79e1-e7ae-4220-9adb-d3605a5d07ba | Translation Approved (100%) | Refrig | Refrig. |
| 4994b2847919-1ea1-42a8-82a8-676925171b83 | Translation Approved (100%) | 15.90V + 0.943 kWh/day | 15,90V + 0,943 kWh/dia |
| 499534afe74c-a833-43b6-abf0-1f4ef7ea4cae | Translation Approved (100%) | na | n/d |
| 499610f3f501-afcc-4fcc-bfe1-66473c4c9769 | Translation Approved (100%) | 9.541V + 0.130 kWh/day | 9,541V + 0,130 kWh/dia |
| 4997e21d84f7-c662-41a2-b8a0-8ee3fa6638f8 | Translation Approved (100%) | na | n/d |
| 49989127ba50-7e91-49a0-a21e-a8418b1e1b74 | Translation Approved (100%) | Chest refrigerator, solid or glass door | Refrigerador horizontal, porta sólida ou de vidro |
| 49991a78b974-dcc3-41b9-8057-25ad14b2dd67 | Translation Approved (100%) | Elec | Elét. |
| 50003be96c3f-d136-4d2f-86bc-fc546581915e | Translation Approved (100%) | Refrig | Refrig. |
| 5001184a28d3-ed9e-4365-8c84-c13434e7178d | Translation Approved (100%) | 3.53V + 2.04 kWh/day | 3,53V + 2,04 kWh/dia |
| 50027bcc56cd-7f55-4a4e-aeb5-bf694c05b54d | Translation Approved (100%) | na | n/d |
| 5003fe9ded9c-7f09-42d8-898f-56e1ae6500f4 | Translation Approved (100%) | ≤ 4.417 V + 0.475 kWh/day | ≤ 4,417 V + 0,475 kWh/dia |
| 50041cf675f6-b343-42ba-87e2-03bce6c2a42c | Translation Approved (100%) | na | n/d |
| 5005a0a82f0d-e391-4ef5-a019-8ab7e83929b7 | Translation Approved (0%) | Glass-door reach-in freezer, 0 < V < 0.42 m<7789>3</7789> | Freezer vertical com porta de vidro, 0 < V < 0,42 m<7789>3</7789> |
| 5006b220dd69-f139-42be-a5cd-07982c19dfb3 | Translation Approved (100%) | Elec | Elét. |
| 5007f9e8ec9e-08c2-4785-8ecd-61a535d61a94 | Translation Approved (100%) | Refrig | Refrig. |
| 500826348ce5-fef4-4001-9f35-cd18aa8f9adf | Translation Approved (100%) | 26.50V + 4.1 kWh/day | 26,50V + 4,1 kWh/dia |
| 5009deca77b1-7bdd-4817-8eb3-1b03bfc7ccae | Translation Approved (100%) | na | n/d |
| 5010360a1306-4010-406c-bdeb-a070b45f2d4d | Translation Approved (100%) | ≤ 21.449V + 0.893 kWh/day | ≤ 21,449V + 0,893 kWh/dia |
| 50114ba6b6bb-c6d1-4be6-8f9f-e96ae48f2f98 | Translation Approved (100%) | na | n/d |
| 5012d7099dc6-70e6-4210-8de1-2ff83172bbe4 | Translation Approved (99%) | Glass-door reach-in freezer, 0.42 ≤ V < 0.85 m<7811>3</7811> | Freezer vertical com porta de vidro, 0,42 ≤ V < 0,85 m<7811>3</7811> |
| 50135c158de6-1f19-45fc-a360-cc6e538670f4 | Translation Approved (100%) | Elec | Elét. |
| 5014dfca7fb5-89f9-4975-93ee-d4b2de23e0e8 | Translation Approved (100%) | Refrig | Refrig. |
| 50158043b83f-05a5-4c8a-a872-55b9d9105ade | Translation Approved (100%) | 26.50V + 4.1 kWh/day | 26,50V + 4,1 kWh/dia |
| 5016b92edac3-bf6f-4a7b-b9f0-38e5fca52165 | Translation Approved (100%) | na | n/d |
| 50172220519e-3f60-4ae7-afb1-ab47047a35f2 | Translation Approved (100%) | ≤ 25.901V – 1.00 kWh/day | ≤ 25,901V – 1,00 kWh/dia |
| 501880c22d6a-3022-4f5a-8e69-f79d34623789 | Translation Approved (100%) | na | n/d |
| 5019f20ebf83-dd8f-497e-9e1c-963a39eb32ab | Translation Approved (100%) | Glass-door reach-in freezer, 0.85 ≤ V < 1.42 m<7833>3</7833> | Freezer vertical com porta de vidro, 0,85 ≤ V < 1,42 m<7833>3</7833> |
| 50203655b5ca-b691-4d42-9f2b-8a85786518e9 | Translation Approved (100%) | Elec | Elét. |
| 5021083e93ef-0d28-46fd-a3c5-49780f7caf4a | Translation Approved (100%) | Refrig | Refrig. |
| 502264554d0f-111b-48b1-b9b2-f4415a039642 | Translation Approved (100%) | 26.50V + 4.1 kWh/day | 26,50V + 4,1 kWh/dia |
| 50233cf6c057-743a-4cbc-a740-4d80b724a34e | Translation Approved (100%) | na | n/d |
| 50246e16729a-22bb-4f2d-a2c0-91ae6e1cb706 | Translation Approved (100%) | ≤ 8.834V + 13.50 kWh/day | ≤ 8,834V + 13,50 kWh/dia |
| 50251e2ba9d0-35e0-4946-a273-5024008a3362 | Translation Approved (100%) | na | n/d |
| 5026f270eb70-0db9-47e6-9d33-6eaa46bb92c4 | Translation Approved (90%) | Glass-door reach-in freezer, 1.42 ≤ V m<7855>3</7855> | Freezer vertical com porta de vidro, 1,42 ≤ V m<7855>3</7855> |
| 502728e58614-e617-4807-9bf3-d9516e2e4a64 | Translation Approved (100%) | Elec | Elét. |
| 5028e61b2b0c-f4ce-47b8-8946-623438cc63a0 | Translation Approved (100%) | Refrig | Refrig. |
| 5029a713794a-0183-467d-bc7a-1cc9d97b38b0 | Translation Approved (100%) | 26.50V + 4.1 kWh/day | 26,50V + 4,1 kWh/dia |
| 5030371eff2e-5956-4552-b734-89a5c148a9c3 | Translation Approved (100%) | na | n/d |
| 50310c60b1ee-3b1c-442e-8ee3-4e24800969da | Translation Approved (100%) | ≤ 15.90V + 3.50 kWh/day | ≤ 15,90V + 3,50 kWh/dia |
| 5032c2b98ee2-31b8-4d87-a952-368830abb2bc | Translation Approved (100%) | na | n/d |
| 503304014bd8-c8b7-4b28-9509-1f5faa0c679f | Translation Approved (91%) | Glass-door reach-in refrigerator, 0 < V < 0.42m<7877>3</7877> | Refrigerador vertical com porta de vidro, 0 < V < 0,42m<7877>3</7877> |
| 50346860f3aa-4079-4bbc-818e-f153cfc14b21 | Translation Approved (100%) | Elec | Elét. |
| 50355b36c9ed-6818-474d-b004-985e9a535956 | Translation Approved (100%) | Refrig | Refrig. |
| 50365a210ff1-43ae-4ad6-b397-43079ac12c62 | Translation Approved (100%) | 4.24V + 3.34 kWh/day | 4,24V + 3,34 kWh/dia |
| 503742391d93-0c42-4420-af88-b6ea18800f65 | Translation Approved (100%) | na | n/d |
| 5038741f73d9-28b0-437e-a9ff-cde558999ab8 | Translation Approved (100%) | ≤ 4.169V + 1.382 kWh/day | ≤ 4,169V + 1,382 kWh/dia |
| 503948d85907-d3ee-4606-8480-2e25a8ebe4d3 | Translation Approved (100%) | na | n/d |
| 5040c02e5ecb-b8e7-417a-82cd-bab8c535b021 | Translation Approved (99%) | Glass-door reach-in refrigerator, 0.42 ≤ V < 0.85 m<7899>3</7899> | Refrigerador vertical com porta de vidro, 0,42 ≤ V < 0,85 m<7899>3</7899> |
| 50416f3f5cfc-8993-4725-b693-6437141adeee | Translation Approved (100%) | Elec | Elét. |
| 5042af1fffa2-1e12-4a55-ae96-0a6febe5af03 | Translation Approved (100%) | Refrig | Refrig. |
| 5043d31f812a-7f3f-4d9b-b3b5-da3c5621176f | Translation Approved (100%) | 4.24V + 3.34 kWh/day | 4,24V + 3,34 kWh/dia |
| 5044c1cffa6c-167f-4508-9615-debee6948a83 | Translation Approved (100%) | na | n/d |
| 5045f91251c9-74da-4d11-a5fc-1c8ca7de1ca9 | Translation Approved (100%) | ≤ 4.947V + 1.050 kWh/day | ≤ 4,947V + 1,050 kWh/dia |
| 504632d7cb40-9ce0-45ef-96c4-2cb2991335d5 | Translation Approved (100%) | na | n/d |
| 50476fa089e3-b652-4f55-8aee-5c9046bcefd4 | Translation Approved (100%) | Glass-door reach-in refrigerator, 0.85 ≤ V < 1.42 m<7921>3</7921> | Refrigerador vertical com porta de vidro, 0,85 ≤ V < 1,42 m<7921>3</7921> |
| 5048f7ad19ad-0a73-4c5d-9153-a62dcc862dc0 | Translation Approved (100%) | Elec | Elét. |
| 50499b98f735-3247-4037-ba52-ce09bb620066 | Translation Approved (100%) | Refrig | Refrig. |
| 50500b20c483-a45e-4b22-9524-592bf69e1284 | Translation Approved (100%) | 4.24V + 3.34 kWh/day | 4,24V + 3,34 kWh/dia |
| 50518f1baba1-9bac-4a93-b616-655d6cb1f404 | Translation Approved (100%) | na | n/d |
| 5052ecf0761b-5d6c-4ae2-a65e-0155ff02fe89 | Translation Approved (100%) | ≤ 3.109V + 2.625 kWh/day | ≤ 3,109V + 2,625 kWh/dia |
| 5053e3991347-2879-4b44-9a12-1bf04606440d | Translation Approved (100%) | na | n/d |
| 5054c011e727-5fd6-4407-9160-af1bccd7eddd | Translation Approved (91%) | Glass-door reach-in refrigerator, 1.42 ≤ V m<7943>3</7943> | Freezer vertical com porta de vidro, 1,42 ≤ V m<7943>3</7943> |
| 5055749a7a31-5a35-4d7f-a67a-bc14c44c0422 | Translation Approved (100%) | Elec | Elét. |
| 5056d9ea6c6e-01ac-4184-9739-050c4143cc45 | Translation Approved (100%) | Refrig | Refrig. |
| 5057ecf63e7c-a951-4745-b184-13091c032a2e | Translation Approved (100%) | 4.24V + 3.34 kWh/day | 4,24V + 3,34 kWh/dia |
| 5058f499605f-05c7-40af-8e49-bed983bd6c8d | Translation Approved (100%) | na | n/d |
| 50590093bf51-0e20-445e-b091-b42563c322f2 | Translation Approved (100%) | ≤ 3.887V + 1.500 kWh/day | ≤ 3,887V + 1,500 kWh/dia |
| 5060733b9e61-49fe-4c81-b662-db5237d8a976 | Translation Approved (100%) | na | n/d |
| 5061006785d3-6556-48f2-9943-6e8b9d995e89 | Translation Approved (91%) | Solid-door reach-in freezer, 0 < V < 0.42 m<7965>3</7965> | Freezer vertical com porta sólida, 0 < V < 0,42 m<7965>3</7965> |
| 50625d12c91f-6943-4a73-a8c0-04bbc4f6cd97 | Translation Approved (100%) | Elec | Elét. |
| 50631724ce80-6542-4aca-a825-fde357a57259 | Translation Approved (100%) | Refrig | Refrig. |
| 50649aa48500-752f-4bc5-9e0d-6f300a6fc931 | Translation Approved (100%) | 14.13V + 1.38 kWh/day | 14,13V + 1,38 kWh/dia |
| 5065852a2605-88fe-4a82-a2b8-8ae2adda3d31 | Translation Approved (100%) | na | n/d |
| 506696176cb3-24a2-4677-ae80-7c814607270d | Translation Approved (100%) | ≤ 8.834V + 1.25 kWh/day | ≤ 8,834V + 1,25 kWh/dia |
| 50674b2d1291-9a01-4211-a998-28b3f0c2852f | Translation Approved (100%) | na | n/d |
| 506820e25faf-a370-477a-b33e-72eaff4747d9 | Translation Approved (99%) | Solid-door reach-in freezer, 0.42 ≤ V < 0.85 m<7987>3</7987> | Freezer vertical com porta sólida, 0,42 ≤ V < 0,85 m<7987>3</7987> |
| 50693f35e210-4d5a-4fe2-9707-638b1115e9ab | Translation Approved (100%) | Elec | Elét. |
| 5070e3948583-e8aa-45e3-a53d-9f5f02b9ce26 | Translation Approved (100%) | Refrig | Refrig. |
| 507189f5e503-d35e-4190-b5ee-a4fc36967e04 | Translation Approved (100%) | 14.13V + 1.38 kWh/day | 14,13V + 1,38 kWh/dia |
| 50724a27197f-bdb0-4636-8d6a-2d1fc1db34bf | Translation Approved (100%) | na | n/d |
| 5073485ad5ac-d331-4065-afd0-9b70b9265e40 | Translation Approved (100%) | ≤ 4.819V – 1.000 kWh/day | ≤ 4,819V – 1,000 kWh/dia |
| 5074edfab6c7-b1fc-4a0c-931c-55246f8ffd3c | Translation Approved (100%) | na | n/d |
| 5075e7d5532e-c925-41ec-8db5-1e2068997f14 | Translation Approved (100%) | Solid-door reach-in freezer, 0.85 ≤ V < 1.42 m<8009>3</8009> | Freezer vertical com porta sólida, 0,85 ≤ V < 1,42 m<8009>3</8009> |
| 5076a6937554-3ebc-4c6c-bef8-8458e304badf | Translation Approved (100%) | Elec | Elét. |
| 5077a3dfe5eb-a55c-4fef-8355-aa4362f9c73b | Translation Approved (100%) | Refrig | Refrig. |
| 507802d1bcd8-0b85-4fdc-bdcf-1ecd5380c716 | Translation Approved (100%) | 14.13V + 1.38 kWh/day | 14,13V + 1,38 kWh/dia |
| 507912c15eb3-e0bf-4265-98c7-2adae4a759e0 | Translation Approved (100%) | na | n/d |
| 5080737c6959-2687-40f2-bb5b-a2c346b88efd | Translation Approved (100%) | ≤ 5.760V + 6.125 kWh/day | ≤ 5,760V + 6,125 kWh/dia |
| 50816d57f03a-9598-4306-8216-5fdf51a8051d | Translation Approved (100%) | na | n/d |
| 508267915021-81d0-4869-8c1c-5bdab50ddd3a | Translation Approved (91%) | Solid-door reach-in freezer, 1.42 ≤ V m<8031>3</8031> | Freezer vertical com porta sólida, 1,42 ≤ V m<8031>3</8031> |
| 5083116ab255-79cf-4dc9-a8ad-2d38fd28a463 | Translation Approved (100%) | Elec | Elét. |
| 508400853dec-3cb0-412e-ad1e-c6d57b934573 | Translation Approved (100%) | Refrig | Refrig. |
| 5085769798f3-d982-450d-a615-e0f95d4dbc5d | Translation Approved (100%) | 14.13V + 1.38 kWh/day | 14,13V + 1,38 kWh/dia |
| 5086e4768985-b8b9-41ee-a525-5808ad07f4d0 | Translation Approved (100%) | na | n/d |
| 5087c9802269-df06-4ac8-aad9-5ae9adbf90c2 | Translation Approved (100%) | ≤ 5.583V + 6.333 kWh/day | ≤ 5,583V + 6,333 kWh/dia |
| 50885590a91d-ee84-40d7-80bf-409219971bbc | Translation Approved (100%) | na | n/d |
| 50896379c0dd-8584-472c-bdc1-189c5041c2be | Translation Approved (91%) | Solid-door reach-in refrigerator, 0 < V < 0.42m<8053>3</8053> | Refrigerador vertical com porta sólida, 0 < V < 0,42m<8053>3</8053> |
| 509041ad73c8-ea1f-4a5b-9256-440f42afdfc5 | Translation Approved (100%) | Elec | Elét. |
| 5091d1151e7d-3482-4223-9616-df2cb6e5ef5d | Translation Approved (100%) | Refrig | Refrig. |
| 5092ca70f7c2-6bff-4b66-bfc1-c3cd8628c334 | Translation Approved (100%) | 3.53V + 2.04 kWh/day | 3,53V + 2,04 kWh/dia |
| 5093b713c54a-de0e-4e78-ba1a-3a22ac05165d | Translation Approved (100%) | na | n/d |
| 5094c181904b-be94-4922-978d-f7bfaa2e6d14 | Translation Approved (100%) | ≤ 3.145V + 1.411 kWh/day | ≤ 3,145V + 1,411 kWh/dia |
| 509534c7a508-0fd6-4a7c-8df7-b0f3e546253c | Translation Approved (100%) | na | n/d |
| 50962f83ca6c-87f8-497f-b171-54fbfa2834d5 | Translation Approved (99%) | Solid-door reach-in refrigerator, 0.42 ≤ V < 0.85 m<8075>3</8075> | Refrigerador vertical com porta sólida, 0,42 ≤ V < 0,85 m<8075>3</8075> |
| 50974b0457da-a8b2-4a16-8351-3cc0226c6cc6 | Translation Approved (100%) | Elec | Elét. |
| 509862468d1b-9047-485f-ba06-9fb63027ca87 | Translation Approved (100%) | Refrig | Refrig. |
| 509948728b51-4596-4d3d-8cc4-301585c2c4dd | Translation Approved (100%) | 3.53V + 2.04 kWh/day | 3,53V + 2,04 kWh/dia |
| 510076241e40-befa-4e7d-adcf-8d5dc5807cb4 | Translation Approved (100%) | na | n/d |
| 51018b88be52-ad4d-4a47-b8d8-37ae2e103f99 | Translation Approved (100%) | ≤ 1.307V + 2.200 kWh/day | ≤ 1,307V + 2,200 kWh/dia |
| 5102ef5028a0-1d76-482a-9f9f-85991cad3538 | Translation Approved (100%) | na | n/d |
| 5103ff70ba57-c6c6-4327-94c1-016a03697630 | Translation Approved (100%) | Solid-door reach-in refrigerator, 0.85 ≤ V < 1.42 m<8097>3</8097> | Refrigerador vertical com porta sólida, 0,85 ≤ V < 1,42 m<8097>3</8097> |
| 51045346221d-dfac-4e4c-93d4-fb11a173764d | Translation Approved (100%) | Elec | Elét. |
| 5105ec487acd-f0a4-4c98-b373-fa5802da7b11 | Translation Approved (100%) | Refrig | Refrig. |
| 51064dac4c0e-4058-4932-999b-da4d72355480 | Translation Approved (100%) | 3.53V + 2.04 kWh/day | 3,53V + 2,04 kWh/dia |
| 510714ad1af3-6b18-4227-a423-e6b606542864 | Translation Approved (100%) | na | n/d |
| 510899642eef-ad0f-42d0-abea-a082bae3d2bd | Translation Approved (100%) | ≤ 1.979V + 1.635 kWh/day | ≤ 1,979V + 1,635 kWh/dia |
| 51096c93c3d8-087d-48a9-a97a-5f4bf2f4e81e | Translation Approved (100%) | na | n/d |
| 51100b378a28-e511-46ff-a99d-397b805c4beb | Translation Approved (0%) | Solid-door reach-in refrigerator, 1.42 ≤ V m<8119>3</8119> | Refrigerador vertical com porta sólida, 1,42 ≤ V m<8119>3</8119> |
| 511131f45bd6-f544-4778-91f5-646a1e7ceeaa | Translation Approved (100%) | Elec | Elét. |
| 5112c78a67d1-6f72-4c32-91e0-e7e2ce0eea52 | Translation Approved (100%) | Refrig | Refrig. |
| 5113da3de9cd-11a2-48f1-bc05-481a67d2a7e5 | Translation Approved (100%) | 3.53V + 2.04 kWh/day | 3,53V + 2,04 kWh/dia |
| 5114de923f42-78d5-4e2a-8de5-04c2ca9846b1 | Translation Approved (100%) | na | n/d |
| 5115aade9a1a-1194-401e-b81d-45e78b7f2d8a | Translation Approved (100%) | ≤ 2.120V + 1.416 kWh/day | ≤ 2,120V + 1,416 kWh/dia |
| 5116a2e3728c-7244-4b36-8c04-6af601c75b6a | Translation Approved (100%) | na | n/d |
| 511789f48720-a796-427b-b7e3-2741fed6857d | Translation Approved (100%) | Clothes washer | Máquina de lavar roupa |
| 511810b5e0d6-b4f2-4476-ae7c-d89c288b8d2f | Translation Approved (100%) | Gas | Gás |
| 5119f15228c5-e431-49b0-bae8-ecd8d3722eef | Translation Approved (100%) | Sanitation | Saneamento |
| 51205deb48a6-c559-4721-8deb-e38200c56eeb | Translation Approved (100%) | 1.72 MEF | 1,72 MEF |
| 512195cf38dd-eaf4-4113-886f-16680f220a08 | Translation Approved (100%) | 2.00 MEF | 2,00 MEF |
| 51227a2492e0-10bc-4f0e-be09-baa43ebc3adc | Translation Approved (100%) | Door-type dish machine, high temp | Lava-louças tipo porta, alta temp. |
| 51235e2f7747-433a-49ae-acd0-9f25394acb54 | Translation Approved (100%) | Elec | Elét. |
| 5124663e626b-a1bc-4626-bf98-8091dca2e624 | Translation Approved (100%) | Sanitation | Saneamento |
| 512565c7ce25-5377-41fe-901f-35f915e6b56b | Translation Approved (100%) | na | n/d |
| 5126689ff0db-6afb-446e-bfed-0b8a650937b0 | Translation Approved (100%) | 1.0 kW | 1,0 kW |
| 51279b9cb661-9aed-4613-a968-81b6f6fdec5d | Translation Approved (100%) | na | n/d |
| 51282feb4f74-4fe0-4010-8383-c346dda40ae6 | Translation Approved (100%) | 0.70 kW | 0,70 kW |
| 512973ed98ee-19e0-4ab2-ba36-1204cac53c0f | Translation Approved (100%) | Door-type dish machine, low temp | Lava-louças tipo porta, baixa temp. |
| 5130b9971542-a19d-4c6d-9e61-60c503c62a36 | Translation Approved (100%) | Elec | Elét. |
| 51319e7352e4-77ae-42ac-b5b5-efa4e7856890 | Translation Approved (100%) | Sanitation | Saneamento |
| 5132a36a3a68-0b06-4d2d-85b7-ec83f657adfc | Translation Approved (100%) | na | n/d |
| 5133f16af824-2809-408c-8c07-a5a0e993c536 | Translation Approved (100%) | 0.6 kW | 0,6 kW |
| 5134d6fb5683-5c66-4634-841c-c7e0e4e948ae | Translation Approved (100%) | na | n/d |
| 513569fe3e05-644b-4628-96e2-172f5a551b28 | Translation Approved (100%) | 0.6 kW | 0,6 kW |
| 5136fe2f88d9-162f-4e40-895b-555766758c3c | Translation Approved (100%) | Multitank rack conveyor dish machine, high temp | Lava-louças industrial multitanque com transportador, alta temp. |
| 51378f5681e9-e577-4d0e-a7c0-f6db60408b1c | Translation Approved (100%) | Elec | Elét. |
| 5138c4bf8142-cb7f-41fb-82e5-851667c4fad6 | Translation Approved (100%) | Sanitation | Saneamento |
| 513913e18ab9-df91-43ee-8371-8a6c74adedbf | Translation Approved (100%) | na | n/d |
| 51402a8deb5f-8708-43fd-91f9-13db872c5d8f | Translation Approved (100%) | 2.6 kW | 2,6 kW |
| 5141268b0c78-369d-4046-a01a-eb161e85ce8e | Translation Approved (100%) | na | n/d |
| 51421621d072-5594-4d0d-a54a-0dcfdb8fea92 | Translation Approved (100%) | 2.25 kW | 2,25 kW |
| 51430e41cc0b-204c-4f33-a22e-3c7be42ebc64 | Translation Approved (100%) | Multitank rack conveyor dish machine, low temp | Lava-louças industrial multitanque com transportador, baixa temp. |
| 5144f4334a62-b9fc-412a-83b6-2f9e6bce1c7d | Translation Approved (100%) | Elec | Elét. |
| 51458ee08ec3-02ad-4081-9eb2-86157fa237c8 | Translation Approved (100%) | Sanitation | Saneamento |
| 5146f479ce83-afb5-4594-aaaa-1ce40d379929 | Translation Approved (100%) | na | n/d |
| 51479923ee95-1414-4a35-a3e6-200d4cd9597d | Translation Approved (100%) | 2.0 kW | 2,0 kW |
| 5148b84f1f6c-1b32-47c3-b95f-d655742a8094 | Translation Approved (100%) | na | n/d |
| 5149e67daaa4-a588-411b-bbd5-cf712df59f6b | Translation Approved (100%) | 2.0 kW | 2,0 kW |
| 51503c5dbefa-3e39-4d63-9b9b-84038f106fab | Translation Approved (100%) | Single-tank rack conveyor dish machine, high temp | Lava-louças industrial tanque único com transportador, alta temp. |
| 51513e6e79f1-6d08-48c5-98bb-8d5628cc7d14 | Translation Approved (100%) | Elec | Elét. |
| 51523a0f18bb-096d-4b38-aebc-4e4fdc0b1fca | Translation Approved (100%) | Sanitation | Saneamento |
| 5153715f44cc-b387-48bc-98bc-0ad0a96cf729 | Translation Approved (100%) | na | n/d |
| 515480c723cd-eca6-4514-a176-27bfd81b4a9e | Translation Approved (100%) | 2.0 kW | 2,0 kW |
| 5155d85afc54-1481-4095-829d-6e3d3cd96d3e | Translation Approved (100%) | na | n/d |
| 5156cfc45818-4af3-421d-b546-38a2f1bdca6c | Translation Approved (100%) | 1.5 kW | 1,5 kW |
| 51577e7f4ac8-5aba-463a-ad94-e2bc75dfe869 | Translation Approved (100%) | Single-tank rack conveyor dish machine, low temp | Lava-louças industrial tanque único com transportador, baixa temp. |
| 515805578d25-83a8-42b8-8fcb-1c9fd1dfd6c8 | Translation Approved (100%) | Elec | Elét. |
| 5159080c069f-fb79-4faa-b086-db57ff619206 | Translation Approved (100%) | Sanitation | Saneamento |
| 516004d74396-0a69-437a-8974-c13f1cf13ba9 | Translation Approved (100%) | na | n/d |
| 5161fd68d662-7640-4f55-830e-add412d4aecb | Translation Approved (100%) | 1.6 kW | 1,6 kW |
| 5162061c0b66-e518-499a-9cc1-f93f5eda9a2a | Translation Approved (100%) | na | n/d |
| 5163d377e895-a53b-4e3e-ad93-6e3be3113097 | Translation Approved (100%) | 1.5 kW | 1,5 kW |
| 51643a83fbd9-8084-47ab-82d8-c41da634da4b | Translation Approved (100%) | Undercounter dish machine, high temp | Lava-louças sob bancada, alta temp. |
| 5165a74468c2-54b0-4406-90be-929d8f25b9ae | Translation Approved (100%) | Elec | Elét. |
| 5166c0589395-7569-4c1d-b795-e7bb7942810c | Translation Approved (100%) | Sanitation | Saneamento |
| 51678a83a21e-6fd3-436c-a336-be0994dcf62d | Translation Approved (100%) | na | n/d |
| 51684f07d8fa-66b6-4b74-917d-fb94c0691523 | Translation Approved (100%) | 0.9 kW | 0,9 kW |
| 51694755fefa-d387-4de5-ab45-7b28f41c5864 | Translation Approved (100%) | na | n/d |
| 5170040817bc-be9d-4974-a452-1f9b228da62c | Translation Approved (100%) | 0.5 kW | 0,5 kW |
| 5171db4d8ff5-59fe-4442-9f06-284db592cf9e | Translation Approved (100%) | Undercounter dish machine, low temp | Lava-louças sob bancada, baixa temp. |
| 517274eb53a5-bcbe-408a-8ac2-13d9d4948e72 | Translation Approved (100%) | Elec | Elét. |
| 517305f18619-1395-49ad-84f9-7f5a867a926b | Translation Approved (100%) | Sanitation | Saneamento |
| 51742ecbdf57-6793-4f93-bdad-96b54d999285 | Translation Approved (100%) | na | n/d |
| 517502386816-8c20-464b-bbbb-da76335cd2ef | Translation Approved (100%) | 0.5 kW | 0,5 kW |
| 5176dbe38117-a750-4c6b-9668-e26b22ab49b8 | Translation Approved (100%) | na | n/d |
| 51775e8e3a1f-d9b9-4cd4-a7b7-5df71b3bc245 | Translation Approved (100%) | 0.5 kW | 0,5 kW |
| 5178d9d87d39-6940-4bca-a2bd-ce56dea9cff6 | Translation Approved (100%) | The energy efficiency, idle energy rates, and water use requirements, where applicable, are based on the following test methods: | Os requisitos de eficiência energética, taxas de energia em inatividade e uso de água, quando aplicáveis, se baseiam nos seguintes métodos de teste: |
| 5179fc09efa8-0ef9-49a2-9f93-2796001cef2a | Translation Approved (100%) | ASTM F1275 Standard Test Method for Performance of Griddles | ASTM F1275 – Método de teste padrão de desempenho de frigideiras (Standard Test Method for Performance of Griddles) |
| 518015ad329a-3b9d-4f23-89af-4e2056420262 | Translation Approved (100%) | ASTM F1361 Standard Test Method for Performance of Open Deep Fat Fryers | ASTM F1361 – Método de teste padrão de desempenho de fritadeiras de imersão (Standard Test Method for Performance of Open Deep Fat Fryers) |
| 5181c6d79110-7ec4-4dd7-b457-a60f55deed8a | Translation Approved (100%) | ASTM F1484 Standard Test Methods for Performance of Steam Cookers | ASTM F1484 – Métodos de teste padrão de desempenho de panelas a vapor (Standard Test Methods for Performance of Steam Cookers) |
| 51828966ceba-6398-408a-92d5-bd88d5a3d9c5 | Translation Approved (100%) | ASTM F1496 Standard Test Method for Performance of Convection Ovens | ASTM F1496 – Método de teste padrão de desempenho de fornos de convecção (Standard Test Method for Performance of Convection Ovens) |
| 5183843ef7a8-259d-4036-b552-443be828444b | Translation Approved (100%) | ASTM F1521 Standard Test Methods for Performance of Range Tops | ASTM F1521 – Métodos de teste padrão de desempenho de "cooktops" (Standard Test Methods for Performance of Range Tops) |
| 518493dcb4cd-0766-4de6-bc57-e214c09baece | Translation Approved (100%) | ASTM F1605 Standard Test Method for Performance of Double-Sided Griddles | ASTM F1605 – Método de teste padrão de desempenho de frigideiras de dois lados (Standard Test Method for Performance of Double-Sided Griddles) |
| 518586a67114-1496-41fd-b551-a3d87098e471 | Translation Approved (100%) | ASTM F1639 Standard Test Method for Performance of Combination Ovens | ASTM F1639 – Método de teste padrão de desempenho de fornos de combinação (Standard Test Method for Performance of Combination Ovens) |
| 51867158a4f9-79b5-4cb3-8262-92a167f53ba4 | Translation Approved (100%) | ASTM F1695 Standard Test Method for Performance of Underfired Broilers | ASTM F1695 – Método de teste padrão de desempenho de grelhas aquecidas por baixo (Standard Test Method for Performance of Underfired Broilers) |
| 518759ce8b72-0369-4f2a-9ee4-93881657e55c | Translation Approved (100%) | ASTM F1696 Standard Test Method for Energy Performance of Single-Rack Hot Water Sanitizing, ASTM Door-Type Commercial Dishwashing Machines | ASTM F1696 – Método de teste padrão de desempenho energético de lava-louças comerciais tipo porta ASTM, limpeza com água quente e prateleira única (Standard Test Method for Energy Performance of Single-Rack Hot Water Sanitizing, ASTM Door-Type Commercial Dishwashing Machines) |
| 5188d5fd57f1-8095-421c-86a4-8f6ce0da150f | Translation Approved (100%) | ASTM F1704 Standard Test Method for Capture and Containment Performance of Commercial Kitchen Exhaust Ventilation Systems | ASTM F1704 – Método de teste padrão de desempenho de captura e contenção de sistemas de ventilação de exaustão de cozinhas (Standard Test Method for Capture and Containment Performance of Commercial Kitchen Exhaust Ventilation Systems) |
| 51895fddf7f5-8299-41f6-9229-1d6c1bf3da34 | Translation Approved (100%) | ASTM F1817 Standard Test Method for Performance of Conveyor Ovens | ASTM F1817 – Método de teste padrão de desempenho de fornos com transportador (Standard Test Method for Performance of Conveyor Ovens) |
| 519066ccef9f-db1c-4345-b8cf-3668a1e3b317 | Translation Approved (100%) | ASTM F1920 Standard Test Method for Energy Performance of Rack Conveyor, Hot Water Sanitizing, Commercial Dishwashing Machines | ASTM F1920 – Método de teste padrão de desempenho energético de lava-louças comerciais, limpeza com água quente, com transportador e prateleiras (Standard Test Method for Energy Performance of Rack Conveyor, Hot Water Sanitizing, Commercial Dishwashing Machines) |
| 5191eac31be2-a0d1-48f2-a9c2-74c009fdc032 | Translation Approved (100%) | ASTM F2093 Standard Test Method for Performance of Rack Ovens | ASTM F2093 – Método de teste padrão para o desempenho de fornos rotativos (Standard Test Method for Performance of Rack Ovens) |
| 51922eb0e31d-d8ae-4fa9-8538-e7b2a4845e7a | Translation Approved (100%) | ASTM F2140 Standard Test Method for Performance of Hot Food Holding Cabinets | ASTM F2140 – Método de teste padrão de desempenho de armários de armazenamento de alimentos quentes (Standard Test Method for Performance of Hot Food Holding Cabinets) |
| 51933ddf6792-c27f-4eb9-8011-9b4680c1c7df | Translation Approved (100%) | ASTM F2144 Standard Test Method for Performance of Large Open Vat Fryers | ASTM F2144 – Método de teste padrão de desempenho de fritadeiras grandes de tanque aberto (Standard Test Method for Performance of Large Open Vat Fryers) |
| 519406055555-d9d9-4a22-b626-a6f44e990f0e | Translation Approved (100%) | ASTM F2324 Standard Test Method for Prerinse Spray Valves | ASTM F2324 – Método de teste padrão de válvulas de pulverização pré-lavagem (Standard Test Method for Prerinse Spray Valves) |
| 51959e3f2d32-95a9-4b44-b89a-4bda25462f1b | Translation Approved (100%) | ASTM F2380 Standard Test Method for Performance of Conveyor Toasters | ASTM F2380 – Método de teste padrão de desempenho de torradeiras com transportador (Standard Test Method for Performance of Conveyor Toasters) |
| 5196e319e830-9707-4d8a-97af-7db7123c6778 | Translation Approved (100%) | ARI 810-2007: Performance Rating of Automatic Commercial Ice Makers | ARI 810-2007: Avaliação de desempenho de máquinas de gelo comerciais automáticas (Performance Rating of Automatic Commercial Ice Makers) |
| 519798800bb0-dd6e-419a-b363-8c0655a09376 | Translation Approved (97%) | ANSI/ASHRAE Standard 72–2005: Method of Testing Commercial Refrigerators and Freezers with temperature setpoints at 38°F (3°C) for mediumtemp refrigerators, -18°C for low-temp freezers, and -26°C for ice cream freezers. | Norma ANSI/ASHRAE 72–2005: Método de teste de refrigeradores e freezers comerciais com pontos de ajuste de temperatura a 38°F (3°C) para refrigeradores de temperatura média, -18°C (-18°C) para freezers de baixa temperatura e -26°C (-26°C) para freezers para sorvete (Method of Testing Commercial Refrigerators and Freezers with temperature setpoints at 38°F for medium-temp refrigerators, 0°F for low-temp freezers, and -15°F for ice cream freezers). |
| 5198e773c041-441b-4547-a953-2ac479de1b0c | Translation Approved (100%) | Table 2. | Tabela 2. |
| 5199e773c041-441b-4547-a953-2ac479de1b0c | Translation Approved (0%) | Supermarket refrigeration prescriptive measures and baseline for energy cost budget | Medidas prescritivas e baseline de refrigeração de supermercados para orçamento do custo de energia |
| 5200fe982e49-7ed1-47b1-9aa4-d872da330a0a | Translation Approved (100%) | Item | Item |
| 52018b870482-8df9-4d1c-ad2f-e17886234497 | Translation Approved (0%) | Attribute | Atributo |
| 5202dc135e46-3fa5-4f68-95ab-13fefa56a153 | Translation Approved (0%) | Prescriptive measure | Medida prescritiva |
| 520374b0e165-896a-4afc-939f-c74e96d306e8 | Translation Approved (76%) | Baseline for energy modeling path | Baseline do caminho de modelagem de energia |
| 5204386b643e-2aa4-4114-9617-957f33014afc | Translation Approved (0%) | Commercial Refrigerator and Freezers | Refrigeradores e freezers comerciais |
| 5205231b7149-fd23-4243-a303-2952898b0964 | Translation Approved (0%) | Energy Use Limits | Limites de uso de energia |
| 5206e6193fe7-4820-4ea6-9cc9-a7dea19623b5 | Translation Approved (0%) | ASHRAE 90.1-2010 Addendum g. Table 6.8.1L | ASHRAE 90.1-2010 Adendo g. Tabela 6.8.1L |
| 520786f00773-1ce9-4efe-a812-6b76f77f745a | Translation Approved (100%) | ASHRAE 90.1-2010 Addendum g. Table 6.8.1L | ASHRAE 90.1-2010 Adendo g. Tabela 6.8.1L |
| 5208e38cf7ed-312b-4e0a-bd42-cedc653fca90 | Translation Approved (0%) | Commercial Refrigeration Equipment | Equipamentos de refrigeração comerciais |
| 520961c368e2-b336-4bd9-9bc3-145d629d8c23 | Translation Approved (100%) | Energy Use Limits | Limites de uso de energia |
| 5210dd1d578c-45de-4ec7-b49e-2eac5efeba0d | Translation Approved (0%) | ASHRAE 90.1-2010 Addendum g. Table 6.8.1M | ASHRAE 90.1-2010 Adendo g. Tabela 6.8.1M |
| 521164a31abd-6e69-4a69-a106-ffdf80409c85 | Translation Approved (100%) | ASHRAE 90.1-2010 Addendum g. Table 6.8.1M | ASHRAE 90.1-2010 Adendo g. Tabela 6.8.1M |
| 52128450797d-af89-4895-9471-8f88207444de | Translation Approved (100%) | Table 3. | Tabela 3. |
| 52138450797d-af89-4895-9471-8f88207444de | Translation Approved (0%) | Walk-in coolers and freezers prescriptive measures and baseline for energy cost budget | Medidas prescritivas e baseline de refrigeradores e freezers tipo câmara fria ("walk-in") para orçamento do custo de energia |
| 52149b0636ac-53d8-4e4a-b45e-a7ab088e79d6 | Translation Approved (100%) | Item | Item |
| 521537dfd7d7-a26b-4779-88ac-69fa059b8c45 | Translation Approved (100%) | Attribute | Atributo |
| 521682cf307f-72a3-4b3a-bd1b-0358faf217da | Translation Approved (100%) | Prescriptive measure | Medida prescritiva |
| 521786882088-7420-430a-b31a-a16fa1665d81 | Translation Approved (100%) | Baseline for energy modeling path | Baseline do caminho de modelagem de energia |
| 5218f3c806e7-5834-4b5a-b158-3dade18a9eb4 | Translation Approved (0%) | Envelope | Envelope |
| 521940544a61-bede-48d5-ba54-a4e72d293a9d | Translation Approved (0%) | Freezer insulation | Isolamento do freezer |
| 522082b2dc95-6695-4b86-b3cc-b8e0bcc26483 | Translation Approved (0%) | R-46 | R-46 |
| 5221ba330474-5a62-4d4b-84a5-ba4ffd00f85a | Translation Approved (0%) | R-36 | R-36 |
| 5222202060e4-97b0-4f01-a978-83a46ba39dc0 | Translation Approved (0%) | Cooler insulation | Isolamento do refrigerador |
| 522316624016-472d-491d-9d76-ef63191e9d97 | Translation Approved (100%) | R-36 | R-36 |
| 5224aded8eda-6fb3-48c8-b003-74ac6e2c6f31 | Translation Approved (0%) | R-20 | R-20 |
| 5225778f763c-29e1-43e8-a638-bf5a1a9955e9 | Translation Approved (0%) | Automatic closer doors | Portas de fechamento automático |
| 5226cd6f4ae2-018a-4d87-b34b-2ef9ec09f4b1 | Translation Approved (100%) | Yes | Sim |
| 52270bb9cb77-6e65-4647-a7c7-a0425ee72bea | Translation Approved (100%) | No | Não |
| 5228f8c7e67b-21e7-43a2-9e70-5ccc66a76641 | Translation Approved (0%) | High-efficiency low- or no-heat reach-in doors | Portas verticais de alta eficiência, com baixo ou sem aquecimento |
| 5229dbf4038b-ed27-4533-8558-aed5073acd1e | Translation Approved (0%) | 40W/ft (130W/m) of door frame (low temperature), 17W/ft (55W/m) of door frame (medium temperature) | 40 W/ft (130 W/m) da estrutura da porta (baixa temperatura), 17 W/ft (55 W/m) da estrutura da porta (temperatura média) |
| 52306c416bde-979d-49d1-ad73-21d79bc59f74 | Translation Approved (100%) | 40W/ft (130W/m) of door frame (low temperature), 17W/ft (55W/m) of door frame (medium temperature) | 40 W/ft (130 W/m) da estrutura da porta (baixa temperatura), 17 W/ft (55 W/m) da estrutura da porta (temperatura média) |
| 5231f179c3b0-a3c1-438b-8f77-83c0c709a122 | Translation Approved (0%) | Evaporator | Evaporador |
| 523276aeaf41-2437-42ea-9931-8d051d22585c | Translation Approved (0%) | Evaporator fan motor and control | Motor e controle do ventilador do evaporador |
| 5233ea86d480-8d81-4ee2-a401-61f3a78039f5 | Translation Approved (0%) | Shaded pole and split phase motors prohibited; use PSC or EMC motors | Motores de polo sombreados ou fase dividida são proibidos, use motores PSC ou EMC |
| 52343aadc4ff-0404-4aef-b36d-cb234a49f640 | Translation Approved (0%) | Constant-speed fan | Ventilador de velocidade constante |
| 5235b359530a-fd4d-4f33-9759-49f5b0974180 | Translation Approved (0%) | Hot gas defrost | Descongelamento com gás quente |
| 523641866175-9ffd-45cf-8943-2281b34c56bf | Translation Approved (0%) | No electric defrosting. | Sem descongelamento elétrico |
| 52371e81b9aa-8a2c-4a2e-b259-40d8ac905e25 | Translation Approved (0%) | Electric defrosting | Com descongelamento elétrico |
| 52383ea227b8-a1f0-4d97-94df-50c799dcfb60 | Translation Approved (0%) | Condenser | Condensador |
| 5239dcdb3fcb-6e33-4f3e-8479-45180f35963f | Translation Approved (74%) | Air-cooled condenser fan motor and control | Motor e controle do ventilador do condensador resfriado a ar |
| 5240ae65e514-5e2a-4218-9525-78d70edbf6cf | Translation Approved (79%) | Shaded pole and split phase motors prohibited; use PSC or EMC motors; add condenser fan controllers | Motores de polo sombreados ou fase dividida são proibidos, use motores PSC ou EMC; adicione controladores do ventilador do condensador |
| 52413675c2c2-2c48-4506-889d-899a4eda6b7f | Translation Approved (0%) | Cycling one-speed fan | Ventilador de ciclo de uma velocidade |
| 5242bf42e22e-e40f-4c65-a10f-c3ba807a8e07 | Translation Approved (0%) | Air Cooled condenser design approach | Abordagem de projeto de condensador resfriado a ar |
| 5243c1aa7301-bb57-41b0-a556-113218b3d35d | Translation Approved (0%) | Floating head pressure controls or ambient subcooling | Controles de pressão de cabeçote flutuante ou sub-resfriamento do ambiente |
| 524427c44e80-fdb5-49d2-a68f-dd6fb7edf195 | Translation Approved (0%) | 10°F (-12°C) to 15°F | 10 °F (-12 °C) a 15 °F |
| 52457ab0edb0-7058-4a34-abe6-d6908d1a7067 | Translation Approved (0%) | (-9°C) dependent on suction temperature | (-9 °C) dependendo da temperatura de sucção |
| 5246288c4aad-618b-4a03-8396-699e97741689 | Translation Approved (100%) | Lighting | Iluminação |
| 5247a11e3b80-dda7-4baa-80b0-a19c44c61dcb | Translation Approved (0%) | Lighting power density (W/sq.ft.) | Densidade da potência de iluminação (W/pés quad.) |
| 52486b27059b-ce73-4511-8528-2ab242c36582 | Translation Approved (0%) | 0.6 W/sq.ft. | 0,6 W/pés quad. |
| 52494ea22915-a39b-4763-b8e9-e02336c60593 | Translation Approved (0%) | (6.5 W/sq. meter) | (6,5 W/metros quad.) |
| 5250bfd16770-9660-4eb4-975e-5186c0e3354e | Translation Approved (100%) | 0.6 W/sq.ft. | 0,6 W/pés quad. |
| 5251cf2c6e85-6e38-4968-92fc-c3dcd74323f2 | Translation Approved (100%) | (6.5 W/sq. meter) | (6,5 W/metros quad.) |
| 525207694b15-3f80-4150-964d-9bddaabd9d30 | Translation Approved (100%) | Commercial Refrigerator and Freezers | Refrigeradores e freezers comerciais |
| 52530f33ee47-260b-4440-bf89-5afdc1dd6823 | Translation Approved (100%) | Energy Use Limits | Limites de uso de energia |
| 52547564996d-1aa1-4fb4-ac06-e6430687be84 | Translation Approved (100%) | N/A | N/A |
| 5255e9e5a22a-27af-4deb-bdb4-d7db92f18883 | Translation Approved (0%) | Use an Exceptional Calculation Method if attempting to take savings | Use um Método de Cálculo Excepcional ao tentar obter economias |
| 5256886b07d6-7579-4974-b5ff-daf61fd0c1cc | Translation Approved (100%) | Commercial Refrigerator and Freezers | Refrigeradores e freezers comerciais |
| 525740ed253f-4320-49a5-8eb1-91fff9c0e4ae | Translation Approved (100%) | Energy Use Limits | Limites de uso de energia |
| 5258366f7301-bd3b-4758-b346-359a1786cf25 | Translation Approved (100%) | N/A | N/A |
| 52597ea401f8-fb7c-4538-a410-2a9e24907d52 | Translation Approved (100%) | Use an Exceptional Calculation Method if attempting to take savings | Use um Método de Cálculo Excepcional ao tentar obter economias |
| 526023c5bc2c-21ca-4d5b-a828-5464aa968f8a | Translation Approved (100%) | Table 4. | Tabela 4. |
| 526123c5bc2c-21ca-4d5b-a828-5464aa968f8a | Translation Approved (0%) | Commercial kitchen ventilation prescriptive measures and baseline for energy cost budget | Medidas prescritivas e baseline de ventilação comercial de cozinhas para orçamento de custo de energia |
| 52622afb6272-ff61-47da-84aa-e89f291d0628 | Translation Approved (100%) | Strategies | Estratégias |
| 52638a167cec-4b47-4c22-b75a-845f77155f2b | Translation Approved (100%) | Prescriptive measure | Medida prescritiva |
| 526487252db9-6638-4c86-bdb1-dd5375e8783d | Translation Approved (0%) | Baseline | Baseline |
| 5265fc9b5902-59f7-4dd5-bfb2-9c13161980dc | Translation Approved (0%) | Kitchen hood control | Controle de coifa de cozinha |
| 5266aaac073e-f367-4c7e-9c0f-d2c79a153268 | Translation Approved (0%) | ASHRAE 90.1-2010 Section 6.5.7.1, except that Section 6.5.7.1.3 and Section 6.5.7.1.4 shall apply if the total kitchen exhaust airflow rate exceeds 2,000 cfm (960 L/s) (as opposed to 5,000 cfm (2,400 L/s) noted in the ASHRAE 90.1-2010 requirements) | ASHRAE 90.1-2010 Seção 6.5.7.1, exceto que Seção 6.5.7.1.3 e Seção 6.5.7.1.4 devem se aplicar se a vazão de ar total da exaustão da cozinha exceder os 2.000 cfm (960 l/s) (contra 5.000 cfm (2.400 l/s) indicados nos requisitos na Norma ASHRAE 90.1-2010) |
| 5267421362a7-5a11-4de9-8254-25c4f0d8779c | Translation Approved (0%) | ASHRAE 90.1-2010 Section 6.5.7.1 and Section G3.1.1 Exception (d) where applicable | ASHRAE 90.1-2010 Seção 6.5.7.1 e Seção G3.1.1 Exceção (d) quando aplicável |