| Segment ID | Segment status | Source segment | Target segment |
| --- | --- | --- | --- |
| 1a25b1ab6-5fa0-4895-a515-9533b1823771 | Translated (0%) | Updated to reflect the July 1, 2014 LEED v4 Building Operations and Maintenance Addenda | 经过更新以反映 2014 年 7 月 1 日的 LEED v4 建筑运营与维护附录 |
| 23620f665-2615-4ecf-83cb-83f6589d54f4 | Translated (0%) | <38>LEED </38><39>v</39><40>4</40><41> for</41> | <38>LEED </38><39>v</39><40>4</40> |
| 39d3e7e44-8f65-425c-84f4-cedd01c6a652 | Translated (0%) | BUILDING OPERATIONS AND MAINTENANCE | 建筑运营与维护 |
| 4fc517c35-44d6-430a-807d-5449ce530090 | Translated (100%) | Updated July 1, 2014 | 更新于 2014 年 7 月 1 日 |
| 5e2624d43-ed8b-45dd-ae9f-2006b7165ee8 | Translated (0%) | Includes: | 包括： |
| 62c121430-38a0-4940-a81b-b889de18b4bd | Translated (0%) | LEED O+M: Existing Buildings | LEED O+M：既有建筑 (LEED O+M: Existing Buildings) |
| 7c7ef51ed-4e86-4e64-9e09-696dd4b4a639 | Translated (0%) | LEED O+M: Schools | LEED O+M：学校 (LEED O+M: Schools) |
| 849982708-2c50-41a6-be0e-6e12053ed7f8 | Translated (0%) | LEED O+M: Retail | LEED O+M：零售 (LEED O+M: Retail) |
| 93a72cf47-c348-48b3-9eb9-2128ffc0c609 | Translated (0%) | LEED O+M: Data Centers | LEED O+M：数据中心 (LEED O+M: Data Centers) |
| 1010d030dc-cfc4-494f-9da9-ce4c075a2a16 | Translated (0%) | LEED O+M: Hospitality | LEED O+M：宾馆接待 (LEED O+M: Hospitality) |
| 11f0fd37db-22b2-41a7-a0c0-dab00772b81a | Translated (0%) | LEED O+M: Warehouses and Distribution Centers | LEED O+M：仓储和配送中心 (LEED O+M: Warehouses and Distribution Centers) |
| 1228018230-2a14-4dcd-8816-1f3acd27faa7 | Translated (0%) | Location and Transportation (LT) | 选址与交通 (Location and Transportation (LT)) |
| 13e3006e41-87bd-47ac-b3da-0ff40873af57 | Translated (0%) | LT Credit: Alternative Transportation | LT 得分点：替代交通 (Alternative Transportation) |
| 141cd32095-fbbf-483f-9cf6-25623aa5b216 | Translated (0%) | EB:O&M | EB:O&M |
| 1579903eef-0c58-4f44-a731-efbb7103ce03 | Translated (0%) | 1–15 points | 1–15 分 |
| 16e877f481-8289-469f-a16e-c053617092df | Translated (100%) | This credit applies to | 该得分点适用于 |
| 174e73e5ce-f5ac-4c87-abfd-c96d1519520c | Translated (0%) | Existing Buildings: Operations & Maintenance (1–15 points) | 既有建筑：运营与维护（1–15 分） |
| 18c2c21358-3132-45a5-8af2-ab631cbad17e | Translated (0%) | EB:O&M Schools (1–15 points) | EB:O&M 学校（1–15 分） |
| 193f2eb1c9-df6b-4546-8e63-5d94b740a4f6 | Translated (0%) | EB:O&M Retail (1–15 points) | EB:O&M 零售（1–15 分） |
| 2030871bd3-1f85-4526-87c0-85d9ce799ad2 | Translated (0%) | EB:O&M Data Centers (1–15 points) | EB:O&M 数据中心（1–15 分） |
| 214691562d-2c9b-4c4d-9056-884450871bc8 | Translated (0%) | EB:O&M Hospitality (1–15 points) | EB:O&M 宾馆接待（1–15 分） |
| 22b8143449-f615-415d-b2c7-fecb63c28a4e | Translated (0%) | EB:O&M Warehouses & Distribution Centers (1–15 points) | EB:O&M 仓储和配送中心（1–15 分） |
| 23d6696767-533a-4fd5-8ae8-58a08cf27276 | Translated (100%) | Intent | 目的 |
| 246039e89b-6928-4fdc-96d4-950b19acc740 | Translated (0%) | To reduce pollution and land development effects from automobile use for transportation. | 减轻因交通使用汽车产生的污染和土地开发的影响。 |
| 25516d7d87-e2a5-4f0b-b49e-2e517907ff24 | Translated (100%) | Requirements | 要求 |
| 26977daecc-1e28-48e5-8062-fd698cd555db | Translated (0%) | EBOM, Schools, Retail, Data Centers, Hospitality, Warehouses & Distribution Centers | EBOM、学校、零售、数据中心、宾馆接待、仓储和配送中心 |
| 27e23f1356-8a43-4363-ba7f-a99a28885db8 | Translated (0%) | ESTABLISHMENT | 建立 |
| 28bd7b55a1-42b5-4d48-9459-2fe0ac743cd7 | Translated (0%) | None. | 无。 |
| 291a6915f7-3a44-4fc1-990a-ee1565fd6f78 | Translated (0%) | PERFORMANCE | 运行 |
| 30b24ac2c7-ca4f-4e8d-bab7-a392ef6549ab | Translated (0%) | Option 1. | 选项 1. |
| 31b24ac2c7-ca4f-4e8d-bab7-a392ef6549ab | Translated (0%) | Transportation Survey (1 point) | 交通调查（1 分） |
| 3217099986-8a0d-437c-9427-12af5b0fec0b | Translated (0%) | Conduct a survey of building occupants on their transportation patterns. | 对建筑驻户采用的交通方式进行调查。 |
| 3317099986-8a0d-437c-9427-12af5b0fec0b | Translated (0%) | Regular building occupants must be surveyed. | 必须调查常规建筑驻户。 |
| 3417099986-8a0d-437c-9427-12af5b0fec0b | Translated (0%) | Visitors must be surveyed if either the typical peak or daily average is greater than the number of regular building occupants. | 如果典型峰值或日平均数大于常规建筑驻户数，则必须调查访客。 |
| 35103bda86-2d45-4feb-9e92-5cd1578e714a | Translated (0%) | Conduct a transportation survey at least once every five years. | 每五年至少进行一次交通调查。 |
| 3617112336-09ef-4f5a-a78c-df008cfcba2c | Translated (100%) | OR | 或 |
| 37c8d2939d-a041-4905-9df6-1b076d53b757 | Translated (100%) | Option 2. | 选项 2. |
| 38c8d2939d-a041-4905-9df6-1b076d53b757 | Translated (0%) | Alternative Transportation Rate (3–15 points) | 替代交通使用率（3-15 分） |
| 399a150d0c-df79-4d62-93ae-18624fc5fc03 | Translated (0%) | Meet the requirements of Option 1. | 满足选项 1 的要求。 |
| 40a4cfe083-5681-4995-8b48-c5efe4c2bb07 | Translated (0%) | Demonstrate an alternative transportation rate in accordance with Table 1. | 根据表 1 证明替代交通使用率。 |
| 41a4cfe083-5681-4995-8b48-c5efe4c2bb07 | Translated (0%) | Alternative transportation strategies that contribute to this reduction include human-powered conveyances (e.g. walking or biking), <62>public transit</62>, telecommuting, rideshare options, compressed workweeks, carpools, and <63>green vehicles</63>. | 有助于减轻污染和土地开发影响的替代交通策略包括人力运输工具（如步行或骑自行车）、<Italic>公共交通</Italic>、远程办公、共乘方案、紧凑工作周、合用汽车以及<63>绿色车辆</63>。 |
| 42e2844bb0-8678-479f-8356-ef2dc440191b | Translated (92%) | Calculations are performed relative to a baseline case that assumes all regular occupants commute alone in conventional automobiles. | 这些计算是相对于假定所有常规驻户都是独自乘坐传统汽车上下班的基线案例做出的。 |
| 43e2844bb0-8678-479f-8356-ef2dc440191b | Translated (0%) | The calculations must account for seasonal variations in the use of alternative commuting methods and should indicate the distribution of commuting trips using each type of alternative transportation strategy. | 计算必须考虑使用替代通勤交通方式的季节变化，并且应说明使用每种类型替代交通策略的通勤出行次数分布情况。 |
| 44b519c50e-7061-4941-8689-076e7f85f427 | Translated (100%) | Table 1. | 表 1. |
| 45b519c50e-7061-4941-8689-076e7f85f427 | Translated (0%) | Points for alternative transportation rate | 替代交通使用率的分数 |
| 46bf503d92-2d2e-4325-a432-17af5dca8810 | Translated (0%) | Alternative Transportation Rate | 替代交通使用率 |
| 4786566bc9-d8e6-4832-913a-80fcd3db9f39 | Translated (100%) | Points | 分数 |
| 484d92e217-9e24-41d8-9d69-6e57d66d15fc | Translated (0%) | 10% | 10% |
| 494618681a-f904-4cfd-959f-6470487a5bd3 | Translated (0%) | 3 | 3 |
| 50a5e12c6e-db2c-4b81-8838-5894d3620314 | Translated (100%) | 15% | 15% |
| 512ad448db-9ca0-4672-a999-1cff099e61d5 | Translated (100%) | 4 | 4 |
| 52361ad913-e94f-4106-827a-a683658c58d4 | Translated (100%) | 20% | 20% |
| 5335bf7c71-1a86-45f5-8c92-e867f54ee4fd | Translated (100%) | 5 | 5 |
| 541b8d2bea-cf97-41b5-bd90-3524b487b1a8 | Translated (100%) | 25% | 25% |
| 55f84810b4-fd0d-4188-8b43-e011060a252a | Translated (100%) | 6 | 6 |
| 565e952380-3820-4049-aca7-e0b71a88fec1 | Translated (100%) | 30% | 30% |
| 5725dc017b-3619-457a-a0c2-e2f502201037 | Translated (100%) | 7 | 7 |
| 588b113e7f-bec1-4a8c-aa5d-9313dfd1039c | Translated (100%) | 35% | 35% |
| 59a634c0c8-c576-4642-a326-e24fc5ad47e0 | Translated (100%) | 8 | 8 |
| 60ae4ad456-6f07-4e44-937c-d6c46fdcbce7 | Translated (100%) | 40% | 40% |
| 61f2c78c4a-5554-49b6-8599-29bcb088bb7b | Translated (100%) | 9 | 9 |
| 6277cdd2a7-87d5-409d-9035-5f08a14bac42 | Translated (100%) | 45% | 45% |
| 63d7e59cb7-942c-4293-a922-105d85122b03 | Translated (100%) | 10 | 10 |
| 64429478b9-6f02-43b7-ae29-dd00a555d36c | Translated (100%) | 50% | 50% |
| 65f61f9dba-ff8a-4c1b-8672-55fecc836c1b | Translated (100%) | 11 | 11 |
| 66a78fcd31-63a0-47b0-bb0b-98b2d4fdb1a2 | Translated (100%) | 55% | 55% |
| 674b0012c3-ab01-4faf-9b77-0569f4eeceb5 | Translated (100%) | 12 | 12 |
| 686729a106-84b0-49e5-a0c5-f3841deca9a6 | Translated (100%) | 60% | 60% |
| 69dd603034-8ada-4743-81ce-f84f9ee75981 | Translated (100%) | 13 | 13 |
| 70e95b5ec0-1066-4f97-ae98-6040df7f8080 | Translated (100%) | 65% | 65% |
| 71b5ba3dcd-2a86-4b11-88dc-a6abf28b7f90 | Translated (100%) | 14 | 14 |
| 7262773404-cbf6-41ae-b004-efd73f0d1029 | Translated (100%) | 70% | 70% |
| 73e2e5314a-b664-431c-a8d0-b8c933804e11 | Translated (100%) | 15 | 15 |
| 74a991233d-8fb3-4c0f-bdc1-7438b1655b20 | Translated (100%) | OR | 或 |
| 750a926c42-a69c-4e86-ac0f-d49a20b34d22 | Translated (100%) | Option 3. | 选项 3. |
| 760a926c42-a69c-4e86-ac0f-d49a20b34d22 | Translated (0%) | Comprehensive Alternative Transportation Program (2 points) | 全面的替代交通计划（2 分） |
| 77a1d9d524-801d-429c-8e0a-8ed42f0a7bb7 | Translated (100%) | Meet the requirements of Option 1. | 满足选项 1 的要求。 |
| 787acabec1-34ae-4057-af5c-1040cc7e8fec | Translated (0%) | Implement an alternative transportation program to reduce the conventional travel rates of building occupants. | 实施替代交通计划，以降低建筑驻户的传统出行率。 |
| 797acabec1-34ae-4057-af5c-1040cc7e8fec | Translated (0%) | Include at least one element from each of the following three categories: | 至少包括下列每种类别（共三种）中的一个元素： |
| 80a49ac2ba-abfd-44ee-8f2e-bb09e0a07758 | Translated (0%) | Education strategies | 教育策略 |
| 81eff9eb8c-a86a-4253-9f6e-d60a8918d4d6 | Translated (0%) | new-hire orientation; | 新员工入职培训； |
| 822a5867a5-64d7-47cd-b700-70cf622f1d8a | Translated (0%) | employee newsletter, flyer, announcements, memos, letters; | 员工新闻邮件、传单、公告、备忘录、信件； |
| 837b9d8cc0-970b-474a-9886-f78823039c6c | Translated (0%) | carpool matching website; or | 共乘配对网站；或 |
| 8421207e87-9c28-46bd-bb17-58fbe5dda31f | Translated (0%) | Basic support strategies | 基本支持策略 |
| 8526ffae4d-cb3c-4b6f-a39d-e8afa9e91cc9 | Translated (0%) | employer carpool events. | 雇主共乘活动。 |
| 863943120b-66c8-4314-966e-ea4cb9cee5fd | Translated (0%) | guaranteed return trip; | 有保障的回程； |
| 8760fc17a7-c8b2-4d2a-b738-c62f1222ab16 | Translated (0%) | preferential parking for rideshare participants; | 共乘参与者的优先停车权； |
| 88d5df31dc-a660-4d37-8ea6-e811d2a5bedf | Translated (0%) | flextime schedule; or | 弹性时间安排；或 |
| 89309ba454-c963-480d-9b5d-fb424a2d148b | Translated (0%) | ride-matching service. | 共乘配对服务。 |
| 904708adf9-f38d-4d59-9ec2-d730724a9b4f | Translated (0%) | Direct strategies | 直接策略 |
| 912c70afec-bc06-4fe4-9337-72cecb25030f | Translated (0%) | telecommuting; | 远程办公； |
| 920b1098f9-0939-47f8-adc3-3786c9d74bfa | Translated (0%) | compressed workweek schedule; | 紧凑工作周安排； |
| 930864b10c-af49-4cd1-8cff-0ef2e7f35ed4 | Translated (0%) | transit subsidy; | 交通补贴； |
| 94c88989b0-da66-4d89-abeb-ad570480edf8 | Translated (0%) | introduction of a parking fee; | 收取停车费； |
| 95af4fe23d-c6e9-430c-80d5-342c139f7ec9 | Translated (0%) | bicycle program; | 自行车计划； |
| 96ae8a8542-7f21-4fcb-ab48-bd2454b80fc4 | Translated (0%) | parking cash-out; | 停车位转换现金补助； |
| 97d3a0b211-5c73-49c0-b09d-413c3cb0ada3 | Translated (0%) | employee clean vehicle purchase program; or | 员工清洁车辆采购计划；或 |
| 98ff817937-4ff5-4409-af68-3b0d856b9574 | Translated (0%) | carpool program. | 共乘计划。 |
| 992088a35b-dd1a-45f3-b914-cf9f8e11110e | Translated (100%) | Sustainable Sites (SS) | 可持续场址 (SS) |
| 1007b353a57-b1ae-49cb-9a55-0bb5548dab30 | Translated (0%) | SS Prerequisite: Site Management Policy | SS 先决条件：场址管理章程 (Site Management Policy) |
| 1010bdd2a38-808d-4219-b90a-5d7edb9fbb28 | Translated (100%) | Required | 必要项 |
| 102cbce1f5d-137b-4c8a-b6e2-3342d79755a9 | Translated (100%) | EB:O&M | EB:O&M |
| 1034b686e5e-fecb-4d1b-8928-fddb8c0b63a9 | Translated (100%) | This credit applies to | 该得分点适用于 |
| 1042267f11d-ff93-4d2d-9603-79a9a4e4b086 | Translated (0%) | Existing Buildings: Operations & Maintenance | 既有建筑：运营与维护 |
| 105b460d360-9734-4f5b-befb-7231ba124a5f | Translated (0%) | EB:O&M Schools | EB:O&M 学校 |
| 10611150897-1193-45d2-9550-8bb097b07cfb | Translated (0%) | EB:O&M Retail | EB:O&M 零售 |
| 107560ef612-f54d-4550-a950-39ea392f2c9f | Translated (0%) | EB:O&M Data Centers | EB:O&M 数据中心 |
| 108dc0b16c6-2f97-463c-85fd-11750a8f6642 | Translated (0%) | EB:O&M Hospitality | EB:O&M 宾馆接待 |
| 1097c55d741-b3de-49bd-a95b-5b00907e07ff | Translated (0%) | EB:O&M Warehouses & Distribution Centers | EB:O&M 仓储和配送中心 |
| 110b218a381-984c-4337-b282-a607d5a3691c | Translated (100%) | Intent | 目的 |
| 1116afc5aa5-20fb-42bc-8599-2698e42ef191 | Translated (0%) | To preserve ecological integrity and encourage environmentally sensitive site management practices that provide a clean, well-maintained, and safe building exterior while supporting high-performance building operations and integration into the surrounding landscape. | 支持高性能建筑运营和使建筑融入周围景观的同时，保持生态完整性，并鼓励采用环境敏感型场址管理实践，以提供清洁、维护良好且安全的建筑外部环境。 |
| 112442e4af7-2103-46cf-b971-fe2511828885 | Translated (100%) | Requirements | 要求 |
| 1131ed99ba1-b9be-4d9a-b6ee-36879abb9b8c | Translated (100%) | EBOM, Schools, Retail, Data Centers, Hospitality, Warehouses & Distribution Centers | EBOM、学校、零售、数据中心、宾馆接待、仓储和配送中心 |
| 1146ed4eb55-4180-4b92-8cb2-65fb9d45580c | Translated (100%) | ESTABLISHMENT | 建立 |
| 115ee3df622-a238-4926-b4e8-8dc428c1f21f | Translated (0%) | Create and implement a site management policy that employs best management practices to reduce harmful chemical use, energy waste, water waste, air pollution, solid waste, and/or chemical runoff for all of the following operational elements on the building and grounds: | 制定并实施场址管理章程，针对建筑和地面上的以下所有运营要素采用最佳管理实践来减少有害化学品的使用、能源浪费、水资源浪费、空气污染、固体废弃物和/或化学径流： |
| 116c151dc25-19e9-4e57-82e4-8f332bed6a72 | Translated (0%) | use of low emissions maintenance equipment; | 低排放维护设备的使用； |
| 1176826b7fa-b610-4681-a868-9a0b450d7973 | Translated (0%) | snow and ice removal; | 冰雪清除； |
| 1185c4f62bb-a6da-411d-9687-114c116eb0c9 | Translated (0%) | cleaning of building exterior, pavement, and other impervious surfaces; | 建筑室外、人行道和其他非渗透表面的清洁； |
| 119201b2744-6990-4db9-8611-f28985fbca31 | Translated (0%) | erosion and sedimentation control (for ongoing operations and for construction activity); | 侵蚀和沉积物控制（用于持续运营和施工活动）； |
| 120d2ec0b8a-ca79-4ccc-a906-2fddd01deef8 | Translated (0%) | organic waste management (returned to the site or diverted from landfills); | 有机废弃物管理（返回到场址或转化而免于填埋）； |
| 12141b01210-56f2-48c8-ab0c-edf4f9d3ab48 | Translated (0%) | invasive and exotic plant species management (through monitoring and eradication); | 外来入侵植物物种管理（通过监控和根除）； |
| 122d1468a24-b9b0-4888-8887-8bae4a75e1df | Translated (0%) | fertilizer use (testing soils before using fertilizer to prevent overapplication of nutrients); | 化肥使用（在使用化肥之前检测土壤，以防过度施养）； |
| 123ac6adc61-e0f3-4953-b8d5-e4ca0cd17426 | Translated (0%) | irrigation management (monitor irrigation systems manually or with automated systems at least every two weeks during the operating season for appropriate water usage, system times, leaks, or breaks); and | 灌溉管理（在运营季期间至少每两周手动或通过自动化系统对灌溉系统进行一次监控，以了解用水量和系统时间是否适当，且是否存在漏水或破裂问题）；以及 |
| 124b538af23-d3d3-4b52-b10a-46e22824f2dc | Translated (0%) | storage of materials and equipment. | 材料和设备的存贮。 |
| 125333e20f9-30a7-4484-933f-35232171b325 | Translated (100%) | PERFORMANCE | 运行 |
| 126f2c414c3-9744-4b13-9d5a-deba60554b5b | Translated (100%) | None. | 无。 |
| 12783bf9437-9ba7-4544-bf5c-25b8040b675f | Translated (0%) | SS Credit: Site Development—Protect or Restore Habitat | SS 得分点：场址开发—保护和恢复栖息地 (Site Development—Protect or Restore Habitat) |
| 128e445b774-906c-4e53-b31d-314650cb3c58 | Translated (100%) | EB:O&M | EB:O&M |
| 129071fb632-0702-46b3-8595-737674d31da4 | Translated (100%) | 1–2 points | 1-2 分 |
| 130472eaa02-6daa-4305-8e31-b182974312dc | Translated (100%) | This credit applies to | 该得分点适用于 |
| 1312600e6cf-c075-46f3-b8d5-07d6130f1aa6 | Translated (100%) | Existing Buildings: Operations & Maintenance (1–2 points) | 既有建筑：运营与维护（1-2 分） |
| 132ef1c7ca0-71dc-4280-8029-a2a63461d3b2 | Translated (100%) | EB:O&M Schools (1–2 points) | EB:O&M 学校（1-2 分） |
| 1337eaaa933-8c48-4e89-9e03-f196bdb063f4 | Translated (100%) | EB:O&M Retail (1–2 points) | EB:O&M 零售（1-2 分） |
| 134664419fc-14c6-4552-a98e-f7a59d017b99 | Translated (100%) | EB:O&M Data Centers (1–2 points) | EB:O&M 数据中心（1-2 分） |
| 135c15af1db-c76a-4351-b5d8-cf199a50235f | Translated (100%) | EB:O&M Hospitality (1–2 points) | EB:O&M 宾馆接待（1-2 分） |
| 1367db036cd-cc30-4ee1-a8e6-f3bae15bb42c | Translated (100%) | EB:O&M Warehouses & Distribution Centers (1–2 points) | EB:O&M 仓储和配送中心（1-2 分） |
| 13797725cbd-48f7-465d-b4f9-b6097b3e0a75 | Translated (100%) | Intent | 目的 |
| 138e0eb63e2-3342-4d4e-b890-b795c33de078 | Translated (99%) | To conserve existing natural areas and restore damaged areas to provide habitat and promote biodiversity. | 保留既有自然区域，恢复受损区域，提供栖息地，促进生物多样性。 |
| 139e2366bdd-cc73-4cf5-ab1f-408adfd0e3d1 | Translated (100%) | Requirements | 要求 |
| 140d5cdc9b2-468e-495a-b4a9-5c7487698cd9 | Translated (100%) | EBOM, Schools, Retail, Data Centers, Hospitality, Warehouses & Distribution Centers | EBOM、学校、零售、数据中心、宾馆接待、仓储和配送中心 |
| 14111504a2c-a691-4db6-9bd5-98e6c224e278 | Translated (100%) | Option 1. | 选项 1. |
| 14211504a2c-a691-4db6-9bd5-98e6c224e278 | Translated (0%) | On-Site Restoration (2 points) | 场址内恢复（2 分） |
| 1431c2f358d-d5de-404a-90b3-65764f569f43 | Translated (100%) | ESTABLISHMENT | 建立 |
| 144a82248ac-8647-4418-9f7a-72df965d4542 | Translated (0%) | Have in place native or adapted vegetation<176> </176>on 20% of the total site area (including the building footprint), a minimum of 5,000 square feet (465 square meters), to provide habitat and promote biodiversity. | 本地或可适应性植物覆盖 20% 的场址总面积（含建筑占地面积），至少 5,000 平方英尺（465 平方米），用于提供栖息地和促进生物多样性。 |
| 14542fa39a0-d2b3-498c-a33d-59ccee1f4a27 | Translated (100%) | PERFORMANCE | 运行 |
| 1467eebd360-e5d2-497c-8dab-0f84f0d4d872 | Translated (100%) | None. | 无。 |
| 1475bbee288-1cac-463e-87e1-d555bd9aa979 | Translated (100%) | OR | 或 |
| 1489c546af6-d9b4-44b3-93b7-9ca07e2120a9 | Translated (100%) | Option 2. | 选项 2. |
| 1499c546af6-d9b4-44b3-93b7-9ca07e2120a9 | Translated (0%) | Financial Support (1 point) | 财务支持（1 分） |
| 1501d04b2ca-9d4f-4f1a-bf54-15c75d13afe3 | Translated (100%) | ESTABLISHMENT | 建立 |
| 15115ebbbdd-95aa-4655-a109-f11fe1f6d51a | Translated (0%) | Provide financial support equivalent to at least $0.05 per square foot (US$0.50 per square meter) for the total site area (including the building footprint). | 为场址总面积（含建筑占地面积）提供相当于每平方英尺至少 0.05 美元（每平方米 0.50 美元）的财务支持。 |
| 152a7da58cd-c996-4441-aead-c63f25368598 | Translated (0%) | Financial support must be provided annually to a nationally or locally recognized land trust or conservation organization within the same EPA Level III ecoregion or the project’s state (or within 100 miles [160 kilometers] for projects outside the U.S.). | 每年必须向同一 EPA 三级生态区内或项目所在州内（美国以外的项目为 100 英里 [160 公里] 内）的国家或当地认可的土地信托或保护组织提供财务支持。 |
| 153a7da58cd-c996-4441-aead-c63f25368598 | Translated (0%) | For U.S. projects, the land trust must be accredited by the Land Trust Alliance. | 对于美国项目，土地信托必须通过土地信托联盟 (Land Trust Alliance) 的认证。 |
| 1543a974e21-5004-46a0-8eb2-5453e6f7f24b | Translated (100%) | PERFORMANCE | 运行 |
| 155adbcf158-65c8-47c6-ad6d-ddd5698940ec | Translated (0%) | Provide the specified financial support annually. | 每年提供指定的财务支持。 |
| 156cdf82ec1-7437-4ffb-8190-7fea0b133d0e | Translated (0%) | SS Credit: Rainwater Management | SS 得分点：雨水管理 (Rainwater Management) |
| 157502d6d85-a141-46a4-8f6c-4b595d641a8d | Translated (100%) | EB:O&M | EB:O&M |
| 158dfa55878-2ffc-4873-8589-39bc12320456 | Translated (100%) | 2–3 points | 2-3 分 |
| 159cd2ed9ba-81ba-4f07-9950-b891eb19f585 | Translated (CM) | This credit applies to | 该得分点适用于 |
| 16081e529ae-e1ba-412c-a96b-4e339d3b29d9 | Translated (90%) | Existing Buildings: Operations & Maintenance (3 points) | 既有建筑：运营与维护（3 分） |
| 1614c8b5186-606e-49f6-aeae-bf11a7962756 | Translated (0%) | EB:O&M Schools (2 points) | EB:O&M 学校（2 分） |
| 1629479625a-9f61-402d-806c-31de25d2e62e | Translated (0%) | EB:O&M Retail (3 points) | EB:O&M 零售（3 分） |
| 16353bd33cc-f63a-461c-9faf-df0006b7f796 | Translated (0%) | EB:O&M Data Centers (3 points) | EB:O&M 数据中心（3 分） |
| 16467057f74-f9f5-4dbe-99a4-93623d82c40b | Translated (0%) | EB:O&M Hospitality (3 points) | EB:O&M 宾馆接待（3 分） |
| 165c343ee7d-932b-4f77-a46f-c94a6c60fd52 | Translated (0%) | EB:O&M Warehouses & Distribution Centers (3 points) | EB:O&M 仓储和配送中心（3 分） |
| 16672c65ffb-b3ef-4b8c-842b-cc1215baa493 | Translated (100%) | Intent | 目的 |
| 167a825a865-ab37-461b-bc16-d5a900e6a4ce | Translated (0%) | To reduce runoff volume and improve water quality by replicating the natural hydrology and water balance of the site, based on historical conditions and undeveloped ecosystems in the region. | 根据地区的历史条件和未开发的生态系统复现场址的自然水文和水平衡，从而减少径流量并提高水质。 |
| 168e7a5f10c-0874-447a-8d29-3d2dfaf95cd6 | Translated (100%) | Requirements | 要求 |
| 169506199a1-2846-4ba6-912e-00dcbf4eff36 | Translated (100%) | EBOM, Schools, Retail, Data Centers, Hospitality, Warehouses & Distribution Centers | EBOM、学校、零售、数据中心、宾馆接待、仓储和配送中心 |
| 1708b7dad38-5bb5-4306-9e67-c0c354b7167d | Translated (100%) | ESTABLISHMENT | 建立 |
| 1711b9af199-c484-4b4f-8a4e-133756b92a24 | Translated (0%) | Use <186>low-impact development (LID)</186> practices to capture and treat water from 25% of the impervious surfaces for the 95th percentile storm event. | 使用<186>低冲击开发 (LID)</186> 措施，在 95% 的降雨事件中收集和处理 25% 非渗透表面上的水。 |
| 1727f62ed2f-f067-48b5-9c62-db036d434cc9 | Translated (0%) | Establish and implement an annual inspection program of all rainwater management facilities to confirm continued performance. | 对所有雨水管理设施制定并实施年度检查计划，以确保持续的优良性能。 |
| 1730ebe48a6-9b59-4382-be0e-e0f482142388 | Translated (100%) | PERFORMANCE | 运行 |
| 174a6873352-0d4f-4cb9-b0be-3929770f3b6a | Translated (0%) | Document the annual inspections, including identification of areas of erosion, maintenance needs, and repairs. | 记录年度检查情况，包括侵蚀区域确定、维护需求和维修。 |
| 175a6873352-0d4f-4cb9-b0be-3929770f3b6a | Translated (0%) | Perform necessary maintenance, repairs, or stabilization within 60 days of inspection. | 在检查后的 60 天内执行必要的维护、维修或加固工作。 |
| 17625f8bcdc-5eba-4326-bbe1-d40b41b444fc | Translated (0%) | SS Credit: Heat Island Reduction | SS 得分点：降低热岛效应 (Heat Island Reduction) |
| 177b7cc456d-6f70-4152-8e3c-61cc6e1f9bd0 | Translated (100%) | EB:O&M | EB:O&M |
| 17891970c80-2b7d-4a6a-9089-6892aa803b6b | Translated (0%) | 2 points | 2 分 |
| 1795ae7efb4-d95f-412d-aca2-7c7b5f632801 | Translated (100%) | This credit applies to | 该得分点适用于 |
| 180a5f88c74-bd62-415c-b32b-67b9bcfa76d3 | Translated (100%) | Existing Buildings: Operations & Maintenance (2 points) | 既有建筑：运营与维护（2 分） |
| 181ccd6f837-5a09-4555-800f-3e87e1769ba5 | Translated (100%) | EB:O&M Schools (2 points) | EB:O&M 学校（2 分） |
| 182d697d451-58d3-40ac-8936-84dc1248f5e1 | Translated (100%) | EB:O&M Retail (2 points) | EB:O&M 零售（2 分） |
| 183fd27c670-aea7-4eb2-93fd-d70aef338922 | Translated (100%) | EB:O&M Data Centers (2 points) | EB:O&M 数据中心（2 分） |
| 184b98f3e23-009c-4e3c-9c54-d7dfa3adf22b | Translated (100%) | EB:O&M Hospitality (2 points) | EB:O&M 宾馆接待（2 分） |
| 1856b722ed3-56f8-4221-9d1f-7d9aef3c3940 | Translated (100%) | EB:O&M Warehouses & Distribution Centers (2 points) | EB:O&M 仓储和配送中心（2 分） |
| 186a44af451-5d7e-4aa5-9672-4abf7bdf085d | Translated (100%) | Intent | 目的 |
| 1877a98168b-221b-4a2a-85b7-e3dc6730f5ce | Translated (0%) | To minimize effects on microclimates and human and wildlife habitats by reducing heat islands. | 降低热岛效应，尽可能减少对微气候以及人类和野生生物栖息地的影响。 |
| 188a179f2ea-bb39-48f5-a1eb-ac1636e0a555 | Translated (100%) | Requirements | 要求 |
| 1890dccd922-f0a4-4f2b-bf4f-d0c9ae35878a | Translated (100%) | EBOM, Schools, Retail, Data Centers, Hospitality, Warehouses & Distribution Centers | EBOM、学校、零售、数据中心、宾馆接待、仓储和配送中心 |
| 190adb1c1e1-fc5b-4eda-8b5b-ed50a8b58840 | Translated (0%) | Choose one of the following options. | 选择下列选项之一。 |
| 191eb514b67-cae7-4241-a43e-5925126dd924 | Translated (100%) | Option 1. | 选项 1. |
| 192eb514b67-cae7-4241-a43e-5925126dd924 | Translated (0%) | Nonroof (1 point) | 非屋面（1 分） |
| 193ba4c07c6-7131-44b9-ac20-400844bec4b1 | Translated (100%) | ESTABLISHMENT | 建立 |
| 1945fc006b7-4f5e-4834-b70b-160f40ad9e05 | Translated (0%) | Use any combination of the following strategies for a minimum of 50% of the site paving. | 在至少 50% 的场址铺装中使用以下策略的任意组合。 |
| 1959a5a0527-3942-4142-bc8f-1be33f45e365 | Translated (0%) | Use the existing plant material or install plants that provide shade over paving areas (including playgrounds) on the site within 10 years of planting. | 使用既有场址植物材料，或种植可在 10 年内为场址内铺装区域（包括操场）提供遮蔽的植物。 |
| 1969a5a0527-3942-4142-bc8f-1be33f45e365 | Translated (0%) | Plants must be in place at the time of certification application. | 申请认证时植物必须已经就位。 |
| 197fd0975cc-f896-463a-9792-8a68c11362d9 | Translated (0%) | Install vegetated planters. | 安装种有植栽的栽培容器。 |
| 198fd0975cc-f896-463a-9792-8a68c11362d9 | Translated (0%) | Plants must be in place at the time of occupancy permit and cannot include artificial turf. | 发布入驻许可时植物（不包括人工草皮）必须已经就位。 |
| 199a0f3e995-b59f-4659-87de-a2a3d5efaec1 | Translated (0%) | Provide shade with structures covered by energy generation systems, such as solar thermal collectors, photovoltaics, and wind turbines. | 用能源发电系统（如太阳能集热器、太阳能光伏板和风能发电机）遮盖的结构提供遮蔽。 |
| 20022145577-1d43-4fe3-954d-4a5e4482e9ea | Translated (0%) | Provide shade with architectural devices or structures that have a three-year aged <194>solar reflectance (SR)</194> value of at least 0.28. | 用三年时长的<Italic>日光反射系数</Italic><194> (SR)</194> 值至少为 0.28 的建筑设备或结构提供遮蔽。 |
| 20122145577-1d43-4fe3-954d-4a5e4482e9ea | Translated (0%) | If three-year aged value information is not available, use materials with an initial SR of at least 0.33 at installation. | 如果未提供三年时长值信息，请在安装时使用初始 SR 至少为 0.33 的材料。 |
| 202acad9252-5f2f-4ffd-9c7c-2a9e51ef10fc | Translated (0%) | Provide shade with vegetated structures. | 用结构提供遮蔽。 |
| 2035c6d7fd9-df78-4668-82a7-c2f524b3eec4 | Translated (0%) | Use paving materials with a three-year aged <195>solar reflectance (SR)</195> value of at least 0.28. | 使用三年时长的<Italic>日光反射系数</Italic><194> (SR)</194> 值至少为 0.28 的铺装材料<195>。</195> |
| 2045c6d7fd9-df78-4668-82a7-c2f524b3eec4 | Translated (100%) | If three-year aged value information is not available, use materials with an initial SR of at least 0.33 at installation. | 如果未提供三年时长值信息，请在安装时使用初始 SR 至少为 0.33 的材料。 |
| 2050dc160ef-6df0-4b1c-967c-677ae8883c03 | Translated (0%) | Use an <196>open-grid pavement system</196> (at least 50% unbound). | 使用<196>开放链式铺装系统</196>（至少 50% 无边界）。 |
| 2062be03f24-4955-48e5-b52e-8477d094c616 | Translated (100%) | PERFORMANCE | 运行 |
| 207fb4cc93a-0b8f-419e-b0d7-1cacc265ec4d | Translated (0%) | Implement a maintenance program that ensures all high-reflectance paving surfaces are cleaned at least every three years to maintain good reflectance. | 至少每三年实施一次用于确保所有高反射铺装表面干净的维护计划，以保持良好的反射率。 |
| 2085390bebb-2877-4079-bf12-47c420549a78 | Translated (100%) | OR | 或 |
| 209ee57c89c-f587-4077-9105-7fa48a49b9ac | Translated (100%) | Option 2. | 选项 2. |
| 210ee57c89c-f587-4077-9105-7fa48a49b9ac | Translated (0%) | Roof (1 point) | 屋面（1 分） |
| 2114f8ad2fb-70a8-41e7-8d9e-a6e0dc8698de | Translated (100%) | ESTABLISHMENT | 建立 |
| 2121c8d1322-b902-4269-874d-b030e5c7bb30 | Translated (0%) | Use either roofing materials with a SRI equal to or greater than the values in Table 1 for a minimum of 75% of the roof area, or a vegetated roof for a minimum of 50% of the roof area, or both. | 在至少 75% 的屋面面积中使用 SRI 等于或大于表 1 中值的屋面材料，并/或在至少 50% 的屋面面积中使用种植屋面。 |
| 2131c8d1322-b902-4269-874d-b030e5c7bb30 | Translated (0%) | If using both high-reflectance and vegetated roof surfaces, meet the following criterion: | 如果同时使用高反射屋面和种植屋面，需要满足下列条件： |
| 214f210b8cb-16ca-4155-ab0c-902e23a1575a | Translated (0%) | Area of High-Reflectance Roof | 高反射屋面的面积 |
| 21593322379-025d-4ff7-b675-a8c4aa43f62f | Translated (100%) | Area of Vegetated Roof | 种植屋面的面积 |
| 21677a23d70-5351-4fa5-96a5-92c0d112f42f | Translated (100%) | Total Roof Area | 总屋面面积 |
| 217371022f0-a03b-406c-a00d-698565c02072 | Translated (0%) | —————— | —————— |
| 218a74957ad-4df6-49cc-8651-c76a6663ce66 | Translated (0%) | + | + |
| 2197a7759e0-a833-4c8f-88f0-5900ea870c74 | Translated (100%) | —————— | —————— |
| 2209318e710-b013-44a2-9058-6a69c3be5ade | Translated (0%) | ≥ | ≥ |
| 22105589b32-497f-4846-b92d-7397fc083646 | Translated (100%) | 0.75 | 0.75 |
| 222066d41a2-edbf-4135-a72f-cf5e2eeb74cb | Translated (100%) | 0.5 | 0.5 |
| 22391a44582-ed88-46b5-b21c-94a0a983a5f6 | Translated (0%) | Alternatively, an SRI and SR weighted average approach may be used to calculate compliance. | 或者，可以使用 SRI 和 SR 加权平均方法来计算合规性。 |
| 224fdcc6aae-89f9-4502-b8c1-5bd8d4e62490 | Translated (100%) | PERFORMANCE | 运行 |
| 22580ec8c16-21df-49b0-b311-76ad643932c9 | Translated (0%) | Implement a maintenance program that ensures all high-reflectance roof surfaces are cleaned at least every three years to maintain good reflectance, and all vegetated roofs are maintained for plant health and good structural condition. | 实施维护计划，确保至少每三年清洁一次所有高反射屋面以保持良好的反射率，并维护所有种植屋面，确保植物健康且结构状况良好。 |
| 2267ad1c948-b4f9-48f4-9f3d-0d81dc593a9e | Translated (100%) | OR | 或 |
| 227e3ee752e-26c6-420e-9b93-e92c229b4b6b | Translated (100%) | Option 3. | 选项 3. |
| 228e3ee752e-26c6-420e-9b93-e92c229b4b6b | Translated (0%) | Nonroof and Roof (2 points) | 非屋面和屋面（2 分） |
| 229aaad9423-5df2-4004-a3b0-58180d0e8c9d | Translated (100%) | ESTABLISHMENT | 建立 |
| 2307594035f-091a-4235-85da-aae595e450e8 | Translated (0%) | Meet the following criterion: | 满足下列条件： |
| 231fa944c17-8b42-4796-b77b-2b6017fe6010 | Translated (0%) | Area of Nonroof Measures | 非屋面措施的面积 |
| 232b060fdb5-d1bb-494e-b216-e591a2501036 | Translated (100%) | Area of High-Reflectance Roof | 高反射屋面的面积 |
| 2334aafb74f-1773-4ba5-ab39-0e4c60075b82 | Translated (100%) | Area of Vegetated Roof | 种植屋面的面积 |
| 23409d8e64f-a262-4973-8d48-dcf3df119a90 | Translated (0%) | Total Site Paving Area | 总场址铺装面积 |
| 235ab9b233d-b5be-4d6c-b918-06e3bedcf739 | Translated (100%) | Total Roof Area | 总屋面面积 |
| 236e1e6b45a-8f54-461b-ad7d-599393c389ae | Translated (CM) | —————— | —————— |
| 2373e52d4d6-cb92-426f-a3f1-298014260771 | Translated (0%) | + | + |
| 238d866e36a-af43-4e46-aa4a-096af7aada67 | Translated (100%) | —————— | —————— |
| 23995c5483c-6385-4fd9-8cae-fdc24b5319dd | Translated (100%) | + | + |
| 240272a7c2a-b193-4add-9cd5-6552e4e2883a | Translated (100%) | —————— | —————— |
| 241dab89b4d-4da1-4097-b2c8-c46bb1b73545 | Translated (100%) | ≥ | ≥ |
| 24241efadae-dd73-44c2-baf3-07712a803b49 | Translated (100%) | + | + |
| 2430fb37342-c957-49ae-86d2-741bc75c74ee | Translated (100%) | 0.5 | 0.5 |
| 2441bd4a5e1-a294-466f-9b6f-5a286496c918 | Translated (100%) | 0.75 | 0.75 |
| 2456a538832-e831-4fd1-a2b4-ea44b31343f9 | Translated (100%) | 0.50 | 0.50 |
| 2460ad64bff-f772-4267-8d79-c64826989f7e | Translated (100%) | Alternatively, an SRI and SR weighted average approach may be used to calculate compliance. | 或者，可以使用 SRI 和 SR 加权平均方法来计算合规性。 |
| 2473d4b4b32-e2a4-49ab-b553-96319b306f69 | Translated (0%) | Use any combination of the following strategies. | 使用以下策略的任意组合。 |
| 2484bb29a11-43e8-42da-a76b-b9d8a1001069 | Translated (0%) | Nonroof Measures | 非屋面措施 |
| 249b5dbcbfd-c276-499b-96b8-c11a3bf9f447 | Translated (0%) | Use the measures listed in Option 1. | 使用选项 1 中列出的措施。 |
| 250b5dbcbfd-c276-499b-96b8-c11a3bf9f447 | Translated (82%) | Plant material must be in place at time of certification application. | 申请认证时植物材料必须已经就位。 |
| 2517d591193-69ac-48a9-ab6b-6d1f9eb8124a | Translated (0%) | High-Reflectance Roof | 高反射屋面 |
| 252810847a9-378d-4b49-a270-b4997559f9b7 | Translated (0%) | Use roofing materials that have an SRI equal to or greater than the values in Table 1. | 使用 SRI 等于或大于表 1 中值的屋面材料。 |
| 253810847a9-378d-4b49-a270-b4997559f9b7 | Translated (0%) | Meet the three-year aged SRI value. | 满足三年时长的 SRI 值。 |
| 254810847a9-378d-4b49-a270-b4997559f9b7 | Translated (0%) | If three-year aged value information is not available, use materials that meet the initial SRI value. | 如果未提供三年时长的值信息，请使用满足初始 SRI 值的材料。 |
| 25532784d92-b16c-49bf-8729-10fcfeee1f76 | Translated (100%) | Table 1. | 表 1. |
| 25632784d92-b16c-49bf-8729-10fcfeee1f76 | Translated (0%) | Minimum solar reflectance index value, by roof slope | 最小太阳能反射指数值（按屋面坡度） |
| 25755796557-418e-4728-88fa-a3bf8e2cc122 | Translated (100%) | Slope | 坡度 |
| 258fa49adbe-9a0c-43fe-ae67-7ccb79492a46 | Translated (0%) | Initial SRI | 初始 SRI |
| 2598534e19a-14d9-4803-a448-a3d3c28fc5bc | Translated (0%) | 3-year aged SRI | 三年时长的 SRI |
| 26096840349-e50d-4a2f-b1d7-e55c86b22727 | Translated (100%) | Low-sloped roof | 坡度小的屋面 |
| 261085e7b0c-f433-45cc-84e5-70eb6bc20bb1 | Translated (0%) | ≤ 2:12 | ≤ 2:12 |
| 2627baccef1-d06e-4d67-8773-c0a355657007 | Translated (100%) | 82 | 82 |
| 263d5ffc9bf-c2db-4e71-9ddd-ff3663b88770 | Translated (100%) | 64 | 64 |
| 264f4a43c79-3418-4d2c-bb35-e84672da0276 | Translated (100%) | Steep-sloped roof | 坡度大的屋面 |
| 265aca4bb65-bf80-446d-bf82-38fcf644a421 | Translated (0%) | > 2:12 | > 2:12 |
| 2664322d5b8-2574-4382-bd93-3370cd8c660a | Translated (100%) | 39 | 39 |
| 2673ebe16c3-6b5a-42a6-bd69-dcc1ab1b1c7a | Translated (100%) | 32 | 32 |
| 268a29838b5-e608-4702-9e37-9fc73df46c54 | Translated (100%) | Vegetated Roof | 种植屋面 |
| 2695eb6c58a-87f1-4676-b1ff-10c8c886268a | Translated (100%) | Install a vegetated roof. | 设计种植屋面。 |
| 27077e54912-d1bb-45b4-b537-b1bb1379158f | Translated (0%) | <339>PERFORMANCE </339>Implement a maintenance program that ensures all high-reflectance surfaces are cleaned at least every three years to maintain good reflectance, and all vegetated roofs are maintained for plant health and good structural condition. | <339>运行 </339>实施维护计划，确保至少每三年清洁一次所有高反射屋面以保持良好的反射率，并维护所有种植屋面，确保植物健康且结构状况良好。 |
| 271e757c6ef-9d7b-439e-af5b-6a6f3ea26806 | Translated (100%) | OR | 或 |
| 272e71ab851-6ef5-4c5d-bf26-0d2c686ca20a | Translated (100%) | Option 4. | 选项 4. |
| 273e71ab851-6ef5-4c5d-bf26-0d2c686ca20a | Translated (0%) | Parking under Cover (1 point) | 停车位遮蔽（1 分） |
| 27483f5b85b-3209-4f0e-b487-6d0d4b04c45b | Translated (100%) | ESTABLISHMENT | 建立 |
| 2754e6fd69f-4e48-4d57-a966-45a874274f91 | Translated (0%) | Place at least 50% of <342>parking spaces under cover</342>. | 将至少 50% 的<Italic>停车位置于遮蔽物下</Italic><342>。</342> |
| 2764e6fd69f-4e48-4d57-a966-45a874274f91 | Translated (0%) | Any roof used to shade or cover parking must (1) have a three-year aged SRI of at least 32 (if three-year aged value information is not available, use materials with an initial SRI of at least 39 at installation), (2) be a vegetated roof, or (3) be covered by energy generation systems, such as solar thermal collectors, photovoltaics, and wind turbines. | 用于遮蔽或遮盖停车位的所有屋面可选择 (1) 三年时长的 SRI 必须至少为 32（如果未提供三年时长值信息，请在安装时使用初始 SRI 至少为 39 的材料），(2) 采用种植屋面，或 (3) 用能源发电系统（如太阳能集热器、太阳能光伏板和风能发电机）遮盖。 |
| 277e339636d-f958-4e03-8967-bf710bc27768 | Translated (100%) | PERFORMANCE | 运行 |
| 278c899b811-073e-4b9d-be2e-fa2dbe8bc219 | Translated (96%) | Implement a maintenance program that ensures all SRI surfaces are cleaned at least every three years to maintain good reflectance, and all vegetated roofs are maintained for plant health and good structural condition. | 实施维护计划，确保至少每三年清洁一次所有 SRI 表面以保持良好的反射率，并维护所有种植屋面，确保植物健康且结构状况良好。 |
| 27988f7f002-5773-4f83-baa5-4a603e840478 | Translated (0%) | SS Credit: Light Pollution Reduction | SS 得分点：降低光污染 (Light Pollution Reduction) |
| 2809908717f-595f-47b8-8f2d-a88906b9384c | Translated (100%) | EB:O&M | EB:O&M |
| 2817ff2f18c-9a32-4fac-b3d1-750743627ad6 | Translated (100%) | 1 point | 1 分 |
| 2821027cae8-232b-4395-b8ee-220ce368294b | Translated (100%) | This credit applies to | 该得分点适用于 |
| 283ef6680cd-11f6-403c-ad18-18073aa8789b | Translated (95%) | Existing Buildings: Operations & Maintenance (1 point) | 既有建筑：运营与维护（1 分） |
| 28488ca365b-50e5-489a-b986-185856ed6c33 | Translated (0%) | EB:O&M Schools (1 point) | EB:O&M 学校（1 分） |
| 285cac29524-8fee-4282-9c73-871bfc71163b | Translated (0%) | EB:O&M Retail (1 point) | EB:O&M 零售（1 分） |
| 28667a9323b-6d4a-4f18-b890-2e92f1559361 | Translated (0%) | EB:O&M Data Centers (1 point) | EB:O&M 数据中心（1 分） |
| 287e16abfcd-0eb5-404d-bb38-3d3967393f0d | Translated (0%) | EB:O&M Hospitality (1 point) | EB:O&M 宾馆接待（1 分） |
| 2884a42e9ba-47a4-462b-9e1f-2df19f6d5747 | Translated (0%) | EB:O&M Warehouses & Distribution Centers (1 point) | EB:O&M 仓储和配送中心（1 分） |
| 289c0e4c851-b4c1-40e5-be89-688f3715b76a | Translated (100%) | Intent | 目的 |
| 2909af6b99c-5cb6-4aa9-a817-f15b7e044de9 | Translated (0%) | To increase night sky access, improve nighttime visibility, and reduce the consequences of development for wildlife and people. | 改善夜空可视度，改进夜间视觉效果，降低开发对野生动物和人的影响。 |
| 2917aeed3a8-7e14-4504-b77f-1705c235a5b7 | Translated (100%) | Requirements | 要求 |
| 2929cb43381-8381-413b-a31b-e0896373822a | Translated (100%) | EBOM, Schools, Retail, Data Centers, Hospitality, Warehouses & Distribution Centers | EBOM、学校、零售、数据中心、宾馆接待、仓储和配送中心 |
| 293e9295e5d-1f5a-4b7d-8443-0fec384e5975 | Translated (CM) | ESTABLISHMENT | 建立 |
| 294777c61ca-dc1c-49e3-927e-c900fc4ae66b | Translated (0%) | Meet the requirements of one of the options below: | 满足以下某个选项的要求： |
| 295abddfcee-47d1-4cea-9c89-63b12bd40843 | Translated (100%) | Option 1. | 选项 1. |
| 296abddfcee-47d1-4cea-9c89-63b12bd40843 | Translated (0%) | Fixture Shielding | 灯具加罩 |
| 297dc05acb5-ab1c-40de-b680-ea7f8e0d0c5d | Translated (0%) | Shield all exterior fixtures (where the sum of the mean lamp lumens for that fixture exceeds 2,500) such that the installed fixtures do not directly emit any light at a vertical angle more than 90 degrees from straight down. | 为所有室外灯具加罩（此类灯具的平均灯具流明总和超过 2,500 时），以使安装的灯具不会从正下方以大于 90 度的直角直接发射任何灯光。 |
| 298e9067ba2-cb67-4d34-9e3d-649c9593d5a3 | Translated (100%) | OR | 或 |
| 2995ba4d7f3-7166-40c9-8845-7e27ae503e6c | Translated (100%) | Option 2. | 选项 2. |
| 3005ba4d7f3-7166-40c9-8845-7e27ae503e6c | Translated (0%) | Perimeter Measurements | 周边测量 |
| 3017bdc11cc-cb7e-44c1-920a-b8fb9e9833a7 | Translated (88%) | Measure the night illumination levels at regularly spaced points on the project boundary, taking the measurements with the building’s exterior and site lights both on and off. | 在项目边界一定的间隔点测量建筑室外和场址的灯都打开和关闭时的夜间照明水平。 |
| 3027bdc11cc-cb7e-44c1-920a-b8fb9e9833a7 | Translated (0%) | At least eight measurements are required, at a maximum spacing of 100 feet (30 meters) apart. | 必须至少进行八次测量，最大测量间距 100 英尺（30 米）。 |
| 3037bdc11cc-cb7e-44c1-920a-b8fb9e9833a7 | Translated (100%) | The illumination level measured with the lights on must not be more than 20% above the level measured with the lights off. | 灯打开时测量的照明水平不得超过灯关闭时测量的照明水平的 20%。 |
| 304efcbb4ef-8de1-44a2-90db-05397cb9687c | Translated (100%) | PERFORMANCE | 运行 |
| 3052e8b17a5-21ec-49a7-bf3f-b454b7cdc45a | Translated (100%) | None. | 无。 |
| 306faff26ab-39e9-4b4f-9124-4043ab618327 | Translated (0%) | SS Credit: Site Management | SS 得分点：场址管理 (Site Management) |
| 30702d582b4-a7d6-4ae4-81f5-34acae3dd527 | Translated (100%) | EB:O&M | EB:O&M |
| 3082e4fddd3-2e0e-4de5-baf7-3d8fea6c8803 | Translated (100%) | 1 point | 1 分 |
| 30936fa0bd2-41fd-46cc-bad8-9c31085e45d1 | Translated (100%) | This credit applies to | 该得分点适用于 |
| 310a7961f58-0aa3-4311-9d7e-b29c9aed5954 | Translated (100%) | Existing Buildings: Operations & Maintenance (1 point) | 既有建筑：运营与维护（1 分） |
| 311796252da-c013-4ff2-b906-f04b598e5bb8 | Translated (100%) | EB:O&M Schools (1 point) | EB:O&M 学校（1 分） |
| 3120f5c3bf1-cdf8-4f51-97c1-d60c3fb10998 | Translated (100%) | EB:O&M Retail (1 point) | EB:O&M 零售（1 分） |
| 3131140e409-5ce2-400a-8b5f-bda121174278 | Translated (100%) | EB:O&M Data Centers (1 point) | EB:O&M 数据中心（1 分） |
| 314534638c0-8242-495a-be56-5beb4fff0521 | Translated (100%) | EB:O&M Hospitality (1 point) | EB:O&M 宾馆接待（1 分） |
| 3150f5ce50c-3ea0-44ce-9cc7-a5d4ba30a5e0 | Translated (100%) | EB:O&M Warehouses & Distribution Centers (1 point) | EB:O&M 仓储和配送中心（1 分） |
| 316094a2ffb-8b31-4bd4-a4e2-11e751d07b96 | Translated (100%) | Intent | 目的 |
| 31736499119-b0e8-4718-b4e9-fe10c51039df | Translated (CM) | To preserve ecological integrity and encourage environmentally sensitive site management practices that provide a clean, well-maintained, and safe building exterior while supporting high-performance building operations and integration into the surrounding landscape. | 支持高性能建筑运营和使建筑融入周围景观的同时，保持生态完整性，并鼓励采用环境敏感型场址管理实践，以提供清洁、维护良好且安全的建筑外部环境。 |
| 318bb9dd9c8-8620-474e-af57-9c55fe571be8 | Translated (100%) | Requirements | 要求 |
| 31979df82c2-ab00-4850-bfae-71194a897090 | Translated (100%) | EBOM, Schools, Retail, Data Centers, Hospitality, Warehouses & Distribution Centers | EBOM、学校、零售、数据中心、宾馆接待、仓储和配送中心 |
| 3205d9378a9-bc17-4bb2-b2e2-e01e4dc2534c | Translated (100%) | ESTABLISHMENT | 建立 |
| 321f71b32a9-73db-4ceb-b6f5-223881b341ea | Translated (100%) | None. | 无。 |
| 322773d15fd-9823-4b38-b813-0b72db4e1b62 | Translated (100%) | PERFORMANCE | 运行 |
| 32328932925-4468-4efa-a444-027ee8223548 | Translated (0%) | Demonstrate that the following performance criteria were met: | 证明已满足下列性能标准： |
| 3244a8729f5-b19d-49ec-a32c-8d54acd3ca40 | Translated (0%) | Use no calcium chloride or sodium chloride deicers, and/or establish reduced treatment areas equal to 50% of applicable paving area. | 不使用氯化钙或氯化钠除冰器，并/或建立相当于 50% 适用铺装区域的处理区域。 |
| 325651795e7-e735-4dfd-8ce2-f366f15b4bb8 | Translated (0%) | Prevent erosion and sedimentation, and restore any eroded soils. | 防止侵蚀和沉积，并恢复所有已侵蚀土壤。 |
| 326f3651060-47ff-4f56-96a9-5ad3473f0ab1 | Translated (0%) | Prevent air pollution from construction materials and activities. | 防止建筑材料和施工活动造成的空气污染。 |
| 327a66e764c-70e7-4f16-88e0-6e34170849fd | Translated (0%) | Divert from landfills 100% of plant material waste via low-impact means. | 通过低影响方式转化 100% 的种植材料废弃物，使其免于被填埋。 |
| 328b97b4c4c-045d-4139-872d-bf74d019824c | Translated (0%) | Prevent the overapplication of nutrients. | 防止过度施养。 |
| 329b97b4c4c-045d-4139-872d-bf74d019824c | Translated (0%) | Use no ammonia-based fertilizers, biosolid-based fertilizers (for continuous application), synthetic quick-release fertilizers, or “weed and feed” formulations. | 不使用氨肥、生物肥（连续施用）、合成速释肥或“杂草和饲料”配料。 |
| 330b97b4c4c-045d-4139-872d-bf74d019824c | Translated (0%) | Blanket applications of herbicides are prohibited; turf weeds may be controlled by spot spraying only. | 禁止大面积施用除草剂；只能通过点状喷洒来防除草坪杂草。 |
| 331ad5ef59a-dc23-486f-97e3-f3e51c4b7772 | Translated (0%) | Monitor irrigation systems manually or with automated systems at least every two weeks during the operating season and correct any leaks, breaks, inappropriate water usage, or incorrect timing. | 在运营季期间至少每两周手动或通过自动化系统对灌溉系统进行一次监控，并修复任何管道漏水、破裂、不适当的用水量或不正确的灌溉时机。 |
| 3327e35e8a0-e0e0-4417-93f4-14932b0c58f6 | Translated (0%) | Store materials and equipment to prevent air and site contamination. | 存贮材料和设备，以防空气和场址受到污染。 |
| 333be763691-3853-46fd-8d5a-832f72831b9b | Translated (100%) | AND | 以及 |
| 33483cd7564-0fcd-4790-8819-a35ca092652e | Translated (0%) | Meet one of the following options: | 满足下列任一选项： |
| 335586c069f-dd75-4f77-b63a-7115b0a6b4a6 | Translated (100%) | Option 1. | 选项 1. |
| 336586c069f-dd75-4f77-b63a-7115b0a6b4a6 | Translated (0%) | Limited Turf Area | 有限的草皮面积 |
| 3378a8c6028-b18b-44b4-89a4-b6a66f12d413 | Translated (0%) | Limit turf to 25% or less of the vegetated area. | 将草皮面积限制为种植面积的 25% 或更少。 |
| 3380d5e711a-9c6a-4d97-ac47-f1b2b14e0201 | Translated (0%) | Playgrounds and athletic fields in schools or parks are excluded from this option. | 学校或公园内的操场和运动场不包含在此选项范围内。 |
| 339f103900c-7265-45f7-a5f3-5eeda1d2a14f | Translated (100%) | OR | 或 |
| 34070f883f3-0a18-4731-b098-46aa6bbab652 | Translated (100%) | Option 2. | 选项 2. |
| 34170f883f3-0a18-4731-b098-46aa6bbab652 | Translated (0%) | All Manual or Electric-Powered Equipment | 所有手动或电动设备 |
| 342b1621a58-a4a5-490e-bb80-7cb26658d07c | Translated (0%) | Use all manual or electric-powered equipment in all site management operations. | 在所有场址管理运营中使用所有手动或电动设备。 |
| 343ef559055-e6af-438e-932d-dc53cebe027b | Translated (100%) | OR | 或 |
| 3445eb1250a-c255-47c3-a7ed-a0f91a043421 | Translated (100%) | Option 3. | 选项 3. |
| 3455eb1250a-c255-47c3-a7ed-a0f91a043421 | Translated (0%) | Reduction in Emissions from Site Management Equipment | 减少场址管理设备的排放量 |
| 34616540ced-fbc3-4dff-ac3e-e197470f91b1 | Translated (0%) | Show and maintain a 50% reduction in hydrocarbon (HC) and nitrogen oxide (NOx) emissions, and a 75% reduction in carbon monoxide (CO) emissions from <380>baseline conditions</380>. | 表明并维持 50% 的碳氢化合物 (HC) 和氮氧化物 (NOx) 减排量以及 75% 的一氧化碳 (CO) 减排量（以<Italic>基线状况</Italic>为基础）。 |
| 3477a0e65df-1558-4c9c-b0a2-df2885bbf526 | Translated (0%) | SS Credit: Site Improvement Plan | SS 得分点：场址改良计划 (Site Improvement Plan) |
| 348645a6cbb-f016-4805-9969-2286cb616a16 | Translated (100%) | EB:O&M | EB:O&M |
| 349e7e58cf9-3252-401a-b0ee-6ddbb1b30d80 | Translated (100%) | 1 point | 1 分 |
| 35054ab1cb6-1cae-4e1a-925e-d8e0bb3f4ffc | Translated (100%) | This credit applies to | 该得分点适用于 |
| 35162cc9df7-d55d-464f-8031-aa8bcf55a717 | Translated (100%) | Existing Buildings: Operations & Maintenance (1 point) | 既有建筑：运营与维护（1 分） |
| 35260c25df9-c412-419f-972a-f420762cce6e | Translated (100%) | EB:O&M Schools (1 point) | EB:O&M 学校（1 分） |
| 35344a4e7a6-3cb1-4792-bdb3-52edd23d8468 | Translated (100%) | EB:O&M Retail (1 point) | EB:O&M 零售（1 分） |
| 3543fdf2ee0-3563-45c3-8df6-ad290c47db98 | Translated (100%) | EB:O&M Data Centers (1 point) | EB:O&M 数据中心（1 分） |
| 355fc72a234-d78f-4f8d-abdc-3ed37af0f9b5 | Translated (100%) | EB:O&M Hospitality (1 point) | EB:O&M 宾馆接待（1 分） |
| 35616796343-0747-4b00-aa04-0bb0f675dfd2 | Translated (100%) | EB:O&M Warehouses & Distribution Centers (1 point) | EB:O&M 仓储和配送中心（1 分） |
| 3572e363210-2494-4c1f-892e-c27ee02a4f20 | Translated (100%) | Intent | 目的 |
| 358c725a71b-5889-4d48-8582-ac3029696385 | Translated (0%) | To preserve and improve ecological integrity while supporting high-performance building operations. | 支持高性能建筑运营的同时，保持并提高生态完整性。 |
| 3597e018b7f-d967-4302-b4e6-f31ee66fac3a | Translated (100%) | Requirements | 要求 |
| 36097561772-f199-4607-8527-24aff3334c6a | Translated (100%) | EBOM, Schools, Retail, Data Centers, Hospitality, Warehouses & Distribution Centers | EBOM、学校、零售、数据中心、宾馆接待、仓储和配送中心 |
| 361cb21f102-45e8-4560-aef7-b65ef1c68f36 | Translated (100%) | ESTABLISHMENT | 建立 |
| 362bce09fe5-8cc5-47e5-9d98-688ffecdb70f | Translated (0%) | Develop a five-year site improvement plan that includes the following: | 制定一个五年场址改良计划，其中包括以下内容： |
| 363a7ba4272-296d-4506-b4a6-ea5392def45e | Translated (0%) | documentation of existing site conditions; | 有关既有场址条件的文件； |
| 364fc3a4894-f320-42d7-9251-5629a731a521 | Translated (0%) | site improvement objectives; | 场址改良目标； |
| 365822c73f2-f367-4576-9b5b-6aa2a9e3e338 | Translated (0%) | performance standards to evaluate ongoing progress; and | 评估进展情况的性能标准；以及 |
| 3666492bd56-3967-43c1-b758-bdef6b60ab20 | Translated (0%) | monitoring protocols. | 监控协议。 |
| 36765bd1a39-3911-4c98-a954-fff4c7e8a6c8 | Translated (0%) | The improvement plan must address the following topics. | 此改良计划必须涉及以下主题。 |
| 3689ab6f6db-f171-485e-8295-2144d05fb751 | Translated (0%) | Hydrology. | 水文。 |
| 3699ab6f6db-f171-485e-8295-2144d05fb751 | Translated (0%) | Protection and improvement of water bodies on-site, rainwater management and reuse opportunities, potable water-use reduction. | 场址内水体的保护和改良、雨水管理和再利用机会、饮用水减量。 |
| 370905b0910-5333-4867-9346-8f2cdadccfe0 | Translated (0%) | Vegetation. | 植物。 |
| 371905b0910-5333-4867-9346-8f2cdadccfe0 | Translated (0%) | Documentation of existing vegetation on-site, turf area reduction, management of native and invasive plants, protection of threatened, endangered or unique species. | 有关场址内既有植物、草皮面积减量、管理本地和入侵植物，以及保护濒危、受威胁或独特物种的文件。 |
| 372f68ce005-bc39-4bc5-a14a-afd4a0f4eda8 | Translated (0%) | Soils. | 土壤。 |
| 373f68ce005-bc39-4bc5-a14a-afd4a0f4eda8 | Translated (0%) | Documentation of general soil structure, preservation of healthy soils, remediation of compacted soils, identification of previously disturbed area. | 有关常规土壤结构、保护健康土壤、改良压实土壤、确定之前受扰区域的文件。 |
| 37447e04135-165f-4cd7-b0d8-804e5bdcd653 | Translated (0%) | The plan must be developed with professionals trained and experienced in the above disciplines. | 此计划必须由在上述专业受过相关培训且具有丰富经验的专业人士来制定。 |
| 375c1172c4d-4490-47b6-85e0-cc01bc2c59f1 | Translated (100%) | PERFORMANCE | 运行 |
| 3764bda5e25-7594-4461-8745-a87a1a5f228a | Translated (0%) | Show that at least 5% of the site is vegetated. | 表明至少 5% 的场址覆盖有植被。 |
| 3774bda5e25-7594-4461-8745-a87a1a5f228a | Translated (0%) | Implement all no-cost and low-cost measures. | 实施所有零成本和低成本措施。 |
| 3784bda5e25-7594-4461-8745-a87a1a5f228a | Translated (0%) | Develop a new improvement plan and implement all new no-cost and low-cost measures every five years. | 每五年制定一次新的改良计划并实施所有新的零成本和低成本措施。 |
| 37942e7b13a-56a7-461c-96cb-041b3f60366e | Translated (0%) | SS Credit: Joint Use of Facilities | SS 得分点：设施共享 (Joint Use of Facilities) |
| 380e9499c23-a52c-4dae-af14-88c299cd23a8 | Translated (100%) | EB:O&M | EB:O&M |
| 381aae40dbb-3006-4736-964d-d3690b057931 | Translated (100%) | 1 point | 1 分 |
| 38279a4dd3c-6fd8-4598-9012-4b0583fc3097 | Translated (100%) | This credit applies to | 该得分点适用于 |
| 383a91bae91-6a2f-48eb-8e24-875a4e91bce8 | Translated (100%) | EB:O&M Schools | EB:O&M 学校 |
| 38429b26cc5-c86b-4a6d-96c7-377d11fd6ec9 | Translated (100%) | Intent | 目的 |
| 385c3c1384d-daea-4ae7-bf46-c1c26e787c52 | Translated (0%) | To integrate the school with the community by sharing the building and its playing fields for nonschool events and functions. | 共享建筑及其操场使之能够用于非学校活动和功能，从而将学校与社区整合在一起。 |
| 3869e7807b0-4053-4792-9773-b8fbf7b7d188 | Translated (100%) | Requirements | 要求 |
| 387cf2830cd-c2e4-4237-8283-70af3abd6b1d | Translated (0%) | Schools EBOM | 学校 EBOM |
| 3889bbd3734-babe-4865-b96e-9bbb5635d6ef | Translated (100%) | ESTABLISHMENT | 建立 |
| 38927d78c78-6a15-4063-9195-0c4699b910fb | Translated (100%) | Option 1. | 选项 1. |
| 39027d78c78-6a15-4063-9195-0c4699b910fb | Translated (0%) | Make Building Space Open to General Public (1 point) | 使建筑空间对公众开放（1 分） |
| 3914de83932-4635-4161-9b46-9d076a3d2f06 | Translated (0%) | In collaboration with the school authorities, establish at least three of the following types of spaces as accessible to and available for shared use by the general public: | 通过与学校当局合作，至少确定下列其中三种类型的空间可供公众使用： |
| 392f157b41d-af7b-441b-838b-fc5a6dd10c3b | Translated (0%) | auditorium; | 礼堂； |
| 3931f2a4e86-fc65-48ce-b588-29ccf651f2a5 | Translated (0%) | gymnasium; | 体育馆； |
| 39417ba8f5b-7ffd-4ad6-8023-78fc5b7f95ad | Translated (0%) | cafeteria; | 自助餐厅； |
| 3950698f6f4-b2f3-4776-b72c-6cc09293386c | Translated (0%) | one or more classrooms; | 一或多个教室； |
| 39671dddfaa-5570-45cf-a338-a633aa661d30 | Translated (0%) | playing fields and stadiums; and | 操场和体育场；以及 |
| 397450825d3-bdcc-468b-97c3-5eb9ee0f0a52 | Translated (0%) | joint parking. | 共用停车场。 |
| 398419a5add-8b9f-4111-8a0a-b806d2826b2f | Translated (0%) | Provide access to toilets in joint-use areas after normal school hours. | 在正常上课时间后提供共用区域内卫生间的使用权。 |
| 39970f55ead-75b2-49a4-9cec-6e54698f24fb | Translated (100%) | OR | 或 |
| 4002d4f7c35-4c44-43c5-956d-0427eb111694 | Translated (100%) | Option 2. | 选项 2. |
| 4012d4f7c35-4c44-43c5-956d-0427eb111694 | Translated (0%) | Contract with Specific Organizations to Share Building Space (1 point) | 与特定组织签订合同以共享建筑空间（1 分） |
| 4024aa50ef9-9951-42e3-81d3-62da1edfd47c | Translated (0%) | In collaboration with the school authorities, contract with community or other organizations to provide at least two types of dedicated-use spaces in the building, such as the following: | 通过与学校当局合作，与社区或其他组织签订合同，以提供至少两种类型的专用建筑空间，如下所示： |
| 4038855f38a-c2a6-433d-afc3-9d5328685e83 | Translated (0%) | commercial office; | 商业办公室； |
| 40459a20027-379c-4b42-8851-1538ba344f9e | Translated (0%) | health clinic; | 医疗诊所； |
| 40507339109-dbe1-471d-aeb8-9138eb8b3896 | Translated (0%) | community service centers (provided by state or local offices); | 社区服务中心（由州或地方办公室提供）； |
| 4065bc85af9-724a-41e8-b782-febda38d5d47 | Translated (0%) | police offices; | 警务处； |
| 407ebb91a51-9c74-47b5-90cc-8d728c8f31b5 | Translated (0%) | library or media center; | 图书馆或媒体中心； |
| 408ae20c0c8-811b-425f-94c2-b656711dc407 | Translated (0%) | parking lot; and | 停车场；以及 |
| 40938bb5064-3865-4001-81bc-01a357ee2939 | Translated (0%) | one or more commercial businesses. | 一或多个商业公司。 |
| 4102b3b21c5-6e57-47b7-919f-64c9fb6f1a8b | Translated (100%) | Provide access to toilets in joint-use areas after normal school hours. | 在正常上课时间后提供共用区域内卫生间的使用权。 |
| 41166b41238-da8c-4822-8494-01625d74c35f | Translated (100%) | OR | 或 |
| 41281a7aff3-0260-4abb-ad02-83311aa9acef | Translated (100%) | Option 3. | 选项 3. |
| 41381a7aff3-0260-4abb-ad02-83311aa9acef | Translated (0%) | Use Shared Space Owned by Other Organizations (1 point) | 使用其他组织所拥有的共享空间（1 分） |
| 414db6bec33-e82b-413d-bdcc-33ea5543118e | Translated (0%) | In collaboration with the school authorities, establish at least two of the following six types of spaces (owned by other organizations/agencies) are accessible to students: | 通过与学校当局合作，至少确定下列六种空间（由其他组织/机构所拥有）中的两种可供学生使用： |
| 415c22aa049-b114-46b7-a7b4-d07ca3aa2a9e | Translated (100%) | auditorium; | 礼堂； |
| 41694c487c4-26d7-40ce-8040-fc7754959f8e | Translated (100%) | gymnasium; | 体育馆； |
| 4173e343aff-2f68-4c2a-8b55-b70efd312d7f | Translated (100%) | cafeteria; | 自助餐厅； |
| 418b150b555-7982-40e9-89f1-b66f828e6f71 | Translated (100%) | one or more classrooms; | 一或多个教室； |
| 419b3d26829-221e-4ac1-8dba-9d7725c21362 | Translated (0%) | swimming pool; and | 游泳池；以及 |
| 420c40448fe-93fe-4411-b7ea-5dec9af8450e | Translated (0%) | playing fields and stadiums. | 操场和体育场。 |
| 421ccac6bfa-a58d-41eb-b93e-40fbbbc698a7 | Translated (0%) | Provide direct pedestrian access to these spaces from the school. | 提供从学校通往这些空间的直达人行道。 |
| 422ccac6bfa-a58d-41eb-b93e-40fbbbc698a7 | Translated (0%) | In addition, provide signed joint-use agreements with the other organizations or agencies that stipulate how these spaces will be shared. | 此外，提供与其他组织或机构签署的规定了这些空间共享方式的共用协议。 |
| 4234639ede4-3714-4d92-865f-55d9a43f0d6d | Translated (100%) | PERFORMANCE | 运行 |
| 4243b331a79-1de4-4a3f-b39a-01e794728a96 | Translated (100%) | None. | 无。 |
| 4251284de1e-58ab-48a8-af9e-4394ec869e07 | Translated (100%) | Water Efficiency (WE) | 用水效率 (WE) |
| 4264582ccd0-0cde-45c5-9679-6ecfa611d035 | Translated (CM) | WE Prerequisite: Indoor Water Use Reduction | WE 先决条件: 室内用水减量 (Indoor Water Use Reduction) |
| 4271a3970a5-6b90-4bbe-b67f-a531271fd9b5 | Translated (100%) | Required | 必要项 |
| 428a8ec3ffd-a755-4b8e-8f39-651f2fdb5611 | Translated (100%) | EB:O&M | EB:O&M |
| 4292ea1d171-226a-4d19-999a-ea9c4ef68871 | Translated (0%) | This prerequisite applies to | 该先决条件适用于 |
| 430a022675e-e129-4765-bddc-fdafbed72382 | Translated (100%) | Existing Buildings: Operations & Maintenance | 既有建筑：运营与维护 |
| 431cf042ba5-8289-41e4-a7ab-166b9c9ce016 | Translated (100%) | EB:O&M Schools | EB:O&M 学校 |
| 4322c172462-8937-4c77-ba8c-26ce142e855d | Translated (100%) | EB:O&M Retail | EB:O&M 零售 |
| 4330a47b41f-6dd9-49a3-8c06-9d7c7a600f14 | Translated (100%) | EB:O&M Data Centers | EB:O&M 数据中心 |
| 434dfe20b32-d3ef-4c7d-aac4-11a658d68d54 | Translated (100%) | EB:O&M Hospitality | EB:O&M 宾馆接待 |
| 4358bda4069-60fb-408b-91fb-dc5490fade38 | Translated (100%) | EB:O&M Warehouses & Distribution Centers | EB:O&M 仓储和配送中心 |
| 4367f45cb4f-21a9-4f9d-b09f-32a05dcde749 | Translated (100%) | Intent | 目的 |
| 4370868e4c6-909e-47df-b547-01c34fb5c657 | Translated (0%) | To reduce indoor water consumption. | 减少室内用水量。 |
| 438ee4cbe1b-73b0-4e7f-83f4-5fc951fb8f8b | Translated (100%) | Requirements | 要求 |
| 439ec3610ac-cf68-4e5b-975f-ab7c157bff2a | Translated (100%) | EBOM, Schools, Retail, Data Centers, Hospitality, Warehouses & Distribution Centers | EBOM、学校、零售、数据中心、宾馆接待、仓储和配送中心 |
| 440c0a98e7e-0815-439f-bef5-e21390e96bb1 | Translated (100%) | Option 1. | 选项 1. |
| 441c0a98e7e-0815-439f-bef5-e21390e96bb1 | Translated (0%) | Calculated Water Use | 计算的用水量 |
| 4423559a51e-6bb6-4be4-b0b3-1236db2d20bd | Translated (100%) | ESTABLISHMENT | 建立 |
| 4435b169502-bb46-4c51-b84c-dc205207599b | Translated (0%) | For the indoor plumbing fixtures and fittings listed in Table 1, reduce water consumption to or below the LEED v4 for Existing Buildings: Operations & Maintenance baseline, calculated assuming 100% of the building’s indoor plumbing fixtures and fittings meet the flush and flow rates listed in Table 1. | 对于表 1 中列出的室内卫生器具及配件，将用水量减少到相当于或低于 LEED v4 既有建筑：运营与维护 (LEED v4 for Existing Buildings: Operations & Maintenance) 基线的水平，计算假设 100% 的建筑室内卫生器具及配件符合表 1 中列出的冲洗速度和流速。 |
| 444b40e391c-328a-4f80-bbdc-bed41a7a3d7c | Translated (0%) | The LEED v4 for Existing Buildings: Operations & Maintenance water use baseline is set depending on the year of building’s occupancy, as follows: | LEED v4 既有建筑：运营与维护 (LEED v4 for Existing Buildings: Operations & Maintenance) 用水基线的设置具体取决于建筑的入驻年份，如下所示： |
| 445500f511c-e647-4248-85d4-0af46a3167c8 | Translated (0%) | For a building with a certificate of occupancy dated 1995 or later, the baseline is 120% of the water use that would result if all fixtures met the code requirements in Table 1. | 对于 1995 年或之后获得使用者证书的建筑来说，基线为在所有器具满足表 1 中法规要求的情况下可能产生的用水量的 120%。 |
| 446093a5844-6d49-420b-8f4e-8b5b78811dc3 | Translated (94%) | For a building with a certificate of occupancy dated before 1995, the baseline is 150% of the water use that would result if all fixtures met the code requirements in Table 1. | 对于 1995 年之前获得使用者证书的建筑来说，基线为在所有器具满足表 1 中法规要求的情况下可能产生的用水量的 150%。 |
| 4477598ff39-9c0b-41dd-af3d-1b493eaec80b | Translated (100%) | Table 1. | 表 1. |
| 4487598ff39-9c0b-41dd-af3d-1b493eaec80b | Translated (100%) | Fixture and fitting code requirements | 器具和配件法规要求 |
| 44955346d8a-b165-460f-a0f6-a1132149ba59 | Translated (100%) | Fixture or fitting | 器具或配件 |
| 45020795608-f00c-49ab-a442-bf150fe9b8ec | Translated (100%) | Baseline (IP units) | 基线（IP 单位） |
| 451e95d11f6-3954-4649-a8b5-816782f35539 | Translated (100%) | Baseline (SI units) | 基线（SI 单位） |
| 452bb22d725-2fa2-4d60-a1fe-d5ab8414018b | Translated (99%) | Toilet (water closet) | 马桶（坐便器） |
| 4532d2b89bf-edc1-40a5-b6c1-48d6b5896da8 | Translated (100%) | 1.6 gpf | 1.6 gpf |
| 4546228de01-7d37-429a-bbbd-0def3d393539 | Translated (99%) | 6 lpf | 6 lpf |
| 455e26e627f-0991-410e-95ae-796e45941f11 | Translated (100%) | Urinal | 小便器 |
| 4569118ea8c-829f-4017-8632-e033f4d4b045 | Translated (0%) | 1.0 gpf | 1.0 gpf |
| 457a69e2462-2707-4dab-9552-c93be25d744b | Translated (CM) | 3.8 lpf | 3.8 lpf |
| 458f10e01c8-594b-493e-bfe2-cc01d1016696 | Translated (100%) | Public lavatory (restroom) faucet | 公用面盆（盥洗室）水龙头 |
| 4593d02daa9-0db2-40b2-aeab-3f4768a8586d | Translated (100%) | 0.5 gpm at 60 psi** all others except private applications | 60 psi** 下 0.5 gpm，私人应用以外的其他所有应用 |
| 460e06b3f38-cd06-4dc8-86c3-9cb5745a5433 | Translated (100%) | 1.9 lpm at 415 kPa, all others except private applications | 415 kPa 下 1.9 lpm，私人应用以外的其他所有应用 |
| 461d83ad4f9-1bbb-43be-a386-e08184d1f032 | Translated (90%) | Private lavatory faucet | 自用厕所水龙头 |
| 46249ab2ce8-e864-4d1d-b42c-f950dfeb95db | Translated (100%) | 2.2 gpm at 60 psi | 60 psi 下 2.2 gpm |
| 463955a79a2-6744-4041-9a27-a94932369532 | Translated (100%) | 8.3 lpm at 415 kPa | 415 kPa 下 8.3 lpm |
| 464723d71d9-0cc9-4c25-b23c-05af088d4c9d | Translated (100%) | Kitchen faucet (excluding faucets used exclusively for filling operations) | 厨房水龙头（专用于灌装操作的水龙头除外） |
| 4656d67dedd-7afb-4015-9fc1-d145e27b7e88 | Translated (100%) | 2.2 gpm at 60 psi | 60 psi 下 2.2 gpm |
| 466bf3788e9-c12c-47e3-b4b9-120d72121e38 | Translated (100%) | 8.3 lpm at 415 kPa | 415 kPa 下 8.3 lpm |
| 4678764756b-b175-4a2b-93c4-b9daa3e15542 | Translated (96%) | Showerhead | 淋浴喷头 |
| 468086064b8-4e29-4f72-b6a1-f42a3bc06843 | Translated (100%) | 2.5 gpm at 80 psi per shower stall | 每个淋浴间 80 psi 下 2.5 gpm |
| 4691dac9159-6116-4094-9155-46b03c9afc09 | Translated (100%) | 9.5 lpm at 550 kPa per shower stall | 每个淋浴间 550 kPa 下 9.5 lpm |
| 4706a0c38e0-9f01-4b08-9644-b0aaee37ca9e | Translated (100%) | gpf = gallons per flush | gpf = 每次冲水加仑数 |
| 47105f4871e-556c-4123-854b-77909464900b | Translated (100%) | gpm = gallons per minute | gpm = 每分钟加仑数 |
| 472d1ece158-d9cc-4dec-87dc-c0c5cb676749 | Translated (100%) | psi = pounds per square inch | psi = 每平方英寸磅数 |
| 473c96fa8ce-ff03-47ef-b4cc-e9fc2b2249c4 | Translated (100%) | lpf = liters per flush | lpf = 每次冲水升数 |
| 474b514530d-55ee-465f-8752-72602cf3aa63 | Translated (100%) | lpm = liters per minute | lpm = 每分钟升数 |
| 475893ef151-f4ec-44b1-8cc1-70ec0ed77638 | Translated (100%) | kPa = kilopascals | kPa = 千帕 |
| 476cee207ff-2cdb-451e-9f4a-520438caa7e8 | Translated (0%) | If indoor plumbing systems were renovated after initial occupancy of the building, set a whole-building average baseline by prorating the above limits, based on the proportion of plumbing fixtures installed during the plumbing renovations in each period. | 如果在开始使用建筑后对室内给排水系统进行了改造，则根据在给排水系统改造过程中的每个时段所安装卫生器具的比例，通过按比例分配上述限制来设置整栋建筑的平均基线。 |
| 477cee207ff-2cdb-451e-9f4a-520438caa7e8 | Translated (82%) | Pre-1995 buildings that have had only minor fixture retrofits (e.g., aerators, showerheads, flushing valves) but no plumbing renovations in or after 1995 may use the 150% baseline for the whole building. | 1995 年之前只进行了小规模器具改造（如起泡器、淋浴喷头、冲水阀），但是在 1995 年或之后没有进行给排水系统改造的建筑可以使用 150% 作为整栋建筑的基线。 |
| 478d1f93a78-ad09-491b-bdce-edd8942f93e9 | Translated (0%) | Calculate fixture and fitting performance to compare the water use of the as-installed fixtures and fittings with the use of Uniform Plumbing Code or International Plumbing Code-compliant (baseline) fixtures and fittings. | 计算器具和配件性能，以比较安装的器具和配件的用水量以及符合统一给排水规范或国际给排水规范（基线）的器具和配件的用水量。 |
| 479bf7f5f20-a0f9-429a-a565-6a4fa063b8eb | Translated (0%) | Inspect all existing fittings or fixtures to ensure they are operating properly. | 检测所有既有配件或器具，以确保它们运行正常。 |
| 480bf7f5f20-a0f9-429a-a565-6a4fa063b8eb | Translated (0%) | Make any repairs needed to bring all fixtures into good working order or permanently turn off water supply to nonfunctional units. | 进行所有必要维修以使所有器具都处于正常运转状态，或永久关闭非正常运转装置的供水。 |
| 481e4a4551c-1d6c-4e66-8d30-99a062f38904 | Translated (73%) | Implement a fixture and fitting replacement and retrofit policy specifying that all newly installed toilets, urinals, private lavatory faucets, and showerheads that are eligible for labeling be WaterSense labeled (or a local equivalent for projects outside the U.S.). | 实施器具和配件更换及改造政策，该政策指定所有新安装的符合标签要求的马桶、小便器、自用厕所水龙头和淋浴喷头都必须贴有 WaterSense 标签（美国以外的项目为当地对应的标签）。 |
| 4829350035d-1459-4cb3-894f-4565c179fc6a | Translated (0%) | Retail, Hospitality and Schools only | 仅限零售、宾馆接待和学校 |
| 483aa26ba70-c4d2-4fb0-9480-114a75940b0e | Translated (0%) | Have in place a process and appliance water equipment purchasing policy for the building and site addressing the products listed in Table 2. | 针对表 2 中列出的产品，为建筑和场址制定工艺和电器用水设备采购政策。 |
| 484aa26ba70-c4d2-4fb0-9480-114a75940b0e | Translated (70%) | The policy must cover at least those products purchased within the building and site management’s control. | 该政策必须至少涵盖那些在建筑和场址管理人员控制范围之内采购的产品。 |
| 48542a6a334-78ff-4ef1-90e0-bfefe919181e | Translated (100%) | Table 2. | 表 2. |
| 48642a6a334-78ff-4ef1-90e0-bfefe919181e | Translated (100%) | Standards for appliances | 电器标准 |
| 48732a2639b-73c1-485f-9e99-1de4b1a0216f | Translated (100%) | Appliance | 电器 |
| 488a133c840-d1ac-4e25-9b70-4decd992b896 | Translated (100%) | Requirement | 要求 |
| 4890c188b38-4251-452b-9fa2-fc71ba9862c1 | Translated (0%) | Residential clothes washer | 住宅洗衣机 |
| 490cf7d1b1c-4570-4448-b92a-9d61c7ee658b | Translated (100%) | ENERGY STAR or performance equivalent | “能源之星”（ENERGY STAR） 或同等性能 |
| 491d0285da4-2e88-43a2-9d02-40ed6862e447 | Translated (90%) | Commercial clothes washer | 商用洗衣机 |
| 49235bc4c85-e4a3-4436-baa5-8f6a79d8ae28 | Translated (100%) | CEE Tier 3A | CEE 3A 级 |
| 4936c4a83f6-6460-425a-88a3-323dcf1049c9 | Translated (0%) | Residential dishwasher, standard or compact | 标准或紧凑型住宅洗碗机 |
| 494385410e6-f9a9-4731-a0f1-bd3a1242345c | Translated (100%) | ENERGY STAR or performance equivalent | “能源之星”（ENERGY STAR） 或同等性能 |
| 4950c2e67b0-8ac8-411d-942e-e397faa60a7f | Translated (90%) | Prerinse spray valve | 预清洗喷雾阀 |
| 49645d8d979-e108-49f1-b252-1eb7d64cc25d | Translated (100%) | ≤ 1.3 gpm (4.9 lpm) | ≤ 1.3 gpm (4.9 lpm) |
| 497e702d73b-ab33-42b3-8f57-115364625a5e | Translated (100%) | Ice machine | 制冰机 |
| 4985ff8783f-a295-4c0b-8fc2-fe9c5ffb02eb | Translated (99%) | ENERGY STAR or performance equivalent, and use either air-cooled or closed-loop cooling, such as chilled or condenser water system | “能源之星”（ENERGY STAR）或同等性能，并使用气冷或闭环冷却，如冷冻或冷凝水系统 |
| 4997402bb9d-6b66-4dbc-bf2b-37fdbfd3c850 | Translated (100%) | gpm = gallons per minute | gpm = 每分钟加仑数 |
| 500fc6f736a-f983-45a0-b94e-efc6e396dd8b | Translated (100%) | lpm = liters per minute | lpm = 每分钟升数 |
| 5019bb509d8-df79-44e3-8569-ad283c96b760 | Translated (100%) | PERFORMANCE | 运行 |
| 5021529e9f5-0039-4025-ad09-061d73edb6f0 | Translated (0%) | For building water use, confirm that calculations are up to date. | 对于建筑用水，确认计算是最新的。 |
| 5031529e9f5-0039-4025-ad09-061d73edb6f0 | Translated (0%) | Demonstrate that all applicable purchases made during the performance period meet the requirements of the fixture and fitting replacement and retrofit policy. | 证明在运行期进行的所有适用采购都符合器具和配件更换及改造政策的要求。 |
| 50408b4a502-22c7-4a15-b188-663b822f09ef | Translated (0%) | For appliances, demonstrate that appliances purchased and installed within the building meet the requirements listed in Table 2. | 对于电器，证明为建筑采购和安装的电器符合表 2 中列出的要求。 |
| 50508b4a502-22c7-4a15-b188-663b822f09ef | Translated (0%) | Appliances not listed are not subject to any additional requirements. | 未列出的电器不受任何其他要求的限制。 |
| 5068cf142ac-a96c-4937-90be-42d56967bef1 | Translated (100%) | Option 2. | 选项 2. |
| 5078cf142ac-a96c-4937-90be-42d56967bef1 | Translated (77%) | Metered Water Use | 计量的用水量 |
| 508494fb1ba-41f1-4a01-b695-6e0f2df08640 | Translated (100%) | ESTABLISHMENT | 建立 |
| 509255e34d1-5ac2-40e6-b203-07b781a01825 | Translated (0%) | Meter fixtures and fittings and record metered data for one year to establish a water-use baseline. | 计量器具和配件，并记录一年的计量数据以确定用水基线。 |
| 510515d20ed-28b2-4a5e-9066-9000284b7b5c | Translated (100%) | PERFORMANCE | 运行 |
| 511618118ef-09ee-4853-b96d-ce11f7092baf | Translated (0%) | For projects with at least 80% of fixtures and fittings metered, show that the water-use baseline has been maintained. | 对于计量了至少 80% 器具和配件的项目，表明已维持用水基线。 |
| 512747de68e-2c6d-4ac5-9a06-5e6f4bc70473 | Translated (0%) | WE Prerequisite: Building-Level Water Metering | WE 先决条件：建筑整体用水计量 (Building-Level Water Metering) |
| 51391253a97-dbdb-4a0c-8522-8d9f083548b0 | Translated (100%) | Required | 必要项 |
| 514eb9469c4-a08f-4cc7-bf19-40436c5c446c | Translated (100%) | EB:O&M | EB:O&M |
| 5159b526c73-c6b6-42ea-8397-ed05f521701e | Translated (100%) | This prerequisite applies to | 该先决条件适用于 |
| 516f745fe18-e4d7-40bd-bb84-6fa02ea4427a | Translated (100%) | Existing Buildings: Operations & Maintenance | 既有建筑：运营与维护 |
| 5176241de20-deb2-4d11-9864-66aec6e31a1c | Translated (100%) | EB:O&M Schools | EB:O&M 学校 |
| 518717cceb6-9b32-41da-81f9-4aaedae4199f | Translated (100%) | EB:O&M Retail | EB:O&M 零售 |
| 519163d044a-1642-4bfc-a67b-ebf6ab0ecae9 | Translated (100%) | EB:O&M Data Centers | EB:O&M 数据中心 |
| 52051c8cf82-15d3-471f-9154-972c29563fe2 | Translated (100%) | EB:O&M Hospitality | EB:O&M 宾馆接待 |
| 5213a3a0ad3-0495-4b19-9837-180c4033d28f | Translated (100%) | EB:O&M Warehouses & Distribution Centers | EB:O&M 仓储和配送中心 |
| 5228f4960cd-79f5-473d-a11d-00201ab058a5 | Translated (100%) | Intent | 目的 |
| 523d13c4bc8-f469-4c69-9414-2a10ec9e4a95 | Translated (0%) | To support water management and identify opportunities for additional water savings by tracking water consumption. | 通过跟踪用水量来支持用水管理并确定节约更多用水的机会。 |
| 524b0976e18-c06c-41dc-b565-692cfa05828d | Translated (100%) | Requirements | 要求 |
| 525156b15d4-15be-461a-8a59-b599603000f1 | Translated (100%) | EBOM, Schools, Retail, Data Centers, Hospitality, Warehouses & Distribution Centers | EBOM、学校、零售、数据中心、宾馆接待、仓储和配送中心 |
| 52622f49486-3c9f-4785-811e-33912c143632 | Translated (CM) | ESTABLISHMENT | 建立 |
| 5272fc23f3b-9a7d-469f-bc0d-e11d711afb91 | Translated (0%) | Have permanently installed water meters that measure the total potable water use for the building and associated grounds. | 安装永久性水表，测量建筑和相关场址所用的饮用水总量。 |
| 5282fc23f3b-9a7d-469f-bc0d-e11d711afb91 | Translated (0%) | Metering of any gray or reclaimed water supplied to the building is encouraged but not required. | 鼓励计量提供给建筑的所有灰水或再生水，但不作要求。 |
| 5298f37c1e1-da24-452d-9350-b451f9f03f3f | Translated (100%) | PERFORMANCE | 运行 |
| 530ba66cae8-88f1-4fc9-a3be-f208cd9afe47 | Translated (0%) | Record meter data on a monthly basis and compile; meter readings can be manual or automated. | 每月记录一次仪表数据并进行整理；仪表读数可以是手动或自动化的。 |
| 5313d0e5b91-51bd-4e54-937a-f8410632b360 | Translated (0%) | Commit to sharing with USGBC the resulting whole-project water usage data for a five-year period beginning on the date the project accepts LEED certification or typical occupancy, whichever comes first. | 承诺在从项目接受 LEED 认证或典型入驻（以较早者为准）开始的 5 年内与 USGBC 分享得到的整个项目的水耗数据。 |
| 532abb2a24b-81d0-4902-afc2-44b5cca289c7 | Translated (96%) | This commitment must carry forward for five years or until the building changes ownership or lessee. | 该承诺必须执行 5 年，或者直至建筑变更所有权或承租人。 |
| 5332c270e47-1b42-4ace-b200-e8ff6c44085d | Translated (0%) | WE Credit: Outdoor Water Use Reduction | WE 得分点：室外用水减量 (Outdoor Water Use Reduction) |
| 534d169fe5a-5959-4831-a3c4-a1a7c53ea04c | Translated (100%) | EB:O&M | EB:O&M |
| 5352c95ba8c-479e-4a19-9bb8-bbaf84eae116 | Translated (100%) | 1–2 points | 1-2 分 |
| 536872c1daf-97aa-4734-8e36-8f26d622ed21 | Translated (100%) | This credit applies to | 该得分点适用于 |
| 53709b94915-440f-433f-9f87-6defd6a69dec | Translated (100%) | Existing Buildings: Operations & Maintenance (1–2 points) | 既有建筑：运营与维护（1-2 分） |
| 5385d5975bb-02d9-4451-9958-5883a44e2717 | Translated (100%) | EB:O&M Schools (1–2 points) | EB:O&M 学校（1-2 分） |
| 53929d8b6ca-1b97-4822-b6a1-ec9b391193c7 | Translated (100%) | EB:O&M Retail (1–2 points) | EB:O&M 零售（1-2 分） |
| 540c7681eba-ea5c-4adc-b668-d6c4c3fb9ef0 | Translated (100%) | EB:O&M Data Centers (1–2 points) | EB:O&M 数据中心（1-2 分） |
| 541945b15e1-9e17-4bbe-b92c-1d83285ae21e | Translated (100%) | EB:O&M Hospitality (1–2 points) | EB:O&M 宾馆接待（1-2 分） |
| 5426fcc487d-3b35-461f-8ecc-d90923ba9efe | Translated (100%) | EB:O&M Warehouses & Distribution Centers (1–2 points) | EB:O&M 仓储和配送中心（1-2 分） |
| 5432ca2252b-f6c7-4d39-8105-ac604448ed01 | Translated (100%) | Intent | 目的 |
| 544eea174c8-f88a-48b8-a309-f63accf01f2b | Translated (0%) | To reduce outdoor water consumption. | 减少室外用水量。 |
| 545c8328e84-7e74-4fe4-ae0b-aaa883db6f96 | Translated (100%) | Requirements | 要求 |
| 5463ef57b5d-dd7c-42c4-a8a1-2e39e62814dd | Translated (0%) | EBOM, Retail, Data Centers, Hospitality, Schools, Warehouses & Distribution Centers | EBOM、零售、数据中心、宾馆接待、学校、仓储和配送中心 |
| 547f3ad2c89-f961-4b7b-b1ab-ae1a321cfd73 | Translated (0%) | Reduce outdoor water use through one of the following options. | 通过下列选项之一减少室外用水量。 |
| 548f3ad2c89-f961-4b7b-b1ab-ae1a321cfd73 | Translated (0%) | Nonvegetated surfaces, such as permeable or impermeable pavement, should be excluded from landscape area calculations. | 非种植表面（如可渗透或不可渗透铺装）不应包括在景观面积计算中。 |
| 549f3ad2c89-f961-4b7b-b1ab-ae1a321cfd73 | Translated (0%) | Athletic fields and playgrounds (if vegetated) and food gardens may be included or excluded at the project team’s discretion. | 运动场和操场（如果种有植被）和食品作物花园可以由项目团队来决定是否包括在计算中。 |
| 55003abce48-1543-41f3-aa58-10498ab55d14 | Translated (0%) | If landscape irrigation is not submetered, use Option 2. | 如果未对景观灌溉进行分表计量，请使用选项 2。 |
| 551d253ae2e-2a87-465b-9ffb-7f1c60c6cf18 | Translated (100%) | ESTABLISHMENT | 建立 |
| 55257cb0364-74d5-437b-8c27-79657d71ff3b | Translated (100%) | Option 1. | 选项 1. |
| 55357cb0364-74d5-437b-8c27-79657d71ff3b | Translated (0%) | No Irrigation Required (2 points) | 无需灌溉（2 分） |
| 554cba869aa-b433-4202-abe0-1e64bda4a32a | Translated (0%) | Show that the landscape does not require irrigation beyond a maximum two-year plant establishment period. | 表明景观在长达两年的植物定值期内不需要灌溉。 |
| 555d8f88386-4b07-4025-b2ed-2c5a31749815 | Translated (100%) | Option 2. | 选项 2. |
| 556d8f88386-4b07-4025-b2ed-2c5a31749815 | Translated (0%) | No Irrigation Meter Installed: Calculated Water Budget (1–2 points) | 未安装灌溉水表：计算的用水预算（1–2 分） |
| 557e212cbb6-c28a-4e9a-bbce-bb145bb58c9f | Translated (0%) | Use the existing landscape to calculate the landscape water requirement using the EPA WaterSense Water Budget Tool. | 使用既有景观通过 EPA WaterSense 用水预算工具计算景观用水要求。 |
| 558a2c5488e-c6c4-48c1-98f3-4ab4fa5b69ea | Translated (0%) | Install an irrigation meter. | 安装灌溉水表。 |
| 55977232672-5e54-462f-95ae-0f492ae96ac9 | Translated (100%) | Option 3. | 选项 3. |
| 56077232672-5e54-462f-95ae-0f492ae96ac9 | Translated (0%) | Irrigation Meter Installed (1–2 points) | 已安装灌溉水表（1–2 分） |
| 561b9b12982-e580-4eff-b61c-0eb99f894c28 | Translated (0%) | The baseline is established using the annual average of at least 3 years of consecutive data out of the last 5 years. | 使用最近五年中至少连续 3 年的年均数据确定基线。 |
| 562ffd883e9-9c4e-4ccb-8c43-07be56d3d719 | Translated (100%) | PERFORMANCE | 运行 |
| 563cd894a01-9214-4e02-8e53-769029f3a8c6 | Translated (100%) | Option 1. | 选项 1. |
| 564cd894a01-9214-4e02-8e53-769029f3a8c6 | Translated (100%) | No Irrigation Required (2 points) | 无需灌溉（2 分） |
| 565f8a394f6-257a-452e-8a64-0f3e89c10ee8 | Translated (100%) | None. | 无。 |
| 566bd990faf-7b33-4757-8b81-8b109bb7ae49 | Translated (100%) | Option 2. | 选项 2. |
| 567bd990faf-7b33-4757-8b81-8b109bb7ae49 | Translated (0%) | No Irrigation Meter: Calculated Water Budget (1–2 points) | 无灌溉水表：计算的用水预算（1–2 分） |
| 568343fe76e-11e5-4f7c-a0a3-cc09ae79c767 | Translated (0%) | Points are earned according to Table 1. | 根据表 1 获得分数。 |
| 569718303dc-7f36-47e6-89f5-a5606b9ad2ee | Translated (100%) | Option 3. | 选项 3. |
| 570718303dc-7f36-47e6-89f5-a5606b9ad2ee | Translated (100%) | Irrigation Meter Installed (1–2 points) | 已安装灌溉水表（1–2 分） |
| 5719605f568-3b64-4ab0-8673-83b7f79253cb | Translated (0%) | Demonstrate a reduction in outdoor water use over the most recent 12 months compared with the established baseline. | 证明与确定的基线相比最近 12 个月的室外用水量有所减少。 |
| 5729605f568-3b64-4ab0-8673-83b7f79253cb | Translated (100%) | Points are earned according to Table 1. | 根据表 1 获得分数。 |
| 57386fb6010-c8dc-4170-bba5-78a6cf31b526 | Translated (100%) | Table 1. | 表 1. |
| 57486fb6010-c8dc-4170-bba5-78a6cf31b526 | Translated (0%) | Points for reducing irrigation water | 减少灌溉用水的分数 |
| 575e2b8e38a-7dd4-4762-a963-0cc5c99deb2b | Translated (0%) | Percentage reduction from baseline | 与基线相比节水百分比 |
| 576a934596d-ad58-4d7a-8b4a-b467eac476d2 | Translated (100%) | Points | 分数 |
| 577edd056ea-67b5-4a3c-820f-eef549659018 | Translated (100%) | 30% | 30% |
| 5785dcde5df-c35d-4ff9-8f3a-07462de7ff96 | Translated (100%) | 1 | 1 |
| 579a3f5a21f-459c-4136-bd67-94633a86d99a | Translated (100%) | 40% | 40% |
| 58054ec4762-4ef2-401d-8d7c-2e03b4351693 | Translated (100%) | 2 | 2 |
| 58149391007-968e-4a00-9a4d-a0e31140ce0c | Translated (100%) | WE Credit: Indoor Water Use Reduction | WE 得分点：室内用水减量 (Indoor Water Use Reduction) |
| 582dac2a165-c5e8-42e3-9594-c632347b95eb | Translated (100%) | EB:O&M | EB:O&M |
| 583d9155009-6222-493d-961a-7f2749c1dbcc | Translated (100%) | 1–5 points | 1-5 分 |
| 584703e9177-1e74-4b38-b90f-5627ae7bf385 | Translated (100%) | This credit applies to | 该得分点适用于 |
| 5850e8ddfff-1c1e-44f3-aa44-f6fa0750244e | Translated (100%) | Existing Buildings: Operations & Maintenance (1–5 points) | 既有建筑：运营与维护（1-5 分） |
| 586f0ad9c6b-4e0f-449f-b5b5-81ec1d4fa28b | Translated (100%) | EB:O&M Schools (1–5 points) | EB:O&M 学校（1-5 分） |
| 587173271d6-1f5d-4a7e-8d28-137d05f5c9ac | Translated (100%) | EB:O&M Retail (1–5 points) | EB:O&M 零售（1-5 分） |
| 588134370dc-c1f9-4416-b0db-59b1e7187cd3 | Translated (100%) | EB:O&M Data Centers (1–4 points) | EB:O&M 数据中心（1-4 分） |
| 589e618f761-dae5-45de-ae31-80d1e593ec33 | Translated (100%) | EB:O&M Hospitality (1–5 points) | EB:O&M 宾馆接待（1-5 分） |
| 59055a39433-dec0-4724-ab33-dbe241027bb4 | Translated (100%) | EB:O&M Warehouses & Distribution Centers (1–5 points) | EB:O&M 仓储和配送中心（1-5 分） |
| 5912468aca2-0183-4ae9-b9cb-6d50cfae3614 | Translated (100%) | Intent | 目的 |
| 59230fa15a4-d071-4133-9234-c7a317ea26e4 | Translated (CM) | To reduce indoor water consumption. | 减少室内用水量。 |
| 5932f6e8331-e2bd-46f7-a374-c844e80eed0c | Translated (100%) | Requirements | 要求 |
| 59479722ad9-18fb-4c47-9261-d0a7facfee41 | Translated (100%) | EBOM, Schools, Retail, Data Centers, Hospitality, Warehouses & Distribution Centers | EBOM、学校、零售、数据中心、宾馆接待、仓储和配送中心 |
| 595e64dea32-47b5-4bd1-a1ad-234858acf3b7 | Translated (100%) | Option 1. | 选项 1. |
| 596e64dea32-47b5-4bd1-a1ad-234858acf3b7 | Translated (96%) | Calculated Water Use (1–5 points except Data Centers, 1–4 points Data Centers) | 计算的用水量（除数据中心外为 1-5 分，数据中心为 1-4 分） |
| 5972f8dfea2-c358-406f-892e-0b6335c22f7d | Translated (100%) | ESTABLISHMENT | 建立 |
| 5987dc5e823-5797-4bdb-ab01-c28375cec28c | Translated (100%) | None. | 无。 |
| 599b9da6c67-f79d-4435-8153-f1aaadab2f24 | Translated (100%) | PERFORMANCE | 运行 |
| 600b0f1f5ba-961f-4485-a509-626a343471cf | Translated (0%) | Have fixtures that use less water than the baseline calculated in WE Prerequisite Indoor Water-Use Reduction. | 器具的用水量比 WE 先决条件：室内用水减量 (Indoor Water-Use Reduction) 中计算的基线用水量少。 |
| 601b0f1f5ba-961f-4485-a509-626a343471cf | Translated (100%) | Points are awarded according to Table 1. | 根据表 1 获得分数。 |
| 6020568f8c3-de6f-4cff-925f-93461caf5ea0 | Translated (100%) | Table 1. | 表 1. |
| 6030568f8c3-de6f-4cff-925f-93461caf5ea0 | Translated (0%) | Points for reducing calculated water use beyond the prerequisite level. | 超出先决条件水平减少计算用水量的分数。 |
| 604bc5c97b0-bbe8-410a-b2c9-0b2e1a407772 | Translated (0%) | Additional percentage reduction | 额外的节水百分比 |
| 605e66a4f71-3366-44a6-91d5-16b94cdb10b4 | Translated (0%) | Points (except Data Centers) | 分数（除数据中心外） |
| 606463f18c0-66d2-4919-86bd-ec150e71fb13 | Translated (0%) | Points (Data Centers) | 分数（数据中心） |
| 6075227bd43-b764-4543-b5d0-d1b740a8b5aa | Translated (100%) | 10% | 10% |
| 6087a7ca7eb-4581-4514-87f8-a6afe0a65845 | Translated (100%) | 1 | 1 |
| 60907e759b1-9fba-4a1b-9703-4f18c2afeae0 | Translated (100%) | 1 | 1 |
| 610960e1caa-c2bd-4368-bc89-49efd9b631a8 | Translated (100%) | 15% | 15% |
| 6117e08128b-3eae-4089-9f81-9cf2a80878aa | Translated (100%) | 2 | 2 |
| 612e477f931-a66e-4ec5-bbf4-5dda106cb7ae | Translated (100%) | 2 | 2 |
| 6138c1c6cdc-30d8-4b4b-9b19-0ef6f3d08796 | Translated (100%) | 20% | 20% |
| 6145dbb6015-b273-42c9-a509-e31dca51e313 | Translated (100%) | 3 | 3 |
| 615c5e43bbd-6299-4463-80fc-aad685a5f91e | Translated (100%) | 3 | 3 |
| 616d31f8065-764e-45bf-a93f-f219d8068162 | Translated (100%) | 25% | 25% |
| 6172962a1bb-10b3-413f-b3ef-73bbfc9b3a21 | Translated (100%) | 4 | 4 |
| 61881b5e47d-234e-4eca-990b-58db9a6834fb | Translated (100%) | 4 | 4 |
| 619d2e4916c-e64d-44f0-bf2a-9c1809b0da6d | Translated (100%) | 30% | 30% |
| 6203c8549dd-5e72-4b19-a5fc-cc0e41385608 | Translated (100%) | 5 | 5 |
| 62198f07dbd-6360-4a17-b641-7b53da3da372 | Translated (0%) | Confirm that calculations are up to date. | 确认计算是最新的。 |
| 62298f07dbd-6360-4a17-b641-7b53da3da372 | Translated (0%) | Demonstrate that all purchases made since the end of the performance period meet the design performance requirements. | 证明在运行期结束后进行的所有采购都符合设计性能要求。 |
| 623742837f7-8f9f-4891-a27f-09439f87972c | Translated (100%) | OR | 或 |
| 624fac6cd50-f1be-48f1-ad32-48dc56275e37 | Translated (100%) | Option 2. | 选项 2. |
| 625fac6cd50-f1be-48f1-ad32-48dc56275e37 | Translated (0%) | Metered Water Use (1-5 points except Data Centers, 1-4 points Data Centers) | 计量的用水量（除数据中心外为 1-5 分，数据中心为 1-4 分） |
| 626483e2eb9-2fa6-4199-bb13-488017be4397 | Translated (100%) | ESTABLISHMENT | 建立 |
| 627b76e47de-598a-47da-81f0-1f67014764a4 | Translated (96%) | Meter fixtures and fittings, and record meter data for one year to establish a water-use baseline. | 计量器具和配件，并记录一年的计量数据以确定用水基线。 |
| 628d60c0312-2183-49ca-82eb-46a0bfc4c551 | Translated (100%) | PERFORMANCE | 运行 |
| 629b02ee1ba-f8ab-49cd-ae2f-31c25f832a5b | Translated (0%) | For projects with at least 80% of fixtures and fittings metered, show a reduction from the baseline year of meter data. | 对于计量了至少 80% 器具和配件的项目，表明与基线年的计量数据相比有所减少。 |
| 630fad251e6-8721-42bf-8775-12124a41b65d | Translated (100%) | Table 2. | 表 2. |
| 631fad251e6-8721-42bf-8775-12124a41b65d | Translated (87%) | Points for reducing metered water use | 减少计量用水量的分数 |
| 6321bab5826-f9f6-436e-8e87-cd596c36a4ee | Translated (0%) | percentage reduction | 节水百分比 |
| 633a06721df-61dc-4bed-873a-e8c98bc26afd | Translated (100%) | Points (except Data Centers) | 分数（除数据中心外） |
| 6340180e825-b9f5-41e0-ad41-31ae352b9a7c | Translated (100%) | Points (Data Centers) | 分数（数据中心） |
| 6352c3136f1-45b0-48c3-a637-f287ad6d516e | Translated (0%) | <5% | <5% |
| 636bd0e92a1-b48b-472c-b934-a42f279141e0 | Translated (100%) | 1 | 1 |
| 637b05d2f6d-8c9a-4c4b-a870-86614c880157 | Translated (100%) | 1 | 1 |
| 638ad1ecd46-3182-4665-96a3-50ce3b7d048f | Translated (100%) | 5% | 5% |
| 639f605db54-c368-45f0-8b46-2401546b2778 | Translated (100%) | 2 | 2 |
| 6405704f8a7-9f12-433f-b0e4-c36c99788188 | Translated (100%) | 2 | 2 |
| 6417650b396-a603-4e9f-b7b2-f4c295edbd27 | Translated (100%) | 10% | 10% |
| 642160b1e1b-e925-47f6-bc84-fb1781a73b50 | Translated (100%) | 3 | 3 |
| 64375f0248f-3352-42d1-80c1-7f8f4ffa4189 | Translated (100%) | 3 | 3 |
| 644b146d636-6897-46fb-b2f5-14c55ccdaa3c | Translated (100%) | 15% | 15% |
| 6454da9b18a-75ab-4d72-9d10-476a4412f504 | Translated (100%) | 4 | 4 |
| 6469ccaae5f-d118-4ea8-aa9d-751fd61b2d3e | Translated (100%) | 4 | 4 |
| 6470d450bf5-66a9-4b16-a15b-6ada4bd40c69 | Translated (100%) | 20% | 20% |
| 64830140390-b16c-4026-8bc8-46b41181c7d2 | Translated (100%) | 5 | 5 |
| 64991e1d36c-42d1-40a8-99fb-22ec98fa51da | Translated (100%) | -- | -- |
| 6502461df38-3164-439c-a993-d0ba618aa78f | Translated (0%) | WE Credit: Cooling Tower Water Use | WE 得分点：冷却塔用水 (Cooling Tower Water Use) |
| 6518a7f4d55-1adf-4cfa-8679-e982ea3c9453 | Translated (100%) | EB:O&M | EB:O&M |
| 652363182cc-6c64-4be8-a661-3857ccf1f89f | Translated (100%) | 2–4 points | 2-4 分 |
| 6533cb122cf-831a-4246-a550-450abf0529eb | Translated (100%) | This credit applies to | 该得分点适用于 |
| 654ffd8a221-eadf-47f0-b55a-9068a2d4809f | Translated (100%) | Existing Buildings: Operations & Maintenance (2–3 points) | 既有建筑：运营与维护（2-3 分） |
| 65501089541-aa27-416b-b413-31d60c4874e8 | Translated (100%) | EB:O&M Schools (2–3 points) | EB:O&M 学校（2-3 分） |
| 656a69816ab-2a25-4717-9827-e41564a719da | Translated (100%) | EB:O&M Retail (2–3 points) | EB:O&M 零售（2-3 分） |
| 657deecb904-d42d-44bb-b9c9-52d312be23a1 | Translated (100%) | EB:O&M Data Centers (2–4 points) | EB:O&M 数据中心（2-4 分） |
| 658577e5933-6b7d-4792-9b09-4e058a948e1a | Translated (100%) | EB:O&M Hospitality (2–3 points) | EB:O&M 宾馆接待（2-3 分） |
| 6598841b912-bfc3-490f-9cbe-9c572a76e3a2 | Translated (100%) | EB:O&M Warehouses & Distribution Centers (2–3 points) | EB:O&M 仓储和配送中心（2-3 分） |
| 6604d92f6cb-1f8d-4fe7-a38f-fa732d18078d | Translated (100%) | Intent | 目的 |
| 661a51dea50-740b-48ff-9dd9-f9bee5dedd00 | Translated (0%) | To conserve water used for cooling tower makeup while controlling microbes, corrosion, and scale in the condenser water system. | 控制冷凝水系统中的微生物、腐蚀和水垢的同时，节约冷却塔补充水。 |
| 662189fc2e1-6d1d-4179-a1ad-6dee71e2c471 | Translated (100%) | Requirements | 要求 |
| 663729d3a98-beef-4188-ad30-08a89ba651c3 | Translated (100%) | EBOM, Schools, Retail, Data Centers, Hospitality, Warehouses & Distribution Centers | EBOM、学校、零售、数据中心、宾馆接待、仓储和配送中心 |
| 6649a37719f-252f-4044-a8e7-7e4c818d5cc2 | Translated (100%) | ESTABLISHMENT | 建立 |
| 665bcc07d51-0412-48cc-9c05-8b567f48d3fb | Translated (0%) | For cooling towers and evaporative condensers, conduct a potable water analysis within five years of submission for certification, measuring at least the five control parameters listed in Table 1. | 对于冷却塔和蒸发式冷凝器，在提交认证的五年内进行饮用水分析，至少要测量表 1 中列出的五个控制参数。 |
| 666876a4cee-d966-46e0-a954-c320bdfe5e28 | Translated (100%) | Table 1. | 表 1. |
| 667876a4cee-d966-46e0-a954-c320bdfe5e28 | Translated (0%) | Maximum concentrations for parameters in condenser water | 冷凝水中参数的最大浓度 |
| 668d7a525c0-000b-4276-a8d3-a7b25027fce5 | Translated (0%) | Parameter | 参数 |
| 6696163395a-2c97-4da9-b123-fb7871594227 | Translated (0%) | Maximum level | 最大等级 |
| 670d9ea41fe-6e9f-44d6-aca1-23a9e8d06738 | Translated (0%) | Ca (as CaCO<718>3</718>) | Ca（以 CaCO<718>3</718> 形式） |
| 671d1d110cc-90ea-449b-9d80-79f90eebaca2 | Translated (100%) | 1,000 ppm | 1,000 ppm |
| 672f02c15a6-a280-45df-bf73-55654d47eae9 | Translated (0%) | Total alkalinity | 总碱度 |
| 673ef62ffe2-6e41-4e57-919f-bf64f52c41fb | Translated (100%) | 1,000 ppm | 1,000 ppm |
| 6744ff5ffff-4b9c-4849-bf9f-38f5731cea16 | Translated (0%) | SiO<731>2</731> | SiO<731>2</731> |
| 675be7d4058-17a1-4a59-b605-d3ac68df3cbd | Translated (100%) | 100 ppm | 100 ppm |
| 6767ff35938-cefb-43dd-9ef5-9fa3c98a0b7b | Translated (0%) | Cl<738>-</738> | Cl<738>-</738> |
| 6778e0de769-e02e-4972-b7e0-b850ee5bed35 | Translated (100%) | 250 ppm | 250 ppm |
| 678f0f31ab8-0ca9-4d5c-9655-0d79f8db12ab | Translated (0%) | Conductivity | 电导率 |
| 67937fbf343-619f-43ee-a544-259eba33abf5 | Translated (0%) | 2000 µS/cm | 2000 µS/cm |
| 680341d8b65-8343-45c1-aa7f-905edeb08199 | Translated (0%) | ppm = parts per million | ppm = 百万分率 |
| 681936ab89a-197f-4091-8220-f66501f722ec | Translated (0%) | µS/cm = micro siemens per centimeter | µS/cm = 微西门子每厘米 |
| 682ade407b6-9f51-4026-a1aa-7b22a850149b | Translated (0%) | Calculate the number of cooling tower cycles by dividing the maximum allowed concentration level of each parameter by the actual concentration level of each parameter found in the potable makeup water. | 用每个参数允许的最大浓度等级除以在饮用补充水中发现的每个参数的实际浓度等级，即可计算出冷却塔循环次数。 |
| 683ade407b6-9f51-4026-a1aa-7b22a850149b | Translated (0%) | Limit cooling tower cycles to avoid exceeding maximum values for any of these parameters. | 限制冷却塔循环，以避免超出其中任何参数的最大值。 |
| 6849bde2b58-b73b-4863-98c4-4fc94a985bcf | Translated (100%) | Table 2. | 表 2. |
| 6859bde2b58-b73b-4863-98c4-4fc94a985bcf | Translated (0%) | Points for cooling tower cycles | 冷却塔循环次数的分数 |
| 68696f3c02f-201a-4f3a-93d4-a4b553c43156 | Translated (0%) | Cooling tower cycles | 冷却塔循环 |
| 687d4c40024-7385-41eb-8175-21d41597290c | Translated (100%) | Points (except Data Centers) | 分数（除数据中心外） |
| 68898984c15-6b25-49d0-b56b-5befea8b4cc3 | Translated (100%) | Points (Data Centers) | 分数（数据中心） |
| 6897acefe15-0d43-44f3-b04c-b7b926a545bc | Translated (0%) | Maximum number of cycles achieved without exceeding any filtration levels or affecting operation of condenser water system (up to maximum of 10 cycles) | 在不超出任何过滤等级或不影响冷凝水系统运行的情况下达到的最大循环次数（最大 10 次循环） |
| 690a31ea34d-fdda-4b2d-94a5-32331f57d536 | Translated (100%) | 2 | 2 |
| 691773f1355-95b4-4701-bc80-719c7c14cb08 | Translated (100%) | 2 | 2 |
| 692286582f0-c20d-44de-86dd-07786481e6df | Translated (0%) | Achieve a minimum 10 cycles by increasing the level of treatment in condenser or make-up water | 通过增加冷凝水或补充水中的处理等级达到最小 10 次循环 |
| 6930a87728e-8a73-4391-aa1d-e014198179e5 | Translated (100%) | OR | 或 |
| 694796d99d4-e7e5-4c5c-9529-523d0e9f3c68 | Translated (0%) | Meet the minimum number of cycles to earn 1 point and use a minimum 20% recycled nonpotable water | 满足最小循环次数以获得 1 分，并使用最小 20% 的回收非饮用水 |
| 695d727fc32-b594-4dab-a2b0-69bd4ecebe3b | Translated (100%) | 3 | 3 |
| 69621c7aa9d-bff4-48cc-94a8-5107e73cb90c | Translated (100%) | 4 | 4 |
| 697731f4507-4ab6-4931-8cd9-9688e1570c04 | Translated (100%) | PERFORMANCE | 运行 |
| 698b5dc0e0b-0297-4a19-9ed4-27fcc4ca87f4 | Translated (100%) | None. | 无。 |
| 699435c70ca-0397-4d42-97cd-cbf0249e922c | Translated (0%) | WE Credit: Water Metering | WE 得分点：用水计量 (Water Metering) |
| 7005e4d5f31-1aac-413f-a9ff-5f8538465303 | Translated (100%) | EB:O&M | EB:O&M |
| 70100ccef81-fe27-4d45-b3a1-c0a7c2bfc4aa | Translated (100%) | 2 points | 2 分 |
| 70273790cd7-1592-4ae3-b9d4-6068bd38a032 | Translated (100%) | This credit applies to | 该得分点适用于 |
| 703ef37dc91-f1a4-4e3b-9310-bcc5cdaa5724 | Translated (100%) | Existing Buildings: Operations & Maintenance (1-2 points) | 既有建筑：运营与维护（1-2 分） |
| 7048ef191f4-aa19-4207-8a63-fc8ac8be4714 | Translated (100%) | EB:O&M Schools (1-2 points) | EB:O&M 学校（1-2 分） |
| 705af633064-d0de-452c-a37b-7198cf3477ed | Translated (100%) | EB:O&M Retail (1-2 points) | EB:O&M 零售（1-2 分） |
| 70638c36e97-d37f-4d2b-98c1-6ddfb4f54983 | Translated (100%) | EB:O&M Data Centers (1-2 points) | EB:O&M 数据中心（1-2 分） |
| 70717370f93-ba68-4575-a0b5-9849949cee08 | Translated (100%) | EB:O&M Hospitality (1-2 points) | EB:O&M 宾馆接待（1-2 分） |
| 708807cb4c2-8b5b-423b-9b3a-91c6b137cbbf | Translated (100%) | EB:O&M Warehouses & Distribution Centers (1-2 points) | EB:O&M 仓储和配送中心（1-2 分） |
| 709fc67f29d-3d56-494b-8906-4abc5ddb47b1 | Translated (100%) | Intent | 目的 |
| 7108cb1132c-cfa0-4789-b956-d053275a2bd8 | Translated (100%) | To support water management and identify opportunities for additional water savings by tracking water consumption. | 通过跟踪用水量来支持用水管理并确定节约更多用水的机会。 |
| 711e1de6a8c-517b-4559-9aa6-d389845b2c65 | Translated (100%) | Requirements | 要求 |
| 712504dbd5c-a2be-47bd-ad88-ecd12e9fe707 | Translated (100%) | EBOM, Schools, Retail, Data Centers, Hospitality, Warehouses & Distribution Centers | EBOM、学校、零售、数据中心、宾馆接待、仓储和配送中心 |
| 7139f321e26-fc46-4760-8e34-36351e3e7501 | Translated (100%) | ESTABLISHMENT | 建立 |
| 714a3dedd3f-3bbc-42ff-b707-d4921263e6b0 | Translated (0%) | Establish permanently installed meters; 1 point for two water subsystems, 2 points for four or more water subsystems: | 安装永久性仪表；为两个用水子系统安装可获得 1 分，为四个或更多个用水子系统安装可获得 2 分： |
| 7156666d56b-8893-4cc1-8a7c-352b73654dfd | Translated (0%) | Irrigation. | 灌溉。 |
| 7166666d56b-8893-4cc1-8a7c-352b73654dfd | Translated (82%) | Meter water systems serving at least 80% of the irrigated landscaped area. | 计量为至少 80% 灌溉景观面积供水的用水系统。 |
| 7176666d56b-8893-4cc1-8a7c-352b73654dfd | Translated (83%) | Calculate the percentage of irrigated landscape area as the total metered irrigated landscape area divided by the total irrigated landscape area. | 灌溉景观面积百分比的计算方法为，用计量的灌溉景观总面积除以灌溉景观总面积。 |
| 7186666d56b-8893-4cc1-8a7c-352b73654dfd | Translated (89%) | Landscape areas fully covered with xeriscaping or native vegetation that requires no routine irrigation may be excluded from the calculation. | 被旱生园艺或本地植物覆满且无需日常灌溉的景观面积可从计算中排除。 |
| 7198785596c-89d1-4f3d-b488-c719ef9a6d1d | Translated (99%) | Indoor plumbing fixtures and fittings. | 室内卫生器具及配件。 |
| 7208785596c-89d1-4f3d-b488-c719ef9a6d1d | Translated (92%) | Meter water systems serving at least 80% of the indoor plumbing fixtures and fittings listed in WE Prerequisite Indoor Water-Use Reduction, either directly or by deducting all other measured water use from the measured total water consumption of the building and grounds. | 计量为 WE 先决条件：室内用水减量 (Indoor Water-Use Reduction) 中列出的至少 80% 室内卫生器具及配件供水的用水系统，可以直接计量或通过从测得的建筑和地面总用水量中减去其他所有测得的用水量来计量。 |
| 721a58a3408-f5d3-434e-81c0-225137a1f6fa | Translated (98%) | Cooling towers. | 冷却塔。 |
| 722a58a3408-f5d3-434e-81c0-225137a1f6fa | Translated (93%) | Meter replacement water use of all cooling towers serving the facility. | 计量为设施供水的所有冷却塔的更换水使用量。 |
| 7238a971ea1-079c-46d0-9154-0aff291c8fff | Translated (99%) | Domestic hot water. | 生活热水。 |
| 7248a971ea1-079c-46d0-9154-0aff291c8fff | Translated (97%) | Meter water use of at least 80% of the installed domestic hot water heating capacity (including both tanks and on-demand heaters). | 计量至少 80% 已安装的生活热水加热设施的用水量（包括水箱和即时加热器）。 |
| 725fa9cab31-86d0-4c13-9796-bccbfdc35424 | Translated (0%) | Reclaimed water. | 再生水。 |
| 726fa9cab31-86d0-4c13-9796-bccbfdc35424 | Translated (0%) | Meter reclaimed water, regardless of rate. | 计量再生水（无论速率如何）。 |
| 727fa9cab31-86d0-4c13-9796-bccbfdc35424 | Translated (0%) | A reclaimed water system with a makeup water connection must also be metered so that the true reclaimed water component can be determined. | 还必须计量接入补充水的再生水系统，以便可以确定真正的再生水分量。 |
| 728397ea8ae-413c-438c-943f-8aef2c2e22fe | Translated (0%) | Other process water. | 其他工艺用水。 |
| 729397ea8ae-413c-438c-943f-8aef2c2e22fe | Translated (0%) | Meter at least 80% of expected daily water consumption for process end uses, such as humidifiers, dishwashers, clothes washers, and pools. | 计量工艺最终用途（如加湿器、洗碗机、洗衣机和水池）至少 80% 的预计日常用水量。 |
| 730326c5f72-df96-47a9-badb-252a2af689df | Translated (CM) | . | . |
| 73130c14b58-55eb-4b19-8393-cf865d8b89bf | Translated (100%) | PERFORMANCE | 运行 |
| 73274454a42-c630-4c44-90d5-7619bc35d1b0 | Translated (0%) | All meters, including whole-building meters, must be recorded at least weekly and used in a regular analysis of time trends. | 必须至少每周对所有仪表（包括整栋建筑的仪表）进行一次记录，并使用它们来分析常规时间趋势。 |
| 73314014ae1-23bf-4411-9a90-c22be28c2eff | Translated (99%) | Meters must be calibrated within the manufacturer’s recommended interval if the building owner, management organization, or tenant owns the meter. | 如果建筑业主、管理组织或租户拥有仪表，则必须按照制造商建议的时间间隔对仪表进行校准。 |
| 73414014ae1-23bf-4411-9a90-c22be28c2eff | Translated (100%) | Meters owned by third parties (e.g., utilities or governments) are exempt. | 第三方（如公用事业公司或政府）拥有的仪表除外。 |
| 73557437217-67eb-416d-9096-a63939add7f3 | Translated (98%) | Commit to sharing with USGBC the resulting water usage data for a five-year period beginning on the date the project accepts LEED certification or typical occupancy, whichever comes first. | 承诺在从项目接受 LEED 认证或典型入驻（以较早者为准）开始的 5 年内与 USGBC 分享得到的水耗数据。 |
| 7367d02e5cb-4c3a-4b37-944d-a66b1e3bb8cc | Translated (100%) | Energy and Atmosphere | 能源与大气 (Energy and Atmosphere) |
| 737c99e627a-73c0-493f-b6e2-37f8f6b7dd1f | Translated (75%) | EA Prerequisite: Energy Efficiency Best Management Practices | EA 先决条件：最佳节能管理实践 (Energy Efficiency Best Management Practices) |
| 738ff446a47-edb6-43b2-8914-44a2dbef8f0c | Translated (100%) | Required | 必要项 |
| 739b6e327d8-4af2-40df-a586-fa570ace6c4c | Translated (100%) | EB:O&M | EB:O&M |
| 7404e002627-8b30-435e-a865-13132196e681 | Translated (100%) | This prerequisite applies to | 该先决条件适用于 |
| 741dd6a03dd-a83a-40bb-87c1-8c06ac30b7ea | Translated (100%) | Existing Buildings: Operations & Maintenance | 既有建筑：运营与维护 |
| 742d527ba6f-e246-4e23-a8d7-c11ccf80aa40 | Translated (100%) | EB:O&M Schools | EB:O&M 学校 |
| 7437b024fdf-75c6-46b1-9922-d5ebce009105 | Translated (100%) | EB:O&M Retail | EB:O&M 零售 |
| 7444b33f84c-1b61-4c97-9a7a-c6aa954b05c0 | Translated (100%) | EB:O&M Data Centers | EB:O&M 数据中心 |
| 745f402a5ce-787a-461c-b207-668d0f0a2bac | Translated (100%) | EB:O&M Hospitality | EB:O&M 宾馆接待 |
| 7467e144d8d-a00c-4375-b18a-2bc123d78ead | Translated (100%) | EB:O&M Warehouses & Distribution Centers | EB:O&M 仓储和配送中心 |
| 7474054aca5-8db6-4b25-ad5b-5156fcf66981 | Translated (100%) | Intent | 目的 |
| 7487e640df5-f694-429c-a6a6-ddec10e5c804 | Translated (100%) | To promote continuity of information to ensure that energy-efficient operating strategies are maintained and provide a foundation for training and system analysis. | 促进信息记录的连续性，以确保维护节能运营策略，并为培训和系统分析奠定基础。 |
| 749fbca00a3-8fff-4287-9b71-853e204a1fb7 | Translated (100%) | Requirements | 要求 |
| 75031129fad-9756-4f4d-a78a-dc83999943f9 | Translated (0%) | EBOM, Schools, Retail, Hospitality, Warehouses & Distribution Centers | EBOM、学校、零售、宾馆接待、仓储和配送中心 |
| 751337cfc02-ce34-4f07-a21e-607f9a676a4c | Translated (100%) | ESTABLISHMENT | 建立 |
| 7526f5d11c0-e2fe-40ac-a226-7ef3739a4e89 | Translated (0%) | Conduct an energy audit that meets both the requirements of the ASHRAE preliminary energy use analysis and an ASHRAE Level 1 walk-through assessment identified in the ASHRAE Procedures for Commercial Building Energy Audits or equivalent. | 根据“ASHRAE 商业建筑能源审计程序”(ASHRAE Procedures for Commercial Building Energy Audits) 或类似程序中明确的 ASHRAE 初步能源使用分析要求和 ASHRAE 第 1 级初步评估要求执行能源审计。 |
| 75391b6af80-2235-4364-b8be-5a13f28cd9cf | Translated (100%) | Prepare and maintain a current facilities requirements and operations and maintenance plan that contains the information necessary to operate the building efficiently. | 准备并维护包含高效运营建筑所需信息的当前设施要求以及运营和维护计划。 |
| 75491b6af80-2235-4364-b8be-5a13f28cd9cf | Translated (100%) | The plan must include the following: | 计划必须包括： |
| 755b02497a0-0b1c-42e6-92f3-6d656f3e1c26 | Translated (0%) | a current sequence of operations for the building; | 建筑当前的运营顺序； |
| 7567443d094-814e-4882-a66b-842d6b2a0b43 | Translated (100%) | the building occupancy schedule; | 建筑入驻安排； |
| 7571ba08622-a3cc-483f-8846-9593b1509aaf | Translated (100%) | equipment run-time schedules; | 设备运行时间安排； |
| 75837f8db80-0ae0-4a1e-b4c2-fb2ab53b8599 | Translated (100%) | setpoints for all HVAC equipment; | 所有暖通空调设备的设定温度； |
| 759139242cd-3226-4b2b-b5d1-b5201f7bd856 | Translated (79%) | setpoints for lighting levels throughout the building; | 建筑中照明水平的设定点； |
| 760cf036f9c-17a3-41a6-bd6a-7e514c94ac21 | Translated (100%) | minimum outside air requirements; | 室外空气最低要求； |
| 7618ae765af-8237-4b72-9048-f7b953638ba0 | Translated (100%) | any changes in schedules or setpoints for different seasons, days of the week, and times of day; | 不同季节、日期、时间的时间表或设定点的任何变化。 |
| 7622e300ef5-6ba9-4482-bb7f-a995c0907ea5 | Translated (78%) | a systems narrative describing the mechanical and electrical systems and equipment in the building; and | 介绍建筑中机械和电气系统及设备的系统描述；以及 |
| 7636e3c0b02-5c6a-41b6-94de-adeec3e5e0e5 | Translated (94%) | a preventive maintenance plan for building equipment described in the systems narrative. | 系统描述中所述建筑设备的预防性维护计划。 |
| 7643acf8b8f-15b2-4426-9ec0-c6f35004f336 | Translated (100%) | Data Centers | 数据中心 |
| 76569e60498-62b6-4857-9d75-dd075a5b6591 | Translated (0%) | Use the U.S. Department of Energy’s DC PRO Profiling Tool to perform a preliminary assessment of energy consumption in data center spaces for critical systems. | 使用美国能源部的 DC PRO 性能分析工具对关键系统的数据中心空间中的能耗执行初步评估。 |
| 7663ae72d03-f0c8-42f9-9b8e-afda5fad40be | Translated (100%) | PERFORMANCE | 运行 |
| 767277bcb58-9eb8-4593-9660-6bb1802510df | Translated (100%) | None. | 无。 |
| 7689c1d4bb8-c991-4360-946f-b38cc605202f | Translated (100%) | EA Prerequisite: Minimum Energy Performance | EA 先决条件：最低能源表现 (Minimum Energy Performance) |
| 76994c0b7fd-937e-448b-a162-5c816bf260ad | Translated (CM) | Required | 必要项 |
| 770847ff911-ce7d-49a9-b2bf-a90cc2442d46 | Translated (100%) | EB:O&M | EB:O&M |
| 7719529d028-c1f1-4aa7-b187-1bec99c7ea44 | Translated (100%) | This prerequisite applies to | 该先决条件适用于 |
| 772c81079ed-8384-4dd9-9ce4-411ca497932e | Translated (100%) | Existing Buildings: Operations & Maintenance | 既有建筑：运营与维护 |
| 7736a4a908e-5c1a-4ea6-8f10-8ae612578598 | Translated (100%) | EB:O&M Schools | EB:O&M 学校 |
| 7743e66253a-a1e6-41da-8ae8-9c3e874adb5c | Translated (100%) | EB:O&M Retail | EB:O&M 零售 |
| 775367b54cc-f11a-47b8-8556-64db939bf89d | Translated (100%) | EB:O&M Data Centers | EB:O&M 数据中心 |
| 776248d6359-d64b-4ee6-8c4b-224e95993040 | Translated (100%) | EB:O&M Hospitality | EB:O&M 宾馆接待 |
| 7774b1e0434-c835-4c77-a568-52b0459ffcf7 | Translated (100%) | EB:O&M Warehouses & Distribution Centers | EB:O&M 仓储和配送中心 |
| 77825b4d92b-eb88-4a02-b962-aff57b6dd4f6 | Translated (100%) | Intent | 目的 |
| 779fac271d3-2e24-4163-ac27-2fe9cb988651 | Translated (0%) | To reduce the environmental and economic harms associated with excessive energy use by establishing a minimum level of operating energy performance. | 确立最低水平的运营能源表现，减少与过度使用能源相关的环境和经济危害。 |
| 78070b5387c-1131-4b19-88cd-a32849c89024 | Translated (100%) | Requirements | 要求 |
| 7815e1cc0e3-4e2c-4757-97f5-a5090429eb69 | Translated (100%) | EBOM, Schools, Retail, Data Centers, Hospitality, Warehouses & Distribution Centers | EBOM、学校、零售、数据中心、宾馆接待、仓储和配送中心 |
| 78277981559-fef2-49af-82c6-fcfe3a8bcd26 | Translated (100%) | ESTABLISHMENT | 建立 |
| 78396eb58b7-6bd2-4476-99b7-bf8dfb968371 | Translated (0%) | Calibrate meters within the manufacturer’s recommended interval if the building owner, management organization, or tenant owns the meter. | 如果建筑业主、管理组织或租户拥有仪表，则按照制造商建议的时间间隔对仪表进行校准。 |
| 78496eb58b7-6bd2-4476-99b7-bf8dfb968371 | Translated (100%) | Meters owned by third parties (e.g., utilities or governments) are exempt. | 第三方（如公用事业公司或政府）拥有的仪表除外。 |
| 78581be7433-ecdf-49ef-a298-58217ee29219 | Translated (100%) | PERFORMANCE | 运行 |
| 7866d41b843-bc13-4abf-9ee0-5c2fccaa2086 | Translated (0%) | Meter the building’s energy use for a full 12 months of continuous operation and achieve the levels of efficiency set forth in the options below. | 计量建筑全部 12 个月连续运营的能源使用情况，并达到以下选项中规定的效率等级。 |
| 7876d41b843-bc13-4abf-9ee0-5c2fccaa2086 | Translated (100%) | Each building’s energy performance must be based on actual metered energy consumption for both the LEED project building(s) and all comparable buildings used for the benchmark. | 每栋建筑的能效都必须基于 LEED 项目建筑和基准中使用的所有类似建筑实际测得的能源消耗量。 |
| 788cc72a5d0-5c9d-4699-953a-85ab59c01ca5 | Translated (0%) | Case 1. | 情况 1. |
| 789cc72a5d0-5c9d-4699-953a-85ab59c01ca5 | Translated (0%) | ENERGY STAR Rating | “能源之星”(ENERGY STAR) 等级 |
| 790cfebc9b8-689e-4243-8440-0e8dbad45c3e | Translated (75%) | For buildings eligible to receive an energy performance rating using the Environmental Protection Agency (EPA) ENERGY STAR<812>®</812> Portfolio Manager tool, achieve an energy performance rating of at least 75. | 对于符合条件可以使用环保局 (EPA) 能源之星®数据管理器 (ENERGY STAR<812>®</812> Portfolio Manager) 工具获得能效等级的建筑，达到至少 75 的能效等级。 |
| 791cfebc9b8-689e-4243-8440-0e8dbad45c3e | Translated (100%) | For projects outside the U.S., consult ASHRAE/ASHRAE/IESNA Standard 90.1–2010, Appendixes B and D, to determine the appropriate climate zone. | 美国以外的项目可以参考 ASHRAE/ASHRAE/IESNA 标准 90.1-2010 附录 B 和 D 来确定合适的气候区。 |
| 79248904339-1676-47e1-a5f7-e87d9bea3728 | Translated (100%) | Case 2. | 情况 2. |
| 79348904339-1676-47e1-a5f7-e87d9bea3728 | Translated (76%) | Projects Not Eligible for ENERGY STAR Rating | 不符合“能源之星”(ENERGY STAR) 等级评估条件的项目 |
| 7949e7070d4-f320-4917-93c0-568d79d5b946 | Translated (0%) | Projects not eligible to use EPA’s rating system may compare their buildings’ energy performance with that of comparable buildings, using national averages or actual buildings, or with the previous performance of the project building. | 对于没有资格使用 EPA 等级系统条件的项目，可以使用实际建筑的全国平均值或项目建筑之前的性能来比较其建筑能效与类似建筑的能效。 |
| 795ceb145f3-10ad-40d8-bdad-dbbb165e30aa | Translated (100%) | Option 1. | 选项 1. |
| 796ceb145f3-10ad-40d8-bdad-dbbb165e30aa | Translated (0%) | Benchmark against Typical Buildings | 针对典型建筑进行基准测试 |
| 7977239f6a6-3a56-43f9-bf09-be58ecad472d | Translated (100%) | Path 1. | 途径 1. |
| 7987239f6a6-3a56-43f9-bf09-be58ecad472d | Translated (0%) | National Average Data Available | 全国数据平均值可用 |
| 79927a2b8f3-61bb-42b0-a47b-f8a9ae5b25ab | Translated (0%) | Demonstrate energy efficiency performance that is 25% better than the median energy performance of similar buildings by benchmarking against the national source energy data provided in the Portfolio Manager tool. | 通过根据数据管理器工具中提供的全国能源数据进行基准测试，证明能效表现与类似建筑的能源表现平均值相比高出 25%。 |
| 8001e8e2684-0a42-4d25-85b9-db3383c44e27 | Translated (100%) | Path 2. | 途径 2. |
| 8011e8e2684-0a42-4d25-85b9-db3383c44e27 | Translated (84%) | National Average Data Not Available | 全国数据平均值不可用 |
| 8027350e8ad-0a79-4d74-9e2c-6f06db570896 | Translated (0%) | If national average source energy data are unavailable for buildings of similar type, benchmark against the building site energy data of at least three similar buildings, normalized for climate, building use, and occupancy. | 如果类似建筑无可用的全国能源数据平均值，则根据至少三个对气候、建筑用途和入驻率进行了标准化的类似建筑的建筑场址能源数据进行基准测试。 |
| 8037350e8ad-0a79-4d74-9e2c-6f06db570896 | Translated (0%) | Demonstrate a 25% improvement. | 证明能源表现高出 25%。 |
| 80418b06842-bf54-4130-ba09-b085e0dd5f49 | Translated (100%) | OR | 或 |
| 8055e842dad-e309-4957-a7dc-de3a27e5a452 | Translated (100%) | Option 2. | 选项 2. |
| 8065e842dad-e309-4957-a7dc-de3a27e5a452 | Translated (0%) | Benchmark against Historical Data | 根据历史数据进行基准测试 |
| 8078f25b1ad-f3c7-4d27-a714-dcb428ef6ff4 | Translated (0%) | If national average source energy data are unavailable, compare the building’s site energy data for the previous 12 months with the data from three contiguous years of the previous five, normalized for climate, building use, and occupancy. | 如果全国能源数据平均值不可用，则将前 12 月的建筑场址能源数据与对气候、建筑用途和入驻率进行了标准化的前 5 年内连续三年的相应数据进行比较。 |
| 8088f25b1ad-f3c7-4d27-a714-dcb428ef6ff4 | Translated (100%) | Demonstrate a 25% improvement. | 证明能源表现高出 25%。 |
| 809e2eaf381-e8f6-4123-9c79-cf7ba70889c8 | Translated (73%) | EA Prerequisite: Building-Level Energy Metering | EA 先决条件：建筑整体能源计量 (Building-Level Energy Metering) |
| 810032737c4-a83e-4c01-a98b-be93897490bb | Translated (100%) | Required | 必要项 |
| 811abdd2f6a-646e-4cc0-81bd-1136cfe0db24 | Translated (100%) | EB:O&M | EB:O&M |
| 81266a774a4-9e6d-4886-a4b0-da733a94a710 | Translated (100%) | This prerequisite applies to | 该先决条件适用于 |
| 81306037ac2-816c-4c2f-b23e-2da39a44c3d8 | Translated (100%) | Existing Buildings: Operations & Maintenance | 既有建筑：运营与维护 |
| 814bc142013-0b54-4f94-ab31-3018397946ce | Translated (100%) | EB:O&M Schools | EB:O&M 学校 |
| 815d64eb406-c33a-4480-aa2b-394cb3b013d3 | Translated (100%) | EB:O&M Retail | EB:O&M 零售 |
| 81649ef50b3-66ef-4bb8-9683-10e6945b34ac | Translated (100%) | EB:O&M Data Centers | EB:O&M 数据中心 |
| 817f30a2fe0-4191-4a26-83d9-31f64d877f85 | Translated (100%) | EB:O&M Hospitality | EB:O&M 宾馆接待 |
| 818321e285e-cafb-417c-8d93-2e982334932b | Translated (100%) | EB:O&M Warehouses & Distribution Centers | EB:O&M 仓储和配送中心 |
| 819fda7cfd6-5818-494d-b962-d529509ac086 | Translated (100%) | Intent | 目的 |
| 8208bb220e3-af6b-4921-a71d-e7d72031c180 | Translated (92%) | To support energy management and identify opportunities for additional energy savings by tracking building-level energy use. | 通过跟踪建筑级的能耗来支持能源管理并确定节省更多能源的机会。 |
| 8215e69d006-4a3c-4eb6-bde3-c328738a7d28 | Translated (100%) | Requirements | 要求 |
| 822b293e1ff-b1cd-4f63-bc4d-d07eca8dece8 | Translated (100%) | EBOM, Schools, Retail, Data Centers, Hospitality, Warehouses & Distribution Centers | EBOM、学校、零售、数据中心、宾馆接待、仓储和配送中心 |
| 82394de81af-0829-4cf0-b2ff-7ef64df1d004 | Translated (100%) | ESTABLISHMENT | 建立 |
| 824c6cfccb4-c0c1-4e7e-84e3-88a7482e5a16 | Translated (74%) | Install new or use existing building-level energy meters or submeters that can be aggregated to provide building-level data representing total building energy consumption (electricity, natural gas, chilled water, steam, fuel oil, propane, etc). | 新装或使用既有的建筑级别的能源表或可进行合计的分表来提供建筑级别的数据，以推算建筑的总能耗（电力、天然气、冷却水、蒸汽、燃油、丙烷等）。 |
| 825c6cfccb4-c0c1-4e7e-84e3-88a7482e5a16 | Translated (0%) | Utility-owned meters capable of aggregating building-level resource use are acceptable. | 可使用能够合计建筑级别资源用量的公用事业公司的仪表。 |
| 8267043af72-4267-40df-9336-0dba1fdc5b66 | Translated (100%) | PERFORMANCE | 运行 |
| 8272ff61c41-be0c-4b56-a9c9-49bb0772b6ea | Translated (0%) | Compile meter data into monthly and annual summaries; meter readings can be manual or automated. | 将仪表数据整理到月度和年度汇总中；仪表读数可以是手动或自动化的。 |
| 828209130e0-408a-461c-8b6a-54d928dbf055 | Translated (87%) | Commit to sharing with USGBC the resulting energy consumption data and electrical demand data (if metered) for a five-year period beginning on the date the project accepts LEED certification or typical occupancy, whichever comes first. | 承诺在从项目接受 LEED 认证或典型入驻（以较早者为准）开始的 5 年内与 USGBC 分享得到的能耗数据和电力需求数据（如果已计量）。 |
| 829209130e0-408a-461c-8b6a-54d928dbf055 | Translated (100%) | At a minimum, energy consumption must be tracked at one-month intervals. | 能耗至少需要每月跟踪一次。 |
| 8306d9a333c-b3bb-47d0-b9c3-1d1579fca7c1 | Translated (100%) | This commitment must carry forward for five years or until the building changes ownership or lessee. | 该承诺必须执行 5 年，或者直至建筑变更所有权或承租人。 |
| 831e6562a35-e691-423c-9716-961e5e0fdba1 | Translated (100%) | EA Prerequisite: Fundamental Refrigerant Management | EA 先决条件: 基础冷媒管理 (Fundamental Refrigerant Management) |
| 8320894f782-fa9a-4d23-93a9-a5292a211989 | Translated (CM) | Required | 必要项 |
| 83350fe1b81-9e1f-432c-9295-fdec894c8d26 | Translated (100%) | EB:O&M | EB:O&M |
| 834931d0e6a-8354-4ab5-b04c-c927653fe5c9 | Translated (100%) | This prerequisite applies to | 该先决条件适用于 |
| 8353c52e991-2adb-4d67-85b2-3ab6ca4e0c6e | Translated (100%) | Existing Buildings: Operations & Maintenance | 既有建筑：运营与维护 |
| 8368ce21ed6-9205-4e7a-978d-552d0b778dac | Translated (100%) | EB:O&M Schools | EB:O&M 学校 |
| 837efda33a2-3d94-47c5-bf40-a21c9a32b486 | Translated (100%) | EB:O&M Retail | EB:O&M 零售 |
| 8380578a9c7-e3ff-4346-a703-cd2c6e04fed8 | Translated (100%) | EB:O&M Data Centers | EB:O&M 数据中心 |
| 8399993756c-0c53-4c1a-a1fb-5fc685fdc9e6 | Translated (100%) | EB:O&M Hospitality | EB:O&M 宾馆接待 |
| 8409ff8beaf-be09-4bc0-a898-f33859a72fce | Translated (100%) | EB:O&M Warehouses & Distribution Centers | EB:O&M 仓储和配送中心 |
| 8410ef66292-95af-4f9b-aff6-589fbcf5038c | Translated (100%) | Intent | 目的 |
| 842937b2936-d8ab-4fe3-8ae0-ecd0edc48cc7 | Translated (100%) | To reduce stratospheric ozone depletion. | 减少对平流层臭氧的消耗。 |
| 843aa7bc41f-639a-48c3-8dcc-dc7688dc56bf | Translated (100%) | Requirements | 要求 |
| 8448faccdc2-6749-42ee-b87b-597cdbf894c0 | Translated (100%) | EBOM, Schools, Retail, Data Centers, Hospitality, Warehouses & Distribution Centers | EBOM、学校、零售、数据中心、宾馆接待、仓储和配送中心 |
| 8453474902a-b2c9-4da6-9505-bd1ae4fe4420 | Translated (100%) | ESTABLISHMENT | 建立 |
| 8460d01c493-b84a-4ef0-b5dd-9c7dac2dac5f | Translated (85%) | Do not use chlorofluorocarbon (CFC)-based refrigerants in heating, ventilating, air-conditioning, and refrigeration (HVAC&R) systems unless a third-party audit shows that system replacement or conversion is not economically feasible or unless a phase-out plan for CFC-based refrigerants is in place. | 在供暖、通风、空调和制冷 (HVAC&R) 系统中，不使用含氯氟化碳 (CFC) 的制冷剂，除非第三方审计表明系统更换或转换在经济上不可行，或已制定针对含 CFC 的制冷剂的淘汰计划。 |
| 8470d01c493-b84a-4ef0-b5dd-9c7dac2dac5f | Translated (0%) | Phase-out plans should be scheduled for completion within 10 years. | 淘汰计划应预计在 10 年内完成。 |
| 8480d01c493-b84a-4ef0-b5dd-9c7dac2dac5f | Translated (83%) | The replacement or conversion of HVAC&R equipment is considered not economically feasible if the simple payback of the replacement or conversion is greater than 10 years. | 如果 HVAC&R 设备更换或转换的简单回收期超过 10 年，那么这种更换或转换将被认为是在经济上不可行的。 |
| 8490d01c493-b84a-4ef0-b5dd-9c7dac2dac5f | Translated (0%) | Perform the following economic analysis: | 执行以下经济分析： |
| 850ae4015cc-6a2d-492d-a402-e48088f8f916 | Translated (96%) | Simple payback = | 简单回收期 = |
| 851664ee019-2f9f-46cd-a80a-d887837cb1ae | Translated (0%) | Cost of replacement or conversion | 更换或转换成本 |
| 85263aec62b-01e7-4ca4-92f9-33bd18538720 | Translated (0%) | > 10 | > 10 |
| 8535bc08c85-f55b-4952-9258-2996c42d2330 | Translated (0%) | Resulting annual energy cost difference | 产生的年度能源成本差异 |
| 854e38d6f04-8270-482c-afc2-0bf10325e8da | Translated (100%) | + | + |
| 8557927c781-8eac-497d-afd1-23f2abdb8e6a | Translated (0%) | Resulting annual maintenance and refrigerant cost difference | 产生的年度维护和制冷成本差异 |
| 856a060231e-2e1b-4d83-9792-9f810631ef34 | Translated (83%) | If CFC-based refrigerants are maintained in the building, reduce annual leakage to 5% or less using the procedures in the Clean Air Act, Title VI, Rule 608, governing refrigerant management and reporting (or a local equivalent for projects outside the U.S.), and reduce the total leakage over the remaining life of the unit to less than 30% of its refrigerant charge. | 如果建筑中保留有含 CFC 的制冷剂，请使用针对制冷剂管理和报告的“清洁空气法案，第 4 章，第 608 条”(Clean Air Act, Title VI, Rule 608) 程序（美国以外的项目为当地对应的程序）将年泄漏率降至 5% 或更低，并将装置剩余使用寿命的总泄漏量降至不足制冷剂容量的 30%。 |
| 85767f0c61c-a9de-4302-811d-d07c69dcde4c | Translated (80%) | Small HVAC&R units (defined as containing less than 0.5 pound [225 grams] of refrigerant), standard refrigerators, small water coolers, and any other cooling equipment that contains less than 0.5 pound (225 grams) of refrigerant are exempt. | 小 HVAC&R 装置（定义为含有不足 0.5 磅 [225 克] 的制冷剂）、标准冰箱、小型水冷却器和其他任何含有不足 0.5 磅（225 克）制冷剂的冷却设备被排除在外。 |
| 858e67b5300-b19a-49a6-b017-5c4305260755 | Translated (100%) | PERFORMANCE | 运行 |
| 8597c184500-7da6-4add-93d5-3a28e59439ef | Translated (100%) | None. | 无。 |
| 860627a0ee7-cbfc-468e-8341-8d3c16c33cd5 | Translated (0%) | EA Credit: Existing Building Commissioning—Analysis | EA 得分点：既有建筑调试—分析 (Existing Building Commissioning—Analysis) |
| 861d35f8157-60a2-4f29-8d66-d72740b5aaa1 | Translated (100%) | EB:O&M | EB:O&M |
| 862dc5ba13a-145a-445e-89aa-274c38203742 | Translated (100%) | 2 points | 2 分 |
| 86327848afa-da07-4f6d-8cc4-53195c37aafa | Translated (100%) | This credit applies to | 该得分点适用于 |
| 86425dfea0e-34e5-426f-9440-1bd838ff0cea | Translated (0%) | Existing Buildings: Operations & Maintenance (2 point) | 既有建筑：运营与维护（2 分） |
| 86556e10e7d-90e7-47d4-95e6-53dfae4e43dc | Translated (100%) | EB:O&M Schools (2 point) | EB:O&M 学校（2 分） |
| 86635614995-8d4f-4251-be86-c5d20b9e9396 | Translated (100%) | EB:O&M Retail (2 point) | EB:O&M 零售（2 分） |
| 867c31a6464-bbc3-405b-a0a7-4793ca8c21d4 | Translated (100%) | EB:O&M Data Centers (2 point) | EB:O&M 数据中心（2 分） |
| 8688ba666b2-fe79-46c9-9d74-35e06ac0dc1e | Translated (100%) | EB:O&M Hospitality (2 point) | EB:O&M 宾馆接待（2 分） |
| 8693088d8c1-562d-4bc4-9bd5-1442f1c48a99 | Translated (100%) | EB:O&M Warehouses & Distribution Centers (2 point) | EB:O&M 仓储和配送中心（2 分） |
| 8706af945cc-2ff1-40b0-a3f3-96bf92193cf5 | Translated (100%) | Intent | 目的 |
| 8718bd02986-c356-4bb3-abac-c9c4163bfb09 | Translated (0%) | To use the existing building commissioning process to improve building operations, energy, and resource efficiency. | 使用既有建筑调试过程，来提高建筑运营、能源和资源效率。 |
| 872ef8ba3c9-db33-41b3-b201-a3716d40291b | Translated (100%) | Requirements | 要求 |
| 8730b779621-7ebe-41f2-9a0b-657176b9da4d | Translated (100%) | EBOM, Schools, Retail, Data Centers, Hospitality, Warehouses & Distribution Centers | EBOM、学校、零售、数据中心、宾馆接待、仓储和配送中心 |
| 874e0aefb9a-7db4-4a45-9f11-81a3d090b54e | Translated (CM) | ESTABLISHMENT | 建立 |
| 8750430f688-7d16-4d19-b969-2f96bbe2316b | Translated (0%) | Evaluate the current performance of the project building against the performance specifications in the current facilities requirements and the operations and maintenance plan. | 根据当前设施要求及运营和维护计划中的性能规范来评估项目建筑的当前性能。 |
| 8766fd2ff3c-03ce-40e7-b4bb-198a8d18a4e4 | Translated (0%) | Identify the systems and components in the facility to be investigated and analyzed as part of the existing building commissioning or energy auditing process. | 确定要在既有建筑调试或能源审计过程中调查和分析的设施中的系统和组件。 |
| 8776fd2ff3c-03ce-40e7-b4bb-198a8d18a4e4 | Translated (0%) | Provide a breakdown of estimated resource use for each of these systems. | 针对其中每个系统提供预计资源使用明细。 |
| 878fcc055c8-c9fd-4889-a37e-92c90db04452 | Translated (100%) | Option 1. | 选项 1. |
| 879fcc055c8-c9fd-4889-a37e-92c90db04452 | Translated (100%) | Existing Building Commissioning | 既有建筑调试 |
| 8807e261f5f-7f63-4bdc-88c1-f3bf7634f89e | Translated (0%) | Develop an existing building commissioning plan to effectively inventory and evaluate specific opportunities within the systems being analyzed. | 制定既有建筑调试计划，以便对要分析的系统内的特定机会进行有效地存量计算和评估。 |
| 8817e261f5f-7f63-4bdc-88c1-f3bf7634f89e | Translated (0%) | The commissioning plan must include the following: | 调试计划必须包括： |
| 88236e1d02e-91ba-46b6-a2f9-b8fb09f8384a | Translated (0%) | updated current facilities requirements; | 已更新的当前设施要求； |
| 8830ff0b8da-3cc0-431d-a0e3-457c1b845312 | Translated (0%) | the commissioning team members and their roles and responsibilities during the commissioning process; | 调试团队成员及其在调试过程中的角色和职责； |
| 8848672eada-889a-4d56-8ae7-44adbaf7bdab | Translated (0%) | a description of the approach for identifying and analyzing facility improvement opportunities; | 针对用于确定和分析设施改进机会的方法的说明； |
| 885c5d51e7c-804d-4a30-87d1-293017b0d87a | Translated (0%) | the process for reviewing and prioritizing identified opportunities with the owner and developing an implementation plan; | 与业主一起审查确定的机会并区分其优先顺序以及制定实施计划的过程； |
| 886e143eb23-8249-4bbf-ae2f-f4eacd48774d | Translated (0%) | the format and content of the eventual deliverables from the commissioning process; and | 调试过程的最终可交付成果的格式和内容；以及 |
| 8879e31c5ec-77a7-4aae-b3d0-3e68e55edcd9 | Translated (100%) | the proposed schedule. | 拟议时间表。 |
| 8886fb3cc4a-4fdf-4207-9724-cf0e057535d2 | Translated (100%) | Option 2. | 选项 2. |
| 8896fb3cc4a-4fdf-4207-9724-cf0e057535d2 | Translated (0%) | Energy Audit | 能源审计 |
| 89052ab1ad2-2a0a-4ec4-b4e9-a41b038a7c5a | Translated (0%) | Develop an energy audit plan following the requirements of ASHRAE Level 2, Energy Survey and Analysis, to evaluate efficiency opportunities. | 根据“ASHRAE 第 2 级，能源调查与分析” (ASHRAE Level 2, Energy Survey and Analysis) 的要求执行能源审计计划，以评估节能机会。 |
| 89152ab1ad2-2a0a-4ec4-b4e9-a41b038a7c5a | Translated (0%) | The audit plan must include the following: | 审计计划必须包括： |
| 89233a8179f-f927-4217-ae64-985d889cd487 | Translated (90%) | the audit team members and their roles and responsibilities during the audit process; | 审计团队成员及其在审计过程中的角色和职责； |
| 893b061b732-44bb-47f9-99cc-4fd35d13c132 | Translated (100%) | a description of the approach for identifying and analyzing facility improvement opportunities; | 针对用于确定和分析设施改进机会的方法的说明； |
| 894cef44834-ada3-4559-805a-608b5bdf43a6 | Translated (100%) | the process for reviewing and prioritizing identified opportunities with the owner and developing an implementation plan; | 与业主一起审查确定的机会并区分其优先顺序以及制定实施计划的过程； |
| 895009a8d3e-da06-4e9c-b876-88a78a5ea452 | Translated (95%) | the format and content of the eventual deliverables from the audit process; and | 审计过程的最终可交付成果的格式和内容；以及 |
| 896872a94f3-9717-4656-8dd3-25002ad56bb0 | Translated (0%) | the proposed schedule. | 拟议时间表。 |
| 897fe9e2178-f782-4569-a2ab-cc4e4537ca9d | Translated (100%) | PERFORMANCE | 运行 |
| 898909e55d2-5f52-4299-829f-876c97ab11ce | Translated (0%) | Apply the requirements below to all direct energy-consuming or energy-producing systems, including lighting, process loads, HVAC&R, domestic water heating, and renewable energy. | 将以下要求应用于所有直接耗能或产能系统，包括照明、工艺负载、HVAC&R、生活用水加热和可再生能源。 |
| 899d7300915-4c10-4b57-b511-d298fd495d0c | Translated (0%) | Update the systems and components to be addressed as part of the existing building commissioning or energy auditing process. | 更新要在既有建筑调试或能源审计过程中涉及的系统和组件。 |
| 900d7300915-4c10-4b57-b511-d298fd495d0c | Translated (100%) | Provide a breakdown of estimated resource use for each of these systems. | 针对其中每个系统提供预计资源使用明细。 |
| 90170b74f0f-46f6-4870-834b-3206f9153b7d | Translated (100%) | Option 1. | 选项 1. |
| 90270b74f0f-46f6-4870-834b-3206f9153b7d | Translated (100%) | Existing Building Commissioning | 既有建筑调试 |
| 90374e993f0-cae1-40c2-8045-ef1c99a8a0ab | Translated (0%) | Update and execute the existing building commissioning plan. | 更新和执行既有建筑调试计划。 |
| 904f4f28b1d-b580-4a3f-8ba9-e546590fe0e9 | Translated (100%) | Option 2. | 选项 2. |
| 905f4f28b1d-b580-4a3f-8ba9-e546590fe0e9 | Translated (100%) | Energy Audit | 能源审计 |
| 9065af325bc-0fa3-45b7-8e15-9420085ed8d6 | Translated (0%) | Update and execute the energy audit plan following the requirements of ASHRAE Level 2, Energy Survey and Analysis. | 根据“ASHRAE 第 2 级，能源调查与分析”(ASHRAE Level 2, Energy Survey and Analysis) 的要求更新和执行能源审计计划。 |
| 907c358c8e2-131d-4b00-a97f-4729b5b0787f | Translated (0%) | For each opportunity, describe the potential improvement, estimated implementation costs, and anticipated savings. | 针对每个机会，描述潜在的改善、预计的实施成本和预期的节约费用。 |
| 9087f674541-d819-420e-9a61-6a78da8251ee | Translated (74%) | Data Centers only | 仅限数据中心 |
| 909d81bb3e2-489f-42d8-b583-4c38595fc839 | Translated (0%) | In addition to the requirements above, data centers must use the Department of Energy’s Save Energy Now Program’s on-line DC Pro Energy Assessment Tools for data center critical systems. | 除了以上要求之外，数据中心还必须对数据中心关键系统使用美国能源部“立即节能计划”(Save Energy Now Program) 的在线 DC Pro 能源评估工具。 |
| 9108941f85d-8a1f-4f64-8934-edd145e72807 | Translated (87%) | EA Credit: Existing Building Commissioning—Implementation | EA 得分点：既有建筑调试—实施 (Existing Building Commissioning—Implementation) |
| 91118a213b5-d0c9-41e4-9989-b9bf7fa9527d | Translated (100%) | EB:O&M | EB:O&M |
| 912f0637585-e9e3-4664-b3a7-b1f98df35efa | Translated (100%) | 2 points | 2 分 |
| 91371263746-56fd-4572-b8b9-340638df6a65 | Translated (100%) | This credit applies to | 该得分点适用于 |
| 91418cd7257-5523-431b-b39f-9267b8d6b0ec | Translated (100%) | Existing Buildings: Operations & Maintenance (2 points) | 既有建筑：运营与维护（2 分） |
| 915274a5266-f2be-41d0-8f5f-b982acf8b853 | Translated (100%) | EB:O&M Schools (2 points) | EB:O&M 学校（2 分） |
| 9162e9c944c-47ab-4731-be0b-73d158e46389 | Translated (100%) | EB:O&M Retail (2 points) | EB:O&M 零售（2 分） |
| 917262bd464-aa8f-4b20-b5bf-e2968fb6a131 | Translated (100%) | EB:O&M Data Centers (2 points) | EB:O&M 数据中心（2 分） |
| 918fecbdee1-e857-44d5-a809-63895140608a | Translated (100%) | EB:O&M Hospitality (2 points) | EB:O&M 宾馆接待（2 分） |
| 9199b80c0a1-cad1-4787-806e-62e2c28209dd | Translated (100%) | EB:O&M Warehouses & Distribution Centers (2 points) | EB:O&M 仓储和配送中心（2 分） |
| 920b83c2036-e845-45f7-b1c5-7d95a74884cd | Translated (100%) | Intent | 目的 |
| 92153f1885b-6d49-4473-a56d-532b73cff22b | Translated (99%) | To use the existing building commissioning process to improve building operations, energy and resource efficiency. | 使用既有建筑调试过程，来提高建筑运营、能源和资源效率。 |
| 9228a29a092-cbbc-46ff-a44f-3b965798eecf | Translated (100%) | Requirements | 要求 |
| 9233dc26c58-a0f9-4847-bd8d-1e8b48ac20a4 | Translated (100%) | EBOM, Schools, Retail, Data Centers, Hospitality, Warehouses & Distribution Centers | EBOM、学校、零售、数据中心、宾馆接待、仓储和配送中心 |
| 9241baeb4f7-e8de-40c4-98f0-7de991c2595e | Translated (100%) | ESTABLISHMENT | 建立 |
| 925b6b5d8c1-2531-4eae-84fe-3a17c40fde5c | Translated (0%) | Meet the requirements of EA Credit Existing Building Commissioning—Analysis. | 满足 EA 得分点：既有建筑调试—分析 (Existing Building Commissioning—Analysis) 的要求。 |
| 926e492ecc1-d44f-43f8-a5e1-482536047843 | Translated (100%) | PERFORMANCE | 运行 |
| 92798c0a998-7715-4a42-a81b-461d65c9a9b2 | Translated (100%) | Apply the requirements below to all direct energy-consuming or energy-producing systems, including lighting, process loads, HVAC&R, domestic water heating, and renewable energy. | 将以下要求应用于所有直接耗能或产能系统，包括照明、工艺负载、HVAC&R、生活用水加热和可再生能源。 |
| 92866d9003d-e15f-4323-9f0f-d200076562a0 | Translated (0%) | Implement no- or low-cost operational improvements and develop a five-year plan for equipment replacement and major modifications or upgrades based on the analysis phase. | 实施零成本或低成本的运营改善措施，并基于分析阶段为设备更换和重大改造或升级制定五年计划。 |
| 92945335ff1-c157-457a-91ea-fd5e99fade8b | Translated (0%) | Confirm training of building operations staff so that they can efficiently operate all new or substantially altered building equipment or systems. | 确认培训建筑运营员工，以便他们可以有效地运营所有新的或显著改变的建筑设备或系统。 |
| 9303acd95ad-1772-488f-8677-dd1bbbdddac2 | Translated (0%) | Develop a tracking and verification program for all projects implemented as part of the existing building commissioning process. | 为既有建筑调试过程中实施的所有项目制定跟踪和验证计划。 |
| 9313acd95ad-1772-488f-8677-dd1bbbdddac2 | Translated (0%) | Note factors such as effectiveness, financial costs and benefits, and observed or estimated environmental and human health and comfort benefits. | 请注意一些因素，如有效性、财务成本和效益、观察或估计的环境和人的健康及舒适效益。 |
| 932bba3436c-a1b0-4011-a31a-86a7f6438a19 | Translated (0%) | Update the operations and maintenance plan and the current facilities requirements to incorporate the newly implemented improvements. | 更新运营与维护计划和当前设施要求，以整合新实施的改善措施。 |
| 93311f42287-ce50-4f0d-9b56-066d2937c6fb | Translated (83%) | EA Credit: Ongoing Commissioning | EA 得分点：持续调试 (Ongoing Commissioning) |
| 9340df1c0ae-8a2e-4fab-8cff-bcf54464745d | Translated (100%) | EB:O&M | EB:O&M |
| 935395f8b56-653b-4bf5-94b2-2694cdc889fc | Translated (100%) | 3 points | 3 分 |
| 936f5815e14-9743-424d-8930-f1ff3074fe15 | Translated (100%) | This credit applies to | 该得分点适用于 |
| 937e00f608e-4e22-4f96-ad4b-cb5efc54aa1f | Translated (100%) | Existing Buildings: Operations & Maintenance (3 points) | 既有建筑：运营与维护（3 分） |
| 938d9779a85-bd15-4832-82b8-1683a9e16486 | Translated (100%) | EB:O&M Schools (3 points) | EB:O&M 学校（3 分） |
| 9393a7daaa3-7a36-4789-94b7-8f2fed10bd2c | Translated (100%) | EB:O&M Retail (3 points) | EB:O&M 零售（3 分） |
| 940bb2b4c75-f109-45b1-ba5a-c8330b36d498 | Translated (100%) | EB:O&M Data Centers (3 points) | EB:O&M 数据中心（3 分） |
| 941743b3b95-683f-4448-81bf-8630ce6c2605 | Translated (100%) | EB:O&M Hospitality (3 points) | EB:O&M 宾馆接待（3 分） |
| 9421055ce26-192d-49ce-9793-3310135c823a | Translated (100%) | EB:O&M Warehouses & Distribution Centers (3 points) | EB:O&M 仓储和配送中心（3 分） |
| 943b715756c-cf4e-415b-8426-c6d7b4694a87 | Translated (100%) | Intent | 目的 |
| 944411ae2b1-b514-4796-8942-00c203f5a08d | Translated (100%) | To use the existing building commissioning process to improve building operations, energy, and resource efficiency. | 使用既有建筑调试过程，来提高建筑运营、能源和资源效率。 |
| 94569ccfecc-4186-4d45-87c0-4bfa1cf87c09 | Translated (100%) | Requirements | 要求 |
| 94625a91fdd-f950-4ca1-b3de-bdaf9ec712d7 | Translated (100%) | EBOM, Schools, Retail, Data Centers, Hospitality, Warehouses & Distribution Centers | EBOM、学校、零售、数据中心、宾馆接待、仓储和配送中心 |
| 94725b670db-fbbf-4d45-9fb6-c668e777a983 | Translated (100%) | ESTABLISHMENT | 建立 |
| 948a478118b-349e-47fc-a2fa-25d43c179a64 | Translated (0%) | Meet the requirements of EA Credit Existing Building Commissioning–Analysis and EA Credit Existing Building Commissioning–Implementation. | 满足 EA 得分点：既有建筑调试—分析 (Existing Building Commissioning—Analysis) 和 EA 得分点：既有建筑调试—实施 (Existing Building Commissioning—Implementation) 的要求。 |
| 9497c72e81e-74c6-46f8-8239-343154c1c20d | Translated (76%) | Establish an ongoing commissioning process that includes planning, point monitoring, system testing, performance verification, corrective action response, ongoing measurement, and documentation to proactively address operating problems in the systems being commissioned. | 建立持续的调试过程，包括计划、分数监测、系统测试、性能验证、纠正措施反馈、持续测量和记录，从而能主动解决要调试的系统中的运营问题。 |
| 950a9fde6c2-8670-45f7-8a43-612398379710 | Translated (0%) | Develop an on-going commissioning plan that defines the following: | 制定持续调试计划，以定义以下内容： |
| 95118b15958-222d-4894-b8b6-13f2697f7e75 | Translated (100%) | roles and responsibilities; | 角色与职责； |
| 952ee9abee9-4932-45bc-b1d8-de45acb5ddba | Translated (100%) | measurement requirements (meters, points, metering systems, data access); | 测量要求（仪表、分数、计量系统、数据访问）； |
| 9539b9c7de9-2ddb-4789-8744-1e31987bc59e | Translated (100%) | the points to be tracked, with frequency and duration for trend monitoring; | 要跟踪的分数，以及趋势监测的频率和持续时间； |
| 954d69cfc4c-549e-41ca-9df5-455be105a13a | Translated (0%) | the limits of acceptable values for tracked points and metered values; | 可接受的跟踪分数和计量值限制； |
| 9558979988c-b5e6-4aca-8b65-7d9e6d1eabdb | Translated (0%) | the review process that will be used to evaluate performance; | 将用于评估性能的审查流程； |
| 956d82016b3-c3bb-4c6e-aadb-8e2036e87ded | Translated (99%) | an action plan for identifying and correcting operational errors and deficiencies | 确定和纠正运营错误和不足的行动计划； |
| 957f7d06033-1547-4476-bd91-9e80a944366e | Translated (100%) | planning for repairs needed to maintain performance; | 计划保持性能所需的维修； |
| 9580da1379e-2521-46ee-a4c8-845adece4ac2 | Translated (81%) | the frequency of analyses in the first year (at least quarterly); and | 第一年的分析频率（至少每季度）；以及 |
| 959c2a0a63b-89c0-48bc-b1fa-110c9312f48c | Translated (0%) | the subsequent analysis cycle (at least every 24 months). | 后续分析周期（至少每 24 个月）。 |
| 96065750200-7c85-41db-b065-148a7caa56da | Translated (100%) | PERFORMANCE | 运行 |
| 961733d2c3e-3e17-4859-a963-b9140c5ea1b2 | Translated (100%) | Apply the requirements below to all direct energy-consuming or energy-producing systems, including lighting, process loads, HVAC&R, domestic water heating, and renewable energy. | 将以下要求应用于所有直接耗能或产能系统，包括照明、工艺负载、HVAC&R、生活用水加热和可再生能源。 |
| 9628d0bff3b-9e9e-4bf9-be35-fed8153c0363 | Translated (100%) | Update the systems manual with any modifications or new settings, and give the reason for any modifications from the original design. | 更新系统手册，加入修改或新设置，并说明修改原设计的原因。 |
| 9638d0bff3b-9e9e-4bf9-be35-fed8153c0363 | Translated (0%) | Define methods for improving operations and maintenance. | 定义改善运营与维护的方法。 |
| 964373473f6-c4d2-4b8e-861b-46567e648fe6 | Translated (0%) | Include quarterly reports during the first year of implementation and annual reports on the performance of building systems. | 包括第一年实施期间的季度报告和有关建筑系统性能的年度报告。 |
| 965eba44fa6-c159-461e-9396-8d488d2b2c3f | Translated (0%) | Continue to update the facility’s operating and maintenance plan and current facilities requirements to reflect actual conditions and issue annual revisions of these documents. | 继续更新设施的运营与维护计划和当前设施要求以反映实际状况，并发行这些文档的年度修订版。 |
| 9665bbc1c4e-95c9-400b-b6d4-609e78d2ea47 | Translated (0%) | Only activities associated with ongoing commissioning completed within two years of the LEED application may be included to show progress. | 仅可包括在两年 LEED 申请期间完成的与持续调试相关的活动，以表明进度。 |
| 96747c00f3a-c23e-456b-ac69-6350617f8eaf | Translated (100%) | EA Credit: Optimize Energy Performance | EA 得分点：能源效率优化 (EA Credit: Optimize Energy Performance) |
| 968f6f86340-2fb9-4b9c-b383-f34cfefdafe1 | Translated (100%) | EB:O&M | EB:O&M |
| 9696ae30d37-8626-4faa-9068-17daf84f50e9 | Translated (100%) | 1–20 points | 1-20 分 |
| 97010e90c51-e654-4d3e-a746-d74762a8547b | Translated (100%) | This credit applies to | 该得分点适用于 |
| 9717673167f-e5a7-44c7-bd1d-44a04ca50a6f | Translated (100%) | Existing Buildings: Operations & Maintenance (1–20 points) | 既有建筑：运营与维护（1-20 分） |
| 9728084d2c5-46ca-4c2a-a311-cf00a078e713 | Translated (100%) | EB:O&M Schools (1–20 points) | EB:O&M 学校（1-20 分） |
| 9731836793a-9e96-49d5-85c1-827c38e2b010 | Translated (100%) | EB:O&M Retail (1–20 points) | EB:O&M 零售（1-20 分） |
| 9744e190d00-3c84-4d87-b5df-5793ca604e3b | Translated (100%) | EB:O&M Data Centers (1–20 points) | EB:O&M 数据中心（1-20 分） |
| 975188a0c4b-42c8-41bc-a9d5-32fbf035fbf5 | Translated (100%) | EB:O&M Hospitality (1–20 points) | EB:O&M 宾馆接待（1-20 分） |
| 976f4b86d7e-599b-4839-b8ae-3ff1258f9e93 | Translated (100%) | EB:O&M Warehouses & Distribution Centers (1–20 points) | EB:O&M 仓储和配送中心（1-20 分） |
| 977bfdf52ca-e6ce-4e9b-afd4-a3ae341ce3ce | Translated (100%) | Intent | 目的 |
| 978f9ef3859-a6e2-4cb9-b079-dcc2c3a3094c | Translated (85%) | To reduce environmental and economic harms associated with excessive energy use by achieving higher levels of operating energy performance | 实现较高水平的运营能源表现，减少与过度使用能源相关的环境和经济危害。 |
| 9797cb8e41b-2123-42ee-a2b2-b4b9ffe4cdc3 | Translated (100%) | Requirements | 要求 |
| 980f63f6ed6-b553-492d-9070-9ce137eb563f | Translated (100%) | EBOM, Schools, Retail, Data Centers, Hospitality, Warehouses & Distribution Centers | EBOM、学校、零售、数据中心、宾馆接待、仓储和配送中心 |
| 9817e7e1c3a-e663-4b95-b342-337b54b6412c | Translated (100%) | ESTABLISHMENT | 建立 |
| 982e453ee67-e15c-4b9a-9b39-ddaf1715ada5 | Translated (100%) | None. | 无。 |
| 98346cc3182-0f2c-4c88-83f9-4a93e0514b06 | Translated (100%) | PERFORMANCE | 运行 |
| 984d629b8bf-c24d-4484-be49-cbcb985ea4ba | Translated (0%) | Demonstrate increased energy efficiency or efficiency improvement beyond EA Prerequisite Minimum Energy Performance as described below. | 证明提高的能效或超出 EA 先决条件：最低能源表现 (Minimum Energy Performance) 的效率改进，如下所述。 |
| 985d629b8bf-c24d-4484-be49-cbcb985ea4ba | Translated (0%) | Each building must provide actual metered energy data. | 每个建筑必须提供实际计量的能源数据。 |
| 986d629b8bf-c24d-4484-be49-cbcb985ea4ba | Translated (94%) | A full 12 months of continuous energy data is required. | 需要全部 12 个月连续的能源数据。 |
| 9877f57f9fa-b55c-4b22-bae6-f3cfef1f5ff6 | Translated (100%) | . | . |
| 98870fdf225-5cc5-404d-8cb9-7f633389e913 | Translated (0%) | <888>C</888><889>ase</889><890> 1.</890> | <888></888>情况<890> 1.</890> |
| 98970fdf225-5cc5-404d-8cb9-7f633389e913 | Translated (72%) | ENERGY STAR Rating (3–20 points) | “能源之星”(ENERGY STAR) 等级（3-20 分） |
| 9903b29e814-31f6-41b3-95bd-25fe60ecba99 | Translated (72%) | For buildings eligible to receive an energy performance rating using the EPA ENERGY STAR’s Portfolio Manager tool, points are awarded for ENERGY STAR scores above 75, according to Table 1. | 对于符合条件可以使用 EPA 能源之星数据管理器 (ENERGY STAR Portfolio Manager) 工具获得能效等级的建筑，根据表 1 可获得 75 以上的“能源之星”(ENERGY STAR) 分数。 |
| 9913b29e814-31f6-41b3-95bd-25fe60ecba99 | Translated (100%) | For projects outside the U.S., consult ASHRAE/ASHRAE/IESNA Standard 90.1–2010, Appendixes B and D, to determine the appropriate climate zone. | 美国以外的项目可以参考 ASHRAE/ASHRAE/IESNA 标准 90.1-2010 附录 B 和 D 来确定合适的气候区。 |
| 992247d2c6a-82a7-4df9-b329-d4839e0f859d | Translated (100%) | Table 1. | 表 1. |
| 993247d2c6a-82a7-4df9-b329-d4839e0f859d | Translated (0%) | Points for ENERGY STAR performance ratings | “能源之星”(ENERGY STAR) 性能等级的分数 |
| 994a9f4fdc1-1c87-40ff-81c5-a06409e5ebea | Translated (97%) | ENERGY STAR rating | “能源之星”(ENERGY STAR) 等级 |
| 99537d30ada-2049-4b25-9478-96f2b6029686 | Translated (100%) | Points | 分数 |
| 996d6ffa57f-20e7-4c23-b5c2-8e91435cf01f | Translated (100%) | 76 | 76 |
| 9973bd2b165-487c-4dfc-a3c2-d662f6d71fb8 | Translated (100%) | 3 | 3 |
| 9987e5dcd73-3077-41f9-bc5d-6e824137f893 | Translated (100%) | 77 | 77 |
| 9995b177b7b-84f3-4ed7-87a1-49fbce9b1c22 | Translated (100%) | 4 | 4 |
| 1000417be189-f647-46d9-8b84-2df74a76f2dc | Translated (100%) | 78 | 78 |
| 1001d625cbfa-ce3e-4bc3-8cda-bd0b49433848 | Translated (100%) | 5 | 5 |
| 10024bc0fdc9-8828-4544-888c-9d82c7bd3d1b | Translated (100%) | 79 | 79 |
| 10031ac51fb6-55c3-4a70-a8a3-061473c55209 | Translated (100%) | 6 | 6 |
| 10046d455cbe-8838-4d1e-86b8-5305a77de891 | Translated (100%) | 80 | 80 |
| 1005d4711b89-f178-4139-897f-398d1d56365f | Translated (100%) | 7 | 7 |
| 1006d514b18b-fa75-4bd6-b687-31130bcd4663 | Translated (100%) | 81 | 81 |
| 10076a50550d-fc98-451b-b54b-f1d12c800921 | Translated (100%) | 8 | 8 |
| 100825337ac6-c99b-49df-a9f8-b5124479b32b | Translated (100%) | 82 | 82 |
| 10099f6a676e-ea79-47cd-ad80-888c1b86db53 | Translated (100%) | 9 | 9 |
| 1010617f984c-89a5-43b6-a426-bd63ed9da538 | Translated (100%) | 83 | 83 |
| 101133d5d3a0-cf16-4651-9e11-2be1d01254c5 | Translated (100%) | 10 | 10 |
| 1012535ea8c9-9a0c-46c1-bd6f-0e586e344d9e | Translated (100%) | 84 | 84 |
| 101378a1f538-ac49-4c2b-bff1-a3da823bc6f2 | Translated (100%) | 11 | 11 |
| 1014e02a1b8c-8d4a-4354-81d4-08b85a1f67e1 | Translated (100%) | 85 | 85 |
| 10159476336f-f995-4c6a-862a-5a31a8be9854 | Translated (100%) | 12 | 12 |
| 1016a300bf3e-66cc-4ac2-a279-b75c0e34df53 | Translated (100%) | 86 | 86 |
| 10176ab1727a-b81d-4a43-a96c-3cfc2471db35 | Translated (100%) | 13 | 13 |
| 1018655150aa-8a66-4917-81df-9b4c03a5c58d | Translated (100%) | 87 | 87 |
| 10193b8929c5-abb4-4108-9a55-653a753f0d65 | Translated (100%) | 14 | 14 |
| 102076d17918-43a5-482a-b496-977ee0249582 | Translated (100%) | 88 | 88 |
| 1021cb000f7a-5cf2-4cee-b140-25c8fadc8f86 | Translated (100%) | 15 | 15 |
| 1022c0c01ac4-e83b-4264-8e4c-6af66a98cfcf | Translated (100%) | 89 | 89 |
| 1023d0a9af0d-e68e-4e81-9db1-3f44b6c77897 | Translated (100%) | 16 | 16 |
| 1024f7a9bb59-153f-468a-967d-9029001728cc | Translated (100%) | 90 | 90 |
| 10254ec850fa-d425-407b-a838-5bcce6537100 | Translated (100%) | 17 | 17 |
| 1026be902a2b-c48d-4b55-ab8d-8ee2d7f78239 | Translated (100%) | 91 | 91 |
| 1027ea1605dc-179a-414e-92b1-03fb2871e890 | Translated (100%) | 18 | 18 |
| 1028b2ab3a0f-fd80-4ae8-9048-bfdc1eed25fb | Translated (100%) | 93 | 93 |
| 1029753d9509-9716-4e2c-99db-ed4127ef64bc | Translated (100%) | 19 | 19 |
| 1030ac6a48b4-9ba1-4f4b-86da-a532f2f3fa18 | Translated (100%) | 95 | 95 |
| 103122ce4a69-aeba-42f7-8215-79e7066d5a1d | Translated (100%) | 20 | 20 |
| 10327821ec69-4bfd-4cc3-ba0e-c97ce86aa79e | Translated (100%) | Case 2. | 情况 2. |
| 10337821ec69-4bfd-4cc3-ba0e-c97ce86aa79e | Translated (100%) | Projects Not Eligible for ENERGY STAR Rating | 不符合“能源之星”(ENERGY STAR) 等级评估条件的项目 |
| 10348f94ec16-f937-49c6-8cee-66e02081a808 | Translated (100%) | Projects not eligible to use EPA’s rating system may compare their buildings’ energy performance with that of comparable buildings, using national averages or actual buildings, or with the previous performance of the project building. | 对于没有资格使用 EPA 等级系统条件的项目，可以使用实际建筑的全国平均值或项目建筑之前的性能来比较其建筑能效与类似建筑的能效。 |
| 103549fa23f2-6fd8-4a12-adeb-7150d12278a3 | Translated (0%) | <1045>O</1045><1046>ption 1.</1046> | <1045></1045>选项<1046> 1.</1046> |
| 103649fa23f2-6fd8-4a12-adeb-7150d12278a3 | Translated (0%) | Benchmark against Typical Buildings (1–20 points) | 针对典型建筑进行基准测试（1–20 分） |
| 1037328759ee-56aa-42e8-840a-474065bcc63b | Translated (100%) | Path 1. | 途径 1. |
| 1038328759ee-56aa-42e8-840a-474065bcc63b | Translated (70%) | National Average Data Available (1–20 points) | 全国数据平均值可用（1-20 分） |
| 10393b5ebc2f-2e74-431f-b718-bafbb3e8d324 | Translated (83%) | Demonstrate energy efficiency performance that is at least 26% better than the median energy performance for typical buildings of similar type by benchmarking against national average source energy data provided in the Portfolio Manager tool. | 通过针对数据管理器工具中提供的全国能源数据平均值进行基准测试，证明能效表现与类似典型建筑的能源表现平均值相比至少高出 26%。 |
| 10403b5ebc2f-2e74-431f-b718-bafbb3e8d324 | Translated (99%) | Points are awarded according to Table 2. | 根据表 2 获得分数。 |
| 10414fd9bbf3-7bbf-42ed-9f77-f8786cfaf98c | Translated (100%) | Table 2. | 表 2. |
| 10424fd9bbf3-7bbf-42ed-9f77-f8786cfaf98c | Translated (0%) | Points for percentage improvement over national average (Option 1, Path 1) or comparable buildings and historical data (Option 3) | 与全国平均值相比（选项 1，途径 1）或与类似建筑和历史数据相比（选项 3）提高百分比的分数 |
| 10436ea6022d-5b40-4d6d-b148-380f664be89b | Translated (0%) | Percentage improvement | 提高百分比 |
| 10440fce98b4-1f0f-45f8-9cf3-113df46a44ba | Translated (100%) | Points | 分数 |
| 10454afb1eeb-5e60-4f11-91dc-42efb5720ac5 | Translated (100%) | 26 | 26 |
| 1046ddf8f7e2-207e-45ed-975d-726d273a17bb | Translated (100%) | 1 | 1 |
| 1047aa0ebf65-9e9a-4d0a-b648-6b2a2a2c6f5d | Translated (100%) | 27 | 27 |
| 1048611303d2-e00e-4df6-ba99-4679fb78b1e6 | Translated (100%) | 2 | 2 |
| 104999842fd5-a3d0-4aaf-92af-c48d0c7d6393 | Translated (100%) | 28 | 28 |
| 10507717b93c-a8d2-4b03-abfc-42f6d0955a8c | Translated (100%) | 3 | 3 |
| 10511f4d4fe0-2acd-4b76-be88-a98a1a860548 | Translated (100%) | 29 | 29 |
| 1052547bfe9a-a9c3-4140-b06a-ee2d0e38d359 | Translated (100%) | 4 | 4 |
| 1053df021c13-22d4-48e6-b90f-de1e8bfe65e0 | Translated (100%) | 30 | 30 |
| 105445f0925a-084a-4054-bfe9-3b5992861c12 | Translated (100%) | 5 | 5 |
| 105571c3a251-38da-4e08-b71d-b79eba6f90af | Translated (100%) | 31 | 31 |
| 1056187b50b2-8ba9-48fc-a27d-919eaf60fcbd | Translated (100%) | 6 | 6 |
| 10570323f760-3dfe-41b4-ab23-596142268f5f | Translated (100%) | 32 | 32 |
| 10581b862583-ea1e-43bd-9d52-42c2643b5a03 | Translated (100%) | 7 | 7 |
| 1059a6467420-92a1-4381-812a-8855e4614c2d | Translated (100%) | 33 | 33 |
| 106085ef255a-9e9f-473d-8749-df383955582e | Translated (100%) | 8 | 8 |
| 1061125ac15c-35c9-4a06-b2b5-972d1d4c173c | Translated (100%) | 34 | 34 |
| 106252482d2e-3430-4027-8abb-7c56a967d252 | Translated (100%) | 9 | 9 |
| 10631c1a4f02-d637-4677-a32d-751a69723519 | Translated (100%) | 35 | 35 |
| 10641cd36b98-262c-4100-8d20-d3c24a14045d | Translated (100%) | 10 | 10 |
| 10656ef8d60a-ac86-402b-9ad6-9b77806a67cd | Translated (100%) | 36 | 36 |
| 106654672d7f-f489-4f16-a762-1d45a97b622b | Translated (100%) | 11 | 11 |
| 1067ed6c30d0-9880-469e-abc3-3299eb274603 | Translated (100%) | 37 | 37 |
| 1068a61d30e5-67c0-4d9f-9232-ff454a48a5bd | Translated (100%) | 12 | 12 |
| 1069ef769427-be13-4757-8b38-81f32b558424 | Translated (100%) | 38 | 38 |
| 1070117434ef-3ecc-49f3-9e3d-06f16079cfdb | Translated (100%) | 13 | 13 |
| 107141897dab-5426-4def-b675-35c8a1e8b409 | Translated (100%) | 39 | 39 |
| 1072112e79ac-0a8c-48de-b466-c3b95c11cb0c | Translated (100%) | 14 | 14 |
| 107306690010-5168-4dd5-b773-ef7a21dbc747 | Translated (100%) | 40 | 40 |
| 10748a5b9751-a7f7-44fa-b286-c093d97bd313 | Translated (100%) | 15 | 15 |
| 1075d44a1837-24f0-42cb-a488-ee0341623d99 | Translated (100%) | 41 | 41 |
| 1076032be3c9-b520-4cc1-be09-856141f8f1b1 | Translated (100%) | 16 | 16 |
| 10771eacf192-ac6f-4d84-b1de-f32c92e4e603 | Translated (100%) | 42 | 42 |
| 107802c68b49-acb2-40de-abc4-82d7740312cc | Translated (100%) | 17 | 17 |
| 10793194aa8c-46f2-4ef1-b60d-a324985fd22a | Translated (100%) | 43 | 43 |
| 1080d66a9b6e-ed05-4db7-82e6-f7a053446578 | Translated (100%) | 18 | 18 |
| 1081f0e258d9-b088-48d8-8048-5baf52b55751 | Translated (100%) | 44 | 44 |
| 1082ad2f398d-835a-4eb2-80b9-94ed213525ee | Translated (100%) | 19 | 19 |
| 108397719418-8144-4c95-8950-f9b5080dae13 | Translated (100%) | 45 | 45 |
| 10845c95db2e-bfe9-4df3-bd55-6d39ada8e9ab | Translated (100%) | 20 | 20 |
| 108575da97a6-ed36-427c-b301-1f0d56462314 | Translated (100%) | Path 2. | 途径 2. |
| 108675da97a6-ed36-427c-b301-1f0d56462314 | Translated (91%) | National Average Data Not Available (2–14 points) | 全国数据平均值不可用（2-14 分） |
| 108772f6dd2e-f451-490c-a7e0-fb594623cca9 | Translated (100%) | If national average source energy data are unavailable for buildings of similar type, benchmark against the building site energy data of at least three similar buildings, normalized for climate, building use, and occupancy. | 如果类似建筑无可用的全国能源数据平均值，则根据至少三个对气候、建筑用途和入驻率进行了标准化的类似建筑的建筑场址能源数据进行基准测试。 |
| 108872f6dd2e-f451-490c-a7e0-fb594623cca9 | Translated (100%) | Points are awarded according to Table 3. | 根据表 3 获得分数。 |
| 1089d1d72353-545f-4cdb-af21-79729d63a340 | Translated (100%) | OR | 或 |
| 1090ec7596d8-edba-441d-8df0-446225c1426b | Translated (100%) | Option 2. | 选项 2. |
| 1091ec7596d8-edba-441d-8df0-446225c1426b | Translated (100%) | Benchmark against Historical Data | 根据历史数据进行基准测试 |
| 109295ff79ae-1278-4877-80db-9b58c7022081 | Translated (100%) | If national average source energy data are unavailable, compare the building’s site energy data for the previous 12 months with the data from three contiguous years of the previous five, normalized for climate, building use, and occupancy. | 如果全国能源数据平均值不可用，则将前 12 月的建筑场址能源数据与对气候、建筑用途和入驻率进行了标准化的前 5 年内连续三年的相应数据进行比较。 |
| 109395ff79ae-1278-4877-80db-9b58c7022081 | Translated (0%) | Use Table 3 to determine points. | 使用表 3 确定分数。 |
| 109480009346-c465-40e4-ab84-8332736a04cc | Translated (100%) | Table 3. | 表 3. |
| 109580009346-c465-40e4-ab84-8332736a04cc | Translated (81%) | Points for percentage improvement over comparable buildings (Option 1, Path 2) or historical data (Option 2) | 与类似建筑相比（选项 1，途径 2）或与历史数据相比（选项 2）提高百分比的分数 |
| 1096489f82ca-e44d-4314-82ca-f8cb4baa03a4 | Translated (98%) | Percentage improvement | 提高百分比 |
| 1097597c1500-6bf8-4e34-91c8-6f6e0bd70093 | Translated (100%) | Points | 分数 |
| 10989a6b398a-a27a-4c36-b6f3-a47645a3c681 | Translated (100%) | 27 | 27 |
| 1099ce165df0-52a9-4f17-9e15-7aead853ef6b | Translated (100%) | 2 | 2 |
| 1100adb2dd31-f6d6-4717-a509-3adf0f6c217a | Translated (100%) | 30 | 30 |
| 11019af598a6-f8b5-4285-91f7-8241371b3b55 | Translated (100%) | 4 | 4 |
| 11025d5a5ea1-9dba-4437-978e-4e32219fa04c | Translated (100%) | 33 | 33 |
| 1103a8ea3c48-9fd6-4f25-a64b-cd536c60e731 | Translated (100%) | 6 | 6 |
| 1104b53c327f-8e88-4034-a9ac-0a8e14753509 | Translated (100%) | 36 | 36 |
| 11057f92e691-5543-46dc-8626-a09163b25d74 | Translated (100%) | 8 | 8 |
| 1106b16d1780-b0ed-41ca-a8d0-c22616d3b8a9 | Translated (100%) | 39 | 39 |
| 11077fdd06ef-cae0-4e83-9815-24c2dc1bc05d | Translated (100%) | 10 | 10 |
| 1108d2e59828-c9ac-4dde-b5b0-125b48598a1f | Translated (100%) | 42 | 42 |
| 110972a9dab4-4881-44c8-8b09-7ed0abe2f0a4 | Translated (100%) | 12 | 12 |
| 1110e17fc7b4-94d1-4141-96fc-c70dddc80e37 | Translated (100%) | 45 | 45 |
| 111172957a65-6cfa-48f0-98b1-0e524954619c | Translated (100%) | 14 | 14 |
| 1112acc9a6dc-eaec-4b0a-ba5c-a51939763fea | Translated (100%) | OR | 或 |
| 1113ef1600c6-5564-443a-93cd-20fab285b98b | Translated (100%) | Option 3. | 选项 3. |
| 1114ef1600c6-5564-443a-93cd-20fab285b98b | Translated (0%) | Benchmark against Both Similar Buildings and Historical Data | 根据类似建筑和历史数据进行基准测试 |
| 1115ce1c9b11-361a-4ad4-8b95-deaa072d315a | Translated (0%) | Follow the requirements of both Option 1, Path 2, and Option 2 to benchmark against the site energy data for the three similar buildings and the building’s historic data. | 根据选项 1 途径 2 及选项 2 中的要求，根据三个类似建筑的场址能源数据及建筑的历史数据进行基准测试。 |
| 1116ce1c9b11-361a-4ad4-8b95-deaa072d315a | Translated (100%) | Use Table 2 to determine points. | 使用表 2 确定分数。 |
| 11178ae1fdf5-f7dd-4b77-8475-9748cf842102 | Translated (100%) | EA Credit: Advanced Energy Metering | EA 得分点:高阶能源计量 (Advanced Energy Metering) |
| 11182b885ff7-4ef8-4ff5-a1c1-7c8ce5bbb153 | Translated (100%) | EB:O&M | EB:O&M |
| 111981cad3e9-cdd3-48ce-821f-afe489eaf0a5 | Translated (100%) | 2 points | 2 分 |
| 1120924adafb-ae92-4ffd-ad3b-cb54ae53c3bd | Translated (100%) | This credit applies to | 该得分点适用于 |
| 112194ca9ad1-09b3-4ce7-b36e-10e7f1764747 | Translated (100%) | Existing Buildings: Operations & Maintenance (2 points) | 既有建筑：运营与维护（2 分） |
| 1122e26f7560-83d1-4779-81e6-bf8d0d26b3a0 | Translated (100%) | EB:O&M Schools (2 points) | EB:O&M 学校（2 分） |
| 1123a06744c8-64e1-4ec9-92c9-5ef51e158b0a | Translated (100%) | EB:O&M Retail (2 points) | EB:O&M 零售（2 分） |
| 1124310e6ecd-d8cb-4cf8-b40b-34645019346d | Translated (100%) | EB:O&M Data Centers (2 points) | EB:O&M 数据中心（2 分） |
| 1125596017e6-1a30-415b-8d6d-03bdfe2209b7 | Translated (100%) | EB:O&M Hospitality (2 points) | EB:O&M 宾馆接待（2 分） |
| 1126fd9fd5d3-05af-4bcd-a1cb-ed51b879e93a | Translated (100%) | EB:O&M Warehouses & Distribution Centers (2 points) | EB:O&M 仓储和配送中心（2 分） |
| 11279d0e52ca-0c6b-4ec3-83d7-b4d4929b2244 | Translated (100%) | Intent | 目的 |
| 11287c6d12a7-b029-48e7-97f5-c6d0fbf46ccb | Translated (100%) | To support energy management and identify opportunities for additional energy savings by tracking building-level and system-level energy use. | 通过跟踪建筑级以及系统级的能耗来支持能源管理并确定节省更多能源的机会。 |
| 112910791819-40c3-4921-8108-7e3930909cfd | Translated (100%) | Requirements | 要求 |
| 1130d03b86d9-4290-4fa1-965b-7b4bf521b4c1 | Translated (100%) | EBOM, Schools, Retail, Data Centers, Hospitality, Warehouses & Distribution Centers | EBOM、学校、零售、数据中心、宾馆接待、仓储和配送中心 |
| 1131993053b9-5f0e-4ec3-aa0d-4c9ee4260037 | Translated (100%) | ESTABLISHMENT | 建立 |
| 113221cab752-558b-4b24-a209-9cfc3cdcda86 | Translated (99%) | Install <1294>advanced energy metering </1294>for the following: | 为以下项安装<Italic>高级能源计量装置</Italic>： |
| 11337051c32e-a208-4f4f-9584-429ec7b0d8f2 | Translated (0%) | all whole-building energy sources used by the building; and | 建筑使用的整栋建筑的所有能源；以及 |
| 1134fb8b5889-1b1d-47e4-bedd-9b741a53e9df | Translated (89%) | major end uses that represent 20% or more of the total annual consumption of the building minus plug load use. | 除插头负载外，消耗 20% 或更多的建筑年度总消耗量的主要最终用途。 |
| 113581c5516b-3336-4c15-ae37-d3ad91c2ce61 | Translated (100%) | The advanced energy metering must have the following characteristics. | 高级能源计量必须具有以下特性。 |
| 1136617c9bae-9763-4be0-aec4-fee4487289c2 | Translated (100%) | Meters must be permanently installed, record at intervals of one hour or less, and transmit data to a remote location. | 仪表必须永久性地安装，按照每小时或更短时间的间隔来记录，并将数据传输到远程位置。 |
| 1137f737b67a-e4d3-4f8e-859c-3ae13199174f | Translated (100%) | Electricity meters must record both consumption and demand. | 电表必须记录消耗量和需求量。 |
| 1138f737b67a-e4d3-4f8e-859c-3ae13199174f | Translated (100%) | Whole-building electricity meters should record the power factor, if appropriate. | 如果可以的话，整栋建筑的电表应记录功率因数。 |
| 11398550bbd8-6f37-4c71-ab29-003c4dac8ddb | Translated (100%) | The data collection system must use a local area network, building automation system, wireless network, or comparable communication infrastructure. | 数据收集系统必须使用本地局域网、建筑自动化系统、无线网络或类似的通信基础设施。 |
| 1140495152bd-e7bc-40c4-9b3f-e4966645cb5b | Translated (100%) | The system must be capable of storing all meter data for at least 36 months. | 系统必须能够保存至少 36 个月的所有仪表数据。 |
| 1141975d3194-6831-4506-8795-55f516912679 | Translated (100%) | The data must be remotely accessible. | 必须能够远程访问数据。 |
| 1142f6a54653-eb5b-47d0-b687-16652a743ec6 | Translated (100%) | All meters in the system must be capable of reporting hourly, daily, monthly, and annual energy use. | 系统中的所有仪表都必须能够每小时、每天、每月进行报告，以及报告年度能耗。 |
| 11439d80bdbe-8440-4f22-ae8c-b0228e328979 | Translated (100%) | PERFORMANCE | 运行 |
| 1144e63558d2-8872-414a-9f0e-13a8bf2861fa | Translated (0%) | Program the facility’s energy management system to set an alarm whenever the energy consumption and peak demand rise above the anticipated amount by more than 5%. | 计划设施的能源管理系统，以在能耗和峰值需求高出预估量 5% 以上时设置警报。 |
| 1145e63558d2-8872-414a-9f0e-13a8bf2861fa | Translated (0%) | The anticipated consumption and peak should be determined by analyzing historical facility performance and weather and operating conditions and should be set on at least monthly, preferably daily. | 预估消耗和峰值应通过分析历史设施性能及天气和运营状况来确定，且应至少每月（最好每天）设置一次。 |
| 114698ddd138-8eb1-4e68-bdaa-3029275e86ec | Translated (0%) | Demand measurements must be taken in time increments no longer than the increments used for utility billing or in one-hour increments, whichever is less time. | 进行需求测量必须采用不长于公用事业计费所用增量的时间增量，或者以一小时为增量（以时间较少者为准）。 |
| 114713c617e7-b8bd-48ac-9aaa-e1654affe82a | Translated (0%) | On at least a monthly basis, report the facility’s utility peak demand and total consumption and compare it with the data for the previous month and the same month from the previous year. | 至少每月报告一次设施的公用事业峰值需求和总消耗量，并将其与前一个月的数据及前一年相同月份的数据进行比较。 |
| 1148b7d7b162-2c18-4a5a-9bb9-77166d71c542 | Translated (82%) | EA Credit: Demand Response | EA 得分点：需求响应 (Demand Response) |
| 1149e3ad8bb4-3396-4dc7-9661-615f62ec38a8 | Translated (100%) | EB:O&M | EB:O&M |
| 11500d7ac47d-46c0-4900-8a8d-0e6232aa469b | Translated (100%) | 1–3 points | 1-3 分 |
| 1151816a27cf-5481-4d28-8273-64cedde9cb24 | Translated (100%) | This credit applies to | 该得分点适用于 |
| 1152718c9478-069f-4a98-b316-df813a28cb15 | Translated (100%) | Existing Buildings: Operations & Maintenance (1–3 points) | 既有建筑：运营与维护（1-3 分） |
| 1153cf3deff5-1a70-47dd-b586-b0fe1941e54e | Translated (100%) | EB:O&M Schools (1–3 points) | EB:O&M 学校（1-3 分） |
| 1154fd9f662d-686e-4e4d-b2f9-e6755d59d13d | Translated (100%) | EB:O&M Retail (1–3 points) | EB:O&M 零售（1-3 分） |
| 115598f6d67d-fbe9-41ea-a951-b55a2ee5ee17 | Translated (100%) | EB:O&M Data Centers (1–3 points) | EB:O&M 数据中心（1-3 分） |
| 11566919ea35-d254-4129-94f3-b4deb57392ca | Translated (100%) | EB:O&M Hospitality (1–3 points) | EB:O&M 宾馆接待（1-3 分） |
| 115737be04fb-5593-4fdd-856b-4c8171f648f7 | Translated (100%) | EB:O&M Warehouses & Distribution Centers (1–3 points) | EB:O&M 仓储和配送中心（1-3 分） |
| 1158f2e84f59-d0cf-4583-9c39-34902805f9d9 | Translated (100%) | Intent | 目的 |
| 115948c16147-a6ce-4cf1-b557-f7b201488c8c | Translated (0%) | To increase participation in demand response technologies and programs that make energy generation and distribution systems more efficient, increase grid reliability, and reduce greenhouse gas emissions. | 更多参与可使能源产生和分配系统更高效，增加电网可靠性，减少温室气体排放量的需求响应技术和计划。 |
| 1160028d693b-cc8a-416b-85cf-d3896d6bebdb | Translated (100%) | Requirements | 要求 |
| 1161d5b7818b-360b-4cd4-9af4-ed4e95f03cb7 | Translated (100%) | EBOM, Schools, Retail, Data Centers, Hospitality, Warehouses & Distribution Centers | EBOM、学校、零售、数据中心、宾馆接待、仓储和配送中心 |
| 1162a0c7c344-be6f-44a3-ae86-8e19fef71acf | Translated (100%) | ESTABLISHMENT | 建立 |
| 11632873d3bb-2971-48aa-9262-a86ac6d0fb28 | Translated (0%) | Evaluate building systems and equipment for participation in a demand response program. | 为参与需求响应计划评估建筑系统和设备。 |
| 11642873d3bb-2971-48aa-9262-a86ac6d0fb28 | Translated (0%) | On-site electricity generation does not meet the intent of this credit. | 场址内发电不符合该得分点的目的。 |
| 116595d889a0-a9c5-461b-9244-a4219f8f6c5a | Translated (100%) | Case 1. | 情况 1. |
| 116695d889a0-a9c5-461b-9244-a4219f8f6c5a | Translated (0%) | Demand Response Program Available (3 points) | 需求响应计划可用（3 分） |
| 1167a553b442-3cba-48d8-816c-0dde9fadd509 | Translated (0%) | Participate in an existing demand response (DR) program and complete the following activities. | 参与既有需求响应 (DR) 计划并完成以下活动。 |
| 116807feb513-29df-4981-b408-7248a9be2201 | Translated (0%) | Have in place a system with the capability for real-time, fully automated DR based on external initiation by a DR program provider. | 基于 DR 计划供应商的外部启动安装一个具有实时、完全自动化的 DR 功能的系统。 |
| 116907feb513-29df-4981-b408-7248a9be2201 | Translated (0%) | Semi-automated DR may be utilized in practice. | 可在实践中利用半自动化的 DR。 |
| 11706fa83832-22fc-4df7-b129-63dd02c1d4f4 | Translated (0%) | Enroll in a minimum one-year DR participation amount contractual commitment with a qualified DR program provider, with the intention of multiyear renewal, for at least 10% of the annual peak electricity demand. | 针对至少 10% 的年度峰值电力需求，与符合要求的 DR 计划供应商签署至少一年的 DR 参与合同承诺并计划多年续约。 |
| 11716fa83832-22fc-4df7-b129-63dd02c1d4f4 | Translated (0%) | Peak demand is based on electric utility bills. | 峰值需求基于电力公用事业费。 |
| 11726776e30b-0f79-4e08-81fb-ba4ec52f1e22 | Translated (0%) | Develop a comprehensive plan for meeting the contractual commitment during a Demand Response event. | 在需求响应活动期间制定全面的满足合同承诺计划。 |
| 117328818ce4-fb07-4053-b3ed-c84108be3db8 | Translated (0%) | Include the DR processes in the current facilities requirements and operations and maintenance plan. | 在当前设施要求和运营与维护计划中包括 DR 过程。 |
| 1174374d60dc-b162-4912-b990-21cb46059705 | Translated (0%) | Initiate at least one full test of the DR plan. | 至少对 DR 计划启动一次全面测试。 |
| 117554cb1e10-6eb8-4769-804d-2ca901e835c4 | Translated (100%) | Case 2. | 情况 2. |
| 117654cb1e10-6eb8-4769-804d-2ca901e835c4 | Translated (85%) | Demand Response Program Not Available (1 point) | 需求响应计划不可用（1 分） |
| 11774aa3bc27-af31-4550-a4ee-e641c48f5621 | Translated (0%) | Have infrastructure in place to take advantage of future demand response programs or dynamic, real-time pricing programs and complete the following activities.Develop a comprehensive plan for shed at least 10% of the annual peak electricity demand. | 安装基础设施以利用未来的需求响应计划或动态的实时定价计划，并完成以下活动。针对至少 10% 的年度峰值电力需求，制定一个全面计划。 |
| 11784aa3bc27-af31-4550-a4ee-e641c48f5621 | Translated (100%) | Peak demand is based on electric utility bills. | 峰值需求基于电力公用事业费。 |
| 1179ffd7d304-1e4e-456f-867d-1107c38f899b | Translated (100%) | Include the DR processes in the current facilities requirements and operations and maintenance plan. | 在当前设施要求和运营与维护计划中包括 DR 过程。 |
| 1180ca32957b-fe12-4847-8a9d-977a2164078d | Translated (100%) | Initiate at least one full test of the DR plan. | 至少对 DR 计划启动一次全面测试。 |
| 1181e1405000-b43d-4c55-b189-aed342bf9af8 | Translated (0%) | Contact local utility representatives to discuss participation in future DR programs. | 联系当地公用事业公司代表，与其讨论未来 DR 计划的参与事宜。 |
| 11822e9ecd82-1c96-46a1-9db1-30a730238e5e | Translated (0%) | Case 3: Permanent Load Shifting (2 points) | 情况 3. 永久负载转移（2 分） |
| 1183fc32dec3-4fe3-485a-b2bc-1d9835b520c7 | Translated (0%) | Implement electrical load shifting measures with the following requirements: | 根据以下要求实施电力负载转移措施： |
| 1184d020e079-2cd2-45c8-a347-da11caf7b174 | Translated (0%) | Have in place during the performance period a system which permanently transfers electricity demand from peak hours to off-peak hours as defined by the local utility provider. | 在运行期内安装一个可将电力需求从峰值时间永久转移到离峰时间（根据公用事业公司定义）的系统。 |
| 1185365366a1-6ab4-4364-94ba-fcca10aa0164 | Translated (0%) | Demonstrate that the facility is successfully reducing peak demand by 10% during the performance period as compared to peak electrical demand by: | 通过以下方式证明在运行期内与峰值电力需求相比设施成功减少了 10% 的峰值需求： |
| 1186829923d6-a286-43f8-8059-8a81d83b889c | Translated (0%) | Identifying all load shifting measures and their intended peak electrical load shift | 确定所有负载转移措施及其预期的峰值电力负载转移 |
| 11879514ca8e-4c33-4c58-b22c-231444a7734b | Translated (0%) | Verifying a corresponding peak electrical load reduction for each measure | 针对每个措施验证相应的峰值电力负载减少量 |
| 11888faa9f4d-6801-4bcf-be5e-3e78a0cee339 | Translated (0%) | Verifying a corresponding off-peak electrical load increase for each measure | 针对每个措施验证相应的离峰电力负载增加量 |
| 1189fb7cd3cd-a96a-4396-85c3-1ccc989c8dc4 | Translated (0%) | Include the load shifting measures in the Current Facilities Requirements and Operations and Maintenance Plan. | 在当前设施要求和运营与维护计划中包括负载转移措施。 |
| 1190cc60138f-e315-4719-8e0c-eb9b8c341660 | Translated (100%) | PERFORMANCE | 运行 |
| 11911b3b63a4-b29c-4119-8fe8-dd11dfc1c3bf | Translated (100%) | None. | 无。 |
| 1192f69c86b6-dd56-422d-9b31-195c71a6c299 | Translated (0%) | EA Credit: Renewable Energy and Carbon Offsets | EA 得分点：可再生能源和碳补偿 (Renewable Energy and Carbon Offsets) |
| 1193cc6baef9-2bff-40a6-8cb1-150b1cda02fc | Translated (100%) | EB:O&M | EB:O&M |
| 11943d4acb7e-d879-4b15-9eb3-297971c8cadd | Translated (100%) | 1–5 points | 1-5 分 |
| 11959d1050a2-2942-4594-abd2-88d6bced6384 | Translated (100%) | This credit applies to | 该得分点适用于 |
| 11967fc0d320-6ca4-41a2-a7b5-17a3e81293b1 | Translated (100%) | Existing Buildings: Operations & Maintenance (1–5 points) | 既有建筑：运营与维护（1-5 分） |
| 1197b07c93b1-7ab3-48a0-a7f6-761db91e7015 | Translated (100%) | EB:O&M Schools (1–5 points) | EB:O&M 学校（1-5 分） |
| 11980f40f3ce-ccf7-4a00-a1d2-1f23916b5a55 | Translated (100%) | EB:O&M Retail (1–5 points) | EB:O&M 零售（1-5 分） |
| 1199abe67d58-b70e-4134-95cd-4bf911c3522c | Translated (100%) | EB:O&M Data Centers (1–5 points) | EB:O&M 数据中心（1-5 分） |
| 120019150e4a-1259-4694-8647-324cbad052ea | Translated (100%) | EB:O&M Hospitality (1–5 points) | EB:O&M 宾馆接待（1-5 分） |
| 1201700bb7b2-620f-4be0-85cc-48d3aaac76d0 | Translated (100%) | EB:O&M Warehouses & Distribution Centers (1–5 points) | EB:O&M 仓储和配送中心（1-5 分） |
| 1202a31241af-183c-4bd4-b62f-1d5ff90487ae | Translated (100%) | Intent | 目的 |
| 1203334698db-2eca-4ff7-aee9-4808c2cf44f2 | Translated (93%) | To encourage the reduction of greenhouse gas emissions through the use of local and grid-source renewable energy technologies and carbon mitigation projects. | 鼓励通过使用本地和电网可再生能源技术和碳减排项目来减少温室气体排放。 |
| 120427d00bfd-504f-458d-9e81-5aa390abf818 | Translated (100%) | Requirements | 要求 |
| 12055aaa81db-289f-4968-bf50-3dbf35dcce28 | Translated (100%) | EBOM, Schools, Retail, Data Centers, Hospitality, Warehouses & Distribution Centers | EBOM、学校、零售、数据中心、宾馆接待、仓储和配送中心 |
| 1206ed9b0d06-96c4-4efd-a8b6-4710b6c42160 | Translated (100%) | ESTABLISHMENT | 建立 |
| 1207829b8a20-a8a2-4ba9-bf7d-03cdf582449a | Translated (0%) | Demonstrate one or both of the following for at least a portion of the building’s total energy use. | 证明至少部分建筑总能源消耗符合以下一点或两点。 |
| 12081c01510b-9292-4c05-b295-b3ed6f8e05ac | Translated (0%) | Total energy use is met directly with renewable energy systems. | 可再生能源系统直接满足总能源消耗。 |
| 1209fa31aeb7-e003-42b1-b5fe-648e81c678db | Translated (0%) | A minimum two-year contract is in place, with the commitment to renew on an ongoing basis, to purchase qualified resources that will be delivered at least annually. | 签署至少两年的合同并承诺会不断续签，以采购将至少每年交付一次的合格资源。 |
| 1210fa31aeb7-e003-42b1-b5fe-648e81c678db | Translated (0%) | Resources must have come online after January 1, 2005. | 这些资源必须在 2005 年 1 月 1 日之后已投入使用。 |
| 121101c208fc-ba90-42de-af79-6cde003262dd | Translated (100%) | PERFORMANCE | 运行 |
| 1212c5fb49e8-1242-4854-b0b0-ca76f1e337ca | Translated (0%) | Meet at least some of the building’s total energy use directly with renewable energy systems, or engage in a contract to purchase green power, carbon offsets, or Renewable Energy Certificates (RECs). | 可再生能源系统直接满足至少部分建筑总能源消耗，或签署合同以采购绿色电力、碳补偿或可再生能源证书 (REC)。 |
| 12133a4a1d53-2487-4f8e-82c0-2ff8e98b14b9 | Translated (99%) | Green power and RECs must be Green-e Energy Certified or the equivalent. | 绿色电力和 REC 必须通过 Green-e 能源认证或类似认证。 |
| 12143a4a1d53-2487-4f8e-82c0-2ff8e98b14b9 | Translated (86%) | RECs can be used only to mitigate the effects of Scope 2, electricity use. | REC 只能用于减轻范围 2，电力使用的影响。 |
| 1215fbd64c7e-a31f-4d80-9a7b-5a4c183511bd | Translated (100%) | Carbon offsets may be used to mitigate Scope 1 or Scope 2 emissions on a metric ton of carbon dioxide–equivalent basis and must be Green-e Climate certified, or the equivalent. | 碳补偿可用于在一公吨二氧化碳当量的基础上减轻范围 1 或范围 2 排放，并且必须通过 Green-e 气候认证或类似认证。 |
| 12169f71b4b0-5c9a-47cc-9975-2f1fe2e86264 | Translated (96%) | For U.S. projects, the offsets must come from greenhouse gas emissions reduction projects within the U.S. | 对于美国项目，补偿必须来自美国的温室气体减排项目。 |
| 1217e25c8675-f15a-494c-a95c-fbf95b18c4b7 | Translated (0%) | Use the following equation to calculate credit, up to the 5-point limit: | 使用以下等式计算得分点，总分最高为 5 分： |
| 1218586d1b69-7d48-473f-9b5a-56030fc5e005 | Translated (0%) | Points = | 分数 = |
| 1219a2c41432-7800-4033-b767-941daafe4d2c | Translated (0%) | Renewable energy generated % | 产生的可再生能源百分比 |
| 1220d62c72a4-bb2d-49f0-a29d-18661d602796 | Translated (100%) | + | + |
| 12212fd58317-0d14-40cb-bc51-0a489866a2d5 | Translated (0%) | Energy purchased/offset % (Not to exceed 100%) | 采购的/补偿能源百分比（不得超出 100%） |
| 122282a6fad9-8136-4e10-9139-e6676ae720e9 | Translated (100%) | 1.5% | 1.5% |
| 122337f0865f-5c30-4b5f-97f3-933f14007b1e | Translated (100%) | 25% | 25% |
| 12240a844161-756c-4482-ada4-3bb4cdae8c25 | Translated (100%) | EA Credit: Enhanced Refrigerant Management | EA 得分点：增强冷媒管理 (Enhanced Refrigerant Management) |
| 1225449e2e47-9b5d-47a2-b489-51a699cc7c21 | Translated (100%) | EB:O&M | EB:O&M |
| 1226153fdb82-c869-4244-80ec-d0c114f30d8e | Translated (100%) | 1 point | 1 分 |
| 1227ed49ecee-0c47-4917-ae6b-277c0216072c | Translated (100%) | This credit applies to | 该得分点适用于 |
| 1228a58aea84-41d4-40f6-afab-1a1e291bbce4 | Translated (100%) | Existing Buildings: Operations & Maintenance (1 point) | 既有建筑：运营与维护（1 分） |
| 122965665488-d45b-4a6c-b87c-685fe910efb6 | Translated (100%) | EB:O&M Schools (1 point) | EB:O&M 学校（1 分） |
| 12304ff7a14f-89b2-4f74-be53-6013c6e6fa9e | Translated (100%) | EB:O&M Retail (1 point) | EB:O&M 零售（1 分） |
| 1231e12e792d-797c-4b32-ab9c-10a4642fce1f | Translated (100%) | EB:O&M Data Centers (1 point) | EB:O&M 数据中心（1 分） |
| 123281797247-bb60-401e-a34f-f35aeef74812 | Translated (100%) | EB:O&M Hospitality (1 point) | EB:O&M 宾馆接待（1 分） |
| 12337f2e5843-8195-4fee-9ad6-90ab628dc893 | Translated (100%) | EB:O&M Warehouses & Distribution Centers (1 point) | EB:O&M 仓储和配送中心（1 分） |
| 123470b77033-c93c-4973-974e-2a209bfbdcf8 | Translated (100%) | Intent | 目的 |
| 1235b84f6d3d-baa1-46bb-9c49-dfca0e7850bf | Translated (100%) | To reduce ozone depletion and support early compliance with the Montreal Protocol while minimizing direct contributions to climate change. | 减少臭氧消耗并支持尽早遵守蒙特利尔议定书，同时尽量减少对气候改变的促进影响。 |
| 1236042b6cb1-cd6d-43c6-b7a7-d59961c26915 | Translated (100%) | Requirements | 要求 |
| 1237d8380917-cd3b-42bb-b8e0-f6bf6cc46ae9 | Translated (84%) | EBOM, Schools, Data Centers, Hospitality, Warehouses & Distribution Centers | EBOM、学校、数据中心、宾馆接待、仓储和配送中心 |
| 12387f42aa42-307c-4950-b0cb-37ca2fcd43e5 | Translated (100%) | ESTABLISHMENT | 建立 |
| 12390e5ebe1d-0877-4a0c-8a5a-9a26b7366863 | Translated (100%) | Option 1. | 选项 1. |
| 12400e5ebe1d-0877-4a0c-8a5a-9a26b7366863 | Translated (100%) | No Refrigerants or Low-Impact Refrigerants (1 point) | 无制冷剂或影响较小的制冷剂（1 分） |
| 124105ec08a0-036a-41f9-b837-8cbabaa57906 | Translated (100%) | Do not use refrigerants, or use only refrigerants (naturally occurring or synthetic) that have an ozone depletion potential (ODP) of zero and a global warming potential (GWP) of less than 50. | 不使用制冷剂，或仅使用不会潜在破坏臭氧层 (ODP) 和全球变暖潜能值小于 50 的制冷剂（天然或人工合成）。 |
| 12426f209717-ad46-4232-92d9-873edb6c6655 | Translated (100%) | OR | 或 |
| 1243b74a3a93-2ae0-43f2-85d1-043eee8b3b89 | Translated (100%) | Option 2. | 选项 2. |
| 1244b74a3a93-2ae0-43f2-85d1-043eee8b3b89 | Translated (100%) | Calculation of Refrigerant Impact (1 point) | 制冷剂影响计算（1 分） |
| 12452676e5e0-cd22-4415-a237-67771c846285 | Translated (100%) | Select refrigerants that are used in heating, ventilating, air-conditioning, and refrigeration (HVAC&R) equipment to minimize or eliminate the emission of compounds that contribute to ozone depletion and climate change. | 选择供暖、通风、空调和制冷 (HVAC&R) 设备中使用的制冷剂以尽量减少或消除促使臭氧消耗和气候改变的化合物排放。 |
| 12462676e5e0-cd22-4415-a237-67771c846285 | Translated (100%) | The combination of all new and existing base building and tenant HVAC&R equipment that serve the project must comply with the following formula: | 所有为项目服务的新的和既有的基本建筑和租户 HVAC&R 设备组合都必须符合以下公式： |
| 12470b004333-2ad8-4740-b11c-af5ba4f228c8 | Translated (100%) | IP units | IP 单位 |
| 124837c91924-afaa-4e41-8f60-af973ca6f290 | Translated (100%) | LCGWP | LCGWP |
| 1249392c558f-a89e-405c-803b-6338264bc5db | Translated (100%) | + | + |
| 12504844f209-235d-4d68-81fa-9ac81c90f653 | Translated (100%) | LCODP | LCODP |
| 12512bf472a2-7edb-418a-ba96-616843b8684f | Translated (100%) | x | x |
| 1252c853c030-70dd-4036-a176-55a9ad04b963 | Translated (0%) | 10<1361>5</1361> | 10<1361>5</1361> |
| 1253f4b421e7-ce1c-45b3-8cdc-0fb34890ba5c | Translated (0%) | ≤ | ≤ |
| 125417336ec4-8975-44af-892c-6584e5ad1d17 | Translated (100%) | 100 | 100 |
| 12551d7f22c0-3cf8-435f-9ee7-35d073eb5721 | Translated (100%) | SI units | SI 单位 |
| 12561e8dd262-247c-4886-86d5-4f3d6c21758c | Translated (100%) | LCGWP | LCGWP |
| 1257e1ed84c6-553f-4663-a9c6-b2e8a8db746b | Translated (100%) | + | + |
| 12587aecfdcd-d539-4b76-9e6b-e05711f32855 | Translated (100%) | LCODP | LCODP |
| 12596b6f5709-f962-4898-b033-f881c2880f73 | Translated (100%) | x | x |
| 12607313494b-fb2d-4db6-a0dd-da206b1ec012 | Translated (100%) | 10<1387>5</1387> | 10<1387>5</1387> |
| 12618dbf5102-f252-4b17-a46e-78add6c1cce4 | Translated (100%) | ≤ | ≤ |
| 12628fbdade7-4285-4e35-b4e4-1de951717b26 | Translated (100%) | 13 | 13 |
| 1263b60a1d93-600d-4cee-8740-59a3597f2091 | Translated (100%) | Calculation definitions for LCGWP + LCODP x 10<1398>5</1398> ≤ 100 | LCGWP + LCODP x 10<1398>5</1398> ≤ 100 的计算定义 |
| 12641b322551-b89f-4e0c-91b7-e8114618ea47 | Translated (100%) | (IP units) | （IP 单位） |
| 126523510c4f-634e-4852-b37d-5da5d2858ae8 | Translated (92%) | Calculation definitions for LCGWP + LCODP x 10<1407>5</1407> ≤ 13 | LCGWP + LCODP x 10<1407>5</1407> ≤ 13 的计算定义 |
| 12665a4d8d63-5610-4a2a-b2f8-f74bb22ef359 | Translated (100%) | (SI units) | （SI 单位） |
| 12670c5c7dc7-8d33-46d0-957a-4fcff2296f11 | Translated (100%) | LCODP = [ODPr x (Lr x Life +Mr) x Rc]/Life | LCODP = [ODPr x (Lr x Life +Mr) x Rc]/Life |
| 126860d72bb3-4a8f-46dd-be6e-9e401738ee1e | Translated (100%) | LCODP = [ODPr x (Lr x Life +Mr) x Rc]/Life | LCODP = [ODPr x (Lr x Life +Mr) x Rc]/Life |
| 12698b3c83c9-7f3d-4429-8c14-1f1292468ccf | Translated (100%) | LCGWP = [GWPr x (Lr x Life +Mr) x Rc]/Life | LCGWP = [GWPr x (Lr x Life +Mr) x Rc]/Life |
| 12700a106193-6284-48f0-b37f-53098d8281b5 | Translated (100%) | LCGWP = [GWPr x (Lr x Life +Mr) x Rc]/Life | LCGWP = [GWPr x (Lr x Life +Mr) x Rc]/Life |
| 12719bd07cac-3d52-4a6a-bc90-3c94ce5c3dc2 | Translated (0%) | LCODP: Lifecycle Ozone Depletion Potential (lb CFC 11/Ton-Year) | LCODP：生命周期中的臭氧消耗潜能值 （磅 CFC 11/吨-年） |
| 12727040f73c-9a8a-478c-94de-cceaf1e56844 | Translated (0%) | LCODP: Lifecycle Ozone Depletion Potential (kg CFC 11/(kW/year)) | LCODP：生命周期中的臭氧消耗潜能值 （千克 CFC 11/（KW/年）） |
| 127392e97f0d-22f1-4d46-a7d1-0ef5c17b5502 | Translated (85%) | LCGWP: Lifecycle Direct Global Warming Potential (lb CO<1433>2</1433>/Ton-Year) | LCGWP：生命周期中的全球变暖潜能值 （磅 CO<1433>2</1433>/吨-年） |
| 1274eee47d0a-64c5-4ac8-a5ff-ee435d553161 | Translated (87%) | LCGWP: Lifecycle Direct Global Warming Potential (kg CO<1437>2</1437>/kW-year) | LCGWP：生命周期中的全球变暖潜能值 （千克 CO<1437>2</1437>/KW-年） |
| 1275ae334aec-c570-4e0f-baba-4942143512af | Translated (87%) | GWPr: Global Warming Potential of Refrigerant (0 to 12,000 lb CO<1441>2</1441>/lbr) | GWPr：制冷剂的全球变暖潜能值 （0 到 12,000 lb CO<1441>2</1441>/lbr） |
| 127620e5b820-a47a-4800-8d48-1cc22e84f638 | Translated (89%) | GWPr: Global Warming Potential of Refrigerant (0 to 12,000 kg CO<1445>2</1445>/kg r) | GWPr：制冷剂的全球变暖潜能值 （0 到 12,000 kg CO<1445>2</1445>/kg r） |
| 1277860f28b8-5368-4d0a-8bf5-42573b75c1d5 | Translated (99%) | ODPr: Ozone Depletion Potential of Refrigerant (0 to 0.2 lb CFC 11/lbr) | ODPr：制冷剂的臭氧消耗潜能值 （0 到 0.2 lb CFC 11/lbr） |
| 1278caf0f550-6799-4cb7-abdd-45c36774bb4e | Translated (99%) | ODPr: Ozone Depletion Potential of Refrigerant (0 to 0.2 kg CFC 11/kg r) | ODPr：制冷剂的臭氧消耗潜能值 （0 到 0.2 kg CFC 11/kg r） |
| 1279162748a3-c2d0-4453-8e59-48c76848efa0 | Translated (99%) | Lr: Refrigerant Leakage Rate (2.0%) | Lr：制冷剂泄漏率 (2.0%) |
| 1280655e0299-da5e-4671-9cb4-967563f949d9 | Translated (100%) | Lr: Refrigerant Leakage Rate (2.0%) | Lr：制冷剂泄漏率 (2.0%) |
| 1281f986e793-48d6-4412-bdc6-01c5ed1a972f | Translated (99%) | Mr: End-of-life Refrigerant Loss (10%) | Mr：使用寿命结束时的制冷剂损失 (10%) |
| 1282a6ec3cdd-ad5e-4aab-8774-44a61e8f1168 | Translated (100%) | Mr: End-of-life Refrigerant Loss (10%) | Mr：使用寿命结束时的制冷剂损失 (10%) |
| 128328d32667-b0be-4188-b84e-bf2b55e68176 | Translated (99%) | Rc: Refrigerant Charge (0.5 to 5.0 lbs of refrigerant per ton of gross AHRI rated cooling capacity) | Rc：制冷剂更换 （每吨 AHRI 额定总制冷量 0.5 到 5.0 lbs 制冷剂） |
| 1284314e080c-ded5-41d3-8813-3f57d76a3057 | Translated (99%) | Rc: Refrigerant Charge (0.065 to 0.65 kg of refrigerant per kW of AHRI rated or Eurovent Certified cooling capacity) | Rc：制冷剂更换 （每千瓦 AHI 额定或 Eurovent 认证的制冷量 0.065 到 0.65 kg 制冷剂） |
| 1285b5649f8b-3a2f-4e0e-a6ad-ee71588a9762 | Translated (99%) | Life: Equipment Life (10 years; default based on equipment type, unless otherwise demonstrated) | Life：设备使用寿命 （10 年；除非另有说明，否则默认基于设备类型） |
| 1286953827d6-3d5a-441c-9bd8-8b64ae5b0db0 | Translated (CM) | Life: Equipment Life (10 years; default based on equipment type, unless otherwise demonstrated) | Life：设备使用寿命 （10 年；除非另有说明，否则默认基于设备类型） |
| 1287e29ed1d2-0d47-4349-9255-8fbf30c6249b | Translated (100%) | For multiple types of equipment, calculate a weighted average of all base building HVAC&R equipment, using the following formula: | 对于多种类型的设备，必须使用以下公式计算所有建筑基础 HVAC&R 设备的加权平均值： |
| 12887f1d6ce1-7cf8-4760-a27c-89d1f7c487fe | Translated (100%) | IP units | IP 单位 |
| 128921071112-bdbc-41ec-b347-d1d866dcf097 | Translated (100%) | SI units | SI 单位 |
| 1290d88f231a-5202-4228-8499-a9ac424c6fbc | Translated (0%) | ∑ ( LCGWP + LCODP x 10<1487>5</1487> ) x Qunit | ∑ ( LCGWP + LCODP x 10<1487>5</1487> ) x Qunit |
| 1291543062d8-248d-4341-8edd-d00431d228ca | Translated (100%) | ≤ 100 | ≤ 100 |
| 1292c166bb13-b507-4148-b842-0215ad2a7e01 | Translated (100%) | ∑ ( LCGWP + LCODP x 10<1494>5</1494> ) x Qunit | ∑ ( LCGWP + LCODP x 10<1494>5</1494> ) x Qunit |
| 129329d4ca07-4c83-484d-871f-eed5b9743f76 | Translated (CM) | ≤ 13 | ≤ 13 |
| 1294ba901afc-907c-44e6-8f22-ddd7ee26a4ce | Translated (0%) | ——————————————————————————— | ——————————————————————————— |
| 1295fb2870c0-422a-4586-b7cf-4a55bb4d0a7d | Translated (100%) | Qtotal | Qtotal |
| 1296e1e2ce92-58fb-4f7d-a098-3f981518f126 | Translated (0%) | ——————————————————————— | ——————————————————————— |
| 129799416843-d929-4290-9717-1ec2681c613c | Translated (100%) | Qtotal | Qtotal |
| 12988194d893-8035-40a5-b71f-67336ed56aef | Translated (94%) | Calculation definitions for [ ∑ (LCGWP + LCODP x 10<1514>5</1514>) x Qunit ] / Qtotal ≤ 100 | [ ∑ (LCGWP + LCODP x 10<1514>5</1514>) x Qunit ] / Qtotal ≤ 100 的计算定义 |
| 12992a00b82e-4858-4641-9b7f-8749acd3d127 | Translated (100%) | (IP units) | （IP 单位） |
| 13008411aa40-ae51-4351-8530-6dfd76e7ea9f | Translated (100%) | Calculation definitions for [ ∑ (LCGWP + LCODP x 10<1523>5</1523>) x Qunit ] / Qtotal ≤ 13 | [ ∑ (LCGWP + LCODP x 10<1523>5</1523>) x Qunit ] / Qtotal ≤ 13 的计算定义 |
| 1301401dbeac-1b45-4b1f-aa4a-516096556244 | Translated (100%) | (SI units) | （SI 单位） |
| 1302b0520f4e-c234-41ae-bea3-b46313662c66 | Translated (100%) | Qunit = Gross ARI rated cooling capacity of an individual HVAC or refrigeration unit (Tons) | Qunit = 单个暖通空调或制冷装置的 ARI 额定总制冷量（吨） |
| 13032353b3ed-2cd4-461d-ba2a-1916413d3d9d | Translated (100%) | Qunit = Eurovent Certified cooling capacity of an individual HVAC or refrigeration unit (kW) | Qunit = 单个暖通空调或制冷装置的 Eurovent 认证制冷量（KW） |
| 1304e6d48e07-91ba-4c27-8354-be616d40f042 | Translated (100%) | Qtotal = Total gross ARI rated cooling capacity of all HVAC or refrigeration | Qtotal = 所有暖通空调或制冷装置的 ARI 额定总制冷量 |
| 1305325aa781-0494-4ab5-b1ba-552a279409d2 | Translated (100%) | Qtotal = Total Eurovent Certified cooling capacity of all HVAC or refrigeration (kW) | Qtotal = 所有暖通空调或制冷装置的 Eurovent 认证总制冷量（KW） |
| 13064acf1679-28f5-4e49-9318-6685ff6dbcf6 | Translated (0%) | Retail EBOM | 零售 EBOM |
| 13077426e94b-8ab6-4339-b166-c9355cfdb99a | Translated (100%) | Meet Option 1 or 2 for all HVAC systems. | 所有暖通空调系统满足选项 1 或 2。 |
| 1308c8cba394-7ecd-446a-91c1-432bc9613a68 | Translated (100%) | Stores with commercial refrigeration systems must comply with the following. | 使用商用制冷系统的商店必须符合以下要求。 |
| 13092c2526f3-8a54-416f-9aae-5447e7d8a816 | Translated (100%) | Use only non-ozone-depleting refrigerants. | 仅使用不消耗臭氧层的制冷剂。 |
| 1310ee1ca7cf-b3e3-43dc-875d-3626bc9bdccf | Translated (87%) | Achieve an average HFC refrigerant charge of no more than 1.75 pounds of refrigerant per 1,000 Btu/h (2.72 grams of refrigerant per kW) total evaporator cooling load. | 对于蒸发器全部制冷负载的平均 HFC 制冷剂补充量，每 1,000 Btu/h（每 KW 2.72 g 制冷剂）不超过 1.75 磅。 |
| 1311da1a6810-6e8b-4e46-ac28-13445b4ae143 | Translated (89%) | Achieve a store-wide annual refrigerant emissions rate of no more than 15%. | 商店内部的年制冷剂排放率不超过 15%。 |
| 131207e88096-1a91-497e-a941-429fe0e0426b | Translated (88%) | Alternatively, stores with commercial refrigeration systems may provide proof of attainment of EPA GreenChill’s silver-level store certification for fully operational food retail stores. | 另外，使用商用制冷系统的商店需提供证据来证明全面运转的食品零售商店通过了 EPA GreenChill 银级商店认证。 |
| 13131f9694b9-ebea-4801-b40b-13e83f547022 | Translated (100%) | PERFORMANCE | 运行 |
| 13143605dcec-4b9b-407d-a928-fde73987ed2c | Translated (100%) | None. | 无。 |
| 1315ac74774f-8c94-416c-8585-4a687a5f9847 | Translated (100%) | Materials and Resources (MR) | 材料与资源 (MR) |
| 1316b05f8e07-9a99-4726-a891-d6c12ab77881 | Translated (0%) | MR Prerequisite: Ongoing Purchasing and Waste Policy | MR 先决条件：日常采购和废弃物政策 (Ongoing Purchasing and Waste Policy) |
| 1317e819770e-121f-4686-bdbe-e2e5f95bb44f | Translated (100%) | Required | 必要项 |
| 13188f1f90d1-a478-4d37-b388-8c59dc6f3934 | Translated (100%) | EB:O&M | EB:O&M |
| 1319862877f8-0452-4340-a686-c97d1317aa5d | Translated (100%) | This prerequisite applies to | 该先决条件适用于 |
| 1320b4ff1c63-7293-4fea-a8a1-998688987740 | Translated (100%) | Existing Buildings: Operations & Maintenance | 既有建筑：运营与维护 |
| 1321bd5bbe23-13e9-4352-bb7a-ce5a02a0653c | Translated (100%) | EB:O&M Schools | EB:O&M 学校 |
| 13225df8ce21-268f-4932-990f-79d29571334a | Translated (100%) | EB:O&M Retail | EB:O&M 零售 |
| 1323c64eaa96-d0a4-4001-9654-29f075abc074 | Translated (100%) | EB:O&M Data Centers | EB:O&M 数据中心 |
| 132437d37f06-e86b-40f2-b7a5-9d46df831fa7 | Translated (100%) | EB:O&M Hospitality | EB:O&M 宾馆接待 |
| 1325d9971a17-5373-4c94-9734-7e0e27974d95 | Translated (100%) | EB:O&M Warehouses & Distribution Centers | EB:O&M 仓储和配送中心 |
| 13268efb6727-2ead-4dc9-a460-d17d50316032 | Translated (100%) | Intent | 目的 |
| 13271a36d972-3882-4869-9661-2a1053ac026d | Translated (0%) | To reduce the environmental harm from materials purchased, used, and disposed of in the operations within buildings. | 减少在建筑运营中采购、使用和处理材料所产生的环境危害。 |
| 1328aa6a60d5-23d4-4c7b-a507-11d5230921f8 | Translated (100%) | Requirements | 要求 |
| 13295ab9979c-1f70-40ca-ab56-bac2590c0d48 | Translated (100%) | EBOM, Schools, Retail, Data Centers, Hospitality, Warehouses & Distribution Centers | EBOM、学校、零售、数据中心、宾馆接待、仓储和配送中心 |
| 13306a994c7c-1f68-448b-8a4e-3977f257ce24 | Translated (100%) | ESTABLISHMENT | 建立 |
| 13312aabefc3-b633-4092-8b11-bbb6560a8587 | Translated (0%) | Environmentally Preferable Purchasing | 环保采购 |
| 133206de4323-e9d3-4c80-9dea-a42008bb2bce | Translated (0%) | Have in place an environmentally preferable purchasing (EPP) policy for products purchased during regular operations of the building. | 针对建筑常规运营期间采购的产品制定环保采购 (EPP) 政策。 |
| 133306de4323-e9d3-4c80-9dea-a42008bb2bce | Translated (0%) | Include at a minimum: | 至少包括： |
| 1334357b361b-da88-4b6d-86a7-2c2b76a20c11 | Translated (0%) | Ongoing Purchases | 日常采购 |
| 1335a6a9922a-4594-4bdf-96b1-29f5673feef4 | Translated (0%) | The five most purchased product categories based on total annual purchases. | 五大采购产品类别（基于年度总采购量）。 |
| 1336fc063226-046a-43fc-8885-ab291780fcde | Translated (0%) | Paper, toner cartridges, binders, batteries, and desk accessories. | 纸张、硒鼓、资料夹、电池以及桌上办公用品。 |
| 133758711cfe-fd66-44b5-9592-c7db90549321 | Translated (0%) | Lamps (indoor and outdoor, hard-wired and portable fixtures) | 灯(室内和室外、固定和便携式灯具） |
| 1338f4ceb01c-8e3f-41f7-81f0-0325b787fd2e | Translated (0%) | Food (required for Schools and Hospitality only) | 食品（仅学校和宾馆接待需要） |
| 1339cf3f5232-4d30-4076-8080-d404fe4dde12 | Translated (0%) | Durable Goods Purchases | 耐用产品采购 |
| 1340c62facbf-2489-4b86-b503-e56eb2b70750 | Translated (0%) | Office equipment, appliances, and audiovisual equipment | 办公设备、电器和视听设备 |
| 13414073f8c7-6931-4e81-baf9-4e4966754c34 | Translated (0%) | Electric powered equipment | 电动设备 |
| 13427e410362-bdf5-4d4b-b268-756a6c63b6d7 | Translated (0%) | The policy should address the criteria in the following credits: | 该政策应说明以下得分点中的标准： |
| 1343786ec606-912c-487c-9f9d-aba354f633ef | Translated (0%) | Materials and Resources Credit: Purchasing—Ongoing | 材料与资源得分点：采购—日常持续 (Purchasing—Ongoing) |
| 1344f4d0ac5a-e9c8-47d8-ac95-0f9453510664 | Translated (87%) | Materials and Resources Credit: Purchasing—Lamps | 材料与资源得分点：采购—灯 (Purchasing—Lamps) |
| 1345a7cf6591-9846-4c45-957a-dd3bf035a795 | Translated (97%) | The policy must cover at least those product purchases within the building and site management’s control. | 该政策必须至少涵盖那些在建筑和场址管理人员控制范围之内的产品采购。 |
| 1346f6422d50-47d2-49c5-bbdf-e6be8a50b691 | Translated (100%) | Solid Waste Management | 固体废弃物管理 |
| 1347bcf97047-09a3-4260-942d-af46d0995c8b | Translated (0%) | Establish storage locations for recyclable materials, including mixed paper, corrugated cardboard, glass, plastics, and metals. | 为可回收材料（包括混合纸、硬纸板、玻璃和金属）设立存贮位置。 |
| 1348bcf97047-09a3-4260-942d-af46d0995c8b | Translated (0%) | Establish safe storage areas for batteries and mercury-containing lamps. | 为电池和含汞灯设立安全的存贮区域。 |
| 13491d0b2ddd-720a-43fa-ad94-1ffc49d4bd43 | Translated (0%) | Have in place an environmentally preferable solid waste management policy that addresses reuse, recycling, or composting of products purchased during regular operations of the building. | 制定环保固体废弃物管理政策，以便对建筑常规运营期间采购的产品进行再利用、回收或堆肥。 |
| 13501d0b2ddd-720a-43fa-ad94-1ffc49d4bd43 | Translated (100%) | Include at a minimum: | 至少包括： |
| 1351c3fef006-2ca1-45ff-83c0-2f94773fa98b | Translated (0%) | Ongoing waste | 日常废弃物 |
| 13523f97bec6-3087-4f87-9220-dd9a39130857 | Translated (100%) | The five most purchased product categories based on total annual purchases. | 五大采购产品类别（基于年度总采购量）。 |
| 1353f844d3cf-07e6-455b-b52a-055cb907c173 | Translated (91%) | Food (required for EBOM Schools and Hospitality only) | 食品（仅 EBOM 学校和宾馆接待需要） |
| 135476cd4b1d-d88f-4070-828d-66ea67673490 | Translated (74%) | Durable goods waste | 耐用产品废弃物 |
| 135582a481f0-2f24-4be8-92c7-3ea8cd6f93a1 | Translated (100%) | Office equipment, appliances, and audiovisual equipment | 办公设备、电器和视听设备 |
| 1356ba8cef6c-e969-4d23-84d2-d5a193044ae5 | Translated (100%) | Electric powered equipment | 电动设备 |
| 1357d87d02dd-4006-423d-bd29-84ebfc9205cd | Translated (0%) | Hazardous waste | 有害废弃物 |
| 13582a146e97-95aa-417d-82c0-1bf894c0b9dc | Translated (0%) | Safe disposal of batteries and lamps (indoor and outdoor, hard-wired and portable fixtures) | 安全处理电池和灯（室内和室外、固定和便携式灯具） |
| 1359525679ce-57ce-4971-82a8-e92ed5dfaa3b | Translated (100%) | The policy must cover at least those product purchases within the building and site management’s control. | 该政策必须至少涵盖那些在建筑和场址管理人员控制范围之内的产品采购。 |
| 13604b90efc7-767e-4f54-8778-5c6667190a88 | Translated (100%) | Retail | 零售 |
| 1361dde0da31-03b1-424a-92d1-1a8bc57d20dd | Translated (0%) | In addition to the requirements above, retail projects should promote environmentally responsible sourcing of retail merchandise through one of the four following options. | 除了上述要求之外，零售项目还应通过以下四个选项之一来推广对环境负责的零售商品采购： |
| 1362d934f0e7-66a3-4e6f-a9ac-298ecdaf1fc1 | Translated (0%) | <1550>O</1550><1551>ption<1552> 1.</1552></1551> | <1550></1550><1551>选项<1552> 1.</1552></1551> |
| 1363d934f0e7-66a3-4e6f-a9ac-298ecdaf1fc1 | Translated (0%) | Supply Chain Survey | 供应链调查 |
| 136423b6c3cb-3486-470f-98c4-22d38ab99354 | Translated (0%) | Establish a supply chain survey. | 建立供应链调查。 |
| 1365909d97bc-6a01-412b-91a1-4e563fdd9cd7 | Translated (0%) | The survey should collect information from each supplier regarding the following: | 调查应从每个供应商处收集以下相关信息： |
| 1366f8f7ffdf-9273-4301-a82b-932351d21f67 | Translated (0%) | social equity practices; | 社会公平实践； |
| 1367b460f1ca-0e17-4d2c-b1d5-5b3dbbe349ca | Translated (0%) | energy and carbon reduction measures; | 能源和碳减排措施； |
| 1368bc600ded-f3ad-4e6b-a506-63115569b5f3 | Translated (0%) | material selection practices for products, packaging, and distribution; | 产品、包装和配送相关的材料选择实践； |
| 13699139929c-d64d-4cf6-9053-96a92e520922 | Translated (0%) | waste reduction and waste management measures; and | 废弃物减量和废弃物管理措施；以及 |
| 137081282d65-4330-4be3-b68b-9b9c7e4ed2dc | Translated (0%) | human health protection measures. | 人类健康保护措施。 |
| 1371b957d1d4-e63c-43ca-9610-26128784be49 | Translated (100%) | OR | 或 |
| 1372f0c185f3-04ea-4270-be19-e965084592e4 | Translated (100%) | <1558>O</1558><1559>ption<1560> 2.</1560></1559> | <1558></1558><1559>选项<1560> 2.</1560></1559> |
| 1373f0c185f3-04ea-4270-be19-e965084592e4 | Translated (0%) | Supply Chain Education Program for Retail Employees and/or Retail Tenant Representatives | 针对零售员工和/或零售租户代表的供应链教育计划 |
| 1374e8bdc04d-ed5f-4d5f-a753-1951772d4955 | Translated (0%) | Establish a program to inform employees and tenants engaged in merchandise purchasing, packaging, and distribution about environmentally preferable supply chain strategies. | 制定计划，通知员工和租户参与关于环保供应链策略的商品采购、包装和配送。 |
| 137577289c23-56fd-4029-a43f-3e880237db99 | Translated (0%) | Include the following in the education program: | 在教育计划中包括以下内容： |
| 1376c9852f03-3f3d-44e0-9c1b-2b5ca3e8f14a | Translated (0%) | environmental best practices for supply chain decisions; | 适用于供应链决策的环境保护最佳实践； |
| 1377cd59d326-dd07-4ec4-bb48-6deb3a52b6e9 | Translated (0%) | resources for additional information; and | 有关其他信息的资源；以及 |
| 1378843a8742-2813-4431-a6a0-f40d6749d43c | Translated (0%) | internal contacts for more information. | 内部联系人（以了解更多信息）。 |
| 13792ab880d4-f16b-4a12-93aa-e3552abd76af | Translated (100%) | OR | 或 |
| 13804f7c638e-15f2-442f-a708-0760b1297ade | Translated (100%) | <1564>O</1564><1565>ption<1566> 3.</1566></1565> | <1564></1564><1565>选项<1566> 3.</1566></1565> |
| 13814f7c638e-15f2-442f-a708-0760b1297ade | Translated (0%) | Supply Chain Environmental Criteria List | 供应链环保标准列表 |
| 13822333af62-c630-4920-8dbc-a78dcca96f27 | Translated (0%) | Establish criteria for retail products encouraging an environmentally preferable supply chain strategy addressing the following areas: | 为鼓励环保供应链策略的零售产品建立以下相关方面的标准： |
| 1383e4f750ea-1564-4db8-83ea-8ec2da74d63e | Translated (0%) | purchasing; | 采购； |
| 1384df24d3c5-ec95-41e5-8a25-29fd7f3522fa | Translated (0%) | materials handling and packaging; | 材料处理和包装； |
| 1385d8296d9d-06a1-4f94-9518-2580165666bf | Translated (0%) | inventory; | 清单； |
| 13863f2bdeea-0245-4fb9-ba0e-f8f272c21dec | Translated (0%) | materials recovery during manufacturing; | 制造期间的材料回收； |
| 13877a60004d-3a48-47ca-b4cd-a8b95ca2099a | Translated (0%) | waste disposal; and | 废弃物处理；以及 |
| 1388a2fcedde-ac24-4447-a17b-37f419ef1e53 | Translated (0%) | product take-back. | 产品回收。 |
| 13897d943a5a-b290-4321-ba49-ee2e71dc75fe | Translated (100%) | OR | 或 |
| 1390bf65a932-48f9-4e03-811a-026ab5a5edb1 | Translated (100%) | Option 4. | 选项 4. |
| 1391bf65a932-48f9-4e03-811a-026ab5a5edb1 | Translated (0%) | Sustainable Purchasing Education for Customers | 针对客户的可持续采购教育 |
| 139254928f75-54c7-4e33-8b58-5ba72952230f | Translated (0%) | Install an educational program display for customers displaying environmental initiatives that the store has implemented. | 为客户安装教育计划展架，以显示商店已实施的环保措施。 |
| 139354928f75-54c7-4e33-8b58-5ba72952230f | Translated (0%) | The educational display should incorporate information that includes the supply chain environmental criteria listed in Option 3. | 教育展架中应整合包含选项 3 中所列供应链环保标准的信息。 |
| 1394de6f26df-87f6-450c-b1d0-6d91657e26a5 | Translated (100%) | PERFORMANCE | 运行 |
| 139529d616d2-660b-4b0a-8c5f-48b05c596577 | Translated (0%) | Maintain a high-performing solid waste management program by conducting a waste stream audit of ongoing consumables at least once every five years or by diverting 75% of ongoing waste and achieving Materials and Resources Credit Solid Waste Management—Ongoing. | 通过至少每五年对日常消耗品执行一次废弃物流审计或通过转化 75% 的日常废弃物并获得材料与资源得分点：固体废弃物管理—日常持续 (Solid Waste Management—Ongoing)，来维护高性能固体废弃物管理计划。 |
| 139616186f10-9ffc-42d7-a2e0-3dae5b5053af | Translated (0%) | MR Prerequisite: Facility Maintenance and Renovation Policy | MR 先决条件：设施维护和改造政策 (Facility Maintenance and Renovation Policy) |
| 1397885cd88b-4349-4b27-a5e5-10ba6ba8489e | Translated (100%) | Required | 必要项 |
| 1398e4fbe173-bc9a-4709-bf88-90a311bb8ddc | Translated (100%) | EB:O&M | EB:O&M |
| 1399b0476610-6f9a-44d5-94ec-58405859ecd8 | Translated (100%) | This prerequisite applies to | 该先决条件适用于 |
| 1400ed07c132-b9b6-4fa0-b6f5-62bcde1259e5 | Translated (100%) | Existing Buildings: Operations & Maintenance | 既有建筑：运营与维护 |
| 14017c39db10-44d8-4f31-9fb8-40acdd2d9436 | Translated (100%) | EB:O&M Schools | EB:O&M 学校 |
| 14020372178e-fbc4-49bb-89d1-3745a40e4922 | Translated (100%) | EB:O&M Retail | EB:O&M 零售 |
| 140351f0c3c1-ecb1-4ed2-89e4-b9cc3dd90bb1 | Translated (100%) | EB:O&M Data Centers | EB:O&M 数据中心 |
| 1404337fcf1c-3ba5-4fc5-86ca-c156c6673eb1 | Translated (100%) | EB:O&M Hospitality | EB:O&M 宾馆接待 |
| 140506b674be-0978-4df7-9d18-647892334612 | Translated (100%) | EB:O&M Warehouses & Distribution Centers | EB:O&M 仓储和配送中心 |
| 1406efc46a7e-1c25-4290-a0ed-f060b86a7ef2 | Translated (100%) | Intent | 目的 |
| 14078e0b284f-f881-4abd-a849-58e3d6712be4 | Translated (0%) | To reduce the environmental harms associated with the materials purchased, installed, and disposed of during maintenance and renovation of buildings. | 减少与建筑维护和改造期间所采购、安装和处理的材料相关的环境危害。 |
| 1408690936f5-0460-4142-98bb-047d7ff99219 | Translated (100%) | Requirements | 要求 |
| 140987d3aa46-a472-4136-99d4-f453d6ee8d61 | Translated (100%) | EBOM, Schools, Retail, Data Centers, Hospitality, Warehouses & Distribution Centers | EBOM、学校、零售、数据中心、宾馆接待、仓储和配送中心 |
| 1410fa834df5-5022-4b45-8e4b-e60a6a70db28 | Translated (100%) | ESTABLISHMENT | 建立 |
| 1411f3bce514-adfc-4363-8903-f9591cfc3933 | Translated (0%) | Have in place a facility maintenance and renovation policy that includes guidelines for renovation and maintenance activities, using LEED rating system strategies, to be implemented at the discretion of building owners, operators, or tenants. | 使用 LEED 评估体系策略，制定包括改造和维护活动指南的设施维护和改造政策，这些活动可由建筑业主、运营者或租户来决定是否实施。 |
| 1412f3bce514-adfc-4363-8903-f9591cfc3933 | Translated (0%) | Renovation activities include building improvements and tenant fit-outs. | 改造活动包括建筑改善和租户装修。 |
| 1413f3bce514-adfc-4363-8903-f9591cfc3933 | Translated (0%) | Maintenance activities include general repair and replacement. | 维护活动包括常规维修和更换。 |
| 1414c02bebff-64be-4766-98c4-11ff48d6d82c | Translated (100%) | The policy must cover at least those product purchases within the building and site management’s control. | 该政策必须至少涵盖那些在建筑和场址管理人员控制范围之内的产品采购。 |
| 1415c02bebff-64be-4766-98c4-11ff48d6d82c | Translated (0%) | The policy must address purchasing, waste management and indoor air quality. | 它必须说明采购、废弃物管理和室内空气质量。 |
| 1416d77dcb8f-924d-4259-b412-ef2cf1f17d45 | Translated (0%) | Purchasing Policy for Maintenance and Renovations | 有关维护和改造的采购政策 |
| 1417f5fb1f75-b483-4fc6-b428-d07499ad6f57 | Translated (0%) | Have in place a purchasing policy for product and materials purchased for facility maintenance and renovation activities. | 针对为设施管理和改造活动采购的产品和材料制定采购政策。 |
| 1418f5fb1f75-b483-4fc6-b428-d07499ad6f57 | Translated (100%) | Include at a minimum: | 至少包括： |
| 14192f324ddc-d171-40a0-81e5-30ef5614039a | Translated (0%) | Base building elements permanently or semi- permanently attached to the building (mechanical, electrical and plumbing components and specialty items such as elevators are excluded). | 永久性或半永久性安装到建筑上的基本建筑构件（不包括机械、电气和管道组件，以及电梯等特殊项）。 |
| 14202f324ddc-d171-40a0-81e5-30ef5614039a | Translated (83%) | Exclude fixtures, and equipment, which are not considered base building elements; | 不包括固定装置和设备，它们不被视为基本建筑构件； |
| 1421f43861bb-32b6-4102-9048-8ec92290a241 | Translated (0%) | Furniture and furnishings as well as components and parts needed to maintain them | 家具和陈设以及维护它们所需的零部件 |
| 1422b944c382-48d5-425f-af34-5a314b15d30a | Translated (100%) | The policy should address the criteria in the following credits: | 该政策应说明以下得分点中的标准： |
| 14237db46fa1-e7e9-4473-b101-c2c0870d2b4b | Translated (0%) | MR Credit: Purchasing—Facility Maintenance and Renovation | MR 得分点：采购—设施维护和改造 (Facility Maintenance and Renovation) |
| 1424c6034ced-2bcd-4adc-a8c1-e1ceae5a1c00 | Translated (76%) | Waste Management Policy for Maintenance and Renovations | 有关维护和改造的废弃物管理政策 |
| 1425176b4e4c-72f6-4594-a930-1bc47466838a | Translated (0%) | Have in place a waste management policy addressing the following: | 针对以下内容制定废弃物管理政策： |
| 14262442582e-233d-472b-9575-910cc8673611 | Translated (0%) | <1584>Facility maintenance waste</1584>. | <Italic>设施维护废弃物</Italic>。 |
| 14272442582e-233d-472b-9575-910cc8673611 | Translated (0%) | The policy should address safe storage and recycling and diversion of waste associated with maintenance activities. | 该政策应说明安全存贮和回收及转化与维护活动相关的废弃物。 |
| 14285f64a2fd-6a63-4cc2-b7cc-97f30de53757 | Translated (0%) | <1585>Renovation waste</1585>. | <Italic>改造废弃物</Italic>。 |
| 14295f64a2fd-6a63-4cc2-b7cc-97f30de53757 | Translated (0%) | The policy should describe the procedure for creating an individual plan for each renovation project. | 该政策应说明为每个改造项目制定单独计划的过程。 |
| 14305f64a2fd-6a63-4cc2-b7cc-97f30de53757 | Translated (0%) | Each renovation project should establish waste diversion goals, target five materials for diversion, approximate the volume of waste anticipated, and identify waste diversion strategies to be used. | 对于每个改造项目，都应建立废弃物转化目标，确定五种要进行转化的材料，预估废弃物量，并确定要采用的废弃物转化策略。 |
| 14315e1aa4c6-4e7b-4472-9f8a-2041e04d5319 | Translated (0%) | Indoor Air Quality Policy for Maintenance and Renovations | 有关维护和改造的室内空气质量政策 |
| 1432cb11efeb-2e5b-455d-b8a3-2232baae7b33 | Translated (0%) | Have in place an indoor air quality policy for facility maintenance and renovation activities addressing the criteria below. | 根据以下标准为设施维护和改造活动制定室内空气质量政策。 |
| 1433cb11efeb-2e5b-455d-b8a3-2232baae7b33 | Translated (0%) | For maintenance activities implement the policy as applicable. | 对于维护活动，实施该政策（如适用）。 |
| 1434cb11efeb-2e5b-455d-b8a3-2232baae7b33 | Translated (0%) | For renovation activities create an individual plan for each renovation project as outlined in the policy. | 对于改造活动，按照该政策中的规定为每个改造项目制定单独计划。 |
| 1435aecdd231-64d1-48c7-872a-a1fbc9fd19ca | Translated (86%) | Follow the recommended control measures of the Sheet Metal and Air Conditioning National Contractors Association (SMACNA) IAQ Guidelines for Occupied Buildings under Construction, 2nd edition (2007), ANSI/SMACNA 008–2008, Chapter 3 | 采取美国金属散热与空气调节承包商协会 (SMACNA)《施工过程中使用建筑的 IAQ 指南》(IAQ Guidelines For Occupied Buildings Under Construction)，2007 年第 2 版，ANSI/SMACNA 008-2008，第 3 章中建议的控制措施。 |
| 1436724befbd-c293-402d-9e06-433c49daf247 | Translated (94%) | Protect stored on-site and installed absorptive materials from moisture damage. | 保护存贮在场址内的或已安装的吸收性材料，避免其受潮而损坏。 |
| 1437e4c8ebc9-aa1a-46f5-b6b5-66a4bcfbdde0 | Translated (98%) | Do not operate permanently-installed air handling equipment during construction unless filtration media with a minimum efficiency reporting value (MERV) of 8, as determined by ASHRAE 52.2–2007, with errata (or equivalent filtration media class of F5 or higher, as defined by CEN Standard EN 779–2002, Particulate Air Filters for General Ventilation, Determination of the Filtration Performance), are installed at each return air grille and return or transfer duct inlet opening such that there is no bypass around the filtration media. | 施工期间不要操作永久安装的空气处理设备，除非有由 ASHRAE 52.2–2007，带勘误表（或由 CEN 标准 EN 779–2002，“一般通风用空气粒子过滤器”，“过滤性能确定”定义的 F5 或更高值的等效过滤介质等级）确定的最低效率报告值（MERV）为 8 的过滤介质安装在每个回风口以及回风或送风管道入口，这样空气就不会绕过过滤介质。 |
| 1438f62c0b34-e499-45c7-a6e0-7a7f7d8ee1e1 | Translated (0%) | Develop a procedure to, before occupancy, replace all filtration media with the final design filtration media. | 制定一个过程，以便在入驻之前将所有过滤介质更换为最终设计的过滤介质。 |
| 14395a45b591-5de1-4bbf-99f4-66d9961706c2 | Translated (0%) | Develop a plan to determine whether a flush-out or air quality testing is needed after construction ends and all interior finishes are installed but before occupancy. | 制定一个计划，以便确定在施工结束且所有室内面层都已安装后但在入驻前是否需要进行吹洗或空气质量测试。 |
| 144032bc921e-0cfa-4da4-b0d1-a06add4ba903 | Translated (100%) | PERFORMANCE | 运行 |
| 144134d9c108-c1c9-486e-a8bb-f83a8b6aa4b3 | Translated (100%) | None. | 无。 |
| 14421d861679-1366-4dad-8faf-00fcea82c28c | Translated (78%) | MR Credit: Purchasing—Ongoing | MR 得分点：采购—日常持续 (Purchasing—Ongoing) |
| 1443e3c62266-adf7-491d-b6ec-e5c0f2905b3e | Translated (100%) | EB:O&M | EB:O&M |
| 144446f3a291-f670-4272-b5c2-1532366fc196 | Translated (100%) | 1 point | 1 分 |
| 1445ea07b784-7ca4-42c4-8aa9-199941705add | Translated (100%) | This credit applies to | 该得分点适用于 |
| 1446f3c05798-69fe-46e0-b19f-bb25dc2b00aa | Translated (100%) | Existing Buildings: Operations & Maintenance (1 point) | 既有建筑：运营与维护（1 分） |
| 1447f513d665-9a4d-44f4-b882-3a18d1d6ed53 | Translated (100%) | EB:O&M Schools (1 point) | EB:O&M 学校（1 分） |
| 14489cb27df6-77ef-4d0f-957a-38d842903c90 | Translated (100%) | EB:O&M Retail (1 point) | EB:O&M 零售（1 分） |
| 14493ce4bb73-a3e6-4cba-98b6-1bf29b1a8da0 | Translated (100%) | EB:O&M Data Centers (1 point) | EB:O&M 数据中心（1 分） |
| 1450dce99e98-ebdd-4965-ad3b-e8f7b76f1ba1 | Translated (100%) | EB:O&M Hospitality (1 point) | EB:O&M 宾馆接待（1 分） |
| 1451f69617f9-496b-442e-9c51-517d0c1e9906 | Translated (100%) | EB:O&M Warehouses & Distribution Centers (1 point) | EB:O&M 仓储和配送中心（1 分） |
| 1452820a37f8-4055-4243-9479-2dfd5752d183 | Translated (100%) | Intent | 目的 |
| 145324e03b56-514f-450f-b884-ab340f901fcc | Translated (0%) | To reduce environmental harm from materials used in the operations and maintenance of buildings. | 减少建筑运营和维护中所用材料产生的环境危害。 |
| 1454dcd1fc22-ce72-46a1-965c-93727054481d | Translated (100%) | Requirements | 要求 |
| 14553b1099ea-a6b1-44a4-a4e0-edb7e3c30def | Translated (100%) | EBOM, Schools, Retail, Data Centers, Hospitality, Warehouses & Distribution Centers | EBOM、学校、零售、数据中心、宾馆接待、仓储和配送中心 |
| 1456de7e5aa0-80c8-4c73-8f70-2706e13e9714 | Translated (100%) | ESTABLISHMENT | 建立 |
| 14574d1a4b6a-c77d-45d2-8f76-3be7c214053a | Translated (100%) | None. | 无。 |
| 1458b1590146-68aa-4824-ad00-191dde8ab5c8 | Translated (100%) | PERFORMANCE | 运行 |
| 145915591638-059a-4dd5-aca8-e4472b0ab463 | Translated (100%) | Ongoing Consumables | 日常消耗品 |
| 1460eddd2085-4310-4a81-846e-404b02b431e9 | Translated (0%) | Purchase at least 60%, by cost, of total ongoing consumables that meet at least one of the following criteria. | 至少日常消耗品总采购量的 60%（按成本）满足以下至少一个标准。 |
| 1461eddd2085-4310-4a81-846e-404b02b431e9 | Translated (0%) | Include the product categories identified in the Materials and Resources prerequisite: Ongoing Purchasing and Waste Policy. | 包括材料与资源先决条件：日常采购和废弃物政策 (Ongoing Purchasing and Waste Policy) 中确定的产品类别。 |
| 1462eddd2085-4310-4a81-846e-404b02b431e9 | Translated (0%) | Lamps are excluded from the calculation. | 灯排除在计算之外。 |
| 1463eddd2085-4310-4a81-846e-404b02b431e9 | Translated (0%) | Each purchase can receive credit for each criterion met. | 采购每满足一个标准便可以获得相应得分点。 |
| 1464f2e84661-3e34-4497-9f51-fd7ac885796d | Translated (99%) | Postconsumer recycled content. | 消费后回收物质含量。 |
| 1465f2e84661-3e34-4497-9f51-fd7ac885796d | Translated (0%) | The content of purchases must meet or exceed the levels listed in the U.S. Environmental Protection Agency Comprehensive Procurement Guidelines. | 采购内容必须满足或超过美国环保局 (EPA) 综合采购指导原则中列出的等级。 |
| 1466f2e84661-3e34-4497-9f51-fd7ac885796d | Translated (0%) | Products not covered by the Guidelines can get credit for their recycled content with no minimum. | 对于该指导原则中未涵盖的产品，可获得回收物质含量（无最小值）对应的得分点。 |
| 146732a3f33f-e32d-43bc-be88-74322d00dd61 | Translated (0%) | Extended use. | 扩展用途。 |
| 146832a3f33f-e32d-43bc-be88-74322d00dd61 | Translated (0%) | Batteries must be rechargeable. | 电池必须是可充电的。 |
| 146932a3f33f-e32d-43bc-be88-74322d00dd61 | Translated (0%) | Toner cartridges for laser printers must be remanufactured. | 激光打印机的硒鼓必须是再制造产品。 |
| 1470fb02a15e-6b2e-4aa1-8bb4-dcb455380f17 | Translated (0%) | Sustainable agriculture. | 可持续农业。 |
| 1471fb02a15e-6b2e-4aa1-8bb4-dcb455380f17 | Translated (0%) | Food and beverages must be labeled USDA Organic, Food Alliance Certified, Rainforest Alliance Certified, Protected Harvest Certified, Fair Trade, or Marine Stewardship Council’s Blue Eco-Label, Canada Organic logo in accordance with Organic Products Regulations (SOR/2009-176) or labeled with the European Community Organic Production logo in accordance with Regulations (EC) No. 834/2007 and (EC) No. 889/2008. | 食品和饮料必须标有 USDA 有机 (USDA Organic)、食品联盟认证 (Food Alliance Certified)、雨林联盟认证 (Rainforest Alliance Certified)、收获保护认证 (Protected Harvest Certified)、公平贸易 (Fair Trade)、海洋管理委员会蓝色生态标签 (Marine Stewardship Council’s Blue Eco-Label)、加拿大有机 (Canada Organic) 标记（根据有机产品法规 (SOR/2009-176)）或欧盟有机产品 (European Community Organic Production) 标记（根据法规 (EC) 834/2007 号和 (EC) 889/2008 号）。 |
| 147235f1c0c1-bdca-4933-93a1-1ab1d497b7ab | Translated (0%) | Local sourcing of food and beverages. | 本地采购食品和饮料。 |
| 147335f1c0c1-bdca-4933-93a1-1ab1d497b7ab | Translated (0%) | The food or beverage must contain raw materials harvested and produced within 100 miles (160 kilometers) of the site. | 食品或饮料必须包含在场址 100 英里（160 千米）范围内收获和生产的原材料。 |
| 147470e6e195-6635-4919-a155-db07a6c965fe | Translated (100%) | Bio-based materials. | 生物基材料。 |
| 147570e6e195-6635-4919-a155-db07a6c965fe | Translated (100%) | Bio-based products must meet the Sustainable Agriculture Network’s Sustainable Agriculture Standard. | 生物基产品必须符合可持续农业网络 (Sustainable Agriculture Network) 的可持续农业标准 (Sustainable Agriculture Standard)。 |
| 147670e6e195-6635-4919-a155-db07a6c965fe | Translated (100%) | Bio-based raw materials must be tested using ASTM Test Method D6866 and be legally harvested, as defined by the exporting and receiving country. | 生物基原材料必须使用 ASTM 测试方法 D6866 进行测试，并且在收集时要符合出口国和进口国的法律要求。 |
| 147770e6e195-6635-4919-a155-db07a6c965fe | Translated (100%) | Exclude hide products, such as leather and other animal skin material. | 不包括兽皮产品，如皮革及其他动物皮料。 |
| 147801ce1fc5-9e1e-4af1-a62d-26e7038bca1c | Translated (0%) | Paper and wood products. | 纸张和木制品。 |
| 147901ce1fc5-9e1e-4af1-a62d-26e7038bca1c | Translated (89%) | Paper and wood products must be certified by the Forest Stewardship Council or USGBC-approved equivalent. | 纸张和木制品必须通过森林管理委员会 (Forest Stewardship Council) 或 USGBC 认可的当地等效标准的认证。 |
| 14802294bf6f-3211-4523-a92f-e32b89cbeca9 | Translated (100%) | Electric-Powered Equipment | 电动设备 |
| 1481f12cf5d1-5024-4d90-acdd-80ac73bceb65 | Translated (83%) | Purchase at least 40%, by cost, electric-powered equipment that meets at least one of the following criteria. | 至少所采购电动设备的 40%（按成本）满足以下至少一个标准。 |
| 1482f12cf5d1-5024-4d90-acdd-80ac73bceb65 | Translated (86%) | Include product categories specified in Materials and Resources prerequisite: Ongoing Purchasing and Waste Policy. | 包括材料与资源先决条件：日常采购和废弃物政策 (Ongoing Purchasing and Waste Policy) 中指定的产品类别。 |
| 1483f12cf5d1-5024-4d90-acdd-80ac73bceb65 | Translated (0%) | In addition, create a phase-out plan to replace remaining products with compliant equipment at the end of their useful life. | 此外，制定淘汰计划，在其余产品使用寿命结束时将它们更换为符合要求的设备。 |
| 14849d33c242-444f-4846-b2e0-11ad6c328a0f | Translated (0%) | EPEAT rating. | EPEAT 等级。 |
| 14859d33c242-444f-4846-b2e0-11ad6c328a0f | Translated (0%) | The equipment must have a silver Electronic Product Environmental Assessment Tool (EPEAT) rating or better. | 设备必须具有电子产品环保评估工具 (EPEAT) 等级或更高等级。 |
| 14865c3991ca-5995-4cf8-9760-48f2c8401b96 | Translated (99%) | ENERGY STAR rating. | “能源之星”(ENERGY STAR) 等级。 |
| 14875c3991ca-5995-4cf8-9760-48f2c8401b96 | Translated (0%) | If the equipment does not yet fall under the EPEAT rating systems, it must be ENERGY STAR® qualified or performance equivalent for projects outside the U.S. | 如果设备尚不属于 EPEAT 评估体系，则必须符合能源之星® (ENERGY STAR®) 要求，美国以外的项目设备性能必须相当。 |
| 1488a1ceaa0b-ea1c-4b4c-b33b-f2cd847ad502 | Translated (83%) | Schools and Hospitality only | 仅限学校和宾馆接待 |
| 1489a9499ec9-d63a-4252-a912-afb613e82837 | Translated (80%) | Purchase at least 25%, by cost, of total combined food and beverage purchases must meet at least one of the following criteria. | 至少食品和饮料总采购量的 25%（按成本）必须满足以下至少一个标准。 |
| 1490a9499ec9-d63a-4252-a912-afb613e82837 | Translated (0%) | Exclude wine, beer, and liquor purchases from the credit calculations. | 将葡萄酒、啤酒和烈性酒采购排除在得分点计算之外。 |
| 1491a5cc4710-903e-4dfd-8c3e-12a746f7a30d | Translated (100%) | Sustainable agriculture. | 可持续农业。 |
| 1492a5cc4710-903e-4dfd-8c3e-12a746f7a30d | Translated (81%) | The food or beverage must be labeled USDA Organic, Food Alliance Certified, Rainforest Alliance Certified, Protected Harvest Certified, Fair Trade, or Marine Stewardship Council’s Blue Eco-Label, or labeled with the European Community Organic Production logo in accordance with Regulations (EC) No. 834/2007 and (EC) No. 889/2008. | 食品或饮料必须标有 USDA 有机 (USDA Organic)、食品联盟认证 (Food Alliance Certified)、雨林联盟认证 (Rainforest Alliance Certified)、收获保护认证 (Protected Harvest Certified)、公平贸易 (Fair Trade)、海洋管理委员会蓝色生态标签 (Marine Stewardship Council’s Blue Eco-Label) 或欧盟有机产品 (European Community Organic Production) 标记（根据法规 (EC) 834/2007 号和 (EC) 889/2008 号）。 |
| 1493a3dfae55-4e32-4176-9946-c3b305b7c013 | Translated (0%) | Local sourcing. | 本地采购。 |
| 1494a3dfae55-4e32-4176-9946-c3b305b7c013 | Translated (100%) | The food or beverage must contain raw materials harvested and produced within 100 miles (160 kilometers) of the site. | 食品或饮料必须包含在场址 100 英里（160 千米）范围内收获和生产的原材料。 |
| 1495269ad12e-d085-419c-8f91-5491418a73d0 | Translated (76%) | MR Credit: Purchasing—Lamps | MR 得分点：采购—灯 (Purchasing—Lamps) |
| 1496851fe29c-e353-43c9-a05f-fd83a584fdc0 | Translated (100%) | EB:O&M | EB:O&M |
| 1497be8da816-1596-4e25-9b4a-ed95210a6b26 | Translated (100%) | 1 point | 1 分 |
| 14983da04c53-083d-4c11-944d-a0e43389fb60 | Translated (100%) | This credit applies to | 该得分点适用于 |
| 14991c733cd6-de4a-4419-bddf-074db83b0102 | Translated (100%) | Existing Buildings: Operations & Maintenance (1 points) | 既有建筑：运营与维护（1 分） |
| 1500f38125df-949a-4cbb-a287-6a1f512da858 | Translated (100%) | EB:O&M Schools (1 points) | EB:O&M 学校（1 分） |
| 1501cc882a68-632c-43b9-8e0e-b0d5146b4d8a | Translated (100%) | EB:O&M Retail (1 points) | EB:O&M 零售（1 分） |
| 15026fc767ec-3350-4a3c-bb82-504580b3e3eb | Translated (100%) | EB:O&M Data Centers (1 points) | EB:O&M 数据中心（1 分） |
| 1503a125cad2-565f-4a39-bcc2-b56d8275bbe8 | Translated (100%) | EB:O&M Hospitality (1 points) | EB:O&M 宾馆接待（1 分） |
| 150443d43195-de1d-47d3-bfb0-c91b7b309c9b | Translated (100%) | EB:O&M Warehouses & Distribution Centers (1 points) | EB:O&M 仓储和配送中心（1 分） |
| 150517909fe8-d915-4983-8b48-cf461ae49f11 | Translated (100%) | Intent | 目的 |
| 15062f399ecf-3d26-43cd-9b48-3f0b9db496e7 | Translated (100%) | To establish and maintain a toxic material source reduction program to reduce the amount of mercury brought onto the building site through purchases of lamps. | 制定和维护一个减少有毒材料来源计划，以减少通过采购灯带到建筑场址的汞含量。 |
| 1507c8ec8e5d-7dc9-4be2-9eca-be88c60f3b10 | Translated (100%) | Requirements | 要求 |
| 15082dc60f2f-9499-40e1-92de-baab8dbd20d3 | Translated (100%) | EBOM, Schools, Retail, Data Centers, Hospitality, Warehouses & Distribution Centers | EBOM、学校、零售、数据中心、宾馆接待、仓储和配送中心 |
| 15096e82b82b-13d3-4189-9443-c634ce1d7226 | Translated (100%) | ESTABLISHMENT | 建立 |
| 15107f506373-fc1f-4f20-9051-4c3b51a79bd4 | Translated (100%) | None. | 无。 |
| 1511642fcd71-048e-44b1-847a-5cfc66105d47 | Translated (100%) | PERFORMANCE | 运行 |
| 1512f7641632-edff-4194-9f7a-0d14605c9bb4 | Translated (0%) | Implement the lighting purchasing plan that specifies an overall building average of 70 picograms of mercury per lumen-hour or less for all mercury-containing lamps purchased for the building and associated grounds within the project boundary. | 实施灯采购计划，指定项目边界内建筑和相关场址采购的所有含汞灯中整体建筑平均汞含量为小于或等于每流明小时 70 微微克。 |
| 1513f7641632-edff-4194-9f7a-0d14605c9bb4 | Translated (88%) | Include lamps for both indoor and outdoor fixtures, as well as both hard-wired and portable fixtures. | 包括室内和室外，以及固定和便携式灯具的灯。 |
| 1514f7641632-edff-4194-9f7a-0d14605c9bb4 | Translated (75%) | Lamps containing no mercury may be counted only if their energy efficiency at least equals that of their mercury-containing counterparts. | 对于不含汞的灯，仅当它们的能源效率与同规格的含汞灯一样或更佳时，才可以计入计划中。 |
| 1515aea6dbe8-b62f-4eef-825e-14fea6dbb965 | Translated (100%) | MR Credit: Purchasing—Facility Maintenance and Renovation | MR 得分点：采购—设施维护和改造 (Facility Maintenance and Renovation) |
| 15168c41f8ac-29da-4423-b6ec-df519e64e77e | Translated (100%) | EB:O&M | EB:O&M |
| 151755027a9c-29e1-4f7a-9410-16cfbe8fd905 | Translated (100%) | 1–2 points | 1-2 分 |
| 1518e1575400-e02f-4197-909a-a7dbc2d1bbaf | Translated (100%) | This credit applies to | 该得分点适用于 |
| 15190d872e0e-f316-4fe2-bb2c-459a061e702f | Translated (100%) | Existing Buildings: Operations & Maintenance (1–2 points) | 既有建筑：运营与维护（1-2 分） |
| 1520302fe1a5-bf93-4df0-ad2b-961234fdabbe | Translated (100%) | EB:O&M Schools (1–2 points) | EB:O&M 学校（1-2 分） |
| 15217ffdfc89-28e6-4250-9e22-a84faba674d9 | Translated (100%) | EB:O&M Retail (1–2 points) | EB:O&M 零售（1-2 分） |
| 1522da9f9333-3dcc-4f4e-99e6-38af7bac7d96 | Translated (100%) | EB:O&M Data Centers (1–2 points) | EB:O&M 数据中心（1-2 分） |
| 15237f9eecd3-31ec-4a18-95ff-bb76495dabcc | Translated (100%) | EB:O&M Hospitality (1–2 points) | EB:O&M 宾馆接待（1-2 分） |
| 1524dfc9b47e-672d-4a60-a3a0-7d18b1eac278 | Translated (100%) | EB:O&M Warehouses & Distribution Centers (1–2 points) | EB:O&M 仓储和配送中心（1-2 分） |
| 1525f06493cf-59e3-49f7-8138-404acd040778 | Translated (100%) | Intent | 目的 |
| 15264803e267-b2e5-4a32-83b5-6b56da5b3b0c | Translated (0%) | To reduce the environmental harm from materials used in building renovations. | 减少建筑改造中所使用材料产生的环境危害。 |
| 1527eb303a48-b6b0-4c59-9698-9b2d274c701e | Translated (100%) | Requirements | 要求 |
| 15280bfa4dcb-b5db-47c7-871a-35ffed1b3381 | Translated (100%) | EBOM, Schools, Retail, Data Centers, Hospitality, Warehouses & Distribution Centers | EBOM、学校、零售、数据中心、宾馆接待、仓储和配送中心 |
| 1529879fc5f9-9e91-4908-81bc-1e96799b864c | Translated (100%) | ESTABLISHMENT | 建立 |
| 15300e7b9d63-617e-4391-aff5-c7e1acdc8c7f | Translated (100%) | None. | 无。 |
| 15313f067319-68e2-45b1-a906-aa72dd4f29e7 | Translated (100%) | PERFORMANCE | 运行 |
| 1532ef35d753-0462-4efc-8f0c-00bcbb9d5cd1 | Translated (100%) | Option 1. | 选项 1. |
| 1533ef35d753-0462-4efc-8f0c-00bcbb9d5cd1 | Translated (0%) | Products and Materials (1 point) | 产品与材料（1 分） |
| 153445c1ca45-bf24-40bd-8aea-4745ce41843c | Translated (83%) | Purchase at least 50%, by cost, of the total maintenance and renovation materials that meet at least one of the following criteria. | 至少维护和改造材料总采购量的 50%（按成本）满足以下至少一个标准。 |
| 153545c1ca45-bf24-40bd-8aea-4745ce41843c | Translated (75%) | Include products specified in Materials and Resources prerequisite: Facility Maintenance and Renovation Policy. | 包括材料与资源先决条件：设施维护和改造政策 (Facility Maintenance and Renovation Policy) 中指定的产品。 |
| 153645c1ca45-bf24-40bd-8aea-4745ce41843c | Translated (0%) | There is no minimum scope of renovation or new construction work required for eligibility of this credit. | 无需最小改造或新施工工作量，便可获得此得分点。 |
| 153745c1ca45-bf24-40bd-8aea-4745ce41843c | Translated (100%) | Each purchase can receive credit for each criterion met. | 采购每满足一个标准便可以获得相应得分点。 |
| 15384ea1b12b-ab56-4d23-860e-08d8f5a2174d | Translated (100%) | Recycled content. | 回收物质含量。 |
| 15394ea1b12b-ab56-4d23-860e-08d8f5a2174d | Translated (87%) | Recycled content is the sum of postconsumer recycled content plus one-half the preconsumer recycled content. | 回收物质含量是消费后回收物质含量加上消费前回收物质含量一半的总和。 |
| 154083bd8367-1d43-4c24-9e10-fc2daad747a8 | Translated (100%) | Wood products. | 木制品。 |
| 154183bd8367-1d43-4c24-9e10-fc2daad747a8 | Translated (100%) | Wood products must be certified by the Forest Stewardship Council or USGBC-approved equivalent. | 木制品必须通过森林管理委员会 (Forest Stewardship Council) 或 USGBC 认可的当地等效标准的认证。 |
| 15424fb5ccc1-c9a0-4a9e-bbbc-4c3acce3ff91 | Translated (100%) | Bio-based materials. | 生物基材料。 |
| 15434fb5ccc1-c9a0-4a9e-bbbc-4c3acce3ff91 | Translated (CM) | Bio-based products must meet the Sustainable Agriculture Network’s Sustainable Agriculture Standard. | 生物基产品必须符合可持续农业网络 (Sustainable Agriculture Network) 的可持续农业标准 (Sustainable Agriculture Standard)。 |
| 15444fb5ccc1-c9a0-4a9e-bbbc-4c3acce3ff91 | Translated (CM) | Bio-based raw materials must be tested using ASTM Test Method D6866 and be legally harvested, as defined by the exporting and receiving country. | 生物基原材料必须使用 ASTM 测试方法 D6866 进行测试，并且在收集时要符合出口国和进口国的法律要求。 |
| 15454fb5ccc1-c9a0-4a9e-bbbc-4c3acce3ff91 | Translated (CM) | Exclude hide products, such as leather and other animal skin material. | 不包括兽皮产品，如皮革及其他动物皮料。 |
| 15463fffb4d1-3f89-4bf5-829c-2f2fa77a897e | Translated (99%) | Materials reuse<1636>.</1636> | 材料再利用。 |
| 15473fffb4d1-3f89-4bf5-829c-2f2fa77a897e | Translated (99%) | Reuse includes<1637> </1637>salvaged, refurbished, or reused products. | 再利用包括回收利用、翻新或再利用的产品。 |
| 1548675a3a12-aadc-47df-be2a-c25d6f7dc112 | Translated (100%) | Extended producer responsibility. | 扩大生产商责任。 |
| 1549675a3a12-aadc-47df-be2a-c25d6f7dc112 | Translated (100%) | Products purchased from a manufacturer (producer) that participates in an extended producer responsibility program or is directly responsible for extended producer responsibility. | 从参与或直接负责扩大生产商责任计划的制造商（生产商）那里采购的产品。 |
| 1550675a3a12-aadc-47df-be2a-c25d6f7dc112 | Translated (0%) | Products valued at 50% of their cost. | 按照成本的 50% 来估价的产品。 |
| 15515be66d8c-4483-40ca-9a94-8ef410e2b951 | Translated (98%) | <1640>GreenScreen v1.2 Benchmark</1640><1641>.</1641> | <Italic>GreenScreen v1.2 基准。</Italic> |
| 15525be66d8c-4483-40ca-9a94-8ef410e2b951 | Translated (99%) | Products that have fully inventoried chemical ingredients to 100 ppm that have no Benchmark 1 hazards. | 完全列出化学成分（达 100 ppm）且没有基准 1 危害的产品。 |
| 155349f0c8b9-c4be-4d55-914d-d626cf44099e | Translated (100%) | If any ingredients are assessed with the GreenScreen List Translator, value these products at 100% of cost. | 如果有任何成分通过 GreenScreen List Translator 的评估，则按照 100% 的成本对这些产品估价。 |
| 1554e3d0012e-2661-44ba-a6fc-756e04285fc3 | Translated (100%) | If all ingredients are have undergone a full GreenScreen Assessment, value these products at 150% of cost. | 如果所有成分都通过了完整的 GreenScreen 评估，则按照 150% 的成本对这些产品估价。 |
| 15550ed2c742-084c-4cfd-9fa5-33976d5d1784 | Translated (98%) | <1642>Cradle to Cradle Certified</1642><1643>.</1643> | <Italic>经过从摇篮到摇篮的认证。</Italic> |
| 15560ed2c742-084c-4cfd-9fa5-33976d5d1784 | Translated (100%) | End use products are certified Cradle to Cradle. | 最终用途产品经过从摇篮到摇篮的认证。 |
| 15570ed2c742-084c-4cfd-9fa5-33976d5d1784 | Translated (100%) | Products will be valued as follows: | 产品估价方法如下： |
| 155813e8efc3-4223-4bc6-a8c1-a97905c774ff | Translated (100%) | Cradle to Cradle v2 Gold: 100% of cost | 从摇篮到摇篮 v2 金级：100% 的成本 |
| 15592572f1d1-4658-404b-8714-d35b090615f3 | Translated (100%) | Cradle to Cradle v2 Platinum: 150% of cost | 从摇篮到摇篮 v2 铂金级：150% 的成本 |
| 15608406444b-6c4e-4400-8690-45ab091bf004 | Translated (100%) | Cradle to Cradle v3 Silver: 100% of cost | 从摇篮到摇篮 v3 银级：100% 的成本 |
| 15614f22155b-237b-44ae-b3de-fbe54e256a2b | Translated (100%) | Cradle to Cradle v3 Gold or Platinum: 150% of cost | 从摇篮到摇篮 v3 金级或铂金级：150% 的成本 |
| 1562079103bf-3e0e-41a8-b65c-fba1b2670598 | Translated (99%) | <1644>International Alternative Compliance Path – REACH Optimization</1644>. | <Italic>国际替代合规路径 - REACH 优化。</Italic> |
| 1563079103bf-3e0e-41a8-b65c-fba1b2670598 | Translated (100%) | End use products and materials that do not contain substances that meet REACH criteria for substances of very high concern. | 不包含符合高关注度物质 REACH 标准的最终用途产品和材料。 |
| 1564079103bf-3e0e-41a8-b65c-fba1b2670598 | Translated (100%) | If the product contains no ingredients listed on the REACH Authorization or Candidate list, value at 100% of cost. | 如果产品不包含 REACH 授权或候选列表中列出的成分，则按照 100% 的成本估价。 |
| 15655738db0b-ed6b-4349-99ab-dcbed925521b | Translated (0%) | <1645>Product Manufacturer Supply Chain Optimization</1645>. | <1645>产品制造商供应链优化</1645>。 |
| 15665738db0b-ed6b-4349-99ab-dcbed925521b | Translated (0%) | Use building products that: | 使用符合以下条件的建筑产品： |
| 1567728437a6-705c-4cbf-9fe7-fdd7665f4d1d | Translated (100%) | Are sourced from product manufacturers who engage in validated and robust safety, health, hazard, and risk programs which at a minimum document at least 99% (by weight) of the ingredients used to make the building product or building material, and | 采购自参与经过验证且可靠的安全、健康、危险和风险计划的产品制造商，这些计划记录了用于制造建筑产品或建筑材料的原料中至少 99%（按重量）的成分，以及 |
| 1568e8b45a52-108b-4eec-9296-5f2a55e48e17 | Translated (100%) | Are sourced from product manufacturers with independent third party verification of their supply chain that at a minimum verifies: | 采购自会对其供应链进行独立第三方验证的产品制造商，且至少应验证： |
| 1569576dd072-2d3d-474e-8781-064166041026 | Translated (100%) | Processes are in place to communicate and transparently prioritize chemical ingredients along the supply chain according to available hazard, exposure and use information to identify those that require more detailed evaluation | 有现成的工艺，可在供应链上根据提供的危险、披露和使用信息沟通化学成分并透明地对其排定优先级，以确定需要更详细评估的成分。 |
| 1570798379aa-ce19-4362-80c6-92ce422e062d | Translated (100%) | Processes are in place to identify, document, and communicate information on health, safety and environmental characteristics of chemical ingredients | 有现成的工艺来确定、记录和沟通有关化学成分健康、安全和环境特性的信息。 |
| 157158c463cf-32e8-407c-83ad-f8be41779a2f | Translated (100%) | Processes are in place to implement measures to manage the health, safety and environmental hazard and risk of chemical ingredients | 有现成的工艺来执行措施以管理化学成分的健康、安全及环境危害和风险。 |
| 1572d4f743ab-b64f-4608-ac02-35ac840bc8d1 | Translated (100%) | Processes are in place to optimize health, safety and environmental impacts when designing and improving chemical ingredients | 有现成的工艺在设计和改进化学成分时来优化健康、安全和环境影响。 |
| 15734feef96c-67ad-4a49-b3ee-4dc7155a8f89 | Translated (100%) | Processes are in place to communicate, receive and evaluate chemical ingredient safety and stewardship information along the supply chain | 有现成的工艺来沟通、接收和评估供应链上的化学成分安全和管理信息。 |
| 15745b8757a2-ccf1-4455-9407-bb7a0ca0a92f | Translated (100%) | Safety and stewardship information about the chemical ingredients is publicly available from all points along the supply chain | 有关化学成分的安全和管理信息在供应链上的所有阶段都公开提供。 |
| 1575bd1ffcb1-e97b-434d-98f2-eccae47febeb | Translated (0%) | Low emissions of volatile organic compounds. | 挥发性有机化合物低排放。 |
| 1576bd1ffcb1-e97b-434d-98f2-eccae47febeb | Translated (77%) | The following products must either be inherently nonemitting or be<1648> </1648>tested and determined compliant in accordance with California Department of Public Health Standard Method V1.1–2010, using the applicable exposure scenario. | 以下产品必须本身不具有挥发性，或按照加利福尼亚州公共健康部标准方法 V1.1-2010，使用适用的暴露场景进行测试并确认符合标准。 |
| 1577bd1ffcb1-e97b-434d-98f2-eccae47febeb | Translated (0%) | The default scenario is the private office scenario; classroom furniture may use the school classroom scenario. | 默认场景是私人办公室；教室家具可以使用学校教室场景。 |
| 1578bd1ffcb1-e97b-434d-98f2-eccae47febeb | Translated (100%) | Both first-party and third-party statements of product compliance must follow the guidelines in CDPH SM V1.1–2010, Section 8. | 有关产品合规的第一方和第三方声明都必须符合 CDPH SM V1.1–2010，第 8 部分的指南。 |
| 1579bd1ffcb1-e97b-434d-98f2-eccae47febeb | Translated (100%) | Organizations that certify manufacturers’ claims must be accredited under ISO Guide 65. | 证明制造商声明的组织必须通过 ISO Guide 65 的认证。 |
| 1580bd1ffcb1-e97b-434d-98f2-eccae47febeb | Translated (86%) | Laboratories that conduct the tests must be accredited under ISO/IEC 17025 for the test methods they use. | 进行测试的实验室使用的测试方法必须经过 ISO/IEC 17025 认证。 |
| 1581bd1ffcb1-e97b-434d-98f2-eccae47febeb | Translated (73%) | Projects outside the U.S. may use (1) the CDPH standard method or (2) the German AgBB Testing and Evaluation Scheme (2010). | 美国以外的项目可以使用 (1) CDPH 标准方法或 (2) 德国 AgBB 测试与评估方案 (2010)。 |
| 1582bd1ffcb1-e97b-434d-98f2-eccae47febeb | Translated (0%) | Test products either with (1) ISO 16000-3: 2010, ISO 16000-6: 2011, ISO 16000-9: 2006, ISO 16000-11:2006, or (2) the DIBt testing method (2010). | 使用 (1) ISO 16000-3: 2010、ISO 16000-6: 2011、ISO 16000-9: 2006、ISO 16000-11:2006 或 (2) DIBt 测试方法 (2010) 来测试产品。 |
| 1583bd1ffcb1-e97b-434d-98f2-eccae47febeb | Translated (100%) | U.S. projects must follow the CDPH standard method. | 美国项目必须遵循 CDPH 标准方法。 |
| 1584f994f613-574a-473c-ab44-333420af0474 | Translated (99%) | thermal and acoustic insulation | 隔热与隔音层 |
| 15857719479f-b246-4301-8170-15eafcb69733 | Translated (0%) | flooring materials and finishes | 地板材料和饰面 |
| 15866db86c72-ef8c-4255-a84b-538dfc7b4039 | Translated (0%) | ceiling materials and finishes | 吊顶材料和饰面 |
| 1587edd2870e-3876-4b48-b5b5-0e41ca887024 | Translated (0%) | wall materials and finishes | 墙壁材料和饰面 |
| 1588614152a3-ab62-4676-a2ab-af8b55a436bd | Translated (89%) | VOC content requirements for wet-applied products. | 加水使用的产品的 VOC 含量要求。 |
| 1589614152a3-ab62-4676-a2ab-af8b55a436bd | Translated (100%) | In addition to meeting the general requirements for VOC emissions (above), on-site wet-applied products must not contain excessive levels of VOCs, for the health of the installers and other tradesworkers who are exposed to these products. | 除了满足常规的 VOC 排放要求（上述），为了安装人员和其他接触这些产品的工人的安全着想，场址内加水使用的产品不得具有过高的 VOC 含量。 |
| 1590614152a3-ab62-4676-a2ab-af8b55a436bd | Translated (100%) | To demonstrate compliance, a product or layer must meet the following requirements, as applicable. | 为了表明合规性，产品或层必须满足以下要求（如适用）。 |
| 1591614152a3-ab62-4676-a2ab-af8b55a436bd | Translated (100%) | Disclosure of VOC content must be made by the manufacturer. | VOC 含量的披露必须由制造商完成。 |
| 1592614152a3-ab62-4676-a2ab-af8b55a436bd | Translated (100%) | Any testing must follow the test method specified in the applicable regulation. | 任何测试都必须遵循适用法规中指定的测试方法。 |
| 159307080df2-dde1-4df4-8266-d90754b46571 | Translated (100%) | All paints and coatings wet-applied on site must meet the applicable VOC limits of the California Air Resources Board (CARB) 2007, Suggested Control Measure (SCM) for Architectural Coatings, or the South Coast Air Quality Management District (SCAQMD) Rule 1113, effective June 3, 2011. | 所有在场址内加水使用的涂料和涂层都必须满足美国加州空气资源委员会 (CARB) 2007，建筑涂层的建议控制措施 (SCM)，或 2011 年 6 月 3 日生效的“南海岸空气质量管理地区”（South Coast Air Quality Management District (SQAQMD)) 规则 1113 中适用的 VOC 限制。 |
| 15940d53418c-950b-4deb-84f4-c3c7eba1e9bf | Translated (100%) | All adhesives and sealants wet-applied on site must meet the applicable chemical content requirements of SCAQMD Rule 1168, July 1, 2005, Adhesive and Sealant Applications, as analyzed by the methods specified in Rule 1168. | 所有在场址内加水使用的粘着剂和密封胶都必须满足 2005 年 7 月 1 日生效的 SCAQMD 规则 1168 粘着剂和密封胶应用中适用的化学品含量要求（由规则 1168 中指定的方法分析）。 |
| 15950d53418c-950b-4deb-84f4-c3c7eba1e9bf | Translated (100%) | The provisions of SCAQMD Rule 1168 do not apply to adhesives and sealants subject to state or federal consumer product VOC regulations. | SCAQMD 规则 1168 的条款不适用于受州或联邦消费品 VOC 法规约束的粘着剂和密封胶。 |
| 1596787fe94d-8513-46dc-9b65-707794e28584 | Translated (98%) | For projects outside North America, all paints, coatings, adhesives, and sealants wet-applied on site must either meet the technical requirements of the above regulations, or comply with applicable national VOC control regulations, such as the European Decopaint Directive (2004/42/EC), the Canadian VOC Concentration Limits for Architectural Coatings, or the Hong Kong Air Pollution Control (VOC) Regulation. | 对于北美以外的项目，所有在场址内加水使用的涂料、涂层、粘着剂和密封胶必须满足上述法规的技术要求，或符合适用的国家 VOC 控制法规，如欧洲 Decopaint 指令 (2004/42/EC)、加拿大建筑涂层 VOC 浓度限值，或香港空气污染控制 (VOC) 法规。 |
| 1597276f2df0-c29d-424e-81aa-ccf8fe0acf17 | Translated (100%) | If the applicable regulation requires subtraction of exempt compounds, any content of intentionally added exempt compounds larger than 1% weight by mass (total exempt compounds) must be disclosed. | 如果适用法规要求减去豁免化合物，那么任何有意添加的重量大于总重量 1% 的豁免化合物含量均必须披露。 |
| 1598db7e1466-a1d6-4fcc-9c84-97293e092163 | Translated (100%) | If a product cannot reasonably be tested as specified above, testing of VOC content must comply with ASTM D2369-10; ISO 11890, part 1; ASTM D6886-03; or ISO 11890-2. | 如果产品无法按上述指定方法进行合理测试，那么 VOC 含量的测试必须符合 ASTM D2369-10；ISO 11890，第 1 部分；ASTM D6886-03 或 ISO 11890-2。 |
| 1599274e5623-aef5-43e2-993c-b21d3f6fd934 | Translated (100%) | For projects in North America, methylene chloride and perchloroethylene may not be intentionally added in paints, coatings, adhesives, or sealants. | 对于北美的项目，不得有意将二氯甲烷和全氯乙烯添加到涂料、涂层、粘着剂或密封胶中。 |
| 16002d70d732-e616-4632-b6b3-c92cbd39908b | Translated (0%) | Low emissions of formaldehyde. | 甲醛低排放。 |
| 16012d70d732-e616-4632-b6b3-c92cbd39908b | Translated (0%) | Built-in cabinetry and architectural millwork containing composite woods must be constructed from materials documented to have low formaldehyde emissions that meet the California Air Resources Board requirements for ultra-low-emitting formaldehyde (ULEF) resins or no-added formaldehyde based resins. | 含有复合木材的内置橱柜和建筑木制品的制造材料必须被证明甲醛排放量较低，且符合美国加州空气资源委员会 (California Air Resources Board) 对超低甲醛排放 (ULEF) 树脂或不添加甲醛树脂的甲醛要求。 |
| 16022d70d732-e616-4632-b6b3-c92cbd39908b | Translated (100%) | Salvaged and reused architectural millwork more than one year old at the time of occupancy is considered compliant, provided it meets the requirements for any site-applied paints, coatings, adhesives, and sealants. | 在入驻时使用已经超过一年的回收和再利用建筑木制品被认为是符合标准的，前提是满足任何在场址内使用的涂料、涂层、粘着剂和密封胶的要求。 |
| 16035f8b8129-53e7-4541-a2f3-8069933edf78 | Translated (99%) | USGBC approved program<1653>.</1653> | 经过 USGBC 认证的计划。 |
| 16045f8b8129-53e7-4541-a2f3-8069933edf78 | Translated (100%) | Other USGBC approved programs meeting leadership extraction criteria. | 其他经过 USGBC 认证且满足领先开采标准的计划。 |
| 160549ec8744-7435-408e-a1a3-765f9fc43515 | Translated (98%) | For credit achievement calculation, products sourced (extracted, manufactured, and purchased) within 100 miles (160 km) of the project site are valued at 200% of their base contributing cost. | 对于得分点计算，从项目场址 100 英里（160 公里）范围内获得（开采、制造、购买）的产品将按照基本贡献成本的 200% 估价。 |
| 1606a0812328-670a-4cd7-8877-991f7ba43798 | Translated (100%) | AND/OR | 和/或 |
| 1607844bb66d-dc14-483d-909f-a1a763df3b12 | Translated (100%) | Option 2. | 选项 2. |
| 1608844bb66d-dc14-483d-909f-a1a763df3b12 | Translated (80%) | Furniture (1 point) | 家具（1 分) |
| 16099889fcc4-3d9f-4c9b-9b37-001f64909a58 | Translated (79%) | Purchase at least 75%, by cost, of total furniture and furnishings that meet one or more of the following criteria. | 至少家具和陈设总采购量的 75%（按成本）满足以下一个或多个标准。 |
| 16109889fcc4-3d9f-4c9b-9b37-001f64909a58 | Translated (100%) | Each purchase can receive credit for each criterion met. | 采购每满足一个标准便可以获得相应得分点。 |
| 1611c33bcb02-61ef-4559-8340-d3db72b30bf7 | Translated (100%) | Recycled content. | 回收物质含量。 |
| 1612c33bcb02-61ef-4559-8340-d3db72b30bf7 | Translated (100%) | Recycled content is the sum of postconsumer recycled content plus one-half the preconsumer recycled content, based on cost. | 回收物质含量是消费后回收物质含量加上消费前回收物质含量一半的总和（基于成本）。 |
| 16130bddaf0c-029c-4f08-a3a2-1b3aa5965fa0 | Translated (100%) | Wood products. | 木制品。 |
| 16140bddaf0c-029c-4f08-a3a2-1b3aa5965fa0 | Translated (100%) | Wood products must be certified by the Forest Stewardship Council or USGBC-approved equivalent. | 木制品必须通过森林管理委员会 (Forest Stewardship Council) 或 USGBC 认可的当地等效标准的认证。 |
| 16151b89239e-55ab-4c58-b2b3-70f74e6df75a | Translated (CM) | Bio-based materials. | 生物基材料。 |
| 16161b89239e-55ab-4c58-b2b3-70f74e6df75a | Translated (CM) | Bio-based products must meet the Sustainable Agriculture Network’s Sustainable Agriculture Standard. | 生物基产品必须符合可持续农业网络 (Sustainable Agriculture Network) 的可持续农业标准 (Sustainable Agriculture Standard)。 |
| 16171b89239e-55ab-4c58-b2b3-70f74e6df75a | Translated (CM) | Bio-based raw materials must be tested using ASTM Test Method D6866 and be legally harvested, as defined by the exporting and receiving country. | 生物基原材料必须使用 ASTM 测试方法 D6866 进行测试，并且在收集时要符合出口国和进口国的法律要求。 |
| 16181b89239e-55ab-4c58-b2b3-70f74e6df75a | Translated (CM) | Exclude hide products, such as leather and other animal skin material. | 不包括兽皮产品，如皮革及其他动物皮料。 |
| 161945daf996-e6bf-4e1a-93cd-43098ad543f1 | Translated (100%) | Materials reuse<1663>.</1663> | 材料再利用。 |
| 162045daf996-e6bf-4e1a-93cd-43098ad543f1 | Translated (100%) | Reuse includes<1664> </1664>salvaged, refurbished, or reused products. | 再利用包括回收利用、翻新或再利用的产品。 |
| 16215c1a72d2-addb-4d91-a42f-d6a41f02b777 | Translated (CM) | Extended producer responsibility. | 扩大生产商责任。 |
| 16225c1a72d2-addb-4d91-a42f-d6a41f02b777 | Translated (CM) | Products purchased from a manufacturer (producer) that participates in an extended producer responsibility program or is directly responsible for extended producer responsibility. | 从参与或直接负责扩大生产商责任计划的制造商（生产商）那里采购的产品。 |
| 16235c1a72d2-addb-4d91-a42f-d6a41f02b777 | Translated (100%) | Products valued at 50% of their cost. | 按照成本的 50% 来估价的产品。 |
| 1624e7ab88c4-5406-450d-a305-3eced1b3895a | Translated (100%) | <1667>GreenScreen v1.2 Benchmark</1667><1668>.</1668> | <Italic>GreenScreen v1.2 基准。</Italic> |
| 1625e7ab88c4-5406-450d-a305-3eced1b3895a | Translated (100%) | Products that have fully inventoried chemical ingredients to 100 ppm that have no Benchmark 1 hazards. | 完全列出化学成分（达 100 ppm）且没有基准 1 危害的产品。 |
| 1626e3b7a0a3-073d-4ef8-8676-eb1f41130326 | Translated (CM) | If any ingredients are assessed with the GreenScreen List Translator, value these products at 100% of cost. | 如果有任何成分通过 GreenScreen List Translator 的评估，则按照 100% 的成本对这些产品估价。 |
| 162745fe4db8-26b9-431f-8fc3-418f0b5a4a78 | Translated (CM) | If all ingredients are have undergone a full GreenScreen Assessment, value these products at 150% of cost. | 如果所有成分都通过了完整的 GreenScreen 评估，则按照 150% 的成本对这些产品估价。 |
| 162897d559d1-f286-4d45-95f6-42ecdb55bacf | Translated (100%) | <1669>Cradle to Cradle Certified</1669><1670>.</1670> | <Italic>经过从摇篮到摇篮的认证。</Italic> |
| 162997d559d1-f286-4d45-95f6-42ecdb55bacf | Translated (100%) | End use products are certified Cradle to Cradle. | 最终用途产品经过从摇篮到摇篮的认证。 |
| 163097d559d1-f286-4d45-95f6-42ecdb55bacf | Translated (CM) | Products will be valued as follows: | 产品估价方法如下： |
| 163185d4d934-9505-486b-8b72-252b6a442626 | Translated (100%) | Cradle to Cradle v2 Gold: 100% of cost | 从摇篮到摇篮 v2 金级：100% 的成本 |
| 1632b07f1654-425f-4823-b0cc-ae5b9ddb605a | Translated (100%) | Cradle to Cradle v2 Platinum: 150% of cost | 从摇篮到摇篮 v2 铂金级：150% 的成本 |
| 1633a9eb7ddf-8658-4ea8-9d70-9c1bf0f7d714 | Translated (100%) | Cradle to Cradle v3 Silver: 100% of cost | 从摇篮到摇篮 v3 银级：100% 的成本 |
| 163483b7155e-b715-4100-895a-f7735eec258b | Translated (100%) | Cradle to Cradle v3 Gold or Platinum: 150% of cost | 从摇篮到摇篮 v3 金级或铂金级：150% 的成本 |
| 1635cb67b0ee-1b07-4257-9277-938461cb7add | Translated (100%) | <1671>International Alternative Compliance Path – REACH Optimization</1671>. | <Italic>国际替代合规路径 - REACH 优化。</Italic> |
| 1636cb67b0ee-1b07-4257-9277-938461cb7add | Translated (CM) | End use products and materials that do not contain substances that meet REACH criteria for substances of very high concern. | 不包含符合高关注度物质 REACH 标准的最终用途产品和材料。 |
| 1637cb67b0ee-1b07-4257-9277-938461cb7add | Translated (CM) | If the product contains no ingredients listed on the REACH Authorization or Candidate list, value at 100% of cost. | 如果产品不包含 REACH 授权或候选列表中列出的成分，则按照 100% 的成本估价。 |
| 1638b736b388-c9c7-40c0-bb93-dc2285ff440b | Translated (100%) | <1672>Product Manufacturer Supply Chain Optimization</1672>. | <1672>产品制造商供应链优化</1672>。 |
| 1639b736b388-c9c7-40c0-bb93-dc2285ff440b | Translated (100%) | Use building products that: | 使用符合以下条件的建筑产品： |
| 1640758ef6b6-a9a3-4f1f-9290-328195ec73ad | Translated (100%) | Are sourced from product manufacturers who engage in validated and robust safety, health, hazard, and risk programs which at a minimum document at least 99% (by weight) of the ingredients used to make the building product or building material, and | 采购自参与经过验证且可靠的安全、健康、危险和风险计划的产品制造商，这些计划记录了用于制造建筑产品或建筑材料的原料中至少 99%（按重量）的成分，以及 |
| 1641e08b0007-ad86-4bc3-9301-6d9bb8df4e66 | Translated (CM) | Are sourced from product manufacturers with independent third party verification of their supply chain that at a minimum verifies: | 采购自会对其供应链进行独立第三方验证的产品制造商，且至少应验证： |
| 164204470681-abd0-415a-865b-cbef9e37e16f | Translated (CM) | Processes are in place to communicate and transparently prioritize chemical ingredients along the supply chain according to available hazard, exposure and use information to identify those that require more detailed evaluation | 有现成的工艺，可在供应链上根据提供的危险、披露和使用信息沟通化学成分并透明地对其排定优先级，以确定需要更详细评估的成分。 |
| 164393e149d2-a3d1-40ad-adfb-e0c519e22bb0 | Translated (CM) | Processes are in place to identify, document, and communicate information on health, safety and environmental characteristics of chemical ingredients | 有现成的工艺来确定、记录和沟通有关化学成分健康、安全和环境特性的信息。 |
| 164494fa8585-3376-4f9b-bfd6-4d940c66725e | Translated (CM) | Processes are in place to implement measures to manage the health, safety and environmental hazard and risk of chemical ingredients | 有现成的工艺来执行措施以管理化学成分的健康、安全及环境危害和风险。 |
| 16456a17a9f7-76c5-41b6-86c7-e5cf3d5bdc5a | Translated (CM) | Processes are in place to optimize health, safety and environmental impacts when designing and improving chemical ingredients | 有现成的工艺在设计和改进化学成分时来优化健康、安全和环境影响。 |
| 1646f3796223-6559-46b8-8cf6-91c2af2d4f12 | Translated (CM) | Processes are in place to communicate, receive and evaluate chemical ingredient safety and stewardship information along the supply chain | 有现成的工艺来沟通、接收和评估供应链上的化学成分安全和管理信息。 |
| 1647016c1345-d9c1-4d57-8f00-bbf15b8677d0 | Translated (CM) | Safety and stewardship information about the chemical ingredients is publicly available from all points along the supply chain | 有关化学成分的安全和管理信息在供应链上的所有阶段都公开提供。 |
| 1648a1c958ff-3a45-4dfd-9842-86cbad2f1e9d | Translated (100%) | Low emissions of volatile organic compounds. | 挥发性有机化合物低排放。 |
| 1649a1c958ff-3a45-4dfd-9842-86cbad2f1e9d | Translated (0%) | Products must have been tested, following ANSI/BIFMA Standard Method M7.1–2011, and must comply with ANSI/BIFMA e3-2011 Furniture Sustainability Standard, Sections 7.6.1 (valued at 50% cost) or 7.6.2 (valued at 100% cost), using either the concentration modeling approach or the emissions factor approach. | 产品必须已根据 ANSI/BIFMA 标准方法 M7.1–2011 进行测试，且必须使用浓度建模方法或排放因数方法，符合 ANSI/BIFMA e3-2011 家具可持续性标准，第 7.6.1（按照成本的 50% 来估价）和 7.6.2（按照成本的 100% 来估价）部分。 |
| 1650a1c958ff-3a45-4dfd-9842-86cbad2f1e9d | Translated (100%) | For classroom furniture, use the standard school classroom model in CDPH Standard Method v1.1. | 对于教室家具，使用 CDPH 标准方法 v1.1 中的标准学校教室模型。 |
| 1651a1c958ff-3a45-4dfd-9842-86cbad2f1e9d | Translated (100%) | Salvaged and reused furniture more than one year old at the time of use is considered compliant, provided it meets the requirements for any site-applied paints, coatings, adhesives, and sealants. | 在入驻时使用已经超过一年的回收和再利用家具被认为是符合标准的，前提是满足任何在场址内使用的涂料、涂层、粘着剂和密封胶的要求。 |
| 16522d14b842-e49f-487c-8ad7-882f12db8955 | Translated (100%) | USGBC approved program<1675>.</1675> | 经过 USGBC 认证的计划。 |
| 16532d14b842-e49f-487c-8ad7-882f12db8955 | Translated (100%) | Other USGBC approved programs meeting leadership extraction criteria. | 其他经过 USGBC 认证且满足领先开采标准的计划。 |
| 1654c73ee1e0-c8ed-473c-948b-4102309c998d | Translated (100%) | For credit achievement calculation, products sourced (extracted, manufactured, purchased) within 100 miles (160 km) of the project site are valued at 200% of their base contributing cost. | 对于得分点计算，从项目场址 100 英里（160 公里）范围内获得（开采、制造、购买）的产品将按照基本贡献成本的 200% 估价。 |
| 16555c2f8152-5629-44ab-93e6-8c063e891e1f | Translated (100%) | OR | 或 |
| 16564009961f-c9bb-4c9f-b253-233d08fbf5fe | Translated (100%) | Option 3. | 选项 3. |
| 16574009961f-c9bb-4c9f-b253-233d08fbf5fe | Translated (0%) | No Alterations or Furniture Purchasing (1 point) | 无改建或家具采购（1 分） |
| 16584064276b-88cc-4aa3-8c5f-b0827e8710b3 | Translated (0%) | Make no alterations to the project space and do not purchase any furniture. | 不对项目空间进行改建，且不采购任何家具。 |
| 165944e37c35-e840-4573-ae7f-4e3223cd61df | Translated (79%) | MR Credit: Solid Waste Management—Ongoing | MR 得分点：固体废弃物管理—日常持续 (Solid Waste Management—Ongoing) |
| 1660eea81134-d13a-4808-92d5-63754a35afb5 | Translated (100%) | EB:O&M | EB:O&M |
| 1661c33fd365-86b3-4dec-b90e-0e2aac130514 | Translated (100%) | 2 points | 2 分 |
| 1662cef247f6-9728-403c-8c31-daa3bb942454 | Translated (100%) | This credit applies to | 该得分点适用于 |
| 166329a7c7fd-e100-469e-b0cd-1f26f71d1f47 | Translated (100%) | Existing Buildings: Operations & Maintenance (2 points) | 既有建筑：运营与维护（2 分） |
| 16644562a461-46d2-4c20-8e97-efc9b116e843 | Translated (100%) | EB:O&M Schools (2 points) | EB:O&M 学校（2 分） |
| 16653395c920-9262-49d3-8aff-b2c6c4aea5d0 | Translated (100%) | EB:O&M Retail (2 points) | EB:O&M 零售（2 分） |
| 1666651041b6-a405-4fba-93c3-5c9ed729906a | Translated (100%) | EB:O&M Data Centers (2 points) | EB:O&M 数据中心（2 分） |
| 1667fc4ddba7-82fa-481e-aec4-f446d35a40d2 | Translated (100%) | EB:O&M Hospitality (2 points) | EB:O&M 宾馆接待（2 分） |
| 1668a92096a2-c5e2-4ec1-a2d8-98c438aba45c | Translated (100%) | EB:O&M Warehouses & Distribution Centers (2 points) | EB:O&M 仓储和配送中心（2 分） |
| 166958040408-f8c4-43d0-b282-4b2abbbfa344 | Translated (100%) | Intent | 目的 |
| 1670307bdaa0-e16c-48fd-b5be-390f3a9db2c3 | Translated (93%) | To reduce the waste that is generated by building occupants and hauled to and disposed of in landfills and incinerators. | 减少由建筑驻户产生并被运送到和弃置于填埋场和焚化炉的废弃物。 |
| 167146a1feb7-6040-4499-a822-21bc45d816f6 | Translated (100%) | Requirements | 要求 |
| 1672cfd08fc3-eaab-46a2-98b8-298162bd0176 | Translated (100%) | EBOM, Schools, Retail, Data Centers, Hospitality, Warehouses & Distribution Centers | EBOM、学校、零售、数据中心、宾馆接待、仓储和配送中心 |
| 16736d19baaa-9239-4353-aece-d455262967ad | Translated (100%) | ESTABLISHMENT | 建立 |
| 16745f9baec0-d9a5-47e7-90f1-de1b2a889e9f | Translated (100%) | None. | 无。 |
| 16753c68de6d-10d9-4431-9c2d-2aa85d8b947e | Translated (100%) | PERFORMANCE | 运行 |
| 1676449be14c-795f-471b-831d-e09e79619d40 | Translated (0%) | Maintain a waste reduction and recycling program that reuses, recycles, or composts the following: | 维持废弃物减量和回收计划，再利用、回收或堆肥以下废弃物： |
| 167736a16960-5bfa-4177-9a07-5c764aca94d7 | Translated (0%) | at least 50% of the ongoing waste as specified in Materials and Resources Prerequisite: Ongoing Purchasing and Waste Policy (by weight or volume); and | 材料与资源先决条件：日常采购和废弃物政策 (Ongoing Purchasing and Waste Policy) 中指定的至少 50% 的日常废弃物（按重量或体积）；以及 |
| 167873c18d99-4a37-45da-a858-3b9f4cdfbf8b | Translated (82%) | at least 75% of the durable goods waste as specified in Materials and Resources Prerequisite: Ongoing Purchasing and Waste Policy (by weight, volume or replacement value). | 材料与资源先决条件：日常采购和废弃物政策 (Ongoing Purchasing and Waste Policy) 中指定的至少 75% 的耐用产品废弃物（按重量或体积）。 |
| 167912944253-cdbd-4ea9-b663-208628ca51fa | Translated (0%) | In addition, safely dispose of the following: | 此外，安全处理： |
| 1680d8f1a6f1-5517-46a0-9a77-642a74932942 | Translated (0%) | all discarded batteries; and | 所有废弃电池；以及 |
| 1681bbb3be0b-1c8b-4a91-9bd0-5d8b9f9a3c38 | Translated (0%) | all mercury-containing lamps. | 所有含汞灯。 |
| 1682f725db93-4c2d-42fc-a7d9-1b030b5f3682 | Translated (94%) | Schools only | 仅限学校 |
| 16839c14f74b-9433-45e0-ac18-c66f682fc10d | Translated (0%) | K–12 schools may exclude food waste from the final performance calculations of the total building waste stream by meeting both of the following requirements. | K–12 学校可通过满足以下两个要求将食品废弃物排除在建筑废弃物流总量的最终性能计算之外。 |
| 1684d151aee2-f21e-425e-be3a-0e5b555ec51f | Translated (0%) | Provide documentation that food waste composting services are not available in the region or are not economically feasible, based on the school or district’s operational budget for solid waste management. | 根据学校或地区的固体废弃物管理运营预算，提供文件说明该地区不提供食品废弃物堆肥服务或这些服务在经济上不可行。 |
| 16859d47db30-8510-483f-9489-f2be1d1dfdaf | Translated (0%) | During the performance period, implement an awareness program that encourages occupants to reduce food waste. | 在运行期内实施意识计划，鼓励驻户减少食品废弃物。 |
| 16869d47db30-8510-483f-9489-f2be1d1dfdaf | Translated (0%) | Compliant programs should include at least two of the following: | 符合要求的计划应至少包括以下其中两项： |
| 16877a1c21f5-1038-4ebf-909a-d5233efa3671 | Translated (0%) | signage in food service and cafeteria areas; | 食品服务和自助餐厅区域内的标志； |
| 168875039afb-a696-4a23-9dd1-43813158fc92 | Translated (0%) | food service employee training on reducing waste in food preparation and selecting menu options to reduce the potential for food waste; and | 有关在食品准备中减少废弃物及如何选菜以减少潜在的食品废弃物的食品服务员工培训；以及 |
| 168999b76e54-f4b5-4893-af8b-422c1d2c3b55 | Translated (0%) | extracurricular activities or student organizations that promote awareness of the environmental benefits associated with composting food waste. | 可提高对食品废弃物堆肥相关环境效益的意识的课外活动或学生组织。 |
| 1690d28dadd4-8b49-44a3-96f1-b47ec8e8fa0a | Translated (0%) | MR Credit: Solid Waste Management—Facility Maintenance and Renovation | MR 得分点：固体废弃物管理—设施维护和改造 (Solid Waste Management—Facility Maintenance and Renovation) |
| 169119f13f75-8478-4623-82eb-5df7040bae9b | Translated (100%) | EB:O&M | EB:O&M |
| 169227df6b35-898e-410e-8598-05f121a4df89 | Translated (100%) | 2 points | 2 分 |
| 1693fc3633d8-6cb0-4de1-b4b5-5c138cfffe87 | Translated (100%) | This credit applies to | 该得分点适用于 |
| 169438d7a4c6-850c-4023-a7b0-5d378f05edb7 | Translated (100%) | Existing Buildings: Operations & Maintenance (2 points) | 既有建筑：运营与维护（2 分） |
| 169516e08eb6-666d-4eee-bd69-46d604abb59c | Translated (100%) | EB:O&M Schools (2 points) | EB:O&M 学校（2 分） |
| 1696ef9d8533-df03-48ea-9a0f-3285bff89c6e | Translated (100%) | EB:O&M Retail (2 points) | EB:O&M 零售（2 分） |
| 1697bacd515b-89eb-45c2-8aba-61f55d780ab2 | Translated (100%) | EB:O&M Data Centers (2 points) | EB:O&M 数据中心（2 分） |
| 16986abe3ed0-9660-4f89-a4c2-b4f5ff0342e0 | Translated (100%) | EB:O&M Hospitality (2 points) | EB:O&M 宾馆接待（2 分） |
| 1699fe57d42c-bc28-4209-a7f7-913d057cdc84 | Translated (100%) | EB:O&M Warehouses & Distribution Centers (2 points) | EB:O&M 仓储和配送中心（2 分） |
| 17003036ba33-6a36-4877-ab58-b392dbbefa8c | Translated (100%) | Intent | 目的 |
| 1701ea1ac71c-8d7c-4fa2-9067-666832c7183b | Translated (0%) | To divert construction, renovation, and demolition debris from disposal in landfills and incinerators and recover and recycle reusable materials. | 转化建造、改造和拆建碎片，使之免于填埋和焚化，并回收可再利用的材料。 |
| 1702457fd3b7-559b-478e-9e40-b433e491d364 | Translated (100%) | Requirements | 要求 |
| 170338a9ad90-a5df-43f3-887f-d9edb8c22189 | Translated (100%) | EBOM, Schools, Retail, Data Centers, Hospitality, Warehouses & Distribution Centers | EBOM、学校、零售、数据中心、宾馆接待、仓储和配送中心 |
| 1704bb47a974-7331-40ab-b585-4011a5b6c91f | Translated (CM) | ESTABLISHMENT | 建立 |
| 1705c8956f04-873c-48bf-bcbb-e102c47b20a9 | Translated (100%) | None. | 无。 |
| 17063e6904bb-dbd1-4714-ba1a-1a55f7363914 | Translated (100%) | PERFORMANCE | 运行 |
| 1707cb1e42d5-5e89-4b80-977c-3c30cbeb0ef5 | Translated (71%) | Divert at least 70% of the waste (by weight or volume) generated by facility maintenance and renovation activities from disposal in landfills and incinerators. | 至少转化因设施维护和改造活动产生的 70% 的废弃物（按重量或体积），使其免于填埋和焚化。 |
| 1708cb1e42d5-5e89-4b80-977c-3c30cbeb0ef5 | Translated (77%) | Include base building elements as specified in the Materials and Resources prerequisite: Facility Maintenance and Renovation Policy. | 包括材料与资源先决条件：设施维护和改造政策 (Facility Maintenance and Renovation Policy) 中指定的基本建筑构件。 |
| 1709483f2277-1fdc-4b24-a8c7-ac6a6e30efed | Translated (0%) | Exclude furniture and furnishings that pose human health concerns (e.g., mold) as well as components not considered base building elements; mechanical, electrical, and plumbing components; and specialty items, such as elevators. | 不包括会造成人类健康问题（例如霉菌）的家具和陈设，及不被视为基本建筑构件的组件；机械、电气和管道组件；以及电梯等特殊项。 |
| 1710d180cade-e78b-4cee-9ceb-890c3a6e3456 | Translated (100%) | Indoor Environmental Quality (EQ) | 室内环境质量 (EQ) |
| 17118f0d9efd-1b3f-4c3f-b6bd-88f638797bdb | Translated (100%) | EQ Prerequisite: Minimum Indoor Air Quality Performance | EQ 先决条件：最低室内空气质量表现 (Minimum Indoor Air Quality Performance) |
| 1712d517ddc7-80e6-4311-ac8f-25d7b0a2e0fe | Translated (100%) | Required | 必要项 |
| 1713506173d6-2942-4f09-9f08-ec87b99a1292 | Translated (98%) | EB: O&M | EB:O&M |
| 171436973f7e-0ac5-4d0e-97bf-c5550b587a41 | Translated (100%) | This prerequisite applies to | 该先决条件适用于 |
| 1715d95fb403-ea78-478a-add3-d637deb32689 | Translated (100%) | Existing Buildings: Operations & Maintenance | 既有建筑：运营与维护 |
| 1716685594df-a0f2-4ca6-bc05-8ac4e19f2e58 | Translated (100%) | EB:O&M Schools | EB:O&M 学校 |
| 1717d9f331ee-982f-41f0-a291-60e4196c77b7 | Translated (100%) | EB:O&M Retail | EB:O&M 零售 |
| 17185fc3d045-54b5-4e5b-8fff-76c0b04ddd08 | Translated (100%) | EB:O&M Data Centers | EB:O&M 数据中心 |
| 1719b57ee557-5427-4003-8abc-7c6e037f65bc | Translated (100%) | EB:O&M Hospitality | EB:O&M 宾馆接待 |
| 172045447447-e8e0-4c91-b7c9-3f9a247bd87e | Translated (100%) | EB:O&M Warehouses & Distribution Centers | EB:O&M 仓储和配送中心 |
| 17217e68ba36-b72a-47a6-87e5-0e0fecf4379f | Translated (100%) | Intent | 目的 |
| 17228289a2ee-f9f6-4145-a3a5-a6f1b53bdce3 | Translated (100%) | To contribute to the comfort and well-being of building occupants by establishing minimum standards for indoor air quality (IAQ). | 建立室内空气质量 (IAQ) 最低标准，有助于改善建筑驻户的舒适和健康。 |
| 172310ea4d39-7f2e-4ddf-a9b9-a956177d3543 | Translated (100%) | Requirements | 要求 |
| 17249a7993d1-198f-4be5-8060-6a76e72f51db | Translated (100%) | EBOM, Schools, Retail, Data Centers, Hospitality, Warehouses & Distribution Centers | EBOM、学校、零售、数据中心、宾馆接待、仓储和配送中心 |
| 1725a1d290f4-2b2d-4874-9892-cef5d26c3cac | Translated (100%) | ESTABLISHMENT | 建立 |
| 1726122e2bd4-ff3c-4c92-9481-fa95c77fc4b8 | Translated (0%) | Each air-handling unit in the building must comply with either Case 1 or Case 2. | 建筑中的所有空气处理机组都必须符合情况 1 或情况 2。 |
| 1727122e2bd4-ff3c-4c92-9481-fa95c77fc4b8 | Translated (0%) | If some air-handling units can provide the outdoor airflow required by Case 1 and others cannot, those that can must do so. | 如果某些空气处理机组可以提供情况 1 要求的新风量，而其他机组不行，那么那些可以按要求提供新风量的机组必须正常运行。 |
| 1728b15c31f8-b4d8-43ae-bd84-a65660e3d138 | Translated (100%) | Mechanically Ventilated Spaces | 采用机械通风的空间 |
| 172949c28ee5-6d62-4d29-a996-4c1cc0a3d60b | Translated (97%) | For mechanically ventilated spaces (and for mixed-mode systems when the mechanical ventilation is activated), chose one of the following: | 对于采用机械通风的空间（以及启用机械通风后的混合模式系统），选择以下某一种情况： |
| 17306fe56abc-b5bc-4c45-97df-ad88c76d2479 | Translated (100%) | Case 1. | 情况 1. |
| 17316fe56abc-b5bc-4c45-97df-ad88c76d2479 | Translated (100%) | Systems Able to Meet Required Outdoor Airflow Rates | 系统能够满足要求的新风流速 |
| 17324ee4b2db-98f3-4340-9074-0417d4519173 | Translated (100%) | Option 1. | 选项 1. |
| 17334ee4b2db-98f3-4340-9074-0417d4519173 | Translated (99%) | ASHRAE Standard 62.1-2010 | ASHRAE 标准 62.1-2010 |
| 1734f640c9fc-52fa-4ba1-8de2-8a2028e12663 | Translated (76%) | Modify or maintain each outdoor air intake, supply air fan, and ventilation distribution system to meet the outdoor air intake flow rates, using the ASHRAE ventilation rate procedure or a local equivalent, whichever is more stringent and meet the minimum requirements of ASHRAE Standard 62.1–2010, Sections 4–7, Ventilation for Acceptable Indoor Air Quality (with errata), or a local equivalent, whichever is more stringent. | 改进或维护每个新风进气口、送气风扇和通风分布系统，以实现 ASHRAE 通风率法或当地对应标准（以更严格的为准）要求的新风进气流速，并满足 ASHRAE 标准 62.1–2010，第 4 到 7 部分室内空气质量达标的通风（带勘误表）或当地对应标准（以更严格的为准）的最低要求。 |
| 173592105b5e-ca1e-496c-b3dc-9d7ff2c1d77d | Translated (100%) | Option 2. | 选项 2. |
| 173692105b5e-ca1e-496c-b3dc-9d7ff2c1d77d | Translated (100%) | CEN Standards EN 15251–2007 and EN 13779–2007 | CEN 标准 EN 15251–2007 和 EN 13779–2007 |
| 17370a3cb584-304d-4d06-9e4d-1b155e6cc4f4 | Translated (100%) | Projects outside the U.S. may instead meet the minimum outdoor air requirements of Annex B of Comité Européen de Normalisation (CEN) Standard EN 15251–2007, Indoor environmental input parameters for design and assessment of energy performance of buildings addressing indoor air quality, thermal environment, lighting and acoustics; and meet the requirements of CEN Standard EN 13779–2007, Ventilation for nonresidential buildings, Performance requirements for ventilation and room conditioning systems, excluding Section 7.3, Thermal environment; 7.6, Acoustic environment; A.16; and A.17. | 美国以外的项目需满足欧洲标准化委员会 (CEN) 附录 B 标准 EN 15251–2007 用于设计和评估与室内空气质量、热环境、照明和声学效果相关的建筑能源性能的室内环境输入参数的最小新风量要求；并满足 CEN 标准 EN 13779–2007 非住宅建筑中的通风，通风和房间空调系统性能要求，第 7.3 节 - 热环境，7.6 - 声学效果环境，A.16 和 A.17 除外。 |
| 1738ea8d819a-e3c6-479d-ba70-04628a6cc961 | Translated (100%) | Case 2. | 情况 2. |
| 1739ea8d819a-e3c6-479d-ba70-04628a6cc961 | Translated (100%) | Systems Unable to Meet Required Outdoor Airflow Rates | 系统无法满足要求的新风流速 |
| 1740594d4b16-3447-4393-9177-129bd16bc530 | Translated (CM) | If meeting the outdoor airflow rates in Case 1 is not feasible because of the physical constraints of the existing ventilation system, complete an engineering assessment of the system’s maximum outdoor air delivery rate. | 如果由于现有通风系统的物理限制，无法满足情况 1 中的新风流速，需对系统的最大新风输送率进行工程评估。 |
| 1741594d4b16-3447-4393-9177-129bd16bc530 | Translated (100%) | Supply the maximum possible to reach the minimum setpoint in Case 1 and not less than 10 cubic feet per minute (5 liters per second) of outdoor air per person. | 提供尽可能大的值以满足情况 1 中的最低设定点，且不少于每人每分钟 10 立方英尺（每秒 5 升）的新风。 |
| 17421bf243a3-d931-4d87-96bd-41c14ccebce8 | Translated (100%) | Naturally Ventilated Spaces | 采用自然通风的空间 |
| 17438e2222cc-3626-49a2-809d-bc013a8e9ba8 | Translated (CM) | For naturally ventilated spaces (and for mixed-mode systems when the mechanical ventilation is inactivated), determine the minimum outdoor air opening and space configuration requirements using the natural ventilation procedure from ASHRAE Standard 62.1–2010 or a local equivalent, whichever is more stringent. | 对于采用自然通风（以及混合模式系统禁用机械通风时）的空间，使用 ASHRAE 标准 62.1–2010 或本地对应标准（以更严格的为准）中的自然通风程序确定最小新风开口和空间配置要求。 |
| 17448e2222cc-3626-49a2-809d-bc013a8e9ba8 | Translated (CM) | Confirm that natural ventilation is an effective strategy for the project by following the flow diagram in the Chartered Institution of Building Services Engineers (CIBSE) Applications Manual AM10, March 2005, Natural Ventilation in Nondomestic Buildings, Figure 2.8 and meet the requirements of ASHRAE Standard 62.1–2010, Section 4, or a local equivalent, whichever is more stringent. | 按照英国皇家注册设备工程师协会 (CIBSE) 应用手册 AM10，2005 年 3 月，非住宅建筑自然通风中图 2.8 所示的流程图确定自然通风是一种有效的项目策略，并满足 ASHRAE 标准 62.1–2010，第 4 部分或本地对应标准（以更严格的为准）的要求。 |
| 17459bdc3a8d-2016-4c61-b354-9d82fc5ce049 | Translated (100%) | All Spaces | 所有空间 |
| 1746e73dc45f-e618-44e8-8d27-c5a05275b953 | Translated (100%) | The indoor air quality procedure defined in ASHRAE Standard 62.1–2010 may not be used to comply with this prerequisite. | 不得使用 ASHRAE 标准 62.1–2010 中定义的室内空气质量程序来满足该先决条件。 |
| 17474735f31f-955a-4588-8c06-4caf53c5dd2c | Translated (100%) | PERFORMANCE | 运行 |
| 1748fd86e1e1-ebe2-4f97-bee4-8f0a8715f977 | Translated (0%) | Show compliance through measurements taken at the system level within five years of the end of the performance period. | 通过于运行期结束后五年内在系统级进行的测量表明符合要求。 |
| 1749f756fa1d-3e9a-4751-b5da-6e1ed9dcf632 | Translated (0%) | Implement and maintain an HVAC system maintenance program, based on ASHRAE 62.1–2010, Section 8, or a local equivalent, whichever is more stringent, to ensure the proper operations and maintenance of HVAC components as they relate to outdoor air introduction and exhaust. | 根据 ASHRAE 62.1–2010，第 8 部分或当地对应标准（以更严格的为准）实施和维护 HVAC 系统维护计划，以确保正确运行和维护 HVAC 组件，因为这些组件与新风引入和排风息息相关。 |
| 17505878a7f4-2b11-48e8-886d-91ea0b58a8f8 | Translated (100%) | EQ Prerequisite: Environmental Tobacco Smoke Control | EQ 先决条件：环境烟控 (Environmental Tobacco Smoke Control) |
| 17519587a9bb-b6b4-4438-8da7-52ee2eb57bd1 | Translated (100%) | Required | 必要项 |
| 1752c27a0b01-892a-4df0-bda2-92e554f936f8 | Translated (100%) | EB:O&M | EB:O&M |
| 1753805166e7-354b-4c19-b774-300371346162 | Translated (100%) | This prerequisite applies to | 该先决条件适用于 |
| 17544174d0eb-45f0-4a2f-af4a-0d769bf930b2 | Translated (100%) | Existing Buildings: Operations & Maintenance | 既有建筑：运营与维护 |
| 1755c11c3e12-e2c9-4142-87da-c5f0cf0acc03 | Translated (100%) | EB:O&M Schools | EB:O&M 学校 |
| 1756f2628b09-fda3-4d4c-a3e0-8cca8c5ad371 | Translated (100%) | EB:O&M Retail | EB:O&M 零售 |
| 1757d0a63cce-d1af-411a-bc9b-fa3e8142868e | Translated (100%) | EB:O&M Data Centers | EB:O&M 数据中心 |
| 175869894c5d-2932-4494-8b0b-19875f24e293 | Translated (100%) | EB:O&M Hospitality | EB:O&M 宾馆接待 |
| 17590feef08d-5ce9-4210-aed6-d8ad51622c5f | Translated (100%) | EB:O&M Warehouses & Distribution Centers | EB:O&M 仓储和配送中心 |
| 1760f7c4c448-ce7d-4f43-abcd-378466dc36be | Translated (100%) | Intent | 目的 |
| 1761536842ea-58a8-4926-8f36-4ed634f52a90 | Translated (100%) | To prevent or minimize exposure of building occupants, indoor surfaces, and ventilation air distribution systems to environmental tobacco smoke. | 防止或尽量减少让建筑驻户、室内表面和通风空气配送系统接触环境烟害。 |
| 17621e977e53-d8f1-4593-8a30-974e6b5afe09 | Translated (100%) | Requirements | 要求 |
| 1763bd57520a-649b-4239-8e2f-047fb6a16273 | Translated (92%) | EBOM, Retail, Data Centers, Hospitality, Warehouses & Distribution Centers | EBOM、零售、数据中心、宾馆接待、仓储和配送中心 |
| 1764e8686a47-f2c5-477b-b35c-c688e890d202 | Translated (100%) | ESTABLISHMENT | 建立 |
| 1765f49738b0-9997-4514-99d0-218e74172258 | Translated (100%) | Prohibit smoking in the building. | 在建筑内禁烟。 |
| 1766488704b7-d9fa-4e23-a78c-d1e2a4f0e151 | Translated (0%) | Prohibit smoking outside the building except in designated smoking areas located at least 25 feet (7.5 meters) from all entries, outdoor air intakes, and operable windows. | 禁止在建筑外吸烟，但指定的吸烟区除外，这些吸烟区与所有入口、新风进气口和活动窗的距离至少为 25 英尺（7.5 米）。 |
| 1767488704b7-d9fa-4e23-a78c-d1e2a4f0e151 | Translated (100%) | Also prohibit smoking outside the property line in spaces used for business purposes. | 还要禁止在商务用途空间的地界线以外吸烟。 |
| 17682e0cec04-9ab2-460a-821a-24849a7943ec | Translated (100%) | If the requirement to prohibit smoking within 25 feet (7.5 meters) cannot be implemented because of code, provide documentation of these regulations. | 如果因为法规而导致无法执行在 25 英尺（7.5 米）内禁止吸烟的要求，请提供这些法规文件。 |
| 1769854d2c28-c310-4b3e-a454-f2492225ab37 | Translated (100%) | Signage must be posted within 10 feet (3 meters) of all building entrances indicating the no-smoking policy. | 必须在距所有建筑入口 10 英尺（3 米）的距离内设置标志，指示无烟政策。 |
| 17704e992991-df48-47ea-9c33-8dbd7e105f72 | Translated (0%) | Residential only | 仅限住宅 |
| 1771313bec61-743b-4f6c-af5c-9a3915a581c4 | Translated (100%) | Option 1. | 选项 1. |
| 1772313bec61-743b-4f6c-af5c-9a3915a581c4 | Translated (0%) | No Smoking | 无烟 |
| 1773e196620c-8910-4a03-a9ab-23cce55aecf2 | Translated (71%) | Meet the requirements above. | 满足上述要求。 |
| 17740ab8af33-7316-49dc-9791-14710586139a | Translated (100%) | OR | 或 |
| 17756a9d0d72-7a2b-4a9d-a021-1d3b537c7fa4 | Translated (100%) | Option 2. | 选项 2. |
| 17766a9d0d72-7a2b-4a9d-a021-1d3b537c7fa4 | Translated (0%) | Compartmentalization of Smoking Areas | 吸烟区的通风空间划分 |
| 177762092f29-0fa6-41c4-9870-0c3d1447bbf5 | Translated (100%) | Prohibit smoking in all common areas of the building. | 在建筑的所有公共区域中禁烟。 |
| 177862092f29-0fa6-41c4-9870-0c3d1447bbf5 | Translated (0%) | The prohibition must be communicated in building rental or lease agreements or condo or coop association covenants and restrictions. | 必须在建筑出租或租赁协议或者共有或合作公寓团体条款和限制中规定禁烟。 |
| 177962092f29-0fa6-41c4-9870-0c3d1447bbf5 | Translated (0%) | Make provisions for enforcement. | 付诸实施这些条款。 |
| 178048869c81-d769-46c4-b2df-604bbccfbf9f | Translated (99%) | Prohibit smoking outside the building except in designated smoking areas located at least 25 feet (7.5 meters) from all entries, outdoor air intakes, and operable windows. | 禁止在建筑外吸烟，但指定的吸烟区除外，这些吸烟区与所有入口、新风进气口和活动窗的距离至少为 25 英尺（7.5 米）。 |
| 178148869c81-d769-46c4-b2df-604bbccfbf9f | Translated (0%) | The no-smoking policy also applies to spaces outside the property line used for business purposes. | 无烟政策还适用于商务用途地线界以外的空间。 |
| 178262311e08-7007-4f40-a6a1-605a8efb6830 | Translated (100%) | If the requirement to prohibit smoking within 25 feet (7.5 meters) cannot be implemented because of code, provide documentation of these regulations. | 如果因为法规而导致无法执行在 25 英尺（7.5 米）内禁止吸烟的要求，请提供这些法规文件。 |
| 17839fd01d28-0a52-4d5a-a1a2-d94ef3b95f12 | Translated (100%) | Signage must be posted within 10 feet (3 meters) of all building entrances indicating the no-smoking policy. | 必须在距所有建筑入口 10 英尺（3 米）的距离内设置标志，指示无烟政策。 |
| 17841e7689f1-63e7-4df7-9853-5717bb20f8a8 | Translated (0%) | Each unit must be compartmentalized to prevent excessive leakage between units: | 必须对每个单元进行通风空间划分，以防止单元之间的过度渗透。 |
| 1785d9a9e360-4f5f-47d6-95d2-b133e488655e | Translated (100%) | Weather-strip all exterior doors and operable windows in the residential units to minimize leakage from outdoors. | 在所有外门和活动窗上，以及住宅单元中安装密封条，以尽量减少烟气从室外的渗透。 |
| 17868a69e7df-4d47-4ec3-8df4-5634257fc26f | Translated (0%) | Weather-strip all doors leading from residential units into common hallways. | 用密封条封住住宅单元中通往公共走廊的所有门。 |
| 1787f5158c01-f57d-4eb5-a225-d27ccfbdac78 | Translated (0%) | Minimize uncontrolled pathways for the transfer of smoke and other indoor air pollutants between residential units by sealing penetrations in the walls, ceilings, and floors and by sealing vertical chases (including utility chases, garbage chutes, mail drops, and elevator shafts) adjacent to the units. | 密封住宅单元墙壁、天花板和地板中的渗透处，以及单元相邻垂直暗管（包括公用事业公司的暗管、垃圾滑槽、信箱和电梯井），以尽量减少各个住宅单元之间不受控制的烟及其他室内空气污染物的传递通道。 |
| 1788d216d15b-afb7-4c12-bbf0-3e28b786f529 | Translated (0%) | Demonstrate a maximum leakage of 0.50 cubic feet per minute per square foot (2.54 liters per second per square meter) at 50 Pa of enclosure (i.e., all surfaces enclosing the apartment, including exterior and party walls, floors, and ceilings) or establish a baseline for a future 30% improvement. | 证明在封闭区域（即公寓的所有封闭表面，包括外墙、承重墙、地板和天花板）气压达到 50 Pa 时最大渗透速率为每平方英尺每分钟 0.50 立方英尺（每平方米每秒钟 2.54 升），或建立基线以在将来改善 30%。 |
| 17890c5c72bc-a251-43d2-8d94-faa3aff2912b | Translated (100%) | Schools | 学校 |
| 179055817e01-cc65-4d92-9803-28a320f37514 | Translated (0%) | Prohibit smoking on site. | 在场址内禁烟。 |
| 1791cca90067-29d8-4a04-9a82-22668be8aed9 | Translated (0%) | Signage must be posted at the property line indicating the no-smoking policy. | 必须在地界线处设置标志，指示无烟政策。 |
| 1792a4969936-72c6-41fb-86d4-9ea518a92c22 | Translated (100%) | PERFORMANCE | 运行 |
| 17931988e5ab-e2a6-4d66-84de-063e4ee66e79 | Translated (100%) | EBOM, Schools, Retail, Data Centers, Hospitality, Warehouses & Distribution Centers | EBOM、学校、零售、数据中心、宾馆接待、仓储和配送中心 |
| 1794dae1a2ea-af92-4da4-a9f8-bcde8cedfdca | Translated (100%) | None. | 无。 |
| 17956aecedc1-81e2-4850-b15b-b1133111119a | Translated (100%) | Residential only | 仅限住宅 |
| 17961ad48bd6-1438-45b5-b8a3-830f7be24f0f | Translated (0%) | Demonstrate on a regular basis (at least once every five years) a maximum leakage of 0.50 cubic feet per minute per square foot (2.54 liters per second per square meter) at 50 Pa of enclosure (i.e., all surfaces enclosing the apartment, including exterior and party walls, floors, and ceilings). | 定期证明（至少每五年证明一次）在封闭区域（即公寓的所有封闭表面，包括外墙、承重墙、地板和天花板）气压达到 50 Pa 时最大渗透速率为每平方英尺每分钟 0.50 立方英尺（每平方米每秒钟 2.54 升）。 |
| 17975cc886ed-be0c-4a9b-b593-d5a983996251 | Translated (0%) | Projects that do not meet the leakage requirement may demonstrate a 30% improvement over the most recent baseline. | 不满足渗透要求的项目可证明与最近基线相比改善了 30%。 |
| 17985cc886ed-be0c-4a9b-b593-d5a983996251 | Translated (0%) | The current measurement establishes the new baseline. | 当前测量会建立新基线。 |
| 179998b77e72-4d05-4766-b7a2-06b6f86b535f | Translated (85%) | EQ Prerequisite: Green Cleaning Policy | EQ 先决条件：绿色清洁政策 (Green Cleaning Policy) |
| 180012d4d53f-d5e6-418f-9a6f-7e3ab5421f79 | Translated (100%) | Required | 必要项 |
| 180111bf6c77-8916-49f4-ba4e-dd87294ec7e5 | Translated (100%) | EB:O&M | EB:O&M |
| 180270aae780-e7bb-4ef5-9251-a7cfaf96a33c | Translated (100%) | This prerequisite applies to | 该先决条件适用于 |
| 1803a419cf86-6e2c-4ffb-8daf-2954db7767f1 | Translated (100%) | Existing Buildings: Operations & Maintenance | 既有建筑：运营与维护 |
| 180442a2f1f5-d98f-4829-9209-d141e8efcad8 | Translated (100%) | EB:O&M Schools | EB:O&M 学校 |
| 18052c21e577-b1f2-4e9d-9d72-1054c0fb2cb3 | Translated (100%) | EB:O&M Retail | EB:O&M 零售 |
| 1806c0dba957-c781-4ba5-9572-52738b5d9e69 | Translated (100%) | EB:O&M Data Centers | EB:O&M 数据中心 |
| 1807e9d29a1f-2ce5-4549-ae91-6687dfad5b25 | Translated (100%) | EB:O&M Hospitality | EB:O&M 宾馆接待 |
| 18086ae4a152-83c3-4575-9a99-5ed2f4976afb | Translated (100%) | EB:O&M Warehouses & Distribution Centers | EB:O&M 仓储和配送中心 |
| 1809ed73bfd8-e76d-4f5d-a139-cbcdc97b933e | Translated (100%) | Intent | 目的 |
| 181055627e6c-2c89-4e54-97c2-f5412b622d7d | Translated (0%) | To reduce levels of chemical, biological, and particulate contaminants that can compromise air quality, human health, building finishes, building systems, and the environment. | 减少可能对空气质量、人类健康、建筑饰面、建筑系统和环境产生负面影响的化学、生物和微粒污染物的浓度。 |
| 1811504e32f1-be89-4097-8c67-e7293d41cb6a | Translated (100%) | Requirements | 要求 |
| 181220ebf1dd-1f97-4d82-99f7-61864a3b5126 | Translated (100%) | EBOM, Schools, Retail, Data Centers, Hospitality, Warehouses & Distribution Centers | EBOM、学校、零售、数据中心、宾馆接待、仓储和配送中心 |
| 1813cdf61124-6636-4f56-8a83-6b8e41290ae5 | Translated (100%) | Option 1. | 选项 1. |
| 1814cdf61124-6636-4f56-8a83-6b8e41290ae5 | Translated (79%) | In-House Green Cleaning Policy | 室内绿色清洁政策 |
| 1815b7ca58cf-fa4e-4b7e-8225-4814e73ce09f | Translated (100%) | ESTABLISHMENT | 建立 |
| 1816699557d4-1864-4028-b495-7a3e42709cba | Translated (0%) | Have in place a green cleaning policy for the building and site addressing the green cleaning credits, goals and strategies, and personnel listed below. | 针对以下绿色清洁得分点、目标和策略及下面列出的人员为建筑和场址制定绿色清洁政策。 |
| 1817699557d4-1864-4028-b495-7a3e42709cba | Translated (0%) | At a minimum, the policy must cover green cleaning procedures, materials, and services that are within the building and site management’s control, and include the organization responsible for cleaning the building and building site. | 该政策必须至少涵盖在建筑和场址管理人员控制范围之内的绿色清洁步骤、材料和服务，并包括负责清洁建筑和场址的组织。 |
| 18187731dd5f-a294-4766-b879-df47fdbd5b2f | Translated (0%) | Address the requirements of the following credits: | 满足以下得分点的要求： |
| 1819d6ba9c4f-dece-4a9b-a282-b7005f11c145 | Translated (72%) | EQ Credit: Green Cleaning—Purchase of Cleaning Products and Materials | EQ 得分点：绿色清洁—采购清洁产品和材料 (Green Cleaning—Purchase of Cleaning Products and Materials) |
| 1820d24d4ebb-3ff4-438b-844f-70773a67df76 | Translated (0%) | EQ Credit: Green Cleaning—Cleaning Equipment | EQ 得分点：绿色清洁—清洁设备 (Green Cleaning—Cleaning Equipment) |
| 182143627e1d-5e7d-4b51-ae95-4c1d3accc985 | Translated (77%) | Goals and Strategies | 目标和策略 |
| 1822d107fc0c-4545-48b6-a35a-42c9c4bd0372 | Translated (81%) | Establish standard operating procedures addressing how an effective cleaning and hard floor and carpet maintenance system will be consistently used, managed, and audited. | 制定标准操作程序来规定如何持续地使用、管理和审计有效清洁、硬地板和地毯维护系统。 |
| 1823bd2f40f9-31d9-4148-aa9a-6370fb62659e | Translated (0%) | Address protection of vulnerable building occupants during cleaning. | 规定在清洁期间如何保护易受影响的建筑驻户。 |
| 18244ff5bed3-74f0-469e-849a-17e3beb3d42e | Translated (0%) | Address selection and appropriate use of disinfectants and sanitizers. | 规定如何选择并正确使用消毒剂和杀菌剂。 |
| 1825d43ba884-3246-4905-bf37-aa4420ff8905 | Translated (88%) | Develop guidelines addressing the safe handling and storage of cleaning chemicals used in the building, including a plan for managing hazardous spills and mishandling incidents. | 制定指导原则，规定如何在建筑中安全处理和存贮清洁化学品，包括制定如何处理危险泼溅和不当操作事件的预案。 |
| 18263dc838d7-df58-4418-a184-7d9569511772 | Translated (0%) | Develop goals and strategies for reducing the toxicity of the chemicals used for laundry, ware washing, and other cleaning activities. | 制定降低洗衣、洗碗和其他清洁活动所用化学品毒性的目标和策略。 |
| 182778071d5a-a768-42a0-80a3-2b7aaeefca79 | Translated (0%) | Develop goals and strategies for promoting the conservation of energy, water, and chemicals used for cleaning. | 制定促进清洁所用能源、水和化学品节约的目标和策略。 |
| 1828e177217f-40a7-431c-b1be-0c0871f8dd89 | Translated (76%) | Develop strategies for promoting and improving hand hygiene. | 制定促进和改善手部卫生的策略。 |
| 18297e96e73f-f3c2-4df6-be70-03d259f45116 | Translated (0%) | Personnel | 人员 |
| 18301ad217f4-e258-491b-a6c4-25dcbb4c3f80 | Translated (0%) | Develop requirements for maintenance personnel. | 为维护人员制定要求。 |
| 18311ad217f4-e258-491b-a6c4-25dcbb4c3f80 | Translated (0%) | Specifically address contingency planning to manage staffing shortages under a variety of conditions to ensure that basic cleaning services are met and critical cleaning needs are addressed. | 专门制定在不同情况下管理人员短缺的应急计划，以确保满足基本清洁服务和解决关键清洁需求。 |
| 18321ad217f4-e258-491b-a6c4-25dcbb4c3f80 | Translated (0%) | Include a process to obtain occupant and custodial staff input and feedback after contingency plans are implemented. | 包括在实施应急计划后获取驻户和保洁人员意见和反馈的流程。 |
| 183306c513ae-21f4-445b-9f8c-75b60ea90954 | Translated (82%) | Determine the timing and frequency of training for maintenance personnel in the hazards of use, disposal, and recycling of cleaning chemicals, dispensing equipment, and packaging. | 确定对维护人员提供有关清洁化学品、分配设备和包装的使用、处理和回收危险的培训时间和频率。 |
| 183465241091-4bff-4fbb-8d2d-ddf29281e5fd | Translated (100%) | PERFORMANCE | 运行 |
| 1835edc4bf8a-00f5-4ef9-9873-8ae0dd0045a0 | Translated (0%) | Implement a high-performance cleaning program based on the above policy and track performance goals associated with this policy. | 根据以上政策实施高性能清洁计划，并跟踪此政策相关的性能目标。 |
| 1836e7896ab1-0011-45fe-a724-da3f71895717 | Translated (100%) | Option 2. | 选项 2. |
| 1837e7896ab1-0011-45fe-a724-da3f71895717 | Translated (0%) | Certified Cleaning Service | 通过认证的清洁服务 |
| 18381bb1b1eb-36f8-4f3b-a359-7f8bc18ddbee | Translated (100%) | ESTABLISHMENT | 建立 |
| 18392a2f52af-1e54-419c-9a6a-e9bb54e085f9 | Translated (100%) | None. | 无。 |
| 18409e7a4fd9-745d-4560-9a28-fb7be8fc64a4 | Translated (100%) | PERFORMANCE | 运行 |
| 18414e892542-bdbd-481e-b961-3457ab71f96e | Translated (0%) | Clean the building with a cleaning service provider, either in-house custodial staff or a contracted service contractor, certified under one of the following: | 与已通过以下某种认证的清洁服务提供商（内部保洁人员或签订合约的服务承包商）一起清洁建筑： |
| 184226cb2f79-41af-4936-9bd8-fffe3017231a | Translated (0%) | Green Seal’s Environmental Standard for Commercial Cleaning Services (GS-42); or | 商业清洁服务的绿色印章 (Green Seal) 环境标准 (GS-42)；或 |
| 1843ab6a36d9-1271-4749-9ab6-5dd351463eab | Translated (0%) | International Sanitary Supply Association (ISSA) Cleaning Industry Management Standard for Green Buildings (CIMS-GB); or | 绿色建筑的国际卫生设备产业协会 (ISSA) 清洁产业管理标准 (CIMS-GB)；或 |
| 18446affb2fb-24c1-4b4d-b9ab-f62b5f728127 | Translated (0%) | Local equivalent for projects outside the U.S. | 美国以外的项目为当地对应标准。 |
| 184581d401cb-8e97-49b6-82ef-e46f693ea2c0 | Translated (0%) | Confirm that the building or contractor was audited by the third party within 12 months of the end of the performance period. | 确认建筑或承包商由第三方在运行期结束后 12 个月内进行审计。 |
| 1846ec2caa5d-7fdf-40a8-bc00-6e247dc66334 | Translated (71%) | In addition, the cleaning contractor must develop goals and strategies for promoting the conservation of energy, water, and chemicals used for cleaning the building. | 此外，清洁承包商必须制定促进清洁建筑所用能源、水和化学品节约的目标和策略。 |
| 18470f20b2f1-757a-4e92-8150-53a468cf1e38 | Translated (89%) | EQ Credit: Indoor Air Quality Management Program | EQ 得分点：室内空气质量管理计划 (Indoor Air Quality Management Program) |
| 18480070c8df-c33b-4a45-b5e9-bb34cdf7ae1f | Translated (100%) | EB:O&M | EB:O&M |
| 1849c4e4ac0f-e85f-4130-b9f8-6556222e0e44 | Translated (100%) | 2 points | 2 分 |
| 1850e9cdfefd-75c1-45bd-a566-23ba716b431b | Translated (100%) | This credit applies to | 该得分点适用于 |
| 18512a2d4c2e-1597-42d6-9448-6e4e5eb21ede | Translated (100%) | Existing Buildings: Operations & Maintenance (2 points) | 既有建筑：运营与维护（2 分） |
| 1852aabbc99e-38df-4bb6-b81c-b7f208db531e | Translated (100%) | EB:O&M Schools (2 points) | EB:O&M 学校（2 分） |
| 185318247e24-fa08-4fbc-96b1-92a993df53ec | Translated (100%) | EB:O&M Retail (2 points) | EB:O&M 零售（2 分） |
| 1854738d6ba9-5dad-42d3-99b2-53aee38f8239 | Translated (100%) | EB:O&M Data Centers (2 points) | EB:O&M 数据中心（2 分） |
| 1855c3c29c4b-63e3-43fb-82b9-1b37e0f20fa7 | Translated (100%) | EB:O&M Hospitality (2 points) | EB:O&M 宾馆接待（2 分） |
| 1856ba20bdb1-bd9d-462a-b419-37f4252da6e3 | Translated (100%) | EB:O&M Warehouses & Distribution Centers (2 points) | EB:O&M 仓储和配送中心（2 分） |
| 185703c30559-88b4-4218-a9e8-96ce7cdb7dc9 | Translated (100%) | Intent | 目的 |
| 1858837270ef-08ec-4fbc-b792-92a3749e8969 | Translated (0%) | To maintain the well-being of occupants by preventing and correcting indoor air quality problems. | 通过防止并更正室内空气质量问题来保持驻户的健康。 |
| 18594daed189-3b6e-432a-a0f7-7959b0768fc9 | Translated (100%) | Requirements | 要求 |
| 18603262074a-6ce1-4401-9bb1-750e94877444 | Translated (100%) | EBOM, Schools, Retail, Data Centers, Hospitality, Warehouses & Distribution Centers | EBOM、学校、零售、数据中心、宾馆接待、仓储和配送中心 |
| 18616938872a-9852-4369-a975-e1ee0081d4bb | Translated (100%) | ESTABLISHMENT | 建立 |
| 186219170a29-1d3b-4ce1-a11d-0008a30b1fa8 | Translated (85%) | Develop and implement an indoor air quality (IAQ) management program based on the EPA Indoor Air Quality Building Education and Assessment Model (I-BEAM). | 根据 EPA 的建筑室内空气质量教育及评估模型 (I-BEAM) 制定并实施室内空气质量 (IAQ) 管理计划。 |
| 186319170a29-1d3b-4ce1-a11d-0008a30b1fa8 | Translated (74%) | Include the IAQ management program in the project’s current facilities requirements and operations and maintenance Plan. | 在项目的当前设施要求和运营与维护计划中包括 IAQ 管理计划。 |
| 1864c2a2b0ae-dfb9-461c-8cbc-c9d3678e72f8 | Translated (100%) | PERFORMANCE | 运行 |
| 18653c8b74c8-b53e-40c5-8269-3834fb6c7838 | Translated (0%) | Conduct an I-BEAM audit on a regular basis (at least once every five years) and revise the IAQ management program as appropriate. | 定期执行 I-BEAM 审计（至少每五年执行一次），并对 IAQ 管理计划进行适当修订。 |
| 1866055e1af5-e33d-4c35-a808-c48931e3ef2a | Translated (100%) | EQ Credit: Enhanced Indoor Air Quality Strategies | EQ 得分点：增强室内空气质量策略 (Enhanced Indoor Air Quality Strategies) |
| 1867b28a63ce-4198-4fee-a942-b52b345436fa | Translated (100%) | EB:O&M | EB:O&M |
| 1868631b9cd0-cd52-450d-a287-78034efd4efe | Translated (100%) | 1–2 points | 1-2 分 |
| 18698a33d841-6325-4873-a660-5f226f648c1b | Translated (100%) | This credit applies to | 该得分点适用于 |
| 1870f41607cf-88f3-4142-8e81-14e32d1d6cca | Translated (100%) | Existing Buildings: Operations & Maintenance (1–2 points) | 既有建筑：运营与维护（1-2 分） |
| 1871a13a73bd-4594-4a02-ab00-ff3ba212ac53 | Translated (100%) | EB:O&M Schools (1–2 points) | EB:O&M 学校（1-2 分） |
| 187283f44fa8-2f89-4d35-add2-7185afcf45dd | Translated (100%) | EB:O&M Retail (1–2 points) | EB:O&M 零售（1-2 分） |
| 18732d40884c-b292-4ff1-a61c-9b0e7134a92c | Translated (100%) | EB:O&M Data Centers (1–2 points) | EB:O&M 数据中心（1-2 分） |
| 18741af8e809-8463-4905-8aac-8de839bbd2d5 | Translated (100%) | EB:O&M Hospitality (1–2 points) | EB:O&M 宾馆接待（1-2 分） |
| 1875c0631b19-76a5-46f8-8bea-801da54228e2 | Translated (100%) | EB:O&M Warehouses & Distribution Centers (1–2 points) | EB:O&M 仓储和配送中心（1-2 分） |
| 187670d83bfa-8070-40cb-b052-2752d2d516b6 | Translated (100%) | Intent | 目的 |
| 18779b59bae1-bfb7-4d8d-8cc4-c849ce759be1 | Translated (100%) | To promote occupants’ comfort, well-being, and productivity by improving indoor air quality. | 通过提高室内空气质量改善驻户的舒适、健康和生产效率。 |
| 1878c5af2da4-d7b3-4adc-a8f2-d354150b5153 | Translated (100%) | Requirements | 要求 |
| 1879a6954504-52c3-41c0-91f3-40da0ad8bcc4 | Translated (100%) | EBOM, Schools, Retail, Data Centers, Hospitality, Warehouses & Distribution Centers | EBOM、学校、零售、数据中心、宾馆接待、仓储和配送中心 |
| 188072f702cf-5223-4654-95c3-deabbf46350e | Translated (100%) | Option 1. | 选项 1. |
| 188172f702cf-5223-4654-95c3-deabbf46350e | Translated (84%) | Entryway Systems (1 point) | 入口通道系统（1 分） |
| 188216a5ed23-0c76-4cdd-b1b1-caad08de9409 | Translated (100%) | ESTABLISHMENT | 建立 |
| 1883cbaac613-df26-4942-a2b3-d02ff38921fd | Translated (93%) | Have in place permanent entryway systems at least 10 feet (3 meters) long in the primary direction of travel to capture dirt and particulates entering the building at regularly used exterior entrances. | 在主要行进方向上安装至少 10 英尺（3 米）长的永久入口通道系统，以在常用外部入口处捕捉进入建筑的灰尘和颗粒物。 |
| 1884cbaac613-df26-4942-a2b3-d02ff38921fd | Translated (96%) | Acceptable entryway systems include permanently installed grates, grilles, slotted systems that allow for cleaning underneath, rollout mats, and any other materials manufactured as entryway systems with equal to or better performance. | 可接受的入口通道系统包括永久安装的格栅、鞋筛、允许清洗底部的开槽系统、活动地垫，以及其他任何作为具有同等或更高性能的入口通道系统生产的材料。 |
| 1885cbaac613-df26-4942-a2b3-d02ff38921fd | Translated (100%) | Maintain all on a weekly basis. | 每周维护一次。 |
| 18867e15943c-4860-469f-93ea-6aa478aa130d | Translated (0%) | Warehouses & Distribution Centers only | 仅限仓储和配送中心 |
| 1887ec133212-925b-4d0a-888f-82b0f1e131a4 | Translated (0%) | Buildings are not required to provide entryway systems at doors leading from the exterior to the loading dock/garage, but must provide them between these spaces and adjacent office areas. | 建筑无需在室外通往载货区/车库的所有门口处提供入口通道系统，但必须在这些空间和邻近办公区之间提供入口通道系统。 |
| 1888eba6a530-8302-45d3-9c51-198aad51d0b3 | Translated (100%) | PERFORMANCE | 运行 |
| 1889d71582a1-2b41-4104-990a-96c465ba86cd | Translated (0%) | Confirm that entryway systems have been maintained on a weekly basis. | 确认每周对入口通道系统进行一次维护。 |
| 18905d637fdd-bd60-4d0a-9718-9c182fdd589a | Translated (100%) | Option 2. | 选项 2. |
| 18915d637fdd-bd60-4d0a-9718-9c182fdd589a | Translated (87%) | Additional Enhanced IAQ Strategies (1 point) | 其他增强 IAQ 策略（1 分） |
| 1892a7a94a2f-3fc8-4d48-90fb-f7be69060b0a | Translated (0%) | Comply with the requirements of at least one of the following. | 符合以下至少一项的要求。 |
| 189327bd42b4-ea8b-4e22-8560-4a706e1491dd | Translated (75%) | Filtration for Mechanically Ventilated Spaces | 采用机械通风空间的过滤 |
| 1894f2617512-42c0-41ab-8444-c0e2e695608a | Translated (100%) | ESTABLISHMENT | 建立 |
| 1895152d536c-c630-411b-b4db-334ac1b16367 | Translated (0%) | Each ventilation system that supplies outdoor air to occupied spaces must have particle filters or air cleaning devices. | 每个为使用空间提供新风的通风系统都必须使用颗粒过滤器或空气清洁设备。 |
| 1896152d536c-c630-411b-b4db-334ac1b16367 | Translated (77%) | These filters or devices must meet one of the following filtration media requirements: | 这些过滤器或设备必须满足以下过滤介质要求之一： |
| 189719e19496-421d-423a-9790-2798982c9982 | Translated (96%) | minimum efficiency reporting value (MERV) of 13 or higher, in accordance with ASHRAE Standard 52.2–2007; | 最低效率报告值 (MERV) 为 13 或更高，符合 ASHRAE 标准 52.2–2007； |
| 1898eb61c549-9e1c-4ac7-84b3-ffd8d7609485 | Translated (100%) | Class F7 or higher as defined by CEN Standard EN 779–2002, Particulate Air Filters for General Ventilation, Determination of the Filtration Performance. | F7 或更高类别，由 CEN 标准 EN 779–2002，“一般通风用空气粒子过滤器”，“过滤性能确定”定义。 |
| 18994465653a-734c-4a65-aac3-50f135b0434b | Translated (0%) | Establish a regular schedule for maintenance and replacement of filtration media according to the manufacturer’s recommended interval. | 根据制造商的建议间隔，制定定期维护和更换过滤介质的时间表。 |
| 19003e2242a3-c3e5-4f83-92c9-eb696f69c063 | Translated (100%) | Data Centers only | 仅限数据中心 |
| 1901f60db07d-2c31-4823-8fa6-b881e408c76a | Translated (0%) | The above filtration media requirements are required only for ventilation systems serving regularly occupied spaces. | 只有为常用空间通风的通风系统需要满足以上过滤介质要求。 |
| 1902163fcd68-a6b7-4eed-af88-39e75357a980 | Translated (100%) | PERFORMANCE | 运行 |
| 1903fa86771e-2b57-4a1e-8be8-2802616dd185 | Translated (0%) | Follow the schedule for maintenance and replacement of filtration media. | 遵循维护和更换过滤介质的时间表。 |
| 19045a7afecb-a5e2-4c53-b5b7-2e870c0abc45 | Translated (77%) | Carbon Dioxide Monitors | 二氧化碳监测仪 |
| 19054de0d7f3-cfbc-4b39-ab75-7e67e2ec1fa6 | Translated (100%) | ESTABLISHMENT | 建立 |
| 19069a2fbe2c-3973-4ba9-bd7f-0858841e8980 | Translated (0%) | Have in place CO<1758>2</1758> monitors in all densely occupied spaces. | 在所有密集使用空间安装 CO<1758>2</1758> 监测仪。 |
| 19079a2fbe2c-3973-4ba9-bd7f-0858841e8980 | Translated (94%) | Rooms smaller than 150 square feet (14 square meters) are exempt. | 小于 150 平方英尺（14 平方米）的房间排除在外。 |
| 19089a2fbe2c-3973-4ba9-bd7f-0858841e8980 | Translated (91%) | CO<1759>2</1759> monitors must be between 3 and 6 feet (900 and 1 800 millimeters) above the floor. | CO<1759>2</1759> 监测仪必须距地面 3 到 6 英尺（900 到 1800 毫米）。 |
| 1909ab381f9c-9f09-4231-86c0-59b6e8df7a7a | Translated (0%) | Configure the system to generate a visual alarm to the system operator if the differential CO<1760>2</1760> concentration in any zone rises more than 15% above that corresponding to the minimum outdoor air rate required in the ventilation section of EQ Prerequisite Minimum Indoor Air Quality Performance. | 配置系统，以便在任意区域的 CO<1760>2</1760> 浓度差超过对应于 EQ 先决条件：最低室内空气质量表现 (Minimum Indoor Air Quality Performance) 的通风部分中要求的最小新风量的 CO<1760>2</1760> 浓度差 15% 以上时生成系统操作员可见的警报。 |
| 1910649d2594-c65f-4305-99a1-9c53928ec18a | Translated (91%) | Test and calibrate CO<1761>2</1761> sensors to have an accuracy of no less than 75 parts per million or 5% of the reading, whichever is greater. | 测试和校准 CO<1761>2</1761> 感应器，使其精度不低于百万分之 75 或者读数的 5%（以较大者为准）。 |
| 1911a2bab57a-70b8-42b6-8111-5ce82117a1f1 | Translated (100%) | PERFORMANCE | 运行 |
| 1912bfe2f7f1-4870-4825-9ec6-d166e8c59aa6 | Translated (97%) | Sensors must be tested and calibrated at least once every five years or per the manufacturer’s recommendation, whichever is shorter. | 必须至少每五年或者按照制造商的建议（以较短者为准）对感应器进行测试和校准。 |
| 19132a104de0-4042-42b4-9c8c-9aeee7037716 | Translated (80%) | Monitor CO<1763>2</1763> sensors with a system configured to trend CO<1764>2</1764> concentrations in intervals no greater than 30 minutes. | 使用配置为以不超过 30 分钟的间隔确定 CO<1763>2</1763> 浓度趋势的系统监视 CO<1763>2</1763> 感应器。 |
| 191425bf620f-4dc4-4e96-a453-9e6ab03d3cfe | Translated (0%) | Outdoor Air Monitoring for Mechanically Ventilated Spaces | 采用机械通风空间的新风监测 |
| 1915ab1320b0-69b0-40bf-8992-ebd92f90a825 | Translated (100%) | ESTABLISHMENT | 建立 |
| 1916bb706f7d-8010-4188-bc2b-ce6999de5e5a | Translated (0%) | For variable air volume systems, provide a direct outdoor airflow measurement device capable of measuring the minimum outdoor air intake flow for at least 80% of the outdoor air flow. | 对于可变风量系统，提供能够为至少 80% 的新风量测量最低新风进气流量的直接新风气流测量设备。 |
| 1917bb706f7d-8010-4188-bc2b-ce6999de5e5a | Translated (0%) | This device must measure the minimum outdoor air intake flow with an accuracy of +/–10% of the design minimum outdoor airflow rate required in the ventilation section of EQ Prerequisite Minimum Indoor Air Quality Performance. | 该设备必须以 EQ 先决条件：最低室内空气质量表现 (Minimum Indoor Air Quality Performance) 的通风部分中要求的最低新风设计流速 +/–10% 的精度测量最低新风进气流量。 |
| 1918bb706f7d-8010-4188-bc2b-ce6999de5e5a | Translated (100%) | An alarm must indicate when the outdoor airflow value varies by 15% or more from the outdoor airflow setpoint. | 如果新风量相比新风设定值改变了 15% 或更多，则必须发出警报。 |
| 1919410de500-98f4-4226-8bbb-3d36f9642e5b | Translated (0%) | For constant-volume systems, balance outdoor airflow to the design minimum outdoor airflow rate required in the ventilation section of EQ Prerequisite Minimum Indoor Air Quality Performance, or higher. | 对于定量系统，将新风平衡为 EQ 先决条件：最低室内空气质量表现 (Minimum Indoor Air Quality Performance) 的通风部分中要求的最低新风设计流速或更大的值。 |
| 1920410de500-98f4-4226-8bbb-3d36f9642e5b | Translated (100%) | Install a current transducer on the supply fan, an airflow switch, or similar monitoring device. | 在送风风扇上安装电流传感器、气流开关或类似的监测设备。 |
| 192197c1712f-b648-43c3-8f3d-ed21fccc343e | Translated (100%) | PERFORMANCE | 运行 |
| 1922455cbfc8-624e-4364-9afd-88c50f992c92 | Translated (0%) | Calibrate all measurement devices within the manufacturer’s recommended interval. | 按照制造商建议的时间间隔校准所有测量设备。 |
| 1923d3f58244-b5ea-4b9c-be1a-c68e04c10b4f | Translated (91%) | Outdoor Air Monitoring for Naturally Ventilated Spaces | 采用自然通风空间的新风监测 |
| 1924e99c0a82-e75f-45aa-a24c-7d54b1bc03a1 | Translated (100%) | ESTABLISHMENT | 建立 |
| 19256f6c1e1e-c291-4d2f-8f03-b375c5e35b38 | Translated (0%) | Provide a direct exhaust airflow measurement device capable of measuring the exhaust airflow. | 提供能够测量排气气流的直接排气气流测量设备。 |
| 19266f6c1e1e-c291-4d2f-8f03-b375c5e35b38 | Translated (73%) | This device must measure the exhaust airflow with an accuracy of +/–10% of the design minimum exhaust airflow rate. | 该设备必须以最低排气气流设计速度 +/–10% 的精度测量排气气流。 |
| 19276f6c1e1e-c291-4d2f-8f03-b375c5e35b38 | Translated (100%) | An alarm must indicate when airflow values vary by 15% or more from the exhaust airflow setpoint. | 如果气流值相比排气气流设定值改变了 15% 或更多，则必须发出警报。 |
| 19284e213053-b5b9-4472-baa2-faf63024eb30 | Translated (100%) | PERFORMANCE | 运行 |
| 1929eacb312c-b5a0-4bd6-afbf-1b56f8cca506 | Translated (100%) | Calibrate all measurement devices within the manufacturer’s recommended interval. | 按照制造商建议的时间间隔校准所有测量设备。 |
| 1930475f52ab-d46a-46ac-a849-9864c05da0ae | Translated (0%) | Alarmed Openings for Naturally Ventilated Spaces | 采用自然通风空间的警报开口 |
| 1931e1c677ee-a425-4dad-9ab7-6a3d4523491b | Translated (100%) | ESTABLISHMENT | 建立 |
| 1932fc063657-ac64-4742-83fd-f88c1c6dffdf | Translated (91%) | Provide automatic indication devices on all openings intended to meet the minimum opening requirements. | 在用于满足最低开口要求的所有开口处提供自动指示设备。 |
| 1933fc063657-ac64-4742-83fd-f88c1c6dffdf | Translated (100%) | An alarm must indicate when any one of the openings is closed during occupied hours. | 在使用期间如果有任意开口关闭，则必须发出警报。 |
| 1934eaaad80f-e7cb-4965-98c6-11184961b05d | Translated (100%) | PERFORMANCE | 运行 |
| 19355cfd7043-e649-485c-b817-b1fd659c36cd | Translated (100%) | None. | 无。 |
| 19362d8999d4-f4d6-46af-ae2a-999eb2f6c07e | Translated (100%) | EQ Credit: Thermal Comfort | EQ 得分点：热舒适 (Thermal Comfort) |
| 1937db4328b1-5961-4bce-9a98-fbe79acdd84b | Translated (100%) | EB:O&M | EB:O&M |
| 19383ebc3e46-e59e-4e42-96e4-baf72a2033b7 | Translated (100%) | 1 point | 1 分 |
| 193923b93eb2-e3b5-404c-b4d5-a96902e8f3cf | Translated (100%) | This credit applies to | 该得分点适用于 |
| 19402a1ed156-1ef9-4dc9-b0d1-46d05b3533d7 | Translated (100%) | Existing Buildings: Operations & Maintenance (1 point) | 既有建筑：运营与维护（1 分） |
| 1941b4a7aa39-73c0-4cd5-976d-da65260fd84c | Translated (100%) | EB:O&M Schools (1 point) | EB:O&M 学校（1 分） |
| 1942d56fa2bb-4674-47d5-a007-da030baef0dc | Translated (100%) | EB:O&M Retail (1 point) | EB:O&M 零售（1 分） |
| 1943a24e1f19-d997-46d0-bf9b-9bb26ddc1ae2 | Translated (100%) | EB:O&M Data Centers (1 point) | EB:O&M 数据中心（1 分） |
| 1944bf835594-e8cd-40a4-a94d-bbf46ab24533 | Translated (100%) | EB:O&M Hospitality (1 point) | EB:O&M 宾馆接待（1 分） |
| 194555c3d1e6-0ec8-4af8-a567-707a328ce389 | Translated (100%) | EB:O&M Warehouses & Distribution Centers (1 point) | EB:O&M 仓储和配送中心（1 分） |
| 1946c21f15c8-f5b7-49c3-b883-1e41ca67ab26 | Translated (100%) | Intent | 目的 |
| 19478a5f1691-03d6-4841-b605-b760f7625e79 | Translated (100%) | To promote occupants’ productivity, comfort, and well-being by providing quality thermal comfort. | 提供优质的热舒适，改善驻户的生产效率、舒适性和健康。 |
| 1948281081b8-5e1f-48e1-9b38-b8b7348e3e8c | Translated (100%) | Requirements | 要求 |
| 1949f554c611-a2ae-497e-987c-dfb8f04d983c | Translated (100%) | Meet the requirements for both thermal comfort design and thermal comfort control. | 满足热舒适设计和热舒适控制的要求。 |
| 19501930298d-f9b4-43eb-ad34-1dd873c0c8ce | Translated (100%) | Thermal Comfort Design | 热舒适设计 |
| 195125308536-ac02-4b00-8d73-7df8a36b2c34 | Translated (100%) | EBOM, Schools, Retail, Data Centers, Hospitality, Warehouses & Distribution Centers | EBOM、学校、零售、数据中心、宾馆接待、仓储和配送中心 |
| 195285a4ad19-dd72-48df-91cb-9a835a00cac0 | Translated (100%) | ESTABLISHMENT | 建立 |
| 1953f2bc1de3-d7c1-4085-92ad-388a4f9b460c | Translated (77%) | Have in place a system for continuous tracking and optimization of systems that regulate indoor comfort and conditions (air temperature, radiant temperature, humidity, and air speed) in occupied spaces. | 安装一套系统，以便连续跟踪和优化用于调节使用空间室内舒适性和条件（气温、辐射温度、湿度和气流速度）的系统。 |
| 1954116961fa-58c3-4dfa-b2d3-4ae82af57b03 | Translated (100%) | Option 1. | 选项 1. |
| 1955116961fa-58c3-4dfa-b2d3-4ae82af57b03 | Translated (99%) | ASHRAE 55–2010 | ASHRAE 55-2010 |
| 1956729401e1-acca-457a-a628-ce4caf5e33bc | Translated (0%) | Have a permanent monitoring system to ensure ongoing building performance to the desired comfort criteria, as specified by ASHRAE Standard 55–2010, Thermal Comfort Conditions for Human Occupancy, Section 5.2 or 5.3, with errata, or a local equivalent. | 安装永久监控系统，以确保持续建筑性能符合 ASHRAE 标准 55–2010，可供人类使用的热舒适条件的第 5.2 或 5.3 部分（带勘误表）或当地对应标准规定的所需舒适性标准。 |
| 1957b33dfff6-d5e5-45bd-887b-2b140c8b07b4 | Translated (100%) | OR | 或 |
| 19588eef7f63-d27c-48b4-895d-dd02e7bf9bc2 | Translated (100%) | Option 2. | 选项 2. |
| 19598eef7f63-d27c-48b4-895d-dd02e7bf9bc2 | Translated (100%) | ISO and CEN Standards | ISO 和 CEN 标准 |
| 19607c046525-e51a-46fc-9ffd-c1b3aa1fd8e8 | Translated (78%) | Have a permanent monitoring system to ensure ongoing building performance of the desired comfort criteria, as specified by the applicable standard: | 安装永久监控系统，以确保持续建筑性能符合以下适用标准规定的所需舒适性标准： |
| 1961217103f2-7a07-4845-8c49-45bf7e7a59b4 | Translated (99%) | ISO 7730:2005 Ergonomics of the Thermal Environment, analytical determination and interpretation of thermal comfort using calculation of the PMV and PPD indices and local thermal comfort criteria; and | ISO 7730:2005，热环境的人体工程学，使用 PMV 和 PPD 指数的计算和当地热舒适性标准分析确定以及解释热舒适性；和 |
| 1962bc0586a1-ca0d-4220-b0d0-14a3a750a716 | Translated (100%) | CEN Standard EN 15251:2007, Indoor Environmental Input Parameters for Design and Assessment of Energy Performance of Buildings, addressing indoor air quality, thermal environment, lighting, and acoustics, Section A2. | CEN 标准 EN 15251:2007，用于设计和评估与室内空气质量、热环境、照明和声学效果相关的建筑能源性能的室内环境输入参数，第 A2 部分。 |
| 1963fcf8c374-f95d-4428-b8bb-54efe633bac7 | Translated (100%) | Data Centers only | 仅限数据中心 |
| 196460f380a6-57fa-403f-a84c-3c6693e9cc05 | Translated (0%) | Meet the above requirements for occupants in regularly occupied spaces. | 针对常用空间中的驻户，满足以上要求。 |
| 1965039c4199-9fca-4108-8dc8-a6aea60e402a | Translated (100%) | Hospitality only | 仅限宾馆接待 |
| 1966f8475f25-6b53-4b2e-884c-e1472a6bd1d9 | Translated (97%) | Guest rooms are assumed to provide adequate thermal comfort and are therefore not included in the credit calculations. | 假定客房能够提供充分的热舒适，因此不包含在得分点计算中。 |
| 19677669aa19-9489-4a13-a75b-6b0d16e1fc6d | Translated (100%) | PERFORMANCE | 运行 |
| 19682e760ccb-8880-4a40-88ab-df49b5aadf3c | Translated (81%) | The monitoring system must meet the following requirements. | 监控系统必须符合以下要求。 |
| 1969103f6c0d-0429-469c-bf81-f65224b48bd4 | Translated (0%) | Continuous monitoring. | 持续监控。 |
| 1970103f6c0d-0429-469c-bf81-f65224b48bd4 | Translated (0%) | Monitor at least air temperature and humidity in occupied spaces, at sampling intervals of 15 minutes or less. | 至少以 15 分钟或更少时间的采样间隔监控使用空间中的气温和湿度。 |
| 1971fd78fd58-a1a4-43c0-9fd8-4d8fd430a66e | Translated (98%) | Periodic testing. | 定期测试。 |
| 1972fd78fd58-a1a4-43c0-9fd8-4d8fd430a66e | Translated (0%) | Monitor air speed and radiant temperature in occupied spaces. | 监控使用空间中的气流速度和辐射温度。 |
| 1973fd78fd58-a1a4-43c0-9fd8-4d8fd430a66e | Translated (86%) | Using handheld meters is permitted. | 允许使用手持式仪表。 |
| 1974e5e97303-9776-4011-ae85-31ae67e08e59 | Translated (0%) | Alarms. | 警报。 |
| 1975e5e97303-9776-4011-ae85-31ae67e08e59 | Translated (77%) | An alarm must indicate conditions that require system adjustment or repair. | 必须对需要进行系统调节或维修的情况发出警报。 |
| 19767121d7df-4041-4d82-93ef-ab7cc83c9d7a | Translated (0%) | Prompt repair. | 及时维修。 |
| 19777121d7df-4041-4d82-93ef-ab7cc83c9d7a | Translated (0%) | Specify procedures for adjustments or repairs to be made in response to problems identified. | 指定对确定的问题做出反应的调整或维修程序。 |
| 1978c27d8ff8-177b-471b-90e4-671fb0b2473d | Translated (0%) | Calibration. | 校准。 |
| 1979c27d8ff8-177b-471b-90e4-671fb0b2473d | Translated (100%) | All monitoring devices must be calibrated within the manufacturer’s recommended interval. | 所有监视设备都必须按照制造商建议的时间间隔进行校准。 |
| 198055d65452-8e47-41b8-b1af-63bfcce01129 | Translated (100%) | EQ Credit: Interior Lighting | EQ 得分点：室内照明 (Interior Lighting) |
| 1981bc744bd0-b98d-4e66-a75b-f0b1cc1e976b | Translated (100%) | EB:O&M | EB:O&M |
| 19828d984053-4af8-47f8-bf0a-4d1ac9ecdf3a | Translated (100%) | 1–2 points | 1-2 分 |
| 1983e0836a51-347d-45f6-9567-4aa009a5b6e8 | Translated (100%) | This credit applies to | 该得分点适用于 |
| 19849087abe6-5452-41c8-bcc7-ecd4a82d6711 | Translated (100%) | Existing Buildings: Operations & Maintenance (1–2 points) | 既有建筑：运营与维护（1-2 分） |
| 1985bdf5ae0b-759c-4197-91e5-7b075957e7c0 | Translated (100%) | EB:O&M Schools (1–2 points) | EB:O&M 学校（1-2 分） |
| 19867ae91bf0-dfea-4b91-9876-8b0b4593d335 | Translated (100%) | EB:O&M Retail (1–2 points) | EB:O&M 零售（1-2 分） |
| 1987708cfca3-959e-4842-8da4-1e7768c1fe71 | Translated (100%) | EB:O&M Data Centers (1–2 points) | EB:O&M 数据中心（1-2 分） |
| 1988f60cb39e-f9e8-4357-8e33-8b3f9baf022c | Translated (100%) | EB:O&M Hospitality (1–2 points) | EB:O&M 宾馆接待（1-2 分） |
| 1989751e5716-be07-431d-b108-f993115b634f | Translated (100%) | EB:O&M Warehouses & Distribution Centers (1–2 points) | EB:O&M 仓储和配送中心（1-2 分） |
| 199001189fad-0d8c-4514-b144-63020350384b | Translated (100%) | Intent | 目的 |
| 1991c0626b44-fe64-408d-bd2d-758d33f6d637 | Translated (100%) | To promote occupants’ productivity, comfort, and well-being by providing high-quality lighting. | 提供高质量照明，改善驻户的生产效率、舒适性和健康。 |
| 199258f4e8f3-6d84-4834-a5ba-4fa0e40a60af | Translated (100%) | Requirements | 要求 |
| 1993a597adc4-fd10-470d-988a-152f0b0dafcd | Translated (100%) | EBOM, Schools, Retail, Data Centers, Hospitality, Warehouses & Distribution Centers | EBOM、学校、零售、数据中心、宾馆接待、仓储和配送中心 |
| 1994f5d1dbef-b5bf-4129-ac88-5f361d4692c9 | Translated (100%) | ESTABLISHMENT | 建立 |
| 19957b447d0f-748f-43e7-8bc3-8e026af865f6 | Translated (100%) | Option 1. | 选项 1. |
| 19967b447d0f-748f-43e7-8bc3-8e026af865f6 | Translated (100%) | Lighting Control (1 point) | 照明控制（1 分） |
| 1997422ad351-54cc-443e-92a8-5cd3688876fe | Translated (95%) | For at least 50% of individual occupant spaces, have in place individual lighting controls that enable occupants to adjust the lighting to suit their individual tasks and preferences, with at least three lighting levels or scenes (on, off, midlevel). | 为至少 50% 的个人使用空间提供独立照明控制，可以让驻户调节照明以适合他们各自的任务和偏好，并且具有至少三种照明等级或场景（开、关、中等）。 |
| 1998422ad351-54cc-443e-92a8-5cd3688876fe | Translated (100%) | Midlevel is 30% to 70% of the maximum illumination level (not including daylight contributions). | 中等是最大照明等级的 30% 到 70%（不包括自然采光的影响）。 |
| 19991bf56f2c-c8cd-46a3-b130-b2884c437113 | Translated (98%) | For all shared multi-occupant spaces, meet all of the following requirements. | 所有共享多驻户空间都要满足以下全部要求。 |
| 20009d9b63ec-4943-4ec6-81c1-ac72861b7f57 | Translated (100%) | Have in place multizone control systems that enable occupants to adjust the lighting to meet group needs and preferences, with at least three lighting levels or scenes (on, off, midlevel). | 提供多区控制系统，可以让驻户调节照明以满足群组需求和偏好，并且具有至少三种照明等级或场景（开、关、中等）。 |
| 20011fd114d2-1620-445b-818a-69e55a7257cc | Translated (100%) | Lighting for any presentation or projection wall must be separately controlled. | 演示或投影墙的照明必须单独控制。 |
| 20021441e284-d28b-40df-be92-0ad55655f63c | Translated (100%) | Switches or manual controls must be located in the same space as the controlled luminaires. | 开关或手动控制必须与受控的光源位于同一个空间中。 |
| 20031441e284-d28b-40df-be92-0ad55655f63c | Translated (100%) | A person operating the controls must have a direct line of sight to the controlled luminaires. | 操作控制装置的人必须能够直接看到受控的光源。 |
| 20044d7b2450-9542-430e-8a52-920fcc587361 | Translated (100%) | Hospitality only | 仅限宾馆接待 |
| 2005432e4da7-eb22-4010-b662-d26aaefafc0b | Translated (97%) | Guest rooms are assumed to have adequate lighting controls and are therefore not included in the credit calculations. | 假定客房能够提供充分的照明控制，因此不包含在得分点计算中。 |
| 200685756ac4-d245-490a-b2b6-3d9b68053478 | Translated (100%) | AND/OR | 和/或 |
| 2007014036fc-daba-43bc-8a6d-ebaf41d527d1 | Translated (100%) | Option 2. | 选项 2. |
| 2008014036fc-daba-43bc-8a6d-ebaf41d527d1 | Translated (100%) | Lighting Quality (1 point) | 照明质量（1 分） |
| 2009cd69d2ab-d2f3-49c5-a83f-913539175c5f | Translated (100%) | Choose four of the following strategies. | 从以下策略中选择 4 项。 |
| 20100823c952-6208-4b05-8a08-767a7d49fb27 | Translated (86%) | For all regularly occupied spaces, have in place light fixtures with a luminance of less than 2,500 cd/m<1805>2</1805> between 45 and 90 degrees from nadir. | 在所有常用空间中，使用从最低点开始 45 到 90 度的范围内照度不足 2,500 cd/m<1805>2</1805> 的照明灯具。 |
| 2011d187bebc-32d2-40b6-8776-8cd9bb5ca1d2 | Translated (100%) | Exceptions include wallwash fixtures properly aimed at walls, as specified by manufacturer’s data, indirect uplighting fixtures, provided there is no view down into these uplights from a regularly occupied space above, and any other specific applications (i.e. adjustable fixtures). | 例外情况包括正确对准墙壁的壁灯（制造商数据指定）、间接上照灯具（前提是没有从上方的常用空间向下看这些灯具的视野），以及其他任何具体应用（即，可调节的灯具）。 |
| 2012589a25dd-38bd-4e5e-bbe4-7856addf7633 | Translated (86%) | For the entire project, have in place light sources with a CRI of 80 or higher. | 在整个项目中使用 CRI 为 80 或更大值的光源。 |
| 2013589a25dd-38bd-4e5e-bbe4-7856addf7633 | Translated (100%) | Exceptions include lamps or fixtures specifically designed to provide colored lighting for effect, site lighting, or other special use. | 例外情况包括专门设计以为实现效果、场址照明或其他特殊用途提供彩色灯光的灯具。 |
| 20143d31e43c-5875-4546-b8e4-3204c60b0dd8 | Translated (95%) | For at least 75% of the total connected lighting load, have in place light sources that have a rated life (or L70 for LED sources) of at least 24,000 hours (at 3-hour per start, if applicable). | 在至少 75% 的全部相关照明负荷中，使用额定寿命（LED 光源为 L70）至少为 24000 小时（如适用，每次启动后使用 3 小时）的光源。 |
| 2015121eca36-2de8-4d23-9d7e-1aaec1223e2a | Translated (90%) | Have in place direct-only overhead lighting for 25% or less of the total connected lighting load for all regularly occupied spaces. | 在所有常用空间中，对 25% 或更少的全部相关照明负荷使用直射光吸顶灯。 |
| 201683a3d2b2-1748-4069-a657-ea6cf0e56200 | Translated (100%) | For at least 90% of the regularly occupied floor area, meet or exceed the following thresholds for area-weighted average surface reflectance: 85% for ceilings, 60% for walls, and 25% for floors. | 在至少 90% 的常用建筑面积中，满足或超出面积权重平均表面反射率的以下阈值：天花板为 85%、墙壁为 60%，地板为 25%。 |
| 2017cc5ccc9b-1fc2-4010-a256-915d317ba848 | Translated (0%) | Meet or exceed the following thresholds for area-weighted average surface reflectance: 45% for work surfaces and 50% for movable partitions. | 满足或超出面积权重平均表面反射率的以下阈值：工作表面为 45%，可移动的隔墙为 50%。 |
| 20189c47cedc-e2be-4dc8-94c7-c0fa0e7b681c | Translated (93%) | For at least 75% of the regularly occupied floor area, meet a ratio of average wall surface illuminance (excluding fenestration) to average work surface illuminance that does not exceed 1:10. | 在至少 75% 的常用建筑面积中，满足墙壁表面平均照度（不包括开窗）与工作表面平均照度的比值不超过 1:10 这一标准。 |
| 20199c47cedc-e2be-4dc8-94c7-c0fa0e7b681c | Translated (100%) | Must also meet strategy E, strategy F, or demonstrate area-weighted surface reflectance of at least 60% for walls. | 还必须满足策略 E、策略 F，或证明墙壁的面积权重表面反射率至少为 60%。 |
| 2020646b22cb-b7da-453a-87d4-60ea3438d507 | Translated (99%) | For at least 75% of the regularly occupied floor area, meet a ratio of average ceiling illuminance (excluding fenestration) to work surface illuminance that does not exceed 1:10. | 在至少 75% 的常用建筑面积中，满足天花板平均照度（不包括开窗）与工作表面照度的比值不超过 1:10 这一标准。 |
| 2021646b22cb-b7da-453a-87d4-60ea3438d507 | Translated (97%) | Must also meet strategy E, strategy F, or demonstrate area-weighted surface reflectance of at least 85% for ceilings. | 还必须满足策略 E、策略 F，或证明天花板的面积权重表面反射率至少为 85%。 |
| 20221c5f2ff2-74e7-4f08-82fd-cba4805bc0ab | Translated (100%) | PERFORMANCE | 运行 |
| 202377e01e51-386a-4669-a40e-011d2161a635 | Translated (100%) | None. | 无。 |
| 2024bb2996b2-e6d9-4dae-a797-c684d2cfe593 | Translated (71%) | EQ Credit: Daylight and Quality Views | EQ 得分点：自然采光与优良视野 (Daylight and Quality Views) |
| 2025a9beb117-f16a-4a25-8025-5f0b89d182a4 | Translated (100%) | EB:O&M | EB:O&M |
| 20267ea09e7b-8a09-4d74-abd3-8dbbb7db3245 | Translated (100%) | 2–4 points | 2-4 分 |
| 20279d2fbfbd-25de-40fd-8a55-86a135f424f8 | Translated (100%) | This credit applies to | 该得分点适用于 |
| 20286b5e261e-8f4c-4229-8af6-a093ab5f4fa9 | Translated (100%) | Existing Buildings: Operations & Maintenance (2–4 points) | 既有建筑：运营与维护（2-4 分） |
| 2029809f1379-764d-45c7-acf0-f04846877a48 | Translated (100%) | EB:O&M Schools (2–4 points) | EB:O&M 学校（2-4 分） |
| 2030e573597b-db6c-4352-8b1b-8a386008bc9c | Translated (100%) | EB:O&M Retail (2–4 points) | EB:O&M 零售（2-4 分） |
| 203112ece76d-929f-4624-8b18-597f34bc4f2e | Translated (100%) | EB:O&M Data Centers (2–4 points) | EB:O&M 数据中心（2-4 分） |
| 203276f6c7c4-5935-4daa-bb8e-7c6333809c2b | Translated (100%) | EB:O&M Hospitality (2–4 points) | EB:O&M 宾馆接待（2-4 分） |
| 20336cffd3e5-fce9-4c40-b3fa-a00956c98225 | Translated (100%) | EB:O&M Warehouses & Distribution Centers (2–4 points) | EB:O&M 仓储和配送中心（2-4 分） |
| 2034a14f7912-6a26-45af-b1d3-72a26d024545 | Translated (100%) | Intent | 目的 |
| 2035612b6f30-b6f1-425d-944b-ce5ec88d3c93 | Translated (94%) | To connect building occupants with the outdoors, reinforce circadian rhythms, and reduce the use of electrical lighting by introducing daylight and views into the space. | 将建筑驻户与室外相关联，加强昼夜节律，并通过将自然采光和视野引入空间来减少电力照明的使用。 |
| 20368daada8f-6112-4cb2-9a42-5bc9f20b7776 | Translated (100%) | Requirements | 要求 |
| 2037083abe64-05cb-4d33-babe-3fdfc375191a | Translated (100%) | EBOM, Schools, Retail, Data Centers, Hospitality, Warehouses & Distribution Centers | EBOM、学校、零售、数据中心、宾馆接待、仓储和配送中心 |
| 20389e82f2b5-ea4d-47b8-9930-28e38b2a0ad9 | Translated (100%) | ESTABLISHMENT | 建立 |
| 20393ad2db8b-e777-4782-905d-dd02d5449d16 | Translated (100%) | Option 1. | 选项 1. |
| 20403ad2db8b-e777-4782-905d-dd02d5449d16 | Translated (0%) | Daylight Measurement (2 points) | 自然采光测量（2 分） |
| 20411308f2a1-0e91-4bce-bedb-33abcb8c04e6 | Translated (0%) | Achieve illuminance levels between 300 lux and 3,000 lux for at least 50% of the regularly occupied floor area. | 在至少 50% 的常用建筑面积中，实现 300 lux 到 3,000 lux 的照度等级。 |
| 2042551312c9-5d52-4262-900c-cf45bdafd40d | Translated (100%) | With furniture, fixtures, and equipment in place, measure illuminance levels as follows: | 在安放好家具、器具和设备之后，按照以下方式测量照度等级： |
| 20439ee28d76-0504-433c-8189-48f707943d03 | Translated (100%) | Measure at appropriate work plane height during any hour between 9 a.m. and 3 p.m. | 在上午 9 点和下午 3 点之间的任意一个小时期间，在合适的工作面高度上测量。 |
| 204451c98f0c-3e0b-4e3a-9ee4-9d23502a9124 | Translated (100%) | Take one measurement in any regularly occupied month, and take a second as indicated in Table 1. | 在任意常用月份进行一次测量。并按照表 1 的规定进行第二次测量。 |
| 2045152dafda-23e0-4d2a-b3f2-0183554e20d8 | Translated (100%) | For spaces larger than 150 square feet (14 square meters), take measurements on a maximum 10 foot (3 meter) square grid. | 对于大于 150 平方英尺（14 平方米）的空间，在最多 10 英尺（3 米）见方的方格中进行测量。 |
| 204698485ffd-298e-476f-bbaf-db1b68037bbd | Translated (99%) | For spaces 150 square feet (14 square meters) or smaller, take measurements on a maximum 3 foot (900 millimeter) square grid. | 对于小于等于 150 平方英尺（14 平方米）的空间，在最多 3 英尺（900 毫米）见方的方格中进行测量。 |
| 204736d48b4c-3b38-4a83-a4df-bfc7129f0365 | Translated (100%) | Table 1. | 表 1. |
| 204836d48b4c-3b38-4a83-a4df-bfc7129f0365 | Translated (100%) | Timing of measurements for illuminance | 照度测量时间 |
| 2049453d3433-1b46-4580-92e0-799a4b025c5e | Translated (100%) | If first measurement is taken in … | 如果第一次测量的时间为... |
| 2050271ebc92-b14d-467c-8768-b85700054a3b | Translated (100%) | take second measurement in … | 则进行第二次测量的时间为... |
| 2051be5dd442-ff04-4f26-9771-ce488065b3db | Translated (100%) | January | 一月 |
| 2052c2b69057-0ccf-4964-ba75-dfa546373fab | Translated (100%) | May-September | 五月-九月 |
| 2053287d33ba-1882-4eb3-81a5-5602eaa81bcf | Translated (100%) | February | 二月 |
| 2054c431713e-c037-465f-9977-438dc3717cfc | Translated (100%) | June-October | 六月-十月 |
| 205561acbcdf-52df-4ae2-aa53-ec106e07c81f | Translated (100%) | March | 三月 |
| 20568f443dc3-2666-43ca-8048-cdb3b992fcb7 | Translated (100%) | June-July, November-December | 六月-七月，十一月-十二月 |
| 20571aa0bd67-23e4-4710-976f-7b3cfb7e6da8 | Translated (100%) | April | 四月 |
| 2058a9217bed-19da-4f1e-a0ff-8974384beaa7 | Translated (100%) | August-December | 八月-十二月 |
| 205920e20281-2489-4b38-855c-c1fe8553c25d | Translated (100%) | May | 五月 |
| 2060b93c6913-dac4-4257-8ba3-62debb703339 | Translated (100%) | September-January | 九月-次年一月 |
| 206163325b41-c65f-483c-922a-ddeb7c350e16 | Translated (100%) | June | 六月 |
| 20624d8d273a-24f7-4c46-a73c-0500be22bdda | Translated (100%) | October-February | 十月-次年二月 |
| 20637795009d-4162-49a4-8f8d-39573b970e79 | Translated (100%) | July | 七月 |
| 20646a436ae5-4af8-44fe-a206-77ba7a15ebf7 | Translated (100%) | November-March | 十一月-次年三月 |
| 2065ffa788a5-2a7a-414d-aef8-c36fa0d7604f | Translated (100%) | August | 八月 |
| 2066d3cf6a3f-5e7e-44da-81c3-735106f7f6d8 | Translated (100%) | December-April | 十二月-次年四月 |
| 2067d7286638-3516-47ed-9a27-1ecb024f0fc1 | Translated (100%) | September | 九月 |
| 20683beb2064-2b95-4358-8ee9-a77e669f46a0 | Translated (100%) | December-January, May-June | 十二月-次年一月，五月-六月 |
| 2069e97292d1-f6ad-4438-84e9-163afeb9d2aa | Translated (100%) | October | 十月 |
| 2070f4dc7c5a-e57f-40c4-a0f7-e525dcd538f6 | Translated (100%) | February-June | 二月-六月 |
| 20716f2c5408-26c1-40e0-82b8-feeb32191cb4 | Translated (100%) | November | 十一月 |
| 2072f1311339-7a7a-4c15-a878-052300044afd | Translated (100%) | March-July | 三月-七月 |
| 2073218af4b4-c467-4d32-a1db-dd42a7f27bbe | Translated (100%) | December | 十二月 |
| 2074306cafdb-8764-4f4b-8edf-5a6e33d0ca74 | Translated (100%) | April-August | 四月-八月 |
| 20750e81e443-967a-43b7-99dc-1a08c160a63b | Translated (100%) | AND/OR | 和/或 |
| 2076007d4e44-fd6e-4591-915e-9feb19bfa8c0 | Translated (100%) | Option 2. | 选项 2. |
| 2077007d4e44-fd6e-4591-915e-9feb19bfa8c0 | Translated (0%) | Quality Views (2 points) | 优良视野（2 分） |
| 20787bf72376-b658-4996-8292-362cbed8aab5 | Translated (100%) | Achieve a direct line of sight to the outdoors via vision glazing for 50% of all regularly occupied floor area. | 为全部常用建筑面积的 50% 提供观景窗，从而能够直接看到室外。 |
| 20797bf72376-b658-4996-8292-362cbed8aab5 | Translated (100%) | View glazing in the contributing area must provide a clear image of the exterior, not obstructed by frits, fibers, patterned glazing, or added tints that distort color balance. | 相关区域的观景窗必须提供清楚的室外视野，不会受到玻璃、纤维、有图案的玻璃，或添加的色彩（扭曲色彩平衡）的阻挡。 |
| 2080bbccab8c-141d-4a4b-9070-79112d6d96fc | Translated (100%) | Additionally, 50% of all regularly occupied floor area must have at least two of the following four kinds of views: | 此外，全部常用建筑面积的 50% 都必须拥有以下 4 种视野中的至少 2 种： |
| 2081dd5cce76-51bc-4856-80b1-b39dfea1272b | Translated (100%) | multiple lines of sight to vision glazing in different directions at least 90 degrees apart; | 多条视线从不同方向（至少相隔 90 度）看到观景窗； |
| 2082b0b1a978-1fed-4da2-a190-c41c11e2ae22 | Translated (100%) | views that include at least two of the following: (1) flora, fauna, or sky; (2) movement; and (3) objects at least 25 feet (7.5 meters) from the exterior of the glazing; | 视野包括其中至少两种：(1) 植物、动物或天空；(2) 移动景观；以及 (3) 距离玻璃外部至少 25 英尺（7.5 米）的物体； |
| 2083167c4560-d66a-4e50-a20e-40ed22678ba4 | Translated (100%) | unobstructed views located within the distance of three times the head height of the vision glazing; and | 不受阻碍的视野位于观景窗顶部高度三倍的距离之内；以及 |
| 20844f82429e-225b-4402-a67b-5b4c55ff16f9 | Translated (100%) | views with a view factor of 3 or greater, as defined in “Windows and Offices; A Study of Office Worker Performance and the Indoor Environment.” | 按照“窗户与办公室：办公室工作人员的绩效和室内环境的研究”(Windows and Offices: A Study of Office Worker Performance and the Indoor Environment) 的定义，视野系数为 3 或更大的视野 |
| 2085ed547573-f5b7-42f7-b5e6-15d5cd02a29f | Translated (99%) | Include in the calculations any permanent interior obstructions . | 将永久室内阻碍物包括在计算中。 |
| 2086ed547573-f5b7-42f7-b5e6-15d5cd02a29f | Translated (100%) | Movable furniture and partitions may be excluded. | 可移动家具和隔断可排除在外。 |
| 208709b1d43b-1da3-4cfd-9672-562e80bfaaa0 | Translated (100%) | Views into interior atria may be used to meet up to 30% of the required area. | 可看到室内中庭的视野可用于满足最多 30% 的所需面积。 |
| 2088b159bf83-e220-47d1-908a-961355e920b8 | Translated (100%) | Warehouses & Distribution Centers only | 仅限仓储和配送中心 |
| 20899c13cbc1-78dc-495c-9d26-2df118574630 | Translated (0%) | For the office portion of the building, meet the requirements above. | 对于建筑的办公区，满足以上要求。 |
| 20903b8b298b-56e8-47ab-9a9b-be08ef3c8e7d | Translated (0%) | For the bulk storage, sorting, and distribution portions of the building, meet the requirements above for 25% of the regularly occupied floor area. | 对于建筑的大量贮存、分类和配送区，在 25% 的常用建筑面积中满足以上要求。 |
| 209120462a62-9948-491b-9a83-8e83ed06e1a5 | Translated (100%) | PERFORMANCE | 运行 |
| 20928040d2c6-3d98-4c69-aa23-8838d4315c44 | Translated (100%) | None. | 无。 |
| 20931948ee90-c530-4ea2-8e05-d6d6544c9045 | Translated (70%) | EQ Credit: Green Cleaning—Custodial Effectiveness Assessment | EQ 得分点：绿色清洁—效果监管评估 (Green Cleaning—Custodial Effectiveness Assessment) |
| 2094d6fd2475-8a54-4fee-94b3-5212f9b3d75d | Translated (100%) | EB:O&M | EB:O&M |
| 209502b3e071-c25f-4737-a641-7f5ca6f337dd | Translated (100%) | 1 point | 1 分 |
| 20966c203bcb-b0e0-4e74-b898-da8c889954d0 | Translated (100%) | This credit applies to | 该得分点适用于 |
| 2097403b0c1e-0f31-4ee3-94f9-f9e8d7425886 | Translated (100%) | Existing Buildings: Operations & Maintenance (1 point) | 既有建筑：运营与维护（1 分） |
| 2098eeed7615-2725-47de-961b-3332bedd7d55 | Translated (100%) | EB:O&M Schools (1 point) | EB:O&M 学校（1 分） |
| 20998eb9bbfd-5946-4796-a1a5-18814fb99708 | Translated (100%) | EB:O&M Retail (1 point) | EB:O&M 零售（1 分） |
| 21004268d399-7f73-4d5d-baaf-872882af48cc | Translated (100%) | EB:O&M Data Centers (1 point) | EB:O&M 数据中心（1 分） |
| 2101e48b89cd-3591-4510-804d-2ab11a4b8d34 | Translated (100%) | EB:O&M Hospitality (1 point) | EB:O&M 宾馆接待（1 分） |
| 21027f4bf9a5-8250-43ed-b9b6-d409ee6715fa | Translated (100%) | EB:O&M Warehouses & Distribution Centers (1 point) | EB:O&M 仓储和配送中心（1 分） |
| 2103ac00cfcf-492c-4e28-bbb1-cd976f2d4e15 | Translated (100%) | Intent | 目的 |
| 2104ed2ec401-59e5-40c3-98bf-d7a3fa75897f | Translated (0%) | To reduce levels of chemical, biological, and particulate contaminants, which can compromise human health, building finishes and systems, and the environment, by implementing effective cleaning procedures. | 通过实施有效的清洁程序，减少可能对人类健康、建筑饰面和系统及环境产生负面影响的化学、生物和微粒污染物的浓度。 |
| 21052c86db0e-98ec-4747-b165-af0fde6fdece | Translated (100%) | Requirements | 要求 |
| 21063a07b97f-d50a-4205-a1a0-efc5a3174b0e | Translated (100%) | EBOM, Schools, Retail, Data Centers, Hospitality, Warehouses & Distribution Centers | EBOM、学校、零售、数据中心、宾馆接待、仓储和配送中心 |
| 2107dbc9b3da-b238-4dc2-b755-fec9cb10614c | Translated (100%) | ESTABLISHMENT | 建立 |
| 2108d7b51f46-1e8e-4ec6-aea5-eb208424ed1a | Translated (100%) | None. | 无。 |
| 2109f23143ca-a1ed-48ab-be2e-fef367406478 | Translated (100%) | PERFORMANCE | 运行 |
| 21103bbe83fa-1382-4e01-a292-086b7f1a1518 | Translated (0%) | Implement the strategies set forth in the facility’s green cleaning policy and perform routine inspection and monitoring. | 实施设施的绿色清洁政策中规定的策略，并执行例行检查和监控。 |
| 21113bbe83fa-1382-4e01-a292-086b7f1a1518 | Translated (0%) | This inspection must verify that the specified strategies have been implemented and must identify areas in need of improvement. | 此检查必须验证是否已实施指定策略，且必须确定需要改善的方面。 |
| 2112735b36ef-2ab9-4f0b-abb5-d8b421f484bd | Translated (0%) | Additionally, conduct an annual audit in accordance with APPA Leadership in Educational Facilities’ Custodial Staffing Guidelines, or a local equivalent, whichever is more stringent, to determine the appearance level of the facility. | 此外，根据 APPA 教育设施领导监管人员配备指导原则 (Leadership in Educational Facilities' Custodial Staffing Guidelines) 或当地对应标准（以更严格的为准）进行年度审计，以确定设施的外观等级。 |
| 2113735b36ef-2ab9-4f0b-abb5-d8b421f484bd | Translated (0%) | The facility must score 2.5 or better. | 设施得分必须为大于等于 2.5 分。 |
| 2114bcd5ec3a-9bf8-475f-82eb-dabacae7e1b8 | Translated (0%) | EQ Credit: Green Cleaning—Products and Materials | EQ 得分点：绿色清洁—产品与材料 (Green Cleaning—Products and Materials) |
| 2115c15cf0bb-c972-4fbd-99d1-969b287a8f70 | Translated (100%) | EB:O&M | EB:O&M |
| 2116ee4877ad-5829-420c-9550-e3e582eb8021 | Translated (100%) | 1 point | 1 分 |
| 2117c5ffdba0-eb10-4f4a-a098-939299ef0aea | Translated (100%) | This credit applies to | 该得分点适用于 |
| 21180bb7422e-9734-4214-b19d-54851da82a05 | Translated (100%) | Existing Buildings: Operations & Maintenance (1 point) | 既有建筑：运营与维护（1 分） |
| 2119708a376f-27be-43c1-b9ab-a691cd4cf91d | Translated (100%) | EB:O&M Schools (1 point) | EB:O&M 学校（1 分） |
| 21208d096d33-7d28-402e-aba9-7b2c0144f43f | Translated (100%) | EB:O&M Retail (1 point) | EB:O&M 零售（1 分） |
| 21212c24ccd0-9632-4127-9326-2ac530c21ba4 | Translated (100%) | EB:O&M Data Centers (1 point) | EB:O&M 数据中心（1 分） |
| 2122c38d2066-b840-44cd-bfe8-367e0f695be0 | Translated (100%) | EB:O&M Hospitality (1 point) | EB:O&M 宾馆接待（1 分） |
| 21237f2cd3ca-b322-4fbf-b97e-af0ef07ad24b | Translated (100%) | EB:O&M Warehouses & Distribution Centers (1 point) | EB:O&M 仓储和配送中心（1 分） |
| 2124e75fc4e0-abf7-4b5c-b8b3-cee7965e5998 | Translated (100%) | Intent | 目的 |
| 2125c01b30a2-2ab6-47e9-9b32-4c912dd826ce | Translated (96%) | To reduce the environmental effects of cleaning products, disposable janitorial paper products, and trash bags. | 减少清洁产品、一次性卫生纸品和垃圾袋对环境的影响。 |
| 2126fe8e5c67-219f-48fe-a5fd-72a26ea72fb5 | Translated (100%) | Requirements | 要求 |
| 2127e2910f3c-b4d5-455c-8fd3-990afea02a04 | Translated (100%) | EBOM, Schools, Retail, Data Centers, Hospitality, Warehouses & Distribution Centers | EBOM、学校、零售、数据中心、宾馆接待、仓储和配送中心 |
| 21287c168b10-325c-419d-b90e-a6cc4cb76f3b | Translated (100%) | ESTABLISHMENT | 建立 |
| 212988fbdf0c-24b7-45ce-8ac0-20734ab57116 | Translated (100%) | None. | 无。 |
| 213074acad89-1a9f-4631-aa57-7d7d95591013 | Translated (100%) | PERFORMANCE | 运行 |
| 213166b8fc9b-3c46-4562-8ed6-218ae5e9588e | Translated (0%) | Purchase green cleaning materials and products such as floor finishes and strippers, disposable janitorial paper products, and trash bags. | 采购绿色清洁材料和产品（如地面抛光和密封条）、一次性卫生纸品和垃圾袋。 |
| 213266b8fc9b-3c46-4562-8ed6-218ae5e9588e | Translated (71%) | Include items used by in-house staff or outsourced service providers. | 包括内部工作人员或外包服务供应商使用的项目。 |
| 213319a5b330-9deb-4ca0-b2d6-337d40116377 | Translated (74%) | At least 75%, by cost, of the total annual purchases of these products must meet at least one of the following standards. | 至少这些产品年度总采购量的 75%（按成本）必须满足以下至少一个标准。 |
| 21346ecf0823-eab0-456f-aad5-d2a7b814f9a8 | Translated (0%) | Cleaning products must meet one or more of the following standards, or a local equivalent for projects outside the U.S.: | 清洁产品必须满足以下一个或多个标准（美国以外的项目为当地对应标准）： |
| 2135e469b57b-dfe6-4eb2-9de6-4b849eec59e3 | Translated (99%) | Green Seal GS-37, for general-purpose, bathroom, glass and carpet cleaners used for industrial and institutional purposes; | 绿色印章 (Green Seal) GS-37，工业和公共机构使用的一般用途的盥洗室、玻璃和地毯清洁器； |
| 213609a6c1b4-f46d-48ef-a4de-2a6e3599928a | Translated (0%) | <1919>,</1919> <1920>UL EcoLogo 2792 for cleaning and degreasing compounds;</1920> | <1920>UL EcoLogo 2792</1920>，清洁和去油污化合物； |
| 213793f53c54-833e-4e86-880c-d4f76a9ce271 | Translated (0%) | UL EcoLogo 2759 for hard-surface cleaners; | UL EcoLogo 2759，硬表面清洁器； |
| 21387d726051-bace-45d2-85bf-5b3f7086b55a | Translated (72%) | UL EcoLogo 2795, for carpet and upholstery care; | UL EcoLogo 2795，地毯和室内装潢护理； |
| 2139409dbfc7-d51b-4bae-b420-b54912539c92 | Translated (99%) | Green Seal GS-40, for industrial and institutional floor care products; | 绿色印章 (Green Seal) GS-40，工业和公共机构的地板护理产品； |
| 2140f6c5cf5f-eca8-45d0-bfa0-1d77f6c39c92 | Translated (77%) | UL EcoLogo 2777, for hard-floor care; | UL EcoLogo 2777，硬地板护理； |
| 2141221ba00e-bde3-4acb-a711-e3975779a52f | Translated (0%) | EPA Design for the Environment Program’s Standard for Safer Cleaning Products; and/or | EPA 更安全的清洁产品为环境而设计 (Design for the Environment) 计划标准；和/或 |
| 2142c89a980c-fc60-4f1a-9783-7a46bd1d7390 | Translated (0%) | Cleaning devices that use only ionized water or electrolyzed water and have third-party-verified performance data equivalent to the other standards mentioned above (if the device is marketed for antimicrobial cleaning, performance data must demonstrate antimicrobial performance comparable to EPA Office of Pollution Prevention and Toxics and Design for the Environment requirements, as appropriate for use patterns and marketing claims). | 仅使用离子水或电解水且具有与上述其他标准类似的第三方认证性能数据的清洁设备（如果设备以抗菌清洁为卖点，则性能数据必须根据使用方式和营销声明来证明抗菌性能符合类似于 EPA 污染防治与毒物办公室 (Office of Pollution Prevention and Toxics) 及为环境而设计 (Design for the Environment) 的要求）。 |
| 2143606e07ea-4473-482e-9a3a-2ab6f749d29f | Translated (0%) | Disinfectants, metal polish, or other products not addressed by the above standards must meet one or more of the following standards (or a local equivalent for projects outside the U.S.): | 上述标准没有涉及的消毒剂、金属抛光或其他产品必须满足以下一个或多个标准（美国以外的项目为当地对应标准）： |
| 21448f94938e-167c-40e4-aac0-13199ee8afaa | Translated (78%) | UL EcoLogo 2798 for digestion additives for cleaning and odor control; | UL EcoLogo 2798，清洁和异味控制使用的细菌分解添加剂； |
| 2145b810b31a-95c2-4b82-b580-2d46e60644f4 | Translated (0%) | UL EcoLogo 2791, for drain or grease trap additives; | UL EcoLogo 2791，下水道或油脂捕集器添加剂； |
| 2146153555b7-fdfe-4f75-a416-300b0f41e50e | Translated (0%) | UL EcoLogo 2796 for odor control additives; | UL EcoLogo 2796，异味控制添加剂； |
| 2147c9dc8fb7-74f1-4af6-8c70-2440fa33435f | Translated (0%) | Green Seal GS-52/53, for specialty cleaning products; | 绿色印章 (Green Seal) GS-52/53，专业清洁产品； |
| 2148a49deec3-da8d-41a5-af5e-59aca6b17d52 | Translated (99%) | California Code of Regulations maximum allowable VOC levels for the specific product category; | 加利福尼亚监管法案 (California Code of Regulations) 允许的特定产品类别的最大 VOC 水平； |
| 214996cf7a58-74d6-43bf-bab0-e37a17be0945 | Translated (95%) | EPA Design for the Environment Program’s standard for safer cleaning products; and/or | EPA 更安全的清洁产品为环境而设计 (Design for the Environment) 计划标准；和/或 |
| 2150ac99b75b-3a7c-402d-898c-8da62f002498 | Translated (99%) | Cleaning devices that use only ionized water or electrolyzed water and have third-party-verified performance data equivalent to the other standards mentioned above (if the device is marketed for antimicrobial cleaning, performance data must demonstrate antimicrobial performance comparable to EPA Office of Pollution Prevention and Toxics and Design for the Environment requirements, as appropriate for use patterns and marketing claims). | 仅使用离子水或电解水且具有与上述其他标准类似的第三方认证性能数据的清洁设备（如果设备以抗菌清洁为卖点，则性能数据必须根据使用方式和营销声明来证明抗菌性能符合类似于 EPA 污染防治与毒物办公室 (Office of Pollution Prevention and Toxics) 及为环境而设计 (Design for the Environment) 的要求）。 |
| 2151c011a6f7-d233-44fe-9906-d5a7c634bc20 | Translated (0%) | Disposable janitorial paper products and trash bags must meet the minimum requirements of one or more of the following programs, or a local equivalent for projects outside the U.S.: | 一次性卫生纸品和垃圾袋必须满足以下一个或多个计划的最低要求（美国以外的项目为当地对应标准）： |
| 2152f39fb317-b829-423a-9a5e-58f7f009ba57 | Translated (0%) | EPA comprehensive procurement guidelines, for janitorial paper; | EPA 综合采购指导原则，卫生纸品； |
| 2153dfdee096-fe2f-4766-b061-60c087091ea5 | Translated (77%) | Green Seal GS-01, for tissue paper, paper towels and napkins; | 绿色印章 (Green Seal) GS-01，棉纸、纸巾和餐巾纸； |
| 2154854f9e07-a602-4579-8df9-70329f367f61 | Translated (78%) | UL EcoLogo 175, for toilet tissue; | UL EcoLogo 175，厕纸； |
| 21559de02c3a-c810-4274-a10b-6edf1549c988 | Translated (78%) | UL EcoLogo 175, for hand towels; | UL EcoLogo 175，手巾； |
| 21569340d8ae-25a6-41a6-9763-78a817285660 | Translated (99%) | Janitorial paper products derived from rapidly renewable resources or made from tree-free fibers; | 由快速再生资源或非木质纤维制成的卫生纸品； |
| 2157aceeb6e7-a3e4-454b-85ca-12fc1368e380 | Translated (0%) | FSC certification, for fiber procurement; | FSC 认证，纤维采购； |
| 2158a2c630cb-c1db-4f5a-8bc5-e99bebf96081 | Translated (0%) | EPA comprehensive procurement guidelines, for plastic trash can liners; and/or | EPA 综合采购指导原则，塑料垃圾筒内衬；和/或 |
| 2159772bb1ad-62de-4c8c-a1ac-6e128bcb0cfd | Translated (0%) | California integrated waste management requirements, for plastic trash can liners (California Code of Regulations Title 14, Chapter 4, Article 5, or SABRC 42290-42297 Recycled Content Plastic Trash Bag Program). | 加州废弃物管理综合要求，塑料垃圾筒内衬（“加州法规规范”第 14 条例，第 4 章，第 5 条，或 SABRC 42290-42297 回收物质含量塑料垃圾袋计划）。 |
| 216007e42344-a398-4590-a144-e62f8ba40bc1 | Translated (84%) | Hand soaps and hand sanitizers must meet one or more of the following standards, or a local equivalent for projects outside the U.S.: | 洗手皂和洗手液必须满足以下一个或多个标准（美国以外的项目为当地对应标准）： |
| 21619bb6fc35-06b8-443a-b1bc-ede8e06dd8f1 | Translated (99%) | no antimicrobial agents (other than as a preservative) except where required by health codes and other regulations (e.g., food service and health care requirements); | 没有杀菌剂（不是作为防腐剂）,除非健康法案和其他法规（例如食品服务和卫生保健方面的要求）要求这样做； |
| 21625438c74f-eb76-4985-8e4b-35f466dc36ac | Translated (99%) | Green Seal GS-41, for industrial and institutional hand cleaners; | 绿色印章 (Green Seal) GS-41，工业和公共机构的洗手用品； |
| 216362a9d2dd-ed98-4ee0-ba59-e4a03dd2e88e | Translated (74%) | UL EcoLogo 2784 for hand cleaners and hand soaps; | UL EcoLogo 2784，洗手用品和洗手皂； |
| 216424fea67e-0989-4d25-af9a-55bebdc861af | Translated (88%) | UL EcoLogo 2783 for hand sanitizers; | UL EcoLogo 2783，洗手液； |
| 2165cf720916-3e90-4e85-b928-07352c95c14f | Translated (89%) | EPA Design for the Environment Program’s standard for safer cleaning products. | EPA 为环境而设计 (Design for the Environment) 计划标准，更安全的清洁产品。 |
| 2166f633a1f4-be5d-4861-bac4-b6acdeb5344e | Translated (0%) | For projects outside the U.S., any Type 1 eco-labeling program as defined by ISO 14024: 1999 developed by a member of the Global Ecolabelling Network may be used in lieu of Green Seal or Environmental Choice standards. | 对于美国以外的项目，可以使用由全球生态标签网络成员制定的 ISO 14024: 1999 规定的任意 1 类生态标签计划来取代绿色印章 (Green Seal) 或环保选择 (Environmental Choice) 标准。 |
| 21676dcfa587-e099-469d-b431-422f48f4ff3c | Translated (0%) | EQ Credit: Green Cleaning—Equipment | EQ 得分点：绿色清洁—设备 (Green Cleaning—Equipment) |
| 216864820a17-7153-4e86-969f-f4f5532578c9 | Translated (100%) | EB:O&M | EB:O&M |
| 2169aeda0113-bff9-498e-8591-d61dee44ea88 | Translated (100%) | 1 point | 1 分 |
| 217079d02faa-e4d4-4fd2-8a32-08974be3ed92 | Translated (100%) | This credit applies to | 该得分点适用于 |
| 2171a5073800-e3d8-4669-a385-4a165bb9707d | Translated (100%) | Existing Buildings: Operations & Maintenance (1 point) | 既有建筑：运营与维护（1 分） |
| 21720b699eaa-d8b4-44db-8a84-098e31f327d0 | Translated (100%) | EB:O&M Schools (1 point) | EB:O&M 学校（1 分） |
| 21731858b2b0-3568-401f-990b-e21ecbb64071 | Translated (100%) | EB:O&M Retail (1 point) | EB:O&M 零售（1 分） |
| 2174a07f79fa-1133-4d18-b132-3ec5903104ce | Translated (100%) | EB:O&M Data Centers (1 point) | EB:O&M 数据中心（1 分） |
| 2175c2a288d2-6292-40fa-80ca-fea1425d1bf5 | Translated (100%) | EB:O&M Hospitality (1 point) | EB:O&M 宾馆接待（1 分） |
| 21765639b386-896c-4fc1-9f7d-5d026cdd9826 | Translated (100%) | EB:O&M Warehouses & Distribution Centers (1 point) | EB:O&M 仓储和配送中心（1 分） |
| 2177b50683a0-2b26-42ee-97d6-7512f81d621d | Translated (100%) | Intent | 目的 |
| 2178a888314b-e4bf-4aa4-b99e-dcde43009493 | Translated (0%) | To reduce chemical, biological, and particulate contaminants from powered cleaning equipment. | 减少电动清洁设备产生的化学、生物和微粒污染物。 |
| 21796d8061ec-20b3-46bc-b8ce-ea4cc298f6c6 | Translated (100%) | Requirement | 要求 |
| 21807b8a1562-3b63-4bdc-8311-4837b9fb4a72 | Translated (100%) | EBOM, Schools, Retail, Data Centers, Hospitality, Warehouses & Distribution Centers | EBOM、学校、零售、数据中心、宾馆接待、仓储和配送中心 |
| 2181886a2ec9-291a-48cf-9591-51ea80e79155 | Translated (100%) | ESTABLISHMENT | 建立 |
| 2182ea19792c-956f-425e-9f81-6e4fb5397951 | Translated (0%) | Create an inventory of existing interior and exterior equipment, including what is brought on site by vendors. | 创建既有室内和室外设备的清单，包括由供应商带到场址的设备。 |
| 2183ea19792c-956f-425e-9f81-6e4fb5397951 | Translated (0%) | At least 40% of all powered janitorial equipment (purchased, leased, or used by contractors) must meet the following criteria. | 至少所有电动清洁卫生设备（采购、租赁或承包商使用的设备）的 40% 必须满足以下标准。 |
| 2184ea19792c-956f-425e-9f81-6e4fb5397951 | Translated (0%) | For existing equipment that does not meet the criteria, develop a phase-out plan for its replacement with environmentally preferable products at the end of its useful life. | 对于不满足此标准的既有设备，制定淘汰计划，在其使用寿命结束时将其更换为环保产品。 |
| 2185c455c1b5-6a71-43c7-a585-a502e0845c5f | Translated (0%) | All powered equipment must have the following features: | 所有电动设备必须具有以下特性： |
| 218676027dbb-d58b-49ff-bdbf-cd5e471ec664 | Translated (73%) | safeguards, such as rollers or rubber bumpers, to avoid damage to building surfaces; | 安全防护装置（例如滚轮或橡胶减震器），以避免对建筑表面造成损坏。 |
| 2187ca15f27d-1c8b-4941-8805-a89c1949f2e3 | Translated (0%) | ergonomic design to minimize vibration, noise, and user fatigue, as reported in the user manual in accordance with ISO 5349-1 for arm vibrations, ISO 2631–1 for vibration to the whole body, and ISO 11201 for sound pressure at operator’s ear; and | 人体工程学设计，以尽量减少振动、噪声和驻户的疲劳程度，正如用户手册中所报告，符合 ISO 5349-1（手臂振动）、ISO 2631–1（全身振动）和 ISO 11201（操作员耳朵声压）；以及 |
| 2188d2a21147-1387-41a7-9fd8-59cecaa114f5 | Translated (0%) | as applicable, environmentally preferable batteries (e.g., gel, absorbent glass mat, lithium-ion) except in applications requiring deep discharge and heavy loads where performance or battery life is reduced by the use of sealed batteries. | 如适用，环保电池（例如凝胶、吸水性玻璃纤维毡、锂离子），需要深度放电和重负荷的应用（其性能或电池寿命会因使用密封电池而降低）除外。 |
| 21896ae5bbc0-ea2e-4c73-831d-c1b539accb63 | Translated (0%) | Vacuum cleaners must be certified by the Carpet and Rug Institute Seal of Approval/Green Label Vacuum Program and operate with a maximum sound level of 70 dBA or less in accordance with ISO 11201. | 真空吸尘器必须经过美国地毯协会批准印章/绿色标志吸尘计划 (Carpet and Rug Institute Seal of Approval/Green Label Vacuum Program) 的认证，并且运行时的音量等于或低于 70dBA，符合 ISO 11201。 |
| 21903dc027fc-7966-46d4-98e0-b8e18b7c7c8c | Translated (0%) | Carpet extraction equipment, for restorative deep cleaning, must be certified by the Carpet and Rug Institute's Seal of Approval Deep Cleaning Extractors and Seal of Approval Deep Cleaning Systems program. | 用于复原性深层清洁的地毯抽吸设备必须经过美国地毯协会批准印章深度清洁抽吸设备和批准印章深度清洁系统 (Carpet and Rug Institute's Seal of Approval Deep Cleaning Extractors and Seal of Approval Deep Cleaning Systems) 计划的认证。 |
| 21910654467d-fc20-4b45-9d08-942dce2f653b | Translated (0%) | Powered floor maintenance equipment must have vacuums, guards, or other devices for capturing fine particles, and must operate with a maximum level of 70 dBA, in accordance with ISO 11201. | 电动地板维护设备必须具有真空、防护或其他设备来收集细小的微粒，并且运行时的音量必须等于或低于 70dBA，符合 ISO 11201。 |
| 2192986b0fda-82c8-469b-b3e3-6d01d4d4a2b2 | Translated (0%) | Propane-powered floor equipment must have high-efficiency, low-emissions engines with catalytic converters and mufflers that meet the California Air Resources Board or EPA standards for the specific engine size and operate with a sound level of 90 dBA or less, in accordance with ISO 11201. | 丙烷动力的地板设备必须具有高效、低排量的引擎，并且其催化转换器和消音器符合美国加州空气资源委员会 (California Air Resources Board) 或 EPA 为特定引擎尺寸制定的标准，并且运行时的音量等于或低于 90dBA，符合 ISO 11201。 |
| 21933e6a806f-8fe1-4d3d-96e4-16b3b8fe706f | Translated (0%) | Automated scrubbing machines must be equipped with variable-speed feed pumps and either (1) on-board chemical metering to optimize the use of cleaning fluids or (2) dilution control systems for chemical refilling. | 自动擦洗机必须配有速度可变的进给泵，并且 (1) 进行现场化学测定，以优化清洁液的使用，或 (2) 具有稀释控制系统来控制化学物质的补充。 |
| 21943e6a806f-8fe1-4d3d-96e4-16b3b8fe706f | Translated (0%) | Alternatively, scrubbing machines may use tap water only, with no added cleaning products. | 擦洗机也可以仅使用自来水，不添加清洁产品。 |
| 21950c6e65e3-a1b6-4021-ad7f-c12500b0eefe | Translated (100%) | PERFORMANCE | 运行 |
| 219665d6a9f6-6ce2-42bd-9fea-698cbb3fc17c | Translated (97%) | At least 40% of all powered janitorial equipment (purchased, leased, or used by contractors) must meet the above criteria. | 至少所有电动清洁卫生设备（采购、租赁或承包商使用的设备）的 40% 必须满足以上标准。 |
| 219765d6a9f6-6ce2-42bd-9fea-698cbb3fc17c | Translated (100%) | For existing equipment that does not meet the criteria, develop a phase-out plan for its replacement with environmentally preferable products at the end of its useful life. | 对于不满足此标准的既有设备，制定淘汰计划，在其使用寿命结束时将其更换为环保产品。 |
| 219825e14223-b0de-4c78-b6df-3227c4a358c5 | Translated (72%) | EQ Credit: Integrated Pest Management | EQ 得分点：综合虫害管理 (Integrated Pest Management) |
| 2199347de6a9-e9ee-41b2-beee-6250483a87a4 | Translated (100%) | EB:O&M | EB:O&M |
| 2200e2a69326-6551-41f5-b60a-6684572009d9 | Translated (100%) | 2 points | 2 分 |
| 22018efe6558-4c36-400c-ad53-e5960a824cd1 | Translated (100%) | This credit applies to | 该得分点适用于 |
| 22023ec53b40-2d91-4f25-968f-92b873323626 | Translated (100%) | Existing Buildings: Operations & Maintenance (2 points) | 既有建筑：运营与维护（2 分） |
| 22039a0d0ac3-598e-4c72-b34e-785d2d42aa26 | Translated (100%) | EB:O&M Schools (2 points) | EB:O&M 学校（2 分） |
| 2204ea072bbd-8b69-4827-a2db-ebd3f210886f | Translated (100%) | EB:O&M Retail (2 points) | EB:O&M 零售（2 分） |
| 2205cde1eec3-59b2-412c-a45d-9fe5697d3145 | Translated (100%) | EB:O&M Data Centers (2 points) | EB:O&M 数据中心（2 分） |
| 2206e949defe-525d-41b5-a2fe-af4b4aabaa7e | Translated (100%) | EB:O&M Hospitality (2 points) | EB:O&M 宾馆接待（2 分） |
| 22075cdedac4-eb1c-4de5-96a9-6d087f4ac54f | Translated (100%) | EB:O&M Warehouses & Distribution Centers (2 points) | EB:O&M 仓储和配送中心（2 分） |
| 2208a680c30c-e5a9-4e4b-8e85-644849cae498 | Translated (100%) | Intent | 目的 |
| 2209a7bc50d5-26a9-4863-8d8b-50fe2a158f4a | Translated (0%) | To minimize pest problems and exposure to pesticides. | 尽量减少虫害问题以及接触杀虫剂的机会。 |
| 2210e09255c6-dc00-4d93-991e-1ed526e37606 | Translated (100%) | Requirement | 要求 |
| 221136926f37-7792-4d5b-9cb6-788190dced50 | Translated (100%) | EBOM, Schools, Retail, Data Centers, Hospitality, Warehouses & Distribution Centers | EBOM、学校、零售、数据中心、宾馆接待、仓储和配送中心 |
| 2212486fbff8-1baa-4448-8890-bbfc2ea5042e | Translated (100%) | ESTABLISHMENT | 建立 |
| 2213b3d0c8ab-0d6d-45e8-95c7-460428e3fcda | Translated (0%) | Have in place an integrated pest management (IPM) plan for the building and grounds within the project boundary. | 为项目边界内的建筑和地面制定综合虫害管理 (IPM) 计划。 |
| 2214b3d0c8ab-0d6d-45e8-95c7-460428e3fcda | Translated (90%) | The IPM plan must include the following elements. | IPM 计划必须包含以下要素： |
| 2215fa87da80-63a3-4e13-86c1-16dc57718307 | Translated (0%) | Identification of an IPM team. | 确定 IPM 团队成员。 |
| 2216fa87da80-63a3-4e13-86c1-16dc57718307 | Translated (0%) | Identify roles for building management, pest management contractors, maintenance staff, and liaisons with building occupants. | 确定建筑管理角色、虫害管理承包商、维护人员和建筑驻户联络人。 |
| 221748c5e971-5b75-4e89-9400-207fec706c35 | Translated (0%) | Provisions for identifying and monitoring pests. | 对识别和监控虫害作出规定。 |
| 221848c5e971-5b75-4e89-9400-207fec706c35 | Translated (0%) | Specify inspections, pest population monitoring, and a reporting system that allows occupants, maintenance staff, and others to report evidence of pest infestations. | 指定检查、虫害数量监控和一个允许驻户、维护人员和他人报告虫害侵袭证据的报告系统。 |
| 221901df66f9-d7e9-4d59-a795-935667674afd | Translated (0%) | Action thresholds for all pests likely encountered in the building. | 为建筑中可能遇到的所有虫害设定采取行动的标准。 |
| 222001df66f9-d7e9-4d59-a795-935667674afd | Translated (0%) | Also describe a process for modifying action thresholds, if necessary, through active communication between occupants and the IPM team. | 此外，介绍必要时通过驻户和 IPM 团队之间的积极沟通修改行动标准的流程。 |
| 2221cfe94207-210f-4035-9b34-087695602e21 | Translated (0%) | Nonchemical pest preventive measures, either designed into the structure or implemented as part of pest management activities. | 制定在结构中设计或在虫害管理活动中实施的非化学虫害防治措施。 |
| 22222fd0bbc5-ad53-4745-b237-5d5e240fc7ea | Translated (0%) | Pest control methods to be used when action thresholds are exceeded. | 在超过行动标准时采取的虫害控制方法。 |
| 22232fd0bbc5-ad53-4745-b237-5d5e240fc7ea | Translated (0%) | For each pest, list all potential control methods considered and adopt the lowest-risk options, considering the risks to the applicator, building occupants, and the environment. | 对于每种虫害，列出想到的所有潜在控制方法，并考虑对实施者、建筑驻户和环境带来的风险，据此采用风险最小的方案。 |
| 22242fd0bbc5-ad53-4745-b237-5d5e240fc7ea | Translated (0%) | The plan must preferentially require nonchemical approaches, with pesticides registered for the site applied only if those approaches fail. | 该计划必须优先考虑非化学方法，只有在这些方法无效时，才能为场址应用已登记的杀虫剂。 |
| 22252fd0bbc5-ad53-4745-b237-5d5e240fc7ea | Translated (0%) | Give preference to the use of least-risk pesticides based on inherent toxicity and exposure potential. | 优先使用最低危害杀虫剂（根据遗传毒性和接触的可能性来确定）。 |
| 22262fd0bbc5-ad53-4745-b237-5d5e240fc7ea | Translated (0%) | If a pesticide that is not in the least-risk category is selected, document the reason. | 如果选择不属于最低危害类别的杀虫剂，需要记录原因。 |
| 2227365e7060-b235-455c-9fa2-a1d8e9ef33ad | Translated (0%) | A mechanism for documentation of inspection, monitoring, prevention, and control methods and for evaluation of the effectiveness of the IPM plan. | 提供一种记录检查、监控、预防和控制方法以及评估 IPM 计划有效性的机制。 |
| 2228365e7060-b235-455c-9fa2-a1d8e9ef33ad | Translated (0%) | Specify the metrics by which performance will be measured, and describe the quality assurance process to evaluate and verify successful implementation of the plan. | 指定衡量性能的度量标准，并介绍质量保证流程，以评估并验证是否成功实施了此计划。 |
| 2229790ab3a4-950c-4005-8f3c-5bdaff8e79f4 | Translated (0%) | A strategy for communications between the IPM team and the building occupants (for schools, faculty and staff). | 制定 IPM 团队与建筑驻户（对于学校为教职员工）之间的沟通策略。 |
| 2230790ab3a4-950c-4005-8f3c-5bdaff8e79f4 | Translated (0%) | This strategy should include education about the IPM plan, participation in problem solving, feedback mechanisms (e.g., a system for recording pest complaints), and provision for notification of pesticide applications. | 该策略应包括有关以下方面的教育：IPM 计划、参与问题解决、反馈机制（例如记录虫害投诉）和通知施用杀虫剂的规定。 |
| 2231790ab3a4-950c-4005-8f3c-5bdaff8e79f4 | Translated (0%) | At a minimum, the facility manager must notify any building occupant or employee who requests it and post a sign at the application site, which must remain in place for 24 hours. | 物业经理至少必须通知请求施用杀虫剂的所有建筑驻户或员工，并在施用场址内张贴标牌且必须保持张贴 24 小时。 |
| 2232790ab3a4-950c-4005-8f3c-5bdaff8e79f4 | Translated (0%) | Notifications must include the pesticide name, EPA registration number, treatment location, and date of application. | 通知必须包括杀虫剂名称、EPA 注册号、施用位置和施用日期。 |
| 2233790ab3a4-950c-4005-8f3c-5bdaff8e79f4 | Translated (0%) | Applications of least-risk pesticides do not require notification. | 施用最低危害杀虫剂不需要通知。 |
| 2234790ab3a4-950c-4005-8f3c-5bdaff8e79f4 | Translated (0%) | For an emergency application of a pesticide, anyone who requested notice must be notified within 24 hours of the application and given an explanation of the emergency. | 在紧急情况下施用杀虫剂时，必须在施用后的 24 小时内通知请求被通知的所有人，并向他们解释其紧急性。 |
| 2235076d64e9-1834-4d81-8565-56ec82313703 | Translated (100%) | PERFORMANCE | 运行 |
| 2236d8c6f125-9210-4d61-b23f-6787c38c7f66 | Translated (0%) | Implement the strategies set forth in the IPM plan and evaluate the plan annually. | 实施 IPM 计划中规定的策略，并每年对此计划进行一次评估。 |
| 2237d8c6f125-9210-4d61-b23f-6787c38c7f66 | Translated (0%) | This evaluation must verify that the strategies specified in the IPM plan have been implemented and identify any chemical applications that did not comply with the plan. | 此评估必须验证是否已实施 IPM 计划中规定的策略，并确定是否未按照此计划的要求使用了任何化学物质。 |
| 22388388a144-9260-48ff-b4d4-f6dd5d9800bd | Translated (0%) | Perform recordkeeping and documentation required under the IPM plan. | 执行 IPM 计划所需的记录保留和归档。 |
| 22398388a144-9260-48ff-b4d4-f6dd5d9800bd | Translated (0%) | Maintain records of IPM team participation and decisions, as well as pesticide applications. | 保留 IPM 团队参与和决策记录以及杀虫剂施用记录。 |
| 2240ebe2051a-e2fb-4895-80d7-92c996887f2e | Translated (0%) | A project meets the requirements if the IPM service is provided by a certified member in good standing of GreenPro, EcoWise, or GreenShield, or a program with equivalent IPM standards, who complies with the program’s standards. | 如果 IPM 服务由 GreenPro、EcoWise 或 GreenShield（或具有类似 IPM 标准的计划）的声誉良好且遵守计划标准的认证成员提供，项目将会符合相关要求。 |
| 22413b2eff80-3491-433d-9625-d418d6fcb588 | Translated (0%) | EQ Credit: Occupant Comfort Survey | EQ 得分点：驻户舒适性调查 (Occupant Comfort Survey) |
| 22425b3b0b7f-24a1-4ce9-8f96-0540fe5c9d41 | Translated (100%) | EB:O&M | EB:O&M |
| 224385f5c998-3a66-4d7c-ac65-8990801f752f | Translated (100%) | 1 point | 1 分 |
| 2244f5de2f11-8887-4f56-a5e1-409b01e1d384 | Translated (100%) | This credit applies to | 该得分点适用于 |
| 22458c468875-76d4-4b26-8bf6-f19faba42350 | Translated (100%) | Existing Buildings: Operations & Maintenance (1 point) | 既有建筑：运营与维护（1 分） |
| 2246b61a7047-ec98-4393-88d7-8dc2201b4130 | Translated (100%) | EB:O&M Schools (1 point) | EB:O&M 学校（1 分） |
| 22473b25db78-06e7-4057-9592-06e2aeda9990 | Translated (100%) | EB:O&M Retail (1 point) | EB:O&M 零售（1 分） |
| 224851e7d46a-b6e7-4560-b8cc-10289bcba6f2 | Translated (100%) | EB:O&M Data Centers (1 point) | EB:O&M 数据中心（1 分） |
| 224943b90887-bc9a-4084-b7da-63593769c61e | Translated (100%) | EB:O&M Hospitality (1 point) | EB:O&M 宾馆接待（1 分） |
| 225033a5697e-e0a4-48fa-997f-74a00b1d8e37 | Translated (100%) | EB:O&M Warehouses & Distribution Centers (1 point) | EB:O&M 仓储和配送中心（1 分） |
| 2251206a55dc-3da2-479d-a5f5-67542fa96375 | Translated (100%) | Intent | 目的 |
| 22523d38c68e-6398-417c-92b7-62e6a601c665 | Translated (0%) | To assess building occupants’ comfort. | 评估建筑驻户的舒适性。 |
| 22536373c18a-8841-4592-973a-b67ad08ac006 | Translated (100%) | Requirements | 要求 |
| 225428d04757-0244-4efd-948a-218fa3ecd8ca | Translated (100%) | EBOM, Schools, Retail, Data Centers, Hospitality, Warehouses & Distribution Centers | EBOM、学校、零售、数据中心、宾馆接待、仓储和配送中心 |
| 2255e5fa18cb-5488-4c5a-ac74-3fcefbdbdfb6 | Translated (100%) | ESTABLISHMENT | 建立 |
| 2256d7d82efd-8ba9-4662-9819-673f7b858979 | Translated (100%) | None. | 无。 |
| 225793c139d6-92da-46dc-89af-73506e0aca21 | Translated (100%) | PERFORMANCE | 运行 |
| 2258c749481a-67da-4037-b519-47d20da4ca0f | Translated (0%) | Administer at least one occupant comfort survey to collect anonymous responses regarding at least the following: | 至少进行一次驻户舒适性调查，以收集至少与以下方面相关的匿名反馈： |
| 2259e8493e5f-28eb-4c9c-9c4a-69c055f41f10 | Translated (91%) | acoustics; | 声学效果； |
| 22605ae08b6a-d1e7-41aa-afa5-fee51992d73c | Translated (94%) | building cleanliness; | 建筑清洁度； |
| 22619043ced2-7aa2-49b7-8767-5f9c5901b035 | Translated (99%) | indoor air quality; | 室内空气质量； |
| 2262b16f1df4-3343-476e-808a-56d1d5d0f09e | Translated (96%) | lighting; and | 照明；和 |
| 2263763e5bcc-5b27-45a4-9787-7d6deaa8bacb | Translated (94%) | thermal comfort. | 热舒适性。 |
| 22642fb8afa3-c46b-4f38-aeab-0fb99d53a57f | Translated (0%) | The responses must be collected from a representative sample of building occupants making up at least 30% of the total occupants. | 必须从至少占总驻户 30% 的建筑驻户代表性样本中收集反馈。 |
| 22653d3c207e-2d63-41d6-8adc-e4734432c0af | Translated (0%) | Document survey results. | 记录调查结果。 |
| 22663d3c207e-2d63-41d6-8adc-e4734432c0af | Translated (0%) | Develop and implement a corrective action plan to address comfort issues if the results indicate that more than 20% of occupants are dissatisfied. | 如果结果显示超过 20% 的驻户不满意，则制定并实施整改行动计划，以解决舒适性问题。 |
| 2267ee8c9bbe-4624-4dee-9df9-d14a645f3006 | Translated (0%) | Perform at least one survey and implement corrective actions. | 至少执行一次调查，并实施整改行动。 |
| 2268ee8c9bbe-4624-4dee-9df9-d14a645f3006 | Translated (0%) | At a minimum, perform one new survey at least once every 2 years. | 至少每两年执行一次新调查。 |
| 22698c694820-331b-47c0-99a8-0bb91ecfeadd | Translated (100%) | Innovation (IN) | 创新 (IN) |
| 2270d26f8685-fa70-4dce-9e1f-35aa7ced7679 | Translated (100%) | IN Credit: Innovation | IN 得分点：创新 (Innovation) |
| 2271deabade5-4aa2-4e8a-b511-d455f82823a7 | Translated (100%) | EB:O&M | EB:O&M |
| 22728a7b11c9-6dfd-4273-bfd7-b6209537d229 | Translated (100%) | 1–5 points | 1-5 分 |
| 2273c7814228-4c9d-4220-8e37-4f8f6dc7e1ce | Translated (100%) | This credit applies to | 该得分点适用于 |
| 2274fcf4434a-561b-489e-bfc9-eeff949f8488 | Translated (100%) | Existing Buildings: Operations & Maintenance (1–5 points) | 既有建筑：运营与维护（1-5 分） |
| 22758b44667a-6bce-4b56-919d-d4c52e5380d2 | Translated (100%) | EB:O&M Schools (1–5 points) | EB:O&M 学校（1-5 分） |
| 227645cb084d-9f09-4ab7-9016-17810ed67b98 | Translated (100%) | EB:O&M Retail (1–5 points) | EB:O&M 零售（1-5 分） |
| 227774549e01-0fad-4314-a1fa-423731b456f7 | Translated (100%) | EB:O&M Data Centers (1–5 points) | EB:O&M 数据中心（1-5 分） |
| 2278f6457857-4977-48e7-8ee6-35cc44900a47 | Translated (100%) | EB:O&M Hospitality (1–5 points) | EB:O&M 宾馆接待（1-5 分） |
| 2279bb780ca1-82fa-49f3-a912-f9bd4fbd0867 | Translated (100%) | EB:O&M Warehouses & Distribution Centers | EB:O&M 仓储和配送中心 |
| 2280ea7dc273-c337-4508-b6fb-eb2e8c27b1a6 | Translated (100%) | Intent | 目的 |
| 22812fc9a3df-0594-44f3-b54f-ac30a9956985 | Translated (100%) | To encourage projects to achieve exceptional or innovative performance | 鼓励项目实现优良表现或创新表现 |
| 2282c7261359-a701-4d38-86b5-dbf40493be6b | Translated (100%) | Requirements | 要求 |
| 22833a4d9b8f-26bf-4274-837f-6fffb0b9d013 | Translated (100%) | EBOM, Schools, Retail, Data Centers, Hospitality, Warehouses & Distribution Centers | EBOM、学校、零售、数据中心、宾馆接待、仓储和配送中心 |
| 228471499558-c26a-4242-9445-561bf920ca53 | Translated (100%) | Project teams can use any combination of innovation, pilot, and exemplary performance strategies. | 项目团队可使用创新、试点和优良表现策略的任意组合。 |
| 22856341192a-9c6b-4d5d-ad18-61b2c670564b | Translated (100%) | Option 1. | 选项 1. |
| 22866341192a-9c6b-4d5d-ad18-61b2c670564b | Translated (98%) | <1978>Innovation</1978> <1979>(1 point)</1979> | 创新（1 分） |
| 22874e703fd2-f82a-43c9-ba7c-f8b4c49aa487 | Translated (100%) | Achieve significant, measurable environmental performance using a strategy not addressed in the LEED green building rating system. | 使用 LEED 绿色建筑评估体系中没有涉及到的策略实现突出的环境表现。 |
| 228898255db1-3c40-45ac-8da3-ea2cd1fd45c6 | Translated (100%) | Identify the following: | 确定以下内容： |
| 228902f273d8-097d-4d93-b19f-7fc26eeda03e | Translated (100%) | the intent of the proposed innovation credit; | 提议的创新得分点的意图； |
| 2290d972a37d-f7b7-49e9-ade2-d236e5146453 | Translated (100%) | proposed requirements for compliance; | 提议的合规性要求； |
| 229130b4c870-2734-4bb8-bb09-1fee61ea478e | Translated (100%) | proposed submittals to demonstrate compliance; and | 建议要递交的以证明满足得分要求的材料；以及 |
| 2292f58a2586-6a4e-4564-bfe6-7927182db5b5 | Translated (100%) | the design approach or strategies used to meet the requirements. | 用于满足要求的设计方法和策略 |
| 2293b93766d0-9722-42ef-aec0-2c9e684d1c34 | Translated (100%) | AND/OR | 和/或 |
| 22941efdda2c-549e-4691-bfa3-b6f64f904764 | Translated (100%) | Option 2. | 选项 2. |
| 22951efdda2c-549e-4691-bfa3-b6f64f904764 | Translated (100%) | Pilot (1 point) | 试点（1 分） |
| 229650d67e62-fed2-496b-9437-7c51d739ff51 | Translated (100%) | Achieve one pilot credit from USGBC’s LEED Pilot Credit Library | 从 USGBC 的 LEED 试行得分点库中获得一个试行得分点 |
| 229712ba5d27-779d-4ea2-adc5-fce255e5bd6b | Translated (100%) | AND/OR | 和/或 |
| 229893b15241-5870-44e1-b201-feab987c2c93 | Translated (100%) | Option 3. | 选项 3. |
| 229993b15241-5870-44e1-b201-feab987c2c93 | Translated (100%) | Additional Strategies | 其他策略 |
| 230014a2a755-f0ee-4d2c-ae48-9b8d53a02531 | Translated (98%) | <1982>Innovation</1982> <1983>(1-3 points)</1983> | 创新（1-3 分） |
| 2301a0c9ef8c-510c-451d-a8af-1c5056585e51 | Translated (100%) | Defined in Option 1 above. | 已在上面的选项 1 中定义。 |
| 2302c4f96cda-4861-4843-820e-961128c101d3 | Translated (98%) | <1984>Pilot</1984> <1985>(1-3 points)</1985> | 试点（1-3 分） |
| 23039995f184-148d-47d5-a557-f2b4ec51136b | Translated (100%) | Meet the requirements of Option 2. | 满足选项 2 的要求。 |
| 2304ef319879-059f-46ca-8f12-108ca30592e1 | Translated (98%) | <1986>Exemplary Performance</1986> <1987>(1–2 points)</1987> | 优良表现（1-2 分） |
| 23050ce9c2d0-a081-4037-ae19-111647816ee8 | Translated (100%) | Achieve exemplary performance in an existing LEED v4 prerequisite or credit that allows exemplary performance, as specified in the LEED Reference Guide, v4 edition. | 在允许 v4 版 LEED 参考指南中指定的优良表现的既有 LEED v4 先决条件或得分点中实现优良表现。 |
| 23060ce9c2d0-a081-4037-ae19-111647816ee8 | Translated (100%) | An exemplary performance point is typically earned for achieving double the credit requirements or the next incremental percentage threshold. | 一般可通过实现双倍得分点要求或下一个增量百分比阈值来获得优良表现分数。 |
| 23071ab2f6be-3a7e-4b68-a0a1-9afd4327b250 | Translated (100%) | IN Credit: LEED Accredited Professional | IN 得分点：LEED AP |
| 230897d124bb-f2f9-44ce-9b3f-c0987d39ea0d | Translated (100%) | EB:O&M | EB:O&M |
| 2309828daa0c-44b3-4ee6-8d80-225f41c0912e | Translated (100%) | 1 point | 1 分 |
| 2310d6dad7b4-ea7d-4819-9dfa-ec6aa8513e73 | Translated (100%) | This credit applies to | 该得分点适用于 |
| 231144adf925-4e00-419d-9028-349fbb02b528 | Translated (100%) | Existing Buildings: Operations & Maintenance (1 point) | 既有建筑：运营与维护（1 分） |
| 2312da18648f-7e7d-4351-9b73-250309ec3013 | Translated (100%) | EB:O&M Schools (1 point) | EB:O&M 学校（1 分） |
| 2313504c2f9f-5d17-4eda-b90a-29d13a72c929 | Translated (100%) | EB:O&M Retail (1 point) | EB:O&M 零售（1 分） |
| 2314fdf247a5-7ee1-4b26-9d34-5fc66780d05a | Translated (100%) | EB:O&M Data Centers (1 point) | EB:O&M 数据中心（1 分） |
| 231578017d8e-ffc9-4eec-b40f-876c6d9599d9 | Translated (100%) | EB:O&M Hospitality (1 point) | EB:O&M 宾馆接待（1 分） |
| 2316139f7cb6-42d7-465f-91ac-035724b0170c | Translated (100%) | EB:O&M Warehouses & Distribution Centers (1 point) | EB:O&M 仓储和配送中心（1 分） |
| 2317f25b3506-9d35-42c6-8e70-d7e1aeb6e61e | Translated (100%) | Intent | 目的 |
| 231866a2f62c-b896-426d-bc8d-39bf356685bc | Translated (100%) | To encourage the team integration required by a LEED project and to streamline the application and certification process. | 鼓励 LEED 项目要求的团队整合，以及简化应用和认证过程。 |
| 2319c4a9eb8b-f273-4300-b846-9f9f32733f22 | Translated (100%) | Requirements | 要求 |
| 2320d6313c83-42fd-48dd-863e-2ee86dc9a1cd | Translated (100%) | EBOM, Schools, Retail, Data Centers, Hospitality, Warehouses & Distribution Centers | EBOM、学校、零售、数据中心、宾馆接待、仓储和配送中心 |
| 2321364b59d6-d7b1-4d8b-9654-04fd963fda6d | Translated (100%) | At least one principal participant of the project team must be a LEED Accredited Professional (AP) with a specialty appropriate for the project. | 项目团队中至少有一个主要参与者必须是拥有适合该项目的专长的 LEED AP。 |
| 23221a2e2f59-1209-4fd9-8bd2-471579411b2d | Translated (100%) | Regional Priority (RP) | 地域优先 (RP) |
| 2323a80e2de3-79ba-4007-b749-2ac796a0ef44 | Translated (100%) | RP Credit: Regional Priority | RP 得分点：地域优先 (Regional Priority) |
| 232476828726-7e64-4e4b-82b9-3c8a7ca24b3c | Translated (100%) | EB:O&M | EB:O&M |
| 2325a25bdf1d-f435-454f-a41f-8e57dc994ec5 | Translated (100%) | 4 points | 4 分 |
| 2326c0c87814-c695-46df-940f-c24efcbbec5c | Translated (100%) | This credit applies to | 该得分点适用于 |
| 232737c6f25d-b5f5-43a8-831b-7bf8d043c15a | Translated (100%) | Existing Buildings: Operations & Maintenance (1-4 points) | 既有建筑：运营与维护（1-4 分） |
| 2328e8eca76f-eba8-4cf6-adb9-4ac2bbe92c4a | Translated (100%) | EB:O&M Schools (1-4 points) | EB:O&M 学校（1-4 分） |
| 2329a87abe1c-3bd4-4342-b92a-ec2ce56b0fcc | Translated (100%) | EB:O&M Retail (1-4 points) | EB:O&M 零售（1-4 分） |
| 23305f4719e3-101e-447c-b9e7-0af3c62d22c5 | Translated (100%) | EB:O&M Data Centers (1-4 points) | EB:O&M 数据中心（1-4 分） |
| 233113276d7e-4688-418b-960e-fbff453e7a1e | Translated (100%) | EB:O&M Hospitality (1-4 points) | EB:O&M 宾馆接待（1-4 分） |
| 2332227a3944-a1d1-411b-8b77-d8928095098a | Translated (100%) | EB:O&M Warehouses & Distribution Centers (1-4 points) | EB:O&M 仓储和配送中心（1-4 分） |
| 233350e4f736-1d12-4ec1-ad71-8ab8b137231c | Translated (100%) | Intent | 目的 |
| 233482c06cb0-21fe-4e21-a59d-d2fcf6baedde | Translated (100%) | To provide an incentive for the achievement of credits that address geographically specific environmental, social equity, and public health priorities. | 为获得解决特定地域优先环境、社会公平和公众健康问题的得分点提供激励措施。 |
| 2335b00cc46f-a516-489a-b47e-aa3e5e402e4d | Translated (100%) | Requirements | 要求 |
| 23368b4b140b-2043-45d2-988f-6d3aa1415eb4 | Translated (100%) | EBOM, Schools, Retail, Data Centers, Hospitality, Warehouses & Distribution Centers | EBOM、学校、零售、数据中心、宾馆接待、仓储和配送中心 |
| 2337f59ccd69-4509-40b5-bc98-4c7c657fdf8e | Translated (100%) | Earn up to four of the six Regional Priority credits. | 最多可获得六个地域优先 (Regional Priority) 得分点中的四个。 |
| 2338f59ccd69-4509-40b5-bc98-4c7c657fdf8e | Translated (100%) | These credits have been identified by the USGBC regional councils and chapters as having additional regional importance for the project’s region. | 这些得分点已被 USGBC 地区委员会和分会确定为对项目的区域有额外的区域重要性。 |
| 2339f59ccd69-4509-40b5-bc98-4c7c657fdf8e | Translated (99%) | A database of Regional Priority credits and their geographic applicability is available on the USGBC website, <1997>http://www.usgbc.org</1997>. | USGBC 网站 <1997>http://www.usgbc.org</1997> 上提供了地域优先得分点及其地域适用性的数据库。 |
| 2340e440c1a1-0366-4567-b438-821eaee8ef0a | Translated (100%) | http://www.usgbc.org | http://www.usgbc.org |
| 2341ed108ab4-27a1-476c-9619-17265b6cb9bd | Translated (100%) | One point is awarded for each Regional Priority credit achieved, up to a maximum of four. | 每获得一个地域优先得分点即可获得一分，最多获得四分。 |
| 2342f70df8ec-1a6b-47e0-8b35-f9926198ebeb | Translated (100%) | Appendices | 附录 |
| 23433dc98812-74c3-47a1-a0a1-6bc2e8f8c1f5 | Translated (0%) | Appendix 1. | 附录 1 |
| 23443dc98812-74c3-47a1-a0a1-6bc2e8f8c1f5 | Translated (100%) | Use Types and Categories | 使用类型和类别 |
| 23459a28a219-b14b-4c32-9dbf-b2f13cd1e3cb | Translated (100%) | Table 1. | 表 1. |
| 23469a28a219-b14b-4c32-9dbf-b2f13cd1e3cb | Translated (100%) | Use Types and Categories | 使用类型和类别 |
| 23473829c49e-6df7-4029-afd2-ba7b2656e0ff | Translated (100%) | Category | 类别 |
| 234852a4a31d-e5fd-46b7-8819-372b90df8122 | Translated (100%) | Use type | 使用类型 |
| 2349e703eb0c-6320-4922-810a-6af1aaa5a2a2 | Translated (100%) | Food retail | 食品零售 |
| 2350aa5fc188-4edb-4211-95c6-5d460db77d7a | Translated (100%) | Supermarket | 超市 |
| 23511ffd18fe-80d6-4c1d-b932-da875ace1935 | Translated (100%) | Grocery with produce section | 有农产品专区的杂货店 |
| 23522a281367-389b-4127-b764-5239c3cbeb38 | Translated (100%) | Community-serving retail | 社区服务零售 |
| 2353605dae73-aa93-4563-a877-4ed016678a3d | Translated (100%) | Convenience store | 便利店 |
| 2354df2ac7a6-99f1-4a6e-b3a6-e3cb8a303ec6 | Translated (100%) | Farmers market | 农贸市场 |
| 2355fb12d28a-b472-4a17-86cd-d066f7d0c258 | Translated (100%) | Hardware store | 五金店 |
| 2356ab1b0310-cfb5-47ea-8de1-1269799834eb | Translated (100%) | Pharmacy | 药店 |
| 23572a6c7ea9-ae92-4ed0-981a-c53a19aafd34 | Translated (100%) | Other retail | 其他零售 |
| 235878d84489-d9ab-4b8f-af5f-9881309dd867 | Translated (100%) | Services | 服务 |
| 2359b29b1e33-dd2d-4dc3-9b62-9ffa3a4ea3e8 | Translated (100%) | Bank | 银行 |
| 2360e106e5d4-749f-4566-84b0-e8492e93b31a | Translated (100%) | Family entertainment venue (e.g., theater, sports) | 家庭娱乐场所（如剧场、体育） |
| 2361584ef71d-c4b1-4748-b55c-b78fe3bcacd5 | Translated (100%) | Gym, health club, exercise studio | 健身房、健身俱乐部、健身室 |
| 23627fdfcb64-dd25-4c4f-9f20-43004b2eadcd | Translated (100%) | Hair care | 头发护理 |
| 2363f8103b88-1e36-42df-9d09-d3ed3b42572f | Translated (100%) | Laundry, dry cleaner | 洗衣店、干洗店 |
| 2364e679b4a9-2a71-45ee-b1e4-b1fad93d5578 | Translated (100%) | Restaurant, café, diner (excluding those with only drive-thru service) | 餐厅、咖啡厅、快餐店（只有免下车服务的除外） |
| 23657f050cea-3099-4fb4-a595-879a4f3e5cde | Translated (100%) | Civic and community facilities | 公民及社区设施 |
| 23660c36249f-e4f4-413c-94e1-d5c7c2b38522 | Translated (100%) | Adult or senior care (licensed) | 成人或老人护理（有许可） |
| 2367ef2d14ac-91fd-4986-875a-2cd856c38dce | Translated (100%) | Child care (licensed) | 儿童护理（有许可） |
| 2368c83b2b90-5bb7-43ed-81a5-3deb39336dc9 | Translated (100%) | Community or recreation center | 社区或娱乐中心 |
| 23697a8db179-0167-454d-b14c-cba44ef082df | Translated (100%) | Cultural arts facility (museum, performing arts) | 文化艺术设施（博物馆、艺术表演） |
| 23704fdf7608-42c0-4210-9ae5-290af1a136ff | Translated (100%) | Education facility (e.g., K—12 school, university, adult education center, vocational school, community college) | 教育设施（如 K—12 学校、大学、成人教育中心、职业学校、社区学院） |
| 2371c569db3e-2952-4da2-8bfe-6588f3151e77 | Translated (100%) | Government office that serves public on-site | 在现场服务公众的政府办公室 |
| 237210917963-8cd2-470c-ac02-bcf1d8d40a41 | Translated (100%) | Medical clinic or office that treats patients | 治疗病人的医疗诊所或办公室 |
| 23731b471522-8ec3-4833-8576-0715fdf46feb | Translated (100%) | Place of worship | 教堂 |
| 23749b92cc48-297b-475b-b90d-e0ab8eb8ef47 | Translated (100%) | Police or fire station | 警察或消防局 |
| 23755c15f163-3eb4-4f1f-bbf5-d0a2d70eb701 | Translated (100%) | Post office | 邮局 |
| 2376282c8dfd-0ebd-4f17-8b09-316bf885afa6 | Translated (100%) | Public library | 公共图书馆 |
| 2377efdaef68-384b-449d-acc9-276a0e634007 | Translated (100%) | Public park | 公园 |
| 2378ba1b2b35-7762-4a46-af22-0475fda90f07 | Translated (100%) | Social services center | 社会服务中心 |
| 2379f4faca5a-2136-41a2-9060-7a76f6a84f3d | Translated (100%) | Community anchor uses (BD&C and ID&C only) | 社区精神支柱使用（仅 BD&C 和 ID&C） |
| 23807bdebf8c-e68e-4269-9cf7-58f7ea031f80 | Translated (100%) | Commercial office (100 or more full-time equivalent jobs) | 商务办公室（100 或更多全职工作） |
| 23813d3978b0-4b29-4323-bf65-bee6e61852e1 | Translated (100%) | Housing (100 or more dwelling units) | 住房（100 或更多居住单元） |
| 2382ed875db3-36eb-4645-a661-9ad6a9f78976 | Translated (100%) | Adapted from Criterion Planners, INDEX neighborhood completeness indicator, 2005. | 修改自标准规划师，INDEX 社区完整性指标，2005。 |
| 2383f38f2dc9-485c-4932-8cd7-3743ec98d511 | Translated (100%) | Appendix 2. | 附录 2 |
| 2384f38f2dc9-485c-4932-8cd7-3743ec98d511 | Translated (100%) | Default Occupancy Counts | 默认入驻人数 |
| 2385f97e8e21-b7bb-4337-ab87-f3625c118fc1 | Translated (100%) | Use Table 1 to calculate default occupancy counts. | 使用表 1 计算默认入驻人数。 |
| 2386f97e8e21-b7bb-4337-ab87-f3625c118fc1 | Translated (100%) | Only use the occupancy estimates if occupancy is unknown. | 如果入驻人数未知，则使用入驻人数预估值。 |
| 2387318b4778-a52b-449a-9eb4-a3aaab7dda0c | Translated (100%) | For the calculation, use gross floor area, not net or leasable floor area. | 在计算中使用总建筑面积，而不是净建筑面积或可租赁的建筑面积。 |
| 2388318b4778-a52b-449a-9eb4-a3aaab7dda0c | Translated (100%) | Gross floor area is defined as the sum of all areas on all floors of a building included within the outside faces of the exterior wall, including common areas, mechanical spaces, circulation areas, and all floor penetrations that connect one floor to another. | 总建筑面积被定义为包括在外墙外表面之中的建筑所有楼层所有面积之和，包括公共面积、机械空间、循环区域，以及连接不同楼层的所有楼层穿透。 |
| 2389318b4778-a52b-449a-9eb4-a3aaab7dda0c | Translated (100%) | To determine gross floor area, multiply the building footprint (in square feet or square meters) by the number of floors in the building. | 要确定总建筑面积，需要用建筑占地面积（单位为平方英尺或平方米）乘以建筑楼层数。 |
| 2390318b4778-a52b-449a-9eb4-a3aaab7dda0c | Translated (100%) | Exclude underground or structured parking from the calculation. | 计算中不包括地下或构筑的停车场。 |
| 23912373d572-d5a9-45e0-89f7-46b2e098272a | Translated (100%) | Table 1. | 表 1. |
| 23922373d572-d5a9-45e0-89f7-46b2e098272a | Translated (100%) | Default Occupancy Numbers | 默认入驻人数 |
| 23934dfff027-d022-4de4-9b05-a83cb954f3ff | Translated (100%) | Gross square feet per occupant | 每个驻户的总平方英尺数 |
| 239460fc7c1c-b0e5-43de-bb43-713460120cba | Translated (100%) | Gross square meters per occupant | 每个驻户的总平方米数 |
| 23952010037b-ccf3-450d-88bf-6d28ceb4c03a | Translated (100%) | Employees | 员工 |
| 23966567e9ac-fa41-4e03-88a4-923400875b01 | Translated (100%) | Transients | 临时驻户 |
| 2397e1c68467-d784-4e98-b557-6a7ace632cd3 | Translated (100%) | Employees | 员工 |
| 2398176d8534-3e0a-40d0-8cad-191b750bfe10 | Translated (CM) | Transients | 临时驻户 |
| 2399335b82db-9a25-4118-9d75-ad016a8ddadb | Translated (99%) | General office | 常规办公室 |
| 240003b41ccd-8b01-48f3-a328-85737ea3ee9a | Translated (100%) | 250 | 250 |
| 240177c2a63d-3bb7-4702-9114-1516d19182e1 | Translated (100%) | 0 | 0 |
| 2402775d8ff0-480a-4fa1-86a4-7ad41e598e34 | Translated (100%) | 23 | 23 |
| 240343b9abe7-d2f5-4213-b8af-d316403c7bb4 | Translated (100%) | 0 | 0 |
| 240442e4788b-8db6-4f75-87a0-7d23e888c9f8 | Translated (100%) | Retail, general | 常规零售 |
| 2405b94da0b6-2772-49ac-9b5d-4934ad46f982 | Translated (100%) | 550 | 550 |
| 24060898c756-2ae0-4c5c-a8cb-12537673c4f3 | Translated (100%) | 130 | 130 |
| 2407ea5ba990-2464-444f-b89b-d1a02b653a23 | Translated (100%) | 51 | 51 |
| 2408ced71bd9-3e06-4b94-8063-d4fa24aed84b | Translated (100%) | 12 | 12 |
| 2409b35263a0-5fe2-44a5-b06b-f857a6571e4d | Translated (100%) | Retail or service (e.g., financial, auto) | 零售或服务（如，金融、汽车） |
| 2410fb6a8fa0-3563-4648-9b76-b747dc15a711 | Translated (100%) | 600 | 600 |
| 24110a4ab2ec-24c4-4382-9615-7406654dcf0b | Translated (100%) | 130 | 130 |
| 2412e91a0f44-187a-4429-b9d6-e7ebaf17f1e9 | Translated (100%) | 56 | 56 |
| 241304b067d2-c075-4948-bf61-a3b1f41089a8 | Translated (100%) | 12 | 12 |
| 24143fd26177-e7f3-4fe9-971b-f9d8f70c5533 | Translated (100%) | Restaurant | 餐馆 |
| 24158703771a-710b-4acc-b40f-02522ae2d784 | Translated (100%) | 435 | 435 |
| 24168c2959de-8e68-4093-be29-5965e885d55d | Translated (100%) | 95 | 95 |
| 2417cd42dc8f-071b-4bcd-822e-ed788e99b7b8 | Translated (100%) | 40 | 40 |
| 2418724c8dbb-b710-465e-8de7-011aa78afb05 | Translated (100%) | 9 | 9 |
| 2419e1afff5f-02db-4669-9e98-64d83d7ef8fc | Translated (100%) | Grocery store | 杂货店 |
| 242029d20604-1e5f-49ba-b558-0ce01be044cc | Translated (100%) | 550 | 550 |
| 24215cb90b0f-f14d-4059-943e-2d74767c087a | Translated (100%) | 115 | 115 |
| 2422fdbcd569-efb2-4331-a494-eef10fbe59d4 | Translated (100%) | 51 | 51 |
| 242339609739-dd7e-4784-880b-12931a21a8bf | Translated (100%) | 11 | 11 |
| 24240f1600e0-f5ff-4dd7-b990-86e6a702a82e | Translated (100%) | Medical office | 医疗办公室 |
| 2425a325e987-8eb6-413b-a4c3-e74c3c17bb45 | Translated (100%) | 225 | 225 |
| 24268ce73a9c-c95b-4ee8-81af-b467c86839e9 | Translated (100%) | 330 | 330 |
| 2427af0b345c-2396-4694-944b-51ee2b7c3d87 | Translated (100%) | 21 | 21 |
| 242823b50407-3c6e-4f2c-a074-2abb9c5ca989 | Translated (100%) | 31 | 31 |
| 24299af1ad9b-981a-4d7e-92f9-ca1725ad4a6b | Translated (100%) | R&D or laboratory | 研发或实验室 |
| 24305f98bf69-e4c6-4e1f-a563-46d4966d8684 | Translated (100%) | 400 | 400 |
| 243135976477-cdde-43c8-a8b9-9db093328e92 | Translated (100%) | 0 | 0 |
| 24320d197f23-c5f0-4b14-a34f-9ad2fbe3fde7 | Translated (100%) | 37 | 37 |
| 24331063d4fd-d2f6-4870-a9d5-33b4959c9abd | Translated (100%) | 0 | 0 |
| 24342c426e43-6323-412c-bafd-60faab861da4 | Translated (100%) | Warehouse, distribution | 仓库，配送 |
| 243508708490-6f24-49e6-ba77-a4213b4a69c5 | Translated (100%) | 2,500 | 2,500 |
| 2436cd0f3148-3c2f-424d-ade2-3acd7c9e5c76 | Translated (100%) | 0 | 0 |
| 24377d3b659f-88b7-4e12-8a78-2dbd0b4c1fa0 | Translated (100%) | 232 | 232 |
| 2438d7333df8-3e11-4a63-ba56-af4adf404205 | Translated (100%) | 0 | 0 |
| 2439f912fa07-85a5-41b3-921c-4f4c4840e720 | Translated (100%) | Warehouse, storage | 仓库，存储 |
| 24405b3d325a-cc86-4ad9-9dfd-ad87a651e2dc | Translated (100%) | 20,000 | 20,000 |
| 2441d10be3da-c4f1-4299-b579-0deb9b003914 | Translated (100%) | 0 | 0 |
| 24427f11633d-92da-420b-b960-3634626491ad | Translated (100%) | 1860 | 1860 |
| 2443e3e486dd-ba3b-4260-874b-5e9fa63278de | Translated (100%) | 0 | 0 |
| 244489a4f032-3a44-478d-b480-629f3b90464c | Translated (100%) | Hotel | 酒店 |
| 24450878aa8a-1b39-421e-bf6f-caac178eca6e | Translated (100%) | 1,500 | 1,500 |
| 2446ea572da2-5f53-4a57-b61e-e97f4073d907 | Translated (100%) | 700 | 700 |
| 2447104e6f41-c5b5-4393-999f-e9bacac300d8 | Translated (100%) | 139 | 139 |
| 24489ac8df69-e648-42ce-a68c-c5367441d986 | Translated (100%) | 65 | 65 |
| 2449ce15787c-ec6c-42a8-b64e-e8ba97689139 | Translated (100%) | Educational, daycare | 教育，日托 |
| 2450f8b45309-94df-4f81-b6b8-753f6ab26036 | Translated (100%) | 630 | 630 |
| 245101889aae-d3e5-488e-9288-b483fe9ebabd | Translated (100%) | 105 | 105 |
| 245224694d60-66b3-4ebd-a57b-a753382d7ddb | Translated (100%) | 59 | 59 |
| 245307757bdb-c5de-40b4-93e3-65fd70e97205 | Translated (100%) | 10 | 10 |
| 2454fa632973-870c-438a-bbb1-8e592423f175 | Translated (100%) | Educational, K–12 | 教育，K-12 |
| 24556b78fc2d-fdd1-4f06-821f-b1c183a80c57 | Translated (100%) | 1,300 | 1,300 |
| 2456a3408e17-984a-4e76-b119-34830012d772 | Translated (100%) | 140 | 140 |
| 245795bed86d-08e6-45fa-b5cb-41e5a6180c68 | Translated (100%) | 121 | 121 |
| 245846911246-fcb6-414b-9127-c8b0207f22f4 | Translated (100%) | 13 | 13 |
| 24595d0ae851-28b1-4b5b-8058-518ca63fc898 | Translated (100%) | Educational, postsecondary | 教育，高等教育 |
| 2460943992cf-bd79-45d7-9bf6-0b49e9950d3b | Translated (100%) | 2,100 | 2,100 |
| 2461bab9f2e3-1950-49f1-a97a-f47531cf16cb | Translated (100%) | 150 | 150 |
| 2462a32fec75-ee2e-4471-9817-18ee4449ca33 | Translated (100%) | 195 | 195 |
| 2463f679b8e9-7733-4c40-9716-4c9de402bf9c | Translated (100%) | 14 | 14 |
| 24642f00949e-2531-45c0-ae3f-c400c198daa5 | Translated (100%) | Sources: | 来源： |
| 246581d7fffe-cbda-4715-9bac-3685ee77d735 | Translated (100%) | ANSI/ASHRAE/IESNA Standard 90.1–2004 (Atlanta, GA, 2004). | ANSI/ASHRAE/IESNA 标准 90.1–2004（佐治亚州亚特兰大，2004）。 |
| 2466b09eb1fc-23ec-4f58-95e0-751c1f6cd320 | Translated (100%) | 2001 Uniform Plumbing Code (Los Angeles, CA) | 2001 统一给排水规范（加州洛杉矶）(2001 Uniform Plumbing Code (Los Angeles, CA)) |
| 246775f83e3c-39d8-4a46-beab-9d32f75a853c | Translated (100%) | California Public Utilities Commission, 2004–2005 Database for Energy Efficiency Resources (DEER) Update Study (2008). | 加州公共事业委员会，2004–2005 能效资源数据库 (DEER) 更新研究 (2008)(California Public Utilities Commission, 2004–2005 Database for Energy Efficiency Resources (DEER) Update Study (2008))。 |
| 2468c1259f58-cb5c-40da-9b58-9fbc59840c0f | Translated (100%) | California State University, Capital Planning, Design and Construction Section VI, Standards for Campus Development Programs ( Long Beach, CA, 2002). | 加州州立大学，资本规划、设计和建筑第 VI 部分，校园开发计划标准（加州长滩 2002）(California State University, Capital Planning, Design and Construction Section VI, Standards for Campus Development Programs ( Long Beach, CA, 2002))。 |
| 2469f97c1218-dd35-4f44-b452-0765ad026c33 | Translated (100%) | City of Boulder Planning Department, Projecting Future Employment—How Much Space per Person (Boulder, 2002). | 博尔德市规划部门，预测未来就业 - 人均空间（博尔德，2002）(City of Boulder Planning Department, Projecting Future Employment—How Much Space per Person (Boulder, 2002))。 |
| 24709022c5b9-a2f7-414c-a78c-42021079215e | Translated (100%) | Metro, 1999 Employment Density Study (Portland, OR 1999). | 麦德龙，1999 就业密度研究（俄勒冈州波特兰，1999）(Metro, 1999 Employment Density Study (Portland, OR 1999))。 |
| 2471f24e2808-9c0e-4114-9894-697ea73e4cab | Translated (100%) | American Hotel and Lodging Association, Lodging Industry Profile Washington, DC, 2008. | 美国酒店及住宿协会，住宿业简介，华盛顿特区，2008 (American Hotel and Lodging Association, Lodging Industry Profile Washington, DC, 2008)。 |
| 2472d7f7f26e-243e-455c-9a28-a9a6119ba5b1 | Translated (100%) | LEED for Core & Shell Core Committee, personal communication (2003 - 2006). | LEED 核心与外壳核心委员会，个人通信 (2003 - 2006)(LEED for Core & Shell Core Committee, personal communication (2003 - 2006))。 |
| 24730a6f150e-169b-414f-ae2f-f6f7c04e51e4 | Translated (100%) | LEED for Retail Core Committee, personal communication (2007) | LEED 零售核心委员会，个人通信 (2007) (LEED for Retail Core Committee, personal communication (2007))。 |
| 2474b882e5e8-e123-4ee1-8c2f-e0c5541a6d00 | Translated (100%) | OWP/P, Medical Office Building Project Averages (Chicago, 2008). | OWP/P，医疗办公大楼项目平均值（芝加哥，2008）(OWP/P, Medical Office Building Project Averages (Chicago, 2008))。 |
| 2475922dc48b-fceb-4537-850e-dd24543137af | Translated (100%) | OWP/P, University Master Plan Projects (Chicago, 2008). | OWP/P，大学总体规划项目（芝加哥，2008）(OWP/P, University Master Plan Projects (Chicago, 2008))。 |
| 24764d3b11d8-310b-4efe-a186-2bed4ea9ca1d | Translated (100%) | U.S. General Services Administration, Childcare Center Design Guide (Washington, DC,2003). | 美国总务管理局，儿童看护中心设计指南（华盛顿特区，2003）(U.S. General Services Administration, Childcare Center Design Guide (Washington, DC,2003))。 |
| 24771ddc8c0a-764d-4d5c-9814-adf34783330d | Translated (100%) | Appendix 3. | 附录 3 |
| 24781ddc8c0a-764d-4d5c-9814-adf34783330d | Translated (100%) | Retail Process Load Baselines | 零售过程负荷基线 |
| 247999a384c0-b92f-4bbc-9c6d-984966b9422c | Translated (100%) | Table 1a. | 表 1a. |
| 248099a384c0-b92f-4bbc-9c6d-984966b9422c | Translated (100%) | Commercial kitchen appliance prescriptive measures and baseline for energy cost budget (IP units) | 商用厨房电器的规范性指标和能源费用预算基线（IP 单位） |
| 2481e5d3da25-e202-41e0-8063-222d8e48438c | Translated (100%) | Baseline energy usage for energy modeling path | 能耗模拟途径的基线能耗 |
| 2482a9bcb8d3-4f84-43e6-a5b2-6a089084233c | Translated (100%) | Levels for prescriptive path | 规范性途径的等级 |
| 2483186cd7e1-0b1a-40d5-848c-1ba4f64107e5 | Translated (100%) | Appliance type | 电器类型 |
| 2484b4719d0a-68af-4f39-9f3e-688837246fc0 | Translated (100%) | Fuel | 燃料 |
| 24852bdcbdd4-a0ed-47c6-b0e2-48af5dcd3e4a | Translated (100%) | Function | 功能 |
| 248609970e09-1e90-43e7-8986-1df25aca0740 | Translated (100%) | Baseline efficiency | 基线效率 |
| 2487873dde56-9e52-43c6-ac39-e246be0b2e3c | Translated (100%) | Baseline idle rate | 基线闲时功率 |
| 2488429107f6-127a-420a-9df9-b6ea8e26520b | Translated (100%) | Prescriptive efficiency | 规范性效率 |
| 248921a508c3-b7d2-4205-a156-b6d7ff25f400 | Translated (100%) | Prescriptive idle rate | 规范性闲时功率 |
| 2490cb7b42dd-9173-4065-a93f-6529eb90929c | Translated (100%) | Broiler, underfired | 底燃式锅炉 |
| 2491323f58e7-704e-4492-85a2-3fdc078e0d13 | Translated (100%) | Gas | 天然气 |
| 249264ced36a-5b9d-4b09-9992-5464b9368722 | Translated (100%) | Cooking | 烹饪 |
| 24930d107bf4-5e39-4e5e-a7a7-00c445f1fd33 | Translated (100%) | 30% | 30% |
| 2494e8aae8d2-45ba-4f17-9cb8-d237ecd2e5fe | Translated (78%) | 16,000 Btu/h/ft<2459>2</2459> peak input | 16,000 Btu/h/ft<2459>2</2459> 峰值输入 |
| 2495a5f42511-b021-46f4-a325-44bdc374615f | Translated (100%) | 35% | 35% |
| 2496c76df4a6-0f88-4030-a309-ba8f0a1e2403 | Translated (100%) | 12,000 Btu/h/ft<2466>2</2466> peak input | 12,000 Btu/h/ft<2466>2</2466> 峰值输入 |
| 249793177f79-d073-4ddc-aaa9-4345dbfd5ead | Translated (100%) | Combination ovens, steam mode (P = pan capacity) | 组合烤箱，蒸汽模式（P = 盘容量） |
| 2498b847812f-b1e6-496c-b835-435df1d108d4 | Translated (100%) | Elec | 电力 |
| 24992cb1393e-e353-4403-8684-08d26eafb374 | Translated (100%) | Cooking | 烹饪 |
| 250009a2b0f1-1030-4a80-8d86-b24fd153e9d1 | Translated (100%) | 40% steam mode | 40% 蒸汽模式 |
| 2501b3ce7804-20a1-4144-bfa9-84f8272fdec8 | Translated (100%) | 0.37P+4.5 kW | 0.37P+4.5 kW |
| 2502fb981e35-cf98-4dc6-b73d-fd4acff8be4d | Translated (99%) | 50% steam mode | 50% 蒸汽模式 |
| 25035207af79-89cf-4dcd-a1f1-ef60e39cb512 | Translated (100%) | 0.133P+0.6400 kW | 0.133P+0.6400 kW |
| 25044283c57d-30f7-40e1-b26b-ebe6738e73a6 | Translated (100%) | Combination ovens, steam mode | 组合烤箱，蒸汽模式 |
| 250566dd8bb6-0b26-42f7-a1a3-f7395a63cfbe | Translated (100%) | Gas | 天然气 |
| 250607885a18-eb20-4bce-91c6-2c76327c32ea | Translated (100%) | Cooking | 烹饪 |
| 250705ffe660-323f-43e7-ab2c-237116ec248e | Translated (100%) | 20% steam mode | 20% 蒸汽模式 |
| 2508f73ba473-5440-4fc7-b233-84aa80a41529 | Translated (100%) | 1,210P+35,810 Btu/h | 1,210P+35,810 Btu/h |
| 2509c8b82785-d634-4c6f-9122-304a0ba08438 | Translated (100%) | 38% steam mode | 38% 蒸汽模式 |
| 25100dbec5f7-90c2-4ae2-b643-999487c4207a | Translated (100%) | 200P+6,511 Btu/h | 200P+6,511 Btu/h |
| 25110c800426-64cd-4c63-9609-ca26034c9eaa | Translated (100%) | Combination ovens, convection mode | 组合烤箱，对流模式 |
| 2512ef18a7f5-ce26-41ac-ba85-e37c4807b02a | Translated (100%) | Elec | 电力 |
| 2513e0fc4fa5-8060-4107-abf2-903875cd0cd4 | Translated (100%) | Cooking | 烹饪 |
| 251410faa169-db6e-4a77-8b17-10960fe3eaee | Translated (100%) | 65% convection mode | 65% 对流模式 |
| 251558513f53-b1f6-4349-8299-3be6d9598371 | Translated (100%) | 0.1P+1.5 kW | 0.1P+1.5 kW |
| 2516c123cb00-ecb3-4f35-96cf-107125037e29 | Translated (99%) | 70% convection mode | 70% 对流模式 |
| 251705017786-3440-4003-b02e-933624d0d83a | Translated (100%) | 0.080P+0.4989 kW | 0.080P+0.4989 kW |
| 25181cd11aed-f3cf-4e8a-bc2d-ecfeb9f0c69c | Translated (100%) | Combination ovens, convection mode | 组合烤箱，对流模式 |
| 2519eee9cc19-762b-4fcc-bb77-cd7b75d3f19c | Translated (100%) | Gas | 天然气 |
| 2520917e012e-0474-4a5b-9699-5229433a16bf | Translated (100%) | Cooking | 烹饪 |
| 2521dcb960fa-9b99-4c62-aec5-bb49368813dc | Translated (100%) | 35% convection mode | 35% 对流模式 |
| 252261605c40-1b48-4a8e-b6e2-9ec933e4827f | Translated (100%) | 322P+13,563 Btu/h | 322P+13,563 Btu/h |
| 2523f210009e-8ac2-466c-872c-f270b67e1576 | Translated (100%) | 44% convection mode | 44% 对流模式 |
| 25244d6e5a12-6eed-4708-b95a-5a7882966f3c | Translated (100%) | 150P+5,425 Btu/h | 150P+5,425 Btu/h |
| 25255149924f-bce7-477d-a2bb-618932c6aa9f | Translated (100%) | Convection oven, full-size | 对流烤箱，全尺寸 |
| 252648659c10-245a-4d8a-a474-bb10f8c929af | Translated (100%) | Elec | 电力 |
| 252751822e99-542a-4d3c-9563-198d82d499f3 | Translated (100%) | Cooking | 烹饪 |
| 2528ecf2dfeb-9616-4d31-9bd5-bc7a91896a96 | Translated (100%) | 65% | 65% |
| 252917989847-84cb-4c95-94fc-1aba62923e59 | Translated (100%) | 2.0 kW | 2.0 kW |
| 2530e02b79ff-bb5d-47c5-a054-9a5c542af301 | Translated (100%) | 71% | 71% |
| 2531f10e882b-c114-4e9e-90b6-494bc38c54c4 | Translated (99%) | 1.6 kW | 1.6 kW |
| 2532e83101a7-42b3-465f-9884-da6712792ec2 | Translated (100%) | Convection oven, full-size | 对流烤箱，全尺寸 |
| 253352261b8b-0c6b-4c99-867c-c90bd6a141d6 | Translated (100%) | Gas | 天然气 |
| 25344bdc3f74-d74c-43c7-bb4a-cd08be0c1068 | Translated (100%) | Cooking | 烹饪 |
| 2535b979d35e-7d71-4fb7-bdd8-41f0e5fb4d3a | Translated (100%) | 30% | 30% |
| 25362280f61c-2ad5-4341-a8b0-499c9b0c1698 | Translated (100%) | 18,000 Btu/h | 18,000 Btu/h |
| 25373def9980-14a3-4214-918c-6edc221d38e4 | Translated (100%) | 46% | 46% |
| 253819ec865f-1a47-4190-a614-6c80f4d8e43b | Translated (100%) | 12,000 Btu/h | 12,000 Btu/h |
| 25392d41023a-b830-465e-a7a5-5bdd2c5aa9d0 | Translated (100%) | Convection oven, half-size | 对流烤箱，半尺寸 |
| 2540f7207e03-b1d9-4044-938d-de6aa1f5b4d3 | Translated (100%) | Elec | 电力 |
| 25416885dce0-5485-4195-b12c-3e32460d4ce4 | Translated (100%) | Cooking | 烹饪 |
| 2542bcf094c2-b8f1-4aae-9fb9-e88424f79aa2 | Translated (100%) | 65% | 65% |
| 2543eb2fff38-5c4a-4324-8708-9d16136fc10d | Translated (100%) | 1.5 kW | 1.5 kW |
| 2544cd66d58a-0313-4e5b-be54-39db7f96183d | Translated (100%) | 71% | 71% |
| 2545e5d5662f-556a-4f1e-bc60-bffb92d620e1 | Translated (100%) | 1.0 kW | 1.0 kW |
| 2546205ed788-000c-4b06-87f0-f0831dfb3e5c | Translated (100%) | Conveyor oven, > 25-inch belt | 链条式平炉，> 25 英寸传送带 |
| 25471dee178f-ffbd-46dd-bce4-8a02a428e4e1 | Translated (100%) | Gas | 天然气 |
| 2548cf65a84b-1b16-41ae-9a04-d1871e58c26f | Translated (100%) | Cooking | 烹饪 |
| 2549c634a56f-3f93-43a2-bf4b-cf639cfe0306 | Translated (100%) | 20% | 20% |
| 2550b90f36e0-80cf-40a8-9057-2e4b5b17a938 | Translated (100%) | 70,000 Btu/h | 70,000 Btu/h |
| 255138631ca6-5dae-4aed-9e8e-08a7be12c2e6 | Translated (100%) | 42% | 42% |
| 2552eb7528ed-1318-4a3f-a369-7649e79c2b3a | Translated (100%) | 57,000 Btu/h | 57,000 Btu/h |
| 2553d27b0c0e-1d2c-4098-bd88-9610ffb594e4 | Translated (100%) | Conveyor oven, ≤ 25-inch belt | 链条式平炉，≤ 25 英寸传送带 |
| 255483cd59f4-247b-4a69-be86-c475de7837cc | Translated (CM) | Gas | 天然气 |
| 25555e3aca27-3ac3-4dc8-9db1-820981680b99 | Translated (100%) | Cooking | 烹饪 |
| 2556c64a2d5a-42bd-4b51-ae52-603c8bef52f8 | Translated (100%) | 20% | 20% |
| 255702630a4c-ef02-4ac8-8e23-3754f9f0f735 | Translated (100%) | 45,000 Btu/h | 45,000 Btu/h |
| 2558949462a2-72aa-4d50-ae50-b1715d96fbbe | Translated (100%) | 42% | 42% |
| 25595a5ee742-eaa6-4b1d-a158-c9c8382e2ae7 | Translated (100%) | 29,000 Btu/h | 29,000 Btu/h |
| 2560b760d6b3-a682-4223-bf3f-91fa61ab0792 | Translated (100%) | Fryer | 炸锅 |
| 256149805fb7-718f-4d3a-a353-6065750ac619 | Translated (100%) | Elec | 电力 |
| 25627f9db915-abe5-4c4b-af29-549246fc4002 | Translated (100%) | Cooking | 烹饪 |
| 25635347f5fe-69b6-4151-bbee-0b2b14308dd1 | Translated (100%) | 75% | 75% |
| 256419f7f533-0dde-42eb-a58e-11a8a807274f | Translated (100%) | 1.05 kW | 1.05 kW |
| 25656df41cf9-9d62-484e-9c6a-3fd6214e09eb | Translated (100%) | 80% | 80% |
| 2566ef4dd288-23bf-4f3a-9eaf-8a6555415ea5 | Translated (100%) | 1.0 kW | 1.0 kW |
| 2567c38cb771-068a-433f-9fea-f07fb92fd0a3 | Translated (100%) | Fryer | 炸锅 |
| 2568721944ae-bb4b-4cbd-aa61-e331715d4c2b | Translated (100%) | Gas | 天然气 |
| 25698a669aa5-e010-4852-8d46-3b128a0bebd4 | Translated (100%) | Cooking | 烹饪 |
| 2570ed8e2ca9-6a75-4744-bbd3-cca08ae46afa | Translated (100%) | 35% | 35% |
| 2571a2994f52-3b29-4426-8f8a-2eecbc9f8105 | Translated (100%) | 14,000 Btu/h | 14,000 Btu/h |
| 25723342394d-de21-405e-9b07-7d761a1c8be7 | Translated (100%) | 50% | 50% |
| 25738e67e9e6-2d00-4ef6-a484-f62aca64345e | Translated (100%) | 9,000 Btu/h | 9,000 Btu/h |
| 2574fbb29929-f22b-49ea-8416-cc4f7811f9cb | Translated (100%) | Griddle (based on 3 ft model) | 煎锅（基于 3 ft 模型） |
| 2575fae71042-e83b-4826-a379-3ba59556decb | Translated (100%) | Elec | 电力 |
| 2576b90ac3a0-4124-4e35-b2f5-dfa19dd7e360 | Translated (100%) | Cooking | 烹饪 |
| 2577ee9b1b5a-bd61-4ab4-ac88-247e03518313 | Translated (100%) | 60% | 60% |
| 2578116a0c98-93a6-46ae-871d-c51972341b01 | Translated (0%) | 400 W/ft<2713>2</2713> | 400 W/ft<2713>2</2713> |
| 2579ab94e805-d2ed-4a4d-80bb-a1268a87900d | Translated (100%) | 70% | 70% |
| 258020fe0a1c-a10d-4c51-92b6-4af11050bf9e | Translated (100%) | 320 W/ft<2720>2</2720> | 320 W/ft<2720>2</2720> |
| 2581a488e7f4-27ee-44ab-a0b9-f9b0772421f9 | Translated (100%) | Griddle (based on 3 ft model) | 煎锅（基于 3 ft 模型） |
| 258277138ac8-087c-46a9-b4b5-6eaccfdf368c | Translated (100%) | Gas | 天然气 |
| 258355767992-e052-4321-a72b-bfec6a2806ce | Translated (100%) | Cooking | 烹饪 |
| 2584ec709f72-97ab-4ba5-9721-083538181e52 | Translated (100%) | 30% | 30% |
| 25853e739ce0-4181-4db5-8239-c5ce22c51d3e | Translated (0%) | 3,500 Btu/h/ft<2736>2</2736> | 3,500 Btu/h/ft<2736>2</2736> |
| 258656a72c4f-974d-467f-9cb8-480f1a02482e | Translated (100%) | 38% | 38% |
| 25873cb02011-9f63-49cc-b774-bcb6b4e323f6 | Translated (100%) | 2,650 Btu/h/ft<2743>2</2743> | 2,650 Btu/h/ft<2743>2</2743> |
| 25884049f6de-ec7e-416b-b532-df631fc49b7f | Translated (CM) | Hot food holding cabinets (excluding drawer warmers and heated display), 0 < V < 13 ft³ (V = volume) | 热食物储藏柜（不包括抽屉式加热器和加热显示器），0 < V < 13 ft³ (V = 体积) |
| 25893e3c0e76-85d6-40ba-be7a-5234c4d7edb5 | Translated (100%) | Elec | 电力 |
| 259093082e17-e395-4f32-8733-1a21d584474d | Translated (100%) | Cooking | 烹饪 |
| 2591c9503e0d-922b-4b19-b208-d54759bf33cb | Translated (100%) | na | na |
| 25926a8591c9-fe04-4f29-a326-92f09d42307f | Translated (100%) | 40 W/ft<2759>3</2759> | 40 W/ft<2759>3</2759> |
| 2593142fdc57-fff3-4eab-965e-10704efc07a1 | Translated (100%) | na | na |
| 2594cd82396f-3f6d-44dc-89e3-df02b46fb62b | Translated (98%) | 21.5V Watts | 21.5V 瓦特 |
| 2595e0cb8e58-e1b8-4ddd-9409-68d437385205 | Translated (96%) | Hot food holding cabinets (excluding drawer warmers and heated display), 13 ≤ V < 28 ft³ | 热食物储藏柜（不包括抽屉式加热器和加热显示器），13 ≤ V < 28 ft³ |
| 2596778552a2-78cb-4b6e-9751-b7b36370d3fd | Translated (100%) | Elec | 电力 |
| 2597f9c81abf-7682-4e41-8de7-37aa03d3891e | Translated (100%) | Cooking | 烹饪 |
| 25982ea4f3dd-2006-4dd6-a914-3e33e474b620 | Translated (100%) | na | na |
| 25997fb0a04b-09c3-4b06-836b-56d3785b9c46 | Translated (100%) | 40 W/ft<2781>3</2781> | 40 W/ft<2781>3</2781> |
| 2600ceb0a091-dbc9-42c4-b77d-1e01ea5162cb | Translated (100%) | na | na |
| 260130b39a8f-6544-47a4-9a27-0857c701ba31 | Translated (100%) | 2.0V + 254 Watts | 2.0V + 254 瓦特 |
| 26026e2dab63-14fa-4eea-bacc-c9cd6bff750d | Translated (95%) | Hot food holding cabinets (excluding drawer warmers and heated display), 28 ft³ ≤ V | 热食物储藏柜（不包括抽屉式加热器和加热显示器），28 ft³ ≤ V |
| 26035b74cd4f-7992-4280-88ea-0969c7a5ed33 | Translated (100%) | Elec | 电力 |
| 2604de6ec3f9-52fd-4eca-9a37-b197c7306c75 | Translated (100%) | Cooking | 烹饪 |
| 2605109450cf-591f-4cfd-b17e-ed444f6f66ae | Translated (100%) | na | na |
| 2606b80d47a1-af64-4658-a850-2b22d4532306 | Translated (100%) | 40 W/ft<2803>3</2803> | 40 W/ft<2803>3</2803> |
| 260768b27ffe-2150-430d-b34b-ab7f80a4a4eb | Translated (100%) | na | na |
| 26085aa5a03c-a422-45a5-9e1e-86d0fbff3e81 | Translated (100%) | 3.8V + 203.5 Watts | 3.8V + 203.5 瓦特 |
| 2609c848b6b8-e5d3-4688-814b-0e706d065856 | Translated (100%) | Large vat fryer | 大桶炸锅 |
| 2610c527e020-18b8-4136-b71e-f810c86894dd | Translated (100%) | Elec | 电力 |
| 2611fba15af2-6a28-4e1a-af15-b7d9fd1587df | Translated (100%) | Cooking | 烹饪 |
| 2612f958b8c7-b3a0-4154-8891-3adc2eb5df9d | Translated (100%) | 75% | 75% |
| 26132db25152-de59-41e5-87e2-fe7eb06156e0 | Translated (100%) | 1.35 kW | 1.35 kW |
| 26149af96fd5-828f-43c0-bb36-35dbd8fcd44c | Translated (100%) | 80% | 80% |
| 261503bbc99e-ae26-4169-88f8-fadc3e223615 | Translated (100%) | 1.1 kW | 1.1 kW |
| 2616457f4859-9ad4-4abe-9b7c-38e0a259501e | Translated (100%) | Large vat fryer | 大桶炸锅 |
| 2617e1af9a7d-9448-40ae-bb1d-6f5f01f36b12 | Translated (100%) | Gas | 天然气 |
| 2618cc6e51e4-d24b-44ce-bf0b-48975f9892cd | Translated (100%) | Cooking | 烹饪 |
| 26190ab0a2f0-701c-4ae2-8896-e227768ba984 | Translated (100%) | 35% | 35% |
| 26208d9dab88-bf33-446f-a86a-4657595957b8 | Translated (100%) | 20,000 Btu/h | 20,000 Btu/h |
| 2621f372e9ee-4fb7-4f37-9652-245a9b90c916 | Translated (100%) | 50% | 50% |
| 2622b14e8bb0-8c81-47b3-90ad-250c0ad45219 | Translated (100%) | 12,000 Btu/h | 12,000 Btu/h |
| 2623019d7390-16bb-4cb9-93eb-bf9ba22d4de4 | Translated (100%) | Rack oven, double | 搁架式烤炉，双 |
| 2624ab74fa04-bbe8-4c61-b133-d40f6fadac47 | Translated (100%) | Gas | 天然气 |
| 26259142d2ee-bf26-44ea-9172-e97ae5b931ef | Translated (100%) | Cooking | 烹饪 |
| 262641afbde2-6ab4-4a71-850f-ea1ea0e22045 | Translated (100%) | 30% | 30% |
| 262766be937b-b45d-443d-93ee-e66bd1cd3acb | Translated (100%) | 65,000 Btu/h | 65,000 Btu/h |
| 26281c44f18a-0f3a-47f9-a63c-f4dc78a01c94 | Translated (100%) | 50% | 50% |
| 2629a4fca2f7-df6a-4d79-b3fe-efaad567dea4 | Translated (100%) | 35,000 Btu/h | 35,000 Btu/h |
| 2630bc5d910d-28fd-4c9e-ac88-d3d8f98bcbdd | Translated (100%) | Rack oven, single | 搁架式烤炉，单 |
| 263132ec701c-345b-4893-9600-851e30515897 | Translated (100%) | Gas | 天然气 |
| 2632600c7d0a-2b3d-4dec-a9f9-7a325f549318 | Translated (100%) | Cooking | 烹饪 |
| 26332eff4b2a-4c59-47c0-8165-642b0448ee21 | Translated (100%) | 30% | 30% |
| 2634830aa1bb-7149-4d9e-8ba3-17734f6afa6e | Translated (100%) | 43,000 Btu/h | 43,000 Btu/h |
| 2635be8d7542-5414-4d92-9d59-854c7c4f57b6 | Translated (100%) | 50% | 50% |
| 263653d26e65-e17a-426c-a12d-c92777f28745 | Translated (100%) | 29,000 Btu/h | 29,000 Btu/h |
| 263772d2c55b-460b-459a-872d-e6a641d052cb | Translated (100%) | Range | 炉灶 |
| 263801f107b2-1e9a-43f5-99ef-4a88e414785d | Translated (100%) | Elec | 电力 |
| 263943f57c94-c39e-47f8-a37f-3ac7e9f56bc4 | Translated (100%) | Cooking | 烹饪 |
| 2640cfa73b06-3ad5-4e03-8e99-bac451fd02ea | Translated (100%) | 70% | 70% |
| 26415ef362a8-1591-49b1-9e21-01e4329713f6 | Translated (100%) | 80% | 80% |
| 2642e6911ed4-19a4-4b9f-93c2-87771db063f0 | Translated (100%) | Range | 炉灶 |
| 26433af9dd92-09f0-49f6-8292-e2e7dae6a1de | Translated (100%) | Gas | 天然气 |
| 264449a22cbb-ebf0-42eb-adbc-e71b53455f6c | Translated (100%) | Cooking | 烹饪 |
| 26450c2710c4-0520-4ebe-8ff8-2de519feefff | Translated (100%) | 35% | 35% |
| 2646056df6d3-9729-4dba-8d76-6ee58fb843e9 | Translated (100%) | na | na |
| 26478c746367-688c-4710-8bc8-eb2595418938 | Translated (100%) | 40% and no standing pilots | 40% 且无竖直引燃器 |
| 2648f4069ec6-14bf-4354-b2bf-5bb2ea07d185 | Translated (100%) | na | na |
| 2649fe71116a-646f-45f9-b58c-07df4280893c | Translated (100%) | Steam cooker, batch cooking | 蒸汽锅，批量烹饪 |
| 26508a8e57a0-6b53-4c8d-8666-80cc22dd307d | Translated (100%) | Elec | 电力 |
| 2651f6a83e05-44bb-4778-a546-ee9bca2ba118 | Translated (100%) | Cooking | 烹饪 |
| 2652bb7e817d-f4f8-4e92-9d7e-85d3282a4127 | Translated (100%) | 26% | 26% |
| 2653d0cd42b6-35d2-473e-b457-ef90a3a0db96 | Translated (100%) | 200 W/pan | 200 W/盘 |
| 2654f1decd87-befc-49d1-ab84-1ab6bbff09f1 | Translated (100%) | 50% | 50% |
| 26557b6fb39c-0182-40a1-8cff-17346563c154 | Translated (99%) | 135 W/pan | 135 W/盘 |
| 26568b7f5627-ab1e-4542-9102-204090d6c1eb | Translated (100%) | Steam cooker, batch cooking | 蒸汽锅，批量烹饪 |
| 265732ad2ace-cbe3-4e0d-81fb-40344b8710e4 | Translated (100%) | Gas | 天然气 |
| 265874c74fb9-810f-46b0-b3cb-43c410d49bfb | Translated (100%) | Cooking | 烹饪 |
| 2659cfe9c27c-fb6d-42fc-8cf4-2ef7df150a52 | Translated (100%) | 15% | 15% |
| 2660eb028b87-732d-4f21-9fb3-84b9ca1e42ec | Translated (100%) | 2,500 Btu/h/pan | 2,500 Btu/h/盘 |
| 26614c00ac33-485f-475d-b828-6f2df0cde2e8 | Translated (100%) | 38% | 38% |
| 2662335ec863-f3af-45f1-b609-e1f593e8da71 | Translated (100%) | 2,100 Btu/h/pan | 2,100 Btu/h/盘 |
| 266395ed719f-4fda-49aa-85e9-a4dc9567ee6f | Translated (100%) | Steam cooker, high production or cook to order | 蒸汽锅，高产量或按订单烹饪 |
| 2664faa84d55-da26-4183-8e4c-c4b992939f74 | Translated (100%) | Elec | 电力 |
| 2665d7219604-cc9e-41bc-bd13-dd4d45dbaad2 | Translated (100%) | Cooking | 烹饪 |
| 2666586d9484-57ec-44ad-b73a-8cd0dea9dcce | Translated (100%) | 26% | 26% |
| 266736b2a238-a36b-4d88-b5c2-2b789cc3fba5 | Translated (100%) | 330 W/pan | 330 W/盘 |
| 2668b7725eb1-d986-48e2-aeee-70fb2dbbf872 | Translated (100%) | 50% | 50% |
| 26690cd43eeb-ec00-4639-94f1-9a0f0321abd8 | Translated (100%) | 275 W/pan | 275 W/盘 |
| 26707b0c8a3e-940f-4ed8-ad51-a1987bbde974 | Translated (100%) | Steam cooker, high production or cook to order | 蒸汽锅，高产量或按订单烹饪 |
| 26717b7ec9bc-bb67-4d52-8e61-ad5a2bfd20f7 | Translated (100%) | Gas | 天然气 |
| 267213f6af9f-6eac-4cb5-963f-64d9712cf931 | Translated (100%) | Cooking | 烹饪 |
| 26732e68f6c5-e28a-4d04-9f58-4db9234ae17d | Translated (100%) | 15% | 15% |
| 2674cf871f06-b1d6-4c65-b927-eca6c0f2edbe | Translated (100%) | 5,000 Btu/h/pan | 5,000 Btu/h/盘 |
| 2675316277ab-8d45-41d2-919f-def8b09912a1 | Translated (100%) | 38% | 38% |
| 2676ff626557-c07a-451e-8b21-0fabdc9d50a1 | Translated (100%) | 4,300 Btu/h/pan | 4,300 Btu/h/盘 |
| 2677e0c72ab0-f173-4ef8-a03f-59b5496f7c7f | Translated (100%) | Toaster | 烤面包机 |
| 26783c445759-6795-4fc1-9889-dbf1dcd6aee2 | Translated (100%) | Elec | 电力 |
| 267930ca0731-0673-4543-9c0c-ee95453aeda8 | Translated (100%) | Cooking | 烹饪 |
| 2680c220a181-cfd5-4e51-a3fc-3c1bbb7b9873 | Translated (0%) | — | — |
| 268113ca2ea8-0591-49cc-bb02-de8be6c0bd79 | Translated (100%) | 1.8 kW average operating energy rate | 1.8 kW 平均运行功率 |
| 268253d4c78a-75aa-48f2-88d9-502cbaf1e498 | Translated (100%) | na | na |
| 26835209b188-cea8-495e-b62c-95ccd74fa89a | Translated (99%) | 1.2 kW average operating energy rate | 1.2 kW 平均运行功率 |
| 26842c7b1bb4-e455-4a20-bbd7-b62d7abd0df8 | Translated (99%) | Ice machine, IMH (ice-making head, H = ice harvest), H <3044>></3044> 450 lb/day | 制冰机，IMH（制冰头，H = 产冰量），H <3044>></3044> 450 lb/天 |
| 268565fdb6c0-7912-439d-b291-fa40d24cd5e1 | Translated (100%) | Elec | 电力 |
| 2686d140f3d6-b116-4c55-bf22-2bf144a1c48a | Translated (100%) | Ice | 制冰 |
| 26875eda7d77-ed39-4d36-9b2c-c93dc168c1ef | Translated (100%) | 6.89 - 0.0011H kWh/100 lb ice | 6.89 - 0.0011H kWh/100 lb 冰 |
| 26884b41e77d-a09d-43d1-832c-69bb45ef14c2 | Translated (100%) | na | na |
| 26899117c466-dd65-43e7-9ad6-e35477e68f10 | Translated (97%) | 37.72*H<3060>-0.298 </3060>kWh/100 lb ice | 37.72*H<3060>-0.298</3060> kWh/100 lb 冰 |
| 269089e37960-80f3-44f0-a285-50d4908c9ffe | Translated (100%) | na | na |
| 26919b025e16-0536-4793-8f29-c8407101241c | Translated (99%) | Ice machine, IMH (ice-making head), H <3067>< </3067>450 lb/day | 制冰机，IMH（制冰头），H <3067><</3067> 450 lb/天 |
| 269280c628b9-7963-43e1-8851-e9dab27a6aff | Translated (100%) | Elec | 电力 |
| 269366e7bc15-e5e4-4c58-a85e-de5a4b87b7e6 | Translated (100%) | Ice | 制冰 |
| 26949f1d1790-e821-4ef4-be2b-f5f66062e31e | Translated (100%) | 10.26 – 0.0086H kWh/100 lb ice | 10.26 – 0.0086H kWh/100 lb 冰 |
| 269567809550-d145-4ba5-9061-645ad1251bb8 | Translated (100%) | na | na |
| 26967ad1e194-323a-416e-ab31-4d13849225ea | Translated (CM) | 37.72*H<3083>-0.298 </3083>kWh/100 lb ice | 37.72*H<3083>-0.298</3083> kWh/100 lb 冰 |
| 2697ae353a27-4560-4207-9843-417d941b6bca | Translated (CM) | na | na |
| 2698192b90e7-6921-4c6d-8948-0554ee4498bd | Translated (100%) | Ice machine, RCU (remote condensing unit, w/o remote compressor, H < 1,000 lb/day | 制冰机，RCU（远程冷凝装置，带/不带远程压缩机，H < 1,000 lb/天 |
| 26998024ec58-afc3-4666-9ea7-8d7e6d8cf5a0 | Translated (100%) | Elec | 电力 |
| 270028a4098a-63a8-40fb-8f08-408fd0fc352c | Translated (100%) | Ice | 制冰 |
| 2701bc19b68b-4aa0-46b3-bfff-c502cad64c29 | Translated (100%) | 8.85 - 0.0038H kWh/100lb ice | 8.85 - 0.0038H kWh/100 lb 冰 |
| 27022dc517bb-bcdc-4087-840a-b26ff84a0ccd | Translated (100%) | na | na |
| 2703178bef62-2d55-4edc-b5d4-e43fe3626198 | Translated (89%) | 22.95*H<3105>-0.258 </3105>+ 1.00 kWh/100 lb ice | 22.95*H<3105>-0.258 </3105>+ 1.00 kWh/100 lb 冰 |
| 270462e7c3e3-d0de-4e39-be5f-8b000e8c5231 | Translated (100%) | na | na |
| 2705d420e36a-9182-4530-8c84-e48aa08e0ac7 | Translated (99%) | Ice machine, RCU (remote condensing unit), 1600 > H <3112>></3112> 1000 lb/day | 制冰机，RCU（远程冷凝装置），1600 > H <3112>></3112> 1000 lb/天 |
| 2706e0147095-d3f6-48d6-9701-286e69964a31 | Translated (100%) | Elec | 电力 |
| 270750776f7b-ffa9-4ced-a98e-bc1b458cf397 | Translated (100%) | ice | 制冰 |
| 270801df707f-a88f-40dd-8db5-76035ac9399f | Translated (100%) | 5.10 kWh/100 lb ice | 5.10 kWh/100 lb 冰 |
| 2709b82eff47-d067-4843-9a7f-225d7d651a12 | Translated (100%) | na | na |
| 27105fe42ecb-585e-44c9-957c-cd954f13188d | Translated (97%) | 22.95*H<3128>-0.258</3128> + 1.00 kWh/100 lb ice | 22.95*H<3128>-0.258</3128> + 1.00 kWh/100 lb 冰 |
| 27114e52c313-30e0-46f0-9fa1-247ca42d5610 | Translated (CM) | na | na |
| 2712cd12ad32-0112-45c7-914c-9d985626caf6 | Translated (99%) | Ice machine, RCU (remote condensing unit), H ≥ 1600 lb/day | 制冰机，RCU（远程冷凝装置），H ≥ 1600 lb/天 |
| 27133be7c5ba-9f20-484c-87d2-67624050646b | Translated (100%) | Elec | 电力 |
| 2714facb4be1-62a1-414d-9d72-b0172cc99298 | Translated (100%) | Ice | 制冰 |
| 2715b7d3e417-6fe9-49dd-b2fb-12df97008a01 | Translated (CM) | 5.10 kWh/100lb ice | 5.10 kWh/100 lb 冰 |
| 2716ead69a86-72a0-45ae-bf6d-5d5541d598dc | Translated (100%) | na | na |
| 271714837b84-e680-460e-b8ad-5531ab96cc19 | Translated (99%) | -0.00011*H + 4.60 kWh/100 lb ice | -0.00011*H + 4.60 kWh/100 lb 冰 |
| 27182b20335e-1126-4c2c-9cfa-4ada10cb05c1 | Translated (CM) | na | na |
| 2719d4b88db5-d992-4a12-935b-51e8f72db55a | Translated (100%) | Ice machine, SCU (self-contained unit), H < 175 lb/day | 制冰机，SCU（独立装置），H < 175 lb/天 |
| 27202a0ccc94-23c8-4276-80d4-9cdedaf1d7f5 | Translated (100%) | Elec | 电力 |
| 272187dd7fc7-ef39-4e0e-9d23-c96c2596e7fa | Translated (100%) | Ice | 制冰 |
| 27227e779b1a-7080-44ce-857f-b890b9a3b717 | Translated (100%) | 18.0 - 0.0469H kWh/100lb ice | 18.0 - 0.0469H kWh/100 lb 冰 |
| 27236c84b329-5fca-4dd0-962a-5d99cf3d5468 | Translated (100%) | na | na |
| 2724e6cc9174-ac4f-4960-8a5c-645068403597 | Translated (CM) | 48.66*H<3171>-0.326</3171> + 0.08 kWh/100 lb ice | 48.66*H<3171>-0.326</3171> + 0.08 kWh/100 lb 冰 |
| 272531d1ba0e-7ad0-412a-b434-4a2ab301c155 | Translated (CM) | na | na |
| 27268f586f14-0177-4d90-9c8e-09f0582f8cf0 | Translated (99%) | Ice machine self-contained unit, H <3178>></3178> 175 lb/day | 制冰机独立装置，H <3178>></3178> 175 lb/天 |
| 2727715698de-9068-4310-951e-8b37140d3a91 | Translated (100%) | Elec | 电力 |
| 2728aef0fe11-44f5-4be5-8811-d6e63968be1b | Translated (100%) | Ice | 制冰 |
| 27295de1f54a-e4d7-40f5-ad34-c3971c2d9119 | Translated (100%) | 9.80 kWh/100 lb ice | 9.80 kWh/100 lb 冰 |
| 27305745c49b-69ef-4b08-ab2f-a79ae116e37f | Translated (100%) | na | na |
| 27319d7c59d2-18c8-4b5d-9fd3-4fbd9d5afbde | Translated (CM) | 48.66*H<3194>-0.326</3194> + 0.08 kWh/100 lb ice | 48.66*H<3194>-0.326</3194> + 0.08 kWh/100 lb 冰 |
| 2732eea94a40-5db0-47bf-b82d-58b8e0977176 | Translated (CM) | na | na |
| 2733720bde73-a791-4c57-bff4-a997b41bf5f3 | Translated (99%) | Ice machine, water-cooled ice-making head, H <3201>></3201> 1436 lb/day (must be on chilled loop) | 制冰机，水冷制冰头，H <3201>></3201> 1436 lb/天（必须在冷却回路上） |
| 27342087d8fa-43d9-41e8-8deb-441d43bc39bb | Translated (100%) | Elec | 电力 |
| 27350627f877-19ec-411e-9482-d9760f103692 | Translated (100%) | Ice | 制冰 |
| 2736a338bc66-770a-4224-8b84-58cd729b0e24 | Translated (100%) | 4.0 kWh/100 lb ice | 4.0 kWh/100 lb 冰 |
| 273731784878-0d60-4053-9647-a16b731e9a66 | Translated (100%) | na | na |
| 27381d564f49-70ff-43da-b372-051096633648 | Translated (100%) | 3.68 kWh/100 lb ice | 3.68 kWh/100 lb 冰 |
| 273917497d0f-0121-45ac-b03b-db081fe414d2 | Translated (100%) | na | na |
| 27408645891c-1c09-44c5-8315-ce6de0864702 | Translated (100%) | Ice machine, water-cooled ice-making head, 500 lb/day < H < 1436 (must be on chilled loop) | 制冰机，水冷制冰头，500 lb/天 < H < 1436（必须在冷却回路上） |
| 2741c428282a-3b92-4b27-b63e-7fee3f4963a1 | Translated (100%) | Elec | 电力 |
| 27427c18af85-9fa1-42c9-9b62-b485b268e78a | Translated (100%) | Ice | 制冰 |
| 274357e195de-15a1-41a1-9d77-fc9f9d8d7138 | Translated (100%) | 5.58 – 0.0011H kWh/100 lb ice | 5.58 – 0.0011H kWh/100 lb 冰 |
| 274438598405-3e15-42cf-88e2-8321362d664b | Translated (100%) | na | na |
| 2745c670aaeb-a31a-459e-8cf7-656725bcbb84 | Translated (100%) | 5.13 - 0.001H kWh/100 lb ice | 5.13 - 0.001H kWh/100 lb 冰 |
| 2746edf9fd81-9a11-42ed-96d2-30f9b2721baf | Translated (100%) | na | na |
| 274731523340-e510-443a-8717-2b9f88a63752 | Translated (100%) | Ice machine, water-cooled ice-making head, H < 500 lb/day (must be on chilled loop) | 制冰机，水冷制冰头，H < 500 lb/天（必须在冷却回路上） |
| 274818e048f7-6c0f-4379-b60d-c1cc687fdadd | Translated (CM) | Elec | 电力 |
| 2749f9014fdd-70d5-4580-bbfc-f67cb77f5ae2 | Translated (100%) | Ice | 制冰 |
| 27501f4abb4e-19a4-4869-9660-df5574a482c5 | Translated (100%) | 7.80 – 0.0055H kWh/100 lb ice | 7.80 – 0.0055H kWh/100 lb 冰 |
| 27516e72e98c-c2cc-42d0-8fee-c40d7c7b0ab3 | Translated (100%) | na | na |
| 2752de06d0b5-807d-4d96-b874-a9d9c3863d9e | Translated (100%) | 7.02 - 0.0049H kWh/100 lb ice | 7.02 - 0.0049H kWh/100 lb 冰 |
| 275344db3729-7cb7-4d06-909c-dc809ef2922b | Translated (100%) | na | na |
| 2754a4397cf5-015b-45bf-b882-08f0d6fb0548 | Translated (100%) | Ice machine, water-cooled once-through (open loop) | 制冰机，水冷直流（开回路） |
| 27556afc39d1-7b02-43a8-af95-d38d8e7f3587 | Translated (100%) | Elec | 电力 |
| 27568d2dfcc7-aa10-46d1-b269-60b6efd478f0 | Translated (100%) | Ice | 制冰 |
| 2757bfb5fb5a-0fd9-4806-9783-ba7f5010b4cd | Translated (100%) | Banned | 禁止 |
| 2758d3154305-c7a2-4f06-8795-4115bd59ea83 | Translated (100%) | Banned | 禁止 |
| 2759dc86af88-5d50-4eaf-9359-48454a9ff626 | Translated (100%) | Banned | 禁止 |
| 2760dd4fe146-3828-4e5d-92df-080e31f61513 | Translated (100%) | Banned | 禁止 |
| 2761287d977c-f2fd-45d2-9c89-b6054093103e | Translated (100%) | Ice machine, water-cooled SCU (self-contained unit), H < 200 lb/day (must be on chilled loop) | 制冰机，水冷 SCU（独立装置），H < 200 lb/天（必须在冷却回路上） |
| 2762164aab9c-cb40-4835-941b-a5bdf5a91776 | Translated (100%) | Elec | 电力 |
| 276381c15954-3ad0-4f82-8c1e-7bf5fbba7da9 | Translated (100%) | Ice | 制冰 |
| 27645448899d-b42d-4d41-b8db-b6d8d75f698f | Translated (100%) | 11.4 – 0.0190H kWh/100 lb ice | 11.4 – 0.0190H kWh/100 lb 冰 |
| 276585e37fe4-b50f-4be6-932c-c8ad4d309a71 | Translated (100%) | na | na |
| 2766c0e98b45-3ab8-40a0-a871-f23a7c234760 | Translated (100%) | 10.6 - 0.177H kWh/100 lb ice | 10.6 - 0.177H kWh/100 lb 冰 |
| 27679bd71f16-d8d5-43bd-925c-9c705c14865c | Translated (100%) | na | na |
| 2768e68760a4-cb56-44a6-ae48-b2ed07722fea | Translated (99%) | Ice machine, water-cooled self-contained unit, H <3307>></3307> 200 lb/day (must be on chilled loop) | 制冰机，水冷独立装置，H <3307>></3307> 200 lb/天（必须在冷却回路上） |
| 2769874e1f73-a1ec-4b5c-86fe-580ac88eec35 | Translated (100%) | Elec | 电力 |
| 27701643397d-7150-48dc-8cb3-27b67a42739c | Translated (100%) | Ice | 制冰 |
| 2771900a6d88-a96d-44e2-b290-058e63c5c256 | Translated (100%) | 7.6 kWh/100 lb ice | 7.6 kWh/100 lb 冰 |
| 2772d198b936-92ec-4a0a-b87a-6027ca4d04bd | Translated (100%) | na | na |
| 27739e6d3671-44c8-46f9-911f-721b42978c63 | Translated (100%) | 7.07 kWh/100 lb ice | 7.07 kWh/100 lb 冰 |
| 2774684e1f0a-2f98-4052-bc89-1be7e5575195 | Translated (100%) | na | na |
| 27758d8664bb-ec4e-46a3-9ea0-329c528d4d71 | Translated (100%) | Chest freezer, solid or glass door | 卧式冷冻柜，实心或玻璃门 |
| 27763267c200-8688-4d45-a36d-d94839b5ba4a | Translated (100%) | Elec | 电力 |
| 277793a7a1cd-c11f-40be-bed8-fb36f414d444 | Translated (100%) | Refrig | 制冷 |
| 27787dff24aa-a056-4d68-8d1f-00a32fe1bfb2 | Translated (100%) | 0.45V + 0.943 kWh/day | 0.45V + 0.943 kWh/天 |
| 2779a0c926b4-afb1-48d7-8341-427fd9bc86fa | Translated (100%) | na | na |
| 27804d19c3d1-8e59-4e27-89c8-96b52d642c25 | Translated (100%) | ≤ 0.270V + 0.130 kWh/day | ≤ 0.270V + 0.130 kWh/天 |
| 2781ab7d3e38-0c4c-464c-a550-95adfb0d0b19 | Translated (100%) | na | na |
| 2782ddbb0f40-bfda-4348-83b5-ff224c6cba26 | Translated (100%) | Chest refrigerator, solid or glass door | 卧式冰柜，实心或玻璃门 |
| 278330e767da-b435-415d-b3e7-c27b9db19f65 | Translated (100%) | Elec | 电力 |
| 27841d817948-99ef-4edf-8d3f-9018c097e77c | Translated (100%) | Refrig | 制冷 |
| 278544a547c6-83af-48d3-b253-139961c7b0c5 | Translated (100%) | 0.1V + 2.04 kWh/day | 0.1V + 2.04 kWh/天 |
| 278646b14180-f628-4301-ba12-d2b7b272dab5 | Translated (100%) | na | na |
| 2787d082100f-6040-4845-af16-b8b3d49d2a27 | Translated (100%) | ≤ 0.125V + 0.475 kWh/day | ≤ 0.125V + 0.475 kWh/天 |
| 2788912c4d99-9221-4ed2-b9e3-72c55f24e228 | Translated (100%) | na | na |
| 278981876191-444b-4582-ba3c-2a69df9e17bd | Translated (91%) | Glass-door reach-in freezer, 0 < V < 15 ft³ | 手入式玻璃门冰柜， 0 < V < 15 ft³ |
| 2790452c6da9-4145-4501-abb2-248eb0b171b2 | Translated (100%) | Elec | 电力 |
| 27910b37a5dc-2d98-4961-a642-64ba9160570b | Translated (100%) | Refrig | 制冷 |
| 2792d56716f9-ae3a-4bdb-9e56-7cd62a6ef114 | Translated (100%) | 0.75V + 4.10 kWh/day | 0.75V + 4.10 kWh/天 |
| 2793a0d08c29-4513-40ec-b0f6-eb90310d7c77 | Translated (100%) | na | na |
| 2794df764ebf-cc96-4dea-9170-a368e3c11796 | Translated (100%) | ≤ 0.607V + 0.893 kWh/day | ≤ 0.607V + 0.893 kWh/天 |
| 2795982f0c1d-34d7-418b-804f-1cb16c1c8ea1 | Translated (100%) | na | na |
| 279672df8cb2-8938-4fd2-9520-9ee76f572533 | Translated (99%) | Glass-door reach-in freezer, 15 ≤ V < 30 ft³ | 手入式玻璃门冰柜， 15 ≤ V < 30 ft³ |
| 2797e8c1ff8c-83fb-40d7-9f63-d0a9d9791c2e | Translated (CM) | Elec | 电力 |
| 279899d317b3-2fdc-4821-a34f-2b758c3cc456 | Translated (100%) | Refrig | 制冷 |
| 2799cca2d30b-a090-44e0-bab4-7091899bd042 | Translated (CM) | .75V + 4.10 kWh/day | 0.75V + 4.10 kWh/天 |
| 2800b1d767d8-66b8-4e99-9331-16bb2379fa2e | Translated (100%) | na | na |
| 2801f8b00312-e830-4cc3-af75-561971b4760f | Translated (100%) | ≤ 0.733V – 1.00 kWh/day | ≤ 0.733V – 1.00 kWh/天 |
| 2802ae32f5b2-c2d2-4c93-9642-7ad6a4b266c9 | Translated (100%) | na | na |
| 28033273b4a7-125d-48f2-904a-78ae1b4a1290 | Translated (99%) | Glass-door reach-in freezer, 30 ≤ V < 50 ft³ | 手入式玻璃门冰柜，30 ≤ V < 50 ft³ |
| 28047892896a-83f2-41aa-a9cc-811ad2a2d483 | Translated (CM) | Elec | 电力 |
| 2805aaa230c1-cca3-4481-a91a-c7284bb37d2c | Translated (100%) | Refrig | 制冷 |
| 28062c4aad39-bb96-466c-856b-6780218ad3cd | Translated (CM) | .75V + 4.10 kWh/day | 0.75V + 4.10 kWh/天 |
| 2807356c86c4-8fec-4af7-a35a-5c2602e822a8 | Translated (CM) | na | na |
| 2808d4e63df7-16bd-4cff-8cf0-da7991f0a07a | Translated (100%) | ≤ 0.250V + 13.50 kWh/day | ≤ 0.250V + 13.50 kWh/天 |
| 28091875225d-8b3f-48b6-afee-ed6df4cd9a96 | Translated (CM) | na | na |
| 281076ef93fd-4bf5-4a86-bb4c-a6f37056485c | Translated (89%) | Glass-door reach-in freezer, 50 ≤ V ft³ | 手入式玻璃门冰柜，50 ≤ V ft³ |
| 2811f068e15b-7d4c-4881-b2c5-9aadc5fa3f3e | Translated (100%) | Elec | 电力 |
| 2812910bdacf-5f22-423e-9c87-bb7407f58ceb | Translated (100%) | Refrig | 制冷 |
| 2813b5b11382-9df2-4161-a16f-bacb67e31ab2 | Translated (100%) | 0.75V + 4.10 kWh/day | 0.75V + 4.10 kWh/天 |
| 2814fc10220c-6970-469e-95d8-ab686ecf5b5d | Translated (CM) | na | na |
| 28157fe13bde-c9e0-4d39-a294-7fbc60fd1d12 | Translated (100%) | ≤ 0.450V + 3.50 kWh/day | ≤ 0.450V + 3.50 kWh/天 |
| 2816248d3037-a24a-4719-bcc6-9d5858ceaf70 | Translated (CM) | na | na |
| 281739120ba2-bcf3-4932-bfea-8a771dfe552c | Translated (91%) | Glass-door reach-in refrigerator, 0 < V < 15 ft³ | 手入式玻璃门冰箱，0 < V < 15 ft³ |
| 28183b8d2a95-6a5f-4b21-bac1-6d119c6150c4 | Translated (100%) | Elec | 电力 |
| 2819866f7c29-c9ac-4c89-9291-3b1ed101173c | Translated (100%) | Refrig | 制冷 |
| 2820e6c88174-ffb5-4a10-b537-c9ac418485d0 | Translated (100%) | 0.12V + 3.34 kWh/day | 0.12V + 3.34 kWh/天 |
| 2821573e43ac-7a0b-4629-90ae-be65380d781d | Translated (CM) | na | na |
| 28227ac18540-3d86-4ecf-897e-ec0aaba6220c | Translated (100%) | ≤ 0.118V + 1.382 kWh/day | ≤ 0.118V + 1.382 kWh/天 |
| 2823161f3c42-d8fb-42d3-ba39-21663b6f7fe4 | Translated (CM) | na | na |
| 282475d1b827-980b-4ddb-b932-82ca7f5280cf | Translated (99%) | Glass-door reach-in refrigerator, 15 ≤ V < 30 ft³ | 手入式玻璃门冰箱，15 ≤ V < 30 ft³ |
| 282599c18f1a-8a77-4bd5-b800-24d2ab672393 | Translated (CM) | Elec | 电力 |
| 28260c88d3ee-033b-4b0d-ac12-312395bcc883 | Translated (100%) | Refrig | 制冷 |
| 28276d3ea87f-ad57-4448-95c1-d006bd19ebc2 | Translated (100%) | 0.12V + 3.34 kWh/day | 0.12V + 3.34 kWh/天 |
| 282808f3d4bc-0e1d-414b-8930-8758ba68f4c3 | Translated (CM) | na | na |
| 2829496def71-8695-4a18-a1b9-e4d8f4fddb18 | Translated (100%) | ≤ 0.140V + 1.050 kWh/day | ≤ 0.140V + 1.050 kWh/天 |
| 28301d7f539f-fef5-4913-ac9b-b1ae9b761678 | Translated (CM) | na | na |
| 2831a3de9088-90c7-45e2-be8c-fef532ae25b0 | Translated (100%) | Glass-door reach-in refrigerator, 30 ≤ V < 50 ft³ | 手入式玻璃门冰箱，30 ≤ V < 50 ft³ |
| 28327183cf5d-eeac-4664-a6a2-8008dff37513 | Translated (CM) | Elec | 电力 |
| 2833c62962e5-a40c-42d8-8cb7-fc029c3666b2 | Translated (CM) | Refrig | 制冷 |
| 2834cea5d06b-7b3f-402d-993b-19762cff5919 | Translated (CM) | 0.12V + 3.34 kWh/day | 0.12V + 3.34 kWh/天 |
| 2835b22fbc74-cdd9-40cf-9fc2-1cf47a6a38a8 | Translated (CM) | na | na |
| 2836734960bb-62ad-46ec-ac9c-3f70923743aa | Translated (CM) | ≤ 0.088V + 2.625 kWh/day | ≤ 0.088V + 2.625 kWh/天 |
| 2837da0ef230-ca10-4b80-b280-796cf725596d | Translated (CM) | na | na |
| 2838f72eaebb-21e1-43c6-bbfc-73a2ae5d3e51 | Translated (89%) | Glass-door reach-in refrigerator, 50 ≤ V ft³ | 手入式玻璃门冰箱，50 ≤ V ft³ |
| 2839ae79e8a5-a392-4d9d-9adc-c16f025b1741 | Translated (100%) | Elec | 电力 |
| 28405a90a566-3e71-40cb-ab07-8a270c41f7db | Translated (CM) | Refrig | 制冷 |
| 2841140a6f4b-070f-4239-ad39-29737766bc3b | Translated (CM) | 0.12V + 3.34 kWh/day | 0.12V + 3.34 kWh/天 |
| 284295557b8b-6111-4438-be13-2f87dfee1562 | Translated (CM) | na | na |
| 2843d1b97024-4497-4595-865d-866453c5a9b1 | Translated (CM) | ≤ 0.110V + 1.500 kWh/day | ≤ 0.110V + 1.500 kWh/天 |
| 28443f43ca87-e988-4f74-9f11-a6903a0a2626 | Translated (CM) | na | na |
| 284544f3cd2b-a70f-4a61-94c5-5595d7ae7cfa | Translated (91%) | Solid-door reach-in freezer, 0 < V < 15 ft³ | 手入式实心门冰柜，0 < V < 15 ft³ |
| 2846dcfdc6d8-3233-4790-a6c9-73ceda890ec6 | Translated (100%) | Elec | 电力 |
| 28473e699a05-0629-4822-ac92-3b575496f6bf | Translated (CM) | Refrig | 制冷 |
| 28482c98ee67-4657-4cb1-9707-64d8e338c60a | Translated (CM) | 0.4V + 1.38 kWh/day | 0.4V + 1.38 kWh/天 |
| 28492efd1a82-9216-450b-bfe2-c73ac4ab8a71 | Translated (CM) | na | na |
| 2850c2029448-98cf-4118-a240-99d6b402f959 | Translated (CM) | ≤ 0.250V + 1.25 kWh/day | ≤ 0.250V + 1.25 kWh/天 |
| 2851988b1a40-d749-4af5-a2a8-dd6feacef027 | Translated (CM) | na | na |
| 28528ce7be9c-bf36-4f95-8173-86496f1d3f63 | Translated (99%) | Solid-door reach-in freezer, 15 ≤ V < 30 ft³ | 手入式实心门冰柜，15 ≤ V < 30 ft³ |
| 285306278ffd-e874-4dca-8927-c1289c17f780 | Translated (CM) | Elec | 电力 |
| 28544ace5cfc-8962-4337-a5e0-5890a627c6af | Translated (CM) | Refrig | 制冷 |
| 2855403b6e71-6369-4ed1-9435-96cde037c128 | Translated (CM) | 0.4V + 1.38 kWh/day | 0.4V + 1.38 kWh/天 |
| 2856eb5e9079-cf17-4b9b-9dcf-1cc546f4ca8b | Translated (CM) | na | na |
| 2857a903d689-fad5-45d9-97a9-ac0ec08defc5 | Translated (CM) | ≤ 0.400V – 1.000 kWh/day | ≤ 0.400V – 1.000 kWh/天 |
| 285833b56e19-0c65-48fa-ba68-c4ea2d16fa3b | Translated (CM) | na | na |
| 28590c8a266a-52eb-46e6-9715-87f96e179c4f | Translated (100%) | Solid-door reach-in freezer, 30 ≤ V < 50 ft³ | 手入式实心门冰柜，30 ≤ V < 50 ft³ |
| 2860a8aad12d-42b8-44de-aaca-469b38844c31 | Translated (CM) | Elec | 电力 |
| 2861a7579b5a-7963-44eb-b769-034f9121b8fb | Translated (CM) | Refrig | 制冷 |
| 2862ac1d481b-74cc-4ef2-9bef-0eb72cb8b4fd | Translated (CM) | 0.4V + 1.38 kWh/day | 0.4V + 1.38 kWh/天 |
| 2863bf56adfc-74a9-4e1a-974b-b00502ef8ee4 | Translated (CM) | na | na |
| 28646f3e0921-e4ad-4017-95ff-f00e3bee2739 | Translated (CM) | ≤ 0.163V + 6.125 kWh/day | ≤ 0.163V + 6.125 kWh/天 |
| 286587fff26f-2f8a-4de0-8dba-7a2bd43a2177 | Translated (CM) | na | na |
| 28667ad3fff2-4bf7-4c00-90a6-209004de8b95 | Translated (89%) | Solid-door reach-in freezer, 50 ≤ V ft³ | 手入式实心门冰柜，50 ≤ V ft³ |
| 286788d9dca7-3f45-4694-98fb-2b698aea7a69 | Translated (100%) | Elec | 电力 |
| 28689d1a8c5a-14fa-4ccf-94d2-c6d4d56ba875 | Translated (CM) | Refrig | 制冷 |
| 28697aac0fc5-1106-4a4e-a92f-4d18782bf712 | Translated (CM) | 0.4V + 1.38 kWh/day | 0.4V + 1.38 kWh/天 |
| 2870aef510e0-3f5f-461a-831d-c004846d190f | Translated (CM) | na | na |
| 2871ef2e45d1-9f45-45f9-8abd-334101c28380 | Translated (CM) | ≤ 0.158V + 6.333 kWh/day | ≤ 0.158V + 6.333 kWh/天 |
| 2872946cfdc0-bc99-4603-84f6-c72f43a1b59e | Translated (CM) | na | na |
| 287306ab69e1-ff88-4060-94b1-6392b6b04381 | Translated (91%) | Solid-door reach-in refrigerator, 0 < V < 15 ft³ | 手入式实心门冰箱，0 < V < 15 ft³ |
| 2874a16ac8db-3b27-4939-a859-6e7ee7ed1f10 | Translated (100%) | Elec | 电力 |
| 2875898fec98-9b3b-47d4-8518-3d4e65ec3bcb | Translated (CM) | Refrig | 制冷 |
| 2876df734f18-dcf9-4ac2-8140-4c5b571f8051 | Translated (CM) | 0.1V + 2.04 kWh/day | 0.1V + 2.04 kWh/天 |
| 2877d0643aec-db9f-49ec-bab6-95527ec4ad42 | Translated (CM) | na | na |
| 28786340befc-a38a-4cf6-afdb-7ad71e68d3a7 | Translated (CM) | ≤ 0.089V + 1.411 kWh/day | ≤ 0.089V + 1.411 kWh/天 |
| 28792323f9d4-6056-4f7c-a5be-5c848e1374de | Translated (CM) | na | na |
| 28800fe87da1-5148-478e-b950-4a30011be7ab | Translated (99%) | Solid-door reach-in refrigerator, 15 ≤ V < 30 ft³ | 手入式实心门冰箱，15 ≤ V < 30 ft³ |
| 2881df58fece-3237-4b7e-ac2c-adc97cd999ba | Translated (CM) | Elec | 电力 |
| 2882a950e043-264f-4cc2-bca6-219a716f4f95 | Translated (CM) | Refrig | 制冷 |
| 2883e7f1c478-a4f8-4e53-8966-61a00cf7da4d | Translated (CM) | 0.1V + 2.04 kWh/day | 0.1V + 2.04 kWh/天 |
| 288419c606ea-3460-4ff3-bf1d-452b102db677 | Translated (CM) | na | na |
| 28850b17bfee-58aa-46af-82ab-590a5bc96aeb | Translated (CM) | ≤ 0.037V + 2.200 kWh/day | ≤ 0.037V + 2.200 kWh/天 |
| 2886319e142d-795c-43c2-a58f-0a55574a472b | Translated (CM) | na | na |
| 2887a276aa38-2ea1-471c-81a9-135a80ed7b8f | Translated (100%) | Solid-door reach-in refrigerator, 30 ≤ V < 50 ft³ | 手入式实心门冰箱，30 ≤ V < 50 ft³ |
| 2888f824fee3-97dd-407d-b3b4-fccc327f355d | Translated (CM) | Elec | 电力 |
| 2889f2ff2656-cd14-4318-bbba-0fed0dc17269 | Translated (CM) | Refrig | 制冷 |
| 2890685c8410-db02-4d33-8dc5-04d17b108864 | Translated (CM) | 0.1V + 2.04 kWh/day | 0.1V + 2.04 kWh/天 |
| 28917e965d60-9f54-4eb3-9359-1c83afade0b4 | Translated (CM) | na | na |
| 289229bc601d-6485-4d04-9a12-8951a9bd5853 | Translated (CM) | ≤ 0.056V + 1.635 kWh/day | ≤ 0.056V + 1.635 kWh/天 |
| 289343ca85f5-001c-4ed9-b540-5a44cc270a31 | Translated (CM) | na | na |
| 2894deea5575-09bd-4f87-9ece-b6b7ea07e1e8 | Translated (89%) | Solid-door reach-in refrigerator, 50 ≤ V ft³ | 手入式实心门冰箱，50 ≤ V ft³ |
| 28956db72193-b1c2-40ba-890d-ea775dc72e1e | Translated (100%) | Elec | 电力 |
| 289622cff7c8-3db1-4cf8-a8c5-dda593a31052 | Translated (CM) | Refrig | 制冷 |
| 289776285188-e0c6-42c8-a713-2b646a584b6c | Translated (CM) | 0.1V + 2.04 kWh/day | 0.1V + 2.04 kWh/天 |
| 2898ce92fe7b-5ff6-49c4-a2c5-0eda129c7151 | Translated (CM) | na | na |
| 2899daa1eb69-d291-48bf-ab5f-67f2bf7245f7 | Translated (CM) | ≤ 0.060V + 1.416 kWh/day | ≤ 0.060V + 1.416 kWh/天 |
| 2900ba045b0b-cc84-4002-968f-cce82f6191be | Translated (CM) | na | na |
| 2901b36ed66b-89ef-4daf-8bce-9e0d4f05cf86 | Translated (100%) | Clothes washer | 洗衣机 |
| 2902d8a1c7c8-7941-47fa-a633-db14be10cb79 | Translated (100%) | Gas | 天然气 |
| 29032a2993b5-843d-4b21-ba3f-b14423cd3d57 | Translated (100%) | Sanitation | 卫生 |
| 290405562b05-7a2b-47d3-aeb5-776b03caeb30 | Translated (100%) | 1.72 MEF | 1.72 MEF |
| 29056b119d24-55c4-4220-816b-5c8120b3c155 | Translated (100%) | na | na |
| 2906d0c29d04-f1ff-42a9-a300-fe416a5f67e1 | Translated (100%) | 2.00 MEF | 2.00 MEF |
| 290722e90d8e-3831-4105-aa2b-655aa9029355 | Translated (100%) | na | na |
| 290892f94c50-f10a-4ce3-a540-dc5317d06e66 | Translated (100%) | Door-type dish machine, high temp | 门式洗碗机，高温 |
| 290944bbdd3c-e080-4955-aa13-d5fd45899cf9 | Translated (100%) | Elec | 电力 |
| 2910cbb0f53d-2b83-48e9-8af8-0b13d446a05b | Translated (100%) | Sanitation | 卫生 |
| 29119ddec370-4079-44dd-a90d-e9ec96a76233 | Translated (100%) | na | na |
| 2912e5ff9c12-f4b2-4600-8c1d-84e01fbaa278 | Translated (100%) | 1.0 kW | 1.0 kW |
| 291317dd0ccf-94aa-4ec8-8274-d2ab8da8855d | Translated (100%) | na | na |
| 29149136f949-7451-4fd2-88db-209b57b872d6 | Translated (100%) | 0.70 kW | 0.70 kW |
| 29155f9cc93b-3a83-4c98-8ea4-2680580a795c | Translated (100%) | Door-type dish machine, low temp | 门式洗碗机，低温 |
| 29169f8ae7c3-1a87-4c21-9322-7f9714981d01 | Translated (100%) | Elec | 电力 |
| 2917a06a5f0e-8aa6-4323-a8f2-f723066969d2 | Translated (100%) | Sanitation | 卫生 |
| 29180ddaef3d-34f7-4636-8999-fef5b32396f1 | Translated (100%) | na | na |
| 2919fa207a80-efb5-47eb-ae14-ac0b78c509de | Translated (100%) | 0.6 kW | 0.6 kW |
| 29203f0e7a10-4678-4ec9-b669-335da22d469b | Translated (100%) | na | na |
| 2921f18b2d72-c518-4aca-8ec7-9f45ed6b1365 | Translated (100%) | 0.6 kW | 0.6 kW |
| 292236d70353-d3ef-4600-b6e3-1f6098e4482d | Translated (100%) | Multitank rack conveyor dish machine, high temp | 多缸架传送式洗碗机，高温 |
| 29232c459393-d051-4da1-a13c-be38e93dcbba | Translated (100%) | Elec | 电力 |
| 29241bf519c5-df52-4aa8-ada4-d50335dc7768 | Translated (CM) | Sanitation | 卫生 |
| 2925cda26d1d-e8a6-4310-8ce1-ee3ab3b13741 | Translated (CM) | na | na |
| 29267b8f4505-9f0c-4e0c-ac53-c3d043b25feb | Translated (100%) | 2.6 kW | 2.6 kW |
| 292708910669-94d5-427c-b389-c86d3760f9fb | Translated (100%) | na | na |
| 2928aa65b6dc-a07a-45a4-8ce8-a0bc3d180c52 | Translated (100%) | 2.25 kW | 2.25 kW |
| 2929a29973e7-1a9d-4b42-b919-2d7fdde2a5e1 | Translated (100%) | Multitank rack conveyor dish machine, low temp | 多缸架传送式洗碗机，低温 |
| 2930323193a2-4d93-4b73-87ad-311cbaf74c7d | Translated (100%) | Elec | 电力 |
| 2931fb52914a-f8b1-437a-bc65-931906b80b86 | Translated (CM) | Sanitation | 卫生 |
| 29328f1f095b-5500-4229-ac99-f23f4f6a8c8b | Translated (CM) | na | na |
| 29331472568b-fe57-43ae-b144-0ae23796b03a | Translated (100%) | 2.0 kW | 2.0 kW |
| 293415d6898b-f036-4cc6-979e-ad030f576fad | Translated (100%) | na | na |
| 293571680237-3011-4ed1-a2d1-fba373c70b5f | Translated (100%) | 2.0 kW | 2.0 kW |
| 2936088066be-434a-4081-a846-53fc9b5e0fff | Translated (100%) | Single-tank rack conveyor dish machine, high temp | 单缸架传送式洗碗机，高温 |
| 2937b7902272-154b-436b-8707-fecc38380f67 | Translated (100%) | Elec | 电力 |
| 2938e35a9473-6eb0-4fbb-903e-e5c285d507e1 | Translated (CM) | Sanitation | 卫生 |
| 29394ea0154a-3f0c-44b0-bdcd-0383e236ed1f | Translated (CM) | na | na |
| 2940f9a31db1-64bf-47e5-912b-46fa4749cf97 | Translated (100%) | 2.0 kW | 2.0 kW |
| 2941b0b1323a-e0dc-4244-aca1-0638185ce025 | Translated (100%) | na | na |
| 29428edaf26d-bc80-4aa0-96b5-060b6b697d1d | Translated (100%) | 1.5 kW | 1.5 kW |
| 294364de6157-d4c6-4deb-bbd6-f508db3517d0 | Translated (100%) | Single-tank rack conveyor dish machine, low temp | 单缸架传送式洗碗机，低温 |
| 2944306847c7-27f3-4d6b-95dc-81c87fac18c9 | Translated (100%) | Elec | 电力 |
| 29453cfc31e1-11b3-4ee8-81d3-26c68dd6b795 | Translated (CM) | Sanitation | 卫生 |
| 29462ad2ddd3-0e15-49e5-8783-c3857e19bbef | Translated (CM) | na | na |
| 294771144c1f-ff8f-4525-bbf4-7bcdbec273e1 | Translated (100%) | 1.6 kW | 1.6 kW |
| 29489402ba13-388c-4533-b2ab-107858a7725f | Translated (100%) | na | na |
| 29498ea46bac-c12d-4e7f-ab34-6283d601888b | Translated (100%) | 1.5 kW | 1.5 kW |
| 2950f5d9ab7a-cf11-4173-a002-10fa6dea80cd | Translated (100%) | Undercounter dish machine, high temp | 台下式洗碗机，高温 |
| 295152154848-9112-486e-940c-bd8fffd05e68 | Translated (100%) | Elec | 电力 |
| 2952849cd4d4-39bb-4a55-b847-28d1a4300f3a | Translated (CM) | Sanitation | 卫生 |
| 2953bcf5bcc5-082e-4576-9f6b-3f075e7b631b | Translated (CM) | na | na |
| 295400b0961b-b117-4e27-b5ab-448b14455264 | Translated (100%) | 0.9 kW | 0.9 kW |
| 2955a8df9f68-f236-4fd2-8691-19ed659894e1 | Translated (100%) | na | na |
| 2956116d3aed-4ab4-453c-aae5-8cfdf413b665 | Translated (100%) | 0.5 kW | 0.5 kW |
| 29578cf72803-09d3-4e8a-a28b-f2e57de2d1f9 | Translated (100%) | Undercounter dish machine, low temp | 台下式洗碗机，低温 |
| 2958720a0f66-ec31-426a-9adb-20173b915ad7 | Translated (100%) | Elec | 电力 |
| 29592f931ee7-0329-4588-b0a2-fb4577a58754 | Translated (CM) | Sanitation | 卫生 |
| 29604949ba55-677c-4156-b9e7-2f2b7128e22c | Translated (CM) | na | na |
| 296161f8b4f1-73d0-404c-97ff-d5142e1bb0c8 | Translated (100%) | 0.5 kW | 0.5 kW |
| 29625bae2a30-dfca-45bb-b986-35115c6dccbc | Translated (100%) | na | na |
| 2963f4911d7a-8726-464a-9588-69180b6ed6fa | Translated (100%) | 0.5 kW | 0.5 kW |
| 2964c68f9b8b-aa52-44c8-9266-bf31dced0bdd | Translated (100%) | The energy efficiency, idle energy rates, and water use requirements, where applicable, are based on the following test methods: | 能效、闲时功率和用水要求（如适用）均基于以下测试方法： |
| 296557e0e4b6-a52e-4d2e-b47c-12fadcd5433f | Translated (100%) | ASTM F1275 Standard Test Method for Performance of Griddles | ASTM F1275 煎锅性能标准测试方法 |
| 2966810fe0cb-4a73-4334-940f-8de34722118b | Translated (100%) | ASTM F1361 Standard Test Method for Performance of Open Deep Fat Fryers | ASTM F1361 敞口式深底油炸锅性能标准测试方法 |
| 296778258384-bb70-46ca-8f07-1944740b7554 | Translated (100%) | ASTM F1484 Standard Test Methods for Performance of Steam Cookers | ASTM F1484 蒸汽炊具性能标准测试方法 |
| 2968f5353519-e26b-4a23-81cc-ee9dbd3da581 | Translated (100%) | ASTM F1496 Standard Test Method for Performance of Convection Ovens | ASTM F1496 对流烤箱性能标准测试方法 |
| 29693b2c37ce-a244-418c-8b45-4d1cf4f00ee0 | Translated (100%) | ASTM F1521 Standard Test Methods for Performance of Range Tops | ASTM F1521 炉灶盖性能标准测试方法 |
| 29703d968e33-06eb-4af3-bdc2-8854e38dee0c | Translated (100%) | ASTM F1605 Standard Test Method for Performance of Double-Sided Griddles | ASTM F1605 双面煎锅性能标准测试方法 |
| 297117ccc23f-7b2f-4cba-b077-86de949561eb | Translated (100%) | ASTM F1639 Standard Test Method for Performance of Combination Ovens | ASTM F1639 组合烤箱性能标准测试方法 |
| 2972454d088a-5bd8-4643-873e-c2b382269cdb | Translated (100%) | ASTM F1695 Standard Test Method for Performance of Underfired Broilers | ASTM F1695 底燃式锅炉性能标准测试方法 |
| 2973a0012a78-612b-4199-8a7a-edaecddc389a | Translated (100%) | ASTM F1696 Standard Test Method for Energy Performance of Single-Rack Hot Water Sanitizing, ASTM Door-Type Commercial Dishwashing Machines | ASTM F1696 单架热水消毒，ASTM 门式商用洗碗机能效标准测试方法 |
| 2974b143f722-b6c6-4058-b558-223bcc3ef228 | Translated (100%) | ASTM F1704 Standard Test Method for Capture and Containment Performance of Commercial Kitchen Exhaust Ventilation Systems | ASTM F1704 商用厨房排烟通风系统捕捉和容纳性能标准测试方法 |
| 29754ca1129b-fda7-4cdc-ac24-be44694bbbd9 | Translated (100%) | ASTM F1817 Standard Test Method for Performance of Conveyor Ovens | ASTM F1817 链条式平炉性能标准测试方法 |
| 29764d5089aa-ff0a-469e-bace-965af5d4d12c | Translated (100%) | ASTM F1920 Standard Test Method for Energy Performance of Rack Conveyor, Hot Water Sanitizing, Commercial Dishwashing Machines | ASTM F1920 架传送式热水消毒商用洗碗机能效标准测试方法 |
| 2977353f4a25-12eb-4241-833e-f85deb167b6e | Translated (100%) | ASTM F2093 Standard Test Method for Performance of Rack Ovens | ASTM F2093 搁架式烤炉性能标准测试方法 |
| 29783710fdb0-61a5-4db6-b41a-82d43f4d53aa | Translated (100%) | ASTM F2140 Standard Test Method for Performance of Hot Food Holding Cabinets | ASTM F2140 热食物储藏柜性能标准测试方法 |
| 297931856b93-59ea-4454-b5f4-b382ac98756e | Translated (100%) | ASTM F2144 Standard Test Method for Performance of Large Open Vat Fryers | ASTM F2144 敞口式大桶炸锅性能标准测试方法 |
| 29800289ae89-92ae-48a2-b51a-f25c27dbd428 | Translated (100%) | ASTM F2324 Standard Test Method for Prerinse Spray Valves | ASTM F2324 预清洗喷雾阀标准测试方法 |
| 29812945098a-05f5-42e0-9924-650955eb69a2 | Translated (100%) | ASTM F2380 Standard Test Method for Performance of Conveyor Toasters | ASTM F2380 链条式烤面包机性能标准测试方法 |
| 2982ca4a4a02-41fe-4eb8-9065-b15c7ef8f5f6 | Translated (100%) | ARI 810-2007: Performance Rating of Automatic Commercial Ice Makers | ARI 810-2007：商用自动制冰机性能等级 |
| 2983f373e09f-6922-4a0c-9f01-a15c9cf59903 | Translated (100%) | ANSI/ASHRAE Standard 72–2005: Method of Testing Commercial Refrigerators and Freezers with temperature setpoints at 38°F for medium-temp refrigerators, 0°F for low-temp freezers, and -15°F for ice cream freezers | ANSI/ASHRAE 标准 72–2005：商用冰箱和冰柜测试方法，中等温度冰箱的温度设定值为 38°F，低温冰柜为 0°F，冰淇淋冷柜为 -15°F。 |
| 29848ee12a29-dc6c-459c-be84-4ab33dfc1c30 | Translated (100%) | Table 1b. | 表 1b. |
| 29858ee12a29-dc6c-459c-be84-4ab33dfc1c30 | Translated (99%) | Commercial Kitchen Appliance Prescriptive Measures and Baseline for Energy Cost Budget (SI units) | 商用厨房电器的规范性指标和能源费用预算基线（SI 单位） |
| 29864c841d9f-2b27-4df2-92db-60e9fa12b3b7 | Translated (100%) | Baseline energy usage for energy modeling path | 能耗模拟途径的基线能耗 |
| 298721c552e6-3d58-42cb-9aad-8c203b62b3a8 | Translated (100%) | Levels for prescriptive path | 规范性途径的等级 |
| 29884a91bf82-b4bf-43b0-8308-b6ad8e299eec | Translated (CM) | Appliance type | 电器类型 |
| 2989cc166746-14af-41a4-b94b-55ad78c36c52 | Translated (100%) | Fuel | 燃料 |
| 2990dfd5670c-2e65-4585-8fb9-300af56dbc83 | Translated (CM) | Function | 功能 |
| 2991f104c436-fa88-4d28-9d84-a1f76d944bd1 | Translated (CM) | Baseline efficiency | 基线效率 |
| 2992a163f7b7-df30-4e51-a248-82a7cb431363 | Translated (CM) | Baseline idle rate | 基线闲时功率 |
| 299355d4be9b-7740-4c5a-ac7e-944013230ce8 | Translated (CM) | Prescriptive efficiency | 规范性效率 |
| 2994c650bd83-d6c7-4d8a-8a4a-0df79fea2c1a | Translated (CM) | Prescriptive idle rate | 规范性闲时功率 |
| 299519fdc5b1-b6b6-4cbc-a470-163efe3f4528 | Translated (CM) | Broiler, underfired | 底燃式锅炉 |
| 299653c43e72-ee60-4934-ba24-7ee33c1c0d1b | Translated (CM) | Gas | 天然气 |
| 29970df27aaa-4fbc-4ab6-9418-1ca249805663 | Translated (100%) | Cooking | 烹饪 |
| 29989f724c1e-88a2-48f1-a826-9817f78de1da | Translated (100%) | 30% | 30% |
| 2999bb396bd4-c59e-4cb9-879b-493729044a81 | Translated (0%) | 50.5 kW/m<4001>2</4001> | 50.5 kW/m<4001>2</4001> |
| 30007e273440-614e-4331-8c7b-715d32e3892a | Translated (100%) | 35% | 35% |
| 3001a8139c8a-cdc8-4586-841a-61395f16c772 | Translated (100%) | 37.9 kW/m<4008>2</4008> | 37.9 kW/m<4008>2</4008> |
| 30027da063e6-8e8a-4c95-8883-870685edb72c | Translated (100%) | Combination oven, steam mode (P = pan capacity) | 组合烤箱，蒸汽模式（P = 盘容量） |
| 300352b8994a-84e5-4a70-8a38-789cfe6f47c1 | Translated (CM) | Elec | 电力 |
| 30042c4bc92b-46d7-441f-ac40-4020faf7bf32 | Translated (100%) | Cooking | 烹饪 |
| 300545aaff3f-360f-4f7f-b5dc-e763764d10ee | Translated (CM) | 40% steam mode | 40% 蒸汽模式 |
| 300617505f58-74c9-4893-8ea1-8593b8c91ffb | Translated (CM) | 0.37P+4.5 kW | 0.37P+4.5 kW |
| 3007ddc92529-7905-48fe-bd1a-0556d8b6a3f3 | Translated (100%) | 50% steam mode | 50% 蒸汽模式 |
| 30085bce6c97-6f7c-40a5-88c9-0f6cdf1bc393 | Translated (CM) | 0.133P+0.6400 kW | 0.133P+0.6400 kW |
| 300952765d9e-e515-4272-9081-07c93484cb93 | Translated (100%) | Combination oven, steam mode | 组合烤箱，蒸汽模式 |
| 3010ca897965-2d29-4118-a573-c247d2176ce4 | Translated (CM) | Gas | 天然气 |
| 3011d48471c5-68bf-4b56-9d4c-4d4fb22fa62a | Translated (100%) | Cooking | 烹饪 |
| 30123a5b4dad-2987-4d11-b8c5-fe1375830d7b | Translated (CM) | 20% steam mode | 20% 蒸汽模式 |
| 30138cd970eb-121b-442b-bdd5-4de8d8d644c9 | Translated (100%) | (1 210P+ | (1 210P+ |
| 3014d83f32ef-4d19-4001-9992-3ce97fa48567 | Translated (100%) | 35 810)/3 412 kW | 35 810)/3 412 kW |
| 3015af99159f-ebcf-4db4-88fc-f41199b1d987 | Translated (100%) | 38% steam mode | 38% 蒸汽模式 |
| 30168c02dda5-0a38-4b78-a63e-d2b4b97c07d8 | Translated (100%) | (200P+6 511)/ | (200P+6 511)/ |
| 301795c11d6a-cda7-4e50-bb22-025790f7911f | Translated (0%) | 3 412 kW | 3 412 kW |
| 30182925a19b-2976-4510-828a-f0e73d79d36f | Translated (100%) | Combination oven, convection mode | 组合烤箱，对流模式 |
| 30190ebaea5b-7a6f-4d34-81c4-2e578e3857a6 | Translated (CM) | Elec | 电力 |
| 3020378e276d-4c61-4a1a-896f-9dd1727b2882 | Translated (100%) | Cooking | 烹饪 |
| 3021474e6d2a-3e57-4eaf-98c0-42093ccfc80a | Translated (CM) | 65% convection mode | 65% 对流模式 |
| 3022ce178b62-fb92-4ab3-9d67-52b5c6a4975c | Translated (CM) | 0.1P+1.5 kW | 0.1P+1.5 kW |
| 302328d610da-6394-43a0-8e4b-a2d44d483759 | Translated (CM) | 70% convection mode | 70% 对流模式 |
| 3024f34b6541-617a-4d58-8a11-4d28357b216c | Translated (100%) | 0.080P+0.4989 kW | 0.080P+0.4989 kW |
| 3025ff930353-9f02-4f0b-92d2-ad5e2da2a636 | Translated (100%) | Combination oven, convection mode | 组合烤箱，对流模式 |
| 3026b1f2379b-a1b7-4c3f-bcfd-4e4d267ac6be | Translated (CM) | Gas | 天然气 |
| 3027c8e94802-4efe-4729-911f-68b4286856b9 | Translated (100%) | Cooking | 烹饪 |
| 3028ed9e5b48-d701-4d64-a02e-955a2caf166b | Translated (CM) | 35% convection mode | 35% 对流模式 |
| 3029279137c2-39be-4cd0-a68d-8cf0bd01f02c | Translated (100%) | (322P+ | (322P+ |
| 3030d5861ec0-87f7-46c3-86f0-dc61ea93f5ad | Translated (100%) | 13 563)/ | 13 563)/ |
| 3031b46c5cc2-41d9-45f9-8aaa-be7ee95a5f96 | Translated (100%) | 3412 kW | 3412 kW |
| 3032967b11f4-fabc-404d-a17a-08d9ebcd4628 | Translated (100%) | 44% convection mode | 44% 对流模式 |
| 30332b0ce756-c823-4f37-8e66-9e2d419a7434 | Translated (100%) | (150P+5 425)/ | (150P+5 425)/ |
| 30340bfab7be-5318-46da-a527-9303e4914047 | Translated (100%) | 3412 kW | 3412 kW |
| 303543067e95-aaca-42f2-879c-57e7a6e6a984 | Translated (CM) | Convection oven, full-size | 对流烤箱，全尺寸 |
| 30360845e63c-02b6-4265-bd1f-6fd86539d04b | Translated (CM) | Elec | 电力 |
| 30374712298c-7e26-4c0f-ad73-6bb2d4c395fc | Translated (100%) | Cooking | 烹饪 |
| 303828e077c2-5e65-4ca8-8e79-609868b66e3f | Translated (100%) | 65% | 65% |
| 303916f76bf9-f570-46fd-8af9-1d6966eaecd8 | Translated (100%) | 2.0 kW | 2.0 kW |
| 3040fee94627-bddd-4de6-ad73-2662b3969d77 | Translated (100%) | 71% | 71% |
| 3041d1069ac1-9d52-4782-800f-40f53d8e13b2 | Translated (100%) | 1.6 kW | 1.6 kW |
| 304251d39815-4216-4475-a5e9-205db0c0a8b4 | Translated (CM) | Convection oven, full-size | 对流烤箱，全尺寸 |
| 3043e1fbbaeb-b2c7-42ac-be17-3e85ab7eb7f8 | Translated (CM) | Gas | 天然气 |
| 3044297222a2-2671-4116-bb1f-c9abf7d813cc | Translated (100%) | Cooking | 烹饪 |
| 3045ea4388c6-fa65-4b55-bfe4-769c05ada711 | Translated (100%) | 30% | 30% |
| 304625d55e6e-40ef-42bf-b362-b525ef8dac1c | Translated (100%) | 5.3 kW | 5.3 kW |
| 30471e156f55-9742-4b3b-a3ba-8f1260691f8d | Translated (100%) | 46% | 46% |
| 3048686a1d21-5497-4d0c-ac9b-d66a81d04944 | Translated (100%) | 3.5 kW | 3.5 kW |
| 30496a9a4560-2d2e-4ca9-b784-b2bf35ce09af | Translated (100%) | Convection oven, half-size | 对流烤箱，半尺寸 |
| 30503eca9d0a-e666-4709-a8eb-625d15608d58 | Translated (CM) | Elec | 电力 |
| 3051c2188449-ea92-44e0-b11e-bc7898357447 | Translated (100%) | Cooking | 烹饪 |
| 3052db0b518d-8300-471c-95a9-731a1ebc4769 | Translated (100%) | 65% | 65% |
| 30535c9e5078-68fb-41aa-82d1-afd835d2e69d | Translated (100%) | 1.5 kW | 1.5 kW |
| 30545588399f-354f-413c-84ce-51a308f9710f | Translated (100%) | 71% | 71% |
| 3055f5014b0c-0b69-45c4-9d86-9ad54fd58b8d | Translated (100%) | 1.0 kW | 1.0 kW |
| 305688cedd57-4763-48a6-954e-16684fd3940c | Translated (100%) | Conveyor oven, > 63.5 cm belt | 链条式平炉，> 63.5 cm 传送带 |
| 3057487c82c6-d99b-4529-96c5-eb349403e0bf | Translated (100%) | Gas | 天然气 |
| 30580105e2fd-5754-4f90-8a57-cf5b7ee2e4a7 | Translated (100%) | Cooking | 烹饪 |
| 3059cbe050d3-d8cf-4d7c-9c2c-8f6be8e06b9a | Translated (100%) | 20% | 20% |
| 3060e568c1e4-c2aa-4aec-bdee-cefa38d89866 | Translated (100%) | 20.5 kW | 20.5 kW |
| 306196718206-f626-47fb-93a7-2f8f148d1288 | Translated (100%) | 42% | 42% |
| 30625a677950-1d4a-432b-8205-d547f71a553e | Translated (100%) | 16.7 kW | 16.7 kW |
| 3063017aa47b-30fe-4a52-b5f4-1974b4a3cbb3 | Translated (99%) | Conveyor oven, < 63.5 cm belt | 链条式平炉，< 63.5 cm 传送带 |
| 3064f1e6eefb-273b-4d8a-8911-2ab68d7a5c03 | Translated (CM) | Gas | 天然气 |
| 3065206e2629-e283-4a04-920b-c3be5712243c | Translated (100%) | Cooking | 烹饪 |
| 306676913755-02a7-4526-842e-f4a66487c43b | Translated (100%) | 20% | 20% |
| 30678f164d5f-d93f-4476-a62a-f23efe2f8c04 | Translated (100%) | 13.2 kW | 13.2 kW |
| 30685b2ed548-1ec8-4ebf-9a82-be46656c01be | Translated (100%) | 42% | 42% |
| 30696079ddec-0953-47fe-a55c-d335778b2912 | Translated (100%) | 8.5 kW | 8.5 kW |
| 30703d7dbd3a-86b3-48b5-9a0d-dfa905cbd18f | Translated (100%) | Fryer | 炸锅 |
| 3071abff8888-f7c2-4309-b624-5a1437af819a | Translated (CM) | Elec | 电力 |
| 30726121120c-2d69-4d89-8729-ba22f0dc8e03 | Translated (100%) | Cooking | 烹饪 |
| 3073ecfe005d-3c13-456c-a93c-56f87e084d0f | Translated (100%) | 75% | 75% |
| 30745c1b431f-6862-4d09-a636-601fd7dc78e2 | Translated (100%) | 1,05 kW | 1,05 kW |
| 30752cd3d744-0d8d-42d8-9d69-1cf52442f3c5 | Translated (100%) | 80% | 80% |
| 3076bbd57234-e0ca-46fa-b313-4608121e4e5b | Translated (100%) | 1.0 kW | 1.0 kW |
| 3077eeff2167-8747-4d2b-bb1f-5de59ae913ec | Translated (100%) | Fryer | 炸锅 |
| 30788cc18948-f143-425e-839f-d6b53dc7e956 | Translated (CM) | Gas | 天然气 |
| 3079b0d6f7c5-f038-4154-bc0d-66ab6274e6c3 | Translated (100%) | Cooking | 烹饪 |
| 30801eef1fb6-a307-4f09-9b82-58e25c5165fd | Translated (100%) | 35% | 35% |
| 30818a65e616-8103-4d08-a9c8-83eaf1d976ab | Translated (100%) | 4.1 kW | 4.1 kW |
| 30826a0d5cda-d543-44da-8d43-a067feb1a5fe | Translated (100%) | 50% | 50% |
| 30836273f426-e7f4-4ee3-986a-6c5a212bd6ef | Translated (100%) | 2.64 kW | 2.64 kW |
| 3084cec82b0b-0b4c-4578-ba31-a23fc77793fc | Translated (100%) | Griddle (based on 90-cm model) | 煎锅（基于 90 cm 型号） |
| 308585b87a93-55d2-4b9b-baed-58e028ae13b5 | Translated (100%) | Elec | 电力 |
| 3086390adc20-79dd-4118-8802-d52e9e316725 | Translated (100%) | Cooking | 烹饪 |
| 3087ed809b54-6aa7-4e5b-8ec6-e50b2000de9e | Translated (100%) | 60% | 60% |
| 3088e964a029-be11-48a6-952d-a96462004807 | Translated (100%) | 4.3 kW/m<4270>2</4270> | 4.3 kW/m<4270>2</4270> |
| 308961de84ec-1fdb-4543-9e3e-1b5ed8a84263 | Translated (100%) | 70% | 70% |
| 309033434898-8c79-43c7-9c41-ce9e90eebad6 | Translated (CM) | 3 .45 kW/m<4277>2</4277> | 3 .45 kW/m<4277>2</4277> |
| 3091af6d1411-2e34-4cdd-a4cc-83a3bf304731 | Translated (100%) | Griddle (based on 90-cm model) | 煎锅（基于 90 cm 型号） |
| 3092f6a21ad4-05ca-4c09-8284-0ecdce69ba15 | Translated (100%) | Gas | 天然气 |
| 3093e6302d64-bb2c-42fd-8932-cac2e0376408 | Translated (100%) | Cooking | 烹饪 |
| 3094996add1a-867d-432b-9fc3-67ab82d6f563 | Translated (100%) | 30% | 30% |
| 3095e71e93da-81db-4048-9951-95e8ba3eb204 | Translated (100%) | 11 kW/m<4293>2</4293> | 11 kW/m<4293>2</4293> |
| 3096c81d64fe-8e08-4eda-99dc-8a91ad3fd266 | Translated (100%) | 33% | 33% |
| 3097927ea54c-28dd-4e35-81c8-a9c73f9f380a | Translated (100%) | 8.35 kW/m<4300>2</4300> | 8.35 kW/m<4300>2</4300> |
| 309835727aaa-5e80-4aa3-837f-b09b756423bd | Translated (CM) | Hot food holding cabinets (excluding drawer warmers and heated display) 0 < V < 0.368 m<4304>3</4304> (V = volume) | 热食物储藏柜（不包括抽屉式加热器和加热显示器），0 < V < 0.368 m<4304>3</4304> (V = 体积) |
| 309911386ff7-224f-4f7d-9417-2b04279e18e7 | Translated (100%) | Elec | 电力 |
| 3100da10269f-8f97-46cd-9db8-6cf4cff41bd6 | Translated (100%) | Cooking | 烹饪 |
| 3101cf200056-11bd-43c5-b83c-d39bf34a4233 | Translated (100%) | na | na |
| 31025115bd6b-fb2d-4335-8ec9-4c63553ac748 | Translated (100%) | 1.4 kW/m<4317>3</4317> | 1.4 kW/m<4317>3</4317> |
| 3103077f410d-2307-410e-8ab0-f015ad10da64 | Translated (100%) | na | na |
| 310441bdaaa6-2b23-4701-b37e-4d5b9667cedb | Translated (0%) | (21.5*V)/0.0283 kW/m<4324>3</4324> | (21.5*V)/0.0283 kW/m<4324>3</4324> |
| 31059c422004-6ecb-4342-9bdc-ae8e2c745770 | Translated (90%) | Hot food holding cabinets (excluding drawer warmers and heated display), 0.368 ≤ V < 0.793 m<4328>3</4328> | 热食物储藏柜（不包括抽屉式加热器和加热显示器），0.368 ≤ V < 0.793 m<4328>3</4328> |
| 31068ed8c310-6b74-4fa1-9e9c-d9602567c158 | Translated (100%) | Elec | 电力 |
| 3107ecef2630-8e51-4bd3-aed9-db1263fdd2f5 | Translated (100%) | Cooking | 烹饪 |
| 3108a2c0eec1-ff4b-4af1-83b4-305c483b4d67 | Translated (100%) | na | na |
| 310980961ff7-0bf8-48ee-9847-351603b6fb2b | Translated (100%) | 1.4 kW/m<4341>3</4341> | 1.4 kW/m<4341>3</4341> |
| 311014892e80-bbaf-4709-9131-92be9a7e1e65 | Translated (100%) | na | na |
| 31115d762ce8-0514-4203-bcd7-e7c1f4693aa4 | Translated (0%) | (2.0*V + 254)/0.0283 kW/m<4348>3</4348> | (2.0*V + 254)/0.0283 kW/m<4348>3</4348> |
| 31121f80c09f-1380-4da4-b2b6-596bada10e94 | Translated (89%) | Hot food holding cabinets (excluding drawer warmers and heated display), 0.793 m<4352>3</4352> ≤ V | 热食物储藏柜（不包括抽屉式加热器和加热显示器），0.793 m<4352>3</4352> ≤ V |
| 3113cdc54db7-08a1-4aae-be6c-f48b9213a848 | Translated (100%) | Elec | 电力 |
| 311476cd1247-c94b-4555-b37f-016f7268b4f7 | Translated (100%) | Cooking | 烹饪 |
| 3115bf87b9b1-1777-4b1d-9bbf-afbd5b83d80e | Translated (100%) | na | na |
| 3116c8c56603-4776-4f95-82e6-b02b67b47695 | Translated (100%) | 1.4 kW/m<4365>3</4365> | 1.4 kW/m<4365>3</4365> |
| 311776c1fe7d-0f52-4fe6-a7cc-fd7fb3ab62f1 | Translated (100%) | na | na |
| 31182f2debff-132b-4c2e-9f18-37151ac1a772 | Translated (100%) | (3.8*V + 203.5)/0.0283 kW/m<4372>3</4372> | (3.8*V + 203.5)/0.0283 kW/m<4372>3</4372> |
| 3119867d1987-5234-407d-9599-7fad4338af5d | Translated (100%) | Large vat fryer | 大桶炸锅 |
| 3120b9abad27-ef66-4d59-b875-7b46957b2deb | Translated (100%) | Elec | 电力 |
| 3121d5d15020-61d1-4d20-bf8a-3b2324a6220b | Translated (100%) | Cooking | 烹饪 |
| 3122a4c050db-9e29-4800-89fb-453cc7448eb5 | Translated (100%) | 75% | 75% |
| 312325950a79-11c9-4c55-a0c9-581e95b26faa | Translated (100%) | 1.35 kW | 1.35 kW |
| 3124ed91c66e-a412-472c-ac99-a95f9c9a3e8a | Translated (100%) | 80% | 80% |
| 312503406fe3-e7b5-432f-be8c-a30c94f79ed5 | Translated (100%) | 1.1 kW | 1.1 kW |
| 3126ecd75e93-75bf-4355-a191-44e5d6e803b3 | Translated (100%) | Large vat fryer | 大桶炸锅 |
| 31278706e6a1-8572-4f3f-8233-ba201298615a | Translated (CM) | Gas | 天然气 |
| 3128a651422c-220e-47c4-a0ca-18e6f5f070cb | Translated (100%) | Cooking | 烹饪 |
| 3129260dfe8d-d840-400d-bf18-a21f178ffa17 | Translated (100%) | 35% | 35% |
| 31300227a6a4-db16-469b-819c-2446705d9cb4 | Translated (100%) | 5.86 kW | 5.86 kW |
| 313148ff10f6-ef6d-48a0-9810-fc06941db9de | Translated (100%) | 50% | 50% |
| 31322d9e8d5b-dee3-4ab1-8d62-a7add62fb0f8 | Translated (100%) | 3.5 kW | 3.5 kW |
| 313300a4e3c7-f08e-4bcd-8744-06e3a434d542 | Translated (100%) | Rack oven, double | 搁架式烤炉，双 |
| 3134dc7e262d-d774-45bf-8391-fd708ccde40d | Translated (CM) | Gas | 天然气 |
| 3135a8e395ca-6b39-4a4d-953f-3f58aebd3f94 | Translated (100%) | Cooking | 烹饪 |
| 3136d8980f2b-5a3e-4054-90a4-9489a229fc1f | Translated (100%) | 30% | 30% |
| 31372279d462-ec4a-4dd9-b23f-cec2b1076ad1 | Translated (100%) | 19 kW | 19 kW |
| 3138a353778f-ad23-4030-ba62-c0207ec7e75e | Translated (100%) | 50% | 50% |
| 313906aa33c4-fe76-4e4b-8a6b-cf19277361b6 | Translated (100%) | 10.25 kW | 10.25 kW |
| 3140fb1cc789-8cf3-47a6-9816-f3ce3b5d6477 | Translated (100%) | Rack oven, single | 搁架式烤炉，单 |
| 3141a556cb92-94cf-4dcb-af86-6b341066c764 | Translated (CM) | Gas | 天然气 |
| 314277c783a0-fc57-4de1-8a32-15743dc52cb4 | Translated (100%) | Cooking | 烹饪 |
| 31433c5c01d5-b24d-4dec-ab82-7920a762ad74 | Translated (100%) | 30% | 30% |
| 3144d0aba432-89bd-43fd-9a14-53d26b03a6c8 | Translated (100%) | 12.6 kW | 12.6 kW |
| 31458fdf2916-dcfe-43de-aaa3-78cea961ec39 | Translated (100%) | 50% | 50% |
| 3146af14b6f1-7bca-44ad-9af1-5be24027a54b | Translated (100%) | 8.5 kW | 8.5 kW |
| 3147bd057243-0cab-4b36-afbf-aeb9c10cdf2f | Translated (100%) | Range | 炉灶 |
| 314829465fab-e1cd-4b13-a800-da1b853a7d21 | Translated (CM) | Elec | 电力 |
| 3149f205cb24-0396-47a0-8ae4-8e2fad3b60d9 | Translated (100%) | Cooking | 烹饪 |
| 31508d2db3cc-a748-4bf7-b13b-a70379ee9398 | Translated (100%) | 70% | 70% |
| 31519a13d98b-dd99-4cdb-b2a9-7bbbc35491e0 | Translated (100%) | na | na |
| 3152e4f8f7f5-9b81-44a8-8ac3-a1634ed6a05b | Translated (100%) | 80% | 80% |
| 3153adf4d3ce-5156-4c4a-a77f-707db2a843e6 | Translated (100%) | na | na |
| 31548a3328b8-c0c1-4e28-960f-4526e19abb99 | Translated (100%) | Range | 炉灶 |
| 315512cada52-b718-4c1f-8da7-28d22d45ca1b | Translated (CM) | Gas | 天然气 |
| 315670c06991-1df2-4dc3-ad7a-d56b63e980e5 | Translated (100%) | Cooking | 烹饪 |
| 3157d048d5a8-8141-45d9-8a5c-95b02fd7ff51 | Translated (100%) | 35% | 35% |
| 3158a4b0f078-ddc6-4c26-a5e6-07c1a3f02ad5 | Translated (100%) | na | na |
| 3159e06ce8b0-b36a-4a9c-a460-1f9cd1e81905 | Translated (CM) | 40% and no standing pilots | 40% 且无竖直引燃器 |
| 31602cde3184-4958-4148-a7ac-3f295a12b4fc | Translated (CM) | na | na |
| 316127c2b790-99e7-4e37-bfe4-89bc74e74528 | Translated (CM) | Steam cooker, batch cooking | 蒸汽锅，批量烹饪 |
| 3162d09f85e3-a5e0-46b7-a841-bed724916f77 | Translated (CM) | Elec | 电力 |
| 31635ea0ced5-2eca-495c-b5b0-464c85763acf | Translated (100%) | Cooking | 烹饪 |
| 31644abf581c-b433-4cb1-9b33-6561685cc58f | Translated (100%) | 26% | 26% |
| 31655e139933-6b9f-4068-adb4-5016ed0622ae | Translated (100%) | 200 W/pan | 200 W/盘 |
| 31665242d995-d335-4708-9ada-c7c3947abe1c | Translated (100%) | 50% | 50% |
| 316719d99c83-c176-4576-a18e-e43919add7fe | Translated (100%) | 135 W/pan | 135 W/盘 |
| 31681b406e0d-8bbc-4d2c-ab05-587a8d99c082 | Translated (CM) | Steam cooker, batch cooking | 蒸汽锅，批量烹饪 |
| 31693f0fbf71-ddb6-416f-a48c-a7e3f745bf00 | Translated (CM) | Gas | 天然气 |
| 3170ebd51f26-f75c-4f2a-9ded-0a869cee1c10 | Translated (100%) | Cooking | 烹饪 |
| 3171c5dfc645-91cc-458a-b253-898952d3ee8a | Translated (100%) | 15% | 15% |
| 3172707e0a1e-3d82-44aa-845f-5040e898aee9 | Translated (100%) | 733 W/pan | 733 W/盘 |
| 31732a4d1d56-733c-4c22-b309-f24270817897 | Translated (100%) | 38% | 38% |
| 3174f63fc568-37c9-42f7-9a0d-c1b6c4318458 | Translated (100%) | 615 W/pan | 615 W/盘 |
| 3175660475f1-b094-4922-903f-28cce44013c9 | Translated (100%) | Steam cooker, high production or cook to order | 蒸汽锅，高产量或按订单烹饪 |
| 317672070c14-c86c-4484-bb20-9ce7ff5b5bd0 | Translated (CM) | Elec | 电力 |
| 31776991303b-2f91-49ab-b73a-b616212a9b8d | Translated (100%) | Cooking | 烹饪 |
| 31785cb5778f-860b-46de-91e6-cf5f9c8f4050 | Translated (100%) | 26% | 26% |
| 31793cd5d2c4-295f-4f1f-801a-1608db5438c6 | Translated (100%) | 330 W/pan | 330 W/盘 |
| 3180926a07a0-8bc6-4766-b2d4-902f8d7ee6dc | Translated (100%) | 50% | 50% |
| 31813bd22963-7015-4ed4-89cf-094fbceb52bb | Translated (100%) | 275 W/pan | 275 W/盘 |
| 3182e2f4ab1b-f823-49e3-9560-08f13f6d3e25 | Translated (100%) | Steam cooker, high production or cook to order | 蒸汽锅，高产量或按订单烹饪 |
| 31836d767ded-2d12-49bd-97c7-59e5fdab00c9 | Translated (CM) | Gas | 天然气 |
| 3184f7bb5532-38a2-4821-ac26-ad3f22c7d72a | Translated (100%) | Cooking | 烹饪 |
| 318574509c59-bc5f-4772-abf8-12f79cfc8f68 | Translated (100%) | 15% | 15% |
| 3186caf92485-31a2-4781-a18b-a0009852c1a8 | Translated (100%) | 1.47 kW/pan | 1.47 kW/盘 |
| 31870b4fd9ff-2ccc-4e1f-af8e-80a28b6ee778 | Translated (100%) | 38% | 38% |
| 318879d2c467-9af0-4860-85bd-f8ba86a84cd0 | Translated (100%) | 1.26 kW/pan | 1.26 kW/盘 |
| 318902f026a1-d701-4a47-ba4a-3bac4b44ff1b | Translated (100%) | Toaster | 烤面包机 |
| 31909cb4566c-b009-4f8d-9af8-0443d8e92eb0 | Translated (CM) | Elec | 电力 |
| 319160594de6-7c3c-4f96-9826-217a752a7229 | Translated (100%) | Cooking | 烹饪 |
| 3192a52acadc-4109-4adb-aa7a-d7e619307735 | Translated (100%) | na | na |
| 3193258355a8-a265-42ff-93b5-1bcb91cbd403 | Translated (100%) | 1.8 kW average operating energy rate | 1.8 kW 平均运行功率 |
| 31940a0fd333-7a33-45dc-8fa2-93100b0409ff | Translated (100%) | na | na |
| 319512f0eddf-1264-4e0e-833a-65ed6ac43473 | Translated (100%) | 1.2 kW average operating energy rate | 1.2 kW 平均运行功率 |
| 319643ec2187-7a9c-4e1c-a2f1-948f2f602ae9 | Translated (99%) | Ice machine, IMH (ice making head, H = ice harvest) H <4610>≥</4610> 204 kg/day | 制冰机，IMH（制冰头，H = 产冰量），H <4610>≥</4610> 204 kg/天 |
| 319724c8c23e-506b-486f-9f8f-402419d6fda1 | Translated (100%) | Elec | 电力 |
| 319896963e0b-4ff7-475c-ba56-230bddfff349 | Translated (100%) | Ice | 制冰 |
| 319904bd4985-1040-490e-90ae-c183de8a1222 | Translated (81%) | 0.0015 - 5.3464E<4620>-07</4620> kWh/kg ice | 0.0015 - 5.3464E<4620>-07</4620> kWh/kg 冰 |
| 32006e5d8faf-4c36-4f27-ae35-6ca9b78914b9 | Translated (100%) | na | na |
| 3201dbd68130-d532-4774-92b0-e217ff6b302c | Translated (93%) | ≤ 13.52*H<4627>-0.298</4627> kWh/100 kg ice | ≤ 13.52*H<4627>-0.298</4627> kWh/100 kg 冰 |
| 3202ec827acf-53ea-41d8-b90d-43a250b89f2e | Translated (CM) | na | na |
| 32034d0ce5d5-c4f1-4a47-a064-da4034196736 | Translated (100%) | Ice machine, IMH (ice making head), H < 204 kg/day | 制冰机，IMH（制冰头），H < 204 kg/天 |
| 320413015ca4-2a13-40ae-ad21-d37bf10283f7 | Translated (100%) | Elec | 电力 |
| 32055aef3a57-4965-47e1-9edd-702b0483a6c0 | Translated (100%) | Ice | 制冰 |
| 320622e4d2a9-5252-4bec-86ff-721b335dea5e | Translated (87%) | 0.2262 - 4.18E<4643>-04</4643> kWh/kg ice | 0.2262 - 4.18E<4643>-04</4643> kWh/kg 冰 |
| 320746123a9b-c832-4149-ac30-1d5ec81a3218 | Translated (100%) | na | na |
| 320840ef2792-59d0-4a4c-9d8e-7d57b2f2b423 | Translated (CM) | ≤ 13.52*H<4650>-0.298</4650> kWh/100 kg ice | ≤ 13.52*H<4650>-0.298</4650> kWh/100 kg 冰 |
| 3209bafd1839-4f42-46f8-8df8-189e4c6bcf2a | Translated (CM) | na | na |
| 321019125e26-7e67-411b-af39-b1342e09477b | Translated (98%) | Ice machine, RCU <4657> </4657>(remote condensing unit, w/o remote compressor) H < 454 kg/day | 制冰机，RCU（远程冷凝装置，不带远程压缩机），H < 454 kg/天 |
| 3211397f84ed-2721-4a86-b16c-30651d9ac6eb | Translated (100%) | Elec | 电力 |
| 3212f4bcd34e-59a4-40fb-9536-088e941ab4eb | Translated (CM) | Ice | 制冰 |
| 3213d827091f-6d92-411a-8124-7e6857921293 | Translated (88%) | 0.1951 - 1.85E<4667>-04</4667> kWh/kg ice | 0.1951 - 1.85E<4667>-04</4667> kWh/kg 冰 |
| 321448217c2c-0ad0-4d4d-bb4d-9cbc13aef48d | Translated (100%) | na | na |
| 3215ff99b634-7b6b-48b2-9c6f-e329f7cc4820 | Translated (88%) | ≤ 111.5835H<4674>-0.258</4674>) + 2.205 kWh/100 kg ice | ≤ 111.5835H<4674>-0.258</4674>) + 2.205 kWh/100 kg 冰 |
| 3216c59518a8-423a-42a6-b01a-16fc13588174 | Translated (100%) | na | na |
| 321715a2275d-b26d-4761-b4ef-63e8532bf540 | Translated (99%) | Ice machine, RCU (remote condensing unit) 726 > H <4681>≥</4681> 454 kg/day | 制冰机，RCU（远程冷凝装置），726 > H <4681>≥</4681> 454 kg/天 |
| 3218663ba0c3-6b68-4d61-ac54-daca8cf6193a | Translated (CM) | Elec | 电力 |
| 32199b1ca2a2-445a-4ce7-a739-ad9b4926476b | Translated (CM) | Ice | 制冰 |
| 32200f4549cb-d004-4ab4-b47f-77c259a80b89 | Translated (99%) | 0.1124 kWh/kg ice | 0.1124 kWh/kg 冰 |
| 3221391e02a4-a7f2-4566-8817-b3486ca3ee92 | Translated (100%) | na | na |
| 3222dd444272-1afe-4c90-bd14-1f80d108fb0d | Translated (100%) | ≤ 111.5835H<4697>-0.258</4697>) + 2.205 kWh/100 kg ice | ≤ 111.5835H<4697>-0.258</4697>) + 2.205 kWh/100 kg 冰 |
| 32234b29d41d-15b0-4de6-a7fb-66b6b3f5e9b6 | Translated (CM) | na | na |
| 32240240a1e4-2fed-4faf-8c8f-349861bc764d | Translated (CM) | Ice machine, RCU (remote condensing unit), H <4704>></4704> 726kg/day | 制冰机，RCU（远程冷凝装置），H <4704>></4704> 726 kg/天 |
| 322540133ead-9c88-40a8-b04f-5923e47ef3f9 | Translated (CM) | Elec | 电力 |
| 3226bc0ac3c2-abf3-4aff-92ad-68dbc3142b03 | Translated (CM) | Ice | 制冰 |
| 3227dbbd28e7-0b12-4920-ab01-ce87aaf76507 | Translated (CM) | 0.1124 kWh/kg ice | 0.1124 kWh/kg 冰 |
| 3228b83bcc9a-6d51-4c01-ab90-f107ff830bd5 | Translated (CM) | na | na |
| 322946ab2af9-33f6-45ef-9ef2-95fd9eebeafc | Translated (100%) | ≤ -0.00024H + 4.60 kWh/100 kg ice | ≤ -0.00024H + 4.60 kWh/100 kg 冰 |
| 32309686b904-ec9b-44ba-bf10-9e1d3156e311 | Translated (100%) | na | na |
| 3231fc6bfd6a-482d-4c78-9006-9b31a0b8fa06 | Translated (100%) | Ice machine, SCU (self contained unit), H < 79 kg/day | 制冰机，SCU（独立装置），H < 79 kg/天 |
| 32327a8bc47d-4a17-46ec-b4dd-cfaa6dcc1620 | Translated (100%) | Elec | 电力 |
| 3233570c54e5-1c04-4c43-a7fe-09a8497ae12b | Translated (CM) | Ice | 制冰 |
| 32348e6cc6d5-7ed6-43f0-a343-6d6b4391a25f | Translated (88%) | 0.3968 - 2.28E<4735>-03</4735> kWh/kg ice | 0.3968 - 2.28E<4735>-03</4735> kWh/kg 冰 |
| 3235acd6f32c-2822-4ccc-b84b-bfe5fe5fdd0a | Translated (100%) | na | na |
| 3236a7f6d2d0-43b5-4f8d-a1c5-0932004e7dcf | Translated (CM) | 236.59H<4742>-0.326 </4742>+0.176 kWh/100 kg ice | 236.59H<4742>-0.326 </4742>+0.176 kWh/100 kg 冰 |
| 3237e9044fdb-7af9-413a-b548-cb3d0059390a | Translated (100%) | na | na |
| 323895d64473-1385-4a0e-ae21-6efc2e7898b6 | Translated (99%) | Ice machine, SCU (self contained unit), H <4749>≥</4749> 79 kg/day | 制冰机，SCU（独立装置），H <4749>≥</4749> 79 kg/天 |
| 32396621d807-ec10-4a90-a7cd-9a156469cad4 | Translated (100%) | Elec | 电力 |
| 3240e2694991-7053-4daa-a29e-f145e48c82c3 | Translated (CM) | Ice | 制冰 |
| 3241b1df6d9a-f666-4e65-9dc7-0165db22c78e | Translated (CM) | 0.2161 kWh/kg ice | 0.2161 kWh/kg 冰 |
| 3242eb22247b-1383-4740-ad34-74d5d1c71e79 | Translated (CM) | na | na |
| 3243b1d4081a-0a52-4240-aa97-08b4bdbf7ff9 | Translated (CM) | 236.59H<4765>-0.326 </4765>+0.176 kWh/100 kg ice | 236.59H<4765>-0.326 </4765>+0.176 kWh/100 kg 冰 |
| 3244b849fc36-aff3-49ce-af65-0a5db4da7241 | Translated (CM) | na | na |
| 32454cf50ccf-15aa-4823-8ece-04396b5aef1c | Translated (98%) | Ice machine, water-cooled ice-making head, H <4772>≥</4772> 651 kg/day(must be on a chilled loop) | 制冰机，水冷制冰头，H <4772>≥</4772> 651 kg/天（必须在冷却回路上） |
| 32463c6b6191-9183-4c2c-8abf-f2264ea02da8 | Translated (100%) | Elec | 电力 |
| 324793177bab-17ae-44fa-a469-dc197457bdc5 | Translated (CM) | Ice | 制冰 |
| 3248a586fdda-084e-4c3e-8075-359215f8ef95 | Translated (CM) | 0.0882 kWh/kg ice | 0.0882 kWh/kg 冰 |
| 32491a1483d5-0917-4c24-b628-73ce848d76e6 | Translated (CM) | na | na |
| 3250cef18eea-c1b4-4d42-8ef8-592a1d468e77 | Translated (100%) | ≤ 8.11 kWh/100 kg ice | ≤ 8.11 kWh/100 kg 冰 |
| 325181799b8c-7329-4c06-a03b-e78afc7807f2 | Translated (100%) | na | na |
| 32526a1435a0-2aab-47c5-8a22-1594462b6c39 | Translated (98%) | Ice machine, water-cooled ice-making head, 227 <4794>≤ </4794>H < 651 kg/day (must be on a chilled loop) | 制冰机，水冷制冰头，227 <4794>≤</4794> H < 651 kg/天（必须在冷却回路上） |
| 325354f1c25c-2d17-41d9-bfd7-f2847e2a4fa2 | Translated (100%) | Elec | 电力 |
| 3254715e8ce7-c8a1-4c87-98e6-3d451000abc4 | Translated (CM) | Ice | 制冰 |
| 3255649f4d9f-858e-4c1e-97f2-ee1235a92cbd | Translated (91%) | 0.1230 - 5.35E<4804>-05</4804> kWh/kg ice | 0.1230 - 5.35E<4804>-05</4804> kWh/kg 冰 |
| 325687e64063-3a20-430c-a9e9-eddee00f1c00 | Translated (100%) | na | na |
| 3257bcfc0bd7-3716-4166-b415-84d874b4fb3c | Translated (100%) | ≤ 11.31 - 0.065H kWh/100 kg ice | ≤ 11.31 - 0.065H kWh/100 kg 冰 |
| 32587145624c-4d94-47cc-89af-20e78657b54f | Translated (100%) | na | na |
| 32593802b953-eced-406b-a509-e2fad9b36960 | Translated (100%) | Ice machine, water-cooled ice-making head, H < 227 kg/day( must be on a chilled loop) | 制冰机，水冷制冰头，H < 227 kg/天（必须在冷却回路上） |
| 3260e6fe231c-9052-4d54-b3b5-c344e4ebcc1b | Translated (CM) | Elec | 电力 |
| 3261252aa6fa-f6ef-40e3-a137-4d05fb16a924 | Translated (CM) | Ice | 制冰 |
| 32621173bdc8-6c2a-4c47-b0db-60c174944ff1 | Translated (92%) | 0.1720 - 2.67E<4826>-04</4826> kWh/kg ice | 0.1720 - 2.67E<4826>-04</4826> kWh/kg 冰 |
| 3263d9bf0cf1-39b2-4b09-ac48-d25f6c257bac | Translated (100%) | na | na |
| 3264c1c0b02c-1ea9-4e3f-9e68-2d53ab4bb16a | Translated (100%) | ≤ 15.48 - 0.0238H kWh/100 kg ice | ≤ 15.48 - 0.0238H kWh/100 kg 冰 |
| 326563a3d020-2a6a-4bc1-86e6-ca9d556ee99b | Translated (100%) | na | na |
| 3266d46f3169-9815-473b-8a7c-b5740a036073 | Translated (100%) | Ice machine, water-cooled once-through (open loop) | 制冰机，水冷直流（开回路） |
| 3267c0e926e4-6ec1-4b48-b726-4727c28f70da | Translated (100%) | Elec | 电力 |
| 3268dbbda1c8-9c72-44fc-8cc9-c4b25a130d8b | Translated (CM) | Ice | 制冰 |
| 326934a538ce-e308-4d05-9e1f-7a67578ee6b6 | Translated (100%) | Banned | 禁止 |
| 32706041e4c5-3abe-46f0-be4f-a8e28de2fd68 | Translated (100%) | Banned | 禁止 |
| 327167c01b28-88df-456b-98e4-c0e5305fee48 | Translated (100%) | Banned | 禁止 |
| 32725655d09e-70ed-4a26-bfbd-43f2c5203700 | Translated (100%) | Banned | 禁止 |
| 3273b52f4fab-ace3-41d6-9248-132f3fc31575 | Translated (100%) | Ice machine, water cooled SCU (self-contained unit) H < 91 kg/day (must be on a chilled loop) | 制冰机，水冷 SCU（独立装置），H < 91 kg/天（必须在冷却回路上） |
| 327439d7effc-e214-452a-b118-bf1b7b8a74ac | Translated (100%) | Elec | 电力 |
| 327523bbf9f7-6b1b-43c7-a740-518f6c4d2471 | Translated (CM) | Ice | 制冰 |
| 3276195b6a4b-fb55-4da0-9125-a5e3b9ec48cc | Translated (88%) | 0.2513 - 9.23E<4869>-04</4869> kWh/kg ice | 0.2513 - 9.23E<4869>-04</4869> kWh/kg 冰 |
| 32770fb79e5b-b49e-456d-9108-8ea40d58ebc8 | Translated (100%) | na | na |
| 32784e5bbfcb-5082-4b59-9b0a-6b9797c0aabb | Translated (100%) | ≤ 23.37-0.086H kWh/100 kg ice | ≤ 23.37-0.086H kWh/100 kg 冰 |
| 327905b1bd78-59b8-464b-93e8-c39cd3ba1295 | Translated (100%) | na | na |
| 32802a4143e1-7cc6-4f3f-ac9e-cc3000ddf84e | Translated (99%) | Ice machine, water cooled SCU (self-contained unit) H <4882>></4882> 91 kg/day (must be on a chilled loop) | 制冰机，水冷 SCU（独立装置），H <4882>></4882> 91 kg/天（必须在冷却回路上） |
| 3281289fe7ec-a5dd-4fd6-b74e-42fe21ce786d | Translated (100%) | Elec | 电力 |
| 3282b88b4b3e-04dd-4832-8502-7417e6e756bf | Translated (CM) | Ice | 制冰 |
| 3283d4c84dd6-cca1-4c1b-b5b7-75c2cf04736d | Translated (CM) | 0.1676 kWh/kg ice | 0.1676 kWh/kg 冰 |
| 3284414a213b-d5bc-4ff4-bf6e-b3aa7cc9eb28 | Translated (CM) | na | na |
| 328526fbe30b-8c12-4065-9749-1f25b52d68a3 | Translated (100%) | 15.57 kWh/100 kg ice | 15.57 kWh/100 lb 冰 |
| 328664b3e3b2-b769-478d-a44a-158e73c5b243 | Translated (100%) | na | na |
| 328706299e13-21e7-4ac4-9b90-1bacd31ed9e2 | Translated (100%) | Chest freezer, solid or glass door | 卧式冷冻柜，实心或玻璃门 |
| 328894547e26-4a7c-4078-8668-798573674b97 | Translated (100%) | Elec | 电力 |
| 32891d3aaca8-d4f2-4ff1-b5e6-b6e503f52ac6 | Translated (CM) | Refrig | 制冷 |
| 3290a3d57f1c-bb77-4951-b0b5-58de71f447f8 | Translated (CM) | 15.90V + 0.943 kWh/day | 15.90V + 0.943 kWh/天 |
| 3291ecbdc7e1-3d55-4957-b13f-f28959c7602b | Translated (CM) | na | na |
| 3292999b9a76-35f8-4381-a554-da6c8bdefc21 | Translated (99%) | 9.541V + 0.130 kWh/day | 9.541V + 0.130 kWh/天 |
| 32937ee76ffd-4652-4e3b-9b6d-04d6a124f23b | Translated (CM) | na | na |
| 3294995134a9-54d3-4de5-a2e8-eceb2c2c0f21 | Translated (100%) | Chest refrigerator, solid or glass door | 卧式冰柜，实心或玻璃门 |
| 3295bba58597-ce9f-41c3-941b-58f3f302878f | Translated (100%) | Elec | 电力 |
| 32969d38ef62-fb6c-4b50-8303-aa55d7610a39 | Translated (CM) | Refrig | 制冷 |
| 3297fa47eacb-6b8e-4fcc-b58c-0805166493b5 | Translated (100%) | 3.53V + 2.04 kWh/day | 3.53V + 2.04 kWh/天 |
| 329854500db5-fc76-4687-aa87-b72f030e53ba | Translated (CM) | na | na |
| 3299e74c3ad3-20e1-4693-baa4-8bf7561e73e2 | Translated (CM) | ≤ 4.417 V + 0.475 kWh/day | ≤ 4.417 V + 0.475 kWh/天 |
| 3300f2cac7b8-9143-41f7-b03f-76fa13e109e2 | Translated (CM) | na | na |
| 33016d05cad6-5071-4229-a0f8-46ba0f189996 | Translated (80%) | Glass-door reach-in freezer, 0 < V < 0.42 m<4946>3</4946> | 手入式玻璃门冰柜，0 < V < 0.42 m<4946>3</4946> |
| 330242ee044c-595a-4c3e-a158-ecc4c80a496a | Translated (100%) | Elec | 电力 |
| 33032af78794-703b-4f71-b126-ee208f3346b1 | Translated (CM) | Refrig | 制冷 |
| 3304aeac0f2a-3188-4ff8-a2e8-118afe5f55c2 | Translated (CM) | 26.50V + 4.1 kWh/day | 26.50V + 4.1 kWh/天 |
| 3305697e7f41-3186-4dd5-9812-252626b3c3cd | Translated (CM) | na | na |
| 3306482a1bec-256a-446c-b1e6-4374c6bb660c | Translated (CM) | ≤ 21.449V + 0.893 kWh/day | ≤ 21.449V + 0.893 kWh/天 |
| 3307ea8bc972-b9e9-4e0a-a85a-cdbb3b56a3ad | Translated (CM) | na | na |
| 3308371cac91-605c-4c7f-ae54-d7d92d0f7e75 | Translated (99%) | Glass-door reach-in freezer, 0.42 ≤ V < 0.85 m<4968>3</4968> | 手入式玻璃门冰柜，0.42 ≤ V < 0.85 m<4968>3</4968> |
| 33098cec1e22-05d8-427d-8e71-56c472a9eee5 | Translated (CM) | Elec | 电力 |
| 33104b81764c-344c-45f1-9bd9-097cad8f3217 | Translated (CM) | Refrig | 制冷 |
| 3311da15f79e-348a-48f0-8e39-22bc61a31479 | Translated (100%) | 26.50V + 4.1 kWh/day | 26.50V + 4.1 kWh/天 |
| 331205f9070d-5fef-466d-8a25-a51abc256eda | Translated (CM) | na | na |
| 331360d82258-5238-4682-aba6-c9b0386076f3 | Translated (CM) | ≤ 25.901V – 1.00 kWh/day | ≤ 25.901V – 1.00 kWh/天 |
| 3314cebae804-c766-4a2d-8f32-43a99f5ff251 | Translated (CM) | na | na |
| 3315255c47be-4ce6-4d15-a534-d081ca3aba1c | Translated (100%) | Glass-door reach-in freezer, 0.85 ≤ V < 1.42 m<4990>3</4990> | 手入式玻璃门冰柜，0.85 ≤ V < 1.42 m<4990>3</4990> |
| 331692892063-3692-47f2-8a7a-bdf50a387e1d | Translated (CM) | Elec | 电力 |
| 3317c755136d-c98e-460f-af8b-741010ccc73c | Translated (CM) | Refrig | 制冷 |
| 3318581a37af-2d79-46a9-a1c5-23da15eb2078 | Translated (100%) | 26.50V + 4.1 kWh/day | 26.50V + 4.1 kWh/天 |
| 3319d653e026-1504-4948-afeb-fb710a4a372d | Translated (CM) | na | na |
| 332098b417b1-9844-4f95-9f2b-1031575f9499 | Translated (CM) | ≤ 8.834V + 13.50 kWh/day | ≤ 8.834V + 13.50 kWh/天 |
| 332134f5ec10-f9ed-415b-b5fb-69c1abd2ce23 | Translated (CM) | na | na |
| 33225fe17d2d-a3d7-47f0-b014-18d5924b469a | Translated (90%) | Glass-door reach-in freezer, 1.42 ≤ V m<5012>3</5012> | 手入式玻璃门冰柜，1.42 ≤ V m<5012>3</5012> |
| 3323398132cc-cbdc-4b8b-bfd8-b2cf3fee9ef6 | Translated (100%) | Elec | 电力 |
| 33242a142d6f-dc5f-47be-b4e6-f3252731cbb3 | Translated (CM) | Refrig | 制冷 |
| 33257fea9e89-184a-4874-b15d-72a4fe0f34b2 | Translated (CM) | 26.50V + 4.1 kWh/day | 26.50V + 4.1 kWh/天 |
| 3326d9e40ed0-6d83-4c0a-8ca2-e2632f11e7ce | Translated (CM) | na | na |
| 33270b03e5b6-9c95-4f3b-abae-9bedd19ca6d8 | Translated (CM) | ≤ 15.90V + 3.50 kWh/day | ≤ 15.90V + 3.50 kWh/天 |
| 3328a6c0a358-823c-4859-ba77-8a9f40fd1c50 | Translated (CM) | na | na |
| 33298445167d-d5e7-4d69-aa0d-1b45837c45a6 | Translated (91%) | Glass-door reach-in refrigerator, 0 < V < 0.42m<5034>3</5034> | 手入式玻璃门冰箱，0 < V < 0.42m<5034>3</5034> |
| 3330114dab83-1095-460c-ac82-cd33e2d9b4a0 | Translated (100%) | Elec | 电力 |
| 3331df25c7ed-436e-4eb1-b51c-81bbce185ed2 | Translated (CM) | Refrig | 制冷 |
| 3332d9af10d5-af77-4d19-b6f6-49572260e800 | Translated (CM) | 4.24V + 3.34 kWh/day | 4.24V + 3.34 kWh/天 |
| 333398767adf-8c42-466d-8146-314ee29f3c21 | Translated (CM) | na | na |
| 3334c08e9340-0bde-40e2-a644-94f15fe4f3e0 | Translated (CM) | ≤ 4.169V + 1.382 kWh/day | ≤ 4.169V + 1.382 kWh/天 |
| 33350309cee1-8312-4db8-9934-0e05d6b81aec | Translated (CM) | na | na |
| 3336bcf28320-c8c5-4eb5-8a35-db02d3c6b1b1 | Translated (99%) | Glass-door reach-in refrigerator, 0.42 ≤ V < 0.85 m<5056>3</5056> | 手入式玻璃门冰箱，0.42 ≤ V < 0.85 m<5056>3</5056> |
| 333745be6b91-567c-43ab-887d-f7d1db17dbb4 | Translated (CM) | Elec | 电力 |
| 33380dcb5581-2cfe-465f-a052-123bd96aff53 | Translated (CM) | Refrig | 制冷 |
| 333968c48744-54fe-41d6-9790-655193e10260 | Translated (100%) | 4.24V + 3.34 kWh/day | 4.24V + 3.34 kWh/天 |
| 3340758b8cb7-114c-44cf-b084-a86fc54fefab | Translated (CM) | na | na |
| 334173f06326-ec94-4818-9852-d60fef2a1b94 | Translated (CM) | ≤ 4.947V + 1.050 kWh/day | ≤ 4.947V + 1.050 kWh/天 |
| 33421067215b-b10f-4c5a-8b0c-f102d64cd63d | Translated (CM) | na | na |
| 3343d392a00b-866e-403f-b48e-708d47938ff5 | Translated (100%) | Glass-door reach-in refrigerator, 0.85 ≤ V < 1.42 m<5078>3</5078> | 手入式玻璃门冰箱，0.85 ≤ V < 1.42 m<5078>3</5078> |
| 3344c9183a75-44bf-4d11-b460-56eecb4b6bd9 | Translated (CM) | Elec | 电力 |
| 3345278f2e09-93c1-44e4-a09d-a9ca39b092c0 | Translated (CM) | Refrig | 制冷 |
| 3346af03eee0-862a-4472-a565-f06368353b84 | Translated (100%) | 4.24V + 3.34 kWh/day | 4.24V + 3.34 kWh/天 |
| 33479be94f18-cda4-4ef3-b26f-195b16b16d46 | Translated (CM) | na | na |
| 3348a1147a28-5f9c-4116-8d30-7003e4e79c5c | Translated (CM) | ≤ 3.109V + 2.625 kWh/day | ≤ 3.109V + 2.625 kWh/天 |
| 334935dbe6c9-516d-453f-b3e4-7b94cec2ec09 | Translated (CM) | na | na |
| 3350a3ee3346-e6a9-4240-976d-09824acdec72 | Translated (91%) | Glass-door reach-in refrigerator, 1.42 ≤ V m<5100>3</5100> | 手入式玻璃门冰箱，1.42 ≤ V m<5100>3</5100> |
| 33513ac0c4e3-3b3d-4ec6-ae2e-edb29995cb7f | Translated (100%) | Elec | 电力 |
| 3352d7dd300d-56be-4e3d-9a77-9d372754261e | Translated (CM) | Refrig | 制冷 |
| 335385d74b7c-208a-4717-ba8d-1794062eea02 | Translated (CM) | 4.24V + 3.34 kWh/day | 4.24V + 3.34 kWh/天 |
| 3354d1f7cccc-dafd-404a-9770-cadbaa75fbf5 | Translated (CM) | na | na |
| 335543bca9e7-482c-41ef-956b-e714959a3a1e | Translated (CM) | ≤ 3.887V + 1.500 kWh/day | ≤ 3.887V + 1.500 kWh/天 |
| 3356c8e4f0d3-5763-4138-92c0-2d54f04de1f0 | Translated (CM) | na | na |
| 335750314642-0e78-4717-aade-ae9b259b6487 | Translated (CM) | Solid-door reach-in freezer, 0 < V < 0.42 m<5122>3</5122> | 手入式实心门冰箱，0 < V < 0.42 m<5122>3</5122> |
| 3358c04123d6-a6cb-4d39-ab1f-fc67a31c6316 | Translated (100%) | Elec | 电力 |
| 3359271ad6d6-7bd0-4d71-a8d9-6ddbc0d9bccc | Translated (CM) | Refrig | 制冷 |
| 3360abec9082-f7f2-4d0d-a7a5-f6241d25849c | Translated (CM) | 14.13V + 1.38 kWh/day | 14.13V + 1.38 kWh/天 |
| 3361186d303b-f413-4191-80d1-f1826e9594e7 | Translated (CM) | na | na |
| 336237bbb6f6-bf29-4320-8461-4b230b97c573 | Translated (CM) | ≤ 8.834V + 1.25 kWh/day | ≤ 8.834V + 1.25 kWh/天 |
| 336355fe45be-3526-4fec-bd55-bae5ce16dbe8 | Translated (CM) | na | na |
| 336432cf6620-b72a-40b4-a668-dc126b3b0bfb | Translated (99%) | Solid-door reach-in freezer, 0.42 ≤ V < 0.85 m<5144>3</5144> | 手入式实心门冰柜，0.42 ≤ V < 0.85 m<5144>3</5144> |
| 3365b510256c-a35c-41c1-8f1e-027b620a82f4 | Translated (CM) | Elec | 电力 |
| 3366bc845b4f-a2f6-4449-b313-585554f1c4b9 | Translated (CM) | Refrig | 制冷 |
| 3367979b7fae-19eb-455d-a347-472f18e0b787 | Translated (100%) | 14.13V + 1.38 kWh/day | 14.13V + 1.38 kWh/天 |
| 336810654efb-6f47-48bf-872b-9409387fc002 | Translated (CM) | na | na |
| 3369234bcfc5-bb73-4bd4-b2b3-9a9d26a0920d | Translated (CM) | ≤ 4.819V – 1.000 kWh/day | ≤ 4.819V – 1.000 kWh/天 |
| 3370760f1c90-452e-4044-b5a9-949b425d418e | Translated (CM) | na | na |
| 33711f0f401d-ec13-42c0-a237-d4e6a9b1d5e3 | Translated (100%) | Solid-door reach-in freezer, 0.85 ≤ V < 1.42 m<5166>3</5166> | 手入式实心门冰柜，0.85 ≤ V < 1.42 m<5166>3</5166> |
| 337281b4a881-b09b-480f-828e-5e3543b00fde | Translated (CM) | Elec | 电力 |
| 3373eea723ee-e98e-49fe-b0a3-515644c951a9 | Translated (CM) | Refrig | 制冷 |
| 3374283f7f0b-1457-4565-b774-a45fc6ef5ea0 | Translated (100%) | 14.13V + 1.38 kWh/day | 14.13V + 1.38 kWh/天 |
| 3375451fde6f-fd67-436e-bb07-642db8d8bca8 | Translated (CM) | na | na |
| 3376ef7dd8a8-0429-433d-9771-82f0107eed8d | Translated (CM) | ≤ 5.760V + 6.125 kWh/day | ≤ 5.760V + 6.125 kWh/天 |
| 3377c6e10438-ddd9-4005-9205-a94004375ee3 | Translated (CM) | na | na |
| 33787e840626-c51c-4395-8863-b5e9c57b6af3 | Translated (91%) | Solid-door reach-in freezer, 1.42 ≤ V m<5188>3</5188> | 手入式实心门冰柜，1.42 ≤ V m<5188>3</5188> |
| 3379f2bd197a-b75a-4dd0-aed9-f8fd3690ea7c | Translated (100%) | Elec | 电力 |
| 3380b89edb56-fef3-47ab-b92b-4b555a510b78 | Translated (CM) | Refrig | 制冷 |
| 3381f6bb9559-06ec-4b5b-924d-54921058af19 | Translated (CM) | 14.13V + 1.38 kWh/day | 14.13V + 1.38 kWh/天 |
| 3382422a9d78-5669-4bcd-a5f7-44ed37696d80 | Translated (CM) | na | na |
| 3383654c5462-a9bc-47a3-b3f7-c89b2a60fc01 | Translated (CM) | ≤ 5.583V + 6.333 kWh/day | ≤ 5.583V + 6.333 kWh/天 |
| 3384288f34ce-513c-467a-8f2d-c7d38d601be7 | Translated (CM) | na | na |
| 3385bcca53ec-2b6c-4398-ba04-99dd1b0fbfcd | Translated (91%) | Solid-door reach-in refrigerator, 0 < V < 0.42m<5210>3</5210> | 手入式实心门冰箱，0 < V < 0.42m<5210>3</5210> |
| 3386972d417f-ba08-4c41-a3c3-94d70bdec026 | Translated (100%) | Elec | 电力 |
| 3387bc143a39-34b3-4af6-99db-cffef9f4be46 | Translated (CM) | Refrig | 制冷 |
| 3388e3f7f76e-eee6-4409-ba9b-c5d36e87d311 | Translated (CM) | 3.53V + 2.04 kWh/day | 3.53V + 2.04 kWh/天 |
| 3389b50cb2b1-5fd6-4073-81d8-b442b3916f8a | Translated (CM) | na | na |
| 33901bc81696-ac36-481d-a021-67656ec8caed | Translated (CM) | ≤ 3.145V + 1.411 kWh/day | ≤ 3.145V + 1.411 kWh/天 |
| 3391793bf708-a18b-4e66-879b-71fe7454232d | Translated (CM) | na | na |
| 3392e014666f-77e9-4d6b-825d-667157b8049f | Translated (99%) | Solid-door reach-in refrigerator, 0.42 ≤ V < 0.85 m<5232>3</5232> | 手入式实心门冰箱，0.42 ≤ V < 0.85 m<5232>3</5232> |
| 339340819be4-645a-4e44-a7d3-5810eaae8c6f | Translated (CM) | Elec | 电力 |
| 33947f6db115-e546-486c-9126-163399e2b7c6 | Translated (CM) | Refrig | 制冷 |
| 3395fae21b37-97a9-4900-b551-22a2fce21d53 | Translated (100%) | 3.53V + 2.04 kWh/day | 3.53V + 2.04 kWh/天 |
| 33963c542781-eb30-411c-bc8a-fb40b3814521 | Translated (CM) | na | na |
| 33974f339768-7e17-40e7-be35-043c28dadd3f | Translated (CM) | ≤ 1.307V + 2.200 kWh/day | ≤ 1.307V + 2.200 kWh/天 |
| 3398ecd862d9-db22-4c5a-934e-541acb1ea16e | Translated (CM) | na | na |
| 339938bfeaf3-e895-4c8b-bbf2-de5dd7c4544c | Translated (100%) | Solid-door reach-in refrigerator, 0.85 ≤ V < 1.42 m<5254>3</5254> | 手入式实心门冰箱，0.85 ≤ V < 1.42 m<5254>3</5254> |
| 3400d7f2c254-fe35-499b-b6c9-514de1e7791f | Translated (CM) | Elec | 电力 |
| 3401fe4e21bd-74f4-4840-8efb-817d73dbd72e | Translated (CM) | Refrig | 制冷 |
| 34021b4bde4a-2804-42c1-b61e-670489adae86 | Translated (100%) | 3.53V + 2.04 kWh/day | 3.53V + 2.04 kWh/天 |
| 3403e3aba154-71b9-4b59-ae8d-1e7fba454787 | Translated (CM) | na | na |
| 3404d75bb224-ab56-4b86-a01c-a912dd66cbb4 | Translated (CM) | ≤ 1.979V + 1.635 kWh/day | ≤ 1.979V + 1.635 kWh/天 |
| 3405640c9b9e-cd73-4f4c-bfe5-6e46f7a0dd9d | Translated (CM) | na | na |
| 34064adf88bb-e821-4db5-a8a0-cab850332f78 | Translated (91%) | Solid-door reach-in refrigerator, 1.42 ≤ V m<5276>3</5276> | 手入式实心门冰箱，1.42 ≤ V m<5276>3</5276> |
| 34073a9d91c9-fcc7-4bf2-bdc6-4b957148bbfe | Translated (100%) | Elec | 电力 |
| 34081b79b583-5d23-4fc3-8e24-99362e01a405 | Translated (CM) | Refrig | 制冷 |
| 34092c0afd9c-5e13-40b6-a8e0-c4660987c915 | Translated (CM) | 3.53V + 2.04 kWh/day | 3.53V + 2.04 kWh/天 |
| 341016901646-45ef-4e04-a849-2e789a458298 | Translated (CM) | na | na |
| 3411ace7e86f-26dd-4146-9f4a-57fc8daa7edb | Translated (CM) | ≤ 2.120V + 1.416 kWh/day | ≤ 2.120V + 1.416 kWh/天 |
| 341299960192-dc21-4f80-86a7-ef32846a5f79 | Translated (CM) | na | na |
| 341344ec735f-d547-41ee-8f2a-7b2f92628c74 | Translated (100%) | Clothes washer | 洗衣机 |
| 3414d6032d25-da95-4189-93fb-d6b2c5b20b6f | Translated (100%) | Gas | 天然气 |
| 3415d039bfec-c414-4c6b-a795-c42b1ddabc0a | Translated (100%) | Sanitation | 卫生 |
| 3416aa90a33a-e8ae-47b6-960b-f7f0eac073a6 | Translated (100%) | 1.72 MEF | 1.72 MEF |
| 3417616197e5-3686-4d61-9533-1aeddaf44bdb | Translated (100%) | 2.00 MEF | 2.00 MEF |
| 3418c1c5335d-54c0-4e19-8df0-7e268d86d400 | Translated (100%) | Door-type dish machine, high temp | 门式洗碗机，高温 |
| 341975081d46-084a-42b2-b520-b9df10433745 | Translated (100%) | Elec | 电力 |
| 34205ce7959b-8f1f-42f7-8d78-bf971dae5e79 | Translated (CM) | Sanitation | 卫生 |
| 3421e0337756-e3d1-40c8-b88f-1e85c35f1897 | Translated (CM) | na | na |
| 34227261f63e-5aae-492b-a961-c9fb29fa90b3 | Translated (100%) | 1.0 kW | 1.0 kW |
| 34231f58a45b-aafb-4dfa-a1e5-162a37f50a42 | Translated (100%) | na | na |
| 3424462f534c-61b4-4ff5-9f96-063cd99feed7 | Translated (100%) | 0.70 kW | 0.70 kW |
| 34255034feec-0b03-406f-a938-69b2b6490c07 | Translated (100%) | Door-type dish machine, low temp | 门式洗碗机，低温 |
| 34267ce8fbb8-7681-47ab-8528-e5faa2f904e3 | Translated (CM) | Elec | 电力 |
| 34273b599aa8-632c-4e1c-9e0b-fdb6abda61a2 | Translated (CM) | Sanitation | 卫生 |
| 3428e8c67f16-2225-42a3-bc0b-dc85a8ca8f16 | Translated (CM) | na | na |
| 34296eabb249-729b-41e8-9ef5-318e950edf83 | Translated (100%) | 0.6 kW | 0.6 kW |
| 34309acc99aa-5046-4f40-b378-eb2d1f270934 | Translated (100%) | na | na |
| 3431c640cfc5-f918-4f08-8945-647d2deeccdc | Translated (100%) | 0.6 kW | 0.6 kW |
| 34324323175b-641d-42df-a9e3-165b84137e25 | Translated (100%) | Multitank rack conveyor dish machine, high temp | 多缸架传送式洗碗机，高温 |
| 3433026ba30c-3cc6-4428-9937-d2bb452a71f8 | Translated (CM) | Elec | 电力 |
| 3434e4c44888-7423-4ee1-ae04-b3e86e741b87 | Translated (100%) | Sanitation | 卫生 |
| 3435a2d2cbc8-1000-4f50-99d4-df0d740d7b8c | Translated (CM) | na | na |
| 3436ce3e0fac-a998-4694-a792-8d72d38ae7f5 | Translated (100%) | 2.6 kW | 2.6 kW |
| 34372de7dab5-5cac-48e5-acbb-fdf9895240ea | Translated (100%) | na | na |
| 34383bfa1f85-fb20-4331-928b-6f857100c998 | Translated (100%) | 2.25 kW | 2.25 kW |
| 3439ba7bcafd-092c-42f5-814b-5d2aed8e1522 | Translated (100%) | Multitank rack conveyor dish machine, low temp | 多缸架传送式洗碗机，低温 |
| 34407134b097-d1ee-4145-adbf-f9ac3cf1eb7f | Translated (CM) | Elec | 电力 |
| 3441d6885a1f-79e9-47e3-9b94-07ad9805cd10 | Translated (CM) | Sanitation | 卫生 |
| 344278e17423-9dc7-4197-9864-f1de21edcf21 | Translated (CM) | na | na |
| 3443039f9209-9103-4711-a713-f5d05bbf14c8 | Translated (100%) | 2.0 kW | 2.0 kW |
| 344446a24805-4a49-486b-a46e-530c3cc775ce | Translated (100%) | na | na |
| 34459ba3bce0-e588-4ddb-8a54-2686a0db7a93 | Translated (100%) | 2.0 kW | 2.0 kW |
| 34469917c2f5-eb2a-492e-9571-ee2f67dfb51c | Translated (100%) | Single-tank rack conveyor dish machine, high temp | 单缸架传送式洗碗机，高温 |
| 34476cd22353-54e7-4f62-aec2-b5f76208ea20 | Translated (CM) | Elec | 电力 |
| 344894e8bcbc-963e-40c2-a00f-c3c6f0be577f | Translated (CM) | Sanitation | 卫生 |
| 344905b25a9c-6b95-4dfe-8227-0dece5ab35d8 | Translated (CM) | na | na |
| 34507d3e02c7-572d-4e71-abdc-602c07630563 | Translated (100%) | 2.0 kW | 2.0 kW |
| 3451e0c985c9-e3e2-453c-bc8d-cb988a8889b1 | Translated (100%) | na | na |
| 3452ef24150f-3a7f-45e3-8192-1c1fa5f0fec3 | Translated (100%) | 1.5 kW | 1.5 kW |
| 345355e0a4da-b43e-41a6-9204-de0e0d784a9f | Translated (100%) | Single-tank rack conveyor dish machine, low temp | 单缸架传送式洗碗机，低温 |
| 34543c02463c-efdd-4f24-9676-c13984853715 | Translated (CM) | Elec | 电力 |
| 34556df9b467-2301-4ed4-8d91-ad22c2c518af | Translated (100%) | Sanitation | 卫生 |
| 34568ad8b65a-483d-492c-b7a9-d81f0153f0a6 | Translated (CM) | na | na |
| 3457811f7a01-71a0-4850-8e5a-9d53f0a45946 | Translated (100%) | 1.6 kW | 1.6 kW |
| 345888b3e125-9d17-4e7b-8417-06bc3c511728 | Translated (100%) | na | na |
| 34598ec89398-788b-4b67-94d1-64bfc04dd07a | Translated (100%) | 1.5 kW | 1.5 kW |
| 3460d51555df-60de-4ccb-8fe6-eb3ddac361bd | Translated (100%) | Undercounter dish machine, high temp | 台下式洗碗机，高温 |
| 3461a30e302e-1c23-4dba-8e74-e9e06b21caa0 | Translated (CM) | Elec | 电力 |
| 3462a534ce9e-2e29-4ee9-b561-6a02a6188bf8 | Translated (100%) | Sanitation | 卫生 |
| 34637882c0f2-3aca-4de2-9790-93db128f22f4 | Translated (CM) | na | na |
| 346421c56240-ac4e-4137-85ea-119d1203cfac | Translated (100%) | 0.9 kW | 0.9 kW |
| 34659d42d99b-6ef2-4e5d-9cc8-c665200c197d | Translated (100%) | na | na |
| 3466d08cccde-2dd6-41a4-b264-ff305cf7e07c | Translated (100%) | 0.5 kW | 0.5 kW |
| 346744d943ef-4f4c-4f89-bd75-176bf5cd670b | Translated (100%) | Undercounter dish machine, low temp | 台下式洗碗机，低温 |
| 3468faa94dc6-4cf8-4085-a054-5918574ac2a9 | Translated (CM) | Elec | 电力 |
| 3469888ecf41-db23-4b6d-a995-b2e51a47f3ea | Translated (CM) | Sanitation | 卫生 |
| 34707268e9c9-28e6-48a1-ac41-7ed30a3548ff | Translated (CM) | na | na |
| 3471b914af7b-c438-403f-9183-b8947224f049 | Translated (100%) | 0.5 kW | 0.5 kW |
| 3472288e9bfc-58e9-4709-9fea-568cb61c7e42 | Translated (100%) | na | na |
| 34737f5e2fb8-3a0c-47da-b300-28a04a2e72c8 | Translated (100%) | 0.5 kW | 0.5 kW |
| 3474c6d6c090-9704-49f1-9ce5-950c306088ae | Translated (100%) | The energy efficiency, idle energy rates, and water use requirements, where applicable, are based on the following test methods: | 能效、闲时功率和用水要求（如适用）均基于以下测试方法： |
| 347535b5b2f4-5773-4509-9d78-2533905e776f | Translated (CM) | ASTM F1275 Standard Test Method for Performance of Griddles | ASTM F1275 煎锅性能标准测试方法 |
| 3476ff6f3fa7-c06a-47b1-b700-4949aa1d6c69 | Translated (CM) | ASTM F1361 Standard Test Method for Performance of Open Deep Fat Fryers | ASTM F1361 敞口式深底油炸锅性能标准测试方法 |
| 3477bed91591-364f-4ce4-bc9c-03c4d96e1cc6 | Translated (CM) | ASTM F1484 Standard Test Methods for Performance of Steam Cookers | ASTM F1484 蒸汽炊具性能标准测试方法 |
| 34783723c9ec-2742-423b-a2c4-4e4dc28941f0 | Translated (CM) | ASTM F1496 Standard Test Method for Performance of Convection Ovens | ASTM F1496 对流烤箱性能标准测试方法 |
| 3479b4d5acc0-1cbe-40bd-b3e2-0f05734112a9 | Translated (CM) | ASTM F1521 Standard Test Methods for Performance of Range Tops | ASTM F1521 炉灶盖性能标准测试方法 |
| 34802ca4e3d1-4aae-4b16-b647-9eb22629e816 | Translated (CM) | ASTM F1605 Standard Test Method for Performance of Double-Sided Griddles | ASTM F1605 双面煎锅性能标准测试方法 |
| 3481d4aa4e40-8360-4f62-a20d-6c50119b7b47 | Translated (CM) | ASTM F1639 Standard Test Method for Performance of Combination Ovens | ASTM F1639 组合烤箱性能标准测试方法 |
| 348288fbe478-8f4d-4f41-92a7-b5f6a2dfaa74 | Translated (CM) | ASTM F1695 Standard Test Method for Performance of Underfired Broilers | ASTM F1695 底燃式锅炉性能标准测试方法 |
| 3483cf5fd030-6044-4731-a04a-916f28403b4d | Translated (CM) | ASTM F1696 Standard Test Method for Energy Performance of Single-Rack Hot Water Sanitizing, ASTM Door-Type Commercial Dishwashing Machines | ASTM F1696 单架热水消毒，ASTM 门式商用洗碗机能效标准测试方法 |
| 348403cb11b7-7059-4fc2-a5bf-bb21024a31f4 | Translated (CM) | ASTM F1704 Standard Test Method for Capture and Containment Performance of Commercial Kitchen Exhaust Ventilation Systems | ASTM F1704 商用厨房排烟通风系统捕捉和容纳性能标准测试方法 |
| 348545c97595-e2a0-4a0a-b736-4fe18d33859d | Translated (CM) | ASTM F1817 Standard Test Method for Performance of Conveyor Ovens | ASTM F1817 链条式平炉性能标准测试方法 |
| 3486aee1b8ea-87c2-474e-81b0-cba562ca6c3f | Translated (CM) | ASTM F1920 Standard Test Method for Energy Performance of Rack Conveyor, Hot Water Sanitizing, Commercial Dishwashing Machines | ASTM F1920 架传送式热水消毒商用洗碗机能效标准测试方法 |
| 348700b676dd-feb9-470e-bc9e-9c6fa1cb6802 | Translated (CM) | ASTM F2093 Standard Test Method for Performance of Rack Ovens | ASTM F2093 搁架式烤炉性能标准测试方法 |
| 34888e7e218b-041f-4a71-a5b6-1182f48ced1c | Translated (CM) | ASTM F2140 Standard Test Method for Performance of Hot Food Holding Cabinets | ASTM F2140 热食物储藏柜性能标准测试方法 |
| 3489cc202f07-e952-4bb0-863b-59a81b75317b | Translated (100%) | ASTM F2144 Standard Test Method for Performance of Large Open Vat Fryers | ASTM F2144 敞口式大桶炸锅性能标准测试方法 |
| 34907a60a693-0ef4-4626-bc7f-f1d57f4b7f6d | Translated (CM) | ASTM F2324 Standard Test Method for Prerinse Spray Valves | ASTM F2324 预清洗喷雾阀标准测试方法 |
| 34919c4a4c0d-5811-49ac-a4ff-5c3298984af9 | Translated (CM) | ASTM F2380 Standard Test Method for Performance of Conveyor Toasters | ASTM F2380 链条式烤面包机性能标准测试方法 |
| 3492bc72afcb-113f-4b9c-9234-a025d07dbbf7 | Translated (CM) | ARI 810-2007: Performance Rating of Automatic Commercial Ice Makers | ARI 810-2007：商用自动制冰机性能等级 |
| 34939018a642-949b-4d29-adcd-fb93fa85711c | Translated (100%) | ANSI/ASHRAE Standard 72–2005: Method of Testing Commercial Refrigerators and Freezers with temperature setpoints at 38°F (3°C) for mediumtemp refrigerators, -18°C for low-temp freezers, and -26°C for ice cream freezers. | ANSI/ASHRAE 标准 72–2005：商用冰箱和冰柜测试方法，中等温度冰箱的温度设定值为 38°F (3°C)，低温冰柜为 -18°C，冰淇淋冷柜为 -26°C。 |
| 3494d6ba3289-53fb-489e-ac88-2f72ff050a95 | Translated (100%) | Table 2. | 表 2. |
| 3495d6ba3289-53fb-489e-ac88-2f72ff050a95 | Translated (100%) | Supermarket refrigeration prescriptive measures and baseline for energy cost budget | 超市制冷的规范性指标和能源费用预算基线 |
| 34962fcbeac1-7fd3-45ba-92ab-eaeec993eef2 | Translated (100%) | Item | 项目 |
| 34976d090dc6-2891-4113-bf6a-61185418a4ec | Translated (100%) | Attribute | 属性 |
| 34981f15d30b-63fc-48f3-a103-9698ad4c9f8f | Translated (100%) | Prescriptive measure | 规范性指标 |
| 3499b2414478-70a1-4a8f-9505-4e5441280cfd | Translated (100%) | Baseline for energy modeling path | 能耗模拟途径的基线 |
| 35009b0e2026-f685-4b1a-b205-1f87b431fa25 | Translated (100%) | Commercial Refrigerator and Freezers | 商用冰箱和冰柜 |
| 350105aa0c17-a948-4ac0-8a24-359c681de7c5 | Translated (100%) | Energy Use Limits | 能耗限制 |
| 350201629d51-7255-4874-a1f1-e4a01e17f8ff | Translated (100%) | ASHRAE 90.1-2010 Addendum g. Table 6.8.1L | ASHRAE 90.1-2010 附录 g. 表 6.8.1L |
| 3503fd40e2d1-d2cb-4bd1-80f0-bac816a18364 | Translated (100%) | ASHRAE 90.1-2010 Addendum g. Table 6.8.1L | ASHRAE 90.1-2010 附录 g. 表 6.8.1L |
| 350464df9779-a124-4e2e-a83c-31b9d5627d9c | Translated (100%) | Commercial Refrigeration Equipment | 商用制冷设备 |
| 3505c92dc523-4d16-4205-8c58-1c628fd5c78f | Translated (100%) | Energy Use Limits | 能耗限制 |
| 35068b016ad3-f1e0-4285-9764-9b6d07b2f7b7 | Translated (100%) | ASHRAE 90.1-2010 Addendum g. Table 6.8.1M | ASHRAE 90.1-2010 附录 g. 表 6.8.1M |
| 35078c4fe1a6-1f05-4e52-9da9-625b8dc7c8d1 | Translated (100%) | ASHRAE 90.1-2010 Addendum g. Table 6.8.1M | ASHRAE 90.1-2010 附录 g. 表 6.8.1M |
| 3508201b8b82-d202-4dbc-a9e3-768a96065c33 | Translated (100%) | Table 3. | 表 3. |
| 3509201b8b82-d202-4dbc-a9e3-768a96065c33 | Translated (100%) | Walk-in coolers and freezers prescriptive measures and baseline for energy cost budget | 步入式制冷机和冰柜的规范性指标和能源费用预算基线 |
| 351081670d19-5d5b-4b55-a5ff-845b4f79f110 | Translated (100%) | Item | 项目 |
| 3511a9e8524d-c43b-40a6-8344-5d68cb6f596b | Translated (CM) | Attribute | 属性 |
| 3512c2fd4d25-3b34-478c-a470-c65e7e70c49b | Translated (CM) | Prescriptive measure | 规范性指标 |
| 351340966fdc-248f-4f13-ae5e-c122205514bf | Translated (CM) | Baseline for energy modeling path | 能耗模拟途径的基线 |
| 351480e12275-33ec-4519-b523-e302e94fefdf | Translated (100%) | Envelope | 外围护结构 |
| 3515178ca5a3-5d66-4b09-9761-511ecfa606b5 | Translated (100%) | Freezer insulation | 冰柜保温 |
| 3516d4832e0a-1785-48ba-a902-aa8ab6ddfb80 | Translated (0%) | R-46 | R-46 |
| 35175399a595-8d53-406f-8cd2-49ca7b4fbb02 | Translated (0%) | R-36 | R-36 |
| 35188487d8f7-4a06-45c4-a17a-c6387fe2d93a | Translated (100%) | Cooler insulation | 制冷机保温 |
| 351920598573-3f2a-442f-98dc-44597e5b3a02 | Translated (100%) | R-36 | R-36 |
| 3520702b2752-0673-4551-bdad-1f32238204e2 | Translated (100%) | R-20 | R-20 |
| 3521778de496-bbc6-4fe5-a1e9-e41714195678 | Translated (100%) | Automatic closer doors | 自动闭门装置 |
| 3522340d2d6b-1d3b-411c-8e71-27e7ca5d7b8f | Translated (100%) | Yes | 有 |
| 3523dce35f8e-0e67-46f6-a00e-2cae50244334 | Translated (100%) | No | 无 |
| 35248e07651e-45f2-4ba0-95cc-d0dd298f9bd9 | Translated (100%) | High-efficiency low- or no-heat reach-in doors | 高效低热或无热手入式门 |
| 352589ac9ca1-3370-4fb2-871c-77dc246f5626 | Translated (100%) | 40W/ft (130W/m) of door frame (low temperature), 17W/ft (55W/m) of door frame (medium temperature) | 40W/ft (130W/m) 门框（低温），17W/ft (55W/m) 门框（中等温度） |
| 35265056203e-b418-4b4d-a1c9-d41c41667252 | Translated (100%) | 40W/ft (130W/m) of door frame (low temperature), 17W/ft (55W/m) of door frame (medium temperature) | 40W/ft (130W/m) 门框（低温），17W/ft (55W/m) 门框（中等温度） |
| 35272c9de1a3-ccfb-4b81-9f7f-6a463f6f0417 | Translated (100%) | Evaporator | 蒸发器 |
| 35282604451d-be58-4825-b748-238eea9eb65f | Translated (100%) | Evaporator fan motor and control | 蒸发器风扇电机和控制 |
| 3529cebca8a8-37eb-421b-9858-690f26ded78a | Translated (100%) | Shaded pole and split phase motors prohibited; use PSC or EMC motors | 禁止罩极式和分相电动机；商用 PSC 或 EMC 电机 |
| 3530cc84f86a-c027-4201-9d27-532f16f5d6cd | Translated (100%) | Constant-speed fan | 定速风扇 |
| 3531ba7d305c-d5f6-444f-b80f-8ab84a8234dc | Translated (100%) | Hot gas defrost | 热气除霜 |
| 3532ad43966d-d774-4bfe-8c1e-277b141005cf | Translated (100%) | No electric defrosting. | 无电动除霜。 |
| 3533005b838d-9d45-4ce3-b7b4-e8495dfaa7f2 | Translated (100%) | Electric defrosting | 电动除霜 |
| 35344b3347b5-140a-4810-9a56-e8c34c92722c | Translated (100%) | Condenser | 冷凝器 |
| 353526be0fb6-45bf-46ec-bd72-31c80e417b0d | Translated (100%) | Air-cooled condenser fan motor and control | 气冷冷凝器风扇电机和控制 |
| 3536bd60961d-099d-4c27-beef-f6dc51dd7b18 | Translated (100%) | Shaded pole and split phase motors prohibited; use PSC or EMC motors; add condenser fan controllers | 禁止罩极式和分相电动机；商用 PSC 或 EMC 电机；添加冷凝器风扇控制器 |
| 35374c4d7daa-70d3-4b93-a948-2959781c2110 | Translated (100%) | Cycling one-speed fan | 循环单速风扇 |
| 35388351d731-c268-4c7b-80e1-0634c36dfbf2 | Translated (100%) | Air Cooled condenser design approach | 气冷冷凝器设计方法 |
| 3539363b423d-8547-4951-a0be-6a381c85abdf | Translated (100%) | Floating head pressure controls or ambient subcooling | 浮头压力控制或环境低温冷却 |
| 35401bc2e302-5db1-4cc7-ac5a-a5f1dc6d209e | Translated (100%) | 10°F (-12°C) to 15°F | 10°F (-12°C) 到 15°F |
| 3541f4172aed-c97e-4d5e-b8c5-65aae905ca9a | Translated (100%) | (-9°C) dependent on suction temperature | (-9°C) 依赖于吸气温度 |
| 35422069fdbc-9451-4449-afcd-76faa1231b9e | Translated (CM) | Lighting | 照明 |
| 35438bf9aaad-e22b-476e-a8a6-dee855afb8f5 | Translated (100%) | Lighting power density (W/sq.ft.) | 照明功率密度 (W/平方英尺) |
| 354467d3f068-b68b-4dd7-a430-640fed9e68b3 | Translated (100%) | 0.6 W/sq.ft. | 0.6 W/平方英尺 |
| 3545d0a0eeea-a327-4eca-9265-5a25ac9cf6c6 | Translated (100%) | (6.5 W/sq. meter) | (6.5 W/平方米) |
| 35461dde4600-e861-4f29-8afb-9dded9209619 | Translated (100%) | 0.6 W/sq.ft. | 0.6 W/平方英尺 |
| 3547ee6557ff-8f5c-4011-a7e6-468c4c710274 | Translated (CM) | (6.5 W/sq. meter) | (6.5 W/平方米) |
| 3548f94b524d-4ad9-4dcb-a519-f6a72da6a08b | Translated (100%) | Commercial Refrigerator and Freezers | 商用冰箱和冰柜 |
| 35494b66cd17-81d4-4753-84e2-1a95f63ce9d4 | Translated (CM) | Energy Use Limits | 能耗限制 |
| 3550c6743464-023d-40a7-b50f-b62c9ce291dc | Translated (100%) | N/A | 不适用 |
| 355178701dbe-dcd4-4221-9ee4-79fdc19c1bc8 | Translated (100%) | Use an Exceptional Calculation Method if attempting to take savings | 如果尝试实现节约，则使用特殊计算方法 |
| 35526b4db54d-5e52-43eb-bac9-7dd489f89aa8 | Translated (100%) | Commercial Refrigerator and Freezers | 商用冰箱和冰柜 |
| 3553ac441e2b-a5ff-461c-9074-82a71635bfdb | Translated (100%) | Energy Use Limits | 能耗限制 |
| 35544c48bd75-c01c-4765-b8bc-c8ce51cf5606 | Translated (100%) | N/A | 不适用 |
| 35553430e177-69ca-4ed6-84a8-48327d04af80 | Translated (CM) | Use an Exceptional Calculation Method if attempting to take savings | 如果尝试实现节约，则使用特殊计算方法 |
| 3556941b7207-faa1-485c-b5fc-650104c6f95a | Translated (100%) | Table 4. | 表 4. |
| 3557941b7207-faa1-485c-b5fc-650104c6f95a | Translated (100%) | Commercial kitchen ventilation prescriptive measures and baseline for energy cost budget | 商用厨房通风的规范性指标和能源费用预算基线 |
| 35589a178d9d-ee25-45b4-85fc-8d0cbc673f04 | Translated (100%) | Strategies | 策略 |
| 3559313b99ea-1287-4559-892b-a30744434221 | Translated (100%) | Prescriptive measure | 规范性指标 |
| 3560adc6b4a3-a376-4ae0-b8bc-494980e1fc72 | Translated (100%) | Baseline | 基线 |
| 3561b8462a3b-d092-4466-9e8e-ab28e0c873cd | Translated (100%) | Kitchen hood control | 厨房油烟控制 |
| 3562acc80161-ac46-4c3b-9748-f2575945f855 | Translated (100%) | ASHRAE 90.1-2010 Section 6.5.7.1, except that Section 6.5.7.1.3 and Section 6.5.7.1.4 shall apply if the total kitchen exhaust airflow rate exceeds 2,000 cfm (960 L/s) (as opposed to 5,000 cfm (2,400 L/s) noted in the ASHRAE 90.1-2010 requirements) | 如果厨房总排气气流速度超过 2,000 cfm (960 L/s)（相对于 ASHRAE 90.1-2010 要求中注明的 5,000 cfm (2,400 L/s)），ASHRAE 90.1-2010 第 6.5.7.1 部分（第 6.5.7.1.3 部分和第 6.5.7.1.4 部分除外）将适用。 |
| 356386e5a3b0-246f-4242-a15d-fbf483574ab7 | Translated (100%) | ASHRAE 90.1-2010 Section 6.5.7.1 and Section G3.1.1 Exception (d) where applicable | ASHRAE 90.1-2010 第 6.5.7.1 部分和第 G3.1.1 部分例外情况 (d)（如适用） |