Commissioning RFP


REQUEST FOR PROPOSAL FOR

BUILDING COMMISSIONING SERVICES

Customize all highlighted text 

We are delighted to invite your firm to submit a proposal for building commissioning services on the following project. Qualifying teams should have experience with a minimum of two projects of similar size and complexity. 
Project:

Name
Date:

MM, DD, YYYY


Table of Contents












· Project Profile

· Project Team

· Project Schedule

· Scope of Work

· Fundamental Commissioning

· Enhanced

· Team Cooperation

· Proposal requirements

· Selection Criteria
· References

· Appendix
PROJECT PROFILE
Xxx (client) is inviting proposals for building systems commissioning services for Xxx project. The project is a single phase # story building at Street, City, State. The program includes a building type targeting LEED Rating System certification. 
The services shall meet all the requirements of the LEED Rating System Fundamental Commissioning Prerequisite and Enhanced Commissioning Credit. Please contact the party issuing the RFP for any questions. The contact details are listed in Proposal Requirements.

The project team consists of the following:
Architect:



ARCHITECT
LEED Consultant:


LEED CONSULTANT 

MEP Engineer:


MECHANICAL ENGINEER
Construction Manager:

CONSTRUCTION MANAGER
PROJECT SCHEDULE
The project is currently in Design Phase scheduled to release 100% CD by DATE. The construction is targeted to commence DATE with occupancy in September 2010. The construction schedule is available upon request. 

SCOPE OF WORK

The owner is committed to commissioning this facility, to systematically optimizing the building and its ancillary systems, and to meeting the requirements of LEED-Rating System EA P1 Fundamental Commissioning and EA C3 Enhanced Commissioning. The commissioning agent (CxA) will provide the signed letter template and suitable documents for the required credits before termination of contract. The CxA will be hired by the owner and report directly to the owner. 
Commissioning services consist of systematically documenting that the specified components and systems have been installed and initiated properly, and of functional testing to verify and document proper operation. 

The CxA shall coordinate with the architect, engineer, contractor and owner on scheduling, and integrate activities into the overall project schedule for commissioning scope as per LEED reference guide.  

A. Systems to be commissioned, as applicable:
Refer to the plans and specifications for sizes and types of equipment. The following systems, including all components and controls, are to be commissioned:

1. Heating system and distribution

2. Cooling system equipment and distribution 

3. Air-handling and fan coil units and air distribution system 

4. Ventilation and exhaust systems 

5. HVAC controls 

6. Lighting and daylighting controls 

7. Electrical sub-metering systems 

8. Domestic hot water system

The commissioning services included in fundamental and enhanced commissioning span the time period from Construction Documents through 10 months after occupancy. Enhanced Commissioning services include all Fundamental Commissioning services in addition to those listed under “Enhanced Commissioning.” 

	Construction phases
	Fundamental Commissioning
	Enhanced Commissioning

	
	 
	 
	 

	Construction Documents
	Commissioning plan
	 

	
	Owner Project requirement and Basis of Design
	 

	
	Commissioning requirements in Construction Documents
	 

	50% CD
	
	50% CD drawing review

	GMP/ buy out 
	
	Mechanical Contractor submittals review

	Construction
	Installation checklist
	 

	Installation
	Installation inspection
	 

	
	Systems functional performance testing
	 

	Post-construction 
	 
	
	O&M System Manual development

	
	 
	 
	O&M Staff Training requirement

	
	Commissioning report
	 

	10 Month into occupancy
	 
	 
	10 month post-construction follow up


B. Fundamental Commissioning Services – LEED Prerequisite (refer to LEED Rating System)
The following services define the scope of work according to the LEED Rating System EA P1 Fundamental Commissioning
1. Fully develop a commissioning specification detailing the roles and responsibilities and activities required to commission the facility.

2. Review Owner’s Project Requirements. and Basis of Design

3. Review client space energy-related systems submittals.

4. Develop a commissioning plan and submit it to the team at the outset of the project. Define all activities to be taken up by the CxA and identify a team member to be present for each activity. Include a checklist of all equipment to be tested during construction. 

5. The CxA shall provide commissioning specifications.
6. The mechanical contractor (MC) and controls contractor (CC), shall document the pre-functional checklists and perform startup and initial checkout. The CxA shall then document that the checklists and startup were completed according to the approved plans. This may entail the CxA witnessing the startup of selected equipment.

7. The CxA develops specific equipment and system functional performance test procedures. The functional testing performed by contractors and witnessed by the CxA shall include operating the system and components through each of the written sequences of operation, including heating and cooling modes as well as other identified operational variances. Functional testing shall be done using conventional manual methods, control system trend logs and read-outs, or stand-alone data-loggers, to provide a high level of confidence in the functioning of the system, as deemed appropriate by the CxA and the owner for the applicable systems on the project. 

a. Ventilation:  The CxA shall check the physical operation of air-handling units, energy-recovery units, unit ventilators, fan-coil units, rooftop units, exhaust fans, and any other related equipment to ensure that they operate properly and that all air dampers are properly positioned for all sequences. The CxA shall review the Balancing Report to check that fresh air is delivered in accordance with the design criteria and applicable codes. 

b. Mechanical Rooms:  The CxA shall check that all equipment operates in accordance with the design criteria, including proper lead/lag operation of pumps, settings of operating limits, outdoor reset schedules, proper domestic hot water production, and performance of any other equipment.
c. Heating Coils and Terminal Units: The CxA shall check proper operation of all coils, radiation, control valves, and terminal units. 

d. Cooling units:  The CxA shall check for proper operation of all cooling equipment, including operating limits and safety settings.

8. Submit a commissioning report to the client at the end of the commissioning process. Outline all systems checks and consequent actions taken as a result of the test outcome. Detail any and all activities and recommendations. 
While performing these duties, consider the following for smooth commissioning operations. 

1. The CxA shall conduct a review of contractor submittals for commissioned systems.
2. The CxA develops a construction-phase commissioning plan.
3. The CxA conducts a scoping meeting with the construction team members.
4. Additional meetings will be required to plan, scope, coordinate, and resolve problems.

5. Equipment documentation is submitted to the CxA during normal submittals.

6. The CxA shall work with the mechanical contractor and controls contractor in developing start-up plans and start-up documentation formats.

7. The CxA shall prepare a commissioning report.
C. Enhanced Commissioning Services – LEED Enhanced Commissioning (refer to LEED Rating System)
CxA shall be responsible for the following services in addition to the fundamental commissioning items. 

1. Prior to any fundamental commissioning activity, a review prior to 50% CDs shall be conducted. 

The CxA shall provide a focused review of the design documentation (design intent, basis of design, and sequences of operation) for energy-efficiency, proper functioning, and any recommendations for enhanced performance. The CxA shall review the specifications and drawings for the purpose of advising the owner and the design team on changes that may need to be made to promote successful commissioning. 

2. The CxA reviews the Operation & Maintenance (O&M) documentation, project reports, and closeout documents for completeness.

3. The CxA reviews, pre-approves, and coordinates the training provided by the mechanical contractor and controls contractor and verifies that it was completed.

4. Post-Occupancy Check: Include a post-occupancy checkup as part of the commissioning proposal to verify how the building is actually operating between 8-10 months after construction. The CxA shall address a list of “events” or complaints compiled by the owner. This post-occupancy checkup will include verifying that the training requirements have been met and that a plan to resolve outstanding commissioning-related issues has been pursued. 

5. The CxA shall develop a systems manual that contains the information necessary to fully recommission the energy-related systems within the tenant space.

PROPOSAL REQUIREMENTS

Three copies (or one electronic copy) of the proposal shall be submitted by end of day, DATE to:

PROJECT MANAGER 
TITLE
COMPANY SEEKING Cx AUTHORITY
STREET ADDRESS
CITY, STATE ZIP CODE 

123.456.7890
Email: projectmanager@syx.com 
The following must be included in the proposal:
1. Two references for the firm and the individuals proposed to commission the project.

2. Relevant certifications and accreditations

3. Qualifications and experience of the firm and commissioning team (a minimum two similar projects)
4. Assumptions, expectation and documents from the client and the project team to support commissioning activity

5. Provide a breakdown of the fee as follows:

1.
Fundamental commissioning fee

2.
Fundamental commissioning expected hours of work

3.
Enhanced commissioning fee

4.
Enhanced commissioning expected hours of work

5. 
Additional anticipated expenses (if applicable)

REFERENCES
LEED Rating System 

APPENDIX
A. System list [Reviewed by project MEP]
	Equipment or Systems
	Sampling Rate

	
	

	HVAC Systems
	

	
	

	Boilers and associated equipment
	50%

	Hot-water pumps
	100%

	Water-cooled chillers
	50%

	Heat exchangers
	100%

	Chilled-water pumps
	100%

	Cooling towers
	100%

	Condenser-water pumps
	50%

	Air-handling units 
	25%

	Fan-coil units
	50%

	Hot-water unit heaters
	50%

	Electric-unit heaters
	100%

	Energy-recovery units
	100%

	Exhaust fans
	100%

	Reheat coils
	100%

	Air-terminal boxes
	50%

	Baseboard units
	50%

	VFDs 
	25%

	Ductwork 
	50%

	Piping
	100% 

	
	

	Building Automation Systems
	

	Temperature-control systems (including control valves, sensors, transmitters, etc.)
	50%

	Pressure-control systems (including control valves, sensors, transmitters, etc.)
	100%

	Sequence of operation
	50%

	Airflow-control systems (including dampers, valves, sensors, etc.)
	50%

	
	

	Electrical Systems
	

	Lighting controls
	50%

	Daylighting controls
	50%

	Electrical sub-metering systems
	100%

	Emergency power system
	100%

	
	

	Hot Water Systems
	

	Hot-water heaters
	100%

	Hot-water pumps 
	100%

	
	


[image: image1.png]


[image: image2.png]


[image: image3.png]


[image: image4.png]



Page 2 of 5

