[image: image5.png]0) LEEDuser





REQUEST FOR PROPOSAL: ENERGY AUDITING SERVICES
[NOTE: Customize all text as appropriate to your project—pay special attention to highlighted text.] 

We are delighted to invite your firm to submit a proposal for "building energy auditing services" on the following project. (Qualifying teams will have a minimum of: Experience with two projects of similar size and complexity.) 

Project:
Name

Date:
MM, DD, YYYY


Table of Contents:










[image: image5.png]
· Project Profile

· Project Team

· Project Schedule

· Scope of Work

· LEED-EBOM EAc2.1: Existing Building Commissioning—Investigation and Analysis, Option 2

· Proposal Requirements

· References

PROJECT PROFILE
Client Name (client) is inviting proposals for "building systems energy auditing services" for Xxx project. The project is a #-phase, #-story building at Street, City, State. The program includes a building type targeting LEED Existing Building Operations and Maintenance (EBOM) Rating System certification. 

The services shall meet all the requirements of LEED-EBOM EAc2.1: Existing Building Commissioning—Investigation and Analysis, Option 2. Please contact the party issuing the RFP for any questions. (See contact details listed under Proposal Requirements below.)
PROJECT TEAM
The project team consists of the following:

Facilities Manager—
FACILITIES MANAGER NAME
Building Operation Staff— 
IDENTIFY BUILDING OPERATIONS STAFF

LEED Consultant—
LEED CONSULTANT NAME 

MEP Engineer—

 MECHANICAL ENGINEER NAME
PROJECT SCHEDULE
The project’s performance period extends from MM-DD-YYYY to MM-DD-YYYY.
SCOPE OF WORK
The owner is committed to auditing this facility, systematically identifying opportunities to optimize the building and its ancillary systems, and meeting the requirements of LEED-EBOM EA c2.1: Existing Building Commissioning—Investigation and Analysis, Option 2. The energy auditor will provide suitable documents for the required credit before termination of contract. The energy auditor will be hired by and report directly to the owner. 

"Energy auditing services" consist of conducting an energy audit that meets the requirements of ASHRAE LEVEL II, energy survey and analysis, as defined in Procedures for Commercial Building Energy Audits (RP-669, SP-56). This analysis should identify and develop modifications to reduce the building’s energy use and operating costs. The energy auditor shall coordinate with the facilities manager, building operations staff, engineer, contractor, and LEED consultant on scheduling, and integrate activities into the overall project schedule per the LEED-EBOM Reference Guide.  

A. Energy Auditing Services—LEED-EBOM EAc2.1: Existing Building Commissioning—Investigation and Analysis, Option 2.
The following services define the scope of work according to LEED-EBOM EAc2.1: Existing Building Commissioning—Investigation and Analysis, Option 2.
1. Conduct an energy audit that identifies all cost-effective measures that meet the owner’s economic criteria.

2. Provide a cost-benefit analysis for any alterations to building operation and maintenance procedures.

3. Identify all potential capital-intensive improvements that require additional or more detailed data collection and analysis. Provide a savings and cost estimate for these improvements.

4. As part of the energy audit, conduct the following—
· Review of all mechanical and electrical system designs, installed condition, maintenance practices, and operating methods 

· Review of any existing operating and maintenance problems
· Measurement of actual operating parameters against design levels
· Breakdown of the total annual energy use, by end-use components
· Creation of a list of all cost-effective modifications
· Review of the cost-effective modifications list with owner
· Listing of energy indices for each identified measure, and an estimate of potential savings in energy cost
· Cost estimate of each identified measure

· Estimate of combined energy savings from implementing all practical measures 

· Preparation of a financial evaluation of the estimated total investment, based on owner’s selection of measures, chosen techniques, and criteria
· Completion and submission of a final, Level II, survey and analysis report
· Meeting with owner after submission of the Level II survey and analysis report.

PROPOSAL REQUIREMENTS

Three copies (or one electronic copy) of the proposal shall be submitted by end of day, MM-DD-YYYY to:
PROJECT MANAGER OR ENGINEER
TITLE
COMPANY SEEKING Cx AUTHORITY
STREET ADDRESS
CITY, STATE, ZIP CODE 

PHONE # WITH AREA CODE
EMAIL
The following must be included in the proposal:

1. Two references for the firm and the individuals proposed to commission the project
2. Relevant certifications and accreditations

3. Qualifications and experience of the firm and energy auditing team (minimum: two similar projects)

4. Assumptions and expectations from the client and the project team to support energy-auditing activity

5. Provide a breakdown of the fee as follows:

a) Investigation and analysis—audit fee

b) Investigation and analysis—expected hours of work

c) Additional anticipated expenses (if applicable).

[image: image1.png]


[image: image2.png]


[image: image3.png]


[image: image4.png]






[image: image6.png]wwwleeduser.com

Pusished by BuldingGreen, LLC + 122 Blrge Street, Brattieboro, VT 05301 + (802) 257-7300.





[image: image6.png]