
PROJECT NAME
Sustainable Purchasing Policy

LEED for Existing Buildings: Operations and Maintenance

February 1, 2012

SECTION 1: POLICY SCOPE

This policy applies to the sustainable purchasing at PROJECT NAME site located at Project Address; and that are within the building and site management’s control. 

This policy applies to sustainable purchasing of the following types of products:

· Ongoing Consumables

· Durable goods 

· Building materials used in facility alterations and additions

· Mercury-containing lamps

Food and beverages are not included in the scope of this policy.

SECTION 2: POLICY GOALS

To purchase ongoing consumables in a manner that will:

· protect the environment and public health 

· conserve natural resources

· minimize waste, including landfilling and incineration, and reduce toxicity 

SECTION 3: PERFORMANCE METRIC

Sustainable Purchasing of Ongoing Consumables

The term “ongoing consumables” refers to low-cost-per-unit materials that are regularly used and replaced through the course of daily business operations. These products may include, but are not limited to: printing and copying paper, notebooks, envelopes, business cards, sticky notes, paper clips, toner cartridges, and batteries. PROJECT NAME goal is that at least 60% of the cost of goods purchased will comply with one or more of the following criteria:

· Contains at least 10% post-consumer and/or 20% post-industrial material

· Contains at least 50% rapidly renewable material (e.g., bamboo, cotton, cork, wool)

· Contains at least 50% materials harvested and extracted and processed within 500 miles of the facility

· Consists of at least 50% Forest Stewardship Council (FSC)-certified paper products

· Rechargeable batteries

PROJECT NAME acknowledges the value of purchasing sustainable products and requires that vendor(s) support that effort when appropriate and/or possible. PROJECT NAME requests that vendor(s) notify them of recycled content and reduced packaging options or alternative products that would comply with the above specifications. Nothing contained in this policy shall be construed as requiring PROJECT NAME to procure products that do not perform adequately for their intended use, exclude adequate competition, or are not available at a reasonable price in a reasonable period of time.

Sustainable Purchasing of Durable Goods

The term “durable goods” refers to higher-cost-per-unit materials that are replaced infrequently and/or may require capital outlays to purchase. These products may include, but are not limited to: office equipment (such as computers, monitors, printers, copiers, fax machines), appliances (refrigerators, dishwashers, water coolers), external power adaptors, televisions, and furniture. The purchasing criteria for these products fall into the following two categories.

Electronics and Appliances

PROJECT NAME’s goal is that at least 40% of the cost of goods purchased will comply with one or more of the following criteria:

· Energy Star labeled products, when available

· Electronic Product Environmental Assessment Tools (EPEAT) rated products (at least bronze level)

· The equipment replaces conventional gas-powered equipment, i.e. maintenance equipment and vehicles

Furniture

PROJECT NAME’s goal is that at least 40% of the cost of goods purchased will comply with one or more of the following criteria:

· Contains at least 10% post-consumer and/or 20% post-industrial material

· Contains at least 70% salvaged material from off-site or outside the organization

· Contains at least 70% salvaged material from on-site through an internal materials and equipment reuse program

· Contains at least 50% rapidly renewable material (bamboo, cotton, cork, wool)

· Contains at least 50% materials harvested, extracted and processed within 500 miles of the facility/site

· Consists of at least 50% Forest Stewardship Council (FSC) certified wood

PROJECT NAME acknowledges the value of purchasing sustainable products and requires that vendor(s) support that effort when appropriate and/or possible. PROJECT NAME requests that vendor(s) notify them of Energy Star and sustainable furniture opportunities that would comply with the above specifications, as well as reduced packaging options.

Sustainable Purchasing: Facility Alterations and Additions

This policy covers materials that are permanently or semi-permanently attached to the building itself in the course of facility renovations, demolitions, refits and new construction additions. These products may include, but are not limited to: building components and structures (wall studs, insulation, doors, windows), panels, attached finishes (drywall, trim, ceiling panels), carpet and other flooring materials, adhesives, paints and coatings. PROJECT NAME’s goal is that at least 50% of the cost of goods purchased will comply with one or more of the following criteria:

· Contains at least 10% post-consumer and/or 20% post-industrial material

· Contains at least 70% salvaged material from off-site or outside the organization

· Contains at least 70% salvaged material from on-site through an internal materials and equipment reuse program

· Contains at least 50% rapidly renewable material (bamboo, cotton, cork, wool)

· Contains at least 50% materials harvested/extracted and processed within 500 miles of the facility/site

· Consists of at least 50% Forest Stewardship Council (FSC) certified wood

· Adhesives and sealants comply with SCAQMD rules governing allowable VOC content

· Paints and coatings comply with Green Seal’s GS-11 requirements governing VOC emission levels

· Finished flooring is FloorScore-certified and constitutes a minimum of 25% of the finished floor area

· Carpet and carpet cushion meets the requirements of the Carpet and Rug Institute (CRI) Green Label Plus carpet testing program

· Composite panels and agrifiber products contain no added urea-formaldehyde resins

PROJECT NAME acknowledges the value of purchasing sustainable products and requires that vendor(s) support that effort when appropriate and/or possible. PROJECT NAME requests that vendor(s) notify them of potential opportunities that would comply with the above specifications, as well as reduced packaging options.

Sustainable Purchasing: Toxic Material Source Reduction – Reduced Mercury in Lamps

PROJECT NAME seeks to reduce the amount of mercury brought into all sites through purchase of lamps for the buildings and associated grounds. PROJECT NAME’s goal is that at least 90% of the number of lamps purchased will meet the following overall mercury-content target:

· No more than 70 picograms of mercury per lumen-hour 

PROJECT NAME representatives acknowledge the value of purchasing low-mercury lamps and require that vendors support that effort when appropriate and/or possible. PROJECT NAME requests that vendor(s) notify them of specific lamps and other opportunities that would comply with the above specifications, as well as reduced packaging options.

SECTION 4: PERFORMANCE EVALUATION

PROJECT NAME and vendor will record and track purchases on a monthly basis. PROJECT NAME personnel and vendor responsible for purchasing will report PROJECT NAME’s purchases to the appropriate PROJECT NAME representative using the provided Materials Purchasing Worksheet. Vendor is required to track and report PROJECT NAME’s purchases monthly. Vendor will use PROJECT NAME Materials Purchasing Worksheet or a PROJECT NAME approved alternative reporting method. Vendor is prepared to report the manner by which each product purchase meets the following purchasing criteria. Whenever possible, PROJECT NAME personnel should include an evaluation of the environmental and public health benefits achieved through sustainable purchasing of the goods described under Section (3).

SECTION 5: RESPONSIBLE PARTY

The Property Manager and the Chief Engineer shall implement this policy within PROJECT NAME in coordination with other appropriate organization personnel, including but not limited to, PROJECT NAME’s Purchasing Officer, PROJECT NAME employees, parties purchasing materials on PROJECT NAME’s behalf and/or companies contracted to provide goods to PROJECT NAME.  

	Contact Information for Responsible Party: 

	Name:
	Name

	Job Title:
	Property Manager

	Phone:
	Phone Number

	Email:
	Email Address

	Date of assignment:
	January, 2012


	Contact Information for Responsible Party:

	Name:
	Name

	Job Title:
	Chief Engineer

	Phone:
	Phone Number

	Email:
	Email Address

	Date of assignment:
	January, 2012


SECTION 6: PROCEDURES AND STRATEGIES

This policy covers purchases that are within the building and site management’s control. PROJECT NAME personnel may use any qualifying vendor to procure the products described in Section (3), and are encouraged to also consider the following areas of interest:

Packaging

PROJECT NAME desires to reduce waste generated through daily operations and recognizes that such reduction begins with the material that enters each facility/site. PROJECT NAME will request that all items purchased be packaged and delivered with minimal packaging material. PROJECT NAME reserves the right to request that vendors alter the packaging of goods delivered, when appropriate and/or possible.

Recycled Content

PROJECT NAME requests that all vendors provide recycled content options for goods when available. If a product is available with recycled content, vendor will disclose that option to the appropriate PROJECT NAME representative. If a product is available with recycled content, but PROJECT NAME does not specifically request as such, the vendor will default to order the product with recycled content, unless it exceeds the cost of the conventional product. Recycled content targets may be overridden at the discretion of PROJECT NAME representatives if certain products with recycled content present themselves as cost-prohibitive.

SECTION 7: TIME PERIOD

This policy shall take effect on February 1, 2012 and shall continue indefinitely or until amended and/or replaced by a subsequent sustainable purchasing policy.

[image: image1.png]wwwleeduser.com

Pusished by BuldingGreen, LLC + 122 Blrge Street, Brattieboro, VT 05301 + (802) 257-7300.





[image: image1.png]