## Sheet1
EA Credit 3.2: System Level Metering
Example Building: Percent Covered By Submeters
Instructions: Enter your project's energy use breakdown according to system / end-us in Column A and complete Column B and Column C according to the values established in this breakdown.For Column C, enter percentages for those subsystems with meters in place. Once these are complete, enter information about submeters in place, including the number of meters for each system / end-use (Column E), percent of each end-use metered (Column F), and if the meter is owned by the project building or by a third-party (Colimn G). Finally, complete colmns H - J to document the reading location, process and interval.
System | Annual Energy Use kBtu (Extrapolated from Performance Period) | % of Total Energy Use | % Submetered Energy | # of Meters | % of End-Use Metered | Meter Type | Location | Data Logging Process | Data Logging Interval
Ventilation Systems (Fans) | 34396015.6179 | 37.12% | 37% | 8 | 100 | Utility owned | Switchboard room | Electronic | 15 minutes
Building Heat | 16897547.8508 | 18.24% | 0% | - | - | - | - | - | -
Central Plant Electric | 12818829.4041 | 13.83% | 14% | 3 | 100 | Utility owned | Subcellar | Electronic | 15 minutes
Steam for Chilled Water | 8740110.9573 | 9.432% | 9% | 2 | 100 | Building owned | Switchboard room | Electronic | Continuous
Tenant Tower Electricity | 6992088.7659 | 7.546% | 8% | 1 | 100 | Building owned | Building exterior | Electronic | Continuous
Misc Equipment | 5244066.5744 | 7% | 0% | - | - | - | - | - | -
Lighting | 4661392.5106 | 5.03% | 5% | 4 | 100 | Building owned | Switchboard room | Electronic | Continuous
Domestic Hot Water | 1165348.1276 | 2% | 1% | 2 | 100 | Utility owned | Subcellar | Electronic | 15 minutes
Total Annual Energy Use kBtu | 90915399.8085 | 100.2% | 74% | 20