[image: image1.png]0) LEEDuser





LEED SSp1: Construction Activity Pollution Prevention

Sample Erosion and Sedimentation Control Narrative
The [insert project team] has established this Erosion and Sedimentation Control (ESC) Plan to define the Best Management Practices (BMPs) to be enforced on the [insert project name].  The erosion control narrative and attached site plan are intended to comply with the 2003 EPA Construction General Permit and the provisions necessary for compliance with the National Pollutant Discharge Elimination System (NPDES).  
Erosion Control:

Prior to beginning earthwork activities, all erosion control practices will be implemented per our attached site erosion and sedimentation control plan.  These erosion control measures will be maintained throughout the duration of the project, until permanent landscaping has been established.  The list below describes all of the methods and BMPs that the project team intends on using for erosion and sedimentation control:

· Silt Fence:  

A silt fence will be installed around the perimeter of the construction site (see attached site plan).  The silt fence will intercept and slow the flow of sediment and runoff from the disturbed soil of the construction site. 

· Vehicle Tracking Control:   

The entrance to the site shall be graveled for a minimum distance of 20 linear feet.  The tracking control pad is designed to retain mud and other possible pollutants onsite.  This pad will consist of ¾” crushed stone with an approximate thickness of 6 inches.  Any mud or soil that may be tracked onto public streets will be swept up as soon as possible.

· Curb Stock Areas:
Curb stock areas will be set up along [insert street name].  Curb stock areas will be stationed as designated on the site plan.  The curb stock areas are designed to filter sediments as they flow down the curb and gutter.  Curb stock is made of straw wrapped with plastic mesh and is approximately 6 inches in diameter and 3 feet long.  There will be numerous curb stocks installed along the flow-line to filter out as much sediment as possible.  These areas will also be inspected throughout the duration of the project and replaced as necessary.  

· Inlet Protection:
Inlet protection will be installed in a similar manner to curb stock.  It is made of the same material and has the same dimensions.  Inlet protection is designed to pool the flow, allowing sediment to settle to the bottom before it enters the inlet.  These inlet protection areas will be maintained and replaced as necessary and any sediment that has settled in the protection area will be removed as needed.
Potential Pollutants:

There will be limited use of chemicals and fuels during construction.  However, if they are to be stored on the jobsite, they will be stored away from the path of concentrated water runoff, and per the manufacturers’ recommendations, in an area designated by the project team.  
Inspection and Maintenance:

Inspection of sedimentation control methods shall occur on a weekly basis or after any weather event.  A weather event is defined as any significant wind, precipitation, or snowmelt that could potentially cause erosion.  The following items will be examined during an inspection:

· Excess accumulation of sediment that may decrease the effectiveness of the erosion control structure.  If it is determined that there is excess accumulation, sediment will be removed and erosion control methods re-installed.

· Damage to sedimentation control structure.  If erosion control is damaged, it will either  be repaired or replaced depending on the severity of damage.

· Additions/Eliminations of sedimentation controls.  If it is determined through inspection that sufficient controls are not  in place, additional structures will be placed to provide adequate control.  Likewise, if it is determined there are too many structures in place, we will remove as necessary.
[image: image2.png]wwwleeduser.com

Pusished by BuldingGreen, LLC + 122 Blrge Street, Brattieboro, VT 05301 + (802) 257-7300.




www.leeduser.com         122 Birge Street, Brattleboro, VT 05301

[image: image1.png][image: image2.png]