[image: image1.jpg]0) LEEDUser





STORMWATER INSPECTION CHECKLIST

Name of Project Building: 
	INSPECTOR:

	DATE OF INSPECTION:

	Checklist of Maintenance and Repairs
	Reviewed (Y/N/)
	Notes
	Date of Repairs

(Must occur within 60 days of initial inspection)
	Notes about Maintenance and Repairs

	Routine Site Maintenance (REQUIRED)

	Mow and maintain upland vegetated areas
	
	
	
	

	Repair or replace aggregate
	
	
	
	

	Maintain inlets and outlets
	
	
	
	

	Manage nutrient and pesticide use
	
	
	
	

	Seed or sod turf to maintain/restore ground cover
	
	
	
	

	Aerate soil as necessary
	
	
	
	

	Identify steep slopes and monitor associated ground cover, soil aeration, and nutrient/pesticide use
	
	
	
	

	After Major Storm Events (>2" rainfall) (REQUIRED)

	Identify areas prone to pooling water and drain as appropriate
	
	
	
	

	Clear and remove debris around the site
	
	
	
	

	Clean and unclog drainage systems (e.g., gutters)
	
	
	
	

	Detention/Retention Management (SITE-SPECIFIC)

	Harvest vegetation after 50% reduction in original open water surface area 
	
	
	
	

	Repair embankment and side slopes
	
	
	
	

	Repair control structure
	
	
	
	

	Remove accumulated sediment from forebays or sediment storage areas when 60% of the original volume has been lost
	
	
	
	


	Checklist of Maintenance and Repairs
	Reviewed (Y/N/)
	Notes
	Date of Repairs

(Must occur within 60 days of initial inspection)
	Notes about Maintenance and Repairs

	Infiltration Facilities Managements (SITE-SPECIFIC)

	Cleanout sediment 
	
	
	
	

	Maintain inlets and outlets
	
	
	
	

	Remove accumulated sediment from forebays or sediment storage areas when 50% of the original volume has been lost
	
	
	
	

	Filtration Practices (SITE-SPECIFIC)

	SAND FILTERS
	Remove trash and debris from control openings
	
	
	
	

	· 
	Repair leaks from the sedimentation chamber or deterioration of structural components
	
	
	
	

	· 
	Remove the top few inches of sand and cultivate the surface when filter bed is clogged
	
	
	
	

	DRY SWALES, GRASSEDCHANNELS, BIOFILTERS
	Mow and remove litter/debris
	
	
	
	

	
	· Stabilizing eroded side slopes and bottom
	
	
	
	

	
	· Manage nutrient and pesticide use 
	
	
	
	

	
	· Dethatch swale bottom and remove thatching
	
	
	
	

	
	· Aerate swale bottom
	
	
	
	

	FILTER STRIPS
	· Mow and remove litter/debris 
	
	
	
	

	
	· Manage nutrient and pesticide use
	
	
	
	

	
	· Aerate soil on the filter strip 
	
	
	
	

	
	· Repair eroded or sparse grass areas
	
	
	
	


	Checklist of Maintenance and Repairs
	Reviewed (Y/N/)
	Notes
	Date of Repairs

(Must occur within 60 days of initial inspection)
	Notes about Maintenance and Repairs

	BIORETENTION
	· Repair eroded areas
	
	
	
	

	
	· Mulch void areas 
	
	
	
	

	
	· Remove/replace diseased and dead vegetation
	
	
	
	

	
	· Water plant material
	
	
	
	


[image: image1.jpg]