[image: image1.png]0) LEEDuser





Stormwater Management / Drainage Report Sample Outline: 

LEED Documentation Support for SSc6 Stormwater Management
I. Summary

· Site conditions and location

· Parking / impervious / pervious / landscaping areas 

· Applicable hydrological analysis to determine the stormwater runoff (rate and volume) for existing and proposed conditions

· Compliance with LEED requirements
II. Site Description

Existing Conditions including:

· Site area and location

· Land use 

· Soil types and conditions
· Surrounding conditions and adjacent developments

· Existing drainage areas and catchment basins

· Current stormwater flow and management

Proposed Conditions including:
· Elevation changes

· Impervious / pervious area changes

· Landscaping additions

· Proposed stormwater management / best practices (drainage areas and catchment basins)

III. Hydrologic Analysis (SSc6.1)

· The approach for meeting LEED credit requirements for implementing a stormwater management plan that prevents the post-development peak discharge rate and quantity from exceeding the pre-development peak discharge rate and quantity for one- and two-year, 24-hour design storms

· Analyze stormwater flows from the site for the pre and post-development conditions for each =area
· Analyze peak flow rates and volumes for the one- and two-year, 24-hour design storms 

· Results demonstrating proposed impervious area vs. existing condition 
IV. Water Quality Analysis (SSc6.2)
· Approach for meeting LEED credit requirement that 80% of total suspended solids are removed from the stormwater runoff for 90% of the average annual storm events

· Details of project’s structural and nonstructural Best Management Practice (BMP) methods incorporated into the design
· Structural BMP measures (i.e. cisterns, catch basins, piping networks, separators)

· Non-structural BMP measures (i.e. pervious pavement, vegetated swales)

VI. Conclusions

· Evaluation of the quantity (rate and volume) and quality of stormwater discharge improvements from existing condition and demonstrated compliance with LEED requirements 

[image: image2.png]wwwleeduser.com

Pusished by BuldingGreen, LLC + 122 Blrge Street, Brattieboro, VT 05301 + (802) 257-7300.




www.leeduser.com         122 Birge Street, Brattleboro, VT 05301

[image: image1.png][image: image2.png]