[image: image1.png]gggggggggggggggggggggggggggggg




Owner’s Project Requirements Sample
This document captures the owner’s goals for the project.
1. Owner and User Requirements

A. Brief Description of Project: ABC Developers are developing a 10-acre site, including a 20-story multifamily residential building and a separate amenity building. The project is the first phase of a three-phase development on a larger site of 30 acres. The master plan includes a convention center, commercial area and hotel, which will be developed after 5 years of operation. 

B. Brief Sustainability and Design Goals: The luxury apartments will be furnished with the latest conveniences, integrated voice, data fiber optic cable provisions with integrated security and  thermal comfort controls. It would include energy-efficient appliances, and high-quality interior finishes. The project aims to provide a high-quality space for the tenants and their families. 

C. Type of Project / Program:  multifamily residence, community center, amenity space, service areas, parking, garage
2. General Project Information: 
Project Name:

First Street Mixed-Use Building
Owner:


ABC Developers
Type and Use:

Mixed-Use Commercial Office Building with Ground Floor Retail
No. of units:

N/A
No. of floors:

Below grade: 1



Above grade: 3
Square footage:

Gross: 

20,000 sf



Total site area 
10,000 sf



Building footprint
5,000 sf
Lobby/ Common 
1,000 sf
Retail: 

4,000 sf



Office: 
           
10,000 sf 



Construction Schedule Target:

Construction Budget:

$15,000,000
Schematic Design


September 2009
Design Development

December 2009
50% Construction Drawings

April 2010
100% Construction Drawings

June 2010
General Merchant Pricing (GMP)
June 2010
Construction commence

July 2010
CO Date:



December 2011



3. Project purpose, vision and statement

4. Project performance and sustainability seq level0 \h \r0 

seq level1 \h \r1 

seq level2 \h \r1 

seq level3 \h \r0 

seq level4 \h \r0 

seq level5 \h \r0 

seq level6 \h \r0 

seq level7 \h \r0 goals

A. Project is targeting LEED-NC 2.2 Gold certification.
B. No potable water used for landscape irrigation
Probable performance goals: 
· Conditions important to occupant comfort are: fresh air, ventilation controls, lighting controls

· Daylight, open spaces and the latest conveniences are selling points for the development. 

· The project has a special focus on providing occupants with a superior indoor environment. The team will make all possible efforts to reduce the use of chemicals harmful to users and residents. Each unit will have a dedicated outside air system. 

· The design will reduce the carbon footprint of the construction and operation activities, and will identify energy-efficient lighting, heating, ventilating and air conditioning systems. 

· Investigate high-performance envelope, thermal insulation, and ensure no air leakage throughout the life of the building. Investigate double skin for energy efficiency.

· Provide a cost-benefit analysis for a minimum of two HVAC system alternatives.
· Incorporate building-integrated photovoltaics on façade and glazing.

· A green roof will be installed on a small portion of the terrace to enhance the accessible open space. 

· Establish BACNET or similar reprogrammable building management system for lighting controls. 

· Include daylight harvesting design features, such as clerestories and light shelves, to maximize the reach of daylight into deeper areas of the floor plates. Daylight and occupancy sensors, timer switches with manual overrides will be considered and evaluated for payback. 

· Provide individual control of lighting to reduce energy consumption. 
· Segregate living quarters from building spaces that generate pollutants such as garages and cleaning supply closets.
· Reduce potable water used for non-potable purposes like cleaning, landscape irrigation, flushing etc. 

· Thermal comfort requirements: the exhibition room will provide humidity controls for sensitive exhibit material [List any non-standard temperature or humidity requirements]
· Landscaping should eliminate potable water use, or at least achieve a minimum of 50% reduction as compared to a baseline case. 
5. Building Occupant and O&M Personnel Expectations

A. Periodic HVAC maintenance performed by: BM Maintenance, Inc.
B. Lighting system maintenance will be performed by: BM Maintenance, Inc.
C. Training required for operating and maintenance staff:  To be performed by contracted commissioning agent
D. Other owner requirements: Green cleaning practices required



